## MAT-PhX
Material Requirement for Distribution Network Rehabilitation and Development (Phase X)
Item Code | Description | Unit | Qty Total
04-02-00001 | Service Pole - 6m, 75mm dia GS Pipe | each | 9400
04-02-00002 | 9m Tubular Steel Poles complete with all Accessories | each | 11525
04-02-00003 | 9m Tubular Steel Pole (Lattice Equivalent) complete with all accessories | each | 3450
04-02-00004 | 11m Tubular Steel Poles complete with all Accessories | each | 12100
04-02-00005 | 11m Tubular Steel Pole (Lattice Equivalent) complete with all accessories | each | 2925
04-02-00006 | Poles for Street Lighting - 15m | each | 600
04-02-00007 | Poles for Street Lighting - 12m | each | 900
04-02-00008 | D-Bracket complete with LV Insulator, 2 x 140 mm Bolts & Nuts, Plain & Spring Washers | each | 114500
04-02-00009 | D-Bracket complete with LV Insulator, 140 and 210mm Bolts & Nuts, Plain & Spring Washers | each | 26525
04-02-00010 | D-Bracket complete with LV Insulator, 140 and 260mm Bolts & Nuts, Plain & Spring Washers | each | 12850
04-02-00011 | Shackle Strap complete with 150mm Bolt & Nut | each | 34500
04-02-00012 | Cross arm for 11m Tubular Pole with Bracket | each | 2000
04-02-00013 | Cross Arm for 11m Lattice Equivalent Pole with Bracket | each | 2750
04-02-00014 | Galvanised Steel Staywire - 7/3.25mm (Grade 700) | m | 187275
04-02-00015 | Stay Assembly complete with Stay Rod & Plate | each | 13950
04-02-00016 | M12x30mm GS Bolt & Nut with Flat and Spring Washers | each | 2700
04-02-00017 | M16x30mm GS Bolt & Nut with Flat and Spring Washers | each | 11500
04-02-00018 | M16x50mm GS Bolt & Nut with Flat and Spring Washers | each | 11500
04-02-00019 | M16x100mm GS Bolt & Nut with Flat and Spring Washers | each | 11500
04-02-00020 | M16x150mm GS Bolt & Nut with Flat and Spring Washers | each | 11500
04-02-00021 | M16x210mm GS Bolt & Nut with Flat and Spring Washers | each | 11500
04-02-00022 | M20x30mm GS Bolt & Nut with Flat and Spring Washers | each | 11500
04-02-00023 | M20x50mm GS Bolt & Nut with Flat and Spring Washers | each | 11500
04-02-00024 | M20x100mm GS Bolt & Nut with Flat and Spring Washers | each | 11500
04-02-00025 | M20x150mm GS Bolt & Nut with Flat and Spring Washers | each | 11500
04-02-00026 | M20x230mm GS Bolt & Nut with Flat and Spring Washers | each | 2150
04-02-00027 | M20x350mm GS Bolt & Nut with Flat and Spring Washers | each | 3000
04-02-00028 | 50x50x5mm, 2.3m long GS angle | each | 675
04-02-00029 | 50x50x5mm, 1000mm long GS angle | each | 675
04-02-00030 | 100x50x6mm, 2.3m long GS channel | each | 1600
04-02-00031 | Danger Board - 11kV | each | 24975
04-02-00032 | LV Insulator | each | 15000
04-02-00033 | Pin Insulator with Galvanized Spindle - 11kV | each | 46350
04-02-00034 | Tension Insulators with all Accessories and Hardware - 11KV | each | 15150
04-02-00035 | All Aluminium Conductor (AAC) - 95 sqmm | km | 3150
04-02-00036 | All Aluminium Conductor (AAC) - 70 sqmm | km | 3150
04-02-00037 | All Aluminium Conductor (AAC) - 50 sqmm | km | 3150
04-02-00038 | All Aluminium Conductor (AAC) - 35 sqmm | km | 787.5
04-02-00039 | Aluminium Conductor Steel Reinforced (ACSR) - 120/20 sqmm | km | 2913.75
04-02-00040 | Aluminium Conductor Steel Reinforced (ACSR) - 95/15 sqmm | km | 2913.75
04-02-00041 | Aluminium Conductor Steel Reinforced (ACSR) - 70/12 sqmm | km | 2913.75
04-02-00042 | Aluminium Conductor Steel Reinforced (ACSR) - 50/8 sqmm | km | 2913.75
04-02-00043 | Aluminium Binding Wire (No 9) - 3.6mm | kg | 7400
04-02-00044 | Aluminium Binding Wire (No 11) - 3.0mm | kg | 7500
04-02-00045 | Midspan Joint for ACSR 120/20 sqmm | each | 2775
04-02-00046 | Midspan Joint for ACSR95/15 sqmm | each | 2775
04-02-00047 | Midspan Joint for ACSR 70/12 sqmm | each | 2775
04-02-00048 | Midspan Joint for ACSR 50/8 sqmm | each | 2775
04-02-00049 | Midspan Joint for Al 95 sqmm | each | 3000
04-02-00050 | Midspan Joint for Al 70 sqmm | each | 3000
04-02-00051 | Midspan Joint for Al 50 sqmm | each | 3000
04-02-00052 | Midspan Joint for Al 35 sqmm | each | 750
04-02-00053 | H Connector, Crimp Type - 150-120 / 150-120 sqmm | each | 11100
04-02-00054 | H Connector, Crimp Type - 120-70 / 120-70 sqmm | each | 29850
04-02-00055 | H Connector, Crimp Type - 70-35 / 70-35 sqmm | each | 29850
04-02-00056 | Parallel Groove Clamp, Bolted Type, Al - 25-150/25-150 sqmm | each | 5550
04-02-00057 | Parallel Groove Clamp, Bolted Type, Al - 16-95/16-95 sqmm | each | 110800
04-02-00058 | Bi-metallic Bolted Type Connector Al / Cu, 35-150 / 16-95 sqmm | each | 8775
04-02-00059 | Bare Overhead to Insulated Connector-Type A (2 Bolts, 35-95/35-95 sqmm) | each | 1625
04-02-00060 | Bare Overhead to Insulated Connector - Type B (1 Bolt, 25-95 / 6-35 sqmm) | each | 1625
04-02-00061 | Insulated Tee-off Piercing Connector - Type A (2 Bolts, 35-95 / 35-95 sqmm) | each | 2437.5
04-02-00062 | Insulated Tee-off Piercing Connector - Type B (1 Bolt, 25-95 / 6-35 sqmm) | each | 19500
04-02-00063 | Insulated Tee-off Piercing Connector - Type C (1 Bolt, 6-25 / 6-25 sqmm) | each | 7312.5
04-02-00064 | Bi-metallic Lug Al Conductor / Cu Terminal - 95 sqmm / 13mm dia. Hole | each | 9750
04-02-00065 | Bi-metallic Lug Al Conductor / Cu Terminal - 50 sqmm / 13mm dia. Hole | each | 3250
04-02-00066 | Bi-metallic Lug Al Conductor / Cu Terminal - 16 sqmm / 10.5mm dia. Hole | each | 3250
04-02-00067 | UG Cable Cu XLPE Insulated 3C x 185 sqmm - 11kV | km | 140
04-02-00068 | Termination Kits, Heat Shrinkable, Outdoor, for 3Cx185sqmm XLPE Cable | each | 98
04-02-00069 | Straight Jointing Kits, Heat Shrinkable, Outdoor, for 3Cx185sqmm XLPE Cable | each | 280
04-02-00070 | Tee-off Jointing Kits, Heat Shrinkable, Outdoor, for 3Cx185sqmm XLPE Cable | each | 56
04-02-00071 | Cu, Cable Terminal Lugs for 185 sqmm Cable | each | 490
04-02-00072 | Cable Ties (10x800mm) | each | 13500
04-02-00073 | LV OH Aerial Bundled Cable 3X95+50+16 sqmm Al Conductor | km | 162.5
04-02-00074 | LV Cu cable 1x150 sqmm, PVC insulated | m | 77625
04-02-00075 | LV Cu cable 1x95 sqmm, PVC insulated | m | 47250
04-02-00076 | PVC Double Insulated Twin Cable, Cu - 10sqmm | m | 1350000
04-02-00077 | Cu, Cable Terminal Lugs for 150 sqmm Cable | each | 16200
04-02-00078 | Cu, Cable Terminal Lugs for 95 sqmm Cable | each | 16200
04-02-00079 | Suspension Bracket | each | 13000
04-02-00080 | Suspension Clamp | each | 13000
04-02-00081 | Tension (dead end) Bracket | each | 1625
04-02-00082 | Tension (dead end) Clamp | each | 4550
04-02-00083 | Pre-insulated Sleeve for Phase Conductor - 95sqmm | each | 975
04-02-00084 | Pre-insulated Sleeve for Neutral Conductor - 50sqmm | each | 650
04-02-00085 | Pre-insulated Sleeve for Street Lighting Conductor - 16sqmm | each | 650
04-02-00086 | Insulation End Cap for 95sqmm Conductor | each | 3900
04-02-00087 | Insulation End Cap for 50sqmm Conductor | each | 1300
04-02-00088 | Insulation End Cap for 16sqmm Conductor | each | 1300
04-02-00089 | Insulating Binding Strap | each | 21937.5
04-02-00090 | Stainless Steel Strap | each | 3250
04-02-00091 | Stainless Steel Buckle | each | 3250
04-02-00092 | Facade Mounted Cable Fitting | each | 8125
04-02-00093 | Service Dead End Clamp - 2 x 6-35 sqmm | each | 3000
04-02-00094 | Service Dead End Clamp - 4 x 6-35 sqmm | each | 3000
04-02-00095 | Self amalgamating tape, 20 metre length roll, approximately 20 mm width | each | 812.5
04-02-00096 | Linkage fuse 12kV with fuse holder | each | 2025
04-02-00097 | Pole Mounted Type Load Break Switch, Outdoor, 3 Pole, 300A - 11kV | each | 55
04-02-00098 | Auto Recloser, 300A - 11kV | each | 21
04-02-00099 | Voltage Regulator - 11kV , 500kVA | each | 28
04-02-00100 | Voltage Regulator - 11kV , 750kVA | each | 9
04-02-00101 | Fuse elements 11 kV, 15A | each | 4050
04-02-00102 | Fuse elements 11 kV, 25A | each | 4050
04-02-00103 | Distribution Transformer 11/0.4 kV, 160 KVA | each | 160
04-02-00104 | Distribution Transformer 11/0.4 kV, 250 KVA | each | 240
04-02-00105 | Transformer Insulating Oil Suitable for 11/0.4kV Transformer | Ltr | 30000
04-02-00106 | Cu Wire no.4 (DT Jumpers) | m | 14850
04-02-00107 | Cu Earth Wire Tinned 50 sqmm Stranded No 7 | m | 16200
04-02-00108 | Cu Earth Road, 16mm Diameter, 1.5 m Length | each | 1350
04-02-00109 | Lightning Arrestor 12kV, 10 kA | each | 2025
04-02-00110 | Miniature Circuit Breaker (MCB) - 30A | each | 47000
04-02-00111 | LV Board with 2 x 3pole 150A MCCB + N-Link + St.Lighting Control Gear | each | 80
04-02-00112 | LV Board with 2 x 3pole 250A MCCB + N-Link + St.Lighting Control Gear | each | 675
04-02-00113 | Energy Meter (kWh) Single Phase 230V - 10-40A | each | 47000
04-02-00114 | HP Sodium Vapour Lamp complete with Bulb & Choke - 250W | each | 900
04-02-00115 | HP Sodium Vapour Lamp complete with Bulb & Choke - 400W | each | 600
04-02-00116 | HP Mercury Vapour Lamp complete with Bulb & Choke - 125W | each | 3000
04-02-00117 | HP Mercury Vapour Lamp complete with Bulb & Choke - 160W | each | 0
04-02-00118 | HP Mercury Vapour Lamp complete with Bulb & Choke - 250W | each | 1500
04-02-00119 | Suspension Towers 33kV Standard (1C) | each | 1706.6667
04-02-00120 | Suspension Towers 33kV + 3m extension (1C+3) | each | 426.6667
04-02-00121 | Suspension Towers 33kV - Large Span (1C2) | each | 426.6667
04-02-00122 | Tension & Small Angle (0-20deg) Towers 33kV Standard (1E) | each | 355.5556
04-02-00123 | Tension & Small Angle (0-20deg) Towers 33kV + 3m extension (1E+3) | each | 35.5556
04-02-00124 | Tension & Small Angle (0-20deg) Towers 33kV - Large Span (1E2) | each | 35.5556
04-02-00125 | Tension & Large Angle (20-65deg) Towers 33kV Standard (1H) | each | 177.7778
04-02-00126 | Tension & Large Angle (20-65deg) Towers 33kV + 3m extension (1H+3) | each | 17.7778
04-02-00127 | Tension & Large Angle (20-65deg) Towers 33kV - Large Span (1H2) | each | 17.7778
04-02-00128 | Terminal Towers 33kV | each | 25.6
04-02-00129 | Tension Insulator with all accessories & Hardware for ACSR 210/35 | each | 3928.8889
04-02-00130 | Suspension Insulators with all accessories & Hardware for ACSR 210/35 | each | 9920
04-02-00131 | Aluminium Conductor Steel Reinforced (ACSR) - 210/35sqmm | km | 1056
04-02-00132 | Midspan Joint for ACSR 210/35sqmm | each | 192
04-02-00133 | Armour Rod for ACSR 210/35sqmm | each | 9600
04-02-00134 | H Connector for ACSR 210/35sqmm | each | 1777.7778
04-02-00135 | PG Clamp for ACSR 210/35sqmm | each | 355.5556
04-02-00136 | Repair Sleeve for ACSR 210/35sqmm | each | 64