## XII 02-08
UNICEF HEALTH PHASE XII
Supplies to PHCs and DOHs
Code | Description | Quantity | Unit of measurement
02-08-00001 | Cupboard steel, 2 doors, height 180 cm, width 90 cm, depth 40 cm | 450 | each | 150
02-08-00002 | Fax machine , 220 volt 50 HZ, | 60 | each | 20
02-08-00003 | Umbilical climb | 450000 | each | 150000
02-08-00004 | Photocopier, Sharp Model SF-2030, with all accessories with toner & developer enough for 300,000 copies | 15 | each | 5
02-08-00005 | Sonic aid complete with the following soft bag, jell, ultrasound tube batteries, 1.5V, type AA each with instruction manual | 102 | each | 34
02-08-00006 | Surgical Suction Pump each with 20 tubes | 180 | set | 60
02-08-00007 | Spectrophotometer clinical, new generation, for determination of serum biochemical tests. | 90 | each | 30
02-08-00008 | Flame photometer clinical, for determination of serum electrolytes | 45 | each | 15
02-08-00009 | Centrifuge electric for 6x15 ml tubes | 60 | each | 20
02-08-00010 | Glass 15 ml tube for the above centrifuge | 6000 | each | 2000
02-08-00011 | Haemoglobinmeter electric, for determination serum haemoglobin | 105 | each | 35
02-08-00012 | Filing cabinet, four drawers | 210 | each | 70
02-08-00013 | Office desks, with water proof surface, 3 drawers | 450 | each | 150
02-08-00014 | Office chair, swivel | 420 | each | 140
02-08-00015 | Variable height bed, complete with mattress, pillow and sheets | 90 | set | 30
02-08-00016 | coat stand | 570 | each | 190
02-08-00017 | Stand alone folding screen for doctors, mobile-3-sections | 420 | each | 140
02-08-00018 | Table medical examining, folding | 90 | each | 30
02-08-00019 | Carriage dressing with 2 shelves, | 270 | each | 90
02-08-00020 | Light, operating floor, stand type, mobile | 75 | each | 25
02-08-00021 | Ceiling fan, electric, | 180 | each | 60
02-08-00022 | Adjustable copyholder | 150 | each | 50
02-08-00023 | Disinfector boiling type | 90 | each | 30
02-08-00024 | Infusion stand | 120 | each | 40
02-08-00025 | Stethoscope binaural | 600 | each | 200
02-08-00026 | Otoscope set | 150 | set | 50
02-08-00027 | Ophthalmpscope set | 150 | set | 50
02-08-00028 | Ultrasound diagnostic machine, two probe selector, 3.5 MHz convex probe, 3 MHZ linear probe (for fatty patients), 5-7 MHZ transvaginal probe. P/W video printer | 9 | set | 3
02-08-00029 | Mobile X-ray machines | 3 | each | 1
02-08-00030 | X-ray system for radiology, VERTIX, UM, Complete set, Seimens | 9 | set | 3
02-08-00031 | Developer machines | 12 | each | 4
02-08-00032 | X-ray screen | 150 | each | 50
02-08-00033 | Chart, vision testing, Snellen type | 300 | each | 100
02-08-00034 | Sphygmomanometer mercury, table model | 750 | each | 250
02-08-00035 | Stool revolving | 150 | each | 50
02-08-00036 | Drug cabinet (instrument cabinet) | 300 | each | 100
02-08-00037 | Vehicle, Water tanker truck, complete set, 9,000ltr tank capacity with consumable spare parts for two years, plus service and operating manual in English. | 3 | each | 1
02-08-00038 | Lancet, Blood, disposable, box of 250 | 16500 | each | 5500
02-08-00039 | Drum Sterilizing cylindrical 240 mm diameter | 360 | each | 120
02-08-00040 | Drum Sterilizing cylindrical 290 mm diameter | 360 | each | 120
02-08-00041 | Forceps Hemostat straight mosquito halstd 125 mm | 600 | each | 200
02-08-00042 | Forceps Artery Curved mosquito halstd 125 mm | 600 | each | 200
02-08-00043 | Forceps Dressing standard 155 MM | 600 | each | 200
02-08-00044 | Forceps Tissue 200 MM | 600 | each | 200
02-08-00045 | Needle holder straight Myo-Hegar 180 mm | 600 | each | 200
02-08-00046 | Scalpel Handle minor Surgery | 600 | each | 200
02-08-00047 | Surgical Blade sterile SS No 10 | 30600 | each | 10200
02-08-00048 | Scissors Bandage straight S/B 200 MM | 2100 | each | 700
02-08-00049 | Scissors Dissecting Curved B/B 145 mm | 600 | each | 200
02-08-00050 | Scissors Dissecting Curved B/B 170 mm | 600 | each | 200
02-08-00051 | Scissors Surgical Straight B/B 145 mm | 600 | each | 200
02-08-00052 | Centrifuge Tube to fit existing centrifuge | 3000 | each | 1000
02-08-00053 | Ink Duplicating machine 40-130 copies | 6 | each | 2
02-08-00054 | Stencil,fullscap. White, box/50 | 150 | each | 50
02-08-00055 | Ink duplicator black, tube | 150 | each | 50
02-08-00056 | Pipette Serological 10 x 0.1 | 1200 | each | 400
02-08-00057 | GLUCOTREND GLUCOSE TEST STRIPS BOX OF 50 STRIPS to be used for Glucotrend 2 Meter | 3000 | each | 1000
02-08-00058 | Test strips, Urinary analysis, | 1500 | each | 500
02-08-00059 | Batteries for Glucotrend 2 Meter | 3000 | each | 1000
02-08-00060 | Bedside cabinet, hospital type | 600 | each | 200
02-08-00061 | Water cooler, electric | 60 | each | 20
02-08-00062 | Bed Labor/Delivery, W/2 section | 30 | each | 10
02-08-00063 | Thermometer clinic. Clinical oral/rectal | 6000 | each | 2000
02-08-00064 | Tongue depressor wooden child size, 140x16 mm, box of 500 each | 4500 | each | 1500
02-08-00065 | Tongue depressor metalic | 300 | each | 100
02-08-00066 | Air conditioners, Window type, cooling/Heating system, capacity 18,000 BTU/HR, 220V, 50HZ | 120 | each | 40
02-08-00067 | Kerosene heaters, | 420 | each | 140
02-08-00068 | B-Haemoglobin Microcuvettes, disposable, suitable for B-haemoglobin g/dl, box 200. | 1740 | box | 580
02-08-00069 | ECG unit,portable, Electrocardiograph Marquette Hellige Cardiosmart apparatus. | 30 | each | 10
02-08-00070 | Incubator oven lab with all accessories | 30 | set | 10
02-08-00071 | MEMMRET Water Bath, thermostatically controlled, for clinical and general laboratory use. Temperature range +25 C to +100 C. made of stainless steel with Gabled cover. | 12 | each | 4
02-08-00072 | Toner cartridge for HP Lj 8500 printer, comprising of one black and one cyan, one magnet and one yellow, per set. | 90 | set | 30
02-08-00073 | Laboratory, electrical microscope including lamp, | 30 | each | 10
02-08-00074 | Fuel tanker, LHD supplied with manufacturers recommended service & spare parts for two years operation, & operation, service and parts manuals in English plus all necessary accessories. | 9 | each | 3
02-08-00075 | Recording paper, for Marquette Hellige Cardiosmart ECG, 150 sheet/package, 10 package/box | 870 | box | 290
02-08-00076 | Wick for Kerosene heater | 1800 | each | 600
02-08-00077 | Cartridge toner for HP laser 4 jet printer | 120 | each | 40
02-08-00078 | Cartridge for photocopier Sharp SF 2025 | 120 | each | 40
02-08-00079 | Doctor's white coat, 65% polyester, 35% cotton, button cuffs, long sleeves, knee length. Different sizes: 25% small, 40% medium, 25% large, 10% ex-large. 60% male, 40% female. | 2400 | each | 800
02-08-00080 | WHO TBA training manual | 300 | each | 100
02-08-00081 | Pelvic organs, female, anatomical model | 15 | each | 5
02-08-00082 | Simulator childbirth, with foetus and placenta | 30 | each | 10
02-08-00083 | Coloured laser printer | 3 | each | 1
02-08-00084 | Board for mobile X-ray machine D 950, Seimens | 3 | each | 1
02-08-00085 | ORS sachetts, one litre, pack of 100 | 1500 | box | 500
02-08-00086 | LapTop computer, Pentium III, 2300 MHZ, 4.1 GB, HD, 64 MB RAM, 32 X CD drive, multi media, 3.5 floppy disc, 13.1 inch screen, complete with leather bag, | 12 | each | 4
02-08-00087 | Digital electronic precision balance with electromagnetic force compensation, | 90 | each | 30
02-08-00088 | Fire extinguisher, 12 kgs | 30 | each | 10
02-08-00089 | Nebuliser, atomiser, with electric compressor, supplied with additional masks and mouthpieces with instruction manual in English and arabic | 60 | each | 20
02-08-00090 | Oxygen cylinder, reflillable, 20 litre with oxygen regulator and accessories. | 60 | set | 20
02-08-00091 | Typewriter,manual. Arabic keyboard, with maintenance kit and instruction manual in english and arabic. | 24 | set | 8
02-08-00092 | Desktop computer, Pentium, multimedia complete with colour monitor and all other accessories included. | 21 | each | 7
02-08-00093 | Laser jet printer complete with consumables. | 30 | set | 10
02-08-00094 | Uninterruptible power supply, re-chargeable | 57 | each | 19
02-08-00095 | Toner cartridge for HP 1100 printer | 144 | each | 48
02-08-00096 | Floppy discs | 150 | box | 50
02-08-00097 | Bus, commuter, 40 seater, diesel engine | 9 | each | 3
Immunisation Supplies
Code | Description | Quantity | Unit of measurement | Unit of measurement
02-08-00098 | Vaccine Carrier Storage capacity 1.5-3 L | 208 |  | each
02-08-00099 | Ice Pack 0.3L | 1900 |  | each
02-08-00100 | Thermometer Vaccine Storage | 900 |  | each
02-08-00101 | Public address set for mobile installation, amplifier, including amplifier, microphone with coiled cable, speakers complete with fixing bracket and speaker connecting table. | 2 |  | set
02-08-00102 | Hand megaphone, (portable loud speaker) | 40 |  | each
02-08-00103 | Stand for projector, portable aluminium | 3 |  | each
02-08-00104 | Markers for flipchart/white board | 950 |  | pack
02-08-00105 | Pad flipchart, 50 sheets | 200 |  | pack
02-08-00106 | Screen, projection portable, 1.27 x 1.27 M | 2 |  | each
02-08-00107 | Overhead projector with carrying case and necessary attachments | 1 |  | set
02-08-00108 | Refrigerator and Freezer Iceland, 220 V, 40-60 L, for vaccine storage | 11 |  | each
02-08-00109 | Safety box for used syringes ctn/25 | 1000 |  | each
02-08-00110 | Cotton Wool, 100 G non sterile | 13000 |  | each
02-08-00111 | Compressor for the Cold Room | 1 |  | each
02-08-00112 | Solar Refrigerator for vaccine storage | 6 |  | each
02-08-00113 | Vaccine cold box, long range, storage capacity 20-27 L, | 19 |  | each
02-08-00114 | Spirit, one litre | 1500 |  | litre