## XII 06-07
|  |  | Agency | UNESCO
|  |  | Project | Equipment and Materials
UNESCO use | phase | tranche | No | OFFICIAL line item description | Qty | Unit | sub sector | PROJECT
|  |  | 06-07-00001 | 8" Lx 5-3/4" W - | 20 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00002 | Graduated 0 to 360o (Azimuth) in 2o units, base scales in in-cm, 1:24.000, 1:62.500. 2-1/2"x 5", lanyard and declination tool included | 10 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00003 | Fixed direction & clinometer scales, mm scale edge & 2"x2" grid w/ five lines/inch (red). Liquid-filled compass 0-360deg C in 5deg units, clinometer scale: 0-90o in 5o increments | 30 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00004 | liquid-filled precision compass & clinometer in one compact aluminum housing, clinometer scale in percent & degree (0-90o, 0-150%), compass scale azimuth (0-360o) | 30 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00005 | For directional & slope/ height measurements, compass scales (0-360o), accurate to +/-1/2o, clinometer scales (0-90o & 0-150%) accurate to 1/4o | 30 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00006 | Surface or undergtound preliminary surveying, topographical work, geological field work & reconnaissance. Horizontal angles: 0-360o (Azimuth), 1o graduations, Vertical angles: +/- 90o with vernier reading to 10 minutes, +/-100% grade w/ 5% div. | 1 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00007 | (+/- 150%, +/- 200' @ 66' baseline), PM5/PC66, percent/degree conversions on back | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00008 | target for 50', 100' baselines, PM5/360PCP, consines to 45o on back | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00009 | target for 66', 132' baselines (+/- 90o, +/- 200' @ 66' baseline), PM5/66P | 15 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00010 |  | 15 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00011 | Four weather icons displayed included, temp. measuring range -30oC to +60oC Temp. resolution 1oC, LCD display, dimensions 3.62" x 3.23" x 1.10", power two 3V CR-2032 lithium batteries, included | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00012 | A 36-page illustrated booklet explaining the many uses of altimeters/barometers. | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00013 | Tracking up to 5 GPS satellites, Acquisition time 35 to 60 sec., Accuracy: GPS, 25 meters; Compass, 5degC; storage cap. up to 1000 waypoints; backlit LCD, operating temp. -20oC to +70oC, waterproof casing. | 1 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00014 | used with the XL-1000F GPS above compass, scaling up to 1:5,000,000. Accuracy +/- 1mm, Active map area (approx.) 10-1/2" x 9-3/4", operating temperature: -20C to +70C | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00015 | Transponder, plot centre extends to 60"L & retracts to 35"L, and a threaded tripod adapter, measures 52.7' plot radius for a 1/5 acre plot. | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00016 | distance 0-60m/ 0-197' with res. 0.1m(<20m:0.01m); Angle +/-100 grad w/ resolution 0.1 grad; Height: 0-100m/0-330', res.: 0.1m/0.1'; Accuracy +/-1% | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00017 | 2 scales, 10% to 50% for moisture content in wood, 0 to 100 reference scale for plaster or concrete ranging from "dry" to "wet". | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00018 | color-coded scale of reCodeended readings for in-the-field engineering & allows to calculate soil compaction from 0 to 969.44 psi, Measures 18-3/4" long. | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00019 | tester approx. 3-1/8" L, soft, two-pocket carrying case with belt loop, determines shear strength in cohesive soils | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00020 | long stainless steel rod insertion to 24", compaction levels in psi, color-coded dial, features 2 interchangeable stainless steel tips (3/4", 1/2"), & a rugged, molded plastic housing/handle. | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00021 | Sturdy, welded construction, double ring cylinder for accuracy, case hardened cutter blades for strength, saturn depth limiting ring, countdown timer w/ beeping alarm, water level scale in in. & mm., | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00022 | sensitive electrode measures pH values from 3.5 to 8, soil moisture from 0 to 100%, pH accuracy +/-0.2, moisture accuracy +/-10% | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00023 | (accessories for above item), 12 sheets | 10 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00024 | two-man handle, 150 rpm torque motor for deeper holes | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00025 | soil moisture range 0 to 100%, repeat.: +/-2%; response time 3 sec.; Soil temp. range 0oF to 175oF, acc. +/-1.5oF, response time 60 sec., salinity range 0 to 100 cS/m, acc. In water: +/-2cS/m, acc. In soil: +/-10cS/m, response time 5sec. | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00026 | hydraulic conductivity range of measurement: 10-2 to 10-6 cm/sec., inner reservoir tube scaled in precise mm graduation, two-way valve controls dual reservoir water supply to investigate low permeability clay soils or high perm. coarsers silts & sands. | 1 | kit |  | Salaheddin University/ Erbil
|  |  | 06-07-00027 | (accessory for above item) 32" x 1" dia. | 1 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00028 | model 2710 ARL | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00029 | Solutions & equipment to test fertility levels in agricultural soils. | 1 | kit |  | Salaheddin University/ Erbil
|  |  | 06-07-00030 |  | 1 | pack |  | Salaheddin University/ Erbil
|  |  | 06-07-00031 | with tables describing 425 minerals sorted by specific gravity, along w/ 8 other mineral properties, including hardness, streak, color, luster, cleavage, fracture, crystal system & chemical composition, & clear plastic hydrometer jar/packing tube, metric weight set (10mg to 50g), instruction manual, and accessory tube of metal weights for hydrometer calibration. | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00032 | with built- in 1.8x magnifier, 3x binocular and carring case | 10 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00033 | operating temp. 14oF to 122oF (-10oC to +50oC), operating humidity less than 95% | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00034 | 4x magnification, interpupillary range 55mm to 75mm, black duralumin frame with adjustable lags. | 10 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00035 | Model 51601 with RS-232 outputpH res.: 0.01; range: 1 to 13; Acc. +/-0.02 | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00036 | Accessory for above item | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00037 | range: -1 to 15.00pH, 0 to 100degC, +/-1,600mV; resolution: 0.1/0.01pH; 0.1degC; 0.1mV w/in +/-399.9mV, 1mV beyond +/-399.9mV, Accuracy: +/-0.01pH; +/-0.5degC; +/-0.2mV w/n +/-399.9mV, +/-2mV beyond +/-399.9mV; auto or manual temp. compensation; Buffered calibration points: up to 5; Operating temp.: 0 to 50degC; | 1 | Kit |  | Salaheddin University/ Erbil
|  |  | 06-07-00038 | reads 1:100, 1:50, 1:25, 1;20, push- botton zero reset, jewel bearings | 10 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00039 | w/ 25' cable, dissolved oxygen range 0 to 200%, res.: 0.1%; Acc.:+/-2%; Conduct. range 0 to 499.9mS/cm, salinity range 0 to 80 PPT, res.: 0.1PPT; temp. range 5oC to 95oC; res.: 0.1degC, Acc.: +/-0.1degC | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00040 | portable lab. Kit measures 24 water quality parameters for pollution detection, environmentals studies and industrial water and wastes, digital meter measures pH w/ range 0-14, conductivity range 0-200,000 mS/cm, and TDS w' range of 0-140,000 ppm. includes 15 reagents & 5 titrator tests. | 1 | Kit |  | Salaheddin University/ Erbil
|  |  | 06-07-00041 | Range/Resolution: transmittance 0 to 100% / 0.1%; Absorbance 0 to 2.0A / 0.01A; Acc.: +/-1% of total reading; Filters: 420, 460, 510, 530, 570, 605nM, Bandpass: 10nM. Tungsten lamp, Silicon photodiode detector, LCD, sample system: 21 mm flat-bottom round tubes | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00042 | Accessory for above item | 1 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00043 | To run or recharge SMART colorimeter from any automobile cigarette lighter | 1 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00044 | custom software and interfance cable used to link the SMART colorimeter to any DOS based computer | 1 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00045 | custom software and interfance cable used to link the SMART colorimeter to any DOS based computer | 1 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00046 | foamed-lined to store SMART colorimeter, 4 sample tubes, AC adapter and up to 6 test reagents | 1 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00047 | To scale map, photo or plan, 72 built-in scalesincluding 39 imperial (feet-inch) & 33 metric scales & 6 custom scales for enlarged/reduced plans. LCD. Res. 0.025" | 1 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00048 | Ranges & sensitivity: low: 0.00 to 19.99NTU, res. 0.01NTU; Medium: 00.0 to 199.9NTU, res. 0.1NTU; High 000 to 999NTU, res. 1NTU; Acc.: +/-2% of reading for low & medium ranges; Repeat.: +/-1%; Sample volume: 15ml | 1 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00049 | Tests for dissolved oxygen, combination nitrate-phosphate, wide range pH, silica, calcium-magnesium, total hardness, carbon dioxide, includes 40 nitrate test & 50 of the others | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00050 | for all chemical reagents | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00051 | enlargement 5x, 10x, 15x, 20x, 30x, 40x, distance required 6', 11', 16', 21', 31', 41', projection aperture 10"x10", illumenation 360W quartz bromine halogen lamp, 110/120 V | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00052 | 200' meter | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00053 | min/max depth: 2'/260'; Acc.: +/-1%, Freq.: 200KHz (beam angle 24o), filament light. | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00054 | PVC impeller poles, stainless steel impeller shaft, plastic impeller; overall pole length: 3.3'; four individual sections: 9.8" each; cable 3.3'; elevation rods: 9.8", 4.9" & 2.5". LCD counter; Magnetic sensor; range: approx. 0.05m/sec to 8.0m/sec. Acc. +/-7% | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00055 | 3-cup hand-held anemometer to use with flowmeter. Range: 2 to 65 mph | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00056 | 5' to 15' expandable flow probe. Range 0-25 FPS (0-8 MPS); Acc.: average velocity +/-0.1FPS; instantaneous velocity +/-0.5FPS; True digital running average; LCD; Protected Turbo-Prob propeller w/ eletromagnetic pickup. Operating temp.: 0degF to 120degF, | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00057 | flow range 1.5 to 1,000,000 gpm, dia. range 0.5" to 240". Manning formula for the flow in open channels, range: 50 to 5,000,000 gpm, channel area: 0.7 to 2,000 sq.ft | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00058 | for semi-quantitative analysis of benthic stream organisms, mesh size: 1000 mm | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00059 | for semi-quantitative analysis of benthic stream organisms, mesh size: 500 mm | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00060 | for semi-quantitative analysis of benthic stream organisms, mesh size: 363 mm | 1 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00061 | 20x; 1/2" focus; 5/8" Dia. Lens | 30 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00062 | compact magnifier 2"x2", 2x lens | 10 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00063 | Temp. Range -58degF to +500degF (& Celsius equiv.), reads in 0.1degF/0.1degC; recalibratable. 1.5Vwatch battery included | 1 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00064 | cap.: 200g, read. 0.1g, linearity: +/-0.2; grams/ounces modes; Tare: to capacity; Stabilization time: 3 to 5 seconds; Temp. range optimal: 64F to 77Fdim. Platform 5.25" x 5.25"; unit, 9.25"L x 5.25"W x 2.75"H | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00065 | 110V AC (accessory for above item) | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00066 | Displays either miles, steps, or stopwatch time in large LCD window, clip to waistband. (Covers miles up to 99.99) | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00067 | 60 second sweep, 1/5 second recorder, 0 to 30 sec. Register; unbreakable main spring, pinlever movement, ABS case, includes lanyard. | 1 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00068 | 32K of non-partitioned memory; Unit-to-unit 30" link cable provided for data transfer. | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00069 | Accuracy +/- 0.25%, resolution 1.0mm/ .04", dim. 6-3/4"L x 1-1/4"W | 5 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00070 | Celsius model, range -40oC to 50oC, graduations 1o, 9-1/2" x 2" x 1-1/4" | 1 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00071 | Temp. range -20oF to 100oF, Acc.: +/-2F elapsed; NIST traceable certificate | 50 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00072 | 10- day charts, pack of 12 (oC) | 50 | pack |  | Salaheddin University/ Erbil
|  |  | 06-07-00073 | range 20-100% RH, 0oF to 160oF/ -18oC to +72oC, resolution 2% RH; 0.1F or C; Acc.: +/-4% RH, Full scale; +/-1.8F(+/-1C); RH response 90% in 1 miniute | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00074 | Sensors: temp., aged bimetal. Humidity, treated hair bundles. Span: temp., 110F/60C, adjustable up or down scale. Humidity: 0-100%; Acc.: temp. +/-1%. Hum.: +/-1% mid-scale, +/-3% extremes; Chart division: temp. 1C or 2F, Hum.1%. Pen type: cartridge, replaceable | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00075 | Spare for Hygrothermograph | 2 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00076 | Spare for Hygrothermograph | 2 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00077 | Spare for Hygrothermograph | 2 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00078 |  | 10 | pack |  | Salaheddin University/ Erbil
|  |  | 06-07-00079 | Four scales for versatility - mph (0 to 99.9), feet/min (0 to 8,790), meter/sec. (0 to 44,8), knots (0 to 87,9), Averaging period: 1-5/8 sec., Acc.: +/-3% or +/-0.1mph. Operating temp. 32oF to 122oF | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00080 | scales 5 to 70 mph, resolution 1 mph | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00081 | model DIC, Air mvmnt in mph, knots, kph, & m/s from one unit to over 100 with a range of 0-199 in each categ. Resolution +/-1mph, dim. (not including cups) 2"x2"x6" | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00082 | one side graduated from 0.01" to 6", other side ranges from 0.1mm to 150mm | 1 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00083 | Sensor: black & white bimetallic strips. Spectral response: 0.36 to 2.0 microns, 90% transmission. Recording range: approx. 0 to 2.5 langleys/min. Chart size: 11.5"Lx3.5"H. Lag coefficient approx. 5min. W/ pen & pad & charts | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00084 | With Buffer Spooler, accepts & stores data 24 hours a day, Fahr. to Celsius. switch select, inside & outside temp -40F to +127F, Acc.: +/-1deg, Res.: 1degF/1degC, Barometer 28" to 32" Hg/948 to 1,100mbars, Acc.: +/-0.1HgRes.: 0.1Hg/0.1 mbar.Wind direction: scale, 0 to 360deg by 10deg increments, acc.: +/-5deg. Wind speed: 0 to 150mph, acc.: +/-2% of full scale; +/-1% at 35mph, res.: 1 mph; wind chill: -127F to +85F; relative hum.: 0-99%; Rainfall: 99.99" by 0.01 increments res. 0.01% | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00085 | Accessory for above item, quantity accordingly | 1 | set |  | Salaheddin University/ Erbil
|  |  | 06-07-00086 | Wood/fiberglass w/Quick release clamps, 5/8" x 11 Thread Tripods | 1 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00087 | graduated 0 to +/-100' (topo), 0 to +/-60deg, 0 to +/-150% on two interchageable scale rings. No vernier. Eyepiece slides out to focus bubble. 6-1/2"L. Flat base, brass tube w/ aluminium arc.carrying case w/ belt loop, snap closure | 10 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00088 | graduated 0 to +/-90deg, 0 to +/-100% on a stationary arc. Vernier reads to 10', scale pointer friction mvmnt. Eyepiece slides out to focus cross hairs, bubble. Objective lens slides out to focus target. Stadia ration 1 to 100. 7-1/2L. Flat base, brass tube w/ alu. arc. carrying case snap closure | 10 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00089 | Metric open reel, graduated both sides, Meter, cm, 2mm one side - Meter, cm, 5mm other side, | 3 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00090 | Accessory for above item | 6 | piece |  | Salaheddin University/ Erbil
|  |  | 06-07-00091 | Instant measures results w/ accuracy up to 99.5% at distances from 2' to 250'. Units of meas. includes ft./ins., m/cm, dec. ft., and yards. | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00092 | measures to 9,999.9m in meters and decimeters. Spool capacity: 9,000' | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00093 | operating temp. -13oF to 120oF (-25oC to +49oC), output: audio & visual; overall length 41" | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00094 | Measuring range: 14"x 325'; Measuring Accuracy: +0.1% (100 x 100 mm area measurement). Minimum line reading: 0.05 mm; Dim. 13.5"L x 6.1"W x 1.7"H | 1 | unit |  | Salaheddin University/ Erbil
|  |  | 06-07-00095 | Roller type; Computing function; 10 Symbol display; Converting function: Unit/scale, including adapter & carrying case | 1 | unit | #REF! | Salaheddin University/ Erbil
|  |  | 06-07-00096 | Computer | 100 | set
|  |  | 06-07-00097 | LCD projector, data show | 2 | unit
|  |  | 06-07-00098 | Portable PC computer | 2 | unit
|  |  | 06-07-00099 | Printer HP 1100 laser jet | 40 | unit
|  |  | 06-07-00100 | Photocopy machine, small, B&W | 4 | unit
|  |  | 06-07-00101 | Scanner | 6 | unit
|  |  | 06-07-00102 | UPS | 70 | unit
|  |  | 06-07-00103 | Refrigerator/Freezer cap. 159/88 liters | 3 | unit
|  |  | 06-07-00104 | Freezer 614 liters | 3 | unit
|  |  | 06-07-00105 | Water fountain | 3 | unit
|  |  | 06-07-00106 | Gas Cooker with oven | 3 | unit
|  |  | 06-07-00107 | Gas Grill for at least 20 chicken | 5 | unit
|  |  | 06-07-00108 | Juice preparation w/ cooling equipment | 3 | unit
|  |  | 06-07-00109 | Microwave Oven | 3 | unit
|  |  | 06-07-00110 | Microphone & Speakers | 3 | unit
|  |  | 06-07-00111 | Amplifier | 3 | set
|  |  | 06-07-00112 | Video Camera | 3 | unit
|  |  | 06-07-00113 | Video Projectors | 1 | set
|  |  | 06-07-00114 | Pentium II, 450 MHz, with accessories | 2 | unit
|  |  | 06-07-00115 | UPS - 650V | 30 | set
|  |  | 06-07-00116 | Laser printers | 30 | unit
|  |  | 06-07-00117 | Multi gym equipment | 15 | unit
|  |  | 06-07-00118 | High pressure vapour unit | 1 | piece
|  |  | 06-07-00119 | Heat conductive paste, 50 g | 1 | piece
|  |  | 06-07-00120 | Heating apparatus | 1 | piece
|  |  | 06-07-00121 | Pipette, with rubber bulb, long 1 | 1 | piece
|  |  | 06-07-00122 | Tripod base -PASS- | 1 | piece
|  |  | 06-07-00123 | Bosshead | 1 | piece
|  |  | 06-07-00124 | Support rod, stainl. steel, 250 mm | 1 | piece
|  |  | 06-07-00125 | Manometer 0-1.6 bar | 1 | piece
|  |  | 06-07-00126 | Students thermometer, -10...+110 C | 2 | piece
|  |  | 06-07-00127 | Round flask, 100 ml, 3-n., GL25/23GL1 | 1 | piece
|  |  | 06-07-00128 | Stopcock, 1-way, r.-angled, glass | 1 | piece
|  |  | 06-07-00129 | Vacuum pump, one stage | 1 | piece
|  |  | 06-07-00130 | Magnetic stirrer w. heat., 230 V | 1 | piece
|  |  | 06-07-00131 | Magn.stirring bar 30 mm, cyl. | 2 | piece
|  |  | 06-07-00132 | Glass tube 200 mm ext. d = 8 mm | 1 | piece
|  |  | 06-07-00133 | Jointing f. GL25, 8 mm hole, 10 pcs | 1 | piece
|  |  | 06-07-00134 | Rubber tubing, vacuum, i.d. 8 mm | 1 | piece
|  |  | 06-07-00135 | Rubber tubing, i.d. 12 mm | 1 | piece
|  |  | 06-07-00136 | Support base -PASS- | 1 | piece
|  |  | 06-07-00137 | Support rod -PASS-, square, l 630 mm | 1 | piece
|  |  | 06-07-00138 | Support rod, l 500 mm/M10 thread | 1 | piece
|  |  | 06-07-00139 | Universal clamp with joint | 2 | piece
|  |  | 06-07-00140 | Right angle clamp -PASS- | 2 | piece
|  |  | 06-07-00141 | Glass beaker, short, 400 ml | 1 | piece
|  |  | 06-07-00142 | Glass beaker, short, 600 ml | 1 | piece
|  |  | 06-07-00143 | Water, distilled, 5 l | 1 | piece
|  |  | 06-07-00144 | Appar. for elev. of boiling point | 1 | piece
|  |  | 06-07-00145 | Heat. mantle f. round bott.fl. 250 ml | 1 | piece
|  |  | 06-07-00146 | Clamp for heating mantle | 1 | piece
|  |  | 06-07-00147 | Power regulator | 1 | piece
|  |  | 06-07-00148 | Laboratory balance, data outp. 620 g | 1 | piece
|  |  | 06-07-00149 | Weighing dishes, 853853 7 mm, 100 | 1 | piece
|  |  | 06-07-00150 | Temperature meter, digital, 4-2 | 1 | piece
|  |  | 06-07-00151 | Temperature probe, immers.type | 1 | piece
|  |  | 06-07-00152 | Protective sleeves f. temp. probe, 2 | 1 | piece
|  |  | 06-07-00153 | Retort stand, h 750 mm | 1 | piece
|  |  | 06-07-00154 | Right angle clamp | 3 | piece
|  |  | 06-07-00155 | Universal clamp | 3 | piece
|  |  | 06-07-00156 | Flask, round, 1-neck, 250 ml, GL25/13 | 1 | piece
|  |  | 06-07-00157 | Glass beaker, tall, 250 ml | 1 | piece
|  |  | 06-07-00158 | Jointing f. GL25, 8 mm hole, 10 pcs | 1 | piece
|  |  | 06-07-00159 | Silicone tubing i.d. 7 mm | 1 | piece
|  |  | 06-07-00160 | Mortar w. pestle, 150 ml, porcelain | 3 | piece
|  |  | 06-07-00161 | Pinchcock, width 15 mm | 1 | piece
|  |  | 06-07-00162 | Microspoon, special steel | 1 | piece
|  |  | 06-07-00163 | Wash bottle, plastic, 500 ml | 1 | piece
|  |  | 06-07-00164 | Pellet press for calorimeter | 1 | piece
|  |  | 06-07-00165 | Funnel, glass, top dia. 80 mm | 1 | piece
|  |  | 06-07-00166 | Pasteur pipettes, 250 pcs | 1 | piece
|  |  | 06-07-00167 | Rubber caps, 10 pcs | 1 | piece
|  |  | 06-07-00168 | Beads, 200 g | 1 | piece
|  |  | 06-07-00169 | Sodium chloride 500 g | 1 | piece
|  |  | 06-07-00170 | Urea 250 g | 1 | piece
|  |  | 06-07-00171 | Hydroquinone 250 g | 1 | piece
|  |  | 06-07-00172 | Glycerol 250 ml | 1 | piece
|  |  | 06-07-00173 | Water, distilled 5 l | 1 | piece
|  |  | 06-07-00174 | App. for freezing point depr. | 1 | piece
|  |  | 06-07-00175 | Jointing f. GL25, 12 mm hole, 10 pcs | 1 | piece
|  |  | 06-07-00176 | Temperature meter digital, 4-2 | 1 | piece
|  |  | 06-07-00177 | Temperature probe, immers. type | 2 | piece
|  |  | 06-07-00178 | Protective sleeves f. temp.probe, 2 | 1 | piece
|  |  | 06-07-00179 | Pellet press for calorimeter | 1 | piece
|  |  | 06-07-00180 | Magn. stirrer, mini, controlable | 1 | piece
|  |  | 06-07-00181 | Right angle clamp | 2 | piece
|  |  | 06-07-00182 | Universal clamp | 2 | piece
|  |  | 06-07-00183 | Glass beaker, short, 1000 ml | 1 | piece
|  |  | 06-07-00184 | Volumetric pipette, 50 ml | 1 | piece
|  |  | 06-07-00185 | Pipettor | 1 | piece
|  |  | 06-07-00186 | Retort stand, h 1000 mm | 1 | piece
|  |  | 06-07-00187 | Wash bottle, plastic, 500 ml | 1 | piece
|  |  | 06-07-00188 | Magn.stirring bar 15 mm, cyl. | 1 | piece
|  |  | 06-07-00189 | Balance SBA42, 120 g/1 mg, ext. Cal. | 1 | piece
|  |  | 06-07-00190 | Stopwatch, digital, 1/100 sec. | 1 | piece
|  |  | 06-07-00191 | Mortar w. pestle, 70 ml, porcelain | 2 | piece
|  |  | 06-07-00192 | Microspoon, special steel | 1 | piece
|  |  | 06-07-00193 | Spoon, special steel | 1 | piece
|  |  | 06-07-00194 | Funnel, plastic, dia. 50 mm | 1 | piece
|  |  | 06-07-00195 | Weighing dishes, 853853 7 mm, 100 | 1 | piece
|  |  | 06-07-00196 | Pasteur pipettes, 250 pcs | 1 | piece
|  |  | 06-07-00197 | Rubber caps, 10 pcs | 1 | piece
|  |  | 06-07-00198 | Glass rod, boro 3.3, l = 300 mm, d = 8 mm | 1 | piece
|  |  | 06-07-00199 | Sodium chloride 500 g | 1 | piece
|  |  | 06-07-00200 | Hydroquinone 250 g | 1 | piece
|  |  | 06-07-00201 | Raw alcohol for burning 1000 ml | 1 | piece
|  |  | 06-07-00202 | DTA apparatus | 1 | piece
|  |  | 06-07-00203 | Tube f. det. of melt. point, 100 pcs. | 1 | piece
|  |  | 06-07-00204 | Thermocouple NiCr-Ni, sheathed | 2 | piece
|  |  | 06-07-00205 | COBRA-interface 2 | 1 | piece
|  |  | 06-07-00206 | Measuring mod., temp. NiCrNi, 330C | 2 | piece
|  |  | 06-07-00207 | PC COBRA data cable RS232, 2 m | 1 | piece
|  |  | 06-07-00208 | Softw. COBRA Temperature | 1 | piece
|  |  | 06-07-00209 | Laboratory balance, data outp. 620 g | 1 | piece
|  |  | 06-07-00210 | Hot-/Cold air blower, 1000 W | 1 | piece
|  |  | 06-07-00211 | Retort stand, h 750 mm | 1 | piece
|  |  | 06-07-00212 | Right angle clamp | 1 | piece
|  |  | 06-07-00213 | Universal clamp with joint | 1 | piece | #REF! | #REF!
|  |  | 06-07-00214 | Mortar w. pestle, 150ml, porcelain | 2 | piece | #REF! | #REF!
|  |  | 06-07-00215 | Glass beaker, tall, 50 ml | 1 | piece | #REF! | #REF!
|  |  | 06-07-00216 | Aluminium oxide 250 g | 1 | piece | #REF! | #REF!
|  |  | 06-07-00217 | Benzoic acid 100 g | 1 | piece | #REF! | #REF!
|  |  | 06-07-00218 | Salicylic acid 100 g | 1 | piece | #REF! | #REF!
|  |  | 06-07-00219 | Thermopile, molltype | 1 | piece | #REF! | #REF!
|  |  | 06-07-00220 | Shielding tube | 1 | piece | #REF! | #REF!
|  |  | 06-07-00221 | Universal measuring amplifier | 1 | piece | #REF! | #REF!
|  |  | 06-07-00222 | Power supply var.15VAC/12VDC/5A | 1 | piece | #REF! | #REF!
|  |  | 06-07-00223 | Lamp holder E 14, on stem | 1 | piece | #REF! | #REF!
|  |  | 06-07-00224 | Filament lamp 6V/5A, E14 | 3 | piece | #REF! | #REF!
|  |  | 06-07-00225 | Connection box 06030.23 1 | 1 | piece | #REF! | #REF!
|  |  | 06-07-00226 | Resistor in plug-in box 100 Ohms | 1 | piece | #REF! | #REF!
|  |  | 06-07-00227 | Optical profile bench l = 60 cm | 1 | piece | #REF! | #REF!
|  |  | 06-07-00228 | Base f. opt. profile-bench, adjust. | 2 | piece | #REF! | #REF!
|  |  | 06-07-00229 | Origins of life/second edition | 5 | piece
|  |  | 06-07-00230 | Psychology/third edition | 5 | piece
|  |  | 06-07-00231 | District laboratory practice in Tropical countries /vol.1 | 5 | piece
|  |  | 06-07-00232 | Hivand community Health workers A guide for action | 5 | piece
|  |  | 06-07-00233 | Microbes and Man .4th ed. | 5 | piece
|  |  | 06-07-00234 | Death, Hope and Sex : Steps to an Evolutionary Ecology of Mind and Morality | 5 | piece
|  |  | 06-07-00235 | Evolutionary Genetics : from Molecules to Morphology. Vol. 1 | 5 | piece
|  |  | 06-07-00236 | Migration and Colonization in Human Microevolution | 5 | piece
|  |  | 06-07-00237 | Spatial Modeling of Forest Landscapes | 5 | piece
|  |  | 06-07-00238 | Biological Conservation , Restoration and Sustainability | 5 | piece
|  |  | 06-07-00239 | Cliff Ecology | 5 | piece
|  |  | 06-07-00240 | Earth systems | 5 | piece
|  |  | 06-07-00241 | Principles of Seismology | 5 | piece
|  |  | 06-07-00242 | Aviation and the Global Atmosphere | 5 | piece
|  |  | 06-07-00243 | Catalogue of Meteorites | 5 | piece
|  |  | 06-07-00244 | Catalogue of Meteorites | 5 | piece
|  |  | 06-07-00245 | Microbes and Man | 5 | piece
|  |  | 06-07-00246 | Evolutionary Genetics | 5 | piece
|  |  | 06-07-00247 | Nerve Cells and Animal Behavior | 5 | piece
|  |  | 06-07-00248 | Human Growth in the Past | 5 | piece
|  |  | 06-07-00249 | Migration and Colonization in Human Microevolution | 5 | piece
|  |  | 06-07-00250 | Error Analysis: Perspective on Second Language Acqui | 5 | piece
|  |  | 06-07-00251 | Interchange :English for International Communication | 5 | piece
|  |  | 06-07-00252 | Basic Tactics Teachers Book | 5 | piece
|  |  | 06-07-00253 | Basic Tactics for Listening | 5 | piece
|  |  | 06-07-00254 | Springboard ; Student Book 2 | 5 | piece
|  |  | 06-07-00255 | Dictionary of language teaching and Applied Linguistics | 5 | piece
|  |  | 06-07-00256 | Reflective Teaching in second language classrooms | 5 | piece
|  |  | 06-07-00257 | Developing Tactics for Listening | 5 | piece
|  |  | 06-07-00258 | Developing Tactics for Listening | 5 | piece
|  |  | 06-07-00259 | Passages | 5 | piece
|  |  | 06-07-00260 | Passages Work book 1: An Upper Level Multi- Skills Course | 5 | piece
|  |  | 06-07-00261 | Passages Work book 1: An Upper Level Multi- Skills Course | 5 | piece
|  |  | 06-07-00262 | Second Language Teacher Education | 5 | piece
|  |  | 06-07-00263 | Student book 1 | 5 | piece
|  |  | 06-07-00264 | Interchange; English for International Communication | 5 | piece
|  |  | 06-07-00265 | Approaches and Methods In Language Teaching | 5 | piece
|  |  | 06-07-00266 | New person to person : Communicative Speaking and Listening | 5 | piece
|  |  | 06-07-00267 | Interchange; English for International Communication | 5 | piece
|  |  | 06-07-00268 | Interchange; English for International Communication | 5 | piece
|  |  | 06-07-00269 | Interchange; English for International Communication | 5 | piece
|  |  | 06-07-00270 | Interchange; English for International Communication | 5 | piece
|  |  | 06-07-00271 | Passages Work book 1: An Upper Level Multi- Skills Course | 5 | piece
|  |  | 06-07-00272 | Passages: An Upper Level Multi- Skills Course | 5 | piece
|  |  | 06-07-00273 | Second Language Teacher Education | 5 | piece
|  |  | 06-07-00274 | Student book 1 | 5 | piece
|  |  | 06-07-00275 | Interchange; English for International Communication | 5 | piece
|  |  | 06-07-00276 | Approaches and Methods In Language Teaching | 5 | piece
|  |  | 06-07-00277 | New person to person : Communicative Speaking and Listening | 5 | piece
|  |  | 06-07-00278 | Interchange :English for International Communication | 5 | piece
|  |  | 06-07-00279 | Interchange :English for International Communication | 5 | piece
|  |  | 06-07-00280 | Interchange :English for International Communication | 5 | piece
|  |  | 06-07-00281 | Interchange :English for International Communication | 5 | piece
|  |  | 06-07-00282 | Interchange Intro:English for International Communication | 5 | piece
|  |  | 06-07-00283 | Springboard | 5 | piece
|  |  | 06-07-00284 | Springboard :Teachers book | 5 | piece
|  |  | 06-07-00285 | New Interchange : Video Activity Book | 5 | piece
|  |  | 06-07-00286 | The Context of Language Teaching | 5 | piece
|  |  | 06-07-00287 | Expanding tactics for Listening | 5 | piece
|  |  | 06-07-00288 | The Context of Language Teaching | 5 | piece
|  |  | 06-07-00289 | Expanding tactics for Listening | 5 | piece
|  |  | 06-07-00290 | Expanding tactics for Listening | 5 | piece
|  |  | 06-07-00291 | New person to person : Communicative Speaking and Listening | 5 | piece
|  |  | 06-07-00292 | New person to person | 5 | piece
|  |  | 06-07-00293 | Language and Communication | 5 | piece
|  |  | 06-07-00294 | Listen for it : A Task Based Listening Course | 5 | piece
|  |  | 06-07-00295 | Listen for it : Teachers book | 5 | piece
|  |  | 06-07-00296 | Understanding Second and foreign Language Learning | 5 | piece
|  |  | 06-07-00297 | Interchange; English for International Communication | 5 | piece
|  |  | 06-07-00298 | Interchange; English for International Communication | 5 | piece
|  |  | 06-07-00299 | Interchange; English for International Communication | 5 | piece
|  |  | 06-07-00300 | Interchange; English for International Communication | 5 | piece
|  |  | 06-07-00301 | Interchange; English for International Communication | 5 | piece
|  |  | 06-07-00302 | Charlie Dog Two and Mustard | 5 | piece
|  |  | 06-07-00303 | An Introduction into the Pronou | 5 | piece
|  |  | 06-07-00304 | An Introduction in to the Pronunciation of English | 5 | piece
|  |  | 06-07-00305 | Phonetics | 5 | piece
|  |  | 06-07-00306 | Anthology of English Literature : Middle Ages | 5 | piece
|  |  | 06-07-00307 | Anthology of English Literature : 16 th /17 th Century | 5 | piece
|  |  | 06-07-00308 | Anthology of English Literature : 18 th Century | 5 | piece
|  |  | 06-07-00309 | Anthology of English Literature : Romantic period | 5 | piece
|  |  | 06-07-00310 | Anthology of English Literature : Victorian Age | 5 | piece
|  |  | 06-07-00311 | Anthology of English Literature : 20 th Century | 5 | piece
|  |  | 06-07-00312 | Anthology of English Literature Drama Before Shakespeare | 5 | piece
|  |  | 06-07-00313 | Anthology of English Literature Medieval and Renaissance Vocal M | 5 | piece
|  |  | 06-07-00314 | Grammatical and Lexical Variance in English | 5 | piece
|  |  | 06-07-00315 | Investigating Linguistic Acceptability | 5 | piece
|  |  | 06-07-00316 | Grammatical Lexical Variance | 5 | piece
|  |  | 06-07-00317 | A Comprehensive Grammar of the English Language | 5 | piece