## XII 07-06
Subsector: | COMMUNICATIONS / TELECOMMUNICATIONS
ANNEX SEVEN/ TRANSPORT & COMMUNICATIONS / TELECOMMUNICATIONS
CODE | DESCRIPTION | QUANTITY | UNIT OF MEASURE
07-06-00001 | SWITCHING EQUIPMENT for 10000 subscriber lines and 150 E1 digital interface: | 30 | unit
07-06-00002 | Subscriber Connections | 1 | Lot
07-06-00003 | Trunk equipment | 1 | Lot
07-06-00004 | Tones and Signaling | 1 | Lot
07-06-00005 | Control Processors | 1 | Lot
07-06-00006 | Operation and Maintenance Processors | 1 | Lot
07-06-00007 | Peripherals | 1 | Lot
07-06-00008 | Racks and Ironworks | 1 | Lot
07-06-00009 | Installation and Maintenance tools, Materials and Cables and Facilities | 1 | Lot
07-06-00010 | Documentation | 2 | Set
07-06-00011 | POWER PLANT | 1 | Lot
07-06-00012 | Operation and Maintenance Processors | 1 | Lot
07-06-00013 | Peripherals | 1 | Lot
07-06-00014 | 48V power supplies | 1 | Lot
07-06-00015 | DC\DC Converters | 1 | Lot
07-06-00016 | Inverters 2KVA | 2 | Set
07-06-00017 | 48V Batteries, 6400 AH | 2 | Set
07-06-00018 | Cables | 1 | Set
07-06-00019 | Installation and Maintenance tools , Materials and Cables | 1 | Lot
07-06-00020 | Documentation | 1 | Set
07-06-00021 | AIR CONDITIONERS | 1 | Lot
07-06-00022 | 3 kW 50Hz, 220V | 4 | Set
07-06-00023 | Installation and Maintenance tools , Materials and Cables | 1 | Lot
07-06-00024 | Documentation | 2 | Set
07-06-00025 | Main Distribution Frames | 1 | Lot
07-06-00026 | Terminal Blocks | 1 | Lot
07-06-00027 | Over voltage protection | 1 | Lot
07-06-00028 | Over current protection | 1 | Lot
07-06-00029 | Ironwork | 1 | Lot
07-06-00030 | Installation tools | 1 | Lot
07-06-00031 | Cables & Jumper wire | 1 | Lot
07-06-00032 | Documentation | 2 | Set
07-06-00033 | FIRE PROTECTION EQUIPMENT | 1 | Lot
07-06-00034 | Detection units | 1 | Lot
07-06-00035 | Control &Alarm Unit | 1 | Lot
07-06-00036 | Manual Extinguishers | 1 | Lot
07-06-00037 | Installation and Maintenance tools , Materials and Cables | 1 | Lot
07-06-00038 | Documentation | 2 | Set
07-06-00039 | False Floor – False Ceiling for switching room | 1 | Lot
07-06-00040 | SPARE PARTS | 1 | Lot
07-06-00041 | DIESEL ENGINE GENERATOR | 1 | Lot
07-06-00042 | Capacity 100-600 KVA | 2 | Set
07-06-00043 | Installation and Maintenance tools , Materials and Cables | 1 | Lot
07-06-00044 | SPARE PARTS | 1 | Lot
07-06-00045 | Documentation | 2 | Set
07-06-00046 | SERVICES | 1 | Lot
07-06-00047 | Training abroad | 2 | Trainee
07-06-00048 | Training in Iraq | 6 | Trainee
07-06-00049 | Supplier Experts(Supervisors or Trainer) | 2 | Expert
07-06-00001 | SWITCHING EQUIPMENT for 5000 subscriber lines and 100 E1 digital interface: | 30 | unit
07-06-00002 | Subscriber Connections | 1 | Lot
07-06-00003 | Trunk equipment | 1 | Lot
07-06-00004 | Tones and Signaling | 1 | Lot
07-06-00005 | Control Processors | 1 | Lot
07-06-00006 | Operation and Maintenance Processors | 1 | Lot
07-06-00007 | Peripherals | 1 | Lot
07-06-00008 | Racks and Ironworks | 1 | Lot
07-06-00009 | Installation and Maintenance tools, Materials and Cables and Facilities | 1 | Lot
07-06-00010 | Documentation | 2 | Set
07-06-00011 | POWER PLANT | 1 | Lot
07-06-00012 | Operation and Maintenance Processors | 1 | Lot
07-06-00013 | Peripherals | 1 | Lot
07-06-00014 | 48V power supplies | 1 | Lot
07-06-00015 | DC\DC Converters | 1 | Lot
07-06-00016 | Inverters 2KVA | 2 | Set
07-06-00017 | 48V Batteries, 6400 AH | 2 | Set
07-06-00018 | Cables | 1 | Set
07-06-00019 | Installation and Maintenance tools , Materials and Cables | 1 | Lot
07-06-00020 | Documentation | 1 | Set
07-06-00021 | AIR CONDITIONERS | 1 | Lot
07-06-00022 | 3 kW 50Hz, 220V | 4 | Set
07-06-00023 | Installation and Maintenance tools , Materials and Cables | 1 | Lot
07-06-00024 | Documentation | 2 | Set
07-06-00025 | Main Distribution Frames | 1 | Lot
07-06-00026 | Terminal Blocks | 1 | Lot
07-06-00027 | Over voltage protection | 1 | Lot
07-06-00028 | Over current protection | 1 | Lot
07-06-00029 | Ironwork | 1 | Lot
07-06-00030 | Installation tools | 1 | Lot
07-06-00031 | Cables & Jumper wire | 1 | Lot
07-06-00032 | Documentation | 2 | Set
07-06-00033 | FIRE PROTECTION EQUIPMENT | 1 | Lot
07-06-00034 | Detection units | 1 | Lot
07-06-00035 | Control &Alarm Unit | 1 | Lot
07-06-00036 | Manual Extinguishers | 1 | Lot
07-06-00037 | Installation and Maintenance tools , Materials and Cables | 1 | Lot
07-06-00038 | Documentation | 2 | Set
07-06-00039 | False Floor – False Ceiling for switching room | 1 | Lot
07-06-00040 | SPARE PARTS | 1 | Lot
07-06-00041 | DIESEL ENGINE GENERATOR | 1 | Lot
07-06-00042 | Capacity 100-600 KVA | 2 | Set
07-06-00043 | Installation and Maintenance tools , Materials and Cables | 1 | Lot
07-06-00044 | SPARE PARTS | 1 | Lot
07-06-00045 | Documentation | 2 | Set
07-06-00046 | SERVICES | 1 | Lot
07-06-00047 | Training abroad | 2 | Trainee
07-06-00048 | Training in Iraq | 6 | Trainee
07-06-00049 | Supplier Experts(Supervisors or Trainer) | 2 | Expert
07-06-02001
07-06-02002
07-06-02003
07-06-02004
07-06-02005
07-06-02006
07-06-02007
ANNEX SEVEN/ TRANSPORT & COMMUNICATIONS / TELECOMMUNICATIONS-BAB AL-MUADHAM REPAIR and MANAGEMENT CENTER in BAGHDAD
07-06-02008 | REPAIR & MANAGEMENT CENTER EQUIPMENT: | 1 | Lot
07-06-02009 | Subscriber Connections Tools | 1 | Lot
07-06-02010 | Trunk equipment Tools | 1 | Lot
07-06-02011 | Tones and Signaling Tools | 1 | Lot
07-06-02012 | Control Processors Tools | 1 | Lot
07-06-02013 | Peripherals Test Tools | 1 | Lot
07-06-02014 | Measurement and Test Devices | 1 | Lot
07-06-02015 | Soldering – Desoldering Tools | 1 | Lot
07-06-02016 | Repair Components | 1 | Lot
07-06-02017 | Programming Station | 1 | Lot
07-06-02018 | Power Supply | 1 | Lot
07-06-02019 | Spare Parts | 1 | Lot
07-06-02020 | Installation and Maintenance tools , Materials and Cables | 1 | Lot
07-06-02021 | Documentation | 2 | Set
07-06-02022 | AIR CONDITIONERS | 1 | Lot
07-06-02023 | 60 kW 50Hz, 220\380V | 5 | Set
07-06-02024 | Installation and Maintenance tools , Materials and Cables | 1 | Lot
07-06-02025 | Documentation | 2 | Set
07-06-02026 | False Floor – False Ceiling for switching room | 1 | Lot
07-06-02027 | SPARE PARTS | 1 | Lot
07-06-02028 | DIESEL ENGINE GENERATOR | 1 | Lot
07-06-02029 | Capacity100-600 KVA | 2 | Set
07-06-02030 | Installation and Maintenance tools , Materials and Cables | 1 | Lot
07-06-02031 | Spare Parts | 1 | Lot
07-06-02032 | Documentation | 2 | Set
07-06-02033 | SERVICES | 1 | Lot
07-06-02034 | Training abroad | 4 | Trainee
07-06-02035 | Training in Iraq | 10 | Trainee
07-06-02036 | Supplier Experts(Supervisors or Trainer) | 4 | Expert
07-06-02037
ANNEX SEVEN/ TRANSPORT & COMMUNICATIONS / TELECOMMUNICATIONS Sub-sector: PABX Site Name: ** NOTE-1
07-06-02038 | 3000 Extension PUBLIC EXCHANGE(INCLUDING TELEPHONE SETS AND ACCESSORIES) | 5 | Set
07-06-02039 | 2000 Extension PUBLIC EXCHANGE(INCLUDING TELEPHONE SETS AND ACCESSORIES) | 5 | Set
07-06-02040 | 1000 Extension PUBLIC EXCHANGE(INCLUDING TELEPHONE SETS AND ACCESSORIES) | 5 | Set
07-06-02041 | 500 Extension PUBLIC EXCHANGE(INCLUDING TELEPHONE SETS AND ACCESSORIES) | 10 | Set
07-06-02042 | 300 Extension PUBLIC EXCHANGE(INCLUDING TELEPHONE SETS AND ACCESSORIES) | 20 | Set
07-06-02043 | 200 Extension PUBLIC EXCHANGE(INCLUDING TELEPHONE SETS AND ACCESSORIES) | 30 | Set
07-06-02044 | 100 Extension PUBLIC EXCHANGE(INCLUDING TELEPHONE SETS AND ACCESSORIES) | 50 | Set
07-06-02045 | SERVICES | 100 | Set
07-06-02046 | Training abroad | 100 | Set
07-06-02047 | Training in Iraq | 200 | Set
07-06-02048 | Supplier Experts(Supervisors or Trainer) | 10 | Lot
07-06-02049 |  | 20 | Trainee
07-06-02050 |  | 60 | Trainee
07-06-03051 |  | 10 | Expert
07-06-03052 | KEY TELEPHONE SYSTEMS(VARIOUS CAPACITIES) & ACCESSORIES | 500 | UNIT
Note on C14: default: the qty and the unit are not line with the description
Note on C64: default: the qty and the unit are not line with the description