## XIII 07-01
SECTOR: | TRANSPORT & COMMUNICATIONS / TELECOMMUNICATIONS
Subsector: | REPLACEMENT OF OLD EXCHANGES IN BAGHDAD
PROJECT or TITLE:
CODE | DESCRIPTION
Site Name: ADHAMIYA in BAGHDAD
07-01-00001 | SWITCHING EQUIPMENT for 30000 subscriber lines and 250 E1 digital interface:
07-01-00002 | Subscriber Connections
07-01-00003 | Trunk equipment
07-01-00004 | Tones and Signaling
07-01-00005 | Control Processors
07-01-00006 | Operation and Maintenance Processors
07-01-00007 | Peripherals
07-01-00008 | Racks and Ironworks
07-01-00009 | Installation and Maintenance tools, Materials and Cables and Facilities
07-01-00010 | Documentation
07-01-00011 | POWER PLANT
07-01-00012 | Operation and Maintenance Processors
07-01-00013 | Peripherals
07-01-00014 | 48V power supplies
07-01-00015 | DC\DC Converters
07-01-00016 | Inverters 2KVA
07-01-00017 | 48V Batteries, 6400 AH
07-01-00018 | Cables
07-01-00019 | Installation and Maintenance tools , Materials and Cables
07-01-00020 | Documentation
07-01-00021 | AIR CONDITIONERS
07-01-00022 | 20-60kW 50Hz, 220\380V
07-01-00023 | Installation and Maintenance tools , Materials and Cables
07-01-00024 | Documentation
07-01-00025 | Main Distribution Frames
07-01-00026 | Terminal Blocks
07-01-00027 | Over voltage protection
07-01-00028 | Over current protection
07-01-00029 | Ironwork
07-01-00030 | Installation tools
07-01-00031 | Cables & Jumper wire
07-01-00032 | Documentation
07-01-00033 | FIRE PROTECTION EQUIPMENT
07-01-00034 | Detection units
07-01-00035 | Control &Alarm Unit
07-01-00036 | Manual Extinguishers
07-01-00037 | Installation and Maintenance tools , Materials and Cables
07-01-00038 | Documentation
07-01-00039 | False Floor – False Ceiling for switching room
07-01-00040 | SPARE PARTS
07-01-00041 | DIESEL ENGINE GENERATOR
07-01-00042 | Capacity 100-600 KVA
07-01-00043 | Installation and Maintenance tools , Materials and Cables
07-01-00044 | Spare Parts
07-01-00045 | Documentation
07-01-00046 | SERVICES
07-01-00047 | Training abroad
07-01-00048 | Training in Iraq
07-01-00049 | Supplier Experts(Supervisors or Trainer)
Site Name: DAWASA in NINEVA
07-01-01051 | SWITCHING EQUIPMENT for 30000 subscriber lines and 300 E1 digital interface:
07-01-01052 | Subscriber Connections
07-01-01053 | Trunk equipment
07-01-01054 | Tones and Signaling
07-01-01055 | Control Processors
07-01-01056 | Operation and Maintenance Processors
07-01-01057 | Peripherals
07-01-01058 | Racks and Ironworks
07-01-01059 | Installation and Maintenance tools, Materials and Cables and Facilities
07-01-01060 | Documentation
07-01-01061 | POWER PLANT
07-01-01062 | Operation and Maintenance Processors
07-01-01063 | Peripherals
07-01-01064 | 48V power supplies
07-01-01065 | DC\DC Converters
07-01-01066 | Inverters 2KVA
07-01-01067 | 48V Batteries, 6400 AH
07-01-01068 | Cables
07-01-01069 | Installation and Maintenance tools , Materials and Cables
07-01-01070 | Documentation
07-01-01071 | AIR CONDITIONERS
07-01-01072 | 20-60kW 50Hz, 220\380V
07-01-01073 | Installation and Maintenance tools , Materials and Cables
07-01-01074 | Documentation
07-01-01075 | Main Distribution Frames
07-01-01076 | Terminal Blocks
07-01-01077 | Over voltage protection
07-01-01078 | Over current protection
07-01-01079 | Ironwork
07-01-01080 | Installation tools
07-01-01081 | Cables & Jumper wire
07-01-01082 | Documentation
07-01-01083 | FIRE PROTECTION EQUIPMENT
07-01-01084 | Detection units
07-01-01085 | Control &Alarm Unit
07-01-01086 | Manual Extinguishers
07-01-01087 | Installation and Maintenance tools , Materials and Cables
07-01-01088 | Documentation
07-01-01089 | False Floor – False Ceiling for switching room
07-01-01090 | SPARE PARTS
07-01-01091 | DIESEL ENGINE GENERATOR
07-01-01092 | Capacity 100-600 KVA
07-01-01093 | Installation and Maintenance tools , Materials and Cables
07-01-01094 | Spare Parts
07-01-01095 | Documentation
07-01-01096 | SERVICES
07-01-01097 | Training abroad
07-01-01098 | Training in Iraq
07-01-01099 | Supplier Experts(Supervisors or Trainer)
Site Name: CENTRAL in KERKUK
07-01-02001 | SWITCHING EQUIPMENT for 30000 subscriber lines and 250 E1 digital interface:
07-01-02002 | Subscriber Connections
07-01-02003 | Trunk equipment
07-01-02004 | Tones and Signaling
07-01-02005 | Control Processors
07-01-02006 | Operation and Maintenance Processors
07-01-02007 | Peripherals
07-01-02008 | Racks and Ironworks
07-01-02009 | Installation and Maintenance tools, Materials and Cables and Facilities
07-01-02010 | Documentation
07-01-02011 | POWER PLANT
07-01-02012 | Operation and Maintenance Processors
07-01-02013 | Peripherals
07-01-02014 | 48V power supplies
07-01-02015 | DC\DC Converters
07-01-02016 | Inverters 2KVA
07-01-02017 | 48V Batteries, 6400 AH
07-01-02018 | Cables
07-01-02019 | Installation and Maintenance tools , Materials and Cables
07-01-02020 | Documentation
07-01-02021 | AIR CONDITIONERS
07-01-02022 | 20-60kW 50Hz, 220\380V
07-01-02023 | Installation and Maintenance tools , Materials and Cables
07-01-02024 | Documentation
07-01-02025 | Main Distribution Frames
07-01-02026 | Terminal Blocks
07-01-02027 | Over voltage protection
07-01-02028 | Over current protection
07-01-02029 | Ironwork
07-01-02030 | Installation tools
07-01-02031 | Cables & Jumper wire
07-01-02032 | Documentation
07-01-02033 | FIRE PROTECTION EQUIPMENT
07-01-02034 | Detection units
07-01-02035 | Control &Alarm Unit
07-01-02036 | Manual Extinguishers
07-01-02037 | Installation and Maintenance tools , Materials and Cables
07-01-02038 | Documentation
07-01-02039 | False Floor – False Ceiling for switching room
07-01-02040 | SPARE PARTS
07-01-02041 | DIESEL ENGINE GENERATOR
07-01-02042 | Capacity 100-600 KVA
07-01-02043 | Installation and Maintenance tools , Materials and Cables
07-01-02044 | Spare Parts
07-01-02045 | Documentation
07-01-02046 | SERVICES
07-01-02047 | Training abroad
07-01-02048 | Training in Iraq
07-01-02049 | Supplier Experts(Supervisors or Trainer)
Site Name: AL-HILLA in BABYLON
07-01-03051 | SWITCHING EQUIPMENT for 20000 subscriber lines and 200 E1 digital interface:
07-01-03052 | Subscriber Connections
07-01-03053 | Trunk equipment
07-01-03054 | Tones and Signaling
07-01-03055 | Control Processors
07-01-03056 | Operation and Maintenance Processors
07-01-03057 | Peripherals
07-01-03058 | Racks and Ironworks
07-01-03059 | Installation and Maintenance tools, Materials and Cables and Facilities
07-01-03060 | Documentation
07-01-03061 | POWER PLANT
07-01-03062 | Operation and Maintenance Processors
07-01-03063 | Peripherals
07-01-03064 | 48V power supplies
07-01-03065 | DC\DC Converters
07-01-03066 | Inverters 2KVA
07-01-03067 | 48V Batteries, 6400 AH
07-01-03068 | Cables
07-01-03069 | Installation and Maintenance tools , Materials and Cables
07-01-03070 | Documentation
07-01-03071 | AIR CONDITIONERS
07-01-03072 | 20-60kW 50Hz, 220\380V
07-01-03073 | Installation and Maintenance tools , Materials and Cables
07-01-03074 | Documentation
07-01-03075 | Main Distribution Frames
07-01-03076 | Terminal Blocks
07-01-03077 | Over voltage protection
07-01-03078 | Over current protection
07-01-03079 | Ironwork
07-01-03080 | Installation tools
07-01-03081 | Cables & Jumper wire
07-01-03082 | Documentation
07-01-03083 | FIRE PROTECTION EQUIPMENT
07-01-03084 | Detection units
07-01-03085 | Control &Alarm Unit
07-01-03086 | Manual Extinguishers
07-01-03087 | Installation and Maintenance tools , Materials and Cables
07-01-03088 | Documentation
07-01-03089 | False Floor – False Ceiling for switching room
07-01-03090 | SPARE PARTS
07-01-03091 | DIESEL ENGINE GENERATOR
07-01-03092 | Capacity 100-600 KVA
07-01-03093 | Installation and Maintenance tools , Materials and Cables
07-01-03094 | Spare Parts
07-01-03095 | Documentation
07-01-03096 | SERVICES
07-01-03097 | Training abroad
07-01-03098 | Training in Iraq
07-01-03099 | Supplier Experts(Supervisors or Trainer)
Site Name: NAJAF in NAJAF
07-01-04051 | SWITCHING EQUIPMENT for 20000 subscriber lines and 200 E1 digital interface:
07-01-04052 | Subscriber Connections
07-01-04053 | Trunk equipment
07-01-04054 | Tones and Signaling
07-01-04055 | Control Processors
07-01-04056 | Operation and Maintenance Processors
07-01-04057 | Peripherals
07-01-04058 | Racks and Ironworks
07-01-04059 | Installation and Maintenance tools, Materials and Cables and Facilities
07-01-04060 | Documentation
07-01-04061 | POWER PLANT
07-01-04062 | Operation and Maintenance Processors
07-01-04063 | Peripherals
07-01-04064 | 48V power supplies
07-01-04065 | DC\DC Converters
07-01-04066 | Inverters 2KVA
07-01-04067 | 48V Batteries, 6400 AH
07-01-04068 | Cables
07-01-04069 | Installation and Maintenance tools , Materials and Cables
07-01-04070 | Documentation
07-01-04071 | AIR CONDITIONERS
07-01-04072 | 20-60kW 50Hz, 220\380V
07-01-04073 | Installation and Maintenance tools , Materials and Cables
07-01-04074 | Documentation
07-01-04075 | Main Distribution Frames
07-01-04076 | Terminal Blocks
07-01-04077 | Over voltage protection
07-01-04078 | Over current protection
07-01-04079 | Ironwork
07-01-04080 | Installation tools
07-01-04081 | Cables & Jumper wire
07-01-04082 | Documentation
07-01-04083 | FIRE PROTECTION EQUIPMENT
07-01-04084 | Detection units
07-01-04085 | Control &Alarm Unit
07-01-04086 | Manual Extinguishers
07-01-04087 | Installation and Maintenance tools , Materials and Cables
07-01-04088 | Documentation
07-01-04089 | False Floor – False Ceiling for switching room
07-01-04090 | SPARE PARTS
07-01-04091 | DIESEL ENGINE GENERATOR
07-01-04092 | Capacity 100-600 KVA
07-01-04093 | Installation and Maintenance tools , Materials and Cables
07-01-04094 | Spare Parts
07-01-04095 | Documentation
07-01-04096 | SERVICES
07-01-04097 | Training abroad
07-01-04098 | Training in Iraq
07-01-04099 | Supplier Experts(Supervisors or Trainer)
Site Name: KUFA in NAJAF
07-01-05051 | SWITCHING EQUIPMENT for 20000 subscriber lines and 200 E1 digital interface:
07-01-05052 | Subscriber Connections
07-01-05053 | Trunk equipment
07-01-05054 | Tones and Signaling
07-01-05055 | Control Processors
07-01-05056 | Operation and Maintenance Processors
07-01-05057 | Peripherals
07-01-05058 | Racks and Ironworks
07-01-05059 | Installation and Maintenance tools, Materials and Cables and Facilities
07-01-05060 | Documentation
07-01-05061 | POWER PLANT
07-01-05062 | Operation and Maintenance Processors
07-01-05063 | Peripherals
07-01-05064 | 48V power supplies
07-01-05065 | DC\DC Converters
07-01-05066 | Inverters 2KVA
07-01-05067 | 48V Batteries, 6400 AH
07-01-05068 | Cables
07-01-05069 | Installation and Maintenance tools , Materials and Cables
07-01-05070 | Documentation
07-01-05071 | AIR CONDITIONERS
07-01-05072 | 20-60kW 50Hz, 220\380V
07-01-05073 | Installation and Maintenance tools , Materials and Cables
07-01-05074 | Documentation
07-01-05075 | Main Distribution Frames
07-01-05076 | Terminal Blocks
07-01-05077 | Over voltage protection
07-01-05078 | Over current protection
07-01-05079 | Ironwork
07-01-05080 | Installation tools
07-01-05081 | Cables & Jumper wire
07-01-05082 | Documentation
07-01-05083 | FIRE PROTECTION EQUIPMENT
07-01-05084 | Detection units
07-01-05085 | Control &Alarm Unit
07-01-05086 | Manual Extinguishers
07-01-05087 | Installation and Maintenance tools , Materials and Cables
07-01-05088 | Documentation
07-01-05089 | False Floor – False Ceiling for switching room
07-01-05090 | SPARE PARTS
07-01-05091 | DIESEL ENGINE GENERATOR
07-01-05092 | Capacity 100-600 KVA
07-01-05093 | Installation and Maintenance tools , Materials and Cables
07-01-05094 | Spare Parts
07-01-05095 | Documentation
07-01-05096 | SERVICES
07-01-05097 | Training abroad
07-01-05098 | Training in Iraq
07-01-05099 | Supplier Experts(Supervisors or Trainer)
Site Name: SAMAWA in AL-MUTHANNA
07-01-06102 | SWITCHING EQUIPMENT for20000 subscriber lines ,200 E1 digital interface, Training Model and Repair Center:
07-01-06103 | Subscriber Connections
07-01-06104 | Trunk equipment
07-01-06105 | Tones and Signaling
07-01-06106 | Control Processors
07-01-06107 | Operation and Maintenance Processors
07-01-06108 | Peripherals
07-01-06109 | Racks and Ironworks
07-01-06110 | Installation and Maintenance tools, Materials and Cables and Facilities
07-01-06111 | Documentation
07-01-06112 | POWER PLANT
07-01-06113 | Operation and Maintenance Processors
07-01-06114 | Peripherals
07-01-06115 | 48V power supplies
07-01-06116 | DC\DC Converters
07-01-06117 | Inverters 2KVA
07-01-06118 | 48V Batteries, 6400 AH
07-01-06119 | Cables
07-01-06120 | Installation and Maintenance tools , Materials and Cables
07-01-06121 | Documentation
07-01-06122 | AIR CONDITIONERS
07-01-06123 | 20-60kW 50Hz, 220\380V
07-01-06124 | Installation and Maintenance tools , Materials and Cables
07-01-06125 | Documentation
07-01-06126 | Main Distribution Frames
07-01-06127 | Terminal Blocks
07-01-06128 | Over voltage protection
07-01-06129 | Over current protection
07-01-06130 | Ironwork
07-01-06131 | Installation tools
07-01-06132 | Cables & Jumper wire
07-01-06133 | Documentation
07-01-06134 | FIRE PROTECTION EQUIPMENT
07-01-06135 | Detection units
07-01-06136 | Control &Alarm Unit
07-01-06137 | Manual Extinguishers
07-01-06138 | Installation and Maintenance tools , Materials and Cables
07-01-06139 | Documentation
07-01-06140 | False Floor – False Ceiling for switching room
07-01-06141 | SPARE PARTS
07-01-06142 | DIESEL ENGINE GENERATOR
07-01-06143 | Capacity 100-600 KVA
07-01-06144 | Installation and Maintenance tools , Materials and Cables
07-01-06145 | Spare Parts
07-01-06146 | Documentation
07-01-06161 | SERVICES
07-01-06162 | Training abroad
07-01-06163 | Training in Iraq
07-01-06164 | Supplier Experts(Supervisors or Trainer)
Site Name: QUIBLA in BASRAH
07-01-07051 | SWITCHING EQUIPMENT for 20000 subscriber lines and 200 E1 digital interface:
07-01-07052 | Subscriber Connections
07-01-07053 | Trunk equipment
07-01-07054 | Tones and Signaling
07-01-07055 | Control Processors
07-01-07056 | Operation and Maintenance Processors
07-01-07057 | Peripherals
07-01-07058 | Racks and Ironworks
07-01-07059 | Installation and Maintenance tools, Materials and Cables and Facilities
07-01-07060 | Documentation
07-01-07061 | POWER PLANT
07-01-07062 | Operation and Maintenance Processors
07-01-07063 | Peripherals
07-01-07064 | 48V power supplies
07-01-07065 | DC\DC Converters
07-01-07066 | Inverters 2KVA
07-01-07067 | 48V Batteries, 6400 AH
07-01-07068 | Cables
07-01-07069 | Installation and Maintenance tools , Materials and Cables
07-01-07070 | Documentation
07-01-00071 | AIR CONDITIONERS
07-01-00072 | 20-60kW 50Hz, 220\380V
07-01-07073 | Installation and Maintenance tools , Materials and Cables
07-01-07074 | Documentation
07-01-07075 | Main Distribution Frames
07-01-07076 | Terminal Blocks
07-01-07077 | Over voltage protection
07-01-07078 | Over current protection
07-01-07079 | Ironwork
07-01-07080 | Installation tools
07-01-07081 | Cables & Jumper wire
07-01-07082 | Documentation
07-01-07083 | FIRE PROTECTION EQUIPMENT
07-01-07084 | Detection units
07-01-07085 | Control &Alarm Unit
07-01-07086 | Manual Extinguishers
07-01-07087 | Installation and Maintenance tools , Materials and Cables
07-01-07088 | Documentation
07-01-07089 | False Floor – False Ceiling for switching room
07-01-07090 | SPARE PARTS
07-01-07091 | DIESEL ENGINE GENERATOR
07-01-07092 | Capacity 602 KVA
07-01-07093 | Installation and Maintenance tools , Materials and Cables
07-01-07094 | Spare Parts
07-01-07095 | Documentation
07-01-07096 | SERVICES
07-01-07097 | Training abroad
07-01-07098 | Training in Iraq
07-01-07099 | Supplier Experts(Supervisors or Trainer)
Site Name BAB AL-ZUBAIR in BASRAH
07-01-08051 | SWITCHING EQUIPMENT for 20000 subscriber lines and 200 E1 digital interface:
07-01-08052 | Subscriber Connections
07-01-08053 | Trunk equipment
07-01-08054 | Tones and Signaling
07-01-08055 | Control Processors
07-01-08056 | Operation and Maintenance Processors
07-01-08057 | Peripherals
07-01-08058 | Racks and Ironworks
07-01-08059 | Installation and Maintenance tools, Materials and Cables and Facilities
07-01-08060 | Documentation
07-01-08061 | POWER PLANT
07-01-08062 | Operation and Maintenance Processors
07-01-08063 | Peripherals
07-01-08064 | 48V power supplies
07-01-08065 | DC\DC Converters
07-01-08066 | Inverters 2KVA
07-01-08067 | 48V Batteries, 6400 AH
07-01-08068 | Cables
07-01-08069 | Installation and Maintenance tools , Materials and Cables
07-01-08070 | Documentation
07-01-08071 | AIR CONDITIONERS
07-01-08072 | 20-60kW 50Hz, 220\380V
07-01-08073 | Installation and Maintenance tools , Materials and Cables
07-01-08074 | Documentation
07-01-08075 | Main Distribution Frames
07-01-08076 | Terminal Blocks
07-01-08077 | Over voltage protection
07-01-08078 | Over current protection
07-01-08079 | Ironwork
07-01-08080 | Installation tools
07-01-08081 | Cables & Jumper wire
07-01-08082 | Documentation
07-01-08083 | FIRE PROTECTION EQUIPMENT
07-01-08084 | Detection units
07-01-08085 | Control &Alarm Unit
07-01-08086 | Manual Extinguishers
07-01-08087 | Installation and Maintenance tools , Materials and Cables
07-01-08088 | Documentation
07-01-08089 | False Floor – False Ceiling for switching room
07-01-08090 | SPARE PARTS
07-01-08091 | DIESEL ENGINE GENERATOR
07-01-08092 | Capacity 100-600 KVA
07-01-08093 | Installation and Maintenance tools , Materials and Cables
07-01-08094 | Spare Parts
07-01-08095 | Documentation
07-01-08096 | SERVICES
07-01-08097 | Training abroad
07-01-08098 | Training in Iraq
07-01-08099 | Supplier Experts(Supervisors or Trainer)
Site Name BAQUBA-2 in DIYALA
07-01-09051 | SWITCHING EQUIPMENT for 15000 subscriber lines and 200 E1 digital interface:
07-01-09052 | Subscriber Connections
07-01-09053 | Trunk equipment
07-01-09054 | Tones and Signaling
07-01-09055 | Control Processors
07-01-09056 | Operation and Maintenance Processors
07-01-09057 | Peripherals
07-01-09058 | Racks and Ironworks
07-01-09059 | Installation and Maintenance tools, Materials and Cables and Facilities
07-01-09060 | Documentation
07-01-09061 | POWER PLANT
07-01-09062 | Operation and Maintenance Processors
07-01-09063 | Peripherals
07-01-09064 | 48V power supplies
07-01-09065 | DC\DC Converters
07-01-09066 | Inverters 2KVA
07-01-09067 | 48V Batteries, 6400 AH
07-01-09068 | Cables
07-01-09069 | Installation and Maintenance tools , Materials and Cables
07-01-09070 | Documentation
07-01-09071 | AIR CONDITIONERS
07-01-09072 | 20-60kW 50Hz, 220\380V
07-01-09073 | Installation and Maintenance tools , Materials and Cables
07-01-09074 | Documentation
07-01-09075 | Main Distribution Frames
07-01-09076 | Terminal Blocks
07-01-09077 | Over voltage protection
07-01-09078 | Over current protection
07-01-09079 | Ironwork
07-01-09080 | Installation tools
07-01-09081 | Cables & Jumper wire
07-01-09082 | Documentation
07-01-09083 | FIRE PROTECTION EQUIPMENT
07-01-09084 | Detection units
07-01-09085 | Control &Alarm Unit
07-01-09086 | Manual Extinguishers
07-01-09087 | Installation and Maintenance tools , Materials and Cables
07-01-09088 | Documentation
07-01-09089 | False Floor – False Ceiling for switching room
07-01-09090 | SPARE PARTS
07-01-09091 | DIESEL ENGINE GENERATOR
07-01-09092 | Capacity 100-600 KVA
07-01-09093 | Installation and Maintenance tools , Materials and Cables
07-01-09094 | Spare Parts
07-01-09095 | Documentation
07-01-09096 | SERVICES
07-01-09097 | Training abroad
07-01-09098 | Training in Iraq
07-01-09099 | Supplier Experts(Supervisors or Trainer)
Site Name RAMADI-2 in ANBAR
07-01-10051 | SWITCHING EQUIPMENT for 15000 subscriber lines and 200 E1 digital interface:
07-01-10052 | Subscriber Connections
07-01-10053 | Trunk equipment
07-01-10054 | Tones and Signaling
07-01-10055 | Control Processors
07-01-10056 | Operation and Maintenance Processors
07-01-10057 | Peripherals
07-01-10058 | Racks and Ironworks
07-01-10059 | Installation and Maintenance tools, Materials and Cables and Facilities
07-01-10060 | Documentation
07-01-10061 | POWER PLANT
07-01-10062 | Operation and Maintenance Processors
07-01-10063 | Peripherals
07-01-10064 | 48V power supplies
07-01-10065 | DC\DC Converters
07-01-10066 | Inverters 2KVA
07-01-10067 | 48V Batteries, 6400 AH
07-01-10068 | Cables
07-01-10069 | Installation and Maintenance tools , Materials and Cables
07-01-10070 | Documentation
07-01-10071 | AIR CONDITIONERS
07-01-10072 | 20-60kW 50Hz, 220\380V
07-01-10073 | Installation and Maintenance tools , Materials and Cables
07-01-10074 | Documentation
07-01-10075 | Main Distribution Frames
07-01-10076 | Terminal Blocks
07-01-10077 | Over voltage protection
07-01-10078 | Over current protection
07-01-10079 | Ironwork
07-01-10080 | Installation tools
07-01-10081 | Cables & Jumper wire
07-01-10082 | Documentation
07-01-10083 | FIRE PROTECTION EQUIPMENT
07-01-10084 | Detection units
07-01-10085 | Control &Alarm Unit
07-01-10086 | Manual Extinguishers
07-01-10087 | Installation and Maintenance tools , Materials and Cables
07-01-10088 | Documentation
07-01-10089 | False Floor – False Ceiling for switching room
07-01-10090 | SPARE PARTS
07-01-10091 | DIESEL ENGINE GENERATOR
07-01-10092 | Capacity 100-600 KVA
07-01-10093 | Installation and Maintenance tools , Materials and Cables
07-01-10094 | Spare Parts
07-01-10095 | Documentation
07-01-10096 | SERVICES
07-01-10097 | Training abroad
07-01-10098 | Training in Iraq
07-01-10099 | Supplier Experts(Supervisors or Trainer)
Site Name KERBALA-2 in KERBALA
07-01-11051 | SWITCHING EQUIPMENT for 15000 subscriber lines and 200 E1 digital interface:
07-01-11052 | Subscriber Connections
07-01-11053 | Trunk equipment
07-01-11054 | Tones and Signaling
07-01-11055 | Control Processors
07-01-11056 | Operation and Maintenance Processors
07-01-11057 | Peripherals
07-01-11058 | Racks and Ironworks
07-01-11059 | Installation and Maintenance tools, Materials and Cables and Facilities
07-01-11060 | Documentation
07-01-11061 | POWER PLANT
07-01-11062 | Operation and Maintenance Processors
07-01-11063 | Peripherals
07-01-11064 | 48V power supplies
07-01-11065 | DC\DC Converters
07-01-11066 | Inverters 2KVA
07-01-11067 | 48V Batteries, 6400 AH
07-01-11068 | Cables
07-01-11069 | Installation and Maintenance tools , Materials and Cables
07-01-11070 | Documentation
07-01-11071 | AIR CONDITIONERS
07-01-11072 | 20-60kW 50Hz, 220\380V
07-01-11073 | Installation and Maintenance tools , Materials and Cables
07-01-11074 | Documentation
07-01-11075 | Main Distribution Frames
07-01-11076 | Terminal Blocks
07-01-11077 | Over voltage protection
07-01-11078 | Over current protection
07-01-11079 | Ironwork
07-01-11080 | Installation tools
07-01-11081 | Cables & Jumper wire
07-01-11082 | Documentation
07-01-11083 | FIRE PROTECTION EQUIPMENT
07-01-11084 | Detection units
07-01-11085 | Control &Alarm Unit
07-01-11086 | Manual Extinguishers
07-01-11087 | Installation and Maintenance tools , Materials and Cables
07-01-11088 | Documentation
07-01-11089 | False Floor – False Ceiling for switching room
07-01-11090 | SPARE PARTS
07-01-11091 | DIESEL ENGINE GENERATOR
07-01-11092 | Capacity 100-600 KVA
07-01-11093 | Installation and Maintenance tools , Materials and Cables
07-01-11094 | Spare Parts
07-01-11095 | Documentation
07-01-11096 | SERVICES
07-01-11097 | Training abroad
07-01-11098 | Training in Iraq
07-01-11099 | Supplier Experts(Supervisors or Trainer)
Site Name DIWANIYA-2 in QADISSIYA
07-01-12051 | SWITCHING EQUIPMENT for 15000 subscriber lines and 200 E1 digital interface:
07-01-12052 | Subscriber Connections
07-01-12053 | Trunk equipment
07-01-12054 | Tones and Signaling
07-01-12055 | Control Processors
07-01-12056 | Operation and Maintenance Processors
07-01-12057 | Peripherals
07-01-12058 | Racks and Ironworks
07-01-12059 | Installation and Maintenance tools, Materials and Cables and Facilities
07-01-12060 | Documentation
07-01-12061 | POWER PLANT
07-01-12062 | Operation and Maintenance Processors
07-01-12063 | Peripherals
07-01-12064 | 48V power supplies
07-01-12065 | DC\DC Converters
07-01-12066 | Inverters 2KVA
07-01-12067 | 48V Batteries, 6400 AH
07-01-12068 | Cables
07-01-12069 | Installation and Maintenance tools , Materials and Cables
07-01-12070 | Documentation
07-01-12071 | AIR CONDITIONERS
07-01-12072 | 20-60kW 50Hz, 220\380V
07-01-12073 | Installation and Maintenance tools , Materials and Cables
07-01-12074 | Documentation
07-01-12075 | Main Distribution Frames
07-01-12076 | Terminal Blocks
07-01-12077 | Over voltage protection
07-01-12078 | Over current protection
07-01-12079 | Ironwork
07-01-12080 | Installation tools
07-01-12081 | Cables & Jumper wire
07-01-12082 | Documentation
07-01-12083 | FIRE PROTECTION EQUIPMENT
07-01-12084 | Detection units
07-01-12085 | Control &Alarm Unit
07-01-12086 | Manual Extinguishers
07-01-12087 | Installation and Maintenance tools , Materials and Cables
07-01-12088 | Documentation
07-01-12089 | False Floor – False Ceiling for switching room
07-01-12090 | SPARE PARTS
07-01-12091 | DIESEL ENGINE GENERATOR
07-01-12092 | Capacity 100-600 KVA
07-01-12093 | Installation and Maintenance tools , Materials and Cables
07-01-12094 | Spare Parts
07-01-12095 | Documentation
07-01-12096 | SERVICES
07-01-12097 | Training abroad
07-01-12098 | Training in Iraq
07-01-12099 | Supplier Experts(Supervisors or Trainer)
Site Name NASIRIYA-2 in THI-QAR
07-01-13051 | SWITCHING EQUIPMENT for 15000 subscriber lines and 200 E1 digital interface:
07-01-13052 | Subscriber Connections
07-01-13053 | Trunk equipment
07-01-13054 | Tones and Signaling
07-01-13055 | Control Processors
07-01-13056 | Operation and Maintenance Processors
07-01-13057 | Peripherals
07-01-13058 | Racks and Ironworks
07-01-13059 | Installation and Maintenance tools, Materials and Cables and Facilities
07-01-13060 | Documentation
07-01-13061 | POWER PLANT
07-01-13062 | Operation and Maintenance Processors
07-01-13063 | Peripherals
07-01-13064 | 48V power supplies
07-01-13065 | DC\DC Converters
07-01-13066 | Inverters 2KVA
07-01-13067 | 48V Batteries, 6400 AH
07-01-13068 | Cables
07-01-13069 | Installation and Maintenance tools , Materials and Cables
07-01-13070 | Documentation
07-01-13071 | AIR CONDITIONERS
07-01-13072 | 20-60kW 50Hz, 220\380V
07-01-13073 | Installation and Maintenance tools , Materials and Cables
07-01-13074 | Documentation
07-01-13075 | Main Distribution Frames
07-01-13076 | Terminal Blocks
07-01-13077 | Over voltage protection
07-01-13078 | Over current protection
07-01-13079 | Ironwork
07-01-13080 | Installation tools
07-01-13081 | Cables & Jumper wire
07-01-13082 | Documentation
07-01-13083 | FIRE PROTECTION EQUIPMENT
07-01-13084 | Detection units
07-01-13085 | Control &Alarm Unit
07-01-13086 | Manual Extinguishers
07-01-13087 | Installation and Maintenance tools , Materials and Cables
07-01-13088 | Documentation
07-01-13089 | False Floor – False Ceiling for switching room
07-01-13090 | SPARE PARTS
07-01-13091 | DIESEL ENGINE GENERATOR
07-01-13092 | Capacity 100-600 KVA
07-01-13093 | Installation and Maintenance tools , Materials and Cables
07-01-13094 | Spare Parts
07-01-13095 | Documentation
07-01-13096 | SERVICES
07-01-13097 | Training abroad
07-01-13098 | Training in Iraq
07-01-13099 | Supplier Experts(Supervisors or Trainer)
Site Name AMARA-2 in MEESAN
07-01-14051 | SWITCHING EQUIPMENT for 15000 subscriber lines and 200 E1 digital interface:
07-01-14052 | Subscriber Connections
07-01-14053 | Trunk equipment
07-01-14054 | Tones and Signaling
07-01-14055 | Control Processors
07-01-14056 | Operation and Maintenance Processors
07-01-14057 | Peripherals
07-01-14058 | Racks and Ironworks
07-01-14059 | Installation and Maintenance tools, Materials and Cables and Facilities
07-01-14060 | Documentation
07-01-14061 | POWER PLANT
07-01-14062 | Operation and Maintenance Processors
07-01-14063 | Peripherals
07-01-14064 | 48V power supplies
07-01-14065 | DC\DC Converters
07-01-14066 | Inverters 2KVA
07-01-14067 | 48V Batteries, 6400 AH
07-01-14068 | Cables
07-01-14069 | Installation and Maintenance tools , Materials and Cables
07-01-14070 | Documentation
07-01-14071 | AIR CONDITIONERS
07-01-14072 | 20-60kW 50Hz, 220\380V
07-01-14073 | Installation and Maintenance tools , Materials and Cables
07-01-14074 | Documentation
07-01-14075 | Main Distribution Frames
07-01-14076 | Terminal Blocks
07-01-14077 | Over voltage protection
07-01-14078 | Over current protection
07-01-14079 | Ironwork
07-01-14080 | Installation tools
07-01-14081 | Cables & Jumper wire
07-01-14082 | Documentation
07-01-14083 | FIRE PROTECTION EQUIPMENT
07-01-14084 | Detection units
07-01-14085 | Control &Alarm Unit
07-01-14086 | Manual Extinguishers
07-01-14087 | Installation and Maintenance tools , Materials and Cables
07-01-14088 | Documentation
07-01-14089 | False Floor – False Ceiling for switching room
07-01-14090 | SPARE PARTS
07-01-14091 | DIESEL ENGINE GENERATOR
07-01-14092 | Capacity 100-600 KVA
07-01-14093 | Installation and Maintenance tools , Materials and Cables
07-01-14094 | Spare Parts
07-01-14095 | Documentation
07-01-14096 | SERVICES
07-01-14097 | Training abroad
07-01-14098 | Training in Iraq
07-01-14099 | Supplier Experts(Supervisors or Trainer)
Site Name KUT-2 in WASIT
07-01-15051 | SWITCHING EQUIPMENT for 15000 subscriber lines and 200 E1 digital interface:
07-01-15052 | Subscriber Connections
07-01-15053 | Trunk equipment
07-01-15054 | Tones and Signaling
07-01-15055 | Control Processors
07-01-15056 | Operation and Maintenance Processors
07-01-15057 | Peripherals
07-01-15058 | Racks and Ironworks
07-01-15059 | Installation and Maintenance tools, Materials and Cables and Facilities
07-01-15060 | Documentation
07-01-15061 | POWER PLANT
07-01-15062 | Operation and Maintenance Processors
07-01-15063 | Peripherals
07-01-15064 | 48V power supplies
07-01-15065 | DC\DC Converters
07-01-15066 | Inverters 2KVA
07-01-15067 | 48V Batteries, 6400 AH
07-01-15068 | Cables
07-01-15069 | Installation and Maintenance tools , Materials and Cables
07-01-15070 | Documentation
07-01-15071 | AIR CONDITIONERS
07-01-15072 | 20-60kW 50Hz, 220\380V
07-01-15073 | Installation and Maintenance tools , Materials and Cables
07-01-15074 | Documentation
07-01-15075 | Main Distribution Frames
07-01-15076 | Terminal Blocks
07-01-15077 | Over voltage protection
07-01-15078 | Over current protection
07-01-15079 | Ironwork
07-01-15080 | Installation tools
07-01-15081 | Cables & Jumper wire
07-01-15082 | Documentation
07-01-15083 | FIRE PROTECTION EQUIPMENT
07-01-15084 | Detection units
07-01-15085 | Control &Alarm Unit
07-01-15086 | Manual Extinguishers
07-01-15087 | Installation and Maintenance tools , Materials and Cables
07-01-15088 | Documentation
07-01-15089 | False Floor – False Ceiling for switching room
07-01-15090 | SPARE PARTS
07-01-15091 | DIESEL ENGINE GENERATOR
07-01-15092 | Capacity 100-600 KVA
07-01-15093 | Installation and Maintenance tools , Materials and Cables
07-01-15094 | Spare Parts
07-01-15095 | Documentation
07-01-15096 | SERVICES
07-01-15097 | Training abroad
07-01-15098 | Training in Iraq
07-01-15099 | Supplier Experts(Supervisors or Trainer)
Site Name SAMARA in SALAH AL-DEEN
07-01-16051 | SWITCHING EQUIPMENT for 10000 subscriber lines and 150 E1 digital interface:
07-01-16052 | Subscriber Connections
07-01-16053 | Trunk equipment
07-01-16054 | Tones and Signaling
07-01-16055 | Control Processors
07-01-16056 | Operation and Maintenance Processors
07-01-16057 | Peripherals
07-01-16058 | Racks and Ironworks
07-01-16059 | Installation and Maintenance tools, Materials and Cables and Facilities
07-01-16060 | Documentation
07-01-16061 | POWER PLANT
07-01-16062 | Operation and Maintenance Processors
07-01-16063 | Peripherals
07-01-16064 | 48V power supplies
07-01-16065 | DC\DC Converters
07-01-16066 | Inverters 2KVA
07-01-16067 | 48V Batteries, 6400 AH
07-01-16068 | Cables
07-01-16069 | Installation and Maintenance tools , Materials and Cables
07-01-16070 | Documentation
07-01-16071 | AIR CONDITIONERS
07-01-16072 | 20-60kW 50Hz, 220\380V
07-01-16073 | Installation and Maintenance tools , Materials and Cables
07-01-16074 | Documentation
07-01-16075 | Main Distribution Frames
07-01-16076 | Terminal Blocks
07-01-16077 | Over voltage protection
07-01-16078 | Over current protection
07-01-16079 | Ironwork
07-01-16080 | Installation tools
07-01-16081 | Cables & Jumper wire
07-01-16082 | Documentation
07-01-16083 | FIRE PROTECTION EQUIPMENT
07-01-16084 | Detection units
07-01-16085 | Control &Alarm Unit
07-01-16086 | Manual Extinguishers
07-01-16087 | Installation and Maintenance tools , Materials and Cables
07-01-16088 | Documentation
07-01-16089 | False Floor – False Ceiling for switching room
07-01-16090 | SPARE PARTS
07-01-16091 | DIESEL ENGINE GENERATOR
07-01-16092 | Capacity 100-600 KVA
07-01-16093 | Installation and Maintenance tools , Materials and Cables
07-01-16094 | Spare Parts
07-01-16095 | Documentation
07-01-16096 | SERVICES
07-01-16097 | Training abroad
07-01-16098 | Training in Iraq
07-01-16099 | Supplier Experts(Supervisors or Trainer)
Site Name: ZUHOUR in NINEVA
07-01-17051 | SWITCHING EQUIPMENT for 30000 subscriber lines and 250 E1 digital interface:
07-01-17052 | Subscriber Connections
07-01-17053 | Trunk equipment
07-01-17054 | Tones and Signaling
07-01-17055 | Control Processors
07-01-17056 | Operation and Maintenance Processors
07-01-17057 | Peripherals
07-01-17058 | Racks and Ironworks
07-01-17059 | Installation and Maintenance tools, Materials and Cables and Facilities
07-01-17060 | Documentation
07-01-17061 | POWER PLANT
07-01-17062 | Operation and Maintenance Processors
07-01-17063 | Peripherals
07-01-17064 | 48V power supplies
07-01-17065 | DC\DC Converters
07-01-17066 | Inverters 2KVA
07-01-17067 | 48V Batteries, 6400 AH
07-01-17068 | Cables
07-01-17069 | Installation and Maintenance tools , Materials and Cables
07-01-17070 | Documentation
07-01-17071 | AIR CONDITIONERS
07-01-17072 | 20-60kW 50Hz, 220\380V
07-01-17073 | Installation and Maintenance tools , Materials and Cables
07-01-17074 | Documentation
07-01-17075 | Main Distribution Frames
07-01-17076 | Terminal Blocks
07-01-17077 | Over voltage protection
07-01-17078 | Over current protection
07-01-17079 | Ironwork
07-01-17080 | Installation tools
07-01-17081 | Cables & Jumper wire
07-01-17082 | Documentation
07-01-17083 | FIRE PROTECTION EQUIPMENT
07-01-17084 | Detection units
07-01-17085 | Control &Alarm Unit
07-01-17086 | Manual Extinguishers
07-01-17087 | Installation and Maintenance tools , Materials and Cables
07-01-17088 | Documentation
07-01-17089 | False Floor – False Ceiling for switching room
07-01-17090 | SPARE PARTS
07-01-17091 | DIESEL ENGINE GENERATOR
07-01-17092 | Capacity 100-600 KVA
07-01-17093 | Installation and Maintenance tools , Materials and Cables
07-01-17094 | Spare Parts
07-01-17095 | Documentation
07-01-17096 | SERVICES
07-01-17097 | Training abroad
07-01-17098 | Training in Iraq
07-01-17099 | Supplier Experts(Supervisors or Trainer)
Site Name: ABI- TAMMAM in NINEVA
07-01-18051 | SWITCHING EQUIPMENT for 30000 subscriber lines and 250 E1 digital interface:
07-01-18052 | Subscriber Connections
07-01-18053 | Trunk equipment
07-01-18054 | Tones and Signaling
07-01-18055 | Control Processors
07-01-18056 | Operation and Maintenance Processors
07-01-18057 | Peripherals
07-01-18058 | Racks and Ironworks
07-01-18059 | Installation and Maintenance tools, Materials and Cables and Facilities
07-01-18060 | Documentation
07-01-18061 | POWER PLANT
07-01-18062 | Operation and Maintenance Processors
07-01-18063 | Peripherals
07-01-18064 | 48V power supplies
07-01-18065 | DC\DC Converters
07-01-18066 | Inverters 2KVA
07-01-18067 | 48V Batteries, 6400 AH
07-01-18068 | Cables
07-01-18069 | Installation and Maintenance tools , Materials and Cables
07-01-18070 | Documentation
07-01-18071 | AIR CONDITIONERS
07-01-18072 | 20-60kW 50Hz, 220\380V
07-01-18073 | Installation and Maintenance tools , Materials and Cables
07-01-18074 | Documentation
07-01-18075 | Main Distribution Frames
07-01-18076 | Terminal Blocks
07-01-18077 | Over voltage protection
07-01-18078 | Over current protection
07-01-18079 | Ironwork
07-01-18080 | Installation tools
07-01-18081 | Cables & Jumper wire
07-01-18082 | Documentation
07-01-18083 | FIRE PROTECTION EQUIPMENT
07-01-18084 | Detection units
07-01-18085 | Control &Alarm Unit
07-01-18086 | Manual Extinguishers
07-01-18087 | Installation and Maintenance tools , Materials and Cables
07-01-18088 | Documentation
07-01-18089 | False Floor – False Ceiling for switching room
07-01-18090 | SPARE PARTS
07-01-18091 | DIESEL ENGINE GENERATOR
07-01-18092 | Capacity 100-600 KVA
07-01-18093 | Installation and Maintenance tools , Materials and Cables
07-01-18094 | Spare Parts
07-01-18095 | Documentation
07-01-18096 | SERVICES
07-01-18097 | Training abroad
07-01-18098 | Training in Iraq
07-01-18099 | Supplier Experts(Supervisors or Trainer)
Site Name: MOUSUL in NINEVA
07-01-19051 | SWITCHING EQUIPMENT for 30000 subscriber lines and 300 E1 digital interface:
07-01-19052 | Subscriber Connections
07-01-19053 | Trunk equipment
07-01-19054 | Tones and Signaling
07-01-19055 | Control Processors
07-01-19056 | Operation and Maintenance Processors
07-01-19057 | Peripherals
07-01-19058 | Racks and Ironworks
07-01-19059 | Installation and Maintenance tools, Materials and Cables and Facilities
07-01-19060 | Documentation
07-01-19061 | POWER PLANT
07-01-19062 | Operation and Maintenance Processors
07-01-19063 | Peripherals
07-01-19064 | 48V power supplies
07-01-19065 | DC\DC Converters
07-01-19066 | Inverters 2KVA
07-01-19067 | 48V Batteries, 6400 AH
07-01-19068 | Cables
07-01-19069 | Installation and Maintenance tools , Materials and Cables
07-01-19070 | Documentation
07-01-19071 | AIR CONDITIONERS
07-01-19072 | 20-60kW 50Hz, 220\380V
07-01-19073 | Installation and Maintenance tools , Materials and Cables
07-01-19074 | Documentation
07-01-19075 | Main Distribution Frames
07-01-19076 | Terminal Blocks
07-01-19077 | Over voltage protection
07-01-19078 | Over current protection
07-01-19079 | Ironwork
07-01-19080 | Installation tools
07-01-19081 | Cables & Jumper wire
07-01-19082 | Documentation
07-01-19083 | FIRE PROTECTION EQUIPMENT
07-01-19084 | Detection units
07-01-19085 | Control &Alarm Unit
07-01-19086 | Manual Extinguishers
07-01-19087 | Installation and Maintenance tools , Materials and Cables
07-01-19088 | Documentation
07-01-19089 | False Floor – False Ceiling for switching room
07-01-19090 | SPARE PARTS
07-01-19091 | DIESEL ENGINE GENERATOR
07-01-19092 | Capacity 100-600 KVA
07-01-19093 | Installation and Maintenance tools , Materials and Cables
07-01-19094 | Spare Parts
07-01-19095 | Documentation
07-01-19096 | SERVICES
07-01-19097 | Training abroad
07-01-19098 | Training in Iraq
07-01-19099 | Supplier Experts(Supervisors or Trainer)
Site Name MUSAYAB in BABYLON
07-01-29051 | SWITCHING EQUIPMENT for 10000 subscriber lines and 150 E1 digital interface:
07-01-29052 | Subscriber Connections
07-01-29053 | Trunk equipment
07-01-29054 | Tones and Signaling
07-01-29055 | Control Processors
07-01-29056 | Operation and Maintenance Processors
07-01-29057 | Peripherals
07-01-29058 | Racks and Ironworks
07-01-29059 | Installation and Maintenance tools, Materials and Cables and Facilities
07-01-29060 | Documentation
07-01-29061 | POWER PLANT
07-01-29062 | Operation and Maintenance Processors
07-01-29063 | Peripherals
07-01-29064 | 48V power supplies
07-01-29065 | DC\DC Converters
07-01-29066 | Inverters 2KVA
07-01-29067 | 48V Batteries, 6400 AH
07-01-29068 | Cables
07-01-29069 | Installation and Maintenance tools , Materials and Cables
07-01-29070 | Documentation
07-01-29071 | AIR CONDITIONERS
07-01-29072 | 20-60kW 50Hz, 220\380V
07-01-29073 | Installation and Maintenance tools , Materials and Cables
07-01-29074 | Documentation
07-01-29075 | Main Distribution Frames
07-01-29076 | Terminal Blocks
07-01-29077 | Over voltage protection
07-01-29078 | Over current protection
07-01-29079 | Ironwork
07-01-29080 | Installation tools
07-01-29081 | Cables & Jumper wire
07-01-29082 | Documentation
07-01-29083 | FIRE PROTECTION EQUIPMENT
07-01-29084 | Detection units
07-01-29085 | Control &Alarm Unit
07-01-29086 | Manual Extinguishers
07-01-29087 | Installation and Maintenance tools , Materials and Cables
07-01-29088 | Documentation
07-01-29089 | False Floor – False Ceiling for switching room
07-01-29090 | SPARE PARTS
07-01-29091 | DIESEL ENGINE GENERATOR
07-01-29092 | Capacity 100-600 KVA
07-01-29093 | Installation and Maintenance tools , Materials and Cables
07-01-29094 | Spare Parts
07-01-29095 | Documentation
07-01-29096 | SERVICES
07-01-29097 | Training abroad
07-01-29098 | Training in Iraq
07-01-29099 | Supplier Experts(Supervisors or Trainer)
Site Name DAWOODI TANDEM
07-01-33051 | SWITCHING EQUIPMENT for 2000 E1 digital interface:
07-01-33052 | Subscriber Connections
07-01-33053 | Trunk equipment
07-01-33054 | Tones and Signaling
07-01-33055 | Control Processors
07-01-33056 | Operation and Maintenance Processors
07-01-33057 | Peripherals
07-01-33058 | Racks and Ironworks
07-01-33059 | Installation and Maintenance tools, Materials and Cables and Facilities
07-01-33060 | Documentation
07-01-33061 | POWER PLANT
07-01-33062 | Operation and Maintenance Processors
07-01-33063 | Peripherals
07-01-33064 | 48V power supplies
07-01-33065 | DC\DC Converters
07-01-33066 | Inverters 2KVA
07-01-33067 | 48V Batteries, 6400 AH
07-01-33068 | Cables
07-01-33069 | Installation and Maintenance tools , Materials and Cables
07-01-33070 | Documentation
07-01-33071 | AIR CONDITIONERS
07-01-33072 | 20-60kW 50Hz, 220\380V
07-01-33073 | Installation and Maintenance tools , Materials and Cables
07-01-33074 | Documentation
07-01-33075 | Main Distribution Frames
07-01-33076 | Terminal Blocks
07-01-33077 | Over voltage protection
07-01-33078 | Over current protection
07-01-33079 | Ironwork
07-01-33080 | Installation tools
07-01-33081 | Cables & Jumper wire
07-01-33082 | Documentation
07-01-33083 | FIRE PROTECTION EQUIPMENT
07-01-33084 | Detection units
07-01-33085 | Control &Alarm Unit
07-01-33086 | Manual Extinguishers
07-01-33087 | Installation and Maintenance tools , Materials and Cables
07-01-33088 | Documentation
07-01-33089 | False Floor – False Ceiling for switching room
07-01-33090 | SPARE PARTS
07-01-33091 | DIESEL ENGINE GENERATOR
07-01-33092 | Capacity 100-600 KVA
07-01-33093 | Installation and Maintenance tools , Materials and Cables
07-01-33094 | Spare Parts
07-01-33095 | Documentation
07-01-33096 | SERVICES
07-01-33097 | Training abroad
07-01-33098 | Training in Iraq
07-01-33099 | Supplier Experts(Supervisors or Trainer)
Site Name ADHAMIA TANDEM
07-01-35051 | SWITCHING EQUIPMENT 2000 E1 digital interface:
07-01-35052 | Subscriber Connections
07-01-35053 | Trunk equipment
07-01-35054 | Tones and Signaling
07-01-35055 | Control Processors
07-01-35056 | Operation and Maintenance Processors
07-01-35057 | Peripherals
07-01-35058 | Racks and Ironworks
07-01-35059 | Installation and Maintenance tools, Materials and Cables and Facilities
07-01-35060 | Documentation
07-01-35061 | POWER PLANT
07-01-35062 | Operation and Maintenance Processors
07-01-35063 | Peripherals
07-01-35064 | 48V power supplies
07-01-35065 | DC\DC Converters
07-01-35066 | Inverters 2KVA
07-01-35067 | 48V Batteries, 6400 AH
07-01-35068 | Cables
07-01-35069 | Installation and Maintenance tools , Materials and Cables
07-01-35070 | Documentation
07-01-35071 | AIR CONDITIONERS
07-01-35072 | 20-60kW 50Hz, 220\380V
07-01-35073 | Installation and Maintenance tools , Materials and Cables
07-01-35074 | Documentation
07-01-35075 | Main Distribution Frames
07-01-35076 | Terminal Blocks
07-01-35077 | Over voltage protection
07-01-35078 | Over current protection
07-01-35079 | Ironwork
07-01-35080 | Installation tools
07-01-35081 | Cables & Jumper wire
07-01-35082 | Documentation
07-01-35083 | FIRE PROTECTION EQUIPMENT
07-01-35084 | Detection units
07-01-35085 | Control &Alarm Unit
07-01-35086 | Manual Extinguishers
07-01-35087 | Installation and Maintenance tools , Materials and Cables
07-01-35088 | Documentation
07-01-35089 | False Floor – False Ceiling for switching room
07-01-35090 | SPARE PARTS
07-01-35091 | DIESEL ENGINE GENERATOR
07-01-35092 | Capacity 100-600 KVA
07-01-35093 | Installation and Maintenance tools , Materials and Cables
07-01-35094 | Spare Parts
07-01-35095 | Documentation
07-01-35096 | SERVICES
07-01-35097 | Training abroad
07-01-35098 | Training in Iraq
07-01-35099 | Supplier Experts(Supervisors or Trainer)
Site Name ALWIYA TANDEM
07-01-37051 | SWITCHING EQUIPMENT for 2000 E1 digital interface:
07-01-37052 | Subscriber Connections
07-01-37053 | Trunk equipment
07-01-37054 | Tones and Signaling
07-01-37055 | Control Processors
07-01-37056 | Operation and Maintenance Processors
07-01-37057 | Peripherals
07-01-37058 | Racks and Ironworks
07-01-37059 | Installation and Maintenance tools, Materials and Cables and Facilities
07-01-37060 | Documentation
07-01-37061 | POWER PLANT
07-01-37062 | Operation and Maintenance Processors
07-01-37063 | Peripherals
07-01-37064 | 48V power supplies
07-01-37065 | DC\DC Converters
07-01-37066 | Inverters 2KVA
07-01-37067 | 48V Batteries, 6400 AH
07-01-37068 | Cables
07-01-37069 | Installation and Maintenance tools , Materials and Cables
07-01-37070 | Documentation
07-01-37071 | AIR CONDITIONERS
07-01-37072 | 20-60kW 50Hz, 220\380V
07-01-37073 | Installation and Maintenance tools , Materials and Cables
07-01-37074 | Documentation
07-01-37075 | Main Distribution Frames
07-01-37076 | Terminal Blocks
07-01-37077 | Over voltage protection
07-01-37078 | Over current protection
07-01-37079 | Ironwork
07-01-37080 | Installation tools
07-01-37081 | Cables & Jumper wire
07-01-37082 | Documentation
07-01-37083 | FIRE PROTECTION EQUIPMENT
07-01-37084 | Detection units
07-01-37085 | Control &Alarm Unit
07-01-37086 | Manual Extinguishers
07-01-37087 | Installation and Maintenance tools , Materials and Cables
07-01-37088 | Documentation
07-01-37089 | False Floor – False Ceiling for switching room
07-01-37090 | SPARE PARTS
07-01-37091 | DIESEL ENGINE GENERATOR
07-01-37092 | Capacity 100-600 KVA
07-01-37093 | Installation and Maintenance tools , Materials and Cables
07-01-37094 | Spare Parts
07-01-37095 | Documentation
07-01-37096 | SERVICES
07-01-37097 | Training abroad
07-01-37098 | Training in Iraq
07-01-37099 | Supplier Experts(Supervisors or Trainer)
Site Name BAYA TANDEM
07-01-37051 | SWITCHING EQUIPMENT for 2000 E1 digital interface:
07-01-37052 | Subscriber Connections
07-01-37053 | Trunk equipment
07-01-37054 | Tones and Signaling
07-01-37055 | Control Processors
07-01-37056 | Operation and Maintenance Processors
07-01-37057 | Peripherals
07-01-37058 | Racks and Ironworks
07-01-37059 | Installation and Maintenance tools, Materials and Cables and Facilities
07-01-37060 | Documentation
07-01-37061 | POWER PLANT
07-01-37062 | Operation and Maintenance Processors
07-01-37063 | Peripherals
07-01-37064 | 48V power supplies
07-01-37065 | DC\DC Converters
07-01-37066 | Inverters 2KVA
07-01-37067 | 48V Batteries, 6400 AH
07-01-37068 | Cables
07-01-37069 | Installation and Maintenance tools , Materials and Cables
07-01-37070 | Documentation
07-01-37071 | AIR CONDITIONERS
07-01-37072 | 20-60kW 50Hz, 220\380V
07-01-37073 | Installation and Maintenance tools , Materials and Cables
07-01-37074 | Documentation
07-01-37075 | Main Distribution Frames
07-01-37076 | Terminal Blocks
07-01-37077 | Over voltage protection
07-01-37078 | Over current protection
07-01-37079 | Ironwork
07-01-37080 | Installation tools
07-01-37081 | Cables & Jumper wire
07-01-37082 | Documentation
07-01-37083 | FIRE PROTECTION EQUIPMENT
07-01-37084 | Detection units
07-01-37085 | Control &Alarm Unit
07-01-37086 | Manual Extinguishers
07-01-37087 | Installation and Maintenance tools , Materials and Cables
07-01-37088 | Documentation
07-01-37089 | False Floor – False Ceiling for switching room
07-01-37090 | SPARE PARTS
07-01-37091 | DIESEL ENGINE GENERATOR
07-01-37092 | Capacity 100-600 KVA
07-01-37093 | Installation and Maintenance tools , Materials and Cables
07-01-37094 | Spare Parts
07-01-37095 | Documentation
07-01-37096 | SERVICES
07-01-37097 | Training abroad
07-01-37098 | Training in Iraq
07-01-37099 | Supplier Experts(Supervisors or Trainer)
Site name:The need for these items exceeds the quantity requested. An Allocation Plan will accompany the Contract.
07-01-38001 | 3000 LINE RURAL EXCHANGE AND ACCESSORIES)
07-01-38002 | 2000 LINE RURAL EXCHANGE AND ACCESSORIES)
07-01-38003 | 1000 LINE RURAL EXCHANGE AND ACCESSORIES)
07-01-38004 | 500 LINE RURAL EXCHANGE AND ACCESSORIES)
07-01-38005 | 300 LINE RURAL EXCHANGE AND ACCESSORIES)
07-01-38006 | 200 LINE RURAL EXCHANGE AND ACCESSORIES)
07-01-38007 | 100 LINE RURAL EXCHANGE AND ACCESSORIES)
07-01-38046 | SERVICES
07-01-38047 | Training abroad
07-01-38048 | Training in Iraq
07-01-38049 | Supplier Experts(Supervisors or Trainer)
07-01-38050 | 5000 line exchange with accessories
07-01-38051 | 10000 line exchange with accessories