## XIII 07-30
Armored jelly filled Telecommunition cables
CODE | Cable TYPe
07-30-00001 | 1800×2×004
07-30-00002 | 1500×2×004
07-30-00003 | 1200×2×004
07-30-00004 | 1000×2×004
07-30-00005 | 900×2×004
07-30-00006 | 800×2×005
07-30-00007 | 700×2×005
07-30-00008 | 600×2×005
07-30-00009 | 500×2×005
07-30-00010 | 400×2×005
07-30-00011 | 300×2×005
07-30-00012 | 200×2×005
07-30-00013 | 150×2×005
07-30-00014 | 100×2×005
07-30-00015 | 70×2×005
07-30-00016 | 50×2×005
07-30-00017 | 30×2×005
07-30-00018 | 20×2×005
07-30-00019 | 10×2×005
07-30-00020
07-30-00021 | Cable accessories
07-30-00022 | Connecting module (25)pairs from 0032 to 008mm moisture resistance
07-30-00023 | Two wire connection 0032 to 009mm moisture resistance
07-30-00024
07-30-00025 | Branch off kit for Branching system of telephones cable
07-30-00026 | Small
07-30-00027 | Medium
07-30-00028 | Large
07-30-00029 | Heat shrinkable closure for Non 0pressurized telephone cable ( Branch )
07-30-00030 | 10-20 pairs 43/ 8-200
07-30-00031 | 21-70 pairs 55/ 12-200
07-30-00032 | 71-200 pairs 75 /15 –300
07-30-00033 | 201-800 pairs 120 / 30-500
07-30-00034 | 801-1000 pairs 122/42 –500
07-30-00035 | 1001-1800 pairs 160 /55-720
07-30-00036 | Machines
07-30-00037 | Lorry Truck with Boaring Mashine for Telephone pole Erection
07-30-00038 | Land Rover with winch Machine for pulling telephone cables in the duct
07-30-00039 | Test Equipment
07-30-00040 | Pulse Echo set( TDR) for cable fault location
07-30-00041 | Wire identification &rearrangement system (send&Recive)
07-30-00042 | Mesuring wheel(for mesuring the distance)
07-30-00043 | Easyloc transmittar with additional for finding manhol cover
07-30-00044 | Cable finder
07-30-00045 | Jointer tools box for jellyfilled cable
07-30-00046 | Vault closure
07-30-00047 | Vckt 90-3
07-30-00048 | Vckt 125-6
07-30-00049 | Vckt 125-9
Vckt 155 –12
07-30-00051 | Vckt 205 –20
07-30-00052 | Cable Laying accessories
07-30-00053 | Coupable flexible tube (100mm)
07-30-00054 | Tubular file for 0smoothing concrete conduits 95mm
07-30-00055 | Sealing elements for cable ducts 100mm
07-30-00056 | Duct brush With steel Wire bristles on wooden core for concret duct only 100mm
07-30-00057 | Brush with plastic bristles for plastic pipe100mm
07-30-00058 | Duct rod frame on wheels 200m length
07-30-00059 | Hydraulic cable sheer with foot pump
07-30-00060 | Fan with flexible tube using for ventelation in manhole