HEALTH-ANNEX 5

EQUIPMENT:   ECG (ELECTRO CARDIO GRAPHIC  )

MODEL: 5403

COMPANY NAME :NIHON COHDEN JAPAN

QUINTITY: 78

SITE : ALL GOVERNERATES

| Code | Description | Part-no. | Qty. |
| --- | --- | --- | --- |
| 02-05-00001 | Heat stylus TLS-100 | 1004950171B | 200 |
| 02-05-00002 | Patient Cable BJ-261D | 5570383 | 100 |
| 02-05-00003 | Limbelectrode for aduts 4 Pcs/set | 5030003 | 200 |
| 02-05-00004 | Limb electrode strapfora aduts 4Pcs/set | 5030021 | 200 |
| 02-05-00005 | Chest electrode for aduts 6 Pcs/set | 5030378 | 100 |
| 02-05-00006 | Worm wheel Assembly | 2144-000103 | 20 |
| 02-05-00007 | Dc motor for chart LB32-KS | 2803-000309 | 10 |
| 02-05-00008 | Magnetic sensor, chart speed detect PF-2K-02 |  | 10 |
| 02-05-00009 | Bush button start, check stop | 2124-000808 | 20 |
| 02-05-00010 | All-Channel sensitivity control unit board . | UP-4250 | 10 |
| 02-05-00011 | Control unit A assembly | UP-4065 | 10 |
| 02-05-00012 | Per Amplifier mother board unit assembly (UP-4241) | 9406713 | 10 |
| 02-05-00013 | 120 Regulator unit Circuit board assembly (UP-4242) | 9424214 | 10 |
| 02-05-00014 | 11.4 Regulator unit cct Maub Amplifier (OL-501E) | 9424319 | 10 |
| 02-05-00015 | Transport unit cct borard (UP-4252) | 9425238 | 10 |
| 02-05-00016 | Chart speed selection unit (UP-4253) | 9425318 | 10 |
| 02-05-00017 | Pre Amplifier Unit cct (UP-4248) | 9424827 | 10 |
| 02-05-00018 | Input Unit cct board (UP-4247A) | 9424738 | 10 |
| 02-05-00019 | Main Amplifier cct board (UP-4245) | 9424524 | 20 |
| 02-05-00020 | Dc-Dc converter unit cct board(UP-4241) Transformer , 3-293, power | 9406713 | 10 |
| 02-05-00021 | Board Up 4232 |  | 10 |
| 02-05-00022 | Warmer Gear | A144-008621 | 10 |
| 02-05-00023 | Bord Up-4244 | D.C PC Conr | 10 |

EQUIPMENT: electrocardiograph machine

Model: Cardiofax 5151

COMPANY NAME: NIHON KOHDEN, Japan

QUANTITY INSTALLED:300

| Code | Description | Ref. No. | Qty., |
| --- | --- | --- | --- |
| 02-05-00024 | Stylus |  | 150 |
| 02-05-00025 | Patient Cable |  | 100 |
| 02-05-00026 | Electrode straps |  | 500 |
| 02-05-00027 | Limb Electrode |  | 500 |
| 02-05-00028 | Transistor 2SC2270 |  | 100 |
| 02-05-00029 | Transistor 2SA11020 |  | 100 |
| 02-05-00030 | Transistor 2SD355 |  | 250 |
| 02-05-00031 | Transistor 2SB525 |  | 250 |
| 02-05-00032 | 1mV Switch |  | 75 |
| 02-05-00033 | Run-Stop Switch |  | 75 |
| 02-05-00034 | Chest Electrode |  | 200 |
| 02-05-00035 | Galvanometer |  | 25 |
| 02-05-00036 | Recorder PCB | UP-4235 | 100 |
| 02-05-00037 | Mother PCB | UP-4279 | 50 |

EQUIPMENT: Electrocardiograph Machine

MODEL:l hp 1504A

COMPANY NAME: Hewlett Packard, USA

QUANTITY INSTALLED:100

| Code | Description | Ref. No. | Qty., |
| --- | --- | --- | --- |
| 02-05-00038 | Power Cable. | 8120-1689 | 50 |
| 02-05-00039 | Patient cable | 14031A | 100 |
| 02-05-00040 | Writing stylus | 78640-60052 | 100 |
| 02-05-00041 | Limb Straps | 14030A | 200 |
| 02-05-00042 | Limb Electrodes | 1500-00790 | 200 |
| 02-05-00043 | Chest Electrodes | 9301-0122 | 300 |
| 02-05-00044 | Mother Board | 1504-7727 | 10 |

EQUIPMENT:. ECG Machine

MODEL: A0 3200

COMPANY NAME: American optical   (Picker International)

QUANTITY INSTALLED:150

| 02-05-00045 | Writing stylus | 5420-00-0800 | 500 |
| --- | --- | --- | --- |
| 02-05-00046 | Floating Board Assy. | 2400-00-0812 | 25 |
| 02-05-00047 | Mother Board Assy. | 2400-00-0810 | 25 |

EQUIPMENT:	ECG Machine

MODEL: cardio pan 531

COMPANY NAME:PHILIPS

QUANTITY INSTALLED:120

| 02-05-00048 | Writing stylus | 4532 180 06941 | 300 |
| --- | --- | --- | --- |
| 02-05-00049 | Chest electrod | 4532 180 21361 | 500 |
| 02-05-00050 | Limb straps | 4532 180 21401 | 1000 |
| 02-05-00051 | Limb electod | 2532 180 21421 | 1000 |
| 02-05-00052 | patient cable | 4532 181 00381 | 200 |

EQUIPMENT : Monitoring Patient Staff Console

MODEL : ICU 6200

COMPANY NAME : NIHON KOHDEN  JAPAN

QUANTITY : 13

SITE : ALL GOVERNERS

| 02-05-00053 | Transistor | 25D520Y | 5 |
| --- | --- | --- | --- |
| 02-05-00054 | High voltage trans | 37704848 | 5 |
| 02-05-00055 | Eloctrode lead H. type. | GR-5465 | 15 |
| 02-05-00056 | Writing table with pen motor for Recorder WT-OBP |  | 5 |

EQUIPMENT: ECHO - Sounder

MODEL ES - 102 M

COMPANY NAME Nippon Shoji

| Code | Description | Qty., |
| --- | --- | --- |
| 02-05-00057 | Volume switch | 100 |
| 02-05-00058 | Volume switch knob | 100 |
| 02-05-00059 | Main transformer | 50 |
| 02-05-00060 | Fuse 0.1 A | 100 |
| 02-05-00061 | Fuse 1 A | 100 |
| 02-05-00062 | Prob with cord 2.25 MHZ transformer | 500 |

EQUIPNENT FEOTAL ULTRSONIC

MODEL Sonicad D 205 M

COMPANY NAME Sonicad

QUANTITY INSTALLED 150

| Code | Description | Part No | Qty |
| --- | --- | --- | --- |
| 02-05-00063 | Transformer assy | 3810-6901 | 50 |
| 02-05-00064 | Battery | 1000-0007 | 100 |
| 02-05-00065 | TRANDUCER |  | 50 |
| 02-05-00066 | MOTHER PCB |  | 20 |

--------------------------

EQUIPMENT:   FOETAL Moniter

MODEL : MT-810

COMPANY NAME : TOITU  JAPAN

QUINTITY INSTALLED : 65

SITE : ALL GOVERNERATES

| 02-05-00067 | USD Transducer | 20 |
| --- | --- | --- |

EQUIPMENT: Delivery Monitor

Model  OMF 6101 B

COMPANY NAME: NIHON KOHDEN, Japan

QUANTITY INSTALLED:120

| Code | Description | Ref. No. | Qty., |
| --- | --- | --- | --- |
| 02-05-00068 | Ultrasonic Transducer | EU-86010 | 50 |
| 02-05-00069 | Ultracontraction transducer | TO 5-215 | 50 |
| 02-05-00070 | Socket (connector MAB-5100) |  | 150 |
| 02-05-00071 | Socket (connector MAB-5100S) |  | 150 |

--------------------------

EQUIPMENT : BABY Incubator,

MODEL :80SC

COMPANY NAME :ATOM   JAPAN

QUANTITY INSTALLED :117

SITE : ALL GOVERNERATES

| 02-05-00072 | Fan Motor | 800-84 | 10 |
| --- | --- | --- | --- |
| 02-05-00073 | Power Switch 12 | 800-0807 | 20 |
| 02-05-00074 | Servo Manual changeover switch (27) | 801-0407 | 20 |

EQUIPMENT :  Infant warmer

MODEL : PF 150

COMPANY NAME: TOITU  JAPAN

QUANTITY INSTALLED : 78

SITE : ALL GOVERNRATES

| 02-05-00075 | Transformer 220v/15VDS | SE-7 | 10 |
| --- | --- | --- | --- |
| 02-05-00076 | Traic | AC-12BGM | 10 |
| 02-05-00077 | Plastic cover | 301-44435 | 10 |
| 02-05-00078 | Heater |  | 50 |

EQUIPMENT: MONITOR

MODEL: DIASCOP  521

COMPANY NAME: S&W

QUANTITY INSTALLED:24

Recommand spare parts for monitor

Contain all the PCB`S , Transformers , CRT , ... etc.

EQUIPMENT monitors

MODEL 1- SMS 104 2- SMS 181

COMPANY NAME HELLIGE

QUANTITY INSTALLED 24+24

. Recomanded spare parts for monitors

02-05-00079	The spare parts included all the PCB'S , Transformer, CRT'S,and other special lomponnets,

Servise cataulge.for both types.

-----------------------------

EQUIPMENT     : BED SIDE MONITOR

MODEL : OMP -6200

COMPANY NAME : NIHON KOHDEN  JAPAN

QUINTITY  INSTALLED :182

| 02-05-00080 | ECG Connection cable l | 5570605 | 50 |
| --- | --- | --- | --- |
| 02-05-00081 | Electrode lead H-type Be-5465 | 5032091 | 100 |
| 02-05-00082 | Electrode lead for disposable electode Red, 5031047, Yellow, 5031056, Black 5031083 |  | 100 |
| 02-05-00083 | Heart Rate module (IH-612P) |  | 10 |
| 02-05-00084 | Respiroction Rate Module (IR-612P) |  | 10 |
| 02-05-00085 | Antenna lead (30cm long) | 5031243 | 10 |
| 02-05-00086 | Patient cable BJ-610E | 2833-00119B | 100 |
| 02-05-00087 | AG/AGCL-disposable electrode | 5030716 | 10 |
| 02-05-00088 | Temp. Modale (IT-G12P) |  | 10 |
| 02-05-00089 | Blood Pressure modul for High press |  | 10 |
|  | (IP-614P) |  |  |

-----------------------------

EQUIPMENT:Combine Defibrilator-Scope-Recorder

Model: DMS 600-600/2

COMPANY NAME: S&W, Denmark

QUANTITY INSTALLED:120

| Code | Description | Qty. |  |  |
| --- | --- | --- | --- | --- |
| 02-05-00090 | Transformer for charger primary 230 V output 1-23.5 Volt 2-17.5 Volt |  | 20 |  |
| 02-05-00091 | Patient Cable | 50 A |  |  |
| 02-05-00092 | Recorder Unit model DMS 600 | 10 A |  |  |
| 02-05-00093 | Stylus Model DMS 600 | 30 A |  |  |
| 02-05-00094 | ECG Ampliter & Sync. PCB DMS 600/2 | 10 A |  |  |
| 02-05-00095 | Display & Dc/Dc Convertor PCB DMS/600/2 | 10 A |  |  |
| 02-05-00096 | Defibrillator control PCB DMC 600/2 | 10 A |  |  |
| 02-05-00097 | Battery control PCB DMC 600/2 | 10 A |  |  |
| 02-05-00098 | Charge Curcuit PCB DMS 600/2 | 10 A |  |  |
| 02-05-00099 | H.V Capacitor 32 UF 6KV | 20 A |  |  |
| 02-05-00100 | Coil discharge 40 mG1 | 10 A |  |  |
| 02-05-00101 | Socket jack,ECG input J 203 | 10 A |  |  |
| 02-05-00102 | Selector Energy 5501 | 10 A |  |  |
| 02-05-00103 | Battery unit 20 V,lAH | 100 A |  |  |
| 02-05-00104 | Front pannel DMS/600/3 | 10 A |  |  |
| 02-05-00105 | Complete +HV capacitor | 10 A |  |  |
| 02-05-00106 | Complete CB 600m cabinet | 10 A |  |  |
|  | E-Cell |  |  |  |

EQUIPMENT: Combine Defibrilator Scope recorder

MODEL: CR 2006C

COMPANY NAME: Cardic Recorder Ltd, England

QUANTITY INSTALLED:300

| 02-05-00107 | Capacitor 32uF 5 KV (2000A M261A) | 30 A |
| --- | --- | --- |
| 02-05-00108 | Transistor 2N3904 | 30 A |
| 02-05-00109 | Transformer For charger input 220V output=24V 9.7A output=27.5V 0.75A 20A |  |
| 02-05-00110 | Relay ER6 24V REL1 | 30 A |
| 02-05-00111 | Relay ER6 REL3 (12V) | 30 A |
| 02-05-00112 | belt for recorder | 20 A |

EQUIPMENT: Defib. scope Recorder combine

MODEL: pulser-4

COMPANY NAME: Picker international Ltd, UK (or A.O Company)

QUANTITY INSTALLED:120

| Code | Description | Part.No. | Qty. |
| --- | --- | --- | --- |
| 02-05-00113 | Patient cable | 605117 | 20 |
| 02-05-00114 | Writing stylus | 605067 | 20 |
| 02-05-00115 | Battery 12V 2.2 Ah |  | 50 |

EQUIPMENT: Coranory Care Unit

MODEL:3215+1108

COMPANY NAME: Picker international Ltd, UK (or A.O Company)

| Code | Description | Qty., |
| --- | --- | --- |
| 02-05-00116 | Stylus for Tracer model 3215 | 40 |
| 02-05-00117 | Patient cable for Monitor 1108 | 100 |

EQUIPMENY  : Portable Defib. (Cordiolife)

MODEL :CARDIO LIFE  TES-5100

COMPANY NAME:NIHON KOHDEN

QUINTITY INSTALLED:13

| 02-05-00118 | H.v-520V WP-7531 | 10 |
| --- | --- | --- |
| 02-05-00119 | H.v-control VP-7526 | 10 |
| 02-05-00120 | CRT UP-7556 | 10 |
| 02-05-00121 | Lead wire for Disposable electrodes | 100 set |
| 02-05-00122 | Recording Paper PS 5024920827 | 1000 |

-----------------------------

EQUIPMENT : EEG

MODEL :4217

COMPANY NAME :NIHON  KOHDEN

QUINTITY INSTALLED:13

| 02-05-00123 | Recording pen SJ-120M | 1004-955317-B | 50 |
| --- | --- | --- | --- |
| 02-05-00124 | Scalp dose electrede 2P Pcs/set (NE-1038) | 1005-02123 | 10 |
| 02-05-00125 | Paper Recording |  | 100 set |
| 02-05-00126 | RECORDING INK |  | 50 |
| 02-05-00127 | NET FOR HEAD WITH ELECTROD |  | 100 |

. EQUIPMENT : Resussetation, baby

MODEL :BABY LOG 1

COMPANY NAME :DRUGER  GERMANY

QUINTITY INSTALLED :13

| 02-05-00128 | Water trap | 8402-476 | 50 |
| --- | --- | --- | --- |
| 02-05-00129 | VALVE |  | 5 |

-----------------------------

EQUIPMENT : Emergencey Trolly

MODEL :TEC-5100

COMPANY NAME:NIHON KOHDEN

QUANTITY INSTALLED: 218

| 02-05-00130 | Capacitor 5Kv 40mf | 5Kv | 50 |
| --- | --- | --- | --- |
| 02-05-00131 | Relay M42-12v | 3410863 | 10 |
| 02-05-00132 | Battery pack (SB-501v) | 800-0809.A | 20 |
| 02-05-00133 | Mother power block | UP-7524 | 10 |
| 02-05-00134 | Test load Block | AAA-35355 | 10 |
| 02-05-00135 | ECG Cable | 5570837 | 10 |
| 02-05-00136 | Hv-520v | Hv-Block | 5 |
| 02-05-00137 | condensor H.v 33MF 6kv |  | 4 |
| 02-05-00138 | High voltage | UP7531 | 5 |

. EQUIPMENT : Ressetation  Trolly

MODEL: PF -130

COMPANY NAME:TOITU  JAPAN

QUANTITY INSTALLED:81

| 02-05-00139 | Trap bottle |  | 20 |
| --- | --- | --- | --- |
| 02-05-00140 | Suction bottle | 2130-233 | 20 |
| 02-05-00141 | Filter |  | 20 |
| 02-05-00142 | Glow lamp. |  | 10 |
| 02-05-00143 | Heater element | 26-697 | 20 |
| 02-05-00144 | Fluorescent lamp (2000) |  | 100 |
| 02-05-00145 | Valve assembly (2130-333) |  | 20 |
| 02-05-00146 | Vacum Gauge |  | 10 |

-----------------------------

EQUIPMENT ::Light source fibre Optic Operating Microscope

MODEL : ENT AND BRONCHUS

COMPANY NAME : NAGASHIMA MEDICAL  JAPAN

QUANTITY INSTALLED:52

| 02-05-00147 | Halogen lamp (15v, 150w) |  | 50 |
| --- | --- | --- | --- |

-----------------------------

EQUIPMENT :  Suction appartus operating theatre

model : A2-45

COMPANY NAME : MURACO MEDICAL

QUANTITY INSTALLED:320

| 02-05-00148 | Bottle for the T/P of Suction tube. |  | 50 |
| --- | --- | --- | --- |

EQUIPMENT : Suction Appartus

MODEL : 700

COMPANY NAME : ASAHI  MEDICAL  JAPAN

QUANTITY INSTALLED : 325

SITE : ALL GOVERNRATES

| 02-05-00149 | Motor |  | 10 |
| --- | --- | --- | --- |
| 02-05-00150 | Switch (Foot) |  | 10 |
| 02-05-00151 | Filter |  | 10 |
| 02-05-00152 | suction pump |  | 10 |

EQUIPMENT: Suction Unit

MODEL: SAM20

COMPANY NAME: AERASOL PRODUCTS

QUANTITY INSTALLED:600

| 02-05-00153 | Motor 2200 1010102 | 50 |
| --- | --- | --- |
| 02-05-00154 | PK Diaphragm 10005 | 250 |
| 02-05-00155 | U Piston with diaphragm | 50 |
| 02-05-00156 | Connection plate between motor and Piston arm | 300 |

-----------------------------

EQUIPMENT:  Electro-Surgical unite

MODEL : TRC-1000

COMPANY NAME : MIZUHO MEDICAL  JAPAN

QUANTITY  INSTALLED : 78

| 02-05-00157 | Inactive electrode lead | 50 |
| --- | --- | --- |
| 02-05-00158 | Circuit board A | 10 |
| 02-05-00159 | Circuit board B | 10 |
| 02-05-00160 | Circuit board C | 10 |
| 02-05-00161 | Circuit board D | 10 |
| 02-05-00162 | Circuit board M | 10 |
| 02-05-00163 | Circuit board H1,H2 | 10 |
| 02-05-00164 | Cutting output indicating lamp. | 20 |
| 02-05-00165 | Electrode chuch handle (3 terminal) | 20 |
| 02-05-00166 | Inlet for inserting electrodechuch hundle | 20 |
| 02-05-00167 | Inlet for inserting inactive electrode | 20 |
| 02-05-00168 | Inlet for inserting monopolar electrode chuch handle. | 20 |

EQUIPMENT: ELECTRO SURGICAL  UNIT

MODEL: Electrotom 500 System 2000

COMPANY NAME: JEPRUDO  MARTIN

QUANTITY INSTALLED:400

| 02-05-00169 | Thermo couple 89-234-31 |  | 50 |
| --- | --- | --- | --- |
| 02-05-00170 | Power Transistor Bux 80 10073 |  | 500 |
| 02-05-00171 | Electrolytic capacitor 89-226-32 2200 MF 164 |  | 50 |
| 02-05-00172 | Bippolar cards 81-285-30 |  | 50 |
| 02-05-00173 | Connectin plug for foot switch 4-pole with electric interlock |  | 25 |
| 02-05-00174 | Switch Blank LP2 Module II |  | 50 |
| 02-05-00175 | Foot - Switch | 81.821.02 | 50 |
| 02-05-00176 | Trans D45 C11 | 89.221.01 | 100 |
| 02-05-00177 | Trans 2N 2905 |  | 50 |
| 02-05-00178 | IC NE 555N | 89.222.02 | 50 |
| 02-05-00179 | Wire resister 6.8 ohm - 17W | 89.225.66 | 200 |
| 02-05-00180 | Wire resister 6.8 ohm - 9W | 89.255.65 | 200 |
| 02-05-00181 | Oscillator Blank LP3 |  | 50 |
| 02-05-00182 | Conductor Blank driving stage LP6 |  | 50 |
| 02-05-00183 | Amplification stage LP7 |  | 50 |
| 02-05-00184 | Transistor D 44 CLL | 89.221.02 | 50 |
| 02-05-00185 | Complete Module IV |  | 25 |
| 02-05-00186 | Transformer Tom 500 | 89.211.01 | 25 |
| 02-05-00187 | Connecting plug for foot switch |  | 25 |
|  | 4-pole with electric inter lock |  |  |

EQUIPMENT: HF Electro Surgical unit

MODEL: GK 450

COMPANY NAME: Aesculap Werke AG

QUANTITY INSTALLED:75

| 02-05-00188 | Sipmos Transistor BUZ 48 TA020716 | 80 |
| --- | --- | --- |
| 02-05-00189 | PCB Power supply GK450/207 | 4 |
| 02-05-00190 | PCB GK 59/218 | 3 |
| 02-05-00191 | PCB GK170/20 | 3 |
| 02-05-00192 | IC MC 34004p TA020772 | 10 |
| 02-05-00193 | IC LM 324N TA020307 | 10 |
| 02-05-00194 | Handles GK 207 | 25 |
| 02-05-00195 | Handles GK 208 | 25 |
| 02-05-00196 | Adapter GK 199 | 10 |
| 02-05-00197 | Logic PCB GK 170/202 | 15 |
| 02-05-00198 | Nutral electrod GK 247 | 10 |

EQUIPMENT : Coutery unit, Skin clinic

MODEL : TRC-500 SS

COMPANY NAME : NIZUHO  JAPAN

QUANTITY INSTALLED : 13

SITE : ALL  GOVERNRATES

| 02-05-00199 | Tri-Pole electrode chack handle with changover. |  | 10 |
| --- | --- | --- | --- |
| 02-05-00200 | Electrodes |  | 10 |
| 02-05-00201 | Cooling fan unit. |  | 10 |

EQUIPMENT :  Cryosurgery unit, Skin clinic

MODEL :ERBO  KRYO

COMPANY NAME : ERBA  GERMANY

QUANTITY INSTALLED: 26

SITE : ALL GOVERNRATES

| 02-05-00202 | Pilot Lamp (main) | 20 |
| --- | --- | --- |
| 02-05-00203 | Foot switch complete. | 20 |
| 02-05-00204 | Pressure gauge | 10 |
| 02-05-00205 | Mains socket | 10 |
| 02-05-00206 | High Pressure gas connecter | 20 |
| 02-05-00207 | Low pressure Gas outlet conneter. | 20 |
| 02-05-00208 | Soleniod valve (MV,1,2) | 10 set |
| 02-05-00209 | Relay (Re 1,2) | 10 set |
| 02-05-00210 | PRESSURE REGULATER | 10 |
| 02-05-00211 | PROP | 10 |

EQUIPMENT : Bath, Butterfly,

MODEL:PE-700

COMPANY NAME:YAESU JAPAN

QUANTITY INSTALLED: 26

| 02-05-00212 | Jet streamer pump |  | 10 |
| --- | --- | --- | --- |
| 02-05-00213 | Steel Ball | P70303 | 10 |
| 02-05-00214 | Motor | P70051 | 10 |
| 02-05-00215 | Bubbler Pump. |  | 10 |
| 02-05-00216 | Pressure gauge. |  | 10 |

EQUIPMENT : Water Bath

MODEL: 370' electric

COMPANY NAME: JOOKOO

QUANTITY INSTALLED:78

| 02-05-00217 | Heater |  | 50 |
| --- | --- | --- | --- |
| 02-05-00218 | Stirrer unit |  | 10 |
| 02-05-00219 | Temperature controller |  | 10 |
| 02-05-00220 | Heater Pilot lamp. |  | 20 |
| 02-05-00221 | Switch |  | 50 |

EQUIPMENT:  Water Bath, 50 litres

MODEL:D2-159

COMPANY  NAME:JOOKOO  JAPAN

QUANTITY INSTALLED:26

| 02-05-00222 | Thermoregulator dial | 10 |
| --- | --- | --- |
| 02-05-00223 | Thermoregulator | 10 |
| 02-05-00224 | Tiner | 20 |
| 02-05-00225 | Thrermoster | 20 |
| 02-05-00226 | Power switch | 10 |
| 02-05-00227 | Heating element. | 50 |

EQUIPMENT : Microscope , Operating  ( Ophthalmic)

MODEL :CMS 500

COMPANY NAME : TOPCON  JAPAN

QUANTITY INSTALLED: 13

| 02-05-00228 | Tungsten lamp 6v, 33w | 500 |
| --- | --- | --- |

EQUIPMENT : Microscope, ( Operating ENT )

MODEL: ENT

COMPANY NAME : TOPCON  JAPAN

QUANTITY INSTALLED : 26

| 02-05-00229 | Halogen lamp unit | 500 |
| --- | --- | --- |

EQUIPMENT:  Microscope

MODEL : BH2-CD

COMPANY NAME : OLYMBUS  JAPAN

QUANTITY INSTALLED : 39

| 02-05-00230 | ABBE Condenser |  | 10 |
| --- | --- | --- | --- |

EQUIPMENT : Microscope , binocular, Fluorescence,

MODEL : BH

COMPANY NAME :OLYMPUS  JAPAN

QUANTITY INSTALLED :39

| 02-05-00231 | All Kinds of Barrier filters |  | 10 set |  |
| --- | --- | --- | --- | --- |
| 02-05-00232 | All Kinds of exciter filters |  | 10 set |  |
| 02-05-00233 | PLASTIC WARM WHEEL | 10 |  |  |

EQUIPMENT:Microscope for (eye) operation theaters,

MODEL: OMS-100

COMPANY NAME: Topcon, Japan

QUANTITY INSTALLED:30

| Code | Description | Ref. No. |  | Qty. |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 02-05-00234 | Foot Switch |  | 413000003 |  | 5 |  |
| 02-05-00235 | Complete motor |  | 4110720481 |  | 5 |  |
| 02-05-00236 | Halogen Lamp 15V 150W |  |  |  | 200 |  |
| 02-05-00237 | complete motor |  | 4110710321 |  | 5 |  |
| 02-05-00238 | complete head |  |  |  | 5 |  |

EQUIPMENT:Microscope for (ENT) Operation theaters,

MODEL: OMS-80

COMPANY NAME: Topcon, Japan

| Code | Description | Ref. No. |  | Qty. |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 02-05-00239 | Zooming Micro motor |  | 4110710320 |  | 5 |  |
| 02-05-00240 | Gear |  | 4110821093 |  | 5 |  |
| 02-05-00241 | Lamp holder |  |  |  | 50 |  |
| 02-05-00242 | Gear |  | 4110821080 |  | 5 |  |

EQUIPMENT:Microscopes

MODEL: OPMI-1-FCETC and OPMI-MD ETC

COMPANY NAME:Zeiss - Germany

QUANTITY INSTALLED:25

| Code | Description | Ref. No. |  | Qty. |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 02-05-00243 | DC motor drive INR |  | 0141.705 |  | 4 |  |
| 02-05-00244 | DC motor INR |  | 0126.314 |  | 4 |  |
| 02-05-00245 | Transformer |  | 0129974 |  | 2 |  |
| 02-05-00246 | Transoformer |  | 0129973 |  | 2 |  |
| 02-05-00247 | Fan motor |  | 0123126 |  | 2 |  |
| 02-05-00248 | Worm gear |  | 303443.0033000 |  | 8 |  |
| 02-05-00249 | Fc light guide 2.2m |  | 3034818104 |  | 4 |  |
| 02-05-00250 | Halogen lamp 12V 100W |  | 3800799040 |  | 100 |  |

EQUIPMENT:MICROSCOPE

MODEL  : BHC

COMPANY NAME: OLYMPUS

QUANTITY INSTALLED:300

| 02-05-00251 | Tungsten Blub | 500 |
| --- | --- | --- |
| 02-05-00252 | Objective lens oil power 100 | 50 |
| 02-05-00253 | Objective lens power 60 | 25 |
| 02-05-00254 | Objective lens power 40 | 30 |
| 02-05-00255 | Eye piece power 10 X | 30 |
| 02-05-00256 | Auxiliary lens | 10 |
| 02-05-00257 | Condencer | 10 |

EQUIPMENT :Oxygen Humidifier

MODEL :A2-107

COMPANY NAME: MARUBNI  JAPAN

QUANTITY INSTALLED: 300

| 02-05-00258 | Flow meter top cover | 10 |
| --- | --- | --- |
| 02-05-00259 | Float | 10 |
| 02-05-00260 | float ball for flow meter | 20 |
| 02-05-00261 | Rubber packing | 50 |
| 02-05-00262 | Cude | 10 |
| 02-05-00263 | O-Ring | 10 |

EQUIPMENT : Sphygmomanometer

MODEL : bed head Mounted (A3-2)

COMPANY NAME: MARUBNI  JAPAN

QUANTITY  INSTALLED :200

| 02-05-00264 | Head Screw | 20 |
| --- | --- | --- |
| 02-05-00265 | Rubber Packing | 20 |
| 02-05-00266 | Fuflt. | 20 |
| 02-05-00267 | Scale Plate. | 20 |
| 02-05-00268 | Contamer | 20 |
| 02-05-00269 | Tube Packing | 10 |

EQUIPMENT : SPHYGMOMANOMETER

MODEL: 1104

COMPANY NAME : MARUBNI  JAPAN

QUANTITY  INSTALLED: 975

| 02-05-00270 | Head Screw HM-1104(CAT) | 110 |
| --- | --- | --- |
| 02-05-00271 | RUBBER Packing | 250 |
| 02-05-00272 | Fuelt | 60 |
| 02-05-00273 | Roshi | 60 |
| 02-05-00274 | Container | 60 |
| 02-05-00275 | Tube Packing | 60 |
| 02-05-00276 | Glass Tube | 100 |
| 02-05-00277 | Rubber Inler Bulb | 60 |

EQUIPMENT: Blood pressure Manometer (Sphygmanometer)

MODEL: MERCURY

COMPANY NAME: Yamaguchi Medical Instrument, Japan

QUANTITY INSTALLED:3000

| Code | Description | Ref. No. |  | Qty. |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 02-05-00278 | Bulbs with Valves Nb.15 |  |  |  | 5000A |  |
| 02-05-00279 | Air Rubber Bag Complete Nb.37 |  |  |  | 3000A |  |
| 02-05-00280 | Air Valve |  |  |  | 2000A |  |

EQUIPMENT:Slit Lamp

MODEL: 900

COMPANY NAME: HAAG-STREIT, Switzerland

QUANTITY INSTALLED: 50

| Code | Description |  | Qty., |
| --- | --- | --- | --- |
| 02-05-00281 | Lamp 6V-4.5A 27 W |  | 100 |
| 02-05-00282 | Transformer |  | 10 |
| 02-05-00283 | Lamp cover |  | 50 |
| 02-05-00284 | Wheel cover |  | 20 |
| 02-05-00285 | Complete head |  | 10 |
| 02-05-00286 | Tonometer |  | 8 |

EQUIPMENT : Test type, Opthalomology Remot Control

MODEL :EAO72

COMPANY NAME:

QUANTITY INSTALLED:65

| 02-05-00287 | Halogen Bulb | 100 |
| --- | --- | --- |

EQUIPMENT : Audiometer

MODEL :AS-30+TR10  3604

COMPANY NAME: SAGAMI  DENKI  JAPAN

QUANTITY INSTALLED: 13

| 02-05-00288 | lamp (1) |  | 50 |
| --- | --- | --- | --- |
| 02-05-00289 | Lamp (2) |  | 50 |
| 02-05-00290 | patient Cable Conection |  | 50 |

EQUIPMENT : Diagnostic set,( Physiotharapist)

MODEL : A3-40

COMPANY NAME: MARUBNI

QUANTITY INSTALLED: 78

| 02-05-00291 | Lamp. | 500 |
| --- | --- | --- |
| 02-05-00292 | lamp halogen 4 V | 150 |
| 02-05-00293 | lamp halogen 3 V | 150 |
| 02-05-00294 | rechargeable battery | 25 |

EQUIPMENT : Refractometer

MODEL:1000F

COMPANY NAME :NIKON

QUANTITY INSTALLED :13

| 02-05-00295 | Lamp (Green Gross Tangets lamp.) | 100 |
| --- | --- | --- |

EQUIPMENT : Screen Laser

MODEL :A3-52

COMPANY NAME :MARUBNI

QUANTITY INSTALLED :13

| 02-05-00296 | Light bulb (6.3v,0.15A) | 100 |
| --- | --- | --- |
| 02-05-00297 | Light bulb (8v,1A) | 100 |

EQUIPMENT: ULTRA SONIC THERAPY

MODEL: Therasonic Five

COMPANY NAME: EMS, England

QUANTITY INSTALLED:75

| Code | Description | Ref. No. |  | Qty. |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 02-05-00298 | Main Board complete |  | 54-8 |  | 15 |  |
| 02-05-00299 | Power Amplifier PCB Complet |  | 54-5 |  | 15 |  |
| 02-05-00300 | Transistor FET 2SK-175/6 |  | 18-36 |  | 200 |  |

EQUIPMENT:  UV& IR LAMP

MODEL 3030

COMPANY NAME ENRAF NONIUS DEIFT-HANAU

QUANTITY INSTALLED 150

| Code | Description | Part No. | Qty., |
| --- | --- | --- | --- |
| 02-05-00301 | IR-21OHM | 004931 | 100 |
| 02-05-00302 | IR-11OHM | 042882 | 200 |
| 02-05-00303 | UV-A | 001035 | 50 |
| 02-05-00304 | UV-B | 001034 | 50 |

EQUIPMENT : UV& IR LAMP

MODEL Supper 2000

COMPANY NAME ASTRALUX

QUANTITY INSTALLED 250

| Code | Description | Ref.No | Qty |
| --- | --- | --- | --- |
| 02-05-00305 | IR 24OHM | 95.028.220 | 500 |
| 02-05-00306 | IR 16OHM | 95.028.220 | 500 |
| 02-05-00307 | V ASH 455E6 | 2026.8 | 25 |

EQUIPMENT : Ultraviolt Lamp

MODEL:A3-37(SE -600)

COMPANY NAME :MARUBNI

QUANTITY INSTALLED:75

| 02-05-00308 | Lamp. | 1000 |
| --- | --- | --- |

EQUIPMENT : Infrared

MODEL: L204

COMPANY NAME:MARUBNI

QUANTITY INSTALLED:52

| 02-05-00309 | Lamp | 100 |
| --- | --- | --- |

EQUIPMENT : Low Frequency therapy

MODEL:NEAROTEN  726

COMPANY NAME:SIEMENS  GERMANY

QUANTITY INSTALLED:39

| 02-05-00310 | Circuit board A1 | 53 36 565 E2200 | 10 |
| --- | --- | --- | --- |
| 02-05-00311 | Circuit board A2 | 53 36 599 E2200 | 10 |
| 02-05-00312 | Circuit board A4 | 53 36 644 E2200 | 10 |

EQUIPMENT : Microwave therapy

MODEL: RADIO THERM 706

COMPANY NAME :SIEMENS  GERMANY

QUANTITY  INSTALLED :39

| 02-05-00313 | Circuit board A1 | 47-45 BB543 | 10 |
| --- | --- | --- | --- |
| 02-05-00314 | Circuit board A2 | 47-45 337BB43 | 10 |
| 02-05-00315 | Power transformer Tr1 |  | 10 |
| 02-05-00316 | dos Switch Assembly |  | 10 |
| 02-05-00317 | Director cable |  | 10 |
| 02-05-00318 | Diode-H463-3 H.F H.V |  | 10 |
| 02-05-00319 | Circuit board assy P.No. | 4536348EH703 | 10 |
| 02-05-00320 | Timer |  | 10 |
| 02-05-00321 | Push Button power switch | 4918978 | 10 |
| 02-05-00322 | Lamp |  | 20 |

EQUIPMENT: Coombs cellwasher automatic

MODEL:D2-58

COMPANY NAME: MARUBNI

QUANTITY  INSTALLED: 26

| 02-05-00323 | Nozzle | 473777 | 15 |
| --- | --- | --- | --- |
| 02-05-00324 | Adapter | 473778 | 15 |
| 02-05-00325 | Door switch ber | 473427 | 10 |
| 02-05-00326 | Lock arm | 474431 | 10 |
| 02-05-00327 | Antoning | 474428 | 10 |
| 02-05-00328 | Grommet | 47736 | 10 |
| 02-05-00329 | HK Micro key Bearing housing | 477755 | 10 |
| 02-05-00330 | Danper Assy | 456166 | 15 |

EQUIPMENT : soner(diagnostic)

MODEL:A4-4

COMPANY NAME:MARUBNI-ALOKA

QUANTITY INSTALLED:13

| 02-05-00331 | AUS 28H-SM-3.3MHZ |  | 10 |
| --- | --- | --- | --- |
| 02-05-00332 | BOARD 1772 |  | 10 |

EQUIPMENT : Electro phorsis

MODEL:238

COMPANY NAME: JOOKOO  JAPAN

QUANTITY  INSTALLED:26

| 02-05-00333 | Power Transformer 220V (out 40 V0.1A) (20V 0.2A) (50V 0.1A) | 10 |
| --- | --- | --- |

EQUIPMENT: Electrophoresis appartateus

MODEL: ELVI

COMPANY NAME: ELVI ITALY

QUANTITY INSTALLED:50

| 02-05-00334 | 79960,79530 Kit | 2 Pack |
| --- | --- | --- |
| 02-05-00335 | 160 920 Kit containing on black One red pen | 4 |
| 02-05-00336 | Celleluse Acetate poliphon papers | 10 Pack |
| 02-05-00337 | 160 930 Packing of 10 optical glass | 10 Pack |
| 02-05-00338 | Paper roller for proper every pack contains | 4 Roll |
| 02-05-00339 | Scanner complet | 1 |
| 02-05-00340 | electrophoresis wall tancks | 2 |
| 02-05-00341 | PRG-62005 - K Rectal probes | 160 PCS |
| 02-05-00342 | Thermosenstive paper rolls. | 60 PCS |
| 02-05-00343 | A.P.T. SE 15 probe box. | 5 PCS |
| 02-05-00344 | STANDAR SOLUTION | 50 SET |

EQUIPMENT :WATER DISTONATION

MODEL:EXLCO

COMPANY NAME: EXLCO

QUANTITY INSTALLED:150

| 02-05-00345 | BOILLING FLASK |  | 50 |
| --- | --- | --- | --- |
| 02-05-00346 | CONDENSER FLASK |  | 50 |

EQUIPMENT :DI Still, 8 Litres 1 hour

MODEL:(FI-STREEM) BARNSTEAD

COMPANY NAME: SYPRON  USA

QUANTITY INSTALLED:26

| 02-05-00347 | Heating element | 06278 | 100 |
| --- | --- | --- | --- |
| 02-05-00348 | Limet switch for level device | 4703592 | 20 |
| 02-05-00349 | Main Raw water Pressure sensor 06750 |  | 20 |
| 02-05-00350 | O-Ring parker 2-211N398-7 | 06440 | 20 |
| 02-05-00351 | O-Ring parker 2-214N398-7 | 06441 | 20 |
| 02-05-00352 | O-Ring parker 2-238E540-8 | 06808 | 20 |
| 02-05-00353 | Bridage Rectifier | 515UB20 | 20 |
| 02-05-00354 | Relay A,B,C sets | 00285 | 20 |
| 02-05-00355 | Flow valve | Brooks- Mite 27 | 10 |
| 02-05-00356 | Boiler (Rear & Front) | 065461 | 30 |
| 02-05-00357 | Condenser | 06752 | 20 |

EQUIPMENT : Shaker Electric

MODEL:KR-3(D2-32)

COMPANY NAME:MARUBNI

QUANTITY INSTALLED:52

| 02-05-00358 | Speed Control | 50 |
| --- | --- | --- |

EQUIPMENT : Auto-analyzer, enzymes, centrifugal

MODEL: (D2-036)

COMPANY NAME: SHIMADZU

QUANTITY INSTALLED:13

| 02-05-00359 | Solenoid valve assem for disponser | 204-6 2-21 | 10 |
| --- | --- | --- | --- |
| 02-05-00360 | All-fuses used inunit | All | 10 set |
| 02-05-00361 | Compressor oil barrel freez 56SH4L/CAN | 200-64132-31 | 10 |
| 02-05-00362 | Solenoid valve (Diaphram) | 204-62341 | 10 |
| 02-05-00363 | Solenoid valve (Poppte type) | 204-62341-01 | 10 |
| 02-05-00364 | Zener Diode |  | 10 |
| 02-05-00365 | High pressure line tubing | 016-46006 | 10 set |
| 02-05-00366 | Lamp-1 |  | 50 |
| 02-05-00367 | Lamp-2 |  | 50 |
| 02-05-00368 | Electro magnetic valve | 204-62349 | 10 |
| 02-05-00369 | Pipetter packing |  | 10 |
| 02-05-00370 | Floppy disc |  | 100 |
| 02-05-00371 | Teflon half-union |  | 10 |
| 02-05-00372 | Sylinder assem-1 |  | 20 |
| 02-05-00373 | Teflon connector |  | 20 |
| 02-05-00374 | Flow cell |  | 10 set |
| 02-05-00375 | Printer unit |  | 10 |
| 02-05-00376 | All types of tubing used. |  | 10 set |
| 02-05-00377 | ALL TYPE OF SOLUTION |  | 100 SET |

EQUIPNENT:  Haematology analyzer2

MODEL:S 880

COMPANY NAME: Coulter Electronics LTD

QUNTITY INSTULLED 10

| Code | Spare part Required | Spare part No. | Qty., |  |  |
| --- | --- | --- | --- | --- | --- |
| 02-05-00378 | CHOKE,008 Orifice | 6213006 | 5 |  |  |
| 02-05-00379 | Choke,006 orifice | 6213009 | 5 |  |  |
| 02-05-00380 | Choke,025 orifice brown | 6213015 | 5 |  |  |
| 02-05-00381 | Valve, pneu 3wy. | 6232075 | 2 |  |  |
| 02-05-00382 | Wbc aperture housing | 6702275 | 2 |  |  |
| 02-05-00383 | RBC APERTURE HOUSENG | 6802865 | 2 |  |  |
| 02-05-00384 | VACUUM REGULATOR assy. | 9368363 | 1 |  |  |
| 02-05-00385 | Check valve | 6214107 | 3 |  |  |
| 02-05-00386 | Tubing | 3202038 | 5 meter |  |  |
| 02-05-00387 | Tubing | 3202036 | 2 meter |  |  |
| 02-05-00388 | Tubing | 3203015 | 2 meter |  |  |
| 02-05-00389 | Tubing | 3203016 | 2 meter |  |  |
| 02-05-00390 | ALL TYPS FO SOLUTION |  | 50 SET |  |  |

EQUIPMENT:AUTOANALYZER

MODEL:COULTER COUNTER

COMPANY NAME:COULTER  ENGLAND

QUANTITY INSTALLED:13

| 02-05-00391 | Aperture housing Assy for RBS&WBC | 6701588/6701589 | 10 |
| --- | --- | --- | --- |
| 02-05-00392 | C;eamomg/dilvent exchange valve | 6803659 | 10 |
| 02-05-00393 | Dilvent dispenser | 6802827 | 15 |
| 02-05-00394 | Solenoide valve VL-40 | 0890C-23 | 20 |
| 02-05-00395 | S.V. VL-41 | 0890C-13 | 20 |
| 02-05-00396 | Check valve | 0890C-13 | 20 |
| 02-05-00397 | O-Ring (Large) | 2512104 | 20 |
| 02-05-00398 | O-Ring (Small) | 2512010 | 10 |
| 02-05-00399 | Pressure Switch for level detectors | 5115009 | 10 |
| 02-05-00400 | Printer solenoid. | 7217001 | 10 |
| 02-05-00401 | Pilot actuator | 62110155 | 10 |
| 02-05-00402 | P.C.B | 7410801 | 10 |
| 02-05-00403 | Key board Assy | (4300226/6854028) | 10 |
| 02-05-00404 | Preamplifier PCB | 9368713 | 10 |
| 02-05-00405 | Vacuum pump | 0890C-9 | 10 |
| 02-05-00406 | Vacuum pump | 0890C-19 | 10 |
| 02-05-00407 | Cap Reteirer for VL-34 | 1008974 | 10 |
| 02-05-00408 | Blood sampling valve | 6703765 | 10 |
| 02-05-00409 | Double Action pinch valve | 6804896 | 10 |
| 02-05-00410 | Solenoid valve 24V | 6232075 | 20 |
| 02-05-00411 | Tubing A | 3203016 | 10 set |
| 02-05-00412 | Tubing B | 3203015 | 10 set |
| 02-05-00413 | Tubing C | 3203036 | 10 set |
| 02-05-00414 | WBC/RBC Disponser (10ml)Pumps | 68523541 | 10 |
| 02-05-00415 | HGB lamp | 9768366 | 20 |
| 02-05-00416 | Check valve (Large) | 6214107 | 10 |
| 02-05-00417 | Check valve (Small) | 6214108 | 10 |
| 02-05-00418 | O-Ring | 2523119 | 20 |
| 02-05-00419 | Changing valve VL-34 | 6803659-3 | 10 |
| 02-05-00420 | Pressure Switch for level delectors | 5115009 | 10 |
| 02-05-00421 | Solenoid valve | 6214087 | 20 |
| 02-05-00422 | P.C.B | 7611001 | 10 |
| 02-05-00423 | Printer Belt |  | 10 |
| 02-05-00424 | Soleniod valve | 813-0691-9 | 10 |
| 02-05-00425 | Internal electrode |  | 10 |
| 02-05-00426 | Sample disc |  | 10 |

EQUIPMENT: Auto Analyzer

MODEL: CL-12

COMPANY NAME: SHIMADZU

QUANTITY INSTALLED:13

| Code | Description | Ref. No. | Qty., |
| --- | --- | --- | --- |
| 02-05-00427 | Air Cylinder | 042-90040-23 | 4 |
| 02-05-00428 | Pipetter Nozzle 1 | 204-62238 | 4 |
| 02-05-00429 | Pipetter Nozzle 2 | 204-62239-01 | 4 |
| 02-05-00430 | Pipetter Nozzle 3 | 204-62239-02 | 4 |
| 02-05-00431 | Pipetter Nozzle 4 | 204-62239-03 | 4 |
| 02-05-00432 | Cylinder Assy 1 | 204-62306 | 4 |
| 02-05-00433 | cylinder Assy 2 | 204-62306 | 4 |
| 02-05-00434 | Lamp 1 | 204-62862-01 | 8 |
| 02-05-00435 | Lamp 2 | 204-62862-02 | 16 |
| 02-05-00436 | Photo cell |  | 8 |
| 02-05-00437 | typewriter Paper |  | 20 |

EQUIPMENT: AUTOANALYSER

MODEL: CUJ SSB4

COMPANY NAME: SHIMADZU

QUANTITY INSTALLED:10

| Code | SPARE PART REQUIRED | QTY, |
| --- | --- | --- |
| 02-05-00438 | SOLUTION FOR ALL TYPE TEST | 50 SET |
| 02-05-00439 | POWER TRANSESTOR EUG 33-050 30A-500 V | 5 |

EQUIPMENT: ANALYZER AUTOMATED STAT. / ROUTINE

MODEL: (ASTRA - 8)

COMPANY NAME: Beckman lnstruments, INC

QUANTITY INSTALLED:10

| Code | SPARE PART REQUIRED | QTY, |
| --- | --- | --- |
| 02-05-00440 | program diskettes (1,2,E:) | 10 SET |
| 02-05-00441 | Think-Jet printer Model:HP2225C | 10 |
| 02-05-00442 | set of pcb,s | 5 SET |

EQUIPMENT: blood Gas Analyzer,

MODEL: ILS1303,1985

COMPANY NAME: U.S Instruments laboratory Systems

QUANTITY INSTALLED:13

| Code | Description | Ref. No. | Qty., |
| --- | --- | --- | --- |
| 02-05-00443 | Gas Mixing unit |  | 10 |
| 02-05-00444 | Sensor Sampling Assembly | 50149 | 8 |
| 02-05-00445 | ELECTROD |  | 13 |
| 02-05-00446 | ALL TYPE OF SOLUTION |  | 50 SET |

EQUIPMENT: Calcium Analyzer

MODEL:  SS-20 NIKKAKI

COMPANY NAME:Orion Research, Japan

QUANTITY INSTALLED:13

| Code | Description | Qty., |
| --- | --- | --- |
| 02-05-00447 | Calcium Sensor | 2 |
| 02-05-00448 | NA Analog Card | 2 |

EQUIPMENT : Analyzer , Glucose,

MODEL: CL-720

COMPANY NAME: SHIMADZU

QUANTITY INSTALLED:13

| 02-05-00449 | Mirror | 204-25367-01 | 10 |  |
| --- | --- | --- | --- | --- |
| 02-05-00450 | Filter | 204-54074 | 20 |  |
| 02-05-00451 | Joint (1) with pump | 204-56111-02 | 10 |  |
| 02-05-00452 | Joint (2) with pump | 204-56111-01 | 10 |  |
| 02-05-00453 | Rotor Disc | 204-56113 | 10 |  |
| 02-05-00454 | Roller | 204-55320 | 10 |  |
| 02-05-00455 | Shaft | 204-55321 | 10 |  |
| 02-05-00456 | Guide | 204-56425 | 10 |  |
| 02-05-00457 | Transistor MJE-700 | 060-49003 | 10 |  |
| 02-05-00458 | Transistor 2N3055 | 060-49002 | 10 |  |
| 02-05-00459 | Digital Power unit | 204-54643 | 10 |  |
| 02-05-00460 | Printer | 204-55025 | 10 |  |
| 02-05-00461 | Thermol head | 078-15005-01 | 10 |  |
| 02-05-00462 | Control unit | 204-54206 | 10 |  |
| 02-05-00463 | CPU Board | 204-52618-01 | 10 |  |
| 02-05-00464 | ROM Board | 204-52610-01 | 10 |  |
| 02-05-00465 | Input Board | 204-52608 | 10 |  |
| 02-05-00466 | Output Board | 204-52606 | 10 |  |
| 02-05-00467 | Printer Driver Board | 204-56550 | 10 |  |
| 02-05-00468 | Back up Board | 204-56771 | 10 |  |
| 02-05-00469 | Key Switch (No Lamp) | 200-76017-00 | 10 |  |
| 02-05-00470 | Key Switch (With Lamp) | 200-76-17-10 | 10 |  |
| 02-05-00471 | Analog Switch IC, TL191 C-N | 200-73019 | 10 |  |
| 02-05-00472 | conventer IC, MC 14433 | 075-22144-33 | 10 |  |
| 02-05-00473 | Led for push botton switch |  | 10 |  |
| 02-05-00474 | Tungston lamp. |  | 20 |  |

EQUIPMENT : Analyzer, sodium / Potassium

MODEL:NAKCL/1

COMPANY NAME:TOA JAPAN

QUANTITY INSTALLED:13

| 02-05-00475 | Pump motor |  | 10 |
| --- | --- | --- | --- |
| 02-05-00476 | Tube for pump (BI,BR-1-Waste) 3 Pcs/set |  | 10 set |
| 02-05-00477 | Thermistor |  | 10 |
| 02-05-00478 | Electrode (CL-K-No) | CL333,K-333 Na-333 | 10 set |
| 02-05-00479 | Refrence electrode | HC-333 | 10 |
| 02-05-00480 | Flow cell | 70x25x25 | 10 |
| 02-05-00481 | Tip for Micro Piltter |  | 10000 |
| 02-05-00482 | Tyon tube |  | 10 |
| 02-05-00483 | level sensor |  | 10 |
| 02-05-00484 | Thermostat |  | 10 |
| 02-05-00485 | Analog card forcl | 990551-2 | 10 |
| 02-05-00486 | Electrode C Reference electrode |  | 10 |

EQUIPMENT : Digital Diluter Pipetter

MODEL:DIP-1

COMPANY NAME:SHIMADZU

QUANTITY INSTALLED:78

| 02-05-00487 | Hand pipetter 204-04061 |  | 10 |
| --- | --- | --- | --- |
| 02-05-00488 | Stepping motor PH266-32-200-8426-03 |  | 20 set |
| 02-05-00489 | CPU-P.C board Assy lec A204-02088 |  | 10 |
| 02-05-00490 | Soleniod valve -02504 |  | 20 |
| 02-05-00491 | Nozzel assy CP/N204-02509) |  | 20 set |
| 02-05-00492 | Srring-1ml (204-02405-04) |  | 20 set |
| 02-05-00493 | 100 Micro syring (204-02405-02) |  | 20 set |

EQUIPMENT : MICRO CENTRIFUGE

MODEL:MC-300

COMPANY NAME: HITACHI

QUANTITY INSTALLED:26

| 02-05-00494 | Pump | 477414 | 10 |
| --- | --- | --- | --- |
| 02-05-00495 | Solenaid valve | 477255 | 15 |
| 02-05-00496 | Doorlock base Assy | 336923 | 10 |
| 02-05-00497 | Release | 473185 | 10 |
| 02-05-00498 | Solenoid | 474416 | 15 |
| 02-05-00499 | Connecter | 477759 | 15 |
| 02-05-00500 | Grommet | 474425 | 10 |
| 02-05-00501 | Roter Assy | 214361 | 10 |
| 02-05-00502 | Distribnter Assy | 214453 | 10 |

EQUIPMENT: centerfuge

MODEL T5  & T30

COMPANY NAME Intermed W.Germany

QUANTITY INSTALLED 150+150

| 02-05-00503 | Electric motor rpm max 5500 (type1030 5/5) 220V freq. 50HZ | 50 |
| --- | --- | --- |
| 02-05-00504 | Electrin motor 220V 80W (type 1009 10) 5000 rpm | 50 |

EQUIPMENT : Centrifuge, microhaematocrit

MODEL:MC-201

COMPANY NAME:HITACHI

QUANTITY INSTALLED:52

| 02-05-00505 | Timer | 482819 | 15 |  |
| --- | --- | --- | --- | --- |
| 02-05-00506 | Speed meter | 982821 | 15 |  |
| 02-05-00507 | Printed Circuit board | 346594 | 15 |  |
| 02-05-00508 | Motor assembly | P/N 342751 | 50 |  |
| 02-05-00509 | Relay #3 | 5400618 | 10 |  |
| 02-05-00510 | Main pilot lamp. | 982818 | 10 |  |
| 02-05-00511 | Timer GRIP | 482820 | 20 |  |
| 02-05-00512 | CB holder | 482816 | 20 |  |
| 02-05-00513 | PG assembly | 477277 | 10 |  |
| 02-05-00514 | Interlock Switch | 477275 | 20 |  |
| 02-05-00515 | Rubber Cushion | 477281 | 20 |  |
| 02-05-00516 | Capillary tube | 47727 | 50 |  |
| 02-05-00517 | Cover assembly | 346543 | 10 |  |
| 02-05-00518 | Putty for sealing | 477279 | 10 |  |
| 02-05-00519 | Scaleplate (Centrifuge) | 338828 | 10 |  |
| 02-05-00520 | IC | 47743420 | 10 |  |
| 02-05-00521 | cover assembly | 5300066A | 10 |  |
| 02-05-00522 | IC | HA17815P | 10 |  |

EQUIPMENT: Micro Centrfuge

MODEL: Haematocrit

COMPANY NAME: Hitachi, Japan

QUANTITY INSTALLED:50

| Code | Description | Qty., |
| --- | --- | --- |
| 02-05-00523 | Main control Board | 10 |
| 02-05-00524 | Armature | 10 |

EQUIPMENT:  CENTRIFUGE

MODEL:PCV

COMPANY NAME: HAWKSLEY‚SONS‚Ltd, UK

QUANTITY INSTALLED:75

| Code | Description |  |  | Qty. |
| --- | --- | --- | --- | --- |
| 02-05-00525 | Motor Complet 11000 rPM 220 V AC | 147454/9D | 25 |  |
| 02-05-00526 | Micro Switch |  | 20 |  |
| 02-05-00527 | Timer |  | 20 |  |
| 02-05-00528 | Carbon Brush |  | 100 |  |
| 02-05-00529 | Armature rotor |  | 20 |  |

EQUIPMENT : Centerifuge Cytosedimentation

MODEL:1250

COMPANY NAME: SAKURA

QUANTITY INSTALLED:26

| 02-05-00530 | Rotor Fixing unit | 10 |
| --- | --- | --- |

EQUIPMENT : Tissue staining machine Automatic

MODEL: D2-64

COMPANY NAME: SAKURA

QUANTITY INSTALLED: 13

| 02-05-00531 | Micro Switch | 10 |
| --- | --- | --- |
| 02-05-00532 | Motor | 2 |

EQUIPMENT: Bloode cell counter

MODEL:PC-810

COMPANY NAME:SYMIX

QUANTITY INSTALLED:13

| 02-05-00533 | Solelenoid valve (12V [813-0699-8]) | 20 |
| --- | --- | --- |
| 02-05-00534 | Solinoid valve 823-0959-1 | 20 |
| 02-05-00535 | Thermiston 813-0779-9 | 20 |

EQUIPMENT : Sterilizer , Steam

MODEL: TABLE TYPE  F1-27

COMPANY NAME: ODLAGE

QUANTITY INSTALLED:26

| 02-05-00536 | Filter for water supply. | 20 |
| --- | --- | --- |
| 02-05-00537 | Timer | 10 |
| 02-05-00538 | Pressure gange | 10 |
| 02-05-00539 | Slide plate. | 10 |
| 02-05-00540 | Steam Ejecter valve | 10 |
| 02-05-00541 | Drum for model SP-2-3 | 10 |
| 02-05-00542 | Solenoid valve for Steam. | 20 |
| 02-05-00543 | Solenoid valve for Water. | 20 |
| 02-05-00544 | Check valve T-125 | 10 |
| 02-05-00545 | Check valve JTS-10K | 10 |
| 02-05-00546 | HETER ELEMENT | 50 |

EQUIPMENT:AUTOCLAVE

MODEL:YHE-960+YVE-46

COMPANY NAME: Takizawa Medical, Japan

QUANTITY INSTALLED:50+75

| Code | Description | Ref. No. | Qty. |
| --- | --- | --- | --- |
| 02-05-00547 | Heater 380 V 12KW for Horizontal Autoclave model YHE-960 |  | 25 set |
| 02-05-00548 | Steam injector for Horizontal Autoclave model YHE-960 |  | 15 |
| 02-05-00549 | Heater 380 V 8KW for Vertical Autoclave Model YVE-46 |  | 30 |

EQUIPMENT : Sterilizer, steam

MODEL: double door.(F1-30)

COMPANY NAME:SAKURA

QUANTITY INSTALLED:39

| 02-05-00550 | One shaft motor unit | 3PH-Motor | 10 |
| --- | --- | --- | --- |
| 02-05-00551 | Wire for one shaft motor. |  | 20 |
| 02-05-00552 | Oil-seal for vacuum pump. | AK-35488 | 20 |
| 02-05-00553 | Oil-seal for vacuum pump. | FAJ-3552R | 20 |
| 02-05-00554 | Bearing for vacuum pump | 6206V | 20 |
| 02-05-00555 | Bearing for vacuum pump | 6206 | 20 |
| 02-05-00556 | Bearing for vacuum pump | N0206 | 20 |
| 02-05-00557 | O-Ring for vacuum pump | OG-230 | 20 |
| 02-05-00558 | O-Ring for vacuum pump | OG-55 | 20 |
| 02-05-00559 | Washer for vacuum Pump | AW-06 | 20 |
| 02-05-00560 | Trap wibt 1/2 |  | 10 |
| 02-05-00561 | Air Leak valve 3/8 |  | 10 |
| 02-05-00562 | Check valve 1/2 |  | 10 |
| 02-05-00563 | Check valve 1/4 |  | 10 |
| 02-05-00564 | Check valve 3/4 |  | 10 |
| 02-05-00565 | Ball valve 12 |  | 10 |
| 02-05-00566 | Ball valve 3/8 |  | 10 |
| 02-05-00567 | Solenoid valve (3 ways) 1/4 |  | 20 |
| 02-05-00568 | Solenoid valve for seal 1/4 |  | 20 |
| 02-05-00569 | Steam trap wibt 15A |  | 10 |
| 02-05-00570 | 3 way Air valve |  | 10 |
| 02-05-00571 | Vacuum pum KT-100E |  | 30 |
| 02-05-00572 | Filter main |  | 10 |
| 02-05-00573 | Transformer (Tes 1/4) |  | 10 |
| 02-05-00574 | Source steam valve (T-150 BD 3/4) |  | 10 |
| 02-05-00575 | Thermo Resistance (HKP-15) |  | 10 |
| 02-05-00576 | Thermo couple (C-1) |  | 10 |
| 02-05-00577 | Puper for record |  | 5000 |
| 02-05-00578 | 3 Way Air valve | SV062SE-80-2W | 10 |
| 02-05-00579 | Safty valve |  | 10 |
| 02-05-00580 | Pressure reducing valve RD-IT23/4 |  | 10 |

EQUIPENT AUTOCLAVE

MODEL: VND V/3/48

220/380V,50HZ,9KW.14.5A

COMPANY NAME:ODELGA A-1160 WIEN KOPPSTR.103 AUSTRIA

QUNTITY INSTALLED 10

| Code | SPARE‚PARTS REQUIREd | SPARE PART NO. | QTY, |
| --- | --- | --- | --- |
| 02-05-00581 | PISTON ASSEMBLY | 464-905 | 6 |
| 02-05-00582 | HEATING ELEMENT |  | 10 |

EQUIPMENT:Horizontal Autoclaves     No: Box25 AND2

MODEL: 2 horizontal Autoclaves K O/60 X95,380 V Made of Stainless steel Working pressure 2.5 bar 2x2 door-Central closure

automatic control SV3 sterilization of solids

vaccum pump 10604-Independ- ant automtic steam generater Q25 x 55 made of st.

Electric 16KW voltage: 380v VPRI+C 18KW Type Lx400 steel.

COMPANY NAME:LEQUEUX

QUANTITY INSTALLED:15

| Code | Code No. | Des. |  |  | Qty., |
| --- | --- | --- | --- | --- | --- |
| 02-05-00583 | 02624 A | Pump LRMA 10604 0.75kw 50 |  |  | 5 |
| 02-05-00584 | 02640 A | Pump TKM 80 380 |  |  | 5 |
| 02-05-00585 | 01622 B | Bowl TAP MA LN 12/17 |  |  | 5 |
| 02-05-00586 | 01138 A | Manometer 60G602-1 + 3B |  |  | 20 |
| 02-05-00587 | 01138 B | Manometer 60G602-0 + 6B |  |  | 20 |
| 02-05-00588 | 01699 A | Drainer AV 10 15 x 21 |  |  | 5 |
| 02-05-00589 | 01990 A | Valve 34600 125 |  |  | 5 |
| 02-05-00590 | 01711 D | Valve 983 G1 4.2B 12/17 |  |  | 20 |
| 02-05-00591 | O1733 A | Poral Filter 23.8/74 3002 |  |  | 20 |
| 02-05-00592 | 01718 B | Filter strainer BR 1125 15 |  |  | 15 |
| 02-05-00593 | 01695 A | Snifting valve 1821 15/21 |  |  | 10 |
| 02-05-00594 | O1823 A | Thermo cont 25+ 150 100 |  |  | 10 |
| 02-05-00595 | 02036 A | Thermo Stat RU 7180+300 |  |  | 20 |
| 02-05-00596 | 02209 C | Mamostat SP 6K |  |  | 10 |
| 02-05-00597 | 02029 B | Mamostat SP 16K ss capot. |  |  | 15 |
| 02-05-00598 | 01242 A | Resist C6CU 16K 3 X 380 Complete. |  |  | 30 |
| 02-05-00599 | 02785 A | Elect Valve |  |  | 20 |
| 02-05-00600 | 01901 A | Elect Valve 13800 169 24V |  |  | 20 |
| 02-05-00601 | 01902 A | Elect Valve 14000 003 24V |  |  | 30 |
| 02-05-00602 | 01855 A | Recerd. K-1+50/150 8H 24V |  |  | 5 |
| 02-05-00603 | 01428 B | Transformer 100 VA 42 751 |  |  | 15 |
| 02-05-00604 | 01390 A | Fuse Holder 21 471 |  |  | 20 |
| 02-05-00605 |  | Cartridge fuse 10 A 10 X 38 GF |  |  | 60 |
| 02-05-00606 |  | Cartridge Fuse 4 A 10 X 38 AM |  |  | 60 |
| 02-05-00607 |  | Cartridge Fuse 6A |  |  | 60 |
| 02-05-00608 |  | Cartridge Fuse 2A 10 x 38 AM |  |  | 60 |
| 02-05-00609 | 01355 A | Miniruptor 83.100.01 W 3 |  |  | 5 |
| 02-05-00610 | 03112 A | Switcher 400- 1005- 024 -GFS-60 |  |  | 15 |
| 02-05-00611 | 03113 A | Push botten 4000 101 024 GFS 60 |  |  | 10 |
| 02-05-00612 | 03114 A | Signal Light 4000 970 B |  |  | 60 |
| 02-05-00613 | 03109 A | Aux contact ZB2 BE 101 |  |  | 5 |
| 02-05-00614 | 03109 A | Aux contact ZB2 BE 102 |  |  | 5 |
| 02-05-00615 | 02010 B | Progra KKB 5020B12524 Complete |  |  | 10 |
| 02-05-00616 | 03107 A | Inter TETE ZB2 BD2 |  |  | 5 |
| 02-05-00617 | 02004 A | Timer KOF 1 E1 3/30 24 |  |  | 10 |
| 02-05-00618 | 01494 A | Relay DMR 24V CA007 40912 |  |  | 10 |
| 02-05-00619 | 1290 C | Relay CA2 FN 131 24V |  |  | 10 |
| 02-05-00620 | 01304 E | Contactor LCI D 253 B 24 |  |  | 10 |
| 02-05-00621 | 01304 A | Contactor LCI D 093 B 24 |  |  | 10 |
| 02-05-00622 | 01302 | Therm LRI DO9 307 I 6-2.5 |  |  | 10 |
| 02-05-00623 | 1302 | Therm LRI DO9 306 I,1.6 | 10 |  |  |
| 02-05-00624 |  | Therm LRI DO9 308 2.5-4 | 10 |  |  |
| 02-05-00625 | 2005 | A Timer KOG IIIA 180 24V | 15 |  |  |
| 02-05-00626 | 2008 | A Timer KOG 2IIA 1 3 H 24V | 5 |  |  |
| 02-05-00627 | 2005 | B Timer KOG IIIA330S. 24V | 5 |  |  |
| 02-05-00628 | 03111 | A Signal Light 4000-2-024-GFS 60 | 60 |  |  |
| 02-05-00629 | 2514 | C Door Gasket | 20 |  |  |
| 02-05-00630 | 01695 | A Blow Valve 1821 15/21 | 10 |  |  |

Model :- AP6B EAP 380V

| 02-05-00631 | 01304 A | Contactor LC1D09324 | 5 |
| --- | --- | --- | --- |
| 02-05-00632 | 01309 A | Main cutter device T20 EA | 5 |
| 02-05-00633 |  |  | sub 20A LCID253 |
| 02-05-00634 | 1350 A | ON-OFF switch button 31261 | 5 |
| 02-05-00635 | 01290 C | Relay CA2FN131 24V | 5 |
| 02-05-00636 | 01201 | Heatin element A162 | 30 |
| 02-05-00637 | 01314 | Lamp olten 24V | 60 |
| 02-05-00638 | 01827 B | Thermometer IFC80 50+350 | 5 |

EQUIPMENT: Ultrasound unit Doppler

MODEL: IM1000

COMPANY NAME: Ausonics company, Australia(Group of Nuclars)

QUANTITY INSTALLED:12

| Code | Description | Part.No. | Qty., |
| --- | --- | --- | --- |
| 02-05-00639 | Probc 3.5 mHz | 007-483 | 10 A |
| 02-05-00640 | Probe 5 mHz |  | 5 A |
| 02-05-00641 | TGC Board | 040-728 | 3 A |

EQUIPMENT : HB meter

MODEL: HB-N

COMPANY NAME:C-ITOH, Japan

QUANTITY INSTALLED: 75

| Code | Description | Ref. No. |  |  | Qty. |
| --- | --- | --- | --- | --- | --- |
| 02-05-00642 | Photo Cell |  |  | 20 A |  |
| 02-05-00643 | Power PC Board |  |  | 50 A |  |
| 02-05-00644 | Transformer |  |  | 10 A |  |
| 02-05-00645 | Rotary Resistance |  |  | 20 A |  |
| 02-05-00646 | Circuit Plate A |  |  | 20 A |  |

EQUIPMENT : HB meter

MODEL: HB214

COMPANY NAME:C-ERMA

QUANTITY INSTALLED: 75

| Code | Description | Ref. No. | Qty. |
| --- | --- | --- | --- |
| 02-05-00647 | CILILOSE STANDAR SOLUTION |  | 50 |

EQUIPMENT : Billrubin - meter

MODEL:CAPLIAX 111

COMPANY NAME: SAKURA

QUANTITY INSTALLED:13

| Code | Description | Ref. No. | Qty. |
| --- | --- | --- | --- |
| 02-05-00648 | STANDER 20 |  | 20 |

EQUIPMENT : Billrubin - meter

MODEL: Micro Billmeter

COMPANY NAME: ERMA INC, Japan

QUANTITY INSTALLED:120

| Code | Description |  | Ref. No. |  | Qty. |  |
| --- | --- | --- | --- | --- | --- | --- |
| 02-05-00649 | Main PC Board |  |  | 50B |  |  |
| 02-05-00650 | Power PC Board |  |  | 50B |  |  |
| 02-05-00651 | Sample Holder Assy |  |  | 10B |  |  |

EQUIPMENT: PH Meter,

MODEL: HGC-10

COMPANY NAME: DKK, Japan

QUANTITY INSTALLED:13

| Code | Description | Ref. No. | Qty |
| --- | --- | --- | --- |
| 02-05-00652 | PH electrode | 1312GC | 30 |
| 02-05-00653 | FILTER |  | 10 |

EQUIPMENT : Flame photometer

MODEL:PF

COMPANY NAME: Jenway Ltd

QUANTITY INSTALLED:75

| Code | Description | Ref. No. |  | Qty. |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 02-05-00654 | Nebulizer (complete) |  |  |  | 30A |  |
| 02-05-00655 | Compressor |  |  |  | 10A |  |

EQUIPMENT : SPECTROPHOTO METER

MODEL: Specol 10

COMPANY NAME : Carl Zeiss, Germany

QUANTITY INSTALLED:300

| Code | Description | Ref. No. |  |  | Qty. |  |
| --- | --- | --- | --- | --- | --- | --- |
| 02-05-00656 | Indicating inst |  | 558-5616 | 50A |  |  |
| 02-05-00657 | Blue Photo Cell |  | 211-891/1 | 50A |  |  |
| 02-05-00658 | Red Photo Cell |  | 211-892/8 | 50A |  |  |
| 02-05-00659 | Potentiometer |  | 146-208/4 | 150A |  |  |
| 02-05-00660 | PCB |  |  | 50A |  |  |
| 02-05-00661 | CUVATT |  |  | 100 |  |  |

EQUIPMENT:Anaesthesia

MODEL: BN-75

COMPANY NAME: Carba, Switzerland

QUANTITY INSTALLED: 75

| Code | Description |  | Qty. |  |  |
| --- | --- | --- | --- | --- | --- |
| 02-05-00662 | Vaporizer (Flothen) Flotic-3 |  |  | 100 |  |
| 02-05-00663 | Valve spindle complete for oxygene |  |  | 10 |  |
| 02-05-00664 | Valve spindle complete for nitrogene |  |  | 10 |  |
| 02-05-00665 | Oxygene gauge N-59000-011 |  |  | 20 |  |
| 02-05-00666 | Nitrous oxide gauge N-5900-008 |  |  | 20 |  |
| 02-05-00667 | O2Z3.173616 |  |  | 10 |  |
| 02-05-00668 | N2OZ.17347 |  |  | 10 |  |
| 02-05-00669 | N18000-069A O-ring |  |  | 50 |  |
| 02-05-00670 | Z416829 cone |  |  | 20 |  |
| 02-05-00671 | O2block Z9.16097 |  |  | 20 |  |
| 02-05-00672 | Gasket Z4-11445 |  |  | 100 |  |
| 02-05-00673 | N18000-040A O-ring |  |  | 100 |  |
| 02-05-00674 | Z4-16221 cap. |  |  | 20 |  |
| 02-05-00675 | N2OSafety Z9.16118 interlock |  |  | 20 |  |
| 02-05-00676 | Pipeline block Z9.15999 |  |  | 50 |  |
| 02-05-00677 | Complete flow meter for oxygene + nitrogene |  |  | 10 |  |
| 02-05-00678 | On-Off knob complete for oxygene + nitrogen |  |  | 10 |  |
| 02-05-00679 | Z4.14779 sealing ring |  |  | 50 |  |
| 02-05-00680 | N4 859000-008 manometer D50 1/8" V 0-100 bar |  |  | 20 |  |
| 02-05-00681 | N4 59000-011 manometer D50 1/8" V 315 bar |  |  | 20 |  |
| 02-05-00682 | Contineous flow vaporizer for flouothane |  |  | 50 |  |

EQUIPMENT:Endoscope

MODEL: GIF-XQ10 , XQ20

COMPANY NAME: Olumpus, Japan

QUANTITY INSTALLED:30

| Code | Description |  |  | Qty. |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 02-05-00683 | Biopsy Valve |  |  |  | 5 |  |
| 02-05-00684 | GM8204 3.2 lux channel |  |  |  | 10 |  |
| 02-05-00685 | GM8203 2.0 lux channel |  |  |  | 20 |  |
| 02-05-00686 | GM1466 check valve |  |  |  | 5 |  |
| 02-05-00687 | GM9099 O ring |  |  |  | 20 |  |
| 02-05-00688 | GP0516 O rign |  |  |  | 20 |  |
| 02-05-00689 | S.Nut |  |  |  | 5 |  |
| 02-05-00690 | AW.Nut |  |  |  | 5 |  |
| 02-05-00691 | Knob ornament |  |  |  | 5 |  |
| 02-05-00692 | Air valve |  |  |  | 10 |  |
| 02-05-00693 | Suction valve |  |  |  | 10 |  |
| 02-05-00694 | O.Ring for water inlet |  |  |  | 30 |  |
| 02-05-00695 | F.Mask |  |  |  | 10 |  |

EQUIPMENT:Endoscope

MODEL: GIF - P10 & P20

COMPANY NAME: Olympus

QUANTITY INSTALLED:30

| Code | Description | Qty |  |
| --- | --- | --- | --- |
| 02-05-00696 | ZB72090A NS-Unit for GIF-P10 | 5 |  |
| 02-05-00697 | ZB5768.L.G connecting tube. | 5 |  |
| 02-05-00698 | GS0181 G-Channel | 5 |  |
| 02-05-00699 | GM8156 2.4 1ux channel | 5 |  |
| 02-05-00700 | GM8203 2.0 1ux channel | 10 |  |
| 02-05-00701 | GM9040 O ring | 20 |  |
| 02-05-00702 | GS9017 O ring | 20 |  |
| 02-05-00703 | GS9016 O ring | 20 |  |
| 02-05-00704 | GS0557 F-mask | 5 |  |
| 02-05-00705 | GS9001 O ring | 20 |  |
| 02-05-00706 | GS9005 O ring | 20 |  |
| 02-05-00707 | ZB5890 cover glass unit | 5 |  |
| 02-05-00708 | ZB 5778 eyepiece unit | 5 |  |
| 02-05-00709 | GS9006 O ring | 20 |  |
| 02-05-00710 | GS9007 O ring | 20 |  |
| 02-05-00711 | GS9009 O ring | 20 |  |
| 02-05-00712 | GS9008 O ring | 20 |  |
| 02-05-00713 | GS9011 O ring | 20 |  |
| 02-05-00714 | GS9002 O ring | 20 |  |
| 02-05-00715 | GS0555 Wire stopper | 20 |  |
| 02-05-00716 | ZB 60006 IG mont unit | 5 |  |
| 02-05-00717 | GS 50054 2.7 IG mount | 54 |  |
| 02-05-00718 | GM 8212 lead wire - Green | 10 |  |
| 02-05-00719 | GM 8213 lead wire - Orang | 10 |  |
| 02-05-00720 | GM 8278 lead wire - Blue | 10 |  |
| 02-05-00721 | GM 8279 lead wirw - white | 10 |  |
| 02-05-00722 | A-Rubber | 10 |  |

EQUIPMENT:Endoscope

MODEL: GIF-P3

COMPANY NAME:Olumpus, Japan

QUANTITY INSTALLED:30

| Code | Description | Qty |
| --- | --- | --- |
| 02-05-00723 | NS-Unit for GIF-P3 ZB54720A | 5 |
| 02-05-00724 | ZB168500 L.G connecting tube. | 5 |
| 02-05-00725 | GM146600 check valve | 5 |
| 02-05-00726 | GM278200 valve | 10 |
| 02-05-00727 | CP0516 O ring | 20 |
| 02-05-00728 | GP4343 F-Mask | 5 |
| 02-05-00729 | GM9099 O ring | 20 |
| 02-05-00730 | GP884900 Connecting Base | 10 |
| 02-05-00731 | GM442200 Plate | 20 |
| 02-05-00732 | GQ003600 Stoppers | 20 |
| 02-05-00733 | GP250700 2.6 screw | 20 |
| 02-05-00734 | GP07600 Stoppers | 5 |
| 02-05-00735 | GP307600 W.moth piece | 5 |
| 02-05-00736 | GM8204 3.2 Lux channel | 10 |
| 02-05-00737 | GP4064 Resistor | 5 |
| 02-05-00738 | GP3078 S.mouth piece | 5 |
| 02-05-00739 | GM8203 2.0 lux channel | 5 |
| 02-05-00740 | GP4346 L-Ring | 5 |
| 02-05-00741 | GP4344 F-mask | 5 |
| 02-05-00742 | GP0594 Contact pin | 35 |
| 02-05-00743 | WE107034 Screw PSK 1.4*3.5 SB | 50 |
| 02-05-00744 | WE115179 Screw PUK 1.7*2.5 SA | 100 |

EQUIPMENT:Lung Ventilation Equipment, Manley Ventilator

MODEL: MN2

COMPANY NAME:Blease Medical Equipment Ltd., UK

QUANTITY INSTALLED:120

| Code | Description | Qty |
| --- | --- | --- |
| 02-05-00745 | 630114 V1 Valve | 50 |
| 02-05-00746 | M3200 V2 Valve | 50 |
| 02-05-00747 | 63.02128 V3 Valve | 50 |
| 02-05-00748 | ST 2105 B2 Bellows | 100 |
| 02-05-00749 | ST 2105/1 B1 Bellows | 100 |
| 02-05-00750 | ST 2105/4 Neg. Bellows | 100 |
| 02-05-00751 | V3 Valve diaphragm 2500 17 | 200 |

EQUIPMENT: DENTAL UNIT

MODEL: Belmont Comp. 350

COMPANY NAME: TAKARA  BELMONT

QUANTITY INSTALLED:200

| 02-05-00752 | Air Turbine 4-holes Midwest | 250A |
| --- | --- | --- |
| 02-05-00753 | contra-angle Complete | 250A |
| 02-05-00754 | Cartridge for air turbine T-180103 | 500A |
| 02-05-00755 | Cartridge for air turbine T-181103 | 500A |
| 02-05-00756 | Air Motor complete 4-hole | 250A |
| 02-05-00757 | CARTIG FOR CONTRA ANGLE | 1000 |
| 02-05-00758 | MIDDL SHIFT FOR CONTRA ANGLE | 1000 |
| 02-05-00759 | TRIBLE SRING COMPLET | 500 |
| 02-05-00760 | HALOGEN BULB FOR 048 | 2000 |
| 02-05-00761 | TUBING FOR AIR MOTOR 4/3 LINE(350-057) | 500 |
| 02-05-00762 | MICRO PILOT VALVE NC | 300 |
| 02-05-00763 | MICRO PILOT VALVE NC NO | 300 |
| 02-05-00764 | MASTER VALVE ASSEMPLY (350-010) | 300 |

EQUIPMENT: DENTAL UNIT

MODEL: New Leo

COMPANY NAME: J. MORITA CORPORATION

QUANTITY INSTALLED:300

| 02-05-00765 | Roter For angle handpiece 0311 | 2000A |
| --- | --- | --- |
| 02-05-00766 | Contra- angle complete 145152 | 250A |
| 02-05-00767 | Triple syring complete | 200A |
| 02-05-00768 | Turbine handpiece | 200A |
| 02-05-00769 | Middle shaft cartridge | 1000A |
| 02-05-00770 | Air motor complete | 50A |
| 02-05-00771 | JOINT FOR TURBIN HANDPICE 134355 | 200 |
| 02-05-00772 | VALVE BUDY ASSEMPLY 065108 | 100 |
| 02-05-00773 | DUBLE SIRING 133456 | 200 |
| 02-05-00774 | HULOGEN BULB | 1000 |

EQUIPMENT: Dental Unit

MODEL:  KAVO 1033

COMPANY NAME: Kaltenbach & voigt GMBH & Co, Germany

QUANTITY INSTALLED:100

| Code | Description | Ref. No. | Qty., |
| --- | --- | --- | --- |
| 02-05-00775 | Super torque turbine hand-piece | 553 2100 | 50 |
| 02-05-00776 | Cartridge for turbine 630 | 553 5857 | 150 |
| 02-05-00777 | Set of Bards for unit |  | 25 |

EQUIPMENT:  Infant Incubator and  Resuscitater

MODEL: 89 + 165

COMPANY NAME: VICKERS

QUANTITY INSTALLED:100

| Code | Description | Ref. No. | Qty., |
| --- | --- | --- | --- |
| 02-05-00778 | Canopy-With Fittings | 089-11-002 | 10 A |
| 02-05-00779 | Heater 500/240 | 185-09001 | 100 A |
| 02-05-00780 | Lamp-Floru 15W | 14685-45 | 400 A |
| 02-05-00781 | Switch-Starter | 80006 | 2000 A |
| 02-05-00782 | Capacitor 4mF 250V | 14687 | 50 A |

EQUIPMENT: Isolete Infant Incubator

MODEL:  C-86

COMPANY NAME: AIR SHIELDS Co., USA

QUANTITY INSTALLED:100

| Code | Description | Ref. No. | Qty., |
| --- | --- | --- | --- |
| 02-05-00783 | Iris port sleve | 1261500 | 5000 |
| 02-05-00784 | Thermistor | 26-503-10 | 200 |
| 02-05-00785 | Thermostat Capsule | 26-557-70 | 200 |
| 02-05-00786 | Potentiometer W/W afer SW | 17-529-44 | 200 |
| 02-05-00787 | Twist Lock Socket 220V | 12-501-00 | 200 |
| 02-05-00788 | Power Cord Assy 220V | 12-550-70 | 100 |

COMPANY NAME: IVAC, USA

EQUIPMENT: Volumetric Infusion pump

MODEL:l IVAC 630

QUANTITY INSTALLED:400

| Code | Description | Ref. No. | Qty., |
| --- | --- | --- | --- |
| 02-05-00789 | Board Assy Interconnect | 125076 | 50 |
| 02-05-00790 | Power regulator | 125275 | 25 |
| 02-05-00791 | Logic Board Assy | 125125 | 25 |
| 02-05-00792 | IC | 302121 | 100 |
| 02-05-00793 | IC | 302122 | 100 |
| 02-05-00794 | IC | 302194 | 100 |
| 02-05-00795 | IC | 125008 | 100 |
| 02-05-00796 | FILL SENSOR |  | 10000 |

EQUIPMENT: Ultrasound diagnostic

MODEL: sonoline sx / ccir.+SL/1

COMPANY NAME: Siemens ag/Germany

QUANTITY INSTALLED: 20+10

| 02-05-00797 | Linear array 3.5 mh 2/s1 std. Scan lenght 11.4 cm cat. No. 8339 509. | 50 |
| --- | --- | --- |
| 02-05-00798 | Cda-sector medium focus 3.5mhz cat no. 54 47 388 | 50 |
| 02-05-00799 | Service Manal for sx/ccir & S1-1/ccir | 2 Set |
| 02-05-00800 | power supply board | 5 |
| 02-05-00801 | prop 10 MHZ | 1 |
| 02-05-00802 | FAN MOTOR | 5 |

EQUIPMENT: HEMODIALYSIS  MACHINE

MODEL: A1008d

COMPANY NAME:FRESENIUS AG

QUANTITY INSTALLED: 60

| 02-05-00803 | Float switch | 6501211 | 30A |
| --- | --- | --- | --- |
| 02-05-00804 | PVC tube | 5452041 | 40A |
| 02-05-00805 | Silicon tube. | 545364 | 40A |
| 02-05-00806 | silicon tube. | 5453721 | 50A |
| 02-05-00807 | Clip (block) fordial tube | 5727211 | 50A |
| 02-05-00808 | Filter hydro block A1008D | 6500771 | 50A |
| 02-05-00809 | Throttle constaund flow | 5662471 | 50A |
| 02-05-00810 | Heater bar | 6412721 | 100A |
| 02-05-00811 | Balancing chamber CP1 | 5662231 | 40A |
| 02-05-00812 | Silicon tube | 5453561 | 50A |
| 02-05-00813 | Dialysate connector red | 6419841 | 20A |
| 02-05-00814 | Dialysate connector blue | 6419851 | 20A |
| 02-05-00815 | Level sensor | 6300171 | 40A |
| 02-05-00816 | Throttle recirculation | 5662261 | 50A |
| 02-05-00817 | Throttle glass fororfice (4W) | 6502801 | 50A |
| 02-05-00818 | Orifice (4L) | 5662481 | 50A |
| 02-05-00819 | P.C.B 287C | 6509121 | 20A |
| 02-05-00820 | P.C.B 241 | 6504141 | 20A |

EQUIPMENT: WATER TREATMENT FOR KIDNY MACHINE

MODEL: WATER SOFTENER

COMPANY NAME:.Gulligan International Co.

QUANTITY INSTALLED:50

| 02-05-00821 | Raw Water Pressure system | 30A |
| --- | --- | --- |
| 02-05-00822 | RIV 40 x 25 | 50A |
| 02-05-00823 | BIV 32 | 50A |
| 02-05-00824 | Valve 32 (Plain) | 50A |
| 02-05-00825 | RIV 32 x 25 | 50A |
| 02-05-00826 | RIV 40 x 20 | 50A |
| 02-05-00827 | Tube tangit PVC adhesiv | 50A |
| 02-05-00828 | TEG 90 @ 40 TIV | 50A |
| 02-05-00829 | Union 50 @ 25 BIV | 50A |
| 02-05-00830 | Valve 3 Way | 50A |
| 02-05-00831 | Model filter TW (30-4641) | 20A |
| 02-05-00832 | Model filter type (4406-93) | 20A |

EQUIPMENT: Hemodialysis machine

Model 	: AK 10

COMPANY NAME: GAMBRO

QUANTITY INSTALLED:75

| 02-05-00833 | Power supply board (1) | K04538 H | 30 |
| --- | --- | --- | --- |
| 02-05-00834 | Motor control board (2) | K04447004 | 30 |
| 02-05-00835 | Control Logic board (3) | K12284001 | 30 |
| 02-05-00836 | Moonting plate compl. | K05998 A | 30 |
| 02-05-00837 | Condoctinity meter | K04651001 | 40 |
| 02-05-00838 | Temperature Meter | K04650001 | 40 |
| 02-05-00839 | Negative pressure meter | K07107001 | 40 |
| 02-05-00840 | Power supply board meter | K04538 G | 40 |
| 02-05-00841 | Motor control board | K04525 F(DEM) | 40 |
| 02-05-00842 | Microprocessor I board | K10229002 | 40 |
| 02-05-00843 | Analog guard boord | K04528 E | 40 |
| 02-05-00844 | Microprocessor II board | K10229002 | 40 |
| 02-05-00845 | Meatin certridge | K04981001 (24ov) | 50 |
| 02-05-00846 | Vessel | K04694 A | 20 |
| 02-05-00847 | Over heating guard | K07422 A | 40 |
| 02-05-00848 | Proportioning valve | K05585 B | 40 |
| 02-05-00849 | Pomp with motor | K04810 A | 20 |
| 02-05-00850 | Pompoint comp. | K04585 D,F,H,L | 20 |
| 02-05-00851 | soction tobe complete | K12054001 | 20 |
| 02-05-00852 | Degesin uint | K04621 A | 20 |
| 02-05-00853 | Conuctinity ceel | K04629 B | 20 |
| 02-05-00854 | O-ring | 100319008 | 50 |
| 02-05-00855 | O-ring | 100319032 | 50 |
| 02-05-00856 | O-ring | 100319026 | 50 |
| 02-05-00857 | O-ring | 100335001 | 50 |
| 02-05-00858 | O-ring | 100319009 | 50 |
| 02-05-00859 | By pass block assy | K06301002 | 20 |
| 02-05-00860 | Tempertere transducer | K04857001 | 40 |
| 02-05-00861 | blood leak detector | K06163001 | 40 |
| 02-05-00862 | Flow meter assy. | K04622A | 40 |

EQUIPMENT NAME: KIDNEY MACHINE

MODEL: NYCOTRON

COMPANY NAME: NYCOTRON

QUANTITY INSTALLED:20

.

| 02-05-00863 | Water pressure adj. Compl. | 56310 002 | 5 |
| --- | --- | --- | --- |
| 02-05-00864 | Cond. Cell 11 | 56310 038 | 3 |
| 02-05-00865 | Conn. W/.3.8 " Gyroolock | 56310 039 | 10 |
| 02-05-00866 | Blending Chamber | 56310 042 | 5 |
| 02-05-00867 | Hydr.M. Valve water inlet on/off | 56320 004 | 5 |
| 02-05-00868 | Thermistor Unit 53 Blue-Plug | 56320 010 | 15 |
| 02-05-00869 | Thermistor Unit 54 Orang-Plug | 56320 013 | 15 |
| 02-05-00870 | Thermistor Unit 52 Blue- Yellow-Plug | 56320 012 | 15 |
| 02-05-00871 | Power supply compl. | 56320 018 | 3 |
| 02-05-00872 | Blood pressure unit compl. | 56330 025 | 5 |
| 02-05-00873 | Scket 22 Pins For C.B | 56330 039 | 5 |
| 02-05-00874 | Diff. Trafo unit. | 56310 029 | 3 |
| 02-05-00875 | Knob/4mm shaft. | 56340 013 | 3 |
| 02-05-00876 | Hydr. Main Valve | 56320 001 | 2 |
| 02-05-00877 | heat Exhanger | 56320 040 | 1 |
| 02-05-00878 | Socket J5 | 56320 005 | 5 |
| 02-05-00879 | Thermistor terminal n.p.v | 56310 023 | 1 |
| 02-05-00880 | Thermistor Q5 MJE 521 | 56350 018 | 10 |
| 02-05-00881 | Fuse 1.6 A.F 1601 |  | 50 |
| 02-05-00882 | IC 709 |  | 20 |
| 02-05-00883 | IC C 710 |  | 20 |
| 02-05-00884 | IC C 741 |  | 30 |
| 02-05-00885 | IC LM 555 |  | 50 |
| 02-05-00886 | IC 8038 |  | 30 |
| 02-05-00887 | IC 1458 |  | 30 |
| 02-05-00888 | IC LM 709 |  | 30 |
| 02-05-00889 | Q2N 4401 |  | 30 |
| 02-05-00890 | Q2N 4403 |  | 30 |
| 02-05-00891 | Q2N 3906 |  | 30 |
| 02-05-00892 | QBC 212 KA |  | 30 |
| 02-05-00893 | QBC 182 KA |  | 30 |
| 02-05-00894 | Tranasistor 2N 5458 |  | 30 |
| 02-05-00895 | QMJE 371 |  | 30 |
| 02-05-00896 | Tranasistor 2N 4037 |  | 30 |
| 02-05-00897 | Diode in 5237 |  | 20 |
| 02-05-00898 | diode in 5236 |  | 20 |
| 02-05-00899 | Diode in 914 |  | 50 |
| 02-05-00900 | BC 40 C2200 |  | 10 |
| 02-05-00901 | BY 179 |  | 10 |
| 02-05-00902 | Diode in 5232 |  | 10 |
| 02-05-00903 | Diode in 5240 |  | 10 |
| 02-05-00904 | RI 10 V 23012 | 56360 005 | 5 |
| 02-05-00905 | RI 1401 | 56360 006 | 5 |
| 02-05-00906 | Til 209 Led |  | 20 |
| 02-05-00907 | Timer motor complete | 56330-021 | 10 |
| 02-05-00908 | Tubing for BP unit | 56330-027 | 1m |
| 02-05-00909 | Front meter temp | 56340-008 | 2 |
| 02-05-00910 | Front meter concentration | 56340-009 | 3 |
| 02-05-00911 | Priming buttom complete | 56340-017 | 3 |
| 02-05-00912 | Power cable compl. | 56350-015 | 20m |
| 02-05-00913 | Dialyser tube.3.8 | 56370-012 | 20m |
| 02-05-00914 | concetrate tube weight | 56370-002 | 10 |
| 02-05-00915 | Nylon screw | 56350-021 | 20 |
| 02-05-00916 | C 100 MF 40 V |  | 50 |
| 02-05-00917 | C 22 MF 25V |  | 30 |
| 02-05-00918 | C 150 MF 6.3 V |  | 30 |
| 02-05-00919 | C 2200 MF 35 V |  | 10 |
| 02-05-00920 | C 10 MF |  | 10 |
| 02-05-00921 | Tranasistor 7812 |  | 10 |
| 02-05-00922 | Tranasistor 7912 |  | 10 |
| 02-05-00923 | Recitifier 2200 |  | 10 |
| 02-05-00924 | Recitifier 3300 |  | 10 |
| 02-05-00925 | Diode in 4004 |  | 20 |

EQUIPMENT: PHOTOTHERAPY

MODEL HERAEUS

COMPANY NAME DRAGER

QUANTITY INSTALLED 100

| Code | Descripion | Order No | Order No. | Qty., |
| --- | --- | --- | --- | --- |
| 02-05-00926 | Burner Q 406Z7 | 2M18185 | 56001200 | 100 |
| 02-05-00927 | plexiglass filtter | 2M18783 | 56011791 | 10 |
| 02-05-00928 | Lanition device 46A 220Va.c/60HZ | 56018873 | 56018373 | 15 |
| 02-05-00929 | Fan 15W,220V a.c/50 HZ | 5601815 | 6001815 | 20 |

EQUIPMENT:-Electro phorisis

MODEL:-Chromoscan 3/joyce loebl

COMPANY\MANUFACTURER:-Vickers company

QUANTITY :-1

SITE :-Medical city\                                                   Hospital laboratory building

| 02-05-00930 | printid head |  | 2 |
| --- | --- | --- | --- |
| 02-05-00931 | set of bells |  | 2 |

EQUIPMENT:-Automatic Acoustic impedance meter

MODEL:-Ap 65

COMPANY\MANUFACTURER:-Peters

QUANTITY :-5

SITE :-Medical city\                                                   Hospital consulting building

| 02-05-00932 | Set of spare parts |  |  |
| --- | --- | --- | --- |

EQUIPMENT:-Apnea /respiration monitor

MODEL:-

COMPANY\MANUFACTURER:-Air shield

QUANTITY :-10

SITE :-Medical city\                                                   Hospital Baghdad

| 02-05-00933 | Transducer ,blue cover | 0350059 | 250 |
| --- | --- | --- | --- |
| 02-05-00934 | printer circuit board | 0350024 | 5 |
| 02-05-00935 | Switch ,toggle spot | 0350013 | 5 |
| 02-05-00936 | Switch, rotary | 0350021 | 10 |
| 02-05-00937 | Alarm andible | 1765221 | 5 |
| 02-05-00938 | R20,21 | 1721514 | 10 |

EQUIPMENT:-Cryostat

MODEL:-TE

COMPANY\MANUFACTURER:-Slee group of companies-london

QUANTITY :-1

SITE :-Medical city\                                                   Hospital laboratory building

| 02-05-00939 | Compresor | danfos sc18 cxt2 | 1 |
| --- | --- | --- | --- |

EQUIPMENT:-YAG lasser

MODEL:-7970 SE.no. 770516

COMPANY\MANUFACTURER:-coherent-manuf  june 1989

QUANTITY :-

SITE :-Medical city\                                                   Hospital surgical

| 02-05-00940 | IC | 0610-818-02REV.H | 1 |
| --- | --- | --- | --- |
| 02-05-00941 | IC | 0610-818-01REV.H | 1 |
| 02-05-00942 | IC | XLS 2816AP-300 8825 | 1 |

EQUIPMENT:-Mingograph EEG

MODEL:-EEC junior  -8channl

COMPANY\MANUFACTURER:-Siemens

QUANTITY :-1

SITE :-Medical city\                                                   Hospital consuleting

| 02-05-00943 | Galvano meter | 722235E039E | 24 |
| --- | --- | --- | --- |
| 02-05-00944 | Paper |  | 50 |
| 02-05-00945 | Electrode cable |  | 3 set |
| 02-05-00946 | Electrodes |  | 3 set |
| 02-05-00947 | Pump |  | 3 |

EQUIPMENT:-Mingograph EEG

MODEL:-EEG 21

COMPANY\MANUFACTURER:-Siemens

QUANTITY :-2

SITE :-Medical city\                                                   Hospital consuleting clinic

surgical houspital

| 02-05-00948 | Galvanometer | 6729551E173E | 72 |
| --- | --- | --- | --- |
| 02-05-00949 | Electrode cable |  | 75 |
| 02-05-00950 | Writing fluid | 9002064E100E | 150 |
| 02-05-00951 | Paper |  | 150 |
| 02-05-00952 | Ekectrodes |  | 6 set |

EQUIPMENT:- ULTRA SOUND

MODEL:- 1846

COMPANY\MANUFACTURER:- BRUL & KJAER

QUANTITY :-

SITE :-Medical city\                                                   Hospital

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-00953 | PROBE TRANDUCER 7 MHZ | 8551 | 6 |
| 02-05-00954 | DUAL HEAD SECTOR TRANSDUCER | 8529 | 2 |
| 02-05-00955 | PROBE | 1849 | 4 |

EQUIPMENT:- TREDMIL

MODEL:-

COMPANY\MANUFACTURER:- SIEMENS

QUANTITY :-2

SITE :-Medical city\                                                   Hospital

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-00956 | STYLUS |  | 6 |
| 02-05-00957 | PATIENT CABLE |  | 2 |

EQUIPMENT:- TREDMIL

MODEL:- AO

COMPANY\MANUFACTURER:- PICKER INTERNATIONAL

QUANTITY :-4

SITE :-Medical city\                                                   Hospital

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-00958 | STYLUS |  | 4 |
| 02-05-00959 | PATIENT CABLE |  | 3 |

EQUIPMENT:- CENTRAL STATION

MODEL:-

COMPANY\MANUFACTURER:- SEIMENS

QUANTITY :-1

SITE :-Medical city\                                                   Hospital  BAGHDAD

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-00960 | PATIENT CABLE |  | 7 |

EQUIPMENT:-CENTRAL STATION

MODEL:- AO

COMPANY\MANUFACTURER:- PICKER INTERNATINAL

QUANTITY :-10

SITE :-Medical city\                                                   Hospital

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-00961 | PATIENT CABLE |  | 50 |
| 02-05-00962 | STYLUS |  | 10 |
| 02-05-00963 | ROLLER |  | 5 |

EQUIPMENT:-CT SCANER

MODEL:-SOMATOM DR3 -POLYDOROS GENERATOR

COMPANY\MANUFACTURER:-Siemens

QUANTITY :-1

SITE :-Medical city\                                                   Hospital  BAGHDAD

| 02-05-00964 | D17221500 4026 ELECTROON | 7221500 | 2 |
| --- | --- | --- | --- |
| 02-05-00965 | BOARD D15 | 8353336 X 1626 | 1 |
| 02-05-00966 | D1-17221708 | GR 026 | 2 |
| 02-05-00967 | D2 -7221626 | GR026 | 2 |
| 02-05-00968 | D5 -7467798 | GR036 | 2 |
| 02-05-00969 | FLOPPY DISK CONTROLER M7745ROX M82564717567 | 501289 1D | 1 |
| 02-05-00970 | D1-27221724 |  | 2 |
| 02-05-00971 | D147221765 |  | 2 |

EQUIPMENT:-X-RAY UNIT

MODEL:-SIREMAT

COMPANY\MANUFACTURER:-Siemens

QUANTITY :-1

SITE :-Medical city\                                                   Hospital  BAGHDAD

| 02-05-00972 | 7218704G | 5207-01198 | 1 |
| --- | --- | --- | --- |
| 02-05-00973 | VIDEOMED H-R CAMERA COMP |  | 1 |
| 02-05-00974 | 21851-A1 | 12492 50 H2 | 1 |
| 02-05-00975 | SET OF BOARDS FOR CAMERA CNTROL FOR VIDEOMED H-R | 7218704 | 1 |
| 02-05-00976 | MONETPR SCREAN FOR MONETOR MODEL | 7297419Q5205C | 1 |
| 02-05-00977 | CARRIAGE | 4004669G5167 | 1 |
| 02-05-00978 | CONTROL CONSOLE WITH PROGRAMING ATTACHMENT FOR BICOR / COROSCOP C SIMENCE -ELEMA |  | 1 |
| 02-05-00979 | SIMEUCE MOUITOR SERIAL NO 01803 MODIFECATION | 8714560 X 1765 1765-220V 1 PHASE | 2 |
| 02-05-00980 | LAMP FOR TAGR NO 35A (CINE PROJECTOR TAGR NO 35AX ) |  | 4 |
| 02-05-00981 | H.T. GENERATOR MODEL SERIAL NO. 64905601 D54 ADEPTER | 7240088 X 1415 | 1 |
| 02-05-00982 | IMAGE INTENSIFIER OPTI-LU LATERAL1712HD | 8832776 V5760 | 1 |
| 02-05-00983 | IMAGE INTENSIFIER FRONTRAL OPTI-LUX | 27HD -TRIPLEX MODEL 8832719V5050 | 1 |

EQUIPMENT:-CAMERA

MODEL:-VIDEO MED

COMPANY\MANUFACTURER:-Siemens

QUANTITY :-1

SITE :-Medical city\                                                   Hospital  BAGHDAD

| 02-05-00984 | BOARD Q4700902 | GE 001-B66 | 1 |
| --- | --- | --- | --- |
| 02-05-00985 | BOARD VV9955791 | EOO1-B54 | 1 |
| 02-05-00986 | BOARD H 2893063 | GE011-B58 | 1 |
| 02-05-00987 | BOARD F 4737052 | GE001-B87 | 1 |
| 02-05-00988 | BOARD Z 2893048 | GE001-B15 | 1 |
| 02-05-00989 | BOARD S 4500910 | GE001-B17 | 1 |

EQUIPMENT:-CCU CAMERA  CONTROL UNIT

MODEL:-

COMPANY\MANUFACTURER:-Siemens

QUANTITY :-1

SITE :-Medical city\                                                   Hospital  BAGHDAD

| 02-05-00990 | STABLIZER BP C7945-A3001B804 | 4762530 X E001 | 1 |
| --- | --- | --- | --- |
| 02-05-00991 | BOARD N1 C72411A3 7L34 | 4757258 X E001 | 1 |
| 02-05-00992 | BOARD 1 C72411-A3-L671L68 | 473711 X GE001 | 1 |
| 02-05-00993 | BOARD NV C72411-A3-L92 | 4418976 RH052 | 1 |
| 02-05-00994 | BOARD S C72411-A3-L96 |  | 1 |
| 02-05-00995 | BOARD H C72411-A3-L53 |  | 1 |
| 02-05-00996 | BOARD KR C72411-A3L35 |  | 1 |
| 02-05-00997 | BOARD DK C72411-A3-L18 |  | 1 |
| 02-05-00998 | BOARD DV C72411-A3-L203 |  | 1 |
| 02-05-00999 | MONETOR FOR D-SA | 8714511 X 1762 SERIAL NO. 0113 - MODIFCATION 1762 | 1 |

EQUIPMENT:- COMBILABER CBM -A8PROCESSING UNIT FOR CINE FILM

MODEL:-

COMPANY\MANUFACTURER:-Siemens

QUANTITY :-10

SITE :-Medical city\                                                   Hospital  BAGHDAD

| 02-05-01000 | 09-02-FILM ROLLER | 064V473 | 10 |
| --- | --- | --- | --- |
| 02-05-01001 | 09-10 FILM GAIDE ROLLER | 064V473 | 9 |
| 02-05-01002 | 09-03 CEALING RING | 080C737 | 19 |
| 02-05-01003 | 09-05 GEAR WHELL ASSY | 064V031 | 19 |
| 02-05-01004 | 12-01 HEATING ELEMENT | 750W 064V139 | 4 |
| 02-05-01005 | 12-02 THERMISTOR | 064V 003 | 4 |
| 02-05-01006 | 12-02- PUMP | 064V115 | 4 |
| 02-05-01007 | 12-07 P.C BOARD | 064V 694 | 4 |
| 02-05-01008 | 13-01 TRANSPORT MOTOR ASSY | 064V 043 | 2 |
| 02-05-01009 | 15-01 FILM GUIDE ASSY | 064V013 | 2 |

EQUIPMENT:- CIPRO 35N 35CINE FILM PROGECTOR

MODEL:- CPW-A-35150

COMPANY\MANUFACTURER:-Siemens

QUANTITY :-4

SITE :-Medical city\                                                   Hospital  BAGHDAD

| 02-05-01010 | CUPLEING PN | 4707683GE016 | 4 |
| --- | --- | --- | --- |
| 02-05-01011 | PULLEY PN | 4707733GE016 | 4 |
| 02-05-01012 | BELT PN | 4701280GE016 | 4 |
| 02-05-01013 | TOOTH HEADWHEEL PN | 4707675GE016 | 4 |
| 02-05-01014 | TOOTH HEADWHEEL PN | 4707568GE016 | 2 |
| 02-05-01015 | COUPLING PN | 4708640GE016 | 2 |
| 02-05-01016 | BOARD PN | 4701256GE016 | 1 |
| 02-05-01017 | BOARD PN | 4701264GE016 | 1 |
| 02-05-01018 | MOTOR PN | 7705148D0900 | 1 |

EQUIPMENT:- X-RAY

MODEL:- PANADORSE 1200

COMPANY\MANUFACTURER:-Siemens

QUANTITY :-1

SITE :-Medical city\                                                   Hospital  BAGHDAD

| 02-05-01019 | TV MONETOR SERIAL NO. 01079501 | 467231365024 | 2 |
| --- | --- | --- | --- |
| 02-05-01020 | CASSET FOR CINE FILM ARRIECHO | 65098A | 1 |
| 02-05-01021 | IMAGE INTENSIFIRE COMPLETE SERIAL NO. 01059 | 853Y01865307 | 1 |
| 02-05-01022 | IMAG INTENSIFIRE | SICRON 2 | 1 |
| 02-05-01023 | TV SYSTEM VIDEOMED 2 |  | 1 |
| 02-05-01024 | TV MONETOR 44CM |  | 3 |

EQUIPMENT:- MOBIL XR NO. 01526

MODEL:- UB MED XR . 004/0606

COMPANY\MANUFACTURER:-Siemens

QUANTITY :-2

SITE :-Medical city\                                                   Hospital  NURSSING HOUME

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01025 | D1 MOTOR CONTROL & CHARGEING BOARD | 6462876 | 2 |
| 02-05-01026 | D2 PACK PLANE | 6610208 | 2 |
| 02-05-01027 | D3 CHARGE BOARD | 6725774 | 2 |
| 02-05-01028 | D4 CAPACITOR BOARD | 6425634 | 2 |
| 02-05-01029 | D5 VOLTAGE DISTRIBUTER | 6899520 | 2 |
| 02-05-01030 | D6 D.C.POWER SUPPLY | 6762777 | 2 |
| 02-05-01031 | D7 LOKING DIVICE CONTROL | 6899587 | 2 |
| 02-05-01032 | D9 MICRO PROCESSOR BOARD | 6953368 | 2 |
| 02-05-01033 | D16 INPUT / OUTPUT BOARD | 6899660 | 2 |
| 02-05-01034 | D24 TUBE FILAMENT CONTROL | 6899660 | 2 |
| 02-05-01035 | D8 ROTATION CONTROL BOARD | 6425956 | 2 |
| 02-05-01036 | D13 INVERTER BOARD | 6425659 | 2 |
| 02-05-01037 | D14 DISPLAY | 6790448 | 2 |
| 02-05-01038 | D15 KEYBOARD | 6910099 | 2 |
| 02-05-01039 | D18 DISPLAY -DRIVER | 6488996 | 2 |
| 02-05-01040 | D19 LED -BOARD | 6788970 | 2 |
| 02-05-01041 | D17 LOCKS & COLLIMAXORKY BOARD | 6821292 | 2 |
| 02-05-01042 | D20 TRANSFORMAR BOARD | 6863013 | 2 |
| 02-05-01043 | D23 FAN SUPER VISION | 6863492 | 2 |
| 02-05-01044 | D25 RELAY BOARED | 6931687 | 2 |
| 02-05-01045 | D10 PACK PLAN | 6462975 | 2 |
| 02-05-01046 | D11 LED BOARD | 6762934 | 2 |
| 02-05-01047 | D12 PHOTO , TRANSISTOR BOARD | 6762959 | 2 |

EQUIPMENT:- X-RAY

MODEL:- GIGANTOS OPTIMATIC

COMPANY\MANUFACTURER:-Siemens

QUANTITY :-1

SITE :-Medical city\                                                   Hospital  BAGHDAD

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01048 | D41 FOLLOW - UP AMPLIFIRE | 4364840 | 1 |
| 02-05-01049 | D53 THRESHALD STAGE | 4030482 | 1 |
| 02-05-01050 | D65 DUMMY PLUG | 1800911 | 1 |
| 02-05-01051 | D69 AMPLIFIRE FOR FILAMENT CURRENT | 4241410 | 1 |
| 02-05-01052 | D78 VOLTAGE SUPPLY | 7129992 | 1 |
| 02-05-01053 | D87 ANALOGE CONVERTAR MAS | 1800671 | 1 |
| 02-05-01054 | D88 KV -CONTROL | 1800507 | 4 |
| 02-05-01055 | D93 TIME REPRESNTATION | 4031894 | 1 |
| 02-05-01056 | D101 INTERFACE 1 | 1580507 | 1 |
| 02-05-01057 | D102 INTERFACE 11 | 1580596 | 1 |
| 02-05-01058 | D103 CONTROL CIRCUIT | 4018685 | 1 |
| 02-05-01059 | D106 EQUIPMENT SELECTION | 1800333 | 1 |
| 02-05-01060 | D106 TIMER | 4245809 | 1 |
| 02-05-01061 | D108 LUMP FIELD CONTROL CIRCUIT | 2139095 | 1 |
| 02-05-01062 | D110 DISTRIBUTRY | 4363925 | 1 |
| 02-05-01063 | D111 CONTROL STAGE | 1801398 | 1 |
| 02-05-01064 | D116 MEASURING FIELD | 1800853 | 1 |
| 02-05-01065 | D125 VOLTAGE STABILLIZATION+15V | 1709179 | 1 |
| 02-05-01066 | D130 SWITCHING STAGES | 1709278 | 1 |
| 02-05-01067 | D131 LOGIC STAGE BOARD | 1801059 | 2 |
| 02-05-01068 | D132 INPUT FILTER | 1709310 | 1 |
| 02-05-01069 | D139 MAMMOGRAPHY & +,- BUTTON | 4242152 | 1 |
| 02-05-01070 | D151 DUMMY PLUG CINE | 1985159 | 1 |
| 02-05-01071 | D301 VOLTAGE STABILIZER __-15V | 6788913 | 1 |
| 02-05-01072 | D302 FLUOROSCOPY ADE | 6610471 | 1 |
| 02-05-01073 | D303 FLUOROSCOPY KV-NOMINAL VALUE | 6200497 | 1 |
| 02-05-01074 | D304 THYRISTOR CONTACTOR | 6200505 | 1 |
| 02-05-01075 | D305 THYRISTOR CONTACTOR STAGE | 6788731 | 1 |
| 02-05-01076 | D306 KV -NOMINAL VALUE | 6610364 | 1 |
| 02-05-01077 | D307 KV-AMPLIFIER | 6788756 | 1 |
| 02-05-01078 | D308 FILMENT -TRIAC -CONTROL | 6516363 | 1 |
| 02-05-01079 | D309 TRIAC STAGE | 6788749 | 1 |
| 02-05-01080 | D314 DIODE BOARD | 6516447 | 1 |
| 02-05-01081 | D316 SERIES MA MAX | 6618050 | 1 |
| 02-05-01082 | D317 MS SWITCHING | 6655377 | 1 |
| 02-05-01083 | D318 MAX R CORRECTION | 6788574 | 1 |
| 02-05-01084 | D149 SWITCH OVER BOARD | 4367538 | 1 |
| 02-05-01085 | D160 LIMIT BOARD | 4031845 | 1 |
| 02-05-01086 | D319 CINE KV CONTROL | 6655443 | 1 |
| 02-05-01087 | D57 EQUIPMENT SELECTION 11 | 1801034 | 1 |
| 02-05-01088 | D58 EQUIPMENT SELECTION LOGIC | 4241394 | 1 |
| 02-05-01089 | D60 CODER | 1800994 | 1 |
| 02-05-01090 | D59 PROGRAM DISTRBUTER | 1801018 | 1 |
| 02-05-01091 | D112 PROGRAM DISTRBUTER | 18018895 | 1 |
| 02-05-01092 | D310 THYRISTOR -CONDUCTOR VOLTAGE STAGE | 6655013 | 1 |
| 02-05-01093 | D311 THYRISTOR CONTECTOR TRIGGER STAGE | 6725704 | 1 |
| 02-05-01094 | D312 KV MOTOR CONTROL | 6516322 | 1 |
| 02-05-01095 | D71 ASSEMPLY GROUP | 1800523 | 1 |
| 02-05-01096 | D72 RECTIFIER BOARD | 4018727 | 1 |
| 02-05-01097 | D50 BRAKE DELAY | 1802206 | 1 |
| 02-05-01098 | D52 GENARATOR | 1984855 | 1 |
| 02-05-01099 | D53 AP -SELECTION DELAY | 4020798 | 1 |
| 02-05-01100 | D55 TIMER BOARD | 1802222 | 1 |
| 02-05-01101 | H1 HIGH VOLTAGE GENARATOR | 6633333 | 1 |
| 02-05-01102 | T11 REGULATING TRANSFORMAR | 6631758 | 1 |
| 02-05-01103 | D74 MEASSURING BOARD | 4033662 | 1 |
| 02-05-01104 | D113 INDICATION BOARD | 1801323 | 1 |
| 02-05-01105 | D 85 DIODE BOARD | 1801265 | 1 |
| 02-05-01106 | D86 INDICATION UNIT | 1578533 | 1 |

EQUIPMENT:- X-RAY

MODEL:- SIREMAT

COMPANY\MANUFACTURER:-Siemens

QUANTITY :-2

SITE :-Medical city\                                                   Hospital  BAGHDAD & NURSSING HOUM

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01107 | D1 CONTROL CIRCUIT BOARD | 4084885 | 1 |
| 02-05-01108 | D2 OVER VOLTAGE MONITORING | 4084869 | 1 |
| 02-05-01109 | D3 UNDER VOLTAGE MONITORING | 4084901 | 1 |
| 02-05-01110 | D4 SERIES CONTROLLER | 7227127 | 1 |
| 02-05-01111 | D5 A -D POWER SUPPLY MODULE | 4083275 | 4 |
| 02-05-01112 | D6 MONITORING CIRCUIT BOARD | 4084943 | 1 |
| 02-05-01113 | D7 VOLTAGE REDUCTION | 5436183 | 1 |
| 02-05-01114 | D10 FILTER CIRCUIT BOARD | 4081972 | 4 |
| 02-05-01115 | D11 LSL OUTPUT STAGE | 4084380 | 4 |
| 02-05-01116 | D28 SMALL MOTOR CONTROL | 4051969 | 2 |
| 02-05-01117 | D36 AUXILIATY KIM CONTROL | 7227341 | 2 |
| 02-05-01118 | D53 REQUIRED -VALUE GENERATOR FOR MOTOR CONTROL -C | 4084489 | 4 |
| 02-05-01119 | D54 MOTOR CONTROL | 4084927 | 4 |
| 02-05-01120 | D55 DERIVER STAGE | 7356678 | 4 |
| 02-05-01121 | D56 POWER SUPPLY UNIT | 4052007 | 4 |
| 02-05-01122 | D59 SERVICE CIRCUIT BOARD | 4397261 | 2 |
| 02-05-01123 | D60 RELAY CIRCUIT BOARD | 4397089 | 4 |
| 02-05-01124 | D70 TIMER SWITCH | 4083481 | 2 |
| 02-05-01125 | D84 LOGIC CIRCUIT BOARD | 4397360 | 2 |
| 02-05-01126 | D85 LOGIC CIRCUIT BOARD | 4397378 | 2 |
| 02-05-01127 | D86 LOGIC CIRCUIT BOARD | 4397147 | 2 |
| 02-05-01128 | D87 COLLECTIVE CIRCUIT BOARD | 4941571 | 2 |
| 02-05-01129 | D88 SERVICE CIRCUIT BOARD FOR FILM TRANSPORT | 8478468 | 2 |
| 02-05-01130 | D89 TIMER SWITCH | 4941654 | 2 |
| 02-05-01131 | D90 RELAY STORAGE CIRCUIT BOARD | 4397022 | 2 |
| 02-05-01132 | D51 REQUAIRD -VALVE GENERATOR | 4051603 | 4 |
| 02-05-01133 | D52 DIFFERENTIAL AMPLIFIER | 7227366 | 4 |
| 02-05-01134 | D57 START - STOP MONITORING | 4051744 | 2 |
| 02-05-01135 | D58 FIELD START SEQUINTIAL | 5436233 | 2 |
| 02-05-01136 | D61 LOGIC CIRCUIT BOARD | 4397287 | 2 |
| 02-05-01137 | D62 LOGIC CIRCUIT BOARD | 4397303 | 2 |
| 02-05-01138 | D64 LOGIC CIRCUIT BOARD | 4397311 | 2 |
| 02-05-01139 | D65 REVERSAL CIRCUIT | 4397626 | 2 |
| 02-05-01140 | D66 LOGIC CIRCUIT BOARD | 5436142 | 2 |
| 02-05-01141 | D68 COLLECTIVE CIRCUIT BOARD 3 | 4941514 | 2 |
| 02-05-01142 | D71 AMPLIFIRE FOR MULTILEAT COLLINATER | 5435979 | 2 |
| 02-05-01143 | D72 AMPLIFIER FOR REQUIRED VALUES | 4051629 | 2 |
| 02-05-01144 | D73 COLLECTIVE CIRCUIT BOARD | 4941555 | 2 |
| 02-05-01145 | D80 LIFT LOGIC | 4397162 | 2 |
| 02-05-01146 | D81 LIFT CONTROL | 4397105 | 2 |
| 02-05-01147 | D12 COMPARTOR CIRCUIT BOARD | 4051827 | 2 |
| 02-05-01148 | D100 COLECTIVE CIRCUIT BOARD | 4941753 | 2 |
| 02-05-01149 | D101 MOTOR REGULATOR | 4084828 | 2 |
| 02-05-01150 | D102 MOTOR CONTROL | 4084844 | 2 |
| 02-05-01151 | D103 LOGIC CIRCUIT BOARD | 4941829 | 2 |
| 02-05-01152 | D104 COUNTER CIRCUIT BOARD | 4941613 | 2 |
| 02-05-01153 | D105 PULSE STAGE | 7357577 | 2 |
| 02-05-01154 | D110 FLASH CIRCUIT BOARD | 4084802 | 2 |
| 02-05-01155 | D111 COUNTING SOLENOID CIRCUIT BOARD | 4941928 | 2 |
| 02-05-01156 | D18 REVERSAL CONTROL | 4397725 | 2 |
| 02-05-01157 | D78 MODULATED LIGHT BARRIER | 4397063 | 2 |
| 02-05-01158 | D 77 PHOTO TRANSISTOR CIRCUIT BOARD | 4397048 | 2 |
| 02-05-01159 | D41 MAGAZINE CONTROL | 5436126 | 2 |
| 02-05-01160 | D43A PHOTO TRANSISTOR | 4941795 | 2 |
| 02-05-01161 | D44A DIODE HOLDER TRANSMITER | 4941805 | 2 |
| 02-05-01162 | D112 FILM TRANSPORT MONITORING | 7357411 | 2 |
| 02-05-01163 | D9 PHASE CONTROL | 4941639 | 2 |
| 02-05-01164 | D14 SERVICE CIRCUIT BOARD | 5436068 | 2 |
| 02-05-01165 | D16 ROTATION SPEED CONTROL | 5436290 | 2 |
| 02-05-01166 | D19 IGNATION MODULEZEN | 3118874 | 2 |
| 02-05-01167 | D20 IGNATION MODULEZEP | 3118866 | 2 |
| 02-05-01168 | D21 OUTPUT STAGE | 4084745 | 4 |
| 02-05-01169 | D22 CONTROLER | 5436258 | 4 |
| 02-05-01170 | D23 CONTROL CIRCUIT BOARD | 5436043 | 4 |
| 02-05-01171 | D24 THYRISTOR SET | 5333810 | 4 |
| 02-05-01172 | D26 COLLECTIVE CIRCUIT BOARD | 4397006 | 2 |
| 02-05-01173 | D27 MOTOR CONTROL | 5369236 | 3 |
| 02-05-01174 | D28 SMALL - MOTOR CONTROL | 4051769 | 4 |
| 02-05-01175 | D29 CONE CONTROL | 1750728 | 2 |
| 02-05-01176 | D33 COLLECTIVE CIRCUIT BOARD 1 | 5436274 | 2 |
| 02-05-01177 | D35 COLLECTIVE CIRCUIT BOARD 2 |  | 2 |

EQUIPMENT:- X-RAY

MODEL:- TRIDOROS 512 712 1012

COMPANY\MANUFACTURER:-Siemens

QUANTITY :-3

SITE :-Medical city\                                                   Hospital  BAGHDAD & NURSSING HOUM

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01178 | D109 SERVICE BOARD | 7380108 | 2 |
| 02-05-01179 | D182 RELAY BOARD | 7243876 | 2 |
| 02-05-01180 | D185 FUSE BOARD | 8137291 | 2 |
| 02-05-01181 | D186 UNIT ADAPTER | 7258569 | 2 |
| 02-05-01182 | D401 SWITCH CONTROL | 7384373 | 2 |
| 02-05-01183 | D163 RELAY BOARD | 7307987 | 2 |
| 02-05-01184 | D164 MONETORING | 7397128 | 2 |
| 02-05-01185 | D20 INVERTOR | 7395528 | 2 |
| 02-05-01186 | D21 FOCUS SWITCH OVER | 7395544 | 2 |
| 02-05-01187 | D22 WORK UNIT SELECTION | 7395585 | 2 |
| 02-05-01188 | D41A POWER PACK | 4252136 | 2 |
| 02-05-01189 | TS70 THYRISTOR SWITCH | 7210313 | 6 |
| 02-05-01190 | D2 CHARGEINGSWITCH | 7478969 | 2 |
| 02-05-01191 | D181 THYRISTOR DRIVE | 7210370 | 2 |
| 02-05-01192 | D3 TSE CIRCUIT | 5401070 | 2 |
| 02-05-01193 | H1 HIGH VOLTAGE GENERATOR | 7118300 | 2 |
| 02-05-01194 | T11-T12 LINE TRANSFORMER | 7470818 | 4 |
| 02-05-01195 | D13 POWER PACK 5/24 V | 8143036 | 2 |
| 02-05-01196 | D9 BAISC UNIT | 8048712 | 2 |
| 02-05-01197 | D1 POWER PACK +15 V | 7326802 | 2 |
| 02-05-01198 | D44 COUNTER DRIVE | 8024449 | 2 |
| 02-05-01199 | D45 DATA DECODER | 8013914 | 2 |
| 02-05-01200 | D246 MAS COUNTER | 8013138 | 2 |
| 02-05-01201 | D47 KV COUNTER | 8134538 | 2 |
| 02-05-01202 | D48 KV MONITORING | 7353782 | 2 |
| 02-05-01203 | D49 UNIT SELECTION LOGIC | 8134652 | 2 |
| 02-05-01204 | D53 FOUCSE SELECTION | 7132137 | 2 |
| 02-05-01205 | D59 ADVANCE TIME INDICATOR | 8013898 | 2 |
| 02-05-01206 | D101 EXAMINATION UNIT SELECTOR | 7380066 | 2 |
| 02-05-01207 | D102 NOMINAL MA VALUE PRESTING | 7416936 | 2 |
| 02-05-01208 | D103 PHASE INTER SELECTION | 7224586 | 2 |
| 02-05-01209 | D104 CONTROL CIRCUIT | 8137069 | 2 |
| 02-05-01210 | D105 KV CONTROL | 8137044 | 2 |
| 02-05-01211 | D106 HEATING CONTROL | 8029464 | 2 |
| 02-05-01212 | D107 PHASING IN | 8137143 | 2 |
| 02-05-01213 | D108 EXPOSURE RELEASE | 8173077 | 2 |
| 02-05-01214 | D110 SHORT TIME CIRCUIT | 8013500 | 2 |
| 02-05-01215 | D114 LAMP VOLTAGE | 8138331 | 2 |
| 02-05-01216 | D122 POWER PRINT | 7351414 | 2 |
| 02-05-01217 | D121 POWER CONVERTOR SWITCH | 7351943 | 2 |
| 02-05-01218 | D135 ACTUAL VALUE PICKUP | 7353386 | 2 |
| 02-05-01219 | D137 MA MEASURING CIRCUIT | 8029514 | 2 |
| 02-05-01220 | D230 SWITCHING STEPS | 7259161 | 2 |

EQUIPMENT:- TRIDOROS

MODEL:- 5S

COMPANY\MANUFACTURER:-Siemens

QUANTITY :-5

SITE :-Medical city\                                                   Hospital  BAGHDAD

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01221 | IMAGE INTENSIFIVE SCREEN | RBV23/15 | 1 |
| 02-05-01222 | D11 | R.SCH199A57 | 5 |
| 02-05-01223 | D12 | R.SCH 199A58 | 5 |
| 02-05-01224 | D13 | R.SCH 199A81 | 5 |

EQUIPMENT:- X-RAY

MODEL:- MOBILETT II

COMPANY\MANUFACTURER:-Siemens

QUANTITY :-7

SITE :-Medical city\                                                   Hospital CHILIDREN

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01225 | H1 HIGH TENSION GENARATOR | 6983456 | 4 |
| 02-05-01226 | CAPACITER UNIT |  | 4 SET |
| 02-05-01227 | D1 MICRO PROSSER BOARD | 9564642 | 4 |
| 02-05-01228 | D3 DISPLAY & KEYBOARD | 9102328 | 4 |
| 02-05-01229 | D4 ROTATION CONTROL BOARD | 6953210 | 4 |
| 02-05-01230 | D5 TUBE FILLAMENT CONTROL | 9006040 | 4 |
| 02-05-01231 | D6 VOLTAGE DISTRIBUTER | 9336660 | 4 |
| 02-05-01232 | D8 DC POWER SUPPLY | 6899546 | 4 |
| 02-05-01233 | D11 INPUT/OUTPUT BOARED | 9138538 | 4 |
| 02-05-01234 | D13 INVERTER BOARD | 9006057 | 4 |
| 02-05-01235 | D20 TRANSFORMAR BOARD | 6863013 | 4 |
| 02-05-01236 | COLLIMATOR | 6968952 | 2 |
| 02-05-01237 | D7 CHARGE BOARD | 9174624 | 4 |

EQUIPMENT:- CT -SCAN

MODEL:- 200 FS

COMPANY\MANUFACTURER:-PHIZER

QUANTITY :-1

SITE :-Medical city\                                                   Hospital  BAGHDAD

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01238 | X-RAY TUBE | 00-885-0013 | 2 |
| 02-05-01239 | SMART A 1D CARD X1 | 01-240-0128 | 2 |
| 02-05-01240 | UNIBUS CABLE CONNECTOR M920 | 00950-0097 | 1 |
| 02-05-01241 | SERVO BOARD | PT-102811-01 | 2 |
| 02-05-01242 | CABLE ASSY DISK I/O | 00-950-0048 | 1 |
| 02-05-01243 | UNIBUSE CABLE 12 FT | BCA11-121 | 1 |
| 02-05-01244 | MAGNATIC DISK PACKS CDC | 00-910-0142 | 2 |
| 02-05-01245 | D3000 HEADS UPPER | PT-526-0009 | 2 |
| 02-05-01246 | D3000 HEADS LOWER | PT-526-0008 | 2 |
| 02-05-01247 | MEMORY 32 K CORE | 00-950-0006 | 2 |
| 02-05-01248 | LOG DUAL SLOP INT | 00-883-0003 | 5 |
| 02-05-01249 | MOTHER BOARD ASSY 11V | 01-400-0226 | 2 |
| 02-05-01250 | DNT -ASSY | 00-887-0016 | 10 |
| 02-05-01251 | H.V REGULATOR | 01-240-0102 | 3 |

EQUIPMENT:-Ultra sound

MODEL:-Type 1846 serial no.1454494

COMPANY\MANUFACTURER:-Bruel & kjuer

QUANTITY :-1

SITE :-Medical city\                                                   Hospital surgical hospital

| 02-05-01252 | dual head sector transducer | type 8529 | 2 |
| --- | --- | --- | --- |
| 02-05-01253 | puncture attachment | UA 0770 | 4 |
| 02-05-01254 | Endosonic probe | type 1850 | 2 |
| 02-05-01255 | rectal transducer | type 8531 | 2 |
| 02-05-01256 | rectal transducer | type 8539 | 2 |
| 02-05-01257 | urethral transducer | type 8530 | 2 |
| 02-05-01258 | puncture attachment | type ua650 | 4 |
| 02-05-01259 | sector attachment | typeua0876 | 2 |
| 02-05-01260 | puncture attachment | type UA 0876 | 2 |
| 02-05-01261 | fan unit |  | 2 |

Equipment name: AUTOMATIC PROSSER UNIT FOR X-RAY FILM

Model                    : IMS-420

Company name    : IMS

Quintity  installed :200

Site                         :ALL HOSPETAL  IN IRAQ

| 02-05-01262 | REPL.BY 500021 DEVELOPER RACK ASSY | 005421 | 10 |
| --- | --- | --- | --- |
| 02-05-01263 | REPL.BY 500022 FIXER RACK ASSY | 005422 | 10 |
| 02-05-01264 | REPL.BY 500023 WASH RACK ASSY | 005423 | 10 |
| 02-05-01265 | REPL.BY 007847 DRYER RACK ASSY | 005424 | 15 |
| 02-05-01266 | DEVELOPER RESISTANCE 1000/220V(EX P.N.O 01914) | 003322 | 25 |
| 02-05-01267 | RELAY H.P.2-220V A.C | 004745 | 20 |
| 02-05-01268 | MALE CONNECTOR .6PINS | 004745 | 20 |
| 02-05-01269 | CAPACITOR | 006039 | 20 |
| 02-05-01270 | REPL BY 014016 SOLENDID VALVE | 005524 | 10 |
| 02-05-01271 | FEMALE CONECTOR 6 PINS | 005371 | 60 |
| 02-05-01272 | RELAY H-3V.24DC` | 005366 | 10 |
| 02-05-01273 | RELAY BY 300800 KIT +REPLENISHMENT PUMP | 005546 | 30 |
| 02-05-01274 | REPLY BY 006157 MAIN DRIVE MOTOR | 005377 | 30 |
| 02-05-01275 | THERMAL REQULATOR 220V/50HZ | 004744 | 100 |
| 02-05-01276 | SWITCH(ON-OFF) | 05373 | 20 |
| 02-05-01277 | REPLY BY 014730 RUBBER ROLLER LONG & SHRT PINS | 005418 | 100 |
| 02-05-01278 | REPLY BY 014731 RUBBER ROLLER LONG PINS | 005419 | 100 |
| 02-05-01279 | REPL ROLLER ,LONG & SHORT PINS (REPLACING CODE) | 005689 | 40 |
| 02-05-01280 | REPL ROLLER HEAVY | 005690 | 30 |
| 02-05-01281 | REPL ROLLER LONG PINS | 005691 | 50 |
| 02-05-01282 | HELICAL GEAR LEFT,6MM DORE 12 T | 005680 | 100 |
| 02-05-01283 | HELICAL GEAR RIGHT ,12T DIAM 6MM | 005677 | 100 |
| 02-05-01284 | REPL BY 012458 MOBILE BUSHING DELRIN | 004721 | 50 |
| 02-05-01285 | SPROCKET FOR CHAIN .20T P 6MM | 005500 | 20 |
| 02-05-01286 | REPL BY 012459 HELICAL GEAR Z 30 V.S.F | 001278 | 100 |
| 02-05-01287 | HELICAL GEAR RIGHT ,10 MM BORE 12T | 005678 | 100 |
| 02-05-01288 | PRESSURE BUSH (EX P.N. 001604) | 006555 | 10 |
| 02-05-01289 | FUSE HOLDER 2 POLES | 001625 | 10 |
| 02-05-01290 | HELICAL GEAR LEFT 10 MM BORE | 005681 | 100 |
| 02-05-01291 | MASTER LINE FOR CHAIN P6 | 004111 | 10 |
| 02-05-01292 | CHAIN P6 .WITH HASTER LINK | 004110 | 20 |
| 02-05-01293 | REPL.BY 009801 KIT CIRCULAT PUMP 220V-50H | 007703 | 30 |
| 02-05-01294 | CHAIN P6.WITH HASTER LINK | 004110 | 20 |
| 02-05-01295 | REPL.BY 009801 KIT CIRCULAT PUMP 220V-50H | 007703 | 30 |
| 02-05-01296 | KIT CIRCULATION PUMP 220V/50-60HZ (REPLACIN G CODE) | 009801 | 20 |
| 02-05-01297 | ELECTRONIC CARD N.1 | 006016 | 10 |
| 02-05-01298 | ELECTRONIC CARD N.2 | 006018 | 20 |
| 02-05-01299 | ELECTRONIC CARD N.4 | 006019 | 20 |
| 02-05-01300 | ELECTRONIC CARD N.3 | 006741 | 30 |
| 02-05-01301 | ELECTROMAGNETIC SWITCH | 006053 | 30 |
| 02-05-01302 | REPL BY 500020 REED ASSY COMP. | 007330 | 20 |
| 02-05-01303 | MIDDLE SUPPORT (EXP.M 004676) | 006792 | 20 |
| 02-05-01304 | DOUBLE GEAR ,6 MM .BORE HOPLER 17 T | 005685 | 20 |
| 02-05-01305 | GEAR Z34 MOPLEN (REPLACING CODE) | 012456 | 50 |
| 02-05-01306 | GEAR Z34 MOPLEN (REPLACING CODE) | 012456 | 25 |
| 02-05-01307 | infrared rods 500w 110v (repalcing code ) | 005544 | 150 |
| 02-05-01308 | CONNECTION CABLE INFRA-RED LAMPS | 00697 | 50 |
| 02-05-01309 | ELECTROMAGNETIC SWITCH DN 8-10V.220 | 005365 | 50 |
| 02-05-01310 | THERMAL 75 DEOREC | 010915 | 50 |
| 02-05-01311 | COMPENENTS CARD FOR RELE | 009747 | 20 |
| 02-05-01312 | ELECTRONIC BOARD 24 V. | 009722 | 20 |
| 02-05-01313 | OVERFLOW REPL BY 500027 | 010033 | 30 |
| 02-05-01314 | FIX WASH OVERFLOW | 500028 | 30 |
| 02-05-01315 | RELE 24 V | 009748 | 10 |
| 02-05-01316 | MAGNET COMPLETE (REPLACING CODE) | 500019 | 10 |
| 02-05-01317 | KIT CLOCKWISH FAN (REPLACING CODE) | 500067 | 20 |
| 02-05-01318 | PROTECTION MICRO AIR | 008677 | 20 |
| 02-05-01319 | WHEEL 131 | 012350 | 10 |
| 02-05-01320 | REPL BY (CC4139 MICRO AIR COMPLETE ) | 008675 | 10 |
| 02-05-01321 | KIT FOR MAIN MOTOR SOBSTITUT PLUS GEAR MOTR | 006157 | 20 |
| 02-05-01322 | GEAR ZL7 MOPLEN (REPLACING CODE) | 012348 | 25 |
| 02-05-01323 | WEEL 12T | 012349 | 10 |

EQUIPMENT:- FILM PROGECTOR

MODEL:- CIPRO 35N

COMPANY\MANUFACTURER:-SIMENS

QUANTITY :-

SITE :-Medical city\                                                   Hospital

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01324 | BELT | 4701280GE016 | 4 |
| 02-05-01325 | 48/HALOGEN LAMP | 4418539 Y 4769 | 10 |
| 02-05-01326 | 44/ARC LAMP | 4418547 Y 4769 | 10 |
| 02-05-01327 | PULLY | 4747259GE016 | 4 |

EQUIPMENT:- FILM PROCESSOR

MODEL:- COMILABOR GMB-AO

COMPANY\MANUFACTURER:-OLDELFT HOLLAND

QUANTITY :-

SITE :-Medical city\                                                   Hospital

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01328 | 11-10/BELLOWS ASSY | 064U 076 | 4 |
| 02-05-01329 | 12-01/HEATING ELEMENT 750W | 064U139 | 1 |
| 02-05-01330 | 12-02/THERMISTER | 064U003 | 1 |
| 02-05-01331 | 12-03/BELLOWS | 064U129 | 4 |
| 02-05-01332 | 12-04/PAMP | 064U115 | 1 |
| 02-05-01333 | 12-07/PC BOARD | 064U694 | 2 |
| 02-05-01334 | 12-08/PRESSURE SWITCH | 080D706 | 1 |
| 02-05-01335 | 13-09/FILM RULLER | 064U051 | 5 |
| 02-05-01336 | 14-09/DRIVE RULLER | 064U084 | 5 |

EQUIPMENT:- HOLTER

MODEL:- MEDILOG 2

COMPANY\MANUFACTURER:-OXFORD

QUANTITY :-

SITE :-Medical city\                                                   Hospital

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01337 | CASSET RECORDER |  | 12 |

EQUIPMENT:- MONETOR

MODEL:- 402

COMPANY\MANUFACTURER:-SIMENS

QUANTITY :-

SITE :-Medical city\                                                   Hospital

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01338 | PRESSURE TRANSDUCER P 23XL | 4527958 | 50 |
| 02-05-01339 | PATIENT CABLE WITH ITS ADAPTORS & ELECTRODES | 4523254/D5 | 50 |
| 02-05-01340 | TEMPRATURE PROBE |  | 50 |
| 02-05-01341 | ELECTRODS ADHESIVE RINGS |  | 2000 |

EQUIPMENT:- MONETOR

MODEL:- GU05/M-11/88

COMPANY\MANUFACTURER:-S&W ATHENA 9040

QUANTITY :-

SITE :-Medical city\                                                   Hospital

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01342 | 02-OXIMETER PLUG & ITS PROBE | 9266 | 5 |
| 02-05-01343 | PLUG OF CO & ITS PROPE | 9240 | 5 |
| 02-05-01344 | PLUG FOR ECG & ITS PATIENT CABLE |  | 5 |
| 02-05-01345 | PLUG FOR NON INVASIVE BP & ITS CUFF (PAEDIATRIC & ADULT ) WITHITS ECUSSERIES | 9225 | 1 ForEach |

EQUIPMENT:- DC SHOCK

MODEL:- TYP 750

COMPANY\MANUFACTURER:-S&W

QUANTITY :-

SITE :-Medical city\                                                   Hospital

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01346 | EXTERNAL PACMAKE DISK |  | 20 |

EQUIPMENT:- ULTRA SOUND

MODEL:- PANASONIC AG -6200

COMPANY\MANUFACTURER:-HP

QUANTITY :-

SITE :-Medical city\                                                   Hospital

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01347 | ULTRA SOUND TRANSDUCER 5MHZ | HP21210A | 1 |

EQUIPMENT:- ULTRA SOUND(ECHO)

MODEL:- AUSONICS 2000

COMPANY\MANUFACTURER:-AUSONICS

QUANTITY :-

SITE :-Medical city\                                                   Hospital

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01348 | TRANSDUCER | 011-728 | 1 |

EQUIPMENT:- HEAMACRON

MODEL:- 400

COMPANY\MANUFACTURER:-TECHNIC DEYN-USA

QUANTITY :-

SITE :-Medical city\                                                   Hospital

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01349 | DISPLY SCREEN | 3-1010 | 3 |
| 02-05-01350 | BATTRY 6V |  | 6 |
| 02-05-01351 | PC BOARD | HE 2B1056 | 3 |

EQUIPMENT:- HEAMACRON

MODEL:- 800

COMPANY\MANUFACTURER:- TECHNIC DEYN-USA

QUANTITY :-

SITE :-Medical city\                                                   Hospital

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01352 | PC BOARD | 2-2235 | 4 |
| 02-05-01353 | BATTRY 6V | 5-5-170 | 2 |
| 02-05-01354 |  |  |  |

EQUIPMENT:- HEAMACRON

MODEL:- 801

COMPANY\MANUFACTURER:- TECHNIC DEYN-USA

QUANTITY :-

SITE :-Medical city\                                                   Hospital

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01355 | BATTRY 6V | 5-2-209 | 1 |
| 02-05-01356 | COUPLING | 4-35 | 2 |
| 02-05-01357 | PC BOARD | 3050 | 1 |

EQUIPMENT:- MONITOR

MODEL:- SIRCUST 404-1

COMPANY\MANUFACTURER:- SIMENS

QUANTITY :-

SITE :-Medical city\                                                   Hospital

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01358 | PC BOARD | 84,20317E,2250,A53 | 2 |
| 02-05-01359 | PRESSURE TRANSDUCER | 45, 27 950 | 5 |
| 02-05-01360 | PATIENT CABLE WITH ADAPTORS | 4523254 | 20 |
| 02-05-01361 | RECTAL TEMPRATURE PROBS | 4530259 | 20 |
| 02-05-01362 | ELECTRODE ADHESIVE RINGS | 4523742 | 2 SET |
| 02-05-01363 | ECG LEADS |  | 10 |

EQUIPMENT:-HYPOTHERMIE

MODEL:- 16-12-00

COMPANY\MANUFACTURER:-

QUANTITY :-

SITE :-Medical city\                                                   Hospital

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01364 | THERMOSENSOR PROBE |  | 4 |
| 02-05-01365 | ROOLER BLOOD PUMP |  | 1 |
| 02-05-01366 | DARLINCTON GE 5060 |  | 4 |

EQUIPMENT:- SERVO VENTILATOR

MODEL:- 900C

COMPANY\MANUFACTURER:- SIEMENS

QUANTITY :-

SITE :-Medical city\                                                   Hospital

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01367 | OXYGEN CELL | 90-04-979 | 40 |

EQUIPMENT:- TRADEMEL

MODEL:- 30-60

COMPANY\MANUFACTURER:- CAMBRIDGE

QUANTITY :-

SITE :-Medical city\                                                   Hospital

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01368 | BELT |  | 2 |
| 02-05-01369 | PAET COMPUTRACE CM3400 |  | 1 |
| 02-05-01370 | PATIENT CABLE WITH ADAPTERS |  | 10 |
| 02-05-01371 | BELT CAMBRIDGE FOR ROLLING PAPER |  | 5 |

SPARE     PARTS   FOR   (ASTRA8   CHEMISTRY   ANALYZER )

| Code | CONSUMABLEES FOR ENZYMES | PART NO. | QTY, |
| --- | --- | --- | --- |
| 02-05-01372 | ENZYME CUVETTES ( 40/PK ) | 88800 657050 | 3 |
| 02-05-01373 | MIXING ROD | 439846 | 6 |
| 02-05-01374 | MANIFOLD | 89010 439359 | 4 |
| 02-05-01375 | PISTON ASSY (3/PK ) | 439994 | 2 |
| 02-05-01376 | UV LAMP | 657025 | 3 |
| 02-05-01377 | PM KIT , ENZYME MODULE (7&8) | 89027 N/A | 2 |
| 02-05-01378 | FILTER , INLINE (6/PK ) | 89030 439889 | 2 |

CONUMABLEES FOR BASIC &MOST COMMON CHEMISTRIEST

| 02-05-01379 | GREY PUMP TUBING (12/PK ) | 88113 66147 | 3 |
| --- | --- | --- | --- |
| 02-05-01380 | RED PUMP TUBING ( 12/PK ) | 88114 651879 | 3 |
| 02-05-01381 | MEMBRANES (25/PK ) | 88115 650597 | 2 |
| 02-05-01382 | OXYGEN GEL (25 ML) | 88116 671488 | 2 |
| 02-05-01383 | K- TIP | 88117 651663 | 1 |
| 02-05-01384 | STIRRER , SMALL | 88137 651663 | 6 |
| 02-05-01385 | STIRRER , LARGE | 88138 651683 | 6 |
| 02-05-01386 | FILTER , FINE | 88139 669212 | 2 |
| 02-05-01387 | BLUE PUMP TUBING (6/PK ) | 88150 671818 | 4 |
| 02-05-01388 | FITER COARSE | 88172 651431 | 2 |
| 02-05-01389 | SILICOMN LUBRCANT | 88152 879049 | 2 |
| 02-05-01390 | SOURCE LAMP , ASSY | 88485 66204 | 6 |
| 02-05-01391 | SAMPLE PROBE , ASSY | 88460 671817 | 2 |
| 02-05-01392 | TUBE GUIDE CAP / LARGE (8/PK ) | 88482 664087 | 2 |
| 02-05-01393 | P/U STRAWS , LARGE ( 8/ PK ) | 88391 669085 | 2 |
| 02-05-01394 | DRAIN - OUTLET | 88493 668023 | 8 |
| 02-05-01395 | AIR - FILTER | 88468 801754 | 2 |
| 02-05-01396 | DOS AIR - FILTER | 88622 | 2 |
| 02-05-01397 | HP INKJRT- CARTID GES (4/PK ) | 88619 440059 | 4 |
| 02-05-01398 | HP PRINTER PAPER ( 6 / PK ) | 88620 659647 | 6 |
| 02-05-01399 | P/U STRAWS , SMAL ( 4/PK ) | 88461 671817 | 2 |
| 02-05-01400 | SAMPLE CUPS 0.25 ml ( 1000 / bag ) | 18012 665716 | 7 |
| 02-05-01401 | SAMPLE CUPS 0.50 ml ( 1000 / bag ) | 18013 651412 | 25 |
| 02-05-01402 | SAMPLE CUPS 2.00 ml ( 1000 / bag ) | 18014 652730 | 25 |
| 02-05-01403 | PMKIT , BUN MODULE | 88320 | 2 |
| 02-05-01404 | PMKIT , NA/ K MODULE | 88330 | 2 |
| 02-05-01405 | PMKIT , Crea / TP/Amy / PHOS MODUL | 88360 | 2 |
| 02-05-01406 | PMKIT , WASH MODULE | 88380 | 2 |
| 02-05-01407 | PMKIT , TBILI MODULE | 88614 | 2 |
| 02-05-01408 | PMKIT , GLUCOSE MODULE | 88618 | 2 |
| 02-05-01409 | EL ECTRODE, BUN | 651940 | 1 |
| 02-05-01410 | EL ECTRODE,GLUCOSE | 670522 | 2 |
| 02-05-01411 | EL ECTRODE,POTASSIUM | 669114 | 1 |
| 02-05-01412 | EL ECTRODE, SODIUM | 668295 | 3 |
| 02-05-01413 | RERENCE EL ECTRODE |  | 3 |

CONSUMABLEES FOR ADDITIONAL CHEMISTRIES

| 02-05-01414 | PM KIT, Ca&DBIL MODULE |  | 88370 |  | 2 |  |
| --- | --- | --- | --- | --- | --- | --- |
| 02-05-01415 | AMYLASE DEBUBBLER |  | 668819 |  | 2 |  |
| 02-05-01416 | TELPAR PRINTER PAPER (6ROLL) |  | 88112 669168 |  | 2 |  |
| 02-05-01417 | PRINTER-HEAD |  | 657910 |  | 10 |  |
| 02-05-01418 | LAMP,PHOSPHOROUS |  | 439888 |  | 2 |  |
| 02-05-01419 | LAMP(BULB ONLY)MCM |  | 439495 |  | 2 |  |
|  | SPARE PARTS-BASIC MODULES |  |  |  |  |  |
| 02-05-01420 | PERI-PUMP,DAUBLE | 668166 |  | 6 |  |  |
| 02-05-01421 | SAMPLE PUMP CARTRIDGE | 669859 |  | 3 |  |  |
| 02-05-01422 | QUAD - RING,90 OL | 879458 |  | 8 |  |  |
| 02-05-01423 | SAMPLE PUMP CARTRIDGE 180 OL | 669861 |  | 3 |  |  |
| 02-05-01424 | QUAD- RING,180 OL | 879502 |  | 8 |  |  |
| 02-05-01425 | PRE HEATER BUN/GLU | 651760 |  | 4 |  |  |
| 02-05-01426 | REACTION CUP BUN/GLU | 651938 |  | 4 |  |  |
| 02-05-01427 | ANALOG BOARD BUN | 654190 668630 |  | 2 |  |  |
| 02-05-01428 | HARNESS BUN | 668439 |  | 2 |  |  |
| 02-05-01429 | ANALOG BOARD GLU | 654189 668620 |  | 2 |  |  |
| 02-05-01430 | HARNESS GLU | 668435 |  | 2 |  |  |
| 02-05-01431 | REACTION CUP NA/K | 668192 |  | 2 |  |  |
| 02-05-01432 | ANALOG BOARD NA/K | 654191 668640 |  | 3 |  |  |
| 02-05-01433 | HARNESS NA/K | 668438 |  | 3 |  |  |
| 02-05-01434 | RETAINER NUT NA/K | 668123 |  | 9 |  |  |
| 02-05-01435 | ANALOG BOARD CL | 654193 668660 |  | 2 |  |  |
| 02-05-01436 | HARNESS CL | 668436 |  | 2 |  |  |
| 02-05-01437 | Pre- HEATER CRE/TP/AMY /PHOS | 668041 |  | 6 |  |  |
| 02-05-01438 | REACTION - CAP CRE/TP/AMY /PHOS | 669808 |  | 6 |  |  |
| 02-05-01439 | DETECTOR ( 520 NM ) CRE/AMY | 668057 |  | 4 |  |  |
| 02-05-01440 | ANALOG BOARD CRE | 654194 668670 |  | 2 |  |  |
| 02-05-01441 | HARNESS ALI COLORIMETRIC | 668443 |  | 10 |  |  |
| 02-05-01442 | DETECTOR ( 5X5 NM) TP/DBIL | 668288 |  | 4 |  |  |
| 02-05-01443 | ANALOG BOALRD TP | 654238 669280 |  | 2 |  |  |
| 02-05-01444 | DETECTOR ( 600 NM ) ALB | 669426 |  | 1 |  |  |
| 02-05-01445 | ANALOG BOARD ALB | 654259 669410 |  | 1 |  |  |
| 02-05-01446 | REATION - CUP TBIL /CA/DBIL | 669807 |  | 4 |  |  |
| 02-05-01447 | DETECTOR (530 NM) TBIL | 669438 |  | 4 |  |  |
| 02-05-01448 | ANALONG BOARD TBIL | 654201 669440 |  | 5 |  |  |
| 02-05-01449 | ANALONG BOARD AMY | 654288 669140 |  | 1 |  |  |
| 02-05-01450 | PRE. HEATER CA/DBIL | 669950 |  | 2 |  |  |
| 02-05-01451 | DETECTOR (580 NM) CA | 669778 |  | 2 |  |  |
| 02-05-01452 | ANALONG BOARD CA | 654291 669770 |  | 1 |  |  |
| 02-05-01453 | ANALOG BOARD DBIL | 654423 671990 |  | 1 |  |  |
| 02-05-01454 | DETECTOR ( 365 NM) PHOS | 439453 |  | 2 |  |  |
| 02-05-01455 | ANALOG BOARD PHOS | 439420 |  | 2 |  |  |
| 02-05-01456 | STIRRER MOTOR 720 RPM | 668648 |  | 3 |  |  |
| 02-05-01457 | STIRRER MOTOR 900 RPM | 669662 |  | 3 |  |  |
| 02-05-01458 | STIRRER MOTOR 1200 RPM | 668647 |  | 3 |  |  |
| 02-05-01459 | PERI - PUMP , SINGLE | 668040 |  | 10 |  |  |
| 02-05-01460 | TEMPERATUR , CONTROL BOARD | 654279 668840 |  | 6 |  |  |
| 02-05-01461 | BASE - HEATER HEATED CHEMISTRIES | 651755 |  | 6 |  |  |
| 02-05-01462 | BASE - PLATE NO HEATER | 669977 |  | 6 |  |  |
| 02-05-01463 | RETAINER, PHOTO - TUBE | 668043 |  | 6 |  |  |
| 02-05-01464 | LITE - PIPE, LONG W/RETAINER | 668051 |  | 6 |  |  |
| 02-05-01465 | LITE - PIPE , SHORT W/RETAINER | 668052 |  | 6 |  |  |
| 02-05-01466 | SOLENID , SAMPLE PUMP | 668110 |  | 4 |  |  |

|  | SPARES - ELECTRONIC COMPARTMENT 1- BOARD |  |  |
| --- | --- | --- | --- |
| 02-05-01467 | CPU Jll | 654359 669900 | 4 |
| 02-05-01468 | 12K RAM J 12 - J16 | 654257 669580 | 4 |

| 02-05-01469 | COMMUNICATION J17 | 654248 669650 | 4 |
| --- | --- | --- | --- |
| 02-05-01470 | SYSTEM CONSOLE J10 | 654358 669800 | 4 |
| 02-05-01471 | STATUS DETECTOR J8 | 654216 668950 | 2 |
| 02-05-01472 | ADS J22 | 654219 668750 | 4 |
| 02-05-01473 | T-TABLE / EASHCUP J7 | 654217 665792 | 2 |
| 02-05-01474 | TRANSPORT DRIVE J 6 | 654220 668740 | 2 |
| 02-05-01475 | SAMPLE PUMP J 5 | 654224 668680 | 2 |
| 02-05-01476 | PUMP DRIVE J1 - J4 | 654128 668770 | 12 |
|  | 2- TRANSPORT |  |  |
| 02-05-01477 | MICRO - SWITCH | 834871 | 8 |
| 02-05-01478 | GEAR , SAMALL | 666213 | 4 |
| 02-05-01479 | GEAR , LARGE | 667281 | 4 |
| 02-05-01480 | MOTOR ( LEFT / RIGHT ) | 668211 | 2 |
| 02-05-01481 | MOTOR ( CRANE / PROBES) | 668347 | 2 |
| 02-05-01482 | HARNESS, TRANSPORT OPTICS | 668459 | 2 |
| 02-05-01483 | OPTICAL SENSORS | 668783 | 14 |
| 02-05-01484 | PROBE ARM , LOWER | 669724 | 4 |
| 02-05-01485 | PROBE ARM , UPPER | 668021 | 4 |
| 02-05-01486 | PROBE GUIDE | 668079 | 4 |
|  | 3- POWER SUPPlIES |  |  |
| 02-05-01487 | + 5V | 668577 | 2 |
| 02-05-01488 | - 5V | 668578 | 2 |
| 02-05-01489 | + 12V | 668579 | 2 |
| 02-05-01490 | - 12V | 668580 | 2 |
| 02-05-01491 | - ,+ 15 V | 668581 | 2 |
|  | 4-TURN TABLE |  |  |
| 02-05-01492 | TTABLE , SAMPLE CHANGER | 654232 668320 | 2 |
| 02-05-01493 | SAMPLE TRAY | 668341 | 2 |
| 02-05-01494 | SAMLP LE CUP HOLDER ( CLAMPS - 40 PCS ) | 665948 | 8 |
| 02-05-01495 | ARM , ADJ | 665932 | 6 |
| 02-05-01496 | COVER , SAMPLE TRAY | 668499 | 8 |
|  | 5- DOS BOX |  |  |
| 02-05-01497 | DISK CONTROLLER BOARD | 669609 | 4 |
| 02-05-01498 | DISK DRIVE S | NEW !! | 4 |
| 02-05-01499 | DISKETTES VERSION 300 + (ALL) | COPIES | 300 COPIES |
|  | 6- KEYBOARD |  |  |
| 02-05-01500 | KEYBOARD | 654233 668420 | 1 |
| 02-05-01501 | KEY - SWITCHES | 895231 | 20 |
| 02-05-01502 | LED ALARM DRIVER | 654247 668970 | 4 |
|  | 7- CRT |  |  |
| 02-05-01503 | ADDS | 654243 657039 | 4 |
|  | SPARES ENZYMES & MCM SYSTEMS |  |  |
| 02-05-01504 | PERI- PUMP , TRIPLE E/M | 654537 439285 | 2 |
| 02-05-01505 | CAROUSEL ASSY E | 654559 657065 | 3 |
| 02-05-01506 | CAROUSEL ASSY M | 439425 | 1 |
| 02-05-01507 | PRE - AMP ( 405 NM) E | 657591 | 9 |
| 02-05-01508 | PRE - AMP ( 340 NM ) E | 657592 | 9 |
| 02-05-01509 | PRE- AMP ( 500 NM) M | 439466 | 4 |

| 02-05-01510 | LOG LSIM BOARD E /M | 654541 439275 | 2 |
| --- | --- | --- | --- |
| 02-05-01511 | FAN , CAROUSEL E/M | 439112 | 4 |
| 02-05-01512 | ELEVATOR ASSY E | 654536 439140 | 2 |
| 02-05-01513 | ELEVATOR ASSY M | 439480 | 1 |
| 02-05-01514 | ELEVATOR SENSOR BOARD E | 654552 657540 | 2 |
| 02-05-01515 | ELEVATOR SENSOR BOARD M | 439480 | 1 |
| 02-05-01516 | MOTOR ASSY , MIXES E | 439154 | 1 |
| 02-05-01517 | BLOCK ASSY , PROBE E | 439180 | 2 |
| 02-05-01518 | MOTOR , ELEVATOR E/M | 439109 | 3 |
| 02-05-01519 | BOARD , 1/O/ CONVERSION E/M | 657353 | 4 |
| 02-05-01520 | BOARD , PROCESSOR E/M | 654546 657310 | 3 |
| 02-05-01521 | BOARD , COUSIN E/M | 654550 657520 | 3 |
| 02-05-01522 | BOARD , HEATER CONTROL E/M | 654555 439355 | 3 |
| 02-05-01523 | BOARD , ELEVATOR CONTROL E/M | 654551 657530 | 3 |
| 02-05-01524 | POWER SUPPLY , 28 VDC E/M | 654556 657080 | 2 |
| 02-05-01525 | POWER SUPPLY , 12 VDC E/M | 895334 | 2 |
| 02-05-01526 | DISPENSER ASSY . E/M | 654539 439960 | 9 |
| 02-05-01527 | DISPENSER ASSY TRIG | 439660 | 3 |
| 02-05-01528 | HARNESS HEATER CONTROL 12V | 667316 | 2 |
| 02-05-01529 | HARNESS HEATER POWER | 657363 | 2 |
| 02-05-01530 | HARNESS LAMP POWER SUPPLY | 439509 | 2 |
| 02-05-01531 | HARNESS ELEVATOR SENSOR | 657319 | 2 |
| 02-05-01532 | CABLE I/O BUS | 657313 | 2 |
| 02-05-01533 | CABLE ANALOG BUS ( M7) | 439174 | 2 |
| 02-05-01534 | CABLE ANALOG BUS ( M8 ) | 439382 | 2 |
| 02-05-01535 | CABLE DIGITAL BUS | 657318 | 2 |
| 02-05-01536 | HARNESS AC TO 28 VDC POWER SUPPLY | 439264 | 2 |
| 02-05-01537 | HARNESS FOR 28 VDC | 439156 | 2 |
| 02-05-01538 | HARNESS FOR 12 VDC | 439172 | 2 |

SPARE  PARTS  FOR  AUTO - ANALYZER CL12

| Code | DESCRIPTION | PIN | QTY. |
| --- | --- | --- | --- |
| 02-05-01539 | SAMPLE CUP | 038-00259 | 150 |
| 02-05-01540 | PIPETTER PACKING | 20460031 | 6 |
| 02-05-01541 | DITTUTER PACKING | 204-62320 | 12 |
| 02-05-01542 | PISTON HEAD | 204-62404 | 12 |
| 02-05-01543 | GLASS TUBE | 200-93029-01 | 4 |
| 02-05-01544 | LAMP 1 | 204-62862-01 | 6 |
| 02-05-01545 | LAMP 2 | 204-62862-02 | 6 |
| 02-05-01546 | FLOPPY DISC |  | 6 |
| 02-05-01547 | GUIDE HOLDER | 204- 62234-01 | 2 |
| 02-05-01548 | GUIDE HOLDER | 204 - 62234-02 | 2 |
| 02-05-01549 | COMPRESSION SPRING | 204-62260 | 4 |
| 02-05-01550 | CARRIER COMPRESSION SPRING | 204- 62278 | 2 |
| 02-05-01551 | TIMING BELT | 200- 61024 | 2 |
| 02-05-01552 | MINI- SYRCHNO- BEIT |  | 2 |
| 02-05-01553 | CYLINDOR ASSEMBLY | 204 -62303 | 4 |
| 02-05-01554 | CYLINDER ASSEMBLY | 204 - 62306 | 4 |
| 02-05-01555 | PLUNGER ASSEMBLY | 204- 62308 | 2 |
| 02-05-01556 | PLUNGER ASSEMBLY | 204 - 62311 | 2 |
| 02-05-01557 | ELECTRO - MAGNETIC VALVE | 204-62349 | 6 |
| 02-05-01558 | TEFLON HALF - UNION | 035-60032 | 4 |
| 02-05-01559 | VALVE HEAD | 204-62403 | 12 |

| Code | DESCRIPTION | PIN | QTY. |
| --- | --- | --- | --- |
| 02-05-01560 | VALVE HEAD | 204 - 62417 | 12 |
| 02-05-01561 | CYLINGER ASSSEMBLY | 204 - 62306 -01 | 6 |
| 02-05-01562 | O - RING 4CPS | 036-11003 | 10 |
| 02-05-01563 | O- RING 1APQ | 036-10207 | 10 |
| 02-05-01564 | ELECTRO - MAGNETIC VALVE | 204-62341 | 6 |
| 02-05-01565 | ELECTRO - MAGNETIC VALVE | 204-62341-01 | 6 |
| 02-05-01566 | SSR | 065- 68201 | 3 |
| 02-05-01567 | DIOD LED - 3ARI |  | 6 |
| 02-05-01568 | TEFLON CONNECTOR | 035- 60034 | 6 |
| 02-05-01569 | TEFLON CONNECTOR | 204- 62481 | 6 |
| 02-05-01570 | TEFLON CONNECTOR | 204- 62419 | 10 |
| 02-05-01571 | TEFLON CONNECTOR | 204- 66033 | 10 |
| 02-05-01572 | FILTER | 204-62435-01 | 4 |
| 02-05-01573 | FILTER | 204- 62435-02 | 4 |
| 02-05-01574 | REACTION TUBE | 0-38-00190 | 6 |
| 02-05-01575 | NUT - CUP | 023-33140 | 15 |
| 02-05-01576 | WASH ER | 023-37040 | 2 |
| 02-05-01577 | REACTION TUBE PLATE | 204-62627-01 | 2 |
| 02-05-01578 | REACTION TUBE PLATE | 204-62627-02 | 2 |
| 02-05-01579 | RUBBER - CEPTUM | 204-62744 | 2 |
| 02-05-01580 | VALVE ASSEMBLY | 204- 62839 | 4 |
| 02-05-01581 | TEFLON CONNEETOR | 035-60035 | 10 |
| 02-05-01582 | FLOW CELL | 200-66536-01 | 1 |
| 02-05-01583 | TEFLON TUBE | 016-37502 | 2 |
| 02-05-01584 | TEFLON TUBE | 016-37503 | 2 |
| 02-05-01585 | POLYETHYENE TUBE | 016-43202 | 1 |
| 02-05-01586 | HEATER |  | 1 |
| 02-05-01587 | NOZZLE OF FLOW CELL | 204 - 62533 | 1 SET |
| 02-05-01588 | PHOTO - MICROSENSOR EE - S3 | 061- 71502 | 1 |
| 02-05-01589 | PHOTO - MICROSENSOR EE - S5 | 061-71503 | 1 |
| 02-05-01590 | THERMO - SENSOV | 200- 65031 | 1 |
| 02-05-01591 | SOLD STATE RELAY (SFLODMI ) | 065-68135 | 4 |
| 02-05-01592 | SOLENOIDE VALVE ASSY OF PHOTOIMETER | 204- 62502 | 8 |
| 02-05-01593 | PANEL CONTRAL 1 | 204-63139 | 1 |
| 02-05-01594 | PANEL CONTROL 2 | 105-14461-20 | 1 |
| 02-05-01595 | SOLENODE VALVE ASSY FOR DISPENSER | 204- 62021 | 4 |
| 02-05-01596 | ION EXCHANGE RESIN FOR MINICLIER | 15 KG | 50 KG |
| 02-05-01597 | THERMOSTAT | 200-78004 | 1 |
| 02-05-01598 | FAN | 042- 60089 | 1 |
| 02-05-01599 | FLOW CELL ASSY (A) | 204- 62878-01 | 1 |
| 02-05-01600 | FLOW CELL ASSY (B) | 204-62878-02 | 1 |
| 02-05-01601 | SAFETY VALVE FOR COMPNESSOR |  | 1 |
| 02-05-01602 | SOLENOID VALVE | 204-62341-01 | 3 |
| 02-05-01603 | SOLENOID VALVE | 204- 62341 | 3 |
| 02-05-01604 | JOINT | 035- 66033 | 10 |
| 02-05-01605 | JOINT | 035- 66034 | 10 |
| 02-05-01606 | INSERT | 204- 62418 | 6 |
| 02-05-01607 | O-RING | 036- 10202 | 15 |
| 02-05-01608 | RUBBER - HOSE 9.5 X 6.5 mm | 016- 02210 | 3 |

CONSUMUBLE FOR MICROLYZER ,AUTOANALYZER  & AA2

| 02-05-01609 | SERVO EMPLIFIER | EACH | 14 |
| --- | --- | --- | --- |
| 02-05-01610 | PUMP TUBE (GRN-GRN) | 1 X 12 | 80 |
| 02-05-01611 | PUMP TUBE (ORN-YEL) | 1 X 12 | 40 |
| 02-05-01612 | PUMP TUBE (ORN-GRN) | 1 X 12 | 40 |
| 02-05-01613 | PUMP TUBE (WHT-WHT) | 1 X 12 | 40 |
| 02-05-01614 | PUMP TUBE (RED-RED) | 1 X 12 | 40 |
| 02-05-01615 | PUMP TUBE (BLK-BLK) | 1 X 12 | 60 |
| 02-05-01616 | PUMP TUBE (ORN-ORN) | 1 X 12 | 40 |
| 02-05-01617 | CHART PAPER | EACH | 400 |
| 02-05-01618 | MEMBRANE | 1 X 12 | 400 |
| 02-05-01619 | BLUE TUBING | M | 400 |
| 02-05-01620 | RED TUBING | M | 400 |
| 02-05-01621 | BLACK TUBING | M | 1000 |
| 02-05-01622 | HEATING BATH 37C | EACH | 10 |
| 02-05-01623 | DRIVE BELT | EACH | 40 |
| 02-05-01624 | HEATING BATH 90C | EACH | 10 |
| 02-05-01625 | MEMBRANE PREMOUT | 1 X 12 | 150 |
| 02-05-01626 | SAMPLE CUPS 2CC | 1000 | 20000 For Each |
| 02-05-01627 | SAMPLE CUPS FOR MICROLAYZER 1CC | 1000 | 2 |
| 02-05-01628 | SAMPLE PROBE FOR AA2, MICROLAYZER & AUTOANALYZER |  | 30 |
| 02-05-01629 | (T) CONNECTOR A10 | 25 |  |
| 02-05-01630 | INJECTOR FITTING | 20 |  |
| 02-05-01631 | 3-WAY INJECTOR | 25 |  |
| 02-05-01632 | TUBE GLASS | 25 |  |
| 02-05-01633 | COIL GLASS 20T | 10 |  |
| 02-05-01634 | COIL GLASS 5T | 10 |  |
| 02-05-01635 | TUBE , GLASS (ANGLE) | 20 |  |
| 02-05-01636 | TUBE , GLASS(STRAIGHT) | 20 |  |
| 02-05-01637 | HEATING BATH 90 C-H COIL FOR (BUN) | 10 |  |
| 02-05-01638 | HEATING BATH 37 C FOR(G/U) | 10 |  |
| Colorimeter |  |  |  |
| 02-05-01639 | LOG-RATIO BOARD | 5 |  |
| 02-05-01640 | EMPLIFIER BOARD | 5 |  |
| 02-05-01641 | FLOW CELL (0.1,2) ml | 5 |  |
| 02-05-01642 | FILTER FOR GLUCOSE,BLOOD UREA, TOTAL BROTINE ,CALCUIM ,PHOSPHOROS, CREATININ | 5 OF EACH |  |
| Recorder |  |  |  |
| 02-05-01643 | PEN (LONG) WITH WIRE | 10 |  |
| 02-05-01644 | PEN (SMALL) WITH WIRE | 10 |  |
| 02-05-01645 | EMPLIFIER BOARD | 5 |  |
| 02-05-01646 | PEN ASSEMBLY TUBING | 2 PACKET |  |
| 02-05-01647 | PRIMING BULB | 50 |  |
| 02-05-01648 | CHART PAPER FOR AA2 | 600 |  |
| 02-05-01649 | CHART PAPER FOR MICROLYZER | 150 |  |
| 02-05-01650 | CHART PAPER FOR AUTOANALYZER | 100 |  |
| 02-05-01651 | INK (RED) | 100 (10ml BOTTLE OF EACH) |  |
| 02-05-01652 | INK (GREEN) | 100(10ml BOTTLE FO EACH) |  |

ELECTRO -NYSTGMOGRAPHY

| 02-05-01653 | NEEDLES | 4 SET |
| --- | --- | --- |

(ECG, PULS  MONETOR ) FOR PATIENTS

| 02-05-01654 | PATIENT CABLE | 8 |
| --- | --- | --- |

|  | FLAME PHOTOMETER |  |  |
| --- | --- | --- | --- |
|  | CORNING EEL |  |  |
| 02-05-01655 | galvanometer |  | 200 |
| 02-05-01656 | Filter - NA |  | 100 |
| 02-05-01657 | Filter -k |  | 100 |
| 02-05-01658 | Atomizer compete |  | 200 |
| 02-05-01659 | Mixing chamber cover |  | 100 |
| 02-05-01660 | Mixing chamber compete |  | 50 |
| 02-05-01661 | Air compressor |  | 30 |
| 02-05-01662 | repairing kit for air compressor |  | 20 |
|  | Spare parts for DS 521 |  |  |
| 02-05-01663 | Patiert cable |  | 15 |

| Code | Equipment | No. | model | co. | spareparts | Qty |
| --- | --- | --- | --- | --- | --- | --- |
| 02-05-01664 | 1-ophthalmoscopes | 50 |  | dualite-keler | Lamps | 50 |
| 02-05-01665 | 2-Retinoscopes | 50 | Hsrz | Hewe | Lamp.G1803 | 50 |
| 02-05-01666 | 2-Retinoscopes | 50 | Hsrz | Hewe | Battery3.6v 14h rs/7.5ma |  |
| 02-05-01667 | 3-Operating microscopes | 8 |  | Heraeus | Lamp. | 80 |
| 02-05-01668 | 4-operating Microscop (Floor Mounted) | 8 |  | Heraeus W.Germany | Lamp. | 20 |
| 02-05-01669 | 5-Ultra-soundinst | 2 |  | ophtascan-b-c | prop.Gk | 8 |
| 02-05-01670 | 6-Coutary | 10 |  | Aesculap | prop.Gk 670 | 10 |
| 02-05-01671 | 7-Craiometer | 2 |  | Top con | prop | 2 |
| 02-05-01672 | 8-Biometery | 15 | LM-6 | Topcon | Lamp.Lm8802 | 30 |
| 02-05-01673 | 9-Vitrectom | 1 |  | Laser Fotoco AgUL aDOR | pROP | 4 |
| 02-05-01674 | 10-kATFORD | 3 |  | kELER | Footswitch | 3 |
| 02-05-01675 | 11-Opntaloscopes | 50 |  | keler | Lamps. 3.8v | 100 |
| 02-05-01676 | 12-Endolaser Aircoold | 4 | 142941 zeiss | London | Laser Tube Lens | 8 10 |
| 02-05-01677 | 13-Customunit(L/L) | 20 |  | Topcon | Lamp.G/903 | 100 |
| 02-05-01678 | 14-Leser screen | 4 |  | Hamblin | Lamp. | 10 |
| 02-05-01679 | 14-Leser screen | 4 |  | Hamblin | Footswitch |  |

EQUIPIT : THROMPO COUNTER (PLATE CELL COUNTER)

MODEL : BL 100

MANUFACTURE : TOJAKY

QUANTITY : 13

SITE : ALL GOVERNERATES

| CODE | DESCRIPTION | QTY. |
| --- | --- | --- |
| 02-05-01680 | ELECTROD | 5 |
| 02-05-01681 | TUBES | 5 |
| 02-05-01682 | SOLNOD VALVE | 5 |
| 02-05-01683 | PUMP | 5 |

EQUIPIT : MICROSCOP (FOR OPERATING THEAUTER)

MODEL : CB 500

MANUFACTURER : TOPCON

QUANTITY : 13

SITE : ALL GOVERNERATES

| CODE | DESCRIPTION | QTY. |
| --- | --- | --- |
| 02-05-01684 | CAMERA | 1 |
| 02-05-01685 | ADAPTER | 1 |
| 02-05-01686 | SET OF LENSES | 4 |

EQUIPIT : ECG

MODEL : EK 41

MANUFACTURER : HEILLGA

QUANTITY : 50

SITE : ALL GOVERNERATES

| CODE | DESCRIPTION | QTY. |
| --- | --- | --- |
| 02-05-01687 | POWER SUPPLY PCB | 10 |
| 02-05-01688 | SET OF PCB S | 10 |
| 02-05-01689 | PATIENT CABLE | 50 |

EQUIPIT : MONITER

MODEL : SMS 104

MANUFACTURER : HEILLGA

QUANTITY : 50

SITE : ALL GOVERNERATES

| CODE | DESCRIPTION | QTY. |
| --- | --- | --- |
| 02-05-01690 | H.V PCB | 5 |

EQUIPIT : PH - METER

MODEL : 3

MANUFACTURER : CORNING

QUANTITY : 3

SITE : BAGHDAD

| CODE | DESCRIPTION | QTY. |
| --- | --- | --- |
| 02-05-01691 | ELECTRODE | 2 |

EQUIPIT : MANGNETIC STIRRER

MODEL :

MANUFACTURER : GALLEN KAMP

QUANTITY : 2

SITE : BAGHDAD

| CODE | DESCRIPTION | QTY. |
| --- | --- | --- |
| 02-05-01692 | HEATER | 2 |

EQUIPIT : COOLED AIR INCUBATOR

MODEL :

MANUFACTURER : GALLEN KAMP

QUANTITY : 2

SITE : BAGHDAD

| CODE | DESCRIPTION | QTY. |
| --- | --- | --- |
| 02-05-01693 | PC BOARD | 2 |

EQUIPIT : ECOLYZER

MODEL :

MANUFACTURER : ENERGETIC SCIENCE

QUANTITY : 3

SITE : BAGHDAD

| CODE | DESCRIPTION | QTY. |
| --- | --- | --- |
| 02-05-01694 | PC BOARD | 3 |
| 02-05-01695 | MERCERY CELL C-CIZE | 6 |
| 02-05-01696 | NC BATTERY C-SIZE | 6 |
| 02-05-01697 | TRANSFORMER | 1 |
| 02-05-01698 | SENSOR (ELECTRO-CHEMICAL) | 20 |

EQUIPIT : CO - METER INDICATOR

MODEL : 70

MANUFACTURER : MSA

QUANTITY : 3

SITE : BAGHDAD

| CODE | DESCRIPTION | QTY. |
| --- | --- | --- |
| 02-05-01699 | SENSOR | 6 |
| 02-05-01700 | MURCERY BATTERY | 2 |
| 02-05-01701 | BATTERY BACK | 2 |

EQUIPIT : VENTILATOR

MODEL : 8403300

MANUFACTURER : DRAGER

QUANTITY : 10

SITE : ALL GOVERNERATES

| CODE | DESCRIPTION | QTY. |
| --- | --- | --- |
| 02-05-01702 | PATIENT CONNECTION TUBES | 50 |

EQUIPIT : PACE - MAKER

MODEL : 250 C/E

MANUFACTURER : CARDIC - CORPORTOR

QUANTITY : 10

SITE : ALL GOVERNERATES

| CODE | DESCRIPTION | QTY. |
| --- | --- | --- |
| 02-05-01703 | ELECTROD | 100 |
| 02-05-01704 | CAFFETER | 100 |
| 02-05-01705 | CANULA | 100 |

EQUIPIT : CHLORID METER

MODEL :

MANUFACTURER : EEL

QUANTITY : 50

SITE : ALL GOVERNERATES

| CODE | DESCRIPTION | QTY. |
| --- | --- | --- |
| 02-05-01706 | ELECTRODE | 10 |

EQUIPIT : BLOODGAS ANALYZER

MODEL : 949 & 2

MANUFACTURER : AVL & ABL

QUANTITY : 15

SITE : ALL GOVERNERATES

| CODE | DESCRIPTION | QTY. |
| --- | --- | --- |
| 02-05-01707 | ELECTROD | 50 SET /EACH |

EQUIPIT : ENDOSCOPE

MODEL :

MANUFACTURER : FUJENON

QUANTITY : 26

SITE : ALL GOVERNERATES

| CODE | DESCRIPTION | QTY. |
| --- | --- | --- |
| 02-05-01708 | FRONT END COVER | 5 |

EQUIPIT : UITRASOUND

MODEL : SSD 256

MANUFACTURER : ALOKA

QUANTITY : 13

SITE : ALL GOVERNERATES

| CODE | DESCRIPTION | QTY. |
| --- | --- | --- |
| 02-05-01709 | POWER SUPPLY PCB | 5 |
| 02-05-01710 | OUTPUT PCB | 5 |
| 02-05-01711 | PROB SECTOR - LINEAR | 13 SET |

EQUIPIT : GALVANIC

MODEL : RABO

MANUFACTURER : SIEMENCE

QUANTITY : 13

SITE : ALL GOVERNERATES

| CODE | DESCRIPTION | QTY. |
| --- | --- | --- |
| 02-05-01712 | PROB | 5 |
| 02-05-01713 | SELECTOR SWITCH | 5 |
| 02-05-01714 | OUTPUT PCB | 5 |

EQUIPMENT :  ANESTHETIC TROLLY & VENTELATOR

MODEL          :  SULLA 808

COMPANY\ MANUFACTURER:  DRAGER  /  1989

QUANTITY :  30

SITE             :  MEDICAL CITY                  HOSPITAL

| CODE | DESCRIPTION | PART NO. | Q TY. |
| --- | --- | --- | --- |
| 02-05-01715 | VENTILOG | 84 04 500 | 5 |
| 02-05-01716 | PRESSARE REGALATOR | 84 027 45 | 25 |
| 02-05-01717 | 312 WAY VALUE |  | 25 |
| 02-05-01718 | VESSEL | 84 046 75 | 25 |
| 02-05-01719 | VESSEL | 84 04673 | 25 |
| 02-05-01720 | AMPLIFIER RELAYS | M 25716 | 50 |
| 02-05-01721 | AMPLIFIER RELAYS | M 22260 | 50 |
| 02-05-01722 | CENTRAL VALVE | 84 04680 | 25 |

EQUIPMENT :  SUCTION PUMP

MODEL          :  AMEDA EGNELL UNIVERSAL 45

COMPANY\ MANUFACTURER:  AMEDA

QUANTITY :  30

SITE             :  MEDICAL CITY                  HOSPITAL  SHAHEED ADNAN

| CODE | DESCRIPTION | PART NO. | Q TY. |
| --- | --- | --- | --- |
| 02-05-01723 | CYLINDER COMPUNIVERSAL 45 | 99110411 | 30 |
| 02-05-01724 | CRANK COMPL. UNIVERSAL 45 | 99110511 | 15 |
| 02-05-01725 | CYLINDER SUPPORT | 45113511 | 15 |
| 02-05-01726 | FLANGE RIGHT | 36115111 | 15 |
| 02-05-01727 | FLANGE LEFT | 36113611 | 15 |
| 02-05-01728 | GEARING MOTOR 220 V / 50HZ | 86405011 | 15 |
| 02-05-01729 | SAFTY RING | 00372202 | 60 |
| 02-05-01730 | BALL BEARING | 00823011 | 30 |

EQUIPMENT :  ELECTRO SURGICAL UNIT

MODEL          :  TD 311

COMPANY\ MANUFACTURER:  ESCHMANN / 1989

QUANTITY :  30

SITE             :  MEDICAL CITY                  HOSPITAL  SHAHEED ADNAN

| CODE | DESCRIPTION | PART NO. | Q TY. |
| --- | --- | --- | --- |
| 02-05-01731 | PCB , DRIVE TD - DO | 697853 | 30 |
| 02-05-01732 | PCB , LOGIC , TD - LO | 697859 | 30 |
| 02-05-01733 | PCB , POWER CONTROL TD - PO | 697851 | 30 |
| 02-05-01734 | PCB , CONTROL OSCILLATOR & FANE | 697855 | 30 |
| 02-05-01735 | PCB , POWER AMPLIFIER TD - PA |  | 30 |
| 02-05-01736 | TRANSFORMER T 801 | 697721 | 30 |
| 02-05-01737 | TRANSFORMER T 802 | 697824 | 30 |
| 02-05-01738 | GENERATOR TD - OSC |  | 30 |

EQUIPMENT :  CENTERFUGE

MODEL          :  MINOR  35

COMPANY\ MANUFACTURER:  MSE / ENGLAND

QUANTITY :  20

SITE             :  MEDICAL CITY                  HOSPITAL: LABROTARY

| CODE | DESCRIPTION | Q TY. |
| --- | --- | --- |
| 02-05-01739 | MOTOR | 10 |
| 02-05-01740 | TIMER | 10 |
| 02-05-01741 | SPEED CONTROL | 10 |
| 02-05-01742 | CONTROL PCB | 5 |
| 02-05-01743 | BRUSHES | 50 |

EQUIPMENT :  DELIVERY MONITOR

MODEL          :  FM3R

COMPANY\ MANUFACTURER:  SONICAID

QUANTITY :  3

SITE             :  MEDICAL CITY                  HOSPITAL BAGHDAD

| CODE | DESCRIPTION | Q TY. |
| --- | --- | --- |
| 02-05-01744 | ULTRA SOUND TRANSDUCER LEMO - FGG - 2B | 6 |
| 02-05-01745 | CONTRACTION STYLES FOR Z FOLD RECORDER | 3 |
| 02-05-01746 | ULTRA SOUND STYLES FOR Z FOLD RECORDER | 3 |

EQUIPMENT :  GAMMA  COUNTER

MODEL          :  RIA COUNTER  1200

COMPANY\ MANUFACTURER: MOLSGAARD . SCANEZ / DENMARK

QUANTITY :  1

SITE             :  MEDICAL CITY                  HOSPITAL

| CODE | DESCRIPTION | PART NO. | Q TY. |
| --- | --- | --- | --- |
| 02-05-01747 | SCINTILLATION DETECTOR | 1.25 MW 1.25 / 1.5 | 4 |
| 02-05-01748 | POWER SUPPLY P.C.B | POWER LAB POL 330 | 1 |
| 02-05-01749 | HIGH VOLTAGE POWER SUPPLY |  | 1 |
| 02-05-01750 | INTERFACE BOARD I |  | 1 |
| 02-05-01751 | INTERFACE BOARD II |  | 1 |
| 02-05-01752 | MICROPROCESSOR |  | 1 |
| 02-05-01753 | SCALOR / ANALYZER BOARD |  | 2 |

EQUIPIT  :   BLOODGAS ANALYZIER

MODEL   :  949   &  2

MANUFACTURER   : AVL    & ABL

QUANTITY   : 15

SITE    : ALL GOVERNERATES

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01754 | ELECTROD |  | 50 SET / EACH |

EQUIPIT  :   ENDOSCOPE

MODEL   :

MANUFACTURER   : FUJENON

QUANTITY   : 26

SITE    : ALL GOVRNORATES

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01755 | FRONT END COVER |  | 5 |

EQUIPIT  :   UITRASOUND

MODEL   :  SSD 256

MANUFACTURER   : ALOKA

QUANTITY   : 13

SITE    : ALL GOVERNERATES

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01756 | POWER SUPPLY PCB |  | 5 |
| 02-05-01757 | OUT PUT PCB |  | 5 |
| 02-05-01758 | PROB SECTOR - LINEAR |  | 13 SET |

EQUIPIT  :   GALVANIC

MODEL   :  RABO

MANUFACTURER   : SIEMENCE

QUANTITY   : 13

SITE    : ALL GOVERNERATES

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01759 | PROB |  | 5 |
| 02-05-01760 | SLECTOR SWITCH |  | 5 |
| 02-05-01761 | OUT PUT PCB |  | 5 |

EQUIPIT  :   APNEA MONITOR

MODEL   :

MANUFACTURER   : VICKERS

QUANTITY   : 100

SITE    : ALL GOVERNERATES

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01762 | SENCOR ( CHIMICAL CELL ) |  | 100 |

EQUIPIT  :  OXYGEN MONITER

MODEL   :  IMED 825

MANUFACTURER   : INEDSA

QUANTITY   : 50

SITE    : ALL GOVERNERATES

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01763 | SENCOR ( CHIMICAL CELL ) |  | 100 |

EQUIPIT  :  OXYGEN ANALIZER

MODEL   :  EO 100

MANUFACTURER   : AIR SHIELD

QUANTITY   : 50

SITE    : ALL GOVERNERATES

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01764 | SENCOR ( CHIMICAL CELL ) |  | 100 |

EQUIPIT  :  ULTRA SOUND

MODEL   :  SKI

MANUFACTURER   : DOUBLOGRAPH

QUANTITY   : 4

SITE    : ALL GOVERNERATES

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01765 | PROB 3.5 MHZ |  | 3 |

EQUIPIT  :  TRACTION

MODEL   :

MANUFACTURER   : TRE - EZE  MFG.CO.

QUANTITY   : 5

SITE    : ALL GOVERNERATES

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01766 | CONTROL PCB |  | 2 |

EQUIPIT  :  SHORT WAVE

MODEL   :  306

MANUFACTURER   : SIEMENCE

QUANTITY   : 15

SITE    : ALL GOVERNERATES

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01767 | OUT PUT POWER CABLE |  | 3 |
| 02-05-01768 | TRETMENT HEAD ( PADES) |  | 6 |

EQUIPIT  :  SHORT WAVE

MODEL   :  RECO

MANUFACTURER   : INTEMED

QUANTITY   : 15

SITE    : ALL GOVERNERATES

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01769 | OUT PUT CABLE & PADSE |  | 4 |
| 02-05-01770 | ELECTRONIC VALVE |  | 4 |

EQUIPIT  : ENDOSCOPE

MODEL   :

MANUFACTURER   :  KARL STOZ

QUANTITY   : 5

SITE    : ALL GOVERNERATES

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01771 | FIBER GLASS LIGHT CONDUCTOR |  | 2 |
| 02-05-01772 | LIQUID FILLED LIGHT CONDUCTOR |  | 2 |
| 02-05-01773 | ADAPTERS |  | 2 |

EQUIPIT  :  REFLOMATE

MODEL   :  REFLOMATE

MANUFACTURER   : BOCHRINGER

QUANTITY   : 50

SITE    : ALL GOVERNERATES

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01774 | TEST TUBE |  | 10 |
| 02-05-01775 | STICK |  | 1000 |

EQUIPIT  :  PROTHROMBIN TIMER

MODEL   :  SSR

MANUFACTURER   :

QUANTITY   : 50

SITE    : ALL GOVERNERATES

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01776 | THRMOBOPLASTIN |  | 10 |
| 02-05-01777 | VIAL - POWER |  | 50 |

EQUIPIT  :  MICROWAVE

MODEL   :  MICRORADAR

MANUFACTURER   : SIEMENS

QUANTITY   : 50

SITE    : ALL GOVERNERATES

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01778 | OUT PUT CABLE |  | 10 |

EQUIPIT  :  MICROWAVE

MODEL   :  KTM -250

MANUFACTURER   :

QUANTITY   : 50

SITE    : ALL GOVERNERATES

| CODE | DESCRIPTION | PART NO. | QTY |
| --- | --- | --- | --- |
| 02-05-01779 | OUT PUT CABLE |  | 10 |

COMPANY NAME: S&W  Medico Teknif A/S

Denmark

Hersted rang S.DK. 2620 A/berts lund

Telex: 3346 Eswe DK

Spare parts list for DC shook type S&W (DMS6001-21-3/4)

and central station type S&W 8500/scope 8511, and DS 521

| CODE. | DESCRIPTION | PART NO. | QTY. |
| --- | --- | --- | --- |
|  | DC shook type S&W 600/12 |  |  |
| 02-05-01780 | F. cell type 560.0002 for DMS 600/2.3.4 | 79910-6 | 50 |
| 02-05-01781 | Pen type st for Scr 600/2.3.4 | 83430-9 | 15 |
| 02-05-01782 | battery DMS 600/2/3/4 | 79405-7 | 50 |
| 02-05-01783 | Patient cable | 75320-2 | 50 |
| 02-05-01784 | Main transformer for CB600M | 83055-4 | 5 |
| 02-05-01785 | Recorder unit | 83429-1 | 5 |
|  | Central Station Type S&W 8500 |  |  |
| 02-05-01786 | MPU Board | 88860-7 | 3 |
| 02-05-01787 | RAM Board | 88861-5 | 3 |
| 02-05-01788 | Epron Board | 88862-3 | 3 |
| 02-05-01789 | Time / Date Board | 88863-1 | 3 |
| 02-05-01790 | Recorder Ampilfier | 88865-6 | 3 |
| 02-05-01791 | Recorder inter face board | 88864-9 | 3 |
| 02-05-01792 | Main transformer | 86049-4 | 3 |
| 02-05-01793 | Pen motor | 84259-1 | 3 |
| 02-05-01794 | Bed side inter facc board 180-1-0627 | 88884-7 | 5 |
|  | Central station scope 8511/2 |  |  |
| 02-05-01795 | Ampilifier board | 88877-1 | 2 |
| 02-05-01796 | Ampilifier H.V.board | 83881-3 | 2 |
|  | FLAME PHOTOMETER |  |  |
|  | CORNING EEL |  |  |
| 02-05-01797 | galvanometer |  | 200 |
| 02-05-01798 | Filter - NA |  | 100 |
| 02-05-01799 | Filter -k |  | 100 |
| 02-05-01800 | Atomizer compete |  | 200 |
| 02-05-01801 | Mixing chamber cover |  | 100 |
| 02-05-01802 | Mixing chamber compete |  | 50 |
| 02-05-01803 | Air compressor |  | 30 |
| 02-05-01804 | repairing kit for air compressor |  | 20 |
|  | Spare parts for DS 521 |  |  |
| 02-05-01805 | Patiert cable |  | 15 |

EQUIPMENT: X-RAY UNIT

SHIMADZO CORRORATION

3- karda- nishikicho    1- chome- chiyoda

Tokyo 101 , Japan

Kyoto office

Nishinokyo- Kuwanorcho

Nakagyo- Ku

Kyoto GOH, Japan

| CODE. | DESCRIPTION | PART NO. | QTY. |
| --- | --- | --- | --- |
|  | Spare parts for x- ray unit type ED 150L |  |  |
| 02-05-01806 | MP selector | 501-66167-01 | 5 |
| 02-05-01807 | EX- mode control- 10 | 501-637-74-01 | 5 |
| 02-05-01808 | MA- control -10 | 501-634-71 | 5 |
| 02-05-01809 | Sec- control -10 | 501-6332-17 | 5 |
| 02-05-01810 | MA. compensation un | 501-62932 | 5 |
|  | Spare parts for x- Ray-c-ARM-unit |  |  |
| 02-05-01811 | Generater with X-Ray tube type WHA- MO-125 |  | 5 |
|  | Spare parts for X-Ray type MD-100P |  |  |
| 02-05-01812 | Generater with X-Ray type D- 185 |  | 5 |
| 02-05-01813 | Condenser |  |  |
|  | Spare parts for x-ray type SM- 125 |  |  |
| 02-05-01814 | Condenser 3 uf 65kv complate | 500-0329-02 | 6 |
| 02-05-01815 | Hightenton jenerator assy |  | 2 |
| 02-05-01816 | Saftay moneter SFD |  | 2 |
|  | Spare parts for x-ray unite type HD-1508-30 |  |  |
| 02-05-01817 | X-Ray tube type h/2p |  | 1 |
| 02-05-01818 | High voltage transformer D 1500-H-7 | 501-600090 | 1 |
| 02-05-01819 | High voltage transformer B/F OB |  |  |
| 02-05-01820 | MA control 30-p2 | 501-71617 | 5 |

EQUIPMENT: hemodialysis  machine gambro- AK10

Adress : Gambro AB

p,o . Box 10101, S-220-10 lund

Telex 32144 lundeas , sweden

| CODE. | DESCRIPTION | PART NO. | QTY. |
| --- | --- | --- | --- |
| 02-05-01821 | Conduotirity cell DF/UDM | 101629 B | 5 |
| 02-05-01822 | Prom | MA3826103 | 5 |
| 02-05-01823 | Dip shunt | 100206004 | 10 |
| 02-05-01824 | Dira kit | K13505001 | 5 |
| 02-05-01825 | Power supply board DFM | K04538011 | 3 |
| 02-05-01826 | Magnet vatre DF/OD | K12291001 | 5 |
| 02-05-01827 | Control toglo board BMM | K12294003 | 8 |
| 02-05-01828 | Motor control board DF/Y | K05918B | 5 |
| 02-05-01829 | Blood leak detector DFM | K06163001 | 5 |
| 02-05-01830 | Pump unit comp | K04585D | 5 |
| 02-05-01831 | Trim adaptor | K06952002 | 2 |
| 02-05-01832 | Interfare cable | B06225 | 5 |
| 02-05-01833 | UDM valra | K05804A | 2 |

EQUIPMENT: The Wheel Chair Model 8AR20

Carter Company Ltd England

| CODE. | DESCRIPTION | QTY. |
| --- | --- | --- |
| 02-05-01834 | CW4/10 24x13/8 tyres | 200 |
| 02-05-01835 | CW4/1124x13/8 inner tubes | 200 |
| 02-05-01836 | Cw1/68x1 selid tyres weel | 200 |
| 02-05-01837 | CW5/16Bearing 24 wheel | 100 |
| 02-05-01838 | BU1/35 Bach rest upholstery 8AR20 green | 200 |
| 02-05-01839 | SU1/15J Seat upholstery 8AR20 green | 200 |
| 02-05-01840 | SW2/15 Castor steam bearwg | 50 |

EQUIPMENT: DENTAL UNIT

MODEL:  CHIRANA ERGOSTAR

Szechoslovakia- Chirana- Export

P-O- Box 221B, 921 75 Peestany

Spare Parts List For Dental Unit Type

Shipana Ergostar 905

| CODE. | DESCRIPTION | QTY. |
| --- | --- | --- |
| 02-05-01841 | Complete motor for turnin H.P. | 10 |
| 02-05-01842 | Angle handpiece for micro motor | 10 |
| 02-05-01843 | Upper gear for angle H.P. | 10 |
| 02-05-01844 | Pinton for angle H.P. | 10 |
| 02-05-01845 | Clip for angle H.P. | 10 |
| 02-05-01846 | Air button for syringe (green) | 20 |
| 02-05-01847 | Water buttom for syringe (blue) | 20 |
| 02-05-01848 | Ravo sculure (2.Hole) complete | 5 |
| 02-05-01849 | Main board complete | 1 |
|  | Spare parts for dental chair |  |
| 02-05-01850 | Norbine heinel piece complets | 10 |
| 02-05-01851 | Norbine heinel piece complets motar | 10 |
| 02-05-01852 | Micro motor angle hand piece | 5 |

EQUIPMENT: AUTOCLAVE

MODEL:VHE-46

COMPANY NAME: TAKZAWA

18488 :Hengo-2-ohome

Bvknkyo.KV,Tokyo ,Japan-

Cable addres Takizawaika-

telephone 711-9181

spare parts list for takizaea autoclave

| CODE. | DESCRIPTION | QTY. |
| --- | --- | --- |
| 02-05-01853 | Heating elemnt 8KW,3PH | 50 |
| 02-05-01854 | Thermostate for abov | 50 |
| 02-05-01855 | Transformer 220/100 | 20 |
| 02-05-01856 | Safty valve | 25 |
| 02-05-01857 | Steam trap | 25 |
| 02-05-01858 | Contactor 100V.40Amp | 5 |

EQUIPMENT :DENTAL UNIT

Mdchipa pharmaceutical Co.LTD

7Yotsuyal.Chome Shinjuku.Ku

Tokyo160 Japan

Spare parts list for dantol unit type pelmont compo 350

| CODE | DESCRIPTION | QTY. |
| --- | --- | --- |
| 02-05-01859 | Pana air turbine hand piece 4 holes | 10 |
| 02-05-01860 | pana air turbine hand piece 2 holes | 10 |
| 02-05-01861 | Complete cartridge for turbine H.P | 10 |
| 02-05-01862 | Metal chuck for cartrd | 10 |
| 02-05-01863 | Air motor complete | 5 |
| 02-05-01864 | Angle hand piece complete | 10 |
| 02-05-01865 | Caridge for angle H.P | 10 |
| 02-05-01866 | Triple cor complete | 5 |
| 02-05-01867 | Triple syring for triple syiple syring | 20 |
| 02-05-01868 | Micro pilot valve M.P.V.(N.C) | 10 |
| 02-05-01869 | Micro pilot valve M.P.V.(N.O) | 10 |
| 02-05-01870 | Complete adaptor for turbine H.P (4 holes) | 4 |
|  | Spare parts for dental chair for above |  |
| 02-05-01871 | Solenoid valve coil 220 V | 5 |
| 02-05-01872 | UP. Down switch (black button) | 10 |

EQUIPMENT: ECG

NIhon Kohden

3-4 Nishiochiai 1- Chome

Shinjuku - Ku

Tokyo 161 Japan

| CODE. | DESCRIPTION | PART NO. | QTY. |
| --- | --- | --- | --- |
| 02-05-01873 | Patient cable BJ- 610E | 2833-000119 | 50 |

EQUIPEMENT: OPERATING LIGHT

.Takizawa Medical Instrument LTD

Chome , Eunkyo - Ku, Tokyo, Japan

Spare Parts List For Operation Light Type Takizawa

Spare Parts List For Operation Light Type Takizawa

| CODE. | DESCRIPTION | QTY. |
| --- | --- | --- |
| 02-05-01874 | Bulb 24V, 50 W | 100 |
| 02-05-01875 | Light intensity centrol with nobe part no. NB335093 | 10 |

EQUIPMENT: OPRATING LIGHT

Warmax

Fezedsibliorstwo penatwe

Warszawa Wiloza 50152

P.O. Box 263, 272

Telex 814311

Poland

Spare parts List For Operation Light Type Warmax

| CODE. | DESCRIPTION | QTY. |
| --- | --- | --- |
| 02-05-01876 | Miror Bulb 24 V, 40W | 100 |
| 02-05-01877 | Miror Bulb 24V, 35W | 100 |

EQUIPMENT:OPRATING LIGHT

DD    Dalalchi Shomet Co.LTD

Tokyo - Japan

| CODE. | DESCRIPTION | QTY. |
| --- | --- | --- |
| 02-05-01878 | Halogen Bulb 24V. 50W Type H24501 | 200 |

| CODE. | DESCRIPTION | QTY. |
| --- | --- | --- |
| 02-05-01879 | Bulb 24V- 150W | 100 |

| CODE. | DESCRIPTION | QTY. |
| --- | --- | --- |
| 02-05-01880 | Hirrored Bulb 24V,50watt | 100 |
| 02-05-01881 | Mirrored Bulb 24V, 30watt | 100 |

| CODE. | DESCRIPTION | QTY. |
| --- | --- | --- |
| 02-05-01882 | Halogen Type DKK 24V, 50 Watt | 500 |

EQUIPMENT :WHEEL CHAIR

Yamamoto Anil Co. LTD.

P.o. Box No. 600 Part

Kote , 651- 01

Japan

Spare Parts List For RG-16 Deluxe Wheel

Chain Pneumatic Caster Type

| CODE. | DESCRIPTION | QTY. |
| --- | --- | --- |
| 02-05-01883 | Wheel 24”, Pneumutic | 200 |
| 02-05-01884 | Rubber for above | 200 |
| 02-05-01885 | Caster Complete 6” Solid | 100 |
| 02-05-01886 | Caster steam bearing | 100 |
| 02-05-01887 | Baek rest | 200 |
| 02-05-01888 | Seat | 200 |
|  | DESCRIPTION | QTY. |
| 02-05-01889 | Vidiocon (Camara Tube) for Shimadzu angiogaphy | 2 |
| 02-05-01890 | Heater bath for Kodak automatic processor model M8 | 2 |

EQUIPMENT: X-RAY

The following spare parts for shimadzu machines X- ray

High Tension type HD 150 B 10.2

| CODE. | DESCRIPTION | QTY. |
| --- | --- | --- |
| 02-05-01891 | Circlex 0.3/0.8 P38 C- 42 | 4 |
| 02-05-01892 | Circlex 1/2 P3c C-40 | 4 |
| 02-05-01893 | Circlex 0-6/1/2 P38 C-40 | 4 |
| 02-05-01894 | Circlex 0-8 P83 C-40 | 4 |
| 02-05-01895 | Circlex 0-5/1 P33 C-40 | 4 |
| 02-05-01896 | Power Boards Eschmann Electro- Surgical | 20 |
| 02-05-01897 | Diathermy unit type TD | 11 |
| 02-05-01898 | Halogen lamps for operating microsope zeiss OPM 1 163707 | 15 |
| 02-05-01899 | Spare Parts For Sterilzer Sakura HVA -M12: Motor valve MB-10 1/2 | 2 |
| 02-05-01900 | Motor valve MB -10 3/4 | 2 |
| 02-05-01901 | Motor valve HMY -32H 3/8 | 2 |
| 02-05-01902 | Solenoid valve for steam | 4 |
| 02-05-01903 | Solenoid valve for water | 4 |
| 02-05-01904 | Safety valve FB-4 3/4 | 4 |
| 02-05-01905 | Pressure reducing -valve RD-3 1/2 | 4 |
| 02-05-01906 | Timer Nsy 6M | 2 |
| 02-05-01907 | Check valve T-125 3/4 | 4 |
| 02-05-01908 | Check valve J islok | 9 |
| 02-05-01909 | Check valve J125 1/2 | 4 |
| 02-05-01910 | pressure switch FPS-C103 | 4 |
| 02-05-01911 | Thermo - sensor Rs-12 - MCD 10300- IEA- 2000 | 4 |
| 02-05-01912 | Thermo - sensor Rx-P 100- 305 -B-0069-1 | 4 |
| 02-05-01913 | Sprocket for motor | 4 |
| 02-05-01914 | Sprocket for door | 4 |
| 02-05-01915 | Thermo regulator | 4 |
| 02-05-01916 | Solenoid valve for seal | 9 |
| 02-05-01917 | Motor for chair & transformer for dental equipment type yoshida TE-31 | 4 |

Solutions and S.P for technicon Laboratory Units.

| 02-05-01918 | Bunacid | 4 x 900 ml | 100 |
| --- | --- | --- | --- |
| 02-05-01919 | Bun Color reagent | 2 x 4 L | 100 |
| 02-05-01920 | Glu-Cient | 1 x 6 L | 100 |
| 02-05-01921 | BRIJ 35% | 1 L | 25 |
| 02-05-01922 | Servo Emplifier | each | 7 |
| 02-05-01923 | Pump tube (GRN-GRN) | 1 x 12 | 40 |
| 02-05-01924 | Pump Tube (ORN-YeL) | 1 x 12 | 20 |
| 02-05-01925 | Pump Tube (ORN-GRN | 1 x 12 | 20 |
| 02-05-01926 | Pump Tube (wht-Wht | 1 x 12 | 20 |
| 02-05-01927 | Pump Tube (Red-Red) | 1 x 12 | 20 |
| 02-05-01928 | Pump Tube (BLK-BLK) | 1 x 12 | 30 |
| 02-05-01929 | Pump Tube (ORN-ORN) | 1 x 12 | 20 |
| 02-05-01930 | Chart paper | each | 200 |
| 02-05-01931 | Membrane | 1 x 12 | 200 |
| 02-05-01932 | Blue tubing | M | 200 |
| 02-05-01933 | Red Tubing | M | 200 |
| 02-05-01934 | Black tubing | M | 500 |
| 02-05-01935 | Heating bath 37C | each | 5 |
| 02-05-01936 | Heating bath 90C | each | 5 |
| 02-05-01937 | Drive belt | each | 20 |
| 02-05-01938 | Standard solution for urea & sugar |  | for one year |

|  | SPARE PARTS FOR DENTAL UNITS FROM W&H/ AUSTRIA |  |
| --- | --- | --- |
| 02-05-01939 | Screen | 200 |
| 02-05-01940 | Cuspidor | 20 |
| 02-05-01941 | Gasjet ( ceramic cuspidor) | 100 |
| 02-05-01942 | Cuspidor adaptor | 30 |
| 02-05-01943 | Switch 8121 J81 | 10 |
| 02-05-01944 | Filter handle | 30 |
| 02-05-01945 | Outlet nipple | 50 |
| 02-05-01946 | Nipple of suction hose, small | 50 |
| 02-05-01947 | Water collector | 50 |
| 02-05-01948 | Timer PCB 1128-2 | 20 |
| 02-05-01949 | Chuck of the microvac | 30 |
| 02-05-01950 | Cup | 30 |
| 02-05-01951 | Filter controller air | 30 |
| 02-05-01952 | Air filter | 2000 |
| 02-05-01953 | Cup for filter cont | 600 |
| 02-05-01954 | Filter controller water | 30 |
| 02-05-01955 | Magn valve burgert 211/A | 100 |
| 02-05-01956 | Fuse base | 200 |
| 02-05-01957 | Main switch | 50 |
| 02-05-01958 | Transfor | 10 |
| 02-05-01959 | Spring | 100 |
| 02-05-01960 | Micro coupling omron 5-GL | 50 |
| 02-05-01961 | Grip of the foot control | 50 |
| 02-05-01962 | Autochip PCB 860115 | 40 |
| 02-05-01963 | Axle | 50 |
| 02-05-01964 | Adapter shank ral 9002 | 50 |
| 02-05-01965 | Slide plate | 50 |
| 02-05-01966 | Washer DIN 2993 B DIA8.2/16x0.6 | 50 |
| 02-05-01967 | NUT DIN 937 M8 | 50 |
| 02-05-01968 | Instrument sensor PCB 106-10-08A | 50 |
| 02-05-01969 | Spring | 20 |
| 02-05-01970 | Stop cover | 50 |
| 02-05-01971 | Support, Black | 20 |
| 02-05-01972 | Console PCB PN 1118 | 50 |
| 02-05-01973 | Magn vale M-300-C-01 | 10 |
| 02-05-01974 | Lid | 10 |
| 02-05-01975 | Closing membrane | 20 |
| 02-05-01976 | Upper chamber | 10 |
| 02-05-01977 | Cone | 10 |
| 02-05-01978 | Emergency switch | 10 |
| 02-05-01979 | Gasget | 40 |
| 02-05-01980 | Axle | 10 |
| 02-05-01981 | Nut | 20 |
| 02-05-01982 | Middle bottom | 10 |
| 02-05-01983 | Lower chamber | 10 |
| 02-05-01984 | Draining membrane | 20 |
| 02-05-01985 | Bottom valve | 20 |
| 02-05-01986 | Binding clasp | 100 |
| 02-05-01987 | Rubber knob | 20 |
| 02-05-01988 | Rubber spring | 1000 |
| 02-05-01989 | Lower piece | 50 |
| 02-05-01990 | Return dowel | 50 |
| 02-05-01991 | Return spsring | 50 |
| 02-05-01992 | Inlet Cap | 50 |
| 02-05-01993 | Pushing knob for micro | 100 |
| 02-05-01994 | Hose coupling | 50 |
| 02-05-01995 | Magn valve burgert M300 C-10.6 | 50 |
| 02-05-01996 | Micro switch omron SS-5 GL | 50 |
| 02-05-01997 | Quick connection elite | 50 |
| 02-05-01998 | Adjusting knob 0711 M 8x30 | 50 |
| 02-05-01999 | Finger screw M 5x25 | 200 |
| 02-05-02000 | Module PCB 1122 | 50 |
| 02-05-02001 | Instrument holder | 50 |
| 02-05-02002 | Adjusting piece for inst. holder | 50 |
| 02-05-02003 | Attaching piece for inst. holder | 50 |
| 02-05-02004 | Turbing tube 4 hole miltix | 200 |
| 02-05-02005 | Tube piezoma, black | 10 |
| 02-05-02006 | Power piezomatic | 20 |
| 02-05-02007 | Power potantiometer | 20 |
| 02-05-02008 | Handpiece piezomatic | 20 |
| 02-05-02009 | Piezomatic TIP no.1 | 40 |
| 02-05-02010 | Piezomatic TIP no.2 | 40 |
| 02-05-02011 | Piezomatic TIP .no.3 | 40 |
| 02-05-02012 | Syringe 3 way pen straight | 50 |
| 02-05-02013 | Gas spring 90 nly the endo | 200 |
| 02-05-02014 | Closing membrane | 10 |
| 02-05-02015 | Plug | 20 |
| 02-05-02016 | Barromg F:PAT | 20 |
| 02-05-02017 | Gasket | 20 |
| 02-05-02018 | Bottom membrance | 50 |
| 02-05-02019 | Binding clasp | 20 |
| 02-05-02020 | Halogen lamp | 500 |
| 02-05-02021 | SPARE PARTS FOR W&H INSTRUMENTS Spare rotor cap. | 200 |
| 02-05-02022 | Push botton cpt. |  |
| 02-05-02023 | Red gear cap. | 60 |
| 02-05-02024 | E- Motor/Hand piece with cable fitting to ELCO-S-E | 30 |
| 02-05-02025 | Ball bearing | 100 |
| 02-05-02026 | Chuck | 100 |
| 02-05-02027 | Threaded axle cple | 50 |
| 02-05-02028 | Ball bearing | 400 |
| 02-05-02029 | Claw sleave CPL. Green | 100 |
| 02-05-02030 | Rotor blace | 100 |
| 02-05-02031 | 26900 W&H service oil | 30 |
| 02-05-02032 | Spray cap for roto quick system | 60 |
| 02-05-02033 | 20361 Spray cap with nozzle only | 100 |
| 02-05-02034 | 20529 Spray cap for turbines series 300 | 100 |
| 02-05-02035 | 301 Assistina plus clening and LUB. UNIT CPT | 10 |
| 02-05-02036 | 26805 Package of each on bottle oil& cleaning LIQ. | 100 |
| 02-05-02037 | 20382 Spray cap for handpices & contra angles | 100 |
| 02-05-02038 | Cluch sheeth | 150 |
| 02-05-02039 | Coupling seal | 100 |
| 02-05-02040 | Rotor without ball bearing | 100 |
| 02-05-02041 | W&H turbing handpiece 190RM 4 Hole | 300 |
| 02-05-02042 | W&H contra angle handpiece 158 | 100 |
| 02-05-02043 | W&H havy duty lap. handpiece | 500 |
| 02-05-02044 | SPARE PART FOR ELCO MODEL 5018 |  |
| 02-05-02045 | Rotor cpl. with magnet | 10 |
| 02-05-02046 | Contact spring | 5 |
| 02-05-02047 | Ball bearing | 25 |
| 02-05-02048 | Spring washer | 10 |
| 02-05-02049 | Spare disc | 10 |
| 02-05-02050 | Sheeth | 10 |
| 02-05-02051 | Dog | 15 |
| 02-05-02052 | Spring band cpl. | 10 |
| 02-05-02053 | Threaded ring | 5 |
| 02-05-02054 | Shield | 10 |
| 02-05-02055 | Carbon brush | 50 |
| 02-05-02056 | Nazzle apl. | 3 |
| 02-05-02057 | Loupler plua | 3 |
| 02-05-02058 | Motor sheath | 5 |
| 02-05-02059 | Nazzle apl. | 15 |
| 02-05-02060 | U- ring por 11.555 | 15 |
| 02-05-02061 | Chuck 02,35 mm | 15 |
| 02-05-02062 | Safety ring | 5 |
| 02-05-02063 | Ball bearing | 25 |
| 02-05-02064 | Seal pack cpl. | 10 |
| 02-05-02065 | Sheath cpl. | 8 |
| 02-05-02066 | Stop sheath | 10 |
| 02-05-02067 | Nut for 11.563 | 10 |
| 02-05-02068 | D- Ring | 5 |
| 02-05-02069 | Bearing sheath | 5 |
| 02-05-02070 | Screw for sheath | 50 |
| 02-05-02071 | Theaded log | 10 |
| 02-05-02072 | Spring washer | 10 |
| 02-05-02073 | Back pressure spring | 10 |
| 02-05-02074 | Slide ring | 3 |
| 02-05-02075 | Shim | 5 |
| 02-05-02076 | Shaft cpl. | 10 |
| 02-05-02077 | Shaft | 5 |
| 02-05-02078 | Spring ring | 10 |
| 02-05-02079 | Spring pressure ring | 3 |
| 02-05-02080 | Spring | 5 |
| 02-05-02081 | Sheath | 5 |
| 02-05-02082 | Pin for 11.577 | 50 |
| 02-05-02083 | Flexible shaft cpl. | 10 |
| 02-05-02084 | Pin for dog | 50 |
| 02-05-02085 | Dog | 25 |
| 02-05-02086 | Cleaning brush | 5 |
| 02-05-02087 | Small bottle oil , 50 gr | 10 |
| 02-05-02088 | Spnner | 5 |
| 02-05-02089 | Handpiece stand | 3 |
| 02-05-02090 | Chuck spanner for 2,35mm | 5 |
| 02-05-02091 | SPARE PART FOR DENTAL LAP. HP. CAT.NO.150 6670 Sheath | 25 |
| 02-05-02092 | 6671 Nozzle | 25 |
| 02-05-02093 | 6672 Pulley protection | 25 |
| 02-05-02094 | 6673 Frame part | 50 |
| 02-05-02095 | 6674 Shaft | 25 |
| 02-05-02096 | 6675 Ball bearing | 50 |
| 02-05-02097 | 6680 Ball bearing | 50 |
| 02-05-02098 | 6685 Seeger sirclip ring | 25 |
| 02-05-02099 | 6687 Adjsting nut | 50 |
| 02-05-02100 | 6688 Safety ring | 25 |
| 02-05-02101 | 6689 Knurled ring | 50 |
| 02-05-02102 | 6690 Threaded axle cpl. | 50 |
| 02-05-02103 | 6691 Thrust bearing | 50 |
| 02-05-02104 | 6692 Grip ring | 50 |
| 02-05-02105 | 6693 Threaded pin | 50 |
| 02-05-02106 | 6683 Chuck 2,35mm | 100 |
| 02-05-02107 | 6682 Chuck 2,35 mm | 100 |
| 02-05-02108 | DENT PLANT COMPLETE SET - Instrument set 5.1 Instruments for implant body placement 5.2 Instruments for implant and for superstructures 5.3 Supplementary instruments | 2 |
| 02-05-02109 | Screw rool form implants (Assorted) 2.1 Implant to be implanted by one- stage operation 2.1.1.02,35mm Threaded red- form (or needle) implante 2.1.2.03mm Screw root form implants 2.1.3.04mm Screw root form implants for one - stage operation 2.1.4.04,5mm Screw root form implants for one- stage operation | 200 |
| 02-05-02110 | Necks, abutments, and laboratory accessories(Assorted) 4.1 Necks (or permucosal extensions) 4.2 Abutments (or heads) 4.3 Laboratory accessories | 200 |
| 02-05-02111 | Elcomped operating- unit cpl. | 2 |
| 02-05-02112 | Special motor with mounted connection cable | 2 |
| 02-05-02113 | Set of W+H hand pieces for implantology, consisting of 12 pcs | 2 |
| 02-05-02114 | Micromotor W+H (for elco s model 8018E) | 50 |
| 02-05-02115 | Air motor W+H 20 Rm | 100 |
| 02-05-02116 | Coupling 4h- W+H(Adapter) | 100 |
| 02-05-02117 | Flexible cable for kavo motors | 50 |
| 02-05-02118 | SPARE PARTS FOR KAVE DENTAL UNIT MONDIAL 1032 S 201 8081 | 15 |
| 02-05-02119 | 573 3972 | 5 |
| 02-05-02120 | 200 0241 | 25 |
| 02-05-02121 | 573 3962 | 5 |
| 02-05-02122 | 201 8067 | 15 |
| 02-05-02123 | 573 2341 | 5 |
| 02-05-02124 | 210 1201 | 5 |
| 02-05-02125 | 200 6125 | 25 |
| 02-05-02126 | 210 1262 | 10 |
| 02-05-02127 | 210 7035 | 25 |
| 02-05-02128 | 210 2402 | 10 |
| 02-05-02129 | 200 6026 | 25 |
| 02-05-02130 | 201 8065 | 15 |
| 02-05-02131 | 200 0457 | 25 |
| 02-05-02132 | 200 6135 | 20 |
| 02-05-02133 | 201 8117 | 10 |
| 02-05-02134 | 200 6316 | 10 |
| 02-05-02135 | 220 7917 | 10 |
| 02-05-02136 | 200 6133 | 25 |
| 02-05-02137 | 200 6124 | 25 |
| 02-05-02138 | 210 2582 | 25 |
| 02-05-02139 | 200 6510 | 25 |
| 02-05-02140 | 245 5023 | 5 |
| 02-05-02141 | 200 6226 | 25 |
| 02-05-02142 | 734 0792 | 10 |
| 02-05-02143 | 258 6010 | 10 |
| 02-05-02144 | 220 1459 | 3 |
| 02-05-02145 | 201 7020 | 20 |
| 02-05-02146 | 201 8030 | 15 |
| 02-05-02147 | 734 0881 | 3 |
| 02-05-02148 | 210 3262 | 25 |
| 02-05-02149 | 202 6031 | 5 |
| 02-05-02150 | 764 7402 | 5 |
| 02-05-02151 | 764 7302 | 5 |
| 02-05-02152 | 764 7412 | 3 |
| 02-05-02153 | 764 7652 | 3 |
| 02-05-02154 | 200 6135 | 45 |
| 02-05-02155 | 200 0457 | 15 |
| 02-05-02156 | 201 8117 | 10 |
| 02-05-02157 | 200 0458 | 15 |
| 02-05-02158 | 200 6316 | 15 |
| 02-05-02159 | 764 6311 | 10 |
| 02-05-02160 | 764 0703 | 10 |
| 02-05-02161 | 764 6331 | 5 |
| 02-05-02162 | 220 0816 | 10 |
| 02-05-02163 | 200 6315 | 15 |
| 02-05-02164 | 210 2892 | 10 |
| 02-05-02165 | 200 6404 | 15 |
| 02-05-02166 | 210 3782 | 10 |
| 02-05-02167 | 764 3982 | 10 |
| 02-05-02168 | 226 9119 | 10 |
| 02-05-02169 | 200 6012 | 15 |
| 02-05-02170 | 516 3382 | 25 |
| 02-05-02171 | 211 7181 | 10 |
| 02-05-02172 | 573 2301 | 10 |
| 02-05-02173 | 200 6110 | 50 |
| 02-05-02174 | 516 7680 | 15 |
| 02-05-02175 | 728 7680 | 10 |
| 02-05-02176 | 728 2512 | 10 |
| 02-05-02177 | 728 2481 | 10 |
| 02-05-02178 | 728 2452 | 5 |
| 02-05-02179 | 728 2422 | 10 |
| 02-05-02180 | 516 5240 | 20 |
| 02-05-02181 | 728 2452 | 10 |
| 02-05-02182 | 742 1001 | 10 |
| 02-05-02183 | 223 2107 | 10 |
| 02-05-02184 | 705 5287 | 5 |
| 02-05-02185 | 201 8051 | 5 |
| 02-05-02186 | 200 3113 | 5 |
| 02-05-02187 | SPARE PARTS FOR DENTAL UNIT DYNAMICA 900 2041 | 5 |
| 02-05-02188 | 900 2017 | 3 |
| 02-05-02189 | 900 2073 | 3 |
| 02-05-02190 | 900 2089 | 4 |
| 02-05-02191 | 900 2052 | 3 |
| 02-05-02192 | 900 2029 | 20 |
| 02-05-02193 | 900 2030 | 32 |
| 02-05-02194 | 705 5582 | 2 |
| 02-05-02195 | 764 2791 | 2 |
| 02-05-02196 | 764 2781 | 2 |
| 02-05-02197 | 210 2532 | 15 |
| 02-05-02198 | 705 5592 | 1 |
| 02-05-02199 | 763 4441 | 5 |
| 02-05-02200 | 200 6603 | 16 |
| 02-05-02201 | 214 7181 | 5 |
| 02-05-02202 | 200 6024 | 40 |
| 02-05-02203 | 535 1742 | 20 |
| 02-05-02204 | 201 0021 | 50 |
| 02-05-02205 | 750 0551 | 10 |
| 02-05-02206 | 715 5761 | 30 |
| 02-05-02207 | 516 7200 | 5 |
| 02-05-02208 | 715 5631 | 10 |
| 02-05-02209 | 705 1851 | 20 |
| 02-05-02210 | 701 7282 | 40 |
| 02-05-02211 | 900 2030 | 100 |
| 02-05-02212 | 715 1472 | 3 |
| 02-05-02213 | 715 1471 | 4 |
| 02-05-02214 | 641 1020 | 4 |
| 02-05-02215 | 705 2991 | 4 |
| 02-05-02216 | 201 0307 | 6 |
| 02-05-02217 | 724 1392 | 21 |
| 02-05-02218 | 705 5912 | 2 |
| 02-05-02219 | 705 3011 | 3 |
| 02-05-02220 | 228 3016 | 4 |
| 02-05-02221 | 223 2174 | 16 |
| 02-05-02222 | 734 0341 | 5 |
| 02-05-02223 | 734 0792 | 3 |
| 02-05-02224 | 734 0351 | 10 |
| 02-05-02225 | 734 0571 | 6 |
| 02-05-02226 | 210 1291 | 8 |
| 02-05-02227 | 200 0536 | 8 |
| 02-05-02228 | 201 8045 | 10 |
| 02-05-02229 | 200 6221 | 6 |
| 02-05-02230 | 210 1301 | 120 |
| 02-05-02231 | 200 6125 | 16 |
| 02-05-02232 | 201 8039 | 3 |
| 02-05-02233 | 200 0531 | 22 |
| 02-05-02234 | 200 6510 | 3 |
| 02-05-02235 | 231 1415 | 8 |
| 02-05-02236 | 201 8059 | 8 |
| 02-05-02237 | 210 1271 | 8 |
| 02-05-02238 | 231 1413 | 8 |
| 02-05-02239 | 210 1261 | 8 |
| 02-05-02240 | 210 1431 | 10 |
| 02-05-02241 | 200 2406 | 50 |
| 02-05-02242 | 210 0530 | 5 |
| 02-05-02243 | 705 3711 | 16 |
| 02-05-02244 | 210 7060 | 8 |
| 02-05-02245 | 215 5161 | 18 |
| 02-05-02246 | 210 3100 | 8 |
| 02-05-02247 | 210 0420 | 16 |
| 02-05-02248 | 765 0150 | 16 |
| 02-05-02249 | 210 0160 | 50 |
| 02-05-02250 | 236 2271 | 4 |
| 02-05-02251 | 210 8180 | 8 |
| 02-05-02252 | 261 4024 | 3 |
| 02-05-02253 | 516 6710 | 16 |
| 02-05-02254 | 705 3451 | 8 |
| 02-05-02255 | 223 2174 | 4 |
| 02-05-02256 | 705 3341 | 8 |
| 02-05-02257 | 705 3441 | 8 |
| 02-05-02258 | 516 7720 | 16 |
| 02-05-02259 | 200 6016 | 20 |
| 02-05-02260 | 200 6004 | 20 |
| 02-05-02261 | 200 6110 | 50 |
| 02-05-02262 | 2232 2174 | 4 |
| 02-05-02263 | 705 3031 | 4 |
| 02-05-02264 | 573 2301 | 10 |
| 02-05-02265 | 200 6110 | 32 |
| 02-05-02266 | 516 7610 | 16 |
| 02-05-02267 | 200 6007 | 30 |
| 02-05-02268 | 201 8081 | 20 |
| 02-05-02269 | 200 0241 | 20 |
| 02-05-02270 | 200 6220 | 41 |
| 02-05-02271 | 573 2432 | 41 |
|  | SPARE PARTS FOR THIRATRON CT 780 RELATED TO COBALT UNIT Collimator assembly |  |
| 02-05-02272 | Collimater X- Y Readout scaler | 1 |
| 02-05-02273 | Collimater bolt | 2 |
| 02-05-02274 | Digital panelmater for (X-Y),(AN 2030-3 diget including 7 sigment I-C. for readout | 2 |
| 02-05-02275 | Collimater cable | 1 |
| 02-05-02276 | Mechanieal lock | 1 |
| 02-05-02277 | Flectrical micreswitch( lever) | 2 |
|  | Light field size asseubly |  |
| 02-05-02278 | Light fiela assembly | 2 |
| 02-05-02279 | Quarte- halegen bulb(ATD 2400- 006) | 6 |
|  | Optical distarce indicater |  |
| 02-05-02280 | Bulb C.B.1130,6.4V,2.63A(3L00977) | 12 |
|  | Console assembly |  |
| 02-05-02281 | Iamp 28V- 327( console, bean on ,bean off and rest) (3L01005) | 6 |
| 02-05-02282 | Pliot light electro.SW. MOD . 2M3- H22-G47-24. RD(3I023203) | 2 |
| 02-05-02283 | Pilot light- electro SW.MOD. 2M3- H22-G4H-(GN) (3L023309) | 2 |
| 02-05-02284 | Key SW. electro- SW.MOD 2f 3KC-G109 | 2 |
| 02-05-02285 | Push button SW. electro 2B4- H22-G 14-4 (XL) | 2 |
| 02-05-02286 | Push button SW. elctro. MOD 2C33-H22-G13 | 2 |
| 02-05-02287 | Therupy timar L.F 4L0721 (55 MINT.6 HZ) (3T037903) | 1 |
| 02-05-02288 | Master - slef sor’s for head swivel , table rotation | 12 |
|  | Couch 23 assembly |  |
| 02-05-02289 | Chain for iatural - transvers motions | 1 |
| 02-05-02290 | Shift for vertical motion | 2 |
| 02-05-02291 | Couch level and aligment of table neot to repar | 6 |
| 02-05-02292 | Livel micro switch , MT-4R-V2-A2 | 1 |
|  | T.V. canars |  |

Service supplies for ware houses

| Code | Description | QTY |
| --- | --- | --- |
| 02-05-02293 | Fork lift (5ton) | 5 |
| 02-05-02294 | Fork lift (2 ton) with spare parts including tyre and battry for two years | 7 |
| 02-05-02295 | Manual hydrolic jack | 20 |
| 02-05-02296 | Fork lift type (yell) | 10 |
| 02-05-02297 | Fork lift ( 3 ton ) type (lansenk ) | 8 |
| 02-05-02298 | Hydrolic jack (1 ton ) | 15 |
| 02-05-02299 | Cold stor cars | 42 |
| 02-05-02300 | Chiller | 20 |
| 02-05-02301 | Manual mechanical jack(0.25 ton) with spare parts for two years | 2 |
| 02-05-02302 | Cold stor car for mussels and vassins with spare parts including tyre ,battry and cooling gas for two years | 2 |
| 02-05-02303 | Vehicle pick-up doubl cabinet (patrol) (one for each governrate + 7 for the three northern governorates) | 22 |
| 02-05-02304 | Land cruiser 4 wheel driver ( tow for each governrate) | 36 |

Spare parts for lansing fork lift- Trucks- Typefaer 5.1

| Code | Description | QTY |
| --- | --- | --- |
|  | Control unit -L- Head |  |
| 02-05-02305 | Bord - printed ciercut | 5 |
| 02-05-02306 | Bord - printed ciercut | 5 |
|  | Drive wheel and tyre assemply |  |
| 02-05-02307 | wheel drive | 24 |
| 02-05-02308 | Tyre cushion | 24 |
|  | Battery box lid assemply |  |
| 02-05-02309 | Battery 540 A 48 V | 24 |
| 02-05-02310 | Wheel and tyr assemply comprising | 48 |
| 02-05-02311 | Telescopic forks motor and gear box- Turret head motor gear box assemply | 10 |
|  | Reach & Rotate- motor assemply |  |
| 02-05-02312 | Motor assemply | 10 |
| 02-05-02313 | Armature traction motor | 5 |
| 02-05-02314 | Armature rotate - motor assemply | 15 |
| 02-05-02315 | Safety control unit | 10 |
|  | Safety contactor 48V change over |  |
| 02-05-02316 | Contactor assemply comprising | 5 |
|  | Control unit telescopic forks |  |
| 02-05-02317 | Control unit comprising | 10 |
| 02-05-02318 | Micro switch | 100 |
| 02-05-02319 | Micro switch | 50 |

List of spare parts for Thiratron (T780) related to cobalt unit

| Code | Description | QTY |
| --- | --- | --- |
|  | A- Collimator assembly |  |
| 02-05-02320 | Collimator X-Y headout scaler PCB | 1 |
| 02-05-02321 | Collimator belt | 2 |
| 02-05-02322 | Digital panelimater for (X-Y),(AN 2030-3diget) including 7 sigment I-C for read out | 2 |
| 02-05-02323 | Collimator cable | 1 |
| 02-05-02324 | Mechanieal lock | 1 |
| 02-05-02325 | Electrical microswitch (lever) | 2 |
|  | B- Light field size assembly:- |  |
| 02-05-02326 | light field assembly | 2 |
| 02-05-02327 | Quartz-Halogen bulb (AID 2400-006) | 6 |
| 02-05-02328 | C- Optical distance indicater bulbC.E 1130,6.4V,2.63A(3L00977) | 12 |
|  | D- Console assembly : |  |
| 02-05-02329 | Lamp28V -327(Console ,Bean on ,beam off and rest) (3L01005) | 6 |
| 02-05-02330 | Pilot light electro SW.MOD.2M3-H22-G47-24.RD(3L023203) | 2 |
| 02-05-02331 | Pilot light electro SW.MOD.2M3-H22-G4H-(GN).(3L023309) | 2 |
| 02-05-02332 | Key S.W electro -SW.MOD 2F 3KC-H22-G104 | 2 |
| 02-05-02333 | Push button SW. electro2B 4-H22-G 14-4(YL) | 2 |
| 02-05-02334 | Push button SW. electro.MOD 2033-H22-G13 | 2 |
| 02-05-02335 | Therapy timer L.F 4L0721(55MINT.6HZ)(3T037903) | 1 |
| 02-05-02336 | E- Master-Slef SORS for head swivel ,table rotation | 12 |
|  | F- Couch 23 assembly: |  |
| 02-05-02337 | Chain for latoral -transvers motions | 1 |
| 02-05-02338 | Shift for vertical motion | 2 |
| 02-05-02339 | Couch level and aligment of table neot to repar |  |
| 02-05-02340 | Liver microswitch ,MT-4R-V2-A2 | 6 |
|  | G- T.V.camara | 1 |

Below are the spare parts concerning printing machines (GTO) and letter press machines (Hiedlberg) which were approved in the memorandum of agreement.

| Code | Descreption | Qty. |
| --- | --- | --- |
| 02-05-02341 | A. Required Equipments Paper size 100x70cm packet contains 500 paper. | 10000 Pack |
| 02-05-02342 | Metal photo plate size 50x100cm. | 20 packet. |
| 02-05-02343 | Blanket 50x 100cm . | 100 piece. |
| 02-05-02344 | Black ink one kilogram | 200 packet. |
| 02-05-02345 | B. Spare Parts Ink roller (Hiedlberg) with tow | 1 Set |
| 02-05-02346 | Water roller (GTO) 52 cm. | 2 Set |
| 02-05-02347 | Piece of plate (GTO) 52 cm. | 12 |
| 02-05-02348 | Piece of blanket (GTO) 52cm. | 12 |
| 02-05-02349 | Blanket (GTO) | 12 |
| 02-05-02350 | English Letter press counter | 40 |
| 02-05-02351 | Arabic Letter press counter | 40 |
| 02-05-02352 | Horizental Offset counter (GTO) | 40 |
| 02-05-02353 | Vartical Offset counter. (GTO) | 40 |
| 02-05-02354 | Whole ink machine offset 52cm. (GTO). | 3 |
| 02-05-02355 | Pool for washing the machines | 3 |
| 02-05-02356 | Jacket sylender (GTO) 52x41 cm. | 13 |
| 02-05-02357 | Different sizes plates | 6 packets. |
| 02-05-02358 | Black ink and different colour ink | 1000 packet. |
| 02-05-02359 | Cloh for water rollers size 9 cm. | 100 m. |
| 02-05-02360 | Cloth for water rollers size 7 cm. | 100 m |
| 02-05-02361 | Rings of counter base (GTO) with cams | 10 sets. |
| 02-05-02362 | Holder for paper delivering size 46 cm. (GTO) | 12 |
| 02-05-02363 | Water rollers size 52 cm. | 8 |
| 02-05-02364 | Ballberen (GTO) 22m. | 20 |
| 02-05-02365 | Different size ballaeren size 6001 | 50 |
| 02-05-02366 | Spare parts for clipper machine (honer). | 5 |
| 02-05-02367 | Spare parts for garafix machine (clips cather set) with catter | 5 |
| 02-05-02368 | Hallogine lamp power 1000 watt. | 10 |
| 02-05-02369 | Paper cutter for (pooler) machines size 115. | 4 |
| 02-05-02370 | Paper size for (welenberg) machines size 115. | 4 |
| 02-05-02371 | Developer plate | 100 Pack |
| 02-05-02372 | Films developer | 100 packet. |
| 02-05-02373 | Water pools size 46 cm. | 4 |
| 02-05-02374 | Inhing camter roller (GTO) | 6 sets. |
| 02-05-02375 | Cutter for (perfecta) german cutter | 4 |
| 02-05-02376 | Hydrolic distribution system for (parfecta) cutter | 2 |

For sonar sonaline SL1

| 02-05-02377 | 7.5MHZ Sector porbe | 1 |
| --- | --- | --- |
| 02-05-02378 | FNA-Guding probe | 1 |
| 02-05-02379 | 10MHZ Sector probe | 1 |
| 02-05-02380 | 3.5MHZ Sector probe | 1 |
| 02-05-02381 | Probe 5MHZ Sector | 1 |
| 02-05-02382 | Seimens (Imager) probe 3.5MHZ | 1 |

Toshiba Sonolager L-Sal 35A

| 02-05-02383 | Probe 3.5MHZ Linear Brud and Kjar. | 1 |
| --- | --- | --- |
| 02-05-02384 | Dual had sector transducer tubp 8529 | 2 |
| 02-05-02385 | Rectal Transducr tupe 8537 | 1 |
| 02-05-02386 | Trans urcehtral Transducer type 1850 | 1 |
| 02-05-02387 | Pacture attachment for type 8529 | 2 |
| 02-05-02388 | Fan Unit | 1 |

. Company Name : TIFA/ USA

Subj., : Spare Parts for tifa fogging machine model 1554

| Code | Description | Qty., |
| --- | --- | --- |
| 02-05-02389 | Carburetter | 5 |
| 02-05-02390 | Fule pumps | 10 |
| 02-05-02391 | Formulation Pumps | 10 |
| 02-05-02392 | Carburetter repair Kit | 15 |
| 02-05-02393 | Ignition Electrode | 15 |
| 02-05-02394 | Ground wire | 15 |
| 02-05-02395 | Nozzle with strainer | 15 |
| 02-05-02396 | Spark plug | 20 |
| 02-05-02397 | Fuel Valve | 7 |
| 02-05-02398 | fog Valve | 7 |
| 02-05-02399 | Partical size selector valve | 5 |
| 02-05-02400 | Gas selonoid valve | 7 |
| 02-05-02401 | Formulation selonoid valve | 7 |
| 02-05-02402 | Complete set of Switches | 15 |
| 02-05-02403 | Complete set of Hoses | 15 |
| 02-05-02404 | Complete set of Belts | 15 |
| 02-05-02405 | Start selenoid valve | 10 |
| 02-05-02406 | Gas presure Gauge | 15 |
| 02-05-02407 | Formulator presure Gauge | 10 |
| 02-05-02408 | Pyrometer | 10 |
| 02-05-02409 | Tachometer | 15 |
| 02-05-02410 | Fire traps | 15 |
| 02-05-02411 | Presure Switch | 7 |
| 02-05-02412 | Themo couple | 10 |
| 02-05-02413 | Complete set of Gas Kit | 10 |
| 02-05-02414 | Gravity Tank | 7 |
| 02-05-02415 | Magnito Complete | 7 |
| 02-05-02416 | Mufflers Complete | 5 |
| 02-05-02417 | Suction and return manifold line | 5 |
|  | 30U-IV cells stionk. |  |

. Tyres and Tubes Required For Health Institutions in Iraq

| Code | Type and Tube Size | Qty., |
| --- | --- | --- |
| 02-05-02418 | 600 x 14 | 1500 |
| 02-05-02419 | 650 x 14 | 1500 |
| 02-05-02420 | 700 x 15 | 2000 |
| 02-05-02421 | 750 x 16 | 1500 |
| 02-05-02422 | 205 x 16 | 1500 |
| 02-05-02423 | 650 x 16 | 1000 |
| 02-05-02424 | 1200x 20 | 1000 |
| 02-05-02425 | 1100x 20 | 1000 |
| 02-05-02426 | 1200x 24 | 500 |
| 02-05-02427 | 1000x 20 | 250 |

EQUIPMENT: GENERAL MATERIAL

| 02-05-02428 | RESIN CATION | 50 TON |
| --- | --- | --- |

------------------

Equipment name: X-Ray film Automatic processor (E2-009)

Model                    : RPX-omat M8

Company name    : Kodak -Germany

Quintity  installed : 50

Site                         : All governerat

| 02-05-02429 | Thermistor (RT3) | 562366 | 15 |
| --- | --- | --- | --- |
| 02-05-02430 | Developer and fixer recirculater | 594391 | 15 |
| 02-05-02431 | Heater (R3) | 562368 | 15 |
| 02-05-02432 | Pressure Regulator | 480013 | 15 |
| 02-05-02433 | Replenisher solenoid | 562507 | 15 |
| 02-05-02434 | Relay | 562334 | 10 |
| 02-05-02435 | Relay | 562286 | 10 |
| 02-05-02436 | Relay | 603510 | 10 |
| 02-05-02437 | Relay | 595432 | 10 |
| 02-05-02438 | Relay | 562245 | 10 |
| 02-05-02439 | Teledyne Relay P/N 615V-8560 |  | 10 |
| 02-05-02440 | Fixer Crossover spring | 459344 | 20 |
| 02-05-02441 | Developer crossover spring | 497843 | 20 |
| 02-05-02442 | Dep, Fix, Flow Switch | 66770 | 15 |
| 02-05-02443 | Developer filter | 467674 | 1000 |
| 02-05-02444 | Dryer thermister (RT.) | 562370 | 10 |
| 02-05-02445 | Dryer upper limit | 602751 | 10 |
| 02-05-02446 | Heater assembly | 514308 | 10 |
| 02-05-02447 | Varistor GE-K2 V275 LA20A |  | 15 |
| 02-05-02448 | 2000 Fluid control cct. board assembly. | 602721 | 10 |
| 02-05-02449 | 3000 Stand by cct. board assembly | 602722 | 10 |
| 02-05-02450 | 5000 Fault monitor cct. borard. | 602724 | 10 |
| 02-05-02451 | Lead | 562786 | 20 |
| 02-05-02452 | Replenisher pump assembly | 594392 | 10 |
| 02-05-02453 | Gear | 594479 | 30 |
| 02-05-02454 | Gear for dryer | 562543 | 30 |
| 02-05-02455 | Gear for Dryer | 594113 | 30 |
| 02-05-02456 | Gear | 594480 | 30 |
| 02-05-02457 | Gear | 562494 | 30 |
| 02-05-02458 | Gear | 594139 | 30 |
| 02-05-02459 | Gear | 594138 | 30 |
| 02-05-02460 | Gear | 562796 | 30 |
| 02-05-02461 | Bearing |  | 20 |
| 02-05-02462 | Entrance Gross over Assem. | 594124 | 20 |
| 02-05-02463 | Developer Tofixer Crossover Assem. | 594126 | 20 |
| 02-05-02464 | Doveloper Rack Assem. | 594125 | 20 |
| 02-05-02465 | Fixer Rack Assembly | 594127 | 20 |
| 02-05-02466 | Wash Rack Assembly. | 594129 | 20 |
| 02-05-02467 | Ralls |  | 20 |

Equipment name: X-Ray  Generator

Model                    : HD-150G813

Company name    : Shimadzo  -Japan

Quintity  installed : 13

Site                         : All governerates

| 02-05-02468 | Gate Control Board. | 532-21489 | 6 |
| --- | --- | --- | --- |
| 02-05-02469 | Board starter # | 532-22073B | 10 |
| 02-05-02470 | M.Sec control Board |  | 10 |
| 02-05-02471 | Starter - 1A Board | 532-21577A | 15 |
| 02-05-02472 | Thyrester SOR1 | SC30C | 20 |
| 02-05-02473 | Starter 5A-40 | 501-07813C | 10 |
| 02-05-02474 | Terminal unit | 501-07814C | 6 |
| 02-05-02475 | Control Unit | 501-07815C | 10 |
| 02-05-02476 | Condenser CA,CB | 6800UF200V | 10 |
| 02-05-02477 | Condenser CL | 25UF300V | 10 |
| 02-05-02478 | HT- Transformer |  | 10 |
| 02-05-02479 | Lead Relay |  | 10 |
| 02-05-02480 | Air Suction |  | 10 |
| 02-05-02481 | TR25C 1325 |  | 10 |
| 02-05-02482 | Read Relay | 500-13716-02 | 10 |
| 02-05-02483 | Read Relay R54423-2P | 65-63129 | 10 |
| 02-05-02484 | Read Relay Omron LA1-001 12 VDC | 562228 | 10 |
| 02-05-02485 | Transistor type QM30 HA.H |  | 10 |
| 02-05-02486 | Transistor type EVG33-050 |  | 10 |
| 02-05-02487 | Solid state transistor ETG 81-050 30A 500V | 060-43214 | 20 |
| 02-05-02488 | MA Board | 501-65530B | 10 |

Equipment name: X-Ray Unit

Model                    : HD-150 B-10

Company name    : Shimadzo  -Japan

Quintity  installed : 26

Site                         : All governerates

| 02-05-02489 | MA Control Board 501-65529 |  | 5 |
| --- | --- | --- | --- |
| 02-05-02490 | MA meter Control Board assy 501-63473P |  | 5 |
| 02-05-02491 | Board sec. control assy 501-64456 |  | 5 |
| 02-05-02492 | Over load projector 10 assy 501-63448 |  | 5 |
| 02-05-02493 | Board 501 65529 |  | 5 |
| 02-05-02494 | Board 501 64456 |  | 5 |
| 02-05-02495 | Board 501-64456 |  | 5 |

Equipment name: X-Ray Spot film device

Model                    : HB-150 G40

Company name    : Shimadzo -Japan

Quintity  installed : 13

Site                         : All governerates

| 02-05-02496 | Carrige derive motor film IA 9/5 - 3-25, 100V |  | 5 |
| --- | --- | --- | --- |
| 02-05-02497 | Motor 100V, 2.5 UF, 30 min |  | 5 |

Equipment name: X-Ray System , Universal  remote controlled

Model                    : Gitroscop

Company name    : Shimadzo -Japan

Quintity  installed : 13

Site                         : All governerates

| 02-05-02498 | X-Ray tube voltage regulator KV regulator. |  | 5 |
| --- | --- | --- | --- |
| 02-05-02499 | Carridge drive motor. | URK25GK-A2 | 5 |

Equipment name: Mobile X-Ray  unit

Model                    : KCD-10

Company name    : Toshiba- Japan

Quintity  installed : 200

Site                         : All governerates

| 02-05-02500 | X-Ray tube head complete. | DRX-66DK | 50 |
| --- | --- | --- | --- |
| 02-05-02501 | X-Ray tube insert with washers, bellow,etc. | DR-66 | 50 |
| 02-05-02502 | Mercury switch | RY-2 | 20 |
| 02-05-02503 | Relay | RY-4 | 10 |

Equipment name : Mobile X-Ray  unit  with table

Model                    : Medirol -1

Company name    : Medicor  - Hungary

Quintity  installed : 180

Site                         : All governerates

| Code | Description | Ref. No. | Qty. |
| --- | --- | --- | --- |
| 02-05-02504 | Single tank with X-Ray tube for medirol-1 | DR-125/110 | 30 |
| 02-05-02505 | X-Ray tube insert | DR-125/110 | 30 |
| 02-05-02506 | Electronic timer | AO-1 | 10 |
| 02-05-02507 | Correction switch |  | 10 |

Equipment name: Mass chest  X-Ray mobile unit

Model                    : MCS x-Ray FFT

Company name    : Philips, Holland

Quintity  installed : 6

Site                         : All governerates

| Code | Description | Ref. No. | Qty. |
| --- | --- | --- | --- |
| 02-05-02508 | Timer transformer E 160 | 4522 100-0820 | 6 |

Equipment name: Mobile  X-Ray  Image Intensifier

Model                    : WHA - 10

Company name    : Shimadzu, Japan

Quintity  installed : 45

Site                         : All governerates

| Code | Description | Ref. No. | Qty., |
| --- | --- | --- | --- |
| 02-05-02509 | Image Intensifier for WHA-10A |  | 15 |
| 02-05-02510 | T.V chainsf-200 |  | 4 |
| 02-05-02511 | Camera | 06956-2/6 | 4 |
| 02-05-02512 | High voltage transformer Including X-Ray head for SDO 0.4/1.5 | 532-22085 | 30 |

Equipment name :  X-Ray  Unit with TV

Model                     : HD-150 B-10 1985

Company name     : Shimadzu, Japan

Quintity  installed : 13

Site                         : All governerates

| Code | Description | Qty., |
| --- | --- | --- |
| 02-05-02513 | MA Control Board | 4 |
| 02-05-02514 | Darling Pair Power Transmitter | 4 |
| 02-05-02515 | Auto Transformer | 1 |
| 02-05-02516 | High Speed Transformer | 1 |
| 02-05-02517 | High Speed Unit SA30 | 5 |

Equipment name: Silver collector

Model                    : FX-30m

Company name    : Shimadzu, Japan

Quintity  installed : 43

Site                         : All governerates

|  | Code | Description | Qty., |
| --- | --- | --- | --- |
|  | 02-05-02518 | Electric Panel Board | 10 |
|  | 02-05-02519 | Circulating Pump | 4 |

Equipment name: CT Scanner Somoto

Model                    : HIQ

Company name    : Siemens -Germany

Quintity  installed : 2

Site                         : Baghdad

| 02-05-02520 | X-Ray Tube Gantry box B | 1125660 X 1340 | 3 |  |
| --- | --- | --- | --- | --- |
| 02-05-02521 | Cooling unit for the X-Ray tube | AC11008 | 1 |  |
| 02-05-02522 | Resistance Pade for the DSC |  | 2 |  |

Equipment name: X-Ray unit

Model                    : Angioscop

Company name    : Siemens -Germany

Quintity  installed : 3

Site                         : Baghdad

| Code | X-Ray Equiment |  | Spare parts | Part No. | Qty |
| --- | --- | --- | --- | --- | --- |
| 02-05-02523 | Angioscop |  | Tube assembly MEGALX 125/40 /82C-120L | 876134x1122 | 4 |
| 02-05-02524 | Angioscop | 2sd.Plane T.OPT150/40/102C-100L |  | 7213820x1122 | 2 |
| 02-05-02525 | Angioskop | SIRHCORD video output ROA |  | 2828729-SE017 | 2 |

Equipment name: X-Ray unit

Model                    : Sirgraph

Company name    : Siemens -Germany

Quintity  installed : 2

Site                         : Baghdad

| 02-05-02526 |  | X-RAY TUBE COMPLET12/20/40 |  | 2 |  | 2 |
| --- | --- | --- | --- | --- | --- | --- |

Equipment name: X-Ray unit

Model                    : TRIEOROS

Company name    : Siemens -Germany

Quintity  installed : 3

Site                         : Baghdad

| 02-05-02527 |  | X-RAY TUBE COMPLET 150/30/51 |  | 2 |  |
| --- | --- | --- | --- | --- | --- |
| 02-05-02528 |  | X-RAY TUBE COMPLET 150/40/72 C |  | 2 |  |

| Code | X-Ray Equiment |  | Spare parts | Part No. | Qty |
| --- | --- | --- | --- | --- | --- |
| 02-05-02529 | Siregraph-11 | Tube ASS.OPTI150/40/73C-100L |  | 8867558x1953 | 2 |
| 02-05-02530 | Siregraph | KV-Interface control D 890 |  | 97148892x1732 | 1 |
| 02-05-02531 | Siragraph C | Motor drive board D7a,D7b |  | 7356223G5209 | 1 |

Equipment name: X-Ray unit

Model                    : Siramat

Company name    : Siemens -Germany

Quintity  installed : 4

Site                         : Baghdad

| Code | X-Ray Equiment |  | Spare parts | Part No. | Qty |
| --- | --- | --- | --- | --- | --- |
| 02-05-02532 | Siramat | Tube OPTI 150/40/102C-100L |  | 7213820x1122 | 3 |
| 02-05-02533 | Siramat | Power S.NI board for medio Med |  | 4731196GE009 | 2 |
| 02-05-02534 | Siramat | MA measur board |  | 8382947x1423 | 2 |
| 02-05-02535 | Siramat | Board D65 |  | 1800911x1022 | 2 |

Equipment name: X-Ray unit

Model                    : MIMAR

Company name    : Siemens -Germany

Quintity  installed : 3

Site                         : Baghdad

| Code | X-Ray Equiment |  | Spare parts | Part No. | Qty |
| --- | --- | --- | --- | --- | --- |
| 02-05-02536 | MIMAR - 111 | Interface controler board D4 |  | 4104568G5123 | 1 |
| 02-05-02537 | MIMAR - 111 | Logic board D5 |  | 4104501G5123 | 1 |
| 02-05-02538 | MIMAR - 111 | KV board D97 |  | 7131584x1081 | 1 |
| 02-05-02539 | MIMAR - 111 | Logic board D3 |  | 4024366x1116 | 1 |

Equipment name: X-Ray unit

Model                    : Uroscop

Company name    : Siemens -Germany

Quintity  installed : 2

Site                         : Baghdad

| Code | X-Ray Equiment |  | Spare parts | Part No. | Qty |
| --- | --- | --- | --- | --- | --- |
| 02-05-02540 | Uroscop | Casstte movement motor |  | 3116613B0905 | 1 |

Equipment name: Gamma Camara

Model                    : Maxi  Camara 400T

Company name    : General Electric  USA

Quintity  installed : 12

Site                         : Baghdad - Basrha - Nenewa

| 02-05-02541 | Integrated power sypply | 177 3031 | 4 |
| --- | --- | --- | --- |
| 02-05-02542 | CPU and Video power supply | 177 3035 | 4 |
| 02-05-02543 | Break and head power supply | 177 3034 | 4 |
| 02-05-02544 | Acouistion power supply | 177 3033 | 4 |
| 02-05-02545 | Rigid Disk power supply | 177 3036 | 4 |
| 02-05-02546 | Stepper Motor Power supply | 040 0700 | 4 |
| 02-05-02547 | Gantry Controller CUP | 040 0701 | 4 |
| 02-05-02548 | Lenear Decoder for Rail | 040 0702 | 4 |
| 02-05-02549 | Scan Mode for Rail | 040 0703 | 4 |
| 02-05-02550 | Cluch power controller | 040 0704 | 4 |
| 02-05-02551 | Ahcle Decoder | 040 0705 | 4 |
| 02-05-02552 | Hand control box | 040 0706 | 2 |
| 02-05-02553 | Top box | 040 0707 | 2 |
| 02-05-02554 | Imaging table motor MX | 040 0708 | 4 |
| 02-05-02555 | Low Voltage detector cable | 177 3032 | 4 |
| 02-05-02556 | Disk and Flopy controller | 177 3037 | 4 |
| 02-05-02557 | Flopy disk drive | 177 3039 | 2 |
| 02-05-02558 | Riged disk drive | 177 3038 | 2 |
| 02-05-02559 | P1 tube 65 MV. | 040 0800 | 4 |
| 02-05-02560 | P1 Tube 165 MV | 040 0801 | 4 |
| 02-05-02561 | Transformer | 177 3006 | 6 |
| 02-05-02562 | HV Detector Cable | 177 3007 | 5 |
| 02-05-02563 | Brake power spply | 177 2950 | 2 |
| 02-05-02564 | Scaler timer | 177 2960 | 5 |
| 02-05-02565 | Scanning modele | 177 2980 | 2 |
| 02-05-02566 | Maxi 400T Control Module | 177 2985 | 4 |
| 02-05-02567 | CPU Set | 177 2000 | 3 |
| 02-05-02568 | Disk Set (INT+CONT+PS) | 177 2300 | 2 |
| 02-05-02569 | TV Set (TV1,TV/3,M481) | 177 2400 | 4 |
| 02-05-02570 | Aqduistion Set : (G1,G2,ECG) | 177 5800 | 4 |
| 02-05-02571 | CPU PS | 177 2600 | 4 |
| 02-05-02572 | Color TV | 177 2702 | 2 |
| 02-05-02573 | Floting point package | 177 2020 | 1 |
| 02-05-02574 | Convertor board | 177 2803 | 2 |
| 02-05-02575 | Logic board | 177 2801 | 4 |
| 02-05-02576 | Relay board | 177 2802 | 2 |
| 02-05-02577 | Power supply ACQ. box | 177 2604 | 4 |
| 02-05-02578 | Color Graphics Printer polter + Accessories | 177 9700 | 2 |
| 02-05-02579 | Floppy cont. + INT. +Ps.+FLFV | 177 2350 | 3 |
| 02-05-02580 | Floppy 8" | 177 2350 | 100 |
| 02-05-02581 | Cassette for formator | 177 8009 | 4 |
| 02-05-02582 | Cleaning set for computer | 177 8000 | 5 |
| 02-05-02583 | Parallel interface for color graphics Printer | 177 9710 | 1 |
| 02-05-02584 | INK Cartridge Set |  | 10 |
|  | Black | 177 9751 |  |
|  | Cyan | 177 9752 |  |
|  | Magneta | 177 9753 |  |
|  | Yellow | 177 9754 |  |

| 02-05-02585 | Mintenance Cartridge for SHARP JX-SMLP INK JET JX-SMLP Imager Printer. |  | 5 |
| --- | --- | --- | --- |
| 02-05-02586 | Analog computer for 400T Maxicamera |  | 2 |
| 02-05-02587 | High voltage supply 400T Maxicamera |  | 2 |
| 02-05-02588 | Uniformity computer 400T Maxicamera |  | 2 |
| 02-05-02589 | Spectrum analyzer 400T Maxicamera |  | 2 |
| 02-05-02590 | Imaging Detector Power supply Maxicamera |  | 2 |

Equipment name: X-Ray units

Model                    : ID-125L

Company name    : Shimadzo -Japan

Quintity  installed : 150

Site                         : All Governrates

| Code | Discreption | Part No. | Qty., |
| --- | --- | --- | --- |
| 02-05-02591 | X-Ray tube head circlex | 1/2U13 CN-25 | 50 |
| 02-05-02592 | X-Ray tube head circlex 1/2UG13 AN-30 (MC 100 L-30) | (532-22570) | 50 |
| 02-05-02593 | X-Ray tube head complete with H.T.T | 501-066500-12 MD 100 P/D1801 | 20 |
| 02-05-02594 | X-Ray tube insert | D 180 | 25 |
| 02-05-02595 | X-Ray tube head circlex | 1/2 UG 13BN-25 (532-20806) | 15 |
| 02-05-02596 | X-Ray tube insert | 1/2 U 13BN-25 | 15 |
| 02-05-02597 | X-Ray tube complete circlex | 1/2 P 38C-40 | 15 |
| 02-05-02598 | X-Ray insert tube | 1/2 P 13C-40 | 15 |
| 02-05-02599 | X-Ray tube head circlex | 1/2 P 18C-80S | 15 |
| 02-05-02600 | X-Ray tube complete cieclex | 0.5/1.2 P38DK-80S | 5 |
| 02-05-02601 | P.C.B mA control - 10 | 501-62925 N | 15 |
| 02-05-02602 | P.C.B startor - 3 | 501-66354 E | 15 |
| 02-05-02603 | H.T cable 12 meter longe |  | 10 |
| 02-05-02604 | H.T transfoemer for I.D-150L 509-29 764-92 |  | 5 |
| 02-05-02605 | New vicon tube | S 4100 | 15 |
| 02-05-02606 | Casselle tray | 501-93379 | 20 |
| 02-05-02607 | Halogen lamp | 12V 100W 500-04379 | 500 |
| 02-05-02608 | Servo motor | ESA-INS 1/30-077-50411-10 | 10 |
| 02-05-02609 | Micro switch | V-10 F22-1 A064-32230 | 50 |
| 02-05-02610 | X-Ray Grid | 828-038 W100 500-0614-03 | 20 |
| 02-05-02611 | Cassette tray | 501-93379- | 20 |
| 02-05-02612 | Fillament transformer | 060-66475 | 10 |
| 02-05-02613 | High voltage transformer | 501-67203 | 5 |

Equipment name: X-Ray units

Model                    : Medio 50

Company name    : Philips -Holland

Quintity  installed : 4

Site                         : All Governrates

| Code | Description | Part No. | Qty., |
| --- | --- | --- | --- |
| 02-05-02614 | X-Ray tube head copmlete for vedio 50 |  | 2 |
| 02-05-02615 | X-Ray tube head complete | for Medio 51 | 2 |
| 02-05-02616 | Timer transformer E/60 | 4522 100-0820 | 10 |
| 02-05-02617 | MCS 70-5 cassett for odelca camera |  | 6 |

Equipment name: X-Ray units

Model                    : KXO -12M

Company name    : Toshiba - Japan

Quintity  installed : 70

Site                         : All Governrates

| Code | Description | Part No. | Qty, |
| --- | --- | --- | --- |
| 02-05-02618 | X-Ray tube insert | DR - 180 | 20 |
| 02-05-02619 | X-Ray tube head complete for 500 MA unit | DRX-1603 B | 20 |
| 02-05-02620 | X-Ray insert | DR-66 (1.5x1.5) | 20 |
| 02-05-02621 | Motor for MCS | 220V-50HZ 0.45A 4000 RPM | 5 |
| 02-05-02622 | Magnet contantor | C4 - 35 | 10 |
| 02-05-02623 | Magnet brake | Y0806 - 02 | 10 |
| 02-05-02624 | T-D relay | /Y/P A.C100 | 20 |
| 02-05-02625 | Micro SW | -7 15 G022 | 10 |
| 02-05-02626 | Micro Sw | Z - 150 | 10 |
| 02-05-02627 | Magent contactor | MA 406 | 10 |
| 02-05-02628 | MG contactor | GA 113 DBIWTXIS | 10 |

Equipment name: X-Ray units

Model                    : Dental X-Ray

Company name    : Tropy - France

Quintity  installed : 350

Site                         : All Governrates

| Code | description | Code.No. | Qty |
| --- | --- | --- | --- |
| 02-05-02629 | X-Ray tube head complete | 508 MINOREX | 20 |
| 02-05-02630 | X-Ray tube head complete | 558 MINOREX | 20 |

Equipment name:Image Intensifier

Company : Siemens- Germany

Site: Baghdad

| Code | Description | QTY |
| --- | --- | --- |
| 02-05-02631 | Image intensifier sicron 2 | 1 |
| 02-05-02632 | TV system videomed 2 | 1 |
| 02-05-02633 | TV monitor 44 cm | 3 |
| 02-05-02634 | X-ray tube | 1 |

Equipment name: Spare parts for X-ray films auto processing

Company: IMS,Italy

Sit:All governorates.

| Code | Description | Cod.No. | QTY |
| --- | --- | --- | --- |
| 02-05-02635 | Master link for chainP6 | 004111 | 20 |
| 02-05-02636 | Main drive shaft Assy-420 | 006579 | 5 |
| 02-05-02637 | Bearing housing block | 003145 | 10 |
| 02-05-02638 | Helical gear 6mm | 005680 | 50 |
| 02-05-02639 | Electronic switch relay 220V AC | 005365 | 20 |
| 02-05-02640 | Infra-red rays lamp | 005544 | 200 |
| 02-05-02641 | Fuse 0.5 Amp | 004751 | 200 |
| 02-05-02642 | Male connerctor 6 pole | 005372 | 200 |
| 02-05-02643 | Female connerctor 6 pole | 005371 | 200 |
| 02-05-02644 | Geared motor with capacitor | 005377 | 50 |
| 02-05-02645 | Thermal regulator | 004744 | 50 |
| 02-05-02646 | On-off switch | 005373 | 30 |
| 02-05-02647 | Rubber roller long-short pins | 005418 | 200 |
| 02-05-02648 | Rubber long pins | 005419 | 200 |
| 02-05-02649 | PVC roller long and short pins | 005689 | 200 |
| 02-05-02650 | PVC roller heavy | 005690 | 100 |
| 02-05-02651 | PVC roller long pins | 005691 | 150 |
| 02-05-02652 | Mobile bushing delrin | 004721 | 100 |
| 02-05-02653 | Helical gear Z=304 | 001278 | 150 |
| 02-05-02654 | Helical gear right 10mm | 005678 | 200 |
| 02-05-02655 | Helical gear lift 10mm | 005681 | 200 |
| 02-05-02656 | Chain P6 with master link | 004110 | 9 |
| 02-05-02657 | Spring for roller | 005477 | 500 |
| 02-05-02658 | PC board no.4 | 006019 | 50 |
| 02-05-02659 | Components card for relay | 009747 | 20 |
| 02-05-02660 | Overflow pipe 26 cm | 010033 | 50 |
| 02-05-02661 | Overflow pipe 23 cm | 500028 | 50 |

| 02-05-02662 | SPARE PART FOR HUDSON / S PUMPS 1/8 x 1/2 Cotter pin | 300 |
| --- | --- | --- |
| 02-05-02663 | 3/32 x 112 Cotter pin | 300 |
| 02-05-02664 | 3/32 x 7/8 cotter pin | 300 |
| 02-05-02665 | Cover chian | 300 |
| 02-05-02666 | Cover gas kit | 300 |
| 02-05-02667 | Dip tube adaptor wing fitting | 300 |
| 02-05-02668 | Dip tube only | 300 |
| 02-05-02669 | Dip tube only for 4 gallon tank | 300 |
| 02-05-02670 | Extention tube 8 nozzle assembly for 3 gallon | 300 |
| 02-05-02671 | Extention tube 8 nozzle assembly for 4 gallon unit | 300 |
| 02-05-02672 | Hose adaptor | 300 |
| 02-05-02673 | Hose adaptor assembly | 300 |
| 02-05-02674 | Hose with thrustless shutoff & strainer assembly | 300 |
| 02-05-02675 | Hudson pumps | 460 |
| 02-05-02676 | Male fitting | 300 |
| 02-05-02677 | O-ring for dip tube | 300 |
| 02-05-02678 | Plug for gange adaptor fitting on top | 300 |
| 02-05-02679 | Plunger assembly complete | 300 |
| 02-05-02680 | Pump cylender assembly complete | 300 |
| 02-05-02681 | Shoulder strap 2 wide | 300 |
| 02-05-02682 | Shut off cock | 300 |
| 02-05-02683 | Valve pin assembly | 300 |
| 02-05-02684 | Valve pin spring | 300 |
| 02-05-02685 | Pumps cylinder assembly complete | 100 |
| 02-05-02686 | Shut off assembly complete thrustless | 100 |
| 02-05-02687 | Pluger assembly complete | 100 |
| 02-05-02688 | Valve body | 100 |
| 02-05-02689 | Nozzle flow regulator | 100 |
| 02-05-02690 | Assembly consists of | 100 |
| 02-05-02691 | Nozzel body | 100 |
| 02-05-02692 | Gasket | 100 |
| 02-05-02693 | Nozzele tip | 100 |
|  | Spare parts for medical equipment Equipment:- Polydoros 50X -Ray ganarater Company/manufacturer:- Siemens Site:- Medical city Hospital Baghda |  |
| 02-05-02694 | Borde No. 8353336 X1626 D15 | 1 |
|  | Equipment:- C.T Scanner somatom DR3 Company/manufacturer:- Siemens Site:- Medical city Hospital Baghda |  |
| 02-05-02695 | D17221500 4026 Electrom 7221500 | 2 |
| 02-05-02696 | D117221708 G4026 | 2 |
| 02-05-02697 | D27221626 G4026 | 2 |
| 02-05-02698 | D57467798 G4036 | 2 |
| 02-05-02699 | M7745 ROX 2Flopy disc controler 501289 1d | 1 |
|  | Equipment:- Siremat Company/manufacturer:- Siemens Site:- Medical city Hospital Baghda |  |
| 02-05-02700 | 7218704 G 5207/ 01198 | 1 |
| 02-05-02701 | Videomed H-R camara comp | 1 |
| 02-05-02702 | 21851-AI 12492 50 H2 | 1 |
| 02-05-02703 | Seat of boords for camera control unit type videomed H-R 7218704 | 1 |
| 02-05-02704 | Monetor screen for monitor model 7297419 Q 5205 C | 1 |
| 02-05-02705 | Carriage 4004669 G 5167 | 1 |
|  | Equipment:- heamacron 400 Company/manufacturer:- heamacron Site:- Medical city Hospital Baghda |  |
| 02-05-02706 | Display screen Serial No. 3-1010 | 3 |
| 02-05-02707 | Battry 6 Volt | 6 |
| 02-05-02708 | PC board Serial No. HE 2B 1056 | 3 |
|  | Equipment:- heamacron 800 Company/manufacturer:- heamacron Site:- Medical city Hospital Baghda |  |
| 02-05-02709 | Pc board Serial No. 2-2235 | 4 |
| 02-05-02710 | Battry 6 volt Serial No.5-5-170 | 2 |
|  | Equipment:- heamacron 801 Company/manufacturer:- heamacron Site:- Medical city Hospital Baghda |  |
| 02-05-02711 | Battry 6 volt serial No.5-2-209 | 1 |
| 02-05-02712 | Coupling serial No.4-35 | 2 |
| 02-05-02713 | PC board serial No.3050 | 1 |
|  | Equipment:- Monitor sircuts 404-1 Company/manufacturer:- Simens Site:- Medical city |  |
| 02-05-02714 | PC board Serial No.84 20317E 2250 A53 | 2 |
| 02-05-02715 | Pressure transducer Serial No.45 27 950 | 5 |
| 02-05-02716 | Patient cable with adaptors serial no. 45 23254 | 20 |
| 02-05-02717 | Rectal temperature probes serial no.45 30 259 | 20 |
| 02-05-02718 | Electrode adhesive rings seriaL NO. 45 23 742 | 2 SET |
|  | Equipment:- X- Ray unit Company/manufacturer:- Simens Site:- Medical city |  |
| 02-05-02719 | Megalix 125/30/82Cm | 3 |
| 02-05-02720 | Insulat kit 1 for MMT tube | 2 |
| 02-05-02721 | Adaptation megalix -MMT | 2 |
| 02-05-02722 | High tension cable 3-core 20m | 2 |
| 02-05-02723a | Optitop 150/40/80 HC-100L | 2 |
| 02-05-02723b | Mod.Polyd.80 E27 97 277x1512 | 2 |
|  | Equipment:- Bicor/coroscop C- elema Company/manufacturer:- Simens Site:- Medical city |  |
| 02-05-02724 | Control console with programing attachment | 1 |
|  | Equipment:- Monitor Company/manufacturer:- Simens Site:- Medical city |  |
| 02-05-02725 | Moneitor model 8714560 x 1765 serial no.01803 modification 1765 220V 1 phase | 2 |
|  | Equipment:- (cine projector tagarno 35AX) Company/manufacturer:- Simens Site:- Medical city |  |
| 02-05-02726 | Lamps for tagarno 35AX | 4 |
|  | Equipment:- X-Ray unit Company/manufacturer:- Simens Site:- Medical city |  |
| 02-05-02727 | H.T generator model 7240088 X 1415 serial no.649 05 601 | 1 |
| 02-05-02728 | D45 adapter (8055956 X 1415) | 1 |
| 02-05-02729 | D 46 actual valve aquisition (8055931 X1415) | 1 |
|  | Equipment:- X-Ray unit Company/manufacturer:- Simens Site:- Medical city |  |
| 02-05-02730 | X-ray tube megalix 125/30/82C -120LW tube housing | 2 |
| 02-05-02731 | Mega 125/30/82C | 2 |
|  | Equipment:- X-Ray unit Company/manufacturer:- Simens Site:- Medical city |  |
| 02-05-02732 | Image intensifier optilux lateral 1712HD model no.8832776V 5760 serial no.44568 590 | 1 |
| 02-05-02733 | Image intensifier frontal optilux 27 HD- Triplex model no.8832 719V 5054 serial no.79051 508 | 1 |
|  | Equipment:- Vidio med H camera Company/manufacturer:- Simens Site:- Medical city |  |
| 02-05-02734 | Board Q 4700902 GE 001 | 1 |
| 02-05-02735 | Bored VV 9455791 XE 001 | 1 |
| 02-05-02736 | Board H 2893063 GE 001 | 1 |
| 02-05-02737 | Boaed F 4737052 GE001 | 1 |
| 02-05-02738 | Board Z 2893048 GE001 | 1 |
| 02-05-02739 | Boaed S 4700910 GE001 | 1 |
|  | Equipment:- Camera control unit Company/manufacturer:- Simens Site:- Medical city |  |
| 02-05-02740 | Stabilizer BP 4762530 XE001 | 1 |
| 02-05-02741 | Board N1 4737 151 GE001 | 1 |
| 02-05-02742 | Board N2 4757 258 XE001 | 1 |
| 02-05-02743 | Board 1 4737 110 GE001 | 1 |
| 02-05-02744 | Board NV 4418976 RH052 | 1 |
| 02-05-02745 | Board S C72411 -A3 -L98 | 1 |
| 02-05-02746 | Board H C72411-A3 -L53 | 1 |
| 02-05-02747 | Board KR C72411 -A3 -L35 | 1 |
| 02-05-02748 | Board DK C72411-A3-L18 | 1 |
| 02-05-02749 | Board VV C72411-A3 -L202 | 1 |
| 02-05-02750 | Board VV C72411-A3-L203 | 1 |
|  | Equipment:- X-Ray unit Company/manufacturer:- Simens Site:- Medical city |  |
| 02-05-02751 | Monitor for D-S.A model no.8714511 X1762 serial no.01136 modification X1762 | 1 |
|  | Equipment:- Combilabor.CBM-A8 processing unit for cine film Company/manufacturer:- Simens Site:- Medical city |  |
| 02-05-02752 | 09-02 film roller 064V473 | 10 |
| 02-05-02753 | 09-10 film guide roller 064V473 | 9 |
| 02-05-02754 | 09-03 sealing ring 080C737 | 19 |
| 02-05-02755 | 09-05 gear wheel assy 064v031 | 19 |
| 02-05-02756 | 12-01 heating element 750W 064V139 | 4 |
| 02-05-02757 | 12-02 thermistor 064V003 | 4 |
| 02-05-02758 | 12-04 pump 064v115 | 4 |
| 02-05-02759 | 12-07 P.C.board 064V694 | 4 |
| 02-05-02760 | 13-01 transport motor assy 064V043 | 2 |
| 02-05-02761 | 15-01 film guide assy 064V013 | 2 |
|  | Equipment:- 35 cine film progector model -CPW-A- 35150 Company/manufacturer:- Simens Site:- Medical city |  |
| 02-05-02762 | Coupling No. 4707683 GE016 | 4 |
| 02-05-02763 | Pulley No.4707733GE016 | 24 |
| 02-05-02764 | Belt No.4701280GE016 | 14 |
| 02-05-02765 | Tooth head wheel No. 4707675GE016 | 4 |
| 02-05-02766 | Tooth head wheel No. 470757GE | 2 |
| 02-05-02767 | Coupling no.4708640GE016 | 2 |
| 02-05-02768 | Boared no.4701264GG016 | 1 |
| 02-05-02769 | Motor no.7705148B0900 | 1 |
|  | Equipment:- Pandaros 1200A Company/manufacturer:- Simens Site:- Medical city |  |
| 02-05-02770 | T.V.monitor model no.46723165024 serial no.01079 501 | 2 |
| 02-05-02771 | X-Ray tube opti 150/40/102C | 2 |
| 02-05-02772 | Cassette for cine film arriechno kat no.65098A | 2 |
| 02-05-02773 | Image intensifier complate model 853Y01865307 serial no.01059 | 2 |
|  | Equipment:- Hypothermic model 16-12-00 Company/manufacturer:- Simens Site:- Medical city |  |
| 02-05-02774 | Thermosensor probe | 4 |
| 02-05-02775 | Rooler blood pump | 4 |
|  | Equipment:- Servo ventilator 900C Company/manufacturer:- Simens Site:- Medical city |  |
| 02-05-02776 | Oxygen cell 90-04-979 | 20 |
|  | Equipment:- Trademel cambridge model 3060 Company/manufacturer:- Simens Site:- Medical city |  |
| 02-05-02777 | Belt for tradmel 3060 cambridge | 2 |
| 02-05-02778 | Part computrace CM 3400 | 1 |
| 02-05-02779 | Patient connection electrically isolated (patient cable with adapters) | 10 |
| 02-05-02780 | Belt cambridge for rolling paper | 5 |

|  | EMERGENCY PARTS/ SMALLINSTRUMENTS |  |  |
| --- | --- | --- | --- |
|  | Description | Ref.No. | QTY |
| 02-05-02781 | Retinoscope Retinoscope bulb 2.5V |  | 100 |
| 02-05-02782 | Slit lamp 18 97 23 6V/4, 5A spare bulbs for Haag- Streit 900 |  | 20 |
| 02-05-02783 | Slit lamp/ Fixation point 17 52 69 5V spare bulbs for HS900 |  | 10 |
| 02-05-02784 | Field analyser (C.Clarke) 10 61 27 Flash bulb for HK2 Friedmann |  | 2 |
| 02-05-02785 | Friedmann HK2 18 44 62 Illunination bulp 8V/15A |  | 5 |
| 02-05-02786 | Neitz 10H Indirect ophthalmoscope 11 60 51 6V/10W bulb |  | 10 |
| 02-05-02787 | Neitz 10H binocular indirect ophthalmoscope Blue cobalt filter | 10 .02.44 | 5 |
| 02-05-02788 | Neitz 10H 11 60 55 Scleral depressor |  | 5 |
| 02-05-02789 | Friedmann MK2, Bloc 100 Schemas standards | 15 .98 .24 | 10 |
| 02-05-02790 | Clement clarke synoptophore Spare bulb, after image device | 18.00.98 | 5 |
| 02-05-02791 | Tests on synoptophore clarke Spare bulbs 6V/0, 3A |  | 6 |
| 02-05-02792 | Slides on Clark synoptobhore bulb (12V/24W) | 14.34.99 | 6 |
| 02-05-02793 | Ophthalmoscope 7HL Ophthalmoscope on rechargeable battery handle, without double table charger. halogen bulb rekoss disc with corrections from 0 to -32D and 0 to +25D . 5 positions aperture wheel | 15.95.57 | 3 |
| 02-05-02794 | Electric retinoscope SK7 electric retinoscope with rotatable streak rheostat incorporated in switch. 1 spare bulb with rechargeable battery handle. without table charger | 15.43.85 | 3 |
| 02-05-02795 | Simmay 7HL or SK7 rechargeable handles Rechargeable battery | 12.44.94 | 12 |
| 02-05-02796 | Indirect ophthalmoscope 11 60 10 Henie omega 200 indirect ophthalmoscope fitted with (transformer, charger, scleral depressor miror, extension cord, carrying case |  | 2 |
| 02-05-02797 | Omega 200 (6V) Additional spare halogen bulbs | 12.84.30 | 6 |
| 02-05-02798 | Operating microscope 36 90 18 OM 10 takagi |  | 1 |
| 02--04-02799 | OM10 36 90 11 Spare halogen bulb | 09.99. 96 | 1 |

Consumubles for Microlyzar , Autoanalyzer & AA2

| 02-05-02800 | Pump tube (Grey -Grey ) 1x12 | 40 |
| --- | --- | --- |
| 02-05-02801 | Pump tube (Yellow -Yellow ) 1x12 | 40 |
| 02-05-02802 | Chart paper for AA2 | 400 |
| 02-05-02803 | Chart paper for Microlyzar | 200 |
| 02-05-02804 | Chart paper for Autoanalyzar | 200 |

Manifold

| 02-05-02805 | Phasing coil 1-55 ml /min | 20 each |
| --- | --- | --- |
| 02-05-02806 | Phasing coil 1-9 ml /min | 20 each |
| 02-05-02807 | Phasing coil 2-1 ml /min | 20 each |
| 02-05-02808 | Phasing coil 2-5 ml /min | 20each |
| 02-05-02809 | Phasing coil 3 ml /min | 20each |

| 02-05-02810 | Equipment:Ultrasound Model: Item No. A4.4 Prod No.41M18800 Serial No.SSD-280 Company:Aloka-Japan Mechanical sector scanner probe - ASU-28H-3MHZ - ASU-28H-3.5MHZ with EP-1772 for sector scanner controller | 1 |
| --- | --- | --- |
| 02-05-02811 | Equipment:X-Ray Model: Item No. E1-104 Prod No.8114313 Serial No.HD-15013-10 Company:Shimadzu-Japan Capacitor 200V-6800Mf-Negative | 2 |
| 02-05-02812 | mA Board 501-6553013 | 1 |
| 02-05-02813 | Transistor ETG81-VCB,600V,IC30A,200W(tube Assembly 0.5/p38c-80S circlex) | 15 |
| 02-05-02814 | Equipment:Automatic processor Model: Item No. E2-9 Serial No.Kodak-RP-X-OMAT Processor Company:USA-Kodak 400 area accumulator circuti board | 2 |
| 02-05-02815 | Equipment:Ag precepitator unit Model: Item No. E4-4 Serial No.FX-30 Company:Shimadzu-Japan Printed circuit board | 1 |
| 02-05-02816 | Equipment:Maxillofacial X-Ray Unit Model: Item No. E1-117 Prod No.151073 Serial No.AX-4CM Company:Pamokmax-Japan Reversiple Motor 98648-(R2001) 100V/50 HZ/2.5MF/30min.(Withgear Box) | 1 |
| 02-05-02817 | Equipment:Angiography Model: Item No. E1-108 Prod No.6110586 Serial No.HD-150B-10 Company:Shimadzu-Japan Relay K4-RU-B/NOMRON LA1-1008(12V D.C) | 1 |
| 02-05-02818 | Equipment:ECG Model: Item No. A1-2 Prod No.22162 Serial No.ECG-5403 Company:Nihon-kohden-Japan Patient Cable-(BJ 2610) | 4 |
| 02-05-02819 | Chest electrode for adults/5030378 | 12 |
| 02-05-02820 | Styless | 50 |
| 02-05-02821 | LIMB Electrode-SDTRAP,for adult 4Pcs/set-5030021 | 10 |
| 02-05-02822 | LIMB Electrode-SDTRAP, 4Pcs/set-5030003 | 10 |
| 02-05-02823 | Power cable(AC coard) | 2 |
| 02-05-02824 | Equipment:Defibrillator Model: Item No. A1-16 Prod No.20604 Serial No.TEC-5201VB Company:NIHON-Kohden-Japan Recharg cable battery pack(SB 501V) 6.6/12V D.C) | 13 |
| 02-05-02825 | Capacitor 33MF/5.5KV D.C | 10 |
| 02-05-02826 | Lead wire for Disposable electrodes Red-1-5031047 Yellow-1-5031056 Green-1-5031065 | 10 |
| 02-05-02827 | Equipment:Monitor Model: Item No. a1-15 Prod No.ICV 6000 Serial No.20762B Company:NIHON-Kohden-Japan Rechargable Battery pack(SP-602P)6.6/9V D.C | 10 |
| 02-05-02828 | ECG Connsction cable 5570605 Antenna lead for 5031243 | 6 |
| 02-05-02829 | electrode lead for Disposal electrode BR- red 5031047 electrode BY- yellow 5031056 electrode BB- black 5031083 | 40 |
| 02-05-02830 | AG / AGCL disposable electrode 5030716 | 20 |
| 02-05-02831 | Equipment:Dental unit Model: Item No. A8-15 Prod No.VC-007 Company:NIHON-Kohden-Japan Halogen Bulb 24V D.C/150W | 5 |
| 02-05-02832 | Holder for halogen bulb | 5 |
| 02-05-02833 | Equipment:Oxygen Regulator Regulator+Wet oxygen equipment | 4 |
| 02-05-02834 | Equipment:Slit-Lamp Model: Item No. A3-8 Prod No.SL-3D Serial No.207498 Company:TOPCON-Japan Lamp 6V/4.5A | 5 |
| 02-05-02835 | Equipment:P.C.V Center Fuge Model: Item No. D2-63 Prod No.MC-201 Company :Hitachi-Japan D.C motor /85V/4A/RPM 15000 | 2 |
| 02-05-02836 | Equipment:Radio therm Model: Item No. A7-42 Prod No.706 EH703 Company:Sienems-Germany Magnettron | 3 |
| 02-05-02837 | Circuit Board Assy P.NO.4536348 EH703 | 2 |
| 02-05-02838 | Diode-H463-3 HF H.V | 3 |
| 02-05-02839 | Equipment:Diaqgnostic sets , complete Model: Item No. A3 - 40 Recharge battery | 25 |
| 02-05-02840 | Halogen bulb (4V) | 25 |
| 02-05-02841 | Halogen bulb (3V) | 25 |
| 02-05-02842 | Equipment : Sphygmomanometer (stand ) Model :item no: A3 - 12 Prod no. : HM - 1104 (cat) comp.: Japan Head screw | 20 |
| 02-05-02843 | Rubber packing | 40 |
| 02-05-02844 | Fuelt | 25 |
| 02-05-02845 | Roshi | 25 |
| 02-05-02846 | Container | 20 |
| 02-05-02847 | Tube packing | 25 |
| 02-05-02848 | Glass tube | 40 |
| 02-05-02849 | Rubber inlet bulb | 30 |
| 02-05-02850 | Equipment :Electry unit Model : item no.: A2 - 23 Prod no.: TRC - 1000 serial no. 60037890 Comp. MIZUHOIKAKOG YO , Co. ltd. Electrode chuck handle ( 3- terminal ) | 50 |
| 02-05-02851 | Adapter for disposable inactive electrode | 20 |
| 02-05-02852 | Inlet for inserting , electrode chuck handle | 50 |
| 02-05-02853 | Inlet for inserting inactive electrode | 20 |
| 02-05-02854 | Inlet for inserting mono polar electrode chuck handle | 20 |
| 02-05-02855 | Equipment :Central sterilizer Model: F1 _ 30 Steam trab | 20 |
| 02-05-02856 | Solenoid valve 221 G 1603/ 4270 | 15 |
| 02-05-02857 | Solenoid valve (water ) SX 3- 03 GW 80 | 10 |
| 02-05-02858 | Solenoid valve for seal | 10 |
| 02-05-02859 | Check valve JIS 10 KBNS - 1- ¼ | 15 |
| 02-05-02860 | Packless valve ¾” | 10 |
| 02-05-02861 | Packless valve 1 -1/4 | 10 |
| 02-05-02862 | Saftey valve FB - 4 | 8 |
| 02-05-02863 | Door gasket | 40 |
| 02-05-02864 | One way clutch | 8 |
| 02-05-02865 | Vaccum pump KT 100 E | 8 |
| 02-05-02866 | Equipment : E C G Model :item no.: A1 - 2 Prod no.: ECG - 5403 Serial no. 22159 Comp. Nihon - Kohden / Japan Control unit assembly (UP - 4065 ) , code no. (9406517 ) | 6 |
| 02-05-02867 | Input unit circuit board assembly UP - 4247 (A ) , code no. 9424738 | 6 |
| 02-05-02868 | Circuit board assembly ½ sensitivity unit UP - 4249 , code no. 9424943 | 6 |
| 02-05-02869 | + _ (1104) Regulator unit (UP- 4243) code no.: 9424319 | 6 |
| 02-05-02870 | +,- (12 V ) regulator unit UP - 4242 , code no. 9424212 | 6 |
| 02-05-02871 | Equipment :Shaker Model : item no.: D2 - 32 Prod no.: KR - 3 Comp. Kayagakikikakog , Japan Speed control | 4 |
| 02-05-02872 | Equipment : Test type ophthalmology remote control Model : item no.: A3 - 16 prod no.: EA- O72 Comp. Topcon , Japan Halogen bulb | 8 |
| 02-05-02873 | Equipment : Stethoscope fetal Doppler Model : item no.: A3 - 38 prod no.: FD - 200 Ser. No. 8412715 Comp. Toito , Japan Rechargeable battery back 10 N- 500 AAF ,12 V / 500 MAH OG Cadnica sanyo electric , Japan | 10 |
| 02-05-02874 | Probe | 10 |
| 02-05-02875 | Equipment: X - ray unit Model : item no.: E1 - 105 prod no.: MD - 150 B - 100 Tube assembly ½ P38 C - 80 C circlex | 2 |
| 02-05-02876 | Spare parts for Tifa Armature magnito | 50 |
| 02-05-02877 | Indicator tape for sterilization (Hogy ) , (12mm x 50m) | 700 rolls |
| 02-05-02878 | OSONIC ECO equipment (Australia ) 901048 Probe 3.5 Mz frequency | 1 |
| 02-05-02879 | U/S set photo line SLI ( Germany ) PE 90962 Sector & liner 5.5 Mz | 1 |
|  | Spare part for bicor |  |
| 02-05-02880 | Simomed HM 44CM Monitor Part no. 037 92 079 x 2077 | 2 |
| 02-05-02881 | Dreh- Neigekonsole part no. 027 98 044 x 2077 | 2 |
| 02-05-02882 | Mains cable for simomed part no. 011 10 910 x 1956 | 2 |
| 02-05-02883 | Plug part no. E30 235 B 1947 | 2 |
| 02-05-02884 | Sirecon 33-4 ýHDR patr no. 031 34 868 G 5382 | 1 |
| 02-05-02885 | Collis protect .II 33, grid 12/40 part no.016 16 130 G 5307 | 1 |
| 02-05-02886 | Accessory for X -ray tube 125 /30/82 CM Mod. Polyd. 80 Part no. E27 97 277 X 1512 | 2 |

|  | SPARE PARTS FOR X-RAY EQUIPMENT |  |  |
| --- | --- | --- | --- |
|  | Spare parts for polydoros 50/80S (SIEMENS) quantity installed: 4 |  |  |
|  | Decsription | part and type no. | Qty |
| 02-05-02887 | D801 fuse panel and rectifiers | 8701443 x1739 | 3 |
| 02-05-02888 | D804 switching power unit +8.2V | 3151 685 B3305 | 3 |
| 02-05-02889 | D805 Voltage regulator +5V | 845 8069 X1750 | 3 |
| 02-05-02890 | D830 Display pane | 8458 085 x1750 | 3 |
| 02-05-02891 | D833 unit + range keys | 84 58 101 x1750 | 3 |
| 02-05-02892 | D834 equipment display | 8593 964 x1750 | 3 |
| 02-05-02893 | D835 manual panel | 8458 127 x1750 | 3 |
| 02-05-02894 | D69 Rear panel | 8134 173 x1575 | 3 |
| 02-05-02895 | D802 Voltage regulater +_ 15V /+_ 12V | 8460 727 x1732 | 3 |
| 02-05-02896 | D803 Switching power unit + 5V | 3173929 B 3305 | 3 |
| 02-05-02897 | D810 Central unit M6 | 8593956 x1732 | 4 |
| 02-05-02898 | D811 Memory | 8463457 x1732 | 4 |
| 02-05-02899 | D812 inter face controller | 8460958 x1732 | 3 |
| 02-05-02900 | D813 PAL board | 8702128 x1732 | 4 |
| 02-05-02901 | D815 tube load calculator | 8697401 x1922 | 3 |
| 02-05-02902 | D819 Bus wiring | 8463374 x1732 | 3 |
| 02-05-02903 | D820 Filament inverter | 8459646 x1732 | 3 |
| 02-05-02904 | D821 Filament control | 8703365 x1732 | 3 |
| 02-05-02905 | D821 A Filament control | 8711202 x1732 | 3 |
| 02-05-02906 | D840 KV -regulator | 8700726 x1732 | 4 |
| 02-05-02907 | D851 V24 Converter | 8617300 x1740 | 3 |
| 02-05-02908 | D900 Iontomat rear pane | 8695934 x1758 | 3 |
| 02-05-02909 | D998 Over voltage protection | 8605271 x1745 | 3 |
| 02-05-02910 | D8 Chamber- curent amplifier | 8604951 x1190 | 3 |
| 02-05-02911 | D61 Voltage supply | 8061509 x1575 | 3 |
| 02-05-02912 | D64 Opto- isolation | 8061566 x1575 | 3 |
| 02-05-02913 | D65 Processor | 8061582 x1575 | 3 |
| 02-05-02914 | D67 Speed monitoring | 8061624 x1575 | 3 |
| 02-05-02915 | D631 Serial - parallel converter | 7228117 x1575 | 3 |
| 02-05-02916 | D806 Voltage regulator +24V | 8617201 x1732 | 3 |
| 02-05-02917 | D870 Poly- image - intensifier program memory | 8458432 x1766 | 3 |
| 02-05-02918 | D885 N80 control | 8607350 x1813 | 4 |
| 02-05-02919 | D890 KK- interface controller | 8606238 x1732 | 3 |
| 02-05-02920 | D891 KK 1B converter | 8606253 x1732 | 3 |
| 02-05-02921 | D892 KK 2 converter | 8606279 x1732 | 3 |
| 02-05-02922 | D901A iontomat - mommomat control | 8459810 x1758 | 3 |
| 02-05-02923 | D902A iontomat signal matching | 8606006 x1797 | 3 |
| 02-05-02924 | D46 Actual -value sensing | 8055931 x1415 | 3 |
| 02-05-02925 | D45 Adapter | 8155956 x1415 | 3 |
| 02-05-02926 | HI high- voltage generator | 7240088 x1415 | 3 |
| 02-05-02927 | X-ray tube 1253051 |  | 3 |
| 02-05-02928 | X-ray tube 1254072 |  | 3 |
| 02-05-02929 | D886 power circuit | 8617136 | 4 |
|  | Spare parts for siregraph 2 (SIEMENS) Quantity installed : 1 |  |  |
| 02-05-02930 | D17 counter board | 8182131 G 5276 | 2 |
| 02-05-02931 | D22 Data bus board | 8373920 G 5306 | 2 |
| 02-05-02932 | D23 CPU board ( ZG) | 8573586 G 5306 | 2 |
| 02-05-02933 | D26 Multiple board ( ZG) | 8373847 G 5306 | 2 |
| 02-05-02934 | D27 stepper motor board | 8373821 G 5306 | 2 |
| 02-05-02935 | D29 poket terminal interface | 8573602 G 5306 | 2 |
| 02-05-02936 | D33 A,B all storage effect board | 8323800 G 5276 | 2 |
| 02-05-02937 | D34 A,B thy ristor board | 8373177 G 5306 | 2 |
| 02-05-02938 | D60 comsole board | 8573560 G 5306 | 2 |
| 02-05-02939 | D61 A-E reciver board | 8057481 G 5276 | 2 |
| 02-05-02940 | D62 A-E transmitter board | 8057333 G 5276 | 2 |
| 02-05-02941 | D63 5V power back | 3150042 B 3305 | 2 |
| 02-05-02942 | D49 a-c Diode circuit board | 8323479 G 5276 | 2 |
| 02-05-02943 | D52 IR - transmit circuit board | 8323271 G 5276 | 2 |
| 02-05-02944 | D48 b,c fork -light cablinet | 8057309 G 5272 | 2 |
| 02-05-02945 | D53b Encoder circuit board | 8323446 G5276 | 2 |
| 02-05-02946 | D80 a-d light barrier PC board | 8573354 G 5306 | 2 |
| 02-05-02947 | D50 Transmit circuit board | 8323198 G 5276 | 2 |
| 02-05-02948 | D51 Receive circuit board | 8323214 G 5276 | 2 |
| 02-05-02949 | Tilt motor | AM3 | 1 |
| 02-05-02950 | Longitudinal carriage motor | AM4 | 1 |
| 02-05-02951 | Column motor | AM5 | 1 |
| 02-05-02952 | Layer-height motor | AM6 | 1 |
| 02-05-02953 | SID motor | AM7 | 1 |
| 02-05-02954 | Tube rotation motor | AM8 | 1 |
| 02-05-02955 | Compression motor | AM9 | 1 |
| 02-05-02956 | Table longitudinal motor | AM10A | 1 |
| 02-05-02957 | table transverse motor | AM10B | 1 |
| 02-05-02958 | Collimator plate motor ( width ) | AM101 | 1 |
| 02-05-02959 | Collimator plate motor (height ) | AM1021 | 1 |
| 02-05-02960 | Gride motor | AM103 | 1 |
| 02-05-02961 | Film labelling motor (height ) | AM104 | 1 |
| 02-05-02962 | Cassette carriage motor (height) | AM102 | 1 |
| 02-05-02963 | Grid motor | AM103 | 1 |
| 02-05-02964 | Film labelling motor (height) | AM104 | 1 |
| 02-05-02965 | Cassette carriage motor ( height) | AM105 | 1 |
| 02-05-02966 | Cassette carriage motor (lateral) | AM106 | 1 |
|  | Spare part for KODAK RP X-OMAT processor model M6AW |  |  |
| 02-05-02967 | Nipple (3) | 184824 | 20 |
| 02-05-02968 | Spacer | 458205 | 10 |
| 02-05-02969 | Spacer | 458236 | 10 |
| 02-05-02970 | Pulley | 4589 01 | 50 |
| 02-05-02971 | Pulley | 458946 | 5 |
| 02-05-02972 | Belt | 462452 | 20 |
| 02-05-02973 | Motor ( B2) | 466966 | 5 |
| 02-05-02974 | Header assembly | 467867 | 5 |
| 02-05-02975 | G roller | 470086 | 10 |
| 02-05-02976 | Nut | 472755 | 10 |
| 02-05-02978 | Nut | 472756 | 10 |
| 02-05-02979 | Thermostat | 472949 | 10 |
| 02-05-02980 | Thermostat ( B3) | 472992 | 10 |
| 02-05-02981 | Bushing (2) | 473220 | 10 |
| 02-05-02982 | Keeper plate (2) | 473221 | 10 |
| 02-05-02983 | Spacer | 473538 | 10 |
| 02-05-02984 | Spacer | 473539 | 10 |
| 02-05-02985 | Relay (UI) | 593740 | 10 |
|  | Spare parts for invearmeter |  |  |
| 02-05-02986 | IM 050 Inverto matic Energy conversion Ltd 6595 Riazzino / Locurmo / Switzzeland Series Nr. 1985 - 56 HZ made in Germany |  | 1 |

|  | Spare parts for Eyes |  |
| --- | --- | --- |
| 02-05-02987 | Equipment- NEG-YAG-Laser Company manufacturer:- Carl- zeiss NAG- YAG Germany Flash lamp | 50 |
| 02-05-02988 | Equipment:- Indirect ophthalmoscope Company manufacturer:- Keeler Lamp dualite | 50 |
| 02-05-02989 | Equipment: indirect ophthal moscope Company manufacturer:- dualite - England Lamp 6V-30W | 100 |
| 02-05-02990 | head fitting | 10 |
| 02-05-02991 | Equipment: phocimeter Company manufacturer:- Top Con-Japan Model :LM-5 Lamp LM 880 Z 220V-15W | 50 |
| 02-05-02992 | Equipment: phocimeter Company manufacturer:- Top Con-Japan Model :LM-P5 Lamp 6V-15W | 50 |
| 02-05-02993 | Equipment: phocimeter Company manufacturer:- Top Con-Japan Model :LM-6 Lamp 220V-15W | 50 |
| 02-05-02994 | Equipment: phocimeter Company manufacturer:- Indmi -Japan Lamp 220V-15W | 50 |
| 02-05-02995 | Equipment: phocimeter Company manufacturer:- TMI -Japan Model :LM-EX Lamp 220V-15W | 50 |
| 02-05-02996 | Equipment: Operative microscope Company manufacturer:- Heraeus W.- Germany Lamp 22.8V-50W | 150 |
| 02-05-02997 | Equipment: Euko- ultrasound Company manufacturer:- Ophtascan B-C Euko Prop. | 10 |
| 02-05-02998 | Equipment: Electric cautery Company manufacturer:- Aesculap- Germany Prop. 670 Gk | 30 |
| 02-05-02999 | Foot switch | 20 |
| 02-05-03000 | Equipment: Keratometer Company manufacturer:- TOP CON- Japan Lamp | 200 |
| 02-05-03001 | Equipment: Biometer Company manufacturer:- Storz Model: Alpha II Prop. 046/00083 | 10 |
| 02-05-03002 | Equipment :Vitrectomy Company manufacturer:-Laser fotocoagulador S32 Prop. | 6 |
| 02-05-03003 | Equipment: Synaptophore Company manufacturer:- Clement clarke- London Model: 2001 -610 Lamp 6V -3 A | 50 |
| 02-05-03004 | Halogen Lamp 6V-20 A | 50 |
| 02-05-03005 | Equipment: Radio scop Company manufacturer:- EYCO- Japan Model: RS-1 Lamp 6V -25 W | 30 |
| 02-05-03006 | Transformer 6V -20W | 5 |
| 02-05-03007 | Equipment:ECG Company manufacturer:- NIHON -Japan Model: ECG-5151 Styles | 10 |
| 02-05-03008 | Equipment: Direct ophthalmoscope Company manufacturer:- Keeler Lamp 3.8V | 100 |
| 02-05-03009 | Lamp 2.6V | 100 |
| 02-05-03010 | Equipment: Refractometer( Computerise) Company manufacturer:- TOP CON Model: RM-A5000 Paper role | 5 box |
| 02-05-03011 | Equipment: Cat Ford Company manufacturer:- Keeler Motor 12V/2VA | 5 |
| 02-05-03012 | Reverseaction stick | 5 |
| 02-05-03013 | Equipment: Floor- Operative microscope Company manufacturer:- ZEISS Model: YS3 Halogen lamp 12V /100W | 50 |
| 02-05-03014 | Fiber O ring 303 481-81 09 | 50 |
| 02-05-03015 | Equipment: Mounted operative light Company manufacturer:- HANA ZEISS Model: Opmi 6-CFC- XY Halogen lamp 15V/150W | 100 |
| 02-05-03016 | Equipment: Retinoscope Company manufacturer:- HEINE W.-Germany Model: HRS 2 Lamp G1803/2.5V | 100 |
| 02-05-03017 | Battry 3.6V /14HRS 175mA | 50 |
| 02-05-03018 | Equipment: Retinoscope Company manufacturer:- Keeler Lamp 3.6V | 100 |
| 02-05-03019 | Equipment: Slit lamp 900 Company manufacturer:- TOP CON Model: HAAg-Streit AG CH - 3097 Liebefeld- bern Lamp 900-930 6V/4.5A | 100 |
| 02-05-03020 | Equipment: NAG-YAG -Laser Company manufacturer:- CARL ZEISS W.G 306860 Model: 100-110-120-127-50-60 HZ (CPS) 150VA Lamp WOTEN 12V 3W 64260 Germany | 100 |
| 02-05-03021 | Flash lamp | 25 |
| 02-05-03022 | Equipment: Argon laser Company manufacturer:- ZEISS-London Model: 142941 ZEISS Tube | 20 |
| 02-05-03023 | 4 angle lence | 20 |
| 02-05-03024 | Mainster Argon Laser Contact lens | 50 |
| 02-05-03025 | Mainster ultra-PRP -Argon laser lens | 50 |
| 02-05-03026 | 4Mirror coated argon laser lens | 30 |
| 02-05-03027 | Equipment: Less screen Company manufacturer:- HAMBLIN Model: 313-166 Foot switch | 4 |
| 02-05-03028 | SPARE PARTS FOR OPERATING THEATRE LIGHT Equipment : operating theatre light Model : DKS -8003 Bulb 6.6A 100W | 150 |
| 02-05-03029 | Bulb 22.8V 75w | 150 |

|  | Description | Ref. No | Qty. |
| --- | --- | --- | --- |
| 02-05-03030 | SPARE PARTS FOR STERILLIZERS Lock washer | E0037 | 20 |
| 02-05-03031 | Screw | E0090 | 10 |
| 02-05-03032 | Lock washer | E0246 | 20 |
| 02-05-03033 | Nut | E2033 | 10 |
| 02-05-03034 | Screw | E2142 | 6 |
| 02-05-03035 | Holder ,fuse | B2173 | 2 |
| 02-05-03036 | Spring | 03157 | 5 |
| 02-05-03037 | Replacement Scal ,bellows ,gasket | 03198 | 200 |
| 02-05-03038 | Valve ,Sfety 03352 | 61870 | 5 |
| 02-05-03039 | Switch | 03483 | 6 |
| 02-05-03040 | Ball | 03610 | 4 |
| 02-05-03041 | Valve, vacuum breaker ,3/4” | 03694 | 1 |
| 02-05-03042 | Screw | E4636 | 30 |
| 02-05-03043 | Screw | E4637 | 10 |
| 02-05-03044 | Screw | E4640 | 20 |
| 02-05-03045 | Screw | E1837 | 3 |
| 02-05-03046 | Gasket ,bellows housing | 04915 | 40 |
| 02-05-03047 | Screw | E4949 | 20 |
| 02-05-03048 | Nut | E5276 | 5 |
| 02-05-03049 | Valve , Solenoid | 53011 | 5 |
| 02-05-03050 | Screw | E5386 | 6 |
| 02-05-03051 | Screw | E6201 | 20 |
| 02-05-03052 | Valve, Globe 1/2” | 07648 | 1 |
| 02-05-03053 | Valve , union, angle ,1/2” | 07650 | 1 |
| 02-05-03054 | Replacement scal , bellows , gasket | 07809 | 200 |
| 02-05-03055 | Bearing thrust | 07840 | 5 |
| 02-05-03056 | Lamp | 07863 | 20 |
| 02-05-03057 | Fuse , 5 amp | 08442 | 10 |
| 02-05-03058 | Air release assembly | 11666 | 6 |
| 02-05-03059 | Switch , door | 13271 | 4 |
| 02-05-03060 | Disc, filter | 13275 | 10 |
| 02-05-03061 | Swith | 13300 | 10 |
| 02-05-03062 | Spring | 13389 | 2 |
| 02-05-03063 | Motor assy,120 V ,50Hz | 13407 | 1 |
| 02-05-03064 | Lubricator ,Felt | 13424 | 200 |
| 02-05-03065 | Ring, valve , teflon | 22626 | 200 |
| 02-05-03066 | “O” ring, valve stem packing | 22630 | 400 |
| 02-05-03067 | Spring , valve | 22633 | 20 |
| 02-05-03068 | Seat, removable, valve | 22638 | 50 |
| 02-05-03069 | Valve assembly | 22647 | 5 |
| 02-05-03070 | Recorder charts(box of 100) | 73365 | 20 |
| 02-05-03071 | Handle, pointer | 23545 | 5 |
| 02-05-03072 | Hub, handle mounting | 23546 | 2 |
| 02-05-03073 | Gasket , cored | 26456 | 5 |
| 02-05-03074 | Replacement seat , bellows gasket | 27557 | 15 |
| 02-05-03075 | Terminal assambly | 27602 | 1 |
| 02-05-03076 | Circuit breaker,5 amp | 27625 | 2 |
| 02-05-03077 | Lamp,pilot light assy | 27689 | 2 |
| 02-05-03078 | Valve , safty , (replaces 27744) | 61871 | 1 |
| 02-05-03079 | Valve, safty 33 p.s.i. | 27833 | 1 |
| 02-05-03080 | Switch,pressure | 28510 | 4 |
| 02-05-03081 | Switch ,Bank Assy | 28661 | 1 |
| 02-05-03082 | Oil ,high temp x488(1 pt.tin) | 29158 | 15 |
| 02-05-03083 | Bellows assy | 29774 | 20 |
| 02-05-03084 | Spring | 29791 | 5 |
| 02-05-03085 | Rod, lock , actuating | 29805 | 4 |
| 02-05-03086 | Wick , oil | 29955 | 5 |
| 02-05-03087 | Spring | 31625 | 5 |
| 02-05-03088 | Bearing , hinge | 31902 | 100 |
| 02-05-03089 | Pin | 31903 | 50 |
| 02-05-03090 | Spring | 31904 | 10 |
| 02-05-03091 | Motor assembly | 31946 | 1 |
| 02-05-03092 | Filter , steam | 32412 | 2 |
| 02-05-03093 | Valve assembly | 33038 | 3 |
| 02-05-03094 | Switch , temp. , SPDT | 34295 | 2 |
| 02-05-03095 | Condenser | 34500 | 2 |
| 02-05-03096 | Valve | 34506 | 1 |
| 02-05-03097 | Bellows assembly | 34621 | 25 |
| 02-05-03098 | Body assembly, valve | 34621 | 2 |
| 02-05-03099 | Stem assy,bellows | 35073 | 25 |
| 02-05-03100 | Light,pilot,120 V 50 Hz | 35220 | 10 |
| 02-05-03101 | Spring | 35605 | 5 |
| 02-05-03102 | Plunger assy | 35606 | 20 |
| 02-05-03103 | Lamp | 36569 | 40 |
| 02-05-03104 | Resistor | 36603 | 4 |
| 02-05-03105 | Disc , washer, float for vac. brkr | 36664 | 20 |
| 02-05-03106 | Pressure regulator assembly | 37564 | 2 |
| 02-05-03107 | Gage , pressure , jacket | 37887 | 15 |
| 02-05-03108 | Gage , pressure , chamber | 37888 | 15 |
| 02-05-03109 | Handle assembly | 37936 | 1 |
| 02-05-03110 | Pointer , manual | 37943 | 2 |
| 02-05-03111 | Switch, selector | 38174 | 1 |
| 02-05-03112 | Circuit breaker , 5Amp | 38500 | 2 |
| 02-05-03113 | Switch , push push button | 39051 | 1 |
| 02-05-03114 | Stud , locking | 39480 | 10 |
| 02-05-03115 | Replacement disc | 39515 | 400 |
| 02-05-03116 | Replacement disc | 39516 | 10 |
| 02-05-03117 | Light, pilot | 39708 | 6 |
| 02-05-03118 | Gauge ,temperature | 39889 | 15 |
| 02-05-03119 | Switch | 39896 | 1 |
| 02-05-03120 | Relay | 39910 | 2 |
| 02-05-03121 | Solenoid (40003 replacement) | 55186 | 1 |
| 02-05-03122 | Thermostat | 40268 | 6 |
| 02-05-03123 | Switch | 40269 | 6 |
| 02-05-03124 | Light | 40272 | 6 |
| 02-05-03125 | Water reservoir tank assy | 40285 | 2 |
| 02-05-03126 | Motor , fan | 40291 | 3 |
| 02-05-03127 | Glass,sight | 40297 | 4 |
| 02-05-03128 | Switch | 40293 | 6 |
| 02-05-03129 | Plug | 40298 | 4 |
| 02-05-03130 | Light | 40319 | 6 |
| 02-05-03131 | Thermostat, low water (replaces 40326) | 61858 | 3 |
| 02-05-03132 | Spring | 40339 | 2 |
| 02-05-03133 | Relay , DPDT | 40502 | 1 |
| 02-05-03134 | Replacement disc holder | 40709 | 100 |
| 02-05-03135 | Replacement disc | 40710 | 500 |
| 02-05-03136 | Thermometer | 40747 | 6 |
| 02-05-03137 | Valve , solenoid. 1/2” | 43751 | 1 |
| 02-05-03138 | Moter , gear , 120V 50Hz (replases 43753) | 52083 | 1 |
| 02-05-03139 | Screen (replacament for 37189) | 43907 | 20 |
| 02-05-03140 | Buzzer (or P/N 44634) | 43920 | 4 |
| 02-05-03141 | Relay, time delay | 44070 | 2 |
| 02-05-03142 | Parts kit for P/N 43751 | 44088 | 2 |
| 02-05-03143 | Gasket , door | 44599 | 200 |
| 02-05-03144 | Gasket door | 44600 | 40 |
| 02-05-03145 | Gauge | 46059 | 12 |
| 02-05-03146 | Timer, drying , 50Hz | 46141 | 2 |
| 02-05-03147 | Timer ,50Hz | 46278 | 1 |
| 02-05-03148 | Timer , 90min., 50Hz | 46622 | 2 |
| 02-05-03149 | Handle , moulded | 46638 | 2 |
| 02-05-03150 | Motor assy , cam drive , 50Hz | 46755 | 1 |
| 02-05-03151 | Capacitor | 51251 | 1 |
| 02-05-03152 | Gasket , door | 52217 | 24 |
| 02-05-03153 | Ink, cartridge supply (pk of 6) | 52255 | 10 |
| 02-05-03154 | Spring | 54917 | 8 |
| 02-05-03155 | Heater | 56531 | 20 |
| 02-05-03156 | Cap, lens , green | 58002 | 10 |
| 02-05-03157 | Switch assy ,push button | 58003 | 10 |
| 02-05-03158 | Timer ,cycle , 1min. | 58004 | 5 |
| 02-05-03159 | Fuse | 58147 | 30 |
| 02-05-03160 | Valve | 59798 | 3 |
| 02-05-03161 | Holder & Stylus cartridge | 33730 | 2 |
| 02-05-03162 | Screen ,chamber drain | 07181 | 20 |
| 02-05-03163 | Replacement screen | 43908 | 1 |
| 02-05-03164 | Probe, liquid level detector | 43919 | 1 |
| 02-05-03165 | Replacement disc | 03388 | 5 |
| 02-05-03166 | Replacement disc (N/A) | 08281 | 5 |
| 02-05-03167 | Replacement disc (N/A) | 31834 | 5 |
| 02-05-03168 | Equipment : sterilizer High pressure tube 10 par |  | 4 |
| 02-05-03169 | Plastic water reservior |  | 1 |
| 02-05-03170 | Equipment:X-Ray(fixed) company :Shimadzo Tube of X-Ray | 1 |  |
| 02-05-03171 | Equipment:X-Ray( portable) company :Shimadzo Tube of X-Ray | 3 |  |
| 02-05-03172 | Equipment:X-Ray( portable) company :Tochiba Tube of X-Ray | 1 |  |
| 02-05-03173 | Equipment: ECG company : A.O Patient cable for ECG | 2 |  |
| 02-05-03174 | Equipment: ECG company : Nehon Patient cable for ECG | 2 |  |
| 02-05-03175 | Equipment: ECG company : hp. Patient cable for ECG | 3 |  |
| 02-05-03176 | Halogen lamp of op.projector Model : 50-24 V | 40 |  |
| 02-05-03177 | Lamp for protaple projector Model : 35W-24V | 40 |  |
| 02-05-03178 | Equipment : Incubator Company :Vickers Thermostat | 3 |  |
| 02-05-03179 | DG shock stayless CR | 1 |  |
| 02-05-03180 | Patient cable DG shock CR | 3 |  |
| 02-05-03181 | DC shock battrey | 3 |  |
| 02-05-03182 | Centrfuge motor T30 | 2 |  |
| 02-05-03183 | Centrfuge motor T52 | 1 |  |
| 02-05-03184 | Oven thermostat (memert ) | 2 |  |
| 02-05-03185 | Oven thermostat (IMS) | 2 |  |
| 02-05-03186 | Incubator thermostat (memert ) | 1 |  |
| 02-05-03187 | Photocell (specal 10) | 4 |  |
| 02-05-03188 | Lamp (spectronic 20) | 4 |  |
| 02-05-03189 | Heater for distilizer | 2 |  |
| 02-05-03190 | Eliment water bath (CFL) | 1 |  |
| 02-05-03191 | Main board for massage instrument (ITO) | 3 |  |
| 02-05-03192 | Crystal sonicade | 4 |  |
| 02-05-03193 | Nebulizer spare part | 4 |  |
| 02-05-03194 | Diephram of liqu. Secar (SAM20) | 20 |  |
| 02-05-03195 | Power tramsastor for cuttery (Bux 80) | 10 |  |
| 02-05-03196 | Control transastor (D45) | 4 |  |
| 02-05-03197 | Control transastor (D44) | 4 |  |
| 02-05-03198 | Risistor (2.2) | 4 |  |
| 02-05-03199 | IC control(7808) | 4 |  |
| 02-05-03200 | Cuttary hand piece | 4 |  |
| 02-05-03201 | Optical lenss of microscope (will) | 2 |  |
| 02-05-03202 | Lenss of microscope (No 40 will) | 1 |  |
| 02-05-03203 | Lenss of microscope (No 100 Olimpic ) | 1 |  |
| 02-05-03204 | Microscope lamp (Olimpic) | 5 |  |

|  | Spare parts for siregraph 2 (SIEMENS) Quantity installed : 1 |  |  |
| --- | --- | --- | --- |
| 02-05-03205 | D30 24V stabilizastion | 8573669 G 5306 | 2 |
| 02-05-03206 | D31 LOW - pass | 8373227G5306 | 2 |
| 02-05-03207 | D32 motor control | 8349505 G 5334 | 2 |
| 02-05-03208 | D41A Dual power supply | 4252136 x1100 | 2 |
| 02-05-03209 | D41B power attachement | 2062321 x1100 | 2 |
| 02-05-03210 | D71 switch controller | 3151818 B 3305 | 2 |
| 02-05-03211 | D1C, D small -power motor control | 8373110 G 5306 | 2 |
| 02-05-03212 | D2A, B thyristor control 3 | 8373441 G 5306 | 2 |
| 02-05-03213 | D3 Infrared decoder | 8573685 G 5306 | 2 |
| 02-05-03214 | D5 power switch | 8139560 G 5276 | 2 |
| 02-05-03215 | D11 Input sircuit board | 8139503 G5276 | 2 |
| 02-05-03216 | D8 A/D converter | 8323651 G 65276 | 2 |
| 02-05-03217 | D13 processor monitoring | 8373701 G 5306 | 2 |
| 02-05-03218 | D21 data bus circuit board | 8373904 G 5306 | 2 |
| 02-05-03219 | D35 CPU board GG | 8373300 G 5306 | 2 |
| 02-05-03220 | D24 multiple board (GG ) | 8373862 G 5306 | 2 |
| 02-05-03221 | D25 dual port circuit board | 8373888 G5306 | 2 |
| 02-05-03222 | D28 Fiber - optic interface 2 | 8373961 G 5306 | 2 |
| 02-05-03223 | D1a small -power motor control | 8373110 G 5306 | 2 |
| 02-05-03224 | D9Digital motor control 2 | 8373268 G 5306 | 2 |
| 02-05-03225 | Rubber tire for wheel chair (Korea) Large |  | 50 |
| 02-05-03226 | Rubber tire for wheel chair (Korea) Small |  | 50 |

| Code | Item | Part No. | QTY. |
| --- | --- | --- | --- |
| 02-05-03227 | Equipment:CT-Scan Model:Somtom-HQ Serial No.8989 Company/Manufacturer:Siemens Quantity:1 Site:Medical city/Hospital/Surgical Hospital # Gantry BRD D1 | 8530529 | 1 |
| 02-05-03228 | BRD D2 | 8530595 | 1 |
| 02-05-03229 | D3 | 1123632 | 1 |
| 02-05-03230 | D4 | 1123947 | 1 |
| 02-05-03231 | D10 | 8530644 | 1 |
| 02-05-03232 | D12 | 8530685 | 1 |
| 02-05-03233 | D13 | 8530701 | 1 |
| 02-05-03234 | Timing BRD D14 | 8530727 | 1 |
| 02-05-03235 | D15 | 8530747 | 1 |
| 02-05-03236 | D17 | 8530784 | 1 |
| 02-05-03237 | DC modul D12 | 7484652 | 1 |
| 02-05-03238 | Converter AC-DC E4B,27/+4 – 6V 25 A | 3173929 | 1 |
| 02-05-03239 | Micro switch S2,S3,S4 | 1070721 | 3 |
| 02-05-03240 | Comi-SCS-Firmware | 8791030 | 1 |
| 02-05-03241 | SCU- Firmware | 1160170 | 1 |
| 02-05-03242 | Diazed fuse 6A 500V Treag | 1005370 | 5 |
| 02-05-03243 | Diazed fuse 4A 500V Treag | 3010022 | 5 |
| 02-05-03244 | Diazed fuse 10A 500V Treag | 1009505 | 5 |
| 02-05-03245 | Diazed fuse 63A 500V SE | 1068030 | 5 |
| 02-05-03246 | Temp.switch tube 75GRDC 1 75 degrees | 4665105 | 2 |
| 02-05-03247 | ## Power Destribution Cabinet Diazed fuse 20/500V TR | 1011147 | 5 |
| 02-05-03248 | ## 25A/500V Treag | 1007152 | 5 |
| 02-05-03249 | ## 16A/500V Treag | 1010420 | 5 |
| 02-05-03250 | ## 10A/500V Treag | 1009505 | 5 |
| 02-05-03251 | ## 2A/500V Treag | 1007145 | 5 |
| 02-05-03252 | ## BRD D1 | 4393708 | 1 |
| 02-05-03253 | ## SMI D80 | 8719114 | 1 |
| 02-05-03254 | ## D81 | 8719130 | 1 |
| 02-05-03255 | ## D88 | 8726549 | 1 |
| 02-05-03256 | ## D94 | 8735789 | 1 |
| 02-05-03257 | ## D22 | 8530081 | 1 |
| 02-05-03258 | ## Switching Power Supply E40,E4E,271+11-16V 8A | 3167210 | 1 |
| 02-05-03259 | ## REP REG E46 220/+5V 30A | 7712334 | 1 |
| 02-05-03260 | ## REP REG D4 | 8725830 | 1 |
| 02-05-03261 | ## D21 | 8119158 | 1 |
| 02-05-03262 | ## D29 | 8720500 | 1 |
| 02-05-03263 | ## D30 | 8041402 | 1 |
| 02-05-03264 | ## D32 | 8041444 | 1 |
| 02-05-03265 | ## D33 | 8041469 | 1 |
| 02-05-03266 | ## D55 | 8725855 | 1 |
| 02-05-03267 | ## D65 | 8719155 | 1 |
| 02-05-03268 | ## D71 | 8729568 | 1 |
| 02-05-03269 | ## Patient-Table Power Amp.D12 | 7424567 | 1 |
| 02-05-03270 | ## BRD D10 | 8326522 | 1 |
| 02-05-03271 | ## BRD D11 | 8790560 | 1 |
| 02-05-03272 | ## Micromatic-CW Interface BRD D3 | 9351032 | 1 |
| 02-05-03273 | ## Power Supply BRD D5 | 6931984 | 1 |
| 02-05-03274 | ## D7 | 9102278 | 1 |
| 02-05-03275 | ## Thyristor –Diode(-)CPL | 9307430 | 3 |
| 02-05-03276 | ## Thyristor –Diode(+)CPL | 9307265 | 3 |
| 02-05-03277 | ## DSC D10 | 8790669 | 1 |
| 02-05-03278 | ## D28 | 8790701 | 1 |
| 02-05-03279 | ## DMC D1 | 8869653 | 1 |
| 02-05-03280 | ## D6 | 7760655 | 1 |
| 02-05-03281 | ## Pin | 8776601 | 1 |
| 02-05-03282 | ## D5 | 8786774 | 1 |
| 02-05-03283 | ## D8 | 8786543 | 1 |
| 02-05-03284 | ## D15 | 8790933 | 1 |
| 02-05-03285 | ## Power supply 27/+4-6V 12A | 3173911 | 1 |
| 02-05-03286 | ## BRD 27/+-4 -6V 25A | 3173929 | 1 |
| 02-05-03287 | ## BRD 27/2*11-16 2*4A | 3174703 | 1 |
| 02-05-03288 | Equipment:Prosessor Model:M 6 A W Company/Manufacturer:Kodak R P X-O M A T Quantity:10 Site:Medical city/Hospital/Surgical Hospital ## Nipple(3) | 184823 | 20 |
| 02-05-03289 | Spacer | 458205 | 10 |
| 02-05-03290 | Pulley | 458901 | 50 |
| 02-05-03291 | Pulley | 458946 | 5 |
| 02-05-03292 | Belt | 462452 | 20 |
| 02-05-03293 | Motor(B2) | 466966 | 5 |
| 02-05-03294 | Header Assembly | 467867 | 5 |
| 02-05-03295 | Groller | 470086 | 10 |
| 02-05-03296 | Nut | 472755 | 10 |
| 02-05-03297 | Nut | 472756 | 10 |
| 02-05-03298 | Thermostat | 472949 | 10 |
| 02-05-03299 | Thermostat (B3) | 472992 | 10 |
| 02-05-03300 | Bushing (2) | 473220 | 10 |
| 02-05-03301 | Spacer | 473538 | 10 |
| 02-05-03302 | Spacer | 473539 | 10 |
| 02-05-03303 | Keeper plate (2) | 473221 | 5 |
| 02-05-03304 | Relay (U1) | 593740 | 10 |
| 02-05-03305 | Equipment:Multi Analysing System Model:Astra –8- Company/Manufacturer:Beckman Quantity:3 Site:Medical city/Hospital 1.Surgical Hospital 2.Laboratory Glucose module rapid kit | 669000 | 2 |
| 02-05-03306 | Bun module operating instruction | 555587 | 2 |
| 02-05-03307 | NA/K module operating instruction | 555588 | 3 |
| 02-05-03308 | Glucose module operating instruction | 555591 | 3 |
| 02-05-03309 | Creatinine module operating instruction | 555592 | 3 |
| 02-05-03310 | Transport Assy,wired | 499-668390 | 1 |
| 02-05-03311 | Contact assy | 724-665776 | 1 |
| 02-05-03312 | ARM,Adjustment molded | 325-665932 | 1 |
| 02-05-03313 | Actuator | 226-668327 | 1 |
| 02-05-03314 | S.C.D Motor | 842-668329 | 1 |
| 02-05-03315 | Gear, Reworked | 201-669167 | 1 |
| 02-05-03316 | Cylinder assy –5 ml | 449-668271 | 1 |
| 02-05-03317 | Sample pump module | 668150-R | 1 |
| 02-05-03318 | Fan assy | 241-657918 | 1 |
| 02-05-03319 | Buzzer,cable assy | 662-657783 | 2 |
| 02-05-03320 | Fan assy | 241-657918 | 3 |
| 02-05-03321 | S.C.D ,Key board | 716-668250 | 1 |
| 02-05-03322 | BD assy truntable/wash CUP | 855-668810 | 1 |
| 02-05-03323 | CRT assy hewlett packard | 449-669527 | 1 |
| 02-05-03324 | Rectifire,bridge 50 V 10A | 774-836999 | 1 |
| 02-05-03325 | Voltage Regulator +24V 1A, | 885-873439 | 1 |
| 02-05-03326 | Voltage Regulator,MC 7812 CP | 885-876291 | 1 |
| 02-05-03327 | Rectifire ,50V 2A | 774-879665 | 1 |
| 02-05-03328 | Electrode,Sodium | 66895 | 2 |
| 02-05-03329 | Electrode, Potassium | 669114 | 2 |
| 02-05-03330 | Clucose module | 668170 | 1 |
| 02-05-03331 | Clucose Electrode | 670522 | 2 |
| 02-05-03332 | Printer head | 657910 | 2 |
| 02-05-03333 | Disck Driver | K159227 | 2 |
| 02-05-03334 | Equipment:ECHO Model:Sonoline of Company/Manufacturer:Siemens Site:Medical city/Hospital/Surgical Hospital ## Monitor sony model No.CPD -9090 |  | 1 |
| 02-05-03335 | Probe 3.5 MHZ 83 39 210 L1001 |  | 1 |
| 02-05-03336 | Probe 5 MHZ 83 39 228 L1001 |  | 1 |
| 02-05-03337 | Equipment:Servo Ventelator Model:900 c Company/Manufacturer:Siemens Elma Site:Medical city/Hospital/Surgical Hospital Inlet valve |  | 20 |
| 02-05-03338 | O2 cell |  | 20 |
| 02-05-03339 | Bacteria filter |  | 20 |
| 02-05-03340 | Relief/safty valve |  | 20 |
| 02-05-03341 | Flow transducer |  | 20 |
| 02-05-03342 | Expiratory valve |  | 20 |
| 02-05-03343 | Pressure transducer |  | 20 |
| 02-05-03344 | Working Pressure momometer |  | 20 |
| 02-05-03345 | Inspirotory valve |  | 20 |
| 02-05-03346 | Non-return flap valve |  | 10 |
| 02-05-03347 | Equipment:System Sirecust (monitering system) Model:1281 Company/Manufacturer:Siemens Site:Medical city/Hospital/Surgical Hospital A 160 Horiver beflation board | 87 91 436 | 2 |
| 02-05-03348 | A 250 mother board | 87 91 550 | 2 |
| 02-05-03349 | A 930 Battery board | 87 91 485 | 1 |
| 02-05-03350 | A 140 power supply board | 87 91 657 | 1 |
| 02-05-03351 | Equipment:Neuro scope Model:BSER Company/Manufacturer:Dantic Site:Medical city/Hospital/Surgical Hospital Cable 18 F (6M) | 107 -180 | 1 |
| 02-05-03352 | Head phone | TDA-39P | 1 |
| 02-05-03353 | Equipment:Anaeshictic machine Model:808 MV Company/Manufacturer:Drager Site:Medical city/Hospital/Surgical Hospital (Pressure regulator) | 8402745 | 20 |
| 02-05-03354 | 3/2-way valve | 8403006 | 20 |
| 02-05-03355 | Flow control valve | 840468 | 20 |
| 02-05-03356 | Bellows | 2M8138 | 10 |
| 02-05-03357 | Vent valve | 8404660 | 10 |
| 02-05-03358 | Vacuum relay |  | 40 |
| 02-05-03359 | Equipment:Treadmill Model:Sicard 440 Company/Manufacturer: Siemens Site:Medical city/Hospital/Surgical Hospital Keyboard unit Part No. 93 42 | 403EH44E | 1 |
| 02-05-03360 | Recommended spare parts &accessories for Automated coagulation timer &diagnostic kits |  | For one apparatus |
| 02-05-03361 | Recommended spare parts &accessories for Equipment:Glass distillator Company :Russin Model:JSC (chim labor pri POR 16) |  | For one apparatus |
| 02-05-03362 | ## Inspiration/Expiration valve unit No.900101(Blease 9100) |  | 1 |
| 02-05-03363 | ## Pneumatic Board No.PC 765-C-M Spare No. 697799E347E (Siemens,Servo 900C) |  | 1 |
| 02-05-03364 | ## Equipment:X-Ray Model:SAT-10 Company:Schemadzu/Japan X-Ray Tube |  | 1 |
| 02-05-03365 | ## Circlex 0.8 P3 8c |  | 1 |
| 02-05-03366 | ## Max 150 KV |  | 1 |
| 02-05-03367 | ## Pocous 0.8mm |  | 1 |
| 02-05-03368 | ## 200 Khu Rotating anode X-Ray tube assy |  | 1 |
| 02-05-03369 | ## Spare parts of somatom HIQ X-Ray tube | 156CT-103 MS | 2 |
| 02-05-03370 | ## Gautry belt | 7039522 F0705 | 2 |
| 02-05-03371 | ## X-Y Digitizer Pail |  | 3 |
| 02-05-03372 | ## (Matrix-Resistance) MED PT510 (pocket terminal) |  | 1 |
| 02-05-03373 | ## CPU-D28 K1056 |  | 1 |
| 02-05-03374 | ## Spare parts for medical equipment for neurosurgical center ## Equipment:Gusa Company:Copper medical 88 Hamilton Avenue,Stamford CT 06904 4.5 A Model: Ns-100-AEB Handpiece pkgd-cusa | 212-300 | 8 |
| 02-05-03375 | ## Cable assy handpiece | 213 490 001 | 8 |
| 02-05-03376 | ## Acoostic vibrator assy | 210 580 001 | 8 |
| 02-05-03377 | ## P.C Board Assy-A3 U/S generator | 210 720 000 | 8 |
| 02-05-03378 | PC board Assy A1 Logic | 210 720 000 | 8 |
| 02-05-03379 | ## PC board Assy A2 Logic | 210 830 000 | 8 |
| 02-05-03380 | ## Shematic-PC board A4 Driver | 240 980 000 | 8 |
| 02-05-03381 | ## Motor control board assy | 211 160 000 | 8 |
| 02-05-03382 | ## Equipment:Roche Company:Tegimenta CH-6343 rotkreuzag Switzerland ## Electric board made in italy elmi,ECS 36 Electric board | 94-00217 | 20 |
| 02-05-03383 | ## Electric board | 94-0021A | 20 |
| 02-05-03384 | ## Electric board | 94-00214 | 20 |
| 02-05-03385 | ## Electric board | 94-00019 C | 20 |
| 02-05-03386 | ## Electric board | 94-00018 | 20 |
| 02-05-03387 | ## Main transformer | 20211 | 10 |
| 02-05-03388 | ## Equipment:Cuttery martin type 2000 220V,VA=1100 hp=400w ## Company:Gebr –Martin Tublingen Generator 1 | 29-37/1 | 20 |
| 02-05-03389 | ## Generator 2 | 29-38/1 | 20 |
| 02-05-03390 | ## Control switch | 29-36 | 20 |
| 02-05-03391 | ## Board control | 29-35 | 20 |
| 02-05-03392 | ## Slid-resistant board | 29-46 | 20 |
| 02-05-03393 | ## Main transformer | 29-41/1 | 20 |
| 02-05-03394 | ## Power transister (type Delco –GM) | DTS-430 7829 | 200 |
| 02-05-03395 | ## Resistant | 1214-8L 2R2 10% | 20 |
| 02-05-03396 | ## Resistant | 2.2 10% K1 | 20 |
| 02-05-03397 | ## Equipment:sucker Type 20 220V,50 HZ ## Company:Aerosol products LTD,680 Garrte lane london SW 17 ONP Motor 220V,1400 RPM 1-Q | 844712 | 20 |
| 02-05-03398 | ## Filter |  | 50 |
| 02-05-03399 | ## Switch |  | 50 |
| 02-05-03400 | ## Change valve |  | 20 |
| 02-05-03401 | ## Vacume gage |  | 20 |
| 02-05-03402 | ## Dieframe |  | 100 |
| 02-05-03403 | ## Equipment:Moniter 220 V,50 HZ Company: Siemens West Germany Model: Sirecust 308 D ## Recomanded spare parts |  | 10 set |
| 02-05-03404 | ## Equipment:Servo Ventilator 900 B ## Company: Siemens elema AB,Sweden ## 66 05 497 E 037E Model:E 037E-SV 900 ## Recomanded spare parts |  | For 1 pace |
| 02-05-03405 | ## Equipment:Sucker Silent ## Company : Charles austen pumps LTD ## 100 Royston road byflect weybridge surrey England KT 14 7PB ## Model: B105.SIE voltage 220 /240 V Vacume motor | DE 9020 | 30 |
| 02-05-03406 | ## Filters |  | 100 |
| 02-05-03407 | ## Equipment:Operating ceiling Projector ## Company : Original Hanau W-Germeny Hologen lamp 50W,22.8 V |  | 1000 |
| 02-05-03408 | ## Equipment:EEG(8 chanale)&(16 Chanale) ## Company : Siemens elema ,Sweden Gilvanometer | 6072235E-039E | 400 |
| 02-05-03409 | ## Pump | 6389720E 127E | 5 |
| 02-05-03410 | ## Pump | 74-06(EMI 260) | 5 |
| 02-05-03411 | ## Equipment:scanner ## Company : Somatoma HIQ Siemens - Gantary X-Ray tube 156 CT-103 M | 8963368 | 1 |
| 02-05-03412 | ## Filter crd D3 K1044 | 8530974 | 1 |
| 02-05-03413 | ## D11-PGA crd. K1044 |  | 1 |
| 02-05-03414 | ## D12-PGA-ACD crd K1044 |  | 1 |
| 02-05-03415 | ## D13 Tilt control br. K1044 |  | 1 |
| 02-05-03416 | ## Host KA 630-ACPV K1059 |  | 1 |
| 02-05-03417 | ## MS 630 memory module K1059 |  | 1 |
| 02-05-03418 | ## TQK 50-BA controler TK 50 K1059 |  | 1 |
| 02-05-03419 | ## RQDX3 system K1059 |  | 1 |
| 02-05-03420 | ## DZQ11#0 K1059 |  | 1 |
| 02-05-03421 | ## QMZG#0 K1059 |  | 1 |
| 02-05-03422 | ## UCOU# 0 K1059 |  | 1 |
| 02-05-03423 | ## Fiber optic cable |  | 2 |
| 02-05-03424 | ## MMCW D1 CPU br M10 | 9017971 | 1 |
| 02-05-03425 | ## D5 M10 | 6931984 | 1 |
| 02-05-03426 | ## D6 M6 | 9567405 | 1 |
| 02-05-03427 | ## D7 M9 | 9102278 | 1 |
| 02-05-03428 | ## D8 M4 | 9391830 | 1 |
| 02-05-03429 | ## DMC D16 K1029 |  | 1 |
| 02-05-03430 | ## D3 K1029 |  | 1 |
| 02-05-03431 | ## D24 K1029 |  | 1 |
| 02-05-03432 | ## D15 K1029 |  | 1 |
| 02-05-03433 | ## D9 K1029 |  | 1 |
| 02-05-03434 | ## D5 K1029 |  | 1 |
| 02-05-03435 | ## Table patient Gas compression spring |  | 1 |
| 02-05-03436 | ## D2a K2004 |  | 1 |
| 02-05-03437 | ## D2b K2004 |  | 1 |
| 02-05-03438 | ## D7 K1003 |  | 1 |
| 02-05-03439 | ## D8 K2004 |  | 1 |
| 02-05-03440 | ## D9 K1003 |  | 1 |
| 02-05-03441 | ## D10 K1003 |  | 1 |
| 02-05-03442 | ## D6 K1003 |  | 1 |
| 02-05-03443 | ## D11 K1003 |  | 1 |
| 02-05-03444 | ## D13 K1003 |  | 1 |
| 02-05-03445 | ## SMI ## D 29 K5001 E31 | 8720500 | 1 |
| 02-05-03446 | ## D 88 K5001 E31 | 8726549 | 1 |
| 02-05-03447 | ## D 20 K5001 E31 | 8730400 | 1 |
| 02-05-03448 | ## D 6 K5001 E31 | 8730384 | 1 |
| 02-05-03449 | ## D 22 K5001 E31 | 8119174 | 1 |
| 02-05-03450 | ## D 21 K5001 E31 | 8119158 | 1 |
| 02-05-03451 | ## D 14 K5001 E31 | 8526501 | 1 |
| 02-05-03452 | ## D 5 K1058 E32 | 8787426 | 1 |
| 02-05-03453 | ## D 50 K5001 E32 | 8584401 | 1 |
| 02-05-03454 | ## D 8 K5001 E32 | 8719023 | 1 |
| 02-05-03455 | ## D 4 K5001 E32 | 8725830 | 1 |
| 02-05-03456 | ## D 30K5001 E30 | 8041402 | 1 |
| 02-05-03457 | ## D 32K5001 E30 | 8041444 | 1 |
| 02-05-03458 | ## D 33K5001 E30 | 8041469 | 1 |
| 02-05-03459 | ## D 34K5001 E30 | 8732794 | 1 |
| 02-05-03460 | ## D 65K5001 E30 | 8719155 | 1 |
| 02-05-03461 | ## D 80K5001 E30 | 8719114 | 1 |
| 02-05-03462 | ## D 81K5001 E30 | 8719130 | 1 |
| 02-05-03463 | ## Full operating and Schamatic Decommand for 3M Laser Imager Module P831CBO |  | 1 |
|  | ## Spare parts for medical equipment |  |  |
| 02-05-03464 | ## Equipment:Spekol ## Quantity:3 Photo cell knobs for adjixtment | 10 | 3 |
| 02-05-03465 | ## Equipment:Blood pressure Quantity:10 ## Company : Jabane Gage pressure |  | 10 |
| 02-05-03466 | ## Equipment:Moncter Quantity:4 ## Speaker |  | 4 |
| 02-05-03467 | ## Equipment:Oven Quantity:4 ## Company : England ## Heaters |  | 8 |
| 02-05-03468 | ## Equipment:Sucker Quantity:7 ## Company : England ## Motor |  | 7 |
| 02-05-03469 | ## Equipment:Centerfuge Quantity:2 ## Company : England Motor |  | 2 |
| 02-05-03470 | ## Equipment:Oxygen Gage ## Quantity:20 ## Company : England ## Valve |  | 40 |
| 02-05-03471 | ## Equipment:Table operating Quantity:6 ## Company : Sweede ## Dobleand oil seal |  | 6 |
| 02-05-03472 | ## Equipment: X-Ray Quantity:1 ## Company : Etalanie ## Rak daflope |  | 2 |
| 02-05-03473 | ## Equipment:Shimadzu-corporation Quantity:1 ## Company : Jaban ## Electrical high pressure |  | 1 |
| 02-05-03474 | ## Equipment:Aloka sonar Quantity:1 ## Company : Jaban ## Stope picture |  | 1 |
| 02-05-03475 | ## Equipment:Bakue washer magine Quantity:1 ## Company : Jaban ## Washer plate |  | 1 |
| 02-05-03476 | ## Equipment:Spekol Quantity:3 ## Company : Marien berg ## Photo cell knobs for adjustment |  | 3 |
| 02-05-03477 | ## Equipment:Olympuse microscope Quantity:1 ## Company : Jaban ## Electrod magine |  | 1 |
| 02-05-03478 | ## Equipment: PH meter Quantity:1 ## Company :Almanies ## Electrical part |  | 1 |

Equipment : ECG machine

Company   : Nihon,Fukada,Philips,Heliga

|  | Description | QTY |
| --- | --- | --- |
| 02-05-03479 | ECG generator ( stimulator ) | 10 |

Automafliox  X-Ray proceson

Kodak   RP  X-Omat   Processor

Model :-M6AW

|  | Code No. | Specsifiction | QTY |
| --- | --- | --- | --- |
| 02-05-03480 | 474477 | Developer Rack Assy | 5 |
| 02-05-03481 | 468521 | Developer Heater | 5 |
| 02-05-03482 | 512892 | Fixer Rack Assy | 5 |
| 02-05-03483 | 596634 | Wash Pack Assy | 3 |
| 02-05-03484 | 433708 | Lock Washer (2) | 20 |
| 02-05-03485 | 852611 | Washer (2) | 20 |
| 02-05-03486 | 853087 | Lock Washer | 20 |
| 02-05-03487 | 458208 | Washer | 20 |
| 02-05-03488 | 463100 | Washer | 20 |
| 02-05-03489 | 579984 | Roller | 20 |
| 02-05-03490 | 579983 | Roller | 20 |
| 02-05-03491 | 470085 | Roller (2) | 20 |
| 02-05-03492 | 473146 | Roller | 20 |
| 02-05-03493 | 475453 | Roller | 10 |
| 02-05-03494 | 467017 | E Roller {includes bearing} | 10 |
| 02-05-03495 | 470085 | G Roller {includes bearing} | 10 |
| 02-05-03496 | 458423 | H Roller Assy {includes bearing} | 10 |
| 02-05-03497 | 467016 | K Roller {includes bearing} |  |
| 02-05-03498 | 458182 | Gear | 30 |
| 02-05-03499 | 470767 | Gear A W | 20 |
| 02-05-03500 | 458385 | Tooth gear - (29) | 25 |
| 02-05-03501 | 458384 | Gear | 20 |
| 02-05-03502 | 458382 | Gear | 20 |
| 02-05-03503 | 468354 | Gear A N | 20 |
| 02-05-03504 | 467564 | Gear | 20 |
| 02-05-03505 | 458383 | Gear | 20 |
| 02-05-03506 | 452128 | Bearing (2) | 10 |
| 02-05-03507 | 474003 | Bearing (2) | 10 |
| 02-05-03508 | 47237 | Bearing (2) | 10 |
| 02-05-03509 | 465361 | Bearing (2) | 10 |
| 02-05-03510 | 469648 | Bearing (2) | 10 |
| 02-05-03511 | 190481 | Bearing (2) | 10 |
| 02-05-03512 | 458236 | Spacer | 20 |
| 02-05-03513 | 459344 | Spring (2) | 20 |
| 02-05-03514 | 472992 | Thermostat (53) | 10 |
| 02-05-03515 | 469070 | Pulley Assembly | 5 |
| 02-05-03516 | 458189 | Left hand worm (5) | 10 |
| 02-05-03517 | 458191 | Right hand worm. (3) | 10 |
| 02-05-03518 | 469349 | Chain | 5 |
| 02-05-03519 | 183886 | Circuit breaker (CB4) | 5 |
| 02-05-03520 | 184815 | Circuit breaker (CB1) | 5 |
| 02-05-03521 | 418734 | Sold state relay | 5 |
| 02-05-03522 | 418724 | Thermostat Assy | 10 |
| 02-05-03523 | 621472 | Board | 5 |
| 02-05-03524 | 418730 | Thermistor | 10 |
| 02-05-03525 | 474442 | Belt 1 1\2 Larg | 10 |
| 02-05-03526 | 474694-1725 RPM | Blower motor and pully Assy | 5 |
| 02-05-03527 | 472962 | Receptacle Assy | 5 |
| 02-05-03528 | 474156 | Thermometer | 10 |

|  | Code No. | Specsifiction | QTY |
| --- | --- | --- | --- |
| 02-05-03529 | 186153 | Switch (57) | 57 |
| 02-05-03530 | 183153 | Heater R1 , R2 | 10 |
| 02-05-03531 | 474442 | Belt 1 1\4 small | 10 |

Diagnostic X-Ray Apparatus with TV system

KXO-12 / DT-KAR / TV

|  | Description | Code No. | Qty |
| --- | --- | --- | --- |
| 02-05-03532 | H.P. Transformer and controller including woodam platform (2 inches) DC-12F/DC-12B 220V/50HZ |  | 3 |
| 02-05-03533 | X-Ray tube | DRX 180A | 10 |
| 02-05-03534 | Diagnostic X-Ray table with L/F bucky DT-KAR/TF-7M-4/LF Bucky for x-ray table |  | 10 |
| 02-05-03535 | Television camera with vidicon tube Mtu-22A |  | 4 |
| 02-05-03536 | 17 inch monitor Tum-17A |  | 4 |
| 02-05-03537 | Monitor cart FDG-004B |  | 4 |
| 02-05-03538 | H.P. Silicon rectifier | OR1 QYZ41 | 10 |
| 02-05-03539 | (HRU-A) H.P. changer | PX11-01820 | 6 |
| 02-05-03540 | Silicon compound | TSF-451-30M-15G | 5 |
| 02-05-03541 | Timer unit | PX12-03760 Gr-1 | 10 |
| 02-05-03542 | Over load P.C. board | PX12-10310 Gr-2 | 10 |
| 02-05-03543 | Over load P.C. board | PX12-10340 | 10 |
| 02-05-03544 | Over load P.C. board | PX12-10355 Gr-2 | 10 |
| 02-05-03545 | Relay 912-1068 |  | 10 |
| 02-05-03546 | Relay M4P3A-100VAC |  | 10 |
| 02-05-03547 | Current Relay | 912-1083 | 10 |
| 02-05-03548 | P.C. Board | 2X90-00044 | 5 |
| 02-05-03549 | Timer delay relay | 812-3034-01 | 10 |
| 02-05-03550 | Timer delay relay | 812-3034-02 | 10 |
| 02-05-03551 | Timer delay relay | 812-3038-01 | 10 |
| 02-05-03552 | Micro swit ch | 910-005g | 10 |
| 02-05-03553 | Mercury switch | 910-5003 | 30 |
| 02-05-03554 | Pilot lamp | 901-5063 | 100 |
| 02-05-03555 | Neon lamp | 901-4071-01 | 20 |
| 02-05-03556 | Motor | 914-0055-01 | 10 |
| 02-05-03557 | Gear head | 10625 | 10 |

Shimadzu CO.

Model : X-Ray eq.

MC - 100L - 30

|  | Code No. | Description | QTY |
| --- | --- | --- | --- |
| 02-05-03558 | Circlex 1.2uG13AN-305 | X-Ray tube assembly | 10 |
| 02-05-03559 |  | X-Ray tube in serted | 10 |
| 02-05-03560 |  | Bellow for x-ray tube kind 1.24G 13A | 30 |
| 02-05-03561 | 501-64360 | KV-mas control – 20 | 10 |
| 02-05-03562 | 501-06663D | Transistor unit – 10 | 20 |
| 02-05-03563 | 501-06560I | High voltage transformer r-Assembly | 5 |
| 02-05-03564 | 501-07016B | INDI cator – 20 | 10 |
| 02-05-03565 | 501-07017C | mAS selector – 20 | 10 |
| 02-05-03566 | 060-43214 | Transistor 2SC3214 | 20 |
| 02-05-03567 | 060-25875 | Transistor 2SC1875 | 20 |
| 02-05-03568 | 500-16018-02 | Collimator type R-20 MC | 4 |
| 02-05-03569 | 500-04835-01 | Timer switch PDL-30 | 10 |
| 02-05-03570 | 501-93209 | Shutter Assy | 10 |
| 02-05-03571 | 501-93200-01 | Lamp trans . unit assy | 5 |
| 02-05-03572 | 500-04379 | Lamp JC12-100Y | 30 |
| 02-05-03573 | 509-41980-19 | High tension cable | 12 |
| 02-05-03574 | 030-05000 | Bearing # 6200ZZ | 40 |
| 02-05-03575 | 030-04006 | Bearing # 6206 | 40 |
| 02-05-03576 | 501-44865 | Magnetic lock | 10 |
| 02-05-03577 | 501-89583 | Mag netic lock holder | 10 |
| 02-05-03578 | 030-030 10 | Bearing 60 10 ZZ | 40 |
| 02-05-03579 | 030-05001 | Bearing 6201 ZZ | 40 |
| 02-05-03580 | 500-13802 | DC Solenoid | 10 |
| 02-05-03581 | 510-64001 | Hand switch | 30 |
| 02-05-03582 | 080-82468-03 | Digital panel meter | 20 |
| 02-05-03583 | 080-73132 | Electro magnetic counter | 20 |
| 02-05-03584 | 500-13550 | Selector switch | 10 |
| 02-05-03585 | 037-02323 | Knob MSA 40S-6 | 10 |
| 02-05-03586 | 500-12925 | Variable resistor | 10 |
| 02-05-03587 | 501-65534 | mAS selector | 10 |
| 02-05-03588 | 500-13551 | Push button switch | 10 |
| 02-05-03589 | 501-64354 | Display lamp assembly | 10 |
| 02-05-03590 | 501-64359 | KV,mAS control assembly | 5 |
| 02-05-03591 | 501-64366 | Base plate assembly | 3 |
| 02-05-03592 | 501-63469 | Transistor unit – 10 | 10 |
| 02-05-03593 | 501-63852-01 | High tension generetor | 3 |
| 02-05-03594 | 500-03189-01 | Capaeitor | 10 |
| 02-05-03595 | 501-63854 | High tension generatingl unit | 2 |
| 02-05-03596 | 500-03415-01 | Reetifier | 10 |
| 02-05-03597 | 502-07437-01 | H.T socket | 10 |
| 02-05-03598 | 501-68173 | Grid control | 10 |
| 02-05-03599 | 501-63866 | Discharger | 5 |
| 02-05-03600 | 055-01021 | Capacitor | 10 |
| 02-05-03601 | 055-01023 | Capacitor | 10 |
| 02-05-03602 | 052-04622-00 | Resistor | 10 |
| 02-05-03603 | 052-04610-02 | Resistor | 10 |
| 02-05-03604 | 060-14755 | Diode | 20 |

Shimadzu CO.

X-Ray eq.

ED 125L        ( 500 mA)

|  | Code No. | Description | QTY |
| --- | --- | --- | --- |
| 02-05-03605 | 501-63453-01 | Technique sel. – 10 | 10 |
| 02-05-03606 | 501-63454-01 | MA selector – 10 | 10 |
| 02-05-03607 | 065-93105 | Line switch EA 62 | 5 |
| 02-05-03608 | 501-63248 | Sec selector - 10 | 10 |
| 02-05-03609 | 500-04720 | KV Requlator | 5 |
| 02-05-03610 | 501-63455 | Main control - 10 | 5 |
| 02-05-03611 | 501-66353 | Starter - 3 | 10 |
| 02-05-03612 | 501-63469-01 | Transistor unit - 10 | 10 |
| 02-05-03613 | 501-63471 | Power supply - 10 | 5 |
| 02-05-03614 | 501-63473 | mA meter control - 10 | 20 |
| 02-05-03615 | 501-63474-01 | EX. Mode control - 10 | 20 |
| 02-05-03616 | 501-63475 | Terminal unit - 10 | 5 |
| 02-05-03617 | 501-63476-01 | mA Regulator - 10 | 5 |
| 02-05-03618 | 501-63477 | mA control - 10 | 10 |
| 02-05-03619 | 501-63247 | sec control - 10 | 10 |
| 02-05-03620 | 501-63478-01 | Over load pro - 10 | 5 |
| 02-05-03621 | 500-13675 | HA ND switch | 20 |
| 02-05-03622 | 501-63243 | SCR unit - 10 | 10 |
| 02-05-03623 | 501-63559 | Auto trans (400V power source unit only) | 3 |
| 02-05-03624 | 060-24642 | Tr1 (power) 2SC642A | 20 |
| 02-05-03625 | 500-03412 | Tr2 (power) 2SC1325 | 20 |
| 02-05-03626 | 042-60088 | FAN | 5 |
| 02-05-03627 | 060-34556 | Thyristor D < - 01~ - 02> 150 P 6 SP | 20 |
| 02-05-03628 | 500-14910 | Filament transformer | 10 |
| 02-05-03629 | 501-62938 | Terminal board (disk) | 5 |
| 02-05-03630 | 500-03415-02 | Diode MD25-512A | 20 |
| 02-05-03631 | 501-62818 | H.T. changle-over switch | 10 |
| 02-05-03632 | 502-07437-02 | H.T. socket IEC | 20 |
| 02-05-03633 | 501-62910 | Control unit | 5 |
| 02-05-03634 | 501-62913 | mA compensation unit | 5 |
| 02-05-03635 | 501-40839 | Terminal board 4-10A | 5 |

( TROPHY Dental  X-Ray )

Equipment :- Dental  X-Ray

Model :- 11708

Company :- TROPHY - FRANCE

|  | Code No. | Description | QTY |
| --- | --- | --- | --- |
| 02-05-03636 | 708(70KV-8mA) | X-Ray tube (A.generator) | 10 |
| 02-05-03637 | AD 13 | X-Ray timer | 20 |
| 02-05-03638 | LS 57 | on-off switch | 10 |
| 02-05-03639 | TAG 8606 | Traic | 10 |
| 02-05-03640 | TAG 8602 | Traic | 10 |
| 02-05-03641 | MCS 2241 | Integrated circuit | 10 |
| 02-05-03642 | KL 15 | Led (on voltage) | 10 |
| 02-05-03643 | KL 18 | Led X | 10 |
| 02-05-03644 |  | Hand switch timer with cable | 20 |
| 02-05-03645 | 2N 6343 | Traic | 20 |
| 02-05-03646 | CR1TO1HY-2 | THYRISTOR | 20 |

Toshiba unit

Model :- 12 MD - 500mA

| Item | Specification | Name | QTY |
| --- | --- | --- | --- |
| 02-05-03647 | 150D, 12RI | H.T Cable | 10 |
| 02-05-03648 | 814-0033C | Motor for lift stand | 5 |
| 02-05-03649 | A-30 | V-Belt | 6 |
| 02-05-03650 | A-32 | V-belt | 6 |
| 02-05-03651 | 25 | Standerd card | 6 |
| 02-05-03652 | 70-5 | M.C.S cassette | 5 |
| 02-05-03653 | RK10 | Complete card relayes Assy | 5 |
| 02-05-03654 | RK11 | Complete card relayes Assy | 5 |
| 02-05-03655 | RK9 | Complete card relayes Assy | 5 |

Equipment :- Stimulater therapy equipment

Model :- 413 - Eltron D

Company :- Enraf       Holland

|  | Description | Code No | QTY |
| --- | --- | --- | --- |
| 02-05-03656 | P.C board | 2.555.784 | 10 |
| 02-05-03657 | Patient terminal black | 2524.010 | 20 |
| 02-05-03658 | Patient terminal (red ) | 2.524 . 823 | 20 |

Equipment :- Microwave therapy equipment

Model :- Curadar 2000

Company :- Enraf       Holland

|  | Description | Code No | QTY |
| --- | --- | --- | --- |
| 02-05-03659 | Magnetron MG 10 | 8.697 340.001 | 10 |
| 02-05-03660 | Printed circuit board | 8 - 691.042- 474 | 5 |
| 02-05-03661 | Potentioweter sk 2 150w | 8 - 644.550.036 | 10 |

Company :- ELECTRO MEDICAL SUPPLIEC (EMS)   U.K

Equipment :- Ultrsound

Model :- Therasonic - 5

|  | Description | Code No | QTY |
| --- | --- | --- | --- |
| 02-05-03662 | Transducer complete with cable and plug | 54 -11 | 25 |

Equipment :- Shortwave Therapy equipment

Medical :- Siener - 6

|  | Description | Code No | QTY |
| --- | --- | --- | --- |
| 02-05-03663 | Micro switch | 9 - 18 | 25 |
| 02-05-03664 | Valve | 19 - 6 | 10 |
| 02-05-03665 | Electorde support leg 10 cm size | 30 - 10 | 25 |
| 02-05-03666 | Electorde cable withend (10 cm) | 31 - 59 | 10 |

Equipment :- Ultrasound

Model :- Sonoline

Model Sx

Model SL-1

Company :- Siemens

|  | Description | Code No | QTY |
| --- | --- | --- | --- |
| 02-05-03667 | Mother board for souolime (Sx) |  | 2 |
| 02-05-03668 | Freeze board for sonoline (Sx) |  | 3 |
| 02-05-03669 | Swtich board for sonoline(SL-1) |  | 2 |

Equipment :- Portable turbine .

Model :- Quayle dental 1001

Company :- Quayle dental

Derotor houce, Dominion way , worthing west sussex ,Bn14

8QN England .

|  | Description | Code No | QTY |
| --- | --- | --- | --- |
| 02-05-03670 | Pressure switch for mobile unit (1001&1002) |  | 250 |
| 02-05-03671 | 3- way syringe for mobile (1001& 1002) |  | 200 |
| 02-05-03672 | Complete hand piece turbine |  | 200 |
| 02-05-03673 | Foot switch |  | 50 |
| 02-05-03674 | Rotor for H.P (turbine) |  | 500 |
| 02-05-03675 | Angle H.P for complete |  | 200 |
| 02-05-03676 | Air motor |  | 100 |
| 02-05-03677 | Hose for mobile (4 hole) (meter) |  | 200 meter |
| 02-05-03678 | Pressure gauge |  | 50 |
| 02-05-03679 | Cartridge for angle H.P |  | 200 |

Equipment :- Light cure .

Model :- Quayle dental . (101) spectrom

Company :- Quayle dental MFG Co.LTD .

Derotor hauce, Dominion way , worthing west sussex ,Bn14

8QN England .

|  | Description | Code No | QTY |
| --- | --- | --- | --- |
| 02-05-03680 | Gun for light cure |  | 100 |
| 02-05-03681 | Timer board for light cure |  | 50 |
| 02-05-03682 | Bulb for light cure |  | 1000 |
| 02-05-03683 | Fan for gun |  | 250 |

Equipment :- Ultrasonic Dental Unit

Model :-  700 - 11

Company :- Dentsply ( U.S.A )

|  | Description | Code No | QTY |
| --- | --- | --- | --- |
| 02-05-03684 | Regulator For water | 62516 | 200 |
| 02-05-03685 | Solenoid valve | 61190 | 25 |
| 02-05-03686 | Water Supply hose | 69040 | 50 |
| 02-05-03687 | Cavitron lnsert tel-10 | 6121-708 | 200 |
| 02-05-03688 | Cavitron lnsert Ftl-9 | 6121-803 | 200 |
| 02-05-03689 | cable For lnsert Complete |  | 100 |

ــــــــــــــــــــــــــــــــــــــــــــــــــــــ

|  | Description | QTY |
| --- | --- | --- |
| 02-05-03690 | Spray for air bearing H.P. tutbine | 500 |
| 02-05-03691 | Spray for H.P. tutbine ( ball bearing type ) | 2000 |

Equipment :- Prostetic engine

Model :- Quayle dental .

Company :- Quayle dental MFG Co.LTD .

Derotor hauce, Dominion way , worthing west sussex ,Bn14

8QN England .

|  | Description | Code No | QTY |
| --- | --- | --- | --- |
| 02-05-03692 | Carbon brush For prostetic engine |  | 1000 |
| 02-05-03693 | Flexible cable complete for prostetic engine |  | 500 |
| 02-05-03694 | P.C board for foot switch to prostetic engine |  | 200 |

EquiPment :- Ammelgametor

Model :- Degussa

Company :- Degussa AG, Gescha flsbexeich dental D-600 frank furt 11

|  | Description | Code No | QTY |
| --- | --- | --- | --- |
| 02-05-03695 | Dispensing knob | 2352 - 2215 | 250 |
| 02-05-03696 | Universal dispenser 2. Complete | - 2018 | 100 |
| 02-05-03697 | Dental wheel | - 2043 | 100 |
| 02-05-03698 | Blocking magnet ,complete | - 2223 | 50 |
| 02-05-03699 | Circuit board display ( timer ) | - 2235 | 50 |
| 02-05-03700 | Frame for display | - 2214 | 10 |
| 02-05-03701 | Mixing tube 2 , complete | - 2226 | 250 |
| 02-05-03702 | Capsolate | 2351 - 1001 | 500 |
| 02-05-03703 | Mixing motor 2 , complete | - 2224 | 25 |

Equipment :- Ammelgametor

Model :- Ultimate 21

Company :- Quayle dental

Derotor hauce, Dominion way , worthing west sussex ,Bn14

8QN England .

|  | Description | Code No | QTY |
| --- | --- | --- | --- |
| 02-05-03704 | Timer p.c board |  | 75 |
| 02-05-03705 | Mixing ( Hg & alloy ) chamber complete |  | 75 |

Equipment :- Kavo werk dental unit

Model :- Dynamic 1033

Company :- Kavo werk deutal einrichtungen vertiebsgesells chaft mbh

D- 7950 biberach / rib 1. West germaney

|  | Description | Code No | QTY |
| --- | --- | --- | --- |
| 02-05-03706 | # Board | 641. 1020 | 100 |
| 02-05-03707 | Board | 705. 2991 | 60 |
| 02-05-03708 | Board | 734. 0571 | 160 |
| 02-05-03709 | Bulb for projector |  | 150 |

|  | Description | Code No | QTY |
| --- | --- | --- | --- |
| 02-05-03710 | Foot switch complete |  | 10 |
| 02-05-03711 | Turbine hose complete |  | 30 |
| 02-05-03712 | Micromotor hose complete |  | 30 |
| 02-05-03713 | 3 - Way syringe hose |  | 30 |
| 02-05-03714 | 3 - Way syring complete |  | 30 |
| 02-05-03715 | Block | 705. 3341 | 50 |
| 02-05-03716 | Board | 715. 1471 | 30 |
| 02-05-03717 | Hose for foot switch |  | 50 |
| 02-05-03718 | Angle handpiece |  | 20 |

Equipment :- Scaler

Model :- Quayle dental

Quayle dental MFG co LTD

Company :- Derotor house dominionway , worthing west

sussex BN 14 & QN England .

|  | Description | Code No | QTY |
| --- | --- | --- | --- |
| 02-05-03719 | Complete hand piece for scaler |  | 1 |

Equipment :- Glass distilter

Model :- YX ^

Company :- JSC chimlaborpribor (RUSSIA)

|  | Description | Code No | QTY |
| --- | --- | --- | --- |
| 02-05-03720 | Level regulater | m6 5.887.268 | 100 |
| 02-05-03721 | Adapter | m6 6.u53.294 | 300 |
| 02-05-03722 | Adapter | m6 453 294 | 300 |
| 02-05-03723 | Float - type flow meter | m6 5.183.065 | 200 |
| 02-05-03724 | T. piece connector | ro 7.357.251 | 20 |
| 02-05-03725 | Heater ( R - 52 ohm ) | m6 5.863.060 | 300 |
| 02-05-03726 | Heater ( R - 55 ohm ) | m6 5.863.060.01 | 300 |
| 02-05-03727 | Vessel | m6 5.887.267 | 100 |

Equipment :- Ventilator

Model :- 9100S

Company :- Blease   (UK)

|  |  | Description | Qty |
| --- | --- | --- | --- |
| 02-05-03728 | 3.2.H | Flow board and transduser (si 106) EP 7629 | 50 |
| 02-05-03729 | 3.1.6 | Oxygen transduces ( si 1101 ) | 250 |
| 02-05-03730 | 3.2.10 | I.E valve ( 900119 - 1 ) the inner diphramfor I.E valve | 25 200 |
| 02-05-03731 | 3.2.1 | Expriratory unit ( 900101 - 1 ) | 30 |

Equipment :- Operating Labroscope

Company :- Wolf

|  | Description | Qty |
| --- | --- | --- |
| 02-05-03732 | Panooiew plus telescope with fixed eyepiece distortion free 25 dyree working lenght 300mm dram 10mm ( 8934 , 412 ) | 10 |
| 02-05-03733 | 8923.013 Riow - trocar sleeves with magnetic ball valve and stopcock , metal sleeve ,distal obligue , capacity 10 mm working length 100 mm . | 10 |
| 02-05-03734 | 8923.123 Trocar , pyrmadial diam 10 mm , working length 100 mm . | 10 |
| 02-05-03735 | 8921.013 Rlwo - art trocar sleeve with magnatic - ball - valve and with stopcock metal sleeve standand distal obligue capacity 5.5mmworking length 100mm . | 10 |
| 02-05-03736 | 8921.123 Trocar with pyramidiol tip diam 5,5mm working lenght 100mm for riwo art - trocar sleeve . | 10 |
| 02-05-03737 | 8923.801 Vario - port reducing adapter , 10mm to 5.5mm and 12.5mm to 5.5mm for riwo - art trocar . | 10 |
| 02-05-03738 | 8386.001 Endodilator diameter 14mm 3 boanches , handle with locking mechanism 55mm working length . | 10 |
| 02-05-03739 | 8393.231 Grasping forceps with 5mm , both jaws opening , 310mm working leagth , complete lnstrument , 8393 - 234 , 8393.911 8393.964 . | 10 |
| 02-05-03740 | 8393 , 221 Grasing forceps , 18mm 5mm , rapered both jaws opening 310mm , ol , complete irstrument 8393 - 224 , 8393 , 911 , 8393 . 964 . | 10 |
| 02-05-03741 | 8393 , 251 Univrsal grasping forceps 5mm both jaws opening 310mm working length complete - instnument : 8393 - 254 , 8393 - 911 , 8393 - 964 . | 10 |
| 02-05-03742 | 8393 , 401 Biopsy forceps spiked , 5mm both jaws opening 310ml , complete instrument 8393 - 404 , 8393 - 911, 8393 - 962 . | 10 |
| 02-05-03743 | 8393 , 141 Atraumatic grasping forceps 5mm diameter . | 10 |
| 02-05-03744 | 8395 , 201 Grasping forceps 2/3 pronged 10mm 810mm ol complete - instrument 8395 - 204 , 8395 - 901 , 8393 - 953 . | 10 |
| 02-05-03745 | 8393 , 012 Modular sulssors diameter 5mm curved left , 310mm working length "metzenbaum " comprlsing 8393 - 015 , 8393 , 911 , 8393 - 692 . | 10 |
| 02-05-03746 | 8393 , 003 Hooked scissors serrated 5mm , 310mm ol , complete - instrument 8393 - 006 , 8383 , - 911 , 8393 - 962 . | 10 |
| 02-05-03747 | 8393. 701 modular bipolar forceps diameter 5mm , insulated compring , 8393 - 704 , 8392 - 921 , 8393 - 922 , 8393 - 972 , 8393 , 973 . | 10 |
| 02-05-03748 | 8108 , 031 HF- bipolar cable 3m long (also suitable for martin units ) | 10 |
| 02-05-03749 | Hook eleetrode 8383 , 423 . | 20 |
| 02-05-03750 | 810b . 04 HF connecting cable 4m long . | 10 |
| 02-05-03751 | Guide sleeve diam 10mm ( for clip applicator 8389 - 801 ) | 5 |
| 02-05-03752 | 8389 , 911 Glip applicator for enticon ligaclip , extra LT 300 . | 5 |
| 02-05-03753 | Needle holder 3mm ( 8383 , 52 ) with read justing spring and sliding seal for in 8383 . 78 . | 10 |
| 02-05-03754 | 8383 , 534 Needle holder diam - 5mm curved right , axially aligned handle with locking mech anism . | 10 |
| 02-05-03755 | 8383 , 78 Applicator for ethibinder . | 5 |
| 02-05-03758 | 8383 , 551 knot manipulator for extraco rporeal knots for use in 8383. 78 . | 5 |
| 02-05-03757 | 8383 , 65 L,njeation and punction canula 1.8mm diamete ( 15c ) | 10 |
| 02-05-03758 | Veres - needle ( 8302 - 12 ) . | 10 |
| 02-05-03759 | Co2 cylinder 25 liter . | 10 |
| 02-05-03760 | 8302 - 15 Veres camula for establishing the pneuno peritoneun with ner - connector ( 886.00 ) 150mm long . | 10 |
| 02-05-03761 | neutral eledtrode for martin me 200, HF genet rator . | 5 |
| 02-05-03762 | Double foot switch for matin ME 200 | 5 |
| 02-05-03763 | Bipolar foot switch for matin ME 200. | 5 |
| 02-05-03764 | 5511 - 001 CCD - Endocom 5511 camea head with C-momt PAL colour system C-mount adaptor incl 13.103.50I | .5 |
| 02-05-03765 | 85261 - 272 Rioo - lems with C- mount - connector immersible and steam sterili sable focus length F.27mm . | 5 |
| 02-05-03766 | Halogen lamp , 24 V , 250W | 250 |
|  | Description | Qty |
| 02-05-03767 | Fiber light cable longht 2-3cm diam 4-5mm ( 8061, 453 ) | 10 |
| 02-05-03768 | aeaning brushes | 50 |
| 02-05-03769 | 89,02 Rubber washers | 50 |
| 02-05-03770 | 89,08 Rubber washers | 50 |
| 02-05-03771 | S- video cable | 20 |

Equipment :- Speetrophotometer

Model :- Spectronic 20

Company :- Milton Roy

|  | Description | QTY |
| --- | --- | --- |
| 02-05-03772 | Bulb | 500 |
| 02-05-03773 | P.C board | 50 |
| 02-05-03774 | Photo tube | 50 |
| 02-05-03775 | Monochrometer | 30 |
| 02-05-03776 | Transister 3055 | 100 |
| 02-05-03777 | Bridge rectifier | 25 |
| 02-05-03778 | Tube holder | 25 |
| 02-05-03779 | Resister 7K ohm | 50 |
| 02-05-03780 | Resister ¼ ohm | 50 |

Equipment :- Hemometer

Model :- HB-210

Company :- Citoh and colti

5-1 Kita - aoyama 2 chome

Minato ku, Tokyo 107 Japan

|  | Description | QTY |
| --- | --- | --- |
| 02-05-03781 | Pump | 25 |
| 02-05-03782 | Printed board | 50 |
| 02-05-03783 | Lamp source (6 V 1.5 A) | 30 |
| 02-05-03784 | Drain glass | 20 |
| 02-05-03785 | Sampling glass | 50 |
| 02-05-03786 | Potentiometer RV 24 XN 205 BIK ohm | 10 |

Equipment :- Bilimeter -D 332

Model :- 332 D

Company :- mochida pharmaceuticall 10 LTD

HEAD office        7 Yotsuya 1.chome

Shin jnicu-ku,Tokyo

160 JAPAN

Telex 28922 ( Mochidas)

|  | Description | QTY |
| --- | --- | --- |
| 02-05-03787 | Interferrece filter for 455 mm | 20 |
| 02-05-03788 | Interferrece filter for 575 mm | 20 |
| 02-05-03789 | LAMP ( 6V 3A) | 50 |
| 02-05-03790 | Different kinds of boards | 5 per each type (total=20) |
| 02-05-03791 | Cuveete holder | 10 |

Equipment :- Bilimeter ( Nippon)

Model :- A- 500

Company :- Japan , osaka nippon shojikaisha ltd 30,Kokumach

2- chome , Higashi-KU

|  | Description | QTY |
| --- | --- | --- |
| 02-05-03792 | Printed circuit boand ( TEL-330) (completed boand) | 10 |
| 02-05-03793 | Bulbs | 20 |

Equipment :- Spectrophotometer

Model :- ANA 72

Company :- Japan engneering

|  | Description | QTY |
| --- | --- | --- |
| 02-05-03794 | Bulb | 100 |
| 02-05-03795 | Photo cell | 50 |
| 02-05-03796 | Board | 10 |
| 02-05-03797 | Cuvette holder | 25 |

Equipment :- Defibrelator

Model :- 2006

Company :- CR

|  | Description | QTY |
| --- | --- | --- |
| 02-05-03798 | CR Recorder assy | 5 |
| 02-05-03799 | Styles for gs recorder | 25 |
| 02-05-03800 | Battery 24 V - 1 A | 50 |
| 02-05-03801 | Drain raly | 20 |
| 02-05-03802 | Capcitor 32 mf / 5kv | 25 |
| 02-05-03803 | KM 13 Relay | 20 |
| 02-05-03804 | KM 14 Kilover reley | 20 |
| 02-05-03805 | P.C.B for charger CR | 10 |
| 02-05-03806 | LM 317 T | 50 |
| 02-05-03807 | Paddle for DC shock | 20 |
| 02-05-03808 | Poasrnt cable socket | 20 |

Equipment :- Defibrelator + Central Station

Model :- 3215,261130,264130,3200,2400,261125,261024,4135,2015,

Company :- American Optical

|  | Description | Code No | QTY |
| --- | --- | --- | --- |
| 02-05-03809 | P.C. B assy mother | 261108-810 | 8 |
| 02-05-03810 | Defletion P.C.B assy | 1108-811 | 8 |
| 02-05-03811 | Memory P.C.B assy | 1108-812 | 8 |
| 02-05-03812 | Delyed P.C.B assy | 1108-814 | 8 |
| 02-05-03813 | Mother P.C.B | 1130-01-0840 | 8 |
| 02-05-03814 | Digital meter | 0120-0037 | 8 |
| 02-05-03815 | Alarm power supply P.C.B | 1131-01-0831 | 5 |
| 02-05-03816 | Writing sty lus | 5007 | 10 |
| 02-05-03817 | Mother P.C.B | 4135-913 | 5 |
| 02-05-03818 | Patientlc alarm P.C.B | 4135-816 | 5 |
| 02-05-03819 | Input filter board | 1134-820 | 5 |
| 02-05-03820 | Pre-amp P.C.B assy | 1134-0821 | 5 |
| 02-05-03821 | Power supply P.C.B | 1134-822 | 5 |
| 02-05-03822 | Rate P.C.B assy | 1134-823 | 5 |

|  | Description | Code No | QTY |
| --- | --- | --- | --- |
| 02-05-03823 | Cave P.C.B assy | 1134-824 | 5 |
| 02-05-03824 | Alarm limit P.C.B | 1134-825 | 5 |
| 02-05-03825 | Mother P.C.B | 3215-810 | 5 |
| 02-05-03826 | Amp P.C.B | 3215-811 | 5 |
| 02-05-03827 | Osciltatar decteetor P.C.B | 3215-812 | 5 |
| 02-05-03828 | Per limit P.C.B | 3215-813 | 5 |
| 02-05-03829 | Mother P.C.B | 1144-810 | 5 |
| 02-05-03830 | Modal w P.C.B | 4000-0853 | 5 |
| 02-05-03831 | Relynl ator P.C.B | 4006-851 | 5 |
| 02-05-03832 | Demodulat ors P.B | 4006-854 | 5 |
| 02-05-03833 | Logic P.C.B | 2015-810 | 5 |
| 02-05-03834 | P.C .B Power supply | 2015-811 | 5 |
| 02-05-03835 | Amplifiers P.C.B | 8300-28 | 5 |
| 02-05-03836 | Alarm systol P.C.B | 261024-810 | 5 |
| 02-05-03837 | Power supply P.C.B | 261108-811 | 5 |
| 02-05-03838 | Peslection assy P.C.B | 261105-812 | 5 |
| 02-05-03839 | Power supply P.C.B | 264006-852 | 5 |
| 02-05-03840 | Alarm power supply P.C.B | 4008-NCN | 5 |
| 02-05-03841 | Power supply P.C.B |  | 5 |
| 02-05-03842 | Transistor 2 N 3940 |  | 20 |
| 02-05-03843 | P.C. B for cardio treaser | 4015-851 | 5 |
| 02-05-03844 | P.C.B for cardio treaser | 4005-851 | 5 |
| 02-05-03845 | P.C.B for cardio treaser | 264005-852 | 5 |
| 02-05-03846 | P.C.B for cantor scope |  | 5 |
| 02-05-03847 | Digitl meter assy | 262005-812 | 5 |
| 02-05-03848 | P.C.B assy recorder | 3018-0810 | 5 |
| 02-05-03849 | P.C.B assy cantrol | 2018-0810 | 5 |
| 02-05-03850 | Inverter assy | 2018-811 | 5 |
| 02-05-03851 | P.C.B assy monl part |  | 5 |
| 02-05-03852 | P.C.B assy monl part | 2610-02-851 | 5 |
| 02-05-03853 | Deflection P.C.B ( 1218 - 813 ) | 1218-813 | 5 |
| 02-05-03854 | Memory P.C.B ( 1218 - 810 ) | 1218-810 | 5 |
| 02-05-03855 | Diode edl 8746 HV diode |  | 50 |
| 02-05-03856 | Patient cable |  | 100 |

Equipment :- Ultrasound therapy equipment

Model :- Sonopuls 407

Company :- Enraf       Holland

|  | Description | Code No | QTY |
| --- | --- | --- | --- |
| 02-05-03857 | Printed circut board complet | 0407.620 | 5 |
| 02-05-03858 | PC board ( small P.C board) complet | 2555.999 | 5 |
| 02-05-03859 | Big transducer | 1407.800 | 10 |

Equipment: cathedrization

| 02-05-03860 | Up-grading of cathedrization equipment, Model BICOR |  | 1 |
| --- | --- | --- | --- |

Equipment:-ECG

| 02-05-03861 | Stimulator-ECG generator |  | 3 |
| --- | --- | --- | --- |

| 02-05-03862 | Equipment:- Argon laser Company:- Biophysies Argon laser tube | Model:-168-97 | 4 |
| --- | --- | --- | --- |
| 02-05-03863 | Microprocesser | PCB JN 770 | 8 |
| 02-05-03864 | Power supply (Black) | 604 M | 6 |
| 02-05-03865 | Fiber optic cable |  | 8 |
| 02-05-03866 | Switching control | PCB 601 B | 6 |
| 02-05-03867 | Low voltage power supply | JN 700 AD | 6 |
| 02-05-03868 | Flow-switch PCB |  | 10 |

| 02-05-03869 |  | Equipment:- Gastroscope(adult &pediatric) Company:- Olympus Japan Main tube | GIF-Q 015445 |  | 3 |
| --- | --- | --- | --- | --- | --- |
| 02-05-03870 |  | Main tube | GIF-IT 8-2011327 |  | 3 |
| 02-05-03871 |  | Main tube | GIF-3 |  | 3 |
| 02-05-03872 |  | Equipment:-X-ray unit (500mlm) Company:- Shimadzu Japan X-ray tube | R20 62816521 |  | 1 |
| 02-05-03873 |  | Transformer | AP 150 L-3-64278409 |  | 1 |
| 02-05-03874 |  | Equipment:-X-ray unit (100mlm) Company:- Shimadzu Japan Control | HP 150 13-10 |  | 1 |
| 02-05-03875 |  | T.V | M-16 405-6302045 |  | 1 |
| 02-05-03876 |  | X-ray tube | R-30 64608922 |  | 1 |
| 02-05-03877 |  | Large Transformer | HD-150 B-10-6322441 |  | 1 |
| 02-05-03878 |  | Equipment:-Sonar Company:- Concepte Probe |  |  | 1 |
| 02-05-03879 |  | Equipment:-ECG Company:- Nehon Koden Styles |  |  | 10 |
| 02-05-03880 |  | Patient Cable |  |  | 10 |
| 02-05-03881 |  | Galvanic |  |  | 5 |
| 02-05-03882 |  | PCB |  |  | 5 |
| 02-05-03883 |  | Equipment:-ECG Company:- Yamcoshy Styles |  |  | 10 |
| 02-05-03884 |  | Patient Cable |  |  | 10 |
| 02-05-03885 |  | Galvanic |  |  | 5 |
| 02-05-03886 |  | PCB |  |  | 5 |
| 02-05-03887 |  | Equipment:- Microscope Company:- olympus Lamp |  |  | 20 |
| 02-05-03888 |  | Equipment:- Microscope Company:- Zieze Lamp |  |  | 20 |
| 02-05-03889 |  | Equipment:- Operating theatre projector Company:- DKK Lamp |  |  | 50 |
| 02-05-03890 |  | Equipment:-Suction unit type Ersole Company:- England Motor |  |  | 10 |
| 02-05-03891 |  | Bottle |  |  | 10 |
| 02-05-03892 |  | Washer |  |  | 10 |
| 02-05-03893 |  | Equipment:- Autoclave type Takizawa Company:- olympus Heaters |  |  | 5 |
| 02-05-03894 |  | Equipment:- Autoclave type Thakari Heaters |  |  | 5 |
| 02-05-03895 |  | Equipment:-Sphgmomanometer Mercury |  |  | 500 gram |
| 02-05-03896 |  | Bulb with valve |  |  | 20 |
| 02-05-03897 |  | Equipment:- Cautry unit type Martin 2000 PCB different for generator and generator 2 |  |  | 6 |
| 02-05-03898 |  | Fuse |  |  | 10 |
| 02-05-03899 |  | Earth plate |  |  | 10 |
| 02-05-03900 |  | Equipment:- Centrifuge T30 T32 Motor |  |  | 5 |
| 02-05-03901 |  | Variable resistance |  |  | 5 |
| 02-05-03902 |  | Equipment:- Monitor A-O Patient cable |  |  | 10 |
| 02-05-03903 |  | PCB |  |  | 10 |
| 02-05-03904 |  | Adapter |  |  | 50 |
| 02-05-03905 |  | Equipment:- ECHO type ausonics type Austraition Probe |  |  | 1 |
| 02-05-03906 |  | PCB |  |  | 1 |
| 02-05-03907 |  | Equipment:- X-ray Company:- Shimadzu 500m Amp. With TV Tube |  |  | 2 |
| 02-05-03908 |  | Halogen lamp |  |  | 5 |
| 02-05-03909 |  | Equipment:- Short wave Angiograph (cardiac) Capacitor 100 PF |  |  | 4 |
| 02-05-03910 |  | Tube opti 150/ud/10 c |  |  | 1 |
| 02-05-03911 |  | PCB D89-D79 |  |  | 3 |
| 02-05-03912 |  | PCB D129 |  |  | 3 |
| 02-05-03913 |  | PCB D58 |  |  | 3 |
| 02-05-03914 |  | Equipment:- Microcentrifuge PCV Motor |  |  | 5 |
| 02-05-03915 |  | Equipment:- Proccessing unit(devloping) Motor |  |  | 1 |
| 02-05-03916 |  | Relay 24 volt |  |  | 3 |
| 02-05-03917 |  | Equipment:- Automatic 420 Rack for devloper |  |  | 1 |
| 02-05-03918 |  | Rack for fixer |  |  | 1 |
| 02-05-03919 |  | Thermo for heating of devloper (timer) |  |  | 2 |
| 02-05-03920 |  | Equipment:- Terdmill Recorder for holter |  |  | 5 |
| 02-05-03921 |  | Equipment:- Steady X-Ray (medio)500ma(51,50) Quntity :2 Company:- Holland Sellector K.V |  |  | 2 |
| 02-05-03922 |  | X-ray tube |  |  | 10 |
| 02-05-03923 |  | Diofrom |  |  | 10 |
| 02-05-03924 |  | Main board CP1,CP2,CP3,CP4,CP5,CP6,CP7,CP8 |  |  | 6 |
| 02-05-03925 |  | Diofrom lamb 12V |  |  | 2 |
| 02-05-03926 |  | Equipment:- Steady X-Ray (Shemadzio)500mA ED-125 Quntity:1 Company:- Japan Halogen Diofrom lamp(12V) |  |  | 2 |
| 02-05-03927 |  | X-ray tube |  |  | 1 |
| 02-05-03928 |  | Hnde switch |  |  | 2 |
| 02-05-03929 |  | Main boards |  |  | 1 |
| 02-05-03930 |  | Equipment:- Movable X-ray mc.125 300mA Quntity:5 Company:- Japan X-ray tube |  |  | 1 |
| 02-05-03931 |  | Hand switch |  |  | 1 |
| 02-05-03932 |  | Diofrom lamp(12V) |  |  | 1 |
| 02-05-03933 |  | Main boards |  |  | 1 |
| 02-05-03934 |  | High tention cable |  |  | 1 |
| 02-05-03935 |  | Relly timer |  |  | 1 |
| 02-05-03936 |  | Equipment:- X-ray (Tosheba) 300mA Quntity:2 Company:- Japan X-ray tube |  |  | 1 |
| 02-05-03937 |  | Hand switch |  |  | 1 |
| 02-05-03938 |  | Diofrom lamp(12V) |  |  | 1 |
| 02-05-03939 |  | High tention cable |  |  | 1 |
| 02-05-03940 |  | Relly timer |  |  | 1 |
| 02-05-03941 |  | Equipment:- Outomatic film fixer x-ray Quntity:7 Company:- Italy Main rack |  |  | 1 |
| 02-05-03942 |  | Main shaft |  |  | 1 |
| 02-05-03943 |  | Main motor |  |  | 1 |
| 02-05-03944 |  | Main board CP1,CP2,CP3,CP4 |  |  | 1 |
| 02-05-03945 |  | Main thermoster |  |  | 1 |
| 02-05-03946 |  | Microswitch |  |  | 1 |
| 02-05-03947 |  | Mainrelly 220 V |  |  | 1 |
| 02-05-03948 |  | Thermal projector |  |  | 1 |
| 02-05-03949 |  | Heavy |  |  | 1 |
| 02-05-03950 |  | Rollor |  |  | 1 |
| 02-05-03951 |  | Dislly |  |  | 1 |
| 02-05-03952 |  | Equipment:- Incubator Quntity:19 Company:-England Motor |  |  | 5 |
| 02-05-03953 |  | Outcover |  |  | 2 |
| 02-05-03954 |  | Switch(ON-OFF) |  |  | 10 |
| 02-05-03955 |  | Baby bed |  |  | 18 |
| 02-05-03956 |  | Equipment:- electrocardio graph Quntity:31 Company:- Japan Styles |  |  | 10 |
| 02-05-03957 |  | Chest electrode disk |  |  | 20 |
| 02-05-03958 |  | Bands |  |  | 20 |
| 02-05-03959 |  | Paitient cable |  |  | 10 |
| 02-05-03960 |  | Equipment:- Cutery marten Quntity:10 Company:- Germany Hand switch |  |  | 8 |
| 02-05-03961 |  | Foot switch |  |  | 8 |
| 02-05-03962 |  | Biboler wier |  |  | 8 |
| 02-05-03963 |  | Control board |  |  | 4 |
| 02-05-03964 |  | Switch board |  |  | 4 |
| 02-05-03965 |  | Board G1 |  |  | 4 |
| 02-05-03966 |  | Board G2 |  |  | 4 |
| 02-05-03967 |  | Main transformer |  |  | 4 |
| 02-05-03968 |  | Power transtor |  |  | 60 |
| 02-05-03969 |  | Slide resester |  |  | 10 |
| 02-05-03970 |  | Resistance 2.2 board(R 2.2) |  |  | 10 |
| 02-05-03971 |  | Resistance 6.8 board |  |  | 10 |
| 02-05-03972 |  | Equipment:- Cutery Ascolap Quntity:6 Company:- Germany Power transtor Bu 247 A |  |  | 20 |
| 02-05-03973 |  | Foot switch |  |  | 4 |
| 02-05-03974 |  | Control board |  |  | 4 |
| 02-05-03975 |  | Seet control board |  |  | 4 |
| 02-05-03976 |  | Hand switch |  |  | 6 |
| 02-05-03977 |  | Equipment:- Cutery Dadone Quntity:2 Company:- England Transformer |  |  | 6 |
| 02-05-03978 |  | Foot Switch |  |  | 2 |
| 02-05-03979 |  | Hand Switch |  |  | 2 |
| 02-05-03980 |  | Equipment:- New LEO Quntity:2 Company:- Japan Rubber Tube |  |  | 2 |
| 02-05-03981 |  | Lamps |  |  | 2 |
| 02-05-03982 |  | Compressor(LEO) |  |  | 2 |
| 02-05-03983 |  | Hand Beas(Turben) |  |  | 4 |
| 02-05-03984 |  | Equipment:- Aevosol products Quntity:57 Company:- England Motor |  |  | 30 |
| 02-05-03985 |  | Motor rubber cover |  |  | 70 |
| 02-05-03986 |  | Rubber Tube |  |  | 20 meter |
| 02-05-03987 |  | System arme |  |  | 50 |
| 02-05-03988 |  | Filter |  |  | 50 |
| 02-05-03989 |  | Flassk holder |  |  | 10 |
| 02-05-04006 | # Equipment : ECG Company & model : A 03200 EYM- 102 Japan 5151 Japan. - Styles |  | 10 |  |  |
| 02-05-04007 | - Operating switch |  | 10 |  |  |
| 02-05-04008 | - Galvanometer |  | 6 |  |  |
| 02-05-04009 | - Role moving motor |  | 6 |  |  |
| 02-05-04010 | - Different resistants |  | 10 |  |  |
| 02-05-04011 | Equipment : Sucker Company & model: AEROSOL SAM-20 - Internal motor ball bearing |  | 20 |  |  |
| 02-05-04012 | - Washers |  | 30 |  |  |
| 02-05-04013 | - Pistans with ball bearing |  | 30 |  |  |
| 02-05-04014 | - Filter |  | 30 |  |  |
| 02-05-04015 | - Hoses |  | 30 |  |  |
| 02-05-04016 | - Gage |  | 30 |  |  |
| 02-05-04017 | - Operating switch |  | 30 |  |  |
| 02-05-04018 | - Motor |  | 30 |  |  |
| 02-05-04019 | Equipment :Different centerfuge Company & model : H-103 cocozan Reme - Armeture |  | 6 |  |  |
| 02-05-04020 | - Motor coil |  | 5 |  |  |
| 02-05-04021 | - Carbon |  | 14 |  |  |
| 02-05-04022 | - Switch timer |  | 6 |  |  |
| 02-05-04023 | - Operating switch |  | 6 |  |  |
| 02-05-04024 | - Lamp |  | 5 |  |  |
| 02-05-04025 | Equipment : Auto clave Company & model : TAKIZAWA MB H107S DALKYO VA- 4265 LEZUEUS ETS. - Differentheaters |  | 20 |  |  |
| 02-05-04026 | - Differentheaters water pump |  | 10 |  |  |
| 02-05-04027 | - Contactor |  | 10 |  |  |
| 02-05-04028 | - Thermostate |  | 10 |  |  |
| 02-05-04029 | - Thermal gage |  | 6 |  |  |
| 02-05-04030 | - Board signal lamp |  | 10 |  |  |
| 02-05-04031 | - Hydrometer |  | 10 |  |  |
| 02-05-04032 | - Fuses |  | 8 |  |  |
| 02-05-04033 | - Circuit breaker |  | 10 |  |  |
| 02-05-04034 | Equipment :Different sterilizers Company & model - Heaters |  | 20 |  |  |
| 02-05-04035 | - Thermostat |  | 20 |  |  |
| 02-05-04036 | - Signal lamp |  | 20 |  |  |
| 02-05-04037 | - Operating switch |  | 20 |  |  |
| 02-05-04038 | Equipment : Water bath Company & model : Memmert Germany - Ceramic heater |  | 10 |  |  |
| 02-05-04039 | - Thermostat |  | 10 |  |  |
| 02-05-04040 | - Signal lamp |  | 10 |  |  |
| 02-05-04041 | - Operating switch |  | 10 |  |  |
| 02-05-04042 | - Mercurial switch |  | 10 |  |  |
| 02-05-04043 | - Thermometer |  | 10 |  |  |
| 02-05-04044 | Equipment : Sphigmomanometer (Air, Mercury) Company & model : - Rubber belt |  | 40 |  |  |
| 02-05-04045 | - Tissue belt |  | 40 |  |  |
| 02-05-04046 | - Sprayer |  | 30 |  |  |
| 02-05-04047 | - Valve |  | 40 |  |  |
| 02-05-04048 | - Mercury container |  | 20 |  |  |
| 02-05-04049 | - Scaled glass tube |  | 40 |  |  |
| 02-05-04050 | - Gage |  | 40 |  |  |
| 02-05-04051 | Equipment : Cautery Martin Company & model : 2000 Martin Germany - Earth plate |  | 10 |  |  |
| 02-05-04052 | - Power supplier |  | 6 |  |  |
| 02-05-04053 | - 2.2 Ωthermal resistant |  | 20 |  |  |
| 02-05-04054 | - Diode |  | 10 |  |  |
| 02-05-04055 | - 6.8 Ωthermal resistant |  | 20 |  |  |
| 02-05-04056 | - 8A,2A , 6.3A Fuse |  | 30 |  |  |
| 02-05-04057 | - Relay coil |  | 10 |  |  |
| 02-05-04058 | - IC , Voltage fixer |  | 10 |  |  |
| 02-05-04059 | - Bux 80 power transistor |  | 20 |  |  |
| 02-05-04060 | - Earth plate Socket |  | 20 |  |  |
| 02-05-04061 | Equipment : Automatic processor Company & model : I.M.S. (CGR) - Fixer Rack |  | 10 |  |  |
| 02-05-04062 | - Develop Rack |  | 10 |  |  |
| 02-05-04063 | - Water Rack |  | 10 |  |  |
| 02-05-04064 | - Drying Rack |  | 10 |  |  |
| 02-05-04065 | - Different Relays |  | 10 |  |  |
| 02-05-04066 | - Fuses |  | 20 |  |  |
| 02-05-04067 | - Heaters |  | 10 |  |  |
| 02-05-04068 | Equipment : X-Ray unit system Shimadzu 500 mA with T.V Company & model: Shimadzu - Ray tube |  | 4 |  |  |
| 02-05-04069 | - TV tube |  | 2 |  |  |
| 02-05-04070 | - Hand switch |  | 4 |  |  |
| 02-05-04071 | Equipment : Diff. Operation projector Company & model : Japan - DKK 24V lamps |  | 10 |  |  |
| 02-05-04072 | - 12 V 35W lamps |  | 30 |  |  |
| 02-05-04073 | - Charger |  | 10 |  |  |
| 02-05-04074 | - Glass Cover |  | 30 |  |  |
| 02-05-04075 | Equipment : C.C.U Company & model: A.O.C - Styles |  | 2 |  |  |
| 02-05-04076 | - Adaptors |  | 30 |  |  |
| 02-05-04077 | Equipment : Diff. Infrared Company & model : Original HANAU 3030 A Strazux Super 2000 - Heater with glass |  | 8 |  |  |
| 02-05-04078 | - Operating switch |  | 3 |  |  |
| 02-05-04079 | - Timer |  | 2 |  |  |
| 02-05-04080 | Equipment : Microwave Company & model : Siemens\ Germany I 1005 - Megatron |  | 2 |  |  |
| 02-05-04081 | - Maintransformer |  | 1 |  |  |
| 02-05-04082 | - Thermal controlling bridge |  | 2 |  |  |
| 02-05-04083 | - Fan |  | 1 |  |  |
| 02-05-04084 | - U.V lamp. |  | 2 |  |  |
| 02-05-04085 | - Diff. Valve |  | 6 |  |  |
| 02-05-04086 | - Timer |  | 1 |  |  |
| 02-05-04087 | Equipment : Short Wave Set Company & model : Siemens/ 608/ Germany E.M.S England 76-4 - Operating switch |  | 6 |  |  |
| 02-05-04088 | - Thermal controlling bridge |  | 6 |  |  |
| 02-05-04089 | - Timer |  | 6 |  |  |
| 02-05-04090 | - Thermal felamets |  | 6 |  |  |
| 02-05-04091 | - Rubber gloves |  | 10 |  |  |
| 02-05-04092 | - Diff. Thermal resistant |  | 10 |  |  |
| 02-05-04093 | - Diff. Valve |  | 7 |  |  |
| 02-05-04094 | Equipment : Specol set Company & model : Carizeiss DDR - Lamp |  | 3 |  |  |
| 02-05-04095 | - Photocell |  | 3 |  |  |
| 02-05-04096 | - Diff. Lenses |  | 10 |  |  |
| 02-05-04097 | - Main transformer |  | 3 |  |  |
| 02-05-04098 | Equipment : Ultrasonic Company & model : E.M.S England Enraf - Probe |  | 5 |  |  |
| 02-05-04099 | - Operating Switch |  | 5 |  |  |
| 02-05-04100 | - Power transistor |  | 10 |  |  |
| 02-05-04101 | - Diff. Resistants |  | 10 |  |  |
| 02-05-04102 | Equipment : Wax bath Company & model : Enraf Holland 182 - Heaters |  | 4 |  |  |
| 02-05-04103 | - Operating switch |  | 2 |  |  |
| 02-05-04104 | - Thermostat |  | 1 |  |  |
| 02-05-04105 | Equipment : Vertibra Tractor Company & model : Ito Japan Itc – 100 – 5 - Traction cord |  | 2 |  |  |
| 02-05-04106 | - Motor |  | 1 |  |  |
| 02-05-04107 | Equipment : Hb meter Company & model : Hb 210 - Ameter |  | 3 |  |  |
| 02-05-04108 | - Electronic board |  | 3 |  |  |
| 02-05-04109 | - Photo cell |  | 3 |  |  |
| 02-05-04110 | - Lamps |  | 6 |  |  |
| 02-05-04111 | Equipment : Microscope Company & model : Olympus BHC – BV - Lamps |  | 20 |  |  |
| 02-05-04112 | - Transformer |  | 1 |  |  |
| 02-05-04113 | - Electronic board |  | 5 |  |  |
| 02-05-04114 | Equipment : AA2 Autoanalyzer Company & model : Ti7 unicon / France - Lamp |  | 2 |  |  |
| 02-05-04115 | Equipment : Dental unit Company & model: New Leo / Japan - Lamp. |  | 2 |  |  |
| 02-05-04116 | - Turbine washer |  | 10 |  |  |
| 02-05-04117 | - Hand piece washer |  | 10 |  |  |
| 02-05-04118 | - Light base |  | 5 |  |  |
| 02-05-04119 | - Light ON – Off switch |  | 3 |  |  |
| 02-05-04120 | - Pressure switch |  | 3 |  |  |
| 02-05-04121 | - Fuse |  | 2 |  |  |
| 02-05-04122 | - Roter angle hand piece |  | 4 |  |  |
| 02-05-04123 | - Sterile water container washers |  | 8 |  |  |
| 02-05-04124 | Equipment : Dental light cure Company & model : Qialxie Dental - Prisme |  | 2 |  |  |
| 02-05-04125 | Equipment : Amalgamater Company & model : Degussu Dentomot - Capsule |  | 2 |  |  |
| 02-05-04126 | Equipment : Developing Machine Company & model : Kodak/ Germany - Gear – 458383 |  | 2 |  |  |
| 02-05-04127 | - Shaft – 472315 |  | 2 |  |  |
| 02-05-04128 | - Bearing- 452128 |  | 2 |  |  |
| 02-05-04129 | - Bearing- 472337 |  | 2 |  |  |
| 02-05-04130 | - Bearing- 469009 |  | 2 |  |  |
| 02-05-04131 | - Motor – 482362 |  | 2 |  |  |
| 02-05-04132 | Equipment : Steam sterilizer 7/6,6 series Company & model : Odelga /Austria - Solenoid valve item (14) in the tubing diagram 4010814 |  | 2 |  |  |
| 02-05-04133 | - Solenoid valve item (15) in the tubing diagram 4010814 |  | 2 |  |  |
| 02-05-04134 | - Solenoid valve item (12) in the tubing diagram 4010814 |  | 2 |  |  |
| 02-05-04135 | - Solenoid valve item (V1) in the tubing diagram 4010814 |  | 2 |  |  |
| 02-05-04136 | - One – Way valve Item (31) in the tubing diagram 4010814 |  | 2 |  |  |
| 02-05-04137 | - Gasget door |  | 4 |  |  |
| 02-05-04138 | Equipment : Steam sterilzer vertical construction R/517 Company & model : Odelag / Austria - Piston Assembly Item (27) in the tubing diagram No. 3010802 (TSV-434-915) |  | 1 |  |  |
| 02-05-04139 | - Piston Assembly Item (28) in the tubing diagram No. 3010802 (TSV-454-915) |  | 1 |  |  |
| 02-05-04140 | - Piston Assembly Item (30) in the tubing diagram No. 3010802 |  | 1 |  |  |
| 02-05-04141 | - Thermostat Item (2) in the tubing diagram No. 3010802 |  | 1 |  |  |
| 02-05-04142 | - Piston Item (31) in the tubing diagram No. 3010802 |  | 1 |  |  |
| 02-05-04143 | Equipment : Invertomatic (UPS) Company & model : Energy conversion ltd. 6595 Rizzion to carno / Switzerland - Electronic board AGIE Zch. Nr. 618772.8 control + firing 1 IGR … 0509B |  | 1 |  |  |
| 02-05-04144 | Equipment : Incubator Company & model : Vickers / England - Complete plastic cabinet. (50-60 HZ , 220 V) |  | 1 |  |  |
| 02-05-04145 | Equipment : Ventilator Company & model : Dragger / Germany - Valve Item (131) |  | 1 |  |  |
| 02-05-04146 | Equipment : X-Ray Equipement/ Mobile Company & model : Shimadzu / Japan - X-Ray tube |  | 1 |  |  |
| 02-05-04147 | Equipment : Indirect ophthalmoscope Company & model : Dualite / England - Lamp 6V – 30 W |  | 100 |  |  |
| 02-05-04148 | - Head Fitting |  | 10 |  |  |
| 02-05-04149 | Equipment : Phocimeter Company & model : Top con / Japan LM-5 - Lamp LM 8802 220V- 15W |  | 50 |  |  |
| 02-05-04150 | - Lamp 6V – 15W |  | 50 |  |  |
| 02-05-04151 | - Lamp 220V – 15W |  | 50 |  |  |
| 02-05-04152 | Equipment : Phocimeter Company & model : Indmi / Japan - Lamp 220V- 15W |  | 50 |  |  |
| 02-05-04153 | Equipment : Phocimeter Company & model : TMI / Japan , LM-EX - Lamp 220V- 15W |  | 50 |  |  |
| 02-05-04154 | Equipment : Operating microscope Company & model : Heraeus W/ Germany - Lamp 22.8 V- 50W |  | 150 |  |  |
| 02-05-04155 | Equipment : Echo - Ultrasound Company & model : Ophtascan B-C Echo - Probe |  | 10 |  |  |
| 02-05-04156 | Equipment : Electric cautery Company & model : Aesculap / Germany - Prob 670 GK |  | 30 |  |  |
| 02-05-04157 | - Foot Switch |  | 20 |  |  |
| 02-05-04158 | Equipment : Keratometer Company & model : Top con / Japan - Lamp |  | 200 |  |  |
| 02-05-04159 | Equipment : Biometer Company & model : Storze / Alpha II - Probe 046/00083 |  | 10 |  |  |
| 02-05-04160 | Equipment : Vitrectomy Company & model : Laser fotoco Agulator S 32 - Probe |  | 6 |  |  |
| 02-05-04161 | Equipment : Synaptophor Company & model : Clement clarke / England 2001-610 - Lamp 6V-3A |  | 50 |  |  |
| 02-05-04162 | - Halogen lamp 6v-20A |  | 50 |  |  |
| 02-05-04163 | Equipment : Radio scope Company & model :Eyco / Japan – RS-1 - Lamp 6V – 25W |  | 30 |  |  |
| 02-05-04164 | - Transformer 6V-20W |  | 5 |  |  |
| 02-05-04165 | Equipment : ECG Company & model: Nihon / Japan / ECG-5151 - Styles |  | 10 |  |  |
| 02-05-04166 | Equipment : Direct ophthalmoscope Company & model : Keeler - Lamp 3.8V |  | 100 |  |  |
| 02-05-04167 | - Lamp 2.6V |  | 100 |  |  |
| 02-05-04168 | Equipment : Computerised Refractometer Company & model : Top con /Japan – RM-A5000 - Paper roll |  | 5 Boxes |  |  |
| 02-05-04169 | Equipment : Cat ford Company & model : Keeler - Motor 12V/2VA |  | 5 |  |  |
| 02-05-04170 | - Reverse action stick |  | 5 |  |  |
| 02-05-04171 | Equipment : Floor – Operating microscope Company & model : Zeiss – YS3 - Hallogen Lamp. 12V/100W |  | 50 |  |  |
| 02-05-04172 | - Fiber oring 303481-8109 |  | 50 |  |  |
| 02-05-04173 | Equipment : Mounted operative light Company & model : Hana Zeiss / OPMI 6-CFC XY - Hallogen Lamp. 15V/150W |  | 100 |  |  |
| 02-05-04174 | Equipment : Retinoscope Company & model : Heine / W.Germany/ HRS 2 - Lamp. G/803/2.5V |  | 100 |  |  |
| 02-05-04175 | - Battry 3.6V/14HRS / 75mA |  | 50 |  |  |
| 02-05-04176 | Equipment : Retinoscope Company & model : Keeler - Lamp 3.6V |  | 100 |  |  |
| 02-05-04177 | Equipment : Slit Lamp 900 Company & model : Top con/ Haag- Streit AG CH-3097 Liebefeld – Bern - Lamp 900 – 930 6V/4.5A |  | 100 |  |  |
| 02-05-04178 | Equipment : NAG-Yag-Laser Company & model : Carl Zeiss W.G 306860/ 100-110-120- 127 – 50-60HZ (CPS) 150VA - Lamp Wotan 12V - 30W Germany 64250 |  | 100 |  |  |
| 02-05-04179 | - Flash Lamp. |  | 25 |  |  |
| 02-05-04180 | Equipment : Argon laser Company & model : Zeiss / England / 142941 - Tube |  | 20 |  |  |
| 02-05-04181 | - 4 Angle lense |  | 20 |  |  |
| 02-05-04182 | Equipment : Less screen Company & model : Hamblin 313-166 - Foot Switch |  | 4 |  |  |

| 02-05-04183 | Equipment : Small aevosol products Company: Germany Quntity:10 Motor | 5 |
| --- | --- | --- |
| 02-05-04184 | Equipment : Steady projector Company :Japan Quntity:15 D.K.K Lambs | 100 |
| 02-05-04185 | Equipment : Light source Company : Germany Quntity:8 Lambs | 6 |
| 02-05-04186 | Equipment : Delivery monitor Company :Japan Quntity:8 Crystal socket | 6 |
| 02-05-04187 | Equipment :Snoike Company :Japan Quntity:6 Crystal amplifier board | 2 |
| 02-05-04188 | Equipment : Sphgmonometer Company :Japan Quntity:27 Murcary | 2 Kilo |
| 02-05-04189 | Rubber bag | 27 |
| 02-05-04190 | Cloth bandage | 25 |
| 02-05-04191 | Valve | 25 |
| 02-05-04192 | Equipment : Water bath Company :England Quntity:4 Heater | 1 |
| 02-05-04193 | Equipment : Filter(Kagary) Company : Germany Quntity:1 Motor 220 | 1 |
| 02-05-04194 | Equipment : Microscope Company :Japan Quntity:15 Lamb | 10 |
| 02-05-04195 | Equipment : Wood lamb Company :England Quntity:1 Glass | 1 |
| 02-05-04196 | Equipment : Inter red ultra volet Company :England Quntity:3 Regulator | 2 |
| 02-05-04197 | Timer | 2 |
| 02-05-04198 | Lambs | 2 |
| 02-05-04199 | Equipment : Microscope Company : Japan Quntity:2 Micro switch | 2 |
| 02-05-04200 | Equipment : Moveble projector Company : Japan Quntity:7 Glass cover | 10 |
| 02-05-04201 | Lamp | 24 |
| 02-05-04202 | Equipment : Photothater Company : England Quntity:6 Holder | 24 |
| 02-05-04203 | Equipment : Reteanscope Company : England Quntity:2 Lamp | 2 |
| 02-05-04204 | Equipment : Selt lamp Company : England Quntity:6 Transformer | 2 |
| 02-05-04205 | wheel | 4 |
| 02-05-04206 | Equipment : Cutery tur Company : England Quntity:1 Valve | 2 |

| 02-05-04207 | Equipment :- ECG monitor Company : Hellega Model :SMD 104 Deflection 93011514+HV board 38800209 &electrode | 1 |  |
| --- | --- | --- | --- |
| 02-05-04208 | Equipment :- Portable X-Ray unit Company : Toshiba Model : KCD 12 M.S Battery 12 V | 4 |  |
| 02-05-04209 | Equipment:- Projector ( portable) Company : Traflix Model : Traflix – B Battery 12 V | 10 |  |
| 02-05-04210 | Equipment:- Photo – Therapy (amp 800) Company : Hearus Model : 800 Power switch 220V/2W + Fan 220V 56018151 | 3 |  |
| 02-05-04211 | Equipment:- Microscope Company :Reichert Jung Model : Neavar-2 Compensation for accvity differences | 3 |  |
| 02-05-04212 | Equipment:-Ventilateor Company : Sulla Model : 808 V Vapor 1901 basic unit M 26592 | 2 |  |
| 02-05-04213 | Volumeter 3000+ Return Valve | 1 |  |
| 02-05-04214 | Winged nand wheel (M 17783) | 3 |  |
| 02-05-04215 | Pressure regulator (8402745) | 1 |  |
| 02-05-04216 | Gas bazziar (M25093) | 1 |  |
| 02-05-04217 | Equipment:-Suction unit Company : Atmos Model : Rp 90 O-Ring(M23612) | 3 |  |
| 02-05-04218 | Motors | 3 |  |
| 02-05-04219 | Filter | Group 1 |  |
| 02-05-04220 | Equipment:-Suction unit Company : Marobini Heater | 2 |  |
| 02-05-04221 | Equipment:-Suction unit Company : Drager Model : PP 800 Lamp(12V) | 10 |  |
| 02-05-04222 | Equipment:- Bilirobnometer Company : Orthodaiognashi Interfernce filter 455 + 575 Select the m ormatic beam of 455rm or 57rm | 1 |  |
| 02-05-04223 | Equipment:- Incubator Company : Atmos Model : V-80 Power switch | 4 |  |
| 02-05-04224 | Equipment:- Incubator (portable) Company : Drager Model : 5400 Water container | 6 |  |
| 02-05-04225 | Set up kits + power box with accumolator | 2 |  |
| 02-05-04226 | Equipment:-Vantos Company :Atmos Model :Atmorfit E Regulator Knob with gradutait | 1 |  |
| 02-05-04227 | Valve for control pressuer | 2 |  |
| 02-05-04228 | Equipment:-Ultrasound System Company : Toshiba Model : SAL-35A Transformer supply main power | 1 |  |
| 02-05-04229 | Equipment:- Sonicate Company : Sonicode Model : P206 Battery nickel/ cadmium 10.5V | 6 |  |
| 02-05-04230 | Equipment:- Blood Warmer Company :DEC Electronic board H 840309 | 6 |  |
| 02-05-04231 | Equipment:- Developing machine Company : Kodak Model : M6 Drain valve | 3 |  |
| 02-05-04232 | Fixer rack &developer rack&water rack | 1 |  |
| 02-05-04233 | Equipment:-Sonicate Company : Soniicode Model : 102R Charger transformer | 1 |  |
| 02-05-04234 | Equipment:- Centerfuge Company : Hemafuge Model : Hearus Electronic board 50258 | 2 |  |
| 02-05-04235 | Equipment:- typewriter , electric , Arabic Company : ISK Japan Model : I1-16 Gear 30144431 | 8 |  |
| 02-05-04236 | Drawband 60138189 | 20 |  |
| 02-05-04237 | Typing core assymble | 10 |  |
| 02-05-04238 | Equipment:- Ultrasonic , diagnostic equipment Company : Aloka Japan Model : SSD-180 Prob 3 MHZ | 1 |  |
| 02-05-04239 | Equipment:- Neuroton Company : Siemens west ,Germany Model : Neuroton Output board & control board | 1 |  |
| 02-05-04240 | Equipment:- Analyser , glucose bench model Company : SMD Japan Model : CL –720 Control unit pc – board assymble 204-54206 | 1 |  |
| 02-05-04241 | Equipment:- Deioniser 250L/ hour Company : SKR Japan Model : DAT-1200 Pc board (control ) 700A61-1 | 1 |  |
| 02-05-04242 | Equipment:- X-Ray unit , mobile with image intensifier Company : SMD Japan Model : WHA-10 X-Ray tube model 1A-7X number 470193 ( housing model ) TH- 706 number 1939 | 1 |  |
| 02-05-04243 | Equipment:- X-ray film changes PACH unit Company : SMD Japan Model : 2XBAO- 9123-040 guide roller | 3 |  |
| 02-05-04244 | 1XBAO – 9122- 00 guide roller | 3 |  |
| 02-05-04245 | Equipment:- Analyses , sodium, potassium , lead, bench, model Company : TIT Japan TOA Model : NAKL-1 Flow cell 70x25x55 | 2 |  |
| 02-05-04246 | J-nozzle | 2 |  |
| 02-05-04247 | Thermostat | 2 |  |
| 02-05-04248 | Equipment:- Auto analyses Cl-12 Company : SMD Japan Model : CL-12 |  |  |
| 02-05-04249 | Solenoid valve 204-6231-01 | 2 |  |
| 02-05-04250 | Head 204 – 62417 | 20 PCs |  |
| 02-05-04251 | Equipment:- Counter blood cell Company : SKR Japan TOA Model : CC-130 System |  |  |
| 02-05-04252 | Solenoid valve 813 – 0691 –9 | 2 |  |
| 02-05-04253 | Internal elecrode 813- 0450 – 9 | 2 |  |
| 02-05-04254 | Connection tube No. 42 (pm) 833- 916- 3 | 1 set |  |
| 02-05-04255 | (F- seies pm ) thermistor 813 – 0779-9 | 1 set |  |
| 02-05-04256 | Equipment:- Electroenephalo Company : graph NKD Japan Model : EEG-4217 Thermal head for printer AAA-35358 | 18 |  |
| 02-05-04257 | Head gride (head electrode) | 1 |  |
| 02-05-04258 | Paper | 2000 m |  |
| 02-05-04259 | INK | 20 bottle |  |
| 02-05-04260 | Equipment:- Electrocardiograph Company : NKD Japan Model : ECG-5403 Main ampilfier p/n ol-501E | 1 unit |  |
| 02-05-04261 | Styles | 12 |  |
| 02-05-04262 | Chest electrode , 5030378 | 48 |  |
| 02-05-04263 | Limb electrode 5030003 | 16 |  |
| 02-05-04276 | Equipment:- Infrared Company : England Quantity :3 Regulator | 2 |  |
| 02-05-04277 | Timer fixer | 2 |  |
| 02-05-04278 | Red valve | 2 |  |
| 02-05-04279 | Equipment:- Microscope Company : Japan Quantity :3 Micro switch | 2 |  |
| 02-05-04280 | Equipment:- Moving projector Company : Japan Quantity :7 Glass cover | 10 |  |
| 02-05-04281 | (vawer) half solved | 24 |  |
| 02-05-04282 | Equipment:- Fototherapy Company : England Quantity :6 Holder | 24 |  |
| 02-05-04283 | Equipment:- Retinscope Company : Sews made Quantity :2 Valve | 2 |  |
| 02-05-04284 | Equipment:- Slit lamp Company : Sews Quantity :6 Transformer | 2 |  |
| 02-05-04285 | Slide roller | 4 |  |
| 02-05-04286 | Equipment:- Cutting system tor Company : Germany Quantity :1 Power valve | 2 |  |
| 02-05-04287 | Disposable needle electrode concentrie 13 RO1 | 20x(25 piece)each |  |
| 02-05-04288 | Auto claviable concentrie needle electrode 13 L 30 | 20 each |  |
| 02-05-04289 | Auto claviable concentrie needle electrode 13 L 31 | 20 each |  |
| 02-05-04290 | Auto claviable concentrie needle electrode 13 L 49 | 20 each |  |
| 02-05-04291 | Auto claviable concentrie needle electrode 13 L50 | 20 each |  |
| 02-05-04292 | Auto claviable concentrie needle electrode 13 L 51 | 20 each |  |
| 02-05-04293 | Auto claviable concentrie needle electrode 13 L 58 | 20 each |  |
| 02-05-04294 | Electrode cable for all the above 13 L 01 | 20 |  |
| 02-05-04295 | Platenum needle electrode 13 L 70 | 500 |  |
| 02-05-04296 | Cable for the above 13 L 06 | 20 each |  |
| 02-05-04297 | Cable for the above 13 L 08 | 20 each |  |
| 02-05-04298 | Disposable needle electrode scalp (40 piece) 13 R 31 | 25 x(40 piece) |  |
| 02-05-04299 | Electrode cable for the above 13 P 06 | 20 each |  |
| 02-05-04300 | Electrode cable for the above 13 P 08 | 20 each |  |
| 02-05-04301 | Silver chloride dise electrodes 50 piece 5x (50 piece) 13 P06 | 20 each |  |
| 02-05-04302 | Silver chloride dise electrodes 50 piece 5x (50 piece) 13 P08 | 20 each |  |
| 02-05-04303 | Silver chloride dise electrodes 50 piece 5x (50 piece) 13 L20 | 20 each |  |
| 02-05-04304 | Disposable needle electrode semory (25 piece) 20 x (25 piece) 13 R 24 | 20 x (25 piece) |  |
| 02-05-04305 | Disposable needle electrode semory (25 piece) 20 x (25 piece) 13 R 25 | 20 x (25 piece) |  |
| 02-05-04306 | Electrode cable for the above 13 p 02 | 10 each |  |
| 02-05-04307 | Electrode cable for the above 13 P 12 | 10 each |  |
| 02-05-04308 | Recording electrode 13 L 37 | 20 |  |
| 02-05-04309 | Surface stimulating Electrode-ferigen electrode 13 L 69 | 20 |  |
| 02-05-04310 | Surface stimulating Electrode-ferigen electrode 13 L170 | 20 |  |
| 02-05-04311 | Grounding electrodes different sizes from infant size to the biggest size (5 each) 13 S 93 | 5 each |  |
| 02-05-04312 | Grounding electrodes different sizes from infant size to the biggest size (5 each) 13 S 94 | 5 each |  |
| 02-05-04313 | Fixation strap 13 L 38 | 10 |  |
| 02-05-04314 | Stimalating electrodes 13 L 35 | 10 |  |
| 02-05-04315 | Feltip 2x(100 piece) 13 L 35 | 2x(100 piece) |  |
| 02-05-04316 | Feltip 2x(100 piece) 13 L 352 | 2x(100 piece) |  |
| 02-05-04317 | Feltip 2x(100 piece) 13 L 353 | 2x(100 piece) |  |
| 02-05-04318 | Inter connection cable 13 B 414 | 1x10 |  |
| 02-05-04319 | Inter connection cable 13 B 418 | 3x3 |  |
| 02-05-04320 | Equipment:- Microwave Radio therm 706 Company : Siemens west-Germany Model :- Radio therm 706 Output Board | 1 |  |
| 02-05-04321 | Cable | 1 |  |
| 02-05-04322 | Equipment:- Autoanalyser,haematology,major Company : NKK japan Model :-S-Plus coulter counter Rolling diaghram 6217016 | 1 |  |
| 02-05-04323 | O-Ring 2512112 | 1 |  |
| 02-05-04324 | WBC Aperture bath | 1 |  |
| 02-05-04325 | RBC Aperture bath | 1 |  |
| 02-05-04326 | Equipment:- Still,8 liter/hr Company : Barnstead sybron England Model :- Fi-streem barnotead Boiler 06546 | 6 |  |
| 02-05-04327 | Heating element 06278 | 10 |  |
| 02-05-04328 | Equipment:- X-Ray system Universal remote control Company : SMD japan Model :- VS-10 Carriage drive moter URK 25 GK-A2 including (motor,gear box &mounting) | 1 set |  |
| 02-05-04329 | Equipment:-X-ray system Company : SMD japan Model :- R20 MAS board &overload protection board | 1 |  |
| 02-05-04330 | Equipment:-Water purifaction system (RO) RO module 60412 | 16 piece |  |
| 02-05-04331 | Timer model H2A 12H,100V | 2 unit |  |
| 02-05-04332 | Equipment:- X-ray processor automatic Company : Kodak japan Model :- kodak rp x-omat proccessor Developer rack 594125 | 2 |  |
| 02-05-04333 | Fixer rack 594127 | 2 |  |
| 02-05-04334 | Water rack (wash rack) 594129 | 2 |  |
| 02-05-04335 | Developer enterance cronover assembly 594124 | 2 |  |
| 02-05-04336 | Developer to fixer cronover assembly 594126 | 2 |  |
| 02-05-04337 | Fixer to wash cronover assembly 594128 | 2 |  |
| 02-05-04338 | Main drive motor gear | 4 |  |
| 02-05-04339 | Main drive Shaft gear | 4 |  |
| 02-05-04340 | 4000 area accumulator 602723 circuit board | 2 |  |
| 02-05-04341 | 5000 fault monitor 602724 circuit board | 2 |  |
| 02-05-04342 | Relay (K9) 562245 | 4 |  |
| 02-05-04343 | Relay 562334 | 12 |  |
| 02-05-04344 | Fixer heater | 2 |  |
| 02-05-04345 | Dry heater | 2 |  |
| 02-05-04346 | Developer heater | 2 |  |
| 02-05-04347 | Fan motor (Biower motor) | 2 |  |
| 02-05-04348 | 1000 power circuit board 602720 | 1 |  |
| 02-05-04349 | Equipment:- X-ray processor automatic Company : Italy Model :-I.M 420 Developer rack | 1 |  |
| 02-05-04350 | Fixer rack | 1 |  |
| 02-05-04351 | Water rack | 1 |  |
| 02-05-04352 | Dry rack | 1 |  |
| 02-05-04353 | Styles | 10 |  |
| 02-05-04354 | Equipment:- Monitor ICU Company : NKD japan Model :- OMP-6200 ECG connection cable 5570605 | 4 pcs |  |
| 02-05-04355 | ECG electrode for disposal electrode (red,yellow,black) | 20 pcs |  |