Annex 02- Medical Appliances

|  | PHYSIOTHERAPY EQUIPMENT & MATERIALS |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 02-06-00001 | Wheelchair drive by other person |  | 250 |  |  |
| 02-06-00002 | Child wheelchair (folding ) |  | 250 |  |  |
| 02-06-00003 | Wheelchair for Amputee |  | 300 |  |  |
| 02-06-00004 | que-arm drive wheelchair (left&right) |  | 300 |  |  |
| 02-06-00005 | Wheelchair with drive wheels in frout |  | 100 |  |  |
| 02-06-00006 | Wheelchair with lever-drive |  | 100 |  |  |
| 02-06-00007 | Electric wheelchair |  | 100 |  |  |
| 02-06-00008 | Toilet wheelchair adult |  | 500 |  |  |
| 02-06-00009 | Toilet wheelchair child |  | 150 |  |  |
| 02-06-00010 | Patient Hoist |  | 20 |  |  |
| 02-06-00011 | Adjustable Axillary crutch (adult) |  | 250 |  |  |
| 02-06-00012 | Adjustable Axillary crutch (child ) |  | 250 |  |  |
| 02-06-00013 | Adjustable Elbow crutch (adult) |  | 1,000 |  |  |
| 02-06-00014 | Adjustable elbow crutch (child) |  | 700 |  |  |
| 02-06-00015 | Adjustable cane |  | 750 |  |  |
| 02-06-00016 | Adjustable tripod (adult) |  | 500 |  |  |
| 02-06-00017 | Adjustable tripod (child ) |  | 500 |  |  |
| 02-06-00018 | Adjustable quadripod (adult) |  | 500 |  |  |
| 02-06-00019 | Adjustable quadripod (child) |  | 200 |  |  |
| 02-06-00020 | Walking frames (adult ) |  | 750 |  |  |
| 02-06-00021 | Walking frames (child ) |  | 250 |  |  |
| 02-06-00022 | Walker folding(2 freut wheel with rear rubber-tips (child) |  | 250 |  |  |
| 02-06-00023 | Walker folding(2 freut wheel with rear rubber-tips (adult) |  | 250 |  |  |
| 02-06-00024 | Tri wheel walker |  | 500 |  |  |
| 02-06-00025 | Rubber Air rings |  | 1,000 |  |  |
| 02-06-00026 | Dynamic splint for extention of hand and fingers |  | 300 |  |  |
| 02-06-00027 | Pasteu pippttcs |  | 25,000 |  |  |
| 02-06-00028 | Biojoux bottle |  | 10,000 |  |  |
| 02-06-00029 | Universal bottle |  | 25,000 |  |  |
| 02-06-00030 | Wax pencil |  | 50 |  |  |
|  | ARTIFICIAL LIMBS AND SPLINTS WORKSHO REQUIRMENTS |  |  |  |  |
| 02-06-00031 | 1 1/6 open end wrench |  | 2 |  |  |
| 02-06-00032 | Slotted hammer |  | 2 |  |  |
| 02-06-00033 | 8.0mm Gren chrill sleeve |  | 2 |  |  |
| 02-06-00034 | Pigment paste skin colar - caucason 180gm tube |  | 50 |  |  |
| 02-06-00035 | AOrthocryl sealing resin 4.6 kg |  | 25 |  |  |
| 02-06-00036 | Orthocyl laminaction resin 4.6kg |  | 50 |  |  |
| 02-06-00037 | Hardener powder 150 gm |  | 100 |  |  |
| 02-06-00038 | Rack for falcon test tube size (50ml hole) |  | 30 |  |  |
| 02-06-00039 | Hamilton syring 250 microliter one head. |  | 25 |  |  |
| 02-06-00040 | Hamilton syring 1000 microliter 6 heads to dispense 1ml |  | 25 |  |  |
| 02-06-00041 | Bottle used for sheep R.B.CْS 20 ml, and for isolation of lymphocyte |  | 2,010 |  |  |
| 02-06-00042 | Artificial microtry with 18 ringes without lid for cross match |  | 2,000 | PCS |  |
| 02-06-00043 | Dynebeed glass I (Box of one tube) or (Box of 6 tube) |  | 10 | box |  |
| 02-06-00044 | Plain disposable plastic printed label tube with screw cap , Size: 10ml |  | 30,000 | PCS |  |
| 02-06-00045 | Plain disposable plastic printed label tube with screw cap ,Size: 15ml |  | 30,000 | PCS |  |
| 02-06-00046 | Plain disposable plastic printed label tube with screw cap ,Size: 25ml |  | 30,000 | PCS |  |
| 02-06-00047 | Plain disposable plastic printed label tube with screw cap ,Size: 50ml |  | 25,000 | PCS |  |
| 02-06-00048 | Falcon test tube, disposable plystyrene conical bottom printed label, graduated non sterile tube with screw cap, capacity 50ml. |  | 25,000 |  |  |
| 02-06-00049 | Slide for flurescent microscopy teflon coated for 60 deteramination with glass cover or humax plate and cover slide:Lids for microtrays 60 rings.Lids for microtrays CYT 45 and 60 rings.Cover glass for CYT 45 and 60 rings |  | 105,000 |  |  |
| 02-06-00050 | Acetic acid dextrose test tube. |  | 2,000 |  |  |
| 02-06-00051 | Syninge Filler pore size 0.2 micron |  | 9,000 | PCS |  |
| 02-06-00052 | pore size 0.45 micron |  | 2,500 | PCS |  |
| 02-06-00053 | pore size 0.8 micron |  | 2,500 | PCS |  |
| 02-06-00054 | Stirring bar set |  | 10 | sets |  |
| 02-06-00055 | Cuvette( pack of100 pieces) |  | 120 | packs |  |
| 02-06-00056 | Glass bottle ( glass vials with plastic cap covered by metel cap) |  | 12,000 | PCS |  |
| 02-06-00057 | Amber glass bottle capacity 500 ml |  | 30,010 | PCS |  |
| 02-06-00058 | Amber glass bottle capacity 250 ml |  | 30,010 | PCS |  |
| 02-06-00059 | Amber glass bottle capacity 50 ml |  | 52,010 | PCS |  |
| 02-06-00060 | Amber glass bottle capacity 100 ml |  | 52,000 | PCS |  |
| 02-06-00061 | Funnel Borosili cate glass cepacity of 2 liters |  | 130 | PCS |  |
| 02-06-00062 | Glass cylirdes grpauated copacity of 2 liters |  | 105 | PCS |  |
| 02-06-00063 | Hydrometer |  | 12 | PCS |  |
| 02-06-00064 | Dialysis membrane (diameter 16- 25mm dry thickness 0.008) |  | 10 | Pkt |  |
| 02-06-00065 | Dialysis membrane ( diameter of the pores about 2.4 nm pack of 18" 50mm ft dry thickness 0.00013 and 0.0002) |  | 50 | for each |  |
| 02-06-00066 | Iodine flask 250ml |  | 80 |  |  |
| 02-06-00067 | Weighing Bottles Maximum capacity Not more thane 5gm capacity |  | 150 |  |  |
| 02-06-00068 | Nickel crucible size 250CC |  | 5 |  |  |
| 02-06-00069 | Burette 25ml |  | 110 |  |  |
| 02-06-00070 | Burette 50ml |  | 110 |  |  |
| 02-06-00071 | Volumetric flask 5ml |  | 160 |  |  |
| 02-06-00072 | Leukocyte filter |  | 50,010 |  |  |
| 02-06-00073 | Despenser 30ml adjustable |  | 110 |  |  |
| 02-06-00074 | Simple slide rule for whirling hygrometer |  | 10 |  |  |
| 02-06-00075 | Durhaum tube |  | 3,000 | PCS |  |
| 02-06-00076 | Heamoglobin pipette |  | 1,005 | PCS |  |
| 02-06-00077 | Glass Bottles narow mouth glass vials with plastic cap coverd by metal cap , mouth width 1.25 I 0.05cm length 7 + 0.1cm capacity 50 ml 25cc length to the shoulder 5.4.S.S cmThe metal and plastic cap should be ith vials divenssion |  | 8,000 |  |  |
| 02-06-00078 | Filtter paper 50cm diameter Grade |  | 100 | packx100pcs |  |
| 02-06-00079 | Plastic Gloves elbow legth corrosive chemicals resistance high abras and punchure resistave |  | 50,000 | pcs for each capceity |  |
| 02-06-00080 | Bottle al neubral amber glass with namow neck screw cap hard plastic corrosine liqnid resistanee for both botle and cap capacity 5,10,25,1000,2500ml |  | 50,000 | PCS each capcity |  |
| 02-06-00081 | B- Neutral clear glass , narrow neck , hard plastic and corrosive liquit resistant screo cap |  | 5,000 | pcs each capcity |  |
| 02-06-00082 | C- polypropylene screw cap rigrd , narrow neck corrosive chemicals resistaub leak proof capacity 50,100,250,500,1000 ml |  | 50,000 | pcs for capacity |  |
| 02-06-00083 | Automatic syring for large volume injection rapid repeat injection and automatic dispersing |  | 25 | pcs |  |
| 02-06-00084 | Autoclave deodoerisn capsules for minimise offensive odours |  | 5,000 |  |  |
| 02-06-00085 | Shoes rubber size 7-12, half leg length 50 cm |  | 50 | pcs |  |
| 02-06-00086 | Loags lined with furr suitable for use in cool room |  | 20 | Pcs |  |
| 02-06-00087 | Shoes leather lined with furr suitable for use incool rooms |  | 20 | pairs |  |
| 02-06-00088 | Autoclave indicator lape sterilin wrdth mm 12, f each 3.80 |  | 1,000 | PCS |  |
| 02-06-00089 | Filter paper size 24Cm( PCS) |  | 100 | pack |  |
| 02-06-00090 | Celluloid acetate paper (pack 100 PCS) |  | 100 | pack |  |
| 02-06-00091 | Test tube plastic rack for 24 test tube s |  | 3,000 | pcs |  |
| 02-06-00092 | Test tube plastic rack for 36 test tube |  | 3,000 | pcs |  |
| 02-06-00093 | Test tube plastic rack for 40 test tube |  | 3,000 | pcs |  |
| 02-06-00094 | Test tube plastic rack for 90 test tube |  | 3,000 | pcs |  |
| 02-06-00095 | Test tube plastic rack for 21 test tube |  | 3,000 | pcs |  |
| 02-06-00096 | Pasteur pipette (pack 500 pcs) |  | 60 | pack |  |
| 02-06-00097 | Heparinized syringes |  | 2,000 | pcs |  |
| 02-06-00098 | Glass beads , 3mm in diameter , pcs |  | 1,000 |  |  |
| 02-06-00099 | Cups for specimen collection with cover , pcs |  | 800,000 |  |  |
| 02-06-00100 | Prevention of diseas center requirementPetri dishes 15cm diameter |  | 2,000,000 | pcs |  |
| 02-06-00101 | Blood lancets disposable |  | 13,000,000 | pcs |  |
| 02-06-00102 | Disposable plain tubes (10ml size) with caps |  | 15,000,000 | pcs |  |
| 02-06-00103 | Screw cap bottles 25ml size |  | 100,000 | tubs |  |
| 02-06-00104 | Disposable swabs |  | 1,000,000 | pcs |  |
| 02-06-00105 | Pipette disposable (1.5 & 10ml) |  | 1,000,000 | each |  |
| 02-06-00106 | Tips disposable (1-250 ml) |  | 2,000,000 |  |  |
| 02-06-00107 | Tips disposable (250-1000ml) |  | 2,000,000 |  |  |
| 02-06-00108 | Microscope slid |  | 750,000 |  |  |
| 02-06-00109 | Cover slids |  | 500,000 |  |  |
| 02-06-00110 | Filtter papar(15cm) |  | 1,000 | pack |  |
| 02-06-00111 | Filtter papar (50cm) |  | 1,000 | pack |  |
| 02-06-00112 | Cool box |  | 180 |  |  |
| 02-06-00113 | Vaccin carrier |  | 1,600 |  |  |
| 02-06-00114 | Circular thermometer |  | 1,600 |  |  |
| 02-06-00115 | Anti freeze thermometer |  | 1,600 |  |  |
| 02-06-00116 | Syringe 0.05cc outo district |  | 12,000,000 |  |  |
| 02-06-00117 | Safty box |  | 12,000,000 |  |  |
|  | LABORATORY & ENVIRUNMENTAL PROTECTION EQUIPMENT + APPLIANCES |  |  |  |  |  |
| 02-06-00118 | Air monitoring media (Filters) model G810 (8ْx10ْ), glass fiber , packing size box of (100 sheets) |  | 30 | Box |  |
| 02-06-00119 | Test tubes (pyrex) height 18cm ,dia 1.5cm |  | 3,000 |  |  |
| 02-06-00120 | Sampling bottles capacity (250ml) |  | 20,000 |  |  |
| 02-06-00121 | Box of 150personal radiation monitoring films (3x4cm ) type 2 |  | 132 | packet |  |
| 02-06-00122 | Unifir fixer powder to make (1x 25L) each box |  | 20 | packet |  |
| 02-06-00123 | Box of D198 developer powder to make (2x25 L) each box |  | 30 | pack |  |
| 02-06-00124 | Silvered kata thermometer (range 51.5-54.5Cْ) |  | 6 |  |  |
| 02-06-00125 | Silvered kata thermometer (range 35-38 Cْ) |  | 6 |  |  |
| 02-06-00126 | Unsilvered kata thermometer (range -51.5-54.5 Cْ) |  | 6 |  |  |
| 02-06-00127 | Unsilvered kata thermometer (range 35-38 Cْ) |  | 6 |  |  |
| 02-06-00128 | Membrane Filter , dia -2.5cm , pore size small 0.8 Mm |  | 12 | pack |  |
| 02-06-00129 | Round flask with flat bottom ,with glass stopper socket 24/29 ,diff. Size (250ml, 500ml) |  | 48 |  |  |
| 02-06-00130 | Ph paper . |  | 6 | rolls |  |
| 02-06-00131 | Glass funnel size (25ml ,10 ml) |  | 48 |  |  |
| 02-06-00132 | Measuring cylinders graduated glass (10ml ) |  | 170 |  |  |
| 02-06-00133 | Measuring cylinders graduated glass , 25ml |  | 70 |  |  |
| 02-06-00134 | Measuring cylinders graduated glass , 50ml |  | 270 |  |  |
| 02-06-00135 | Measuring cylinders graduated glass , 100ml |  | 270 |  |  |
| 02-06-00136 | Measuring cylinders graduated glass , 250ml |  | 30 |  |  |
| 02-06-00137 | Measuring cylinders graduated glass , 500ml |  | 30 |  |  |
| 02-06-00138 | Beakers (20ml, 50 ml) |  | 24 |  |  |
| 02-06-00139 | Pyrex round botton flask vol. 250ml |  | 180 |  |  |
| 02-06-00140 | Pipette (bulb) assorted size |  | 205 |  |  |
| 02-06-00141 | Morter glass or porcelin with pestlr , capacity of about 300ml |  | 45 |  |  |
| 02-06-00142 | Separating funnel capacity of 1000ml |  | 120 |  |  |
| 02-06-00143 | Funnel glass diameter of 5mm |  | 60 |  |  |
| 02-06-00144 | Funnel glass diameter of 100mm |  | 300 |  |  |
| 02-06-00145 | Buchunar flask with rubber adapter |  | 45 |  |  |
| 02-06-00146 | Gouch crucible size 10ml |  | 240 |  |  |
| 02-06-00147 | Wire gauze size 16 x 16cm |  | 80 |  |  |
| 02-06-00148 | Tripot (iron) |  | 36 |  |  |
| 02-06-00149 | Burette clamp |  | 60 |  |  |
| 02-06-00150 | Stand (iron) with 50cm rod length |  | 80 |  |  |
| 02-06-00151 | Polyethylene container of about 101ml vol. |  | 40 |  |  |
| 02-06-00152 | Pipette filter (rubber) |  | 40 |  |  |
| 02-06-00153 | Basket- rectangular (S.S) wire diam. Of 150 x 150 x 150 mm |  | 80 |  |  |
| 02-06-00154 | Test tube rack (plastic ) for 24 test tubes |  | 100 |  |  |
| 02-06-00155 | Wire platinium or chromium - nickel , heat resistant diam. Of 0.5 mm |  | 40 |  |  |
| 02-06-00156 | Loop holder , S.S |  | 40 |  |  |
| 02-06-00157 | Spatula (S.S) |  | 40 |  |  |
| 02-06-00158 | Test tube 6 x3/4 , heavy wall |  | 10,000 |  |  |
| 02-06-00159 | Test tube 6 x 5/8 , heavy wall |  | 10,000 |  |  |
| 02-06-00160 | Durham tube |  | 10,000 |  |  |
| 02-06-00161 | Petridish (disposable) 90mm diam. |  | 40,000 |  |  |
| 02-06-00162 | Petridish (glass) 90mm diam. |  | 1,000 |  |  |
| 02-06-00163 | Sample intended for bacteriological examination glass , capable of being sterilized , cap (150-200ml) with screw metal or plastic |  | 3,000 |  |  |
| 02-06-00164 | BOD bottle for BOD water determination , cap , about 300ml |  | 500 |  |  |
| 02-06-00165 | Filter paper pack of 100 , about 215mm paper size , Whatman no. 1 (medium fast) |  | 270 |  |  |
| 02-06-00166 | Filter paper pack of 100 , about 215mm paper size , Whatman no. 2 (medium) |  | 150 |  |  |
| 02-06-00167 | Filter paper pack of 100 , about 215mm paper size , Whatman no. 5 (slow) |  | 65 |  |  |
| 02-06-00168 | Filter paper pack of 100 , about 215mm paper size , Whatman no. 4 |  | 30 |  |  |
| 02-06-00169 | PH - paper (universal / indicator ) |  | 40 |  |  |
| 02-06-00170 | Clamps |  | 95 |  |  |
| 02-06-00171 | Nylon brushes , assorted |  | 380 |  |  |
| 02-06-00172 | Burnholders |  | 95 |  |  |
| 02-06-00173 | Watch glass |  | 190 |  |  |
| 02-06-00174 | Volumetric flask assorted size with glass stoppers (10ml, 50ml ,100ml ) |  | 225 |  |  |
| 02-06-00175 | Volumetric flask vol. 250ml |  | 150 |  |  |
| 02-06-00176 | Volumetric flask vol. 1000ml |  | 60 |  |  |
| 02-06-00177 | Lab Supplies for invitro fertilization: Poly styrene round bottom tube cap 17 x 100 sterile by Gamma individuly wrapped Box of 500 |  | 50 | Box |  |
| 02-06-00178 | Poly styrene round bottom tube cap 12 x 75 sterile by Gamma individuly wrapped Box of 500 |  | 20 | Box |  |
| 02-06-00179 | Tube for I.V.F diagnostic no (25ml) |  | 200 | ml |  |
| 02-06-00180 | Follicle aspiration needle from follicles trans vaginl washing/2 way set of 10 |  | 500 | Set |  |
| 02-06-00181 | Disposable nylon sacs fo probe (trans vaginal) |  | 1,000 |  |  |
| 02-06-00182 | Contact gel 200ml |  | 10 | x200ml |  |
| 02-06-00183 | Emberyo transfer catheter for women urethral (R) cat No.333082-ch-B |  | 40 |  |  |
| 02-06-00184 | Sealing bags for gas sterilization 100 x 50 |  | 6 | Box |  |
| 02-06-00185 | OJ 3150 x 50 (55805202) |  | 6 | Box |  |
| 02-06-00186 | OJ 3200 x 55 (55805303) |  | 6 | Box |  |
| 02-06-00187 | Spare superc cartidge 12 4/PK for mill |  | 6 | Packs |  |
| 02-06-00188 | Milligard comtcidge 123/PK |  | 5 | Packs |  |
| 02-06-00189 | ION -EX cartcidge 1/PK |  | 8 | Pack |  |
| 02-06-00190 | Watch - glass liqil qualetis 90mm- 500 |  | 500 |  |  |
| 02-06-00191 | Disposble syringe filter 0.2m book pamax sterile caed blue |  | 320 |  |  |
| 02-06-00192 | Supplies for Infertility & Emberyonic Plastic tube extention - Arthur H. thomas Co. P.O Box 779 Philadeelphia . Pa 19105 , USA |  | 500,000 |  |  |
| 02-06-00193 | Swinnex filter supports 13mm millipore corporation bed ford, Ma , 01730 , USA |  | 500,000 |  |  |
| 02-06-00194 | Nytrel filters 13mm diameter in packages of 100 filtersNucleopore corporation canal place , 130 Nickerson street, seatle , washing ton 98109 , USA |  | 1,000,000 |  |  |
| 02-06-00195 | Embryo transfer catheter |  | 2,000 |  |  |
| 02-06-00196 | Sigmented tube stander |  | 10 | Pack |  |
| 02-06-00197 | Sigmented petridishes stander |  | 10 | Pack |  |
| 02-06-00198 | 3 Volumes micrpipettes, (20,25,5) , (50,75,100) , (200, 250.500) , (500,750,1000) Microliters with Tips |  | 16 | of each type |  |
| 02-06-00199 | Fixed Volume pipette capacity: 1,5,20,50,100,200,500 and 1000 microliters |  | 8 | of each type |  |
| 02-06-00200 | Pasture pipette- assorted diameter 500/ pack. |  | 5,130 |  |  |
| 02-06-00201 | IVF Falcon Petridishes capacity of 4 ml & 5 ml (Pack 500 PCS) |  | 175 | pack |  |
| 02-06-00202 | Disposable falcon :- Petri dishes of No. Model 1008 |  | 1,500 |  |  |
| 02-06-00203 | - Petri dishes of No. Model 3002 |  | 2,500 |  |  |
| 02-06-00204 | - Petri dishes of No. Model 3003 |  | 2,500 |  |  |
| 02-06-00205 | - Test tube of No. Model 2003 |  | 3,000 |  |  |
| 02-06-00206 | - Sterile pat 100ml |  | 5,000 |  |  |
| 02-06-00207 | - Flask Ref. 3013 |  | 1,500 |  |  |
| 02-06-00208 | - Pipettes Ref. 7543 |  | 500 |  |  |
| 02-06-00209 | - Pipettes Ref. 7551 |  | 500 |  |  |
| 02-06-00210 | - Flask Ref. 3024 |  | 1,000 |  |  |
| 02-06-00211 | - Organ box ref 3037 |  | 400 |  |  |
| 02-06-00212 | Falcon IVF Petri dishes , disposable , 5ml |  | 3,000 |  |  |
| 02-06-00213 | Falcon IVF Petri dishes , disposable , 1ml |  | 1,000 |  |  |
| 02-06-00214 | Falcon IVF tubes 10ml |  | 1,000 |  |  |
| 02-06-00215 | Falcon 1 ml disposable pipette |  | 1,000 |  |  |
| 02-06-00216 | Falcon 5 ml disposable pipette |  | 2,000 |  |  |
| 02-06-00217 | Falcon 10 ml disposable pipette |  | 1,000 |  |  |
| 02-06-00218 | Falcon 4 well depression each , capacity of 5ml petridish for egg ,pack. |  | 100 |  |  |
| 02-06-00219 | Pyrex graduated conical tubes , capacity 15ml |  | 1,000 |  |  |
| 02-06-00220 | Millipore microfilter size 0.22 millimicron |  | 2,000 |  |  |
| 02-06-00221 | Millipore filter size 0.45 millimicron |  | 2,000 |  |  |
| 02-06-00222 | Needles gages: 20,21,22,23,26,28,30 |  | 4,000 | each |  |
| 02-06-00223 | Catheters TDD sets. |  | 1,500 | Sets |  |
| 02-06-00224 | Frydman Easy transfer Catheters (4-5) |  | 2,000 | Sets |  |
| 02-06-00225 | Milli pore filtration unit size 0.45 ml |  | 1,000 | Pcs |  |
| 02-06-00226 | Milli pore filtration unit size 0.25 ml |  | 1,000 | Pcs |  |
| 02-06-00227 | Organ Culture box, Falcon 3037 |  | 5,000 | Pcs |  |
| 02-06-00228 | Follicle Aspiration needle set of transvaginal Aspiration |  | 18 | Set |  |
| 02-06-00229 | 5ml Tubes RIA Tubes for gamma counter |  | 20,000 | Pcs |  |
| 02-06-00230 | Eppendroff micro pipettes : (20,25,50) ,(50,75,100) ,(100,200,250) ,(250,300,500), (500,750,1000) , (100-1000) , (5,10,20) microliter capacity with tips |  | 60 | of each type |  |
| 02-06-00231 | Mini - Milipore disposable filter syring type sterile size 0.2 UM |  | 3,000 |  |  |
| 02-06-00232 | Mini - Milipore disposable filter syring type sterile size 0.45UM |  | 1,500 |  |  |
| 02-06-00233 | Attes biological indication for ethylene oxide sterilization 3m (green) |  | 300 |  |  |
| 02-06-00234 | Nunclon TM disposable for culture TM denmark |  | 1,200 |  |  |
| 02-06-00235 | Transfer tip ICSI int. 0.005mm |  | 1,200 |  |  |
| 02-06-00236 | Pipett-aid pipette pump 2 automatic mechanical pipette |  | 6 |  |  |
| 02-06-00237 | Disposable graduated plastic pipette 1ml |  | 1,500 |  |  |
| 02-06-00238 | Disposable graduated plastic pipette 5 ml |  | 1,500 |  |  |
| 02-06-00239 | Water sterile pyogen free 500ml/bott |  | 100 |  |  |
| 02-06-00240 | Follicle aspiration set type casmid sterile disposable with needle & tubing |  | 1,600 | Set |  |
| 02-06-00241 | Micro test tissue culture plate with lock 60 flat bottom with fluid capacity 0.010ml plate falcon |  | 100 |  |  |
| 02-06-00242 | Micro well plate with lock (RBSH UL 96U) |  | 1,800 |  |  |
| 02-06-00243 | Ethylene oxide gas cartiges 3m 4-100 , 100cr each box 12 |  | 3 |  |  |
| 02-06-00244 | IVF falcon 4 well depresion each capacity 1ml petredish for egg |  | 200 | pack |  |
| 02-06-00245 | Sterilized IVF Tubes for sperm activation |  | 2,000 | Pcs |  |
| 02-06-00246 | Double lumen needle for follicle aspiration sterilizable |  | 6 | Pcs |  |
| 02-06-00247 | Graft mark 6 percutaneous single lumen needles with irrigation facility |  | 4 | PCS |  |
| 02-06-00248 | Hallam medical center IVF needle. |  | 4 | PCS |  |
| 02-06-00249 | Monash university paltern 0ocyte collection set |  | 8 | PCS |  |
| 02-06-00250 | Graft Atraumatic fimbrial holding forceps. |  | 3 | PCS |  |
| 02-06-00251 | Graft GIFT (T-set) Catheter introducer set. |  | 8 | PCS |  |
| 02-06-00252 | Graft Catheters |  | 26 | PCS |  |
| 02-06-00253 | Graft Disposable GIG²FT Catheter set. |  | 100 |  |  |
| 02-06-00254 | Cullture dishes for culture and identification for uman oocytes - 35mm diameter |  | 2,000 | PCS |  |
| 02-06-00255 | - 60mm diameter |  | 2,000 | PCS |  |
| 02-06-00256 | - 100mm diameter |  | 2,000 | PCS |  |
| 02-06-00257 | Falcon cultur dishes for egg culture and fertilizetion disposable 5 ml capacity |  | 5,000 | PCS |  |
| 02-06-00258 | Bioreezer vials for cryo pessavation of human semen |  | 1,000 | PCS |  |
| 02-06-00259 | Vangard cryogenic Vials: - 1.2 cc capacity |  | 1,000 | Vials |  |
| 02-06-00260 | - 2cc capacity |  | 1,000 | Vials |  |
| 02-06-00261 | - 1.8 CC capacity |  | 1,000 | vials |  |
| 02-06-00262 | - Cryorack hold 50 tube |  | 30 |  |  |
| 02-06-00263 | E - Cryoshrinc tubing for extra safity |  | 30 |  |  |
| 02-06-00264 | Human follical aspiration set - Single lumen for human egg aspiration to be used with vaginal ultrasoun scanner |  | 30 | Sets (dissposable) |  |
| 02-06-00265 | - Double lumen ( The set include needle + Tubing catheter + Collecting tubes) |  | 30 | Sets |  |
| 02-06-00266 | Glft disposable , sterile needles and catheter to be used with labaroscopic aspiration of human eggs |  | 60 | PCS |  |
| 02-06-00267 | Micropipettes with microtips , sterile to be used for human eggs and embryos micromanipulation |  | 20 | PCS |  |
| 02-06-00268 | Dispsable microtips for micropipette , diferent sizes |  | 9,000 | pcs |  |
| 02-06-00269 | Microfiter 0.45mm and 0.22mm for sterilization of culture medium |  | 1,000 | PCS for each type |  |
| 02-06-00270 | Pasteur pipette (500 pCS/Pack) |  | 60 | Pack |  |
| 02-06-00271 | Fluorescent ANA/AMA glass slides with 12 reaction fields (10 slides /box) |  | 150 | box |  |
| 02-06-00272 | ICSI microneedles 500/pack |  | 40 | pack |  |
| 02-06-00273 | IVF falcon test tubes capacity of 15ml with cap. |  | 110 | pack |  |
| 02-06-00274 | 0.20 um Millipore microfilter no. 2000 |  | 1,500 |  |  |
| 02-06-00275 | 0.45 um Millipore microfilter no. 1500 |  | 500 |  |  |
| 02-06-00276 | SMI Micropipette with all the accessories including capillary tubes no. |  | 30 |  |  |
| 02-06-00277 | Makler counting cgaber no. 8 |  | 4 |  |  |
| 02-06-00278 | Follicle Aspiration set type casmide with needle & tubing system 1000 sets |  | 500 |  |  |
| 02-06-00279 | Falcon IVF sterile petridishen capacity 5.0 ml & capacity 4.0 ml ( 500 per pack ) |  | 40 | pack each |  |
| 02-06-00280 | IVF petredishes 4 well depression each 1,0 ml capacity 25 per pack |  | 40 |  |  |
| 02-06-00281 | Standerdized loops for guanhiratine urine culture |  | 250 |  |  |
| 02-06-00282 | W.B.C filter |  | 50,000 | pcs |  |
| 02-06-00283 | Vaginal probe for IVF work |  | 20 |  |  |
|  | LABORATORY GLASSWARE/PLASTICS/ACCESSORIES & HOSPITAL EQUIPMENTS |  |  |  |  |  |
| 02-06-00284 | Baskets S.S. with handel PCS |  | 850 |  |  |
| 02-06-00285 | Beaker glass 250 ml PCS |  | 2450 |  |  |
| 02-06-00286 | Beaker glass 500 ml PCS |  | 1880 |  |  |
| 02-06-00287 | Beaker glass 600 ml PCS |  | 1580 |  |  |
| 02-06-00288 | Beaker glass 2000ml PCS |  | 665 |  |  |
| 02-06-00289 | Beaker glass 3000ml PCS |  | 385 |  |  |
| 02-06-00290 | Beaker glass 5000ml PCS |  | 140 |  |  |
| 02-06-00291 | Amber bottle with cap 200ml PCS |  | 460 |  |  |
| 02-06-00292 | Amber bottle with cap 350ml PCS |  | 440 |  |  |
| 02-06-00293 | 60ml PCS |  | 740 |  |  |
| 02-06-00294 | 250ml PCS |  | 1310 |  |  |
| 02-06-00295 | 500ml PCS |  | 3710 |  |  |
| 02-06-00296 | 2000ml PCS |  | 3005 |  |  |
| 02-06-00297 | Bottle aspirator polythene 5 L PCS |  | 275 |  |  |
| 02-06-00298 | Bottle dropper 30 CC PCS |  | 630 |  |  |
| 02-06-00299 | Bottle dropper 50 CC PCS |  | 740 |  |  |
| 02-06-00300 | Washing bottle polythene 250ml PCS |  | 1410 |  |  |
| 02-06-00301 | Washing bottle polythene 500ml PCS |  | 1230 |  |  |
| 02-06-00302 | Bottle screw cap 30ml PCS |  | 57,313 |  |  |
| 02-06-00303 | Bottle screw cap 5ml PCS |  | 11,850 |  |  |
| 02-06-00304 | Bottle universal 28ml wide neck with rubber alluminium screw cap |  | 200,000 |  |  |
| 02-06-00305 | Bottle Plastic 250ml PCS |  | 4500 |  |  |
| 02-06-00306 | Bottle Plastic 500ml PCS |  | 4500 |  |  |
| 02-06-00307 | Bottle flate 200ml PCS with aluminium screw cap. |  | 11450 |  |  |
| 02-06-00308 | 250ml PCS |  | 25 |  |  |
| 02-06-00309 | 500ml PCS |  | 25 |  |  |
| 02-06-00310 | Capillary tube heparine PCS |  | 6,782,000 |  |  |
| 02-06-00311 | Capillary tube plain PCS |  | 5,480,000 |  |  |
| 02-06-00312 | T.Shape tube glass PCS |  | 220 |  |  |
| 02-06-00313 | Disposable tube for blood suger PCS |  | 146013 |  |  |
| 02-06-00314 | Disp. tube plastic E.D.T.A 2ml or 2.5ml) |  | 2490000 |  |  |
| 02-06-00315 | Disp. tube plastic E.D.T.A 5ml (carton 500 PCS) |  | 49450 |  |  |
| 02-06-00316 | Wintrop tube PCS |  | 1100 |  |  |
| 02-06-00317 | Test tube spare for Spc PCS |  | 6450 |  |  |
| 02-06-00318 | Polythene stopper PCS |  | 193 |  |  |
| 02-06-00319 | Filter Paper size 2mm (Pack) |  | 6200 |  |  |
| 02-06-00320 | Filter sheets type (sheet) |  | 2520 |  |  |
| 02-06-00321 | Dish evaporating (ass size) PCS |  | 435 |  |  |
| 02-06-00322 | Dispenser 2ml (PCS) with its bottle |  | 500 |  |  |
| 02-06-00323 | Dispenser 5ml (PCS) with its bottle |  | 500 |  |  |
| 02-06-00324 | Disposable blood lancet. (pack 200 PCS) |  | 5800 |  |  |
| 02-06-00325 | Flask Erlanmyer 250ml (PCS) |  | 620 |  |  |
| 02-06-00326 | Flask Erlanmyer 500ml (PCS) |  | 610 |  |  |
| 02-06-00327 | Flask Erlanmyer 2000ml (PCS) |  | 1120 |  |  |
| 02-06-00328 | Flask Erlanmyer 6000ml (PCS) |  | 195 |  |  |
| 02-06-00329 | Flask volumetric 25ml (PCS) |  | 980 |  |  |
| 02-06-00330 | Flask volumetric 50ml (PCS) |  | 1050 |  |  |
| 02-06-00331 | Funnel sepratory 250ml (PCS) |  | 420 |  |  |
| 02-06-00332 | Funnel sepratory 500ml (PCS) |  | 340 |  |  |
| 02-06-00333 | Grease pencil (PCS) |  | 102100 |  |  |
| 02-06-00334 | Gauze wire (PCS) |  | 1260 |  |  |
| 02-06-00335 | Diamond pencil (PCS) |  | 1165 |  |  |
| 02-06-00336 | Slide for microscope (pack 50 PCS) |  | 203200 |  |  |
| 02-06-00337 | Holder for test tube wooden (PCS) |  | 6070 |  |  |
| 02-06-00338 | Holder for test tube metal (PCS) |  | 745 |  |  |
| 02-06-00339 | Holder for platinum wire (loop) PCS |  | 12410 |  |  |
| 02-06-00340 | Counting champer (PCS) |  | 5200 |  |  |
| 02-06-00341 | Petredish glass (PCS) |  | 43300 |  |  |
| 02-06-00342 | Litmus paper blue (roll) |  | 89500 |  |  |
| 02-06-00343 | Litmus paper red (Booklet) |  | 26750 |  |  |
| 02-06-00344 | Litmus paper 5cm (PCS) |  | 235050 |  |  |
| 02-06-00345 | Pipette Grad. 0.3ml (PCS) |  | 930 |  |  |
| 02-06-00346 | Pipette Grad. 2ml (PCS) |  | 4150 |  |  |
| 02-06-00347 | Pipette Grad. 5ml (PCS) |  | 8150 |  |  |
| 02-06-00348 | Pipette Grad.25ml (PCS) |  | 2980 |  |  |
| 02-06-00349 | Pipette westergreen for E.S.R Set. (PCS) |  | 32000 |  |  |
| 02-06-00350 | Pasture pipette disposable (PCS) |  | 1619100 |  |  |
| 02-06-00351 | Automatic pipette 20-200 (PCS) |  | 883 |  |  |
| 02-06-00352 | Automatic pipette 40-200 (PCS) |  | 883 |  |  |
| 02-06-00353 | Automatic pipette 500ml (PCS) |  | 883 |  |  |
| 02-06-00354 | Plasticin (450gm) (PCS) |  | 6560 |  |  |
| 02-06-00355 | Rack for test tube plastic hold 20 tube. (PCS) |  | 9180 |  |  |
| 02-06-00356 | Rack for test tube plastic (2x6 hold) (PCS) |  | 6160 |  |  |
| 02-06-00357 | Rack for test tube stain less steel (PCS) |  | 2020 |  |  |
| 02-06-00358 | Spatula S.S. 200mm (PCS) |  | 10010 |  |  |
| 02-06-00359 | Spatula polythene 200mm (PCS) |  | 10010 |  |  |
| 02-06-00360 | Benzen burner. (PCS) |  | 1120 |  |  |
| 02-06-00361 | Staining Jar for 50 slides. |  | 3053 |  |  |
| 02-06-00362 | Sterile swabs stick Without Media. |  | 1185000 |  |  |
| 02-06-00363 | Wood applicator (wood stick) PCS |  | 2675000 |  |  |
| 02-06-00364 | Tips for 500ml (Colour Yellow) PCS |  | 37945000 |  |  |
| 02-06-00365 | Alluminium foil (Roll of 200 meter) |  | 270 |  |  |
| 02-06-00366 | Thermometer 0-200 degree (PCS) |  | 1012 |  |  |
| 02-06-00367 | Timer stop watch (In seconds) (PCS) |  | 4200 |  |  |
| 02-06-00368 | Rubber for Hb pipette (PCS) |  | 3870 |  |  |
| 02-06-00369 | Lovibond (PCS) |  | 255 |  |  |
| 02-06-00370 | Sahli set.(PCS) |  | 2680 |  |  |
| 02-06-00371 | Spare pipette for sahli set (PCS) |  | 3700 |  |  |
| 02-06-00372 | Swab stick wooden applicator with charcool |  | 1220 |  |  |
| 02-06-00373 | Automatic pipette (5-50) Microliter |  | 1903 |  |  |
| 02-06-00374 | Automatic pipette (50-250) Microliter |  | 2453 |  |  |
| 02-06-00375 | Plastic dropping bottle. |  | 825 |  |  |
| 02-06-00376 | Copllin Jar glass |  | 10026 |  |  |
| 02-06-00377 | Copllin Jar polyethen |  | 10026 |  |  |
| 02-06-00378 | Stand rotard with rod only. |  | 78 |  |  |
| 02-06-00379 | Stand rotard + Base + Clamp + PU |  | 502 |  |  |
| 02-06-00380 | Stand for pipette funnel |  | 215 |  |  |
| 02-06-00381 | Swab stick wooden applicator (with clear media) |  | 267000 |  |  |
| 02-06-00382 | Alarm clock timer. |  | 10070 |  |  |
| 02-06-00383 | Disposable V. plate plastic Microplate |  | 6200 |  |  |
| 02-06-00384 | Disposable U. plate Plastic Microplate |  | 6200 |  |  |
| 02-06-00385 | Disposable Microliter flat bottom plate. Virgin polystyrene for elisa |  | 6050 |  |  |
| 02-06-00386 | Bleeding time device |  | 25475 |  |  |
| 02-06-00387 | Anprolene sterilizing gas (Ampoule). |  | 1010 |  |  |
| 02-06-00388 | Bottle polyproplin 25 liter. |  | 35 |  |  |
| 02-06-00389 | Bottle polyproplin 50 liter. |  | 35 |  |  |
| 02-06-00390 | Auto clavable bottle 200ml with metal S.C (45mm mouth) for sterility test |  | 6110 |  |  |
| 02-06-00391 | Flask flat bottom 250ml |  | 90 |  |  |
| 02-06-00392 | Flask flat bottom 500ml |  | 225 |  |  |
| 02-06-00393 | Seperatory funnel cylindrecal 250ml |  | 62 |  |  |
| 02-06-00394 | Seperatory funnel Spherical 250ml |  | 152 |  |  |
| 02-06-00395 | Seperatory funnel Spherical 500ml |  | 41 |  |  |
| 02-06-00396 | Seperatory funnel Spherical 25ml |  | 41 |  |  |
| 02-06-00397 | Flask kjeildahi 50ml |  | 31 |  |  |
| 02-06-00398 | Flask kjeildahi 250ml |  | 31 |  |  |
| 02-06-00399 | Flask conical stopperd for Iodine 250ml |  | 195 |  |  |
| 02-06-00400 | Flask conical stopperd for Iodine 500ml |  | 195 |  |  |
| 02-06-00401 | Flask conical stopperd 250ml |  | 415 |  |  |
| 02-06-00402 | Flask conical stopperd 500ml |  | 155 |  |  |
| 02-06-00403 | Flask for Iodine App. with platinium wire 20 |  | 26 |  |  |
| 02-06-00404 | Wire CO2 250ml |  | 29 |  |  |
| 02-06-00405 | Nesler cylinder 50ml |  | 265 |  |  |
| 02-06-00406 | Cylindrical funnel and sintglass plate 30 P3 |  | 42 |  |  |
| 02-06-00407 | Cylindrical funnel and sintglass plate 60 P3 |  | 42 |  |  |
| 02-06-00408 | Crucible Nickel 25ml |  | 7 |  |  |
| 02-06-00409 | Crucible Nickel 70ml |  | 7 |  |  |
| 02-06-00410 | Cylindrical funnel and sentaglass plate 60 ml G4 |  | 32 |  |  |
| 02-06-00411 | Cylindrical funnel and sentaglass plate 60 ml G5 |  | 32 |  |  |
| 02-06-00412 | Anarobic Indicator |  | 3250 |  |  |
| 02-06-00413 | Anarobic Gas Genareting kit with indicator. |  | 3900 |  |  |
| 02-06-00414 | Bottle glass nerrow neck with plastic Stopper 30ml or 50ml |  | 3030 |  |  |
| 02-06-00415 | Bottle glass nerrow neck with plastic Stopper 250ml |  | 1520 |  |  |
| 02-06-00416 | Bottle glass nerrow neck with plastic Stopper 500ml |  | 1520 |  |  |
| 02-06-00417 | Disposable blood Lancet (pack of 200 PCS) |  | 51000 | pack |  |
| 02-06-00418 | Volumetric flask 5 L. |  | 102 |  |  |
| 02-06-00419 | Pipette Grad. 4ml |  | 3080 |  |  |
| 02-06-00420 | Pipette Grad. 5ml |  | 6680 |  |  |
| 02-06-00421 | Pipette Grad. 0.4ml |  | 830 |  |  |
| 02-06-00422 | Pipette Grad. 0.5ml |  | 1380 |  |  |
| 02-06-00423 | Pipette filler rubber |  | 3350 |  |  |
| 02-06-00424 | Polythene stopper ass. size. |  | 3320 |  |  |
| 02-06-00425 | Roll Sealing tissu 38 ml |  | 90 |  |  |
| 02-06-00426 | Sterilizing container for pipette. |  | 1350 |  |  |
| 02-06-00427 | Tube Y Shape glass |  | 210 |  |  |
| 02-06-00428 | Roux bottle flask |  | 18005 |  |  |
| 02-06-00429 | Dispenser 3ml with its bottle PCS |  | 460 |  |  |
| 02-06-00430 | Plastic dropping bottle 60ml |  | 1620 |  |  |
| 02-06-00431 | 250ml |  | 5 |  |  |
| 02-06-00432 | 500ml |  | 5 |  |  |
| 02-06-00433 | Round bottom flask 250ml |  | 83 |  |  |
| 02-06-00434 | Graduated pipette 50ml |  | 3305 |  |  |
| 02-06-00435 | Filter paper sheet |  | 3010 |  |  |
| 02-06-00436 | Graduated pipette 3ml |  | 2900 |  |  |
| 02-06-00437 | Automatic pipette (2-20) ML |  | 1820 |  |  |
| 02-06-00438 | Pipette graduated (0.2ml) |  | 2820 |  |  |
| 02-06-00439 | Measure glass (250ml) |  | 670 |  |  |
| 02-06-00440 | Measure glass (500ml) |  | 630 |  |  |
| 02-06-00441 | Round bottom flask 500ml |  | 320 |  |  |
| 02-06-00442 | Round bottom flask 2 L. |  | 360 |  |  |
| 02-06-00443 | Round bottom flask 4 L. |  | 320 |  |  |
| 02-06-00444 | Round bottom flask 5 L. |  | 320 |  |  |
| 02-06-00445 | Metal dishes for mosture content |  | 42 |  |  |
| 02-06-00446 | Flat bottom Flask 2000ml |  | 155 |  |  |
| 02-06-00447 | Flat bottom Flask 3000ml |  | 155 |  |  |
| 02-06-00448 | Flat bottom Flask 4000ml |  | 155 |  |  |
| 02-06-00449 | Flat bottom Flask 5000ml |  | 155 |  |  |
| 02-06-00450 | Graduated cylider 25ml |  | 170 |  |  |
| 02-06-00451 | Graduated cylider 50ml |  | 165 |  |  |
| 02-06-00452 | Graduated cylider 250ml |  | 165 |  |  |
| 02-06-00453 | Graduated cylider 500ml |  | 165 |  |  |
| 02-06-00454 | Goggles, High compact polycarbonate lens. |  | 60 |  |  |
| 02-06-00455 | Safety warning & advice sings, warinign, safe condition & mandatory. |  | 155 | pcs for each |  |
| 02-06-00456 | Round bottomed test tube with stopper |  | 610 |  |  |
| 02-06-00457 | Universal container, 30 ml |  | 7010 |  |  |
| 02-06-00458 | Size: 25ml |  | 200 |  |  |
| 02-06-00459 | Burrette (5ml) |  | 5 |  |  |
|  | MISCELLANEOUS - OTHER ITEMS |  |  |  |  |
| 02-06-00460 | Eye - coat 2% hydroxy propyl methyl cellulose in 1.5ml syring, (viscoelastic) |  | 1,506 |  |  |
| 02-06-00461 | Box (of12) vico sutures , 6.5mm spatulated needle ,3/8C, 10/0 monofilament nylon, 45cms , double |  | 226 |  |  |
| 02-06-00462 | Box (of12) vico sutures ,5mm spatulated needle ,3/8C, 10/0 monofilament nylon, 45cms , double |  | 20 |  |  |
| 02-06-00463 | Box (of 12) sutures , for scleral fixation of posterior & Anterior chamber 10 LS straight |  | 1,500 |  |  |
| 02-06-00464 | Ophthmic U/S |  | 43 |  |  |
| 02-06-00465 | Catsaract surgical sets (E.C.C.E & I.O.L) |  | 113 |  |  |
| 02-06-00466 | Leads & opthalmic forceps for bipolar coagulation MEM or MRTW |  | 58 |  |  |
| 02-06-00467 | Seft lips for bioscon / S TROZ |  | 3,026 |  |  |
| 02-06-00468 | Sets of contact & non contact fundus viewing lenses (volks or ocular) |  | 44 |  |  |
| 02-06-00469 | Flourescin vial & film B/W 400 ASA |  | 216 | each |  |
| 02-06-00470 | Micro corneo scleral & tissue forceps non toothed hoskin type , straight & curved |  | 106 | each |  |
| 02-06-00471 | Micro suture tying forceps |  | 109 |  |  |
| 02-06-00472 | capsules forceps , langled & straigl |  | 59 | each |  |
| 02-06-00473 | capsules scissores angled & straight |  | 57 |  |  |
| 02-06-00474 | 10 L hooks , siniskl or similar type |  | 30 |  |  |
| 02-06-00475 | Micro corneal scissores Rt & LF |  | 107 | each |  |
| 02-06-00476 | Disposable knife for scleral tunnel incision |  | 1,133 |  |  |
| 02-06-00477 | Diamond knife for cornel incision |  | 105 |  |  |
| 02-06-00478 | Swan neck blue forceps |  | 58 |  |  |
| 02-06-00479 | Iris forceps fine tip,straight & curved |  | 106 |  |  |
| 02-06-00480 | Vannas micro scissors curved |  | 108 |  |  |
| 02-06-00481 | Disposaple iris retractor |  | 3,037 |  |  |
| 02-06-00482 | Kits for visitrec anterio vitretomy instrument & 9V battereies |  | 56 |  |  |
| 02-06-00483 | Remote action scissor for pupillay membraine cutting |  | 101 |  |  |
| 02-06-00484 | Intra - oculer lenses, anterior and posterior |  | 2,461 |  |  |
| 02-06-00485 | Intra-Ocular lens Posterior chamber Power from 17Diopter to 22 Diopter |  | 953 |  |  |
| 02-06-00486 | Intra -Ocul ar lens Anterior champer Power from 13-to 17 Diopter |  | 301 |  |  |
| 02-06-00487 | Retinoscop. |  | 104 |  |  |
| 02-06-00488 | Repositor Silver, Metal handle , single ended, curved 5.5" (140mm) |  | 200 |  |  |
| 02-06-00489 | Lister Eyelid retractor, with sold blades, for right eue 3.5" (83mm) |  | 200 |  |  |
| 02-06-00490 | Lister Eyelid retractor, with sold blades, for Left eue 3.5" (83mm) |  | 200 |  |  |
| 02-06-00491 | Graefe muscle hook small 5.25" (133mm) |  | 100 |  |  |
| 02-06-00492 | Graefe muscle hook Medium 5.25" (133mm) |  | 100 |  |  |
| 02-06-00493 | Graefe muscle hook Large 5.25" (133mm) |  | 100 |  |  |
| 02-06-00494 | Rollet Lacrymal Retractor 5 3/4" (146mm) Used in pains. |  | 50 |  |  |
| 02-06-00495 | Moorfields Artery forceps feather weight 4 3/4" (121mm) |  | 100 |  |  |
| 02-06-00496 | Halstead mosquito, curved half matt 5" (125mm) |  | 100 |  |  |
| 02-06-00497 | Ultrafine Haemostatic forceps cro;e, straight, half matt 5.5" (140mm) |  | 200 |  |  |
| 02-06-00498 | Creene chalazion forceps 3 3/4" (95mm) |  | 200 |  |  |
| 02-06-00499 | corneal Graft Punch |  | 12 |  |  |
| 02-06-00500 | Coldmann Perimeter |  | 17 |  |  |
| 02-06-00501 | Tonometar- Applanation |  | 15 |  |  |
| 02-06-00502 | Set of Oculer Len Test |  | 1 |  |  |
| 02-06-00503 | Snellen's, stainless steel |  | 200 |  |  |
| 02-06-00504 | Govan's depressor marker, scleral, |  | 10 |  |  |
| 02-06-00505 | Blades curved lens forceps, stainless steel, |  | 50 |  |  |
| 02-06-00506 | Bonnacolto fragment capsule forceps , without catch, stainless steel. |  | 50 |  |  |
| 02-06-00507 | Barraquer's with very fine Jaws for 4 and 5 mm N (Needle Holder).. |  | 200 |  |  |
| 02-06-00508 | Orbital implant size: 16 |  | 50 |  |  |
| 02-06-00509 | Orbital implant size: 18 |  | 50 |  |  |
| 02-06-00510 | LABOARATERIES EQUIPMENTS FOR EYE BANKLAF hood for an MK lab. |  | 1 |  |  |
| 02-06-00511 | Specular microscope |  | 1 |  |  |
| 02-06-00512 | UV transfer hood |  | 1 |  |  |
| 02-06-00513 | OPHTHALMIC REQUIMENT FOR EYE BANKMicro surgical instrment with steril boxes |  | 24 | set |  |
| 02-06-00514 | Solution for hard and soft lense |  | 20 | L |  |
| 02-06-00515 | Shipping materialsShipping containers |  | 5 |  |  |
| 02-06-00516 | Foam blocks, liner bag and twish tie |  | 12 |  |  |
| 02-06-00517 | Shrink seals (warning on MK) with shipping tissue |  | 12 |  |  |
| 02-06-00518 | Igloo containers |  | 4 |  |  |
| 02-06-00519 | Masking tape |  | 24 |  |  |
| 02-06-00520 | Strapping tape |  | 24 |  |  |
| 02-06-00521 | Blue ice( for igloo) |  | 8 |  |  |
| 02-06-00522 | Surgical Instrument kits Enucleation kits:1. Speculum, eye lid, lancaster2. Forceps, iris3. Hemostat, halsted (mosquito forceps)4. Scissors, strabismus, straight or curved5. Hook , muscle6. Scissors, enucleation , curved, medium7. Clap, Alies |  | 4 | kits |  |
| 02-06-00523 | Corneal section kits:1. Speculum, eye lid, lancaster2. Forceps ,iris3. Scissors ,tenotomy,wescott4. Forceps, sturing, castroviejo, 0.5mm teeth5. Scissors, cornel section, castroviejo , midminiature or miniature blades, right and left handed6. Hemostat , |  | 6 | sets |  |
| 02-06-00524 | Labrotory supplies start- up (disbosables, phamaceuticals)MK medium |  | 100 |  |  |
| 02-06-00525 | Dexol |  | 100 |  |  |
| 02-06-00526 | Ophthalmic Irrigating Solution 1oz |  | 200 |  |  |
| 02-06-00527 | Ophthalmic Solution AK Spore (neomycin) 2ml |  | 200 |  |  |
| 02-06-00528 | Spinal needles 18 by 3 1/2" bx/25 |  | 100 |  |  |
| 02-06-00529 | Hypodernic needles 18g x1/2" |  | 100 |  |  |
| 02-06-00530 | Syringe ,10cc |  | 100 |  |  |
| 02-06-00531 | Thermometer N995-5B (refrigrator) |  | 2 |  |  |
| 02-06-00532 | Cidex ,qt, disimfectant cleaner |  | 1 |  |  |
| 02-06-00533 | Glycerin preservation units |  | 25 |  |  |
| 02-06-00534 | Eye caps ,small and large, clear and print |  | 2 | grossea |  |
| 02-06-00535 | Eye jars ,with caps , gaskets and cages |  | 2 | grossea |  |
| 02-06-00536 | Septisol cleaner 6 quarts with extra pumps |  | 4 | qts |  |
| 02-06-00537 | Sterilization tubing |  | 2 | rolls |  |
| 02-06-00538 | Surgical gowns, fabric |  | 12 |  |  |
| 02-06-00539 | Surgical masks |  | 100 |  |  |
| 02-06-00540 | Surgical caps |  | 100 |  |  |
| 02-06-00541 | Shoe covers |  | 100 |  |  |
| 02-06-00542 | Eye sheets fabric |  | 6 |  |  |
| 02-06-00543 | Protective goggles |  | 6 |  |  |
| 02-06-00544 | Autoclave cleaner |  | 1 | pint |  |
| 02-06-00545 | Surgical instruments lubricant (Buellْs ) |  | 1 | qrt |  |
| 02-06-00546 | Vacutainer (test tube) |  | 1 | pack |  |
| 02-06-00547 | Slit lamp clamps , straight and swivel |  | 2 | each |  |
| 02-06-00548 | Surgical procedures tray bx/251. surgical gloves ,sterille 2pair 2. Alcohol prep pads 3. Alcohol prep sticks 4. Oridone/Iodine swab sticks5. Cotton -tipped applictors 6. Cotton balls 7.2x2 gauze sponges 8. 4x4 gauze sponges 9. surgical blades , bard -par |  | 5 | boxes |  |
| 02-06-00549 | DENTAL SUPPLIESPolyster abrasive finisting strip pack of 100 |  | 10,000 |  |  |
| 02-06-00550 | Aluminium temporary crown kit |  | 2,000 |  |  |
| 02-06-00551 | Amalgum alloy , bott. Of 30 gm |  | 50,000 |  |  |
| 02-06-00552 | Amalgum cap. Box of 50 |  | 5,000 |  |  |
| 02-06-00553 | Amalgum carrier straight |  | 5,000 |  |  |
| 02-06-00554 | Amalgum carrier curved |  | 5,000 |  |  |
| 02-06-00555 | Amalgum plugger |  | 2,000 |  |  |
| 02-06-00556 | Applicater instrument (Dycal applicater) |  | 1,500 |  |  |
| 02-06-00557 | Diamond burs for turbine HP (frictional type ,round, fissure , tapered , flame) for crown& bridge flame |  | 150,000 |  |  |
| 02-06-00558 | Tunguston carbide for turbing H.P |  | 120,000 |  |  |
| 02-06-00559 | Surgical burs ( fissure &round ) carbide |  | 5,000 |  |  |
| 02-06-00560 | Steel burs for RHP NO. 1 rack of 6 |  | 3,000 |  |  |
| 02-06-00561 | Steel burs for RHP NO.3 rack of 6 |  | 3,000 |  |  |
| 02-06-00562 | Steel burs for RHP NO.4 rack of 6 |  | 3,000 |  |  |
| 02-06-00563 | Steel burs for RHP NO.6 rack of 6 |  | 3,000 |  |  |
| 02-06-00564 | Steel burs for RHP NO.8 rack of 6 |  | 3,000 |  |  |
| 02-06-00565 | Finishing burs assorted rack of 6 |  | 3,000 |  |  |
| 02-06-00566 | Polishing point for RHP set of 6 (assorted) |  | 3,000 |  |  |
| 02-06-00567 | Burnisher (hand instrument) Ovall , Ball , pearl |  | 12,000 |  |  |
| 02-06-00568 | Calcium hydroxide paste |  | 10,100 |  |  |
| 02-06-00569 | Celluloid crowns (anterior& posterior) complete kit ( assorted ) |  | 12,000 |  |  |
| 02-06-00570 | Half crown (metal incisal) box of 100 pcs |  | 1,000 |  |  |
| 02-06-00571 | Oxyphsphate cement (powder &liquid ) |  | 9,000 |  |  |
| 02-06-00572 | Poly carboxylate cement (powder &liquid ) |  | 6,000 |  |  |
| 02-06-00573 | Zincoxide eugenol cement (powder &liquid ) |  | 9,000 |  |  |
| 02-06-00574 | Cement spatulla S.S double ended |  | 10,000 |  |  |
| 02-06-00575 | Anterior light curing composit kit |  | 3,000 |  |  |
| 02-06-00576 | Posterior light curing composit kit |  | 2,000 |  |  |
| 02-06-00577 | Anterior self curing (chemical curing) composit kit |  | 2,000 |  |  |
| 02-06-00578 | Posterior self curing (chemical curing) composit kit |  | 2,000 |  |  |
| 02-06-00579 | Etch liquid / gel 36 % pack |  | 4,000 |  |  |
| 02-06-00580 | cotton roll assorted size ,pack |  | 12,000 |  |  |
| 02-06-00581 | cotton roll holder S.S |  | 1,000 |  |  |
| 02-06-00582 | Hand crown removal |  | 1,200 |  |  |
| 02-06-00583 | Dippen glass |  | 20,000 |  |  |
| 02-06-00584 | Dentine pins , self thraeding type kit assorted |  | 10,000 |  |  |
| 02-06-00585 | Devitalization fiber , non arsenic type |  | 2,000 |  |  |
| 02-06-00586 | Eugenol liquid bott. Of 30 ml |  | 20,000 |  |  |
| 02-06-00587 | Double ended excaviater , medium |  | 5,000 |  |  |
| 02-06-00588 | Double ended excaviater , large |  | 5,000 |  |  |
| 02-06-00589 | Fissure sealant , light curing kit |  | 2,000 |  |  |
| 02-06-00590 | Fissure sealant , self curi(chemical curing) kit |  | 2,000 |  |  |
| 02-06-00591 | Locked tweezer |  | 3,000 |  |  |
| 02-06-00592 | Matrix band premolar &molar-Ivory no. 1 pack of 12 |  | 60,000 |  |  |
| 02-06-00593 | Matrix band premolar &molar-Ivory no. 8 pack of 12 |  | 150,000 |  |  |
| 02-06-00594 | Matrix retainer S.S Ivory no. 1 |  | 6,000 |  |  |
| 02-06-00595 | Matrix retainer S.S Ivory no. 8 |  | 18,000 |  |  |
| 02-06-00596 | Dental mirror with handle |  | 20,000 |  |  |
| 02-06-00597 | Dental mirror without handle box of 12 |  | 120,000 |  |  |
| 02-06-00598 | Moter & pestle |  | 200 |  |  |
| 02-06-00599 | Napkin holder |  | 5,000 |  |  |
| 02-06-00600 | Plastic filling instrument , assorted shape & size |  | 5,000 |  |  |
| 02-06-00601 | Probe (explorer) , single ended |  | 15,000 |  |  |
| 02-06-00602 | Probe (explorer) , double ended |  | 5,000 |  |  |
| 02-06-00603 | Saliva ejectors , diposable pk. Of 100 |  | 5,000 |  |  |
| 02-06-00604 | Screw post kit assorted box |  | 5,000 |  |  |
| 02-06-00605 | Silicon points (for polishing composite ) right angle HP.kit |  | 4,000 |  |  |
| 02-06-00606 | Stand burs for right angle HP &turbine burs with cover |  | 2,000 |  |  |
| 02-06-00607 | Strip holders |  | 500 |  |  |
| 02-06-00608 | Temporary filling (jar or tube) |  | 10,000 |  |  |
| 02-06-00609 | Trasparent strips assorted pk. Of 50 pcs |  | 50,000 |  |  |
| 02-06-00610 | Topical flouride gell bott. Of 500ml |  | 2,000 |  |  |
| 02-06-00611 | Sodiumflouride powder bott. Of 500 gm |  | 1,200 |  |  |
| 02-06-00612 | Topical flouride applicator (tray set) |  | 12,000 |  |  |
| 02-06-00613 | Copal varnish bott. 15 ml |  | 1,000 |  |  |
| 02-06-00614 | Neutral varnish bott. 15 ml |  | 1,000 |  |  |
| 02-06-00615 | Plastic iterdental wedges box of 50 |  | 15,000 |  |  |
| 02-06-00616 | Wood interdental wedges box of 50 |  | 15,000 |  |  |
| 02-06-00617 | Arch bar |  | 1,205 |  |  |
| 02-06-00618 | Bone cutter , rounger |  | 1,000 |  |  |
| 02-06-00619 | bone Nibbler |  | 1,000 |  |  |
| 02-06-00620 | Bone file double ended |  | 1,500 |  |  |
| 02-06-00621 | Cheek retractor |  | 4,000 |  |  |
| 02-06-00622 | Lip retractor |  | 2,000 |  |  |
| 02-06-00623 | Buccal flap retractor |  | 2,000 |  |  |
| 02-06-00624 | Coupland chisel |  | 10,000 |  |  |
| 02-06-00625 | Dental chisel (no. 1,2,3) |  | 15,000 |  |  |
| 02-06-00626 | dental tweezer (college&marium) |  | 120,000 |  |  |
| 02-06-00627 | Upper anteriors extracting forceps |  | 3,000 |  |  |
| 02-06-00628 | Lower anteriors extracting forceps |  | 1,000 |  |  |
| 02-06-00629 | Upper premolars extracting forceps |  | 2,000 |  |  |
| 02-06-00630 | Lower premolar extracting forceps |  | 2,000 |  |  |
| 02-06-00631 | Upper molar extracting forceps (L & R) |  | 2,000 |  |  |
| 02-06-00632 | Lower molar extracting forceps |  | 6,000 |  |  |
| 02-06-00633 | Upper root (anterior , posterior wisdom) extracting forceps |  | 2,000 |  |  |
| 02-06-00634 | Lower root (anterior , posterior wisdom) extracting forceps |  | 2,000 |  |  |
| 02-06-00635 | Tooth extracting forceps for children , upper anteriors |  | 1,000 |  |  |
| 02-06-00636 | Tooth extracting forceps for children , lower anteriors |  | 1,000 |  |  |
| 02-06-00637 | Tooth extracting forceps for children , upper molars L & R |  | 1,000 |  |  |
| 02-06-00638 | Tooth extracting forceps for children , lower molars |  | 4,000 |  |  |
| 02-06-00639 | Tooth extracting forceps for children , upper roots |  | 1,000 |  |  |
| 02-06-00640 | Tooth extracting forceps for children , lower roots |  | 1,000 |  |  |
| 02-06-00641 | Elastic bands pk. Of 10 |  | 10,000 |  |  |
| 02-06-00642 | Bayonet forceps |  | 1,000 |  |  |
| 02-06-00643 | Root elevator (no. 1,2,3) - Apical L&R |  | 6,000 |  |  |
| 02-06-00644 | Root elevator (no. 1,2,3) -Cryers L&R |  | 6,000 |  |  |
| 02-06-00645 | Root elevator (no. 1,2,3) - straight |  | 10,000 |  |  |
| 02-06-00646 | Injection dental syringe (cartridge type) |  | 5,000 |  |  |
| 02-06-00647 | Disposable dental needle gauge 27 & 30 short ,pk. Of 100 |  | 100,000 |  |  |
| 02-06-00648 | Disposable dental needle gauge 27 & 30 long , pk. Of 100 |  | 100,000 |  |  |
| 02-06-00649 | Periosteal elevator |  | 1,000 |  |  |
| 02-06-00650 | Ligature wire 0.4 & 0.5 soft S.S ,roll |  | 5,000 |  |  |
| 02-06-00651 | Barbed Broches (nerve broches) , fine ,colour coded pk. Of 12 |  | 10,000 |  |  |
| 02-06-00652 | Barbed Broches (nerve broches) , medium,colour coded pk. Of 12 |  | 10,000 |  |  |
| 02-06-00653 | Barbed Broches (nerve broches) , coarse,colour coded pk. Of 12 |  | 10,000 |  |  |
| 02-06-00654 | Barbed Broches (nerve broches) , x-fine,colour coded pk. Of 12 |  | 10,000 |  |  |
| 02-06-00655 | Barbed Broches (nerve broches) , xx-fine,colour coded pk. Of 12 |  | 10,000 |  |  |
| 02-06-00656 | Gutta percha points assorted size (15 - 40 ) pk. Of 120 , 20 for each |  | 30,000 |  |  |
| 02-06-00657 | Gutta percha points assorted size (45 - 80 ) pk. Of 120 , 20 for each |  | 30,000 |  |  |
| 02-06-00658 | Gutta percha points assorted size ( 90 - 140 ) pk. Of 120 , 20 for each |  | 15,000 |  |  |
| 02-06-00659 | Gets gliden drill ( root canal drills , assorted size 1-6 ) rack of 6 |  | 3,000 |  |  |
| 02-06-00660 | Pesso root canal drills ( assorted size , 1 - 6 ) rack of 6 |  | 3,000 |  |  |
| 02-06-00661 | Files (K& head strom type with stoppers) size 8 rack of 6 |  | 5,000 | for each |  |
| 02-06-00662 | Files (K& head strom type with stoppers) size 10 rack of 6 |  | 5,000 | for each |  |
| 02-06-00663 | Files (K& head strom type with stoppers) assorted size 15 - 40 , rack of 6 |  | 10,000 | for each |  |
| 02-06-00664 | Files (K& head strom type with stoppers) assorted size 45 - 80 , rack of 6 |  | 10,000 | for each |  |
| 02-06-00665 | Files (K& head strom type with stoppers) assorted size 90 - 140 , rack of 6 |  | 5,000 | for each |  |
| 02-06-00666 | Paper points assorted size 15 - 40 , box of 120 , 20 each |  | 10,000 |  |  |
| 02-06-00667 | Paper points assorted size 45 - 80 , box of 120 , 20 each |  | 6,000 |  |  |
| 02-06-00668 | Paper points assorted size 90 - 140 , box of 120 , 20 each |  | 6,000 |  |  |
| 02-06-00669 | Phenol camphor liquid bott. Of 30 ml |  | 2,000 |  |  |
| 02-06-00670 | Root canal reamers with stoppers size 8 rack of 6 |  | 2,000 |  |  |
| 02-06-00671 | Root canal reamers with stoppers size 10 rack of 6 |  | 2,000 |  |  |
| 02-06-00672 | Root canal reamers with stoppers assorted size 15 - 40 , rack of 6 |  | 10,000 |  |  |
| 02-06-00673 | Root canal reamers with stoppers assorted size 45 - 80 , rack of 6 |  | 6,000 |  |  |
| 02-06-00674 | Root canal reamers with stoppers assorted size 90 - 140 , rack of 6 |  | 3,000 |  |  |
| 02-06-00675 | Root canal anodized alumminium tray |  | 2,000 |  |  |
| 02-06-00676 | Root canal plugger size 1 |  | 1,000 |  |  |
| 02-06-00677 | Root canal plugger size 2 |  | 1,000 |  |  |
| 02-06-00678 | Root canal plugger size 3 |  | 1,000 |  |  |
| 02-06-00679 | Root canal spreader size 1 |  | 1,000 |  |  |
| 02-06-00680 | Root canal spreader size 2 |  | 1,000 |  |  |
| 02-06-00681 | Root canal spreader size 3 |  | 1,000 |  |  |
| 02-06-00682 | Root canal sealer (liquid & powder) kit |  | 5,000 |  |  |
| 02-06-00683 | Rubber dam roll box of 100 |  | 3,000 |  |  |
| 02-06-00684 | Rubber dam punch |  | 1,005 |  |  |
| 02-06-00685 | Rubber dam clamps for incisors |  | 2,000 |  |  |
| 02-06-00686 | Rubber dam clamps for premolars |  | 2,000 |  |  |
| 02-06-00687 | Rubber dam clamps for molars |  | 2,000 |  |  |
| 02-06-00688 | Rubber dam clamp forceps |  | 1,000 |  |  |
| 02-06-00689 | Silver points size 15 pk. Of 12 |  | 1,000 |  |  |
| 02-06-00690 | Silver points size 20 pk. Of 12 |  | 1,000 |  |  |
| 02-06-00691 | Silver points size 25 pk. Of 12 |  | 2,000 |  |  |
| 02-06-00692 | Silver points size 30 pk. Of 12 |  | 4,000 |  |  |
| 02-06-00693 | Silver points size 35 pk. Of 12 |  | 4,000 |  |  |
| 02-06-00694 | Silver points size 40 pk. Of 12 |  | 4,000 |  |  |
| 02-06-00695 | Silver points size 45 pk. Of 12 |  | 4,000 |  |  |
| 02-06-00696 | Silver points size 50 pk. Of 12 |  | 1,000 |  |  |
| 02-06-00697 | Silver points size 55 pk. Of 12 |  | 1,000 |  |  |
| 02-06-00698 | Silver points size 60 pk. Of 12 |  | 1,000 |  |  |
| 02-06-00699 | Silver points forceps |  | 5,000 |  |  |
| 02-06-00700 | Tricresol formaline bott. Of 30 ml |  | 5,000 |  |  |
| 02-06-00701 | # Brushes Polishing brushes (chungkin bristle) |  | 10,000 |  |  |
| 02-06-00702 | Cr. Co. & acrylic polishing brushes for HP( 20 mm diam.) & polishing machines (50ml diam.) |  | 10,000 |  |  |
| 02-06-00703 | Polishing cloth brushes with mandrill & for polishing machine ( 100 mm diam. ) |  | 10,000 |  |  |
| 02-06-00704 | S.S brushes for HP & polishing machine |  | 10,000 |  |  |
| 02-06-00705 | Polishing brush for RHP |  | 5,000 |  |  |
| 02-06-00706 | Interdental brush |  | 10,000 |  |  |
| 02-06-00707 | Columbia curette |  | 1,000 |  |  |
| 02-06-00708 | Gracy curette |  | 1,000 |  |  |
| 02-06-00709 | McCall curette |  | 1,000 |  |  |
| 02-06-00710 | Kirkland curette |  | 1,000 |  |  |
| 02-06-00711 | Disclosing tab. Pk. Of 100 |  | 50,000 |  |  |
| 02-06-00712 | Dental floss waxed pk. Of 3 m. |  | 10,000 |  |  |
| 02-06-00713 | Blakes gingivectomy knife |  | 200 |  |  |
| 02-06-00714 | Kirkland gingivectomy knife |  | 200 |  |  |
| 02-06-00715 | Orban papilla gingivectomy knife |  | 2,000 |  |  |
| 02-06-00716 | Fox gingivectomy knife |  | 200 |  |  |
| 02-06-00717 | Buck periodental file |  | 200 |  |  |
| 02-06-00718 | Hirshfeld periodental file |  | 200 |  |  |
| 02-06-00719 | Surgman periodental file |  | 200 |  |  |
| 02-06-00720 | Oschenbein chisel no. 1 |  | 50 |  |  |
| 02-06-00721 | Oschenbein chisel no. 2 |  | 50 |  |  |
| 02-06-00722 | Pocket measuring probe |  | 2,000 |  |  |
| 02-06-00723 | Curved naber probe |  | 200 |  |  |
| 02-06-00724 | Pocket marking pliers (L&R) |  | 200 |  |  |
| 02-06-00725 | Pumice powder with flouride pk. Of 250 gm |  | 2,000 |  |  |
| 02-06-00726 | Rubber cup pk. Of 12 |  | 50,000 |  |  |
| 02-06-00727 | Cumine scaler |  | 1,510 |  |  |
| 02-06-00728 | Hoe scaler set of 4 |  | 200 |  |  |
| 02-06-00729 | Jacquette scaler |  | 1,000 |  |  |
| 02-06-00730 | Straight push scaler |  | 1,000 |  |  |
| 02-06-00731 | Periodental gum sciss |  | 200 |  |  |
| 02-06-00732 | Curved gum scissor |  | 200 |  |  |
| 02-06-00733 | Periodental serrated scissor |  | 200 |  |  |
| 02-06-00734 | Periodental Hoe set of 4 |  | 100 |  |  |
| 02-06-00735 | Sharpenning stone |  | 200 |  |  |
| 02-06-00736 | Wooden tooth picks , box of 50 |  | 50,000 |  |  |
| 02-06-00737 | Tissue nippler for gingivectomy |  | 200 |  |  |
| 02-06-00738 | Sugical cemenet pk. |  | 500 |  |  |
| 02-06-00739 | Denture adhesive powder / paste pk. Of 50 gm |  | 12,000 |  |  |
| 02-06-00740 | Putrex pk. Of 30gm |  | 500 |  |  |
| 02-06-00741 | Iodoform guase (strips of 5mm x 10 m. pk.) 10 % conc. |  | 5,000 |  |  |
| 02-06-00742 | Soft S.S wire 0.5 , roll / 5m. length |  | 1,000 |  |  |
| 02-06-00743 | Soft S.S wire 0.6 , roll / 5m. length |  | 1,000 |  |  |
| 02-06-00744 | Polishing powder / paste with flouride pk. |  | 5,000 |  |  |
| 02-06-00745 | Orthodentic plier |  | 4,000 |  |  |
| 02-06-00746 | Aspirating dental syringe |  | 1,000 |  |  |
| 02-06-00747 | Diamond separating disc with mandrill |  | 10,000 |  |  |
| 02-06-00748 | Glass slab thick &large |  | 2,000 |  |  |
| 02-06-00749 | Carbide fissure burs for turbine |  | 120,000 |  |  |
| 02-06-00750 | Endodentic stopper silicon rubber box of 100 |  | 5,000 |  |  |
| 02-06-00751 | Acrylic temporary crown assorted |  | 100,000 |  |  |
| 02-06-00752 | Temporary post crown acrylic , assorted |  | 4,000 |  |  |
| 02-06-00753 | Synthetic bone replacement materials ,(pack) |  | 2,000 |  |  |
| 02-06-00754 | Miniplate & microplate kit for maxillofacial fixation |  | 50 |  |  |
| 02-06-00755 | Resorbable microplate kit |  | 50 |  |  |
| 02-06-00756 | Fracture kit |  | 2,000 |  |  |
| 02-06-00757 | Teeth whittening kit |  | 1,500 |  |  |
| 02-06-00758 | Dental implant :Implantology surgical set |  | 150 |  |  |
| 02-06-00759 | Implant fixature ( endoseous , blades , bicortical ) |  | 15,000 |  |  |
| 02-06-00760 | Gingival former (assorted) |  | 10,000 |  |  |
| 02-06-00761 | transfer coping |  | 10,000 |  |  |
| 02-06-00762 | Surgical drills for implant ( pilot , twist , simultaneous) |  | 15,000 |  |  |
| 02-06-00763 | Abutment super structure (assorted) |  | 25,000 |  |  |
| 02-06-00764 | Implant surgical instruments (assorted) |  | 15,000 |  |  |
| 02-06-00765 | Implant analog & abutment analog (all types ) |  | 15,000 |  |  |
| 02-06-00766 | Instrument set for implant impression |  | 150 |  |  |
| 02-06-00767 | Lab. Instrument set for implant |  | 150 |  |  |
| 02-06-00768 | Trolley for implantology surgical unit |  | 50 |  |  |
| 02-06-00769 | Implant periodental care kit |  | 150 |  |  |
| 02-06-00770 | Surgical hand piece |  | 200 |  |  |
| 02-06-00771 | Turbine hand piece |  | 3,000 |  |  |
| 02-06-00772 | Bone measuring instrument (osteometer) |  | 50 |  |  |
| 02-06-00773 | Implant boy ( cabinate ) |  | 150 |  |  |
| 02-06-00774 | Interdental strip holder (for interdental polishing) |  | 50 |  |  |
| 02-06-00775 | Steel strip (graded), (for interdental polishing) |  | 100 | box |  |
| 02-06-00776 | Linen strips(graded), (for interdental polishing) |  | 100 | box |  |
| 02-06-00777 | Gore- tex periodental membrane (regeneration membrane) |  | 50 | box |  |
| 02-06-00778 | Diamond burs for odontoplasty (assorted), (perio-set) |  | 50 | box |  |
| 02-06-00779 | hdroxyapatite HA for periodental pocket |  | 50 | bottle |  |
| 02-06-00780 | Trephine drill |  | 100 |  |  |
| 02-06-00781 | Tissue adhesive (cyanoacrylate) |  | 1,000 |  |  |
| 02-06-00782 | Plasts- O - probe for application of tissue adhesive |  | 200 |  |  |
| 02-06-00783 | Mixing Capsule for Amalgamator (Degussa) PCS |  | 2,010 |  |  |
| 02-06-00784 | Waste reciever |  | 2,000 |  |  |
| 02-06-00785 | Fiber splint |  | 2,500 |  |  |
| 02-06-00786 | Guided tissue regeneration ( perio ) |  | 100 |  |  |
| 02-06-00787 | Zinc phosphate cement (liquid and powder) |  | 5,000 |  |  |
| 02-06-00788 | Wax bulding and carving instruments PCS |  | 1,000 |  |  |
| 02-06-00789 | Endo clean stand |  | 2,000 |  |  |
| 02-06-00790 | Sponge for clean stand pack of 50 pcs |  | 5,000 |  |  |
| 02-06-00791 | Orthodontic cement |  | 150 | Kit |  |
| 02-06-00792 | Self- developing x- ray dentel film (box of 100) |  | 2,500 |  |  |
| 02-06-00793 | Hydrosolder material assorted |  | 5,000 |  |  |
| 02-06-00794 | Thermoplast sheet for pressure molding , box of 100 , assorted |  | 20,000 |  |  |
| 02-06-00795 | Soldering table with object holder |  | 100 |  |  |
| 02-06-00796 | Film holder |  | 1,500 |  |  |
| 02-06-00797 | Desensitzing kit |  | 500 |  |  |
| 02-06-00798 | Composite polishing discs kit. |  | 325 |  |  |
| 02-06-00799 | Cotton roll plastic container |  | 4,000 |  |  |
| 02-06-00800 | Chrom steel crown Assorted kit |  | 1,000 |  |  |
| 02-06-00801 | Surgical dressing soft paste |  | 1,070 |  |  |
| 02-06-00802 | Root canal post ( titanium S.S ,gold plated) pk. Of 50 assorted |  | 6,000 |  |  |
| 02-06-00803 | Pumice for lab work (Powder) Box of 1 kg & 5Kg |  | 3,000 |  |  |
| 02-06-00804 | Dental Mandriles for straight HP- set of 6 |  | 2,000 |  |  |
| 02-06-00805 | Calsium hydroxide light cure |  | 500 |  |  |
| 02-06-00806 | (Light cure) Kit for anteril filling |  | 1,000 |  |  |
| 02-06-00807 | Scissors Crown , Straight |  | 3,000 |  |  |
| 02-06-00808 | Scissors ( crown & Bridge ) curved |  | 3,000 |  |  |
| 02-06-00809 | tetanium flexable reamres set of 6 pcs assorted |  | 5,000 |  |  |
| 02-06-00810 | Glass Lonomer filling Material |  | 2,030 |  |  |
| 02-06-00811 | Polishing disc set of 6 assorted |  | 5,000 |  |  |
| 02-06-00812 | Mandrel for R.H.P setof 6 |  | 1,000 |  |  |
| 02-06-00813 | Spirit lamp |  | 2,025 |  |  |
| 02-06-00814 | Mc call periodautal curette |  | 300 |  |  |
| 02-06-00815 | Casting dental alloy Precious pk. Of 1 Kg |  | 1,000 |  |  |
| 02-06-00816 | Benzan burner |  | 2,030 |  |  |
| 02-06-00817 | Ceramic fused to metal kit assorted |  | 200 |  |  |
| 02-06-00818 | Metal free ceramic kit |  | 200 |  |  |
| 02-06-00819 | Burs for stright H.P :- Grinding stone (Roughand fine) Box of 6 PCS |  | 20,000 | PCS |  |
| 02-06-00820 | - Grinding point Box of 6 PCS |  | 20,054 | P²CS |  |
| 02-06-00821 | Casting rings :- For chrome cobalt work |  | 1,000 |  |  |
| 02-06-00822 | Casting rings :- For crown and bridge |  | 500 |  |  |
| 02-06-00823 | Casting ring former (plastic with base plate) |  | 1,000 |  |  |
| 02-06-00824 | Crucible diff. size and shape (assorted) pk. Of 6 |  | 15,000 |  |  |
| 02-06-00825 | Dupilicating flask |  | 530 |  |  |
| 02-06-00826 | Felt polishing (con , disc , wheel ) for lath mount |  | 10,000 |  |  |
| 02-06-00827 | Impression plaster 3 kg. |  | 1,100 | Pack |  |
| 02-06-00828 | Investment mould tonque:- For crown and Bridge casting ring |  | 200 |  |  |
| 02-06-00829 | Chrom cobalt bridge casting ring |  | 200 |  |  |
| 02-06-00830 | Lining paper non asbestos roll |  | 1,000 |  |  |
| 02-06-00831 | Plaster of paris PK of 3 kg. |  | 600 |  |  |
| 02-06-00832 | Strengtheners (mesh or net) for acrylic denture S/S |  | 2,000 |  |  |
| 02-06-00833 | Tissue couditioner |  | 1,100 |  |  |
| 02-06-00834 | Rubber Polisher point set of 6 |  | 2,060 |  |  |
| 02-06-00835 | Rubber Polisher disk set of 6 |  | 2,110 |  |  |
| 02-06-00836 | Rubber discoids box of 1000 |  | 5,000 |  |  |
| 02-06-00837 | Sand plast (Blasting corundam) 5kg |  | 10,020 | Pack |  |
| 02-06-00838 | Librofilm |  | 2,020 |  |  |
| 02-06-00839 | Liquid (D) , for acrylic facing , pk. Of 100 ml |  | 1,000 |  |  |
| 02-06-00840 | Scissors assorted |  | 1,000 | PCS |  |
| 02-06-00841 | Alvogyl |  | 2,060 | Bott |  |
| 02-06-00842 | ProstheticsLecron carver |  | 1,615 |  |  |
| 02-06-00843 | Wax Kinfe |  | 10,050 |  |  |
| 02-06-00844 | Circular Saws-Small |  | 1,000 |  |  |
| 02-06-00845 | Rubber Bowel (Small , medium , large ) |  | 6,500 |  |  |
| 02-06-00846 | Carborundundisc pk. Of 100 |  | 1,000 |  |  |
| 02-06-00847 | Modling Wax -Pack of 450 gm |  | 10,020 |  |  |
| 02-06-00848 | Adaptable self adhesive plastic pattern , pack of 100 |  | 5,000 |  |  |
| 02-06-00849 | Casting & preparation wax (smooth & stippled ) pack of 15 |  | 1,000 |  |  |
| 02-06-00850 | Cervical wax , pack |  | 1,000 |  |  |
| 02-06-00851 | Hardening wax in packs |  | 1,000 |  |  |
| 02-06-00852 | Inlay wax in packs |  | 2,000 |  |  |
| 02-06-00853 | Plastic pattern assorted in packs |  | 1,000 |  |  |
| 02-06-00854 | Wax pattern assorted in packs |  | 1,000 |  |  |
| 02-06-00855 | Profiled wax assorted in packs |  | 1,000 |  |  |
| 02-06-00856 | Wax wire for sprue in roles |  | 1,000 |  |  |
| 02-06-00857 | Investment for low fusing metal pack 5 kg |  | 1,500 |  |  |
| 02-06-00858 | Brass Flask for crown and bridge |  | 1,005 |  |  |
| 02-06-00859 | Bross-Flask for acrylic work |  | 5,000 |  |  |
| 02-06-00860 | Aluminium impression Trays |  | 7,630 |  |  |
| 02-06-00861 | Articulating paper (Pack of 12) |  | 5,010 |  |  |
| 02-06-00862 | Impression paste heavy body , box |  | 2,000 |  |  |
| 02-06-00863 | Ready Made crown Shells for facing (Pack of 50) |  | 1,000 |  |  |
| 02-06-00864 | Sintered diamondngrinding burs assorted |  | 5,000 |  |  |
| 02-06-00865 | Emery cloth (25m roll) |  | 1,100 |  |  |
| 02-06-00866 | Gold Mold seal (500ml bottle) |  | 1,520 |  |  |
| 02-06-00867 | Wax Carvers in 5 differnt. shape set of 5 ) |  | 3,000 |  |  |
| 02-06-00868 | Simple Articulator assorted |  | 5,020 |  |  |
| 02-06-00869 | Lmpression tray S.S set of 6 |  | 10,000 |  |  |
| 02-06-00870 | Impression paste (Z.O.E) (Pack of 2 Tubes) |  | 3,030 |  |  |
| 02-06-00871 | Set of 6 teeth upper / lower |  | 100,200 |  |  |
| 02-06-00872 | Complete Set of teeth of 28 |  | 25,100 |  |  |
| 02-06-00873 | Leather brushes for polishing |  | 500 |  |  |
| 02-06-00874 | Investment for crome cobalt casting (pack of 20 kg) |  | 1,000 |  |  |
| 02-06-00875 | Rubber polisher disc W50 (Pack of 100) |  | 2,000 |  |  |
| 02-06-00876 | Rubber polisher disc W52 (Pack of 100) |  | 2,000 |  |  |
| 02-06-00877 | Hard stone , die-stone (box 0f 3 kg) |  | 2,500 |  |  |
| 02-06-00878 | Dental stone , pack of 3 Kg |  | 7,500 |  |  |
| 02-06-00879 | Palatal Bars , pk. Of 10 pcs |  | 3,000 |  |  |
| 02-06-00880 | Lingual Bars (Pack of 10 PCS) |  | 2,500 |  |  |
| 02-06-00881 | S.S.Ready Made clasp. For acrylic pk. Of 25 |  | 10,000 |  |  |
| 02-06-00882 | U.M Mold for T51 |  | 2,000 |  |  |
| 02-06-00883 | Rubber dam frame metal |  | 2,500 |  |  |
| 02-06-00884 | Mandrels S.S Pack of 12 PCS |  | 5, |  |  |
| 02-06-00885 | Endo - bloc for reamer mearurment |  | 7,000 |  |  |
| 02-06-00886 | Press clamp one flask |  | 2,000 |  |  |
| 02-06-00887 | Prosthetic steel burs set of 6 assorted |  | 120,100 |  |  |
| 02-06-00888 | Solder Tweezer with Lock. |  | 200 |  |  |
| 02-06-00889 | Base plate box Upper (50 PCS Pack) |  | 1,110 |  |  |
| 02-06-00890 | Base Plate box Lower (50 PCS Pack) |  | 1,110 |  |  |
| 02-06-00891 | Investment for high fusing alloys (5kg Pack) |  | 220 |  |  |
| 02-06-00892 | Endodontic obturature assorted |  | 500 | kit |  |
| 02-06-00893 | Mandrel for Disc short. for contra- angle (kit of 6 pcs) |  | 500 |  |  |
| 02-06-00894 | Plaster Spatula |  | 5,000 |  |  |
| 02-06-00895 | Duplicating material , reversable type , 1 Kg pk. |  | 3,500 |  |  |
| 02-06-00896 | Rouge Stick Block for metal polishing |  | 750 |  |  |
| 02-06-00897 | Rouge Block for polishing Acrylic. |  | 125 |  |  |
| 02-06-00898 | Rouge Block for Precious metal |  | 530 |  |  |
| 02-06-00899 | Rouge Block for non precious metal polishing |  | 700 |  |  |
| 02-06-00900 | Rouge block for perminant glass |  | 600 |  |  |
| 02-06-00901 | Tracing stick compound suitable box of 100 pcs |  | 4,000 |  |  |
| 02-06-00902 | Seperating medium |  | 1,510 |  |  |
| 02-06-00903 | Chrome cobalt Alloy (1kg pack ) |  | 1,000 |  |  |
| 02-06-00904 | S.S Wire hard 0.8 |  | 10,000 |  |  |
| 02-06-00905 | S.S wire hard 0.9 |  | 15,000 |  |  |
| 02-06-00906 | S.S wire hard 1.0 |  | 5,000 |  |  |
| 02-06-00907 | Impression compound (15 PCS Pack) |  | 1,000 |  |  |
| 02-06-00908 | Pressure indicating past |  | 5,020 |  |  |
| 02-06-00909 | Glasp bending pliers. |  | 2,025 |  |  |
| 02-06-00910 | Wax Knife 17cm Length. |  | 10,000 |  |  |
| 02-06-00911 | Flat Nose plier serrator 5mm |  | 2,020 |  |  |
| 02-06-00912 | Posterior Acyrylic teeth , set of 8 teeth |  | 10,350 |  |  |
| 02-06-00913 | Pencil Nozzil F.50 Perlaplast. |  | 510 |  |  |
| 02-06-00914 | Polishing comp, blue. |  | 320 |  |  |
| 02-06-00915 | Polishing comp. |  | 300 |  |  |
| 02-06-00916 | Steel wire (Clasp wire) 0.7 box 5mm x 10m |  | 7,020 |  |  |
| 02-06-00917 | Steel wire (Clasp wire) 0.6 box 5mm x 10m |  | 1,000 |  |  |
| 02-06-00918 | Steel wire (Clasp wire) 0.5 box 5mm x 10m |  | 2,000 |  |  |
| 02-06-00919 | Ready made wax bite rim pk. Of 50 |  | 1,000 |  |  |
| 02-06-00920 | Polyester Abrasive polishing roll |  | 2,000 |  |  |
| 02-06-00921 | Simple Articulate (for crown and bridge work) |  | 2,000 |  |  |
| 02-06-00922 | Pink Hot Cure powder (5kg Bags) |  | 2,040 |  |  |
| 02-06-00923 | Liquid Hot Cure 5 Liter |  | 4,032 |  |  |
| 02-06-00924 | Cold cure powder , 500 mg bags |  | 10,000 |  |  |
| 02-06-00925 | Liquid cold cure 500ml |  | 15,015 |  |  |
| 02-06-00926 | Dental Pliers |  | 2,200 |  |  |
| 02-06-00927 | Brass wire Brush for Burs. |  | 12,000 |  |  |
| 02-06-00928 | Cotton Mops. |  | 8,010 |  |  |
| 02-06-00929 | Universal solder Normal Quality |  | 2,010 |  |  |
| 02-06-00930 | Calcio buff pieces 100 mm. |  | 2,000 |  |  |
| 02-06-00931 | Alginate Impression 450gm pack. |  | 15,075 |  |  |
| 02-06-00932 | Rubber base (light body) |  | 5,000 |  |  |
| 02-06-00933 | Rubber Gloves |  | 6,000 | Pair |  |
| 02-06-00934 | Mundril for Sand Paper Wander 500 PCS Box of 6 pcs |  | 10,000 |  |  |
| 02-06-00935 | Mandril for stright H.P.of 6 pcs |  | 10,000 |  |  |
| 02-06-00936 | Sticks Hydrocolloid, box (60) |  | 20 |  |  |
| 02-06-00937 | Robinson bristle Brush, box (5x10) |  | 500 |  |  |
| 02-06-00938 | Chamols brush. Leather |  | 4,000 |  |  |
| 02-06-00939 | Impression trays (Sectional), set of 6 pcs |  | 1,000 |  |  |
| 02-06-00940 | Impression compound Plates, box of 6 |  | 3,000 |  |  |
| 02-06-00941 | Dowel Pins (Pk. 100) |  | 500 |  |  |
| 02-06-00942 | Impression tray Aluminium perforated, Set. of 6 upper and lower |  | 5,000 |  |  |
| 02-06-00943 | Smooth casting wax thick 16-5, 50 PCS box |  | 1,500 |  |  |
| 02-06-00944 | Plaster Knives |  | 1,025 |  |  |
| 02-06-00945 | Rubber Base paste (heavy body ) |  | 3,000 |  |  |
| 02-06-00946 | Ceramic Gold "Alloy" |  | 220 | Kg |  |
| 02-06-00947 | Solder for above Alloy |  | 210 | gm |  |
| 02-06-00948 | Investment for high fusing metal , pack of 5 Kg |  | 1,000 |  |  |
| 02-06-00949 | Ready made end class (ring , I , T , Y , Ball type ) box of 100 |  | 2,000 |  |  |
| 02-06-00950 | Retraction cord in packs |  | 2,500 |  |  |
| 02-06-00951 | Silicone rubber , pytty type |  | 2,000 |  |  |
| 02-06-00952 | Silicone rubber , light body type |  | 4,000 |  |  |
| 02-06-00953 | Silicone rubber , ijection type |  | 1,000 |  |  |
| 02-06-00954 | Blanks & foils for pressure moulding technique , box of 100 sheets |  | 100,000 |  |  |
| 02-06-00955 | ORTHODONTICSHead gear (Cervical pull & High pull) and Auxilliaries |  | 20,000 | PCS |  |
| 02-06-00956 | Chincaps assorted and liners |  | 10,000 | Pcs |  |
| 02-06-00957 | Plastic ligature rings assorted 1000 pcs /pack |  | 25,000 | Pack |  |
| 02-06-00958 | Latex elastics (Intera & Extra oral) various sizes & pull 1000pcs/pack |  | 15,000 | Pack |  |
| 02-06-00959 | Preformed Ideal arch wire rectangular :Face bow (plain and stop loops) assorted |  | 10,000 | Pcs |  |
| 02-06-00960 | Stop screws kit 10pcs/pack |  | 5,000 | pack |  |
| 02-06-00961 | Peformed ideal arch wires with center mark (round, rectangular and twistflex) stainless steel and nickel titanium, assorted size and type upper and lower 10 pcs/pack |  | 4,000 | pack |  |
| 02-06-00962 | Precut straight arch wires (round, rectangular and twistflex) stainless steel and nickel titanium assorted sizes 38cm length 10pcs/pack |  | 1,000 | pack |  |
| 02-06-00963 | Brackets for direct bonding (metal, plastic and ceramic) for standard edge wise and Roth 50 cases / kit |  | 1,000 | Kit |  |
| 02-06-00964 | standard edge wise brackets for banding assorted 10 pcs/pack |  | 250 | pack |  |
| 02-06-00965 | Coil springs ( tension and compression) 1m/spool |  | 1,000 | spool |  |
| 02-06-00966 | Cuspid retraction springs (leff & right)10pcs/pack |  | 400 | pack |  |
| 02-06-00967 | Lip retractors, plastic with connector , small and standard sizes 2 pcs/pack |  | 2,500 | pack |  |
| 02-06-00968 | Orthodontic bonding system no mix and mix |  | 200 | Kit |  |
| 02-06-00969 | Tubing round, stainles steel and plastic sleeuing assorted diameters |  | 2,000 | pcs |  |
| 02-06-00970 | Universal mini tourch , gas |  | 250 | pcs |  |
| 02-06-00971 | Band seater ( Nylon , Metal nd Mershon) |  | 500 | pcs |  |
| 02-06-00972 | Ligture tucker |  | 500 | pcs |  |
| 02-06-00973 | Dental vernier ( Standard and dial type) |  | 500 | pcs |  |
| 02-06-00974 | standard tension and compression gauges |  | 100 | pcs |  |
| 02-06-00975 | Dial gauge assorted measurment |  | 100 | pcs |  |
| 02-06-00976 | Arch turret standard and with torque |  | 150 | pcs |  |
| 02-06-00977 | Band removing plier ( Anterior and posterior) |  | 300 | pcs |  |
| 02-06-00978 | Bracket removing plier standard and straight |  | 300 | pcs |  |
| 02-06-00979 | Adams wire banding plier |  | 500 | pcs |  |
| 02-06-00980 | Angles wire banding plier |  | 150 | pcs |  |
| 02-06-00981 | Aderer 3 prong plier |  | 150 | pcs |  |
| 02-06-00982 | Tweed loop forming plier |  | 150 | pcs |  |
| 02-06-00983 | Loop bending plier , super looper (young) |  | 250 | pcs |  |
| 02-06-00984 | Standard light wire plier |  | 150 | Pcs |  |
| 02-06-00985 | Universal Face bow bending and cutting plier |  | 150 | pcs |  |
| 02-06-00986 | Separating pliers |  | 150 | Pcs |  |
| 02-06-00987 | Ligator |  | 150 | pcs |  |
| 02-06-00988 | Ligature Cutter |  | 150 |  |  |
| 02-06-00989 | Side Cutter ( Clinic, Labratory, Heavy gauge) |  | 450 | pcs |  |
| 02-06-00990 | Distal en cutter |  | 150 | pcs |  |
| 02-06-00991 | Clamping tweezers |  | 1,000 | pcs |  |
| 02-06-00992 | Orthodontic trays assorted |  | 2,500 | pcs |  |
| 02-06-00993 | Preformed denta form molar bands with attachment upper left 300 pcs/kit |  | 100 | kit |  |
| 02-06-00994 | Molar band upper right 300 pcs/kit |  | 100 | kit |  |
| 02-06-00995 | Molar band lower left 300 pcs/kit |  | 100 | kit |  |
| 02-06-00996 | Molar band lower right 300 pcs/kit |  | 100 | kit |  |
| 02-06-00997 | Molar band refill packs 10 pcs/pack |  | 1,500 | pack |  |
| 02-06-00998 | Blank bands for cuspid and bicuspid 150 pcs/kit |  | 400 | kit |  |
| 02-06-00999 | Revers curve arches with center mark ( Round and rectangular) 10 pcs/pack |  | 400 | pack |  |
| 02-06-01000 | Skeleton type expansion screw 10 pcs/PACK |  | 200 | PACK |  |
| 02-06-01001 | Skeleton type sectional screw 10 pcs/pack |  | 100 | pack |  |
| 02-06-01002 | Traction screws 10 pcs/pack |  | 100 | pack |  |
| 02-06-01003 | 3 diamensional screw ( bertoni and steiner) 1pcs/pack |  | 500 | pcs |  |
| 02-06-01004 | Fun type screw 10 screw 10 pcs/ pack |  | 100 | pack |  |
| 02-06-01005 | Piston spring screws assortment kit |  | 50 | kit |  |
| 02-06-01006 | Hyrax expansion screw assorted 1pcs/kit |  | 250 | pcs |  |
| 02-06-01007 | Bite jumping hinges ( Herbst 1 complete kit) |  | 100 | kit |  |
| 02-06-01008 | Ligature wire preformed and in coils |  | 1,500 | pack |  |
| 02-06-01009 | Lingual cleats 10 pcs/pack |  | 1,000 | pack |  |
| 02-06-01010 | Lingual buttons for banding and bonding 10 pcs/pack |  | 1,000 | pack |  |
| 02-06-01011 | Universal solder in rods ( 25cm) 25 pcs/ pack |  | 1,000 | pack |  |
| 02-06-01012 | Elasto force plastic chain and thread assorted |  | 5,000 | pcs |  |
| 02-06-01013 | Soldering clamps assorted |  | 250 | pcs |  |
| 02-06-01014 | Activator tubes 10 pcs /pack |  | 500 | pack |  |
| 02-06-01015 | Ortho cryl powder and liquid ( 1Kg/500 ml) |  | 1,500 | pack |  |
| 02-06-01016 | Typodont complete |  | 150 | pcs |  |
| 02-06-01017 | Jaw orthopedic study model assorted |  | 150 | pairs |  |
| 02-06-01018 | Maxillary and Mandibular plastic models bonded and banded |  | 150 | pcs |  |
| 02-06-01019 | Educational Materials ( pre- programmed VHS Vidio cassettes and slides |  | 150 | pack |  |
| 02-06-01020 | Tracing foils ( Acetate) |  | 250 | pcs |  |
| 02-06-01021 | Tracing protractor template |  | 250 | pcs |  |
| 02-06-01022 | Pressure moulding system materials assorted blanks 100pcs/pack |  | 15,000 | pack |  |
| 02-06-01023 | Protective eye wear |  | 1,000 | pcs |  |
| 02-06-01024 | Face shield kit |  | 1,000 | pcs |  |
| 02-06-01025 | Heat screen ( paste) 3.5 OZ/pack |  | 250 | pack |  |
| 02-06-01026 | Protection wax 100 ps/pack |  | 250 | pack |  |
| 02-06-01027 | Orthodontic tooth brush |  | 25,000 | pcs |  |
| 02-06-01028 | Uprighting springs ( single & double) 10 pcs/pack |  | 100 | pack |  |
| 02-06-01029 | Quad helix assorted 10 pcs/pack |  | 250 | pack |  |
| 02-06-01030 | Direct Bond lingual retouner 20 pcs/pack |  | 100 | pack |  |
| 02-06-01031 | Lock pins brass assorted 1000 pcs/pack |  | 100 | pack |  |
| 02-06-01032 | Spring hard stainless steel wires in coils 0.5mm 50m/coil |  | 250 | coil |  |
| 02-06-01033 | Spring hard stainless steel wires in coils 0.6mm 40m/coil |  | 250 | coil |  |
| 02-06-01034 | Spring hard stainless steel wires in coils 0.7mm 30m/coil |  | 250 | coil |  |
| 02-06-01035 | Preformed lingual and palatal arches assorted 10pcs/pack |  | 250 | pack |  |
| 02-06-01036 | EDTA paste for endodental use. |  | 500 | Box |  |
| 02-06-01037 | Xylol bott of 25ml |  | 1,000 |  |  |
| 02-06-01038 | Calcium hydroxid carbol with needle. |  | 2,500 |  |  |
| 02-06-01039 | Endometer (Autoclavable) with adjustable ring |  | 2,505 |  |  |
| 02-06-01040 | Orifice openner |  | 1,000 | PCS |  |
| 02-06-01041 | URINARY , ARTIFICIAL KIDNEY AND PEDIATRICUrine bag (adult) , PCS |  | 700,000 |  |  |
| 02-06-01042 | Urine bag (infant) , PCS |  | 300,000 |  |  |
| 02-06-01043 | Folley catheter 3 way - 18 Fr. 30 cc |  | 50,000 |  |  |
| 02-06-01044 | Folley catheter 3 way - 20 Fr. 30cc |  | 75,000 |  |  |
| 02-06-01045 | Folley catheter 3 way - 22 Fr. 30cc |  | 75,000 |  |  |
| 02-06-01046 | Folley catheter 3 way - 24 Fr. 30cc |  | 75,000 |  |  |
| 02-06-01047 | Folley catheter 3 way - 26 Fr. 30cc |  | 50,000 |  |  |
| 02-06-01048 | Folley catheter 2 way - 6Fr. |  | 25,000 |  |  |
| 02-06-01049 | Folley catheter 2 way - 8Fr |  | 50,000 |  |  |
| 02-06-01050 | Folley catheter 2 way-10 Fr |  | 60,000 |  |  |
| 02-06-01051 | Folley catheter 2 way-12Fr |  | 55,000 |  |  |
| 02-06-01052 | Folley catheter 2 way- 14Fr |  | 100,000 |  |  |
| 02-06-01053 | Folley catheter 2 way- 16Fr |  | 200,000 |  |  |
| 02-06-01054 | Folley catheter 2 way -18Fr 30cc |  | 200,000 |  |  |
| 02-06-01055 | Folley catheter 2 way -20Fr 30cc |  | 150,000 |  |  |
| 02-06-01056 | Folley catheter 2 way- 22Fr 3cc |  | 100,000 |  |  |
| 02-06-01057 | Folley catheter 2 way- 24Fr 30cc |  | 70,000 |  |  |
| 02-06-01058 | Folley catheter 2 way- (FILIFORM 3-7Fr.coude tip) |  | 25 |  |  |
| 02-06-01059 | Folley catheter 2 way (Filiform 3-7Fr.spiral tip) |  | 25 |  |  |
| 02-06-01060 | Mietaic urethral dilator set |  | 25 |  |  |
| 02-06-01061 | Mietaic urethral olive tip |  | 50 |  |  |
| 02-06-01062 | Hydraulic urethral dilator & Accessory |  | 100 |  |  |
| 02-06-01063 | Urethal Stenrs & istallation & withdrawal kits |  | 1,000 |  |  |
| 02-06-01064 | Cunningham penile clamp |  | 1,500 |  |  |
| 02-06-01065 | Condom size 30 |  | 100,000 |  |  |
| 02-06-01066 | Condom size 35 |  | 100,000 |  |  |
| 02-06-01067 | Ureterostomy BAG & Base &Belt (set) |  | 500 |  |  |
| 02-06-01068 | Catheter plug |  | 10,000 |  |  |
| 02-06-01069 | Prostatic spiral stent kit (5sizes) with insertion & withdrawal set |  | 1,000 |  |  |
| 02-06-01070 | Trucut prostatic needle |  | 5,000 |  |  |
| 02-06-01071 | Automtic prostatic biopsy pcs |  | 250 |  |  |
| 02-06-01072 | Penile prosthesis ( diff size) |  | 500 |  |  |
| 02-06-01073 | Testicular prosthesis (diff size ) |  | 500 |  |  |
| 02-06-01074 | Silicon spray , pcs |  | 500 |  |  |
| 02-06-01075 | Tur suit , pcs |  | 20,000 |  |  |
| 02-06-01076 | Penile snap gauge , set |  | 2,500 |  |  |
| 02-06-01077 | Toomy syringe 50 cc , pcs |  | 1,000 |  |  |
| 02-06-01078 | Toomy syringe 100 cc , pcs |  | 500 |  |  |
| 02-06-01079 | Spare barrel 50 cc , pcs |  | 1,000 |  |  |
| 02-06-01080 | Spare barrel 100 , pcs |  | 500 |  |  |
| 02-06-01081 | Tur/catheter 3way-mercier tip-24Fr. |  | 20,000 |  |  |
| 02-06-01082 | Catheter introducer straight |  | 50 |  |  |
| 02-06-01083 | Catheter introducer curved |  | 50 |  |  |
| 02-06-01084 | Nelatoncatheter 8Fr |  | 20,000 |  |  |
| 02-06-01085 | Nelatoncatheter 10Fr |  | 20,000 |  |  |
| 02-06-01086 | Nelatoncatheter 12Fr |  | 20,000 |  |  |
| 02-06-01087 | Nelatoncatheter 14Fr |  | 20,000 |  |  |
| 02-06-01088 | Nelatoncatheter 16Fr. |  | 20,000 |  |  |
| 02-06-01089 | Nelatoncatheter 18Fr |  | 20,000 |  |  |
| 02-06-01090 | Nelatoncatheter 20Fr |  | 20,000 |  |  |
| 02-06-01091 | Nelatoncatheter 22Fr |  | 20,000 |  |  |
| 02-06-01092 | Nelatoncatheter 24Fr |  | 20,000 |  |  |
| 02-06-01093 | Ureteric catheter 3Fr straight |  | 2,000 |  |  |
| 02-06-01094 | Ureteric catheter 4Fr |  | 5,000 |  |  |
| 02-06-01095 | Ureteric catheter 5Fr |  | 5,000 |  |  |
| 02-06-01096 | Ureteric catheter 6Fr |  | 5,000 |  |  |
| 02-06-01097 | Ureteric catheter 7Fr |  | 5,000 |  |  |
| 02-06-01098 | Ureteric catheter 3F Chevassu |  | 500 |  |  |
| 02-06-01099 | Ureteric catheter 4Fr |  | 1,000 |  |  |
| 02-06-01100 | Ureteric catheter 5Fr |  | 1,000 |  |  |
| 02-06-01101 | Occlusion ureteric Baloon catheter |  | 1,000 |  |  |
| 02-06-01102 | Ureteral Dilation set |  | 25 |  |  |
| 02-06-01103 | Hydraulic ureteral dilation set |  | 500 |  |  |
| 02-06-01104 | Ziess ureteric loop 4Fr |  | 500 |  |  |
| 02-06-01105 | Ziess ureteric 5Fr |  | 500 |  |  |
| 02-06-01106 | Ziess ureteric 6Fr |  | 500 |  |  |
| 02-06-01107 | Dormia stone extractor /3Fr with Handle |  | 200 |  |  |
| 02-06-01108 | Dormia stone extractor / 5Fr with handle |  | 1,000 |  |  |
| 02-06-01109 | Ureteral Double loop stent set 5Fr |  | 5,000 |  |  |
| 02-06-01110 | Ureteral Double loop stent set 6Fr |  | 5,000 |  |  |
| 02-06-01111 | Ureteral Double loop stent set 7Fr |  | 5,000 |  |  |
| 02-06-01112 | Ureteral Double loop stent set 8Fr |  | 5,000 |  |  |
| 02-06-01113 | Uretero-Sigmoidostomy catheter 6Fr |  | 500 |  |  |
| 02-06-01114 | Uretero-Sigmoidostomy catheter 10Fr |  | 500 |  |  |
| 02-06-01115 | Ureterostomy Catheter 8Fr |  | 250 |  |  |
| 02-06-01116 | Ureterostomy Catheter 14Fr |  | 250 |  |  |
| 02-06-01117 | Percutaeous Nephrostomy set /8Fr |  | 2,900 |  |  |
| 02-06-01118 | Percutaeous Nephrostomy set 10Fr |  | 2,900 |  |  |
| 02-06-01119 | Fascial dilators (set) for per cutaneous nephrostomy |  | 750 |  |  |
| 02-06-01120 | Baloon Nephrostomy Catheter 12Fr |  | 500 |  |  |
| 02-06-01121 | Baloon Nephrostomy Catheter 16Fr |  | 500 |  |  |
| 02-06-01122 | Cummings -Baloon Nephrostomy Catheter 12Fr./4Fr. |  | 200 |  |  |
| 02-06-01123 | Cummings -Baloon Nephrostomy Catheter 14Fr/5Fr |  | 200 |  |  |
| 02-06-01124 | Cummings -Baloon Nephrostomy Catheter 16Fr/6Fr |  | 250 |  |  |
| 02-06-01125 | Cummings -Baloon Nephrostomy Catheter 20Fr/8Fr |  | 250 |  |  |
| 02-06-01126 | Suprapubic (Baloon) cystotomy set |  | 10,000 |  |  |
| 02-06-01127 | Suprapubic exchange set |  | 10,000 |  |  |
| 02-06-01128 | Cystostomy Canula (Reusable) |  | 50 |  |  |
| 02-06-01129 | Philips & Filiform urethral Diltor (set ) Filiform 3-7Fr. Straight + Folloower 8-30Fr) |  | 25 |  |  |
| 02-06-01130 | cutting loops |  | 1,000 |  |  |
| 02-06-01131 | Forceps Hernia Ring. |  | 70 |  |  |
| 02-06-01132 | Millin Agnlur light Forceps |  | 30 |  |  |
| 02-06-01133 | Millin Boomerange Needle Large. |  | 15 |  |  |
| 02-06-01134 | Millin boomerange Needle Small. |  | 15 |  |  |
| 02-06-01135 | Jew Kavity Lithotomy Forceps |  | 38 |  |  |
| 02-06-01136 | Herrick Kidney Pedical Clamp Forceps |  | 25 |  |  |
| 02-06-01137 | Dithermy Dissecting Forceps |  | 50 |  |  |
| 02-06-01138 | Millin Volsollum Forceps |  | 30 |  |  |
| 02-06-01139 | Young Prostatric Forceps |  | 35 |  |  |
| 02-06-01140 | Millin Bladder retractor. |  | 28 |  |  |
| 02-06-01141 | Millin Bladder Neek spreder. |  | 30 |  |  |
| 02-06-01142 | Backman Retractor. |  | 30 |  |  |
| 02-06-01143 | Turner War Wick diathermy Scissor. |  | 16 |  |  |
| 02-06-01144 | Clutton uretheral dilator set |  | 78 |  |  |
| 02-06-01145 | Uro-spirals urocoiles (diff. Sizes) |  | 165 |  |  |
| 02-06-01146 | Prostato-spirals (diff. Sizes) |  | 175 |  |  |
| 02-06-01147 | Inflatable uretheral device |  | 95 |  |  |
| 02-06-01148 | Steppler |  | 50 |  |  |
| 02-06-01149 | Small bowel |  | 3 | sets |  |
| 02-06-01150 | Large bowel |  | 3 | sets |  |
| 02-06-01151 | Double J uretric stentes (4,5,6,7,8) |  | 8,700 |  |  |
| 02-06-01152 | Per cutaneous cystostomy balloon (adult,pediatric) set. |  | 8,200 |  |  |
| 02-06-01153 | Percutaneous cystostomy exchange set |  | 2,000 |  |  |
| 02-06-01154 | True cut prostatic biopsy needle |  | 1,200 |  |  |
| 02-06-01155 | Condom sizes 35 Box of 144 Pcs. |  | 100,000 |  |  |
| 02-06-01156 | Filiform & follower set |  | 25 |  |  |
| 02-06-01157 | Dormia Stone Disloger Basket. |  | 2,850 |  |  |
| 02-06-01158 | Randall Kid Stone Forceps Set 4 PCS |  | 50 |  |  |
| 02-06-01159 | Nephrostomy forceps |  | 12 |  |  |
| 02-06-01160 | Gel-ver-net retractor set of 6 pieces (size 8,11,15,17,20,23 mm) |  | 25 |  |  |
| 02-06-01161 | Plug for ureathral catheters |  | 10,000 | pcs |  |
| 02-06-01162 | Urethral meatal clamp |  | 20 |  |  |
| 02-06-01163 | Short Jaw Biopsy Forceps |  | 300 |  |  |
| 02-06-01164 | Urethral syringe |  | 20 |  |  |
| 02-06-01165 | Urethro graphic clamp & cannula |  | 20 |  |  |
| 02-06-01166 | Cunningham penile clamps |  | 3,175 |  |  |
| 02-06-01167 | Cooley renal artery forceps |  | 45 |  |  |
| 02-06-01168 | Turner warwick renal stone forceps |  | 25 |  |  |
| 02-06-01169 | Irwin pyelo-lithotomy forceps |  | 30 |  |  |
| 02-06-01170 | Tinckler ureterolithtomy forceps |  | 30 |  |  |
| 02-06-01171 | Thompson-Walker retractor (2 peirs of plades) |  | 20 |  |  |
| 02-06-01172 | Millin retropubic retractor |  | 25 |  |  |
| 02-06-01173 | Morson suprapubic retractor |  | 20 |  |  |
| 02-06-01174 | Millin dissecting forceps |  | 25 |  |  |
| 02-06-01175 | Grafe retractor (diff. Sizes) |  | 15 |  |  |
| 02-06-01176 | Kirschner abdominal retractor,oval ,complete |  | 15 |  |  |
| 02-06-01177 | Millins needle holder |  | 30 |  |  |
| 02-06-01178 | Millin ligature carrying forceps |  | 30 |  |  |
| 02-06-01179 | Prostatectomy scissors |  | 30 |  |  |
| 02-06-01180 | Riches artery forceps |  | 15 |  |  |
| 02-06-01181 | Turner warwick retractor |  | 15 |  |  |
| 02-06-01182 | Turner warwick posterior dilating urethral speculum |  | 20 |  |  |
| 02-06-01183 | Turner warwick posterior urethral suture needle |  | 20 |  |  |
| 02-06-01184 | Turner warwmeatal dilators |  | 25 |  |  |
| 02-06-01185 | Turner warwick urethral staff |  | 20 |  |  |
| 02-06-01186 | Turner warwick dissecting scissors |  | 20 |  |  |
| 02-06-01187 | Turner warwick needle holder |  | 25 |  |  |
| 02-06-01188 | Turner warwick post urethroplasty review speculum |  | 20 |  |  |
| 02-06-01189 | Sur- fit ileostomy bag size 32 |  | 22,200 |  |  |
| 02-06-01190 | Sur- fit ileostomy bag size 38 |  | 7,000 |  |  |
| 02-06-01191 | Sur- fit ileostomy bag size 45 |  | 7,000 |  |  |
| 02-06-01192 | Sur- fit flange size 32 |  | 11,000 |  |  |
| 02-06-01193 | Sur- fit flange size 38 |  | 10,000 |  |  |
| 02-06-01194 | Sur- fit flange size 45 |  | 10,000 |  |  |
| 02-06-01195 | Balloon uretherl dilators |  | 500 |  |  |
| 02-06-01196 | Balloon ureteral dilators |  | 2,000 |  |  |
| 02-06-01197 | Peel way introducer sheath |  | 300 |  |  |
| 02-06-01198 | Artificial kidney suppliesBlood tubing Set of HD. |  | 57,600 |  |  |
| 02-06-01199 | Peritonoal dialysis Catheter for Adult. |  | 25,800 |  |  |
| 02-06-01200 | Peritonoal dialysis Catheter for Infant. |  | 15,630 |  |  |
| 02-06-01201 | Connecter for A.V Shunt. |  | 25,950 |  |  |
| 02-06-01202 | Peritoneal dialysis administration set. |  | 43,550 |  |  |
| 02-06-01203 | Hollow fiber dialyzer. |  | 67,100 |  |  |
| 02-06-01204 | Buterfly Needle 16g. |  | 90,500 |  |  |
| 02-06-01205 | A.V.Shunt Left |  | 14,550 |  |  |
| 02-06-01206 | A.V.shunt Right |  | 14,550 |  |  |
| 02-06-01207 | Haemodialysis machine filteration control moniter |  | 3,500 |  |  |
| 02-06-01208 | Femoral cannula (large,medium size) |  | 4,500 |  |  |
| 02-06-01209 | Tenckhofl catheter (pediatric size) |  | 850 |  |  |
| 02-06-01210 | Tenckhofl catheter with 2 dacron cuff (adult size) |  | 900 |  |  |
| 02-06-01211 | CAPD administration set |  | 2,000 |  |  |
| 02-06-01212 | Sur cut biopsy needle |  | 750 |  |  |
| 02-06-01213 | Venne suction set |  | 800 |  |  |
| 02-06-01214 | Lugulr Y-shaped double lumen dialysis cannula |  | 2,250 |  |  |
| 02-06-01215 | Single lumen catheter for H.D |  | 9,650 |  |  |
| 02-06-01216 | Urinometer (hourly ,diuresis unit) |  | 1,100 |  |  |
| 02-06-01217 | Size 6F & size 8F suction catheter |  | 1,200 |  |  |
| 02-06-01218 | Tube drain |  | 2,300 |  |  |
| 02-06-01219 | Graduated drain bottle |  | 500 |  |  |
| 02-06-01220 | CVB line-complete set |  | 3,600 |  |  |
| 02-06-01221 | Double J stent catheter |  | 350 |  |  |
| 02-06-01222 | Lapratomy drape |  | 700 |  |  |
| 02-06-01223 | Paediatic suppliesBlood Exchange Set. |  | 20,000 |  |  |
| 02-06-01224 | Cord Clamp. |  | 820,000 |  |  |
| 02-06-01225 | Feeding tube (ass size 5) |  | 50,000 |  |  |
| 02-06-01226 | Feeding tube (ass size 6) |  | 90,000 |  |  |
| 02-06-01227 | Feeding tube (ass size 8) |  | 106,600 |  |  |
| 02-06-01228 | Scalp vein needle 21 |  | 450,000 |  |  |
| 02-06-01229 | Scalp vein needle 22 |  | 416,000 |  |  |
| 02-06-01230 | Scalp vein needle 23 |  | 406,000 |  |  |
| 02-06-01231 | Scalp vein needle 24 |  | 371,000 |  |  |
| 02-06-01232 | Scalp vein needle 25 |  | 352,500 |  |  |
| 02-06-01233 | Solution administration set micro drip. |  | 253,000 |  |  |
| 02-06-01234 | Oxygen masks |  | 45,000 |  |  |
| 02-06-01235 | Uretric catheter Size (3 ,4,5, 6 , 8) |  | 6,500 |  |  |
| 02-06-01236 | Vein catheter size (2,3,4,5,6) |  | 85,280 |  |  |
| 02-06-01237 | Perminent Pace maker |  | 150 |  |  |
| 02-06-01238 | Pericadio centhesis (Kit) disposable |  | 100 |  |  |
| 02-06-01239 | Differ catheter |  | 100 |  |  |
| 02-06-01240 | Northern Governorates Requirements of Medical AppliancesNylon (Y) Connecter. |  | 18 |  |  |
| 02-06-01241 | Eet tube rubber without cuffe size 2 |  | 4 |  |  |
| 02-06-01242 | Eet tube rubber without cuffe size 7.5 |  | 3 |  |  |
| 02-06-01243 | Eet tube rubber without cuffe size 8 |  | 3 |  |  |
| 02-06-01244 | Eet tube rubber without cuffe size 8.5 |  | 2 |  |  |
| 02-06-01245 | Eet tube rubber without cuffe size 9 |  | 2 |  |  |
| 02-06-01246 | Eet tube rubber without cuffe size 9.5 |  | 2 |  |  |
| 02-06-01247 | Eet tube rubber without cuffe size 10 |  | 22 |  |  |
| 02-06-01248 | Eet tube rubber with cuffe size 2 |  | 26 |  |  |
| 02-06-01249 | Eet tube rubber with cuffe size 2 |  | 25 |  |  |
| 02-06-01250 | Air-Way disposable size 0000 |  | 22 |  |  |
| 02-06-01251 | Eet tube armond without cuffe size 2 |  | 4 |  |  |
| 02-06-01252 | Eet tube armond without cuffe size 6.5 |  | 3 |  |  |
| 02-06-01253 | Eet tube armond without cuffe size 7 |  | 4 |  |  |
| 02-06-01254 | Eet tube armond without cuffe size 7.5 |  | 3 |  |  |
| 02-06-01255 | Eet tube armond without cuffe size 8 |  | 2 |  |  |
| 02-06-01256 | Eet tube armond without cuffe size 8.5 |  | 2 |  |  |
| 02-06-01257 | Eet tube armond without cuffe size 9 |  | 2 |  |  |
| 02-06-01258 | Eet tube armond without cuffe size 9.5 |  | 2 |  |  |
| 02-06-01259 | Eet tube armond with cuffe size 2 |  | 4 |  |  |
| 02-06-01260 | Eet tube armond with cuffe size 2.5 |  | 13 |  |  |
| 02-06-01261 | Eet tube armond with cuffe size 3 |  | 13 |  |  |
| 02-06-01262 | Eet tube armond with cuffe size 3.5 |  | 13 |  |  |
| 02-06-01263 | Eet tube armond with cuffe size 4 |  | 13 |  |  |
| 02-06-01264 | Eet tube armond with cuffe size 4.5 |  | 28 |  |  |
| 02-06-01265 | Eet tube armond with cuffe size 5 |  | 33 |  |  |
| 02-06-01266 | Eet tube armond with cuffe size 5.5 |  | 32 |  |  |
| 02-06-01267 | Eet tube armond with cuffe size 6.6 |  | 54 |  |  |
| 02-06-01268 | Eet tube armond with cuffe size 7.5 |  | 24 |  |  |
| 02-06-01269 | Eet tube armond with cuffe size 8.5 |  | 2 |  |  |
| 02-06-01270 | Eet tube armond with cuffe size 9.5 |  | 1 |  |  |
| 02-06-01271 | Eet tube armond with cuffe size 10 |  | 1 |  |  |
| 02-06-01272 | Water Metal-Airway stell size 0000 |  | 1 |  |  |
| 02-06-01273 | Water Metal-Airway stell size5 |  | 1 |  |  |
| 02-06-01274 | Epidural Anaesthesia set: touhy needle gauge 16 Dural catheter Gauge 18 |  | 1 |  |  |
| 02-06-01275 | Central venous lines- (Types and sizes) |  | 1,275 |  |  |
| 02-06-01276 | Epidural and intrathecal set. |  | 1,180 |  |  |
| 02-06-01277 | Epidural set. |  | 200 |  |  |
| 02-06-01278 | Disposable sucker tube connecter |  | 4 |  |  |
| 02-06-01279 | Tube sucker |  | 3 |  |  |
| 02-06-01280 | Disposable conection tube |  | 55 |  |  |
| 02-06-01281 | Teflon prosthesis for middle ear surgery. |  | 2 |  |  |
| 02-06-01282 | Micro surgical instruments for middle ear surgery. |  | 1 |  |  |
| 02-06-01283 | Prolene: Size needle metric size : Size length cm:- 30 (Double) round needle 0 500 |  | 15,200 |  |  |
| 02-06-01284 | - 25 (Double) round needle 2/0 25 |  | 15,100 |  |  |
| 02-06-01285 | - 17 (Double) round needle 3/0 90 |  | 6,000 |  |  |
| 02-06-01286 | - 13 (Double) round needle 4/0 90 |  | 12,000 |  |  |
| 02-06-01287 | - 17 (Double) round needle 5/0 90 |  | 1,200 |  |  |
| 02-06-01288 | - 10 (Double) round needle 6/0 90 |  | 1,000 |  |  |
| 02-06-01289 | Deoxon : Size needle metric size : Size length cm :- 35 Cutting needle, round needle 1 75 |  | 1,300 |  |  |
| 02-06-01290 | - 40 Cutting needle, round needle 1 75 |  | 1,300 |  |  |
| 02-06-01291 | - 30 Cuttin needle, round needle 2/0 75 |  | 1,300 |  |  |
| 02-06-01292 | - 35 Cuttin needle, round needle 2/0 75 |  | 1,200 |  |  |
| 02-06-01293 | - 30 Cuttin needle, round needle 3/0 75 |  | 600 |  |  |
| 02-06-01294 | - 35 Cuttin needle, round needle 0 75 |  | 1,300 |  |  |
| 02-06-01295 | - 35 Cuttin needle, round needle 1 75 |  | 150 |  |  |
| 02-06-01296 | Chromic (Cat gut):45 6 2 75 cm |  | 180,000 |  |  |
| 02-06-01297 | 45 5 1 75 cm |  | 180,000 |  |  |
| 02-06-01298 | 30 (Round) 4 0 75 cm |  | 180,000 |  |  |
| 02-06-01299 | 30 35 2/0 75 cm |  | 180,000 |  |  |
| 02-06-01300 | 30 3 3/0 75 cm |  | 90,000 |  |  |
| 02-06-01301 | Vicryl:20 5/0 75 cm |  | 1,000 |  |  |
| 02-06-01302 | 13 6/0 75 cm |  | 1,000 |  |  |
| 02-06-01303 | Silk Black:50 Cutting needle (Round) 2 75 cm |  | 180,000 |  |  |
| 02-06-01304 | 40 Cutting needle (Round) 1 75 cm |  | 180,000 |  |  |
| 02-06-01305 | 30 Cutting needle (Round) 2/0 75 cm |  | 198,930 |  |  |
| 02-06-01306 | 30 Cutting needle (Round) 0 75 cm |  | 205,030 |  |  |
| 02-06-01307 | 30 Cutting needle (Round) 3/0 75 cm |  | 33,500 |  |  |
| 02-06-01308 | 20 Cutting needle (Round) 4/0 75 cm |  | 33,360 |  |  |
| 02-06-01309 | Fogerty arterial embolectomy Catheters: 2F 60cm |  | 1 |  |  |
| 02-06-01310 | Fogerty arterial embolectomy Catheters 3F 80cm |  | 1 |  |  |
| 02-06-01311 | Fogerty arterial embolectomy Catheters 3F 40cm |  | 1 |  |  |
| 02-06-01312 | Fogerty arterial embolectomy Catheters 4F 80cm |  | 1 |  |  |
| 02-06-01313 | Fogerty arterial embolectomy Catheters 4F 40cm |  | 1 |  |  |
| 02-06-01314 | Fogerty arterial embolectomy Catheters 4F 100cm |  | 1 |  |  |
| 02-06-01315 | Fogerty arterial embolectomy Catheters 5F 80cm |  | 1 |  |  |
| 02-06-01316 | Fogerty arterial embolectomy Catheters 6F 80cm |  | 1 |  |  |
| 02-06-01317 | Fogerty arterial embolectomy Catheters 7F 80cm |  | 1 |  |  |
| 02-06-01318 | Fogerty occlusion Catheters 14F |  | 1 |  |  |
| 02-06-01319 | Fogerty occlusion Catheters 22F |  | 1 |  |  |
| 02-06-01320 | Fogerty irrigation catheters (diff. sizes) |  | 1 |  |  |
| 02-06-01321 | Paper for ECG Model H.P. Type B. |  | 60 |  |  |
| 02-06-01322 | ECG electrode + Domes TA1010ND |  | 400 |  |  |
| 02-06-01323 | ECG Jelly |  | 640 |  |  |
| 02-06-01324 | Vascular Grafts:Gore-Tes vascular Grafts 4mm straight 80cm |  | 1 |  |  |
| 02-06-01325 | Gore-Tes vascular Grafts 6mm straight 80cm |  | 1 |  |  |
| 02-06-01326 | Gore-Tes vascular Grafts 8mm straight 80cm |  | 1 |  |  |
| 02-06-01327 | Gore-Tes vascular Grafts 10mm straight 80cm |  | 1 |  |  |
| 02-06-01328 | Dacron graft size 6mm |  | 1 |  |  |
| 02-06-01329 | Dacron graft size 8mm |  | 1 |  |  |
| 02-06-01330 | Dacron graft size 10mm |  | 1 |  |  |
| 02-06-01331 | Disp electrode for moniter |  | 12,000 |  |  |
| 02-06-01332 | Paper for ECG 3 channel. |  | 120 |  |  |
| 02-06-01333 | Paper for ECG Japan |  | 60 |  |  |
| 02-06-01334 | Jelly for ECG |  | 100 |  |  |
| 02-06-01335 | Featal Stethoscope |  | 20 |  |  |
| 02-06-01336 | Cervical chromic villus sampling cannula |  | 4 |  |  |
| 02-06-01337 | Chromic surgical catgut and collagen:4/0 8mm Spatulated 1/2 Circle doubel needle. |  | 250 |  |  |
| 02-06-01338 | 0 38mm 1/2 circle round bodied. |  | 500 |  |  |
| 02-06-01339 | 5/0 35-10mm on cutting needle. |  | 160 |  |  |
| 02-06-01340 | 5/0 35-10mm on round needle. |  | 160 |  |  |
| 02-06-01341 | Mersilk Braided silk:7/0 6mm micro point curved spatulated double needle |  | 295 |  |  |
| 02-06-01342 | 7/0 8mm curved round bodied double needle . |  | 12 |  |  |
| 02-06-01343 | 5/0 25mm staight needle. |  | 10 |  |  |
| 02-06-01344 | Ethllon Monofilment polyamide:10/0 30cm black on 6mm micro point spatula curved double needle |  | 1,205 |  |  |
| 02-06-01345 | 10/0 50mm curved round bodied (Ethilon) |  | 5 |  |  |
| 02-06-01346 | 8/0 8mm curved round bodied double -N- |  | 7 |  |  |
| 02-06-01347 | P.D.S (Poldioxanone) Monofilament Synthetic Absorable suture :3/0 on 25-10mm round needle. |  | 20 |  |  |
| 02-06-01348 | 3/0 on 25-10mm cutting needle |  | 10 |  |  |
| 02-06-01349 | 4/0 on 25-10mm round needle |  | 10 |  |  |
| 02-06-01350 | 5/0 on 25-10mm round needle |  | 10 |  |  |
| 02-06-01351 | 6/0 on 25-10mm round needle |  | 10 |  |  |
| 02-06-01352 | Ethilon round bodied needle 1/2 circle No. 0 35 mm |  | 100,000 |  |  |
| 02-06-01353 | Ethilon round bodied needle 1/2 circle No. 2/0 35 mm |  | 50,000 |  |  |
| 02-06-01354 | Ethilon 1/2 circle reverse cutting needle No.1 50mm |  | 100,000 |  |  |
| 02-06-01355 | Ethilon 1/2 circle reverse cutting needle No.0 40mm |  | 100,000 |  |  |
| 02-06-01356 | Ethilon 1/2 circle curved cutting needle No.2 90 mm |  | 100,000 |  |  |
| 02-06-01357 | Mrlex sheets, prolen sheets |  | 11,200 |  |  |
| 02-06-01358 | Nylglass stockinette Size 6 |  | 15 |  |  |
| 02-06-01359 | Size 8 |  | 23 |  |  |
| 02-06-01360 | Size 10 |  | 10 |  |  |
| 02-06-01361 | Size 12 |  | 10 |  |  |
| 02-06-01362 | Size 15 |  | 10 |  |  |
| 02-06-01363 | SACH Feet (Medium Cushmen) |  | 5 |  |  |
| 02-06-01364 | Size 21 Lf |  | 5 |  |  |
| 02-06-01365 | Size 21 Rt |  | 5 |  |  |
| 02-06-01366 | Tube Adaptor |  | 15 |  |  |
| 02-06-01367 | Symes Pirogofli feet Size 23 Lt |  | 15 |  |  |
| 02-06-01368 | Size 23 Rt |  | 15 |  |  |
| 02-06-01369 | Size 25 Lt |  | 15 |  |  |
| 02-06-01370 | Size 25 Rt |  | 15 |  |  |
| 02-06-01371 | Size 27 Lt |  | 15 |  |  |
| 02-06-01372 | Size 27 Rt |  | 15 |  |  |
| 02-06-01373 | Size 26 Lt |  | 15 |  |  |
| 02-06-01374 | Size 26 Rt |  | 15 |  |  |
| 02-06-01375 | Symes pirogofli Feet Size 24 Lt |  | 15 |  |  |
| 02-06-01376 | Symes pirogofli Feet Size 24 Rt |  | 15 |  |  |
| 02-06-01377 | Limited Motion Ankle Joint Size 4 |  | 7 |  |  |
| 02-06-01378 | Limited Motion Ankle Joint Size 2 |  | 7 |  |  |
| 02-06-01379 | Limited Motion Ankle Joint For Children Size 5 |  | 5 |  |  |
| 02-06-01380 | Universal Adhesive 4.5 Kg |  | 2 |  |  |
| 02-06-01381 | Polyethylene Adhesive Tape(33x25)mm |  | 10 |  |  |
| 02-06-01382 | E.N.T REQUIRMENTS Medonald elevator double End. |  | 5 |  |  |
| 02-06-01383 | Syme elevator doble End. |  | 3 |  |  |
| 02-06-01384 | Cannula tubing size mett HdI |  | 1 |  |  |
| 02-06-01385 | Wilde chalazion forceps small 3.5" (89mm) |  | 3 |  |  |
| 02-06-01386 | Lister fixation and suture holding forceps Longitudinaly serrated tips, 1x2 teeth, (108mm) |  | 1 |  |  |
| 02-06-01387 | Moorfield suture holding forceps, and conjuctival serrated, fine pints, (102mm) |  | 2 |  |  |
|  | Disposable |  |  |  |  |
| 02-06-01388 | safety box for the disposal of used syringes and needles,5L |  | 150000 |  |  |
| 02-06-01389 | Auto destruct syring 0.1ml for BCG |  | 1500000 |  |  |
| 02-06-01390 | Over all nylon dress |  | 30 |  |  |
|  | LABORATORY |  |  |  |  |
| 02-06-01391 | Carges with cages for labrotory animales (rabbits,gynea pigs,rats,mouse) |  | 50 each |  |  |
| 02-06-01392 | LABORATORY AppliancesBeaker glass 100 ml pcs |  | 1500 |  |  |
| 02-06-01393 | Beaker glass 1000 ml pcs |  | 1150 |  |  |
| 02-06-01394 | Beaker ( pyrex glass ) vol. 50 ml |  | 180 |  |  |
| 02-06-01395 | Beaker ( pyrex glass ) vol. 100 ml |  | 180 |  |  |
| 02-06-01396 | Beaker ( pyrex glass ) vol. 250 ml |  | 320 |  |  |
| 02-06-01397 | Beaker ( pyrex glass ) vol. 500 ml |  | 150 |  |  |
| 02-06-01398 | Beaker ( pyrex glass ) vol. 1000 ml |  | 150 |  |  |
| 02-06-01399 | Amber bottle glass with interchangable polypropylene stopper 1000 ml pcs |  | 3080 |  |  |
| 02-06-01400 | Amber bottle glass with interchangable polypropylene stopper 1500 ml pcs |  | 1500 |  |  |
| 02-06-01401 | Bottle aspirator polythene 10 L Pcs |  | 220 |  |  |
| 02-06-01402 | Washing bottle polythene 1000 ml pcs |  | 600 |  |  |
| 02-06-01403 | Bottle plastic 150 ml Pcs |  | 4800 |  |  |
| 02-06-01404 | Bottle plastic 1000 ml Pcs |  | 4300 |  |  |
| 02-06-01405 | Bottle flat 150 ml pcs with aluminium screw cap |  | 2250 |  |  |
| 02-06-01406 | Bottle reagent N.M with glass stopper 125 ml pcs |  | 1200 |  |  |
| 02-06-01407 | Bottle reagent N.M with glass stopper 250 ml pcs |  | 1200 |  |  |
| 02-06-01408 | Bottle reagent N.M with glass stopper 500 ml pcs |  | 450 |  |  |
| 02-06-01409 | Box to hold 100 microscopic slide |  | 12300 |  |  |
| 02-06-01410 | Brushes for bottle ( ass. Sizes ) pcs |  | 1800 |  |  |
| 02-06-01411 | Brushes for beakers ( ass. Sizes ) pcs |  | 900 |  |  |
| 02-06-01412 | Brushes for burettes ( ass. Sizes ) pcs |  | 870 |  |  |
| 02-06-01413 | Brushes for cylinder ( ass. Sizes ) pcs |  | 800 |  |  |
| 02-06-01414 | Brushes for flask ( ass. Sizes ) pcs |  | 800 |  |  |
| 02-06-01415 | Brushes for tube ( small ) pcs |  | 7000 |  |  |
| 02-06-01416 | Centerfuge tube 15 ml pcs |  | 650000 |  |  |
| 02-06-01417 | Khan tube ( 75 x 2 x 13 ) |  | 320000 |  |  |
| 02-06-01418 | Test tube ( 6 x 1/2 ) pcs |  | 650000 |  |  |
| 02-06-01419 | Test tube ( 4 x 1/2 ) pcs |  | 350000 |  |  |
| 02-06-01420 | T. shape tube glass with stopper pcs |  | 170 |  |  |
| 02-06-01421 | Test tube ( 10 x 75 mm ) pcs |  | 25000 |  |  |
| 02-06-01422 | Plain tube plastic blood collect 10 ml |  | 9000000 |  |  |
| 02-06-01423 | Filter paper size 150 ml |  | 6000 | pack |  |
| 02-06-01424 | Filter paper size 220 ml |  | 6000 |  |  |
| 02-06-01425 | Dispenser 1 ml with its bottle pcs |  | 343 |  |  |
| 02-06-01426 | Dispenser 10 ml with its bottle capacity 1000 ml pcs |  | 550 |  |  |
| 02-06-01427 | Flask erlanmyer 1000ml pcs |  | 530 |  |  |
| 02-06-01428 | Flask erlanmyer 1500ml pcs |  | 330 |  |  |
| 02-06-01429 | Flask volumetric 10ml pcs |  | 440 |  |  |
| 02-06-01430 | Flask volumetric 100ml pcs |  | 6420 |  |  |
| 02-06-01431 | Funnel glass 50mm pcs |  | 480 |  |  |
| 02-06-01432 | Funnel glass 100mm pcs |  | 455 |  |  |
| 02-06-01433 | Funnel glass 150mm pcs |  | 640 |  |  |
| 02-06-01434 | Funnel polythene 150mm pcs |  | 540 |  |  |
| 02-06-01435 | Funnel sepratory 125ml pcs |  | 410 |  |  |
| 02-06-01436 | Funnel sepratory 1000ml pcs |  | 230 |  |  |
| 02-06-01437 | Slide for microscope |  | 160000 | pack x 100 pcs |  |
| 02-06-01438 | Slide for microscope ( 76 x 26 mm ) pcs |  | 6000000 | pcs |  |
| 02-06-01439 | Petredish disposable single vent |  | 27000 | pack x 100 pcs |  |
| 02-06-01440 | Petredish disposable triple vent |  | 2400 | pack x 100 pcs |  |
| 02-06-01441 | Cover glass size 22 x 22 mm pcs |  | 1000000 |  |  |
| 02-06-01442 | Cover glass size 22 x 50 mm pcs |  | 5000000 |  |  |
| 02-06-01443 | Pipette grad. 1 ml pcs |  | 12300 |  |  |
| 02-06-01444 | Pipette grad. 10 ml pcs |  | 9500 |  |  |
| 02-06-01445 | Pipette W.B.C. pcs |  | 2200 |  |  |
| 02-06-01446 | Automatic pipette 1000ml pcs |  | 750 |  |  |
| 02-06-01447 | Automatic pipette 100-1000ml pcs |  | 2500 |  |  |
| 02-06-01448 | Rack for test tube plastic hold ( 6 x 12 ) pcs |  | 6000 |  |  |
| 02-06-01449 | Spatula S.S 100 mm pcs |  | 10000 |  |  |
| 02-06-01450 | Spatula S.S 150 mm pcs |  | 10000 |  |  |
| 02-06-01451 | Sprit lamp pcs |  | 1260 |  |  |
| 02-06-01452 | Tips for 100ml ( color blue ) pcs |  | 3600000 |  |  |
| 02-06-01453 | Thermometer 0-100 degree pcs |  | 1040 |  |  |
| 02-06-01454 | Thermometer 0-150 degree pcs |  | 1000 |  |  |
| 02-06-01455 | Cork (ass. Size ) ( box 100 pcs ) |  | 16 |  |  |
| 02-06-01456 | Pra film 100mm x 40 M. roll |  | 1400 |  |  |
| 02-06-01457 | Dispossable tube plastic E.D.T.A 1ml pcs |  | 800000 |  |  |
| 02-06-01458 | dropping bottle vol. 60ml |  | 60 |  |  |
| 02-06-01459 | PH paper indicator full range indicator (1-14) |  | 6600 | roll |  |
| 02-06-01460 | Glass cell 1 cm spare cuvette for spekol length 3 cm |  | 1500 |  |  |
| 02-06-01461 | haemonetic phersis 225ml plasma air big-draw needle |  | 1000 |  |  |
| 02-06-01462 | Bottle polyproplin 10 L |  | 20 |  |  |
| 02-06-01463 | Auto clavable bottle 200ml with metal S.C (20mm mouth) for sterility test |  | 5600 |  |  |
| 02-06-01464 | Flask flat bottom 100ml |  | 80 |  |  |
| 02-06-01465 | Seperatory funnel cylindrecal 100ml |  | 110 |  |  |
| 02-06-01466 | Seperatory funnel spherical 100ml |  | 180 |  |  |
| 02-06-01467 | Flask kjeildahi 100ml |  | 30 |  |  |
| 02-06-01468 | Flask conical stopperd 100ml |  | 240 |  |  |
| 02-06-01469 | Flask conical stopperd 1000ml |  | 50 |  |  |
| 02-06-01470 | Wire CO2 100ml |  | 24 |  |  |
| 02-06-01471 | Cylindrical funnel and sintglass plate 30 P1 |  | 40 |  |  |
| 02-06-01472 | Cylindrical funnel and sintglass plate 60 P1 |  | 40 |  |  |
| 02-06-01473 | Cylindrical funnel and sintglass plate 100 ml G4 |  | 30 |  |  |
| 02-06-01474 | Cylindrical funnel and sintglass plate 100ml G5 |  | 30 |  |  |
| 02-06-01475 | T.L.C tank |  | 15 |  |  |
| 02-06-01476 | S.S. sexplace manifold S.M.I 68 29 (sartorios ) |  | 2 |  |  |
| 02-06-01477 | Polycarbonate filter holder S.M 165/10/11 |  | 36 |  |  |
| 02-06-01478 | Bottle glass nerrow neck with plastic stopper 100ml |  | 1500 |  |  |
| 02-06-01479 | Motor and pestle 120mm (porceline) |  | 380 |  |  |
| 02-06-01480 | Motor and pestle 150mm (porceline) |  | 380 |  |  |
| 02-06-01481 | Motor and pestle 160mm (porceline) |  | 380 |  |  |
| 02-06-01482 | Cellulose acetate foils (paper) for electrophoresis 50x360 mm or 78x 150mm |  | 2500 | pcs |  |
| 02-06-01483 | Test tube borosilicate (10x75cm) |  | 6800 |  |  |
| 02-06-01484 | Round flask flat bottonm 10 L |  | 150 |  |  |
| 02-06-01485 | Amber glass bottle 1 L. and 2.5 L |  | 24000 |  |  |
| 02-06-01486 | Plastic polyethene bwith screw cap 1L , 2L , and 5L |  | 38000 |  |  |
| 02-06-01487 | Filter paper 24cm (pack of 100 pcs ) |  | 1550 |  |  |
| 02-06-01488 | Round bottom flask 100ml |  | 80 |  |  |
| 02-06-01489 | Microscope slide tray hold 10 slide |  | 10000 |  |  |
| 02-06-01490 | Pipette grad. (0.1ml) |  | 2750 |  |  |
| 02-06-01491 | Round bottom flask 1L |  | 350 |  |  |
| 02-06-01492 | Burrette (5ml) |  | 100 |  |  |
| 02-06-01493 | Burrette (10ml) |  | 100 |  |  |
| 02-06-01494 | Burrette (25ml) |  | 100 |  |  |
| 02-06-01495 | Crucible & Gauch |  | 20 |  |  |
| 02-06-01496 | Automatic burrette (50ml) |  | 10 |  |  |
| 02-06-01497 | Automatic burrette (100ml) |  | 10 |  |  |
| 02-06-01498 | Flat bottom flask 1000ml |  | 150 |  |  |
| 02-06-01499 | Conical flask 100ml |  | 310 |  |  |
| 02-06-01500 | Grad. Cylider 10ml |  | 160 |  |  |
| 02-06-01501 | Grad. Cylider 100ml |  | 160 |  |  |
| 02-06-01502 | Grad. Cylider 1000ml |  | 160 |  |  |
| 02-06-01503 | Rack for test tube (2x12) Plastic |  | 1300 |  |  |
| 02-06-01504 | Rack for test tube (3x12) Plastic |  | 1300 |  |  |
| 02-06-01505 | Coats white polyster/cotton size 100,108,116 cm pcs |  | 800 | for each size |  |
| 02-06-01506 | Gloves size 7,8,9 chrome leather palms |  | 325 | pairs each size |  |
| 02-06-01507 | Apron , rubber , 1060 x 900 mm |  | 50 | pcs |  |
| 02-06-01508 | Eye wash bottle |  | 30 | pcs |  |
| 02-06-01509 | Biotest cell 1,2 |  | 20 | set |  |
| 02-06-01510 | Glass cover 50 x 75 mm |  | 400 |  |  |
| 02-06-01511 | Bijou bottle sterile , 7ml |  | 400 |  |  |
| 02-06-01512 | Blood collection tubes (10ml) containing 16 IU lithium heparine |  | 1000 |  |  |
| 02-06-01513 | Centrifuge test tube with stoppers 110 x 70 mm |  | 27000 |  |  |
| 02-06-01514 | Cryotube with screw stopper 38 x 12.5 mm |  | 1000 |  |  |
| 02-06-01515 | Eppendorf micro tube |  | 1000 |  |  |
| 02-06-01516 | Millex G5 filter unit sterile pore size 0.22 mm |  | 1000 |  |  |
| 02-06-01517 | Terosaki 60 , 72 well microtest plates with lid , sterile |  | 800 |  |  |
| 02-06-01518 | Test tubes 10.5 x 63 mm type / P3 |  | 400 |  |  |
| 02-06-01519 | Ayre Spatula Wooder ,Disposable | 200000 pcs |  |  |  |
|  | ARTIFICAL LIMBS AND SPLINTS WORKSHO REQUIRMENTS |  |  |  |  |
| 02-06-01520 | Orthocryl sealing resin 4.6 kg | 25 |  |  |  |
| 02-06-01521 | Orthocyl laminaction resin 4.6kg | 50 |  |  |  |
| 02-06-01522 | Hardener powder 150g | 100 |  |  |  |
| 02-06-01523 | Pigment paste, skin colar- caucason 180 gm tube | 50 |  |  |  |
| 02-06-01524 | Prelon stocinette, white Size 6 | 6 kg |  |  |  |
| 02-06-01525 | Size 8 | 50 kg |  |  |  |
| 02-06-01526 | Size 10 | 50 kg |  |  |  |
| 02-06-01527 | Size 12 | 50 kg |  |  |  |
| 02-06-01528 | Size 15 | 30 kg |  |  |  |
| 02-06-01529 | Polypropylene sheets size 2000x1000x4 mm | 150 |  |  |  |
| 02-06-01530 | Polypropylene sheats size 2000 x 1000 mm thick 3mm | 250 |  |  |  |
| 02-06-01531 | Orthoplast lawtemp thermoplast sheets Size 960 x 3 H thick 3 mm | 120 |  |  |  |
| 02-06-01532 | Elastic webbing 623g = 25, 35 mm width | 100 Rolls each |  |  |  |
| 02-06-01533 | Elastic webbing 20 cm(200 mm) width | 100m white, 100 m skin color |  |  |  |
| 02-06-01534 | PVA sheating 130 cm width 616F4 = 130 | 120 meter |  |  |  |
| 02-06-01535 | Teflon tape for sealing iron 0.08 mm thickm 85 mm width | 25 meter |  |  |  |
| 02-06-01536 | Plastilin Clay 0.5 kg. | 30 kg |  |  |  |
| 02-06-01537 | Elastic webbing 35 cm (350 mm) width | white 150 m |  |  |  |
| 02-06-01538 | Elastic webbing 35 cm (350 mm) width | beige 150 m |  |  |  |
| 02-06-01539 | Plastazoate sheets (12 mm thick) | 50 |  |  |  |
| 02-06-01540 | Modular prostheses for children :for :Hipdisartic | 6 Pcs,AK 30 and PK 60 Lt and Rt |  |  |  |
| 02-06-01541 | Dynamic feet for children size 14 throgh 21 | 60 Pcs |  |  |  |
| 02-06-01542 | Pedilin (PE lete) soft socket liner sheet size 5mm thick | 250 |  |  |  |
| 02-06-01543 | Flexo Cork Sheets Size, 10mm thick | 50 |  |  |  |
| 02-06-01544 | Lectite 241 loctite .05kg | 35 |  |  |  |
| 02-06-01545 | Prosthetic Socks Size 50 | 3000 |  |  |  |
| 02-06-01546 | Size 60 | 3000 |  |  |  |
| 02-06-01547 | Pedilin Rigid Foam 300 | 10 |  |  |  |
| 02-06-01548 | Hardener For Pedilin Rigid Foam | 10 |  |  |  |
| 02-06-01549 | Nonelastic Webbing 25mm Width | 100 x 50 meter |  |  |  |
| 02-06-01550 | 35mm Width | 100 x 5 meter |  |  |  |
| 02-06-01551 | Calibrated Measuring Caps 400Cm | 2000 |  |  |  |
| 02-06-01552 | Fast Curing Putty AKEM. 1Kg | 15 |  |  |  |
| 02-06-01553 | Plastazote-Nonperforated Sheet Size 1000x750Width x3mm thick | 100 |  |  |  |
| 02-06-01554 | Cotton Stockinette Off White Size 8 | 100 kg |  |  |  |
| 02-06-01555 | Size 10 | 100 |  |  |  |
| 02-06-01556 | Size 12 | 75 |  |  |  |
| 02-06-01557 | Size 15 | 50 |  |  |  |
| 02-06-01558 | Cotton Stockinette Off White Size 30 | 100 |  |  |  |
| 02-06-01559 | Size 6 | 25 |  |  |  |
| 02-06-01560 | Teflon Sheet For Heating Plate 759 Y1 | 30 |  |  |  |
| 02-06-01561 | Rotable Socket Adaptor 4R 37 | 50 |  |  |  |
| 02-06-01562 | Modular Knee Joint 3R 22 | 100 |  |  |  |
| 02-06-01563 | Modular Knee Joint 3R 16 | 50 |  |  |  |
| 02-06-01564 | Modular Knee Joint W.Lock 3R 40 | 50 |  |  |  |
| 02-06-01565 | Modular Knee Joint (Through Knee Ap) | 50 |  |  |  |
| 02-06-01566 | Modular Extention Assist | 75 |  |  |  |
| 02-06-01567 | Valve With Tube | 500 |  |  |  |
| 02-06-01568 | Black throug knee goent with lock | 50 |  |  |  |
| 02-06-01569 | Socket Adapter . | 50 |  |  |  |
| 02-06-01570 | Modular Hip Joint 7E | 10 |  |  |  |
| 02-06-01571 | Cosmetic Foam Cover Calf Circur 44 Lf | 150 |  |  |  |
| 02-06-01572 | Cosmetic Foam Cover Calf Circur 44 Rt. | 150 |  |  |  |
| 02-06-01573 | Socket Adept With Pyramid | 500 |  |  |  |
| 02-06-01574 | Tube Clamp Adapter | 800 |  |  |  |
| 02-06-01575 | Modular Foot Adapter 2R8=10 | 1500 |  |  |  |
| 02-06-01576 | SACH Feet (Medium Caushion) size 22 through 27 | 1500 |  |  |  |
| 02-06-01577 | Tube grip Elastic stockinette 8cm | 150 Meter |  |  |  |
| 02-06-01578 | Tube grip Elastic stockinette 10cm | 150 meter |  |  |  |
| 02-06-01579 | Tube grip Elastic stockinette 12 cm | 100 meter |  |  |  |
| 02-06-01580 | Tube grip Elastic stockinette 15cm | 100 meter |  |  |  |
| 02-06-01581 | Rubber bowls for plaster 754 B1 | 20 |  |  |  |
| 02-06-01582 | Rubber bowls for plaster 754B1 | 20 |  |  |  |
| 02-06-01583 | Talc powder 639 A1 | 50 kg |  |  |  |
| 02-06-01584 | Rubber sheet for shoe soles 10-12mm thick | 50 |  |  |  |
| 02-06-01585 | Thinner for Quick rubber cement 634 A6= 0.8 | 50 |  |  |  |
| 02-06-01586 | Copper rivets 504 F2 = 4 x 20 | 5000 |  |  |  |
| 02-06-01587 | Steel rivets 504 F1 = 4 x 20 | 1000 |  |  |  |
| 02-06-01588 | Heating elements for Heating plate | 4 |  |  |  |
| 02-06-01589 | Glue for sanding papers & steves | 2 |  |  |  |
| 02-06-01590 | Water pan | 1 |  |  |  |
| 02-06-01591 | Adaptor 2R3 | 200 |  |  |  |
| 02-06-01592 | Modular knee joint 3R20 | 5 |  |  |  |
| 02-06-01593 | Otlo bock alpha step 24PCS diff. sizes t+ & R+ | 10 |  |  |  |
| 02-06-01594 | Mod. Knee Joint 3R49 | 10 |  |  |  |
| 02-06-01595 | Silicone liner | 10 |  |  |  |
| 02-06-01596 | OB Knee J. 3R45 | 2 |  |  |  |
| 02-06-01597 | OB Knee J. 3R60 | 2 |  |  |  |
| 02-06-01598 | OB Knee J. 3R80 | 560 |  |  |  |
| 02-06-01599 | Single Axis feet size 23 through 27 | 25 |  |  |  |
| 02-06-01600 | Single Axis foot adaptor Size 22-25 | 200 |  |  |  |
| 02-06-01601 | Single Axis foot adaptor Size 26-30 | 500 |  |  |  |
| 02-06-01602 | Surform-Half Round Blades | 120 |  |  |  |
| 02-06-01603 | T-Handled Hex Wrench Size 4 | 20 |  |  |  |
| 02-06-01604 | T-Handled Hex Wrench Size 5 | 30 |  |  |  |
| 02-06-01605 | Thermal Gloves | 40 Pairs |  |  |  |
| 02-06-01606 | Welding Nozzler Round | 3 |  |  |  |
| 02-06-01607 | Curved Seaming Pliers | 5 |  |  |  |
| 02-06-01608 | Wire Cutter | 10 |  |  |  |
| 02-06-01609 | Spiral Toothed Rasp | 5 |  |  |  |
| 02-06-01610 | Band Saw Blade For Wood | 100 meter |  |  |  |
| 02-06-01611 | Gas Cylinder | 10 |  |  |  |
| 02-06-01612 | Drum/Slotted | 2 |  |  |  |
| 02-06-01613 | Contactor | 2 |  |  |  |
| 02-06-01614 | Pipe Cutter | 3 |  |  |  |
| 02-06-01615 | Replacement Blades For Pipe Cutter | 50 |  |  |  |
| 02-06-01616 | Pipe Reamer | 10 |  |  |  |
| 02-06-01617 | Side Bar Set(Stamless Steel) Size 16 | 450 |  |  |  |
| 02-06-01618 | Penis browne splint for CDH diff. size | 250 |  |  |  |
| 02-06-01619 | Milwaukee brace diff. size | 50 |  |  |  |
| 02-06-01620 | Polypropylene sheets 2000 x 1000 x 5mm | 100 |  |  |  |
| 02-06-01621 | Limited Motion Ankle Joint For Children Size 6 | 6 |  |  |  |
| 02-06-01622 | Knee Joints For Children S-S Size 4 | 500 Pair |  |  |  |
| 02-06-01623 | Swiss Lock Joint Head Size 16Lt | 60 |  |  |  |
| 02-06-01624 | Swiss Lock Joint Head Size 16 Rt | 60 |  |  |  |
| 02-06-01625 | Swiss Lock Joint Head Size 20 Lt | 60 |  |  |  |
| 02-06-01626 | Swiss Lock Joint Head Size 20 Rt | 60 |  |  |  |
| 02-06-01627 | Ring lock Joint Head Size 16 Lt | 160 |  |  |  |
| 02-06-01628 | Ring lock Joint Head Size 16 Rt | 150 |  |  |  |
| 02-06-01629 | Ring lock Joint Head Size 20 Lt | 200 |  |  |  |
| 02-06-01630 | Ring lock Joint Head Size 20 Rt | 200 |  |  |  |
| 02-06-01631 | Cosmotic Gloves 8 S 6 diff. sizes | 40 |  |  |  |
| 02-06-01632 | Cosmotic Gloves 8 S 6 diff. sizes and color | 70 |  |  |  |
| 02-06-01633 | Cosmotic Gloves 8 S 4 diff. sizes and color | 410 |  |  |  |
| 02-06-01634 | Mod. Comp for shoulder disartic complet Lt & RT | 20 each side |  |  |  |
| 02-06-01635 | Inner hand (Similar to cosmotic Gloves but of thicker wall) sizes 20 through 23 LT & RT | 100 each |  |  |  |
| 02-06-01636 | Inner hands 8 S 7 diff. sizes | 420 PCS |  |  |  |
| 02-06-01637 | Rubber cork 5mm thick | 5 PCS |  |  |  |
| 02-06-01638 | 1000 temp. thermoplastic sheets, strong (Pedilon) 3-2 | 25 |  |  |  |
| 02-06-01639 | Alveolux sheets 12mm thick (for making in soles) | 150 |  |  |  |
| 02-06-01640 | Bench W.Vacuum for thermoplastic sheets | 1 |  |  |  |
| 02-06-01641 | Cosmotic Gloves Size 855 | 40 |  |  |  |
| 02-06-01642 | Cosmotic Wrist Unit | 70 |  |  |  |
| 02-06-01643 | Silicone Parting Agent Spray | 6 |  |  |  |
| 02-06-01644 | Mechanical Wrist Unit Size 45 | 60 |  |  |  |
| 02-06-01645 | Mechanical Wrist Unit Size 50 | 60 |  |  |  |
| 02-06-01646 | Speed Rivets, Head diameter: 7mm | 24000 PCS |  |  |  |
| 02-06-01647 | Speed Rivets, Head diameter: 12 mm | 12000 PCS |  |  |  |
| 02-06-01648 | Rivet Buckle, Inside width 18 mm | 12000 PCS |  |  |  |
| 02-06-01649 | Quick drying Rubber cement 636N9=4.5 | 240 kg |  |  |  |
| 02-06-01650 | Twist Drills For Steel 3mm HSS | 100 |  |  |  |
| 02-06-01651 | Twist Drills For Steel 4mm HSS | 500 |  |  |  |
| 02-06-01652 | Twist Drills FSteel 5mm HSS | 50 |  |  |  |
| 02-06-01653 | Evazote Sheets 12mm Thick | 25 PCS |  |  |  |
| 02-06-01654 | Scissors & Shears (Surgical) Scissor 719 G23 | 50 PCS |  |  |  |
| 02-06-01655 | Scissors & Shears Tailors Scissors 719 G14 | 5 PCS |  |  |  |
| 02-06-01656 | Adhesive Tapes (Linentape) 627B1=25 | 25 |  |  |  |
| 02-06-01657 | Adhesive Tape (Silka fix) 627B7 = 25 | 25 |  |  |  |
| 02-06-01658 | Double Face Tape (55meter Roll x 19mm Width) | 20 Roll |  |  |  |
| 02-06-01659 | Vulkollen Elastic Band (5meter Rollx15mm Width) | 20 Roll |  |  |  |
| 02-06-01660 | Brass Fastening Buttoms | 27 PCS |  |  |  |
| 02-06-01661 | Alumminum Sheets 1.5mm | 16 Sheet |  |  |  |
| 02-06-01662 | Alumminum Sheets 2 mm | 16 Sheet |  |  |  |
| 02-06-01663 | Black steel sheets 2mm thick | 12 |  |  |  |
| 02-06-01664 | Leather For Shoes & Soles & Shoes Lining for uppers in square ft. | 1500 |  |  |  |
| 02-06-01665 | Leather For Shoes & Soles & Shoes Lining for shoe lining in square ft. | 4000 |  |  |  |
| 02-06-01666 | Leather For Shoes & Soles & Shoes Lining for soles 3mm thick (Kg.) | 600 |  |  |  |
| 02-06-01667 | Leather For Shoes & Soles & Shoes Lining for soles 5mm thick (Kg.) | 600 |  |  |  |
| 02-06-01668 | Screw Drivers (Diff Size) ( Set of 6 pcs) | 2 Set |  |  |  |
| 02-06-01669 | 710H 5=Size 0 | 2 PCS |  |  |  |
| 02-06-01670 | Size 1 | 2 PCS |  |  |  |
| 02-06-01671 | Size 2 | 2 PCS |  |  |  |
| 02-06-01672 | Tracing Papers For orthos | 1500 PCS |  |  |  |
| 02-06-01673 | S.A.CH Foot 1S 37= 25L | 400 |  |  |  |
| 02-06-01674 | S.A.CH Foot =25R | 400 |  |  |  |
| 02-06-01675 | S.A.CH Foot =26L | 200 |  |  |  |
| 02-06-01676 | S.A.CH Foot 26R | 200 |  |  |  |
| 02-06-01677 | S.A.CH Foot 27L | 50 |  |  |  |
| 02-06-01678 | S.A.CH Foot 27 R | 50 |  |  |  |
| 02-06-01679 | Single axis foot 1H 38=25L | 200 |  |  |  |
| 02-06-01680 | Single axis foot =25R | 200 |  |  |  |
| 02-06-01681 | Single axis foot=26L | 100 |  |  |  |
| 02-06-01682 | Single axis foot =26R | 100 |  |  |  |
| 02-06-01683 | Single axis foot =27L | 50 |  |  |  |
| 02-06-01684 | Single axis foot =27R | 50 |  |  |  |
| 02-06-01685 | Pirogoff- foot 1P5=24L | 400 |  |  |  |
| 02-06-01686 | Pirogoff- foot=24R | 400 |  |  |  |
| 02-06-01687 | Pirogoff- foot =25L | 300 |  |  |  |
| 02-06-01688 | Pirogoff- foot =25R | 300 |  |  |  |
| 02-06-01689 | Pirogoff- foot=26L | 50 |  |  |  |
| 02-06-01690 | Pirogoff- foot= 26R | 50 |  |  |  |
| 02-06-01691 | Sach foot adaptor 2R8= 10 | 1200 |  |  |  |
| 02-06-01692 | Single axis foot adaptor 2R 10=26 | 500 |  |  |  |
| 02-06-01693 | Single axis foot adaptor 2R 10=22-25 | 600 |  |  |  |
| 02-06-01694 | Knee Joint for Knee disarticulti 3R 23 | 60 |  |  |  |
| 02-06-01695 | Knee Joint with mannual lock | 25 |  |  |  |
| 02-06-01696 | Single exis Knee joint 3R15 | 150 |  |  |  |
| 02-06-01697 | Flat rubber valve 21Y40=40 | 1000 |  |  |  |
| 02-06-01698 | Lamination anchor- steel 4G 70 | 150 |  |  |  |
| 02-06-01699 | Rotatable Socket adartor 4R41 | 50 |  |  |  |
| 02-06-01700 | Loctite 636 k12= | 50 |  |  |  |
| 02-06-01701 | Pigmet paste caucasin 617 Z1=1 | 10 |  |  |  |
| 02-06-01702 | Pedlienrigid foam =300kg 617H32 | 300 |  |  |  |
| 02-06-01703 | Hardener F.pedlien kg 617P21= | 300 |  |  |  |
| 02-06-01704 | Orthocrul lamination resrn 617H19=kg | 2000 kg |  |  |  |
| 02-06-01705 | Orthocryl sealing resin 617H21= Kg | 500 |  |  |  |
| 02-06-01706 | Valve set 755 Z4 | 4 |  |  |  |
| 02-06-01707 | Filter 655Z 20 | 12 |  |  |  |
| 02-06-01708 | PVC suction tnping 0.060 616R2 | 50 |  |  |  |
| 02-06-01709 | M8 x12 Adjustment set screws 506 G 3= | 1000 |  |  |  |
| 02-06-01710 | PVC compressed air pressur hose 616R 7 | 50 |  |  |  |
| 02-06-01711 | Wire wheel 749B1 | 2 |  |  |  |
| 02-06-01712 | Sanding sleeve 749 Y8 | 10 |  |  |  |
| 02-06-01713 | Plastilin-Knetmasse 636 K 6 | 50 |  |  |  |
| 02-06-01714 | Leinenke beband 627B1 =25 | 100 |  |  |  |
| 02-06-01715 | Karbon-clasfaser roll 616G14 =10 | 100 |  |  |  |
| 02-06-01716 | Perlon- trikots chlauch-weib623 T 3=10 | 500 Kg |  |  |  |
| 02-06-01717 | Perlon- trikots chlauch-weib 623 T3=12 | 500 Kg |  |  |  |
| 02-06-01718 | Perlon- trikots chlauch-weib 623 T3=15 | 100 Kg |  |  |  |
| 02-06-01719 | Perlon- trikots chlauch-weib 623 T3=30 | 25 Kg |  |  |  |
| 02-06-01720 | Two channel vacnm pipe 755R5 | 10 |  |  |  |
| 02-06-01721 | Belt sander 1650x100x24 649G15 | 100 |  |  |  |
| 02-06-01722 | Saw blade 756 Y3 | 100 |  |  |  |
| 02-06-01723 | Cosmetic glove 8S 4=209x86R=11 | 10 |  |  |  |
| 02-06-01724 | Cosmetic glove 8S4=209 x 86 R=10 | 10 |  |  |  |
| 02-06-01725 | Cosmetic glove8S4= 212x86R= | 10 |  |  |  |
| 02-06-01726 | Cosmetic glove 8S4 =212 x86R=10 | 10 |  |  |  |
| 02-06-01727 | Cosmetic glove 8S4 =206x 85R =11 | 10 |  |  |  |
| 02-06-01728 | Cosmetic glove 8S4 =206x 85R =10 | 10 |  |  |  |
| 02-06-01729 | Cosmetic glove 8S4 =225x 82R =11 | 10 |  |  |  |
| 02-06-01730 | Cosmetic glove 8S4 =225x 82R =10 | 10 |  |  |  |
| 02-06-01731 | Cosmetic glove 8S4 =205x 81R =11 | 10 |  |  |  |
| 02-06-01732 | Cosmetic glove 8S4 =205x 81R =10 | 10 |  |  |  |
| 02-06-01733 | Cosmetic glove 8S4 =199x 82R =10 | 10 |  |  |  |
| 02-06-01734 | Cosmetic glove 8S4 =199x 82R =11 | 10 |  |  |  |
| 02-06-01735 | Cosmetic glove 8S4 =205x 80R =10 | 10 |  |  |  |
| 02-06-01736 | Cosmetic glove 8S4 =205x 80R =11 | 10 |  |  |  |
| 02-06-01737 | Cosmetic glove 8S4 =208x 88R =10 | 10 |  |  |  |
| 02-06-01738 | Cosmetic glove 8S4 =208x 88R =11 | 10 |  |  |  |
| 02-06-01739 | Cosmetic glove 8S4 =210x 89R =10 | 10 |  |  |  |
| 02-06-01740 | Cosmetic glove 8S4 =210x 89R =11 | 10 |  |  |  |
| 02-06-01741 | Cosmetic glove 8S4 =212x 83R =10 | 10 |  |  |  |
| 02-06-01742 | Cosmetic glove 8S4 =203x 83L =11 | 10 |  |  |  |
| 02-06-01743 | Cosmetic glove 8S4 =206x 80L =10 | 10 |  |  |  |
| 02-06-01744 | Cosmetic glove 8S4 =206x 81L =11 | 10 |  |  |  |
| 02-06-01745 | Cosmetic glove 8S4 =203x 85L =11 | 10 |  |  |  |
| 02-06-01746 | Cosmetic glove 8S4 =210x 88L=10 | 10 |  |  |  |
| 02-06-01747 | Cosmetic glove 8S4 =207x 86L =11 | 10 |  |  |  |
| 02-06-01748 | Cosmetic glove 8S4 =208x 85L =11 | 10 |  |  |  |
| 02-06-01749 | Cosmetic glove 8S4 = 211 x88L11 | 10 |  |  |  |
| 02-06-01750 | Cosmetic glove 8S4 = 212x93L10 | 10 |  |  |  |
| 02-06-01751 | Cosmetic glove 8S4 =221x81L11 | 10 |  |  |  |
| 02-06-01752 | Inner Hand 8S7=199 x82 R | 10 |  |  |  |
| 02-06-01753 | Inner Hand 8S7= 205 x80R | 10 |  |  |  |
| 02-06-01754 | Inner Hand 8S7=205x 80R | 10 |  |  |  |
| 02-06-01755 | Inner Hand 8S7=206 x76R | 10 |  |  |  |
| 02-06-01756 | Inner Hand 8S7 =206x 85R | 10 |  |  |  |
| 02-06-01757 | Inner Hand 8S7 =208 x88R | 10 |  |  |  |
| 02-06-01758 | Inner Hand 8S7=209 x86 R | 10 |  |  |  |
| 02-06-01759 | Inner Hand 8S7 = 210 x89R | 10 |  |  |  |
| 02-06-01760 | Inner Hand 8S7 =212 x83 R | 10 |  |  |  |
| 02-06-01761 | Inner Hand 8S7 =212 x86 R | 10 |  |  |  |
| 02-06-01762 | Inner Hand 8S7=225 x82 R | 10 |  |  |  |
| 02-06-01763 | Inner Hand 8S7 =203 x83 L | 10 |  |  |  |
| 02-06-01764 | Inner Hand 8S7 =206x 80L | 10 |  |  |  |
| 02-06-01765 | Inner Hand 8S7=205 x81L | 10 |  |  |  |
| 02-06-01766 | Inner Hand 8S7 = 203x85L | 10 |  |  |  |
| 02-06-01767 | Inner Hand 8S7 =210 x88L | 10 |  |  |  |
| 02-06-01768 | Inner Hand 8S7 =207 x86L | 10 |  |  |  |
| 02-06-01769 | Inner Hand 8S7=208 x 85L | 10 |  |  |  |
| 02-06-01770 | Inner Hand 8S7=211 x88L | 10 |  |  |  |
| 02-06-01771 | Inner Hand 8S7=212x93L | 10 |  |  |  |
| 02-06-01772 | Inner Hand 8S7 = 221 x81L | 10 |  |  |  |
| 02-06-01773 | Otto Bock system hand 8K 10= 7 3/4R | 10 |  |  |  |
| 02-06-01774 | Otto Bock system hand 8K 10= 7 3/4L | 10 |  |  |  |
| 02-06-01775 | Cosmtic glove 854=210 x78L10 | 10 |  |  |  |
| 02-06-01776 | Cosmtic glove 854=210 x78R11 | 10 |  |  |  |
| 02-06-01777 | Cosmtic glove 854=210 x78L11 | 10 |  |  |  |
| 02-06-01778 | Cosmtic glove 854=210 x78R10 | 10 |  |  |  |
| 02-06-01779 | Pirrol Fat spring 9517 =34mm | 10 |  |  |  |
| 02-06-01780 | Elasticplaster Bandage 699G1=10 | 1000 |  |  |  |
| 02-06-01781 | Elasticplaster Bandage 699G1=15 | 1000 |  |  |  |
| 02-06-01782 | Elasticplaster Bandage 699G1=35 | 200 |  |  |  |
| 02-06-01783 | Cyamet fast setting adhesive 636 K11= 0,025 | 25 |  |  |  |
| 02-06-01784 | Capper Rivet 504 F2 =3x15 | 1000 |  |  |  |
| 02-06-01785 | Capper Rivet 504 F2 =4x25 | 1000 |  |  |  |
| 02-06-01786 | Elastic webbing 623 G1=25 | 200m |  |  |  |
| 02-06-01787 | Hook and pile closure 623Z1 =25 | 200m |  |  |  |
| 02-06-01788 | Flat Rubber valve 21Y94 =40 | 500 |  |  |  |
| 02-06-01789 | Suspension sleeve 452K 7=4 | 100 |  |  |  |
| 02-06-01790 | Suspension sleeve 452K 7=5 | 100 |  |  |  |
| 02-06-01791 | Suspension sleeve 452K 7=6 | 100 |  |  |  |
| 02-06-01792 | Prosthetic Sock, cotton 451F3 =45 | 2000 |  |  |  |
| 02-06-01793 | Prosthetic Sock, cotton 451F3 =60 | 2000 |  |  |  |
| 02-06-01794 | Rotation adapter 4R57 | 25 |  |  |  |
| 02-06-01795 | Double adapter 4R72 =32 | 25 |  |  |  |
| 02-06-01796 | Double adapter 4R72=45 | 25 |  |  |  |
| 02-06-01797 | Double adapter 4R72=60 | 25 |  |  |  |
| 02-06-01798 | Double adapter 4R72=75 | 50 |  |  |  |
| 02-06-01799 | Slinding adapter 4R104=60 | 50 |  |  |  |
| 02-06-01800 | Solcket adapter 4R42 | 500 |  |  |  |
| 02-06-01801 | Cosmtic stocking 99B 16 =2 | 1000 |  |  |  |
| 02-06-01802 | Cosmtic stocking 99B 14=2 | 500 |  |  |  |
| 02-06-01803 | Pedilen Toe 4 Z18 | 1250 |  |  |  |
| 02-06-01804 | Pedilen Sole 2 Z14 | 1250 |  |  |  |
| 02-06-01805 | Pedilen Heel 2F | 1250 |  |  |  |
| 02-06-01806 | Allen Wrench 709512 =4 | 20 |  |  |  |
| 02-06-01807 | Allen Wrench 709512 = 5 | 10 |  |  |  |
| 02-06-01808 | T-Handle Hex socket wrench 709514 =11 | 5 |  |  |  |
| 02-06-01809 | Calibrated measuring cap 642 B2=200 | 5000 |  |  |  |
| 02-06-01810 | Calibrated measuring cap 642 B2= 400 | 5000 |  |  |  |
| 02-06-01811 | Wooden stir sticks 6a9Y3 | 1000 |  |  |  |
| 02-06-01812 | Jamshidi – swaim bone marrow biopsy needle S.S in pcs | 1000 |  |  |  |
| 02-06-01813 | Islam bone marrow biopsy needle S.S in pcs | 1000 |  |  |  |
| 02-06-01814 | Dish for laminating &thermoforming (modular adaptor for vacum formed sockets) | 120 |  |  |  |
| 02-06-01815 | Spicalized medical supplies for cardiac center :-Secalon T ® I.V canula 16G/1.7 x30mm ,148ml /min | 1000 PCS |  |  |  |
| 02-06-01816 | Secalon T ® I.V canula 18G/1.2 x90mm ,61ml /min | 750 pcs |  |  |  |
| 02-06-01817 | Intravenous canula (Insyte-W)18 Gax13/4 in.97ml/min (arterial )1.3 x44mm | 1000 pcs |  |  |  |
| 02-06-01818 | I.V canula (Arterial ) 20G 11/4 “ , 1.1x32mm 60ml /min(Introcan) | 750pcs |  |  |  |
| 02-06-01819 | Dosmes 1.D 4005 LOT No.243601 | 750pcs |  |  |  |
| 02-06-01820 | Dosmes 2.Bentley Disposable Dome D-240 | 750 |  |  |  |
| 02-06-01821 | 3.Way-stopcock system for itherapy and pressure monitoring (Disco FIX) ® | 2000pcs |  |  |  |
| 02-06-01822 | Temporary pace maker lead 5F | 50 |  |  |  |
| 02-06-01823 | Temporary pace maker lead 6F | 50 |  |  |  |
| 02-06-01824 | Temporary pace maker lead 7F | 50 |  |  |  |
| 02-06-01825 | Rediology :-Panoramic X-ray cassettes size 6x12(inch) (curved) | 10 |  |  |  |
| 02-06-01826 | Safe light | 5 |  |  |  |
| 02-06-01827 | Myringotomy set | 1 |  |  |  |
| 02-06-01828 | Otoplasty set | 1 |  |  |  |
| 02-06-01829 | Ear microsurgery set | 1 |  |  |  |
| 02-06-01830 | Nasal septum surgery set | 1 |  |  |  |
| 02-06-01831 | Rhinoplasty set | 1 |  |  |  |
| 02-06-01832 | Tonsilloctomy & adenoctomy set | 1 |  |  |  |
| 02-06-01833 | Paranasal sinuses surgery set | 1 |  |  |  |
| 02-06-01834 | Tracheostomy set | 1 |  |  |  |
| 02-06-01835 | Neck dissection set | 1 |  |  |  |
| 02-06-01836 | Instruments for fase lifting | 1 |  |  |  |
| 02-06-01837 | ENT basic instrument set for out patient examination & treatment | 1 |  |  |  |
| 02-06-01838 | Stamm berger FESS inst. Set | 1 |  |  |  |
| 02-06-01839 | Laryngoscope adult set | 1 |  |  |  |
| 02-06-01840 | Laryngoscope pediatric set | 1 |  |  |  |
| 02-06-01841 | Bronchoscope adult set | 1 |  |  |  |
| 02-06-01842 | Bronchoscope pediatric set | 1 |  |  |  |
| 02-06-01843 | Esophagoscopy adult set | 1 |  |  |  |
| 02-06-01844 | Esophagoscopy pediatric set | 1 |  |  |  |
| 02-06-01845 | Oto drill (shea) | 2 |  |  |  |
| 02-06-01846 | Bed matress | 1500 |  |  |  |
| 02-06-01847 | Inove – Ballone , PTMC – 30 | 5 |  |  |  |
| 02-06-01848 | Inove – Ballone , PTMC – 28 | 5 |  |  |  |
| 02-06-01849 | Inove – Ballone , PTMC – 24 | 5 |  |  |  |
| 02-06-01850 | Inove – Ballone , PTMC – 22 | 5 |  |  |  |
| 02-06-01851 | Inove – Ballone , PTMC – 20 | 5 |  |  |  |
| 02-06-01852 | Coils , MR eye emboligation coil , size 4 | 5 |  |  |  |
| 02-06-01853 | Coils , MR eye emboligation coil , size 8 | 5 |  |  |  |
| 02-06-01854 | Special requirment for the national blood bank :Yshaped Adminstration Set. | 340set |  |  |  |
| 02-06-01855 | Medium Pheresis Set | 340set |  |  |  |
| 02-06-01856 | Pannel Cell | 5set |  |  |  |
| 02-06-01857 | Leukocyte Filter | 5000unit |  |  |  |
| 02-06-01858 | Special requirment for the health prevention sector ;Micropipettes (Adjustable voi ) 20-200ml | 5 |  |  |  |
| 02-06-01859 | Pluggeded Tips 25ml | 1000 |  |  |  |
| 02-06-01860 | Pluggeded Tips 50ml | 1000 |  |  |  |
| 02-06-01861 | Pluggeded Tips 100ml | 1000 |  |  |  |
| 02-06-01862 | Pluggeded Tips 200ml | 1000 |  |  |  |
| 02-06-01863 | Pluggeded Tips 1000ml | 1000 |  |  |  |
| 02-06-01864 | Unphngged Tips 100ml | 1000 |  |  |  |
| 02-06-01865 | Tube Rack | 10 |  |  |  |
| 02-06-01866 | Multichannel Pipettor (25ml) | 5 |  |  |  |
| 02-06-01867 | Multichannel Pipettor (100ml) | 5 |  |  |  |
| 02-06-01868 | Eppendorf Repeator Pipet with 1.5ml Combitip |  |  |  |  |
| 02-06-01869 | Eppendorf Tube | 1000 |  |  |  |
| 02-06-01870 | Eppendorf Tube Rack | 10 |  |  |  |
| 02-06-01871 | Falcon tube | 1000000 |  |  |  |
| 02-06-01872 | Scalpvein | 800000 |  |  |  |
| 02-06-01873 | Syringe 10cc | 800000 |  |  |  |
| 02-06-01874 | ENT requirmentRugine Wole Pirmeter of End (Shah First Inclsion Knife) | 8 |  |  |  |
| 02-06-01875 | Retractor Shairtra Intraoral(Shah Intra-Oral Retraoctor) | 15 |  |  |  |
| 02-06-01876 | Specula Holmgren Sulf Rotating (Heesgreen Eor Speculac Sulf 6 Retaiming) | 80 |  |  |  |
| 02-06-01877 | Ear Forceps Micro Alligator (Hartmann Micro Alligator Aural Forceps) | 20 |  |  |  |
| 02-06-01878 | Forceps Straight Alligator ((Hartmann Alligator Forceps Staright 7x1.28mm ) | 23 |  |  |  |
| 02-06-01879 | Scissors Angler (Ormerd,Middleton Nasal Punch ) | 25 |  |  |  |
| 02-06-01880 | Forceps Foster - Bellonger(Jansen Middleton Nasal Punch Forceps ) | 15 |  |  |  |
| 02-06-01881 | Suction Tube From Bags Conical (From by Suction Tube Conical) | 20 |  |  |  |
| 02-06-01882 | Suction Tube Set of 4 (set (of 4) Magill Suction Tube | 28 |  |  |  |
| 02-06-01883 | Forceps Micro Straight Oral (Shea Micro Forceps,Fine) | 23 |  |  |  |
| 02-06-01884 | Cawthorus Plate to Hold Shea (ear Speculum Holder) | 15 |  |  |  |
| 02-06-01885 | Simposn Piathery with Cable (Simposn Spear end Diathermy Electrode) | 18 |  |  |  |
| 02-06-01886 | Shea Speculum Holder Flat (Shea Ear Speclum Holder to Fit Aperating Table) | 15 |  |  |  |
| 02-06-01887 | Sinuscope (Set Functional Endoscopic Sinus Surgery) | 25 |  |  |  |
| 02-06-01888 | Rhinoscope (Set Functional Rhinoscopy) | 25 |  |  |  |
| 02-06-01889 | Fibero Optic Flexible Laryngoscope(set,Flexible Laryngoscope with Light Sorce) | 50 |  |  |  |
| 02-06-01890 | Fibero Optic Flexible Nasofharyngoscope(Flexible-Rhino-Pharyngo-Laryngo-Filoro Scep Complete) | 50 |  |  |  |
| 02-06-01891 | Thoracic SurgeryRobertshaw Double Lumen Endotracheal Tube(Red Rubber)Large Size Left | 20Tube |  |  |  |
| 02-06-01892 | Robertshaw Double Lumen Endotracheal Tube(Red Rubber)Large Size Right | 20Tube |  |  |  |
| 02-06-01893 | Robertshaw Double Lumen Endotracheal Tube(Red Rubber)Medium Size Left | 20Tube |  |  |  |
| 02-06-01894 | Robertshaw Double Lumen Endotracheal Tube(Red Rubber)Mediem Size Right | 20Tube |  |  |  |
| 02-06-01895 | Robertshaw Double Lumen Endotracheal Tube(Red Rubber)Small Size Left | 20Tube |  |  |  |
| 02-06-01896 | Robertshaw Double Lumen Endotracheal Tube(Red Rubber)Small Size Left | 20Tube |  |  |  |
| 02-06-01897 | Dispossable Pleural Aspiration Sets | 1000Sets |  |  |  |
| 02-06-01898 | Doyen Rib Rasputories FK 400R | 3 |  |  |  |
| 02-06-01899 | Doyen Rib Rasputories FK 401R | 3 |  |  |  |
| 02-06-01900 | Doyen Rib Rasputories FK 402R | 3 |  |  |  |
| 02-06-01901 | Doyen Rib Rasputories FK 403R | 3 |  |  |  |
| 02-06-01902 | Doyen Rib Rasputories FK 408R | 3 |  |  |  |
| 02-06-01903 | Doyen Rib Rasputories FK 409R | 3 |  |  |  |
| 02-06-01904 | Semb Rib Raspatories FK 381R | 3 |  |  |  |
| 02-06-01905 | Semb Rib Raspatories FK 382R | 3 |  |  |  |
| 02-06-01906 | Semb Rib Raspatories FK 383R | 3 |  |  |  |
| 02-06-01907 | Semb Rib Raspatories FK 384R | 3 |  |  |  |
| 02-06-01908 | Semb Rib Raspatories FK 387R | 3 |  |  |  |
| 02-06-01909 | Laugen Beck Lambotte and Alexander Rib Raspatories360 | 3 |  |  |  |
| 02-06-01910 | Laugen Beck Lambotte and Alexander Rib Raspatories 357 | 3 |  |  |  |
| 02-06-01911 | Laugen Beck Lambotte and Alexander Rib Raspatories 358 | 3 |  |  |  |
| 02-06-01912 | Laugen Beck Lambotte and Alexander Rib Raspatories 420 | 3 |  |  |  |
| 02-06-01913 | Sellors Rib Sbreaders and Contractors FR 840 R | 10 |  |  |  |
| 02-06-01914 | GiGili wire Saw FH 413 R | 10Pack |  |  |  |
| 02-06-01915 | GiGili wire Saw FH 414 R | 10Pack |  |  |  |
| 02-06-01916 | GiGili wire Saw FH 415 R | 10Pack |  |  |  |
| 02-06-01917 | GiGili wire Saw FH 430R | 10Pack |  |  |  |
| 02-06-01918 | GiGili Handles FH 48 R | 8Handles |  |  |  |
| 02-06-01919 | Venae Sectio Set BN 820 R (In Meta case) | 10sets |  |  |  |
| 02-06-01920 | TracheOstomy Sets FA 954 R (In Meta case) | 10sets |  |  |  |
| 02-06-01921 | Special requirments for cardiac centerFixed core guide wire PTFE - coated straight tip , 0.018 , L 150cm | 50 |  |  |  |
| 02-06-01922 | Fixed core guide wire PTFE - coated straight tip , 0.021 , L 150cm | 300 |  |  |  |
| 02-06-01923 | Fixed core exchange guide wire PTFE - coated straight tip , 0.032 , L 260cm | 200 |  |  |  |
| 02-06-01924 | Fixed core exchange guide wire PTFE - coated J-curve , 0.032 , L 260cm, J-3mm | 200 |  |  |  |
| 02-06-01925 | bracheal \ paediatric sheath introducer with mini guide wire , F4 0.021" | 150 |  |  |  |
| 02-06-01926 | bracheal \ paediatric sheath introducer with mini guide wire , F5 0.021" | 250 |  |  |  |
| 02-06-01927 | Sheath introducer with mini guide wire , F5 0.038" | 250 |  |  |  |
| 02-06-01928 | Sheath introducer with mini guide wire , F6 0.038" | 500 |  |  |  |
| 02-06-01929 | Sheath introducer with mini guide wire , F7 0.038" | 500 |  |  |  |
| 02-06-01930 | Sheath introducer with mini guide wire , F8 0.038" | 500 |  |  |  |
| 02-06-01931 | Sheath introducer with mini guide wire , F9 0.038" | 100 |  |  |  |
| 02-06-01932 | V/P sheath introducer , F6 0.032" straight | 500 |  |  |  |
| 02-06-01933 | V/P sheath introducer , F7 0.032" straight | 500 |  |  |  |
| 02-06-01934 | V/P sheath introducer , F8 0.032" straight | 500 |  |  |  |
| 02-06-01935 | Schoon maker technique catheter high flow , 0.038" F7 | 100 |  |  |  |
| 02-06-01936 | Coronary bipass technique , internal mammary , supertorque plus 6F | 50 |  |  |  |
| 02-06-01937 | Coronary bipass technique , internal mammary , high flow 7F | 50 |  |  |  |
| 02-06-01938 | Angle pigtail catheter super torque plus 110cm , 5.2F PIG-145 | 150 |  |  |  |
| 02-06-01939 | Angle pigtail catheter super torque plus 110cm , 6F PIG-146 | 150 |  |  |  |
| 02-06-01940 | Ventricular angled pigtail van tasseltechnique , 110cm, pig 145 , 6SH 7F high flow | 150 |  |  |  |
| 02-06-01941 | Double lumen catheters angled pigtail 145 , 8F, 0.038" 12SH 110cm | 150 |  |  |  |
| 02-06-01942 | TC BC cobra- 2 , 0.035" 7F 80 | 200 |  |  |  |
| 02-06-01943 | TC BC SDW - 2 , 0.035" 7F 100 | 100 |  |  |  |
| 02-06-01944 | Left coronary judkine technique (100cm) supertorque plus , JL 3.5 | 200 |  |  |  |
| 02-06-01945 | Left coronary judkine technique (100cm) supertorque plus , JL 5 | 200 |  |  |  |
| 02-06-01946 | Left coronary judkine technique (100cm) supertorque plus , JL 6 | 100 |  |  |  |
| 02-06-01947 | Right coronary judkine technique (100cm) supertorque plus , JR 3.5 | 100 |  |  |  |
| 02-06-01948 | Right coronary judkine technique (100cm) supertorque plus , JR 5 | 100 |  |  |  |
| 02-06-01949 | Right coronary judkine technique (100cm) supertorque plus , JR 6 | 100 |  |  |  |
| 02-06-01950 | Right coronary judkine technique (100cm) supertorque plus , JR 3.5 | 50 |  |  |  |
| 02-06-01951 | Right coronary judkine technique (100cm) supertorque plus , JR 4 | 50 |  |  |  |
| 02-06-01952 | Right coronary judkine technique (100cm) supertorque plus , JR 5 | 50 |  |  |  |
| 02-06-01953 | Right coronary judkine technique (100cm) supertorque plus , JR 6 | 50 |  |  |  |
| 02-06-01954 | Marker band quanticor catheter 100cm , JL 4 , high flow 7F | 50 |  |  |  |
| 02-06-01955 | Marker band quanticor catheter 100cm , JR 4 , high flow 7F | 50 |  |  |  |
| 02-06-01956 | Marker band quanticor catheter 100cm , straight pigtail 8SH , high flow 7F | 50 |  |  |  |
| 02-06-01957 | Marker band quanticor catheter 100cm , pigtail 8F | 50 |  |  |  |
| 02-06-01958 | Coronary bipass technique (100cm) , left coronary bipass supertorque plus 5.2F | 25 |  |  |  |
| 02-06-01959 | Coronary bipass technique (100cm) , right coronary bipass supertorque plus 5.2F | 25 |  |  |  |
| 02-06-01960 | Coronary bipass technique (100cm) , left coronary bipass supertorque plus 6F | 50 |  |  |  |
| 02-06-01961 | Coronary bipass technique (100cm) , right coronary bipass supertorque plus 6F | 50 |  |  |  |
| 02-06-01962 | Coronary bipass technique (100cm) , left coronary bipass supertorque plus 7F | 50 |  |  |  |
| 02-06-01963 | Coronary bipass technique (100cm) , right coronary bipass supertorque plus 7F | 50 |  |  |  |
| 02-06-01964 | Coronary bipass technique (100cm) , right coronary bipass stander 8F | 50 |  |  |  |
| 02-06-01965 | Coronary bipass technique (100cm) , left coronary bipass stander 8F | 50 |  |  |  |
| 02-06-01966 | Long sheath set 7F | 60 |  |  |  |
| 02-06-01967 | One- piece needle , thin wall , 20G 0.021" L 5 cm | 500 |  |  |  |
| 02-06-01968 | One- piece needle , thin wall , 21G 0.021" L 3.8 cm | 600 |  |  |  |
| 02-06-01969 | J-Atrial leads L100 cm 5F 13mm J-Atrial tip radius | 5 |  |  |  |
| 02-06-01970 | Pervenous lead introducer system , 8F | 50 |  |  |  |
| 02-06-01971 | Pervenous lead introducer system , 9F | 25 |  |  |  |
| 02-06-01972 | Video/cine film cart 205 | 6 |  |  |  |
| 02-06-01973 | Procedure cart 2000 (with roll- top closur) | 3 |  |  |  |
| 02-06-01974 | Europass , 1.5mm , 0.026" , 3.0/2.5 , 2cm L | 2 |  |  |  |
| 02-06-01975 | Europass , 2mm , 0.026" , 3.0/2.5 , 2cm L | 2 |  |  |  |
| 02-06-01976 | Europass , 2.5mm , 0.026" , 3.0/2.5 , 2cm L | 2 |  |  |  |
| 02-06-01977 | Europass , 3mm , 0.027" , 3.0/2.5 , 2cm L | 2 |  |  |  |
| 02-06-01978 | Europass , 3.5mm , 0.03" , 3.0/2.5 , 2cm L | 2 |  |  |  |
| 02-06-01979 | Europass , 4mm , 0.031" , 3.0/2.5 , 2cm L | 2 |  |  |  |
| 02-06-01980 | Europass , 2mm , 0.026" , 3.0/2.5 , 3cm L | 1 |  |  |  |
| 02-06-01981 | Europass , 2.5mm , 0.026" , 3.0/2.5 , 3cm L | 1 |  |  |  |
| 02-06-01982 | Europass , 3mm , 0.027" , 3.0/2.5 ,3cm L | 1 |  |  |  |
| 02-06-01983 | Europass , 3.5mm , 0.03" , 3.0/2.5 , 3cm L | 1 |  |  |  |
| 02-06-01984 | Europass , 4mm , 0.031" , 3.0/2.5 , 3cm L | 1 |  |  |  |
| 02-06-01985 | Super soft marval PTFE & 6 straight 180 cm , 0.021" | 10 |  |  |  |
| 02-06-01986 | Super soft marval PTFE & 6 J- curve 180 cm , 0.021" | 10 |  |  |  |
| 02-06-01987 | T weak torquing device | 20 |  |  |  |
| 02-06-01988 | Lightening - with glissade coating , 2 mm , 0.024" tipwler length 1.5cm | 1 |  |  |  |
| 02-06-01989 | Lightening - with glissade coating , 2.5 mm , 0.027" tipwler length 1.5cm | 1 |  |  |  |
| 02-06-01990 | Lightening - with glissade coating , 3 mm , 0.03" tipwler length 1.5cm | 1 |  |  |  |
| 02-06-01991 | Lightening - with glissade coating , 3.6 mm , 0.032" tipwler length 1.5cm | 1 |  |  |  |
| 02-06-01992 | Lightening - with glissade coating , 2 mm , 0.024" tipwler length 2.5cm | 3 |  |  |  |
| 02-06-01993 | Lightening - with glissade coating , 2.5 mm , 0.027" tipwler length 2.5cm | 2 |  |  |  |
| 02-06-01994 | Lightening - with glissade coating , 3 mm , 0.03" tipwler length 2.5cm | 2 |  |  |  |
| 02-06-01995 | Lightening - with glissade coating , 3.5 mm , 0.032" tipwler length 2.5cm | 4 |  |  |  |
| 02-06-01996 | "STORQ" stearable guide wire with SLX coating , super soft , assorted types& sizes | 10 |  |  |  |
| 02-06-01997 | Stabilizer marker wire , 0.014 , 0.014" , supersoft , L 300cm straight | 10 |  |  |  |
| 02-06-01998 | Super soft reflex assorted types & sizes | 15 |  |  |  |
| 02-06-01999 | Cinel III extension wire , 0.014 , L 145 cm , straight | 40 |  |  |  |
| 02-06-02000 | Palmaz schats ballon catheter expandable stent with the revolution ary power grip SDS , L 15mm , 3 mm PR | 3 |  |  |  |
| 02-06-02001 | Palmaz schats ballon catheter expandable stent with the revolution ary power grip SDS , L 15mm , 3.6 mm PR | 3 |  |  |  |
| 02-06-02002 | Palmaz schats ballon catheter expandable stent with the revolution ary power grip SDS , L 15mm , 4 mm PR | 3 |  |  |  |
| 02-06-02003 | Stent rapid exchange assorted types & sizes | 6 |  |  |  |
| 02-06-02004 | Central venous catheter assorted types& sizes | 20000 |  |  |  |
| 02-06-02005 | Swan - Ganz type assorted types & sizes | 400 |  |  |  |
| 02-06-02006 | Wooden stir sticks 6a9Y3 | 1000 |  |  |  |
| 02-06-02007 | Jamshidi - swaim bone marrow biopsy needle S.S in pcs | 1000 |  |  |  |
| 02-06-02008 | Islam bone marrow biopsy needle S.S in pcs | 1000 |  |  |  |
| 02-06-02009 | Dish for laminating &thermoforming (modular adaptor for vacum formed sockets) | 120 |  |  |  |
| 02-06-02010 | Spicalized medical supplies for cardiac center :-Secalon T ® I.V canula 16G/1.7 x30mm ,148ml /min | 1000 PCS |  |  |  |
| 02-06-02011 | Secalon T ® I.V canula 18G/1.2 x90mm ,61ml /min | 750 pcs |  |  |  |
| 02-06-02012 | Intravenous canula (Insyte-W)18 Gax13/4 in.97ml/min (arterial )1.3 x44mm | 1000 pcs |  |  |  |
| 02-06-02013 | I.V canula (Arterial ) 20G 11/4 " , 1.1x32mm 60ml /min(Introcan) | 750pcs |  |  |  |
| 02-06-02014 | Dosmes 1.D 4005 LOT No.243601 | 750pcs |  |  |  |
| 02-06-02015 | Dosmes 2.Bentley Disposable Dome D-240 | 750 |  |  |  |
| 02-06-02016 | 3.Way-stopcock system for infusion therapy and pressure monitoring (Disco FIX) ® | 2000pcs |  |  |  |
| 02-06-02017 | Temporary pace maker lead 5F | 50 |  |  |  |
| 02-06-02018 | Temporary pace maker lead 6F | 50 |  |  |  |
| 02-06-02019 | Temporary pace maker lead 7F | 50 |  |  |  |
| 02-06-02020 | Rediology :-Panoramic X-ray cassettes size 6x12(inch) (curved) | 10 |  |  |  |
| 02-06-02021 | Safe light | 5 |  |  |  |
| 02-06-02022 | Myringotomy set | 1 |  |  |  |
| 02-06-02023 | Otoplasty set | 1 |  |  |  |
| 02-06-02024 | Ear microsurgery set | 1 |  |  |  |
| 02-06-02025 | Nasal septum surgery set | 1 |  |  |  |
| 02-06-02026 | Rhinoplasty set | 1 |  |  |  |
| 02-06-02027 | Tonsilloctomy & adenoctomy set | 1 |  |  |  |
| 02-06-02028 | Paranasal sinuses surgery set | 1 |  |  |  |
| 02-06-02029 | Tracheostomy set | 1 |  |  |  |
| 02-06-02030 | Neck dissection set | 1 |  |  |  |
| 02-06-02031 | Instruments for fase lifting | 1 |  |  |  |
| 02-06-02032 | ENT basic instrument set for out patient examination & treatment | 1 |  |  |  |
| 02-06-02033 | Stamm berger FESS inst. Set | 1 |  |  |  |
| 02-06-02034 | Laryngoscope adult set | 1 |  |  |  |
| 02-06-02035 | Laryngoscope pediatric set | 1 |  |  |  |
| 02-06-02036 | Bronchoscope adult set | 1 |  |  |  |
| 02-06-02037 | Bronchoscope pediatric set | 1 |  |  |  |
| 02-06-02038 | Esophagoscopy adult set | 1 |  |  |  |
| 02-06-02039 | Esophagoscopy pediatric set | 1 |  |  |  |
| 02-06-02040 | Oto drill (shea) | 2 |  |  |  |
| 02-06-02041 | Bed matress | 1500 |  |  |  |
| 02-06-02042 | Inove - Ballone , PTMC - 30 | 5 |  |  |  |
| 02-06-02043 | Inove - Ballone , PTMC - 28 | 5 |  |  |  |
| 02-06-02044 | Inove - Ballone , PTMC - 24 | 5 |  |  |  |
| 02-06-02045 | Inove - Ballone , PTMC - 22 | 5 |  |  |  |
| 02-06-02046 | Inove - Ballone , PTMC - 20 | 5 |  |  |  |
| 02-06-02047 | Coils , MR eye emboligation coil , size 4 | 5 |  |  |  |
| 02-06-02048 | Coils , MR eye emboligation coil , size 8 | 5 |  |  |  |
| 02-06-02049 | Tracheal Tube,Endobronchial Twin Lumen Tube Without Carina Hook Left Bronchus, Siliconised PVC 5.0mm ID (Small) (100 Tube). | 50(Cartons) |  |  |  |
| 02-06-02050 | Tracheal Tube,Endobronchial Twin Lumen Tube Without Carina Hook Left Bronchus, Siliconised PVC 5.5mm ID (Medium) (150 Tube). | 75(Cartons) |  |  |  |
| 02-06-02051 | Tracheal Tube,Endobronchial Twin Lumen Tube Without Carina Hook Left Bronchus, Siliconised PVC 6.0mm ID (Large) (100 Tube). | 50(Cartons) |  |  |  |
| 02-06-02052 | Cobbs Type Reusable Tracheal Tube Connector 8.5-10.0mm (50 Connectors). | 5Pakes |  |  |  |
| 02-06-02053 | Nasopharyngeal Airway, Ivory PVC 6.0mm ID (20 Tubes) | 2(Cartons) |  |  |  |
| 02-06-02054 | Nasopharyngeal Airway, Ivory PVC 7.0mm ID (20 Tubes) | 2(Cartons) |  |  |  |
| 02-06-02055 | Nasopharyngeal Airway, Ivory PVC 8.0mm ID (20 Tubes) | 2(Cartons) |  |  |  |
| 02-06-02056 | Nasopharyngeal Airway, Ivory PVC 9.0mm ID (20 Tubes) | 2(Cartons) |  |  |  |
| 02-06-02057 | Chest Drainage System | 2000 Systems |  |  |  |
| 02-06-02058 | AmbulatoryChest Drainage System (200Systems) | 40Box |  |  |  |
| 02-06-02059 | Enteral Feeding System Prima 6F . | 100 Tubes |  |  |  |
| 02-06-02060 | Enteral Feeding System Prima 8F . | 100 Tubes |  |  |  |
| 02-06-02061 | Enteral Feeding System Prima 1000ml Bag . | 200Bags |  |  |  |
| 02-06-02062 | Autoclavable Tape,with Indicator (500 Tapes) | 50Packs |  |  |  |
| 02-06-02063 | Film,Nylon 300m reels,Cgauge 7.5cm Layflat Width | 5Reels |  |  |  |
| 02-06-02064 | Film,Nylon 300m reels,Cgauge 10.0cm Layflat Width | 10Reels |  |  |  |
| 02-06-02065 | Film,Nylon 300m reels,Cgauge 15.00cm Layflat Width | 10Reels |  |  |  |
| 02-06-02066 | Film,Nylon 300m reels,Cgauge 25.00cm Layflat Width | 10Reels |  |  |  |
| 02-06-02067 | Nylon Bags 30x10cm (200 Bags) | 2 Cartons |  |  |  |
| 02-06-02068 | Nylon Bags 30x15cm (200 Bags) | 2 Cartons |  |  |  |
| 02-06-02069 | Nylon Bags 46x20cm (200 Bags) | 2 Cartons |  |  |  |
| 02-06-02070 | Nylon Bags 46x30cm (200 Bags) | 2 Cartons |  |  |  |
| 02-06-02071 | Tracheos Tomy Tube 6.0mm ID | 10 ctn of 10 pcs |  |  |  |
| 02-06-02072 | Tracheos Tomy Tube 7.0mm ID | 10 ctn of 10 pcs |  |  |  |
| 02-06-02073 | Tracheos Tomy Tube 7.5mm ID | 10 ctn of 10 pcs |  |  |  |
| 02-06-02074 | Tracheos Tomy Tube 8.0mm ID | 10 ctn of 10 pcs |  |  |  |
| 02-06-02075 | Tracheos Tomy Tube 9.0mm ID | 10 ctn of 10 pcs |  |  |  |
| 02-06-02076 | Tracheos Tomy Tube 10.0mm ID | 10 ctn of 10 pcs |  |  |  |
| 02-06-02077 | Tracheos Tomy Tube 3.0mm ID | 3 ctn of 10 pcs |  |  |  |
| 02-06-02078 | Tracheos Tomy Tube 3.5mm ID | 3 ctn of 10 pcs |  |  |  |
| 02-06-02079 | Tracheos Tomy Tube 4.5mm ID | 3 ctn of 10 pcs |  |  |  |
| 02-06-02080 | Tracheos TTube 5.0mm ID | 3 ctn of 10 pcs |  |  |  |
| 02-06-02081 | Tracheos Tomy Tube 3.0mm ID | 3 ctn of 10 pcs |  |  |  |
| 02-06-02082 | Yconnector of VP or VA Shunt | 50 |  |  |  |
| 02-06-02083 | Straight Connector for VP or VA Shunt | 50 |  |  |  |
| 02-06-02084 | Right Angle Connector for VP or VA Shunt | 50 |  |  |  |
| 02-06-02085 | InFlatable (Pneumatic) Leg Stoekings Adult | 6 |  |  |  |
| 02-06-02086 | InFlatable (Pneumatic) Leg Stoekings Child. | 6 |  |  |  |
| 02-06-02087 | Disposable Pleural Aspiration Sets | 1000 Sets |  |  |  |
| 02-06-02088 | Doyen Rib Rasputories FK 400R | 3 |  |  |  |
| 02-06-02089 | Doyen Rib Rasputories FK 401R | 3 |  |  |  |
| 02-06-02090 | Doyen Rib Rasputories FK 402R | 3 |  |  |  |
| 02-06-02091 | Doyen Rib Rasputories FK 403R | 3 |  |  |  |
| 02-06-02092 | Doyen Rib Rasputories FK 408R | 3 |  |  |  |
| 02-06-02093 | Doyen Rib Rasputories FK 409R | 3 |  |  |  |
| 02-06-02094 | Semb Rib Raspatories FK 381R | 3 |  |  |  |
| 02-06-02095 | Semb Rib Raspatories FK 382R | 3 |  |  |  |
| 02-06-02096 | Semb Rib Raspatories FK 383R | 3 |  |  |  |
| 02-06-02097 | Semb Rib Raspatories FK 384R | 3 |  |  |  |
| 02-06-02098 | Semb Rib Raspatories FK 387R | 3 |  |  |  |
| 02-06-02099 | Laugen Beck Lambotte and Contractors FB 840R | 10 |  |  |  |
| 02-06-02100 | GiGili wire Saw FH 413 R | 10 |  |  |  |
| 02-06-02101 | GiGili wire Saw FH 414 R | 10 |  |  |  |
| 02-06-02102 | GiGili wire Saw FH 415 R | 10 |  |  |  |
| 02-06-02103 | GiGili wire Saw FH 430R | 10 |  |  |  |
| 02-06-02104 | GiGili Handles FH 48 R | 8 |  |  |  |
| 02-06-02105 | Sterilit Oil Spray (300) | 100 |  |  |  |
| 02-06-02106 | Sterilit Insutrument Oil Ja 598 | 50Bottle |  |  |  |
| 02-06-02107 | Venae Sectio Set BN 820 R (In Meta case) | 10Set |  |  |  |
| 02-06-02108 | TracheOstomy Sets FA 954 R (In Meta case) | 10Set |  |  |  |
| 02-06-02109 | Radiology :Ektascan EB – 24x30 cm , (box of 100 film ) | 20 box |  |  |  |
| 02-06-02110 | IM IB 3 VN7K film 35 x43 cm , (box of 100 film) | 25 box |  |  |  |
| 02-06-02111 | Special requirment for teaching laboratories :Bijou Bottle,7ml | 2000 |  |  |  |
| 02-06-02112 | Universal Container,30ml | 2000 |  |  |  |
| 02-06-02113 | Blood Collection Tubes (10ml) Containing 160 Iu Lithium Heparin . | 1000 |  |  |  |
| 02-06-02114 | Blood Collection Tubes (10ml) Containing E.D.T.A | 1000 |  |  |  |
| 02-06-02115 | Centrifnge Test Tube with Stopper,110x17mm. | 1000 |  |  |  |
| 02-06-02116 | Plain Cappillary Tubes (15ml). | 1000 |  |  |  |
| 02-06-02117 | Round Bottomed Test Tube with Stopper (15ml). | 1000 |  |  |  |
| 02-06-02118 | Test Tubes,10.5x63.5mm Type LP3. | 1000 |  |  |  |
| 02-06-02119 | Graduated Pipette 1ml. | 500 |  |  |  |
| 02-06-02120 | Graduated Pipette 5ml. | 500 |  |  |  |
| 02-06-02121 | Graduated Pipette 10ml. | 500 |  |  |  |
| 02-06-02122 | Cellulose Acetate Strips | 200 |  |  |  |
| 02-06-02123 | Aerodisc (Disposable Filter Assembly)Sterile,1.2mm | 1000 |  |  |  |
| 02-06-02124 | Aerodisc (Disposable Filter Assembly)Sterile,0.2mm |  |  |  |  |
| 02-06-02125 | Millex - Gs Filter Unil,Sterile,Pore Size 0.22mm. | 1000 |  |  |  |
| 02-06-02126 | Needles,Sterile,0.8x40mm | 500 |  |  |  |
| 02-06-02127 | Pipette Tips 5ml. | 1000 |  |  |  |
| 02-06-02128 | Pipette Tips 10ml. | 1000 |  |  |  |
| 02-06-02129 | Pipette Tips 1ml. | 1000 |  |  |  |
| 02-06-02130 | Volac Disposable Pastenr Pipettes 230mm Cutjet and Pro-Plugged 1ml and 15ml. | 2000 |  |  |  |
| 02-06-02131 | Syringe,Sterile 2ml. | 500 |  |  |  |
| 02-06-02132 | Syringe,Sterile 10ml. | 500 |  |  |  |
| 02-06-02133 | Syringe,Sterile 5ml. | 500 |  |  |  |
| 02-06-02134 | Syringe,Sterile 20ml. | 500 |  |  |  |
| 02-06-02135 | Teraski 60 well Microtest Plates with Lid,Sterile. | 10000 |  |  |  |
| 02-06-02136 | Teraski 72 well Microtest Plates with Lid,Sterile. | 10000 |  |  |  |
| 02-06-02137 | Microliter Syringe (Hamilton N705 with Automatic Volume Dispens or N(Distribnter). | 20 |  |  |  |
| 02-06-02138 | Microliter Syringe (Hamilton N 725 with Automatic Volume Dispens or N(Distribnter). | 20 |  |  |  |
| 02-06-02139 | Microliter Syringe (Hamilton Syring with 6Teeth) 1ml And 0.5ml . | 10 |  |  |  |
| 02-06-02140 | Scrnbbed Nylon wool . | 1Kgm |  |  |  |
| 02-06-02141 | WBC. Chambor (Neubauer Chamber Cell Connting Grid). | 5 |  |  |  |
| 02-06-02142 | Nitrocellulose Filter Millipore Nucleic Acid Hybridization 25 HAWP (2.2cmx18cm). | 1000 (or 3Roll) |  |  |  |
| 02-06-02143 | Thick Filter Peper (20cmx18cm) | 1000 |  |  |  |
| 02-06-02144 | Thick Filter Peper (2cmx18cm) | 1000 |  |  |  |
| 02-06-02145 | Thick Filter Peper (10cmx18cm) | 1000 |  |  |  |
| 02-06-02146 | Sephadex Powder. | 1Kgm |  |  |  |
| 02-06-02147 | Eppendorf Microtube (1.5ml) Dimention (38x13mm). | 5000 |  |  |  |
| 02-06-02148 | Gange Needle. | 1000 |  |  |  |
| 02-06-02149 | Whatman Filter Paper Number 1 Chromatography Paper 3mm Chroma And17 Charoma . | 1000 |  |  |  |
| 02-06-02150 | Cryo Tubes with Screw Stopper (38x12.5mm) | 100 |  |  |  |
| 02-06-02151 | Bottle,Widemouth, Polypropylene ,Autoclavable Size10ml. | 100 |  |  |  |
| 02-06-02152 | Bottle,Widemouth, Polypropylene ,Autoclavable Size25ml. | 100 |  |  |  |
| 02-06-02153 | Bottle ,Square,Polypropylene,Autoclavable,60ml. | 100 |  |  |  |
| 02-06-02154 | Bottle Aspirator Polythene (with Polypropylene Stopcock Carrying Handle )25-50Lit. | 2 |  |  |  |
| 02-06-02155 | Calture Media Disposable Bijon (7ml Polypropylene Cmtainer with Polethylene Scrow Cap). | 1000 |  |  |  |
| 02-06-02156 | Bottle Mecartney (Glass,Aluminium Screw Cap And Rubber Line 14ml. | 1000 |  |  |  |
| 02-06-02157 | Bottle Mecartney (Glass,Aluminium Screw Cap And Rubber Line 28ml. | 1000 |  |  |  |
| 02-06-02158 | Bottle Universul,Glass And Disposable 28ml with Polypropylene Seml Screw Cap. | 1000 |  |  |  |
| 02-06-02159 | Bottle Universul,Glass And Disposable 30ml with Polypropylene Seml Screw Cap. | 1000 |  |  |  |
| 02-06-02160 | Beaker ,Lowfrom And Tallfrom(25cc) | 50 |  |  |  |
| 02-06-02161 | Beaker ,Lowfrom And Tallfrom(50cc) | 50 |  |  |  |
| 02-06-02162 | Beaker ,Lowfrom And Tallfrom(500cc) | 50 |  |  |  |
| 02-06-02163 | Beaker ,Lowfrom And Tallfrom(1000cc) | 50 |  |  |  |
| 02-06-02164 | Test Tubes ,Glass,Polypropylene, Disposable Polystorene (12.5cc) | 100 |  |  |  |
| 02-06-02165 | Test Tubes ,Glass,Polypropylene, Disposable Polystorene (13cc) | 100 |  |  |  |
| 02-06-02166 | Test Tubes ,Glass,Polypropylene, Disposable Polystorene (23cc) | 100 |  |  |  |
| 02-06-02167 | Test Tubes Rack / Stands Stainless Steel. | 10 |  |  |  |
| 02-06-02168 | Test Tubes Rack / Stands Stainless wood. | 10 |  |  |  |
| 02-06-02169 | Micro Test Tube 0.7ml | 1000 |  |  |  |
| 02-06-02170 | Micro Test Tube 0.5ml | 1000 |  |  |  |
| 02-06-02171 | Micro Tubes PCR 0.2ml(Rnase And Dnse Free) | 1000 |  |  |  |
| 02-06-02172 | Micro Tubes PCR 0.5ml(Rnase And Dnse Free) | 1000 |  |  |  |
| 02-06-02173 | Racks Micro Test Tubes. | 10 |  |  |  |
| 02-06-02174 | Thermometer Wall(-20 ,+50 C | 2 |  |  |  |
| 02-06-02175 | Platinum Wire | 1(Roll) |  |  |  |
| 02-06-02176 | Diamard Per | 2 |  |  |  |
| 02-06-02177 | Whatman Syringe Filtera with Prefilter Range Pore Size 0.2mm | 1000 |  |  |  |
| 02-06-02178 | Whatman Syringe Filtera with Prefilter Range Pore Size 2.7mm | 1000 |  |  |  |
| 02-06-02179 | Bench Surface Protector | 2(Pack) |  |  |  |
| 02-06-02180 | Drying Cabinet Large . | 2 |  |  |  |
| 02-06-02181 | Draining Rack Wall Mounted And Bench top 72Place. | 2 |  |  |  |
| 02-06-02182 | Draining Rack Wall Mounted And Bench top 22Place. | 2 |  |  |  |
| 02-06-02183 | Centrifuge tubes , oakridge , 10-50ml teflon ,antoclavable , transparent | 100 for each |  |  |  |
| 02-06-02184 | Centrifuge tubes , oakridge , 10-85ml polycarboneate (A) | 100 for each |  |  |  |
| 02-06-02185 | Centrifuge tubes polypropylene (A) 10-40ml | 100 for each |  |  |  |
| 02-06-02186 | Centrifuge tubes, conical 15ml , 150ml | 100 for each |  |  |  |
| 02-06-02187 | Centrifuge tubes, widemonth HDPE (high density polyethylene) 250ml | 100 for each |  |  |  |
| 02-06-02188 | Flask boiling , wide neck , 100 , 250 , 500cc | 100 for each |  |  |  |
| 02-06-02189 | Flask , cmical , erlenmeyer , transparnt, Antoclavable 25 , 50 , 750 , 500 , 100ml | 50 for each |  |  |  |
| 02-06-02190 | Volametric Flask , 5,15,25,50,500,250,1000,2000,5000ml | 25 for each |  |  |  |
| 02-06-02191 | Funnel glass (Cdia 35,45,80,100,200mm) | 25 for each |  |  |  |
| 02-06-02192 | Ultra tubes, thincoalled, polypropylene copolyrner, 13.5ml autoclavable | 500 |  |  |  |
| 02-06-02193 | Ultra tubes, thincoalled, polypropylene copolyrner, 38.5ml autoclavable | 500 |  |  |  |
| 02-06-02194 | Cylinders, glass, graduated 10,cc | 25 |  |  |  |
| 02-06-02195 | Cylinders, glass, graduated 25,cc | 26 |  |  |  |
| 02-06-02196 | Cylinders, glass, graduated 50,cc | 27 |  |  |  |
| 02-06-02197 | Cylinders, glass, graduated 100,cc | 28 |  |  |  |
| 02-06-02198 | Cylinders, glass, graduated 250,cc | 29 |  |  |  |
| 02-06-02199 | Cylinders, glass, graduated 500,cc | 30 |  |  |  |
| 02-06-02200 | Cylinders, glass, graduated 1000,cc | 31 |  |  |  |
| 02-06-02201 | Disfensers (Range 1-5ml) | 10 |  |  |  |
| 02-06-02202 | Disfensers (Range 2-10ml) | 10 |  |  |  |
| 02-06-02203 | Disfensers (Range 5-25ml) | 10 |  |  |  |
| 02-06-02204 | Disfensers (Range 10-50ml) | 10 |  |  |  |
| 02-06-02205 | Automatic pipetts volume 10 ml | 10 |  |  |  |
| 02-06-02206 | Automatic pipetts volume 20 ml | 10 |  |  |  |
| 02-06-02207 | Automatic pipetts volume 25 ml | 10 |  |  |  |
| 02-06-02208 | Automatic pipetts volume 50 ml | 10 |  |  |  |
| 02-06-02209 | Automatic pipetts volume 100 ml | 10 |  |  |  |
| 02-06-02210 | Automatic pipetts volume 1000 ml | 10 |  |  |  |
| 02-06-02211 | Variable volume reference pipette 0.1-2.5ml | 10 |  |  |  |
| 02-06-02212 | Variable volume reference pipette 0.5-10ml | 10 |  |  |  |
| 02-06-02213 | Variable volume reference pipette 2-20ml | 10 |  |  |  |
| 02-06-02214 | Variable volume reference pipette 10-100ml | 10 |  |  |  |
| 02-06-02215 | Pastur pipette | 1000 |  |  |  |
| 02-06-02216 | Pastur glass | 1000 |  |  |  |
| 02-06-02217 | Pastur disposable preplugged with teats | 1000 |  |  |  |
| 02-06-02218 | Sample bags , polythene, transparent , self eal with white panels , thickness 0.1mm antoclavable | 1 pack |  |  |  |
| 02-06-02219 | Staining Box , electrophoresis (500ml) | 2 |  |  |  |
| 02-06-02220 | Tapecadhesive, autodavable width 2.5mm x 60m. Roll | 3 |  |  |  |
| 02-06-02221 | Markers, quick drying, general purpose, Black | 5 |  |  |  |
| 02-06-02222 | Magnets bar 16 x 10mm | 25 |  |  |  |
| 02-06-02223 | RCR tubes & strips (0.2 & 0.5ml tnbes strips of 8 x 0.2ml) | 1000 for each |  |  |  |
| 02-06-02224 | Special requirement for cardiac center : Wire reinforced angle tip with 1/4 connector , assorted sizes | 200 |  |  |  |
| 02-06-02225 | Wire reinforced angle tip with3/8 connector , assorted sizes | 200 |  |  |  |
| 02-06-02226 | Two stage –Atrial- canal wire reinforced cannula with ½ “ non vented connector , assorted sizes | 1200 |  |  |  |
| 02-06-02227 | Wire reinforced venous cannula straight tip with 3/8” connector , assorted sizes | 2400 |  |  |  |
| 02-06-02228 | Pediatric straight tip with 1/4” connector , assorted sizes | 200 |  |  |  |
| 02-06-02229 | Adult curved tip 3/8” vented connector with flange , assorted sizes | 1800 |  |  |  |
| 02-06-02230 | Femoral cannula with 3/8” vented connector , assorted sizes | 200 |  |  |  |
| 02-06-02231 | Temporary pacemaker | 8 |  |  |  |
| 02-06-02232 | Temporary pacemaker leads | 16 |  |  |  |
| 02-06-02233 | Tube clamp | 200 |  |  |  |
| 02-06-02234 | PTA ballon | 100 |  |  |  |
| 02-06-02235 | Inflation device defferent sizes , for PTCA &volumloplasty | 100 |  |  |  |
| 02-06-02236 | Ballon volumloplasty catheter | 100 |  |  |  |
| 02-06-02237 | Femoral artery compression system (fenostop II) | 100 |  |  |  |
| 02-06-02238 | Rashkind arterial septosomy ballon catheter | 100 |  |  |  |
| 02-06-02239 | ASD closing device | 50 |  |  |  |
| 02-06-02240 | PDA closing device | 50 |  |  |  |
| 02-06-02241 | Surgical set for open heart surgery , complete | 12 |  |  |  |
| 02-06-02242 | Thoracic cannula , defferent sizes | 1600 |  |  |  |
| 02-06-02243 | Hand brush disposable | 2500 |  |  |  |
| 02-06-02244 | Special need for digestive tract surgery :Immune staining instruments for lymphoma | Qty for 5000 test |  |  |  |
| 02-06-02245 | Fles foot | 100 |  |  |  |
| 02-06-02246 | Disposable syringe BCG with needle , G27 3/8” | 144000 |  |  |  |