Annex 09 - Medical Equipment for Health Infrastructure repairs

| Code No. | Item description | Total | Unit |
| --- | --- | --- | --- |
| 02-09-00001 | PCI Motherboard, Pentium II 400 Mhz (Intel), 64 Mbytes RAM, Over 4 Gbytes HD,3.5" drive, 36X CD drive + Multimedia, SVGA (4 Mbytes video RAM) card and Monitor (Acer 15"),MS-Mouse, standard 104Key L/A Keyboard and minitower case (corrected description) (Computer), and should be supplied with mouse pad, screen filter, 10X10 Box of floppy disks (SONY) and Windows98, Office97,last version of antivirus software. | 43 |  |
| 02-09-00002 | HP LaserJet 6P(Printer) | 37 |  |
| 02-09-00003 | Toner Cartridge for HP6P (extra) | 63 |  |
| 02-09-00004 | APC, UPS-Backup Pro | 53 |  |
| 02-09-00005 | Generating set, diesel, 276 kVA, incl service parts for 2 years operation(Corrected description) | 4 |  |
| 02-09-00006 | Diesel Generating set, 1000KVA, 800Kw, 3Phase 380V,50Hz(Corrected description) | 2 |  |
| 02-09-00007 | Car repair tool set (metric) | 6 |  |
| 02-09-00008 | Car repair tool set (inch) | 6 |  |
| 02-09-00009 | Car body repair set (metric) | 6 |  |
| 02-09-00010 | Car body repair set (inch) | 6 |  |
| 02-09-00011 | Service tool set (metric) | 6 |  |
| 02-09-00012 | Service tool set (inch) | 6 |  |
| 02-09-00013 | Tool set (metric) | 21 |  |
| 02-09-00014 | Tool set (inch) | 21 |  |
| 02-09-00015 | portable car repair set (metric) | 30 |  |
| 02-09-00016 | Truck repair set (metric) | 6 |  |
| 02-09-00017 | Truck repair set (inch) | 6 |  |
| 02-09-00018 | Service tool kit (metric) | 30 |  |
| 02-09-00019 | Service tool kit (inch) | 30 |  |
| 02-09-00020 | Mechanical tool kit | 17 |  |
| 02-09-00021 | Mechanical tool kit | 17 |  |
| 02-09-00022 | Industrial tool kit (metric) | 17 |  |
| 02-09-00023 | Industrial tool kit (inch) | 17 |  |
| 02-09-00024 | Electrician tool kit (metric) | 30 |  |
| 02-09-00025 | Electrician tool kit (inch) | 30 |  |
| 02-09-00026 | Fine mechanic tool set (metric) | 30 |  |
| 02-09-00027 | Fine mechanic tool set (inch) | 30 |  |
| 02-09-00028 | Grinder, big | 8 |  |
| 02-09-00029 | Grinder, small | 8 |  |
| 02-09-00030 | Grinding disc, stone, small | 800 |  |
| 02-09-00031 | Grinding disc, metal, small | 800 |  |
| 02-09-00032 | Grinding disc, stone. Big | 800 |  |
| 02-09-00033 | Grinding disc, metal, big | 800 |  |
| 02-09-00034 | Drilling machine, 15mm drill head | 8 |  |
| 02-09-00035 | Drill bits, metal, set up to 12mm | 16 |  |
| 02-09-00036 | Drill bits, stone, set up to 12mm | 16 |  |
| 02-09-00037 | Electrical welding equipment, 220V, 120A, incl. all accessories(protection glass etc.) | 8 |  |
| 02-09-00038 | Stand saw for wood cutting | 8 |  |

| Code No. | Item description | Total | Unit |
| --- | --- | --- | --- |
| 02-09-00039 | Welding electrodes 2.5mm | 170 |  |
| 02-09-00040 | Car lift jack, 10 tons | 6 |  |
| 02-09-00041 | Set of: strethoscope light for car ignition, engine compression tester | 3 |  |
| 02-09-00042 | Water pump HEYCO, Germany | 12 |  |
| 02-09-00043 | Water pump HEYCO, Germany | 4 |  |
| 02-09-00044 | Water pump HEYCO, Germany | 4 |  |
| 02-09-00045 | Water pump HEYCO, Germany | 3 |  |
| 02-09-00046 | Car light adjustment unit | 2 |  |
| 02-09-00047 | Electric Wheel Balance Unit (220V) | 2 |  |
| 02-09-00048 | Set of weight for wheel balancing | 40 |  |
| 02-09-00049 | Car battery charger, 20A | 10 |  |
| 02-09-00050 | Thread Machine for plumbing pipes, incl. complete set of teeth for 1/2", 3/4", 1", 1 1/2", 1 3/4", 2", 2 1/2" | 10 |  |
| 02-09-00051 | Wheel alignment system | 2 |  |
| 02-09-00052 | Anesthesia machine, complete, with ventilator incl.Halothane and Isoflurane vaporizer and all spare parts and maintenance parts for a period of 2 years, Service and operation manuals in English only, installation by supplier, and training for 3 anaesthetists and maintenance engineers(one each governorate), FABIUS CE2 | 27 |  |
| 02-09-00053 | Servo Ventilator 900C, set of disposables, spare parts and maintenance for two years, training for doctors and engineers, full service and maintenance manuals in English | 19 |  |
| 02-09-00054 | Complete set of Bone Plates | 70 |  |
| 02-09-00055 | Complete set of K-Wire | 70 |  |
| 02-09-00056 | Complete set of K- Nails | 290 | set |
| 02-09-00057 | Complete set of Austin Moore prosthesis | 70 |  |
| 02-09-00058 | Complete set of K- Nail reamor | 70 |  |
| 02-09-00059 | K- Nail extractor | 9 |  |
| 02-09-00060 | Orthopedic drilling machine, 220V | 9 |  |
| 02-09-00061 | Orthopedic saw | 9 |  |
| 02-09-00062 | Set of bone drills | 9 |  |
| 02-09-00063 | AO and Schermann screw driver | 9 |  |
| 02-09-00064 | Pneumatic and elastic torniquets | 9 |  |
| 02-09-00065 | Pleural biopsy needle | 18 |  |
| 02-09-00066 | Bone narrow aspiration set | 18 |  |
| 02-09-00067 | Renal biopsy needle | 18 |  |
| 02-09-00068 | Menisectomy set, Drehmann, All manuals must be in English language, order for teaching material (video cassetts) if possible | 18 |  |
| 02-09-00069 | flexilux IITelescopes(Corrected description) | 6 |  |
| 02-09-00070 | flexilux IITelescopes (Corrected description) | 6 |  |
| 02-09-00071 | flexilux IITelescopes (Corrected description) | 6 |  |
| 02-09-00072 | Continous Flow Sheath | 6 |  |
| 02-09-00073 | Hysteroscope Sheath | 6 |  |
| 02-09-00074 | Inspection Sheath | 6 |  |
| 02-09-00075 | Obturator | 6 |  |
| 02-09-00076 | Portio Adapter | 6 |  |
| 02-09-00077 | Portio Adapter | 6 |  |
| 02-09-00078 | Mini-Telescope | 12 |  |

| Code No. | Item description | Total | Unit |  |
| --- | --- | --- | --- | --- |
| 02-09-00079 | Hysteroscope Sheat | 6 |  |  |
| 02-09-00080 | Hysteroscope Sheat | 6 |  |  |
| 02-09-00081 | ‎Obturator blunt | 6 |  |  |
| 02-09-00082 | Diagnosis Hys. Sheat | 6 |  |  |
| 02-09-00083 | Diagnosis Hys. Sheat | 6 |  |  |
| 02-09-00084 | Obturator blunt | 6 |  |  |
| 02-09-00085 | Forceps | 6 |  |  |
| 02-09-00086 | Forceps | 6 |  |  |
| 02-09-00087 | Scissors | 6 |  |  |
| 02-09-00088 | Scissors | 6 |  |  |
| 02-09-00089 | Grasping Scissors | 6 |  |  |
| 02-09-00090 | Grasping Scissors | 6 |  |  |
| 02-09-00091 | IUP-Grasping Forceps | 6 |  |  |
| 02-09-00092 | Working Unit | 6 |  |  |
| 02-09-00093 | Working Unit | 6 |  |  |
| 02-09-00094 | Resectoscope Sheats | 6 |  |  |
| 02-09-00095 | Resectoscope Sheats | 6 |  |  |
| 02-09-00096 | Monopolar Cable | 12 |  |  |
| 02-09-00097 | Monopolar Cable | 12 |  |  |
| 02-09-00098 | Monopolar Cable | 12 |  |  |
| 02-09-00099 | Electrode | 6 |  |  |
| 02-09-00100 | Electrode | 6 |  |  |
| 02-09-00101 | Electrode | 6 |  |  |
| 02-09-00102 | Electrode | 6 |  |  |
| 02-09-00103 | Electrode | 6 |  |  |
| 02-09-00104 | Electrode | 6 |  |  |
| 02-09-00105 | Electrode | 6 |  |  |
| 02-09-00106 | Electrode | 6 |  |  |
| 02-09-00107 | Surgical Laparoscope | 6 |  |  |
| 02-09-00108 | Stop cock | 12 |  |  |
| 02-09-00109 | Sealing cap | 24 |  |  |
| 02-09-00110 | Ring Applicator | 6 |  |  |
| 02-09-00111 | Trocar | 6 |  |  |
| 02-09-00112 | Trocar | 6 |  |  |
| 02-09-00113 | Trocar | 6 |  |  |
| 02-09-00114 | Bip. Forceps | 6 |  |  |
| 02-09-00115 | Bip. Forceps | 6 |  |  |
| 02-09-00116 | flexilux II Telescope | 6 |  |  |
| 02-09-00117 | flexilux II Telescope | 6 |  |  |
| 02-09-00118 | flexilux II Telescope | 6 |  |  |
| 02-09-00119 | Hysteromat Unit | 6 |  |  |
| 02-09-00120 | Mains Cable | 6 |  |  |
| 02-09-00121 | Silicon | 150 |  |  |
| 02-09-00122 | Balance | 6 |  |  |
| 02-09-00123 | Disp. Tubing set w. puncture pin | 150 |  |  |
| 02-09-00124 | Disp. Tubing set w. safe lock | 150 |  |  |
| 02-09-00125 | flexilux II Telescopes(Corected diagnostic) | 6 |  |  |
| 02-09-00126 | flexilux IITelescopes (Corrected diiagnostic) | 6 |  |  |
| 02-09-00127 | Illum. Trocar Sleeve System 5 | 6 |  |  |
| 02-09-00128 | Trocar | 6 |  |  |
| 02-09-00129 | Trocar | 6 |  |  |
| 02-09-00130 | Flexilux II Telescope | 6 |  |  |
| 02-09-00131 | Flexilux II telescopes | 6 |  |  |
| 02-09-00132 | Illum. Trocar Sleeve System 6.5 | 6 |  |  |
| 02-09-00133 | Trocar | 6 |  |  |
| 02-09-00134 | Trocar | 6 |  |  |
| 02-09-00135 | flexilux IITelescopes (Corrected description) | 6 |  |  |
| 02-09-00136 | flexilux IITelescopes (Corrected description) | 6 |  |  |
| 02-09-00137 | Flexilux II Video Laparoscope | 6 |  |  |
| 02-09-00138 | Flexilux II Video Laparoscope | 6 |  |  |
| 02-09-00139 | Ill. Trocar Sleeve System 10 | 6 |  |  |
| 02-09-00140 | Trocar | 6 |  |  |
| 02-09-00141 | Trocar | 6 |  |  |
| 02-09-00142 | Minioptic, 2.5mm | 12 |  |  |
| 02-09-00143 | Minioptic, 3mm | 12 |  |  |
| 02-09-00144 | Minioptic, flex. | 12 |  |  |
| 02-09-00145 | Cannula | 6 |  |  |
| 02-09-00146 | Cannula | 6 |  |  |
| 02-09-00147 | Dilatation | 6 |  |  |
| 02-09-00148 | Paediatric | 6 |  |  |
| 02-09-00149 | Dilation | 6 |  |  |
| 02-09-00150 | Paediatric Dilation | 6 |  |  |
| 02-09-00151 | Dilation Trocar | 6 |  |  |
| 02-09-00152 | Dilation Trocar | 6 |  |  |
| 02-09-00153 | Ring Applicator | 6 |  |  |
| 02-09-00154 | Stop Cock | 6 |  |  |
| 02-09-00155 | Sealing Cap | 6 |  |  |
| 02-09-00156 | Veress cannula, 10cm | 6 |  |  |
| 02-09-00157 | Veress cannula, 12cm | 6 |  |  |
| 02-09-00158 | Veress cannula, 15cm | 6 |  |  |
| 02-09-00159 | Trocar | 6 |  |  |
| 02-09-00160 | Trocar | 6 |  |  |
| 02-09-00161 | Trocar | 6 |  |  |
| 02-09-00162 | Trocar | 6 |  |  |
| 02-09-00163 | Trocar | 6 |  |  |
| 02-09-00164 | Trocar | 6 |  |  |
| 02-09-00165 | Trocar | 6 |  |  |
| 02-09-00166 | Trocar | 6 |  |  |
| 02-09-00167 | Trocar | 6 |  |  |
| 02-09-00168 | Trocar | 6 |  |  |
| 02-09-00169 | Trocar | 6 |  |  |
| 02-09-00170 | Trocar | 6 |  |  |
| 02-09-00171 | Trocar | 6 |  |  |
| 02-09-00172 | Trocar | 6 |  |  |
| 02-09-00173 | Trocar | 6 |  |  |
| 02-09-00174 | Dilatation | 6 |  |  |
| 02-09-00175 | Dilatation | 6 |  |  |
| 02-09-00176 | Dilatation | 6 |  |  |
| 02-09-00177 | Red. Sleeves | 6 |  |  |
| 02-09-00178 | Red. Sleeves | 6 |  |  |
| 02-09-00179 | Red. Sleeves | 6 |  |  |
| 02-09-00180 | Red. Sleeves | 6 |  |  |
| 02-09-00181 | Bipolar Coagulation Forceps | 6 |  |  |
| 02-09-00182 | Bipolar Coagulation Forceps | 6 |  |  |
| 02-09-00183 | Electrode (spare parts) | 10 |  |  |
| 02-09-00184 | Electrode (spare parts) | 10 |  |  |
| 02-09-00185 | Handle (spare parts) | 10 |  |  |
| 02-09-00186 | Sheats (spare parts) | 10 |  |  |
| 02-09-00187 | Bipolar Silicon Cable | 10 |  |  |
| 02-09-00188 | Bipolar Silicon Cable | 10 |  |  |
| 02-09-00189 | Bipolar Silicon Cable | 10 |  |  |
| 02-09-00190 | Bipolar Silicon Cable | 10 |  |  |
| 02-09-00191 | Bipolar Silicon Cable | 10 |  |  |
| 02-09-00192 | Bipolar Silicon Cable | 10 |  |  |
| 02-09-00193 | HF-Flexitronic Minicutter | 13 |  |  |
| 02-09-00194 | Pedal | 13 |  |  |
| 02-09-00195 | Suction Irrigation Tube | 6 |  |  |
| 02-09-00196 | Tips Ball | 6 |  |  |
| 02-09-00197 | Tips L Hook | 6 |  |  |
| 02-09-00198 | Needle, 10mm | 12 |  |  |
| 02-09-00199 | Needle, 15mm | 12 |  |  |
| 02-09-00200 | Suction Irrigation Red. Sleeve | 6 |  |  |
| 02-09-00201 | Tips Ball | 6 |  |  |
| 02-09-00202 | Tips J Hook | 6 |  |  |
| 02-09-00203 | Tips L Hook | 6 |  |  |
| 02-09-00204 | Dolphin Nose | 6 |  |  |
| 02-09-00205 | Spoon Forceps | 6 |  |  |
| 02-09-00206 | Cobra Forceps | 6 |  |  |
| 02-09-00207 | Grasping Forceps | 6 |  |  |
| 02-09-00208 | Allis Grasping Forceps | 6 |  |  |
| 02-09-00209 | Atraumatic Grasping Forceps | 6 |  |  |
| 02-09-00210 | Scissor Metzenbaum | 6 |  |  |
| 02-09-00211 | Scissor Metzenbaum | 6 |  |  |
| 02-09-00212 | Spoon Forceps | 6 |  |  |
| 02-09-00213 | Grasping Forceps | 6 |  |  |
| 02-09-00214 | Grasping Forceps | 6 |  |  |
| 02-09-00215 | Biopsy Forceps | 6 |  |  |
| 02-09-00216 | Grasping Forceps | 6 |  |  |
| 02-09-00217 | Tube Forceps | 6 |  |  |
| 02-09-00218 | Hook Scissor | 6 |  |  |
| 02-09-00219 | Claw Forceps | 6 |  |  |
| 02-09-00220 | Cholangiography Forceps | 6 |  |  |
| 02-09-00221 | Needle Holder | 6 |  |  |
| 02-09-00222 | Needle Holder | 6 |  |  |
| 02-09-00223 | Clip (Corrected diagnostic) | 6 |  |  |
| 02-09-00224 | Clip (Corrected diagnostic) | 6 |  |  |
| 02-09-00225 | Clip (Corrected diagnostic) | 6 |  |  |
| 02-09-00226 | Clip (Corrected diagnostic) | 6 |  |  |
| 02-09-00227 | Clip (Corrected diagnostic) | 6 |  |  |
| 02-09-00228 | Clip (Corrected diagnostic) | 6 |  |  |
| 02-09-00229 | Clip (Corrected diagnostic) | 6 |  |  |
| 02-09-00230 | Clip (Corrected diagnostic) | 6 |  |  |
| 02-09-00231 | Clip (Corrected diagnostic) | 6 |  |  |
| 02-09-00232 | Clip (Corrected diagnostic) | 6 |  |  |
| 02-09-00233 | Clip | 6 |  |  |
| 02-09-00234 | Clip | 6 |  |  |
| 02-09-00235 | Clip | 6 |  |  |
| 02-09-00236 | Clip | 6 |  |  |
| 02-09-00237 | Clip | 6 |  |  |
| 02-09-00238 | Clip | 6 |  |  |
| 02-09-00239 | Clip | 6 |  |  |
| 02-09-00240 | Clip | 6 |  |  |
| 02-09-00241 | Clip | 6 |  |  |
| 02-09-00242 | Clip | 8 |  |  |
| 02-09-00243 | Stapler | 8 |  |  |
| 02-09-00244 | Magazine | 8 |  |  |
| 02-09-00245 | Staple | 150 |  |  |
| 02-09-00246 | Insufflator 161 | 6 |  |  |
| 02-09-00247 | Mains Cable | 6 |  |  |
| 02-09-00248 | Wrench | 6 |  |  |
| 02-09-00249 | Silicone | 150 |  |  |
| 02-09-00250 | Veress Cannula | 8 |  |  |
| 02-09-00251 | Filter | 150 |  |  |
| 02-09-00252 | CO2 Bottle | 8 |  |  |
| 02-09-00253 | Disposable Tubing | 150 |  |  |
| 02-09-00254 | Tube, German | 12 |  |  |
| 02-09-00255 | Tube, PIN | 12 |  |  |
| 02-09-00256 | Tube, amerikan | 12 |  |  |
| 02-09-00257 | Surgipump | 6 |  |  |
| 02-09-00258 | Mains Cable | 6 |  |  |
| 02-09-00259 | Silicone | 150 |  |  |
| 02-09-00260 | Tubing set | 150 |  |  |
| 02-09-00261 | Man. Control | 8 |  |  |
| 02-09-00262 | Foot Switch | 12 |  |  |
| 02-09-00263 | flexilux II Telescope | 6 |  |  |
| 02-09-00264 | flexilux II Telescope | 6 |  |  |
| 02-09-00265 | flexilux II Telescope | 6 |  |  |
| 02-09-00266 | flexilux II Telescope | 6 |  |  |
| 02-09-00267 | Trocar | 6 |  |  |
| 02-09-00268 | Trocar | 6 |  |  |
| 02-09-00269 | Trocar | 6 |  |  |
| 02-09-00270 | Trocar | 6 |  |  |
| 02-09-00271 | Trocar | 6 |  |  |
| 02-09-00272 | Rod | 6 |  |  |
| 02-09-00273 | flexilux II Telescope | 6 |  |  |
| 02-09-00274 | flexilux II Telescope | 6 |  |  |
| 02-09-00275 | flexilux II Telescope | 6 |  |  |
| 02-09-00276 | Telescope | 6 |  |  |
| 02-09-00277 | Trocar | 6 |  |  |
| 02-09-00278 | Trocar | 6 |  |  |
| 02-09-00279 | Trocar | 6 |  |  |
| 02-09-00280 | Trocar | 6 |  |  |
| 02-09-00281 | Trocar | 6 |  |  |
| 02-09-00282 | Trocar | 6 |  |  |
| 02-09-00283 | Rod | 6 |  |  |
| 02-09-00284 | Mini-Telescope | 12 |  |  |
| 02-09-00285 | Trocar | 6 |  |  |
| 02-09-00286 | Trocar | 6 |  |  |
| 02-09-00287 | Trocar | 6 |  |  |
| 02-09-00288 | Trocar | 6 |  |  |
| 02-09-00289 | Handle | 8 |  |  |
| 02-09-00290 | Handle | 8 |  |  |
| 02-09-00291 | Handle | 8 |  |  |
| 02-09-00292 | Handle | 8 |  |  |
| 02-09-00293 | Handle | 8 |  |  |
| 02-09-00294 | Handle | 8 |  |  |
| 02-09-00295 | Forceps | 6 |  |  |
| 02-09-00296 | Forceps | 6 |  |  |
| 02-09-00297 | Forceps | 6 |  |  |
| 02-09-00298 | Forceps | 6 |  |  |
| 02-09-00299 | Forceps | 6 |  |  |
| 02-09-00300 | Punch | 6 |  |  |
| 02-09-00301 | Punch | 6 |  |  |
| 02-09-00302 | Punch | 6 |  |  |
| 02-09-00303 | Forceps | 6 |  |  |
| 02-09-00304 | Forceps | 6 |  |  |
| 02-09-00305 | Forceps | 6 |  |  |
| 02-09-00306 | Scissors | 6 |  |  |
| 02-09-00307 | Scissors | 6 |  |  |
| 02-09-00308 | Scissors | 6 |  |  |
| 02-09-00309 | Scissors | 6 |  |  |
| 02-09-00310 | Punch | 6 |  |  |
| 02-09-00311 | Punch | 6 |  |  |
| 02-09-00312 | Forceps | 6 |  |  |
| 02-09-00313 | Probe | 8 |  |  |
| 02-09-00314 | Knife | 8 |  |  |
| 02-09-00315 | Punch | 6 |  |  |
| 02-09-00316 | Spares for Punch | 8 |  |  |
| 02-09-00317 | Spares for Punch | 8 |  |  |
| 02-09-00318 | Spares for Punch | 8 |  |  |
| 02-09-00319 | Spares for Punch | 8 |  |  |
| 02-09-00320 | flexilux II Telescope | 6 |  |  |
| 02-09-00321 | flexilux II Telescope | 6 |  |  |
| 02-09-00322 | System,complete. | 8 |  |  |
| 02-09-00323 | Cutter | 12 |  |  |
| 02-09-00324 | Cutter | 12 |  |  |
| 02-09-00325 | Cutter | 12 |  |  |
| 02-09-00326 | Cutter | 12 |  |  |
| 02-09-00327 | Cutter | 12 |  |  |
| 02-09-00328 | Cutter | 12 |  |  |
| 02-09-00329 | Cutter | 12 |  |  |
| 02-09-00330 | Resector | 12 |  |  |
| 02-09-00331 | Resector | 12 |  |  |
| 02-09-00332 | Resector | 12 |  |  |
| 02-09-00333 | Resector | 12 |  |  |
| 02-09-00334 | Resector | 12 |  |  |
| 02-09-00335 | Resector | 12 |  |  |
| 02-09-00336 | Resector | 12 |  |  |
| 02-09-00337 | Burr | 12 |  |  |
| 02-09-00338 | Burr | 12 |  |  |
| 02-09-00339 | Burr | 12 |  |  |
| 02-09-00340 | Burr | 12 |  |  |
| 02-09-00341 | Burr | 12 |  |  |
| 02-09-00342 | Trimmer | 12 |  |  |
| 02-09-00343 | Trimmer | 12 |  |  |
| 02-09-00344 | Trimmer | 12 |  |  |
| 02-09-00345 | Arthropump Unit | 6 |  |  |
| 02-09-00346 | Mains Cable | 6 |  |  |
| 02-09-00347 | Valve | 6 |  |  |
| 02-09-00348 | Mounting for Valve | 6 |  |  |
| 02-09-00349 | Tubing set | 150 |  |  |
| 02-09-00350 | Disp. Tubing set w. puncture pin | 150 |  |  |
| 02-09-00351 | flexilux II Telescope | 6 |  |  |
| 02-09-00352 | flexilux II Telescope | 6 |  |  |
| 02-09-00353 | flexilux II Telescope | 6 |  |  |
| 02-09-00354 | flexilux II Telescope | 6 |  |  |
| 02-09-00355 | Otoscope | 6 |  |  |
| 02-09-00356 | Otoscope | 6 |  |  |
| 02-09-00357 | Otoscope | 6 |  |  |
| 02-09-00358 | Otoscope | 6 |  |  |
| 02-09-00359 | flexilux II Telescope | 6 |  |  |
| 02-09-00360 | flexilux II Telescope | 6 |  |  |
| 02-09-00361 | flexilux II Telescope | 6 |  |  |
| 02-09-00362 | Trocar | 6 |  |  |
| 02-09-00363 | Trocar | 6 |  |  |
| 02-09-00364 | Trocar | 6 |  |  |
| 02-09-00365 | Trocar | 6 |  |  |
| 02-09-00366 | Trocar | 6 |  |  |
| 02-09-00367 | Trocar | 6 |  |  |
| 02-09-00368 | Trocar | 6 |  |  |
| 02-09-00369 | Trocar | 6 |  |  |
| 02-09-00370 | Trocar | 12 |  |  |
| 02-09-00371 | Mini Telescope | 6 |  |  |
| 02-09-00372 | flexilux II Telescope | 6 |  |  |
| 02-09-00373 | flexilux II Telescope | 6 |  |  |
| 02-09-00374 | Flex. Nose Pharyngoscope | 12 |  |  |
| 02-09-00375 | Flex. Nose Pharyngoscope | 6 |  |  |
| 02-09-00376 | Telescope Heavy Duty | 6 |  |  |
| 02-09-00377 | Tele-Laryngo-Pharyngoscope | 6 |  |  |
| 02-09-00378 | Laryngo-Pharyngoscope | 6 |  |  |
| 02-09-00379 | Light Source 1002 Xenon | 35 |  |  |
| 02-09-00380 | Spare Lamp | 320 |  |  |
| 02-09-00381 | Spare Lamp | 34 |  |  |
| 02-09-00382 | Adapter | 34 |  |  |
| 02-09-00383 | Adapter | 34 |  |  |
| 02-09-00384 | Adapter | 34 |  |  |
| 02-09-00385 | Adapter | 34 |  |  |
| 02-09-00386 | Adapter | 34 |  |  |
| 02-09-00387 | Adapter | 35 |  |  |
| 02-09-00388 | Light cables | 35 |  |  |
| 02-09-00389 | Light cables | 35 |  |  |
| 02-09-00390 | Light cables | 35 |  |  |
| 02-09-00391 | Light cables | 35 |  |  |
| 02-09-00392 | Light cables | 35 |  |  |
| 02-09-00393 | Light cables | 35 |  |  |
| 02-09-00394 | Light cables | 34 |  |  |
| 02-09-00395 | Adapter | 34 |  |  |
| 02-09-00396 | Adapter | 34 |  |  |
| 02-09-00397 | Adapter | 34 |  |  |
| 02-09-00398 | Adapter | 34 |  |  |
| 02-09-00399 | Adapter | 34 |  |  |
| 02-09-00400 | Adapter | 34 |  |  |
| 02-09-00401 | Adapter | 34 |  |  |
| 02-09-00402 | Adapter | 34 |  |  |
| 02-09-00403 | Adapter | 34 |  |  |
| 02-09-00404 | Adapter | 34 |  |  |
| 02-09-00405 | Adapter | 34 |  |  |
| 02-09-00406 | Camera Unit | 6 |  |  |
| 02-09-00407 | Camera Unit | 6 |  |  |
| 02-09-00408 | Cameramodul IQ 300 | 6 |  |  |
| 02-09-00409 | TV-Adapter | 6 |  |  |
| 02-09-00410 | TV-Adapter | 6 |  |  |
| 02-09-00411 | TV-Adapter | 6 |  |  |
| 02-09-00412 | TV-Adapter | 6 |  |  |
| 02-09-00413 | TV-Adapter | 6 |  |  |
| 02-09-00414 | TV-Adapter | 6 |  |  |
| 02-09-00415 | Monitor PVM 2053 MD SONY | 6 |  |  |
| 02-09-00416 | Video Recorder | 6 |  |  |
| 02-09-00417 | Colour Video Printer | 6 |  |  |
| 02-09-00418 | Cable | 10 |  |  |
| 02-09-00419 | Cable | 12 |  |  |
| 02-09-00420 | Cable | 12 |  |  |
| 02-09-00421 | Camera Cover | 6 |  |  |
| 02-09-00422 | Foot Switch | 6 |  |  |
| 02-09-00423 | Basket | 30 |  |  |
| 02-09-00424 | Basket | 30 |  |  |
| 02-09-00425 | Eye piece | 60 |  |  |
| 02-09-00426 | eye piece | 60 |  |  |
| 02-09-00427 | Cable | 24 |  |  |
| 02-09-00428 | Cable | 24 |  |  |
| 02-09-00429 | Cable | 24 |  |  |
| 02-09-00430 | flexilux II Telescope(Corrected diagnostic) | 6 |  |  |
| 02-09-00431 | Direct 30°of View | 6 |  |  |
| 02-09-00432 | Direct.30° Wide Angle | 6 |  |  |
| 02-09-00433 | Direct. 80°of View | 6 |  |  |
| 02-09-00434 | Telescope Bridge | 6 |  |  |
| 02-09-00435 | Working Unit | 6 |  |  |
| 02-09-00436 | Working Unit | 6 |  |  |
| 02-09-00437 | Cystoscope /Ureth. | 6 |  |  |
| 02-09-00438 | Size 16 | 6 |  |  |
| 02-09-00439 | Obturator blunt | 6 |  |  |
| 02-09-00440 | Size 19 Charr | 6 |  |  |
| 02-09-00441 | Obturator blunt | 6 |  |  |
| 02-09-00442 | Size 22 Charr | 6 |  |  |
| 02-09-00443 | Size 22 Charr 2 | 6 |  |  |
| 02-09-00444 | Size 22 Charr/Fr. | 6 |  |  |
| 02-09-00445 | Obturator blunt | 6 |  |  |
| 02-09-00446 | Size 24 Charr. | 6 |  |  |
| 02-09-00447 | Size 24 Charr. | 6 |  |  |
| 02-09-00448 | Obturator blunt | 12 |  |  |
| 02-09-00449 | Mini Telescope | 6 |  |  |
| 02-09-00450 | Cystoscope | 6 |  |  |
| 02-09-00451 | Cystoscope | 6 |  |  |
| 02-09-00452 | Oturator blunt | 6 |  |  |
| 02-09-00453 | Cystoscope 7 Charr | 6 |  |  |
| 02-09-00454 | Cystoscope 7 Charr | 6 |  |  |
| 02-09-00455 | Obturator blint | 6 |  |  |
| 02-09-00456 | Forceps Double Spoon 5 Charr | 6 |  |  |
| 02-09-00457 | Forceps 7 Charr | 6 |  |  |
| 02-09-00458 | Scissors | 12 |  |  |
| 02-09-00459 | Scissors | 12 |  |  |
| 02-09-00460 | Grasping Forceps | 12 |  |  |
| 02-09-00461 | Grasping Forceps | 6 |  |  |
| 02-09-00462 | Working Unit (passive) | 6 |  |  |
| 02-09-00463 | Working Unit (active ) | 6 |  |  |
| 02-09-00464 | Resectoscope Sheat 26 Charr | 6 |  |  |
| 02-09-00465 | Resectoscope Sheath 26 Charr | 6 |  |  |
| 02-09-00466 | Resectoscope Sheat 25 Charr | 6 |  |  |
| 02-09-00467 | Vaporisation Elec. | 6 |  |  |
| 02-09-00468 | Cutting Loop | 12 |  |  |
| 02-09-00469 | Cutting Loop str. | 12 |  |  |
| 02-09-00470 | Coagulation Ele. | 12 |  |  |
| 02-09-00471 | Ball Electrode | 12 |  |  |
| 02-09-00472 | Ball Electrode | 12 |  |  |
| 02-09-00473 | Knife Electrode | 12 |  |  |
| 02-09-00474 | Scraper Electrode | 12 |  |  |
| 02-09-00475 | Uretero-renoscope | 12 |  |  |
| 02-09-00476 | Uretero-renoscope | 12 |  |  |
| 02-09-00477 | Forceps 510 mm | 6 |  |  |
| 02-09-00478 | Grasping flexible | 6 |  |  |
| 02-09-00479 | Grasping forceps | 6 |  |  |
| 02-09-00480 | Three-pronged stone grasper | 9 |  |  |
| 02-09-00481 | Stone extractor ov. | 9 |  |  |
| 02-09-00482 | Ureteropump | 6 |  |  |
| 02-09-00483 | Main Cable | 6 |  |  |
| 02-09-00484 | Mech.overpr. valv. | 6 |  |  |
| 02-09-00485 | Mount. overpr. val | 6 |  |  |
| 02-09-00486 | Tubing set | 6 |  |  |
| 02-09-00487 | Flexilux II Telescope (Corrected description) | 6 |  |  |
| 02-09-00488 | Flexilux II Telescope (Corrected description) | 6 |  |  |
| 02-09-00489 | Flexicart | 6 |  |  |
| 02-09-00490 | SONOCUR Plus, analgesic therapy | 2 |  |  |
| 02-09-00491 | SIREMOBIL Compact, X-Ray, incl. set of film cassettes | 13 |  |  |
| 02-09-00492 | SIREGRAPH CF, X-Ray,incl. set of film cassettes | 10 |  |  |
| 02-09-00493 | MOBILETT Plus, X-Ray, incl.set of film cassettes | 10 |  |  |
| 02-09-00494 | MULTIX C, X-Ray, incl. set of film cassettes | 15 |  |  |
| 02-09-00495 | DENTAL X-Ray, basic, incl. set of film cassettes | 3 |  |  |
| 02-09-00496 | LITHOSTAR Multiline Multifunctional X-RAY Diagnostic and therapy unit for shockwave Lithotripsy,maintenance , spare parts for 2 years, Training courses for Doctors as users and Engineers for service.(corrected description) | 1 |  |  |
| 02-09-00497 | SOMATOM AR Star | 2 |  |  |
| 02-09-00498 | PRIMA LC, Ultrasound, incl all probes and accessories (50 rolls of print paper, 5kg gel for each unit,) | 4 |  |  |
| 02-09-00499 | VERSA CF, Ultrasound, incl all probes and accessories (50 rolls of print paper, 5kg gel) | 3 |  |  |
| 02-09-00500 | VERSA PLUS MS, Ultrasound, incl. all probes and accessories (50 rolls of print paper, 5kg gel), ALL manuals must be in English language | 3 |  |  |
| 02-09-00501 | Holding Clamp, | 8 |  |  |
| 02-09-00502 | Spacer | 2 |  |  |
| 02-09-00503 | Holding Clamps | 8 |  |  |
| 02-09-00504 | Beaker Holding | 2 |  |  |
| 02-09-00505 | Holding Clamp | 8 |  |  |
| 02-09-00506 | Taring Plates | 2 |  |  |
| 02-09-00507 | Flask Clamp Plate | 4 |  |  |
| 02-09-00508 | Incubator f. Cell Culture | 1 |  |  |
| 02-09-00509 | Shelf f. Incubator | 3 |  |  |
| 02-09-00510 | Stop watches | 5 |  |  |
| 02-09-00511 | Ultraviolet Magn. | 2 |  |  |
| 02-09-00512 | Spare Lamp UV. | 2 |  |  |
| 02-09-00513 | Spare Lamp Flour. | 2 |  |  |
| 02-09-00514 | Ultra-Const. Temp. Circulator | 1 |  |  |
| 02-09-00515 | Dispencer | 50 |  |  |
| 02-09-00516 | Dispencer | 50 |  |  |
| 02-09-00517 | Ultrasonic Cleaner | 2 |  |  |
| 02-09-00518 | Bath lid | 2 |  |  |
| 02-09-00519 | Insert Beaker | 2 |  |  |
| 02-09-00520 | Basket | 2 |  |  |
| 02-09-00521 | Basket | 2 |  |  |
| 02-09-00522 | Trolley Multipurpose | 50 |  |  |
| 02-09-00523 | Cryofuge | 4 |  |  |
| 02-09-00524 | Spare Carbon Bru. | 4 |  |  |
| 02-09-00525 | Centr. Head | 3 |  |  |
| 02-09-00526 | Double CupRectangular | 12 |  |  |
| 02-09-00527 | Double CupLight Metal | 12 |  |  |
| 02-09-00528 | Carrier Rack | 12 |  |  |
| 02-09-00529 | Carrier Rack | 12 |  |  |
| 02-09-00530 | Carrier Rack | 12 |  |  |
| 02-09-00531 | Carrier Rack | 12 |  |  |
| 02-09-00532 | Plastic Weld. App. | 1 |  |  |
| 02-09-00533 | Plastic Weld. App. | 1 |  |  |
| 02-09-00534 | Plastic bags | 6 |  |  |
| 02-09-00535 | Plastic bags | 6 |  |  |
| 02-09-00536 | Plastic bags | 6 |  |  |
| 02-09-00537 | Polyetylene Film | 2 |  |  |
| 02-09-00538 | Plastic bags | 3 |  |  |
| 02-09-00539 | Plastic bags | 3 |  |  |
| 02-09-00540 | Freezing Microtom. | 1 |  |  |
| 02-09-00541 | Surcharge | 1 |  |  |
| 02-09-00542 | Knife | 1 |  |  |
| 02-09-00543 | Maintenance set | 1 |  |  |
| 02-09-00544 | Object disk 40mm | 1 |  |  |
| 02-09-00545 | Object disk 30mm | 1 |  |  |
| 02-09-00546 | Embedding Med. | 3 |  |  |
| 02-09-00547 | Cooling Oil | 2 |  |  |
| 02-09-00548 | Knife Holder | 1 |  |  |
| 02-09-00549 | Disposable Knives | 1 |  |  |
| 02-09-00550 | Knife Sharpener | 1 |  |  |
| 02-09-00551 | Adapter 16cm | 1 |  |  |
| 02-09-00552 | Adapter 30cm | 1 |  |  |
| 02-09-00553 | Grind Disk | 1 |  |  |
| 02-09-00554 | Diamond Paste | 2 |  |  |
| 02-09-00555 | Diamond Paste | 2 |  |  |
| 02-09-00556 | Diamond Paste | 2 |  |  |
| 02-09-00557 | Diamond Paste | 2 |  |  |
| 02-09-00558 | Ultra Turrax Emul-sifying stirrer | 6 |  |  |
| 02-09-00559 | Stand | 6 |  |  |
| 02-09-00560 | Bosshead | 6 |  |  |
| 02-09-00561 | Container Holder | 6 |  |  |
| 02-09-00562 | VAT or Table Cl. | 6 |  |  |
| 02-09-00563 | Regulator | 6 |  |  |
| 02-09-00564 | Semi-micro- Osmometer | 3 |  |  |
| 02-09-00565 | Printer | 3 |  |  |
| 02-09-00566 | Printer paper | 12 |  |  |
| 02-09-00567 | Spare Head Ass. | 3 |  |  |
| 02-09-00568 | Spare Vessels | 3 |  |  |
| 02-09-00569 | Crushed ice Mach. | 5 |  |  |
| 02-09-00570 | Spare Parts for 2 years in Operation | 5 |  |  |
| 02-09-00571 | Water Bath | 4 |  |  |
| 02-09-00572 | Water regulator | 4 |  |  |
| 02-09-00573 | Cooling coil | 4 |  |  |
| 02-09-00574 | Excess Temp. Cut.-out | 4 |  |  |
| 02-09-00575 | Test Tube rack | 4 |  |  |
| 02-09-00576 | Test Tube rack | 4 |  |  |
| 02-09-00577 | Test Tub rack | 4 |  |  |
| 02-09-00578 | Test Tube rack | 4 |  |  |
| 02-09-00579 | Test Tube rack | 4 |  |  |
| 02-09-00580 | Test Tube rack | 4 |  |  |
| 02-09-00581 | Test Tube rack | 4 |  |  |
| 02-09-00582 | Test Tube rack | 4 |  |  |
| 02-09-00583 | Shaking Water B. | 6 |  |  |
| 02-09-00584 | Racks | 6 |  |  |
| 02-09-00585 | Racks | 6 |  |  |
| 02-09-00586 | Water level regul. | 6 |  |  |
| 02-09-00587 | Time switch | 6 |  |  |
| 02-09-00588 | Flask Insert 25ml | 4 |  |  |
| 02-09-00589 | Flask Insert 50ml | 4 |  |  |
| 02-09-00590 | Flask Insert 100ml | 4 |  |  |
| 02-09-00591 | Flask Insert 200ml | 4 |  |  |
| 02-09-00592 | Flask Insert 500ml | 4 |  |  |
| 02-09-00593 | Peralistic Pump | 2 |  |  |
| 02-09-00594 | Neoprene Tubing | 10m |  |  |
| 02-09-00595 | Neoprene Tubing | 10m |  |  |
| 02-09-00596 | Neoprene Tubing | 10m |  |  |
| 02-09-00597 | Neoprene Tubing | 10m |  |  |
| 02-09-00598 | Neoprene Tubing | 10m |  |  |
| 02-09-00599 | Glas washing Ma. | 1 |  |  |
| 02-09-00600 | Insert Basket set | 1 |  |  |
| 02-09-00601 | Multipurpose In. | 1 |  |  |
| 02-09-00602 | Refrigerated Truck for medicine, WHO standard | 1 |  |  |
| 02-09-00603 | Spare parts, maint. Parts, tyres and service parts for 2 years | 1 |  |  |
| 02-09-00604 | Toyota Hilux 4x4, WHO Standard C.Code:E0204002 | 29 |  |  |
| 02-09-00605 | Spare parts, maintenance parts and service parts for a periode of 2 years | 29 |  |  |
| 02-09-00606 | Honda Motorcycle, 250ccm | 6 |  |  |
| 02-09-00607 | Spare parts, maintenance parts and service parts for 2 years | 6 |  |  |
| 02-09-00608 | Water chilling unit, JAPON | 7 |  |  |
| 02-09-00609 | Package unit, cooling 20t Refreg. heating 30kW, 380V | 10 |  |  |
| 02-09-00610 | Fan coil, # GEOE 1248/5 10A, Code L15-BT-R-0700, ITALY | 250 |  |  |
| 02-09-00611 | Cooling Tower, 100t Refreg., 51.8m3/h, 380V, 1450rpm, 5.5hp | 1 |  |  |
| 02-09-00612 | Heater elements for central water boiler | 150 |  |  |
| 02-09-00613 | Water flow switch | 25 |  |  |
| 02-09-00614 | Scale Remover, 33% Concentration, 1000 ltr | 1 |  |  |
| 02-09-00615 | Cold room units fro drug storage, controlled 2 -8 C capacity 7500 litre, 3 phase, 380V, 50Hz, star connection | 4 |  |  |
| 02-09-00616 | Aircondition, window type, 2hp, cooling & heating | 40 |  |  |
| 02-09-00617 | Fireextingisher, 30 Kg | 72 |  |  |
| 02-09-00618 | G3 Head worn Loupe | 35 |  |  |
| 02-09-00619 | Operating chairs for Microsurgery | 9 |  |  |
| 02-09-00620 | Inverted Microscope, Axiovert 135M | 4 |  |  |
| 02-09-00621 | Ph/Blood gas analyzer ABL3,with all accessories, standard solutions,for calibration and spare parts for One( 1 ) year operation . | 4 |  |  |
| 02-09-00622 | Electrolytic analyzer 240-600 | 2 |  |  |
| 02-09-00623 | Spare bulbs | 5 |  |  |
| 02-09-00624 | Pare heating elements | 5 |  |  |
| 02-09-00625 | Ventilator for anaesthesia complete with all spare parts and maintenance parts for 2 years, 220V AC, All manuals must be in English language. | 10 |  |  |
| 02-09-00626 | Pulse Oximeter w / printer (Contr. Int) | 25 |  |  |
| 02-09-00627 | Gauze electrode 240-630 | 25 |  |  |
| 02-09-00628 | ECTRON / constant Current series, ECT apparatus | 2 |  |  |
| 02-09-00629 | Somatics Thymatron DGx | 2 |  |  |
| 02-09-00630 | Electro Shock Therapy Equipment/ German made, All Equipment: maintenance contract for 2 years, spare parts for 2 years, Training courses for Doctors as users and Engineers for service. All manuals in english language | 2 |  |  |
| 02-09-00631 | OP Microscope OPMI MDOxy ZEP 103 Zeiss | 4 |  |  |
| 02-09-00632 | Fiber slit lamp for OPMI | 4 |  |  |
| 02-09-00633 | Asepsis set for fiber slit lamp | 4 |  |  |
| 02-09-00634 | Dovetail mount for OPMI | 4 |  |  |
| 02-09-00635 | S-light guide, 2.2m | 4 |  |  |
| 02-09-00636 | Stereo coobservation equipment ZEP 946 | 4 |  |  |
| 02-09-00637 | 35mm camera + Contax 167MT | 4 |  |  |
| 02-09-00638 | Cable release for contax | 4 |  |  |
| 02-09-00639 | Adapterring for contax | 4 |  |  |
| 02-09-00640 | Camera adapter f=340mm | 4 |  |  |
| 02-09-00641 | Screw in widefield eyepice | 4 |  |  |
| 02-09-00642 | Beam splitter 50 | 4 |  |  |
| 02-09-00643 | Asepsis set | 4 |  |  |
| 02-09-00644 | Sterilizable caps (6) | 4 |  |  |
| 02-09-00645 | small steri rubber caps | 72 |  |  |
| 02-09-00646 | Sterilizable rubber cap | 48 |  |  |
| 02-09-00647 | Rubber cap for OPMI | 72 |  |  |
| 02-09-00648 | Sterile drape for OPMI | 120 |  |  |
| 02-09-00649 | Halogen lamp 12V | 72 |  |  |
| 02-09-00650 | S-light guide 2.2m | 24 |  |  |
| 02-09-00651 | Examination microscope OPMI 9 FC, ZEP 201 | 4 |  |  |
| 02-09-00652 | FC/S light guide 0.7m | 24 |  |  |
| 02-09-00653 | FF 450 IR Fundus camera, basic unit complete | 2 |  |  |
| 02-09-00654 | Control console FF 450 | 2 |  |  |
| 02-09-00655 | Photoequipment with NIKON F3 HP and data back | 2 |  |  |
| 02-09-00656 | Mot. Instrument table, T350 | 2 |  |  |
| 02-09-00657 | Power cord 2.5m | 2 |  |  |
| 02-09-00658 | Demonstration eye with holder | 4 |  |  |
| 02-09-00659 | Blinking diode, red, for fixiation light | 10 |  |  |
| 02-09-00660 | Halogen bulb, 12V | 10 |  |  |
| 02-09-00661 | Flash lamp, complete | 10 |  |  |
| 02-09-00662 | VISULAS ARGON II, basic equipment 2, Spares for minium two year of operation. | 2 |  |  |
| 02-09-00663 | Instrument table, IT VISULAS 2 | 2 |  |  |
| 02-09-00664 | Caster kit for asymmetric instrument table | 2 |  |  |
| 02-09-00665 | Halogen lamp, 6V | 10 |  |  |
| 02-09-00666 | Aspheric glass lens 16D for laser application | 2 |  |  |
| 02-09-00667 | Aspheric glass lens 20D | 2 |  |  |
| 02-09-00668 | Aspheric glass lens 25D | 2 |  |  |
| 02-09-00669 | Safety eye glasses for 400-532 nm | 8 |  |  |
| 02-09-00670 | Set of labels for ARGON II, English | 2 |  |  |
| 02-09-00671 | Hospital beds, adult, adjustable head and foot part, incl. urine bottle & IV fluid holder with matteress and water proof cover | 460 |  |  |
| 02-09-00672 | Bed sheets for above bed, cotton | 900 |  |  |
| 02-09-00673 | Blankets for above bed | 520 |  |  |
| 02-09-00674 | Pillows for above bed | 500 |  |  |
| 02-09-00675 | Pillow cases for above bed, cotton | 650 |  |  |
| 02-09-00676 | PUVA 22 (new model) | 3 |  |  |
| 02-09-00677 | PUVA 4 (new model) | 3 |  |  |
| 02-09-00678 | Cryotherapy | 5 |  |  |
| 02-09-00679 | Dermabrasion apparatus | 3 |  |  |
| 02-09-00680 | Electrolysis apparatus | 3 |  |  |
| 02-09-00681 | Dermojet | 3 |  |  |
| 02-09-00682 | Dark field microscope | 2 |  |  |
| 02-09-00683 | Fluorescent microscope | 2 |  |  |
| 02-09-00684 | Water dest. apparatus | 5 |  |  |
| 02-09-00685 | Spare parts for above water dist. | 5 |  |  |
| 02-09-00686 | Hysteroflator Basic Unit * | 6 |  |  |
| 02-09-00687 | Mains cable with german connection, 2m * | 6 |  |  |
| 02-09-00688 | Wrench for CO2 bottle * | 6 |  |  |
| 02-09-00689 | Tubing set silicone 3m 4*1.7 * | 100 |  |  |
| 02-09-00690 | Disposable tubing with luer lock connection for CO2 inufflators * | 250 |  |  |
| 02-09-00691 | CO2 bottle, 0.75kg contents * | 8 |  |  |
| 02-09-00692 | Mounting for bottle * | 8 |  |  |
| 02-09-00693 | Disposable tubing incl. CO2 filter * | 100 |  |  |
| 02-09-00694 | CO2 high pressure tube, 120 cm length, for connection unit-bottle (large), connections, german-german * | 12 |  |  |
| 02-09-00695 | CO2 high pressure tube, 120 cm length, for connection unit-bottle (large) connections, PIN Index - PIN Index * | 12 |  |  |
| 02-09-00696 | CO2 high pressure tube, 120 cm length, for connection unit-bottle (large) connections, american - american * | 12 |  |  |
| 02-09-00697 | Claw Grasping and Extraction Forceps * | 6 |  |  |
| 02-09-00698 | Gallstone Grasping Forceps * | 6 |  |  |
| 02-09-00699 | Bowel Forceps * | 6 |  |  |
| 02-09-00700 | Palpation Probe * | 6 |  |  |
| 02-09-00701 | Puncture Needle for Aspiration * | 6 |  |  |
| 02-09-00702 | Abdominal Retractor * | 6 |  |  |
| 02-09-00703 | Trocar Sleeve for crucial ligament * | 6 |  |  |
| 02-09-00704 | Disposable tubing set(VE=60 pcs.) with safe lock connection * | 30 |  |  |
| 02-09-00705 | Uretero-renoscope * | 12 |  |  |
| 02-09-00706 | Forceps,Double Spoon for Biopsy * | 6 |  |  |
| 02-09-00707 | flexilux II Telesscope * | 6 |  |  |
| 02-09-00708 | Disposable tubing set(VE=60 pcs.) with puncture pin * | 150 |  |  |
| 02-09-00709 | Disposable tubing set(VE=60 pcs.) with safe lock connection * | 30 |  |  |
| 02-09-00710 | Magnetom open * | 2 |  |  |
| 02-09-00711 | Panorama dental X-Ray, ORTHOPHOS PLUS * | 6 |  |  |
| 02-09-00712 | Fluoroscopic Examination "POLYSTAR" * | 4 |  |  |
| 02-09-00713 | Complete instrument set for replacement of hips | 2 |  |  |
| 02-09-00714 | Complete instrument set for replacement of knees | 2 |  |  |
| 02-09-00715 | Laminectory set | 4 |  |  |
| 02-09-00716 | Harrington instrumentation set | 10 |  |  |
| 02-09-00717 | Radioimmunoassey/ hormon test/ T3, T4, T5 incl standards for 10000 tests | 2 |  |  |
| 02-09-00718 | Blood sugar analyzer app. | 20 |  |  |
| 02-09-00719 | Bilirubinometer incl all standards | 20 |  |  |
| 02-09-00720 | Labofuge 200 centrifuge | 15 |  |  |
| 02-09-00721 | Spectronic 20, cat # 33182-02 | 10 |  |  |
| 02-09-00722 | Square cuvettes, Cat # 331709 | 10 |  |  |
| 02-09-00723 | Tungsten lamp | 10 |  |  |
| 02-09-00724 | Table Hb meter incl all standards | 10 |  |  |
| 02-09-00725 | Paper rolls ECG DELTA 60, 210x30 thermos | 300 rolls |  |  |
| 02-09-00726 | Ultrasonic cleaner KS 2 * | 2 |  |  |
| 02-09-00727 | OES Maintenance unit MU 1 * | 1 |  |  |
| 02-09-00728 | OES Leakage tester MB 155 * | 1 |  |  |
| 02-09-00729 | Haemalog Autoanalyzer for determination of Hb, P.C.V., M.C.H., M.C.H.C., W.B.C. count platelet count., differentional…..etc. *, Cat. Planning & Equipping 1995/96 * | 1 |  |  |
| 02-09-00730 | Socket Router with 8 intergrated dust collection system * | 2 |  |  |
| 02-09-00731 | Vacuum Machine * | 2 |  |  |
| 02-09-00732 | Oven with windows * | 2 |  |  |
| 02-09-00733 | Table Band Saw * | 2 |  |  |
| 02-09-00734 | Knee Joints with Swiss Lock for Children, Cat.Orthotic & Prosthetic Joints Upper & Lower Extremities-1994/95) * | 60 |  |  |
| 02-09-00735 | Limited Motion Ankle Joints for Children, Orthotic & Prosthetic Joints Upper & Lower Extremities-1994/95) * | 60 |  |  |
| 02-09-00736 | Hip Joints for Children, Orthotic & Prosthetic Joints Upper & Lower Extremities-1994/95) * | 60 |  |  |
| 02-09-00737 | Hip Joints for Children, Cat.Orthotic & Prosthetic Joints Upper & Lower Extremities-1994/95) * | 60 |  |  |
| 02-09-00738 | Bending Iron, Cat.(Planning & Equipping 1995/96) * | 4 |  |  |
| 02-09-00739 | Bending Iron, Cat.(Planning & Equipping 1995/96) * | 4 |  |  |
| 02-09-00740 | Bending Iron, Cat.(Planning & Equipping 1995/96) * | 4 |  |  |
| 02-09-00741 | Pedilon, Cat.(Orthotic -Prosthertic Materials Catalog 1996/97) * | 200 |  |  |
| 02-09-00742 | Pedilon, Cat.(Orthotic & Prosthetic Joints Upper & Lower Extremities-1995/97) * | 200 |  |  |
| 02-09-00743 | Pedilon, Cat.(Orthotic & Prosthetic Joints Upper & Lower Extremities-1995/9) * | 200 |  |  |
| 02-09-00744 | Plastazote, Perforated, Cat.(Orthotic -Prosthertic Materials Catalog 1996/97) * | 200 |  |  |
| 02-09-00745 | Plastazote, Perforated, Cat.(Orthotic -Prosthertic Materials Catalog 1996/97) * | 200 |  |  |
| 02-09-00746 | Plastazote, Perforated, Cat.(Orthotic -Prosthertic Materials Catalog 1996/97) * | 200 |  |  |
| 02-09-00747 | Evazote, Cat.(Orthotic -Prosthertic Materials Catalog 1996/97) * | 200 |  |  |
| 02-09-00748 | Evazote, Cat.(Orthotic -Prosthertic Materials Catalog 1996/97) * | 200 |  |  |
| 02-09-00749 | Evazote, Cat.(Orthotic -Prosthertic Materials Catalog 1996/97) * | 200 |  |  |
| 02-09-00750 | Orthocryl. Sealing Resin, Cat.(Orthotic -Prosthertic Materials Catalog 1996/97) incl. hardener, parting agent & thinner * | 60 |  |  |
| 02-09-00751 | Polyester Resin, Cat.(Orthotic -Prosthertic Materials Catalog 1996/97) incl. hardener & accelerator * | 60 |  |  |
| 02-09-00752 | Talcum Powder, Cat.(Orthotic -Prosthertic Materials Catalog 1996/97) * | 100 |  |  |
| 02-09-00753 | Calibrated Measuring Cups B1262, Cat.(Orthotic -Prosthertic Materials Catalog 1996/97) * | 110 |  |  |
| 02-09-00754 | Haematocrit centrifuge, cat # 074-240 * | 10 |  |  |
| 02-09-00755 | Evaluation disc with adj. zero point * | 10 |  |  |
| 02-09-00756 | Haematocrit capillaries, 1.5-1.6, 75mm, 75ul * | 1000 |  |  |
| 02-09-00757 | Haematocrit capillaries, 1.3-1.4, 75mm, 60ul * | 1000 |  |  |
| 02-09-00758 | Sealing putty, wax, for capillaries * | 1000 |  |  |
| 02-09-00759 | Ultrasound sector probe 3.5MHz * | 3 |  |  |
| 02-09-00760 | Ultrasound sector probe 5 MHz * | 1 |  |  |
| 02-09-00761 | Ultrasound linear probe 7 MHz * | 1 |  |  |
| 02-09-00762 | Oxygen bottle, filling 6 kg, 150 bar * | 100 |  |  |
| 02-09-00763 | Ventil for oxygen bottle compl. with gaskets * | 300 |  |  |
| 02-09-00764 | Complete gasket set for oxygen bottle ventil * | 200 |  |  |
| 02-09-00765 | 5t Scania lorry with platform, incl 2 yrs. maintenance parts /tyres * |  |  | 6 |  |  |
| 02-09-00766 | Toyota Landcruiser, WHO standard, petrol engine * | 15 |  |  |
| 02-09-00767 | 2 years maintenance/ spare parts, tyres * | 15sets |  |  |
| 02-09-00768 | Generator, incl. maintenance parts for 2 years operation * | 2 |  |  |
| 02-09-00769 | Aircondition, window type, 1.5 hp, cooling & heating | 80 |  |  |
| 02-09-00770 | Refrigerator/freezers, laboratory | 44 |  |  |
| 02-09-00771 | Waterfilter, UV-System | 20 |  |  |
| 02-09-00772 | Code bar printer and reader with ink-refill for 1 year use | 1 |  |  |
| 02-09-00773 | Automatic X-Ray Film Processor, model JP-90N, spare parts | 0 |  |  |
|  | 1. Main control electronic PCB(#: A-510602) | 6 |  |  |
|  | 2. Main drive motor | 6 |  |  |
|  | 3. Worm gear(#: F-515427) | 30 |  |  |
|  | 4. Worm wheel(#: F-515428) | 30 |  |  |
|  | 5. Dry roll(#: F-512507) | 30 |  |  |
|  | 6. Dry fan | 6 |  |  |
|  | 7. Dryer heater | 15 |  |  |
|  | 8. Thermostat for Dryer heater | 15 |  |  |
|  | 9. Temperature sensor for Dryer | 15 |  |  |
|  | 10. Developer heater | 15 |  |  |
|  | 11. Temperature sensor for Developer | 15 |  |  |
|  | 12. Timing Belt | 25 |  |  |
|  | 13. Drive roll (1")(#: F-512402) | 60 |  |  |
|  | 14. Drive roll (2")(#: F-512403) | 25 |  |  |
|  | 15. Gear (1")(#: F-515406) | 55 |  |  |
|  | 16. Idle gear pin(#: F-512441) | 25 |  |  |
|  | 17. Gear (2")(#: F-515408) | 15 |  |  |
|  | 18. Spring retainer(#: F-515411) | 70 |  |  |
|  | 19. Film guide (S)(#: F-515412) | 25 |  |  |
|  | 20. Film guide (L)(#: F-515413) | 25 |  |  |
|  | 21. Roller spring (S)(#: F-510424) | 25 |  |  |
|  | 22. Roller spring (M)(#: F-510425) | 25 |  |  |
|  | 23. Roller spring (L)(#: F-510426) | 25 |  |  |
|  | 24. Service manual in English, Include technical description,circuit diagrams,adjust. procedure | 15 |  |  |
| 02-09-00774 | Cell cuvettes 100 OS 10 WHO Commodity Code:L.28.027.00 ,for Spectrophotometer CAMSPEC M350 UV Visible,Double Beam,computer cotrolled. | 20 |  |  |
| 02-09-00775 | Spare part(Aspirate head) for WASHER SERIES 8000(Serial No. 014 048,Mod.: L166 600) | 1 |  |  |
| 02-09-00776 | Toner & Starter for cartridge Photocopier (MINOLTA) Model:EP 2050 | 50 each |  |  |
| 02-09-00777 | Toner Cartridge(CANON) Model:NP 6016 | 50 each |  |  |
| 02-09-00778 | DieselGENERATING set,500 KVA,3 PHASE,380V,50Hz,0.8 pf.,With all accessories and spare parts for tow years operation,all service and operations manuals should be in English language. | 1 |  |  |
| 02-09-00779 | U.P.S. (DC-to-AC inverter) 8 Kw. | 6 |  |  |
| 02-09-00780 | Acer "Vuego Scan" Brisu 610P/610S(Scanner) | 3 |  |  |
| 02-09-00781 | HP LaserJet 6L(Printer) | 3 |  |  |
| 02-09-00782 | HP DeskJet 1120 C(Printer) | 4 |  |  |
| 02-09-00783 | APC 650 or APC 600 (Irland)(UPS) | 25 |  |  |
| 02-09-00784 | KTX-COMBO(LAN card) | 20 |  |  |
| 02-09-00785 | For RJ-45 connector(Twisted pair cable) | 350 meter |  |  |
| 02-09-00786 | For RJ-45 connector(HUB or Switching Box) | 4 |  |  |
| 02-09-00787 | For genuine IBM computers supplied by WHO (P.O. SUP/97/20596/1)(32 Mbyte SIMM RAM) | 5 SIMM |  |  |
| 02-09-00788 | Silver Recovery Unit | 2 |  |  |
| 02-09-00789 | Cooling Units, split type,5 tones,Single | 6 Units |  |  |
| 02-09-00790 | * Ultrasound(Diagnostic),CAPASEE(with two probe selector) 3.5 MHz Convex Probe. 7 MHz Convex Probe. 5-7 MHz Endocavetry Probe. * Video printer. * Paper,thermosensitive,roll. * Gel,tube/250 gr. | 2 12 ea 600roll 900ea |  |  |
| 02-09-00791 | Fetal heart detector,AC(220v , 50Hz)with rechareable battery,and extra spare batteries(18 pcs.) | 6 |  |  |
| 02-09-00792 | Otoscope,Complete set with 3 specula(3 , 5 , 7)mm,15 spare bulbs. | 3 |  |  |
| 02-09-00793 | Obestitric Cautary | 8 |  |  |
| 02-09-00794 | BRONCHOSCOPY Adults & Child set(Rigid and Flexible), with all accessories and spare parts for two years of operation | 6 |  |  |
| 02-09-00795 | Colonoscope, Light Source CLV-U20 with 10spare bulb, Suction pump KV-4 with extra bottle and plastic lines, Manual Disinfector TD-20 with extra liquid for Disinfector, any other essential accessories or consumable for two years of operation | 7 |  |  |
| 02-09-00796 | CYSTOSCOPY set complete with all accessories and spare parts for two yaers operation | 6 |  |  |
| 02-09-00797 | Laboratory Demineralizers,2 bed type,for wall mounting.(#: 394-000) * Spare Filter Candle (#: 394-051) | 10 40 |  |  |
| 02-09-00798 | HIGH PRESSURE AUTOCLAVE,Vertical.Eiectrically heated.(#:122-035) *Set of Spare parts for Electrically Heated Autoclave (#: 122-138) *Reading Thermometr(#: 377-628) | 7 7 7 |  |  |
| 02-09-00799 | Projector,Stand for operation theater,rechargable back-up battery with charger.Consisting of 7 bulbs(sources)at least. * Set of spare bulbs(20 spare bulb for each original bulb) | 5 5 set |  |  |
| 02-09-00800 | Spectrophotometer.JENWAY 6105 | 11 |  |  |
|  | * Tungsten-halogen lamp * Deuterium lamp * Cell holder for 10mm cells,6-position tuet * Cell holder,for 40mm cells *Cell holder,for 80mm cells * Heated cell block for 10mm cells * Disposable cuvettes UV,10mm.Pack of 100 * flow through cell,UV *Pour in/suc | 22 |  |  |
| 02-09-00801 | Lab. MICROSCOPE.Model :BH(with all accessories and spare parts) | 26 |  |  |
| 02-09-00802 | Teaching Microscope(Tetra lecular)for Four-Students,Model :BH | 2 |  |  |
| 02-09-00803 | Digital Haemoglobiometer(with all accessories ,standard solution and spare parts for tow years of operation) | 15 |  |  |
| 02-09-00804 | AUTOMATIC MULTI-RANGE REFRACTOMETER (#: 363-690) * Spare Bulb (#: 363-693) | 20 40 |  |  |
| 02-09-00805 | Bilirubinometer, with all standars,all accessories & spare parts for two years opeartion | 5 |  |  |
| 02-09-00806 | Infusion pump * Set of disposable syringe and line(400 each) Part No.:632-EE | 15 |  |  |
| 02-09-00807 | Cryosurgery unit , for Dermatology clinic, complete with accessories, consumable and spare parts for two years of operation | 1 |  |  |
| 02-09-00808 | Flame Photometer.Jenway PFP7.with all (Accessories,Calibration standards,spare parts)For periodic of tow Years. | 6 |  |  |
| 02-09-00809 | Centrifuge microtube(Microhaematocrits) * Capillary tubes OD 1.5-1.6mm,75mm,75ul,non-heparinized. Capillary tubes OD 1.3-1.4mm,75mm,60ul,Sodium heparinized * Spare parts of periodic maintenance for two years. | 10 1000 1000 100 |  |  |
| 02-09-00810 | Autoanalyzer for chemical analysis(new generation)with its solution and standard solutin.Which is necessary for the following tests((Blood suger,Blood Urea,Liver function test,Serum Uric Acid,Serum Creatinine,Serum Cholestrol,….etc.)) with chemicals for two years | 3 |  |  |
| 02-09-00811 | Haemalog Autoanalyzer,for determination of ((Hb, P.C.V. , M.C.H. , M.C.H.C., W.B.C. & R.B.C. count,platelet count ,differentional…..etc.)) | 3 |  |  |
| 02-09-00812 | * CELLULOSE ACETATE ELECTROPHORESIS KIT,MICRO SCALE(#:419-120) * SET of SUPPLIES(#: 419-125) * POWER SUPPLY,with Digital Display (#: 419-174) * DRYING CABINET(#: 419-245) * Staining Solution(#: 419255) * Destaining Solution(#: 419-256) * Buffer Solution(# | 1 |  |  |
| 02-09-00813 | X-Ray dosemeter | 1 |  |  |
| 02-09-00814 | Light Cure Unit/ dental | 9 |  |  |
| 02-09-00815 | Gastroscope, Light Source CLV-U20 with 10 spare bulb, Suction pump KV-4 with extra bottle and plastic lines, Manual Disinfector TD-20 with extra liquid for Disinfector, any other essential accessories or consumable for two years of operation | 1 |  |  |
| 02-09-00816 | Kits for the following tests,T3,T4,TSH, Progesterone,Oestrogen, Prolactin,SSH,LH,Testosterone,Cortisol. Note:Adjustable quantity if necessary. | 500 each |  |  |
| 02-09-00817 | AUTOMATIC PIPPETE MEASURING MICRO. LITER(100ul,200ul,1000ul) | 10each |  |  |
| 02-09-00818 | INFRA RED SPECTROPHOTOMETER(PERKIN-ELMER MOD.682) | 1 |  |  |
| 02-09-00819 | * NESSLER CYLINDER(#: 657-000) * Ditto,in Wooden Rack with milk-glass bottom plate.(#:657-015) | 10 each 5sets |  |  |
| 02-09-00820 | * ROTARY VACUUM EVAPORATOR(#:252-700) * Heating bath for Rotary Evaporators(#:252-750) * Vacuum Seal (#:252-800) * Spare Evaporator Flask(#:252-802) * Receiver Flask(#:252-806) * Ditto,500 ml(#:252-807) * Ditto,2000ml(#:252-808) | 2 4 4 4 4 4 4 |  |  |
| 02-09-00821 | SEPERATING FUNNEL | 5 |  |  |
| 02-09-00822 | STAINLESS STEEL COLUM (25 CM*4.6 MM) | 10 |  |  |
| 02-09-00823 | STATIONARY PHASE C(ULTRASHERE ODS) | 2 |  |  |
| 02-09-00824 | ULTRAVIOLET & VISIBLE SPECTROPHOTOMETER | 1 |  |  |
| 02-09-00825 | AMMONIUM FERRIC SULPHATE | 5kilo |  |  |
| 02-09-00826 | ANHYDRUS SODIUM SULPHATE | 5kilo |  |  |
| 02-09-00827 | ACETONE | 20 LTR. |  |  |
| 02-09-00828 | ALKALINE TETRAZOLIUM BLUE SOLUTION | 1 LITER |  |  |
| 02-09-00829 | ANTIMONY TRICHORIDE SOLUTION | 1 LITER |  |  |
| 02-09-00830 | ACTIVATED CHARCOL | 1 KG |  |  |
| 02-09-00831 | ACETIC ACIDE | 10 LITER |  |  |
| 02-09-00832 | ACETIC ANHYDRIDE | 5 LITER |  |  |
| 02-09-00833 | AGAROSE-GEL ELECTROPHORESISE | 1 |  |  |
| 02-09-00834 | ACETONITRIL | 5 LITER |  |  |
| 02-09-00835 | AMMONIUM ACETATE | 5kilo |  |  |
| 02-09-00836 | AMMONIUM OXALATE | 5kilo |  |  |
| 02-09-00837 | ANHYDROUS SODIUM CARBONATE | 5 kg |  |  |
| 02-09-00838 | BROMOTHYMOL BLUE | 5 kg |  |  |
| 02-09-00839 | BUTAN-1-OL | 5 LITER |  |  |
| 02-09-00840 | CHLOROFORM | 20 LTR. |  |  |
| 02-09-00841 | CHLOROMETHYL NITROMIDAZOL | 1 LITER |  |  |
| 02-09-00842 | CITRIC ACIDE | 2 KG |  |  |
| 02-09-00843 | CARBON TETRACHLORIDE SOLUTION | 5 LITER |  |  |
| 02-09-00844 | CUPRI-TARTARIC SOLUTION | 5 LITER |  |  |
| 02-09-00845 | COBALT CHLORIDE | 5 LITER |  |  |
| 02-09-00846 | DISODIUM HYDROGENORTHO PHOSPHATE | 0.5 KG |  |  |
| 02-09-00847 | 1-4 DIOXAN | 5 LITER |  |  |
| 02-09-00848 | DIMETHYL FORMAMIDE | 5 LITER |  |  |
| 02-09-00849 | DICHLOROMETHANE | 5 LITER |  |  |
| 02-09-00850 | DIPHENYLAMINE | 5 LITER |  |  |
| 02-09-00851 | DIZAOTISED NITROANILINE SOLUTION | 5 LITER |  |  |
| 02-09-00852 | ETHNOL ALCOHOL PURE | 10 LTR |  |  |
| 02-09-00853 | ETHER | 10 LTR |  |  |
| 02-09-00854 | ETHYL ACETATE | 10 LTR |  |  |
| 02-09-00855 | ETHANOLIC SULPHURIC ACIDE | 5 LITER |  |  |
| 02-09-00856 | FERRIC CHLORIDE SOLUTION | 2 LITER |  |  |
| 02-09-00857 | FORMIC ACIDE | 5 LITER |  |  |
| 02-09-00858 | FINE GLASS MICROFIBRE FILTER PAPER (GF/C) | 10PCK. |  |  |
| 02-09-00859 | HYDROGEN PEROXIDE SOLUTION | 5 LITER |  |  |
| 02-09-00860 | GLYOXAL BIS (2-HYDROXYANIL) | 5 kg |  |  |
| 02-09-00861 | HYDROGEN SULPHIDE SOLUTION | 5 LITER |  |  |
| 02-09-00862 | HEXANITRODIPHENYLAMINE | 5 kg |  |  |
| 02-09-00863 | GLACIAL ACETIC ACIDE | 5 LITER |  |  |
| 02-09-00864 | HEPTANE | 5 LITER |  |  |
| 02-09-00865 | IODINE | 1 KG |  |  |
| 02-09-00866 | LEAD STANDARD SOLUTION (20PP PB) | 1 LITER |  |  |
| 02-09-00867 | METHANOL 95% | 20 LTR. |  |  |
| 02-09-00868 | 6- MERCAPTOPMINE | 5 kg |  |  |
| 02-09-00869 | METHAYL 3,5- DIAMINO-6-CHLORPYRAZINE -2-CARBOXYLATE | 5 kg |  |  |
| 02-09-00870 | METHYL ORANGE SOLUTION | 5 kg |  |  |
| 02-09-00871 | NITRIC ACIDE | 5 LITER |  |  |
| 02-09-00872 | 2-NAPHOL SOLUTION | 5 kg |  |  |
| 02-09-00873 | NIN HYDRIN SOLUTION | 5 kg |  |  |
| 02-09-00874 | N- TETRADECANE | 5kg |  |  |
| 02-09-00875 | N- HEXANE | 5kg |  |  |
| 02-09-00876 | NITROGEN GAS | 10 LITER |  |  |
| 02-09-00877 | ORTHOPHOSPHORIC ACIDE | 5 LITER |  |  |
| 02-09-00878 | PHENOLPHTHALINE SOLUTION | 5kg |  |  |
| 02-09-00879 | POTASIUM PERMANGANITE | 1 KG |  |  |
| 02-09-00880 | POTASIUM HYDROXIDE | 5kg |  |  |
| 02-09-00881 | POTASIUM IODOBISMUTHATE SOLUTION | 5kg |  |  |
| 02-09-00882 | PICRIC ACIDE | 5kg |  |  |
| 02-09-00883 | 3-PIPERIDYL PROPIOPHENONE HYDRCHLORIDE | 5kg |  |  |
| 02-09-00884 | PHENYL HYDRAZINE | 5kg |  |  |
| 02-09-00885 | PETOLIUM SPRITE | 5 LITER |  |  |
| 02-09-00886 | POTASIUM TETRAIODOMERCURATE | 5kg |  |  |
| 02-09-00887 | POTASIUM HEXACYANO FERRATE | 5kg |  |  |
| 02-09-00888 | PYRIDINE | 5kg |  |  |
| 02-09-00889 | POTASIUM HYDROGEN PHTHALATE | 5kg |  |  |
| 02-09-00890 | PHOSPHATE BUFER PH 7.0 SOLUTION | 5kg |  |  |
| 02-09-00891 | POTASSIUM IODIEDE | 2 KG |  |  |
| 02-09-00892 | POTASIUM DICHROMATE | 5kg |  |  |
| 02-09-00893 | PROPAN -2-OL | 5 LITER |  |  |
| 02-09-00894 | PHOSPHORUS PENTOXIDE | 5kg |  |  |
| 02-09-00895 | PHOSPHOTUNGSTIC ACIDE SOLUTION | 5 LITER |  |  |
| 02-09-00896 | POTASIUM CHROMATE | 5kg |  |  |
| 02-09-00897 | RESORCINOL | 5kg |  |  |
| 02-09-00898 | SODIUM TETRABORATE | 5kg |  |  |
| 02-09-00899 | SODIUM HYDROGEN CARBONATE | 5kg |  |  |
| 02-09-00900 | SODIUM PERIODATE | 5kg |  |  |
| 02-09-00901 | SULPHURIC ACIDE CONCENTRATED | 5 LITER |  |  |
| 02-09-00902 | SILVER NITRATE | 1 |  |  |
| 02-09-00903 | SODIUM NITRATE | 1 |  |  |
| 02-09-00904 | SULPHAMIC ACIDE | 5 LITER |  |  |
| 02-09-00905 | SODIUM ACETATE | 5 LITER |  |  |
| 02-09-00906 | SODIUM HYDROXIDE | 5kg |  |  |
| 02-09-00907 | SODIUM THIOSULPHATE | 1 KG |  |  |
| 02-09-00908 | ANHYDROUS SODIUM SULPHATE | 5kg |  |  |
| 02-09-00909 | SILICA GEL GF 254 | 5kg |  |  |
| 02-09-00910 | STARCH MUCILAGE | 5kg |  |  |
| 02-09-00911 | SODIUM CARBONATE | 2 KG |  |  |
| 02-09-00912 | STOPPERD FLASK-50 ML -100ML -500ML- 1000ML | 5 EACH |  |  |
| 02-09-00913 | SODIUM SULPHIDE SOLUTION | 5 LITER |  |  |
| 02-09-00914 | SINTERD GLASS | 10 |  |  |
| 02-09-00915 | SILICA GEL-H | 5kg |  |  |
| 02-09-00916 | SODIUM DIHYDROGEN ORTHOPHOSPHATE | 5kg |  |  |
| 02-09-00917 | 2,2,4-TRIMETHYLPENTANE | 5 LITER |  |  |
| 02-09-00918 | TOUENE | 5 LITER |  |  |
| 02-09-00919 | TRIETHYLAMINE | 5 LITER |  |  |
| 02-09-00920 | THIN LAYER CHROMATOGRAPHY APPARATUS(#:213-100),Complete Unit | 1 Unit |  |  |
| 02-09-00921 | TRICHOROACETIC ACIDE | 5 LITER |  |  |
| 02-09-00922 | 3,4,5-TRIMETHOXY-BENZOIC ACIDE | 5 LITER |  |  |
| 02-09-00923 | WHATIMAN GF/C FILTER | 5kg |  |  |
| 02-09-00924 | ZINC POWDER | 5 KG |  |  |
| 02-09-00925 | REFLEX CONDENCER | 4 |  |  |
| 02-09-00926 | WHATMAN KC 18 F PLATES (BELONG TO THIN. CHROMA) | 2 SET |  |  |
| 02-09-00927 | Earphone, different sizes, different levels of sound amplification | 24 set |  |  |
| 02-09-00928 | ECG Model:5403 1. PCB (part No.: Up-40 2. Paitient cable By-261D(part No.: 1005-570383) | 2 5 |  |  |
| 02-09-00929 | X-Ray system,Universal remote controoled,model:HD-150C-40 1. Am selector(#: 501-64567) 2. Am control(A) (#: 501-62497) | 2 1 |  |  |
| 02-09-00930 | X-Ray processor,RP X-OMAT processor,model:M8 1. Saft(#: 473955) 2. Gear(#: 594184) 3. Bearing (#: 562796) 4. Impeller (#: 480425) 5. Decanta (#: 454876) 6. Filter for developer (#: 562720) 7. Gear for dryer (#: 550774) 8. Roller (#: 562913) | 2 2 2 2 2 2 2 2 |  |  |
|  | 9. Gear (#: 550781) 10. Gear (#: 594480) 11. Rett (#: 562876) 12. Fault monitor circuit board assembly (#: 602724) 13. Standby circuit board assembly (#: 602722) 14, Area accumulator circuit board assembly602723; 15 Prism 562469; 16Power board circuit assembly 602720; 17 fluid control circuit board assembly 602721 | 2 2 2 1 1 |  |  |
| 02-09-00931 | X-Ray generator integral system model:HD-150B * Lead relay RS4423-2P (#: 500-13716-02) | 3 |  |  |
| 02-09-00932 | Strilizer Steam,21 cu ft double door,model:FVA-M12W 1. Solenoid valve 221G1603/4270 2. Solenoid valve water SX3-GW80 3. Packless valve 11/4" | 2 2 2 |  |  |
| 02-09-00933 | Monitor foetal,model: FD-200 1. Brobe 2. IC TP-7089 | 10 2 |  |  |
| 02-09-00934 | X-Ray,model MC 125 L-30 1. kV/MAS Board control 501-64361 R 2. Hightension capacitor | 3 10 |  |  |
| 02-09-00935 | Monitoring patient staff console,model:ICU 6000(CAT),4 CH memery oscilloscope model:VM-645R,patient selector model:PP-641 P, housing cabinet model:CD-642 R,2CH oscikkoscope model:VC-621 P |  |  |  |
|  | 1. PCB 103016,Analog board,ANL-002 2. Female adapter(wall outlet from central monitor) | 1 10 |  |  |
|  | 3. ECG patient cable(#: BJ-261D-5570383) 4. Electrades | 5 200 |  |  |
|  | 5. Cardio cream | 100 |  |  |
| 02-09-00936 | Sterilizer Porous,high pressure,70cu.ft,model:FVA-B09 1. Three way solenoid valve,100V ac,7W,2M/M,7KG/CM2, (#: MS 37) | 4 |  |  |
|  | 2. Pressure swtch 3. Air valve SV 062(#: SE2-80-2W) | 2 2 |  |  |
| 02-09-00937 | Glucose Analyzer,model:CL-720 * Lamp for key 6.3V.5.5A(#: 200-39053) | 5 |  |  |
| 02-09-00938 | X-Ray,model:HD 150 B-10 * Fuse board | 1 |  |  |
| 02-09-00939 | Low frequency therapy apparatus,model: Neuroton 726S * PCB(# : 5336532 E2200) | 1 |  |  |
| 02-09-00940 | Infrared,220V,50Hz,Infrared way 1,000 MM,model:L-206S(CAT) * Lamp 600W | 2 |  |  |
| 02-09-00941 | Mobile X-Ray, model WH 11 P * Tube, Focus 1.8 mm(#:62302956) | 1 |  |  |
| 02-09-00942 | Cabinet,Drying,model:TK-11 * Lamp | 10 |  |  |
| 02-09-00943 | Deep Freezer,6 cu ft, -20 C,150 liters,model:MDF-440 * Starting capacitor-(L) 1.2239-501-98 | 5 |  |  |
| 02-09-00944 | X-Ray tube stand,model:FH-21 * Halogen lamp | 20 |  |  |
| 02-09-00945 | Microwave therapy apparatus,model:706 1. Instrument(#: EE 543 47 18 946) | 1 |  |  |
| 02-09-00946 | Cryosurgery Unit,Ophthalmic,model:ELBOKRY-OA * Straibht cataract probe(#:1269832) | 5 |  |  |
| 02-09-00947 | Cautery Unit.model:TRC-500-SS * Electrodes(A-L) | 5 |  |  |
| 02-09-00948 | Trolley,emergency resuscitation,model:TEC-5200B * Electrical parts assembly(part #:Hv-520V) | 2 |  |  |
| 02-09-00949 | Incubator,Baby Intesive care,mobile,model:V-80 1. Power switch. 2. Access port cover. | 2 3 |  |  |
| 02-09-00950 | X-Ray machine 500ma, model ED-125L |  |  |  |
|  | 1. X-Ray tube, 30458B, Focus 1/2" | 1 |  |  |
|  | 2. Lamp 12V | 4 |  |  |
|  | 3. MA Regulator Board(#: 501-62924B) | 1 |  |  |
|  | 4. MA Selector - 10(#: 501-62916B) | 1 |  |  |
| 02-09-00951 | Microscope, model BH |  |  |  |
|  | * Lamp, 6V-15W | 10 |  |  |
| 02-09-00952 | Microscope, model CHT |  |  |  |
|  | * Lamp, 120V-30W | 30 |  |  |
| 02-09-00953 | Colonoscope, Light Source CLV-U20 with 10spare bulb, Suction pump KV-4 with extra bottle and plastic lines, Manual Disinfector TD-20 with extra liquid for Disinfector, any other essential accessories or consumable for two years of operation | 1 |  |  |
| 02-09-00954 | Physiological Patient Monitor (ECG, Temp, NIBP) with complete set of accessories, disposable, and spare parts for two years of operation | 2 |  |  |
| 02-09-00955 | Gastroscope, Light Source CLV-U20 with 10 spare bulb, Suction pump KV-4 with extra bottle and plastic lines, Manual Disinfector TD-20 with extra liquid for Disinfector, any other essential accessories or consumable for two years of operation | 1 |  |  |
| 02-09-00956 | STONELITH SMART, Extracorporeal Shock Wave Lithotripter, incl. installation, 2 years maintenance contract with spare parts, training for doctors as users and engineers for service, all operator and service manuals in English language | 1 |  |  |
| 02-09-00957 | Clinical / Diagnostic Audiometer, Midimate 622, Complete with accessories for two years of operation | 1 |  |  |
| 02-09-00958 | Automatic CO2/ Humidity Incubator, model INCO2/108, Cat. No. IN670-20 | 1 |  |  |
|  | Stainless steel shelf, full width, Cat No. IN670-62, for above incubator | 2 |  |  |
| 02-09-00959 | Incubator, Series BP, model BP500, 108 litres, Cat No. IN460-43 | 1 |  |  |
|  | Shelves, Cat No. IN463-10, for the above incubator | 2 |  |  |
| 02-09-00960 | Platform Tray Trolleys, Cat. No. TT765-40 | 5 |  |  |
| 02-09-00961 | Platform Tray Trolleys, Cat. No. TT765-10 | 5 |  |  |
| 02-09-00962 | Centrifuge tubes, Cat. No. CF330-22, 15ml, conical | 1000 |  |  |
| 02-09-00963 | Test Tube Peg Stands, Azlon, Cat.No. SM330-40 | 30 |  |  |
| 02-09-00964 | Stopwatch, Mechanical, Cat No. TM400-10 | 5 |  |  |
| 02-09-00965 | Bottle Top Dispenser, Safety Zippette, 2.5ml, Cat. No. DK230-10 | 10 |  |  |
| 02-09-00966 | Bottle Top Dispenser, Safety Zippette, 5ml, Cat. No. DK230-14 | 10 |  |  |
| 02-09-00967 | Bottle Top Dispenser, Safety Zippette, 10ml, Cat. No. DK230-18 | 10 |  |  |
| 02-09-00968 | Reservoir bottle, Cat. No. DK235-15 | 40 |  |  |
| 02-09-00969 | Shaking Water Bath, Grant OLS200, Cat No. BJ404-25 | 1 |  |  |
| 02-09-00970 | Sloping lid, LS200, Cat.No. BJ418-10 | 1 |  |  |
| 02-09-00971 | Test tube tray, TT200, Cat No. BJ410-54 | 1 |  |  |
| 02-09-00972 | Test tube rack, H1 series, Cat.No. BJ412-04 | 1 |  |  |
| 02-09-00973 | Test tube rack, H1 series, Cat.No. BJ412-08 | 1 |  |  |
| 02-09-00974 | Test tube rack, H1 series, Cat.No. BJ412-12 | 1 |  |  |
| 02-09-00975 | Parafilm, M Sealing Film, Cat. No. SE165-20 | 20 |  |  |
| 02-09-00976 | Cutter/Dispenser for Parafilm M, Cat. No. SE168-10 | 2 |  |  |
| 02-09-00977 | Peristaltic pump, 505S/RL, Cat. No. PX700-50 | 1 |  |  |
| 02-09-00978 | Peristaltic Pump Tubing, For PX700-50, Cat. No. PX820-12 | 5m |  |  |
| 02-09-00979 | Peristaltic Pump Tubing, For PX700-50, Cat. No. PX820-16 | 5m |  |  |
| 02-09-00980 | Peristaltic Pump Tubing, For PX700-50, Cat. No. PX820-22 | 5m |  |  |
| 02-09-00981 | Peristaltic Pump Tubing, For PX700-50, Cat. No. PX820-32 | 5m |  |  |
| 02-09-00982 | Test paper Strips, Whatman CF, Cat. No. TD200-20 | 10 packs |  |  |
| 02-09-00983 | Laboratory Coat, for men, Chest 96 cm Cat. No. SA275-35 | 30 |  |  |
| 02-09-00984 | Laboratory Coat, for men, Chest 100 cm Cat. No. SA275-45 | 30 |  |  |
| 02-09-00985 | Laboratory Coat, for men, Chest 108 cm Cat. No. SA275-55 | 20 |  |  |
| 02-09-00986 | Laboratory Coat, for men, Chest 112 cm Cat. No. SA275-65 | 20 |  |  |
| 02-09-00987 | Laboratory Coat, for women, Chest 92-96 cm Cat. No. SA280-34 | 70 |  |  |
| 02-09-00988 | Laboratory Coat, for women, Chest 96-104 cm Cat. No. SA280-54 | 70 |  |  |
| 02-09-00989 | Laboratory Coat, for women, Chest 108-112 cm Cat. No. SA280-64 | 20 |  |  |
| 02-09-00990 | Bench pH Meter, Corning model 430, Cat. No. PH450-10 | 4 |  |  |
| 02-09-00991 | Spare Electrodes for the above pH meter, Cat. No. PH452-15 | 8 |  |  |
| 02-09-00992 | Centrifuge, Centurion 4000 Series, model 4040E, Cat. No. CD320-10 | 4 |  |  |
| 02-09-00993 | Swing-out rotor 4x100ml, Cat. No. CD322-13 | 4 |  |  |
| 02-09-00994 | Buckets 100ml, set of 4, Cat. No. CD322-15 | 4 |  |  |
| 02-09-00995 | Adapters for 100ml bucket, Cat. No. CD274-28 | 4 |  |  |
| 02-09-00996 | Adapters for 100ml bucket, Cat. No. CD274-35 | 4 |  |  |
| 02-09-00997 | Ultra-Violet Lamp, UVP, model UVL-21, Cat. No. 36582-044 | 2 |  |  |
| 02-09-00998 | Replacement tube, 4W/Longwave, Cat.No. 36582-087 | 4 |  |  |
| 02-09-00999 | Ultrasonic Cleaner, Aquasonic, 5.7L, model 150D-220, Cat. No. 21811-913 | 1 |  |  |
| 02-09-01000 | Cleaning Solution, 3.8L, Heavy-duty, Cat. No. 21811-894 | 5 cases |  |  |
| 02-09-01001 | Cleaning Solution, 3.8L, General Purpose, Cat. No. 21811-900 | 5 cases |  |  |
| 02-09-01002 | Stainless Steel Pan, for model 150, Cat.No. 21811-860 | 1 |  |  |
| 02-09-01003 | Stainless Steel Beaker Positioner, for model 150, Cat. No. 21811-862 | 1 |  |  |
| 02-09-01004 | Stainless Steel Mesh Basket, for model 150, Cat. No. 21811-866 | 1 |  |  |
| 02-09-01005 | Stainless Steel Perforated Basket, for model 150, Cat. No. 21811-864 | 1 |  |  |
| 02-09-01006 | Bio-Safe Polycarbonate Carrier, Nalgene, Cat No. 56609-112 | 4 |  |  |
| 02-09-01007 | Zeiss Binocular Microscop, Sandard 20, Cat. No. 079-200 | 1 |  |  |
| 02-09-01008 | 10 Spare Lamps, 6V 20W, for the above microscope | 2 |  |  |
| 02-09-01009 | Plastic Cuvettes, 10 x10 mm, pack of 500pcs, for UV/VIS Spectrophotometer 6105, Cat. No. 043-111 | 1 packs |  |  |
| 02-09-01010 | Cold room for keeping bodies (Morgue), capacity: 10 bodies | 1 |  |  |
| 02-09-01011 | Oxygen dose regulator complete (pressure gauge, flow meter, hydration tank and application tube) with male threaded fitting for 48 cu.ft cylinder | 50 |  |  |
| 02-09-01012 | Horizontal Electrically Heated High pressure Sterilizer, at least 18 Cu ft, complete | 3 |  |  |
| 02-09-01013 | ELISA system for HIV diagnostic and investigation, complete with all accessories, consumable (incl. the chemicals) and spare parts for two years of operations | 2 |  |  |
| 02-09-01014 | Kits for the following tests,T3,T4,TSH, Progesterone,Oestrogen, Prolactin,SSH,LH,Testosterone,Cortisol. Note:Adjustable quantity if necessary. | 700 each |  |  |
| 02-09-01015 | Cardiotocography monitor & recorder, for fetal heart rate and uterus contraction with complete set of accessories, disposable and spare parts for two years of operation | 2 |  |  |
| 02-09-01016 | Ophthalmoscope, with rechargeable battery and Built in recharger (220V,50Hz), set of 15 spare bulb | 5 |  |  |
| 02-09-01017 | Retinoscope, with rechargeable battery, set of 15 spare bulb | 5 |  |  |
| 02-09-01018 | Lenses Trail Case & Frame, complete set | 1 |  |  |
| 02-09-01019 | EEG Machine with complete set of accessories, disposable and spare parts for two years of operation | 1 |  |  |
| 02-09-01020 | Bilirubin meter for new born, Cutaneous (Flash light system) | 2 |  |  |
| 02-09-01021 | Dermatological Laser therapeutic unit complete, with set of accessories, disposable and spare parts for two years of operation | 1 |  |  |
| 02-09-01022 | EMG Machine with complete set of accessories, disposable and spare parts for two years of operation | 1 |  |  |
| 02-09-01023 | Sigmodoscope, Light Source CLV-U20 with 10 spare bulb, Suction pump KV-4 with extra bottle and plastic lines, Manual Disinfector TD-20 with extra liquid for Disinfector, any other essential accessories or consumable for two years of operation | 1 |  |  |
| 02-09-01024 | Bed sore preventing mattress (air mattress), adult | 5 |  |  |
| 02-09-01025 | Refractometer (Brix meter) INTRI ABS | 1 |  |  |
| 02-09-01026 | Smoking Machine (for testing Tar & Nicotine) with related chemical for 2 years of operation, model 302 | 1 |  |  |
| 02-09-01027 | Phosphate- Reagent II | 20x250 mml Bottle |  |  |  |
| 02-09-01028 | Phosphate- Reagent I | 20x250 mml Bottle |  |  |  |
| 02-09-01029 | Brocella Agar Base | 5 Kg |  |  |
| 02-09-01030 | Wire Gause | 20 each |  |  |
| 02-09-01031 | Photocopier,model:NP-120 1. Cleaning belt (#: FF1-2382-000) 2. Wiper felt (#: FA2-1227-000) 3. Separator (#: FF1-2493-000) 4. DC -cotroller PCB assy.(#: FG1-1456-000) 5. Separation belt(#: FA2-0981-000) 6. Corona wire 20m/red(#: FY0-0040-000) | 2 2 2 1 2 2 |  |  |
|  | 7. PCD keyboard Arabic 8. Type wheel(Arabic) 9. Logic board | 1 2 1 |  |  |
| 02-09-01032 | Chilled water circulation pump(PU),45Kw,model:TFO 1. Thermal resistor 4 ohm 2. bearing | 12 2 |  |  |
| 02-09-01033 | Chiller(A) Absorbtion waer chiller ,model:HAV 17-DL 1. Control motor(#:WGK-6205) 2. Pressure reducig valve for steam pressure(#:481-S) 3. Safty relief valve (# :SAS RP-1804) 4. Oil,rotary vaccume pump 5. Rubber gaskket for right and behind door of chiler | 3 3 3 3 9 |  |  |
|  | 6. Carbon gasket | 20 |  |  |
| 02-09-01034 | Boiler(MP-Boiler),Max working pressure 10Kg/cm2,Heating Surfase 58 m2,model:MP-809 1. Fire tube 2. Packing for gauge glass 3. Packing for burner 4. Packing for manhole 5. Ignition transformer | 300 500 50 12 3 |  |  |
|  | 6. Oil pump 7. Burner 8. V-Belt for burner 9. Mercury switch(two point ) 10. Mercury switch(three point) 11. Tool for cleaning the inside of tube | 3 3 6 3 3 3 |  |  |
| 02-09-01035 | OKI automatic desk telephone set for PBX system 1.Dial desk 2. Transmitter 3. Receiver (#:R-62) 4. Coaxial cable (4 wires) | 10 60 60 50 |  |  |
| 02-09-01036 | Elevator Cotrol,model P,model PF 1. Conductor(#:DF-MB2) 2.Conductor(#:DF-MX2) 3.Conductor(#:DF-M2X2) 4. Condutor (#:DF-M2) 5.Door Guide shone (#: H1208101) 6. Door hannger(#: H1211110) 7. Door hanger(#: H1211210) 8.Eccentric Roller(#:H1214301) | 10 5 5 10 50 10 10 10 |  |  |
|  | 9. Micro switch(#:H1831201) 10. Safty shoe(#:H1231101) 11. Door lock switch(#:H12247210) 12. Door lock swtich(#: H12224720) 13.Cushion rubber(#: H1202221) 14.Cushion rubber(#: H1202222) 15. Cushion rubber (#: H1202101) 16. Emergency lamp(#: H1402900) | 2 2 5 5 10 10 10 20 |  |  |
|  | 17. Fluorescent lamp(#: H1404710) 18. Fluorescent lamp(#:H1404904) 19. Glow lamp(#: H1404503) 20. Carbon brush(#:H1510007) 21Cam condutor(#:H18115560) 22. Roller for door grippe(#: H1216501) 23. Resistor(#: H1511210) 24. Door controller(#: H1512801) | 10 10 20 5 3 2 2 2 |  |  |
|  | 25. Brake lining(#: H1601901) 26. PCB(#: H1725611) 27. PCB(#: H1725211) 28.PCB(#: H1725613) 29. PCB(#:H1725212) 30. PCB(#:H1725614) 31. PCB(#:H1725213) 32. PCB(#: H1725615) | 15 1 1 1 1 1 1 1 |  |  |
|  | 33. PCB(#: H1725215) 34. PCB(#: H1725617) 35. PCB(#: H1725216) 36. PCB(#:H1725618) 37. PCB(#:H1725218) 38.Finger(#: H1778407) 39.Relay(#: HMS-110W) 40. Relay(#: MS-048) 41. Relay(#: GS-W) 42. Relay(#: TS-W) | 1 1 1 1 1 40 30 20 5 5 |  |  |
|  | 43. Finger CR(#: H1751070) 44. Finger CR(#: H1751091) 45. Finger TX(#: H1753520) 46. Finger TX(#: H1753540) 47. Finger TX(#: H1753550) | 2 2 2 2 2 |  |  |
| 02-09-01037 | Washing machine, model W- 183, 18 Kg |  |  |  |
|  | 1. Heater 18 kW | 2 |  |  |
|  | 2. Program selector | 2 |  |  |
|  | 3. Door switch | 1 |  |  |
|  | 4. Solenoid valve(#: EVD - 20) | 1 |  |  |
|  | 5. Sensor | 1 |  |  |
|  | 6. Thermostat | 1 |  |  |
| 02-09-01038 | Drying Tumble, model C - 84, 8 Kg |  |  |  |
|  | 1. Heater 13.5 kW | 1 |  |  |
|  | 2. Program selector | 1 |  |  |
|  | 3. Coin meter | 1 |  |  |
| 02-09-01039 | Cooling Tower,Fan DIA 1800mm,Water flow 7800L/min ,Air flow 5340m3/min ,model:SDC-900 AST 1. Fin 2. Bearing for fan 3. V-Belt for B-83 motor Fan` | 9000 24 72 |  |  |
|  | 4. Pulley 5. Valve of water 2" | 12 6 |  |  |
| 02-09-01040 | Generator,680KVA,380v,50Hz,model:YEF 010U 1. Governor 2. Fuel filter 3. Air cleaner-mai element-P12-1623 U.S.A.(#: FWD 16-0017) 4. Cyllinder G.M. (#: 12E-7995) 5. Feed pump (G.M.) | 3 8 8 8 3 |  |  |
| 02-09-01041 | Water softener,model:RBS 600 * Valve that control of operation in softener | 2 |  |  |
| 02-09-01042 | Boiler (MP-Boiler), Max working pressure 10Kg/cm2, Heating Surface 58 m2, similar to manufacture No. B10126MP809 but newer model | 1 |  |  |
| 02-09-01043 | Air compressor, Press 7Kg/cm2, RPM 860, Motor 3.7Kw, Dryer air | 2 |  |  |
| 02-09-01044 | Steam trap, type BFF27,size 11/2",Max press 4Kg/cm2, Max Temp 151C | 4 |  |  |
| 02-09-01045 | Steam trap, type 7K,size 1"and 3/4" | 4 |  |  |
| 02-09-01046 | Steam trap for chillier, type BFF27, Size 11/2",Max Press 8Kg/cm2,Max Temp 161C | 10 |  |  |
| 02-09-01047 | Steam trap, type BFF27,size 2",Max press 4Kg/cm2, Max Temp 151C | 10 |  |  |
| 02-09-01048 | Steam trap, type 10K, Size 11/4" | 6 |  |  |
| 02-09-01049 | Full Automatic Water Softening Equipment(SAT) | 1 |  |  |
| 02-09-01050 | Meat Chopper 500W, 50Hz(#:MP-22) | 1 |  |  |
| 02-09-01051 | Water ring pump VP1(#: SRM 0508) | 2 |  |  |
| 02-09-01052 | Generator, 252 kVA, model Outdoor SGB |  |  |  |
|  | 1. Fuel injection pump | 1 |  |  |
|  | 2. Gasket | 10 |  |  |
|  | 3. Piston ring | 10 |  |  |
|  | 4. Piston | 10 |  |  |
|  | 5. Gudjeon pin | 10 |  |  |
|  | 6. Circlip | 10 |  |  |
|  | 7. Bush | 10 |  |  |
|  | 8. Connection rod | 10 |  |  |
|  | 9. Cap+Nozzel | 10 |  |  |
|  | 10. Automatic control device | 2 |  |  |
|  | 11. Automatic control voltage | 2 |  |  |
|  | 12. Turbocharger | 2 |  |  |
|  | 13. Fuel filter | 10 |  |  |
|  | 14. Oil filter | 10 |  |  |
|  | 15. Air cleaner | 10 |  |  |
|  | 16. Alternator | 1 |  |  |
| 02-09-01053 | Generator, 250 kVA, model CGM 250P |  |  |  |
|  | 1. Fuel injection pump | 1 |  |  |
|  | 2. Gasket | 3 |  |  |
|  | 3. Piston ring | 3 |  |  |
|  | 4. Piston | 3 |  |  |
|  | 5. Gudjeon pin | 3 |  |  |
|  | 6. Circlip | 3 |  |  |
|  | 7. Bush | 3 |  |  |
|  | 8. Connection rod | 3 |  |  |
|  | 9. Cap+Nozzel | 3 |  |  |
|  | 10. Automatic control device | 2 |  |  |
|  | 11. Automatic control voltage | 1 |  |  |
|  | 12. Turbocharger | 1 |  |  |
|  | 13. Fuel filter | 10 |  |  |
|  | 14. Oil filter | 10 |  |  |
|  | 15. Air cleaner | 6 |  |  |
|  | 16. Alternator | 1 |  |  |
| 02-09-01054 | Generator, 75 kVA, model CGM 75P |  |  |  |
|  | 1. Fuel injection pump | 1 |  |  |
|  | 2. Gasket | 2 |  |  |
|  | 3. Piston ring | 2 |  |  |
|  | 4. Piston | 2 |  |  |
|  | 5. Gudjeon pin | 2 |  |  |
|  | 6. Circlip | 2 |  |  |
|  | 7. Bush | 2 |  |  |
|  | 8. Connection rod | 2 |  |  |
|  | 9. Cap+Nozzel | 2 |  |  |
|  | 10. Automatic control device | 1 |  |  |
|  | 11. Automatic control voltage | 1 |  |  |
|  | 12. Fuel filter | 10 |  |  |
|  | 13. Oil filter | 10 |  |  |
|  | 14. Air cleaner | 6 |  |  |
| 02-09-01055 | Washer - Extractor, capacity per load: not less than 50 Kg dry weight, 380 V, 50Hz, with spare parts for two years of operation | 3 |  |  |
| 02-09-01056 | Tumble Dryer, capacity per load: not less than 50 Kg dry weight, 380V, 50Hz, with spare parts for two years of operation | 2 |  |  |
| 02-09-01057 | Manual Pallet truck, length 1.5m, width 0.5m | 4 |  |  |
| 02-09-01058 | Toyota Dyna truck, 2 tons, diesel engine | 3 |  |  |
| 02-09-01059 | Spare parts for 2 years maintenance | 3 |  |  |
|  | Epidemiological services equipment |  |  |  |
| 02-09-01060 | Pickup,Petrol,double cabinet,Aircondition ,Alarm,spare parts 20%,Tires | 7 |  |  |
| 02-09-01061 | Desk top Computer,WHO standard,Pentuium 2,333 MHz ,64MB Memory,4GB Hard disk,Win 98,Office 97,All manuals must be in English language | 19 |  |  |
| 02-09-01062 | Printer,HP6P,ink cartridge | 19 |  |  |
| 02-09-01063 | UPS Smart 650 VA, APC | 19 |  |  |
| 02-09-01064 | Photocopy Machine,Canon 1215,with English operational and service manual and spare parts and consumables for 200,000 copies | 6 |  |  |
| 02-09-01065 | Calculators,Casio,scientific ,simple | 150 |  |  |
| 02-09-01066 | Ronio Machine,with operational and service manual and spare parts and consumables for 300,000 copies | 3 |  |  |
| 02-09-01067 | Stencil Cutter with operational and service manual and spare parts for 300,000 copies | 3 |  |  |
| 02-09-01068 | Stabilizers for computers, Stac,400VA | 19 |  |  |
| 02-09-01069 | Blood bank refrigerator, Foster, Old Medow Rd, Kings Lynn, Norfolk | 11 |  |  |
| 02-09-01070 | Blood bank refrigerator | 11 |  |  |
| 02-06-01071 | Temperature meter & sensor | 6 |  |  |
| 02-06-01072 | Thermostat | 22 |  |  |
| 02-06-01073 | Evaporation fan motor & fan blade | 11 |  |  |
| 02-06-01074 | Condenser fan motor & fan blade | 21 |  |  |
| 02-06-01075 | Compressor | 21 |  |  |
| 02-06-01076 | Weekly charts for 2 years use (set) | 42 |  |  |
| 02-06-01077 | Pen for writing chart for 2 years use | 42 |  |  |
| 02-06-01078 | High & low temperature switch | 11 |  |  |
| 02-06-01079 | Simple Photocopy machine, only A4, desktop | 22 |  |  |
| 02-06-01080 | Toner cartridge for above photocopier | 134 |  |  |
| 02-06-01081 | A4 photocopy paper, rem | 430 |  |  |
| 02-06-01082 | All Siemens Equipment: Manuals in English language, Training for 2 Doctors and 1 Engineer for each equipment, Maintenance/spare parts for 2 years, Maintenance contract for a period of 2 years & Installation of units |  |  |  |
| 02-06-01083 | Ultrasound Sonoline Versa Pro incl. all accessories and all needed Transducer (printer paper & gel for 2 years) | 3 |  |  |
| 02-06-01084 | Fluoroscopy examination Siremobil 2000, incl. all accessories | 6 |  |  |
| 02-06-01085 | Central monitor for CCU | 5 |  |  |
| 02-06-01086 | Patient monitor for CCU | 22 |  |  |
| 02-06-01087 | Spigmomanometer, electronic | 30 |  |  |
| 02-06-01088 | Short wave equipment | 5 |  |  |
| 02-06-01089 | Micro wave equipment | 5 |  |  |
| 02-06-01090 | Professional ultrasound (Therapy) | 5 |  |  |
| 02-06-01091 | Tomographic table system, (hpcs CD # 16-884) | 1 |  |  |
| 02-06-01092 | Xerograph | 2 |  |  |
| 02-06-01093 | Mass-X-Ray Unit (Chest) | 1 |  |  |
| 02-06-01094 | Cardiac ultrasonic scanner / echocardiography | 2 |  |  |
| 02-06-01095 | Ultrasound for maternity incl. Vaginal probe | 2 |  |  |
| 02-06-01096 | Oxygene concentrator, OXYMAT 2 | 30 |  |  |
| 02-06-01097 | Bacterial filter, OXYMAT 2 | 300 |  |  |
| 02-06-01098 | Fine filter, OXYMAT 2 | 300 |  |  |
| 02-06-01099 | Air filter, OXYMAT 2 | 300 |  |  |
| 02-06-01100 | Autoanalyzer for Biochemical determination, Multi channel, with all accessories and spare parts for three years. Incl. English op. Manual, installation and training for users. | 2 |  |  |
| 02-06-01101 | Coulter Counter for Haematological estimation (Hb, pcv, WBC, platelet,.etc.), with all accessories and spare parts for two years, incl. installation, english op. manual and training for users. | 2 |  |  |
| 02-06-01102 | Colony counter with all accessories and necessary spare parts | 2 |  |  |
| 02-06-01103 | Trinocular Microscope with integrated light desolution, CCD camera, incl. all necessary accessories and spare parts for 2 years, engl. op. manual | 1 |  |  |
| 02-06-01104 | Electrothermal paraffin section mounting bath, Ref. MH 8515 | 1 |  |  |
| 02-06-01105 | Creams and lubricating fluid for above bath, 3 years operation | 1 set |  |  |
| 02-06-01106 | Knives-C for histological blockss, rotating Microtome | 10 |  |  |
| 02-06-01107 | Metal moulds for making wax tissue blocks | 100 |  |  |
| 02-06-01108 | Immuno Wash-Nunc. 12 channel, cat # 455-492 62409-160 | 1 |  |  |
| 02-06-01109 | Micro plate Reader & Washers, auto reader features, Model EL x 808 | 1 |  |  |
| 02-06-01110 | Automatic X-Ray Film Processor, incl. Spare parts for two years | 23 |  |  |
| 02-06-01111 | Dental X-Ray Film Processor, PERIOMAT 13 | 15 |  |  |
| 02-06-01112 | Autoclave 200l, AUX-785-031H | 20 |  |  |
| 02-06-01113 | Shelf pack AUX-487-500K | 20 |  |  |
| 02-06-01114 | Shelf pack AUX-487-503E | 20 |  |  |
| 02-06-01115 | Spares shelf pack AUX-487-010E | 20 |  |  |
| 02-06-01116 | Discard Box AUX-487-505A | 20 |  |  |
| 02-06-01117 | Spare door gasket for 200l autoclave | 50 |  |  |
| 02-06-01118 | Spare bakterial filter for 200l autoclave | 250 |  |  |
| 02-06-01119 | Oxygene plant | 1 |  |  |
| 02-06-01120 | Kerosene heater with removable tank incl. extra wicks | 200 |  |  |
| 02-06-01121 | Power travel and lift pedestrian controlled stacker truck | 1 |  |  |
| 02-06-01122 | Adult Gastroscope, GIF xa20, complete | 3 |  |  |
| 02-06-01123 | Adult flexible sigmoidoscope CFQ20s complete | 3 |  |  |
| 02-06-01124 | Adult fiberoptic bronchoscope BFQ20 complete | 3 |  |  |
| 02-06-01125 | Light source for the OES system codoscopes CLU10 | 2 |  |  |
| 02-06-01126 | Electrocautery unit PSD2, icl. all accessories | 2 |  |  |
| 02-06-01127 | Accessories for PSD2: grasping foceps, suture cutting forceps, loops, coagulation electrode heart probe, injectors, crushing basket, papillotory knife | 2 |  |  |
| 02-06-01128 | Adult colonoscope set, flexible, incl all acessories | 1 |  |  |
| 02-06-01129 | Laparoscopy with video, compl. Incl. All acessories | 2 |  |  |
| 02-06-01130 | Fugarty Catheter, set | 20 |  |  |
| 02-06-01131 | Heart doppler, handhold | 5 |  |  |
| 02-06-01132 | ERBOTOM ICC300 without light source incl. Electrodes (2000pcs) | 10 |  |  |
| 02-06-01133 | Ultraviolet light lamp incl. 3 sets of spare bulbs | 3 |  |  |
| 02-06-01134 | Heavy duty cauteryset, Rimmer | 8 |  |  |
| 02-06-01135 | Plaster (PoP, Gypsum) saw, electric | 20 |  |  |
| 02-06-01136 | Saw blades for above saw, mixed sizes | 300 |  |  |
| 02-06-01137 | Cervical traction set | 5 |  |  |
| 02-06-01138 | Intermittent cervical traction set | 5 |  |  |
| 02-06-01139 | Paraffin bath complete, thermometer, etc. | 1 |  |  |
| 02-06-01140 | Paraffin wax, kg | 50 |  |  |
| 02-06-01141 | Ultraviolet lamps | 5 |  |  |
| 02-06-01142 | Iontophoresis Unit, Sweat test | 1 |  |  |
| 02-06-01143 | Adult pulmonary function analyzer | 1 |  |  |
| 02-06-01144 | Spirometer, Diagnostic complete with accessories | 5 |  |  |
| 02-06-01145 | Heated Nebulizer, (hpcs CD 12-716) | 1 |  |  |
| 02-06-01146 | Nebulizer Ultrasonic, (hpcs CD 12-719) | 1 |  |  |
| 02-06-01147 | EEG incl. Printer, Monitor & all patient electrodes, engl. Op/Service-manual | 2 |  |  |
| 02-06-01148 | Print paper, rolls | 200 |  |  |
| 02-06-01149 | Spare patient electrodes, set | 4 |  |  |
| 02-06-01150 | Spare patient cable | 4 |  |  |
| 02-06-01151 | Chiba needle for percutaneous transhepatic cholargigraphy | 10 |  |  |
| 02-06-01152 | Adult Cysto Urethroscope set, varius sizes telescopes, necessary accessories | 2 |  |  |
| 02-06-01153 | Camera for above urethoscope incl. necessary accessories | 2 |  |  |
| 02-06-01154 | Cyst-Urethoscope for children 7/9 charr, complete | 2 |  |  |
| 02-06-01155 | Cystoscopy-arethroscopy: div. Flexible forceps & instruments | 1 set |  |  |
| 02-06-01156 | Resectoscopy for TURP TUR of bladder tumor | 1 |  |  |
| 02-06-01157 | diff. Sizes ureteric catheter dormia basket, ureteric stents J shape & pig tail | 1 set |  |  |
| 02-06-01158 | Doppler, (Sonic Aid) | 10 |  |  |
| 02-06-01159 | Doppler & Recorder | 6 |  |  |
| 02-06-01160 | Labour beds | 10 |  |  |
| 02-06-01161 | New born resuscitator, complete | 8 |  |  |
| 02-06-01162 | Suction curettage with diff. sizes of curettes | 4 |  |  |
| 02-06-01163 | Pelviscope with acessories | 5 |  |  |
| 02-06-01164 | Laparoscope | 5 |  |  |
| 02-06-01165 | Cryotherapy set | 2 |  |  |
| 02-06-01166 | Training course on service of Moterola/Canon & Sharp photocopier for one engineer | 1 |  |  |
| 02-06-01167 | Training course for 2 Surgeons for micro surgery (Hamburg-Eppendorf, Germany | 1 |  |  |
| 02-06-01168 | Autorefractometer RMA6500 | 2 |  |  |
| 02-06-01169 | Non contact pulsair tonometer | 4 |  |  |
| 02-06-01170 | Ultrascan Digital B 4000 | 1 |  |  |
| 02-06-01171 | Emerald Crystal Focus Laser System | 1 |  |  |
| 02-06-01172 | Phacoemulsification System | 1 |  |  |
| 02-06-01173 | Zoom Photo Slit Lamp FS3 | 2 |  |  |
| 02-06-01174 | Retinal Camera, Topcon TRC50X | 1 |  |  |
| 02-06-01175 | Laser indirect ophthalmoscope | 1 |  |  |
| 02-06-01176 | Trans Eqator No Fluid Lens | 1 |  |  |
| 02-06-01177 | Computerized Perimeter SBP-1000 | 1 |  |  |
| 02-09-01178 | Endo-V Transducer incl. Man. Biopsy Device | 4 |  |  |
| 02-09-01179 | Endo-P Transducer | 4 |  |  |
| 02-09-01180 | Linear Array Transducer, SIEMENS | 4 |  |  |
| 02-09-01181 | Linear Array Transducer, SIEMENS | 4 |  |  |
| 02-09-01182 | Linear Array Transducer, SIEMENS | 4 |  |  |
| 02-09-01183 | Linear Array Transducer, SIEMENS | 4 |  |  |
| 02-09-01184 | Linear Array Transducer, SIEMENS | 4 |  |  |
| 02-09-01185 | Therm. paper rolls, Cardioline Delta Plus | 500 |  |  |
| 02-09-01186 | Therm. paper rolls, Cardioline Delta Plus | 1000 |  |  |
| 02-09-01187 | reusable neutral electrodes, ERBOTOM ICC 300 | 30 |  |  |
| 02-09-01188 | self adhesive neutral electrodes, ERBOTOM ICC 300 | 500 |  |  |
| 02-09-01189 | Operation light, lamp bulbs, Skylux ACE-1, mod 82 | 250 |  |  |
| 02-09-01190 | Operation light, lamp bulbs, Skylux Pallas, mod 25E | 250 |  |  |
| 02-09-01191 | Heating element, WEBECO Multicontrol 10L | 10 |  |  |
| 02-09-01192 | Lid gasket, WEBECO Multicontrol 10L | 10 |  |  |
| 02-09-01193 | Variable resistor for speed control, Centrifuge Mod. 1020 | 15 |  |  |
| 02-09-01194 | Motor, Centrifuge Mod. 1020 | 3 |  |  |
| 02-09-01195 | Heating element, Autoclave Mod. AMA 040 | 5 |  |  |
| 02-09-01196 | Lid gasket, Autoclave mod. AMA 040 | 5 |  |  |
| 02-09-01197 | PC board, Aircondition, General | 15 |  |  |
| 02-09-01198 | Module II oscillator, PN 89204-02, Electrotom 500B, Sys. 2000 | 3 |  |  |
| 02-09-01199 | Module IV Conductor blank LP7, PN 89208-03, Electrotom 500B, Sys. 2000 | 5 |  |  |
| 02-09-01200 | Module IV Conductor blank LP6, PN 89208-02 Electrotom 500B, Sys. 2000 | 6 |  |  |
| 02-09-01201 | Module IV cmplete, PN 89208-00, Electrotom 500B, Sys. 2000 | 5 |  |  |
| 02-09-01202 | Module II complete, PN 89204-00, Electrotom 500B, Sys. 2000 | 5 |  |  |
| 02-09-01203 | Module V complete, PN 89211-00, Electrotom 500B, Sys. 2000 | 10 |  |  |
| 02-09-01204 | Transformer 1, PN 89211-01, Electrotom 500B, Sys.2000 | 24 |  |  |
| 02-09-01205 | Transistor T1, volvo bux 80, PN 89221-23, Electrotom 500B, Sys.2000 | 25 |  |  |
| 02-09-01206 | Resistor R 44, 6.8 Ohm, 9 W, PN 89225-65, Electrotom 500B, Sys.2000 | 20 |  |  |
| 02-09-01207 | Resistor R 56, 2.2 Ohm, 9 W, PN 89225-64, Electrotom 500B, Sys. 2000 | 10 |  |  |
| 02-09-01208 | Dosage regulator P4, 470 Ohm, 1 W, PN 89225-54, Electrotom 500B, Sys. 2000 | 20 |  |  |
| 02-09-01209 | Signal lamp, 6 V, LQ4, PN 89231-04Electrotom 500B, Sys. 2000 | 10 |  |  |
| 02-09-01210 | Signal lamp, 6 V, LQ5, PN 89231-03, Electrotom 500B, Sys. 2000 | 10 |  |  |
| 02-09-01211 | Neutral electrode & cable, Electrotom 500B, Sys. 2000 | 20 |  |  |
| 02-09-01212 | Active electrode w/ handle & cable, Electrotom 500B, Sys. 2000 | 20 |  |  |
| 02-09-01213 | Compressor, 1 / 3, PN 210025.10/3, Fridge, Ice lining, TVW 1151 | 15 |  |  |
| 02-09-01214 | Compressor, 1 / 4, Fridge, Ice lining, TVW 1151 | 15 |  |  |
| 02-09-01215 | Thermostat, PN 29112478.01/9, Fridge, Ice lining, TVW 1151 | 15 |  |  |
| 02-09-01216 | Ventilator, PN 2912073.00/0, Fridge, Ice lining, TVW 1151 | 15 |  |  |
| 02-09-01217 | Patient cable, ECG Cardio Fax Sc-513E | 4 |  |  |
| 02-09-01218 | Perma paper, roll, ECG Cardio Fax Sc-513E | 50 |  |  |
| 02-09-01219 | Patient cable, ECG-6851-K, SN 03883 | 5 |  |  |
| 02-09-01220 | Thermo pen, ECG-6851-K, SN 03883 | 5 |  |  |
| 02-09-01221 | Limb electrodes w/ clamps, set, ECG-6851-K, SN 03883 | 5 |  |  |
| 02-09-01222 | Chest electrode, ECG-6851-K, SN 03883 | 25 |  |  |
| 02-09-01223 | Battery unit, ECG-6851-K, SN 03883 | 5 |  |  |
| 02-09-01224 | Perma paper, roll, ECG-6851-K, SN 03883 | 50 |  |  |
| 02-09-01225 | Lid gasket, Autoclave mod. VA4265 | 15 |  |  |
| 02-09-01226 | Halogen Bulbs, 24V, 50W, Type H 24501, Projector M2HA 5813 | 100 |  |  |
| 02-09-01227 | Halogen bulb, Mod. S250T, Spectrophotometer | 20 |  |  |
| 02-09-01228 | Compressor, PN CAJ4992, Sicplant | 6 |  |  |
| 02-09-01229 | Motor for condencer fan, PN OLUO1941/04Sicplant | 20 |  |  |
| 02-09-01230 | Thermometer, Sicplant | 4 |  |  |
| 02-09-01231 | Thermostat,TRV711N | 6 |  |  |
| 02-09-01232 | High & Low pressure cut out, PN FBB213 | 4 |  |  |
| 02-09-01233 | Autom. electric defrosting timer, PN SB81/6P | 4 |  |  |
| 02-09-01234 | Expansion valve, PN 1.5B12 | 4 |  |  |
| 02-09-01235 | Solinoid valve, PN 1060/2 | 4 |  |  |
| 02-09-01236 | Compressor, PN H20B193ABC | 20 |  |  |
| 02-09-01237 | Compressor, PN H20B243ABC | 20 |  |  |
| 02-09-01238 | Compressor, PN H20B283ABC | 20 |  |  |
| 02-09-01239 | Battery unit, Defibrilator, Cardioserv P | 20 |  |  |
| 02-09-01240 | Patient cable, Cardioserve Defi. | 20 |  |  |
| 02-09-01241 | Chest electrodes (Consumable) for Cardioserve P Defi. | 1000 |  |  |
| 02-09-01242 | Printing paper, rolls, Cardioserve Defi. | 200 |  |  |
| 02-09-01243 | Spare bulbs for UNIKON 922 Spectrophotometer | 10 |  |  |
| 02-09-01244 | Spare cuvettes for UNIKON 922 Spectrophotometer | 20 |  |  |
| 02-09-01245 | Flexible connector between excaust pipe & engine, Mod. P250 | 25 |  |  |
| 02-09-01246 | Flexible connector between excaust pipe & engine, Mod. P135 | 4 |  |  |
| 02-09-01247 | Flexible connector between excaust pipe & engine, Mod. P40 | 6 |  |  |
| 02-09-01248 | Heater element for water distiller "Bibby Aquatron" | 4 |  |  |
| 02-09-01249 | Spark electrode & ceramic holder for Fl-photometer Jenway PFP7 | 5 |  |  |
| 02-09-01250 | lamps for PUVA 22, Ultraviolet light | 44 |  |  |
| 02-09-01251 | C.T. Scan comlpete unit *Installation and training on maintenance for (Engineers). *Operation and applications for doctors. *Spare parts for two years operation. *Service and operation manuals. *Pre installation requirements must be in English. | 1 |  |  |
|  | *Maintenance by supplier for two years |  |  |  |
| 02-09-01252 | ECG (3-Channel )Digital,mod:Delta 3-plus,with standard accessories, power supply 220V extra accessory kit with patient cable and chest electrode set. Cardioline Deltavis,1/3 channel LCD monitor Cardioline interface board to connect with ECG and LCD | 2units |  |  |
|  | ECG paper Pen (styles) Electrod Gel for ECG (tube of 100ml) Service and operation manual in English. |  |  |  |
| 02-09-01253 | Central station for 8 monitors complete with cables and installation materials,220 V,50Hz Service and operation manual in English. | 3 |  |  |
| 02-09-01254 | Bed side monitor with modules : -ECG modules with 5 leads cables -NIBP modules with cuffs -Temperature modules with sensor -HR module -SPO2/PLETH modules -Alarm limits _Accept for future upgrade suitable for adult and paediatric | 23 |  |  |
|  | -Power supply 220,50Hz -Service and operation manual in English. -Set of spare parts for two years. |  |  |  |
| 02-09-01255 | Medical vaculyser (Mod. SAM 35) -Power supply 220,50Hz -Service and operation manual in English. -Set of spare parts for two years. | 33 |  |  |
| 02-09-01256 | Pulse oximeter, complete unit with all accessories and consumables(mod.SATLITE PLUS OSE-123) -Power supply 220,50Hz -Service and operation manual in English. -Set of spare parts for two years. | 7 |  |  |
| 02-09-01257 | Operation table for, Orthopedics ,with all attachement and accessories -For use with C arms -Hydraulic operation | 3 |  |  |
| 02-09-01258 | Operation table for multi applications -Hydraulic operation -To be supplied with : -Pair of Shoulder rest -Arm rest -Anethisia screen -Pair of Bierhoff type crutches with removable pads -X-Ray cassette tray -Patient body strap -Clamps for accessories | 9 |  |  |
| 02-09-01259 | Drilling machine, Orthopedic,220V or pneumatic system -Service and operation manual in English. -Set of spare parts for two years. | 2 |  |  |
| 02-09-01260 | Saw,Orthopedic,220V ,50Hz -Service and operation manual in English. -Set of spare parts for two years. | 2 |  |  |
| 02-09-01261 | (E.E.G.) Electroengiography,220V,50Hz -set of disposables -Set of spare parts for two years -Service and operation manual in English | 1 |  |  |
| 02-09-01262 | Holter moniter PC based ECG Holter monitoring system -Full disclosure capability -Reporting program for 8,16 & 24 hours episodes -Manual and automatic reporting -Editing of ECG Strips and doctor comments -Laser reporting printer. | 1 |  |  |
|  | -Power supply 220,50Hz -Service and operation manual in English. -Set of spare parts for two years. |  |  |  |
| 02-09-01263 | Electro-surgical unit (HF-surgery)for general surgery,suitable for monopolar and bipolar applications and under water cutting complete with all accessories and recommended accessories. Model:Erbotom ICC 300 | 7 |  |  |
|  | -Power supply 220,50Hz -Service and operation manual in English. -Set of spare parts for two years. |  |  |  |
| 02-09-01264 | Ceiling, Operating lamp,suspension (spring arm,halogen bulb 2x100 watt with operating voltage 24V,emergency power supply one hour ,heat filter,spare bulb (20 each) | 13 |  |  |
| 02-09-01265 | Mobile, Operating lamp -One halogen bulb 70watt with operating voltage 220V -Intensity not less than 40000lux -Power supply with rechargeable battery -Heat filter with 10 spare bulbs each lamp | 13 |  |  |
| 02-09-01266 | Patient trolley | 3 |  |  |
| 02-09-01267 | Autoclave(steam),mod.(KCL46/101 ) | 3 |  |  |
| 02-09-01268 | Dry air sterilizer -Capacity at least 35 ltr. -Temperature control up to 195 degree C. -Automatic timer for two hours -Power supply 220,50Hz -Service and operation manual in English. -Set of spare parts for two years. | 3 |  |  |
| 02-09-01269 | Blood warmer | 3 |  |  |
| 02-09-01270 | Stethoscope,adult and paediatric | 6 |  |  |
| 02-09-01271 | Laryngoscope,complete set,adult and child *20 bulb for each Laryngoscope | 3 |  |  |
| 02-09-01272 | O2 regulator | 40 |  |  |
| 02-09-01273 | Dental unit KAVO, with chair, compressor, fiber optic cable and X-Ray -Power supply 220,50Hz -Service and operation manual in English. -Set of spare parts( Water filters,electronic mother boards,micro switches,etc.) for two years. | 10 |  |  |
| 02-09-01274 | Multi-channel Gamma counter with computer and printer for (hormones estimation) with its accessories and reagents. -Power supply 220,50Hz -Service and operation manual in English. -Set of spare parts for two years. | 1 |  |  |
| 02-09-01275 | Ergometer training cycle(J.A. Prestone) | 3 |  |  |
| 02-09-01276 | Shoulder wheel(J.A. prestone) | 3 |  |  |
| 02-09-01277 | Infrared lamp 220V ,with timer,set of spare lamps(20lamps) | 8 |  |  |
| 02-09-01278 | Rotary massager | 35 |  |  |
| 02-09-01279 | EMG for physiotherapy.Dual channel clinical bio-feed back with all accessories and consumables -Power supply 220,50Hz -Service and operation manual in English. -Set of spare parts for two years. | 2 |  |  |
| 02-09-01280 | Delux Rowing machine for physiotherapy | 1 |  |  |
| 02-09-01281 | Traction unit (electrical) with all accessories, -Power supply 220V,50Hz -Service and operation manual in English. -Set of spare parts for two years. -Set of disposables | 1 |  |  |
| 02-09-01282 | Paraffin bath -Power supply 220,50Hz -Set of spare parts for two years. -Paraffin material (200kg) -Service and operation manual in English. | 1 |  |  |
| 02-09-01283 | Pace maker,Cardiac,external(Adult and paediatric) with complete -set of disposables -Set of spare parts for two years -Service and operation manual in English | 2 |  |  |
| 02-09-01284 | Sigmodoscopy,complete wirh all accessories -set of disposables -Set of spare parts for two years -Service and operation manual in English | 1 |  |  |
| 02-09-01285 | Echo-Cardiography (two dimentional),220V,50Hz -Electronic phased array system -128 processing channals -Cardiovascular applications -Transcranial Doppler application -With color flow of high preccision | 1 |  |  |
|  | - Steerable contiuous and pulsed Doppler on all transducers -Depth and lateral gain control -Different type of colorization capability -Transducers :2.0-2.5Mhz sector 3.5 -5.5MHz sector |  |  |  |
|  | 7.5MHz sector for neonatal 7.5 MHz linear for vascular exams with white image View Multiplane TEE transducer Pencil probe |  |  |  |
|  | -Complete with :S-VHS Video cassette recorder Colored Video printer Black and white video printer -System should accept future upgrade |  |  |  |
|  | -Service and operation manual in English. -Set of spare parts for two years. -Set of disposable items -Installation by supplier,maintentenance for two years -Training on operation for doctors & maintenance for engineers |  |  |  |
| 02-09-01286 | Electronic balance,220V,50Hz -Readability:0.01 -Capacity:600g Reproducibility:0.005 -Linearity:0.01 -High Sensitivity drift -Allowable operating temperature: 0..+40 | 5 |  |  |
| 02-09-01287 | Head lamp, Ophthalmic (surgical use) -Set of 10 bulbs | 1 |  |  |
| 02-09-01288 | Fundus camera with screen,220V,50Hz -with movable table,complete with all accessories -Service and operation manual in English. -Set of spare parts for two years. | 1 |  |  |
| 02-09-01289 | Slit lamp,220V,50Hz ,complete with all accessories -Set of 10 bulbs | 1 |  |  |
| 02-09-01290 | Retinoscope,complete with a charger -Set of 20 bulbs -one extra rechargeable battery | 2 |  |  |
| 02-09-01291 | Ophthalmoscope,complete with a charger -Set of 20 bulbs -one extra rechargeable battery | 2 |  |  |
| 02-09-01292 | Ultrasound for ophthalmic use,220V,50Hz,Complete with all accessories -Service and operation manual in English. -Set of spare parts for two years. | 1 |  |  |
| 02-09-01293 | Baby scale ,electronic | 15 |  |  |
| 02-09-01294 | Nerve stimulator,battery type,with consumable parts nd accessories | 6 |  |  |
| 02-09-01295 | Resuscitator, -Manual ventilaton bag,silicon resuscitator -Autoclavable unit Silicon mask ,patient valve and silicon bag -O2 reservoir valve -O2 reservoir | 6 |  |  |
| 02-09-01296 | Incubator,Infant,complete with accessories and consumables Model:8000 IC -Power supply 220,50Hz -Set of spare parts for two years. -Service and operation manual in English. | 10 |  |  |
| 02-09-01297 | Phtotherapy,with counter -spare bulbs (500 bulb/daylight,&500 bulb/blue light) -Power supply 220,50Hz -Service and operation manual in English. -Set of spare parts for two years. | 10 |  |  |
| 02-09-01298 | Baby warming mattress | 10 |  |  |
| 02-09-01299 | Bed side monitor with modules : -ECG modules with 5 leads cables -NIBP modules with cuffs -Temperature modules with sensor -HR module -SPO2/PLETH modules -Alarm limits _Accept for future upgrade suitable for Neonatel | 6 |  |  |
|  | -disposables and consumables -Power supply 220,50Hz -Service and operation manual in English. -Set of spare parts for two years. |  |  |  |
| 02-09-01300 | Apnoea monitor,Power supply 220,50Hz,Complete with : -Set of dispossables -Service and operation manual in English. -Set of spare parts for two years. | 5 |  |  |
| 02-09-01301 | Blood bank instruments | 1 |  |  |
|  | a-Cold centrifuge machine for blood bagsto separate blood components, with maximum speed of 7000 RPM and temperature down |  |  |  |
|  | b-Deep freezer for blood components: -of temperature range down to (-40 deg.C) -of temperature range down to (-100 deg.C) |  |  |  |
|  | c-Plasma extractor by manual pressure |  |  |  |
|  | d-tube sealer: a simple machine to seal tubes of blood bags by heat and pressure |  |  |  |
|  | e-Blood bags quadruple for blood components fractionation |  |  |  |
| 02-09-01302 | Fume cupboards-labcaire Aura range.part (322-005),Jencons catalogue 1998 | 2 |  |  |
| 02-09-01303 | Refrigerator- freezers/chest freezers. part (538-041), Jencons catalogue 1998 |  |  |  |
| 02-09-01304 | Electrical washing machine. Type:Dubix (M2S),Capacity 40kg.supply voltage (3-phase,380V,50Hz, Star connection) | 2 |  |  |
| 02-09-01305 | Cold room unit for drug storage (2deg. C-8deg. C),Capacity 7500 ltr. supply voltage (3-phase,380V,50Hz, Star connection) | 2 |  |  |
| 02-09-01306 | Microwave therapy apparatus,model:706 1. Switch(#: EE 543 47 18 979) | 3 |  |  |
|  | 2. Micro switch (#: B 0104 10 00 124) | 3 |  |  |
| 02-09-01307 | Chillier(A) Absorbtion waer chillier, model: HAV 17-DL |  |  |  |
|  | * Lithium Bromid, Molecular weight: 86.856, composition: Li 7.99% & Br 92.01%, specific gravity: 3.464 (25 C), melting point: 549 C, Boiling point: 1265 C | 5000 | litre |  |
| 02-09-01308 | New Equipment and Spare parts required for Phase V | QTY |  |  |
| 02-09-01309 | Stethoscope, Fetal Doppler, model: PF-150 |  |  |  |
|  | * Battery on 500uF 90X32X55 | 10 |  |  |
| 02-09-01310 | Cryosurgery unit , for Dermatology clinic, complete with accessories, consumable and spare parts for two years of operation | 1 |  |  |
| 02-09-01311 | Blood gas analyzer,model:1303 * O-ring 70738-14(#: 74494) | 5 |  |  |
| 02-09-01312 | Sterilizer Steam,table type.model:DKS-386-S * Drum | 5 |  |  |
| 02-09-01313 | 24-Hours ECG recorder (Holter system)with complete set of accessories ,disposable, and spare parts for two years of operation | 6 |  |  |
| 02-09-01314 | 24-Hours BP recorder (Ambulatory system)with complete set of accessories ,disposable, and spare parts for two years of operation | 6 |  |  |
| 02-09-01315 | Diagnostic Spirometer, complete with accessories | 4 |  |  |
| 02-09-01316 | Phototherapy Unit | 10 |  |  |
| 02-09-01317 | AHU-18 Air handling unit ,Supply air volume 58.800 cmHx178MMAQ,Return air volume 49.04 CMH,out door air volume 9.76 CMH,motor 22Kw,3ph,380V, 50Hz,capacity68kg/h 1.. V-belt(#: 5V-1400) 2. PRE-Filter(#: NBS) 3. Washable metalic filter(#: PRE) | 10 80 80 |  |  |
|  | 4. Middle filter 5. Ball bearing 6. Diaphragm | 80 2 2 |  |  |
| 02-09-01318 | AUH -19 Air handling unit, Supply air volume 70.400 cmHx179MMAQ, Return air volume 59.130 CMH, out door air volume 11.270 CMH, motor 22Kw, 3ph, 380 V, 50 Hz, Capacity 76 kg/h |  |  |  |
|  | 1. V - belt(#:5V - 1600) | 10 |  |  |
|  | 2. PRE-Filter(#:NBS) | 80 |  |  |
|  | 3. Washable metallic filter(#:PRE) | 80 |  |  |
|  | 4. Middle filter | 80 |  |  |
|  | 5. Ball bearing | 2 |  |  |
|  | 6. Diaphragm | 2 |  |  |
| 02-09-01319 | 1. Boiler feed pump, multistage centrifugal pump, p- 10, model 50x7-55.5, 0.2 m3/min-66m, 1440 rpm x5.5Kw (#:10A2-0587) | 3 |  |  |
|  | 2. Hot water circulating pump, for heat exchanger P-6, model 100x80C4-55.5, 1.52 m3/min x 10m x 1440rpm x 5.5Kw(#:10A2-0587) | 3 |  |  |
|  | 3. Hot water circulating pump, for heat exchanger P-7, model 65x4-55.5, 0.48 m3/min x 37m x 1440rpm x 5.5Kw(#: 10A2-0587) | 2 |  |  |
|  | 4. Hot water circulating pump, for heat exchanger P-9, model 100x3-515, 1.10 m3/min x 45m x 1450rpm x 15Kw(#: 10A2-0587) | 2 |  |  |
|  | 5. Hot water circulating pump, for heat exchanger P-8, model 125x2-515, 1.450 m3/min x 36m x 1450rpm x 15Kw(#: 10A2-0587) | 2 |  |  |
|  | 6. Chilled water circulation pump P-2, model 200x150P4-522, 6 m3/min x 15m x 1450rpm x 22Kw(#: 10A2-0587) | 2 |  |  |
|  | 7. Condenser water circulation pump, model 200x150R4-537, 20mx7.95 m3/minx37Kw, MFG. NO. H23966202 | 3 |  |  |
|  | 8. Chilled water circulation pump P-3, model 125x100Z4-530, 2.34 m3/min x 38m x 1455rpm x 30Kw(#: 10A2-0587) | 2 |  |  |
|  | 9. Chilled water circulation pump P-4, model 200x150T4-545, 5.02 m3/min x 38m x 1465rpm x 45Kw(#: 10A2-0587) | 2 |  |  |
|  | 10. Chilled water circulation pump P-5, model 150x125T4-555, 4.64 m3/min x 47m x 1470rpm x 55Kw(#: 10A2-0587) | 2 |  |  |
|  | 11. Oil gear pump for Boiler OGP-1, type KR-85, 40/50 l/m, 3Kg/cm2, 411/480rpm, 0.75 kW x380V(#: 10A2-0587) | 2 |  |  |
|  | 12. Oil gear pump for Boiler OGP-2, model KR-6S, 350/420 rpm, 0.4Kw x 20/25 l/min(#: 10A2-0587) | 2 |  |  |
|  | 13. Oil gear pump for Boiler OGP-3, model KSR-2KSM-120, 5.5Kw x 950rpm x380V x 350 l/min | 2 |  |  |
| 02-09-01320 | Room Air conditioner,EER-1.9 kcal/hr,model:WH45LB3A 1. Fan 2. Automatic for thermostat | 12 40 |  |  |
| 02-09-01321 | FIRE BRICK CEMENT, 30Kg/bag - 13/7(#3 - A -105) | 10 |  |  |
| 02-09-01322 | Diesel Generating set, 500KVA, 400Kw, 3Phase 380V,50Hz | 2 |  |  |
| 02-09-01323 | AHU-26 Air handling unit. Supply air volume 4.200cmH x 95 MMAQ. Return air volume 4.200 CMH, out door air volume 0Cmh, motor: 2.2 KWx3phx380 Vx50 Hz |  |  |  |
|  | 1. V- belt (A- 88) | 10 |  |  |
|  | 2. PRE- Filter (NBS) | 30 |  |  |
|  | 3. Washable metalic filter (PRE) | 30 |  |  |
|  | 4. Middle filter | 30 |  |  |
|  | 5. Ball bearing | 2 |  |  |
|  | 6. Diaphragm | 2 |  |  |
| 02-09-01324 | AHU-27 Air handling unit. Supply air volume 11.400cmH x 101 MMAQ. Return air volume 0 CMH, out door air volume 11.400 Cmh, motor: 5.5 KWx3phx380 Vx50 Hz |  |  |  |
|  | 1. V- belt (B- 88) | 10 |  |  |
|  | 2. PRE- Filter (NBS) | 30 |  |  |
|  | 3. Washable metalic filter (PRE) | 30 |  |  |
|  | 4. Middle filter | 30 |  |  |
|  | 5. Ball bearing | 2 |  |  |
|  | 6. Diaphragm | 2 |  |  |
| 02-09-01325 | AHU-13 Air handling unit. Supply air volume 24.600cmH x 170 MMAQ. Return air volume 0 CMH, out door air volume 24.600 Cmh, motor: 18.5 KWx3phx380 Vx50 Hz |  |  |  |
|  | 1. V- belt (C- 105) | 10 |  |  |
|  | 2. PRE- Filter (NBS) | 30 |  |  |
|  | 3. Washable metalic filter (PRE) | 30 |  |  |
|  | 4. Middle filter | 30 |  |  |
|  | 5. Ball bearing | 2 |  |  |
|  | 6. Diaphragm | 2 |  |  |
| 02-09-01326 | AHU-11 Air handling unit. Supply air volume 4.000cmH x 171 MMAQ. Return air volume 0 CMH, out door air volume 4.000 Cmh, motor: 5.5 KWx3phx380 Vx50 Hz |  |  |  |
|  | 1. V- belt (B- 69) | 10 |  |  |
|  | 2. PRE- Filter (NBS) | 10 |  |  |
|  | 3. Washable metalic filter (PRE) | 10 |  |  |
|  | 4. Middle filter | 10 |  |  |
|  | 5. Ball bearing | 2 |  |  |
|  | 6. Diaphragm | 2 |  |  |
| 02-09-01327 | AHU-12 Air handling unit. Supply air volume 7.200cmH x 172 MMAQ. Return air volume 0 CMH, out door air volume 7.200 Cmh. |  |  |  |
|  | 1. V- belt (B- 72) | 10 |  |  |
|  | 2. PRE- Filter (NBS) | 10 |  |  |
|  | 3. Washable metalic filter (PRE) | 10 |  |  |
|  | 4. Middle filter | 10 |  |  |
|  | 5. Ball bearing | 2 |  |  |
|  | 6. Diaphragm | 2 |  |  |
| 02-09-01328 | AHU-7 Air handling unit. Supply air volume 26.000cmH x 167 MMAQ. Return air volume 0 CMH, out door air volume 26.000 Cmh, motor: 18.5 KWx3phx380 Vx50 Hz |  |  |  |
|  | 1. V- belt (C- 105) | 10 |  |  |
|  | 2. PRE- Filter (NBS) | 30 |  |  |
|  | 3. Washable metalic filter (PRE) | 30 |  |  |
|  | 4. Middle filter | 30 |  |  |
|  | 5. Ball bearing | 2 |  |  |
|  | 6. Diaphragm | 2 |  |  |
| 02-09-01329 | AHU-8 Air handling unit. Supply air volume 16.600cmH x 183 MMAQ. Return air volume 13.440 CMH, out door air volume 3.160 Cmh, motor: 15 KWx3phx380 Vx50 Hz |  |  |  |
|  | 1. V- belt (B- 98) | 10 |  |  |
|  | 2. PRE- Filter (NBS) | 30 |  |  |
|  | 3. Washable metalic filter (PRE) | 30 |  |  |
|  | 4. Middle filter | 30 |  |  |
|  | 5. Ball bearing | 2 |  |  |
|  | 6. Diaphragm | 2 |  |  |
| 02-09-01330 | AHU-6 Air handling unit. Supply air volume 18.400cmH x 178 MMAQ. Return air volume 16.030 CMH, out door air volume 2.370 Cmh, motor: 15 KWx3phx380 Vx50 Hz, Size Dia. 575 MM, Width 338MM V.Belt |  |  |  |
|  | 1. V- belt (C- 102) | 10 |  |  |
|  | 2. PRE- Filter (NBS) | 30 |  |  |
|  | 3. Washable metalic filter (PRE) | 30 |  |  |
|  | 4. Middle filter | 30 |  |  |
|  | 5. Ball bearing | 2 |  |  |
|  | 6. Diaphragm | 2 |  |  |
| 02-09-01331 | AHU-20 Air handling unit. Supply air volume 4.200cmH x 188 MMAQ. Return air volume 0 CMH, out door air volume 4.200 Cmh, motor: 5.5 KWx3phx380 Vx50 Hz |  |  |  |
|  | 1. V- belt (B- 99) | 10 |  |  |
|  | 2. PRE- Filter (NBS) | 30 |  |  |
|  | 3. Washable metalic filter (PRE) | 30 |  |  |
|  | 4. Middle filter | 30 |  |  |
|  | 5. Ball bearing | 2 |  |  |
|  | 6. Diaphragm | 2 |  |  |
| 02-09-01332 | AHU-21-22-23-24-25 Air handling unit. Supply air volume 2.300cmH x 178 MMAQ. Return air volume 0 CMH, out door air volume 3.200 Cmh, Capacity 25 KG/H |  |  |  |
|  | 1. V- belt (A- 60) | 20 |  |  |
|  | 2. PRE- Filter (NBS) | 30 |  |  |
|  | 3. Washable metalic filter (PRE) | 30 |  |  |
|  | 4. Middle filter | 30 |  |  |
|  | 5. Ball bearing | 2 |  |  |
|  | 6. Diaphragm | 2 |  |  |
| 02-09-01333 | AHU-14 Air handling unit. Supply air volume 5.900cmH x 163 MMAQ. Return air volume 5.580 CMH, out door air volume 0.320 Cmh, motor: 5.5 KWx3phx380 Vx50 Hz |  |  |  |
|  | 1. V- belt (B- 71) | 10 |  |  |
|  | 2. PRE- Filter (NBS) | 30 |  |  |
|  | 3. Washable metalic filter (PRE) | 30 |  |  |
|  | 4. Middle filter | 30 |  |  |
|  | 5. Ball bearing | 2 |  |  |
|  | 6. Diaphragm | 2 |  |  |
| 02-09-01334 | AHU-15 Air handling unit. Supply air volume 29.500cmH x 168 MMAQ. Return air volume 25.890 CMH, out door air volume 3.610 Cmh |  |  |  |
|  | 1. V- belt (B- 105) | 6 |  |  |
|  | 2. PRE- Filter (NBS) | 55 |  |  |
|  | 3. Washable metalic filter (PRE) | 55 |  |  |
|  | 4. Middle filter | 55 |  |  |
|  | 5. Ball bearing | 2 |  |  |
|  | 6. Diaphragm | 2 |  |  |
| 02-09-01335 | AHU-4 Air handling unit. Supply air volume 21.600cmH x 170 MMAQ. Return air volume 16.930 CMH, motor: 18.5 KWx3phx380 Vx50 Hz, Size Dia. 525 MM, Width 263MM V.Belt |  |  |  |
|  | 1. V- belt (C- 112) | 10 |  |  |
|  | 2. PRE- Filter (NBS) | 30 |  |  |
|  | 3. Washable metalic filter (PRE) | 30 |  |  |
|  | 4. Middle filter | 30 |  |  |
|  | 5. Ball bearing | 2 |  |  |
|  | 6. Diaphragm | 2 |  |  |
| 02-09-01336 | AHU-3 Air handling unit. Supply air volume 27.500cmH x 176 MMAQ. Return air volume 21.030 CMH, out door air volume 6.470 CmH, motor: 22 KWx3phx380 Vx50 Hz, Size Dia. 600 MM, Width 300MM V.Belt |  |  |  |
|  | 1. V- belt (C- 105) | 6 |  |  |
|  | 2. PRE- Filter (NBS) | 40 |  |  |
|  | 3. Washable metalic filter (PRE) | 40 |  |  |
|  | 4. Middle filter | 40 |  |  |
|  | 5. Ball bearing | 2 |  |  |
|  | 6. Diaphragm | 2 |  |  |
| 02-09-01337 | AHU-5 Air handling unit. Supply air volume 37.900cmH x 191 MMAQ. Return air volume 32.370 CMH, out door air volume 5.530 CmH, motor: 37 KWx3phx380 Vx50 Hz, Size Dia. 575 MM, Width 338MM V.Belt |  |  |  |
|  | 1. V- belt (5V- 1180) | 10 |  |  |
|  | 2. PRE- Filter (NBS) | 30 |  |  |
|  | 3. Washable metalic filter (PRE) | 30 |  |  |
|  | 4. Middle filter | 30 |  |  |
|  | 5. Ball bearing | 2 |  |  |
|  | 6. Diaphragm | 2 |  |  |
| 02-09-01338 | AHU-16 Air handling unit. Supply air volume 29.500cmH x 168 MMAQ. Return air volume 25.890 CMH, out door air volume 3.610 CmH, motor: 22 KWx3phx380 Vx50 Hz |  |  |  |
|  | 1. V- belt (B- 96) | 10 |  |  |
|  | 2. PRE- Filter (NBS) | 40 |  |  |
|  | 3. Washable metalic filter (PRE) | 40 |  |  |
|  | 4. Middle filter | 40 |  |  |
|  | 5. Ball bearing | 2 |  |  |
|  | 6. Diaphragm | 2 |  |  |
| 02-09-01339 | AHU-17 Air handling unit. Supply air volume 26.800cmH x 177 MMAQ. Return air volume 0 CMH, out door air volume 26.800 CmH, motor: 22 KWx3phx380 Vx50 Hz, Capacity 168/ 34kg/ h |  |  |  |
|  | 1. V- belt (B- 96) | 10 |  |  |
|  | 2. PRE- Filter (NBS) | 30 |  |  |
|  | 3. Washable metalic filter (PRE) | 30 |  |  |
|  | 4. Middle filter | 30 |  |  |
|  | 5. Ball bearing | 2 |  |  |
|  | 6. Diaphragm | 2 |  |  |
| 02-09-01340 | AHU-1 Air handling unit. Supply air volume 5.400cmH x 105 MMAQ. Return air volume 2.600 CMH, out door air volume 2.800 CmH, motor: 3.7 KWx3phx380 Vx50 Hz, Capacity 20 kg/ h |  |  |  |
|  | 1. V- belt (B- 96) | 10 |  |  |
|  | 2. PRE- Filter (NBS) | 30 |  |  |
|  | 3. Washable metalic filter (PRE) | 30 |  |  |
|  | 4. Middle filter | 30 |  |  |
|  | 5. Ball bearing | 2 |  |  |
|  | 6. Diaphragm | 2 |  |  |
| 02-09-01341 | AHU-10 Air handling unit. Supply air volume 32.500cmH x 137 MMAQ. Return air volume 24.740 CMH, out door air volume 7.760 CmH, motor: 18.5 KWx3phx380 Vx50 Hz |  |  |  |
|  | 1. V- belt (C- 115) | 10 |  |  |
|  | 2. PRE- Filter (NBS) | 30 |  |  |
|  | 3. Washable metalic filter (PRE) | 30 |  |  |
|  | 4. Middle filter | 30 |  |  |
|  | 5. Ball bearing | 2 |  |  |
|  | 6. Diaphragm | 2 |  |  |
| 02-09-01342 | AHU-9 Air handling unit. Supply air volume 16.200cmH x 148 MMAQ. Return air volume 9.130 CMH, out door air volume 7.070 CmH, motor: 11 KWx3phx380 Vx50 Hz |  |  |  |
|  | 1. V- belt (B- 89) | 10 |  |  |
|  | 2. PRE- Filter (NBS) | 30 |  |  |
|  | 3. Washable metalic filter (PRE) | 30 |  |  |
|  | 4. Middle filter | 30 |  |  |
|  | 5. Ball bearing | 2 |  |  |
|  | 6. Diaphragm | 2 |  |  |
| 02-09-01343 | WO - AW - 1 Air Washer unit. Supply air volume 8.500cmH x 85 MMAQ. Return air volume 0 CMH, out door air volume 8.500 CmH, motor: 3.7 KWx3phx380 Vx50 Hz |  |  |  |
|  | 1. V- belt (B- 96) | 10 |  |  |
|  | 2. PRE- Filter (NBS) | 30 |  |  |
|  | 3. Washable metalic filter (PRE) | 30 |  |  |
|  | 4. Middle filter | 30 |  |  |
|  | 5. Ball bearing | 2 |  |  |
|  | 6. Diaphragm | 2 |  |  |
| 02-09-01344 | Room Air conditioner, model WH 45 LB - V 3 A, running current 12 A, Refrigerant DF 22, Electric heater cap. 25/30 kW, running current 2.2/2.3 A, Power consume 2670/3190 |  |  |  |
|  | 1. Compressor, motor output (1.6 kW), running current 12 A | 10 |  |  |
| 02-09-01345 | Sewage Pump - 1 , type No. 80-53-7, type Form UBL-MV, 1.000 m3/min, head 10m, 4p, 3.7kW, 50Hz, 380 V | 4 |  |  |
| 02-09-01346 | Sewage Pump - 2 , type UBL-MV, 0.200m3/min, head 10m, 2p, 1.5 kW , motor spec, type form VT0Q -K, 50Hz, 380U, 3.7A, 2p, 1.5 kW | 2 |  |  |
| 02-09-01347 | Sewage Pump - 3 Type UBL -MV, MFG. - No. H37243201 - 204, Type No. 80-52-2, spead 0.300m3/min, head 10M, 4p, 2.2kW, motor cpec. Type Form Vt0Q-T, 50Hz, 380 V, 5.2 A, 4p, 2.2kW | 2 |  |  |
| 02-09-01348 | Sewage Pump - 4, Type USN - MV, 0.500m3/min, Head 15m, 2p, 3.7kW, Motor spec., Type VTOQ-K, 50Hz, 380 V, 8A,2p,3.7Kw. | 2 |  |  |
| 02-09-01349 | Sewage Pump - 5, Type VT0Q - K, 0.500m3/min, 15m head, 2p, 3.7Kw, Motor Spec., Type VT0Q - K, 50Hz, 380U, 8A,2p,3.7kW | 2 |  |  |
| 02-09-01350 | Transformer: Type RP-172 Rated capacity 200 VA, pry voltage 11000kv. Sry voltage 220V. Inslevel12/28/75 KU. Weight 37Kg. with fuses JR-10N/S, 15/15.5KV. 5A, 31.5KA, 50Hz | 1 |  |  |
| 02-09-01351 | Earth voltage transformer, BS 3941, Type RPO-41T, Accumery class 1.0/3p, pry voltage 11000/3, sry voltage 110/3, pry voltage 110/3, rated output 200/200VA, weight 32 kg, 50 Hz | 3 |  |  |
| 02-09-01352 | Centrifugal Fan, EF-48, model 3SRM |  |  |  |
|  | 1. V - Belt | 4 |  |  |
|  | 2. Pulley | 2 |  |  |
|  | 3. Bearing (#:6305ZZ) | 4 |  |  |
|  | O.S - D.S (#: 62005Z) | 4 |  |  |
| 02-09-01353 | Centrifugal Fan, EF-54, model 2 1/2 SRM |  |  |  |
|  | 1. V - Belt | 6 |  |  |
|  | 2. Pulley | 2 |  |  |
|  | 3. Bearing (#:6206ZZ) | 4 |  |  |
|  | O.S - D.S (#: 6306ZZ) | 4 |  |  |
| 02-09-01354 | Centrifugal Fan, EF-75, model 2 SRP30 |  |  |  |
|  | 1. V - Belt (#: A-74) | 2 |  |  |
|  | 2. Pulley | 2 |  |  |
|  | 3. Bearing (#:6204ZZ) | 4 |  |  |
|  | O.S - D.S (#: 6204ZZ) | 4 |  |  |
| 02-09-01355 | Centrifugal Fan, EF-53, model 3 SRM |  |  |  |
|  | 1. V - Belt (#: A-78) | 4 |  |  |
|  | 2. Pulley | 2 |  |  |
|  | 3. Bearing (#:6203Z) | 4 |  |  |
|  | O.S - D.S (#: 6203Z) | 4 |  |  |
| 02-09-01356 | Centrifugal Fan, EF-52, model 2 SRM |  |  |  |
|  | 1. V - Belt (#: A-58) | 4 |  |  |
|  | 2. Pulley | 2 |  |  |
|  | 3. Bearing (#:6205ZZ) | 4 |  |  |
|  | O.S - D.S (#: 6205ZZ) | 4 |  |  |
| 02-09-01357 | Centrifugal Fan, EF-70, model 2 SRP-30 |  |  |  |
|  | 1. V - Belt (#: A-72) | 4 |  |  |
|  | 2. Pulley | 2 |  |  |
|  | 3. Bearing (#:6204ZZ) | 4 |  |  |
|  | (#: 6204ZZ) |  |  |  |
| 02-09-01358 | Centrifugal Fan, EF-73, model 2 SRP-30 |  |  |  |
|  | 1. V - Belt (#: A-74) | 2 |  |  |
|  | 2. Pulley | 2 |  |  |
|  | 3. Bearing (#:6204ZZ) | 4 |  |  |
|  | (#: 6204ZZ) |  |  |  |
| 02-09-01359 | Centrifugal Fan, EF-71, model 2 SRP-30 |  |  |  |
|  | 1. V - Belt (#: A-74) | 2 |  |  |
|  | 2. Pulley | 2 |  |  |
|  | 3. Bearing (#:6204ZZ) | 4 |  |  |
|  | (#: 6204ZZ) |  |  |  |
| 02-09-01360 | Centrifugal Fan, EF-74, model 2 SRP-30 |  |  |  |
|  | 1. V - Belt (#: A-74) | 2 |  |  |
|  | 2. Pulley | 2 |  |  |
|  | 3. Bearing (#:6204ZZ) | 4 |  |  |
|  | (#: 6204ZZ) |  |  |  |
| 02-09-01361 | Centrifugal Fan, EF-72, model 2 SRP-30 |  |  |  |
|  | 1. V - Belt (#: A-74) | 2 |  |  |
|  | 2. Pulley | 2 |  |  |
|  | 3. Bearing (#:6204ZZ) | 4 |  |  |
|  | (#: 6204ZZ) |  |  |  |
| 02-09-01362 | Centrifugal Fan, EF-76, model 2 SRP-30 |  |  |  |
|  | 1. V - Belt (#: A-74) | 2 |  |  |
|  | 2. Pulley | 2 |  |  |
|  | 3. Bearing (#:6205ZZ) | 4 |  |  |
|  | (#: 6205ZZ) |  |  |  |
| 02-09-01363 | Centrifugal Fan, EF-51, model 2 1/2 SRM |  |  |  |
|  | 1. V - Belt (#: A-68) | 4 |  |  |
|  | 2. Pulley | 2 |  |  |
|  | 3. Bearing (#:6205ZZ) | 4 |  |  |
|  | (#: 6205ZZ) |  |  |  |
| 02-09-01364 | Centrifugal Fan, EF-50, model 4 1/2 SRM |  |  |  |
|  | 1. V - Belt (#: A-113) | 6 |  |  |
|  | 2. Pulley | 2 |  |  |
|  | 3. Bearing (#:6308ZZ) | 4 |  |  |
|  | (#: 6208ZZ) |  |  |  |
| 02-09-01365 | Centrifugal Fan, EF-46, model 1 1/2 SRM |  |  |  |
|  | 1. V - Belt | 6 |  |  |
|  | 2. Pulley | 2 |  |  |
|  | 3. Bearing (#:6205ZZ) | 4 |  |  |
|  | (#: 6205ZZ) |  |  |  |
| 02-09-01366 | Mobile X-ray unit for chest x-ray | 1 |  |  |
| 02-09-01367 | Physiologic Monitoring system for ICU including One central station with recorder and Six bedside Monitors (Modular system) to measure ECG, Resp., Invasive & NonInvasive Blood Pressure, Temperature and Pulse Oximetery. | 3 |  |  |
|  | Installation, Training for users on applications, Training for engineers on maintenance, Operating&Service manuals(English) and accessories&Consumable for two years of operation are to be included. |  |  |  |
| 02-09-01368 | X-Ray machine, model D.C-12MB |  |  |  |
|  | 1. ROTANODE, model DRX-780(A) | 2 |  |  |
|  | 2. Lamp 12 V | 5 |  |  |
|  | 3. Silicon grease | 3 |  |  |
| 02-09-01369 | Leaded Wooden plates | 200m2 |  |  |
| 02-09-01370 | Lead Glass | 20m2 |  |  |
| 02-09-01371 | Radiation Dose meter (for users) | 20 |  |  |
| 02-09-01372 | Cooling Compressor, type D4RJ1-3000 ESL, 22 kW, 1450 rpm, 380 V | 2 |  |  |
| 02-09-01373 | Hematology Analyzer, QBC Auto Read Plus, complete with all the consumable for one year. Installation & Training should be provided by the supplier for the users and engineers. | 5 |  |  |
| 02-09-01374 | Osmometer, OM 802, complete with all the consumable for one year. | 1 |  |  |
| 02-09-01375 | Urine Analyzer, CHBMSTRIP(Miditron), complete with all the strips & consumable for one year. | 1 |  |  |
| 02-09-01376 | Urine Analyzer, CHBMSTRIP Criterion(Miditron Jr,), complete with all the strips & consumable for one year. | 1 |  |  |
| 02-09-01377 | Spectrophotometer, UV/VIS, Lambda Bio | 1 |  |  |
| 02-09-01378 | Spectrophotometer, UV/VIS, Novaspec II | 2 |  |  |
| 02-09-01379 | Sphygmomanometer, Electronic, Automatic for Infants | 5 |  |  |
| 02-09-01380 | Defibrillator, S&W Cardio-Aid MC+ 1. Defib electrode cable, part No. CA200 2. Defib electrodes, child, triangular, 10 pairs | 5 500 |  |  |
| 02-09-01381 | Incubator, Infant | 5 |  |  |
| 02-09-01382 | Fetal Heartbeat Detector | 10 |  |  |
| 02-09-01383 | Shortwave Diathermy Unit | 2 |  |  |
| 02-09-01384 | Bronchoscope, Flexible, Light Source with 10 spare bulb, Suction pump with extra bottle and plastic lines, Manual Disinfector with extra liquid for Disinfector, any other essential accessories or consumable for two years of operation | 2 |  |  |
| 02-09-01385 | Electroconvulsive therapy unit | 1 |  |  |
| 02-09-01386 | Exercisers, Continuous Pasive Motion | 1 |  |  |
| 02-09-01387 | Glycohemoglobin Analyzer, Complete with all the essential accessories or consumble required for one year of operation | 1 |  |  |
| 02-09-01388 | Infusion pump, Ambulatory, Insulin with adminstration sets for one year of operation | 3 |  |  |
| 02-09-01389 | Infusion pump, Syringe | 5 |  |  |
| 02-09-01390 | Nerve Locator-facial | 2 |  |  |
| 02-09-01391 | Stimulator, electroanalgesic, TCEN | 1 |  |  |
| 02-09-01392 | Blood glucose monitor, portable, complete with strips for on year of operation | 5 |  |  |
| 02-09-01393 | Blood Flow Detector | 1 |  |  |
| 02-09-01394 | Cardiac pacemaker, Non-invasive | 4 |  |  |
| 02-09-01395 | Panoramic Dental X-Ray | 3 |  |  |
| 02-09-01396 | Automatic Dental X-Ray Film Processor | 3 |  |  |
| 02-09-01397 | Dental Unit , complete with compressor | 2 |  |  |
|  | 1.Portable Dental Suction unit 2.Portable scaler 3.Amalgum condensor (assorted sizes) 4.Burnishers 5.Matrix band Retainer No.8 6.Matrix band Retainer No.1 | 10 10 50 30 30 30 |  |  |
| 02-09-01398 | Cryosurgical unit, general purpose complete with accessories | 1 |  |  |
| 02-09-01399 | Spares for Siemens Multiline Lithostar |  |  |  |
|  | 1.Shock wave head | 20 |  |  |
|  | 2.Shock wave generator, energy compnent | 20 |  |  |
|  | 3. Spark gap module | 20 |  |  |
|  | 4. Coupling bellows | 20 |  |  |
| 02-09-01400 | X-ray film illuminator, desktop/wall fitting | 15 |  |  |
| 02-09-01401 | Personal weight balance, adult, with height attachment(not of chinese origin) | 35 |  |  |
| 02-09-01402 | Four-fold bed screen, complete with curtains with castors | 20 |  |  |
| 02-09-01403 | Surgical laser, carbon dioxide, complete with accessories | 1 |  |  |
| 02-09-01404 | Endoscopic surgey set for laparoscopy, gynaecology abd urology, complete with accessories, and consummables for one year of operation. Plus training for one doctor on the application and engineer for service and maintenance. All manuals to be in English and telescopes should be autoclavable. | 2 |  |  |
| 02-09-01405 | Diesel generating set 150KVA | 2 |  |  |
| 02-09-01406 | Spin dryer,for upto 50 kg wet clothes, 240v 50Hz | 1 |  |  |
| 02-09-01407 | ENT instrument set | 2sets |  |  |
| 02-09-01408 | Orthopaedic internal fixation set | 1set |  |  |
| 02-09-01409 | Orthopaedic external fixation set | 1set |  |  |
| 02-09-01410 | Paraffin bath leg and foot, Karl Kolb | 1 |  |  |
| 02-09-01411 | Chair | 1 |  |  |
| 02-09-01412 | Hand bath | 1 |  |  |
| 02-09-01413 | Inside seat | 1 |  |  |
| 02-09-01414 | Thermometer | 1 |  |  |
| 02-09-01415 | Microwave diathermy | 1 |  |  |
| 02-09-01416 | Finger extension exercise unit | 1 |  |  |
| 02-09-01417 | Grip exerciser | 1 |  |  |
| 02-09-01418 | Grip exerciser | 1 |  |  |
| 02-09-01419 | Finger board | 1 |  |  |
| 02-09-01420 | Medicine ball 4 to 5 lbs | 1 |  |  |
| 02-09-01421 | Medicine ball 8 to 9 lbs | 1 |  |  |
| 02-09-01422 | Medicine ball 14 to 15 lbs | 1 |  |  |
| 02-09-01423 | Medicine ball rack | 1 |  |  |
| 02-09-01424 | Radiator electric, oil filled 240v 50hz | 15 |  |  |
|  | Journals and Publications |  |  |  |
| 02-09-01425 | British Medical Journal | 2 |  |  |
| 02-09-01426 | American Medical Association Journal | 2 |  |  |
| 02-09-01427 | British Journal of Hospital Medicine | 2 |  |  |
| 02-09-01428 | Journal of the Royal College of Surgeons of Edinburgh | 1 |  |  |
| 02-09-01429 | British Jornal of Obstetrics and Gynaecology | 1 |  |  |
| 02-09-01430 | Archives of disease in Childhood | 1 |  |  |
| 02-09-01431 | Journal of Laryngology and Otology | 1 |  |  |
| 02-09-01432 | American Journal of Ophthalmology | 1 |  |  |
| 02-09-01433 | American Journal of Orthopaedics | 1 |  |  |
| 02-09-01434 | New England Journal of Medicine | 1 |  |  |
| 02-09-01435 | Journal of Paediatrics | 1 |  |  |
| 02-09-01436 | Journal of Bone and Joint Surgery | 1 |  |  |
| 02-09-01437 | Annals of the Royal College of Surgeons of England | 1 |  |  |
| 02-09-01438 | British National Formulary, 2 issues per year for 2 years | 1 |  |  |
| 02-09-01439 | Clinical Radiology, Journal of the Royal College of Radiologists | 1 |  |  |
|  | Equipment for training Schools |  |  |  |
| 02-09-01440 | TV Multisystem Colour, 20" | 9 |  |  |
| 02-09-01441 | Video cassette recorder multisystem VHS/PAL | 9 |  |  |
| 02-09-01442 | 35mm slide projector, carousel, with remote control | 9 |  |  |
| 02-09-01443 | Spare cassettes for 35mm projector | 18 |  |  |
| 02-09-01444 | Spare bulbs for projector | 36 |  |  |
| 02-09-01445 | 3M matt-white projection screen tripod mount 60"x60" | 9 |  |  |
| 02-09-01446 | Bretford CA2642 adjustable table with lower locking case | 9 |  |  |
| 02-09-01447 | Refrigerator 2-door frost free 14cu.ft. | 9 |  |  |
| 02-09-01448 | Steel high storage cupboard, two door HS108 | 18 |  |  |
| 02-09-01449 | 3 drawer steel filing cabinet complete with suspension system | 9 |  |  |
| 02-09-01450 | File holders for filing cabinets(pockets for 50 files= 1 set) | 18sets |  |  |
| 02-09-01451 | Training chair, students | 225 |  |  |
| 02-09-01452 | Typewriter manual, 14" carriage, Arabic keyboard | 9 |  |  |
| 02-09-01453 | Typewriter manual 14" carriage, english keyboard | 9 |  |  |
| 02-09-01454 | Coaster 16/21 seater bus | 9 |  |  |
| 02-09-01455 | Flip chart ITM quartet | 9 |  |  |
| 02-09-01456 | Spare chart paper sets for flip chart | 18 |  |  |
| 02-09-01457 | Transparencies for OHP box of 100 sheets | 9 |  |  |
| 02-09-01458 | Set of pens for OHP | 18 |  |  |
| 02-09-01459 | Skeleton, articulated, | 9 |  |  |
| 02-09-01460 | Set of anatomical charts of body systems | 9 |  |  |
| 02-09-01461 | Mannikin for nursing procedures | 9 |  |  |
| 02-09-01462 | Intrauterine foetus development model, 7 to 9 stages | 9 |  |  |
| 02-09-01463 | Model of circulatory system | 9 |  |  |
| 02-09-01464 | Mannikin for practising gastric lavage | 9 |  |  |
| 02-09-01465 | Oxygen cylinder complete with gauge, regulator, flow meter etc. | 9 |  |  |
| 02-09-01466 | Hospital bed adjustable,locking castors, for training,with mattress and removal waterproof cover | 9 |  |  |
| 02-09-01467 | Resusci Anne mannikin | 9 |  |  |
| 02-09-01468 | Resusci child mannikin | 9 |  |  |
|  | Video instruction films for training, on following subjects |  |  |  |
| 02-09-01469 | Nursing procedures, in Arabic if possible, or English | 9 |  |  |
| 02-09-01470 | Anatomy in Arabic if available, or English | 9 |  |  |
| 02-09-01471 | First Aid,Arabic if available, or English | 9 |  |  |
| 02-09-01472 | Theatre techniques,Arabic if available, or English | 9 |  |  |
| 02-09-01473 | Paediatric nursing, Arabic if possible, or English | 9 |  |  |
| 02-09-01474 | Injection techniques, Arabic if possible, or English | 9 |  |  |
| 02-09-01475 | Patient positioning, Arabic if possible, or English | 9 |  |  |
| 02-09-01476 | Wound management, Arabic if possible, or English | 9 |  |  |
| 02-09-01477 | Bandaging and splinting, Arabic if possible, or English | 9 |  |  |
|  | Laboratory equipment for training schools |  |  |  |
| 02-09-01478 | Disposable blood lancets, sterile | 1000 |  |  |
| 02-09-01479 | Glass beakers,low form, 'pyrex' 150 ml. | 20 |  |  |
| 02-09-01480 | Glass beakers, low form, 'pyrex', 250 ml | 20 |  |  |
| 02-09-01481 | Cannula, venous, disposable, sterile, 21G | 250 |  |  |
| 02-09-01482 | Cannula, venous, disposable, sterile, 23G | 250 |  |  |
| 02-09-01483 | Test tube rack, as STH-765-050L | 10 |  |  |
| 02-09-01484 | Test tube rack, as STK-640-070L | 10 |  |  |
| 02-09-01485 | Water distillation unit, glass 4litre/hr, with spare condenser | 2 |  |  |
| 02-09-01486 | Bunsen burner for bottled gas BYD-825-M | 2 |  |  |
| 02-09-01487 | Pressure tubing for use with bunsen burner | 15 |  |  |
| 02-09-01488 | Blood cell counter, differential 5 unit and total | 4 |  |  |
| 02-09-01489 | ESR tube stand (6 place) | 4 |  |  |
| 02-09-01490 | Westergren tubes for ESR, graduated, for use with above stand | 48 |  |  |
| 02-09-01491 | Glass slides in box of 100 | 20 |  |  |
| 02-09-01492 | Cover slips, in box 100 | 20 |  |  |
| 02-09-01493 | Centrifuge, electric, bench model, fixed rotor 16 place for 15 ml tubes | 2 |  |  |
| 02-09-01494 | Laboratory coats, white, female style, medium size | 100 |  |  |
| 02-09-01495 | Magnetic stirrer with hotplate as SWT-680-030K | 2 |  |  |
| 02-09-01496 | Stirrer bars, for use with magnetic stirrer, asst. sizes | 2 |  |  |
| 02-09-01497 | Petrie dish, glass 100mm | 100 |  |  |
| 02-09-01498 | Water bath 14 litre as BJL-480-020T with 3 accessory racks | 2 |  |  |
| 02-09-01499 | Balance Mettler top pan as BFE-950-070H | 2 |  |  |
| 02-09-01500 | Incubator, microbiological as INA-306-010J with extra shelf | 2 |  |  |
| 02-09-01501 | Centrifuge tubes, 15 ml, graduated, glass | 100 |  |  |
| 02-09-01502 | Haemoglobinometer Sahli, set | 4 |  |  |
| 02-09-01503 | Haemocytometer, with improved counting chamber | 4 |  |  |
| 02-09-01504 | Blood grouping sera | 4 |  |  |
| 02-09-01505 | Arabic-English/English-Arabic dictionary | 18 |  |  |
| 02-09-01506 | Medical dictionary, Arabic | 18 |  |  |
| 02-09-01507 | Medical dictionary, English | 18 |  |  |
| 02-09-01508 | Set of gynaecology instruments | 9 |  |  |
| 02-09-01509 | Set of obstetric instruments | 9 |  |  |
| 02-09-01510 | Model of embryo development | 9 |  |  |
| 02-09-01511 | Set of 35mm slides on communicable diseases | 9 |  |  |
| 02-09-01512 | set of 35mm slides on embryo/foetal circulation | 9 |  |  |
| 02-09-01513 | Model of urinary system | 9 |  |  |
| 02-09-01514 | Model of digestive tract | 9 |  |  |
| 02-09-01515 | Model of respiratory system | 9 |  |  |
|  | Equipment for Food Control Laboratory |  |  |  |
| 02-09-01516 | Mortar and Pestle M66-720 | 2 |  |  |
| 02-09-01517 | Mortar and PestleM66-786 | 2 |  |  |
| 02-09-01518 | Oven high temperature 082-490 | 1 |  |  |
| 02-09-01519 | Denver conductivity meter P40-016 | 1 |  |  |
| 02-09-01520 | Inoculating loop holder 156-210 | 10 |  |  |
| 02-09-01521 | Inoculating loop 156-220 | 10 |  |  |
| 02-09-01522 | Balance B12-065 | 1 |  |  |
| 02-09-01523 | Humidity meter H82-301 | 1 |  |  |
| 02-09-01524 | Temperature probe for liquid H82-304 | 1 |  |  |
| 02-09-01525 | Cabinet, vertical laminar air flow L13-010 with L13-017 | 1 |  |  |
| 02-09-01526 | Melting point apparatus M 35-752 | 1 |  |  |
| 02-09-01527 | Laboratory refrigerator R34-570 | 1 |  |  |
| 02-09-01528 | Centrifuge Gerber C32-800 | 1 |  |  |
| 02-09-01529 | Colony counter C60-500 with magnifier C60-504 | 2 |  |  |
| 02-09-01530 | Hand tally counter C60-500 | 1 |  |  |
| 02-09-01531 | Counting chamber C64-601 | 4 |  |  |
| 02-09-01532 | Dessiccator/humidity cabinet D34-280 | 1 |  |  |
| 02-09-01533 | Dispenser D44-275 | 1 |  |  |
| 02-09-01534 | Dispenser D44-281 | 1 |  |  |
| 02-09-01535 | Drying rack 72-440 | 1 |  |  |
| 02-09-01536 | Microscope slide dispenser M46-100 | 2 |  |  |
| 02-09-01537 | Basin 75ml B18-305 | 4 |  |  |
| 02-09-01538 | Basin 170ml B18-311 | 4 |  |  |
| 02-09-01539 | Bags B10-391 | 4pack |  |  |
| 02-09-01540 | Bag B10-401 | 4pack |  |  |
| 02-09-01541 | Bag B10-458 | 4pack |  |  |
| 02-09-01542 | Filter paper F43-378 | 10pack |  |  |
| 02-09-01543 | Filter paper F43-122 | 5pack |  |  |
| 02-09-01544 | Hydrometers H92-320 | 2 |  |  |
| 02-09-01545 | Hydrometers H92-322 | 2 |  |  |
| 02-09-01546 | Petri dishes P35-520 (case quantity) | 1 |  |  |
| 02-09-01547 | Petri dishes P35-571 (case quantity) | 1 |  |  |
| 02-09-01548 | Stands P35-890 | 8 |  |  |
| 02-09-01549 | Stands S70-424 | 4 |  |  |
| 02-09-01550 | Stands S70-426 | 4 |  |  |
| 02-09-01551 | Stopper S76-762 | 1pack |  |  |
| 02-09-01552 | Stopper S76-766 | 1pack |  |  |
| 02-09-01553 | Swab S82-020 | 4pack |  |  |
| 02-09-01554 | Swab S82-100 | 4pack |  |  |
| 02-09-01555 | Water bath unstirred 149-006 | 1 |  |  |
| 02-09-01556 | Dessiccators 250-006 | 1 |  |  |
| 02-09-01557 | Dessicator 250-010 | 1 |  |  |
| 02-09-01558 | Dessiccator 250-026 | 1 |  |  |
| 02-09-01559 | Density tester 247-012 | 1 |  |  |
| 02-09-01560 | Cylinder 5ml 244-064 | 10 |  |  |
| 02-09-01561 | Cylinder 10ml 244-065 | 10 |  |  |
| 02-09-01562 | Cylinder 25 ml 244-066 | 10 |  |  |
| 02-09-01563 | Carriers, bio-transport 190-041 | 1 |  |  |
| 02-09-01564 | Calculator, Casio, with batteries 186-007 | 1 |  |  |
| 02-09-01565 | Scoops stainless steel 259/0016/01 | 1 |  |  |
| 02-09-01566 | Scoops stainless steel 259/0016/04 | 1 |  |  |
| 02-09-01567 | Shaker 330/0405/02 | 1 |  |  |
| 02-09-01568 | Sieve shaker 330/0056/00 | 1 |  |  |
| 02-09-01569 | Sieves 259/1040/42 | 1 |  |  |
| 02-09-01570 | Sieve 259/1040/46 | 1 |  |  |
| 02-09-01571 | Sieve 259/1040/50 | 1 |  |  |
| 02-09-01572 | Sieve 259/1040/53 | 1 |  |  |
| 02-09-01573 | Sieve lid 259/1046/01 100mm | 1 |  |  |
| 02-09-01574 | Sieve receiver 259/1048/01 | 1 |  |  |
| 02-09-01575 | Spectrophotometer Jenway 6105 331/1041/00 with cells and cell holder 10x10mm | 1 |  |  |
| 02-09-01576 | Clamp burette tube 261/2170/00 with stand | 2 |  |  |
| 02-09-01577 | Magnetic stirrer flatspin 333/0150/02 | 1 |  |  |
| 02-09-01578 | Viscoklik viscometer converter 333/0266/00 and adapter | 1 |  |  |
| 02-09-01579 | Stirrer motor for use with viscklik 333/0293/00 with stirring shaft and stand | 1 |  |  |
| 02-09-01580 | pH meter H1-9110 309.0183/10 | 2 |  |  |
| 02-09-01581 | Portable sodium analyser H1-931102 309/0185/00 | 2 |  |  |
| 02-09-01582 | Thermometer, fridge/freezer 268/0676/00 | 1 |  |  |
| 02-09-01583 | Thermometer oven 268/0693/00 | 1 |  |  |
| 02-09-01584 | High accuracy thermometer probe 268/0344/04 | 1 |  |  |
| 02-09-01585 | Thermometer food testing 268/0473/10 | 1 |  |  |
| 02-09-01586 | Chemical calculationn 271/0233/02 | 1 |  |  |
| 02-09-01587 | Funnels glass 237/0045/02 | 10 |  |  |
| 02-09-01588 | Funnels glass 237/0045/04 | 10 |  |  |
| 02-09-01589 | Separating funnel 237/0363/06 | 15 |  |  |
| 02-09-01590 | Separating funnel 237/0363/04 | 10 |  |  |
| 02-09-01591 | Separating funnel 237/0363/02 | 15 |  |  |
| 02-09-01592 | Separating funnel holder 261/0830/00 | 1 |  |  |
| 02-09-01593 | Ashing furnace with eurotherm 607/0611/02 complete | 1 |  |  |
| 02-09-01594 | Synthewave 402 complete for organic synthesis 506/4024/20 | 1 |  |  |
| 02-09-01595 | Heater blocks 304/3350/01 | 1 |  |  |
| 02-09-01596 | Blocks for heater, one each size available | 1set |  |  |
| 02-09-01597 | Wash bottle solvent venting one pack each 215/0719/17-18-19-20-21-22 | all 6 pack |  |  |
| 02-09-01598 | Autoclave rectangular 302/0120/04 | 1 |  |  |
| 02-09-01599 | Dressing drum rectangular for use with above autoclave | 2 |  |  |
| 02-09-01600 | Scoops polypropylene 259/0010/06 | 10 |  |  |
| 02-09-01601 | Scoops polypropylene 259/0010/01 | 10 |  |  |
| 02-09-01602 | Lactic acid Analar | 1 |  |  |
| 02-09-01603 | Mineralised methylated spirits | 2.5 |  |  |
| 02-09-01604 | Triton-X 100 | 500 |  |  |
| 02-09-01605 | Ammonium iron(11) sulphate solution 0.025M | 1 |  |  |
| 02-09-01606 | chromium potassium sulphate 250g/litre | 1 |  |  |
| 02-09-01607 | EDTA disodium salt 0.01M | 5 |  |  |
| 02-09-01608 | Hydrochloric acid 2M | 5 |  |  |
| 02-09-01609 | Hydrochloric acid 0.5M | 5 |  |  |
| 02-09-01610 | Hydrochloric acid 0.1M | 5 |  |  |
| 02-09-01611 | Iodine 0.025M | 6 |  |  |
| 02-09-01612 | Magnesium chloride 0.01M | 500 |  |  |
| 02-09-01613 | Potassium chromate 5% | 500 |  |  |
| 02-09-01614 | Potassium dichromate 0.125N | 2.5 |  |  |
| 02-09-01615 | Potassium iodate/iodide | 2.5 |  |  |
| 02-09-01616 | Peroxide test strips | 100 |  |  |
| 02-09-01617 | Cod reagent 150-1000mgm | 24 |  |  |
| 02-09-01618 | Cod addista 400-800mgm | 1 |  |  |
| 02-09-01619 | Cod reagents 15-150 mgm | 24 |  |  |
| 02-09-01620 | cod addista 15-150 mgm | 1 |  |  |
| 02-09-01621 | Hach cod vials high range 0 0 1500mg/l | 25 |  |  |
| 02-09-01622 | Hach cod vials low range 0 150mg/l | 25 |  |  |
| 02-09-01623 | Palintest COD/2000 test tubes mercury free | 24 |  |  |
| 02-09-01624 | DPD comparator tablets No.1 | 100 |  |  |
| 02-09-01625 | DPD comparator tablets No.4 | 100 |  |  |
| 02-09-01626 | Total hardness tablets wrapped in foil strips | 250 |  |  |
| 02-09-01627 | Disodium nitrophenol phosphate for milk testing | 0.15 |  |  |
| 02-09-01628 | Carbonate buffer for milk testing | 2.5 |  |  |
| 02-09-01629 | 5Decon '90 liquid | 5 |  |  |
| 02-09-01630 | Palette racking of 200sq. Metres, maximum height 4metres with full directions for erection at site. | 1set |  |  |
| 02-09-01631 | Steyr Puch ambulance 4x4 W Syncro 2300cc, with options(with Ambu Emergency soft pack, with ambulance spacer | 2 |  |  |
| 02-09-01632 | Haemoglobinometer for ( Hb estimation ) electrical ( BDH - England origin ) | 30 |  |  |
| 02-09-01633 | Microcentrifuge for P.C.V ( BDH - England origin ) | 30 |  |  |
| 02-09-01634 | Microcentrifuge ( BDH - England origin ) | 20 |  |  |
| 02-09-01635 | Flamephtometers for electrolyte determination ( BDH - England origin ) | 3 |  |  |
| 02-09-01636 | Microscope binoculor ( BDH- England origin ) | 15 |  |  |
| 02-09-01637 | Spectrophotometer ( BDH - England origin ) | 10 |  |  |
| 02-09-01638 | Electrophoresis apparatus for Hb and protein Electrophoresis and its solution and cellulose papers ( BDH- ENGLAND ORIGIN ). | 3 |  |  |
| 02-09-01639 | Autoanalyzer for chemical analysis (New generation ) with its solution and standerd solution which is necessary for biochemical tests (Blood sugar, Blood Urea, Liver function test, Uric acid, Serum creatinine, Serum cholestrol …..etc). ( BDH- England origin ) | 2 |  |  |
| 02-09-01640 | Multi-channal Gamma counter with computer and printer for ( hormons estimation ) with its exceseries and reagents . | 1 |  |  |
| 02-09-01641 | Teaching microscope ( Tetra- nocular ) for four students. ( BDH - England origin ) | 4 |  |  |
| 02-09-01642 | Bilirubinometer with its standerd. ( BDH - England origin ) | 4 |  |  |
| 02-09-01643 | Magnetic stirrer hotplate. ( BDH - England origin ) | 5 |  |  |
| 02-09-01644 | Shaker. ( BDH - England origin ) | 5 |  |  |
| 02-09-01645 | Lamp for microscope Olympus CH , BH , CH2 , 6V. 15W. For each . | 50 |  |  |
| 02-09-01646 | Cuvate for photometer Spechole. ( German origin ) | 100 |  |  |
| 02-09-01647 | Lamp for photometer Spechole ( Geraman origin ) | 50 |  |  |
| 02-09-01648 | Proteinometer. ( BDH - England origin ) | 5 |  |  |
| 02-09-01649 | Haemalog autoanalyzer for determination of ( Hb - PCV - MCH - MCHC - WBC | 2 |  |  |
| 02-09-01650 | Microplates - Heater - Heatsealers Equipment - Skatron 96 Head washer - Readers - Authos. For Elisa test . Jecons . Catalogue 1998 | 1 |  |  |
| 02-09-01651 | Refrigerator - freezers / Chest freezers part ( 538 - 041 ) . Jencons . Catalogue 1998 . | 5 |  |  |
| 02-09-01652 | Medo - 4 - stereoscopic microscope cat No. 451 - 061 Jencons . Catalogue 1998 | 2 |  |  |
| 02-09-01653 | Thermometer ( Hand held ) 667 - 105 . | 2 |  |  |
| 02-09-01654 | Spectrophotometers aquarius series 9000 doudle beam UV / Vis . Jencons . Catalogue 1998 | 6 |  |  |
| 02-09-01655 | Multi - channel pipettors . Diff . Size . Jencons . Catalogue 1998 | 10 |  |  |
| 02-09-01656 | Electrical generator 30 Kv. | 1 |  |  |
| 02-09-01657 | AGAROSE - GEL ELECTROPHORESIS COMPLETE | 1 |  |  |
| 02-09-01658 | AUTOMATIC PIPPETE MEASURING MICRO LITER | 10 |  |  |
| 02-09-01659 | FINE GLASS MICROFIBER FILTER PAPER ( GF / C ) | 10 PACK |  |  |
| 02-09-01660 | INFRA RED SPECTROPHOTOMETER ( PERKIN - ELMER ) MODEL 682 COMPLETE WITH SOLED DISK COMPRESER | 1 |  |  |
| 02-09-01661 | NESSLER CYLINDER | 5 |  |  |
| 02-09-01662 | NITROGEN GAS CYLENDER | 2 |  |  |
| 02-09-01663 | ROTARY EVAPORATOR | 5 |  |  |
| 02-09-01664 | SEPRATING FUNNEL | 5 |  |  |
| 02-09-01665 | SILICA GEL GF254 | 20 PACK |  |  |
| 02-09-01666 | STOPPERD FLASK - 50 ML - 100 ML - 500 ML - 1000 ML . | 5 FROM EACH |  |  |  |
| 02-09-01667 | SILICA GEL - H | 10 PACK |  |  |
| 02-09-01668 | GAS LIQUID CHROMATOGRAPHY ( GLC ) COMPLETE | 1 |  |  |
| 02-09-01669 | THIN LAYER CHROMATOGRAPHY COMPLETE | 1 |  |  |
| 02-09-01670 | ULTRAVIOLET / VISIBLE LIGHT SPECTROPHOTOMETER | 1 |  |  |
| 02-09-01671 | WHATMAN GF / C FILTER PAPER | 10 PACK |  |  |
| 02-09-01672 | REFLUX CONDENSER | 2 |  |  |
| 02-09-01673 | Bergey's Manual of Determinative Bacteriology 9th ed., J.G. HOH, Williams & Williams, Baltimore MD, 1993 | 1 |  |  |
| 02-09-01674 | Biology 3rd ed., P.H. Raven and G.B. Johnson, Mosby-year book, Inc. St. Louis, MO, 1992 | 1 |  |  |
| 02-09-01675 | Handbook of Microbiological Media, Ronald M. Atlas, CRC press, Boca Raton, FL, 1993 | 1 |  |  |
| 02-09-01676 | Manual of Clinical Microbiology 5th ed., A. Balows, Ed, in chief, American Society for Microbiology Washington, DC, 1991 | 1 |  |  |
| 02-09-01677 | Medical Bacteriology: A practical Approch, P.M Hawkey and D.A Lewis, Eds, IRL press at Oxford University press, Oxford, England 1989 | 1 |  |  |
| 02-09-01678 | Medical Mycology: A practical Approch. E G.U. Evans and M.D Richardson, Eds., IRL, Press at Oxford University Pess, Oxford, England, 1989 | 1 |  |  |
| 02-09-01679 | Edwards P.R and Ewing W.H., Identification of Enterobacteriacase, Minneapolis, Burgess Publishing | 1 |  |  |
| 02-09-01680 | Food Additives Handbook, R.J. Lewis, Sr., Van Nostrand, Reinhold, Newyork, NY, 1989 | 1 |  |  |
| 02-09-01681 | Microorganisms in food (Volume 1), Their Significance and methods of enumeration, Second edition ICMSF | 1 |  |  |
| 02-09-01682 | Microorganisms in food (Volume 2), Sampling for Microbiological Analysis, Principles and Specific Applications | 1 |  |  |
| 02-09-01683 | Clinical Chemistry in Diagnosis and Treatment 5th ed., J.F. Zilva | 1 |  |  |
| 02-09-01684 | Dictionary of Toxicology, E. Hodgson, R.B. Mailman, and J.F. Chambers, Eds.,Van Nostrand Reinhold, New York, 1989 | 1 |  |  |
| 02-09-01685 | Environmental Chemistry, 5th ed., S. E. Manahan, Lewis Publishers, Chelsea, MI, 1991 | 1 |  |  |
| 02-09-01686 | Environmental Organic Chemistry, R.P. Schwarzenbach, P.M. Gschwend, and D.M. Imboden, John Wily & Sons, New York, NY, 1993 | 1 |  |  |
| 02-09-01687 | Environmental Sampling and Analysis: A Practical Guide, L.H. Keith, Lewis Publisher, Inc.., Boca Raton, FL, 1991 | 1 |  |  |
| 02-09-01688 | Gray's Anatomy, 13th American Edition, C.D. Clement, Ed., Lea & Febiger, Philadelphia, PA, 1985 | 1 |  |  |
| 02-09-01689 | Handbook of Industrial Chemical Additives: An introduction guide to product tradename, Function and Supplier, M. Ash and I. Ash, VCH publishers, New York, NY, 1991 | 1 |  |  |
| 02-09-01690 | Microbes In Action: A Laboratory Manual of Microbiology, 4th ed., H.W. Seeley, Jr., P.J. Van Demark and J.J. Lee, W.H. Freeman and Co., New York, NY, 1991 | 1 |  |  |
| 02-09-01691 | Molecular Genetic Analysis of Populations: A Practical Approach, A.R. Hoelzel, Ed., IRL Press at Oxford University Press, 1992 | 1 |  |  |
| 02-09-01692 | The Organic Chemistry of Drug Design and Drug Action, R.B. Silverman, Academic Press, San Diego, CA, 1992 | 1 |  |  |
| 02-09-01693 | Organic Chemistry of Drug Standards, D. Lednicer, L.A., Mitscher, and G. George, John Wiley & Sons, New York, NY, Vol.1, 1997, Vol.2, 1980, Vol.3, 1984, Vol.4, 1990 | 1 |  |  |
| 02-09-01694 | The Perfume Handbook, N. Groom, Chapman and Hall, New York, 1992 | 1 |  |  |
| 02-09-01695 | Principles and Practice of Analytical Chemistry 3rd ed., F.W. Fifield and D. Kealey, Blacki & Son, Glasgow, UK, 1990 | 1 |  |  |
| 02-09-01696 | Principles of Genetics, 8th ed., E.J. Gardner, M.J. Simmons and D.P. Snustad, John Wiley & Sons, Inc., New York, 1991 | 1 |  |  |
| 02-09-01697 | Purifcation of Laboratory Chemicals, 3rd ed., D. Perrin and W. Armarego Press, 1988 | 1 |  |  |
| 02-09-01698 | Selected Methodes of Trace Metal Analysis: Biological and Environmental Samples, J.C. Van Loon, John Wiley & Sons, New York, 1985 | 1 |  |  |
| 02-09-01699 | A Short Course in Bacterial Genetics, Jeffery H. Miller, Cold Spring Harbor Laboratory Press, 1992 | 1 |  |  |
| 02-09-01700 | Virology: A Laboratory Manual, Florence G. Burleson, Thomas M. Chambers and Danny L. Wiedbrank, Academic Press, 1992 | 1 |  |  |
| 02-09-01701 | Vogel's Textbook of Quantitative Chemical Analysis, 5th ed., G.H. Jeffrey et al., John Wiley & Sons, New York, 1989 | 1 |  |  |
| 02-09-01702 | Yeast: A Practical Approch, I. Campbell and J.H. Duffus, Eds., IRL Press, Oxford, 1988 | 1 |  |  |
| 02-09-01703 | American Methodes of Food and Chemical Analysis | 1 |  |  |
| 02-09-01704 | Autoclaves: Swiftlock Front Loading, Horizontal, Cat. no. AUX-785-011N | 1 |  |  |
| 02-09-01705 | Balances: Mettler Toledo, model: PB1502, Cat. no. BFE-950-090B | 1 |  |  |
| 02-09-01706 | Water Bath: Alt.No.: DC1-W13, Cat. no. CLR-415-050E | 1 |  |  |
| 02-09-01707 | Hot Plates, high temperature, rectangular, Alt.No: SH4, Cat. no. HPS-500-010 A | 1 |  |  |
| 02-09-01708 | Incubators: Heraeus, model type: B6420, Alt. No: 51002393, Cat. no. ING-210-050 U | 1 |  |  |
| 02-09-01709 | Continuation CO2 Incubators; Heraeus, model type: BB6060, Alt. No: 51008947, Cat. no. ING-260-010 U | 1 |  |  |
| 02-09-01710 | Ovens, heating and drying, series 6000, Alt. No.: 510001906, Cat. no. OVG-240-050 A | 1 |  |  |
| 02-09-01711 | Refrigerators: LEC, model: LR 900, Cat. no. RFP-800-050 H | 1 |  |  |
| 02-09-01712 | Shaker, 250 series, Alt. No: AS250.3, Cat. no. SGM-420-030 P | 1 |  |  |
| 02-09-01713 | Lamps, Bench, Cat. no. LCF-251-010 B | 1 |  |  |
| 02-09-01714 | Lamps, Ultra Violt, Cat. no. LCF-440-030 P | 1 |  |  |
| 02-09-01715 | Silde drying plate, Cat. no. MNK-300-010 M | 1 |  |  |
| 02-09-01716 | Stirrers, magnetic, ceramic top, with hot plate, Cat. no. SWT-520-030 X | 1 |  |  |
| 02-09-01717 | Sterilisation indicator strips, OK, Cat. no. AUY-340-030 U | 5 | packs |  |
| 02-09-01718 | Sterilisation boxes, petridish, Cat. no. SVF-730-N | 2 |  |  |
| 02-09-01719 | Sterilisation boxes, pipette, Cat. no. SVF-750-050 A | 2 |  |  |
| 02-09-01720 | Baskets, Test Tube, Cat. no. BIR-350-050 N | 10 |  |  |
| 02-09-01721 | Filters, membrane, super 200, gridded sterile, Alt. No: 66234, Cat. no. FDQ-164-010 E | 10 | packs |  |
| 02-09-01722 | Blade, Retractaway, Cat. no. SCA-330-F | 10 |  |  |
| 02-09-01723 | Markers, permanent, Cat. no. LAC-725-N | 5 | packs |  |
| 02-09-01724 | Tripod stand, circular top, Cat. no. STK-940-030 W | 2 |  |  |
| 02-09-01725 | Gloves Latex, Laboratory disposable, Cat. no. SAR-715-020 K | 10 |  |  |
| 02-09-01726 | Gauzes, steel wire with ceramic Center, Alt. No.: GC6, Cat. no. GMX-310-030 N | 10 |  |  |
| 02-09-01727 | Parafilm M cutter, Cat. no. SEL-464-510 E | 1 |  |  |
| 02-09-01728 | Microscope slide boxes, Cat. no. MNK-337-050 M | 1 |  |  |
| 02-09-01729 | MC Master worm egg counting slide, Cat. no. MNH-811-P | 3 |  |  |
| 02-09-01730 | Indicator papers, type: pH (1-14), Alt. No: FB 33041, Cat. no. PBK-640-110 G | 10 |  |  |
| 02-09-01731 | Slides, Cat. no. MNK-110-050 J | 10 |  |  |
| 02-09-01732 | Applicators, wooden, Cat. no. DIS-295-037 N | 10 |  |  |
| 02-09-01733 | Morter and Pestles, glass, Cat. no. MWA-480-070 | 2 |  |  |
| 02-09-01734 | Pipettors, Fixed volume, uni 5ml, Cat. no. PMP-940-210 Y | 5 |  |  |
| 02-09-01735 | Pipettors, Fixed volume, uni 10ml, Cat. no. PMP-940-230 Y | 5 |  |  |
| 02-09-01736 | Pipettors, Fixed volume, uni 1ml, Cat. no. PMP-940-190 R | 5 |  |  |
| 02-09-01737 | Pipettors, Fixed volume, uni 0.1ml, Cat. no. PMP-940-090 N | 5 |  |  |
| 02-09-01738 | Pipettor tipes, Cat. no. PQP-365-120 V | 1 | packs |  |
| 02-09-01739 | Pipettor tipes, Cat. no. PQP-365-220 R | 1 | packs |  |
| 02-09-01740 | Pipettor tipes, Cat. no. PQP-350-280 N | 1 | packs |  |
| 02-09-01741 | Pipettor tipes, Cat. no. PQP-350-210 L | 1 | packs |  |
| 02-09-01742 | Parafilm M, Cat. no. SEL-400-050 J | 2 |  |  |
| 02-09-01743 | Bench top sterilizers, Barnstead model 12A, Cat. no. 58624-230 | 1 |  |  |
| 02-09-01744 | Hoods, Laminar Flow, Cat. no. 21917-104 | 1 |  |  |
| 02-09-01745 | Stomacher: model 80 mark II, Tekmar No: 10-0608-000, Cat. no. 58976-902 | 1 |  |  |
| 02-09-01746 | Loops with handle, Cat. no. 50815-200 | 10 |  |  |
| 02-09-01747 | Calgiswab Type 2 Applicator, spectrum , Cat. no. 15648-234 | 10 | packs |  |
| 02-09-01748 | Clorox, Germicidal Bleach, Cat. no. 21899-504 | 6 | gal |  |
| 02-09-01749 | CIDEX plus 28 Day Solution, Cat. no. 21911-974 | 5 | gal |  |
| 02-09-01750 | ATP, Cat. no. DF-0654 | 1 | kg |  |
| 02-09-01751 | Azid blood agar base, Cat. no. DF-0409-17 | 2 | kg |  |
| 02-09-01752 | Azid Dextrose broth, Cat. no. DF-0387-17 | 4 | kg |  |
| 02-09-01753 | Baird-parker Agar base, Cat. no. DF-0768-17 | 5 | kg |  |
| 02-09-01754 | BG Sulfa Agar, Cat. no. DF-0717-17 | 2 | kg |  |
| 02-09-01755 | BIGGY Agar, Cat. no. DF-0635-17 | 1 | kg |  |
| 02-09-01756 | Bismuth Sulfite agar, Cat. no. DF-0073-17 | 4 | kg |  |
| 02-09-01757 | Brain heart infusion, Cat. no. DF-0037-07 | 4 | kg |  |
| 02-09-01758 | Brilliant green bile 2%, Cat. no. DF-0007-17 | 2 | kg |  |
| 02-09-01759 | m Brilliant green broth, Cat. no. DF-0494-17 | 2 | kg |  |
| 02-09-01760 | Brucella agar, Cat. no. DF-0964-17 | 5 | kg |  |
| 02-09-01761 | Brucella broth, Cat. no. DF-0495-17 | 2 | kg |  |
| 02-09-01762 | Candida BCG agar base, Cat. no. DF-0835-17 | 2 | kg |  |
| 02-09-01763 | Cooke Rose bengal agar, Cat. no. DF-0703-17 | 2 | kg |  |
| 02-09-01764 | Cystine Tryptic agar, Cat. no. DF-0523-17 | 2 | kg |  |
| 02-09-01765 | Desoxycholate citrate agar, Cat. no. DF-0274-17 | 3 | kg |  |
| 02-09-01766 | DNase test agar, Cat. no. DF-0632-17 | 1 | kg |  |
| 02-09-01767 | Fluid Thioglycollate medium, Cat. no. DF-0256-17 | 1 | kg |  |
| 02-09-01768 | HC agar Base, DF-0685-17 | 2 | kg |  |
| 02-09-01769 | Heart infusion agar, Cat . no. DF-0044-17 | 1 | kg |  |
| 02-09-01770 | Hear infusion broth, Cat. no. DF-0038-17 | 2 | kg |  |
| 02-09-01771 | Hektoen enteric agar, Cat. no. DF-0853-17 | 2 | kg |  |
| 02-09-01772 | Kliglar iron agar , Cat. no. DF-0086-17 | 3 | kg |  |
| 02-09-01773 | Lactose broth , Cat. no. DF-0004-17 | 2 | kg |  |
| 02-09-01774 | Litmus milk , Cat . no. DF-0294-17 | 2 | kg |  |
| 02-09-01775 | MacConkey agar , Cat . no .DF-0075-17 | 10 | kg |  |
| 02-09-01776 | Malt extract agar , Cat . no . DF-0112-17 | 2 | kg |  |
| 02-09-01777 | Mannitol salt agar , Cat . no . DF-0306-17 | 10 | kg |  |
| 02-09-01778 | Motility GI medium , Cat . no . DF-0869-17 | 2 | kg |  |
| 02-09-01779 | MR-VP medium , Cat . no .DF-0016-17 | 2 | kg |  |
| 02-09-01780 | Mueller hinton agar , Cat . no . DF-0252-17 | 3 | kg |  |
| 02-09-01781 | Neutrient agar , Cat . no . DF-0001-17 | 10 | kg |  |
| 02-09-01782 | Neutrient broth , Cat . no . DF-0003-17 | 4 | kg |  |
| 02-09-01783 | Oatmeal agar , Cat . no . DF-0552-17 | 3 | kg |  |
| 02-09-01784 | OF Basal medium , Cat . no . DF-0688-17 | 1 | kg |  |
| 02-09-01785 | Pepton water , Cat . no . DF-1807-17 | 10 | kg |  |
| 02-09-01786 | Plat Count agar , Cat . no . DF-0479-17 | 10 | kg |  |
| 02-09-01787 | Potato dextrose agar , Cat . no . DF-0013-17 | 5 | kg |  |
| 02-09-01788 | Rice extract agar, Cat. no. DF-0899-17 | 5 | kg |  |
| 02-09-01789 | Sabouraud dextrose agar, Cat. no. DF-0109-17 | 5 | kg |  |
| 02-09-01790 | Sabouraud Maltose agar, Cat. no. DF-0110-17 | 5 | kg |  |
| 02-09-01791 | Schaedler agar, Cat. no. DF-0403-17 | 2 | kg |  |
| 02-09-01792 | Schaedler broth, Cat. no. DF-0534-17 | 2 | kg |  |
| 02-09-01793 | Selenite broth, Cat. no. DF-0275-17 | 2 | kg |  |
| 02-09-01794 | Selenite cystine broth, Cat. no. DF-0687-17 | 2 | kg |  |
| 02-09-01795 | SIM media, Cat. no. DF-0271-17 | 1 | kg |  |
| 02-09-01796 | Simmons citrate agar, Cat. no. DF-0091-17 | 1 | kg |  |
| 02-09-01797 | SPS Agar, Cat. no. DF-0845-17 | 1 | kg |  |
| 02-09-01798 | Staphylococcus medium 110, Cat. no. DF-0297-17 | 10 | kg |  |
| 02-09-01799 | Starch agar, Cat. no. DF-0072-17 | 1 | kg |  |
| 02-09-01800 | S.S agar, Cat. no. DF-0074-17 | 5 | kg |  |
| 02-09-01801 | T.C.B.S agar, Cat. no. DF-0650-17 | 1 | kg |  |
| 02-09-01802 | Tellurite glycine, Cat. no. DF-0617-17 | 1 | kg |  |
| 02-09-01803 | Tetrathionate broth base, Cat. no. DF-0104-17 | 2 | kg |  |
| 02-09-01804 | m Tetrathionate broth base, Cat. no. DF-0580-17 | 2 | kg |  |
| 02-09-01805 | Transport medium stuart, Cat. no. DF-0621-17 | 0.5 | kg |  |
| 02-09-01806 | Triple sugar iron agar, Cat. no. DF-0265-17 | 2 | kg |  |
| 02-09-01807 | Tryptone glucose extract agar, Cat. no. DF-0002-17 | 1 | kg |  |
| 02-09-01808 | Tryptose agar, Cat. no. DF-0064-17 | 2 | kg |  |
| 02-09-01809 | Tryptose broth, Cat. no. DF-0062-17 | 2 | kg |  |
| 02-09-01810 | TT broth Base, Hajna, Cat. no. DF-0491-17 | 2 | kg |  |
| 02-09-01811 | Urea agar base, Cat. no. DF-0283-17 | 1 | kg |  |
| 02-09-01812 | VJ agar, Cat. no. DF-0562-17 | 5 | kg |  |
| 02-09-01813 | XLD agar, Cat. no. DF-0788-17 | 1 | kg |  |
| 02-09-01814 | Brucella abortus Antiserum, Cat. no. DF-2871-47 | 2x3 | ml |  |
| 02-09-01815 | Candida abicans Ntiserum, Cat. no. DF-2281-47 | 2x3 | ml |  |
| 02-09-01816 | Coagulase plasma (Rabbit), Cat. no. DF-0803-46 | 10x(6x3) | ml |  |
| 02-09-01817 | E. Coli H Antiserum H7, Cat. no. DF-2159-47 | 2x3 | ml |  |
| 02-09-01818 | E. Coli O Antiserum O157, Cat. no. DF-2970-47 | 2x3 | ml |  |
| 02-09-01819 | Salmonella H antiserum poly(a-z), Cat. no. DF-2264-47 | 3x3 | ml |  |
| 02-09-01820 | Salmonella O antiserum poly(a-I) & vi, Cat. no. DF-2264-47 | 3x3 | ml |  |
| 02-09-01821 | Shigella antiserum polygroup A, Cat. no. DF-2834-47 | 2x3 | ml |  |
| 02-09-01822 | Shigella antiserum polygroup A1, Cat. no. DF-2776-47 | 2x3 | ml |  |
| 02-09-01823 | Shigella antiserum polygroup B, Cat. no. DF-2835-47 | 2x3 | ml |  |
| 02-09-01824 | Shigella antiserum polygroup C, Cat. no. DF-2836-47 | 2x3 | ml |  |
| 02-09-01825 | Shigella antiserum polygroup C1, Cat. no. DF-2777-47 | 2x3 | ml |  |
| 02-09-01826 | Shigella antiserum polygroup C2, Cat. no. DF-2778-47 | 2x3 | ml |  |
| 02-09-01827 | Shigella antiserum polygroup D, Cat. no. DF-2837-47 | 2x3 | ml |  |
| 02-09-01828 | Vibrio Cholera antiserum Inaba, Cat. no. DF-2430-47 | 2x3 | ml |  |
| 02-09-01829 | Vibrio Cholera antiserum Ogawa, Cat. no. DF-2430-47 | 2x3 | ml |  |
| 02-09-01830 | Vibrio Cholera antiserum Polyvalent, Cat. no. DF-2432-47 | 2x3 | ml |  |
| 02-09-01831 | Catalase test, Cat. no. DF-3564-26 | 10 | packs |  |
| 02-09-01832 | H2 S test strips, Cat. no. DF-1626-30 | 10 | vials |  |
| 02-09-01833 | India ink, spot test, Cat. no. DF-3569-26 | 10 | packs |  |
| 02-09-01834 | Indole reagent Kovac's spot test, Cat. no. DF-3551-26 | 20 | packs |  |
| 02-09-01835 | Indole test strips, Cat. no. DF-1627-30 | 10 | vials |  |
| 02-09-01836 | KoH 10% spot test, Cat. no. DF-3565-26 | 5 | packs |  |
| 02-09-01837 | Lactophenol Cotton Blue stain spot test, Cat. no. DF-3560-26 | 5 | packs |  |
| 02-09-01838 | Lipase reagent, Cat. no. DF-0431-63 | 2 | packs |  |
| 02-09-01839 | Oxidase reagent spot test, Cat. no. DF-3550-26 | 10 | packs |  |
| 02-09-01840 | Voges-pros Kauer Reagent A, Cat. no. DF-3558-26 | 2 | packs |  |
| 02-09-01841 | Voges-pros Kauer Reagent B, Cat. no. DF-3559-26 | 2 | packs |  |
| 02-09-01842 | Agar, Bacts, Cat. no. DF-0140-01 | 5 | kg |  |
| 02-09-01843 | Beef extract, Cat. no. DF-0126-17 | 1 | kg |  |
| 02-09-01844 | Dextrose, Cat. no. DF-0155-17 | 5 | kg |  |
| 02-09-01845 | Gelatin, Cat. no. DF-0143-17 | 1 | kg |  |
| 02-09-01846 | Malt extract, Cat. no. DF-0186-17 | 1 | kg |  |
| 02-09-01847 | Maltose, Cat. no. DF-0168-17 | 3 | kg |  |
| 02-09-01848 | Peptone, Bacts, Cat. no. DF-0118-17 | 5 | kg |  |
| 02-09-01849 | Tryptone, Cat. no. DF-0123-17 | 2 | kg |  |
| 02-09-01850 | Tween 80, Cat. no. DF-3118-17 | 100 | gm |  |
| 02-09-01851 | Ureac, Cat. no. DF-0190-17 | 1 | kg |  |
| 02-09-01852 | Yeast extract, Cat. no. DF-0127-17 | 1 | kg |  |
| 02-09-01853 | Salmonella typhimurium, Cat. no. DF-1644-35 | 2 | packs |  |
| 02-09-01854 | Staphylococcus aureus, Cat. no. DF-1642-35 | 2 | packs |  |
| 02-09-01855 | Gram crystal violet, Cat. no. DF-3329-76 | 2 | packs |  |
| 02-09-01856 | Gram Decolorizer, Cat. no. DF-3330-76 | 2 | packs |  |
| 02-09-01857 | Gram iodin, Cat. no. DF-3331-76 | 2 | packs |  |
| 02-09-01858 | Gram Safranin, Cat. no. DF-3332-76 | 2 | packs |  |
| 02-09-01859 | Gram Stain set, Cat. no. DF-3328-32 | 2 | packs |  |
| 02-09-01860 | Gas pak (H2+ CO2), Cat. no. BB70304 | 100 | packs |  |
| 02-09-01861 | Gas pak Disposable anaerobic indicator, Cat. no. BB70504 | 10 | packs |  |
| 02-09-01862 | Gas pak Catalytic Replacement charges, Cat. no. BB70303 | 10 | packs |  |
| 02-09-01863 | Tartaric acid C76H52O46, Cat. no. EM-TX0006-1 | 500 | gm |  |
| 02-09-01864 | Rappaport-Vassiliadis (MSRV) medium, Cat. no. DF-1868-17 | 3 | kg |  |
| 02-09-01865 | Tergitol 7 agar, Cat. no. DF-0912-17 | 2 | kg |  |
| 02-09-01866 | XLT4 Agar base, Cat. no. DF-0234-17 | 2 | kg |  |
| 02-09-01867 | XLT4 Supplement, Cat. no. DF-0353-72 | 1 | lit |  |
| 02-09-01868 | Differentiation Disks oxidse, Cat. no. DF-1633-33 | 10 | packs |  |
| 02-09-01869 | MZCYM broth, Cat. no. BB99165 | 1 | kg |  |
| 02-09-01870 | E. coli polyvalent A, Cat. no. BB40674 | 5 | ml |  |
| 02-09-01871 | E. coli polyvalent B, Cat. no. BB40675 | 5 | ml |  |
| 02-09-01872 | Staphyloside 100 test kit, Cat. no. BB40852 | 2 | kits |  |
| 02-09-01873 | H2S lindole, Cat. no. BB12279 | 2 | packs |  |
| 02-09-01874 | Kovac's reagent, Cat. no. BB12279 | 500 | ml |  |
| 02-09-01875 | ONPG, Cat. no. BB25104 | 1 | packs |  |
| 02-09-01876 | Ornithine, Cat. no. BB25038 | 10 | cartridges |  |
| 02-09-01877 | Phenylalanine, Cat. no. BB25040 | 10 | cartridges |  |
| 02-09-01878 | Raffinose, Cat. no. BB25107 | 1 | packs |  |
| 02-09-01879 | Salicin, Cat. no. BB25122 | 1 | packs |  |
| 02-09-01880 | Starch, Cat. no. BB25092 | 10 | cartridges |  |
| 02-09-01881 | Sucrose, Cat. no. BB25109 | 1 | packs |  |
| 02-09-01882 | Ureac, Cat. no. BB25110 | 1 | packs |  |
| 02-09-01883 | Voges-pros Kauer, Cat. no. BB25111 | 1 | packs |  |
| 02-09-01884 | Xylose, Cat. no. BB25125 | 1 | packs |  |
| 02-09-01885 | Gram Stain Kit, Cat. no. BB12297 | 3 | packs |  |
| 02-09-01886 | D+ glucose monohydrate, Cat. no. EM-4074-4 | 5 | kg |  |
| 02-09-01887 | Lugol's iodine, Cat. no. VW3412 | 6 | lit |  |
| 02-09-01888 | Methyle violet, Cat. no. VW3963-2 | 6x500 | ml |  |
| 02-09-01889 | Phosphate Buffer, Cat. no. VW3562-2 | 6x500 | ml |  |
| 02-09-01890 | Safranine, Cat.no. JTU926-3 | 25 | gm |  |
| 02-09-01891 | Tartaric acid, Cat. no. VW3848-1 | 6 | lit |  |
| 02-09-01892 | N,N,N,N - tetramethyl P-Phenylene diamine dihydrochloride, Cat. no. JTV687-1 | 100 | gm |  |
| 02-09-01893 | coaster car | 3 |  |  |
| 02-09-01894 | Airconditions | 12 |  |  |
| 02-09-01895 | T.V. /Vidio | 3 |  |  |
| 02-09-01896 | Photo Copier | 3 |  |  |
| 02-09-01897 | Computer & Printer | 3 |  |  |
| 02-09-01898 | Cars | 3 |  |  |
| 02-09-01899 | Type-Writer Arabic | 3 |  |  |
| 02-09-01900 | Electric Calculater | 3 |  |  |
| 02-09-01901 | Plastic Moded Human Size for Nursing Procedure | 3 |  |  |
| 02-09-01902 | Educational vidio films | 3 |  |  |
| 02-09-01903 | Stages of Fetal in uterus (9 pieses plastic) | 3 |  |  |
| 02-09-01904 | Electric circulatory system for teaching | 3 |  |  |
| 02-09-01905 | Gastries Lavage | 3 |  |  |
| 02-09-01906 | Human sekeletor system | 3 |  |  |
| 02-09-01907 | Anatomical Poster for all body system | 3 |  |  |
| 02-09-01908 | Oxygen Cylinder | 3 |  |  |
| 02-09-01909 | Hospital Mobile bed | 3 |  |  |
| 02-09-01910 | DieselGENERATING set,25 KVA,3PHASE, 400V, 50Hz.Full Otomatic,Out door CUMMINS KTA19 G.4 Engine,Marathon or MECC ALT Alternator Automatic with necessary accessories with sound proof cabin. Spare parts for two years,Installation and Maintenance for one year | 2 |  |  |
| 02-09-01911 | Spare parts for ECG 3-channel digital,Delta 3 Plus |  |  |  |
|  | * ECG input socket | 8 |  |  |
|  | * Switch | 15 |  |  |
|  | * Upper case groupe | 5 |  |  |
|  | * 24 volt transformer | 7 |  |  |
|  | * Power supply printed board | 5 |  |  |
|  | * CPU board | 3 |  |  |
|  | * Memory board | 5 |  |  |
|  | * ECG input board | 5 |  |  |
|  | * Analgue board | 5 |  |  |
|  | * User Peripheral board | 3 |  |  |
|  | * Printer group | 3 |  |  |
|  | * Battery | 15 |  |  |
|  | * Keyboard | 3 |  |  |
|  | * Patient cable | 10 |  |  |
|  | * Limb electrodes | 20 |  |  |
|  | * Chest electrode | 60 |  |  |
|  | * Rubber strap | 20 |  |  |
|  | * Paper Z-fold pack | 300 | packs |  |
| 02-09-01912 | Spare parts for Defibrilator,with monitor and recorder(S&W), Cardio Aid-MC+/S&W, Vickers medical |  |  |  |
|  | * Battery pack | 20 |  |  |
|  | * ECG cable 5 lead | 10 |  |  |
|  | * ECG cable 3 lead | 10 |  |  |
|  | * Printer paper , 5rolls | 1000 | rolls |  |
| 02-09-01913 | Spare parts for Profisional ultrasound mod.S1010,/Lahdemki OY, Finland |  |  |  |  |  |
|  | * Treatment head collimated US34-N with crytal(large & small size) | 3 | each |  |
|  | * Pwer cable | 2 |  |  |
|  | * Fuse | 20 |  |  |
| 02-09-01914 | Spare parts for ECG 6-channel digital,Delta 60 Plus Remco | 0 |  |  |
|  | * Key board complete | 1 |  |  |
|  | * Battery | 2 |  |  |
|  | * Paper Z-fold pack | 60 | packs |  |
| 02-09-01915 | Spare parts for Incubator, Yon Don, model YD-F-285B, YD-F-285/Yon Don Enterprise Co., Ltd. |  |  |  |  |  |
|  | * Fan motor | 4 |  |  |
|  | * Printed circuit board assembly | 4 |  |  |
|  | * Incubator Temperature thermister | 4 |  |  |
|  | * Over-temperature controller | 4 |  |  |
|  | * Control panel sticker | 4 |  |  |
|  | * Control panel element | 4 |  |  |
|  | * Sensor jack | 4 |  |  |
|  | * Heater | 4 |  |  |
|  | * F-4 filter element | 4 |  |  |
|  | * Fan | 4 |  |  |
|  | * Thermometer (blue ) | 4 |  |  |
|  | * Thermometer (red ) | 4 |  |  |
|  | * Fuse | 20 |  |  |
|  | * Power switch | 4 |  |  |
|  | * Transformer | 4 |  |  |
| 02-09-01916 | Spare parts for Photocopier Minolta, model:EP2050, EP2050/ Messerli Technique D Information,Switzerland |  |  |  |  |  |
|  | * PWB-A Board (Master Board) | 2 |  |  |
|  | * PWB-B Board (MSC Board) | 2 |  |  |
|  | * PWB-C Board (Power Supply Board) | 2 |  |  |
|  | * PWB-D Board (Noise Filter Board) | 2 |  |  |
|  | * PU1 Board (DC Power Supply Unit) | 2 |  |  |
|  | * UN1 (Control Panel) | 2 |  |  |
|  | * PU2 (Power Supply Unit) | 2 |  |  |
|  | * HV1 (High Voltage Unit) | 2 |  |  |
|  | * Developer(starter) for EP-2050 | 20 | kg |  |
|  | * Toner black bottle (MT Toner 201B) for EP-2050 | 70 | bottle |  |
| 02-09-01917 | Spare parts for Haematocrit centrifuge, HAEMATOKRIT 24/ Hettich |  |  |  |  |  |
|  | * Motor | 1 |  |  |
|  | * Carbon brush | 20 | pair |  |
|  | * Rubber-metal bearing | 6 |  |  |
|  | * Anti-twist device | 2 |  |  |
|  | * Fuse holder | 3 |  |  |
|  | * Fuse insert (F 1,25 AH, 250V) | 15 |  |  |
|  | * Radio interface suppression filter | 3 |  |  |
|  | * Micro-switch | 6 |  |  |
|  | * Angle piece for micro-switch | 3 |  |  |
|  | * Switching panel | 1 |  |  |
|  | * Timer | 3 |  |  |
|  | * Rotary handle | 2 |  |  |
|  | * Upper section | 1 |  |  |
|  | * Friction rubber | 3 |  |  |
|  | * Cover plate | 1 |  |  |
|  | * Cover | 1 |  |  |
|  | * Hinge pin | 2 |  |  |
|  | * Haematocrit plate | 2 |  |  |
|  | * Cover | 1 |  |  |
|  | * Buffer tray(100 pieces) | 10 | packs |  |
|  | * Tensioning nut | 1 |  |  |
| 02-09-01918 | Spare parts for Servo ventillator/ 900C (Sirmens) |  |  |  |
|  | * Exchange set | 5 |  |  |
|  | * Silicone rubber muff Adult, Angle 22-22MM int.Diam. with tub joint | 5 |  |  |
|  | * Draw wire -1.5M (60in) | 5 |  |  |
|  | * Dual airway probe assembly - right angle 1.45M | 5 |  |  |
|  | * Patient tube Silicone,Adult for F&P MR600 Humidifire | 15 |  |  |
|  | * Patient tube Silicone,Infant for F&P MR600 Humifire | 15 |  |  |
| 02-09-01919 | Spare parts for Spectrophotometer(Spectronic 20+) |  |  |  |
|  | * Tungesten Lamp (box of 10 bulbs) | 20 | box |  |
|  | * Pilot Lamp | 20 | lamp |  |
|  | * Wave controle knob | 3 |  |  |
|  | * Power switch-Zero controle | 3 |  |  |
|  | * Transmittace and Absorbance controle knobe complete with attachements | 20 |  |  |
|  | *Filter lever | 3 |  |  |
|  | * Fuse | 20 |  |  |
| 02-09-01920 | Spare parts for Microscope Olympus, BX40/Olympus |  |  |  |
|  | * Halogen lamp 6V,30 watt | 30 |  |  |
|  | * Power supply unit | 4 |  |  |
|  | * Lamp house holder | 4 |  |  |
|  | * Mirror unit | 6 |  |  |
|  | * Coarse / fine adjustment knob | 3 |  |  |
|  | * light Intensity control unit | 3 |  |  |
|  | * Intermediate gear unit | 3 |  |  |
|  | * Grease (light) | 500 | gr |  |
|  | * Silicone grease | 500 | gr |  |
| 02-09-01921 | Spare parts for Paraffin unit for foot, TG-1W/Lahdemaki OY |  |  |  |
|  | * Thermostat | 2 |  |  |
|  | * Heater element | 2 |  |  |
|  | * Paraffin wax | 25 | lt |  |
| 02-09-01922 | Spare parts for Paraffin unit for hand (5 LITRE), Lahdemaki OY |  |  |  |
|  | * Thermostat | 1 |  |  |
|  | * Heater element | 1 |  |  |
| 02-09-01923 | Part for Lamp, Infra-red, 150 Watt, HP3616/ Medical Export Group |  |  |  |
|  | * lamp | 10 |  |  |
| 02-09-01924 | Parts for Diathermy machine, short wave ,Physiotherapy, 1100P/ Medical Export Group |  |  |  |  |  |
|  | * Electrode for diathermy | 2 |  |  |
|  | * Set of plate electrodes #1, including 2 soft rubber-electrodes,4 felt plate, 2 protecting covers & 2 perforated rubber straps | 1 |  |  |
|  | * Set of plate electrodes #2, including 2 soft rubber-electrodes,4 felt plate, 2 protecting covers & 2 perforated rubber straps | 1 |  |  |
|  | * Electrode cable | 1 |  |  |
|  | * Monode for diathermy | 1 |  |  |
|  | * Distance electrode diam. 4.2cm and diam. 8.5cm | 2 | each |  |
| 02-09-01925 | Parts for Haematocrit centrifuge, 8280/ (Centroion Scientific. LTD.) |  |  |  |
|  | * Haematocrit plate with attached motor shaft | 1 |  |  |
|  | * Radio interference susprension filter | 1 |  |  |
|  | * Micro switch | 1 |  |  |
|  | * Timer, complete | 1 |  |  |
|  | * Carbon brushes | 20 | pair |  |
|  | * Fuse | 20 |  |  |
|  | * Motor | 1 |  |  |
| 02-09-01926 | Parts for Flame phtometer Jenway, PFP7/ Labquip International LTD. |  |  |  |  |  |
|  | * Air Compressor provide moisture and oil -free air.supply 220/240 | 2 |  |  |
|  | * Propane gas regulator | 2 |  |  |
|  | * Spare parts set | 1 |  |  |
| 02-09-01927 | Part for Ultasound Scanner (SIEMENS), Sonoline Prima SLC |  |  |  |
|  | * 7.5L45S Linear Array (7.5 MHz) ref. 04529561L H300 | 1 |  |  |
| 02-09-01928 | Spare parts for Mammography Unit (IMS), Giotto Hi Tech/ IMS |  |  |  |
|  | * Cassette size 18x24cm | 2 |  |  |
|  | * Cassette size 24x30cm | 2 |  |  |
|  | * Screen size 18x24cm | 2 |  |  |
|  | * Screen size 24x30cm | 2 |  |  |
|  | * X-Ray film for Mammography unit size 18x24cm | 300 |  |  |
|  | * X-Ray film for Mammography unit size 24x30cm | 300 |  |  |
| 02-09-01929 | Spare parts for Electrolux-Wascator Washer-Extractor |  |  |  |
|  | * Thermostat | 5 |  |  |
|  | * Coinmeter Program | 5 |  |  |
|  | * Program counter | 5 |  |  |
|  | * Fuse | 20 |  |  |
|  | * Fuse | 20 |  |  |
|  | * Fuse Transformer | 20 |  |  |
|  | * Fuse | 20 |  |  |
|  | * Relay wash | 5 |  |  |
|  | * Relay Spin low | 5 |  |  |
|  | * Relay M21 | 5 |  |  |
|  | * Motor, Timer | 5 |  |  |
|  | * Program selector | 5 |  |  |
|  | * Switch start + K51 | 5 |  |  |
|  | * Start relay | 5 |  |  |
|  | * Transformer | 5 |  |  |
|  | * Term. Block Ext. supply Inj. | 5 |  |  |
|  | * Edge connector timer | 5 |  |  |
|  | * Edge connector components | 5 |  |  |
|  | * Board | 5 |  |  |
|  | * Board | 5 |  |  |
| 02-09-01930 | Spare parts for Electrolux-Wascator Tumble Dryer, TT-500 |  |  |  |
|  | * Relay heat | 5 |  |  |
|  | * Relay heat | 5 |  |  |
|  | * Electronic control | 5 |  |  |
|  | * Transformer | 5 |  |  |
|  | * Relay fan | 5 |  |  |
|  | * Fuses, Control power | 15 |  |  |
|  | * Thermal circuit motors | 5 |  |  |
|  | * Vacuum switch | 5 |  |  |
|  | * Thermostat | 5 |  |  |
|  | * Superheating switch | 5 |  |  |
| 02-09-01931 | Spare parts for Operation table Stierlen Maquet, VELOX II 1117/ Fleischhacker |  |  |  |  |  |
|  | * Head rest | 3 |  |  |
|  | * Double-hinged head rest | 3 |  |  |
|  | * Anethesia screen | 3 |  |  |
|  | * Redial setting calmp for 1002.57 | 3 |  |  |
|  | * Arm position device | 3 |  |  |
|  | * Wristlet | 3 |  |  |
|  | * Body strap | 3 |  |  |
|  | * Goepel knee crutches | 3 | pair (left & right) |  |
|  | * Universal support | 3 |  |  |
|  | * Body elevator | 3 |  |  |
|  |  | 3 |  |  |
|  | * Lateral support | 3 | each |  |
|  | * Arm rest | 3 | pair (left & right) |  |
| 02-09-01932 | Spare parts for Cycloergometer, STS400/Remco |  |  |  |
|  | * Cable connecting (between ergemeter STS-400 and ECG-6 Channel,Delta 60-Plus to fit with interface port RS 232) | 1 |  |  |
|  | * Paper thermosensetive, roll, width 21cm, length 30m for ECG-6 channel(Delta 60-plus) | 100 |  |  |
| 02-09-01933 | Spectrophotometer CAMSPEC M350 UV Visible, Double beam,Computer controlled |  |  |  |  |  |
|  | * Cartridge Colored for Printer Canon model: BJC4200 | 6 |  |  |
|  | * Halogen lamp (prealigned) 900-010 | 8 |  |  |
|  | * Deuterium lamp (prealigned) 900-012 | 8 |  |  |
| 02-09-01934 | Spare parts, Photocopier Minolta, model EP2050 |  |  |  |
|  | * PWB-A Board (Master Board) | 1 |  |  |
|  | * PWB-B Board (MSC Board) | 1 |  |  |
|  | * PWB-C Board (Power Supply Board) | 1 |  |  |
|  | * PWB-D Board (Noise Filter Board) | 1 |  |  |
|  | * PU1 Board (DC Power Supply Unit) | 1 |  |  |
|  | * UN1 (Control Panel) | 1 |  |  |
|  | * PU2 ( Power Supply Unit) | 1 |  |  |
|  | * HV1 (High Voltage Unit) | 1 |  |  |
|  | * Toner MT 201B Photocopier MINOLTA | 15 |  |  |
| 02-09-01935 | Clinical Chemistry Analyzer, model Targa BT 3000 |  |  |  |
|  | * Monthly Replacement Kit # Bt 3000 I.S.E & Dilute Mod. (Vers."A" & "B") | 8 |  |  |
|  | * Quarterly Replacement Kit # I.S.E & Diluter Modules, Bt 3000 (Vers. "A") | 4 |  |  |
|  | * Lamp | 2 |  |  |
|  | * Glass Barrel 0.5ml | 2 |  |  |
|  | * Glass Barrel 2.5ml | 2 |  |  |
|  | * Sealing Grommet | 1 |  |  |
|  | * Washing Piston | 1 |  |  |
|  | * Hydrophobic Filter | 10 |  |  |
|  | * Hose Barb | 10 |  |  |
|  | * Vent Silncer | 1 |  |  |
|  | * Valve Cone | 1 |  |  |
|  | * Wave Spring | 2 |  |  |
|  | * O-Ring | 8 |  |  |
|  | * O-Ring | 1 |  |  |
|  | * Dow Corning High Vacuum Silicon Grease | 2 |  |  |
| 02-09-01936 | Photocopier "Desk-Top", Canon model FC 350, Mil Feuille, F-93230, France |  |  |  |
|  | * Canon E16 ink cartridge(black) | 2 |  |  |
| 02-09-01937 | UV/VIS Spectrophotometer, Jenway model 6105, PO No.:SUP/97/19857/1 |  |  |  |
|  | * Deuterium Lamp | 4 |  |  |
|  | * Tungesten Halogrn Lamp | 4 |  |  |
|  | * Service manual including schematics diagram | 1 |  |  |
| 02-09-01938 | Spare parts, Centrifuge general purpose |  |  |  |
|  | * Main control board | 3 |  |  |
|  | * Circuit diagram | 1 |  |  |
| 02-09-01939 | Flame Photometer, Jenway model PFP7 |  |  |  |
|  | * Major Spares kit | 1 |  |  |
| 02-09-01940 | Incubator, Yon Don, model YD-F-285 |  |  |  |
|  | * Fan motor | 1 |  |  |
|  | * Incubator Temperature thermister | 1 |  |  |
|  | * Heater | 1 |  |  |
|  | * Control panel element | 1 |  |  |
|  | * Service manual including schematics diagram | 1 |  |  |
| 02-09-01941 | ECG, 3-channel, Remco model Delta 3 Plus, PO No.: SUP/98/08582/1 |  |  |  |
|  | * Lower Case | 1 |  |  |
|  | * ECG Input Socket | 2 |  |  |
|  | * Switch | 2 |  |  |
|  | * Upper Case Group | 1 |  |  |
|  | * 24 V 20 VA Transformer | 1 |  |  |
|  | * Power Supply / Printer Board | 1 |  |  |
|  | * LCD Display | 1 |  |  |
|  | * Battery | 2 |  |  |
|  | * Deltavis unit complete | 2 |  |  |
| 02-09-01942 | Professional ultrasound (Physiotherapy), model S1010, PO. No. SUP/98/08582/5 |  |  |  |
|  | * Treatment Head US34-N, Collimated, with Crystal | 1 |  |  |
| 02-09-01943 | Defibrillator, S&W Cardio-Aid MC+ |  |  |  |
|  | * Battery pack | 10 |  |  |
|  | * Service manual incl.. circuit diagrams, parts list etc. | 1 |  |  |
| 02-09-01944 | Dental Unit "ECO S" |  |  |  |
|  | * Water filter (inside the unit) | 4 |  |  |
|  | * Syringe 3-function module complete | 1 |  |  |
|  | * Turbine Fiber optic module complete | 1 |  |  |
|  | * Micromotor module complete | 1 |  |  |
|  | * Surgical aspiration tubes (2 Suction tubes) complete | 1 |  |  |
|  | * Drain cock for suction | 4 |  |  |
|  | * Cleaning solution for the dental unit | 8 |  |  |
|  | * Spare bulb for TS 2000 Forma light | 4 |  |  |
| 02-09-01945 | Leakage Tester for Fiberscope, Olympus | 1 |  |  |
| 02-09-01946 | Incubator, BE200, PO SUP/97/43928/15 |  |  |  |
|  | * Working controller module (Two boards) | 1 |  |  |
| 02-09-01947 | Brocella Agar Base | 5 | kg |  |
| 02-09-01948 | 3 Phase Generator, 250 kVA | 1 |  |  |
| 02-09-01949 | Blood bank refrigerator, Foster, Old Medow Rd, Kings Lynn, Norfolk | 3 |  |  |
| 02-09-01950 | Blood bank refrigerator | 3 |  |  |
| 02-09-01951 | Temperature meter & sensor | 2 |  |  |
| 02-09-01952 | Thermostat | 7 |  |  |
| 02-09-01953 | Evaporation fan motor & fan blade | 2 |  |  |
| 02-09-01954 | Condenser fan motor & fan blade | 4 |  |  |
| 02-09-01955 | Compressor | 4 |  |  |
| 02-09-01956 | Weekly charts | 40 |  |  |
| 02-09-01957 | Pen for writing chart | 40 |  |  |
| 02-09-01958 | High & low temperature switch | 3 |  |  |
| 02-09-01959 | Central monitor for CCU | 4 |  |  |
| 02-09-01960 | Patient monitor for CCU | 20 |  |  |
| 02-09-01961 | Spigmomanometer, electronic | 30 |  |  |
| 02-09-01962 | Short wave equipment | 3 |  |  |
| 02-09-01963 | Micro wave equipment | 3 |  |  |
| 02-09-01964 | Professional ultrasound (Therapy) | 3 |  |  |
| 02-09-01965 | Oxygene concentrator, OXYMAT 2 | 10 |  |  |
| 02-09-01966 | Bacterial filter, OXYMAT 2 | 100 |  |  |
| 02-09-01967 | Fine filter, OXYMAT 2 | 100 |  |  |
| 02-09-01968 | Air filter, OXYMAT 2 | 100 |  |  |
| 02-09-01969 | Autoanalyzer for Biochemical determination, Multi channel, with all accessories and spare parts for three years. Incl. English op. Manual, installation and training for users. | 1 |  |  |
| 02-09-01970 | Coulter Counter for Haematological estimation (Hb, pcv, WBC, platelet,…..etc.), with all accessories and spare parts for two years, incl. installation, english op. manual and training for users. | 1 |  |  |
| 02-09-01971 | Colony counter with all accessories and necessary spare parts | 1 |  |  |
| 02-09-01972 | Trinocular Microscope with integrated light desolution, CCD camera, incl. all necessary accessories and spare parts for 2 years, engl. op. manual | 1 |  |  |
| 02-09-01973 | Electrothermal paraffin section mounting bath, Ref. MH 8515 | 1 |  |  |
| 02-09-01974 | Creams and lubricating fluid for above bath, 3 years operation | 1 |  |  |
| 02-09-01975 | Knives-C for histological blockss, rotating Microtome | 10 |  |  |
| 02-09-01976 | Metal moulds for making wax tissue blocks | 100 |  |  |
| 02-09-01977 | Immuno Wash-Nunc. 12 channel, cat # 455-492 62409-160 | 1 |  |  |
| 02-09-01978 | Micro plate Reader & Washers, auto reader features, Model EL x 808 | 1 |  |  |
| 02-09-01979 | Automatic X-Ray Film Processor, incl. Spare parts for two years | 10 |  |  |
| 02-09-01980 | Massage vibrator for shoulder, arm etc. | 4 |  |  |
| 02-09-01981 | Spirometer, Diagnostic | 1 |  |  |
| 02-09-01982 | Ceiling operating theatre lamp | 4 |  |  |
| 02-09-01983 | Spare bulbs for above lamp | 500 |  |  |
| 02-09-01984 | Emergency operating theatre stand lamp | 5 |  |  |
| 02-09-01985 | Spare bulbs for above lamp | 250 |  |  |
| 02-09-01986 | Heater element for water distiller "Bibby Aquatron" | 4 |  |  |
| 02-09-01987 | Spark electrode & ceramic holder for Fl-photometer | 5 |  |  |
| 02-09-01988 | Mammography, x-ray diag; | 1 |  |  |

| Code No. | Item description | Total | Unit |
| --- | --- | --- | --- |
| 02-09-01989 | Generators 1000KVA | 5 | each |