ANNEX SEVEN / Telecommunications

Sub-sector:   REPLACEMENT OF EXCHANGES IN BAGHDAD

Site Name:    ALWIYA in BAGHDAD

| # Code | Item Description | # Unit | # Qty. | Complementary Items |
| --- | --- | --- | --- | --- |
| 07-05-00001 07-05-00002 07-05-00003 07-05-00004 07-05-00005 07-05-00006 07-05-00007 07-05-00008 07-05-00009 07-05-00010 | SWITCHING EQUIPMENT for 30000 subscriber lines and 250 E1 digital interface: - Subscriber Connections - Trunk equipment - Tones and Signaling - Control Processors - Operation and Maintenance Processors - Peripherals - Racks and Ironworks - Installation and Maintenance tools, Materials and Facilities - Documentation | Lot Lot Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 1 1 2 |  |
| 07-05-00011 07-05-00012 07-05-00013 07-05-00014 07-05-00015 07-05-00016 07-05-00017 07-05-00018 07-05-00019 07-05-00020 | POWER PLANT - Operation and Maintenance Processors - Peripherals - 48V power supplies - DC\DC Converters - Inverters 2KVA - 48V Batteries, 6400 AH - Cables - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set Set Set Lot Set | 1 1 1 1 1 2 2 1 1 1 |  |
| 07-05-00021 07-05-00022 07-05-00023 07-05-00024 | AIR CONDITIONERS - 60 kW 50Hz, 220\380V - Installation and Maintenance tools and Materials - Documentation | Lot Set Lot Set | 1 3 1 2 |  |
| 07-05-00025 07-05-00026 07-05-00027 07-05-00028 07-05-00029 07-05-00030 07-05-00031 07-05-00032 | Main Distribution Frames - Terminal Blocks - Over voltage protection - Over current protection - Ironwork - Installation tools - Cables & Jumper wire - Documentation | Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 2 |  |
| 07-05-00033 07-05-00034 07-05-00035 07-05-00036 07-05-00037 07-05-00038 | FIRE PROTECTION EQUIPMENT - Detection units - Control &Alarm Unit - Manual Distinguishers - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set | 1 1 1 1 1 2 |  |
| 07-05-00039 | False Floor – False Ceiling for switching room | Lot | 1 |  |
| 07-05-00040 | SPARE PARTS | Lot | 1 |  |
| 07-05-00041 07-05-00042 07-05-00043 07-05-00044 07-05-00045 | DIESEL ENGINE GENERATOR - Capacity 600 KVA - Installation and Maintenance tools and Materials - Spare Parts - Documentation | Lot Set Lot Lot Set | 1 2 1 1 2 |  |
| 07-05-00046 07-05-00047 07-05-00048 07-05-00049 | SERVICES - Training abroad - Training in Iraq - Supplier Experts(Supervisors or Trainer) | Lot Trainee Trainee Expert | 1 2 6 2 |  |

Expected Delivery Time: 5 Months			Expected Implementation Time: 6 Months

ANNEX SEVEN / Telecommunications

Sub-sector:   REPLACEMENT OF EXCHANGES IN BAGHDAD

Site Name:   DHUBBAT in BAGHDAD

| # Code | Item Description | # Unit | # Qty. | Complementary Items |
| --- | --- | --- | --- | --- |
| 07-05-00051 07-05-00052 07-05-00053 07-05-00054 07-05-00055 07-05-00056 07-05-00057 07-05-00058 07-05-00059 07-05-00060 | SWITCHING EQUIPMENT for 25000 subscriber lines and 200 E1 digital interface: - Subscriber Connections - Trunk equipment - Tones and Signaling - Control Processors - Operation and Maintenance Processors - Peripherals - Racks and Ironworks - Installation and Maintenance tools, Materials and Facilities - Documentation | Lot Lot Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 1 1 2 |  |
| 07-05-00061 07-05-00062 07-05-00063 07-05-00064 07-05-00065 07-05-00066 07-05-00067 07-05-00068 07-05-00069 07-05-00070 | POWER PLANT - Operation and Maintenance Processors - Peripherals - 48V power supplies - DC\DC Converters - Inverters 2KVA - 48V Batteries, 6400 AH - Cables - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set Set Set Lot Set | 1 1 1 1 1 2 2 1 1 1 |  |
| 07-05-00071 07-05-00072 07-05-00073 07-05-00074 | AIR CONDITIONERS - 60 kW 50Hz, 220\380V - Installation and Maintenance tools and Materials - Documentation | Lot Set Lot Set | 1 3 1 2 |  |
| 07-05-00075 07-05-00076 07-05-00077 07-05-00078 07-05-00079 07-05-00080 07-05-00081 07-05-00082 | Main Distribution Frames - Terminal Blocks - Over voltage protection - Over current protection - Ironwork - Installation tools - Cables & Jumper wire - Documentation | Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 2 |  |
| 07-05-00083 07-05-00084 07-05-00085 07-05-00086 07-05-00087 07-05-00088 | FIRE PROTECTION EQUIPMENT - Detection units - Control &Alarm Unit - Manual Distinguishers - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set | 1 1 1 1 1 2 |  |
| 07-05-00089 | False Floor – False Ceiling for switching room | Lot | 1 |  |
| 07-05-00090 | SPARE PARTS | Lot | 1 |  |
| 07-05-00091 07-05-00092 07-05-00093 07-05-00094 07-05-00095 | DIESEL ENGINE GENERATOR - Capacity 600 KVA - Installation and Maintenance tools and Materials - Spare Parts - Documentation | Lot Set Lot Lot Set | 1 2 1 1 2 |  |
| 07-05-00096 07-05-00097 07-05-00098 07-05-00099 | SERVICES - Training abroad - Training in Iraq - Supplier Experts(Supervisors or Trainer) | Lot Trainee Trainee Expert | 1 2 6 2 |  |

Expected Delivery Time: 5 Months			Expected Implementation Time: 6 Months

ANNEX SEVEN / Telecommunications

Sub-sector:   REPLACEMENT OF EXCHANGES IN BAGHDAD

Site Name    BAB-AL-MUADAM in BAGHDAD

| # Code | Item Description | # Unit | # Qty. | Complementary Items |
| --- | --- | --- | --- | --- |
| 07-05-00102 07-05-00103 07-05-00104 07-05-00105 07-05-00106 07-05-00107 07-05-00108 07-05-00109 07-05-00110 07-05-00111 | SWITCHING EQUIPMENT for 25000 subscriber lines ,200 E1 digital interface, Training Model and Repair Center: - Subscriber Connections - Trunk equipment - Tones and Signaling - Control Processors - Operation and Maintenance Processors - Peripherals - Racks and Ironworks - Installation and Maintenance tools, Materials and Facilities - Documentation | Lot Lot Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 1 1 2 |  |
| 07-05-00112 07-05-00113 07-05-00114 07-05-00115 07-05-00116 07-05-00117 07-05-00118 07-05-00119 07-05-00120 07-05-00121 | POWER PLANT - Operation and Maintenance Processors - Peripherals - 48V power supplies - DC\DC Converters - Inverters 2KVA - 48V Batteries, 6400 AH - Cables - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set Set Set Lot Set | 1 1 1 1 1 4 4 1 1 1 |  |
| 07-05-00122 07-05-00123 07-05-00124 07-05-00125 | AIR CONDITIONERS - 60 kW 50Hz, 220\380V - Installation and Maintenance tools and Materials - Documentation | Lot Set Lot Set | 1 5 1 2 |  |
| 07-05-00126 07-05-00127 07-05-00128 07-05-00129 07-05-00130 07-05-00131 07-05-00132 07-05-00133 | Main Distribution Frames - Terminal Blocks - Over voltage protection - Over current protection - Ironwork - Installation tools - Cables & Jumper wire - Documentation | Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 2 |  |
| 07-05-00134 07-05-00135 07-05-00136 07-05-00137 07-05-00138 07-05-00139 | FIRE PROTECTION EQUIPMENT - Detection units - Control &Alarm Unit - Manual Distinguishers - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set | 1 1 1 1 1 2 |  |
| 07-05-00140 | False Floor – False Ceiling for switching room | Lot | 1 |  |
| 07-05-00141 | SPARE PARTS | Lot | 1 |  |
| 07-05-00142 07-05-00143 07-05-00144 07-05-00145 07-05-00146 | DIESEL ENGINE GENERATOR - Capacity 600 KVA - Installation and Maintenance tools and Materials - Spare Parts - Documentation | Lot Set Lot Lot Set | 1 2 1 1 2 |  |

| # Code | Item Description | # Unit | # Qty. | Complementary Items |
| --- | --- | --- | --- | --- |
| 07-05-00147 07-05-00148 07-05-00149 07-05-00150 07-05-00151 07-05-00152 07-05-00153 07-05-00154 07-05-00155 07-05-00156 07-05-00157 07-05-00158 07-05-00159 07-05-00160 | REPAIR CENTER EQUIPMENT: - Subscriber Connections Tools - Trunk equipment Tools - Tones and Signaling Tools - Control Processors Tools - Peripherals Test Tools - Measurement and Test Devices - Soldering – Desoldering Tools - Repair Components - Programming Station - Power Supply - Spare Parts - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Lot Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 1 1 1 1 1 1 2 |  |
| 07-05-00161 07-05-00162 07-05-00163 07-05-00164 | SERVICES - Training abroad - Training in Iraq - Supplier Experts(Supervisors or Trainer) | Lot Trainee Trainee Expert | 1 4 10 4 |  |

Expected Delivery Time: 5 Months			Expected Implementation Time: 6 Months