# Laboratory Equipment’s for Standardization and Quality Control

| ## Code | Testing Equipment’s | Qty. | Location |
| --- | --- | --- | --- |
| 01-02-00001 | Atomic Absorption flame & Flam less | 3 |  |
| 01-02-00002 | U.V and visible spectrophotometer | 2 |  |
| 01-02-00003 | I.R. Spectrophotometer | 3 |  |
| 01-02-00004 | High Performance liquid chromatography | 2 |  |
| 01-02-00005 | T.L.C Coating machine | 2 |  |
| 01-02-00006 | G.L.C. Chromatography | 2 |  |
| 01-02-00007 | G.C. Mass | 1 |  |
| 01-02-00008 | T.L.C Plates ans solvents | Quantity |  |
| 01-02-00009 | Trace Analyzer for water | 2 |  |
| 01-02-00010 | U.V Digester | 2 |  |
| 01-02-00011 | Rapid detection method Kit -For antibiotics -For microbiology -For trace elements | 1 kit* | Standardization and Quality Control laboratories- Baghdad |
| 01-02-00012 | Head space Analyzer | 2 |  |
| 01-02-00013 | Interference Analyzer | 2 |  |
| 01-02-00014 | Hydrogen Generator for G.C | 2 |  |
| 01-02-00015 | Nitrogen and air generator | 2 |  |
| 01-02-00016 | Karl fisher apparatus | 2 |  |
| 01-02-00017 | PH-meter | 10 |  |
| 01-02-00018 | Milk Tester | 1 |  |
| 01-02-00019 | Scan Milko Tester | 1 |  |
| 01-02-00020 | Balance Analytical (Mechanical) | 4 |  |
| 01-02-00021 | Balance Analytical (electronic) | 4 |  |
| 01-02-00022 | Gerber Centrifuge | 3 |  |
| 01-02-00023 | Centrifuge | 4 |  |

# Laboratory Equipment’s for Standardization and Quality Control

| ## Code | Testing Equipment’s | Qty. | Location |
| --- | --- | --- | --- |
| 01-02-00024 | Ovens | 4 |  |
| 01-02-00025 | Muffle Furnace | 10 |  |
| 01-02-00026 | Shaker | 2 |  |
| 01-02-00027 | Sieving machine | 2 |  |
| 01-02-00028 | Ion chromatography | 2 |  |
| 01-02-00029 | Soxhlet system | 3 |  |
| 01-02-00030 | Kjeldahl-Distillation apparatus | 4 |  |
| 01-02-00031 | Kjeldahl-Digestion apparatus | 4 |  |
| 01-02-00032 | Circulating cooling system | 4 |  |
| 01-02-00033 | Saccharimeter | 3 |  |
| 01-02-00034 | Polarimeter | 4 |  |
| 01-02-00035 | Abbe-Refractometer | 3 |  |
| 01-02-00036 | Spectro Photometer | 2 |  |
| 01-02-00037 | Vidas or minvidas with his relevant Kit for food and water analysis | 5 kits* | Standardization and Quality Control laboratories- Baghdad |
| 01-02-00038 | Autoclave | 5 |  |
| 01-02-00039 | Stomacher Mixer | 4 |  |
| 01-02-00040 | Colel incubator | 4 |  |
| 01-02-00041 | Co2 Incubator | 4 |  |
| 01-02-00042 | Rotary evaporator | 3 |  |
| 01-02-00043 | Digital melting point system | 4 |  |
| 01-02-00044 | Electrical Mixer | 4 |  |
| 01-02-00045 | Moisture analyzer with Printer | 4 |  |
| 01-02-00046 | VPS un interpretable Power supply | 4 |  |
| 01-02-00047 | Computer system | 2 |  |
| 01-02-00048 | Texilable Kit for water and Pollutant examination | 4 kits* |  |

# Laboratory Equipment’s for Standardization and Quality Control

| ## Code | Testing Equipment’s | Qty. | Location |
| --- | --- | --- | --- |
| 01-02-00049 | API Strips for Bacterial identification | 750 kits* |  |
| 01-02-00050 | Anaerobic Kit for Co2 (Co2 Generator) | 750 kits* |  |
| 01-02-00051 | Blender and Grinder | 4 |  |
| 01-02-00052 | Toxic Lab Kit for Toxins | 4 units* |  |
| 01-02-00053 | Fume Hood | 10 |  |
| 01-02-00054 | Sand Bath | 6 |  |
| 01-02-00055 | Burners | 20 |  |
| 01-02-00056 | Water Bath | 6 |  |
| 01-02-00057 | Cigarettes testing equipment’s | 1 |  |
| 01-02-00058 | Different kind of lab glassware |  |  |
| 01-02-00059 | Lab. Chemicals |  |  |
| 01-02-00060 | Tire testing machines 1- High speed tire testing for Truck/Bus/Lt Truck/Passenger four stations. 2- Plunger test machine. 3- Beads unseating machine. 4- Balance machine. | 1 1 1 1 | Standardization and Quality Control laboratories- Baghdad |
| 01-02-00061 | Mobil Calibration Lab (Van) | 1 |  |
| 01-02-00062 | Truck for Weight bridges Calibration with Crane | 1 |  |
| 01-02-00063 | 10 Tons (20 Pieces of 500 Kg each) Standard Weights for the above Truck |  |  |
| 01-02-00064 | Reference Stander Balance (One ton capacity with 10 gram division) | 1 |  |
| 01-02-00065 | Central Air Conditioning (Total Cap. 600 tons-3 units each 200 tons) | 1 |  |
| 01-02-00066 | Generator capacity 1 MW with spare parts | 2 |  |
| 01-02-00067 | Air condition Split units (Capacity 2 tons) | 20 |  |

| 01-02-00090 | # Balance With Capacity 5Kg | 7 | pieces |
| --- | --- | --- | --- |
| 01-02-00091 | Balance With Capacity 200g 0 | 7 | pieces |
| 01-02-00092 | # Robut Balance With Capacity 1ookg | 1 | pieces |
| 01-02-00093 | Standard Weights | 4 | pieces |
| 01-02-00094 | Balance With Capacity 500 g 0 | 7 | pieces |
| 01-02-00095 | Balance With Capacity 20Kg | 6 | pieces |
| 01-02-00096 | Balance With Capacity 2kg | 6 | pieces |
| 01-02-00107 | Micro Electronic Balances | 20 | pieces |
| 01-02-00108 | Tongs0 Furnace | 2 | pieces |
| 01-02-00135 | Moisture Determination Balance | 2 | pieces |
| 01-02-00138 | Karl Fisher Titrator Digital Denver Model 737 KF Coulometer | 2 | pieces |
| 01-02-00145 | Gutzit Apparatus | 10 | pieces |
| 01-02-00161 | PH Buffers | 18 | bottle |
| 01-02-00191 | Disillation Apparatus For Water ( Glass ) | 10 | pieces |
| 01-02-00192 | Double Distillation Apparatus | 2 | pieces |
| 01-02-00198 | Balance Electronic With Printer | 12 | pieces |
| 01-02-00209 | Burners | 30 | pieces |
| 01-02-00210 | Microscope With Accessories | 1 | pieces |

* amended 27 March 2000

* amended 27 march 2000

* amended 27 march 2000