HEALTH-ANNEX 5

| Code | Description | Part-no. | Qty. |
| --- | --- | --- | --- |
| 02-05-00001 | EQUIPMENT: ECG (ELECTRO CARDIO GRAPHIC ) MODEL: 5403 COMPANY NAME :NIHON COHDEN JAPAN QUINTITY: 78 SITE : ALL GOVERNERATES |  |  |
|  | Heat stylus TLS-100 | 1004950171B | 200 |
|  | Patient Cable BJ-261D | 5570383 | 100 |
|  | Limbelectrode for aduts 4 Pcs/set | 5030003 | 200 |
|  | Limb electrode strapfora aduts 4Pcs/set | 5030021 | 200 |
|  | Chest electrode for aduts 6 Pcs/set | 5030378 | 100 |
|  | Worm wheel Assembly | 2144-000103 | 20 |
|  | Dc motor for chart LB32-KS | 2803-000309 | 10 |
|  | Magnetic sensor, chart speed detect PF-2K-02 |  | 10 |
|  | Bush button start, check stop | 2124-000808 | 20 |
|  | All-Channel sensitivity control unit board . | UP-4250 | 10 |
|  | Control unit A assembly | UP-4065 | 10 |
|  | Per Amplifier mother board unit assembly (UP-4241) | 9406713 | 10 |
|  | 120 Regulator unit Circuit board assembly (UP-4242) | 9424214 | 10 |
|  | 11.4 Regulator unit cct Maub Amplifier (OL-501E) | 9424319 | 10 |
|  | Transport unit cct borard (UP-4252) | 9425238 | 10 |
|  | Chart speed selection unit (UP-4253) | 9425318 | 10 |
|  | Pre Amplifier Unit cct (UP-4248) | 9424827 | 10 |
|  | Input Unit cct board (UP-4247A) | 9424738 | 10 |
|  | Main Amplifier cct board (UP-4245) | 9424524 | 20 |
|  | Dc-Dc converter unit cct board(UP-4241) Transformer , 3-293, power | 9406713 | 10 |
|  | Board Up 4232 |  | 10 |
|  | Warmer Gear | A144-008621 | 10 |
|  | Bord Up-4244 | D.C PC Conr | 10 |

| 02-05-00002 | EQUIPMENT: electrocardiograph machine Model: Cardiofax 5151 COMPANY NAME: NIHON KOHDEN, Japan QUANTITY INSTALLED:300 |  |  |
| --- | --- | --- | --- |
|  | Stylus |  | 150 |
|  | Patient Cable |  | 100 |
|  | Electrode straps |  | 500 |
|  | Limb Electrode |  | 500 |
|  | Transistor 2SC2270 |  | 100 |
|  | Transistor 2SA11020 |  | 100 |
|  | Transistor 2SD355 |  | 250 |
|  | Transistor 2SB525 |  | 250 |
|  | 1mV Switch |  | 75 |
|  | Run-Stop Switch |  | 75 |
|  | Chest Electrode |  | 200 |
|  | Galvanometer |  | 25 |
|  | Recorder PCB | UP-4235 | 100 |
|  | Mother PCB | UP-4279 | 50 |

| 02-05-00003 | EQUIPMENT: Electrocardiograph Machine MODEL:l hp 1504A COMPANY NAME: Hewlett Packard, USA QUANTITY INSTALLED:100 |  |  |
| --- | --- | --- | --- |
|  | Power Cable. | 8120-1689 | 50 |
|  | Patient cable | 14031A | 100 |
|  | Writing stylus | 78640-60052 | 100 |
|  | Limb Straps | 14030A | 200 |
|  | Limb Electrodes | 1500-00790 | 200 |
|  | Chest Electrodes | 9301-0122 | 300 |
|  | Mother Board | 1504-7727 | 10 |

| 02-05-00004 | EQUIPMENT:. ECG Machine MODEL: A0 3200 COMPANY NAME: American optical (Picker International) QUANTITY INSTALLED:150 |  |  |
| --- | --- | --- | --- |
|  | Writing stylus | 5420-00-0800 | 500 |
|  | Floating Board Assy. | 2400-00-0812 | 25 |
|  | Mother Board Assy. | 2400-00-0810 | 25 |

| 02-05-00005 | EQUIPMENT: ECG Machine MODEL: cardio pan 531 COMPANY NAME:PHILIPS QUANTITY INSTALLED:120 |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Writing stylus | 4532 180 06941 |  | 300 |  |
|  | Chest electrod | 4532 180 21361 |  | 500 |  |
|  | Limb straps | 4532 180 21401 |  | 1000 |  |
|  | Limb electod | 2532 180 21421 |  | 1000 |  |
|  | patient cable | 4532 181 00381 |  | 200 |  |
| 02-05-00006 | EQUIPMENT : Monitoring Patient Staff Console MODEL : ICU 6200 COMPANY NAME : NIHON KOHDEN JAPAN QUANTITY : 13 SITE : ALL GOVERNERS |  |  |  |  |
|  | Transistor |  | 25D520Y |  | 5 |
|  | High voltage trans |  | 37704848 |  | 5 |
|  | Eloctrode lead H. type. |  | GR-5465 |  | 15 |
|  | Writing table with pen motor for Recorder WT-OBP |  |  |  | 5 |

| 02-05-00007 | EQUIPMENT: ECHO - Sounder MODEL ES - 102 M COMPANY NAME Nippon Shoji |  |
| --- | --- | --- |
|  | Volume switch | 100 |
|  | Volume switch knob | 100 |
|  | Main transformer | 50 |
|  | Fuse 0.1 A | 100 |
|  | Fuse 1 A | 100 |
|  | Prob with cord 2.25 MHZ transformer | 500 |

| 02-05-00008 | EQUIPNENT FEOTAL ULTRSONIC MODEL Sonicad D 205 M COMPANY NAME Sonicad QUANTITY INSTALLED 150 |  |  |
| --- | --- | --- | --- |
|  | Transformer assy | 3810-6901 | 50 |
|  | Battery | 1000-0007 | 100 |
|  | TRANDUCER |  | 50 |
|  | MOTHER PCB |  | 20 |

--------------------------

| 02-05-00009 | EQUIPMENT: FOETAL Moniter MODEL : MT-810 COMPANY NAME : TOITU JAPAN QUINTITY INSTALLED : 65 SITE : ALL GOVERNERATES |  |
| --- | --- | --- |
|  | USD Transducer | 20 |

| 02-05-00010 | EQUIPMENT: Delivery Monitor Model OMF 6101 B COMPANY NAME: NIHON KOHDEN, Japan QUANTITY INSTALLED:120 |  |  |
| --- | --- | --- | --- |
|  | Ultrasonic Transducer | EU-86010 | 50 |
|  | Ultracontraction transducer | TO 5-215 | 50 |
|  | Socket (connector MAB-5100) |  | 150 |
|  | Socket (connector MAB-5100S) |  | 150 |

--------------------------

| 02-05-00011 | EQUIPMENT : BABY Incubator, MODEL :80SC COMPANY NAME :ATOM JAPAN QUANTITY INSTALLED :117 SITE : ALL GOVERNERATES |  |  |
| --- | --- | --- | --- |
|  | Fan Motor | 800-84 | 10 |
|  | Power Switch 12 | 800-0807 | 20 |
|  | Servo Manual changeover switch (27) | 801-0407 | 20 |

| 02-05-00012 | EQUIPMENT : Infant warmer MODEL : PF 150 COMPANY NAME: TOITU JAPAN QUANTITY INSTALLED : 78 SITE : ALL GOVERNRATES |  |  |
| --- | --- | --- | --- |
|  | Transformer 220v/15VDS | SE-7 | 10 |
|  | Traic | AC-12BGM | 10 |
|  | Plastic cover | 301-44435 | 10 |
|  | Heater |  | 50 |

| 02-05-00013 | EQUIPMENT: MONITOR MODEL: DIASCOP 521 COMPANY NAME: S&W QUANTITY INSTALLED:24 Recommand spare parts for monitor Contain all the PCB`S , Transformers , CRT , ... etc. |  | For 24 monitors |
| --- | --- | --- | --- |
| 02-05-00014 | EQUIPMENT monitors MODEL 1- SMS 104 2- SMS 181 COMPANY NAME HELLIGE QUANTITY INSTALLED 24+24 . Recomanded spare parts for monitors The spare parts included all the PCB'S , Transformer, CRT'S,and other special lomponnets, Servise cataulge.for both types. |  | For 24 +24 monitors |

| 02-05-00015 | EQUIPMENT : BED SIDE MONITOR MODEL : OMP -6200 COMPANY NAME : NIHON KOHDEN JAPAN QUINTITY INSTALLED :182 |  |  |
| --- | --- | --- | --- |
|  | ECG Connection cable l | 5570605 | 50 |
|  | Electrode lead H-type Be-5465 | 5032091 | 100 |
|  | Electrode lead for disposable electode Red, 5031047, Yellow, 5031056, Black 5031083 |  | 100 |
|  | Heart Rate module (IH-612P) |  | 10 |
|  | Respiroction Rate Module (IR-612P) |  | 10 |
|  | Antenna lead (30cm long) | 5031243 | 10 |
|  | Patient cable BJ-610E | 2833-00119B | 100 |
|  | AG/AGCL-disposable electrode | 5030716 | 10 |
|  | Temp. Modale (IT-G12P) |  | 10 |
|  | Blood Pressure modul for High press (IP-614P) |  | 10 |

-----------------------------

| 02-05-00016 | EQUIPMENT:Combine Defibrilator-Scope-Recorder Model: DMS 600-600/2 COMPANY NAME: S&W, Denmark QUANTITY INSTALLED:120 |  |
| --- | --- | --- |
|  | Transformer for charger primary 230 V output 1-23.5 Volt 2-17.5 Volt | 20 |
|  | Patient Cable | 50 A |
|  | Recorder Unit model DMS 600 | 10 A |
|  | Stylus Model DMS 600 | 30 A |
|  | ECG Ampliter & Sync. PCB DMS 600/2 | 10 A |
|  | Display & Dc/Dc Convertor PCB DMS/600/2 | 10 A |
|  | Defibrillator control PCB DMC 600/2 | 10 A |
|  | Battery control PCB DMC 600/2 | 10 A |
|  | Charge Curcuit PCB DMS 600/2 | 10 A |
|  | H.V Capacitor 32 UF 6KV | 20 A |
|  | Coil discharge 40 mG1 | 10 A |
|  | Socket jack,ECG input J 203 | 10 A |
|  | Selector Energy 5501 | 10 A |
|  | Battery unit 20 V,lAH | 100 A |
|  | Front pannel DMS/600/3 | 10 A |
|  | Complete +HV capacitor | 10 A |
|  | Complete CB 600m cabinet | 10 A |
|  | E-Cell |  |

| 02-05-00017 | EQUIPMENT: Combine Defibrilator Scope recorder MODEL: CR 2006C COMPANY NAME: Cardic Recorder Ltd, England QUANTITY INSTALLED:300 |  |  |  |
| --- | --- | --- | --- | --- |
|  | Capacitor 32uF 5 KV (2000A M261A) |  |  | 30 A |
|  | Transistor 2N3904 |  |  | 30 A |
|  | Transformer For charger input 220V output=24V 9.7A output=27.5V 0.75A 20A |  |  |  |
|  | Relay ER6 24V REL1 |  |  | 30 A |
|  | Relay ER6 REL3 (12V) |  |  | 30 A |
|  | belt for recorder |  |  | 20 A |
| 02-05-00018 | EQUIPMENT: Defib. scope Recorder combine MODEL: pulser-4 COMPANY NAME: Picker international Ltd, UK (or A.O Company) QUANTITY INSTALLED:120 |  |  |  |
|  | Patient cable | 605117 | 20 |  |
|  | Writing stylus | 605067 | 20 |  |
|  | Battery 12V 2.2 Ah |  | 50 |  |

| 02-05-00019 | EQUIPMENT: Coranory Care Unit MODEL:3215+1108 COMPANY NAME: Picker international Ltd, UK (or A.O Company) |  |
| --- | --- | --- |
|  | Stylus for Tracer model 3215 | 40 |
|  | Patient cable for Monitor 1108 | 100 |

| 02-05-00020 | EQUIPMENY : Portable Defib. (Cordiolife) MODEL :CARDIO LIFE TES-5100 COMPANY NAME:NIHON KOHDEN QUINTITY INSTALLED:13 |  |
| --- | --- | --- |
|  | H.v-520V WP-7531 | 10 |
|  | H.v-control VP-7526 | 10 |
|  | CRT UP-7556 | 10 |
|  | Lead wire for Disposable electrodes | 100 set |
|  | Recording Paper PS 5024920827 | 1000 |

-----------------------------

| 02-05-00021 | EQUIPMENT : EEG MODEL :4217 COMPANY NAME :NIHON KOHDEN QUINTITY INSTALLED:13 |  |  |
| --- | --- | --- | --- |
|  | Recording pen SJ-120M | 1004-955317-B | 50 |
|  | Scalp dose electrede 2P Pcs/set (NE-1038) | 1005-02123 | 10 |
|  | Paper Recording |  | 100 set |
|  | RECORDING INK |  | 50 |
|  | NET FOR HEAD WITH ELECTROD |  | 100 |

| 02-05-00022 | . EQUIPMENT : Resussetation, baby MODEL :BABY LOG 1 COMPANY NAME :DRUGER GERMANY QUINTITY INSTALLED :13 |  |  |
| --- | --- | --- | --- |
|  | Water trap | 8402-476 | 50 |
|  | VALVE |  | 5 |

-----------------------------

| 02-05-00023 | EQUIPMENT : Emergencey Trolly MODEL :TEC-5100 COMPANY NAME:NIHON KOHDEN QUANTITY INSTALLED: 218 |  |  |
| --- | --- | --- | --- |
|  | Capacitor 5Kv 40mf | 5Kv | 50 |
|  | Relay M42-12v | 3410863 | 10 |
|  | Battery pack (SB-501v) | 800-0809.A | 20 |
|  | Mother power block | UP-7524 | 10 |
|  | Test load Block | AAA-35355 | 10 |
|  | ECG Cable | 5570837 | 10 |
|  | Hv-520v | Hv-Block | 5 |
|  | condensor H.v 33MF 6kv |  | 4 |
|  | High voltage | UP7531 | 5 |

| 02-05-00024 | . EQUIPMENT : Ressetation Trolly MODEL: PF -130 COMPANY NAME:TOITU JAPAN QUANTITY INSTALLED:81 |  |  |
| --- | --- | --- | --- |
|  | Trap bottle |  | 20 |
|  | Suction bottle | 2130-233 | 20 |
|  | Filter |  | 20 |
|  | Glow lamp. |  | 10 |
|  | Heater element | 26-697 | 20 |
|  | Fluorescent lamp (2000) |  | 100 |
|  | Valve assembly (2130-333) |  | 20 |
|  | Vacum Gauge |  | 10 |

-----------------------------

| 02-05-00025 | EQUIPMENT ::Light source fibre Optic Operating Microscope MODEL : ENT AND BRONCHUS COMPANY NAME : NAGASHIMA MEDICAL JAPAN QUANTITY INSTALLED:52 |  |  |
| --- | --- | --- | --- |
|  | Halogen lamp (15v, 150w) |  | 50 |

-----------------------------

| 02-05-00026 | EQUIPMENT : Suction appartus operating theatre model : A2-45 COMPANY NAME : MURACO MEDICAL QUANTITY INSTALLED:320 |  |  |
| --- | --- | --- | --- |
|  | Bottle for the T/P of Suction tube. |  | 50 |

| 02-05-00027 | EQUIPMENT : Suction Appartus MODEL : 700 COMPANY NAME : ASAHI MEDICAL JAPAN QUANTITY INSTALLED : 325 SITE : ALL GOVERNRATES |  |  |
| --- | --- | --- | --- |
|  | Motor |  | 10 |
|  | Switch (Foot) |  | 10 |
|  | Filter |  | 10 |
|  | suction pump |  | 10 |

| 02-05-00028 | EQUIPMENT: Suction Unit MODEL: SAM20 COMPANY NAME: AERASOL PRODUCTS QUANTITY INSTALLED:600 |  |
| --- | --- | --- |
|  | Motor 2200 1010102 | 50 |
|  | PK Diaphragm 10005 | 250 |
|  | U Piston with diaphragm | 50 |
|  | Connection plate between motor and Piston arm | 300 |

-----------------------------

| 02-05-00029 | EQUIPMENT: Electro-Surgical unite MODEL : TRC-1000 COMPANY NAME : MIZUHO MEDICAL JAPAN QUANTITY INSTALLED : 78 |  |
| --- | --- | --- |
|  | Inactive electrode lead | 50 |
|  | Circuit board A | 10 |
|  | Circuit board B | 10 |
|  | Circuit board C | 10 |
|  | Circuit board D | 10 |
|  | Circuit board M | 10 |
|  | Circuit board H1,H2 | 10 |
|  | Cutting output indicating lamp. | 20 |
|  | Electrode chuch handle (3 terminal) | 20 |
|  | Inlet for inserting electrodechuch hundle | 20 |
|  | Inlet for inserting inactive electrode | 20 |
|  | Inlet for inserting monopolar electrode chuch handle. | 20 |

| 02-05-00030 | EQUIPMENT: ELECTRO SURGICAL UNIT MODEL: Electrotom 500 System 2000 COMPANY NAME: JEPRUDO MARTIN QUANTITY INSTALLED:400 |  |  |
| --- | --- | --- | --- |
|  | Thermo couple 89-234-31 |  | 50 |
|  | Power Transistor Bux 80 10073 |  | 500 |
|  | Electrolytic capacitor 89-226-32 2200 MF 164 |  | 50 |
|  | Bippolar cards 81-285-30 |  | 50 |
|  | Connectin plug for foot switch 4-pole with electric interlock |  | 25 |
|  | Switch Blank LP2 Module II |  | 50 |
|  | Foot - Switch | 81.821.02 | 50 |
|  | Trans D45 C11 | 89.221.01 | 100 |
|  | Trans 2N 2905 |  | 50 |
|  | IC NE 555N | 89.222.02 | 50 |
|  | Wire resister 6.8 ohm - 17W | 89.225.66 | 200 |
|  | Wire resister 6.8 ohm - 9W | 89.255.65 | 200 |
|  | Oscillator Blank LP3 |  | 50 |
|  | Conductor Blank driving stage LP6 |  | 50 |
|  | Amplification stage LP7 |  | 50 |
|  | Transistor D 44 CLL | 89.221.02 | 50 |
|  | Complete Module IV |  | 25 |
|  | Transformer Tom 500 | 89.211.01 | 25 |
|  | Connecting plug for foot switch 4-pole with electric inter lock |  | 25 |

| 02-05-00031 | EQUIPMENT: HF Electro Surgical unit MODEL: GK 450 COMPANY NAME: Aesculap Werke AG QUANTITY INSTALLED:75 |  |
| --- | --- | --- |
|  | Sipmos Transistor BUZ 48 TA020716 | 80 |
|  | PCB Power supply GK450/207 | 4 |
|  | PCB GK 59/218 | 3 |
|  | PCB GK170/20 | 3 |
|  | IC MC 34004p TA020772 | 10 |
|  | IC LM 324N TA020307 | 10 |
|  | Handles GK 207 | 25 |
|  | Handles GK 208 | 25 |
|  | Adapter GK 199 | 10 |
|  | Logic PCB GK 170/202 | 15 |
|  | Nutral electrod GK 247 | 10 |

| 02-05-00032 | EQUIPMENT : Coutery unit, Skin clinic MODEL : TRC-500 SS COMPANY NAME : NIZUHO JAPAN QUANTITY INSTALLED : 13 SITE : ALL GOVERNRATES |  |  |
| --- | --- | --- | --- |
|  | Tri-Pole electrode chack handle with changover. |  | 10 |
|  | Electrodes |  | 10 |
|  | Cooling fan unit. |  | 10 |

| 02-05-00033 | EQUIPMENT : Cryosurgery unit, Skin clinic MODEL :ERBO KRYO COMPANY NAME : ERBA GERMANY QUANTITY INSTALLED: 26 SITE : ALL GOVERNRATES |  |
| --- | --- | --- |
|  | Pilot Lamp (main) | 20 |
|  | Foot switch complete. | 20 |
|  | Pressure gauge | 10 |
|  | Mains socket | 10 |
|  | High Pressure gas connecter | 20 |
|  | Low pressure Gas outlet conneter. | 20 |
|  | Soleniod valve (MV,1,2) | 10 set |
|  | Relay (Re 1,2) | 10 set |
|  | PRESSURE REGULATER | 10 |
|  | PROP | 10 |

| 02-05-00034 | EQUIPMENT : Bath, Butterfly, MODEL:PE-700 COMPANY NAME:YAESU JAPAN QUANTITY INSTALLED: 26 |  |  |
| --- | --- | --- | --- |
|  | Jet streamer pump |  | 10 |
|  | Steel Ball | P70303 | 10 |
|  | Motor | P70051 | 10 |
|  | Bubbler Pump. |  | 10 |
|  | Pressure gauge. |  | 10 |

| 02-05-00035 | EQUIPMENT : Water Bath MODEL: 370' electric COMPANY NAME: JOOKOO QUANTITY INSTALLED:78 |  |  |
| --- | --- | --- | --- |
|  | Heater |  | 50 |
|  | Stirrer unit |  | 10 |
|  | Temperature controller |  | 10 |
|  | Heater Pilot lamp. |  | 20 |
|  | Switch |  | 50 |

| 02-05-00036 | EQUIPMENT: Water Bath, 50 litres MODEL:D2-159 COMPANY NAME:JOOKOO JAPAN QUANTITY INSTALLED:26 |  |
| --- | --- | --- |
|  | Thermoregulator dial | 10 |
|  | Thermoregulator | 10 |
|  | Tiner | 20 |
|  | Thrermoster | 20 |
|  | Power switch | 10 |
|  | Heating element. | 50 |

| 02-05-00037 | EQUIPMENT : Microscope , Operating ( Ophthalmic) MODEL :CMS 500 COMPANY NAME : TOPCON JAPAN QUANTITY INSTALLED: 13 |  |
| --- | --- | --- |
|  | Tungsten lamp 6v, 33w | 500 |

| 02-05-00038 | EQUIPMENT : Microscope, ( Operating ENT ) MODEL: ENT COMPANY NAME : TOPCON JAPAN QUANTITY INSTALLED : 26 |  |
| --- | --- | --- |
|  | Halogen lamp unit | 500 |

| 02-05-00039 | EQUIPMENT: Microscope MODEL : BH2-CD COMPANY NAME : OLYMBUS JAPAN QUANTITY INSTALLED : 39 |  |  |
| --- | --- | --- | --- |
|  | ABBE Condenser |  | 10 |

| 02-05-00040 | EQUIPMENT : Microscope , binocular, Fluorescence, MODEL : BH COMPANY NAME :OLYMPUS JAPAN QUANTITY INSTALLED :39 |  |  |
| --- | --- | --- | --- |
|  | All Kinds of Barrierfilters |  | 10 set |
|  | All Kinds of exciter filters | 10 set |  |
|  | PLASTIC WARM WHEEL | 10 |  |

| 02-05-00041 | Microscope for (eye) operation theaters, MODEL: OMS-100 COMPANY NAME: Topcon, Japan QUANTITY INSTALLED:30 |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Foot Switch |  | 413000003 |  | 5 |
|  | Complete motor |  | 4110720481 |  | 5 |
|  | Halogen Lamp 15V 150W |  |  |  | 200 |
|  | complete motor |  | 4110710321 |  | 5 |
|  | complete head |  |  |  | 5 |

| 02-05-00042 | EQUIPMENT:Microscope for (ENT) Operation theaters, MODEL: OMS-80 COMPANY NAME: Topcon, Japan |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Zooming Micro motor |  | 4110710320 |  | 5 |
|  | Gear |  | 4110821093 |  | 5 |
|  | Lamp holder |  |  |  | 50 |
|  | Gear |  | 4110821080 |  | 5 |

| 02-05-00043 | EQUIPMENT:Microscopes MODEL: OPMI-1-FCETC and OPMI-MD ETC COMPANY NAME:Zeiss - Germany QUANTITY INSTALLED:25 |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | DC motor drive INR |  | 0141.705 |  | 4 |
|  | DC motor INR |  | 0126.314 |  | 4 |
|  | Transformer |  | 0129974 |  | 2 |
|  | Transoformer |  | 0129973 |  | 2 |
|  | Fan motor |  | 0123126 |  | 2 |
|  | Worm gear |  | 303443.0033000 |  | 8 |
|  | Fc light guide 2.2m |  | 3034818104 |  | 4 |
|  | Halogen lamp 12V 100W |  | 3800799040 |  | 100 |

| 02-05-00044 | EQUIPMENT:MICROSCOPE MODEL : BHC COMPANY NAME: OLYMPUS QUANTITY INSTALLED:300 |  |
| --- | --- | --- |
|  | Tungsten Blub | 500 |
|  | Objective lens oil power 100 | 50 |
|  | Objective lens power 60 | 25 |
|  | Objective lens power 40 | 30 |
|  | Eye piece power 10 X | 30 |
|  | Auxiliary lens | 10 |
|  | Condencer | 10 |

| 02-05-00045 | EQUIPMENT :Oxygen Humidifier MODEL :A2-107 COMPANY NAME: MARUBNI JAPAN QUANTITY INSTALLED: 300 |  |
| --- | --- | --- |
|  | Flow meter top cover | 10 |
|  | Float | 10 |
|  | float ball for flow meter | 20 |
|  | Rubber packing | 50 |
|  | Cude | 10 |
|  | O-Ring | 10 |

| 02-05-00046 | EQUIPMENT : Sphygmomanometer MODEL : bed head Mounted (A3-2) COMPANY NAME: MARUBNI JAPAN QUANTITY INSTALLED :200 |  |
| --- | --- | --- |
|  | Head Screw | 20 |
|  | Rubber Packing | 20 |
|  | Fuflt. | 20 |
|  | Scale Plate. | 20 |
|  | Contamer | 20 |
|  | Tube Packing | 10 |

| 02-05-00047 | EQUIPMENT : SPHYGMOMANOMETER MODEL: 1104 COMPANY NAME : MARUBNI JAPAN QUANTITY INSTALLED: 975 |  |
| --- | --- | --- |
|  | Head Screw HM-1104(CAT) | 110 |
|  | RUBBER Packing | 250 |
|  | Fuelt | 60 |
|  | Roshi | 60 |
|  | Container | 60 |
|  | Tube Packing | 60 |
|  | Glass Tube | 100 |
|  | Rubber Inler Bulb | 60 |

| 02-05-00048 | EQUIPMENT: Blood pressure Manometer (Sphygmanometer) MODEL: MERCURY COMPANY NAME: Yamaguchi Medical Instrument, Japan QUANTITY INSTALLED:3000 |  | Qty. |
| --- | --- | --- | --- |
|  | Bulbs with Valves Nb.15 |  | 5000A |
|  | Air Rubber Bag Complete Nb.37 |  | 3000A |
|  | Air Valve |  | 2000A |

| 02-05-00049 | EQUIPMENT:Slit Lamp MODEL: 900 COMPANY NAME: HAAG-STREIT, Switzerland QUANTITY INSTALLED: 50 |  |  |
| --- | --- | --- | --- |
|  | Lamp 6V-4.5A 27 W |  | 100 |
|  | Transformer |  | 10 |
|  | Lamp cover |  | 50 |
|  | Wheel cover |  | 20 |
|  | Complete head |  | 10 |
|  | Tonometer |  | 8 |

| 02-05-00050 | EQUIPMENT : Test type, Opthalomology Remot Control MODEL :EAO72 COMPANY NAME: QUANTITY INSTALLED:65 |  |
| --- | --- | --- |
|  | Halogen Bulb | 100 |

| 02-05-00051 | EQUIPMENT : Audiometer MODEL :AS-30+TR10 3604 COMPANY NAME: SAGAMI DENKI JAPAN QUANTITY INSTALLED: 13 |  |  |
| --- | --- | --- | --- |
|  | lamp (1) |  | 50 |
|  | Lamp (2) |  | 50 |
|  | patient Cable Conection |  | 50 |

| 02-05-00052 | EQUIPMENT : Diagnostic set,( Physiotharapist) MODEL : A3-40 COMPANY NAME: MARUBNI QUANTITY INSTALLED: 78 |  |
| --- | --- | --- |
|  | Lamp. | 500 |
|  | lamp halogen 4 V | 150 |
|  | lamp halogen 3 V | 150 |
|  | rechargeable battery | 25 |

| 02-05-00053 | EQUIPMENT : Refractometer MODEL:1000F COMPANY NAME :NIKON QUANTITY INSTALLED :13 |  |
| --- | --- | --- |
|  | Lamp (Green Gross Tangets lamp.) | 100 |

| 02-05-00054 | EQUIPMENT : Screen Laser MODEL :A3-52 COMPANY NAME :MARUBNI QUANTITY INSTALLED :13 |  |
| --- | --- | --- |
|  | Light bulb (6.3v,0.15A) | 100 |
|  | Light bulb (8v,1A) | 100 |

| 02-05-00055 | EQUIPMENT: ULTRA SONIC THERAPY MODEL: Therasonic Five COMPANY NAME: EMS, England QUANTITY INSTALLED:75 |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Main Board complete |  | 54-8 |  | 15 |
|  | Power Amplifier PCB Complet |  | 54-5 |  | 15 |
|  | Transistor FET 2SK-175/6 |  | 18-36 |  | 200 |

| 02-05-00056 | EQUIPMENT: UV& IR LAMP MODEL 3030 COMPANY NAME ENRAF NONIUS DEIFT-HANAU QUANTITY INSTALLED 150 |  |  |
| --- | --- | --- | --- |
|  | IR-21OHM | 004931 | 100 |
|  | IR-11OHM | 042882 | 200 |
|  | UV-A | 001035 | 50 |
|  | UV-B | 001034 | 50 |

| 02-05-00057 | EQUIPMENT : UV& IR LAMP MODEL Supper 2000 COMPANY NAME ASTRALUX QUANTITY INSTALLED 250 |  |  |
| --- | --- | --- | --- |
|  | IR 24OHM | 95.028.220 | 500 |
|  | IR 16OHM | 95.028.220 | 500 |
|  | V ASH 455E6 | 2026.8 | 25 |

| 02-05-00058 | EQUIPMENT : Ultraviolt Lamp MODEL:A3-37(SE -600) COMPANY NAME :MARUBNI QUANTITY INSTALLED:75 |  |
| --- | --- | --- |
|  | Lamp. | 1000 |

| 02-05-00059 | EQUIPMENT : Infrared MODEL: L204 COMPANY NAME:MARUBNI QUANTITY INSTALLED:52 |  |
| --- | --- | --- |
|  | Lamp | 100 |

| 02-05-00060 | EQUIPMENT : Low Frequency therapy MODEL:NEAROTEN 726 COMPANY NAME:SIEMENS GERMANY QUANTITY INSTALLED:39 |  |  |
| --- | --- | --- | --- |

| 02-05-00061 | EQUIPMENT : Microwave therapy MODEL: RADIO THERM 706 COMPANY NAME :SIEMENS GERMANY QUANTITY INSTALLED :39 |  |  |
| --- | --- | --- | --- |
|  | Circuit board A1 | 47-45 BB543 | 10 |
|  | Circuit board A2 | 47-45 337BB43 | 10 |
|  | Power transformer Tr1 |  | 10 |
|  | dos Switch Assembly |  | 10 |
|  | Director cable |  | 10 |
|  | Diode-H463-3 H.F H.V |  | 10 |
|  | Circuit board assy P.No. | 4536348EH703 | 10 |
|  | Timer |  | 10 |
|  | Push Button power switch | 4918978 | 10 |
|  | Lamp |  | 20 |

| 02-05-00062 | EQUIPMENT: Coombs cellwasher automatic MODEL:D2-58 COMPANY NAME: MARUBNI QUANTITY INSTALLED: 26 |  |  |
| --- | --- | --- | --- |
|  | Nozzle | 473777 | 15 |
|  | Adapter | 473778 | 15 |
|  | Door switch ber | 473427 | 10 |
|  | Lock arm | 474431 | 10 |
|  | Antoning | 474428 | 10 |
|  | Grommet | 47736 | 10 |
|  | HK Micro key Bearing housing | 477755 | 10 |
|  | Danper Assy | 456166 | 15 |

| 02-05-00063 | EQUIPMENT : soner(diagnostic) MODEL:A4-4 COMPANY NAME:MARUBNI-ALOKA QUANTITY INSTALLED:13 |  |  |
| --- | --- | --- | --- |
|  | AUS 28H-SM-3.3MHZ |  | 10 |
|  | BOARD 1772 |  | 10 |

| 02-05-00064 | EQUIPMENT : Electro phorsis MODEL:238 COMPANY NAME: JOOKOO JAPAN QUANTITY INSTALLED:26 |  |
| --- | --- | --- |
|  | Power Transformer 220V (out 40 V0.1A) (20V 0.2A) (50V 0.1A) | 10 |

| 02-05-00065 | EQUIPMENT: Electrophoresis appartateus MODEL: ELVI COMPANY NAME: ELVI ITALY QUANTITY INSTALLED:50 |  |
| --- | --- | --- |
|  | 79960,79530 Kit | 2 Pack |
|  | 160 920 Kit containing on black One red pen | 4 |
|  | Celleluse Acetate poliphon papers | 10 Pack |
|  | 160 930 Packing of 10 optical glass | 10 Pack |
|  | Paper roller for proper every pack contains | 4 Roll |
|  | Scanner complet | 1 |
|  | electrophoresis wall tancks | 2 |
|  | PRG-62005 - K Rectal probes | 160 PCS |
|  | Thermosenstive paper rolls. | 60 PCS |
|  | A.P.T. SE 15 probe box. | 5 PCS |
|  | STANDAR SOLUTION | 50 SET |

| 02-05-00066 | EQUIPMENT :WATER DISTONATION MODEL:EXLCO COMPANY NAME: EXLCO QUANTITY INSTALLED:150 |  |  |
| --- | --- | --- | --- |
|  | BOILLING FLASK |  | 50 |
|  | CONDENSER FLASK |  | 50 |

| 02-05-00067 | EQUIPMENT :DI Still, 8 Litres 1 hour MODEL:(FI-STREEM) BARNSTEAD COMPANY NAME: SYPRON USA QUANTITY INSTALLED:26 |  |  |
| --- | --- | --- | --- |
|  | Heating element | 06278 | 100 |
|  | Limet switch for level device | 4703592 | 20 |
|  | Main Raw water Pressure sensor 06750 |  | 20 |
|  | O-Ring parker 2-211N398-7 | 06440 | 20 |
|  | O-Ring parker 2-214N398-7 | 06441 | 20 |
|  | O-Ring parker 2-238E540-8 | 06808 | 20 |
|  | Bridage Rectifier | 515UB20 | 20 |
|  | Relay A,B,C sets | 00285 | 20 |
|  | Flow valve | Brooks- Mite 27 | 10 |
|  | Boiler (Rear & Front) | 065461 | 30 |
|  | Condenser | 06752 | 20 |
| 02-05-00068 | EQUIPMENT : Shaker Electric MODEL:KR-3(D2-32) COMPANY NAME:MARUBNI QUANTITY INSTALLED:52 |  |  |
|  | Speed Control |  | 50 |

| 02-05-00069 | EQUIPMENT : Auto-analyzer, enzymes, centrifugal MODEL: (D2-036) COMPANY NAME: SHIMADZU QUANTITY INSTALLED:13 |  |  |
| --- | --- | --- | --- |
|  | Solenoid valve assem for disponser | 204-6 2-21 | 10 |
|  | All-fuses used inunit | All | 10 set |
|  | Compressor oil barrel freez 56SH4L/CAN | 200-64132-31 | 10 |
|  | Solenoid valve (Diaphram) | 204-62341 | 10 |
|  | Solenoid valve (Poppte type) | 204-62341-01 | 10 |
|  | Zener Diode |  | 10 |
|  | High pressure line tubing | 016-46006 | 10 set |
|  | Lamp-1 |  | 50 |
|  | Lamp-2 |  | 50 |
|  | Electro magnetic valve | 204-62349 | 10 |
|  | Pipetter packing |  | 10 |
|  | Floppy disc |  | 100 |
|  | Teflon half-union |  | 10 |
|  | Sylinder assem-1 |  | 20 |
|  | Teflon connector |  | 20 |
|  | Flow cell |  | 10 set |
|  | Printer unit |  | 10 |
|  | All types of tubing used. |  | 10 set |
|  | ALL TYPE OF SOLUTION |  | 100 SET |

| 02-05-00070 | EQUIPNENT: Haematology analyzer2 MODEL:S 880 COMPANY NAME: Coulter Electronics LTD QUNTITY INSTULLED 10 |  |  |
| --- | --- | --- | --- |
|  | CHOKE,008 Orifice | 6213006 | 5 |
|  | Choke,006 orifice | 6213009 | 5 |
|  | Choke,025 orifice brown | 6213015 | 5 |
|  | Valve, pneu 3wy. | 6232075 | 2 |
|  | Wbc aperture housing | 6702275 | 2 |
|  | RBC APERTURE HOUSENG | 6802865 | 2 |
|  | VACUUM REGULATOR assy. | 9368363 | 1 |

|  | Check valve | 6214107 | 3 |
| --- | --- | --- | --- |
|  | Tubing | 3202038 | 5 meter |
|  | Tubing | 3202036 | 2 meter |
|  | Tubing | 3203015 | 2 meter |
|  | Tubing | 3203016 | 2 meter |
|  | ALL TYPS FO SOLUTION |  | 50 SET |

| 02-05-00071 | EQUIPMENT:AUTOANALYZER MODEL:COULTER COUNTER COMPANY NAME:COULTER ENGLAND QUANTITY INSTALLED:13 |  |  |
| --- | --- | --- | --- |
|  | Aperture housing Assy for RBS&WBC | 6701588/6701589 | 10 |
|  | C;eamomg/dilvent exchange valve | 6803659 | 10 |
|  | Dilvent dispenser | 6802827 | 15 |
|  | Solenoide valve VL-40 | 0890C-23 | 20 |
|  | S.V. VL-41 | 0890C-13 | 20 |
|  | Check valve | 0890C-13 | 20 |
|  | O-Ring (Large) | 2512104 | 20 |
|  | O-Ring (Small) | 2512010 | 10 |
|  | Pressure Switch for level detectors | 5115009 | 10 |
|  | Printer solenoid. | 7217001 | 10 |
|  | Pilot actuator | 62110155 | 10 |
|  | P.C.B | 7410801 | 10 |
|  | Key board Assy | (4300226/6854028) | 10 |
|  | Preamplifier PCB | 9368713 | 10 |
|  | Vacuum pump | 0890C-9 | 10 |
|  | Vacuum pump | 0890C-19 | 10 |
|  | Cap Reteirer for VL-34 | 1008974 | 10 |
|  | Blood sampling valve | 6703765 | 10 |
|  | Double Action pinch valve | 6804896 | 10 |
|  | Solenoid valve 24V | 6232075 | 20 |
|  | Tubing A | 3203016 | 10 set |
|  | Tubing B | 3203015 | 10 set |
|  | Tubing C | 3203036 | 10 set |
|  | WBC/RBC Disponser (10ml)Pumps | 68523541 | 10 |
|  | HGB lamp | 9768366 | 20 |
|  | Check valve (Large) | 6214107 | 10 |
|  | Check valve (Small) | 6214108 | 10 |
|  | O-Ring | 2523119 | 20 |
|  | Changing valve VL-34 | 6803659-3 | 10 |
|  | Pressure Switch for level delectors | 5115009 | 10 |
|  | Solenoid valve | 6214087 | 20 |
|  | P.C.B | 7611001 | 10 |
|  | Printer Belt |  | 10 |
|  | Soleniod valve | 813-0691-9 | 10 |
|  | Internal electrode |  | 10 |
|  | Sample disc |  | 10 |

| 02-05-00072 | EQUIPMENT: Auto Analyzer MODEL: CL-12 COMPANY NAME: SHIMADZU QUANTITY INSTALLED:13 |  |  |
| --- | --- | --- | --- |
|  | Air Cylinder | 042-90040-23 | 4 |
|  | Pipetter Nozzle 1 | 204-62238 | 4 |
|  | Pipetter Nozzle 2 | 204-62239-01 | 4 |
|  | Pipetter Nozzle 3 | 204-62239-02 | 4 |
|  | Pipetter Nozzle 4 | 204-62239-03 | 4 |
|  | Cylinder Assy 1 | 204-62306 | 4 |
|  | cylinder Assy 2 | 204-62306 | 4 |
|  | Lamp 1 | 204-62862-01 | 8 |
|  | Lamp 2 | 204-62862-02 | 16 |
|  | Photo cell |  | 8 |
|  | typewriter Paper |  | 20 |

| 02-05-00073 | EQUIPMENT: AUTOANALYSER MODEL: CUJ SSB4 COMPANY NAME: SHIMADZU QUANTITY INSTALLED:10 |  |
| --- | --- | --- |
|  | SOLUTION FOR ALL TYPE TEST | 50 SET |
|  | POWER TRANSESTOR EUG 33-050 30A-500 V | 5 |

| 02-05-00074 | EQUIPMENT: ANALYZER AUTOMATED STAT. / ROUTINE MODEL: (ASTRA - 8) COMPANY NAME: Beckman lnstruments, INC QUANTITY INSTALLED:10 |  |
| --- | --- | --- |
|  | program diskettes (1,2,E:) | 10 SET |
|  | Think-Jet printer Model:HP2225C | 10 |
|  | set of pcb,s | 5 SET |

| 02-05-00075 | EQUIPMENT: blood Gas Analyzer, MODEL: ILS1303,1985 COMPANY NAME: U.S Instruments laboratory Systems QUANTITY INSTALLED:13 |  |  |
| --- | --- | --- | --- |
|  | Gas Mixing unit |  | 10 |
|  | Sensor Sampling Assembly | 50149 | 8 |
|  | ELECTROD |  | 13 |
|  | ALL TYPE OF SOLUTION |  | 50 SET |

| 02-05-00076 | EQUIPMENT: Calcium Analyzer MODEL: SS-20 NIKKAKI COMPANY NAME:Orion Research, Japan QUANTITY INSTALLED:13 |  |
| --- | --- | --- |
|  | Calcium Sensor | 2 |
|  | NA Analog Card | 2 |

| 02-05-00077 | EQUIPMENT : Analyzer , Glucose, MODEL: CL-720 COMPANY NAME: SHIMADZU QUANTITY INSTALLED:13 |  |  |  |
| --- | --- | --- | --- | --- |
|  | Mirror | 204-25367-01 | 10 |  |
|  | Filter | 204-54074 | 20 |  |
|  | Joint (1) with pump | 204-56111-02 | 10 |  |
|  | Joint (2) with pump | 204-56111-01 | 10 |  |
|  | Rotor Disc | 204-56113 | 10 |  |
|  | Roller | 204-55320 | 10 |  |
|  | Shaft | 204-55321 | 10 |  |
|  | Guide | 204-56425 | 10 |  |
|  | Transistor MJE-700 | 060-49003 | 10 |  |
|  | Transistor 2N3055 | 060-49002 | 10 |  |
|  | Digital Power unit | 204-54643 | 10 |  |
|  | Printer | 204-55025 | 10 |  |
|  | Thermol head | 078-15005-01 | 10 |  |
|  | Control unit | 204-54206 | 10 |  |
|  | CPU Board | 204-52618-01 | 10 |  |
|  | ROM Board | 204-52610-01 | 10 |  |
|  | Input Board | 204-52608 | 10 |  |
|  | Output Board | 204-52606 | 10 |  |
|  | Printer Driver Board | 204-56550 | 10 |  |
|  | Back up Board | 204-56771 | 10 |  |
|  | Key Switch (No Lamp) | 200-76017-00 | 10 |  |
|  | Key Switch (With Lamp) | 200-76-17-10 | 10 |  |
|  | Analog Switch IC, TL191 C-N | 200-73019 | 10 |  |
|  | conventer IC, MC 14433 | 075-22144-33 | 10 |  |
|  | Led for push botton switch |  | 10 |  |
|  | Tungston lamp. |  | 20 |  |

| 02-05-00078 | EQUIPMENT : Analyzer, sodium / Potassium MODEL:NAKCL/1 COMPANY NAME:TOA JAPAN QUANTITY INSTALLED:13 |  |  |
| --- | --- | --- | --- |
|  | Pump motor |  | 10 |
|  | Tube for pump (BI,BR-1-Waste) 3 Pcs/set |  | 10 set |
|  | Thermistor |  | 10 |
|  | Electrode (CL-K-No) | CL333,K-333 Na-333 | 10 set |
|  | Refrence electrode | HC-333 | 10 |
|  | Flow cell | 70x25x25 | 10 |
|  | Tip for Micro Piltter |  | 10000 |
|  | Tyon tube |  | 10 |
|  | level sensor |  | 10 |
|  | Thermostat |  | 10 |
|  | Analog card forcl | 990551-2 | 10 |
|  | Electrode C Reference electrode |  | 10 |

| 02-05-00079 | EQUIPMENT : Digital Diluter Pipetter MODEL:DIP-1 COMPANY NAME:SHIMADZU QUANTITY INSTALLED:78 |  |  |
| --- | --- | --- | --- |
|  | Hand pipetter 204-04061 |  | 10 |
|  | Stepping motor PH266-32-200-8426-03 |  | 20 set |
|  | CPU-P.C board Assy lec A204-02088 |  | 10 |
|  | Soleniod valve -02504 |  | 20 |
|  | Nozzel assy CP/N204-02509) |  | 20 set |
|  | Srring-1ml (204-02405-04) |  | 20 set |
|  | 100 Micro syring (204-02405-02) |  | 20 set |

| 02-05-00080 | EQUIPMENT : MICRO CENTRIFUGE MODEL:MC-300 COMPANY NAME: HITACHI QUANTITY INSTALLED:26 |  |  |
| --- | --- | --- | --- |
|  | Pump | 477414 | 10 |
|  | Solenaid valve | 477255 | 15 |
|  | Doorlock base Assy | 336923 | 10 |
|  | Release | 473185 | 10 |
|  | Solenoid | 474416 | 15 |
|  | Connecter | 477759 | 15 |
|  | Grommet | 474425 | 10 |
|  | Roter Assy | 214361 | 10 |
|  | Distribnter Assy | 214453 | 10 |

| 02-05-00081 | EQUIPMENT: centerfuge MODEL T5 & T30 COMPANY NAME Intermed W.Germany QUANTITY INSTALLED 150+150 |  |
| --- | --- | --- |
|  | Electric motor rpm max 5500 (type1030 5/5) 220V freq. 50HZ | 50 |
|  | Electrin motor 220V 80W (type 1009 10) 5000 rpm | 50 |

| 02-05-00082 | EQUIPMENT : Centrifuge, microhaematocrit MODEL:MC-201 COMPANY NAME:HITACHI QUANTITY INSTALLED:52 |  |  |  |
| --- | --- | --- | --- | --- |
|  | Timer | 482819 | 15 |  |
|  | Speed meter | 982821 | 15 |  |
|  | Printed Circuit board | 346594 | 15 |  |
|  | Motor assembly | P/N 342751 | 50 |  |
|  | Relay #3 | 5400618 | 10 |  |
|  | Main pilot lamp. | 982818 | 10 |  |
|  | Timer GRIP | 482820 | 20 |  |
|  | CB holder | 482816 | 20 |  |
|  | PG assembly | 477277 | 10 |  |
|  | Interlock Switch | 477275 | 20 |  |
|  | Rubber Cushion | 477281 | 20 |  |
|  | Capillary tube | 47727 | 50 |  |
|  | Cover assembly | 346543 | 10 |  |
|  | Putty for sealing | 477279 | 10 |  |
|  | Scaleplate (Centrifuge) | 338828 | 10 |  |
|  | IC | 47743420 | 10 |  |
|  | cover assembly | 5300066A | 10 |  |
|  | IC | HA17815P | 10 |  |

| 02-05-00083 | EQUIPMENT: Micro Centrfuge MODEL: Haematocrit COMPANY NAME: Hitachi, Japan QUANTITY INSTALLED:50 |  |
| --- | --- | --- |
|  | Main control Board | 10 |
|  | Armature | 10 |

| 02-05-00084 | EQUIPMENT: CENTRIFUGE MODEL:PCV COMPANY NAME: HAWKSLEY‚SONS‚Ltd, UK QUANTITY INSTALLED:75 |  |  |  |
| --- | --- | --- | --- | --- |
|  | Motor Complet 11000 rPM 220 V AC | 147454/9D | 25 |  |
|  | Micro Switch |  | 20 |  |
|  | Timer |  | 20 |  |
|  | Carbon Brush |  | 100 |  |
|  | Armature rotor |  | 20 |  |

| 02-05-00085 | EQUIPMENT : Centerifuge Cytosedimentation MODEL:1250 COMPANY NAME: SAKURA QUANTITY INSTALLED:26 |  |
| --- | --- | --- |
|  | Rotor Fixing unit | 10 |

| 02-05-00086 | EQUIPMENT : Tissue staining machine Automatic MODEL: D2-64 COMPANY NAME: SAKURA QUANTITY INSTALLED: 13 |  |
| --- | --- | --- |
|  | Micro Switch | 10 |
|  | Motor | 2 |

| 02-05-00087 | EQUIPMENT: Bloode cell counter MODEL:PC-810 COMPANY NAME:SYMIX QUANTITY INSTALLED:13 |  |
| --- | --- | --- |
|  | Solelenoid valve (12V [813-0699-8]) | 20 |
|  | Solinoid valve 823-0959-1 | 20 |
|  | Thermiston 813-0779-9 | 20 |

| 02-05-00088 | EQUIPMENT : Sterilizer , Steam MODEL: TABLE TYPE F1-27 COMPANY NAME: ODLAGE QUANTITY INSTALLED:26 |  |
| --- | --- | --- |
|  | Filter for water supply. | 20 |
|  | Timer | 10 |
|  | Pressure gange | 10 |
|  | Slide plate. | 10 |
|  | Steam Ejecter valve | 10 |
|  | Drum for model SP-2-3 | 10 |
|  | Solenoid valve for Steam. | 20 |
|  | Solenoid valve for Water. | 20 |
|  | Check valve T-125 | 10 |
|  | Check valve JTS-10K | 10 |
|  | HETER ELEMENT | 50 |

| 02-05-00089 | EQUIPMENT:AUTOCLAVE MODEL:YHE-960+YVE-46 COMPANY NAME: Takizawa Medical, Japan QUANTITY INSTALLED:50+75 |  |  |
| --- | --- | --- | --- |
|  | Heater 380 V 12KW for Horizontal Autoclave model YHE-960 |  | 25 set |
|  | Steam injector for Horizontal Autoclave model YHE-960 |  | 15 |
|  | Heater 380 V 8KW for Vertical Autoclave Model YVE-46 |  | 30 |

| 02-05-00090 | EQUIPMENT : Sterilizer, steam MODEL: double door.(F1-30) COMPANY NAME:SAKURA QUANTITY INSTALLED:39 |  |  |
| --- | --- | --- | --- |
|  | One shaft motor unit | 3PH-Motor | 10 |
|  | Wire for one shaft motor. |  | 20 |
|  | Oil-seal for vacuum pump. | AK-35488 | 20 |
|  | Oil-seal for vacuum pump. | FAJ-3552R | 20 |
|  | Bearing for vacuum pump | 6206V | 20 |
|  | Bearing for vacuum pump | 6206 | 20 |
|  | Bearing for vacuum pump | N0206 | 20 |
|  | O-Ring for vacuum pump | OG-230 | 20 |
|  | O-Ring for vacuum pump | OG-55 | 20 |
|  | Washer for vacuum Pump | AW-06 | 20 |
|  | Trap wibt 1/2 |  | 10 |
|  | Air Leak valve 3/8 |  | 10 |
|  | Check valve 1/2 |  | 10 |
|  | Check valve 1/4 |  | 10 |
|  | Check valve 3/4 |  | 10 |
|  | Ball valve 12 |  | 10 |
|  | Ball valve 3/8 |  | 10 |
|  | Solenoid valve (3 ways) 1/4 |  | 20 |
|  | Solenoid valve for seal 1/4 |  | 20 |
|  | Steam trap wibt 15A |  | 10 |
|  | 3 way Air valve |  | 10 |
|  | Vacuum pum KT-100E |  | 30 |
|  | Filter main |  | 10 |
|  | Transformer (Tes 1/4) |  | 10 |
|  | Source steam valve (T-150 BD 3/4) |  | 10 |
|  | Thermo Resistance (HKP-15) |  | 10 |
|  | Thermo couple (C-1) |  | 10 |
|  | Puper for record |  | 5000 |
|  | 3 Way Air valve | SV062SE-80-2W | 10 |
|  | Safty valve |  | 10 |
|  | Pressure reducing valve RD-IT23/4 |  | 10 |

| 02-05-00091 | EQUIPENT AUTOCLAVE MODEL: VND V/3/48 220/380V,50HZ,9KW.14.5A COMPANY NAME:ODELGA A-1160 WIEN KOPPSTR.103 AUSTRIA QUNTITY INSTALLED 10 |  |  |
| --- | --- | --- | --- |
|  | PISTON ASSEMBLY | 464-905 | 6 |
|  | HEATING ELEMENT |  | 10 |

| 02-05-00092 |  | EQUIPMENT:Horizontal Autoclaves No: Box25 AND2 MODEL: 2 horizontal Autoclaves K O/60 X95,380 V Made of Stainless steel Working pressure 2.5 bar 2x2 door-Central closure automatic control SV3 sterilization of solids vaccum pump 10604-Independ- ant automtic steam generater Q25 x 55 made of st. Electric 16KW voltage: 380v VPRI+C 18KW Type Lx400 steel. COMPANY NAME:LEQUEUX QUANTITY INSTALLED:15 |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | 02624 A | Pump LRMA 10604 0.75kw 50 |  | 5 |  |
|  | 02640 A | Pump TKM 80 380 |  | 5 |  |
|  | 01622 B | Bowl TAP MA LN 12/17 |  | 5 |  |
|  | 01138 A | Manometer 60G602-1 + 3B |  | 20 |  |
|  | 01138 B | Manometer 60G602-0 + 6B |  | 20 |  |
|  | 01699 A | Drainer AV 10 15 x 21 |  | 5 |  |
|  | 01990 A | Valve 34600 125 |  | 5 |  |
|  | 01711 D | Valve 983 G1 4.2B 12/17 |  | 20 |  |
|  | O1733 A | Poral Filter 23.8/74 3002 |  | 20 |  |
|  | 01718 B | Filter strainer BR 1125 15 |  | 15 |  |
|  | 01695 A | Snifting valve 1821 15/21 |  | 10 |  |
|  | O1823 A | Thermo cont 25+ 150 100 |  | 10 |  |
|  | 02036 A | Thermo Stat RU 7180+300 |  | 20 |  |
|  | 02209 C | Mamostat SP 6K |  | 10 |  |
|  | 02029 B | Mamostat SP 16K ss capot. |  | 15 |  |
|  | 01242 A | Resist C6CU 16K 3 X 380 Complete. |  | 30 |  |
|  | 02785 A | Elect Valve |  | 20 |  |
|  | 01901 A | Elect Valve 13800 169 24V |  | 20 |  |
|  | 01902 A | Elect Valve 14000 003 24V |  | 30 |  |
|  | 01855 A | Recerd. K-1+50/150 8H 24V |  | 5 |  |
|  | 01428 B | Transformer 100 VA 42 751 |  | 15 |  |
|  | 01390 A | Fuse Holder 21 471 |  | 20 |  |
|  |  | Cartridge fuse 10 A 10 X 38 GF |  | 60 |  |
|  |  | Cartridge Fuse 4 A 10 X 38 AM |  | 60 |  |
|  |  | Cartridge Fuse 6A |  | 60 |  |
|  |  | Cartridge Fuse 2A 10 x 38 AM |  | 60 |  |
|  | 01355 A | Miniruptor 83.100.01 W 3 |  | 5 |  |
|  | 03112 A | Switcher 400- 1005- 024 -GFS-60 |  | 15 |  |
|  | 03113 A | Push botten 4000 101 024 GFS 60 |  | 10 |  |
|  | 03114 A | Signal Light 4000 970 B |  | 60 |  |
|  | 03109 A | Aux contact ZB2 BE 101 |  | 5 |  |
|  | 03109 A | Aux contact ZB2 BE 102 |  | 5 |  |
|  | 02010 B | Progra KKB 5020B12524 Complete |  | 10 |  |
|  | 03107 A | Inter TETE ZB2 BD2 |  | 5 |  |
|  | 02004 A | Timer KOF 1 E1 3/30 24 |  | 10 |  |
|  | 01494 A | Relay DMR 24V CA007 40912 |  | 10 |  |
|  | 1290 C | Relay CA2 FN 131 24V |  | 10 |  |
|  | 01304 E | Contactor LCI D 253 B 24 |  | 10 |  |
|  | 01304 A | Contactor LCI D 093 B 24 |  | 10 |  |
|  | 01302 | Therm LRI DO9 307 I 6-2.5 |  | 10 |  |
|  | 1302 | Therm LRI DO9 306 I,1.6 | 10 |  |  |
|  |  | Therm LRI DO9 308 2.5-4 | 10 |  |  |
|  | 2005 | A Timer KOG IIIA 180 24V | 15 |  |  |
|  | 2008 | A Timer KOG 2IIA 1 3 H 24V | 5 |  |  |
|  | 2005 | B Timer KOG IIIA330S. 24V | 5 |  |  |
|  | 03111 | A Signal Light 4000-2-024-GFS 60 | 60 |  |  |
|  | 2514 | C Door Gasket | 20 |  |  |
|  | 01695 | A Blow Valve 1821 15/21 | 10 |  |  |

|  |  | Model :- AP6B EAP 380V |  |
| --- | --- | --- | --- |
|  | 01304 A | Contactor LC1D09324 | 5 |
|  | 01309 A | Main cutter device T20 EA | 5 |
|  |  |  | sub 20A LCID253 |
|  | 1350 A | ON-OFF switch button 31261 | 5 |
|  | 01290 C | Relay CA2FN131 24V | 5 |
|  | 01201 | Heatin element A162 | 30 |
|  | 01314 | Lamp olten 24V | 60 |
|  | 01827 B | Thermometer IFC80 50+350 | 5 |

| 02-05-00093 | EQUIPMENT: Ultrasound unit Doppler MODEL: IM1000 COMPANY NAME: Ausonics company, Australia(Group of Nuclars) QUANTITY INSTALLED:12 |  |  |
| --- | --- | --- | --- |
|  | Probc 3.5 mHz | 007-483 | 10 A |
|  | Probe 5 mHz |  | 5 A |
|  | TGC Board | 040-728 | 3 A |

| 02-05-00094 | EQUIPMENT : HB meter MODEL: HB-N COMPANY NAME:C-ITOH, Japan QUANTITY INSTALLED: 75 |  |  |  |
| --- | --- | --- | --- | --- |
|  | Photo Cell |  |  | 20 A |
|  | Power PC Board |  |  | 50 A |
|  | Transformer |  |  | 10 A |
|  | Rotary Resistance |  |  | 20 A |
|  | Circuit Plate A |  |  | 20 A |
| 02-05-00095 | EQUIPMENT : HB meter MODEL: HB214 COMPANY NAME:C-ERMA QUANTITY INSTALLED: 75 |  |  |  |
|  | CILILOSE STANDAR SOLUTION |  |  | 50 |

| 02-05-00096 | EQUIPMENT : Billrubin - meter MODEL:CAPLIAX 111 COMPANY NAME: SAKURA QUANTITY INSTALLED:13 |  |  |
| --- | --- | --- | --- |
|  | STANDER 20 |  | 20 |

| 02-05-00097 | EQUIPMENT : Billrubin - meter MODEL: Micro Billmeter COMPANY NAME: ERMA INC, Japan QUANTITY INSTALLED:120 |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Main PC Board |  |  | 50B |  |
|  | Power PC Board |  |  | 50B |  |
|  | Sample Holder Assy |  |  | 10B |  |

| 02-05-00098 | EQUIPMENT: PH Meter, MODEL: HGC-10 COMPANY NAME: DKK, Japan QUANTITY INSTALLED:13 |  |  |
| --- | --- | --- | --- |
|  | PH electrode | 1312GC | 30 |
|  | FILTER |  | 10 |

| 02-05-00099 | EQUIPMENT : Flame photometer MODEL:PF COMPANY NAME: Jenway Ltd QUANTITY INSTALLED:75 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Nebulizer (complete) |  |  | 30A |  |  |
|  | Compressor |  |  | 10A |  |  |

| 02-05-00100 | EQUIPMENT : SPECTROPHOTO METER MODEL: Specol 10 COMPANY NAME : Carl Zeiss, Germany QUANTITY INSTALLED:300 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Indicating inst |  | 558-5616 | 50A |  |  |
|  | Blue Photo Cell |  | 211-891/1 | 50A |  |  |
|  | Red Photo Cell |  | 211-892/8 | 50A |  |  |
|  | Potentiometer |  | 146-208/4 | 150A |  |  |
|  | PCB |  |  | 50A |  |  |
|  | CUVATT |  |  | 100 |  |  |

| 02-05-00101 | EQUIPMENT:Anaesthesia MODEL: BN-75 COMPANY NAME: Carba, Switzerland QUANTITY INSTALLED: 75 |  |
| --- | --- | --- |
|  | Vaporizer (Flothen) Flotic-3 | 100 |
|  | Valve spindle complete for oxygene | 10 |
|  | Valve spindle complete for nitrogene | 10 |
|  | Oxygene gauge N-59000-011 | 20 |
|  | Nitrous oxide gauge N-5900-008 | 20 |
|  | O2Z3.173616 | 10 |
|  | N2OZ.17347 | 10 |
|  | N18000-069A O-ring | 50 |
|  | Z416829 cone | 20 |
|  | O2block Z9.16097 | 20 |
|  | Gasket Z4-11445 | 100 |
|  | N18000-040A O-ring | 100 |
|  | Z4-16221 cap. | 20 |
|  | N2OSafety Z9.16118 interlock | 20 |
|  | Pipeline block Z9.15999 | 50 |
|  | Complete flow meter for oxygene + nitrogene | 10 |
|  | On-Off knob complete for oxygene + nitrogen | 10 |
|  | Z4.14779 sealing ring | 50 |
|  | N4 859000-008 manometer D50 1/8" V 0-100 bar | 20 |
|  | N4 59000-011 manometer D50 1/8" V 315 bar | 20 |
|  | Contineous flow vaporizer for flouothane | 50 |

| 02-05-00102 | EQUIPMENT:Endoscope MODEL: GIF-XQ10 , XQ20 COMPANY NAME: Olumpus, Japan QUANTITY INSTALLED:30 |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Biopsy Valve |  |  |  | 5 |
|  | GM8204 3.2 lux channel |  |  |  | 10 |
|  | GM8203 2.0 lux channel |  |  |  | 20 |
|  | GM1466 check valve |  |  |  | 5 |
|  | GM9099 O ring |  |  |  | 20 |
|  | GP0516 O rign |  |  |  | 20 |
|  | S.Nut |  |  |  | 5 |
|  | AW.Nut |  |  |  | 5 |
|  | Knob ornament |  |  |  | 5 |
|  | Air valve |  |  |  | 10 |
|  | Suction valve |  |  |  | 10 |
|  | O.Ring for water inlet |  |  |  | 30 |
|  | F.Mask |  |  |  | 10 |

| 02-05-00103 | EQUIPMENT:Endoscope MODEL: GIF - P10 & P20 COMPANY NAME: Olympus QUANTITY INSTALLED:30 |  |  |
| --- | --- | --- | --- |
|  | ZB72090A NS-Unit for GIF-P10 | 5 |  |
|  | ZB5768.L.G connecting tube. | 5 |  |
|  | GS0181 G-Channel | 5 |  |
|  | GM8156 2.4 1ux channel | 5 |  |
|  | GM8203 2.0 1ux channel | 10 |  |
|  | GM9040 O ring | 20 |  |
|  | GS9017 O ring | 20 |  |
|  | GS9016 O ring | 20 |  |
|  | GS0557 F-mask | 5 |  |
|  | GS9001 O ring | 20 |  |
|  | GS9005 O ring | 20 |  |
|  | ZB5890 cover glass unit | 5 |  |
|  | ZB 5778 eyepiece unit | 5 |  |
|  | GS9006 O ring | 20 |  |
|  | GS9007 O ring | 20 |  |
|  | GS9009 O ring | 20 |  |
|  | GS9008 O ring | 20 |  |
|  | GS9011 O ring | 20 |  |
|  | GS9002 O ring | 20 |  |
|  | GS0555 Wire stopper | 20 |  |
|  | ZB 60006 IG mont unit | 5 |  |
|  | GS 50054 2.7 IG mount | 54 |  |
|  | GM 8212 lead wire - Green | 10 |  |
|  | GM 8213 lead wire - Orang | 10 |  |
|  | GM 8278 lead wire - Blue | 10 |  |
|  | GM 8279 lead wirw - white | 10 |  |
|  | A-Rubber | 10 |  |

| 02-05-00104 | EQUIPMENT:Endoscope MODEL: GIF-P3 COMPANY NAME:Olumpus, Japan QUANTITY INSTALLED:30 |  |
| --- | --- | --- |
|  | NS-Unit for GIF-P3 ZB54720A | 5 |
|  | ZB168500 L.G connecting tube. | 5 |
|  | GM146600 check valve | 5 |
|  | GM278200 valve | 10 |
|  | CP0516 O ring | 20 |
|  | GP4343 F-Mask | 5 |
|  | GM9099 O ring | 20 |
|  | GP884900 Connecting Base | 10 |
|  | GM442200 Plate | 20 |
|  | GQ003600 Stoppers | 20 |
|  | GP250700 2.6 screw | 20 |
|  | GP07600 Stoppers | 5 |
|  | GP307600 W.moth piece | 5 |
|  | GM8204 3.2 Lux channel | 10 |
|  | GP4064 Resistor | 5 |
|  | GP3078 S.mouth piece | 5 |
|  | GM8203 2.0 lux channel | 5 |
|  | GP4346 L-Ring | 5 |
|  | GP4344 F-mask | 5 |
|  | GP0594 Contact pin | 35 |
|  | WE107034 Screw PSK 1.4*3.5 SB | 50 |
|  | WE115179 Screw PUK 1.7*2.5 SA | 100 |

| 02-05-00105 | EQUIPMENT:Lung Ventilation Equipment, Manley Ventilator MODEL: MN2 COMPANY NAME:Blease Medical Equipment Ltd., UK QUANTITY INSTALLED:120 |  |
| --- | --- | --- |
|  | 630114 V1 Valve | 50 |
|  | M3200 V2 Valve | 50 |
|  | 63.02128 V3 Valve | 50 |
|  | ST 2105 B2 Bellows | 100 |
|  | ST 2105/1 B1 Bellows | 100 |
|  | ST 2105/4 Neg. Bellows | 100 |
|  | V3 Valve diaphragm 2500 17 | 200 |

| 02-05-00106 | EQUIPMENT: DENTAL UNIT MODEL: Belmont Comp. 350 COMPANY NAME: TAKARA BELMONT QUANTITY INSTALLED:200 |  |
| --- | --- | --- |
|  | Air Turbine 4-holes Midwest | 250A |
|  | contra-angle Complete | 250A |
|  | Cartridge for air turbine T-180103 | 500A |
|  | Cartridge for air turbine T-181103 | 500A |
|  | Air Motor complete 4-hole | 250A |
|  | CARTIG FOR CONTRA ANGLE | 1000 |
|  | MIDDL SHIFT FOR CONTRA ANGLE | 1000 |
|  | TRIBLE SRING COMPLET | 500 |
|  | HALOGEN BULB FOR 048 | 2000 |
|  | TUBING FOR AIR MOTOR 4/3 LINE(350-057) | 500 |
|  | MICRO PILOT VALVE NC | 300 |
|  | MICRO PILOT VALVE NC NO | 300 |
|  | MASTER VALVE ASSEMPLY (350-010) | 300 |

| 02-05-00107 | EQUIPMENT: DENTAL UNIT MODEL: New Leo COMPANY NAME: J. MORITA CORPORATION QUANTITY INSTALLED:300 |  |
| --- | --- | --- |
|  | Roter For angle handpiece 0311 | 2000A |
|  | Contra- angle complete 145152 | 250A |
|  | Triple syring complete | 200A |
|  | Turbine handpiece | 200A |
|  | Middle shaft cartridge | 1000A |
|  | Air motor complete | 50A |
|  | JOINT FOR TURBIN HANDPICE 134355 | 200 |
|  | VALVE BUDY ASSEMPLY 065108 | 100 |
|  | DUBLE SIRING 133456 | 200 |
|  | HULOGEN BULB | 1000 |

| 02-05-00108 | EQUIPMENT: Dental Unit MODEL: KAVO 1033 COMPANY NAME: Kaltenbach & voigt GMBH & Co, Germany QUANTITY INSTALLED:100 |  |  |
| --- | --- | --- | --- |
|  | Super torque turbine hand-piece | 553 2100 | 50 |
|  | Cartridge for turbine 630 | 553 5857 | 150 |
|  | Set of Bards for unit |  | 25 |

| 02-05-00109 | EQUIPMENT: Infant Incubator and Resuscitater MODEL: 89 + 165 COMPANY NAME: VICKERS QUANTITY INSTALLED:100 |  |  |
| --- | --- | --- | --- |
|  | Canopy-With Fittings | 089-11-002 | 10 A |
|  | Heater 500/240 | 185-09001 | 100 A |
|  | Lamp-Floru 15W | 14685-45 | 400 A |
|  | Switch-Starter | 80006 | 2000 A |
|  | Capacitor 4mF 250V | 14687 | 50 A |

| 02-05-00110 | EQUIPMENT: Isolete Infant Incubator MODEL: C-86 COMPANY NAME: AIR SHIELDS Co., USA QUANTITY INSTALLED:100 |  |  |
| --- | --- | --- | --- |
|  | Iris port sleve | 1261500 | 5000 |
|  | Thermistor | 26-503-10 | 200 |
|  | Thermostat Capsule | 26-557-70 | 200 |
|  | Potentiometer W/W afer SW | 17-529-44 | 200 |
|  | Twist Lock Socket 220V | 12-501-00 | 200 |
|  | Power Cord Assy 220V | 12-550-70 | 100 |

| 02-05-00111 | COMPANY NAME: IVAC, USA EQUIPMENT: Volumetric Infusion pump MODEL:l IVAC 630 QUANTITY INSTALLED:400 |  |  |
| --- | --- | --- | --- |
|  | Board Assy Interconnect | 125076 | 50 |
|  | Power regulator | 125275 | 25 |
|  | Logic Board Assy | 125125 | 25 |
|  | IC | 302121 | 100 |
|  | IC | 302122 | 100 |
|  | IC | 302194 | 100 |
|  | IC | 125008 | 100 |
|  | FILL SENSOR |  | 10000 |

| 02-05-00112 | EQUIPMENT: Ultrasound diagnostic MODEL: sonoline sx / ccir.+SL/1 COMPANY NAME: Siemens ag/Germany QUANTITY INSTALLED: 20+10 |  |
| --- | --- | --- |
|  | Linear array 3.5 mh 2/s1 std. Scan lenght 11.4 cm cat. No. 8339 509. | 50 |
|  | Cda-sector medium focus 3.5mhz cat no. 54 47 388 | 50 |
|  | Service Manal for sx/ccir & S1-1/ccir | 2 Set |
|  | power supply board | 5 |
|  | prop 10 MHZ | 1 |
|  | FAN MOTOR | 5 |

| 02-05-00113 | EQUIPMENT: HEMODIALYSIS MACHINE MODEL: A1008d COMPANY NAME:FRESENIUS AG QUANTITY INSTALLED: 60 |  |  |
| --- | --- | --- | --- |
|  | Float switch | 6501211 | 30A |
|  | PVC tube | 5452041 | 40A |
|  | Silicon tube. | 545364 | 40A |
|  | silicon tube. | 5453721 | 50A |
|  | Clip (block) fordial tube | 5727211 | 50A |
|  | Filter hydro block A1008D | 6500771 | 50A |
|  | Throttle constaund flow | 5662471 | 50A |
|  | Heater bar | 6412721 | 100A |
|  | Balancing chamber CP1 | 5662231 | 40A |
|  | Silicon tube | 5453561 | 50A |
|  | Dialysate connector red | 6419841 | 20A |
|  | Dialysate connector blue | 6419851 | 20A |
|  | Level sensor | 6300171 | 40A |
|  | Throttle recirculation | 5662261 | 50A |
|  | Throttle glass fororfice (4W) | 6502801 | 50A |
|  | Orifice (4L) | 5662481 | 50A |
|  | P.C.B 287C | 6509121 | 20A |
|  | P.C.B 241 | 6504141 | 20A |

| 02-05-00114 | EQUIPMENT: WATER TREATMENT FOR KIDNY MACHINE MODEL: WATER SOFTENER COMPANY NAME:.Gulligan International Co. QUANTITY INSTALLED:50 |  |
| --- | --- | --- |
|  | Raw Water Pressure system | 30A |
|  | RIV 40 x 25 | 50A |
|  | BIV 32 | 50A |
|  | Valve 32 (Plain) | 50A |
|  | RIV 32 x 25 | 50A |
|  | RIV 40 x 20 | 50A |
|  | Tube tangit PVC adhesiv | 50A |
|  | TEG 90 @ 40 TIV | 50A |
|  | Union 50 @ 25 BIV | 50A |
|  | Valve 3 Way | 50A |
|  | Model filter TW (30-4641) | 20A |
|  | Model filter type (4406-93) | 20A |

| 02-05-00115 | EQUIPMENT: Hemodialysis machine Model : AK 10 COMPANY NAME: GAMBRO QUANTITY INSTALLED:75 |  |  |
| --- | --- | --- | --- |
|  | Power supply board (1) | K04538 H | 30 |
|  | Motor control board (2) | K04447004 | 30 |
|  | Control Logic board (3) | K12284001 | 30 |
|  | Moonting plate compl. | K05998 A | 30 |
|  | Condoctinity meter | K04651001 | 40 |
|  | Temperature Meter | K04650001 | 40 |
|  | Negative pressure meter | K07107001 | 40 |
|  | Power supply board meter | K04538 G | 40 |
|  | Motor control board | K04525 F(DEM) | 40 |
|  | Microprocessor I board | K10229002 | 40 |
|  | Analog guard boord | K04528 E | 40 |
|  | Microprocessor II board | K10229002 | 40 |
|  | Meatin certridge | K04981001 (24ov) | 50 |
|  | Vessel | K04694 A | 20 |
|  | Over heating guard | K07422 A | 40 |
|  | Proportioning valve | K05585 B | 40 |
|  | Pomp with motor | K04810 A | 20 |
|  | Pompoint comp. | K04585 D,F,H,L | 20 |
|  | soction tobe complete | K12054001 | 20 |
|  | Degesin uint | K04621 A | 20 |
|  | Conuctinity ceel | K04629 B | 20 |
|  | O-ring | 100319008 | 50 |
|  | O-ring | 100319032 | 50 |
|  | O-ring | 100319026 | 50 |
|  | O-ring | 100335001 | 50 |
|  | O-ring | 100319009 | 50 |
|  | By pass block assy | K06301002 | 20 |
|  | Tempertere transducer | K04857001 | 40 |
|  | blood leak detector | K06163001 | 40 |
|  | Flow meter assy. | K04622A | 40 |

.

| 02-05-00116 | EQUIPMENT NAME: KIDNEY MACHINE MODEL: NYCOTRON COMPANY NAME: NYCOTRON QUANTITY INSTALLED:20 |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Water pressure adj. Compl. | 56310 002 | 5 |  |  |
|  | Cond. Cell 11 | 56310 038 | 3 |  |  |
|  | Conn. W/.3.8 " Gyroolock | 56310 039 | 10 |  |  |
|  | Blending Chamber | 56310 042 | 5 |  |  |
|  | Hydr.M. Valve water inlet on/off | 56320 004 | 5 |  |  |
|  | Thermistor Unit 53 Blue-Plug | 56320 010 | 15 |  |  |
|  | Thermistor Unit 54 Orang-Plug | 56320 013 | 15 |  |  |
|  | Thermistor Unit 52 Blue- Yellow-Plug | 56320 012 | 15 |  |  |
|  | Power supply compl. | 56320 018 | 3 |  |  |
|  | Blood pressure unit compl. | 56330 025 | 5 |  |  |
|  | Scket 22 Pins For C.B | 56330 039 | 5 |  |  |
|  | Diff. Trafo unit. | 56310 029 | 3 |  |  |
|  | Knob/4mm shaft. | 56340 013 | 3 |  |  |
|  | Hydr. Main Valve | 56320 001 | 2 |  |  |
|  | heat Exhanger | 56320 040 | 1 |  |  |
|  | Socket J5 | 56320 005 | 5 |  |  |
|  | Thermistor terminal n.p.v | 56310 023 | 1 |  |  |
|  | Thermistor Q5 MJE 521 56350 018 |  | 10 |  |  |
|  | Fuse 1.6 A.F 1601 |  | 50 |  |  |
|  | IC 709 |  | 20 |  |  |
|  | IC C 710 |  | 20 |  |  |
|  | IC C 741 |  | 30 |  |  |
|  | IC LM 555 |  | 50 |  |  |
|  | IC 8038 |  | 30 |  |  |
|  | IC 1458 |  | 30 |  |  |
|  | IC LM 709 |  | 30 |  |  |
|  | Q2N 4401 |  | 30 |  |  |
|  | Q2N 4403 |  | 30 |  |  |
|  | Q2N 3906 |  | 30 |  |  |
|  | QBC 212 KA |  | 30 |  |  |
|  | QBC 182 KA |  | 30 |  |  |
|  | Tranasistor 2N 5458 |  | 30 |  |  |
|  | QMJE 371 |  | 30 |  |  |
|  | Tranasistor 2N 4037 |  | 30 |  |  |
|  | Diode in 5237 |  | 20 |  |  |
|  | diode in 5236 |  | 20 |  |  |
|  | Diode in 914 |  | 50 |  |  |
|  | BC 40 C2200 |  | 10 |  |  |
|  | BY 179 |  | 10 |  |  |
|  | Diode in 5232 |  | 10 |  |  |
|  | Diode in 5240 |  | 10 |  |  |
|  | RI 10 V 23012 | 56360 005 | 5 |  |  |
|  | RI 1401 | 56360 006 | 5 |  |  |
|  | Til 209 Led |  | 20 |  |  |
|  | Timer motor complete | 56330-021 | 10 |  |  |
|  | Tubing for BP unit | 56330-027 | 1m |  |  |
|  | Front meter temp | 56340-008 | 2 |  |  |
|  | Front meter concentration | 56340-009 | 3 |  |  |
|  | Priming buttom complete | 56340-017 | 3 |  |  |
|  | Power cable compl. | 56350-015 | 20m |  |  |
|  | Dialyser tube.3.8 | 56370-012 | 20m |  |  |
|  | concetrate tube weight | 56370-002 | 10 |  |  |
|  | Nylon screw | 56350-021 | 20 |  |  |
|  | C 100 MF 40 V |  | 50 |  |  |
|  | C 22 MF 25V |  | 30 |  |  |
|  | C 150 MF 6.3 V |  | 30 |  |  |
|  | C 2200 MF 35 V |  | 10 |  |  |
|  | C 10 MF |  | 10 |  |  |
|  | Tranasistor 7812 |  | 10 |  |  |
|  | Tranasistor 7912 |  | 10 |  |  |
|  | Recitifier 2200 |  | 10 |  |  |
|  | Recitifier 3300 |  | 10 |  |  |
|  | Diode in 4004 |  | 20 |  |  |

| 02-05-00117 | EQUIPMENT: PHOTOTHERAPY MODEL HERAEUS COMPANY NAME DRAGER QUANTITY INSTALLED 100 |  |  |  |
| --- | --- | --- | --- | --- |
|  | Burner Q 406Z7 | 2M18185 | 56001200 | 100 |
|  | plexiglass filtter | 2M18783 | 56011791 | 10 |
|  | Lanition device 46A 220Va.c/60HZ | 56018873 | 56018373 | 15 |
|  | Fan 15W,220V a.c/50 HZ | 5601815 | 6001815 | 20 |

| 02-05-00118 | EQUIPMENT:-Electro phorisis MODEL:-Chromoscan 3/joyce loebl COMPANY\MANUFACTURER:-Vickers company QUANTITY :-1 SITE :-Medical city\ Hospital laboratory building |  |  |
| --- | --- | --- | --- |
|  | printid head |  | 2 |
|  | set of bells |  | 2 |

| 02-05-00119 | EQUIPMENT:-Automatic Acoustic impedance meter MODEL:-Ap 65 COMPANY\MANUFACTURER:-Peters QUANTITY :-5 SITE :-Medical city\ Hospital consulting building |  |  |
| --- | --- | --- | --- |
|  | Set of spare parts |  |  |

| 02-05-00120 | EQUIPMENT:-Apnea /respiration monitor MODEL:- COMPANY\MANUFACTURER:-Air shield QUANTITY :-10 SITE :-Medical city\ Hospital Baghdad |  |  |
| --- | --- | --- | --- |
|  | Transducer ,blue cover | 0350059 | 250 |
|  | printer circuit board | 0350024 | 5 |
|  | Switch ,toggle spot | 0350013 | 5 |
|  | Switch, rotary | 0350021 | 10 |
|  | Alarm andible | 1765221 | 5 |
|  | R20,21 | 1721514 | 10 |

| 02-05-00121 | EQUIPMENT:-Cryostat MODEL:-TE COMPANY\MANUFACTURER:-Slee group of companies-london QUANTITY :-1 SITE :-Medical city\ Hospital laboratory building |  |  |
| --- | --- | --- | --- |
|  | Compresor | danfos sc18 cxt2 | 1 |

| 02-05-00122 | EQUIPMENT:-YAG lasser MODEL:-7970 SE.no. 770516 COMPANY\MANUFACTURER:-coherent-manuf june 1989 QUANTITY :- SITE :-Medical city\ Hospital surgical |  |  |
| --- | --- | --- | --- |
|  | IC | 0610-818-02REV.H | 1 |
|  | IC | 0610-818-01REV.H | 1 |
|  | IC | XLS 2816AP-300 8825 | 1 |

| 02-05-00123 | EQUIPMENT:-Mingograph EEG MODEL:-EEC junior -8channl COMPANY\MANUFACTURER:-Siemens QUANTITY :-1 SITE :-Medical city\ Hospital consuleting |  |  |
| --- | --- | --- | --- |
|  | Galvano meter | 722235E039E | 24 |
|  | Paper |  | 50 |
|  | Electrode cable |  | 3 set |
|  | Electrodes |  | 3 set |
|  | Pump |  | 3 |

| 02-05-00124 | EQUIPMENT:-Mingograph EEG MODEL:-EEG 21 COMPANY\MANUFACTURER:-Siemens QUANTITY :-2 SITE :-Medical city\ Hospital consuleting clinic surgical houspital |  |  |
| --- | --- | --- | --- |
|  | Galvanometer | 6729551E173E | 72 |
|  | Electrode cable |  | 75 |
|  | Writing fluid | 9002064E100E | 150 |
|  | Paper |  | 150 |
|  | Ekectrodes |  | 6 set |

| 02-05-00125 | EQUIPMENT:- ULTRA SOUND MODEL:- 1846 COMPANY\MANUFACTURER:- BRUL & KJAER QUANTITY :- SITE :-Medical city\ Hospital |  |  |
| --- | --- | --- | --- |
|  | PROBE TRANDUCER 7 MHZ | 8551 | 6 |
|  | DUAL HEAD SECTOR TRANSDUCER | 8529 | 2 |
|  | PROBE | 1849 | 4 |

| 02-05-00126 | EQUIPMENT:- TREDMIL MODEL:- COMPANY\MANUFACTURER:- SIEMENS QUANTITY :-2 SITE :-Medical city\ Hospital |  |  |
| --- | --- | --- | --- |
|  | STYLUS |  | 6 |
|  | PATIENT CABLE |  | 2 |

| 02-05-00127 | EQUIPMENT:- TREDMIL MODEL:- AO COMPANY\MANUFACTURER:- PICKER INTERNATIONAL QUANTITY :-4 SITE :-Medical city\ Hospital |  |  |
| --- | --- | --- | --- |
|  | STYLUS |  | 4 |
|  | PATIENT CABLE |  | 3 |

| 02-05-00128 | EQUIPMENT:- CENTRAL STATION MODEL:- COMPANY\MANUFACTURER:- SEIMENS QUANTITY :-1 SITE :-Medical city\ Hospital BAGHDAD |  |  |
| --- | --- | --- | --- |
|  | PATIENT CABLE |  | 7 |

| 02-05-00129 | EQUIPMENT:-CENTRAL STATION MODEL:- AO COMPANY\MANUFACTURER:- PICKER INTERNATINAL QUANTITY :-10 SITE :-Medical city\ Hospital |  |  |
| --- | --- | --- | --- |
|  | PATIENT CABLE |  | 50 |
|  | STYLUS |  | 10 |
|  | ROLLER |  | 5 |

| 02-05-00130 | EQUIPMENT:-CT SCANER MODEL:-SOMATOM DR3 -POLYDOROS GENERATOR COMPANY\MANUFACTURER:-Siemens QUANTITY :-1 SITE :-Medical city\ Hospital BAGHDAD |  |  |
| --- | --- | --- | --- |
|  | D17221500 4026 ELECTROON | 7221500 | 2 |
|  | BOARD D15 | 8353336 X 1626 | 1 |
|  | D1-17221708 | GR 026 | 2 |
|  | D2 -7221626 | GR026 | 2 |
|  | D5 -7467798 | GR036 | 2 |
|  | FLOPPY DISK CONTROLER M7745ROX M82564717567 | 501289 1D | 1 |
|  | D1-27221724 |  | 2 |
|  | D147221765 |  | 2 |

| 02-05-00131 | EQUIPMENT:-X-RAY UNIT MODEL:-SIREMAT COMPANY\MANUFACTURER:-Siemens QUANTITY :-1 SITE :-Medical city\ Hospital BAGHDAD |  |  |
| --- | --- | --- | --- |
|  | 7218704G | 5207-01198 | 1 |
|  | VIDEOMED H-R CAMERA COMP |  | 1 |
|  | 21851-A1 | 12492 50 H2 | 1 |
|  | SET OF BOARDS FOR CAMERA CNTROL FOR VIDEOMED H-R | 7218704 | 1 |
|  | MONETPR SCREAN FOR MONETOR MODEL | 7297419Q5205C | 1 |
|  | CARRIAGE | 4004669G5167 | 1 |
|  | CONTROL CONSOLE WITH PROGRAMING ATTACHMENT FOR BICOR / COROSCOP C SIMENCE -ELEMA |  | 1 |
|  | SIMEUCE MOUITOR SERIAL NO 01803 MODIFECATION | 8714560 X 1765 1765-220V 1 PHASE | 2 |
|  | LAMP FOR TAGR NO 35A (CINE PROJECTOR TAGR NO 35AX ) |  | 4 |
|  | H.T. GENERATOR MODEL SERIAL NO. 64905601 D54 ADEPTER | 7240088 X 1415 | 1 |
|  | IMAGE INTENSIFIER OPTI-LU LATERAL1712HD | 8832776 V5760 | 1 |
|  | IMAGE INTENSIFIER FRONTRAL OPTI-LUX | 27HD -TRIPLEX MODEL 8832719V5050 | 1 |

| 02-05-00132 | EQUIPMENT:-CAMERA MODEL:-VIDEO MED COMPANY\MANUFACTURER:-Siemens QUANTITY :-1 SITE :-Medical city\ Hospital BAGHDAD |  |  |
| --- | --- | --- | --- |
|  | BOARD Q4700902 | GE 001-B66 | 1 |
|  | BOARD VV9955791 | EOO1-B54 | 1 |
|  | BOARD H 2893063 | GE011-B58 | 1 |
|  | BOARD F 4737052 | GE001-B87 | 1 |
|  | BOARD Z 2893048 | GE001-B15 | 1 |
|  | BOARD S 4500910 | GE001-B17 | 1 |

| 02-05-00133 | EQUIPMENT:-CCU CAMERA CONTROL UNIT MODEL:- COMPANY\MANUFACTURER:-Siemens QUANTITY :-1 SITE :-Medical city\ Hospital BAGHDAD |  |  |
| --- | --- | --- | --- |
|  | STABLIZER BP C7945-A3001B804 | 4762530 X E001 | 1 |
|  | BOARD N1 C72411A3 7L34 | 4757258 X E001 | 1 |
|  | BOARD 1 C72411-A3-L671L68 | 473711 X GE001 | 1 |
|  | BOARD NV C72411-A3-L92 | 4418976 RH052 | 1 |
|  | BOARD S C72411-A3-L96 |  | 1 |
|  | BOARD H C72411-A3-L53 |  | 1 |
|  | BOARD KR C72411-A3L35 |  | 1 |
|  | BOARD DK C72411-A3-L18 |  | 1 |
|  | BOARD DV C72411-A3-L203 |  | 1 |
|  | MONETOR FOR D-SA | 8714511 X 1762 SERIAL NO. 0113 - MODIFCATION 1762 | 1 |

| 02-05-00134 | EQUIPMENT:- COMBILABER CBM -A8PROCESSING UNIT FOR CINE FILM MODEL:- COMPANY\MANUFACTURER:-Siemens QUANTITY :-10 SITE :-Medical city\ Hospital BAGHDAD |  |  |
| --- | --- | --- | --- |
|  | 09-02-FILM ROLLER | 064V473 | 10 |
|  | 09-10 FILM GAIDE ROLLER | 064V473 | 9 |
|  | 09-03 CEALING RING | 080C737 | 19 |
|  | 09-05 GEAR WHELL ASSY | 064V031 | 19 |
|  | 12-01 HEATING ELEMENT | 750W 064V139 | 4 |
|  | 12-02 THERMISTOR | 064V 003 | 4 |
|  | 12-02- PUMP | 064V115 | 4 |
|  | 12-07 P.C BOARD | 064V 694 | 4 |
|  | 13-01 TRANSPORT MOTOR ASSY | 064V 043 | 2 |
|  | 15-01 FILM GUIDE ASSY | 064V013 | 2 |

| 02-05-00135 | EQUIPMENT:- CIPRO 35N 35CINE FILM PROGECTOR MODEL:- CPW-A-35150 COMPANY\MANUFACTURER:-Siemens QUANTITY :-4 SITE :-Medical city\ Hospital BAGHDAD |  |  |
| --- | --- | --- | --- |
|  | CUPLEING PN | 4707683GE016 | 4 |
|  | PULLEY PN | 4707733GE016 | 4 |
|  | BELT PN | 4701280GE016 | 4 |
|  | TOOTH HEADWHEEL PN | 4707675GE016 | 4 |
|  | TOOTH HEADWHEEL PN | 4707568GE016 | 2 |
|  | COUPLING PN | 4708640GE016 | 2 |
|  | BOARD PN | 4701256GE016 | 1 |
|  | BOARD PN | 4701264GE016 | 1 |
|  | MOTOR PN | 7705148D0900 | 1 |
| 02-05-00136 | EQUIPMENT:- X-RAY MODEL:- PANADORSE 1200 COMPANY\MANUFACTURER:-Siemens QUANTITY :-1 SITE :-Medical city\ Hospital BAGHDAD |  |  |
|  | TV MONETOR SERIAL NO. 01079501 | 467231365024 | 2 |
|  | CASSET FOR CINE FILM ARRIECHO | 65098A | 1 |
|  | IMAGE INTENSIFIRE COMPLETE SERIAL NO. 01059 | 853Y01865307 | 1 |
|  | IMAG INTENSIFIRE | SICRON 2 | 1 |
|  | TV SYSTEM VIDEOMED 2 |  | 1 |
|  | TV MONETOR 44CM |  | 3 |

| 02-05-00137 | EQUIPMENT:- MOBIL XR NO. 01526 MODEL:- UB MED XR . 004/0606 COMPANY\MANUFACTURER:-Siemens QUANTITY :-2 SITE :-Medical city\ Hospital NURSSING HOUME |  |  |
| --- | --- | --- | --- |
|  | D1 MOTOR CONTROL & CHARGEING BOARD | 6462876 | 2 |
|  | D2 PACK PLANE | 6610208 | 2 |
|  | D3 CHARGE BOARD | 6725774 | 2 |
|  | D4 CAPACITOR BOARD | 6425634 | 2 |
|  | D5 VOLTAGE DISTRIBUTER | 6899520 | 2 |
|  | D6 D.C.POWER SUPPLY | 6762777 | 2 |
|  | D7 LOKING DIVICE CONTROL | 6899587 | 2 |
|  | D9 MICRO PROCESSOR BOARD | 6953368 | 2 |
|  | D16 INPUT / OUTPUT BOARD | 6899660 | 2 |
|  | D24 TUBE FILAMENT CONTROL | 6899660 | 2 |
|  | D8 ROTATION CONTROL BOARD | 6425956 | 2 |
|  | D13 INVERTER BOARD | 6425659 | 2 |
|  | D14 DISPLAY | 6790448 | 2 |
|  | D15 KEYBOARD | 6910099 | 2 |
|  | D18 DISPLAY –DRIVER | 6488996 | 2 |
|  | D19 LED -BOARD | 6788970 | 2 |
|  | D17 LOCKS & COLLIMAXORKY BOARD | 6821292 | 2 |
|  | D20 TRANSFORMAR BOARD | 6863013 | 2 |
|  | D23 FAN SUPER VISION | 6863492 | 2 |
|  | D25 RELAY BOARED | 6931687 | 2 |
|  | D10 PACK PLAN | 6462975 | 2 |
|  | D11 LED BOARD | 6762934 | 2 |
|  | D12 PHOTO , TRANSISTOR BOARD | 6762959 | 2 |

| 02-05-00138 | EQUIPMENT:- X-RAY MODEL:- GIGANTOS OPTIMATIC COMPANY\MANUFACTURER:-Siemens QUANTITY :-1 SITE :-Medical city\ Hospital BAGHDAD |  |  |
| --- | --- | --- | --- |
|  | D41 FOLLOW - UP AMPLIFIRE | 4364840 | 1 |
|  | D53 THRESHALD STAGE | 4030482 | 1 |
|  | D65 DUMMY PLUG | 1800911 | 1 |
|  | D69 AMPLIFIRE FOR FILAMENT CURRENT | 4241410 | 1 |
|  | D78 VOLTAGE SUPPLY | 7129992 | 1 |
|  | D87 ANALOGE CONVERTAR MAS | 1800671 | 1 |
|  | D88 KV -CONTROL | 1800507 | 4 |
|  | D93 TIME REPRESNTATION | 4031894 | 1 |
|  | D101 INTERFACE 1 | 1580507 | 1 |
|  | D102 INTERFACE 11 | 1580596 | 1 |
|  | D103 CONTROL CIRCUIT | 4018685 | 1 |
|  | D106 EQUIPMENT SELECTION | 1800333 | 1 |
|  | D106 TIMER | 4245809 | 1 |
|  | D108 LUMP FIELD CONTROL CIRCUIT | 2139095 | 1 |
|  | D110 DISTRIBUTRY | 4363925 | 1 |
|  | D111 CONTROL STAGE | 1801398 | 1 |
|  | D116 MEASURING FIELD | 1800853 | 1 |
|  | D125 VOLTAGE STABILLIZATION+15V | 1709179 | 1 |
|  | D130 SWITCHING STAGES | 1709278 | 1 |
|  | D131 LOGIC STAGE BOARD | 1801059 | 2 |
|  | D132 INPUT FILTER | 1709310 | 1 |
|  | D139 MAMMOGRAPHY & +,- BUTTON | 4242152 | 1 |
|  | D151 DUMMY PLUG CINE | 1985159 | 1 |
|  | D301 VOLTAGE STABILIZER __-15V | 6788913 | 1 |
|  | D302 FLUOROSCOPY ADE | 6610471 | 1 |
|  | D303 FLUOROSCOPY KV-NOMINAL VALUE | 6200497 | 1 |
|  | D304 THYRISTOR CONTACTOR | 6200505 | 1 |
|  | D305 THYRISTOR CONTACTOR STAGE | 6788731 | 1 |
|  | D306 KV -NOMINAL VALUE | 6610364 | 1 |
|  | D307 KV-AMPLIFIER | 6788756 | 1 |
|  | D308 FILMENT -TRIAC -CONTROL | 6516363 | 1 |
|  | D309 TRIAC STAGE | 6788749 | 1 |
|  | D314 DIODE BOARD | 6516447 | 1 |
|  | D316 SERIES MA MAX | 6618050 | 1 |
|  | D317 MS SWITCHING | 6655377 | 1 |
|  | D318 MAX R CORRECTION | 6788574 | 1 |
|  | D149 SWITCH OVER BOARD | 4367538 | 1 |
|  | D160 LIMIT BOARD | 4031845 | 1 |
|  | D319 CINE KV CONTROL | 6655443 | 1 |
|  | D57 EQUIPMENT SELECTION 11 | 1801034 | 1 |
|  | D58 EQUIPMENT SELECTION LOGIC | 4241394 | 1 |
|  | D60 CODER | 1800994 | 1 |
|  | D59 PROGRAM DISTRBUTER | 1801018 | 1 |
|  | D112 PROGRAM DISTRBUTER | 18018895 | 1 |
|  | D310 THYRISTOR -CONDUCTOR VOLTAGE STAGE | 6655013 | 1 |
|  | D311 THYRISTOR CONTECTOR TRIGGER STAGE | 6725704 | 1 |
|  | D312 KV MOTOR CONTROL | 6516322 | 1 |
|  | D71 ASSEMPLY GROUP | 1800523 | 1 |
|  | D72 RECTIFIER BOARD | 4018727 | 1 |
|  | D50 BRAKE DELAY | 1802206 | 1 |
|  | D52 GENARATOR | 1984855 | 1 |
|  | D53 AP -SELECTION DELAY | 4020798 | 1 |
|  | D55 TIMER BOARD | 1802222 | 1 |
|  | H1 HIGH VOLTAGE GENARATOR | 6633333 | 1 |
|  | T11 REGULATING TRANSFORMAR | 6631758 | 1 |
|  | D74 MEASSURING BOARD | 4033662 | 1 |
|  | D113 INDICATION BOARD | 1801323 | 1 |
|  | D 85 DIODE BOARD | 1801265 | 1 |
|  | D86 INDICATION UNIT | 1578533 | 1 |

| 02-05-00139 | EQUIPMENT:- X-RAY MODEL:- SIREMAT COMPANY\MANUFACTURER:-Siemens QUANTITY :-2 SITE :-Medical city\ Hospital BAGHDAD & NURSSING HOUM |  |  |
| --- | --- | --- | --- |
|  | D1 CONTROL CIRCUIT BOARD | 4084885 | 1 |
|  | D2 OVER VOLTAGE MONITORING | 4084869 | 1 |
|  | D3 UNDER VOLTAGE MONITORING | 4084901 | 1 |
|  | D4 SERIES CONTROLLER | 7227127 | 1 |
|  | D5 A -D POWER SUPPLY MODULE | 4083275 | 4 |
|  | D6 MONITORING CIRCUIT BOARD | 4084943 | 1 |
|  | D7 VOLTAGE REDUCTION | 5436183 | 1 |
|  | D10 FILTER CIRCUIT BOARD | 4081972 | 4 |
|  | D11 LSL OUTPUT STAGE | 4084380 | 4 |
|  | D28 SMALL MOTOR CONTROL | 4051969 | 2 |
|  | D36 AUXILIATY KIM CONTROL | 7227341 | 2 |
|  | D53 REQUIRED -VALUE GENERATOR FOR MOTOR CONTROL –C | 4084489 | 4 |
|  | D54 MOTOR CONTROL | 4084927 | 4 |
|  | D55 DERIVER STAGE | 7356678 | 4 |
|  | D56 POWER SUPPLY UNIT | 4052007 | 4 |
|  | D59 SERVICE CIRCUIT BOARD | 4397261 | 2 |
|  | D60 RELAY CIRCUIT BOARD | 4397089 | 4 |
|  | D70 TIMER SWITCH | 4083481 | 2 |
|  | D84 LOGIC CIRCUIT BOARD | 4397360 | 2 |
|  | D85 LOGIC CIRCUIT BOARD | 4397378 | 2 |
|  | D86 LOGIC CIRCUIT BOARD | 4397147 | 2 |
|  | D87 COLLECTIVE CIRCUIT BOARD | 4941571 | 2 |
|  | D88 SERVICE CIRCUIT BOARD FOR FILM TRANSPORT | 8478468 | 2 |
|  | D89 TIMER SWITCH | 4941654 | 2 |
|  | D90 RELAY STORAGE CIRCUIT BOARD | 4397022 | 2 |
|  | D51 REQUAIRD -VALVE GENERATOR | 4051603 | 4 |
|  | D52 DIFFERENTIAL AMPLIFIER | 7227366 | 4 |
|  | D57 START - STOP MONITORING | 4051744 | 2 |
|  | D58 FIELD START SEQUINTIAL | 5436233 | 2 |
|  | D61 LOGIC CIRCUIT BOARD | 4397287 | 2 |
|  | D62 LOGIC CIRCUIT BOARD | 4397303 | 2 |
|  | D64 LOGIC CIRCUIT BOARD | 4397311 | 2 |
|  | D65 REVERSAL CIRCUIT | 4397626 | 2 |
|  | D66 LOGIC CIRCUIT BOARD | 5436142 | 2 |
|  | D68 COLLECTIVE CIRCUIT BOARD 3 | 4941514 | 2 |
|  | D71 AMPLIFIRE FOR MULTILEAT COLLINATER | 5435979 | 2 |
|  | D72 AMPLIFIER FOR REQUIRED VALUES | 4051629 | 2 |
|  | D73 COLLECTIVE CIRCUIT BOARD | 4941555 | 2 |
|  | D80 LIFT LOGIC | 4397162 | 2 |
|  | D81 LIFT CONTROL | 4397105 | 2 |
|  | D12 COMPARTOR CIRCUIT BOARD | 4051827 | 2 |
|  | D100 COLECTIVE CIRCUIT BOARD | 4941753 | 2 |
|  | D101 MOTOR REGULATOR | 4084828 | 2 |
|  | D102 MOTOR CONTROL | 4084844 | 2 |
|  | D103 LOGIC CIRCUIT BOARD | 4941829 | 2 |
|  | D104 COUNTER CIRCUIT BOARD | 4941613 | 2 |
|  | D105 PULSE STAGE | 7357577 | 2 |
|  | D110 FLASH CIRCUIT BOARD | 4084802 | 2 |
|  | D111 COUNTING SOLENOID CIRCUIT BOARD | 4941928 | 2 |
|  | D18 REVERSAL CONTROL | 4397725 | 2 |
|  | D78 MODULATED LIGHT BARRIER | 4397063 | 2 |
|  | D 77 PHOTO TRANSISTOR CIRCUIT BOARD | 4397048 | 2 |
|  | D41 MAGAZINE CONTROL | 5436126 | 2 |
|  | D43A PHOTO TRANSISTOR | 4941795 | 2 |
|  | D44A DIODE HOLDER TRANSMITER | 4941805 | 2 |
|  | D112 FILM TRANSPORT MONITORING | 7357411 | 2 |
|  | D9 PHASE CONTROL | 4941639 | 2 |
|  | D14 SERVICE CIRCUIT BOARD | 5436068 | 2 |
|  | D16 ROTATION SPEED CONTROL | 5436290 | 2 |
|  | D19 IGNATION MODULEZEN | 3118874 | 2 |
|  | D20 IGNATION MODULEZEP | 3118866 | 2 |
|  | D21 OUTPUT STAGE | 4084745 | 4 |
|  | D22 CONTROLER | 5436258 | 4 |
|  | D23 CONTROL CIRCUIT BOARD | 5436043 | 4 |
|  | D24 THYRISTOR SET | 5333810 | 4 |
|  | D26 COLLECTIVE CIRCUIT BOARD | 4397006 | 2 |
|  | D27 MOTOR CONTROL | 5369236 | 3 |
|  | D28 SMALL - MOTOR CONTROL | 4051769 | 4 |
|  | D29 CONE CONTROL | 1750728 | 2 |
|  | D33 COLLECTIVE CIRCUIT BOARD 1 | 5436274 | 2 |
|  | D35 COLLECTIVE CIRCUIT BOARD 2 |  | 2 |

| 02-05-00140 | EQUIPMENT:- X-RAY MODEL:- TRIDOROS 512 712 1012 COMPANY\MANUFACTURER:-Siemens QUANTITY :-3 SITE :-Medical city\ Hospital BAGHDAD & NURSSING HOUM |  |  |
| --- | --- | --- | --- |
|  | D109 SERVICE BOARD | 7380108 | 2 |
|  | D182 RELAY BOARD | 7243876 | 2 |
|  | D185 FUSE BOARD | 8137291 | 2 |
|  | D186 UNIT ADAPTER | 7258569 | 2 |
|  | D401 SWITCH CONTROL | 7384373 | 2 |
|  | D163 RELAY BOARD | 7307987 | 2 |
|  | D164 MONETORING | 7397128 | 2 |
|  | D20 INVERTOR | 7395528 | 2 |
|  | D21 FOCUS SWITCH OVER | 7395544 | 2 |
|  | D22 WORK UNIT SELECTION | 7395585 | 2 |
|  | D41A POWER PACK | 4252136 | 2 |
|  | TS70 THYRISTOR SWITCH | 7210313 | 6 |
|  | D2 CHARGEINGSWITCH | 7478969 | 2 |
|  | D181 THYRISTOR DRIVE | 7210370 | 2 |
|  | D3 TSE CIRCUIT | 5401070 | 2 |
|  | H1 HIGH VOLTAGE GENERATOR | 7118300 | 2 |
|  | T11-T12 LINE TRANSFORMER | 7470818 | 4 |
|  | D13 POWER PACK 5/24 V | 8143036 | 2 |
|  | D9 BAISC UNIT | 8048712 | 2 |
|  | D1 POWER PACK +15 V | 7326802 | 2 |
|  | D44 COUNTER DRIVE | 8024449 | 2 |
|  | D45 DATA DECODER | 8013914 | 2 |
|  | D246 MAS COUNTER | 8013138 | 2 |
|  | D47 KV COUNTER | 8134538 | 2 |
|  | D48 KV MONITORING | 7353782 | 2 |
|  | D49 UNIT SELECTION LOGIC | 8134652 | 2 |
|  | D53 FOUCSE SELECTION | 7132137 | 2 |
|  | D59 ADVANCE TIME INDICATOR | 8013898 | 2 |
|  | D101 EXAMINATION UNIT SELECTOR | 7380066 | 2 |
|  | D102 NOMINAL MA VALUE PRESTING | 7416936 | 2 |
|  | D103 PHASE INTER SELECTION | 7224586 | 2 |
|  | D104 CONTROL CIRCUIT | 8137069 | 2 |
|  | D105 KV CONTROL | 8137044 | 2 |
|  | D106 HEATING CONTROL | 8029464 | 2 |
|  | D107 PHASING IN | 8137143 | 2 |
|  | D108 EXPOSURE RELEASE | 8173077 | 2 |
|  | D110 SHORT TIME CIRCUIT | 8013500 | 2 |
|  | D114 LAMP VOLTAGE | 8138331 | 2 |
|  | D122 POWER PRINT | 7351414 | 2 |
|  | D121 POWER CONVERTOR SWITCH | 7351943 | 2 |
|  | D135 ACTUAL VALUE PICKUP | 7353386 | 2 |
|  | D137 MA MEASURING CIRCUIT | 8029514 | 2 |
|  | D230 SWITCHING STEPS | 7259161 | 2 |

| 02-05-00141 | EQUIPMENT:- TRIDOROS MODEL:- 5S COMPANY\MANUFACTURER:-Siemens QUANTITY :-5 SITE :-Medical city\ Hospital BAGHDAD |  |  |
| --- | --- | --- | --- |
|  | IMAGE INTENSIFIVE SCREEN | RBV23/15 | 1 |
|  | D11 | R.SCH199A57 | 5 |
|  | D12 | R.SCH 199A58 | 5 |
|  | D13 | R.SCH 199A81 | 5 |

| 02-05-00142 | EQUIPMENT:- X-RAY MODEL:- MOBILETT II COMPANY\MANUFACTURER:-Siemens QUANTITY :-7 SITE :-Medical city\ Hospital CHILIDREN |  |  |
| --- | --- | --- | --- |
|  | H1 HIGH TENSION GENARATOR | 6983456 | 4 |
|  | CAPACITER UNIT |  | 4 SET |
|  | D1 MICRO PROSSER BOARD | 9564642 | 4 |
|  | D3 DISPLAY & KEYBOARD | 9102328 | 4 |
|  | D4 ROTATION CONTROL BOARD | 6953210 | 4 |
|  | D5 TUBE FILLAMENT CONTROL | 9006040 | 4 |
|  | D6 VOLTAGE DISTRIBUTER | 9336660 | 4 |
|  | D8 DC POWER SUPPLY | 6899546 | 4 |
|  | D11 INPUT/OUTPUT BOARED | 9138538 | 4 |
|  | D13 INVERTER BOARD | 9006057 | 4 |
|  | D20 TRANSFORMAR BOARD | 6863013 | 4 |
|  | COLLIMATOR | 6968952 | 2 |
|  | D7 CHARGE BOARD | 9174624 | 4 |

| 02-05-00143 | EQUIPMENT:- CT –SCAN MODEL:- 200 FS COMPANY\MANUFACTURER:-PHIZER QUANTITY :-1 SITE :-Medical city\ Hospital BAGHDAD |  |  |
| --- | --- | --- | --- |
|  | X-RAY TUBE | 00-885-0013 | 2 |
|  | SMART A 1D CARD X1 | 01-240-0128 | 2 |
|  | UNIBUS CABLE CONNECTOR M920 | 00950-0097 | 1 |
|  | SERVO BOARD | PT-102811-01 | 2 |
|  | CABLE ASSY DISK I/O | 00-950-0048 | 1 |
|  | UNIBUSE CABLE 12 FT | BCA11-121 | 1 |
|  | MAGNATIC DISK PACKS CDC | 00-910-0142 | 2 |
|  | D3000 HEADS UPPER | PT-526-0009 | 2 |
|  | D3000 HEADS LOWER | PT-526-0008 | 2 |
|  | MEMORY 32 K CORE | 00-950-0006 | 2 |
|  | LOG DUAL SLOP INT | 00-883-0003 | 5 |
|  | MOTHER BOARD ASSY 11V | 01-400-0226 | 2 |
|  | DNT -ASSY | 00-887-0016 | 10 |
|  | H.V REGULATOR | 01-240-0102 | 3 |

| 02-05-00144 | EQUIPMENT:-Ultra sound MODEL:-Type 1846 serial no.1454494 COMPANY\MANUFACTURER:-Bruel & kjuer QUANTITY :-1 SITE :-Medical city\ Hospital surgical hospital |  |  |
| --- | --- | --- | --- |
|  | Dual head sector transducer | type 8529 | 2 |
|  | Puncture attachment | UA 0770 | 4 |
|  | Endosonic probe | type 1850 | 2 |
|  | Rectal transducer | type 8531 | 2 |
|  | Rectal transducer | type 8539 | 2 |
|  | Urethral transducer | type 8530 | 2 |
|  | Puncture attachment | type ua650 | 4 |
|  | Sector attachment | typeua0876 | 2 |
|  | Puncture attachment | type UA 0876 | 2 |
|  | Fan unit |  | 2 |

| 02-05-00145 | Equipment name: AUTOMATIC PROSSER UNIT FOR X-RAY FILM Model : IMS-420 Company name : IMS Quintity installed :200 Site :ALL HOSPETAL IN IRAQ |  |  |
| --- | --- | --- | --- |
|  | REPL.BY 500021 DEVELOPER RACK ASSY | 005421 | 10 |
|  | REPL.BY 500022 FIXER RACK ASSY | 005422 | 10 |
|  | REPL.BY 500023 WASH RACK ASSY | 005423 | 10 |
|  | REPL.BY 007847 DRYER RACK ASSY | 005424 | 15 |
|  | DEVELOPER RESISTANCE 1000/220V(EX P.N.O 01914) | 003322 | 25 |
|  | RELAY H.P.2-220V A.C | 004745 | 20 |
|  | MALE CONNECTOR .6PINS | 004745 | 20 |
|  | CAPACITOR | 006039 | 20 |
|  | REPL BY 014016 SOLENDID VALVE | 005524 | 10 |
|  | FEMALE CONECTOR 6 PINS | 005371 | 60 |
|  | RELAY H-3V.24DC` | 005366 | 10 |
|  | RELAY BY 300800 KIT +REPLENISHMENT PUMP | 005546 | 30 |
|  | REPLY BY 006157 MAIN DRIVE MOTOR | 005377 | 30 |
|  | THERMAL REQULATOR 220V/50HZ | 004744 | 100 |
|  | SWITCH(ON-OFF) | 05373 | 20 |
|  | REPLY BY 014730 RUBBER ROLLER LONG & SHRT PINS | 005418 | 100 |
|  | REPLY BY 014731 RUBBER ROLLER LONG PINS | 005419 | 100 |
|  | REPL ROLLER ,LONG & SHORT PINS (REPLACING CODE) | 005689 | 40 |
|  | REPL ROLLER HEAVY | 005690 | 30 |
|  | REPL ROLLER LONG PINS | 005691 | 50 |
|  | HELICAL GEAR LEFT,6MM DORE 12 T | 005680 | 100 |
|  | HELICAL GEAR RIGHT ,12T DIAM 6MM | 005677 | 100 |
|  | REPL BY 012458 MOBILE BUSHING DELRIN | 004721 | 50 |
|  | SPROCKET FOR CHAIN .20T P 6MM | 005500 | 20 |
|  | REPL BY 012459 HELICAL GEAR Z 30 V.S.F | 001278 | 100 |
|  | HELICAL GEAR RIGHT ,10 MM BORE 12T | 005678 | 100 |
|  | PRESSURE BUSH (EX P.N. 001604) | 006555 | 10 |
|  | FUSE HOLDER 2 POLES | 001625 | 10 |
|  | HELICAL GEAR LEFT 10 MM BORE | 005681 | 100 |
|  | MASTER LINE FOR CHAIN P6 | 004111 | 10 |
|  | CHAIN P6 .WITH HASTER LINK | 004110 | 20 |
|  | REPL.BY 009801 KIT CIRCULAT PUMP 220V-50H | 007703 | 30 |
|  | CHAIN P6.WITH HASTER LINK | 004110 | 20 |
|  | REPL.BY 009801 KIT CIRCULAT PUMP 220V-50H | 007703 | 30 |
|  | KIT CIRCULATION PUMP 220V/50-60HZ (REPLACIN G CODE) | 009801 | 20 |
|  | ELECTRONIC CARD N.1 | 006016 | 10 |
|  | ELECTRONIC CARD N.2 | 006018 | 20 |
|  | ELECTRONIC CARD N.4 | 006019 | 20 |
|  | ELECTRONIC CARD N.3 | 006741 | 30 |
|  | ELECTROMAGNETIC SWITCH | 006053 | 30 |
|  | REPL BY 500020 REED ASSY COMP. | 007330 | 20 |
|  | MIDDLE SUPPORT (EXP.M 004676) | 006792 | 20 |
|  | DOUBLE GEAR ,6 MM .BORE HOPLER 17 T | 005685 | 20 |
|  | GEAR Z34 MOPLEN (REPLACING CODE) | 012456 | 50 |
|  | GEAR Z34 MOPLEN (REPLACING CODE) | 012456 | 25 |
|  | infrared rods 500w 110v (repalcing code ) | 005544 | 150 |
|  | CONNECTION CABLE INFRA-RED LAMPS | 00697 | 50 |
|  | ELECTROMAGNETIC SWITCH DN 8-10V.220 | 005365 | 50 |
|  | THERMAL 75 DEOREC | 010915 | 50 |
|  | COMPENENTS CARD FOR RELE | 009747 | 20 |
|  | ELECTRONIC BOARD 24 V. | 009722 | 20 |
|  | OVERFLOW REPL BY 500027 | 010033 | 30 |
|  | FIX WASH OVERFLOW | 500028 | 30 |
|  | RELE 24 V | 009748 | 10 |
|  | MAGNET COMPLETE (REPLACING CODE) | 500019 | 10 |
|  | KIT CLOCKWISH FAN (REPLACING CODE) | 500067 | 20 |
|  | PROTECTION MICRO AIR | 008677 | 20 |
|  | WHEEL 131 | 012350 | 10 |
|  | REPL BY (CC4139 MICRO AIR COMPLETE ) | 008675 | 10 |
|  | KIT FOR MAIN MOTOR SOBSTITUT PLUS GEAR MOTR | 006157 | 20 |
|  | GEAR ZL7 MOPLEN (REPLACING CODE) | 012348 | 25 |
|  | WEEL 12T | 012349 | 10 |

| 02-05-00146 | EQUIPMENT:- FILM PROGECTOR MODEL:- CIPRO 35N COMPANY\MANUFACTURER:-SIMENS QUANTITY :- SITE :-Medical city\ Hospital |  |  |
| --- | --- | --- | --- |
|  | BELT | 4701280GE016 | 4 |
|  | 48/HALOGEN LAMP | 4418539 Y 4769 | 10 |
|  | 44/ARC LAMP | 4418547 Y 4769 | 10 |
|  | PULLY | 4747259GE016 | 4 |

| 02-05-00147 | EQUIPMENT:- FILM PROCESSOR MODEL:- COMILABOR GMB-AO COMPANY\MANUFACTURER:-OLDELFT HOLLAND QUANTITY :- SITE :-Medical city\ Hospital |  |  |
| --- | --- | --- | --- |
|  | 11-10/BELLOWS ASSY | 064U 076 | 4 |
|  | 12-01/HEATING ELEMENT 750W | 064U139 | 1 |
|  | 12-02/THERMISTER | 064U003 | 1 |
|  | 12-03/BELLOWS | 064U129 | 4 |
|  | 12-04/PAMP | 064U115 | 1 |
|  | 12-07/PC BOARD | 064U694 | 2 |
|  | 12-08/PRESSURE SWITCH | 080D706 | 1 |
|  | 13-09/FILM RULLER | 064U051 | 5 |
|  | 14-09/DRIVE RULLER | 064U084 | 5 |

| 02-05-00148 | EQUIPMENT:- HOLTER MODEL:- MEDILOG 2 COMPANY\MANUFACTURER:-OXFORD QUANTITY :- SITE :-Medical city\ Hospital |  |  |
| --- | --- | --- | --- |
|  | CASSET RECORDER |  | 12 |

| 02-05-00149 | EQUIPMENT:- MONETOR MODEL:- 402 COMPANY\MANUFACTURER:-SIMENS QUANTITY :- SITE :-Medical city\ Hospital |  |  |
| --- | --- | --- | --- |
|  | PRESSURE TRANSDUCER P 23XL | 4527958 | 50 |
|  | PATIENT CABLE WITH ITS ADAPTORS & ELECTRODES | 4523254/D5 | 50 |
|  | TEMPRATURE PROBE |  | 50 |
|  | ELECTRODS ADHESIVE RINGS |  | 2000 |

| 02-05-00150 | EQUIPMENT:- MONETOR MODEL:- GU05/M-11/88 COMPANY\MANUFACTURER:-S&W ATHENA 9040 QUANTITY :- SITE :-Medical city\ Hospital |  |  |
| --- | --- | --- | --- |
|  | 02-OXIMETER PLUG & ITS PROBE | 9266 | 5 |
|  | PLUG OF CO & ITS PROPE | 9240 | 5 |
|  | PLUG FOR ECG & ITS PATIENT CABLE |  | 5 |
|  | PLUG FOR NON INVASIVE BP & ITS CUFF (PAEDIATRIC & ADULT ) WITHITS ECUSSERIES | 9225 | 1 ForEach |

| 02-05-00151 | EQUIPMENT:- DC SHOCK MODEL:- TYP 750 COMPANY\MANUFACTURER:-S&W QUANTITY :- SITE :-Medical city\ Hospital |  |  |
| --- | --- | --- | --- |
|  | EXTERNAL PACMAKE DISK |  | 20 |

| 02-05-00152 | EQUIPMENT:- ULTRA SOUND MODEL:- PANASONIC AG -6200 COMPANY\MANUFACTURER:-HP QUANTITY :- SITE :-Medical city\ Hospital |  |  |
| --- | --- | --- | --- |
|  | ULTRA SOUND TRANSDUCER 5MHZ | HP21210A | 1 |

| 02-05-00153 | EQUIPMENT:- ULTRA SOUND(ECHO) MODEL:- AUSONICS 2000 COMPANY\MANUFACTURER:-AUSONICS QUANTITY :- SITE :-Medical city\ Hospital |  |  |
| --- | --- | --- | --- |
|  | TRANSDUCER | 011-728 | 1 |

| 02-05-00154 | EQUIPMENT:- HEAMACRON MODEL:- 400 COMPANY\MANUFACTURER:-TECHNIC DEYN-USA QUANTITY :- SITE :-Medical city\ Hospital |  |  |
| --- | --- | --- | --- |
|  | DISPLY SCREEN | 3-1010 | 3 |
|  | BATTRY 6V |  | 6 |
|  | PC BOARD | HE 2B1056 | 3 |

| 02-05-00155 | EQUIPMENT:- HEAMACRON MODEL:- 800 COMPANY\MANUFACTURER:- TECHNIC DEYN-USA QUANTITY :- SITE :-Medical city\ Hospital |  |  |
| --- | --- | --- | --- |
|  | PC BOARD | 2-2235 | 4 |
|  | BATTRY 6V | 5-5-170 | 2 |

| 02-05-00156 | EQUIPMENT:- HEAMACRON MODEL:- 801 COMPANY\MANUFACTURER:- TECHNIC DEYN-USA QUANTITY :- SITE :-Medical city\ Hospital |  |  |
| --- | --- | --- | --- |
|  | BATTRY 6V | 5-2-209 | 1 |
|  | COUPLING | 4-35 | 2 |
|  | PC BOARD | 3050 | 1 |

| 02-05-00157 | EQUIPMENT:- MONITOR MODEL:- SIRCUST 404-1 COMPANY\MANUFACTURER:- SIMENS QUANTITY :- SITE :-Medical city\ Hospital |  |  |
| --- | --- | --- | --- |
|  | PC BOARD | 84,20317E,2250,A53 | 2 |
|  | PRESSURE TRANSDUCER | 45, 27 950 | 5 |
|  | PATIENT CABLE WITH ADAPTORS | 4523254 | 20 |
|  | RECTAL TEMPRATURE PROBS | 4530259 | 20 |
|  | ELECTRODE ADHESIVE RINGS | 4523742 | 2 SET |
|  | ECG LEADS |  | 10 |

| 02-05-00158 | EQUIPMENT:-HYPOTHERMIE MODEL:- 16-12-00 COMPANY\MANUFACTURER:- QUANTITY :- SITE :-Medical city\ Hospital |  |  |
| --- | --- | --- | --- |
|  | THERMOSENSOR PROBE |  | 4 |
|  | ROOLER BLOOD PUMP |  | 1 |
|  | DARLINCTON GE 5060 |  | 4 |

| 02-05-00159 | EQUIPMENT:- SERVO VENTILATOR MODEL:- 900C COMPANY\MANUFACTURER:- SIEMENS QUANTITY :- SITE :-Medical city\ Hospital |  |  |
| --- | --- | --- | --- |
|  | OXYGEN CELL | 90-04-979 | 40 |

| 02-05-00160 | EQUIPMENT:- TRADEMEL MODEL:- 30-60 COMPANY\MANUFACTURER:- CAMBRIDGE QUANTITY :- SITE :-Medical city\ Hospital |  |  |
| --- | --- | --- | --- |
|  | BELT |  | 2 |
|  | PAET COMPUTRACE CM3400 |  | 1 |
|  | PATIENT CABLE WITH ADAPTERS |  | 10 |
|  | BELT CAMBRIDGE FOR ROLLING PAPER |  | 5 |

| 02-05-00161 | SPARE PARTS FOR (ASTRA8 CHEMISTRY ANALYZER ) |  |  |
| --- | --- | --- | --- |
|  | ENZYME CUVETTES ( 40/PK ) | 88800 657050 | 3 |
|  | MIXING ROD | 439846 | 6 |
|  | MANIFOLD | 89010 439359 | 4 |
|  | PISTON ASSY (3/PK ) | 439994 | 2 |
|  | UV LAMP | 657025 | 3 |
|  | PM KIT , ENZYME MODULE (7&8) | 89027 N/A | 2 |
|  | FILTER , INLINE (6/PK ) | 89030 439889 | 2 |

| 02-05-00162 | CONUMABLEES FOR BASIC &MOST COMMON CHEMISTRIEST |  |  |
| --- | --- | --- | --- |
|  | GREY PUMP TUBING (12/PK ) | 88113 66147 | 3 |
|  | RED PUMP TUBING ( 12/PK ) | 88114 651879 | 3 |
|  | MEMBRANES (25/PK ) | 88115 650597 | 2 |
|  | OXYGEN GEL (25 ML) | 88116 671488 | 2 |
|  | K- TIP | 88117 651663 | 1 |
|  | STIRRER , SMALL | 88137 651663 | 6 |
|  | STIRRER , LARGE | 88138 651683 | 6 |
|  | FILTER , FINE | 88139 669212 | 2 |
|  | BLUE PUMP TUBING (6/PK ) | 88150 671818 | 4 |
|  | FITER COARSE | 88172 651431 | 2 |
|  | SILICOMN LUBRCANT | 88152 879049 | 2 |
|  | SOURCE LAMP , ASSY | 88485 66204 | 6 |
|  | SAMPLE PROBE , ASSY | 88460 671817 | 2 |
|  | TUBE GUIDE CAP / LARGE (8/PK ) | 88482 664087 | 2 |
|  | P/U STRAWS , LARGE ( 8/ PK ) | 88391 669085 | 2 |
|  | DRAIN - OUTLET | 88493 668023 | 8 |
|  | AIR - FILTER | 88468 801754 | 2 |
|  | DOS AIR - FILTER | 88622 | 2 |
|  | HP INKJRT- CARTID GES (4/PK ) | 88619 440059 | 4 |
|  | HP PRINTER PAPER ( 6 / PK ) | 88620 659647 | 6 |
|  | P/U STRAWS , SMAL ( 4/PK ) | 88461 671817 | 2 |
|  | SAMPLE CUPS 0.25 ml ( 1000 / bag ) | 18012 665716 | 7 |
|  | SAMPLE CUPS 0.50 ml ( 1000 / bag ) | 18013 651412 | 25 |
|  | SAMPLE CUPS 2.00 ml ( 1000 / bag ) | 18014 652730 | 25 |
|  | PMKIT , BUN MODULE | 88320 | 2 |
|  | PMKIT , NA/ K MODULE | 88330 | 2 |
|  | PMKIT , Crea / TP/Amy / PHOS MODUL | 88360 | 2 |
|  | PMKIT , WASH MODULE | 88380 | 2 |
|  | PMKIT , TBILI MODULE | 88614 | 2 |
|  | PMKIT , GLUCOSE MODULE | 88618 | 2 |
|  | EL ECTRODE, BUN | 651940 | 1 |
|  | EL ECTRODE,GLUCOSE | 670522 | 2 |
|  | EL ECTRODE,POTASSIUM | 669114 | 1 |
|  | EL ECTRODE, SODIUM | 668295 | 3 |
|  | RERENCE EL ECTRODE |  | 3 |

| 02-05-00163 | CONSUMABLEES FOR ADDITIONAL CHEMISTRIES |  |  |
| --- | --- | --- | --- |
|  | PM KIT, Ca&DBIL MODULE | 88370 | 2 |
|  | AMYLASE DEBUBBLER | 668819 | 2 |
|  | TELPAR PRINTER PAPER (6ROLL) | 88112 669168 | 2 |
|  | PRINTER-HEAD | 657910 | 10 |
|  | LAMP,PHOSPHOROUS | 439888 | 2 |
|  | LAMP(BULB ONLY)MCM | 439495 | 2 |

| 02-05-00164 | SPARE PARTS-BASIC MODULES |  |  |
| --- | --- | --- | --- |
|  | PERI-PUMP,DAUBLE | 668166 | 6 |
|  | SAMPLE PUMP CARTRIDGE | 669859 | 3 |
|  | QUAD - RING,90 OL | 879458 | 8 |
|  | SAMPLE PUMP CARTRIDGE 180 OL | 669861 | 3 |
|  | QUAD- RING,180 OL | 879502 | 8 |
|  | PRE HEATER BUN/GLU | 651760 | 4 |
|  | REACTION CUP BUN/GLU | 651938 | 4 |
|  | ANALOG BOARD BUN | 654190 668630 | 2 |
|  | HARNESS BUN | 668439 | 2 |
|  | ANALOG BOARD GLU | 654189 668620 | 2 |
|  | HARNESS GLU | 668435 | 2 |
|  | REACTION CUP NA/K | 668192 | 2 |
|  | ANALOG BOARD NA/K | 654191 668640 | 3 |
|  | HARNESS NA/K | 668438 | 3 |
|  | RETAINER NUT NA/K | 668123 | 9 |
|  | ANALOG BOARD CL | 654193 668660 | 2 |
|  | HARNESS CL | 668436 | 2 |
|  | Pre- HEATER CRE/TP/AMY /PHOS | 668041 | 6 |
|  | REACTION - CAP CRE/TP/AMY /PHOS | 669808 | 6 |
|  | DETECTOR ( 520 NM ) CRE/AMY | 668057 | 4 |
|  | ANALOG BOARD CRE | 654194 668670 | 2 |
|  | HARNESS ALI COLORIMETRIC | 668443 | 10 |
|  | DETECTOR ( 5X5 NM) TP/DBIL | 668288 | 4 |
|  | ANALOG BOALRD TP | 654238 669280 | 2 |
|  | DETECTOR ( 600 NM ) ALB | 669426 | 1 |
|  | ANALOG BOARD ALB | 654259 669410 | 1 |
|  | REATION - CUP TBIL /CA/DBIL | 669807 | 4 |
|  | DETECTOR (530 NM) TBIL | 669438 | 4 |
|  | ANALONG BOARD TBIL | 654201 669440 | 5 |
|  | ANALONG BOARD AMY | 654288 669140 | 1 |
|  | PRE. HEATER CA/DBIL | 669950 | 2 |
|  | DETECTOR (580 NM) CA | 669778 | 2 |
|  | ANALONG BOARD CA | 654291 669770 | 1 |
|  | ANALOG BOARD DBIL | 654423 671990 | 1 |
|  | DETECTOR ( 365 NM) PHOS | 439453 | 2 |
|  | ANALOG BOARD PHOS | 439420 | 2 |
|  | STIRRER MOTOR 720 RPM | 668648 | 3 |
|  | STIRRER MOTOR 900 RPM | 669662 | 3 |
|  | STIRRER MOTOR 1200 RPM | 668647 | 3 |
|  | PERI - PUMP , SINGLE | 668040 | 10 |
|  | TEMPERATUR , CONTROL BOARD | 654279 668840 | 6 |
|  | BASE - HEATER HEATED CHEMISTRIES | 651755 | 6 |
|  | BASE - PLATE NO HEATER | 669977 | 6 |
|  | RETAINER, PHOTO - TUBE | 668043 | 6 |
|  | LITE - PIPE, LONG W/RETAINER | 668051 | 6 |
|  | LITE - PIPE , SHORT W/RETAINER | 668052 | 6 |
|  | SOLENID , SAMPLE PUMP | 668110 | 4 |

| 02-05-00165 | SPARES - ELECTRONIC COMPARTMENT 1- BOARD |  |  |
| --- | --- | --- | --- |
|  | CPU Jll | 654359 669900 | 4 |
|  | 12K RAM J 12 - J16 | 654257 669580 | 4 |

|  | COMMUNICATION J17 | 654248 669650 | 4 |
| --- | --- | --- | --- |
|  | SYSTEM CONSOLE J10 | 654358 669800 | 4 |
|  | STATUS DETECTOR J8 | 654216 668950 | 2 |
|  | ADS J22 | 654219 668750 | 4 |
|  | T-TABLE / EASHCUP J7 | 654217 665792 | 2 |
|  | TRANSPORT DRIVE J 6 | 654220 668740 | 2 |
|  | SAMPLE PUMP J 5 | 654224 668680 | 2 |
|  | PUMP DRIVE J1 - J4 | 654128 668770 | 12 |
|  | 2- TRANSPORT |  |  |
|  | MICRO - SWITCH | 834871 | 8 |
|  | GEAR , SAMALL | 666213 | 4 |
|  | GEAR , LARGE | 667281 | 4 |
|  | MOTOR ( LEFT / RIGHT ) | 668211 | 2 |
|  | MOTOR ( CRANE / PROBES) | 668347 | 2 |
|  | HARNESS, TRANSPORT OPTICS | 668459 | 2 |
|  | OPTICAL SENSORS | 668783 | 14 |
|  | PROBE ARM , LOWER | 669724 | 4 |
|  | PROBE ARM , UPPER | 668021 | 4 |
|  | PROBE GUIDE | 668079 | 4 |
|  | 3- POWER SUPPlIES |  |  |
|  | + 5V | 668577 | 2 |
|  | - 5V | 668578 | 2 |
|  | + 12V | 668579 | 2 |
|  | - 12V | 668580 | 2 |
|  | - ,+ 15 V | 668581 | 2 |
|  | 4-TURN TABLE |  |  |
|  | TTABLE , SAMPLE CHANGER | 654232 668320 | 2 |
|  | SAMPLE TRAY | 668341 | 2 |
|  | SAMLP LE CUP HOLDER ( CLAMPS - 40 PCS ) | 665948 | 8 |
|  | ARM , ADJ | 665932 | 6 |
|  | COVER , SAMPLE TRAY | 668499 | 8 |
|  | 5- DOS BOX |  |  |
|  | DISK CONTROLLER BOARD | 669609 | 4 |
|  | DISK DRIVE S | NEW !! | 4 |
|  | DISKETTES VERSION 300 + (ALL) | COPIES | 300 COPIES |
|  | 6- KEYBOARD |  |  |
|  | KEYBOARD | 654233 668420 | 1 |
|  | KEY - SWITCHES | 895231 | 20 |
|  | LED ALARM DRIVER | 654247 668970 | 4 |
|  | 7- CRT |  |  |
|  | ADDS | 654243 657039 | 4 |
| 02-05-00166 | SPARES ENZYMES & MCM SYSTEMS |  |  |
|  | PERI- PUMP , TRIPLE E/M | 654537 439285 | 2 |
|  | CAROUSEL ASSY E | 654559 657065 | 3 |
|  | CAROUSEL ASSY M | 439425 | 1 |
|  | PRE - AMP ( 405 NM) E | 657591 | 9 |
|  | PRE - AMP ( 340 NM ) E | 657592 | 9 |
|  | PRE- AMP ( 500 NM) M | 439466 | 4 |
|  | LOG LSIM BOARD E /M | 654541 439275 | 2 |
|  | FAN , CAROUSEL E/M | 439112 | 4 |
|  | ELEVATOR ASSY E | 654536 439140 | 2 |
|  | ELEVATOR ASSY M | 439480 | 1 |
|  | ELEVATOR SENSOR BOARD E | 654552 657540 | 2 |
|  | ELEVATOR SENSOR BOARD M | 439480 | 1 |
|  | MOTOR ASSY , MIXES E | 439154 | 1 |
|  | BLOCK ASSY , PROBE E | 439180 | 2 |
|  | MOTOR , ELEVATOR E/M | 439109 | 3 |
|  | BOARD , 1/O/ CONVERSION E/M | 657353 | 4 |
|  | BOARD , PROCESSOR E/M | 654546 657310 | 3 |
|  | BOARD , COUSIN E/M | 654550 657520 | 3 |
|  | BOARD , HEATER CONTROL E/M | 654555 439355 | 3 |
|  | BOARD , ELEVATOR CONTROL E/M | 654551 657530 | 3 |
|  | POWER SUPPLY , 28 VDC E/M | 654556 657080 | 2 |
|  | POWER SUPPLY , 12 VDC E/M | 895334 | 2 |
|  | DISPENSER ASSY . E/M | 654539 439960 | 9 |
|  | DISPENSER ASSY TRIG | 439660 | 3 |
|  | HARNESS HEATER CONTROL 12V | 667316 | 2 |
|  | HARNESS HEATER POWER | 657363 | 2 |
|  | HARNESS LAMP POWER SUPPLY | 439509 | 2 |
|  | HARNESS ELEVATOR SENSOR | 657319 | 2 |
|  | CABLE I/O BUS | 657313 | 2 |
|  | CABLE ANALOG BUS ( M7) | 439174 | 2 |
|  | CABLE ANALOG BUS ( M8 ) | 439382 | 2 |
|  | CABLE DIGITAL BUS | 657318 | 2 |
|  | HARNESS AC TO 28 VDC POWER SUPPLY | 439264 | 2 |
|  | HARNESS FOR 28 VDC | 439156 | 2 |
|  | HARNESS FOR 12 VDC | 439172 | 2 |

| 02-05-00167 | SPARE PARTS FOR AUTO - ANALYZER CL12 |  |  |
| --- | --- | --- | --- |
|  | SAMPLE CUP | 038-00259 | 150 |
|  | PIPETTER PACKING | 20460031 | 6 |
|  | DITTUTER PACKING | 204-62320 | 12 |
|  | PISTON HEAD | 204-62404 | 12 |
|  | GLASS TUBE | 200-93029-01 | 4 |
|  | LAMP 1 | 204-62862-01 | 6 |
|  | LAMP 2 | 204-62862-02 | 6 |
|  | FLOPPY DISC |  | 6 |
|  | GUIDE HOLDER | 204- 62234-01 | 2 |
|  | GUIDE HOLDER | 204 - 62234-02 | 2 |
|  | COMPRESSION SPRING | 204-62260 | 4 |
|  | CARRIER COMPRESSION SPRING | 204- 62278 | 2 |
|  | TIMING BELT | 200- 61024 | 2 |
|  | MINI- SYRCHNO- BEIT |  | 2 |
|  | CYLINDOR ASSEMBLY | 204 -62303 | 4 |
|  | CYLINDER ASSEMBLY | 204 - 62306 | 4 |
|  | PLUNGER ASSEMBLY | 204- 62308 | 2 |
|  | PLUNGER ASSEMBLY | 204 - 62311 | 2 |
|  | ELECTRO - MAGNETIC VALVE | 204-62349 | 6 |
|  | TEFLON HALF - UNION | 035-60032 | 4 |
|  | VALVE HEAD | 204-62403 | 12 |
|  | VALVE HEAD | 204 - 62417 | 12 |
|  | CYLINGER ASSSEMBLY | 204 - 62306 -01 | 6 |
|  | O - RING 4CPS | 036-11003 | 10 |
|  | O- RING 1APQ | 036-10207 | 10 |
|  | ELECTRO - MAGNETIC VALVE | 204-62341 | 6 |
|  | ELECTRO - MAGNETIC VALVE | 204-62341-01 | 6 |
|  | SSR | 065- 68201 | 3 |
|  | DIOD LED - 3ARI |  | 6 |
|  | TEFLON CONNECTOR | 035- 60034 | 6 |
|  | TEFLON CONNECTOR | 204- 62481 | 6 |
|  | TEFLON CONNECTOR | 204- 62419 | 10 |
|  | TEFLON CONNECTOR | 204- 66033 | 10 |
|  | FILTER | 204-62435-01 | 4 |
|  | FILTER | 204- 62435-02 | 4 |
|  | REACTION TUBE | 0-38-00190 | 6 |
|  | NUT - CUP | 023-33140 | 15 |
|  | WASH ER | 023-37040 | 2 |
|  | REACTION TUBE PLATE | 204-62627-01 | 2 |
|  | REACTION TUBE PLATE | 204-62627-02 | 2 |
|  | RUBBER - CEPTUM | 204-62744 | 2 |
|  | VALVE ASSEMBLY | 204- 62839 | 4 |
|  | TEFLON CONNEETOR | 035-60035 | 10 |
|  | FLOW CELL | 200-66536-01 | 1 |
|  | TEFLON TUBE | 016-37502 | 2 |
|  | TEFLON TUBE | 016-37503 | 2 |
|  | POLYETHYENE TUBE | 016-43202 | 1 |
|  | HEATER |  | 1 |
|  | NOZZLE OF FLOW CELL | 204 - 62533 | 1 SET |
|  | PHOTO - MICROSENSOR EE - S3 | 061- 71502 | 1 |
|  | PHOTO - MICROSENSOR EE - S5 | 061-71503 | 1 |
|  | THERMO - SENSOV | 200- 65031 | 1 |
|  | SOLD STATE RELAY (SFLODMI ) | 065-68135 | 4 |
|  | SOLENOIDE VALVE ASSY OF PHOTOIMETER | 204- 62502 | 8 |
|  | PANEL CONTRAL 1 | 204-63139 | 1 |
|  | PANEL CONTROL 2 | 105-14461-20 | 1 |
|  | SOLENODE VALVE ASSY FOR DISPENSER | 204- 62021 | 4 |
|  | ION EXCHANGE RESIN FOR MINICLIER | 15 KG | 50 KG |
|  | THERMOSTAT | 200-78004 | 1 |
|  | FAN | 042- 60089 | 1 |
|  | FLOW CELL ASSY (A) | 204- 62878-01 | 1 |
|  | FLOW CELL ASSY (B) | 204-62878-02 | 1 |
|  | SAFETY VALVE FOR COMPNESSOR |  | 1 |
|  | SOLENOID VALVE | 204-62341-01 | 3 |
|  | SOLENOID VALVE | 204- 62341 | 3 |
|  | JOINT | 035- 66033 | 10 |
|  | JOINT | 035- 66034 | 10 |
|  | INSERT | 204- 62418 | 6 |
|  | O-RING | 036- 10202 | 15 |
|  | RUBBER - HOSE 9.5 X 6.5 mm | 016- 02210 | 3 |

| 02-05-00168 | CONSUMUBLE FOR MICROLYZER ,AUTOANALYZER & AA2 |  |  |
| --- | --- | --- | --- |
|  | SERVO EMPLIFIER | EACH | 14 |
|  | PUMP TUBE (GRN-GRN) | 1 X 12 | 80 |
|  | PUMP TUBE (ORN-YEL) | 1 X 12 | 40 |
|  | PUMP TUBE (ORN-GRN) | 1 X 12 | 40 |
|  | PUMP TUBE (WHT-WHT) | 1 X 12 | 40 |
|  | PUMP TUBE (RED-RED) | 1 X 12 | 40 |
|  | PUMP TUBE (BLK-BLK) | 1 X 12 | 60 |
|  | PUMP TUBE (ORN-ORN) | 1 X 12 | 40 |
|  | CHART PAPER | EACH | 400 |
|  | MEMBRANE | 1 X 12 | 400 |
|  | BLUE TUBING | M | 400 |
|  | RED TUBING | M | 400 |
|  | BLACK TUBING | M | 1000 |
|  | HEATING BATH 37C | EACH | 10 |
|  | DRIVE BELT | EACH | 40 |
|  | HEATING BATH 90C | EACH | 10 |
|  | MEMBRANE PREMOUT | 1 X 12 | 150 |
|  | SAMPLE CUPS 2CC | 1000 | 20000 For Each |
|  | SAMPLE CUPS FOR MICROLAYZER 1CC | 1000 | 2 |
|  | SAMPLE PROBE FOR AA2, MICROLAYZER & AUTOANALYZER | 30 |  |
|  | (T) CONNECTOR A10 | 25 |  |
|  | INJECTOR FITTING | 20 |  |
|  | 3-WAY INJECTOR | 25 |  |
|  | TUBE GLASS | 25 |  |
|  | COIL GLASS 20T | 10 |  |
|  | COIL GLASS 5T | 10 |  |
|  | TUBE , GLASS (ANGLE) | 20 |  |
|  | TUBE , GLASS(STRAIGHT) | 20 |  |
|  | HEATING BATH 90 C-H COIL FOR (BUN) | 10 |  |
|  | HEATING BATH 37 C FOR(G/U) | 10 |  |

| 02-05-00169 | Colorimeter |  |
| --- | --- | --- |
|  | LOG-RATIO BOARD | 5 |
|  | EMPLIFIER BOARD | 5 |
|  | FLOW CELL (0.1,2) ml | 5 |
|  | FILTER FOR GLUCOSE,BLOOD UREA, TOTAL BROTINE ,CALCUIM ,PHOSPHOROS, CREATININ | 5 OF EACH |

| 02-05-00170 | Recorder |  |
| --- | --- | --- |
|  | PEN (LONG) WITH WIRE | 10 |
|  | PEN (SMALL) WITH WIRE | 10 |
|  | EMPLIFIER BOARD | 5 |
|  | PEN ASSEMBLY TUBING | 2 PACKET |
|  | PRIMING BULB | 50 |
|  | CHART PAPER FOR AA2 | 600 |
|  | CHART PAPER FOR MICROLYZER | 150 |
|  | CHART PAPER FOR AUTOANALYZER | 100 |
|  | INK (RED) | 100 (10ml BOTTLE OF EACH) |
|  | INK (GREEN) | 100(10ml BOTTLE FO EACH) |

| 02-05-00171 | ELECTRO -NYSTGMOGRAPHY |  |
| --- | --- | --- |
|  | NEEDLES | 4 SET |

| 02-05-00172 | (ECG, PULS MONETOR ) FOR PATIENTS |  |
| --- | --- | --- |
|  | PATIENT CABLE | 8 |

| 02-05-00173 | FLAME PHOTOMETER |  |  |
| --- | --- | --- | --- |
|  | CORNING EEL |  |  |
|  | galvanometer |  | 200 |
|  | Filter - NA |  | 100 |
|  | Filter –k |  | 100 |
|  | Atomizer compete |  | 200 |
|  | Mixing chamber cover |  | 100 |
|  | Mixing chamber compete |  | 50 |
|  | Air compressor |  | 30 |
|  | repairing kit for air compressor |  | 20 |
| 02-05-00174 | Spare parts for DS 521 |  |  |
|  | Patiert cable |  | 15 |

| Code | Equipment | No. | Model | co. | spareparts | Qty |
| --- | --- | --- | --- | --- | --- | --- |
| 02-05-00175 | 1-ophthalmoscopes | 50 |  | dualite-keler | Lamps | 50 |
| 02-05-00176 | 2-Retinoscopes | 50 | Hsrz | Hewe | Lamp.G1803 | 50 |
| 02-05-00177 | 2-Retinoscopes | 50 | Hsrz | Hewe | Battery3.6v 14h rs/7.5ma |  |
| 02-05-00178 | 3-Operating microscopes | 8 |  | Heraeus | Lamp. | 80 |
| 02-05-00179 | 4-operating Microscop (Floor Mounted) | 8 |  | Heraeus W.Germany | Lamp. | 20 |
| 02-05-00180 | 5-Ultra-soundinst | 2 |  | ophtascan-b-c | prop.Gk | 8 |
| 02-05-00181 | 6-Coutary | 10 |  | Aesculap | prop.Gk 670 | 10 |
| 02-05-00182 | 7-Craiometer | 2 |  | Top con | prop | 2 |
| 02-05-00183 | 8-Biometery | 15 | LM-6 | Topcon | Lamp.Lm8802 | 30 |
| 02-05-00184 | 9-Vitrectom | 1 |  | Laser Fotoco AgUL aDOR | pROP | 4 |
| 02-05-00185 | 10-kATFORD | 3 |  | kELER | Footswitch | 3 |
| 02-05-00186 | 11-Opntaloscopes | 50 |  | keler | Lamps. 3.8v | 100 |
| 02-05-00187 | 12-Endolaser Aircoold | 4 | 142941 zeiss | London | Laser Tube Lens | 8 10 |
| 02-05-00188 | 13-Customunit(L/L) | 20 |  | Topcon | Lamp.G/903 | 100 |
| 02-05-00189 | 14-Leser screen | 4 |  | Hamblin | Lamp. | 10 |
| 02-05-00190 | 14-Leser screen | 4 |  | Hamblin | Footswitch |  |

| 02-05-00191 | EQUIPIT : THROMPO COUNTER (PLATE CELL COUNTER) MODEL : BL 100 MANUFACTURE : TOJAKY QUANTITY : 13 SITE : ALL GOVERNERATES |  |
| --- | --- | --- |
|  | ELECTROD | 5 |
|  | TUBES | 5 |
|  | SOLNOD VALVE | 5 |
|  | PUMP | 5 |

| 02-05-00192 | EQUIPIT : MICROSCOP (FOR OPERATING THEAUTER) MODEL : CB 500 MANUFACTURER : TOPCON QUANTITY : 13 SITE : ALL GOVERNERATES |  |
| --- | --- | --- |
|  | CAMERA | 1 |
|  | ADAPTER | 1 |
|  | SET OF LENSES | 4 |

| 02-05-00193 | EQUIPIT : ECG MODEL : EK 41 MANUFACTURER : HEILLGA QUANTITY : 50 SITE : ALL GOVERNERATES |  |
| --- | --- | --- |
|  | POWER SUPPLY PCB | 10 |
|  | SET OF PCB S | 10 |
|  | PATIENT CABLE | 50 |

| 02-05-00194 | EQUIPIT : MONITER MODEL : SMS 104 MANUFACTURER : HEILLGA QUANTITY : 50 SITE : ALL GOVERNERATES |  |
| --- | --- | --- |
|  | H.V PCB | 5 |

| 02-05-00195 | EQUIPIT : PH - METER MODEL : 3 MANUFACTURER : CORNING QUANTITY : 3 SITE : BAGHDAD |  |
| --- | --- | --- |
|  | ELECTRODE | 2 |

| 02-05-00196 | EQUIPIT : MANGNETIC STIRRER MODEL : MANUFACTURER : GALLEN KAMP QUANTITY : 2 SITE : BAGHDAD |  |
| --- | --- | --- |
|  | HEATER | 2 |

| 02-05-00197 | EQUIPIT : COOLED AIR INCUBATOR MODEL : MANUFACTURER : GALLEN KAMP QUANTITY : 2 SITE : BAGHDAD |  |
| --- | --- | --- |
|  | PC BOARD | 2 |

| 02-05-00198 | EQUIPIT : ECOLYZER MODEL : MANUFACTURER : ENERGETIC SCIENCE QUANTITY : 3 SITE : BAGHDAD |  |
| --- | --- | --- |
|  | PC BOARD | 3 |
|  | MERCERY CELL C-CIZE | 6 |
|  | NC BATTERY C-SIZE | 6 |
|  | TRANSFORMER | 1 |
|  | SENSOR (ELECTRO-CHEMICAL) | 20 |

| 02-05-00199 | EQUIPIT : CO - METER INDICATOR MODEL : 70 MANUFACTURER : MSA QUANTITY : 3 SITE : BAGHDAD |  |
| --- | --- | --- |
|  | SENSOR | 6 |
|  | MURCERY BATTERY | 2 |
|  | BATTERY BACK | 2 |

| 02-05-00200 | EQUIPIT : VENTILATOR MODEL : 8403300 MANUFACTURER : DRAGER QUANTITY : 10 SITE : ALL GOVERNERATES |  |
| --- | --- | --- |
|  | PATIENT CONNECTION TUBES | 50 |

| 02-05-00201 | EQUIPIT : PACE - MAKER MODEL : 250 C/E MANUFACTURER : CARDIC - CORPORTOR QUANTITY : 10 SITE : ALL GOVERNERATES |  |
| --- | --- | --- |
|  | ELECTROD | 100 |
|  | CAFFETER | 100 |
|  | CANULA | 100 |

| 02-05-00202 | EQUIPIT : CHLORID METER MODEL : MANUFACTURER : EEL QUANTITY : 50 SITE : ALL GOVERNERATES |  |
| --- | --- | --- |
|  | ELECTRODE | 10 |

| 02-05-00203 | EQUIPIT : BLOODGAS ANALYZER MODEL : 949 & 2 MANUFACTURER : AVL & ABL QUANTITY : 15 SITE : ALL GOVERNERATES |  |
| --- | --- | --- |
|  | ELECTROD | 50 SET /EACH |

| 02-05-00204 | EQUIPIT : ENDOSCOPE MODEL : MANUFACTURER : FUJENON QUANTITY : 26 SITE : ALL GOVERNERATES |  |
| --- | --- | --- |
|  | FRONT END COVER | 5 |

| 02-05-00205 | EQUIPIT : UITRASOUND MODEL : SSD 256 MANUFACTURER : ALOKA QUANTITY : 13 SITE : ALL GOVERNERATES |  |
| --- | --- | --- |
|  | POWER SUPPLY PCB | 5 |
|  | OUTPUT PCB | 5 |
|  | PROB SECTOR – LINEAR | 13 SET |

| 02-05-00206 | EQUIPIT : GALVANIC MODEL : RABO MANUFACTURER : SIEMENCE QUANTITY : 13 SITE : ALL GOVERNERATES |  |
| --- | --- | --- |
|  | PROB | 5 |
|  | SELECTOR SWITCH | 5 |
|  | OUTPUT PCB | 5 |

| 02-05-00207 | EQUIPMENT : ANESTHETIC TROLLY & VENTELATOR MODEL : SULLA 808 COMPANY\ MANUFACTURER: DRAGER / 1989 QUANTITY : 30 SITE : MEDICAL CITY HOSPITAL |  |  |
| --- | --- | --- | --- |
|  | VENTILOG | 84 04 500 | 5 |
|  | PRESSARE REGALATOR | 84 027 45 | 25 |
|  | 312 WAY VALUE |  | 25 |
|  | VESSEL | 84 046 75 | 25 |
|  | VESSEL | 84 04673 | 25 |
|  | AMPLIFIER RELAYS | M 25716 | 50 |
|  | AMPLIFIER RELAYS | M 22260 | 50 |
|  | CENTRAL VALVE | 84 04680 | 25 |

| 02-05-00208 | EQUIPMENT : SUCTION PUMP MODEL : AMEDA EGNELL UNIVERSAL 45 COMPANY\ MANUFACTURER: AMEDA QUANTITY : 30 SITE : MEDICAL CITY HOSPITAL SHAHEED ADNAN |  |  |
| --- | --- | --- | --- |
|  | CYLINDER COMPUNIVERSAL 45 | 99110411 | 30 |
|  | CRANK COMPL. UNIVERSAL 45 | 99110511 | 15 |
|  | CYLINDER SUPPORT | 45113511 | 15 |
|  | FLANGE RIGHT | 36115111 | 15 |
|  | FLANGE LEFT | 36113611 | 15 |
|  | GEARING MOTOR 220 V / 50HZ | 86405011 | 15 |
|  | SAFTY RING | 00372202 | 60 |
|  | BALL BEARING | 00823011 | 30 |

| 02-05-00209 | EQUIPMENT : ELECTRO SURGICAL UNIT MODEL : TD 311 COMPANY\ MANUFACTURER: ESCHMANN / 1989 QUANTITY : 30 SITE : MEDICAL CITY HOSPITAL SHAHEED ADNAN |  |  |
| --- | --- | --- | --- |
|  | PCB , DRIVE TD – DO | 697853 | 30 |
|  | PCB , LOGIC , TD – LO | 697859 | 30 |
|  | PCB , POWER CONTROL TD – PO | 697851 | 30 |
|  | PCB , CONTROL OSCILLATOR & FANE | 697855 | 30 |
|  | PCB , POWER AMPLIFIER TD - PA |  | 30 |
|  | TRANSFORMER T 801 | 697721 | 30 |
|  | TRANSFORMER T 802 | 697824 | 30 |
|  | GENERATOR TD – OSC |  | 30 |

| 02-05-00210 | EQUIPMENT : CENTERFUGE MODEL : MINOR 35 COMPANY\ MANUFACTURER: MSE / ENGLAND QUANTITY : 20 SITE : MEDICAL CITY HOSPITAL: LABROTARY |  |
| --- | --- | --- |
|  | MOTOR | 10 |
|  | TIMER | 10 |
|  | SPEED CONTROL | 10 |
|  | CONTROL PCB | 5 |
|  | BRUSHES | 50 |

| 02-05-00211 | EQUIPMENT : DELIVERY MONITOR MODEL : FM3R COMPANY\ MANUFACTURER: SONICAID QUANTITY : 3 SITE : MEDICAL CITY HOSPITAL BAGHDAD |  |
| --- | --- | --- |
|  | ULTRA SOUND TRANSDUCER LEMO - FGG - 2B | 6 |
|  | CONTRACTION STYLES FOR Z FOLD RECORDER | 3 |
|  | ULTRA SOUND STYLES FOR Z FOLD RECORDER | 3 |

| 02-05-00212 | EQUIPMENT : GAMMA COUNTER MODEL : RIA COUNTER 1200 COMPANY\ MANUFACTURER: MOLSGAARD . SCANEZ / DENMARK QUANTITY : 1 SITE : MEDICAL CITY HOSPITAL |  |  |
| --- | --- | --- | --- |
|  | SCINTILLATION DETECTOR | 1.25 MW 1.25 / 1.5 | 4 |
|  | POWER SUPPLY P.C.B | POWER LAB POL 330 | 1 |
|  | HIGH VOLTAGE POWER SUPPLY |  | 1 |
|  | INTERFACE BOARD I |  | 1 |
|  | INTERFACE BOARD II |  | 1 |
|  | MICROPROCESSOR |  | 1 |
|  | SCALOR / ANALYZER BOARD |  | 2 |

| 02-05-00213 | EQUIPIT : BLOODGAS ANALYZIER MODEL : 949 & 2 MANUFACTURER : AVL & ABL QUANTITY : 15 SITE : ALL GOVERNERATES |  |  |
| --- | --- | --- | --- |
|  | ELECTROD |  | 50 SET / EACH |

| 02-05-00214 | EQUIPIT : ENDOSCOPE MODEL : MANUFACTURER : FUJENON QUANTITY : 26 SITE : ALL GOVRNORATES |  |  |
| --- | --- | --- | --- |
|  | FRONT END COVER |  | 5 |

| 02-05-00215 | EQUIPIT : UITRASOUND MODEL : SSD 256 MANUFACTURER : ALOKA QUANTITY : 13 SITE : ALL GOVERNERATES |  |  |
| --- | --- | --- | --- |
|  | POWER SUPPLY PCB |  | 5 |
|  | OUT PUT PCB |  | 5 |
|  | PROB SECTOR - LINEAR |  | 13 SET |

| 02-05-00216 | EQUIPIT : GALVANIC MODEL : RABO MANUFACTURER : SIEMENCE QUANTITY : 13 SITE : ALL GOVERNERATES |  |  |
| --- | --- | --- | --- |
|  | PROB |  | 5 |
|  | SLECTOR SWITCH |  | 5 |
|  | OUT PUT PCB |  | 5 |

| 02-05-00217 | EQUIPIT : APNEA MONITOR MODEL : MANUFACTURER : VICKERS QUANTITY : 100 SITE : ALL GOVERNERATES |  |  |
| --- | --- | --- | --- |
|  | SENCOR ( CHIMICAL CELL ) |  | 100 |

| 02-05-00218 | EQUIPIT : OXYGEN MONITER MODEL : IMED 825 MANUFACTURER : INEDSA QUANTITY : 50 SITE : ALL GOVERNERATES |  |  |
| --- | --- | --- | --- |
|  | SENCOR ( CHIMICAL CELL ) |  | 100 |

| 02-05-00219 | EQUIPIT : OXYGEN ANALIZER MODEL : EO 100 MANUFACTURER : AIR SHIELD QUANTITY : 50 SITE : ALL GOVERNERATES |  |  |
| --- | --- | --- | --- |
|  | SENCOR ( CHIMICAL CELL ) |  | 100 |

| 02-05-00220 | EQUIPIT : ULTRA SOUND MODEL : SKI MANUFACTURER : DOUBLOGRAPH QUANTITY : 4 SITE : ALL GOVERNERATES |  |  |
| --- | --- | --- | --- |
|  | PROB 3.5 MHZ |  | 3 |

| 02-05-00221 | EQUIPIT : TRACTION MODEL : MANUFACTURER : TRE - EZE MFG.CO. QUANTITY : 5 SITE : ALL GOVERNERATES |  |  |
| --- | --- | --- | --- |
|  | CONTROL PCB |  | 2 |

| 02-05-00222 | EQUIPIT : SHORT WAVE MODEL : 306 MANUFACTURER : SIEMENCE QUANTITY : 15 SITE : ALL GOVERNERATES |  |  |
| --- | --- | --- | --- |
|  | OUT PUT POWER CABLE |  | 3 |
|  | TRETMENT HEAD ( PADES) |  | 6 |

| 02-05-00223 | EQUIPIT : SHORT WAVE MODEL : RECO MANUFACTURER : INTEMED QUANTITY : 15 SITE : ALL GOVERNERATES |  |  |
| --- | --- | --- | --- |
|  | OUT PUT CABLE & PADSE |  | 4 |
|  | ELECTRONIC VALVE |  | 4 |

| 02-05-00224 | EQUIPIT : ENDOSCOPE MODEL : MANUFACTURER : KARL STOZ QUANTITY : 5 SITE : ALL GOVERNERATES |  |  |
| --- | --- | --- | --- |
|  | FIBER GLASS LIGHT CONDUCTOR |  | 2 |
|  | LIQUID FILLED LIGHT CONDUCTOR |  | 2 |
|  | ADAPTERS |  | 2 |

| 02-05-00225 | EQUIPIT : REFLOMATE MODEL : REFLOMATE MANUFACTURER : BOCHRINGER QUANTITY : 50 SITE : ALL GOVERNERATES |  |  |
| --- | --- | --- | --- |
|  | TEST TUBE |  | 10 |
|  | STICK |  | 1000 |

| 02-05-00226 | EQUIPIT : PROTHROMBIN TIMER MODEL : SSR MANUFACTURER : QUANTITY : 50 SITE : ALL GOVERNERATES |  |  |
| --- | --- | --- | --- |
|  | THRMOBOPLASTIN |  | 10 |
|  | VIAL - POWER |  | 50 |

| 02-05-00227 | EQUIPIT : MICROWAVE MODEL : MICRORADAR MANUFACTURER : SIEMENS QUANTITY : 50 SITE : ALL GOVERNERATES |  |  |
| --- | --- | --- | --- |
|  | OUT PUT CABLE |  | 10 |

| 02-05-00228 | EQUIPIT : MICROWAVE MODEL : KTM -250 MANUFACTURER : QUANTITY : 50 SITE : ALL GOVERNERATES |  |  |
| --- | --- | --- | --- |
|  | OUT PUT CABLE |  | 10 |

| 02-05-00229 | COMPANY NAME: S&W Medico Teknif A/S Denmark Hersted rang S.DK. 2620 A/berts lund Telex: 3346 Eswe DK Spare parts list for DC shook type S&W (DMS6001-21-3/4) and central station type S&W 8500/scope 8511, and DS 521 |  |  |
| --- | --- | --- | --- |
|  | DC shook type S&W 600/12 |  |  |
|  | F. cell type 560.0002 for DMS 600/2.3.4 | 79910-6 | 50 |
|  | Pen type st for Scr 600/2.3.4 | 83430-9 | 15 |
|  | battery DMS 600/2/3/4 | 79405-7 | 50 |
|  | Patient cable | 75320-2 | 50 |
|  | Main transformer for CB600M | 83055-4 | 5 |
|  | Recorder unit | 83429-1 | 5 |
|  | Central Station Type S&W 8500 |  |  |
|  | MPU Board | 88860-7 | 3 |
|  | RAM Board | 88861-5 | 3 |
|  | Epron Board | 88862-3 | 3 |
|  | Time / Date Board | 88863-1 | 3 |
|  | Recorder Ampilfier | 88865-6 | 3 |
|  | Recorder inter face board | 88864-9 | 3 |
|  | Main transformer | 86049-4 | 3 |
|  | Pen motor | 84259-1 | 3 |
|  | Bed side inter facc board 180-1-0627 | 88884-7 | 5 |
|  | Central station scope 8511/2 |  |  |
|  | Ampilifier board | 88877-1 | 2 |
|  | Ampilifier H.V.board | 83881-3 | 2 |
|  | FLAME PHOTOMETER |  |  |
|  | CORNING EEL |  |  |
|  | galvanometer |  | 200 |
|  | Filter - NA |  | 100 |
|  | Filter –k |  | 100 |
|  | Atomizer compete |  | 200 |
|  | Mixing chamber cover |  | 100 |
|  | Mixing chamber compete |  | 50 |
|  | Air compressor |  | 30 |
|  | repairing kit for air compressor |  | 20 |
|  | Spare parts for DS 521 |  |  |
|  | Patiert cable |  | 15 |

| 02-05-00230 | EQUIPMENT: X-RAY UNIT SHIMADZO CORRORATION 3- karda- nishikicho 1- chome- chiyoda Tokyo 101 , Japan Kyoto office Nishinokyo- Kuwanorcho Nakagyo- Ku Kyoto GOH, Japan |  |  |
| --- | --- | --- | --- |
|  | Spare parts for x- ray unit type ED 150L |  |  |
|  | MP selector | 501-66167-01 | 5 |
|  | EX- mode control- 10 | 501-637-74-01 | 5 |
|  | MA- control –10 | 501-634-71 | 5 |
|  | Sec- control -10 | 501-6332-17 | 5 |
|  | MA. compensation un | 501-62932 | 5 |
|  | Spare parts for x- Ray-c-ARM-unit |  |  |
|  | Generater with X-Ray tube type WHA- MO-125 |  | 5 |
|  | Spare parts for X-Ray type MD-100P |  |  |
|  | Generater with X-Ray type D- 185 |  | 5 |
|  | Condenser |  |  |
|  | Spare parts for x-ray type SM- 125 |  |  |
|  | Condenser 3 uf 65kv complate | 500-0329-02 | 6 |
|  | Hightenton jenerator assy |  | 2 |
|  | Saftay moneter SFD |  | 2 |
|  | Spare parts for x-ray unite type HD-1508-30 |  |  |
|  | X-Ray tube type h/2p |  | 1 |
|  | High voltage transformer D 1500-H-7 | 501-600090 | 1 |
|  | High voltage transformer B/F OB |  |  |
|  | MA control 30-p2 | 501-71617 | 5 |

| 02-05-00231 | EQUIPMENT: hemodialysis machine gambro- AK10 Adress : Gambro AB p,o . Box 10101, S-220-10 lund Telex 32144 lundeas , sweden |  |  |
| --- | --- | --- | --- |
|  | Conduotirity cell DF/UDM | 101629 B | 5 |
|  | Prom | MA3826103 | 5 |
|  | Dip shunt | 100206004 | 10 |
|  | Dira kit | K13505001 | 5 |
|  | Power supply board DFM | K04538011 | 3 |
|  | Magnet vatre DF/OD | K12291001 | 5 |
|  | Control toglo board BMM | K12294003 | 8 |
|  | Motor control board DF/Y | K05918B | 5 |
|  | Blood leak detector DFM | K06163001 | 5 |
|  | Pump unit comp | K04585D | 5 |
|  | Trim adaptor | K06952002 | 2 |
|  | Interfare cable | B06225 | 5 |
|  | UDM valra | K05804A | 2 |

| 02-05-00232 | EQUIPMENT: The Wheel Chair Model 8AR20 Carter Company Ltd England |  |
| --- | --- | --- |
|  | CW4/10 24x13/8 tyres | 200 |
|  | CW4/1124x13/8 inner tubes | 200 |
|  | Cw1/68x1 selid tyres weel | 200 |
|  | CW5/16Bearing 24 wheel | 100 |
|  | BU1/35 Bach rest upholstery 8AR20 green | 200 |
|  | SU1/15J Seat upholstery 8AR20 green | 200 |
|  | SW2/15 Castor steam bearwg | 50 |

| 02-05-00233 | EQUIPMENT: DENTAL UNIT MODEL: CHIRANA ERGOSTAR Szechoslovakia- Chirana- Export P-O- Box 221B, 921 75 Peestany Spare Parts List For Dental Unit Type Shipana Ergostar 905 |  |
| --- | --- | --- |
|  | Complete motor for turnin H.P. | 10 |
|  | Angle handpiece for micro motor | 10 |
|  | Upper gear for angle H.P. | 10 |
|  | Pinton for angle H.P. | 10 |
|  | Clip for angle H.P. | 10 |
|  | Air button for syringe (green) | 20 |
|  | Water buttom for syringe (blue) | 20 |
|  | Ravo sculure (2.Hole) complete | 5 |
|  | Main board complete | 1 |
|  | Spare parts for dental chair |  |
|  | Norbine heinel piece complets | 10 |
|  | Norbine heinel piece complets motar | 10 |
|  | Micro motor angle hand piece | 5 |

| 02-05-00234 | EQUIPMENT: AUTOCLAVE MODEL:VHE-46 COMPANY NAME: TAKZAWA 18488 :Hengo-2-ohome Bvknkyo.KV,Tokyo ,Japan- Cable addres Takizawaika- telephone 711-9181 spare parts list for takizaea autoclave |  |
| --- | --- | --- |
|  | Heating elemnt 8KW,3PH | 50 |
|  | Thermostate for abov | 50 |
|  | Transformer 220/100 | 20 |
|  | Safty valve | 25 |
|  | Steam trap | 25 |
|  | Contactor 100V.40Amp | 5 |

| 02-05-00235 | EQUIPMENT :DENTAL UNIT Mdchipa pharmaceutical Co.LTD 7Yotsuyal.Chome Shinjuku.Ku Tokyo160 Japan Spare parts list for dantol unit type pelmont compo 350 |  |
| --- | --- | --- |
|  | Pana air turbine hand piece 4 holes | 10 |
|  | pana air turbine hand piece 2 holes | 10 |
|  | Complete cartridge for turbine H.P | 10 |
|  | Metal chuck for cartrd | 10 |
|  | Air motor complete | 5 |
|  | Angle hand piece complete | 10 |
|  | Caridge for angle H.P | 10 |
|  | Triple cor complete | 5 |
|  | Triple syring for triple syiple syring | 20 |
|  | Micro pilot valve M.P.V.(N.C) | 10 |
|  | Micro pilot valve M.P.V.(N.O) | 10 |
|  | Complete adaptor for turbine H.P (4 holes) | 4 |
|  | Spare parts for dental chair for above |  |
|  | Solenoid valve coil 220 V | 5 |
|  | UP. Down switch (black button) | 10 |

| 02-05-00236 | EQUIPMENT: ECG NIhon Kohden 3-4 Nishiochiai 1- Chome Shinjuku - Ku Tokyo 161 Japan |  |  |
| --- | --- | --- | --- |
|  | Patient cable BJ- 610E | 2833-000119 | 50 |

| 02-05-00237 | EQUIPEMENT: OPERATING LIGHT .Takizawa Medical Instrument LTD Chome , Eunkyo - Ku, Tokyo, Japan Spare Parts List For Operation Light Type Takizawa Spare Parts List For Operation Light Type Takizawa |  |
| --- | --- | --- |
|  | Bulb 24V, 50 W | 100 |
|  | Light intensity centrol with nobe part no. NB335093 | 10 |

| 02-05-00238 | EQUIPMENT: OPRATING LIGHT Warmax Fezedsibliorstwo penatwe Warszawa Wiloza 50152 P.O. Box 263, 272 Telex 814311 Poland Spare parts List For Operation Light Type Warmax |  |
| --- | --- | --- |
|  | Miror Bulb 24 V, 40W | 100 |
|  | Miror Bulb 24V, 35W | 100 |

| 02-05-00239 | EQUIPMENT:OPRATING LIGHT DD Dalalchi Shomet Co.LTD Tokyo - Japan |  |
| --- | --- | --- |
|  | Halogen Bulb 24V. 50W Type H24501 | 200 |
|  | Bulb 24V- 150W | 100 |
|  | Hirrored Bulb 24V,50watt | 100 |
|  | Mirrored Bulb 24V, 30watt | 100 |
|  | Halogen Type DKK 24V, 50 Watt | 500 |

| 02-05-00240 | EQUIPMENT :WHEEL CHAIR Yamamoto Anil Co. LTD. P.o. Box No. 600 Part Kote , 651- 01 Japan Spare Parts List For RG-16 Deluxe Wheel Chain Pneumatic Caster Type |  |
| --- | --- | --- |
|  | Wheel 24”, Pneumutic | 200 |
|  | Rubber for above | 200 |
|  | Caster Complete 6” Solid | 100 |
|  | Caster steam bearing | 100 |
|  | Baek rest | 200 |
|  | Seat | 200 |
|  | Vidiocon (Camara Tube) for Shimadzu angiogaphy | 2 |
|  | Heater bath for Kodak automatic processor model M8 | 2 |
|  | The following spare parts for shimadzu machines X- ray High Tension type HD 150 B 10.2 |  |
|  | Circlex 0.3/0.8 P38 C- 42 | 4 |
|  | Circlex 1/2 P3c C-40 | 4 |
|  | Circlex 0-6/1/2 P38 C-40 | 4 |
|  | Circlex 0-8 P83 C-40 | 4 |
|  | Circlex 0-5/1 P33 C-40 | 4 |
|  | Power Boards Eschmann Electro- Surgical | 20 |
|  | Diathermy unit type TD | 11 |
|  | Halogen lamps for operating microsope zeiss OPM 1 163707 | 15 |
| 02-05-00241 | Spare Parts For Sterilzer Sakura HVA -M12: Motor valve MB-10 1/2 | 2 |
|  | Motor valve MB -10 3/4 | 2 |
|  | Motor valve HMY -32H 3/8 | 2 |
|  | Solenoid valve for steam | 4 |
|  | Solenoid valve for water | 4 |
|  | Safety valve FB-4 3/4 | 4 |
|  | Pressure reducing -valve RD-3 1/2 | 4 |
|  | Timer Nsy 6M | 2 |
|  | Check valve T-125 3/4 | 4 |
|  | Check valve J islok | 9 |
|  | Check valve J125 1/2 | 4 |
|  | pressure switch FPS-C103 | 4 |
|  | Thermo - sensor Rs-12 - MCD 10300- IEA- 2000 | 4 |
|  | Thermo - sensor Rx-P 100- 305 -B-0069-1 | 4 |
|  | Sprocket for motor | 4 |
|  | Sprocket for door | 4 |
|  | Thermo regulator | 4 |
|  | Solenoid valve for seal | 9 |
|  | Motor for chair & transformer for dental equipment type yoshida TE-31 | 4 |

| 02-05-00242 | Solutions and S.P for technicon Laboratory Units. |  |  |
| --- | --- | --- | --- |
|  | Bunacid | 4 x 900 ml | 100 |
|  | Bun Color reagent | 2 x 4 L | 100 |
|  | Glu-Cient | 1 x 6 L | 100 |
|  | BRIJ 35% | 1 L | 25 |
|  | Servo Emplifier | each | 7 |
|  | Pump tube (GRN-GRN) | 1 x 12 | 40 |
|  | Pump Tube (ORN-YeL) | 1 x 12 | 20 |
|  | Pump Tube (ORN-GRN | 1 x 12 | 20 |
|  | Pump Tube (wht-Wht | 1 x 12 | 20 |
|  | Pump Tube (Red-Red) | 1 x 12 | 20 |
|  | Pump Tube (BLK-BLK) | 1 x 12 | 30 |
|  | Pump Tube (ORN-ORN) | 1 x 12 | 20 |
|  | Chart paper | each | 200 |
|  | Membrane | 1 x 12 | 200 |
|  | Blue tubing | M | 200 |
|  | Red Tubing | M | 200 |
|  | Black tubing | M | 500 |
|  | Heating bath 37C | each | 5 |
|  | Heating bath 90C | each | 5 |
|  | Drive belt | each | 20 |
|  | Standard solution for urea & sugar |  | for one year |

| 02-05-00243 | SPARE PARTS FOR DENTAL UNITS FROM W&H/ AUSTRIA |  |
| --- | --- | --- |
|  | Screen | 200 |
|  | Cuspidor | 20 |
|  | Gasjet ( ceramic cuspidor) | 100 |
|  | Cuspidor adaptor | 30 |
|  | Switch 8121 J81 | 10 |
|  | Filter handle | 30 |
|  | Outlet nipple | 50 |
|  | Nipple of suction hose, small | 50 |
|  | Water collector | 50 |
|  | Timer PCB 1128-2 | 20 |
|  | Chuck of the microvac | 30 |
|  | Cup | 30 |
|  | Filter controller air | 30 |
|  | Air filter | 2000 |
|  | Cup for filter cont | 600 |
|  | Filter controller water | 30 |
|  | Magn valve burgert 211/A | 100 |
|  | Fuse base | 200 |
|  | Main switch | 50 |
|  | Transfor | 10 |
|  | Spring | 100 |
|  | Micro coupling omron 5-GL | 50 |
|  | Grip of the foot control | 50 |
|  | Autochip PCB 860115 | 40 |
|  | Axle | 50 |
|  | Adapter shank ral 9002 | 50 |
|  | Slide plate | 50 |
|  | Washer DIN 2993 B DIA8.2/16x0.6 | 50 |
|  | NUT DIN 937 M8 | 50 |
|  | Instrument sensor PCB 106-10-08A | 50 |
|  | Spring | 20 |
|  | Stop cover | 50 |
|  | Support, Black | 20 |
|  | Console PCB PN 1118 | 50 |
|  | Magn vale M-300-C-01 | 10 |
|  | Lid | 10 |
|  | Closing membrane | 20 |
|  | Upper chamber | 10 |
|  | Cone | 10 |
|  | Emergency switch | 10 |
|  | Gasget | 40 |
|  | Axle | 10 |
|  | Nut | 20 |
|  | Middle bottom | 10 |
|  | Lower chamber | 10 |
|  | Draining membrane | 20 |
|  | Bottom valve | 20 |
|  | Binding clasp | 100 |
|  | Rubber knob | 20 |
|  | Rubber spring | 1000 |
|  | Lower piece | 50 |
|  | Return dowel | 50 |
|  | Return spsring | 50 |
|  | Inlet Cap | 50 |
|  | Pushing knob for micro | 100 |
|  | Hose coupling | 50 |
|  | Magn valve burgert M300 C-10.6 | 50 |
|  | Micro switch omron SS-5 GL | 50 |
|  | Quick connection elite | 50 |
|  | Adjusting knob 0711 M 8x30 | 50 |
|  | Finger screw M 5x25 | 200 |
|  | Module PCB 1122 | 50 |
|  | Instrument holder | 50 |
|  | Adjusting piece for inst. holder | 50 |
|  | Attaching piece for inst. holder | 50 |
|  | Turbing tube 4 hole miltix | 200 |
|  | Tube piezoma, black | 10 |
|  | Power piezomatic | 20 |
|  | Power potantiometer | 20 |
|  | Handpiece piezomatic | 20 |
|  | Piezomatic TIP no.1 | 40 |
|  | Piezomatic TIP no.2 | 40 |
|  | Piezomatic TIP .no.3 | 40 |
|  | Syringe 3 way pen straight | 50 |
|  | Gas spring 90 nly the endo | 200 |
|  | Closing membrane | 10 |
|  | Plug | 20 |
|  | Barromg F:PAT | 20 |
|  | Gasket | 20 |
|  | Bottom membrance | 50 |
|  | Binding clasp | 20 |
|  | Halogen lamp | 500 |
| 02-05-00244 | SPARE PARTS FOR W&H INSTRUMENTS Spare rotor cap. | 200 |
|  | Push botton cpt. |  |
|  | Red gear cap. | 60 |
|  | E- Motor/Hand piece with cable fitting to ELCO-S-E | 30 |
|  | Ball bearing | 100 |
|  | Chuck | 100 |
|  | Threaded axle cple | 50 |
|  | Ball bearing | 400 |
|  | Claw sleave CPL. Green | 100 |
|  | Rotor blace | 100 |
|  | 26900 W&H service oil | 30 |
|  | Spray cap for roto quick system | 60 |
|  | 20361 Spray cap with nozzle only | 100 |
|  | 20529 Spray cap for turbines series 300 | 100 |
|  | 301 Assistina plus clening and LUB. UNIT CPT | 10 |
|  | 26805 Package of each on bottle oil& cleaning LIQ. | 100 |
|  | 20382 Spray cap for handpices & contra angles | 100 |
|  | Cluch sheeth | 150 |
|  | Coupling seal | 100 |
|  | Rotor without ball bearing | 100 |
|  | W&H turbing handpiece 190RM 4 Hole | 300 |
|  | W&H contra angle handpiece 158 | 100 |
|  | W&H havy duty lap. handpiece | 500 |
|  | SPARE PART FOR ELCO MODEL 5018 |  |
|  | Rotor cpl. with magnet | 10 |
|  | Contact spring | 5 |
|  | Ball bearing | 25 |
|  | Spring washer | 10 |
|  | Spare disc | 10 |
|  | Sheeth | 10 |
|  | Dog | 15 |
|  | Spring band cpl. | 10 |
|  | Threaded ring | 5 |
|  | Shield | 10 |
|  | Carbon brush | 50 |
|  | Nazzle apl. | 3 |
|  | Loupler plua | 3 |
|  | Motor sheath | 5 |
|  | Nazzle apl. | 15 |
|  | U- ring por 11.555 | 15 |
|  | Chuck 02,35 mm | 15 |
|  | Safety ring | 5 |
|  | Ball bearing | 25 |
|  | Seal pack cpl. | 10 |
|  | Sheath cpl. | 8 |
|  | Stop sheath | 10 |
|  | Nut for 11.563 | 10 |
|  | D- Ring | 5 |
|  | Bearing sheath | 5 |
|  | Screw for sheath | 50 |
|  | Theaded log | 10 |
|  | Spring washer | 10 |
|  | Back pressure spring | 10 |
|  | Slide ring | 3 |
|  | Shim | 5 |
|  | Shaft cpl. | 10 |
|  | Shaft | 5 |
|  | Spring ring | 10 |
|  | Spring pressure ring | 3 |
|  | Spring | 5 |
|  | Sheath | 5 |
|  | Pin for 11.577 | 50 |
|  | Flexible shaft cpl. | 10 |
|  | Pin for dog | 50 |
|  | Dog | 25 |
|  | Cleaning brush | 5 |
|  | Small bottle oil , 50 gr | 10 |
|  | Spnner | 5 |
|  | Handpiece stand | 3 |
|  | Chuck spanner for 2,35mm | 5 |
| 02-05-00245 | SPARE PART FOR DENTAL LAP. HP. CAT.NO.150 6670 Sheath | 25 |
|  | 6671 Nozzle | 25 |
|  | 6672 Pulley protection | 25 |
|  | 6673 Frame part | 50 |
|  | 6674 Shaft | 25 |
|  | 6675 Ball bearing | 50 |
|  | 6680 Ball bearing | 50 |
|  | 6685 Seeger sirclip ring | 25 |
|  | 6687 Adjsting nut | 50 |
|  | 6688 Safety ring | 25 |
|  | 6689 Knurled ring | 50 |
|  | 6690 Threaded axle cpl. | 50 |
|  | 6691 Thrust bearing | 50 |
|  | 6692 Grip ring | 50 |
|  | 6693 Threaded pin | 50 |
|  | 6683 Chuck 2,35mm | 100 |
|  | 6682 Chuck 2,35 mm | 100 |
|  | DENT PLANT COMPLETE SET - Instrument set 5.1 Instruments for implant body placement 5.2 Instruments for implant and for superstructures 5.3 Supplementary instruments | 2 |
|  | Screw rool form implants (Assorted) 2.1 Implant to be implanted by one- stage operation 2.1.1.02,35mm Threaded red- form (or needle) implante 2.1.2.03mm Screw root form implants 2.1.3.04mm Screw root form implants for one - stage operation 2.1.4.04,5mm Screw root form implants for one- stage operation | 200 |
|  | Necks, abutments, and laboratory accessories(Assorted) 4.1 Necks (or permucosal extensions) 4.2 Abutments (or heads) 4.3 Laboratory accessories | 200 |
|  | Elcomped operating- unit cpl. | 2 |
|  | Special motor with mounted connection cable | 2 |
|  | Set of W+H hand pieces for implantology, consisting of 12 pcs | 2 |
|  | Micromotor W+H (for elco s model 8018E) | 50 |
|  | Air motor W+H 20 Rm | 100 |
|  | Coupling 4h- W+H(Adapter) | 100 |
|  | Flexible cable for kavo motors | 50 |
| 02-05-00246 | SPARE PARTS FOR KAVE DENTAL UNIT MONDIAL 1032 S 201 8081 | 15 |
|  | 573 3972 | 5 |
|  | 200 0241 | 25 |
|  | 573 3962 | 5 |
|  | 201 8067 | 15 |
|  | 573 2341 | 5 |
|  | 210 1201 | 5 |
|  | 200 6125 | 25 |
|  | 210 1262 | 10 |
|  | 210 7035 | 25 |
|  | 210 2402 | 10 |
|  | 200 6026 | 25 |
|  | 201 8065 | 15 |
|  | 200 0457 | 25 |
|  | 200 6135 | 20 |
|  | 201 8117 | 10 |
|  | 200 6316 | 10 |
|  | 220 7917 | 10 |
|  | 200 6133 | 25 |
|  | 200 6124 | 25 |
|  | 210 2582 | 25 |
|  | 200 6510 | 25 |
|  | 245 5023 | 5 |
|  | 200 6226 | 25 |
|  | 734 0792 | 10 |
|  | 258 6010 | 10 |
|  | 220 1459 | 3 |
|  | 201 7020 | 20 |
|  | 201 8030 | 15 |
|  | 734 0881 | 3 |
|  | 210 3262 | 25 |
|  | 202 6031 | 5 |
|  | 764 7402 | 5 |
|  | 764 7302 | 5 |
|  | 764 7412 | 3 |
|  | 764 7652 | 3 |
|  | 200 6135 | 45 |
|  | 200 0457 | 15 |
|  | 201 8117 | 10 |
|  | 200 0458 | 15 |
|  | 200 6316 | 15 |
|  | 764 6311 | 10 |
|  | 764 0703 | 10 |
|  | 764 6331 | 5 |
|  | 220 0816 | 10 |
|  | 200 6315 | 15 |
|  | 210 2892 | 10 |
|  | 200 6404 | 15 |
|  | 210 3782 | 10 |
|  | 764 3982 | 10 |
|  | 226 9119 | 10 |
|  | 200 6012 | 15 |
|  | 516 3382 | 25 |
|  | 211 7181 | 10 |
|  | 573 2301 | 10 |
|  | 200 6110 | 50 |
|  | 516 7680 | 15 |
|  | 728 7680 | 10 |
|  | 728 2512 | 10 |
|  | 728 2481 | 10 |
|  | 728 2452 | 5 |
|  | 728 2422 | 10 |
|  | 516 5240 | 20 |
|  | 728 2452 | 10 |
|  | 742 1001 | 10 |
|  | 223 2107 | 10 |
|  | 705 5287 | 5 |
|  | 201 8051 | 5 |
|  | 200 3113 | 5 |
| 02-05-00247 | SPARE PARTS FOR DENTAL UNIT DYNAMICA 900 2041 | 5 |
|  | 900 2017 | 3 |
|  | 900 2073 | 3 |
|  | 900 2089 | 4 |
|  | 900 2052 | 3 |
|  | 900 2029 | 20 |
|  | 900 2030 | 32 |
|  | 705 5582 | 2 |
|  | 764 2791 | 2 |
|  | 764 2781 | 2 |
|  | 210 2532 | 15 |
|  | 705 5592 | 1 |
|  | 763 4441 | 5 |
|  | 200 6603 | 16 |
|  | 214 7181 | 5 |
|  | 200 6024 | 40 |
|  | 535 1742 | 20 |
|  | 201 0021 | 50 |
|  | 750 0551 | 10 |
|  | 715 5761 | 30 |
|  | 516 7200 | 5 |
|  | 715 5631 | 10 |
|  | 705 1851 | 20 |
|  | 701 7282 | 40 |
|  | 900 2030 | 100 |
|  | 715 1472 | 3 |
|  | 715 1471 | 4 |
|  | 641 1020 | 4 |
|  | 705 2991 | 4 |
|  | 201 0307 | 6 |
|  | 724 1392 | 21 |
|  | 705 5912 | 2 |
|  | 705 3011 | 3 |
|  | 228 3016 | 4 |
|  | 223 2174 | 16 |
|  | 734 0341 | 5 |
|  | 734 0792 | 3 |
|  | 734 0351 | 10 |
|  | 734 0571 | 6 |
|  | 210 1291 | 8 |
|  | 200 0536 | 8 |
|  | 201 8045 | 10 |
|  | 200 6221 | 6 |
|  | 210 1301 | 120 |
|  | 200 6125 | 16 |
|  | 201 8039 | 3 |
|  | 200 0531 | 22 |
|  | 200 6510 | 3 |
|  | 231 1415 | 8 |
|  | 201 8059 | 8 |
|  | 210 1271 | 8 |
|  | 231 1413 | 8 |
|  | 210 1261 | 8 |
|  | 210 1431 | 10 |
|  | 200 2406 | 50 |
|  | 210 0530 | 5 |
|  | 705 3711 | 16 |
|  | 210 7060 | 8 |
|  | 215 5161 | 18 |
|  | 210 3100 | 8 |
|  | 210 0420 | 16 |
|  | 765 0150 | 16 |
|  | 210 0160 | 50 |
|  | 236 2271 | 4 |
|  | 210 8180 | 8 |
|  | 261 4024 | 3 |
|  | 516 6710 | 16 |
|  | 705 3451 | 8 |
|  | 223 2174 | 4 |
|  | 705 3341 | 8 |
|  | 705 3441 | 8 |
|  | 516 7720 | 16 |
|  | 200 6016 | 20 |
|  | 200 6004 | 20 |
|  | 200 6110 | 50 |
|  | 2232 2174 | 4 |
|  | 705 3031 | 4 |
|  | 573 2301 | 10 |
|  | 200 6110 | 32 |
|  | 516 7610 | 16 |
|  | 200 6007 | 30 |
|  | 201 8081 | 20 |
|  | 200 0241 | 20 |
|  | 200 6220 | 41 |
|  | 573 2432 | 41 |
| 02-05-00248 | SPARE PARTS FOR THIRATRON CT 780 RELATED TO COBALT UNIT Collimator assembly |  |
|  | Collimater X- Y Readout scaler | 1 |
|  | Collimater bolt | 2 |
|  | Digital panelmater for (X-Y),(AN 2030-3 diget including 7 sigment I-C. for readout | 2 |
|  | Collimater cable | 1 |
|  | Mechanieal lock | 1 |
|  | Flectrical micreswitch( lever) | 2 |
|  | Light field size asseubly |  |
|  | Light fiela assembly | 2 |
|  | Quarte- halegen bulb(ATD 2400- 006) | 6 |
|  | Optical distarce indicater |  |
|  | Bulb C.B.1130,6.4V,2.63A(3L00977) | 12 |
|  | Console assembly |  |
|  | Iamp 28V- 327( console, bean on ,bean off and rest) (3L01005) | 6 |
|  | Pliot light electro.SW. MOD . 2M3- H22-G47-24. RD(3I023203) | 2 |
|  | Pilot light- electro SW.MOD. 2M3- H22-G4H-(GN) (3L023309) | 2 |
|  | Key SW. electro- SW.MOD 2f 3KC-G109 | 2 |
|  | Push button SW. electro 2B4- H22-G 14-4 (XL) | 2 |
|  | Push button SW. elctro. MOD 2C33-H22-G13 | 2 |
|  | Therupy timar L.F 4L0721 (55 MINT.6 HZ) (3T037903) | 1 |
|  | Master - slef sor’s for head swivel , table rotation | 12 |
|  | Couch 23 assembly |  |
|  | Chain for iatural - transvers motions | 1 |
|  | Shift for vertical motion | 2 |
|  | Couch level and aligment of table neot to repar | 6 |
|  | Livel micro switch , MT-4R-V2-A2 | 1 |
|  | T.V. canars |  |

| 02-05-00249 | Service supplies for ware houses |  |
| --- | --- | --- |
|  | Fork lift (5ton) | 5 |
|  | Fork lift (2 ton) with spare parts including tyre and battry for two years | 7 |
|  | Manual hydrolic jack | 20 |
|  | Fork lift type (yell) | 10 |
|  | Fork lift ( 3 ton ) type (lansenk ) | 8 |
|  | Hydrolic jack (1 ton ) | 15 |
|  | Cold stor cars | 42 |
|  | Chiller | 20 |
|  | Manual mechanical jack(0.25 ton) with spare parts for two years | 2 |
|  | Cold stor car for mussels and vassins with spare parts including tyre ,battry and cooling gas for two years | 2 |
|  | Vehicle pick-up doubl cabinet (patrol) (one for each governrate + 7 for the three northern governorates) | 22 |
|  | Land cruiser 4 wheel driver ( tow for each governrate) | 36 |

| 02-05-00250 | Spare parts for lansing fork lift- Trucks- Typefaer 5.1 |  |
| --- | --- | --- |
|  | Control unit -L- Head |  |
|  | Bord - printed ciercut | 5 |
|  | Bord - printed ciercut | 5 |
|  | Drive wheel and tyre assemply |  |
|  | wheel drive | 24 |
|  | Tyre cushion | 24 |
|  | Battery box lid assemply |  |
|  | Battery 540 A 48 V | 24 |
|  | Wheel and tyr assemply comprising | 48 |
|  | Telescopic forks motor and gear box- Turret head motor gear box assemply | 10 |
|  | Reach & Rotate- motor assemply |  |
|  | Motor assemply | 10 |
|  | Armature traction motor | 5 |
|  | Armature rotate - motor assemply | 15 |
|  | Safety control unit | 10 |
|  | Safety contactor 48V change over |  |
|  | Contactor assemply comprising | 5 |
|  | Control unit telescopic forks |  |
|  | Control unit comprising | 10 |
|  | Micro switch | 100 |
|  | Micro switch | 50 |

| 02-05-00251 | List of spare parts for Thiratron (T780) related to cobalt unit |  |
| --- | --- | --- |
|  | A- Collimator assembly |  |
|  | Collimator X-Y headout scaler PCB | 1 |
|  | Collimator belt | 2 |
|  | Digital panelimater for (X-Y),(AN 2030-3diget) including 7 sigment I-C for read out | 2 |
|  | Collimator cable | 1 |
|  | Mechanieal lock | 1 |
|  | Electrical microswitch (lever) | 2 |
|  | B- Light field size assembly:- |  |
|  | light field assembly | 2 |
|  | Quartz-Halogen bulb (AID 2400-006) | 6 |
|  | C- Optical distance indicater bulbC.E 1130,6.4V,2.63A(3L00977) | 12 |
|  | D- Console assembly : |  |
|  | Lamp28V -327(Console ,Bean on ,beam off and rest) (3L01005) | 6 |
|  | Pilot light electro SW.MOD.2M3-H22-G47-24.RD(3L023203) | 2 |
|  | Pilot light electro SW.MOD.2M3-H22-G4H-(GN).(3L023309) | 2 |
|  | Key S.W electro -SW.MOD 2F 3KC-H22-G104 | 2 |
|  | Push button SW. electro2B 4-H22-G 14-4(YL) | 2 |
|  | Push button SW. electro.MOD 2033-H22-G13 | 2 |
|  | Therapy timer L.F 4L0721(55MINT.6HZ)(3T037903) | 1 |
|  | E- Master-Slef SORS for head swivel ,table rotation | 12 |
|  | F- Couch 23 assembly: |  |
|  | Chain for latoral -transvers motions | 1 |
|  | Shift for vertical motion | 2 |
|  | Couch level and aligment of table neot to repar |  |
|  | Liver microswitch ,MT-4R-V2-A2 | 6 |
|  | G- T.V.camara | 1 |

| 02-05-00252 | Below are the spare parts concerning printing machines (GTO) and letter press machines (Hiedlberg) which were approved in the memorandum of agreement. |  |
| --- | --- | --- |
|  | A. Required Equipments Paper size 100x70cm packet contains 500 paper. | 10000 Pack |
|  | Metal photo plate size 50x100cm. | 20 packet. |
|  | Blanket 50x 100cm . | 100 piece. |
|  | Black ink one kilogram | 200 packet. |
|  | B. Spare Parts Ink roller (Hiedlberg) with tow | 1 Set |
|  | Water roller (GTO) 52 cm. | 2 Set |
|  | Piece of plate (GTO) 52 cm. | 12 |
|  | Piece of blanket (GTO) 52cm. | 12 |
|  | Blanket (GTO) | 12 |
|  | English Letter press counter | 40 |
|  | Arabic Letter press counter | 40 |
|  | Horizental Offset counter (GTO) | 40 |
|  | Vartical Offset counter. (GTO) | 40 |
|  | Whole ink machine offset 52cm. (GTO). | 3 |
|  | Pool for washing the machines | 3 |
|  | Jacket sylender (GTO) 52x41 cm. | 13 |
|  | Different sizes plates | 6 packets. |
|  | Black ink and different colour ink | 1000 packet. |
|  | Cloh for water rollers size 9 cm. | 100 m. |
|  | Cloth for water rollers size 7 cm. | 100 m |
|  | Rings of counter base (GTO) with cams | 10 sets. |
|  | Holder for paper delivering size 46 cm. (GTO) | 12 |
|  | Water rollers size 52 cm. | 8 |
|  | Ballberen (GTO) 22m. | 20 |
|  | Different size ballaeren size 6001 | 50 |
|  | Spare parts for clipper machine (honer). | 5 |
|  | Spare parts for garafix machine (clips cather set) with catter | 5 |
|  | Hallogine lamp power 1000 watt. | 10 |
|  | Paper cutter for (pooler) machines size 115. | 4 |
|  | Paper size for (welenberg) machines size 115. | 4 |
|  | Developer plate | 100 Pack |
|  | Films developer | 100 packet. |
|  | Water pools size 46 cm. | 4 |
|  | Inhing camter roller (GTO) | 6 sets. |
|  | Cutter for (perfecta) german cutter | 4 |
|  | Hydrolic distribution system for (parfecta) cutter | 2 |

| 02-05-00253 | For sonar sonaline SL1 |  |
| --- | --- | --- |
|  | 7.5MHZ Sector porbe | 1 |
|  | FNA-Guding probe | 1 |
|  | 10MHZ Sector probe | 1 |
|  | 3.5MHZ Sector probe | 1 |
|  | Probe 5MHZ Sector | 1 |
|  | Seimens (Imager) probe 3.5MHZ | 1 |

| 02-05-00254 | Toshiba Sonolager L-Sal 35A |  |
| --- | --- | --- |
|  | Probe 3.5MHZ Linear Brud and Kjar. | 1 |
|  | Dual had sector transducer tubp 8529 | 2 |
|  | Rectal Transducr tupe 8537 | 1 |
|  | Trans urcehtral Transducer type 1850 | 1 |
|  | Pacture attachment for type 8529 | 2 |
|  | Fan Unit | 1 |

| 02-05-00255 | . Company Name : TIFA/ USA Subj., : Spare Parts for tifa fogging machine model 1554 |  |
| --- | --- | --- |
|  | Carburetter | 5 |
|  | Fule pumps | 10 |
|  | Formulation Pumps | 10 |
|  | Carburetter repair Kit | 15 |
|  | Ignition Electrode | 15 |
|  | Ground wire | 15 |
|  | Nozzle with strainer | 15 |
|  | Spark plug | 20 |
|  | Fuel Valve | 7 |
|  | fog Valve | 7 |
|  | Partical size selector valve | 5 |
|  | Gas selonoid valve | 7 |
|  | Formulation selonoid valve | 7 |
|  | Complete set of Switches | 15 |
|  | Complete set of Hoses | 15 |
|  | Complete set of Belts | 15 |
|  | Start selenoid valve | 10 |
|  | Gas presure Gauge | 15 |
|  | Formulator presure Gauge | 10 |
|  | Pyrometer | 10 |
|  | Tachometer | 15 |
|  | Fire traps | 15 |
|  | Presure Switch | 7 |
|  | Themo couple | 10 |
|  | Complete set of Gas Kit | 10 |
|  | Gravity Tank | 7 |
|  | Magnito Complete | 7 |
|  | Mufflers Complete | 5 |
|  | Suction and return manifold line | 5 |
|  | 30U-IV cells stionk. |  |

| 02-05-00256 | . Tyres and Tubes Required For Health Institutions in Iraq |  |
| --- | --- | --- |
|  | 600 x 14 | 1500 |
|  | 650 x 14 | 1500 |
|  | 700 x 15 | 2000 |
|  | 750 x 16 | 1500 |
|  | 205 x 16 | 1500 |
|  | 650 x 16 | 1000 |
|  | 1200x 20 | 1000 |
|  | 1100x 20 | 1000 |
|  | 1200x 24 | 500 |
|  | 1000x 20 | 250 |

| 02-05-00257 | EQUIPMENT: GENERAL MATERIAL |  |
| --- | --- | --- |
|  | RESIN CATION | 50 TON |

------------------

| 02-05-00258 | Equipment name: X-Ray film Automatic processor (E2-009) Model : RPX-omat M8 Company name : Kodak -Germany Quintity installed : 50 Site : All governerat |  |  |
| --- | --- | --- | --- |
|  | Thermistor (RT3) | 562366 | 15 |
|  | Developer and fixer recirculater | 594391 | 15 |
|  | Heater (R3) | 562368 | 15 |
|  | Pressure Regulator | 480013 | 15 |
|  | Replenisher solenoid | 562507 | 15 |
|  | Relay | 562334 | 10 |
|  | Relay | 562286 | 10 |
|  | Relay | 603510 | 10 |
|  | Relay | 595432 | 10 |
|  | Relay | 562245 | 10 |
|  | Teledyne Relay P/N 615V-8560 |  | 10 |
|  | Fixer Crossover spring | 459344 | 20 |
|  | Developer crossover spring | 497843 | 20 |
|  | Dep, Fix, Flow Switch | 66770 | 15 |
|  | Developer filter | 467674 | 1000 |
|  | Dryer thermister (RT.) | 562370 | 10 |
|  | Dryer upper limit | 602751 | 10 |
|  | Heater assembly | 514308 | 10 |
|  | Varistor GE-K2 V275 LA20A |  | 15 |
|  | 2000 Fluid control cct. board assembly. | 602721 | 10 |
|  | 3000 Stand by cct. board assembly | 602722 | 10 |
|  | 5000 Fault monitor cct. borard. | 602724 | 10 |
|  | Lead | 562786 | 20 |
|  | Replenisher pump assembly | 594392 | 10 |
|  | Gear | 594479 | 30 |
|  | Gear for dryer | 562543 | 30 |
|  | Gear for Dryer | 594113 | 30 |
|  | Gear | 594480 | 30 |
|  | Gear | 562494 | 30 |
|  | Gear | 594139 | 30 |
|  | Gear | 594138 | 30 |
|  | Gear | 562796 | 30 |
|  | Bearing |  | 20 |
|  | Entrance Gross over Assem. | 594124 | 20 |
|  | Developer Tofixer Crossover Assem. | 594126 | 20 |
|  | Doveloper Rack Assem. | 594125 | 20 |
|  | Fixer Rack Assembly | 594127 | 20 |
|  | Wash Rack Assembly. | 594129 | 20 |
|  | Ralls |  | 20 |

| 02-05-00259 | Equipment name: X-Ray Generator Model : HD-150G813 Company name : Shimadzo -Japan Quintity installed : 13 Site : All governerates |  |  |
| --- | --- | --- | --- |
|  | Gate Control Board. | 532-21489 | 6 |
|  | Board starter # | 532-22073B | 10 |
|  | M.Sec control Board |  | 10 |
|  | Starter - 1A Board | 532-21577A | 15 |
|  | Thyrester SOR1 | SC30C | 20 |
|  | Starter 5A-40 | 501-07813C | 10 |
|  | Terminal unit | 501-07814C | 6 |
|  | Control Unit | 501-07815C | 10 |
|  | Condenser CA,CB | 6800UF200V | 10 |
|  | Condenser CL | 25UF300V | 10 |
|  | HT- Transformer |  | 10 |
|  | Lead Relay |  | 10 |
|  | Air Suction |  | 10 |
|  | TR25C 1325 |  | 10 |
|  | Read Relay | 500-13716-02 | 10 |
|  | Read Relay R54423-2P | 65-63129 | 10 |
|  | Read Relay Omron LA1-001 12 VDC | 562228 | 10 |
|  | Transistor type QM30 HA.H |  | 10 |
|  | Transistor type EVG33-050 |  | 10 |
|  | Solid state transistor ETG 81-050 30A 500V | 060-43214 | 20 |
|  | MA Board | 501-65530B | 10 |

| 02-05-00260 | Equipment name: X-Ray Unit Model : HD-150 B-10 Company name : Shimadzo -Japan Quintity installed : 26 Site : All governerates |  |  |
| --- | --- | --- | --- |
|  | MA Control Board 501-65529 |  | 5 |
|  | MA meter Control Board assy 501-63473P |  | 5 |
|  | Board sec. control assy 501-64456 |  | 5 |
|  | Over load projector 10 assy 501-63448 |  | 5 |
|  | Board 501 65529 |  | 5 |
|  | Board 501 64456 |  | 5 |
|  | Board 501-64456 |  | 5 |

| 02-05-00261 | Equipment name: X-Ray Spot film device Model : HB-150 G40 Company name : Shimadzo -Japan Quintity installed : 13 Site : All governerates |  |  |
| --- | --- | --- | --- |
|  | Carrige derive motor film IA 9/5 - 3-25, 100V |  | 5 |
|  | Motor 100V, 2.5 UF, 30 min |  | 5 |

| 02-05-00262 | Equipment name: X-Ray System , Universal remote controlled Model : Gitroscop Company name : Shimadzo -Japan Quintity installed : 13 Site : All governerates |  |  |
| --- | --- | --- | --- |
|  | X-Ray tube voltage regulator KV regulator. |  | 5 |
|  | Carridge drive motor. | URK25GK-A2 | 5 |

| 02-05-00263 | Equipment name: Mobile X-Ray unit Model : KCD-10 Company name : Toshiba- Japan Quintity installed : 200 Site : All governerates |  |  |
| --- | --- | --- | --- |
|  | X-Ray tube head complete. | DRX-66DK | 50 |
|  | X-Ray tube insert with washers, bellow,etc. | DR-66 | 50 |
|  | Mercury switch | RY-2 | 20 |
|  | Relay | RY-4 | 10 |

| 02-05-00264 | Equipment name : Mobile X-Ray unit with table Model : Medirol -1 Company name : Medicor - Hungary Quintity installed : 180 Site : All governerates |  |  |
| --- | --- | --- | --- |
|  | Single tank with X-Ray tube for medirol-1 | DR-125/110 | 30 |
|  | X-Ray tube insert | DR-125/110 | 30 |
|  | Electronic timer | AO-1 | 10 |
|  | Correction switch |  | 10 |

| 02-05-00265 | Equipment name: Mass chest X-Ray mobile unit Model : MCS x-Ray FFT Company name : Philips, Holland Quintity installed : 6 Site : All governerates |  |  |
| --- | --- | --- | --- |
|  | Timer transformer E 160 | 4522 100-0820 | 6 |

| 02-05-00266 | Equipment name: Mobile X-Ray Image Intensifier Model : WHA - 10 Company name : Shimadzu, Japan Quintity installed : 45 Site : All governerates |  |  |
| --- | --- | --- | --- |
|  | Image Intensifier for WHA-10A |  | 15 |
|  | T.V chainsf-200 |  | 4 |
|  | Camera | 06956-2/6 | 4 |
|  | High voltage transformer Including X-Ray head for SDO 0.4/1.5 | 532-22085 | 30 |

| 02-05-00267 | Equipment name : X-Ray Unit with TV Model : HD-150 B-10 1985 Company name : Shimadzu, Japan Quintity installed : 13 Site : All governerates |  |
| --- | --- | --- |
|  | MA Control Board | 4 |
|  | Darling Pair Power Transmitter | 4 |
|  | Auto Transformer | 1 |
|  | High Speed Transformer | 1 |
|  | High Speed Unit SA30 | 5 |

|  | 02-05-00268 | Equipment name: Silver collector Model : FX-30m Company name : Shimadzu, Japan Quintity installed : 43 Site : All governerates |  |
| --- | --- | --- | --- |
|  |  | Electric Panel Board | 10 |
|  |  | Circulating Pump | 4 |

| 02-05-00269 | Equipment name: CT Scanner Somoto Model : HIQ Company name : Siemens -Germany Quintity installed : 2 Site : Baghdad |  |  |  |
| --- | --- | --- | --- | --- |
|  | X-Ray Tube Gantry box B | 1125660 X 1340 | 3 |  |
|  | Cooling unit for the X-Ray tube | AC11008 | 1 |  |
|  | Resistance Pade for the DSC |  | 2 |  |

| 02-05-00270 | Equipment name: X-Ray unit Model : Angioscop Company name : Siemens -Germany Quintity installed : 3 Site : Baghdad |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Angioscop |  | Tube assembly MEGALX 125/40 /82C-120L | 876134x1122 | 4 |
|  | Angioscop | 2sd.Plane T.OPT150/40/102C-100L |  | 7213820x1122 | 2 |
|  | Angioskop | SIRHCORD video output ROA |  | 2828729-SE017 | 2 |

| 02-05-00271 | Equipment name: X-Ray unit Model : Sirgraph Company name : Siemens -Germany Quintity installed : 2 Site : Baghdad |  |  |  |  |  | 2 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | X-RAY TUBE COMPLET12/20/40 |  | 2 |  |  |  |
| 02-05-00272 | Equipment name: X-Ray unit Model : TRIEOROS Company name : Siemens -Germany Quintity installed : 3 Site : Baghdad |  |  |  |  |  |  |
|  |  | X-RAY TUBE COMPLET 150/30/51 |  | 2 |  |  |  |
|  |  | X-RAY TUBE COMPLET 150/40/72 C |  | 2 |  |  |  |
|  | Siregraph-11 | Tube ASS.OPTI150/40/73C-100L | 8867558x1953 | 2 |  |  |  |
|  | Siregraph | KV-Interface control D 890 | 97148892x1732 | 1 |  |  |  |
|  | Siragraph C | Motor drive board D7a,D7b | 7356223G5209 | 1 |  |  |  |

| 02-05-00273 | Equipment name: X-Ray unit Model : Siramat Company name : Siemens -Germany Quintity installed : 4 Site : Baghdad |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Siramat | Tube OPTI 150/40/102C-100L |  | 7213820x1122 | 3 |
|  | Siramat | Power S.NI board for medio Med |  | 4731196GE009 | 2 |
|  | Siramat | MA measur board |  | 8382947x1423 | 2 |
|  | Siramat | Board D65 |  | 1800911x1022 | 2 |

| 02-05-00274 | Equipment name: X-Ray unit Model : MIMAR Company name : Siemens -Germany Quintity installed : 3 Site : Baghdad |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | MIMAR - 111 | Interface controler board D4 |  | 4104568G5123 | 1 |
|  | MIMAR - 111 | Logic board D5 |  | 4104501G5123 | 1 |
|  | MIMAR - 111 | KV board D97 |  | 7131584x1081 | 1 |
|  | MIMAR - 111 | Logic board D3 |  | 4024366x1116 | 1 |

| 02-05-00275 | Equipment name: X-Ray unit Model : Uroscop Company name : Siemens -Germany Quintity installed : 2 Site : Baghdad |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Uroscop | Casstte movement motor |  | 3116613B0905 | 1 |

| 02-05-00276 | Equipment name: Gamma Camara Model : Maxi Camara 400T Company name : General Electric USA Quintity installed : 12 Site : Baghdad - Basrha – Nenewa |  |  |  |
| --- | --- | --- | --- | --- |
|  | Integrated power sypply | 177 3031 | 4 |  |
|  | CPU and Video power supply | 177 3035 | 4 |  |
|  | Break and head power supply | 177 3034 | 4 |  |
|  | Acouistion power supply | 177 3033 | 4 |  |
|  | Rigid Disk power supply | 177 3036 | 4 |  |
|  | Stepper Motor Power supply | 040 0700 | 4 |  |
|  | Gantry Controller CUP | 040 0701 | 4 |  |
|  | Lenear Decoder for Rail | 040 0702 | 4 |  |
|  | Scan Mode for Rail | 040 0703 | 4 |  |
|  | Cluch power controller | 040 0704 | 4 |  |
|  | Ahcle Decoder | 040 0705 | 4 |  |
|  | Hand control box | 040 0706 | 2 |  |
|  | Top box | 040 0707 | 2 |  |
|  | Imaging table motor MX | 040 0708 | 4 |  |
|  | Low Voltage detector cable | 177 3032 | 4 |  |
|  | Disk and Flopy controller | 177 3037 | 4 |  |
|  | Flopy disk drive | 177 3039 | 2 |  |
|  | Riged disk drive | 177 3038 | 2 |  |
|  | P1 tube 65 MV. | 040 0800 | 4 |  |
|  | P1 Tube 165 MV | 040 0801 | 4 |  |
|  | Transformer | 177 3006 | 6 |  |
|  | HV Detector Cable | 177 3007 | 5 |  |
|  | Brake power spply | 177 2950 | 2 |  |
|  | Scaler timer | 177 2960 | 5 |  |
|  | Scanning modele | 177 2980 | 2 |  |
|  | Maxi 400T Control Module | 177 2985 | 4 |  |
|  | CPU Set | 177 2000 | 3 |  |
|  | Disk Set (INT+CONT+PS) | 177 2300 | 2 |  |
|  | TV Set (TV1,TV/3,M481) | 177 2400 | 4 |  |
|  | Aqduistion Set : (G1,G2,ECG) | 177 5800 | 4 |  |
|  | CPU PS | 177 2600 | 4 |  |
|  | Color TV | 177 2702 | 2 |  |
|  | Floting point package | 177 2020 | 1 |  |
|  | Convertor board | 177 2803 | 2 |  |
|  | Logic board | 177 2801 | 4 |  |
|  | Relay board | 177 2802 | 2 |  |
|  | Power supply ACQ. box | 177 2604 | 4 |  |
|  | Color Graphics Printer polter + Accessories | 177 9700 | 2 |  |
|  | Floppy cont. + INT. +Ps.+FLFV | 177 2350 | 3 |  |
|  | Floppy 8" | 177 2350 | 100 |  |
|  | Cassette for formator | 177 8009 | 4 |  |
|  | Cleaning set for computer | 177 8000 | 5 |  |
|  | Parallel interface for color graphics Printer | 177 9710 | 1 |  |
|  | INK Cartridge Set |  | 10 |  |
|  | Black | 177 9751 |  |  |
|  | Cyan | 177 9752 |  |  |
|  | Magneta | 177 9753 |  |  |
|  | Yellow | 177 9754 |  |  |
|  | Mintenance Cartridge for SHARP JX-SMLP INK JET JX-SMLP Imager Printer. |  | 5 |  |
|  | Analog computer for 400T Maxicamera |  | 2 |  |
|  | High voltage supply 400T Maxicamera |  | 2 |  |
|  | Uniformity computer 400T Maxicamera |  | 2 |  |
|  | Spectrum analyzer 400T Maxicamera |  | 2 |  |
|  | Imaging Detector Power supply Maxicamera |  | 2 |  |

| 02-05-00277 | Equipment name: X-Ray units Model : ID-125L Company name : Shimadzo -Japan Quintity installed : 150 Site : All Governrates |  |  |
| --- | --- | --- | --- |
|  | X-Ray tube head circlex | 1/2U13 CN-25 | 50 |
|  | X-Ray tube head circlex 1/2UG13 AN-30 (MC 100 L-30) | (532-22570) | 50 |
|  | X-Ray tube head complete with H.T.T | 501-066500-12 MD 100 P/D1801 | 20 |
|  | X-Ray tube insert | D 180 | 25 |
|  | X-Ray tube head circlex | 1/2 UG 13BN-25 (532-20806) | 15 |
|  | X-Ray tube insert | 1/2 U 13BN-25 | 15 |
|  | X-Ray tube complete circlex | 1/2 P 38C-40 | 15 |
|  | X-Ray insert tube | 1/2 P 13C-40 | 15 |
|  | X-Ray tube head circlex | 1/2 P 18C-80S | 15 |
|  | X-Ray tube complete cieclex | 0.5/1.2 P38DK-80S | 5 |
|  | P.C.B mA control – 10 | 501-62925 N | 15 |
|  | P.C.B startor – 3 | 501-66354 E | 15 |
|  | H.T cable 12 meter longe |  | 10 |
|  | H.T transfoemer for I.D-150L 509-29 764-92 |  | 5 |
|  | New vicon tube | S 4100 | 15 |
|  | Casselle tray | 501-93379 | 20 |
|  | Halogen lamp | 12V 100W 500-04379 | 500 |
|  | Servo motor | ESA-INS 1/30-077-50411-10 | 10 |
|  | Micro switch | V-10 F22-1 A064-32230 | 50 |
|  | X-Ray Grid | 828-038 W100 500-0614-03 | 20 |
|  | Cassette tray | 501-93379- | 20 |
|  | Fillament transformer | 060-66475 | 10 |
|  | High voltage transformer | 501-67203 | 5 |

| 02-05-00278 | Equipment name: X-Ray units Model : Medio 50 Company name : Philips -Holland Quintity installed : 4 Site : All Governrates |  |  |
| --- | --- | --- | --- |
|  | X-Ray tube head copmlete for vedio 50 |  | 2 |
|  | X-Ray tube head complete | for Medio 51 | 2 |
|  | Timer transformer E/60 | 4522 100-0820 | 10 |
|  | MCS 70-5 cassett for odelca camera |  | 6 |

| 02-05-00279 | Equipment name: X-Ray units Model : KXO -12M Company name : Toshiba - Japan Quintity installed : 70 Site : All Governrates |  |  |
| --- | --- | --- | --- |
|  | X-Ray tube insert | DR - 180 | 20 |
|  | X-Ray tube head complete for 500 MA unit | DRX-1603 B | 20 |
|  | X-Ray insert | DR-66 (1.5x1.5) | 20 |
|  | Motor for MCS | 220V-50HZ 0.45A 4000 RPM | 5 |
|  | Magnet contantor | C4 - 35 | 10 |
|  | Magnet brake | Y0806 - 02 | 10 |
|  | T-D relay | /Y/P A.C100 | 20 |
|  | Micro SW | -7 15 G022 | 10 |
|  | Micro Sw | Z - 150 | 10 |
|  | Magent contactor | MA 406 | 10 |
|  | MG contactor | GA 113 DBIWTXIS | 10 |

| 02-05-00280 | Equipment name: X-Ray units Model : Dental X-Ray Company name : Tropy - France Quintity installed : 350 Site : All Governrates |  |  |
| --- | --- | --- | --- |
|  | X-Ray tube head complete | 508 MINOREX | 20 |
|  | X-Ray tube head complete | 558 MINOREX | 20 |

| 02-05-00281 | Equipment name:Image Intensifier Company : Siemens- Germany Site: Baghdad |  |
| --- | --- | --- |
|  | Image intensifier sicron 2 | 1 |
|  | TV system videomed 2 | 1 |
|  | TV monitor 44 cm | 3 |
|  | X-ray tube | 1 |

| 02-05-00282 | Equipment name: Spare parts for X-ray films auto processing Company: IMS,Italy Sit:All governorates. |  |  |
| --- | --- | --- | --- |
|  | Master link for chainP6 | 004111 | 20 |
|  | Main drive shaft Assy-420 | 006579 | 5 |
|  | Bearing housing block | 003145 | 10 |
|  | Helical gear 6mm | 005680 | 50 |
|  | Electronic switch relay 220V AC | 005365 | 20 |
|  | Infra-red rays lamp | 005544 | 200 |
|  | Fuse 0.5 Amp | 004751 | 200 |
|  | Male connerctor 6 pole | 005372 | 200 |
|  | Female connerctor 6 pole | 005371 | 200 |
|  | Geared motor with capacitor | 005377 | 50 |
|  | Thermal regulator | 004744 | 50 |
|  | On-off switch | 005373 | 30 |
|  | Rubber roller long-short pins | 005418 | 200 |
|  | Rubber long pins | 005419 | 200 |
|  | PVC roller long and short pins | 005689 | 200 |
|  | PVC roller heavy | 005690 | 100 |
|  | PVC roller long pins | 005691 | 150 |
|  | Mobile bushing delrin | 004721 | 100 |
|  | Helical gear Z=304 | 001278 | 150 |
|  | Helical gear right 10mm | 005678 | 200 |
|  | Helical gear lift 10mm | 005681 | 200 |
|  | Chain P6 with master link | 004110 | 9 |
|  | Spring for roller | 005477 | 500 |
|  | PC board no.4 | 006019 | 50 |
|  | Components card for relay | 009747 | 20 |
|  | Overflow pipe 26 cm | 010033 | 50 |
|  | Overflow pipe 23 cm | 500028 | 50 |

| 02-05-00283 | SPARE PART FOR HUDSON / S PUMPS 1/8 x 1/2 Cotter pin | 300 |
| --- | --- | --- |
|  | 3/32 x 112 Cotter pin | 300 |
|  | 3/32 x 7/8 cotter pin | 300 |
|  | Cover chian | 300 |
|  | Cover gas kit | 300 |
|  | Dip tube adaptor wing fitting | 300 |
|  | Dip tube only | 300 |
|  | Dip tube only for 4 gallon tank | 300 |
|  | Extention tube 8 nozzle assembly for 3 gallon | 300 |
|  | Extention tube 8 nozzle assembly for 4 gallon unit | 300 |
|  | Hose adaptor | 300 |
|  | Hose adaptor assembly | 300 |
|  | Hose with thrustless shutoff & strainer assembly | 300 |
|  | Hudson pumps | 460 |
|  | Male fitting | 300 |
|  | O-ring for dip tube | 300 |
|  | Plug for gange adaptor fitting on top | 300 |
|  | Plunger assembly complete | 300 |
|  | Pump cylender assembly complete | 300 |
|  | Shoulder strap 2 wide | 300 |
|  | Shut off cock | 300 |
|  | Valve pin assembly | 300 |
|  | Valve pin spring | 300 |
|  | Pumps cylinder assembly complete | 100 |
|  | Shut off assembly complete thrustless | 100 |
|  | Pluger assembly complete | 100 |
|  | Valve body | 100 |
|  | Nozzle flow regulator | 100 |
|  | Assembly consists of | 100 |
|  | Nozzel body | 100 |
|  | Gasket | 100 |
|  | Nozzele tip | 100 |
| 02-05-00284 | Spare parts for medical equipment Equipment:- Polydoros 50X -Ray ganarater Company/manufacturer:- Siemens Site:- Medical city Hospital Baghda |  |
|  | Borde No. 8353336 X1626 D15 | 1 |
| 02-05-00285 | Equipment:- C.T Scanner somatom DR3 Company/manufacturer:- Siemens Site:- Medical city Hospital Baghda |  |
|  | D17221500 4026 Electrom 7221500 | 2 |
|  | D117221708 G4026 | 2 |
|  | D27221626 G4026 | 2 |
|  | D57467798 G4036 | 2 |
|  | M7745 ROX 2Flopy disc controler 501289 1d | 1 |
| 02-05-00286 | Equipment:- Siremat Company/manufacturer:- Siemens Site:- Medical city Hospital Baghda |  |
|  | 7218704 G 5207/ 01198 | 1 |
|  | Videomed H-R camara comp | 1 |
|  | 21851-AI 12492 50 H2 | 1 |
|  | Seat of boords for camera control unit type videomed H-R 7218704 | 1 |
|  | Monetor screen for monitor model 7297419 Q 5205 C | 1 |
|  | Carriage 4004669 G 5167 | 1 |
| 02-05-00287 | Equipment:- heamacron 400 Company/manufacturer:- heamacron Site:- Medical city Hospital Baghda |  |
|  | Display screen Serial No. 3-1010 | 3 |
|  | Battry 6 Volt | 6 |
|  | PC board Serial No. HE 2B 1056 | 3 |
| 02-05-00288 | Equipment:- heamacron 800 Company/manufacturer:- heamacron Site:- Medical city Hospital Baghda |  |
|  | Pc board Serial No. 2-2235 | 4 |
|  | Battry 6 volt Serial No.5-5-170 | 2 |
| 02-05-00289 | Equipment:- heamacron 801 Company/manufacturer:- heamacron Site:- Medical city Hospital Baghda |  |
|  | Battry 6 volt serial No.5-2-209 | 1 |
|  | Coupling serial No.4-35 | 2 |
|  | PC board serial No.3050 | 1 |
| 02-05-00290 | Equipment:- Monitor sircuts 404-1 Company/manufacturer:- Simens Site:- Medical city |  |
|  | PC board Serial No.84 20317E 2250 A53 | 2 |
|  | Pressure transducer Serial No.45 27 950 | 5 |
|  | Patient cable with adaptors serial no. 45 23254 | 20 |
|  | Rectal temperature probes serial no.45 30 259 | 20 |
|  | Electrode adhesive rings seriaL NO. 45 23 742 | 2 SET |
| 02-05-00291 | Equipment:- X- Ray unit Company/manufacturer:- Simens Site:- Medical city |  |
|  | Megalix 125/30/82Cm | 3 |
|  | Insulat kit 1 for MMT tube | 2 |
|  | Adaptation megalix -MMT | 2 |
|  | High tension cable 3-core 20m | 2 |
|  | Optitop 150/40/80 HC-100L | 2 |
|  | Mod.Polyd.80 E27 97 277x1512 | 2 |
| 02-05-00292 | Equipment:- Bicor/coroscop C- elema Company/manufacturer:- Simens Site:- Medical city |  |
|  | Control console with programing attachment | 1 |
| 02-05-00293 | Equipment:- Monitor Company/manufacturer:- Simens Site:- Medical city |  |
|  | Moneitor model 8714560 x 1765 serial no.01803 modification 1765 220V 1 phase | 2 |
| 02-05-00294 | Equipment:- (cine projector tagarno 35AX) Company/manufacturer:- Simens Site:- Medical city |  |
|  | Lamps for tagarno 35AX | 4 |
| 02-05-00295 | Equipment:- X-Ray unit Company/manufacturer:- Simens Site:- Medical city |  |
|  | H.T generator model 7240088 X 1415 serial no.649 05 601 | 1 |
|  | D45 adapter (8055956 X 1415) | 1 |
|  | D 46 actual valve aquisition (8055931 X1415) | 1 |
| 02-05-00296 | Equipment:- X-Ray unit Company/manufacturer:- Simens Site:- Medical city |  |
|  | X-ray tube megalix 125/30/82C -120LW tube housing | 2 |
|  | Mega 125/30/82C | 2 |
| 02-05-00297 | Equipment:- X-Ray unit Company/manufacturer:- Simens Site:- Medical city |  |
|  | Image intensifier optilux lateral 1712HD model no.8832776V 5760 serial no.44568 590 | 1 |
|  | Image intensifier frontal optilux 27 HD- Triplex model no.8832 719V 5054 serial no.79051 508 | 1 |
| 02-05-00298 | Equipment:- Vidio med H camera Company/manufacturer:- Simens Site:- Medical city |  |
|  | Board Q 4700902 GE 001 | 1 |
|  | Bored VV 9455791 XE 001 | 1 |
|  | Board H 2893063 GE 001 | 1 |
|  | Boaed F 4737052 GE001 | 1 |
|  | Board Z 2893048 GE001 | 1 |
|  | Boaed S 4700910 GE001 | 1 |
| 02-05-00299 | Equipment:- Camera control unit Company/manufacturer:- Simens Site:- Medical city |  |
|  | Stabilizer BP 4762530 XE001 | 1 |
|  | Board N1 4737 151 GE001 | 1 |
|  | Board N2 4757 258 XE001 | 1 |
|  | Board 1 4737 110 GE001 | 1 |
|  | Board NV 4418976 RH052 | 1 |
|  | Board S C72411 -A3 -L98 | 1 |
|  | Board H C72411-A3 -L53 | 1 |
|  | Board KR C72411 -A3 -L35 | 1 |
|  | Board DK C72411-A3-L18 | 1 |
|  | Board VV C72411-A3 -L202 | 1 |
|  | Board VV C72411-A3-L203 | 1 |
| 02-05-00300 | Equipment:- X-Ray unit Company/manufacturer:- Simens Site:- Medical city |  |
|  | Monitor for D-S.A model no.8714511 X1762 serial no.01136 modification X1762 | 1 |
| 02-05-00301 | Equipment:- Combilabor.CBM-A8 processing unit for cine film Company/manufacturer:- Simens Site:- Medical city |  |
|  | 09-02 film roller 064V473 | 10 |
|  | 09-10 film guide roller 064V473 | 9 |
|  | 09-03 sealing ring 080C737 | 19 |
|  | 09-05 gear wheel assy 064v031 | 19 |
|  | 12-01 heating element 750W 064V139 | 4 |
|  | 12-02 thermistor 064V003 | 4 |
|  | 12-04 pump 064v115 | 4 |
|  | 12-07 P.C.board 064V694 | 4 |
|  | 13-01 transport motor assy 064V043 | 2 |
|  | 15-01 film guide assy 064V013 | 2 |
| 02-05-00302 | Equipment:- 35 cine film progector model -CPW-A- 35150 Company/manufacturer:- Simens Site:- Medical city |  |
|  | Coupling No. 4707683 GE016 | 4 |
|  | Pulley No.4707733GE016 | 24 |
|  | Belt No.4701280GE016 | 14 |
|  | Tooth head wheel No. 4707675GE016 | 4 |
|  | Tooth head wheel No. 470757GE | 2 |
|  | Coupling no.4708640GE016 | 2 |
|  | Boared no.4701264GG016 | 1 |
|  | Motor no.7705148B0900 | 1 |
| 02-05-00303 | Equipment:- Pandaros 1200A Company/manufacturer:- Simens Site:- Medical city |  |
|  | T.V.monitor model no.46723165024 serial no.01079 501 | 2 |
|  | X-Ray tube opti 150/40/102C | 2 |
|  | Cassette for cine film arriechno kat no.65098A | 2 |
|  | Image intensifier complate model 853Y01865307 serial no.01059 | 2 |
| 02-05-00304 | Equipment:- Hypothermic model 16-12-00 Company/manufacturer:- Simens Site:- Medical city |  |
|  | Thermosensor probe | 4 |
|  | Rooler blood pump | 4 |
| 02-05-00305 | Equipment:- Servo ventilator 900C Company/manufacturer:- Simens Site:- Medical city |  |
|  | Oxygen cell 90-04-979 | 20 |
| 02-05-00306 | Equipment:- Trademel cambridge model 3060 Company/manufacturer:- Simens Site:- Medical city |  |
|  | Belt for tradmel 3060 cambridge | 2 |
|  | Part computrace CM 3400 | 1 |
|  | Patient connection electrically isolated (patient cable with adapters) | 10 |
|  | Belt cambridge for rolling paper | 5 |

| 02-05-00307 | EMERGENCY PARTS/ SMALLINSTRUMENTS |  |  |
| --- | --- | --- | --- |
|  | Description | Ref.No. | QTY |
|  | Retinoscope Retinoscope bulb 2.5V |  | 100 |
|  | Slit lamp 18 97 23 6V/4, 5A spare bulbs for Haag- Streit 900 |  | 20 |
|  | Slit lamp/ Fixation point 17 52 69 5V spare bulbs for HS900 |  | 10 |
|  | Field analyser (C.Clarke) 10 61 27 Flash bulb for HK2 Friedmann |  | 2 |
|  | Friedmann HK2 18 44 62 Illunination bulp 8V/15A |  | 5 |
|  | Neitz 10H Indirect ophthalmoscope 11 60 51 6V/10W bulb |  | 10 |
|  | Neitz 10H binocular indirect ophthalmoscope Blue cobalt filter | 10 .02.44 | 5 |
|  | Neitz 10H 11 60 55 Scleral depressor |  | 5 |
|  | Friedmann MK2, Bloc 100 Schemas standards | 15 .98 .24 | 10 |
|  | Clement clarke synoptophore Spare bulb, after image device | 18.00.98 | 5 |
|  | Tests on synoptophore clarke Spare bulbs 6V/0, 3A |  | 6 |
|  | Slides on Clark synoptobhore Bulb (12V/24W) | 14.34.99 | 6 |
|  | Ophthalmoscope 7HL Ophthalmoscope on rechargeable battery handle, without double table charger. halogen bulb rekoss disc with corrections from 0 to -32D and 0 to +25D . 5 positions aperture wheel | 15.95.57 | 3 |
|  | Electric retinoscope SK7 electric retinoscope with rotatable streak rheostat incorporated in switch. 1 spare bulb with rechargeable battery handle. without table charger | 15.43.85 | 3 |
|  | Simmay 7HL or SK7 rechargeable handles Rechargeable battery | 12.44.94 | 12 |
|  | Indirect ophthalmoscope 11 60 10 Henie omega 200 indirect ophthalmoscope fitted with (transformer, charger, scleral depressor miror, extension cord, carrying case |  | 2 |
|  | Omega 200 (6V) Additional spare halogen bulbs | 12.84.30 | 6 |
|  | Operating microscope 36 90 18 OM 10 takagi |  | 1 |
|  | OM10 36 90 11 Spare halogen bulb | 09.99. 96 | 1 |

| 02-05-00308 | Consumubles for Microlyzar , Autoanalyzer & AA2 |  |
| --- | --- | --- |
|  | Pump tube (Grey -Grey ) 1x12 | 40 |
|  | Pump tube (Yellow -Yellow ) 1x12 | 40 |
|  | Chart paper for AA2 | 400 |
|  | Chart paper for Microlyzar | 200 |
|  | Chart paper for Autoanalyzar | 200 |

| 02-05-00309 | Manifold |  |
| --- | --- | --- |
|  | Phasing coil 1-55 ml /min | 20 each |
|  | Phasing coil 1-9 ml /min | 20 each |
|  | Phasing coil 2-1 ml /min | 20 each |
|  | Phasing coil 2-5 ml /min | 20each |
|  | Phasing coil 3 ml /min | 20each |

| 02-05-00310 | Equipment:Ultrasound Model: Item No. A4.4 Prod No.41M18800 Serial No.SSD-280 Company:Aloka-Japan Mechanical sector scanner probe - ASU-28H-3MHZ - ASU-28H-3.5MHZ with EP-1772 for sector scanner controller | 1 |
| --- | --- | --- |
| 02-05-00311 | Equipment:X-Ray Model: Item No. E1-104 Prod No.8114313 Serial No.HD-15013-10 Company:Shimadzu-Japan Capacitor 200V-6800Mf-Negative | 2 |
|  | mA Board 501-6553013 | 1 |
|  | Transistor ETG81-VCB,600V,IC30A,200W(tube Assembly 0.5/p38c-80S circlex) | 15 |
| 02-05-00312 | Equipment:Automatic processor Model: Item No. E2-9 Serial No.Kodak-RP-X-OMAT Processor Company:USA-Kodak 400 area accumulator circuti board | 2 |
| 02-05-00313 | Equipment:Ag precepitator unit Model: Item No. E4-4 Serial No.FX-30 Company:Shimadzu-Japan Printed circuit board | 1 |
| 02-05-00314 | Equipment:Maxillofacial X-Ray Unit Model: Item No. E1-117 Prod No.151073 Serial No.AX-4CM Company:Pamokmax-Japan Reversiple Motor 98648-(R2001) 100V/50 HZ/2.5MF/30min.(Withgear Box) | 1 |
| 02-05-00315 | Equipment:Angiography Model: Item No. E1-108 Prod No.6110586 Serial No.HD-150B-10 Company:Shimadzu-Japan Relay K4-RU-B/NOMRON LA1-1008(12V D.C) | 1 |
| 02-05-00316 | Equipment:ECG Model: Item No. A1-2 Prod No.22162 Serial No.ECG-5403 Company:Nihon-kohden-Japan Patient Cable-(BJ 2610) | 4 |
|  | Chest electrode for adults/5030378 | 12 |
|  | Styless | 50 |
|  | LIMB Electrode-SDTRAP,for adult 4Pcs/set-5030021 | 10 |
|  | LIMB Electrode-SDTRAP, 4Pcs/set-5030003 | 10 |
|  | Power cable(AC coard) | 2 |
| 02-05-00317 | Equipment:Defibrillator Model: Item No. A1-16 Prod No.20604 Serial No.TEC-5201VB Company:NIHON-Kohden-Japan Recharg cable battery pack(SB 501V) 6.6/12V D.C) | 13 |
|  | Capacitor 33MF/5.5KV D.C | 10 |
|  | Lead wire for Disposable electrodes Red-1-5031047 Yellow-1-5031056 Green-1-5031065 | 10 |
| 02-05-00318 | Equipment:Monitor Model: Item No. a1-15 Prod No.ICV 6000 Serial No.20762B Company:NIHON-Kohden-Japan Rechargable Battery pack(SP-602P)6.6/9V D.C | 10 |
|  | ECG Connsction cable 5570605 Antenna lead for 5031243 | 6 |
|  | electrode lead for Disposal electrode BR- red 5031047 electrode BY- yellow 5031056 electrode BB- black 5031083 | 40 |
|  | AG / AGCL disposable electrode 5030716 | 20 |
| 02-05-00319 | Equipment:Dental unit Model: Item No. A8-15 Prod No.VC-007 Company:NIHON-Kohden-Japan Halogen Bulb 24V D.C/150W | 5 |
|  | Holder for halogen bulb | 5 |
| 02-05-00320 | Equipment:Oxygen Regulator Regulator+Wet oxygen equipment | 4 |
| 02-05-00321 | Equipment:Slit-Lamp Model: Item No. A3-8 Prod No.SL-3D Serial No.207498 Company:TOPCON-Japan Lamp 6V/4.5A | 5 |
| 02-05-00322 | Equipment:P.C.V Center Fuge Model: Item No. D2-63 Prod No.MC-201 Company :Hitachi-Japan D.C motor /85V/4A/RPM 15000 | 2 |
| 02-05-00323 | Equipment:Radio therm Model: Item No. A7-42 Prod No.706 EH703 Company:Sienems-Germany Magnettron | 3 |
|  | Circuit Board Assy P.NO.4536348 EH703 | 2 |
|  | Diode-H463-3 HF H.V | 3 |
| 02-05-00324 | Equipment:Diaqgnostic sets , complete Model: Item No. A3 - 40 Recharge battery | 25 |
|  | Halogen bulb (4V) | 25 |
|  | Halogen bulb (3V) | 25 |
| 02-05-00325 | Equipment : Sphygmomanometer (stand ) Model :item no: A3 - 12 Prod no. : HM - 1104 (cat) comp.: Japan Head screw | 20 |
|  | Rubber packing | 40 |
|  | Fuelt | 25 |
|  | Roshi | 25 |
|  | Container | 20 |
|  | Tube packing | 25 |
|  | Glass tube | 40 |
|  | Rubber inlet bulb | 30 |
| 02-05-00326 | Equipment :Electry unit Model : item no.: A2 - 23 Prod no.: TRC - 1000 serial no. 60037890 Comp. MIZUHOIKAKOG YO , Co. ltd. Electrode chuck handle ( 3- terminal ) | 50 |
|  | Adapter for disposable inactive electrode | 20 |
|  | Inlet for inserting , electrode chuck handle | 50 |
|  | Inlet for inserting inactive electrode | 20 |
|  | Inlet for inserting mono polar electrode chuck handle | 20 |
| 02-05-00327 | Equipment :Central sterilizer Model: F1 _ 30 Steam trab | 20 |
|  | Solenoid valve 221 G 1603/ 4270 | 15 |
|  | Solenoid valve (water ) SX 3- 03 GW 80 | 10 |
|  | Solenoid valve for seal | 10 |
|  | Check valve JIS 10 KBNS - 1- ¼ | 15 |
|  | Packless valve ¾” | 10 |
|  | Packless valve 1 -1/4 | 10 |
|  | Saftey valve FB - 4 | 8 |
|  | Door gasket | 40 |
|  | One way clutch | 8 |
|  | Vaccum pump KT 100 E | 8 |
| 02-05-00328 | Equipment : E C G Model :item no.: A1 - 2 Prod no.: ECG - 5403 Serial no. 22159 Comp. Nihon - Kohden / Japan Control unit assembly (UP - 4065 ) , code no. (9406517 ) | 6 |
|  | Input unit circuit board assembly UP - 4247 (A ) , code no. 9424738 | 6 |
|  | Circuit board assembly ½ sensitivity unit UP - 4249 , code no. 9424943 | 6 |
|  | + _ (1104) Regulator unit (UP- 4243) code no.: 9424319 | 6 |
|  | +,- (12 V ) regulator unit UP - 4242 , code no. 9424212 | 6 |
| 02-05-00329 | Equipment :Shaker Model : item no.: D2 - 32 Prod no.: KR - 3 Comp. Kayagakikikakog , Japan Speed control | 4 |
| 02-05-00330 | Equipment : Test type ophthalmology remote control Model : item no.: A3 - 16 prod no.: EA- O72 Comp. Topcon , Japan Halogen bulb | 8 |
| 02-05-00331 | Equipment : Stethoscope fetal Doppler Model : item no.: A3 - 38 prod no.: FD - 200 Ser. No. 8412715 Comp. Toito , Japan Rechargeable battery back 10 N- 500 AAF ,12 V / 500 MAH OG Cadnica sanyo electric , Japan | 10 |
|  | Probe | 10 |
| 02-05-00332 | Equipment: X - ray unit Model : item no.: E1 - 105 prod no.: MD - 150 B - 100 Tube assembly ½ P38 C - 80 C circlex | 2 |
| 02-05-00333 | Spare parts for Tifa Armature magnito | 50 |
|  | Indicator tape for sterilization (Hogy ) , (12mm x 50m) | 700 rolls |
|  | OSONIC ECO equipment (Australia ) 901048 Probe 3.5 Mz frequency | 1 |
|  | U/S set photo line SLI ( Germany ) PE 90962 Sector & liner 5.5 Mz | 1 |
| 02-05-00334 | Spare part for bicor |  |
|  | Simomed HM 44CM Monitor Part no. 037 92 079 x 2077 | 2 |
|  | Dreh- Neigekonsole part no. 027 98 044 x 2077 | 2 |
|  | Mains cable for simomed part no. 011 10 910 x 1956 | 2 |
|  | Plug part no. E30 235 B 1947 | 2 |
|  | Sirecon 33-4 ýHDR patr no. 031 34 868 G 5382 | 1 |
|  | Collis protect .II 33, grid 12/40 part no.016 16 130 G 5307 | 1 |
|  | Accessory for X -ray tube 125 /30/82 CM Mod. Polyd. 80 Part no. E27 97 277 X 1512 | 2 |

|  | SPARE PARTS FOR X-RAY EQUIPMENT |  |  |
| --- | --- | --- | --- |
| 02-05-00335 | Spare parts for polydoros 50/80S (SIEMENS) quantity installed: 4 |  |  |
|  | Decsription | part and type no. | Qty |
|  | D801 fuse panel and rectifiers | 8701443 x1739 | 3 |
|  | D804 switching power unit +8.2V | 3151 685 B3305 | 3 |
|  | D805 Voltage regulator +5V | 845 8069 X1750 | 3 |
|  | D830 Display pane | 8458 085 x1750 | 3 |
|  | D833 unit + range keys | 84 58 101 x1750 | 3 |
|  | D834 equipment display | 8593 964 x1750 | 3 |
|  | D835 manual panel | 8458 127 x1750 | 3 |
|  | D69 Rear panel | 8134 173 x1575 | 3 |
|  | D802 Voltage regulater +_ 15V /+_ 12V | 8460 727 x1732 | 3 |
|  | D803 Switching power unit + 5V | 3173929 B 3305 | 3 |
|  | D810 Central unit M6 | 8593956 x1732 | 4 |
|  | D811 Memory | 8463457 x1732 | 4 |
|  | D812 inter face controller | 8460958 x1732 | 3 |
|  | D813 PAL board | 8702128 x1732 | 4 |
|  | D815 tube load calculator | 8697401 x1922 | 3 |
|  | D819 Bus wiring | 8463374 x1732 | 3 |
|  | D820 Filament inverter | 8459646 x1732 | 3 |
|  | D821 Filament control | 8703365 x1732 | 3 |
|  | D821 A Filament control | 8711202 x1732 | 3 |
|  | D840 KV -regulator | 8700726 x1732 | 4 |
|  | D851 V24 Converter | 8617300 x1740 | 3 |
|  | D900 Iontomat rear pane | 8695934 x1758 | 3 |
|  | D998 Over voltage protection | 8605271 x1745 | 3 |
|  | D8 Chamber- curent amplifier | 8604951 x1190 | 3 |
|  | D61 Voltage supply | 8061509 x1575 | 3 |
|  | D64 Opto- isolation | 8061566 x1575 | 3 |
|  | D65 Processor | 8061582 x1575 | 3 |
|  | D67 Speed monitoring | 8061624 x1575 | 3 |
|  | D631 Serial - parallel converter | 7228117 x1575 | 3 |
|  | D806 Voltage regulator +24V | 8617201 x1732 | 3 |
|  | D870 Poly- image - intensifier program memory | 8458432 x1766 | 3 |
|  | D885 N80 control | 8607350 x1813 | 4 |
|  | D890 KK- interface controller | 8606238 x1732 | 3 |
|  | D891 KK 1B converter | 8606253 x1732 | 3 |
|  | D892 KK 2 converter | 8606279 x1732 | 3 |
|  | D901A iontomat - mommomat control | 8459810 x1758 | 3 |
|  | D902A iontomat signal matching | 8606006 x1797 | 3 |
|  | D46 Actual -value sensing | 8055931 x1415 | 3 |
|  | D45 Adapter | 8155956 x1415 | 3 |
|  | HI high- voltage generator | 7240088 x1415 | 3 |
|  | X-ray tube 1253051 |  | 3 |
|  | X-ray tube 1254072 |  | 3 |
|  | D886 power circuit | 8617136 | 4 |
| 02-05-00336 | Spare parts for siregraph 2 (SIEMENS) Quantity installed : 1 |  |  |
|  | D17 counter board | 8182131 G 5276 | 2 |
|  | D22 Data bus board | 8373920 G 5306 | 2 |
|  | D23 CPU board ( ZG) | 8573586 G 5306 | 2 |
|  | D26 Multiple board ( ZG) | 8373847 G 5306 | 2 |
|  | D27 stepper motor board | 8373821 G 5306 | 2 |
|  | D29 poket terminal interface | 8573602 G 5306 | 2 |
|  | D33 A,B all storage effect board | 8323800 G 5276 | 2 |
|  | D34 A,B thy ristor board | 8373177 G 5306 | 2 |
|  | D60 comsole board | 8573560 G 5306 | 2 |
|  | D61 A-E reciver board | 8057481 G 5276 | 2 |
|  | D62 A-E transmitter board | 8057333 G 5276 | 2 |
|  | D63 5V power back | 3150042 B 3305 | 2 |
|  | D49 a-c Diode circuit board | 8323479 G 5276 | 2 |
|  | D52 IR - transmit circuit board | 8323271 G 5276 | 2 |
|  | D48 b,c fork -light cablinet | 8057309 G 5272 | 2 |
|  | D53b Encoder circuit board | 8323446 G5276 | 2 |
|  | D80 a-d light barrier PC board | 8573354 G 5306 | 2 |
|  | D50 Transmit circuit board | 8323198 G 5276 | 2 |
|  | D51 Receive circuit board | 8323214 G 5276 | 2 |
|  | Tilt motor | AM3 | 1 |
|  | Longitudinal carriage motor | AM4 | 1 |
|  | Column motor | AM5 | 1 |
|  | Layer-height motor | AM6 | 1 |
|  | SID motor | AM7 | 1 |
|  | Tube rotation motor | AM8 | 1 |
|  | Compression motor | AM9 | 1 |
|  | Table longitudinal motor | AM10A | 1 |
|  | table transverse motor | AM10B | 1 |
|  | Collimator plate motor ( width ) | AM101 | 1 |
|  | Collimator plate motor (height ) | AM1021 | 1 |
|  | Gride motor | AM103 | 1 |
|  | Film labelling motor (height ) | AM104 | 1 |
|  | Cassette carriage motor (height) | AM102 | 1 |
|  | Grid motor | AM103 | 1 |
|  | Film labelling motor (height) | AM104 | 1 |
|  | Cassette carriage motor ( height) | AM105 | 1 |
|  | Cassette carriage motor (lateral) | AM106 | 1 |
| 02-05-00337 | Spare part for KODAK RP X-OMAT processor model M6AW |  |  |
|  | Nipple (3) | 184824 | 20 |
|  | Spacer | 458205 | 10 |
|  | Spacer | 458236 | 10 |
|  | Pulley | 4589 01 | 50 |
|  | Pulley | 458946 | 5 |
|  | Belt | 462452 | 20 |
|  | Motor ( B2) | 466966 | 5 |
|  | Header assembly | 467867 | 5 |
|  | G roller | 470086 | 10 |
|  | Nut | 472755 | 10 |
|  | Nut | 472756 | 10 |
|  | Thermostat | 472949 | 10 |
|  | Thermostat ( B3) | 472992 | 10 |
|  | Bushing (2) | 473220 | 10 |
|  | Keeper plate (2) | 473221 | 10 |
|  | Spacer | 473538 | 10 |
|  | Spacer | 473539 | 10 |
|  | Relay (UI) | 593740 | 10 |
| 02-05-00338 | Spare parts for invearmeter |  |  |
|  | IM 050 Inverto matic Energy conversion Ltd 6595 Riazzino / Locurmo / Switzzeland Series Nr. 1985 - 56 HZ made in Germany |  | 1 |

|  | Spare parts for Eyes |  |  |
| --- | --- | --- | --- |
| 02-05-00339 | Equipment- NEG-YAG-Laser Company manufacturer:- Carl- zeiss NAG- YAG Germany Flash lamp |  | 50 |
| 02-05-00340 | Equipment:- Indirect ophthalmoscope Company manufacturer:- Keeler Lamp dualite |  | 50 |
| 02-05-00341 | Equipment: indirect ophthal moscope Company manufacturer:- dualite - England Lamp 6V-30W |  | 100 |
|  | head fitting |  | 10 |
| 02-05-00342 | Equipment: phocimeter Company manufacturer:- Top Con-Japan Model :LM-5 Lamp LM 880 Z 220V-15W |  | 50 |
| 02-05-00343 | Equipment: phocimeter Company manufacturer:- Top Con-Japan Model :LM-P5 Lamp 6V-15W |  | 50 |
| 02-05-00344 | Equipment: phocimeter Company manufacturer:- Top Con-Japan Model :LM-6 Lamp 220V-15W |  | 50 |
| 02-05-00345 | Equipment: phocimeter Company manufacturer:- Indmi -Japan Lamp 220V-15W |  | 50 |
| 02-05-00346 | Equipment: phocimeter Company manufacturer:- TMI -Japan Model :LM-EX Lamp 220V-15W |  | 50 |
| 02-05-00347 | Equipment: Operative microscope Company manufacturer:- Heraeus W.- Germany Lamp 22.8V-50W |  | 150 |
| 02-05-00348 | Equipment: Euko- ultrasound Company manufacturer:- Ophtascan B-C Euko Prop. |  | 10 |
| 02-05-00349 | Equipment: Electric cautery Company manufacturer:- Aesculap- Germany Prop. 670 Gk |  | 30 |
|  | Foot switch |  | 20 |
| 02-05-00350 | Equipment: Keratometer Company manufacturer:- TOP CON- Japan Lamp |  | 200 |
| 02-05-00351 | Equipment: Biometer Company manufacturer:- Storz Model: Alpha II Prop. 046/00083 |  | 10 |
| 02-05-00352 | Equipment :Vitrectomy Company manufacturer:-Laser fotocoagulador S32 Prop. |  | 6 |
| 02-05-00353 | Equipment: Synaptophore Company manufacturer:- Clement clarke- London Model: 2001 -610 Lamp 6V -3 A |  | 50 |
|  | Halogen Lamp 6V-20 A |  | 50 |
| 02-05-00354 | Equipment: Radio scop Company manufacturer:- EYCO- Japan Model: RS-1 Lamp 6V -25 W |  | 30 |
|  | Transformer 6V -20W |  | 5 |
| 02-05-00355 | Equipment:ECG Company manufacturer:- NIHON -Japan Model: ECG-5151 Styles |  | 10 |
| 02-05-00356 | Equipment: Direct ophthalmoscope Company manufacturer:- Keeler Lamp 3.8V |  | 100 |
|  | Lamp 2.6V |  | 100 |
| 02-05-00357 | Equipment: Refractometer( Computerise) Company manufacturer:- TOP CON Model: RM-A5000 Paper role |  | 5 box |
| 02-05-00358 | Equipment: Cat Ford Company manufacturer:- Keeler Motor 12V/2VA |  | 5 |
|  | Reverseaction stick |  | 5 |
| 02-05-00359 | Equipment: Floor- Operative microscope Company manufacturer:- ZEISS Model: YS3 Halogen lamp 12V /100W |  | 50 |
|  | Fiber O ring 303 481-81 09 |  | 50 |
| 02-05-00360 | Equipment: Mounted operative light Company manufacturer:- HANA ZEISS Model: Opmi 6-CFC- XY Halogen lamp 15V/150W |  | 100 |
| 02-05-00361 | Equipment: Retinoscope Company manufacturer:- HEINE W.-Germany Model: HRS 2 Lamp G1803/2.5V |  | 100 |
|  | Description | Ref. No | Qty. |
| 02-05-00362 | SPARE PARTS FOR STERILLIZERS Lock washer | E0037 | 20 |
|  | Screw | E0090 | 10 |
|  | Lock washer | E0246 | 20 |
|  | Nut | E2033 | 10 |
|  | Screw | E2142 | 6 |
|  | Holder ,fuse | B2173 | 2 |
|  | Spring | 03157 | 5 |
|  | Replacement Scal ,bellows ,gasket | 03198 | 200 |
|  | Valve ,Sfety 03352 | 61870 | 5 |
|  | Switch | 03483 | 6 |
|  | Ball | 03610 | 4 |
|  | Valve, vacuum breaker ,3/4” | 03694 | 1 |
|  | Screw | E4636 | 30 |
|  | Screw | E4637 | 10 |
|  | Screw | E4640 | 20 |
|  | Screw | E1837 | 3 |
|  | Gasket ,bellows housing | 04915 | 40 |
|  | Screw | E4949 | 20 |
|  | Nut | E5276 | 5 |
|  | Valve , Solenoid | 53011 | 5 |
|  | Screw | E5386 | 6 |
|  | Screw | E6201 | 20 |
|  | Valve, Globe 1/2” | 07648 | 1 |
|  | Valve , union, angle ,1/2” | 07650 | 1 |
|  | Replacement scal , bellows , gasket | 07809 | 200 |
|  | Bearing thrust | 07840 | 5 |
|  | Lamp | 07863 | 20 |
|  | Fuse , 5 amp | 08442 | 10 |
|  | Air release assembly | 11666 | 6 |
|  | Switch , door | 13271 | 4 |
|  | Disc, filter | 13275 | 10 |
|  | Swith | 13300 | 10 |
|  | Spring | 13389 | 2 |
|  | Motor assy,120 V ,50Hz | 13407 | 1 |
|  | Lubricator ,Felt | 13424 | 200 |
|  | Ring, valve , teflon | 22626 | 200 |
|  | “O” ring, valve stem packing | 22630 | 400 |
|  | Spring , valve | 22633 | 20 |
|  | Seat, removable, valve | 22638 | 50 |
|  | Valve assembly | 22647 | 5 |
|  | Recorder charts(box of 100) | 73365 | 20 |
|  | Handle, pointer | 23545 | 5 |
|  | Hub, handle mounting | 23546 | 2 |
|  | Gasket , cored | 26456 | 5 |
|  | Replacement seat , bellows gasket | 27557 | 15 |
|  | Terminal assambly | 27602 | 1 |
|  | Circuit breaker,5 amp | 27625 | 2 |
|  | Lamp,pilot light assy | 27689 | 2 |
|  | Valve , safty , (replaces 27744) | 61871 | 1 |
|  | Valve, safty 33 p.s.i. | 27833 | 1 |
|  | Switch,pressure | 28510 | 4 |
|  | Switch ,Bank Assy | 28661 | 1 |
|  | Oil ,high temp x488(1 pt.tin) | 29158 | 15 |
|  | Bellows assy | 29774 | 20 |
|  | Spring | 29791 | 5 |
|  | Rod, lock , actuating | 29805 | 4 |
|  | Wick , oil | 29955 | 5 |
|  | Spring | 31625 | 5 |
|  | Bearing , hinge | 31902 | 100 |
|  | Pin | 31903 | 50 |
|  | Spring | 31904 | 10 |
|  | Motor assembly | 31946 | 1 |
|  | Filter , steam | 32412 | 2 |
|  | Valve assembly | 33038 | 3 |
|  | Switch , temp. , SPDT | 34295 | 2 |
|  | Condenser | 34500 | 2 |
|  | Valve | 34506 | 1 |
|  | Bellows assembly | 34621 | 25 |
|  | Body assembly, valve | 34621 | 2 |
|  | Stem assy,bellows | 35073 | 25 |
|  | Light,pilot,120 V 50 Hz | 35220 | 10 |
|  | Spring | 35605 | 5 |
|  | Plunger assy | 35606 | 20 |
|  | Lamp | 36569 | 40 |
|  | Resistor | 36603 | 4 |
|  | Disc , washer, float for vac. brkr | 36664 | 20 |
|  | Pressure regulator assembly | 37564 | 2 |
|  | Gage , pressure , jacket | 37887 | 15 |
|  | Gage , pressure , chamber | 37888 | 15 |
|  | Handle assembly | 37936 | 1 |
|  | Pointer , manual | 37943 | 2 |
|  | Switch, selector | 38174 | 1 |
|  | Circuit breaker , 5Amp | 38500 | 2 |
|  | Switch , push push button | 39051 | 1 |
|  | Stud , locking | 39480 | 10 |
|  | Replacement disc | 39515 | 400 |
|  | Replacement disc | 39516 | 10 |
|  | Light, pilot | 39708 | 6 |
|  | Gauge ,temperature | 39889 | 15 |
|  | Switch | 39896 | 1 |
|  | Relay | 39910 | 2 |
|  | Solenoid (40003 replacement) | 55186 | 1 |
|  | Thermostat | 40268 | 6 |
|  | Switch | 40269 | 6 |
|  | Light | 40272 | 6 |
|  | Water reservoir tank assy | 40285 | 2 |
|  | Motor , fan | 40291 | 3 |
|  | Glass,sight | 40297 | 4 |
|  | Switch | 40293 | 6 |
|  | Plug | 40298 | 4 |
|  | Light | 40319 | 6 |
|  | Thermostat, low water (replaces 40326) | 61858 | 3 |
|  | Spring | 40339 | 2 |
|  | Relay , DPDT | 40502 | 1 |
|  | Replacement disc holder | 40709 | 100 |
|  | Replacement disc | 40710 | 500 |
|  | Thermometer | 40747 | 6 |
|  | Valve , solenoid. 1/2” | 43751 | 1 |
|  | Moter , gear , 120V 50Hz (replases 43753) | 52083 | 1 |
|  | Screen (replacament for 37189) | 43907 | 20 |
|  | Buzzer (or P/N 44634) | 43920 | 4 |
|  | Relay, time delay | 44070 | 2 |
|  | Parts kit for P/N 43751 | 44088 | 2 |
|  | Gasket , door | 44599 | 200 |
|  | Gasket door | 44600 | 40 |
|  | Gauge | 46059 | 12 |
|  | Timer, drying , 50Hz | 46141 | 2 |
|  | Timer ,50Hz | 46278 | 1 |
|  | Timer , 90min., 50Hz | 46622 | 2 |
|  | Handle , moulded | 46638 | 2 |
|  | Motor assy , cam drive , 50Hz | 46755 | 1 |
|  | Capacitor | 51251 | 1 |
|  | Gasket , door | 52217 | 24 |
|  | Ink, cartridge supply (pk of 6) | 52255 | 10 |
|  | Spring | 54917 | 8 |
|  | Heater | 56531 | 20 |
|  | Cap, lens , green | 58002 | 10 |
|  | Switch assy ,push button | 58003 | 10 |
|  | Timer ,cycle , 1min. | 58004 | 5 |
|  | Fuse | 58147 | 30 |
|  | Valve | 59798 | 3 |
|  | Holder & Stylus cartridge | 33730 | 2 |
|  | Screen ,chamber drain | 07181 | 20 |
|  | Replacement screen | 43908 | 1 |
|  | Probe, liquid level detector | 43919 | 1 |
|  | Replacement disc | 03388 | 5 |
|  | Replacement disc (N/A) | 08281 | 5 |
|  | Replacement disc (N/A) | 31834 | 5 |

| 02-05-00363 | Equipment : sterilizer High pressure tube 10 par | 4 |  |
| --- | --- | --- | --- |
|  | Plastic water reservior | 1 |  |
| 02-05-00364 | Equipment:X-Ray(fixed) company :Shimadzo Tube of X-Ray | 1 |  |
| 02-05-00365 | Equipment:X-Ray( portable) company :Shimadzo Tube of X-Ray | 3 |  |
| 02-05-00366 | Equipment:X-Ray( portable) company :Tochiba Tube of X-Ray | 1 |  |
| 02-05-00367 | Equipment: ECG company : A.O Patient cable for ECG | 2 |  |
| 02-05-00368 | Equipment: ECG company : Nehon Patient cable for ECG | 2 |  |
| 02-05-00369 | Equipment: ECG company : hp. Patient cable for ECG | 3 |  |
|  | Halogen lamp of op.projector Model : 50-24 V | 40 |  |
|  | Lamp for protaple projector Model : 35W-24V | 40 |  |
| 02-05-00370 | Equipment : Incubator Company :Vickers Thermostat | 3 |  |
|  | DG shock stayless CR | 1 |  |
|  | Patient cable DG shock CR | 3 |  |
|  | DC shock battrey | 3 |  |
|  | Centrfuge motor T30 | 2 |  |
|  | Centrfuge motor T52 | 1 |  |
|  | Oven thermostat (memert ) | 2 |  |
|  | Oven thermostat (IMS) | 2 |  |
|  | Incubator thermostat (memert ) | 1 |  |
|  | Photocell (specal 10) | 4 |  |
|  | Lamp (spectronic 20) | 4 |  |
|  | Heater for distilizer | 2 |  |
|  | Eliment water bath (CFL) | 1 |  |
|  | Main board for massage instrument (ITO) | 3 |  |
|  | Crystal sonicade | 4 |  |
|  | Nebulizer spare part | 4 |  |
|  | Diephram of liqu. Secar (SAM20) | 20 |  |
|  | Power tramsastor for cuttery (Bux 80) | 10 |  |
|  | Control transastor (D45) | 4 |  |
|  | Control transastor (D44) | 4 |  |
|  | Risistor (2.2) | 4 |  |
|  | IC control(7808) | 4 |  |
|  | Cuttary hand piece | 4 |  |
|  | Optical lenss of microscope (will) | 2 |  |
|  | Lenss of microscope (No 40 will) | 1 |  |
|  | Lenss of microscope (No 100 Olimpic ) | 1 |  |
|  | Microscope lamp (Olimpic) | 5 |  |

| 02-05-00371 | Spare parts for siregraph 2 (SIEMENS) Quantity installed : 1 |  |  |
| --- | --- | --- | --- |
|  | D30 24V stabilizastion | 8573669 G 5306 | 2 |
|  | D31 LOW - pass | 8373227G5306 | 2 |
|  | D32 motor control | 8349505 G 5334 | 2 |
|  | D41A Dual power supply | 4252136 x1100 | 2 |
|  | D41B power attachement | 2062321 x1100 | 2 |
|  | D71 switch controller | 3151818 B 3305 | 2 |
|  | D1C, D small -power motor control | 8373110 G 5306 | 2 |
|  | D2A, B thyristor control 3 | 8373441 G 5306 | 2 |
|  | D3 Infrared decoder | 8573685 G 5306 | 2 |
|  | D5 power switch | 8139560 G 5276 | 2 |
|  | D11 Input sircuit board | 8139503 G5276 | 2 |
|  | D8 A/D converter | 8323651 G 65276 | 2 |
|  | D13 processor monitoring | 8373701 G 5306 | 2 |
|  | D21 data bus circuit board | 8373904 G 5306 | 2 |
|  | D35 CPU board GG | 8373300 G 5306 | 2 |
|  | D24 multiple board (GG ) | 8373862 G 5306 | 2 |
|  | D25 dual port circuit board | 8373888 G5306 | 2 |
|  | D28 Fiber - optic interface 2 | 8373961 G 5306 | 2 |
|  | D1a small -power motor control | 8373110 G 5306 | 2 |
|  | D9Digital motor control 2 | 8373268 G 5306 | 2 |
|  | Rubber tire for wheel chair (Korea) Large |  | 50 |
|  | Rubber tire for wheel chair (Korea) Small |  | 50 |

| Code | Item | Part No. | QTY. |
| --- | --- | --- | --- |
| 02-05-00372 | Equipment:CT-Scan Model:Somtom-HQ Serial No.8989 Company/Manufacturer:Siemens Quantity:1 Site:Medical city/Hospital/Surgical Hospital # Gantry BRD D1 | 8530529 | 1 |
|  | BRD D2 | 8530595 | 1 |
|  | D3 | 1123632 | 1 |
|  | D4 | 1123947 | 1 |
|  | D10 | 8530644 | 1 |
|  | D12 | 8530685 | 1 |
|  | D13 | 8530701 | 1 |
|  | Timing BRD D14 | 8530727 | 1 |
|  | D15 | 8530747 | 1 |
|  | D17 | 8530784 | 1 |
|  | DC modul D12 | 7484652 | 1 |
|  | Converter AC-DC E4B,27/+4 – 6V 25 A | 3173929 | 1 |
|  | Micro switch S2,S3,S4 | 1070721 | 3 |
|  | Comi-SCS-Firmware | 8791030 | 1 |
|  | SCU- Firmware | 1160170 | 1 |
|  | Diazed fuse 6A 500V Treag | 1005370 | 5 |
|  | Diazed fuse 4A 500V Treag | 3010022 | 5 |
|  | Diazed fuse 10A 500V Treag | 1009505 | 5 |
|  | Diazed fuse 63A 500V SE | 1068030 | 5 |
|  | Temp.switch tube 75GRDC 1 75 degrees | 4665105 | 2 |
|  | ## Power Destribution Cabinet Diazed fuse 20/500V TR | 1011147 | 5 |
|  | ## 25A/500V Treag | 1007152 | 5 |
|  | ## 16A/500V Treag | 1010420 | 5 |
|  | ## 10A/500V Treag | 1009505 | 5 |
|  | ## 2A/500V Treag | 1007145 | 5 |
|  | ## BRD D1 | 4393708 | 1 |
|  | ## SMI D80 | 8719114 | 1 |
|  | ## D81 | 8719130 | 1 |
|  | ## D88 | 8726549 | 1 |
|  | ## D94 | 8735789 | 1 |
|  | ## D22 | 8530081 | 1 |
|  | ## Switching Power Supply E40,E4E,271+11-16V 8A | 3167210 | 1 |
|  | ## REP REG E46 220/+5V 30A | 7712334 | 1 |
|  | ## REP REG D4 | 8725830 | 1 |
|  | ## D21 | 8119158 | 1 |
|  | ## D29 | 8720500 | 1 |
|  | ## D30 | 8041402 | 1 |
|  | ## D32 | 8041444 | 1 |
|  | ## D33 | 8041469 | 1 |
|  | ## D55 | 8725855 | 1 |
|  | ## D65 | 8719155 | 1 |
|  | ## D71 | 8729568 | 1 |
|  | ## Patient-Table Power Amp.D12 | 7424567 | 1 |
|  | ## BRD D10 | 8326522 | 1 |
|  | ## BRD D11 | 8790560 | 1 |
|  | ## Micromatic-CW Interface BRD D3 | 9351032 | 1 |
|  | ## Power Supply BRD D5 | 6931984 | 1 |
|  | ## D7 | 9102278 | 1 |
|  | ## Thyristor –Diode(-)CPL | 9307430 | 3 |
|  | ## Thyristor –Diode(+)CPL | 9307265 | 3 |
|  | ## DSC D10 | 8790669 | 1 |
|  | ## D28 | 8790701 | 1 |
|  | ## DMC D1 | 8869653 | 1 |
|  | ## D6 | 7760655 | 1 |
|  | ## Pin | 8776601 | 1 |
|  | ## D5 | 8786774 | 1 |
|  | ## D8 | 8786543 | 1 |
|  | ## D15 | 8790933 | 1 |
|  | ## Power supply 27/+4-6V 12A | 3173911 | 1 |
|  | ## BRD 27/+-4 -6V 25A | 3173929 | 1 |
|  | ## BRD 27/2*11-16 2*4A | 3174703 | 1 |
| 02-05-00373 | Equipment:Prosessor Model:M 6 A W Company/Manufacturer:Kodak R P X-O M A T Quantity:10 Site:Medical city/Hospital/Surgical Hospital ## Nipple(3) | 184823 | 20 |
|  | Spacer | 458205 | 10 |
|  | Pulley | 458901 | 50 |
|  | Pulley | 458946 | 5 |
|  | Belt | 462452 | 20 |
|  | Motor(B2) | 466966 | 5 |
|  | Header Assembly | 467867 | 5 |
|  | Groller | 470086 | 10 |
|  | Nut | 472755 | 10 |
|  | Nut | 472756 | 10 |
|  | Thermostat | 472949 | 10 |
|  | Thermostat (B3) | 472992 | 10 |
|  | Bushing (2) | 473220 | 10 |
|  | Spacer | 473538 | 10 |
|  | Spacer | 473539 | 10 |
|  | Keeper plate (2) | 473221 | 5 |
|  | Relay (U1) | 593740 | 10 |
| 02-05-00374 | Equipment:Multi Analysing System Model:Astra –8- Company/Manufacturer:Beckman Quantity:3 Site:Medical city/Hospital 1.Surgical Hospital 2.Laboratory Glucose module rapid kit | 669000 | 2 |
|  | Bun module operating instruction | 555587 | 2 |
|  | NA/K module operating instruction | 555588 | 3 |
|  | Glucose module operating instruction | 555591 | 3 |
|  | Creatinine module operating instruction | 555592 | 3 |
|  | Transport Assy,wired | 499-668390 | 1 |
|  | Contact assy | 724-665776 | 1 |
|  | ARM,Adjustment molded | 325-665932 | 1 |
|  | Actuator | 226-668327 | 1 |
|  | S.C.D Motor | 842-668329 | 1 |
|  | Gear, Reworked | 201-669167 | 1 |
|  | Cylinder assy –5 ml | 449-668271 | 1 |
|  | Sample pump module | 668150-R | 1 |
|  | Fan assy | 241-657918 | 1 |
|  | Buzzer,cable assy | 662-657783 | 2 |
|  | Fan assy | 241-657918 | 3 |
|  | S.C.D ,Key board | 716-668250 | 1 |
|  | BD assy truntable/wash CUP | 855-668810 | 1 |
|  | CRT assy hewlett packard | 449-669527 | 1 |
|  | Rectifire,bridge 50 V 10A | 774-836999 | 1 |
|  | Voltage Regulator +24V 1A, | 885-873439 | 1 |
|  | Voltage Regulator,MC 7812 CP | 885-876291 | 1 |
|  | Rectifire ,50V 2A | 774-879665 | 1 |
|  | Electrode,Sodium | 66895 | 2 |
|  | Electrode, Potassium | 669114 | 2 |
|  | Clucose module | 668170 | 1 |
|  | Clucose Electrode | 670522 | 2 |
|  | Printer head | 657910 | 2 |
|  | Disck Driver | K159227 | 2 |
| 02-05-00375 | Equipment:ECHO Model:Sonoline of Company/Manufacturer:Siemens Site:Medical city/Hospital/Surgical Hospital ## Monitor sony model No.CPD -9090 |  | 1 |
|  | Probe 3.5 MHZ 83 39 210 L1001 |  | 1 |
|  | Probe 5 MHZ 83 39 228 L1001 |  | 1 |
| 02-05-00376 | Equipment:Servo Ventelator Model:900 c Company/Manufacturer:Siemens Elma Site:Medical city/Hospital/Surgical Hospital Inlet valve |  | 20 |
|  | O2 cell |  | 20 |
|  | Bacteria filter |  | 20 |
|  | Relief/safty valve |  | 20 |
|  | Flow transducer |  | 20 |
|  | Expiratory valve |  | 20 |
|  | Pressure transducer |  | 20 |
|  | Working Pressure momometer |  | 20 |
|  | Inspirotory valve |  | 20 |
|  | Non-return flap valve |  | 10 |
| 02-05-00377 | Equipment:System Sirecust (monitering system) Model:1281 Company/Manufacturer:Siemens Site:Medical city/Hospital/Surgical Hospital A 160 Horiver beflation board | 87 91 436 | 2 |
|  | A 250 mother board | 87 91 550 | 2 |
|  | A 930 Battery board | 87 91 485 | 1 |
|  | A 140 power supply board | 87 91 657 | 1 |
| 02-05-00378 | Equipment:Neuro scope Model:BSER Company/Manufacturer:Dantic Site:Medical city/Hospital/Surgical Hospital Cable 18 F (6M) | 107 -180 | 1 |
|  | Head phone | TDA-39P | 1 |
| 02-05-00379 | Equipment:Anaeshictic machine Model:808 MV Company/Manufacturer:Drager Site:Medical city/Hospital/Surgical Hospital (Pressure regulator) | 8402745 | 20 |
|  | 3/2-way valve | 8403006 | 20 |
|  | Flow control valve | 840468 | 20 |
|  | Bellows | 2M8138 | 10 |
|  | Vent valve | 8404660 | 10 |
|  | Vacuum relay |  | 40 |
| 02-05-00380 | Equipment:Treadmill Model:Sicard 440 Company/Manufacturer: Siemens Site:Medical city/Hospital/Surgical Hospital Keyboard unit Part No. 93 42 | 403EH44E | 1 |

| 02-05-00381 | Recommended spare parts &accessories for Automated coagulation timer &diagnostic kits |  | For one apparatus |
| --- | --- | --- | --- |
| 02-05-00382 | Recommended spare parts &accessories for Equipment:Glass distillator Company :Russin Model:JSC (chim labor pri POR 16) |  | For one apparatus |
| 02-05-00383 | ## Inspiration/Expiration valve unit No.900101(Blease 9100) |  | 1 |
| 02-05-00384 | ## Pneumatic Board No.PC 765-C-M Spare No. 697799E347E (Siemens,Servo 900C) |  | 1 |

| 02-05-00385 | ## Equipment:X-Ray Model:SAT-10 Company:Schemadzu/Japan X-Ray Tube |  | 1 |
| --- | --- | --- | --- |
|  | ## Circlex 0.8 P3 8c |  | 1 |
|  | ## Max 150 KV |  | 1 |
|  | ## Pocous 0.8mm |  | 1 |
|  | ## 200 Khu Rotating anode X-Ray tube assy |  | 1 |

| 02-05-00386 | ## Spare parts of somatom HIQ X-Ray tube | 156CT-103 MS | 2 |
| --- | --- | --- | --- |
|  | ## Gautry belt | 7039522 F0705 | 2 |
|  | ## X-Y Digitizer Pail |  | 3 |
|  | ## (Matrix-Resistance) MED PT510 (pocket terminal) |  | 1 |
|  | ## CPU-D28 K1056 |  | 1 |

| 02-05-00387 | ## Spare parts for medical equipment for neurosurgical center ## Equipment:Gusa Company:Copper medical 88 Hamilton Avenue,Stamford CT 06904 4.5 A Model: Ns-100-AEB Handpiece pkgd-cusa | 212-300 | 8 |
| --- | --- | --- | --- |
|  | ## Cable assy handpiece | 213 490 001 | 8 |
|  | ## Acoostic vibrator assy | 210 580 001 | 8 |
|  | ## P.C Board Assy-A3 U/S generator | 210 720 000 | 8 |
|  | PC board Assy A1 Logic | 210 720 000 | 8 |
|  | ## PC board Assy A2 Logic | 210 830 000 | 8 |
|  | ## Shematic-PC board A4 Driver | 240 980 000 | 8 |
|  | ## Motor control board assy | 211 160 000 | 8 |
| 02-05-00388 | ## Equipment:Roche Company:Tegimenta CH-6343 rotkreuzag Switzerland ## Electric board made in italy elmi,ECS 36 Electric board | 94-00217 | 20 |
|  | ## Electric board | 94-0021A | 20 |
|  | ## Electric board | 94-00214 | 20 |
|  | ## Electric board | 94-00019 C | 20 |
|  | ## Electric board | 94-00018 | 20 |
|  | ## Main transformer | 20211 | 10 |
| 02-05-00389 | ## Equipment:Cuttery martin type 2000 220V,VA=1100 hp=400w ## Company:Gebr –Martin Tublingen Generator 1 | 29-37/1 | 20 |
|  | ## Generator 2 | 29-38/1 | 20 |
|  | ## Control switch | 29-36 | 20 |
|  | ## Board control | 29-35 | 20 |
|  | ## Slid-resistant board | 29-46 | 20 |
|  | ## Main transformer | 29-41/1 | 20 |
|  | ## Power transister (type Delco –GM) | DTS-430 7829 | 200 |
|  | ## Resistant | 1214-8L 2R2 10% | 20 |
|  | ## Resistant | 2.2 10% K1 | 20 |
| 02-05-00390 | ## Equipment:sucker Type 20 220V,50 HZ ## Company:Aerosol products LTD,680 Garrte lane london SW 17 ONP Motor 220V,1400 RPM 1-Q | 844712 | 20 |
|  | ## Filter |  | 50 |
|  | ## Switch |  | 50 |
|  | ## Change valve |  | 20 |
|  | ## Vacume gage |  | 20 |
|  | ## Dieframe |  | 100 |
| 02-05-00391 | ## Equipment:Moniter 220 V,50 HZ Company: Siemens West Germany Model: Sirecust 308 D ## Recomanded spare parts |  | 10 set |
| 02-05-00392 | ## Equipment:Servo Ventilator 900 B ## Company: Siemens elema AB,Sweden ## 66 05 497 E 037E Model:E 037E-SV 900 ## Recomanded spare parts |  | For 1 pace |
| 02-05-00393 | ## Equipment:Sucker Silent ## Company : Charles austen pumps LTD ## 100 Royston road byflect weybridge surrey England KT 14 7PB ## Model: B105.SIE voltage 220 /240 V Vacume motor | DE 9020 | 30 |
|  | ## Filters |  | 100 |
| 02-05-00394 | ## Equipment:Operating ceiling Projector ## Company : Original Hanau W-Germeny Hologen lamp 50W,22.8 V |  | 1000 |
| 02-05-00395 | ## Equipment:EEG(8 chanale)&(16 Chanale) ## Company : Siemens elema ,Sweden Gilvanometer | 6072235E-039E | 400 |
|  | ## Pump | 6389720E 127E | 5 |
|  | ## Pump | 74-06(EMI 260) | 5 |
| 02-05-00396 | ## Equipment:scanner ## Company : Somatoma HIQ Siemens - Gantary X-Ray tube 156 CT-103 M | 8963368 | 1 |
|  | ## Filter crd D3 K1044 | 8530974 | 1 |
|  | ## D11-PGA crd. K1044 |  | 1 |
|  | ## D12-PGA-ACD crd K1044 |  | 1 |
|  | ## D13 Tilt control br. K1044 |  | 1 |
|  | ## Host KA 630-ACPV K1059 |  | 1 |
|  | ## MS 630 memory module K1059 |  | 1 |
|  | ## TQK 50-BA controler TK 50 K1059 |  | 1 |
|  | ## RQDX3 system K1059 |  | 1 |
|  | ## DZQ11#0 K1059 |  | 1 |
|  | ## QMZG#0 K1059 |  | 1 |
|  | ## UCOU# 0 K1059 |  | 1 |
|  | ## Fiber optic cable |  | 2 |
|  | ## MMCW D1 CPU br M10 | 9017971 | 1 |
|  | ## D5 M10 | 6931984 | 1 |
|  | ## D6 M6 | 9567405 | 1 |
|  | ## D7 M9 | 9102278 | 1 |
|  | ## D8 M4 | 9391830 | 1 |
|  | ## DMC D16 K1029 |  | 1 |
|  | ## D3 K1029 |  | 1 |
|  | ## D24 K1029 |  | 1 |
|  | ## D15 K1029 |  | 1 |
|  | ## D9 K1029 |  | 1 |
|  | ## D5 K1029 |  | 1 |
|  | ## Table patient Gas compression spring |  | 1 |
|  | ## D2a K2004 |  | 1 |
|  | ## D2b K2004 |  | 1 |
|  | ## D7 K1003 |  | 1 |
|  | ## D8 K2004 |  | 1 |
|  | ## D9 K1003 |  | 1 |
|  | ## D10 K1003 |  | 1 |
|  | ## D6 K1003 |  | 1 |
|  | ## D11 K1003 |  | 1 |
|  | ## D13 K1003 |  | 1 |
|  | ## SMI ## D 29 K5001 E31 | 8720500 | 1 |
|  | ## D 88 K5001 E31 | 8726549 | 1 |
|  | ## D 20 K5001 E31 | 8730400 | 1 |
|  | ## D 6 K5001 E31 | 8730384 | 1 |
|  | ## D 22 K5001 E31 | 8119174 | 1 |
|  | ## D 21 K5001 E31 | 8119158 | 1 |
|  | ## D 14 K5001 E31 | 8526501 | 1 |
|  | ## D 5 K1058 E32 | 8787426 | 1 |
|  | ## D 50 K5001 E32 | 8584401 | 1 |
|  | ## D 8 K5001 E32 | 8719023 | 1 |
|  | ## D 4 K5001 E32 | 8725830 | 1 |
|  | ## D 30K5001 E30 | 8041402 | 1 |
|  | ## D 32K5001 E30 | 8041444 | 1 |
|  | ## D 33K5001 E30 | 8041469 | 1 |
|  | ## D 34K5001 E30 | 8732794 | 1 |
|  | ## D 65K5001 E30 | 8719155 | 1 |
|  | ## D 80K5001 E30 | 8719114 | 1 |
|  | ## D 81K5001 E30 | 8719130 | 1 |
| 02-05-00397 | ## Full operating and Schamatic Decommand for 3M Laser Imager Module P831CBO |  | 1 |

|  | ## Spare parts for medical equipment |  |  |
| --- | --- | --- | --- |
| 02-05-00398 | ## Equipment:Spekol ## Quantity:3 Photo cell knobs for adjixtment | 10 | 3 |
| 02-05-00399 | ## Equipment:Blood pressure Quantity:10 ## Company : Jabane Gage pressure |  | 10 |
| 02-05-00400 | ## Equipment:Moncter Quantity:4 ## Speaker |  | 4 |
| 02-05-00401 | ## Equipment:Oven Quantity:4 ## Company : England ## Heaters |  | 8 |
| 02-05-00402 | ## Equipment:Sucker Quantity:7 ## Company : England ## Motor |  | 7 |
| 02-05-00403 | ## Equipment:Centerfuge Quantity:2 ## Company : England Motor |  | 2 |
| 02-05-00404 | ## Equipment:Oxygen Gage ## Quantity:20 ## Company : England ## Valve |  | 40 |
| 02-05-00405 | ## Equipment:Table operating Quantity:6 ## Company : Sweede ## Dobleand oil seal |  | 6 |
| 02-05-00406 | ## Equipment: X-Ray Quantity:1 ## Company : Etalanie ## Rak daflope |  | 2 |
| 02-05-00407 | ## Equipment:Shimadzu-corporation Quantity:1 ## Company : Jaban ## Electrical high pressure |  | 1 |
| 02-05-00408 | ## Equipment:Aloka sonar Quantity:1 ## Company : Jaban ## Stope picture |  | 1 |
| 02-05-00409 | ## Equipment:Bakue washer magine Quantity:1 ## Company : Jaban ## Washer plate |  | 1 |
| 02-05-00410 | ## Equipment:Spekol Quantity:3 ## Company : Marien berg ## Photo cell knobs for adjustment |  | 3 |
| 02-05-00411 | ## Equipment:Olympuse microscope Quantity:1 ## Company : Jaban ## Electrod magine |  | 1 |
| 02-05-00412 | ## Equipment: HB- meter Quantity:1 ## Company :Almanies ## Electrical part |  | 1 |

| 02-05-00413 | Equipment : ECG machine Company : Nihon,Fukada,Philips,Heliga |  |
| --- | --- | --- |
|  | ECG generator ( stimulator ) | 10 |

| 02-05-00414 |  | Automafliox X-Ray proceson Kodak RP X-Omat Processor Model :-M6AW |  |
| --- | --- | --- | --- |
|  | 474477 | Developer Rack Assy | 5 |
|  | 468521 | Developer Heater | 5 |
|  | 512892 | Fixer Rack Assy | 5 |
|  | 596634 | Wash Pack Assy | 3 |
|  | 433708 | Lock Washer (2) | 20 |
|  | 852611 | Washer (2) | 20 |
|  | 853087 | Lock Washer | 20 |
|  | 458208 | Washer | 20 |
|  | 463100 | Washer | 20 |
|  | 579984 | Roller | 20 |
|  | 579983 | Roller | 20 |
|  | 470085 | Roller (2) | 20 |
|  | 473146 | Roller | 20 |
|  | 475453 | Roller | 10 |
|  | 467017 | E Roller {includes bearing} | 10 |
|  | 470085 | G Roller {includes bearing} | 10 |
|  | 458423 | H Roller Assy {includes bearing} | 10 |
|  | 467016 | K Roller {includes bearing} |  |
|  | 458182 | Gear | 30 |
|  | 470767 | Gear A W | 20 |
|  | 458385 | Tooth gear - (29) | 25 |
|  | 458384 | Gear | 20 |
|  | 458382 | Gear | 20 |
|  | 468354 | Gear A N | 20 |
|  | 467564 | Gear | 20 |
|  | 458383 | Gear | 20 |
|  | 452128 | Bearing (2) | 10 |
|  | 474003 | Bearing (2) | 10 |
|  | 47237 | Bearing (2) | 10 |
|  | 465361 | Bearing (2) | 10 |
|  | 469648 | Bearing (2) | 10 |
|  | 190481 | Bearing (2) | 10 |
|  | 458236 | Spacer | 20 |
|  | 459344 | Spring (2) | 20 |
|  | 472992 | Thermostat (53) | 10 |
|  | 469070 | Pulley Assembly | 5 |
|  | 458189 | Left hand worm (5) | 10 |
|  | 458191 | Right hand worm. (3) | 10 |
|  | 469349 | Chain | 5 |
|  | 183886 | Circuit breaker (CB4) | 5 |
|  | 184815 | Circuit breaker (CB1) | 5 |
|  | 418734 | Sold state relay | 5 |
|  | 418724 | Thermostat Assy | 10 |
|  | 621472 | Board | 5 |
|  | 418730 | Thermistor | 10 |
|  | 474442 | Belt 1 1\2 Larg | 10 |
|  | 474694-1725 RPM | Blower motor and pully Assy | 5 |
|  | 472962 | Receptacle Assy | 5 |
|  | 474156 | Thermometer | 10 |

|  | 186153 | Switch (57) | 57 |
| --- | --- | --- | --- |
|  | 183153 | Heater R1 , R2 | 10 |
|  | 474442 | Belt 1 1\4 small | 10 |

| 02-05-00415 | Diagnostic X-Ray Apparatus with TV system KXO-12 / DT-KAR / TV |  |  |
| --- | --- | --- | --- |
|  | H.P. Transformer and controller including woodam platform (2 inches) DC-12F/DC-12B 220V/50HZ |  | 3 |
|  | X-Ray tube | DRX 180A | 10 |
|  | Diagnostic X-Ray table with L/F bucky DT-KAR/TF-7M-4/LF Bucky for x-ray table |  | 10 |
|  | Television camera with vidicon tube Mtu-22A |  | 4 |
|  | 17 inch monitor Tum-17A |  | 4 |
|  | Monitor cart FDG-004B |  | 4 |
|  | H.P. Silicon rectifier | OR1 QYZ41 | 10 |
|  | (HRU-A) H.P. changer | PX11-01820 | 6 |
|  | Silicon compound | TSF-451-30M-15G | 5 |
|  | Timer unit | PX12-03760 Gr-1 | 10 |
|  | Over load P.C. board | PX12-10310 Gr-2 | 10 |
|  | Over load P.C. board | PX12-10340 | 10 |
|  | Over load P.C. board | PX12-10355 Gr-2 | 10 |
|  | Relay 912-1068 |  | 10 |
|  | Relay M4P3A-100VAC |  | 10 |
|  | Current Relay | 912-1083 | 10 |
|  | P.C. Board | 2X90-00044 | 5 |
|  | Timer delay relay | 812-3034-01 | 10 |
|  | Timer delay relay | 812-3034-02 | 10 |
|  | Timer delay relay | 812-3038-01 | 10 |
|  | Micro swit ch | 910-005g | 10 |
|  | Mercury switch | 910-5003 | 30 |
|  | Pilot lamp | 901-5063 | 100 |
|  | Neon lamp | 901-4071-01 | 20 |
|  | Motor | 914-0055-01 | 10 |
|  | Gear head | 10625 | 10 |

| 02-05-00416 |  | Shimadzu CO. Model : X-Ray eq. MC - 100L – 30 |  |
| --- | --- | --- | --- |
|  | Circlex 1.2uG13AN-305 | X-Ray tube assembly | 10 |
|  |  | X-Ray tube in serted | 10 |
|  |  | Bellow for x-ray tube kind 1.24G 13A | 30 |
|  | 501-64360 | KV-mas control – 20 | 10 |
|  | 501-06663D | Transistor unit – 10 | 20 |
|  | 501-06560I | High voltage transformer r-Assembly | 5 |
|  | 501-07016B | INDI cator – 20 | 10 |
|  | 501-07017C | mAS selector – 20 | 10 |
|  | 060-43214 | Transistor 2SC3214 | 20 |
|  | 060-25875 | Transistor 2SC1875 | 20 |
|  | 500-16018-02 | Collimator type R-20 MC | 4 |
|  | 500-04835-01 | Timer switch PDL-30 | 10 |
|  | 501-93209 | Shutter Assy | 10 |
|  | 501-93200-01 | Lamp trans . unit assy | 5 |
|  | 500-04379 | Lamp JC12-100Y | 30 |
|  | 509-41980-19 | High tension cable | 12 |
|  | 030-05000 | Bearing # 6200ZZ | 40 |
|  | 030-04006 | Bearing # 6206 | 40 |
|  | 501-44865 | Magnetic lock | 10 |
|  | 501-89583 | Mag netic lock holder | 10 |
|  | 030-030 10 | Bearing 60 10 ZZ | 40 |
|  | 030-05001 | Bearing 6201 ZZ | 40 |
|  | 500-13802 | DC Solenoid | 10 |
|  | 510-64001 | Hand switch | 30 |
|  | 080-82468-03 | Digital panel meter | 20 |
|  | 080-73132 | Electro magnetic counter | 20 |
|  | 500-13550 | Selector switch | 10 |
|  | 037-02323 | Knob MSA 40S-6 | 10 |
|  | 500-12925 | Variable resistor | 10 |
|  | 501-65534 | mAS selector | 10 |
|  | 500-13551 | Push button switch | 10 |
|  | 501-64354 | Display lamp assembly | 10 |
|  | 501-64359 | KV,mAS control assembly | 5 |
|  | 501-64366 | Base plate assembly | 3 |
|  | 501-63469 | Transistor unit – 10 | 10 |
|  | 501-63852-01 | High tension generetor | 3 |
|  | 500-03189-01 | Capaeitor | 10 |
|  | 501-63854 | High tension generatingl unit | 2 |
|  | 500-03415-01 | Reetifier | 10 |
|  | 502-07437-01 | H.T socket | 10 |
|  | 501-68173 | Grid control | 10 |
|  | 501-63866 | Discharger | 5 |
|  | 055-01021 | Capacitor | 10 |
|  | 055-01023 | Capacitor | 10 |
|  | 052-04622-00 | Resistor | 10 |
|  | 052-04610-02 | Resistor | 10 |
|  | 060-14755 | Diode | 20 |

| 02-05-00417 |  | Shimadzu CO. X-Ray eq. ED 125L ( 500 mA) |  |
| --- | --- | --- | --- |
|  | 501-63453-01 | Technique sel. – 10 | 10 |
|  | 501-63454-01 | MA selector – 10 | 10 |
|  | 065-93105 | Line switch EA 62 | 5 |
|  | 501-63248 | Sec selector – 10 | 10 |
|  | 500-04720 | KV Requlator | 5 |
|  | 501-63455 | Main control – 10 | 5 |
|  | 501-66353 | Starter – 3 | 10 |
|  | 501-63469-01 | Transistor unit – 10 | 10 |
|  | 501-63471 | Power supply – 10 | 5 |
|  | 501-63473 | mA meter control – 10 | 20 |
|  | 501-63474-01 | EX. Mode control - 10 | 20 |
|  | 501-63475 | Terminal unit – 10 | 5 |
|  | 501-63476-01 | mA Regulator – 10 | 5 |
|  | 501-63477 | mA control – 10 | 10 |
|  | 501-63247 | sec control – 10 | 10 |
|  | 501-63478-01 | Over load pro – 10 | 5 |
|  | 500-13675 | HA ND switch | 20 |
|  | 501-63243 | SCR unit – 10 | 10 |
|  | 501-63559 | Auto trans (400V power source unit only) | 3 |
|  | 060-24642 | Tr1 (power) 2SC642A | 20 |
|  | 500-03412 | Tr2 (power) 2SC1325 | 20 |
|  | 042-60088 | FAN | 5 |
|  | 060-34556 | Thyristor D < - 01~ - 02> 150 P 6 SP | 20 |
|  | 500-14910 | Filament transformer | 10 |
|  | 501-62938 | Terminal board (disk) | 5 |
|  | 500-03415-02 | Diode MD25-512A | 20 |
|  | 501-62818 | H.T. changle-over switch | 10 |
|  | 502-07437-02 | H.T. socket IEC | 20 |
|  | 501-62910 | Control unit | 5 |
|  | 501-62913 | mA compensation unit | 5 |
|  | 501-40839 | Terminal board 4-10A | 5 |

| 02-05-00418 |  | ( TROPHY Dental X-Ray ) Equipment :- Dental X-Ray Model :- 11708 Company :- TROPHY - FRANCE |  |
| --- | --- | --- | --- |
|  | 708(70KV-8mA) | X-Ray tube (A.generator) | 10 |
|  | AD 13 | X-Ray timer | 20 |
|  | LS 57 | on-off switch | 10 |
|  | TAG 8606 | Traic | 10 |
|  | TAG 8602 | Traic | 10 |
|  | MCS 2241 | Integrated circuit | 10 |
|  | KL 15 | Led (on voltage) | 10 |
|  | KL 18 | Led X | 10 |
|  |  | Hand switch timer with cable | 20 |
|  | 2N 6343 | Traic | 20 |
|  | CR1TO1HY-2 | THYRISTOR | 20 |

| 02-05-00419 |  | Toshiba unit Model :- 12 MD - 500mA |  |
| --- | --- | --- | --- |
|  | 150D, 12RI | H.T Cable | 10 |
|  | 814-0033C | Motor for lift stand | 5 |
|  | A-30 | V-Belt | 6 |
|  | A-32 | V-belt | 6 |
|  | 25 | Standerd card | 6 |
|  | 70-5 | M.C.S cassette | 5 |
|  | RK10 | Complete card relayes Assy | 5 |
|  | RK11 | Complete card relayes Assy | 5 |
|  | RK9 | Complete card relayes Assy | 5 |

| 02-05-00420 | Equipment :- Stimulater therapy equipment Model :- 413 - Eltron D Company :- Enraf Holland |  |  |
| --- | --- | --- | --- |
|  | P.C board | 2.555.784 | 10 |
|  | Patient terminal black | 2524.010 | 20 |
|  | Patient terminal (red ) | 2.524 . 823 | 20 |
| 02-05-00421 | Equipment :- Microwave therapy equipment Model :- Curadar 2000 Company :- Enraf Holland |  |  |
|  | Magnetron MG 10 | 8.697 340.001 | 10 |
|  | Printed circuit board | 8 - 691.042- 474 | 5 |
|  | Potentioweter sk 2 150w | 8 - 644.550.036 | 10 |
| 02-05-00422 | Company :- ELECTRO MEDICAL SUPPLIEC (EMS) U.K Equipment :- Ultrsound Model :- Therasonic - 5 |  |  |
|  | Transducer complete with cable and plug | 54 -11 | 25 |
| 02-05-00423 | Equipment :- Shortwave Therapy equipment Medical :- Siener - 6 |  |  |
|  | Micro switch | 9 - 18 | 25 |
|  | Valve | 19 - 6 | 10 |
|  | Electorde support leg 10 cm size | 30 - 10 | 25 |
|  | Electorde cable withend (10 cm) | 31 - 59 | 10 |
| 02-05-00424 | Equipment :- Ultrasound Model :- Sonoline Model Sx Model SL-1 Company :- Siemens |  |  |
|  | Mother board for souolime (Sx) |  | 2 |
|  | Freeze board for sonoline (Sx) |  | 3 |
|  | Swtich board for sonoline(SL-1) |  | 2 |

| 02-05-00425 | Equipment :- Portable turbine . Model :- Quayle dental 1001 Company :- Quayle dental Derotor houce, Dominion way , worthing west sussex ,Bn14 8QN England . |  |  |  |
| --- | --- | --- | --- | --- |
|  | Pressure switch for mobile unit (1001&1002) |  |  | 250 |
|  | 3- way syringe for mobile (1001& 1002) |  |  | 200 |
|  | Complete hand piece turbine |  |  | 200 |
|  | Foot switch |  |  | 50 |
|  | Rotor for H.P (turbine) |  |  | 500 |
|  | Angle H.P for complete |  |  | 200 |
|  | Air motor |  |  | 100 |
|  | Hose for mobile (4 hole) (meter) |  |  | 200 meter |
|  | Pressure gauge |  |  | 50 |
|  | Cartridge for angle H.P |  |  | 200 |
| 02-05-00426 | Equipment :- Light cure . Model :- Quayle dental . (101) spectrom Company :- Quayle dental MFG Co.LTD . Derotor hauce, Dominion way , worthing west sussex ,Bn14 8QN England . |  |  |  |
|  | Gun for light cure |  |  | 100 |
|  | Timer board for light cure |  |  | 50 |
|  | Bulb for light cure |  |  | 1000 |
|  | Fan for gun |  |  | 250 |
| 02-05-00427 | Equipment :- Ultrasonic Dental Unit Model :- 700 - 11 Company :- Dentsply ( U.S.A ) |  |  |  |
|  | Regulator For water |  | 62516 | 200 |
|  | Solenoid valve |  | 61190 | 25 |
|  | Water Supply hose |  | 69040 | 50 |
|  | Cavitron lnsert tel-10 |  | 6121-708 | 200 |
|  | Cavitron lnsert Ftl-9 |  | 6121-803 | 200 |
|  | cable For lnsert Complete |  |  | 100 |
|  | Spray for air bearing H.P. tutbine |  |  | 500 |
|  | Spray for H.P. tutbine ( ball bearing type ) |  |  | 2000 |

| 02-05-00428 | Equipment :- Prostetic engine Model :- Quayle dental . Company :- Quayle dental MFG Co.LTD . Derotor hauce, Dominion way , worthing west sussex ,Bn14 8QN England . |  |  |
| --- | --- | --- | --- |
|  | Carbon brush For prostetic engine |  | 1000 |
|  | Flexible cable complete for prostetic engine |  | 500 |
|  | P.C board for foot switch to prostetic engine |  | 200 |

| 02-05-00429 | EquiPment :- Ammelgametor Model :- Degussa Company :- Degussa AG, Gescha flsbexeich dental D-600 frank furt 11 |  |  |
| --- | --- | --- | --- |
|  | Dispensing knob | 2352 - 2215 | 250 |
|  | Universal dispenser 2. Complete | - 2018 | 100 |
|  | Dental wheel | - 2043 | 100 |
|  | Blocking magnet ,complete | - 2223 | 50 |
|  | Circuit board display ( timer ) | - 2235 | 50 |
|  | Frame for display | - 2214 | 10 |
|  | Mixing tube 2 , complete | - 2226 | 250 |
|  | Capsolate | 2351 - 1001 | 500 |
|  | Mixing motor 2 , complete | - 2224 | 25 |

| 02-05-00430 | Equipment :- Ammelgametor Model :- Ultimate 21 Company :- Quayle dental Derotor hauce, Dominion way , worthing west sussex ,Bn14 8QN England . |  |  |
| --- | --- | --- | --- |
|  | Timer p.c board |  | 75 |
|  | Mixing ( Hg & alloy ) chamber complete |  | 75 |

| 02-05-00431 | Equipment :- Kavo werk dental unit Model :- Dynamic 1033 Company :- Kavo werk deutal einrichtungen vertiebsgesells chaft mbh D- 7950 biberach / rib 1. West germaney |  |  |
| --- | --- | --- | --- |
|  | # Board | 641. 1020 | 100 |
|  | Board | 705. 2991 | 60 |
|  | Board | 734. 0571 | 160 |
|  | Bulb for projector |  | 150 |
|  | Foot switch complete |  | 10 |
|  | Turbine hose complete |  | 30 |
|  | Micromotor hose complete |  | 30 |
|  | 3 - Way syringe hose |  | 30 |
|  | 3 - Way syring complete |  | 30 |
|  | Block | 705. 3341 | 50 |
|  | Board | 715. 1471 | 30 |
|  | Hose for foot switch |  | 50 |
|  | Angle handpiece |  | 20 |

| 02-05-00432 | Equipment :- Scaler Model :- Quayle dental Quayle dental MFG co LTD Company :- Derotor house dominionway , worthing west sussex BN 14 & QN England . |  |  |
| --- | --- | --- | --- |
|  | Complete hand piece for scaler |  | 1 |

| 02-05-00433 | Equipment :- Glass distilter Model :- YX ^ Company :- JSC chimlaborpribor (RUSSIA) |  |  |
| --- | --- | --- | --- |
|  | Level regulater | m6 5.887.268 | 100 |
|  | Adapter | m6 6.u53.294 | 300 |
|  | Adapter | m6 453 294 | 300 |
|  | Float - type flow meter | m6 5.183.065 | 200 |
|  | T. piece connector | ro 7.357.251 | 20 |
|  | Heater ( R - 52 ohm ) | m6 5.863.060 | 300 |
|  | Heater ( R - 55 ohm ) | m6 5.863.060.01 | 300 |
|  | Vessel | m6 5.887.267 | 100 |

| 02-05-00434 |  | Equipment :- Ventilator Model :- 9100S Company :- Blease (UK) |  |
| --- | --- | --- | --- |
|  | 3.2.H | Flow board and transduser (si 106) EP 7629 | 50 |
|  | 3.1.6 | Oxygen transduces ( si 1101 ) | 250 |
|  | 3.2.10 | I.E valve ( 900119 - 1 ) the inner diphramfor I.E valve | 25 200 |
|  | 3.2.1 | Expriratory unit ( 900101 - 1 ) | 30 |

| 02-05-00435 | Equipment :- Operating Labroscope Company :- Wolf |  |
| --- | --- | --- |
|  | Panooiew plus telescope with fixed eyepiece distortion free 25 dyree working lenght 300mm dram 10mm ( 8934 , 412 ) | 10 |
|  | 8923.013 Riow - trocar sleeves with magnetic ball valve and stopcock , metal sleeve ,distal obligue , capacity 10 mm working length 100 mm . | 10 |
|  | 8923.123 Trocar , pyrmadial diam 10 mm , working length 100 mm . | 10 |
|  | 8921.013 Rlwo - art trocar sleeve with magnatic - ball - valve and with stopcock metal sleeve standand distal obligue capacity 5.5mmworking length 100mm . | 10 |
|  | 8921.123 Trocar with pyramidiol tip diam 5,5mm working lenght 100mm for riwo art - trocar sleeve . | 10 |
|  | 8923.801 Vario - port reducing adapter , 10mm to 5.5mm and 12.5mm to 5.5mm for riwo - art trocar . | 10 |
|  | 8386.001 Endodilator diameter 14mm 3 boanches , handle with locking mechanism 55mm working length . | 10 |
|  | 8393.231 Grasping forceps with 5mm , both jaws opening , 310mm working leagth , complete lnstrument , 8393 – 234 , 8393.911 8393.964 . | 10 |
|  | 8393 , 221 Grasing forceps , 18mm 5mm , rapered both jaws opening 310mm , ol , complete irstrument 8393 - 224 , 8393 , 911 , 8393 . 964 . | 10 |
|  | 8393 , 251 Univrsal grasping forceps 5mm both jaws opening 310mm working length complete - instnument : 8393 – 254 , 8393 - 911 , 8393 - 964 . | 10 |
|  | 8393 , 401 Biopsy forceps spiked , 5mm both jaws opening 310ml , complete instrument 8393 - 404 , 8393 - 911, 8393 - 962 . | 10 |
|  | 8393 , 141 Atraumatic grasping forceps 5mm diameter . | 10 |
|  | 8395 , 201 Grasping forceps 2/3 pronged 10mm 810mm ol complete - instrument 8395 - 204 , 8395 - 901 , 8393 - 953 . | 10 |
|  | 8393 , 012 Modular sulssors diameter 5mm curved left , 310mm working length "metzenbaum " comprlsing 8393 - 015 , 8393 , 911 , 8393 - 692 . | 10 |
|  | 8393 , 003 Hooked scissors serrated 5mm , 310mm ol , complete - instrument 8393 - 006 , 8383 , - 911 , 8393 - 962 . | 10 |
|  | 8393. 701 modular bipolar forceps diameter 5mm , insulated compring , 8393 - 704 , 8392 - 921 , 8393 - 922 , 8393 – 972 , 8393 , 973 . | 10 |
|  | 8108 , 031 HF- bipolar cable 3m long (also suitable for martin units ) | 10 |
|  | Hook eleetrode 8383 , 423 . | 20 |
|  | 810b . 04 HF connecting cable 4m long . | 10 |
|  | Guide sleeve diam 10mm ( for clip applicator 8389 - 801 ) | 5 |
|  | 8389 , 911 Glip applicator for enticon ligaclip , extra LT 300 . | 5 |
|  | Needle holder 3mm ( 8383 , 52 ) with read justing spring and sliding seal for in 8383 . 78 . | 10 |
|  | 8383 , 534 Needle holder diam - 5mm curved right , axially aligned handle with locking mech anism . | 10 |
|  | 8383 , 78 Applicator for ethibinder . | 5 |
|  | 8383 , 551 knot manipulator for extraco rporeal knots for use in 8383. 78 . | 5 |
|  | 8383 , 65 L,njeation and punction canula 1.8mm diamete ( 15c ) | 10 |
|  | Veres - needle ( 8302 - 12 ) . | 10 |
|  | Co2 cylinder 25 liter . | 10 |
|  | 8302 - 15 Veres camula for establishing the pneuno peritoneun with ner - connector ( 886.00 ) 150mm long . | 10 |
|  | neutral eledtrode for martin me 200, HF genet rator . | 5 |
|  | Double foot switch for matin ME 200 | 5 |
|  | Bipolar foot switch for matin ME 200. | 5 |
|  | 5511 - 001 CCD - Endocom 5511 camea head with C-momt PAL colour system C-mount adaptor incl 13.103.50I | .5 |
|  | 85261 - 272 Rioo - lems with C- mount - connector immersible and steam sterili sable focus length F.27mm . | 5 |
|  | Halogen lamp , 24 V , 250W | 250 |
|  | Fiber light cable longht 2-3cm diam 4-5mm ( 8061, 453 ) | 10 |
|  | aeaning brushes | 50 |
|  | 89,02 Rubber washers | 50 |
|  | 89,08 Rubber washers | 50 |
|  | S- video cable | 20 |

| 02-05-00436 | Equipment :- Speetrophotometer Model :- Spectronic 20 Company :- Milton Roy |  |
| --- | --- | --- |
|  | Bulb | 500 |
|  | P.C board | 50 |
|  | Photo tube | 50 |
|  | Monochrometer | 30 |
|  | Transister 3055 | 100 |
|  | Bridge rectifier | 25 |
|  | Tube holder | 25 |
|  | Resister 7K ohm | 50 |
|  | Resister ¼ ohm | 50 |

| 02-05-00437 |  | Equipment :- Hemometer Model :- HB-210 Company :- Citoh and colti 5-1 Kita - aoyama 2 chome Minato ku, Tokyo 107 Japan |  |
| --- | --- | --- | --- |
|  |  | Pump | 25 |
|  |  | Printed board | 50 |
|  |  | Lamp source (6 V 1.5 A) | 30 |
|  |  | Drain glass | 20 |
|  |  | Sampling glass | 50 |
|  |  | Potentiometer RV 24 XN 205 BIK ohm | 10 |
| 02-05-00438 |  | Equipment :- Bilimeter -D 332 Model :- 332 D Company :- mochida pharmaceuticall 10 LTD HEAD office 7 Yotsuya 1.chome Shin jnicu-ku,Tokyo 160 JAPAN Telex 28922 ( Mochidas) |  |
|  |  | Interferrece filter for 455 mm | 20 |
|  |  | Interferrece filter for 575 mm | 20 |
|  |  | LAMP ( 6V 3A) | 50 |
|  |  | Different kinds of boards | 5 per each type (total=20) |
|  |  | Cuveete holder | 10 |
| 02-05-00439 | Equipment :- Bilimeter ( Nippon) Model :- A- 500 Company :- Japan , osaka nippon shojikaisha ltd 30,Kokumach 2- chome , Higashi-KU |  |  |
|  | Printed circuit boand ( TEL-330) (completed boand) |  | 10 |
|  | Bulbs |  | 20 |
| 02-05-00440 | Equipment :- Spectrophotometer Model :- ANA 72 Company :- Japan engneering |  |  |
|  | Bulb |  | 100 |
|  | Photo cell |  | 50 |
|  | Board |  | 10 |
|  | Cuvette holder |  | 25 |

| 02-05-00441 |  | Equipment :- Defibrelator Model :- 2006 Company :- CR |  |  |
| --- | --- | --- | --- | --- |
|  |  | CR Recorder assy |  | 5 |
|  |  | Styles for gs recorder |  | 25 |
|  |  | Battery 24 V - 1 A |  | 50 |
|  |  | Drain raly |  | 20 |
|  |  | Capcitor 32 mf / 5kv |  | 25 |
|  |  | KM 13 Relay |  | 20 |
|  |  | KM 14 Kilover reley |  | 20 |
|  |  | P.C.B for charger CR |  | 10 |
|  |  | LM 317 T |  | 50 |
|  |  | Paddle for DC shock |  | 20 |
|  |  | Poasrnt cable socket |  | 20 |
|  | 02-05-00442 | Equipment :- Defibrelator + Central Station Model :- 3215,261130,264130,3200,2400,261125,261024,4135,2015, Company :- American Optical |  |  |
|  |  | P.C. B assy mother | 261108-810 | 8 |
|  |  | Defletion P.C.B assy | 1108-811 | 8 |
|  |  | Memory P.C.B assy | 1108-812 | 8 |
|  |  | Delyed P.C.B assy | 1108-814 | 8 |
|  |  | Mother P.C.B | 1130-01-0840 | 8 |
|  |  | Digital meter | 0120-0037 | 8 |
|  |  | Alarm power supply P.C.B | 1131-01-0831 | 5 |
|  |  | Writing sty lus | 5007 | 10 |
|  |  | Mother P.C.B | 4135-913 | 5 |
|  |  | Patientlc alarm P.C.B | 4135-816 | 5 |
|  |  | Input filter board | 1134-820 | 5 |
|  |  | Pre-amp P.C.B assy | 1134-0821 | 5 |
|  |  | Power supply P.C.B | 1134-822 | 5 |
|  |  | Rate P.C.B assy | 1134-823 | 5 |
|  |  | Cave P.C.B assy | 1134-824 | 5 |
|  |  | Alarm limit P.C.B | 1134-825 | 5 |
|  |  | Mother P.C.B | 3215-810 | 5 |
|  |  | Amp P.C.B | 3215-811 | 5 |
|  |  | Osciltatar decteetor P.C.B | 3215-812 | 5 |
|  |  | Per limit P.C.B | 3215-813 | 5 |
|  |  | Mother P.C.B | 1144-810 | 5 |
|  |  | Modal w P.C.B | 4000-0853 | 5 |
|  |  | Relynl ator P.C.B | 4006-851 | 5 |
|  |  | Demodulat ors P.B | 4006-854 | 5 |
|  |  | Logic P.C.B | 2015-810 | 5 |
|  |  | P.C .B Power supply | 2015-811 | 5 |
|  |  | Amplifiers P.C.B | 8300-28 | 5 |
|  |  | Alarm systol P.C.B | 261024-810 | 5 |
|  |  | Power supply P.C.B | 261108-811 | 5 |
|  |  | Peslection assy P.C.B | 261105-812 | 5 |
|  |  | Power supply P.C.B | 264006-852 | 5 |
|  |  | Alarm power supply P.C.B | 4008-NCN | 5 |
|  |  | Power supply P.C.B |  | 5 |
|  |  | Transistor 2 N 3940 |  | 20 |
|  |  | P.C. B for cardio treaser | 4015-851 | 5 |
|  |  | P.C.B for cardio treaser | 4005-851 | 5 |
|  |  | P.C.B for cardio treaser | 264005-852 | 5 |
|  |  | P.C.B for cantor scope |  | 5 |
|  |  | Digitl meter assy | 262005-812 | 5 |
|  |  | P.C.B assy recorder | 3018-0810 | 5 |
|  |  | P.C.B assy cantrol | 2018-0810 | 5 |
|  |  | Inverter assy | 2018-811 | 5 |
|  |  | P.C.B assy monl part |  | 5 |
|  |  | P.C.B assy monl part | 2610-02-851 | 5 |
|  |  | Deflection P.C.B ( 1218 - 813 ) | 1218-813 | 5 |
|  |  | Memory P.C.B ( 1218 - 810 ) | 1218-810 | 5 |
|  |  | Diode edl 8746 HV diode |  | 50 |
|  |  | Patient cable |  | 100 |

| 02-05-00443 | Equipment :- Ultrasound therapy equipment Model :- Sonopuls 407 Company :- Enraf Holland |  |  |
| --- | --- | --- | --- |
|  | Printed circut board complet | 0407.620 | 5 |
|  | PC board ( small P.C board) complet | 2555.999 | 5 |
|  | Big transducer | 1407.800 | 10 |

| 02-05-00444 | Equipment: cathedrization |  |  |
| --- | --- | --- | --- |
|  | Up-grading of cathedrization equipment, Model BICOR |  | 1 |
| 02-05-00445 | Equipment:-ECG |  |  |
|  | Stimulator-ECG generator |  | 3 |

| 02-05-00446 | Equipment:- Argon laser Company:- Biophysies Argon laser tube | Model:-168-97 | 4 |
| --- | --- | --- | --- |
|  | Microprocesser | PCB JN 770 | 8 |
|  | Power supply (Black) | 604 M | 6 |
|  | Fiber optic cable |  | 8 |
|  | Switching control | PCB 601 B | 6 |
|  | Low voltage power supply | JN 700 AD | 6 |
|  | Flow-switch PCB |  | 10 |

| 02-05-00447 | Equipment:- Gastroscope(adult &pediatric) Company:- Olympus Japan Main tube | GIF-Q 015445 | 3 |
| --- | --- | --- | --- |
|  | Main tube | GIF-IT 8-2011327 | 3 |
|  | Main tube | GIF-3 | 3 |
| 02-05-00448 | Equipment:-X-ray unit (500mlm) Company:- Shimadzu Japan X-ray tube | R20 62816521 | 1 |
|  | Transformer | AP 150 L-3-64278409 | 1 |
| 02-05-00449 | Equipment:-X-ray unit (100mlm) Company:- Shimadzu Japan Control | HP 150 13-10 | 1 |
|  | T.V | M-16 405-6302045 | 1 |
|  | X-ray tube | R-30 64608922 | 1 |
|  | Large Transformer | HD-150 B-10-6322441 | 1 |
| 02-05-00450 | Equipment:-Sonar Company:- Concepte Probe |  | 1 |
| 02-05-00451 | Equipment:-ECG Company:- Nehon Koden Styles |  | 10 |
|  | Patient Cable |  | 10 |
|  | Galvanic |  | 5 |
|  | PCB |  | 5 |
| 02-05-00452 | Equipment:-ECG Company:- Yamcoshy Styles |  | 10 |
|  | Patient Cable |  | 10 |
|  | Galvanic |  | 5 |
|  | PCB |  | 5 |
| 02-05-00453 | Equipment:- Microscope Company:- olympus Lamp |  | 20 |
| 02-05-00454 | Equipment:- Microscope Company:- Zieze Lamp |  | 20 |
| 02-05-00455 | Equipment:- Operating theatre projector Company:- DKK Lamp |  | 50 |
| 02-05-00456 | Equipment:-Suction unit type Ersole Company:- England Motor |  | 10 |
|  | Bottle |  | 10 |
|  | Washer |  | 10 |
| 02-05-00457 | Equipment:- Autoclave type Takizawa Company:- olympus Heaters |  | 5 |
| 02-05-00458 | Equipment:- Autoclave type Thakari Heaters |  | 5 |
| 02-05-00459 | Equipment:-Sphgmomanometer Mercury |  | 500 gram |
|  | Bulb with valve |  | 20 |
| 02-05-00460 | Equipment:- Cautry unit type Martin 2000 PCB different for generator and generator 2 |  | 6 |
|  | Fuse |  | 10 |
|  | Earth plate |  | 10 |
| 02-05-00461 | Equipment:- Centrifuge T30 T32 Motor |  | 5 |
|  | Variable resistance |  | 5 |
| 02-05-00462 | Equipment:- Monitor A-O Patient cable |  | 10 |
|  | PCB |  | 10 |
|  | Adapter |  | 50 |
| 02-05-00463 | Equipment:- ECHO type ausonics type Austraition Probe |  | 1 |
|  | PCB |  | 1 |
| 02-05-00464 | Equipment:- X-ray Company:- Shimadzu 500m Amp. With TV Tube |  | 2 |
|  | Halogen lamp |  | 5 |
| 02-05-00465 | Equipment:- Short wave Angiograph (cardiac) Capacitor 100 PF |  | 4 |
|  | Tube opti 150/ud/10 c |  | 1 |
|  | PCB D89-D79 |  | 3 |
|  | PCB D129 |  | 3 |
|  | PCB D58 |  | 3 |
| 02-05-00466 | Equipment:- Microcentrifuge PCV Motor |  | 5 |
| 02-05-00467 | Equipment:- Proccessing unit(devloping) Motor |  | 1 |
|  | Relay 24 volt |  | 3 |
| 02-05-00468 | Equipment:- Automatic 420 Rack for devloper |  | 1 |
|  | Rack for fixer |  | 1 |
|  | Thermo for heating of devloper (timer) |  | 2 |
| 02-05-00469 | Equipment:- Terdmill Recorder for holter |  | 5 |
| 02-05-00470 | Equipment:- Steady X-Ray (medio)500ma(51,50) Quntity :2 Company:- Holland Sellector K.V |  | 2 |
|  | X-ray tube |  | 10 |
|  | Diofrom |  | 10 |
|  | Main board CP1,CP2,CP3,CP4,CP5,CP6,CP7,CP8 |  | 6 |
|  | Diofrom lamb 12V |  | 2 |
| 02-05-00471 | Equipment:- Steady X-Ray (Shemadzio)500mA ED-125 Quntity:1 Company:- Japan Halogen Diofrom lamp(12V) |  | 2 |
|  | X-ray tube |  | 1 |
|  | Hnde switch |  | 2 |
|  | Main boards |  | 1 |
| 02-05-00472 | Equipment:- Movable X-ray mc.125 300mA Quntity:5 Company:- Japan X-ray tube |  | 1 |
|  | Hand switch |  | 1 |
|  | Diofrom lamp(12V) |  | 1 |
|  | Main boards |  | 1 |
|  | High tention cable |  | 1 |
|  | Relly timer |  | 1 |
| 02-05-00473 | Equipment:- X-ray (Tosheba) 300mA Quntity:2 Company:- Japan X-ray tube |  | 1 |
|  | Hand switch |  | 1 |
|  | Diofrom lamp(12V) |  | 1 |
|  | High tention cable |  | 1 |
|  | Relly timer |  | 1 |
| 02-05-00474 | Equipment:- Outomatic film fixer x-ray Quntity:7 Company:- Italy Main rack |  | 1 |
|  | Main shaft |  | 1 |
|  | Main motor |  | 1 |
|  | Main board CP1,CP2,CP3,CP4 |  | 1 |
|  | Main thermoster |  | 1 |
|  | Microswitch |  | 1 |
|  | Mainrelly 220 V |  | 1 |
|  | Thermal projector |  | 1 |
|  | Heavy |  | 1 |
|  | Rollor |  | 1 |
|  | Dislly |  | 1 |
| 02-05-00475 | Equipment:- Incubator Quntity:19 Company:-England Motor |  | 5 |
|  | Outcover |  | 2 |
|  | Switch(ON-OFF) |  | 10 |
|  | Baby bed |  | 18 |
| 02-05-00476 | Equipment:- electrocardio graph Quntity:31 Company:- Japan Styles |  | 10 |
|  | Chest electrode disk |  | 20 |
|  | Bands |  | 20 |
|  | Paitient cable |  | 10 |
| 02-05-00477 | Equipment:- Cutery marten Quntity:10 Company:- Germany Hand switch |  | 8 |
|  | Foot switch |  | 8 |
|  | Biboler wier |  | 8 |
|  | Control board |  | 4 |
|  | Switch board |  | 4 |
|  | Board G1 |  | 4 |
|  | Board G2 |  | 4 |
|  | Main transformer |  | 4 |
|  | Power transtor |  | 60 |
|  | Slide resester |  | 10 |
|  | Resistance 2.2 board(R 2.2) |  | 10 |
|  | Resistance 6.8 board |  | 10 |
| 02-05-00478 | Equipment:- Cutery Ascolap Quntity:6 Company:- Germany Power transtor Bu 247 A |  | 20 |
|  | Foot switch |  | 4 |
|  | Control board |  | 4 |
|  | Seet control board |  | 4 |
|  | Hand switch |  | 6 |
| 02-05-00479 | Equipment:- Cutery Dadone Quntity:2 Company:- England Transformer |  | 6 |
|  | Foot Switch |  | 2 |
|  | Hand Switch |  | 2 |
| 02-05-00480 | Equipment:- New LEO Quntity:2 Company:- Japan Rubber Tube |  | 2 |
|  | Lamps |  | 2 |
|  | Compressor(LEO) |  | 2 |
|  | Hand Beas(Turben) |  | 4 |
| 02-05-00481 | Equipment:- Aevosol products Quntity:57 Company:- England Motor |  | 30 |
|  | Motor rubber cover |  | 70 |
|  | Rubber Tube |  | 20 meter |
|  | System arme |  | 50 |
|  | Filter |  | 50 |
|  | Flassk holder |  | 10 |
| 02-05-00482 | # Equipment : ECG Company & model : A 03200 EYM- 102 Japan 5151 Japan. - Styles | 10 |  |
|  | - Operating switch | 10 |  |
|  | - Galvanometer | 6 |  |
|  | - Role moving motor | 6 |  |
|  | - Different resistants | 10 |  |
| 02-05-00483 | Equipment : Sucker Company & model: AEROSOL SAM-20 - Internal motor ball bearing | 20 |  |
|  | - Washers | 30 |  |
|  | - Pistans with ball bearing | 30 |  |
|  | - Filter | 30 |  |
|  | - Hoses | 30 |  |
|  | - Gage | 30 |  |
|  | - Operating switch | 30 |  |
|  | - Motor | 30 |  |
| 02-05-00484 | Equipment :Different centerfuge Company & model : H-103 cocozan Reme - Armeture | 6 |  |
|  | - Motor coil | 5 |  |
|  | - Carbon | 14 |  |
|  | - Switch timer | 6 |  |
|  | - Operating switch | 6 |  |
|  | - Lamp | 5 |  |
| 02-05-00485 | Equipment : Auto clave Company & model : TAKIZAWA MB H107S DALKYO VA- 4265 LEZUEUS ETS. - Differentheaters | 20 |  |
|  | - Differentheaters water pump | 10 |  |
|  | - Contactor | 10 |  |
|  | - Thermostate | 10 |  |
|  | - Thermal gage | 6 |  |
|  | - Board signal lamp | 10 |  |
|  | - Hydrometer | 10 |  |
|  | - Fuses | 8 |  |
|  | - Circuit breaker | 10 |  |
| 02-05-00486 | Equipment :Different sterilizers Company & model - Heaters | 20 |  |
|  | - Thermostat | 20 |  |
|  | - Signal lamp | 20 |  |
|  | - Operating switch | 20 |  |
| 02-05-00487 | Equipment : Water bath Company & model : Memmert Germany - Ceramic heater | 10 |  |
|  | - Thermostat | 10 |  |
|  | - Signal lamp | 10 |  |
|  | - Operating switch | 10 |  |
|  | - Mercurial switch | 10 |  |
|  | - Thermometer | 10 |  |
| 02-05-00488 | Equipment : Sphigmomanometer (Air, Mercury) Company & model : - Rubber belt | 40 |  |
|  | - Tissue belt | 40 |  |
|  | - Sprayer | 30 |  |
|  | - Valve | 40 |  |
|  | - Mercury container | 20 |  |
|  | - Scaled glass tube | 40 |  |
|  | - Gage | 40 |  |
| 02-05-00489 | Equipment : Cautery Martin Company & model : 2000 Martin Germany - Earth plate | 10 |  |
|  | - Power supplier | 6 |  |
|  | - 2.2 Ωthermal resistant | 20 |  |
|  | - Diode | 10 |  |
|  | - 6.8 Ωthermal resistant | 20 |  |
|  | - 8A,2A , 6.3A Fuse | 30 |  |
|  | - Relay coil | 10 |  |
|  | - IC , Voltage fixer | 10 |  |
|  | - Bux 80 power transistor | 20 |  |
|  | - Earth plate Socket | 20 |  |
| 02-05-00490 | Equipment : Automatic processor Company & model : I.M.S. (CGR) - Fixer Rack | 10 |  |
|  | - Develop Rack | 10 |  |
|  | - Water Rack | 10 |  |
|  | - Drying Rack | 10 |  |
|  | - Different Relays | 10 |  |
|  | - Fuses | 20 |  |
|  | - Heaters | 10 |  |
| 02-05-00491 | Equipment : X-Ray unit system Shimadzu 500 mA with T.V Company & model: Shimadzu - Ray tube | 4 |  |
|  | - TV tube | 2 |  |
|  | - Hand switch | 4 |  |
| 02-05-00492 | Equipment : Diff. Operation projector Company & model : Japan - DKK 24V lamps | 10 |  |
|  | - 12 V 35W lamps | 30 |  |
|  | - Charger | 10 |  |
|  | - Glass Cover | 30 |  |
| 02-05-00493 | Equipment : C.C.U Company & model: A.O.C - Styles | 2 |  |
|  | - Adaptors | 30 |  |
| 02-05-00494 | Equipment : Diff. Infrared Company & model : Original HANAU 3030 A Strazux Super 2000 - Heater with glass | 8 |  |
|  | - Operating switch | 3 |  |
|  | - Timer | 2 |  |
| 02-05-00495 | Equipment : Microwave Company & model : Siemens\ Germany I 1005 - Megatron | 2 |  |
|  | - Maintransformer | 1 |  |
|  | - Thermal controlling bridge | 2 |  |
|  | - Fan | 1 |  |
|  | - U.V lamp. | 2 |  |
|  | - Diff. Valve | 6 |  |
|  | - Timer | 1 |  |
| 02-05-00496 | Equipment : Short Wave Set Company & model : Siemens/ 608/ Germany E.M.S England 76-4 - Operating switch | 6 |  |
|  | - Thermal controlling bridge | 6 |  |
|  | - Timer | 6 |  |
|  | - Thermal felamets | 6 |  |
|  | - Rubber gloves | 10 |  |
|  | - Diff. Thermal resistant | 10 |  |
|  | - Diff. Valve | 7 |  |
| 02-05-00497 | Equipment : Specol set Company & model : Carizeiss DDR - Lamp | 3 |  |
|  | - Photocell | 3 |  |
|  | - Diff. Lenses | 10 |  |
|  | - Main transformer | 3 |  |
| 02-05-00498 | Equipment : Ultrasonic Company & model : E.M.S England Enraf - Probe | 5 |  |
|  | - Operating Switch | 5 |  |
|  | - Power transistor | 10 |  |
|  | - Diff. Resistants | 10 |  |
| 02-05-00499 | Equipment : Wax bath Company & model : Enraf Holland 182 - Heaters | 4 |  |
|  | - Operating switch | 2 |  |
|  | - Thermostat | 1 |  |
| 02-05-00500 | Equipment : Vertibra Tractor Company & model : Ito Japan Itc – 100 – 5 - Traction cord | 2 |  |
|  | - Motor | 1 |  |
| 02-05-00501 | Equipment : Hb meter Company & model : Hb 210 - Ameter | 3 |  |
|  | - Electronic board | 3 |  |
|  | - Photo cell | 3 |  |
|  | - Lamps | 6 |  |
| 02-05-00502 | Equipment : Microscope Company & model : Olympus BHC – BV - Lamps | 20 |  |
|  | - Transformer | 1 |  |
|  | - Electronic board | 5 |  |
| 02-05-00503 | Equipment : AA2 Autoanalyzer Company & model : Ti7 unicon / France - Lamp | 2 |  |
| 02-05-00504 | Equipment : Dental unit Company & model: New Leo / Japan - Lamp. | 2 |  |
|  | - Turbine washer | 10 |  |
|  | - Hand piece washer | 10 |  |
|  | - Light base | 5 |  |
|  | - Light ON – Off switch | 3 |  |
|  | - Pressure switch | 3 |  |
|  | - Fuse | 2 |  |
|  | - Roter angle hand piece | 4 |  |
|  | - Sterile water container washers | 8 |  |
| 02-05-00505 | Equipment : Dental light cure Company & model : Qialxie Dental - Prisme | 2 |  |
| 02-05-00506 | Equipment : Amalgamater Company & model : Degussu Dentomot - Capsule | 2 |  |
| 02-05-00507 | Equipment : Developing Machine Company & model : Kodak/ Germany - Gear – 458383 | 2 |  |
|  | - Shaft – 472315 | 2 |  |
|  | - Bearing- 452128 | 2 |  |
|  | - Bearing- 472337 | 2 |  |
|  | - Bearing- 469009 | 2 |  |
|  | - Motor – 482362 | 2 |  |
| 02-05-00508 | Equipment : Steam sterilizer 7/6,6 series Company & model : Odelga /Austria - Solenoid valve item (14) in the tubing diagram 4010814 | 2 |  |
|  | - Solenoid valve item (15) in the tubing diagram 4010814 | 2 |  |
|  | - Solenoid valve item (12) in the tubing diagram 4010814 | 2 |  |
|  | - Solenoid valve item (V1) in the tubing diagram 4010814 | 2 |  |
|  | - One – Way valve Item (31) in the tubing diagram 4010814 | 2 |  |
|  | - Gasget door | 4 |  |
| 02-05-00509 | Equipment : Steam sterilzer vertical construction R/517 Company & model : Odelag / Austria - Piston Assembly Item (27) in the tubing diagram No. 3010802 (TSV-434-915) | 1 |  |
|  | - Piston Assembly Item (28) in the tubing diagram No. 3010802 (TSV-454-915) | 1 |  |
|  | - Piston Assembly Item (30) in the tubing diagram No. 3010802 | 1 |  |
|  | - Thermostat Item (2) in the tubing diagram No. 3010802 | 1 |  |
|  | - Piston Item (31) in the tubing diagram No. 3010802 | 1 |  |
| 02-05-00510 | Equipment : Invertomatic (UPS) Company & model : Energy conversion ltd. 6595 Rizzion to carno / Switzerland - Electronic board AGIE Zch. Nr. 618772.8 control + firing 1 IGR … 0509B | 1 |  |
| 02-05-00511 | Equipment : Incubator Company & model : Vickers / England - Complete plastic cabinet. (50-60 HZ , 220 V) | 1 |  |
| 02-05-00512 | Equipment : Ventilator Company & model : Dragger / Germany - Valve Item (131) | 1 |  |
| 02-05-00513 | Equipment : X-Ray Equipement/ Mobile Company & model : Shimadzu / Japan - X-Ray tube | 1 |  |
| 02-05-00514 | Equipment : Indirect ophthalmoscope Company & model : Dualite / England - Lamp 6V – 30 W | 100 |  |
|  | - Head Fitting | 10 |  |
| 02-05-00515 | Equipment : Phocimeter Company & model : Top con / Japan LM-5 - Lamp LM 8802 220V- 15W | 50 |  |
|  | - Lamp 6V – 15W | 50 |  |
|  | - Lamp 220V – 15W | 50 |  |
| 02-05-00516 | Equipment : Phocimeter Company & model : Indmi / Japan - Lamp 220V- 15W | 50 |  |
| 02-05-00517 | Equipment : Phocimeter Company & model : TMI / Japan , LM-EX - Lamp 220V- 15W | 50 |  |
| 02-05-00518 | Equipment : Operating microscope Company & model : Heraeus W/ Germany - Lamp 22.8 V- 50W | 150 |  |
| 02-05-00519 | Equipment : Echo - Ultrasound Company & model : Ophtascan B-C Echo - Probe | 10 |  |
| 02-05-00520 | Equipment : Electric cautery Company & model : Aesculap / Germany - Prob 670 GK | 30 |  |
|  | - Foot Switch | 20 |  |
| 02-05-00521 | Equipment : Keratometer Company & model : Top con / Japan - Lamp | 200 |  |
| 02-05-00522 | Equipment : Biometer Company & model : Storze / Alpha II - Probe 046/00083 | 10 |  |
| 02-05-00523 | Equipment : Vitrectomy Company & model : Laser fotoco Agulator S 32 - Probe | 6 |  |
| 02-05-00524 | Equipment : Synaptophor Company & model : Clement clarke / England 2001-610 - Lamp 6V-3A | 50 |  |
|  | - Halogen lamp 6v-20A | 50 |  |
| 02-05-00525 | Equipment : Radio scope Company & model :Eyco / Japan – RS-1 - Lamp 6V – 25W | 30 |  |
|  | - Transformer 6V-20W | 5 |  |
| 02-05-00526 | Equipment : ECG Company & model: Nihon / Japan / ECG-5151 - Styles | 10 |  |
| 02-05-00527 | Equipment : Direct ophthalmoscope Company & model : Keeler - Lamp 3.8V | 100 |  |
|  | - Lamp 2.6V | 100 |  |
| 02-05-00528 | Equipment : Computerised Refractometer Company & model : Top con /Japan – RM-A5000 - Paper roll | 5 Boxes |  |
| 02-05-00529 | Equipment : Cat ford Company & model : Keeler - Motor 12V/2VA | 5 |  |
|  | - Reverse action stick | 5 |  |
| 02-05-00530 | Equipment : Floor – Operating microscope Company & model : Zeiss – YS3 - Hallogen Lamp. 12V/100W | 50 |  |
|  | - Fiber oring 303481-8109 | 50 |  |
| 02-05-00531 | Equipment : Mounted operative light Company & model : Hana Zeiss / OPMI 6-CFC XY - Hallogen Lamp. 15V/150W | 100 |  |
| 02-05-00532 | Equipment : Retinoscope Company & model : Heine / W.Germany/ HRS 2 - Lamp. G/803/2.5V | 100 |  |
|  | - Battry 3.6V/14HRS / 75mA | 50 |  |
| 02-05-00533 | Equipment : Retinoscope Company & model : Keeler - Lamp 3.6V | 100 |  |
| 02-05-00534 | Equipment : Slit Lamp 900 Company & model : Top con/ Haag- Streit AG CH-3097 Liebefeld – Bern - Lamp 900 – 930 6V/4.5A | 100 |  |
| 02-05-00535 | Equipment : NAG-Yag-Laser Company & model : Carl Zeiss W.G 306860/ 100-110-120- 127 – 50-60HZ (CPS) 150VA - Lamp Wotan 12V - 30W Germany 64250 | 100 |  |
|  | - Flash Lamp. | 25 |  |
| 02-05-00536 | Equipment : Argon laser Company & model : Zeiss / England / 142941 - Tube | 20 |  |
|  | - 4 Angle lense | 20 |  |
| 02-05-00537 | Equipment : Less screen Company & model : Hamblin 313-166 - Foot Switch | 4 |  |

| 02-05-00538 | Equipment : Small aevosol products Company: Germany Quntity:10 Motor | 5 |
| --- | --- | --- |
| 02-05-00539 | Equipment : Steady projector Company :Japan Quntity:15 D.K.K Lambs | 100 |
| 02-05-00540 | Equipment : Light source Company : Germany Quntity:8 Lambs | 6 |
| 02-05-00541 | Equipment : Delivery monitor Company :Japan Quntity:8 Crystal socket | 6 |
| 02-05-00542 | Equipment :Snoike Company :Japan Quntity:6 Crystal amplifier board | 2 |
| 02-05-00543 | Equipment : Sphgmonometer Company :Japan Quntity:27 Murcary | 2 Kilo |
|  | Rubber bag | 27 |
|  | Cloth bandage | 25 |
|  | Valve | 25 |
| 02-05-00544 | Equipment : Water bath Company :England Quntity:4 Heater | 1 |
| 02-05-00545 | Equipment : Filter(Kagary) Company : Germany Quntity:1 Motor 220 | 1 |
| 02-05-00546 | Equipment : Microscope Company :Japan Quntity:15 Lamb | 10 |
| 02-05-00547 | Equipment : Wood lamb Company :England Quntity:1 Glass | 1 |
| 02-05-00548 | Equipment : Inter red ultra volet Company :England Quntity:3 Regulator | 2 |
|  | Timer | 2 |
|  | Lambs | 2 |
| 02-05-00549 | Equipment : Microscope Company : Japan Quntity:2 Micro switch | 2 |
| 02-05-00550 | Equipment : Moveble projector Company : Japan Quntity:7 Glass cover | 10 |
|  | Lamp | 24 |
| 02-05-00551 | Equipment : Photothater Company : England Quntity:6 Holder | 24 |
| 02-05-00552 | Equipment : Reteanscope Company : England Quntity:2 Lamp | 2 |
| 02-05-00553 | Equipment : Selt lamp Company : England Quntity:6 Transformer | 2 |
|  | Wheel | 4 |
| 02-05-00554 | Equipment : Cutery tur Company : England Quntity:1 Valve | 2 |

| 02-05-00555 | Equipment :- ECG monitor Company : Hellega Model :SMD 104 Deflection 93011514+HV board 38800209 &electrode | 1 |
| --- | --- | --- |
| 02-05-00556 | Equipment :- Portable X-Ray unit Company : Toshiba Model : KCD 12 M.S Battery 12 V | 4 |
| 02-05-00557 | Equipment:- Projector ( portable) Company : Traflix Model : Traflix – B Battery 12 V | 10 |
| 02-05-00558 | Equipment:- Photo – Therapy (amp 800) Company : Hearus Model : 800 Power switch 220V/2W + Fan 220V 56018151 | 3 |
| 02-05-00559 | Equipment:- Microscope Company :Reichert Jung Model : Neavar-2 Compensation for accvity differences | 3 |
| 02-05-00560 | Equipment:-Ventilateor Company : Sulla Model : 808 V Vapor 1901 basic unit M 26592 | 2 |
|  | Volumeter 3000+ Return Valve | 1 |
|  | Winged nand wheel (M 17783) | 3 |
|  | Pressure regulator (8402745) | 1 |
|  | Gas bazziar (M25093) | 1 |
| 02-05-00561 | Equipment:-Suction unit Company : Atmos Model : Rp 90 O-Ring(M23612) | 3 |
|  | Motors | 3 |
|  | Filter | Group 1 |
| 02-05-00562 | Equipment:-Suction unit Company : Marobini Heater | 2 |
| 02-05-00563 | Equipment:-Suction unit Company : Drager Model : PP 800 Lamp(12V) | 10 |
| 02-05-00564 | Equipment:- Bilirobnometer Company : Orthodaiognashi Interfernce filter 455 + 575 Select the monoch-ormatic beam of 455rm or 57rm | 1 |
| 02-05-00565 | Equipment:- Incubator Company : Atmos Model : V-80 Power switch | 4 |
| 02-05-00566 | Equipment:- Incubator (portable) Company : Drager Model : 5400 Water container | 6 |
|  | Set up kits + power box with accumolator | 2 |
| 02-05-00567 | Equipment:-Vantos Company :Atmos Model :Atmorfit E Regulator Knob with gradutait | 1 |
|  | Valve for control pressuer | 2 |
| 02-05-00568 | Equipment:-Ultrasound System Company : Toshiba Model : SAL-35A Transformer supply main power | 1 |
| 02-05-00569 | Equipment:- Sonicate Company : Sonicode Model : P206 Battery nickel/ cadmium 10.5V | 6 |
| 02-05-00570 | Equipment:- Blood Warmer Company :DEC Electronic board H 840309 | 6 |
| 02-05-00571 | Equipment:- Developing machine Company : Kodak Model : M6 Drain valve | 3 |
|  | Fixer rack &developer rack&water rack | 1 |
| 02-05-00572 | Equipment:-Sonicate Company : Soniicode Model : 102R Charger transformer | 1 |
| 02-05-00573 | Equipment:- Centerfuge Company : Hemafuge Model : Hearus Electronic board 50258 | 2 |
| 02-05-00574 | Equipment:- typewriter , electric , Arabic Company : ISK Japan Model : I1-16 Gear 30144431 | 8 |
|  | Drawband 60138189 | 20 |
|  | Typing core assymble | 10 |
| 02-05-00575 | Equipment:- Ultrasonic , diagnostic equipment Company : Aloka Japan Model : SSD-180 Prob 3 MHZ | 1 |
| 02-05-00576 | Equipment:- Neuroton Company : Siemens west ,Germany Model : Neuroton Output board & control board | 1 |
| 02-05-00577 | Equipment:- Analyser , glucose bench model Company : SMD Japan Model : CL –720 Control unit pc – board assymble 204-54206 | 1 |
| 02-05-00578 | Equipment:- Deioniser 250L/ hour Company : SKR Japan Model : DAT-1200 Pc board (control ) 700A61-1 | 1 |
| 02-05-00579 | Equipment:- X-Ray unit , mobile with image intensifier Company : SMD Japan Model : WHA-10 X-Ray tube model 1A-7X number 470193 ( housing model ) TH- 706 number 1939 | 1 |
| 02-05-00580 | Equipment:- X-ray film changes PACH unit Company : SMD Japan Model : 2XBAO- 9123-040 guide roller | 3 |
|  | 1XBAO – 9122- 00 guide roller | 3 |
| 02-05-00581 | Equipment:- Analyser , sodium, potassium , lead, bench, model Company : TIT Japan TOA Model : NAKL-1 Flow cell 70x25x55 | 2 |
|  | J-nozzle | 2 |
|  | Thermostat | 2 |
| 02-05-00582 | Equipment:- Auto analyses CL-12 Company : SMD Japan Model : CL-12 |  |
|  | Solenoid valve 204-6231-01 | 2 |
|  | Head 204 – 62417 | 20 PCs |
| 02-05-00583 | Equipment:- Counter blood cell Company : SKR Japan TOA Model : CC-130 System |  |
|  | Solenoid valve 813 – 0691 –9 | 2 |
|  | Internal elecrode 813- 0450 – 9 | 2 |
|  | Connection tube No. 42 (pm) 833- 916- 3 | 1 set |
|  | (F- seies pm ) thermistor 813 – 0779-9 | 1 set |
| 02-05-00584 | Equipment:- Electroenephalo Company : graph NKD Japan Model : EEG-4217 Thermal head for printer AAA-35358 | 18 |
|  | Head gride (head electrode) | 1 |
|  | Paper | 2000 m |
|  | INK | 20 bottle |
| 02-05-00585 | Equipment:- Electrocardiograph Company : NKD Japan Model : ECG-5403 Main ampilfier p/n ol-501E | 1 unit |
|  | Styles | 12 |
|  | Chest electrode , 5030378 | 48 |
|  | Limb electrode 5030003 | 16 |

| 02-05-00586 | Equipment:- Infrared Company : England Quantity :3 Regulator | 2 |
| --- | --- | --- |
|  | Timer fixer | 2 |
|  | Red valve | 2 |
| 02-05-00587 | Equipment:- Microscope Company : Japan Quantity :3 Micro switch | 2 |
| 02-05-00588 | Equipment:- Moving projector Company : Japan Quantity :7 Glass cover | 10 |
|  | (vawer) half solved | 24 |
| 02-05-00589 | Equipment:- Fototherapy Company : England Quantity :6 Holder | 24 |
| 02-05-00590 | Equipment:- Retinscope Company : Sews made Quantity :2 Valve | 2 |
| 02-05-00591 | Equipment:- Slit lamp Company : Sews Quantity :6 Transformer | 2 |
|  | Slide roller | 4 |
| 02-05-00592 | Equipment:- Cutting system tor Company : Germany Quantity :1 Power valve | 2 |

| 02-05-00593 | Disposable needle electrode concentrie | 13 RO1 | 20x(25 piece)each |
| --- | --- | --- | --- |
|  | Auto claviable concentrie needle electrode | 13 L 30 | 20 each |
|  | Auto claviable concentrie needle electrode | 13 L 31 | 20 each |
|  | Auto claviable concentrie needle electrode | 13 L 49 | 20 each |
|  | Auto claviable concentrie needle electrode | 13 L50 | 20 each |
|  | Auto claviable concentrie needle electrode | 13 L 51 | 20 each |
|  | Auto claviable concentrie needle electrode | 13 L 58 | 20 each |
|  | Electrode cable for all the above | 13 L 01 | 20 |
|  | Platenum needle electrode | 13 L 70 | 500 |
|  | Cable for the above | 13 L 06 | 20 each |
|  | Cable for the above | 13 L 08 | 20 each |
|  | Disposable needle electrode scalp (40 piece) | 13 R 31 | 25 x(40 piece) |
|  | Electrode cable for the above | 13 P 06 | 20 each |
|  | Electrode cable for the above | 13 P 08 | 20 each |
|  | Silver chloride dise electrodes 50 piece 5x (50 piece) | 13 P06 | 20 each |
|  | Silver chloride dise electrodes 50 piece 5x (50 piece) | 13 P08 | 20 each |
|  | Silver chloride dise electrodes 50 piece 5x (50 piece) | 13 L20 | 20 each |
|  | Disposable needle electrode semory (25 piece) 20 x (25 piece) | 13 R 24 | 20 x (25 piece) |
|  | Disposable needle electrode semory (25 piece) 20 x (25 piece) | 13 R 25 | 20 x (25 piece) |
|  | Electrode cable for the above | 13 p 02 | 10 each |
|  | Electrode cable for the above | 13 P 12 | 10 each |
|  | Recording electrode | 13 L 37 | 20 |
|  | Surface stimulating Electrode-ferigen electrode | 13 L 69 | 20 |
|  | Surface stimulating Electrode-ferigen electrode | 13 L170 | 20 |
|  | Grounding electrodes different sizes from infant size to the biggest size (5 each) | 13 S 93 | 5 each |
|  | Grounding electrodes different sizes from infant size to the biggest size (5 each) | 13 S 94 | 5 each |
|  | Fixation strap | 13 L 38 | 10 |
|  | Stimalating electrodes | 13 L 35 | 10 |
|  | Feltip 2x(100 piece) | 13 L 35 | 2x(100 piece) |
|  | Feltip 2x(100 piece) | 13 L 352 | 2x(100 piece) |
|  | Feltip 2x(100 piece) | 13 L 353 | 2x(100 piece) |
|  | Inter connection cable | 13 B 414 | 1x10 |
|  | Inter connection cable | 13 B 418 | 3x3 |
| 02-05-00594 | Equipment:- Microwave Radio therm 706 Company : Siemens west-Germany Model :- Radio therm 706 Output Board |  | 1 |
|  | Cable |  | 1 |
| 02-05-00595 | Equipment:- Autoanalyser,haematology,major Company : NKK japan Model :-S-Plus coulter counter Rolling diaghram 6217016 |  | 1 |
|  | O-Ring 2512112 |  | 1 |
|  | WBC Aperture bath |  | 1 |
|  | RBC Aperture bath |  | 1 |
| 02-05-00596 | Equipment:- Still,8 liter/hr Company : Barnstead sybron England Model :- Fi-streem barnotead Boiler 06546 |  | 6 |
|  | Heating element 06278 |  | 10 |
| 02-05-00597 | Equipment:- X-Ray system Universal remote control Company : SMD japan Model :- VS-10 Carriage drive moter URK 25 GK-A2 including (motor,gear box &mounting) |  | 1 set |
| 02-05-00598 | Equipment:-X-ray system Company : SMD japan Model :- R20 MAS board &overload protection board |  | 1 |
| 02-05-00599 | Equipment:-Water purifaction system (RO) RO module 60412 |  | 16 piece |
|  | Timer model H2A 12H,100V |  | 2 unit |
| 02-05-00600 | Equipment:- X-ray processor automatic Company : Kodak japan Model :- kodak rp x-omat proccessor Developer rack 594125 |  | 2 |
|  | Fixer rack 594127 |  | 2 |
|  | Water rack (wash rack) 594129 |  | 2 |
|  | Developer enterance cronover assembly 594124 |  | 2 |
|  | Developer to fixer cronover assembly 594126 |  | 2 |
|  | Fixer to wash cronover assembly 594128 |  | 2 |
|  | Main drive motor gear |  | 4 |
|  | Main drive Shaft gear |  | 4 |
|  | 4000 area accumulator 602723 circuit board |  | 2 |
|  | 5000 fault monitor 602724 circuit board |  | 2 |
|  | Relay (K9) 562245 |  | 4 |
|  | Relay 562334 |  | 12 |
|  | Fixer heater |  | 2 |
|  | Dry heater |  | 2 |
|  | Developer heater |  | 2 |
|  | Fan motor (Biower motor) |  | 2 |
|  | 1000 power circuit board 602720 |  | 1 |
| 02-05-00601 | Equipment:- X-ray processor automatic Company : Italy Model :-I.M 420 Developer rack |  | 1 |
|  | Fixer rack |  | 1 |
|  | Water rack |  | 1 |
|  | Dry rack |  | 1 |
|  | Styles |  | 10 |
| 02-05-00602 | Equipment:- Monitor ICU Company : NKD japan Model :- OMP-6200 ECG connection cable 5570605 |  | 4 pcs |
|  | ECG electrode for disposal electrode (red,yellow,black) |  | 20 pcs |

|  | 02-05-00603 | Equipment:- Mingograph Company : Siemens Model : EEG 21 Quantity: 1 Galvanometer | 6729651E173E | 16 |
| --- | --- | --- | --- | --- |
|  |  | Electrode cable | 6725295E102E | 16 |
|  |  | Electrode cable | 6772016E102E | 16 |
|  |  | Electrode cable | 677200BE102E | 16 |
|  |  | Writing fluid | 6668511E100E | 10 |
|  |  | Paper | 6712368E100E | 20 |
|  |  | Electrodes | 6105928E120E | 3 |
|  |  | Electrodes | 6105936E120E | 3 |
|  |  | Filter | 6612493E100E | 10 |
|  |  | Electrode crene | 6072656EH06E | 5 |
|  |  | Holder cap | 6705902E120E | 2 |
|  |  | Writing fluid system | 6767024E141E | 1 |
|  |  | One-Channel band | 6791032E183E | 1 |
|  | 02-05-00604 | Equipment:- Ultrasound Company : Siemens-Germany Model : SL-2 Linear probe 5MHZ |  | 1 |
|  |  | Linear probe 305 MHZ |  | 1 |
|  |  | Sector probe 5MHZ & 12mm |  | 1 |
|  |  | Sector probe 3.5MHZ & 15mm |  | 1 |
|  | 02-05-00605 | Equipment:- Similator Company : Semadzio-Japan Model : SAT –10 X-Ray tube |  | 1 |
|  |  | Circlex 0.8 P38 C- |  | 1 |
|  |  | Max 150 KV |  | 1 |
|  |  | Focaus 0.8 mm |  | 1 |
|  |  | 200 KHU Rotating anode X-Ray tube assy |  | 1 |
|  | 02-05-00606 | Equipment:- Bench centrifuge Company :Turkish Model : NF 815 Comm.No.1501 Serial No.2330 Plastic pocket |  | 20 |
|  | 02-05-00607 | Equipment:-Desferal pump Battery 9 V Mn , 1604. |  | 400 |
|  |  | Lamp for Microscope (simple) with accessories and spare parts |  | 215 |
|  |  | Spare Condenser for still water |  | 250 |
|  |  | Spare Still body flask water. |  | 300 |
|  |  | Spare Brush for washing machin T.T |  | 30 |
|  |  | Paper Roll for Scanner. |  | 1000 |
|  |  | Boiling chamber Spare for water bath. |  | 40 |
|  |  | Electrod for PH meter |  | 22 |
|  |  | Eye pieces for microscope |  | 3 |

| 02-05-00608 | Spare part for GMW high volume air samplers model 2000 H & model 2000 as follows – - 0.6 motor (180-240V) (50HZ) - brushes B-1 - fiber glass filter paper (24.5x20.3 ) cm air sampler - motor housing 2007 - Mounting plate motor cover (2005 ( - Motor Cushion (2005) Power card assembly (2011) | 10 100 40 box100 filter/box 5 10 20 20 |
| --- | --- | --- |
| 02-05-00609 | Spare parts for CO analyzer type CO 11M (Group environment SA co.)As follows : - membrane filters for inlet dust filter ( AV- K00042 – A) . - Fuses(220 v 3 x1 ATD / 1X0.5 ATD/-). - Fuses (110 v 2x2 ATD / 1X0.5 ATD /1x1ATD). - Palladium for refilling internal zero filter (01-000g-A. ( - Wisa air pump kit (VO2 – k – 113 – 909 – A) - Acrylic dust filters for aeration grids (FO5 – 5003 – A). - IR Source with cable and connector ( MO3 – 0004-A) - Standard CO gas cylinder (50 ppm) | 5 box(25 filter /box) 5 sets (5 fuse /set( 5 sets (5 fuse /set( 5 x 60g 5 5set (2 filter /set) 5 2 |

| 02-05-00610 | Spare parts for SO2 analyzer (AF 21 M – LCD UV Fluorescent sulfur dioxide ) group environment S.A co. as follows: - diaphragm filter holder.(SAV – K – G 00042 A). - acrylic dust filter for general fan (F05 – 5003-A). - refilling material for internal zero air filter ( F0-0061-A). - air pump kit (V02 – K-113-909A). - Ultra time delay fuses for 220 volt Kit (DITD/1A-dia- 5x20 mm SOL -TT 01-00A) - Ultra time delay fuses for 220 volt Kit (DITD/0.5A-dia- 5x20 mm SOL -TT 00.50A). - Ultra time delay fuses for 110V Kit – 110 V pump direct D1 TD/2A – dia 5x20 mm S01 – TT02 .00A). - Ultra time delay fuses for 110V Kit – 110 V pump direct D1 TD/1A – dia 5x20 mm S01 – TT01 .00A) - Ultra time delay fuses for 110V Kit – 110 V pump direct D1 TD/0.5A – dia 5x20 mm S01 – TT00 .50A( - Ultra time delay fuses for 110V Kit – 220 V pump outo transformer ( D1 TD/2A – dia 5x20 mm S01 – TT02 .00A( - Ultra time delay fuses for 110V Kit – 220 V pump outo transformer( D1 TD/0.5A – dia 5x20 mm S01 – TT00 .50A) - Standard SO2 gas cylinder for calibration | 5box (25 filter /box) 5sets (2 fuse /set) 5x60g 5 10 10 5 5 10 15 10 2 |
| --- | --- | --- |

| 02-05-00611 | Equipment:Servo ventilator |  |  |
| --- | --- | --- | --- |
|  | Company : Siemens-Germany |  |  |
|  | Model : 900 C |  |  |
|  | PC board 765 | 6977599E347E | 18 |
|  | PC board755 | 6977854E347E | 18 |
|  | PC board762 | 6972079E347E | 18 |
|  | PC board761 | 6977953E347E | 18 |
|  | PC board 760 | 677938E347E | 18 |
|  | PC board 759 | 6977912E347E | 18 |
|  | PC board 758 | 6977896E347E | 18 |
|  | PC board 757 | 6977870E347E | 18 |
|  | PC board 763 | 6980528E347E | 18 |
|  | PC board 766 | 6980528E347E | 18 |
|  | Pressure transducer | 6395628E037E | 18 |
|  | Pressure transducer | 6395628E03E | 18 |
| 02-05-00612 | Equipment:Monitor |  |  |
|  | Company : Siemens-Germany |  |  |
|  | Model : 403-2P |  |  |
|  | Spare part | 8419 640 E2250 A 103 | 8 |
|  | Spare part | 73 70737 E2250 A10 | 8 |
| 02-05-00613 | Recommended spare parts &accessories for |  |  |
|  | Equipment:Glass distillator |  |  |
|  | Company :Russin |  |  |
|  | Model:JSC (chim labor pri POR 16) |  | For one apparatus |
|  | Control unit | rQ 2.570.000 | 150 |
|  | Flow pickup | M 65.132.007 | 200 |
|  | Float - type flometer | M 65.183065 | 150 |
|  | Heater (R=520 hm) | M 65.863-060 | 200 |
|  | Heater (R=550 hm) | M 65863.060.01 | 200 |
|  | Cooling condenser | M 65-883-233 | 200 |
|  | Vessel | M65.887-267 | 200 |
|  | Level regulator | M65.887.268 | 250 |
|  | Clamp | M66.272.081-01 | 100 |
|  | Clamp | M66.272.081-03 | 100 |
|  | Adapter | M66.453.294 | 200 |
|  | Adapter | M66.453.295 | 200 |
|  | Ring | M67.396.311 | 200 |
|  | Casket | rQ8.684.070 | 200 |
|  | Casket | M68.685.107 | 200 |
|  | Casket | rQ8.684.071 | 200 |
|  | Flang | rQ8.230.129 | 200 |
|  | Flang | rQ8.230.130 | 200 |
|  | T- piece connector | rQ7.357.251 | 150 |
|  | Scientific & Biological Reaserch Center |  |  |
| 02-05-00614 | Equipment:PCR Laboratory |  |  |
|  | Company : Germany |  |  |
|  | Mastercycler gradient 230 V-50/60 Hz . | 5331000.01 | 1pc |
|  | Biomaster kit consisting of :- 1Biomaster with contineous volume selection in range from 1-20ul &1 box of 96 mastertips. | 483 000.017 | 1pc |
|  | Mastertips (5 boxes with each 96 Mastertips , autoclavable ) . | 30001.32 | 1 set |
|  | Centrifuge refrigerated 541 7R without rotor , 230V-50 Hz | 5407000.015 | 1 pc |
|  | Standard rotor F45-30-11with Lid for centrifuge5417C/R | 5490015.002 | 1PC |
|  | Safe -lock tubes 1.5ml | 30120.086 | 10set |
|  | 1000pcs of 0.2mlPCR tubes | 30124.2 | 10set |
|  | Concentrator5301,complete system with pump.230V/50-60Hz. | 5301000.21 | 1pc |
|  | Biophotometer 6131 Accessories for biophotometer(option) (need to be ordered separately prices not stated ):0013608.118ThermoprinterDPU 114 ,0013608.172 Main power supply 230V ,0013610.517 connecting cable ,4153000.013Aspirating pump ECOM -P | 6131000.012 | 1PC |
|  | Multipette plus 4980 | 4980000.015 | 1pc |
|  | Combitips plus biopur0.1ml | 30069.404 | 1set |
|  | Combitips plus biopur0.2ml | 30069.412 | 1set |
|  | Combitips plus biopur0.5ml | 30069.42 | 1set |
|  | Combitips plus biopur1ml | 30069.439 | 1set |
|  | Combitips plus biopur5ml | 30069.455 | 1set |
|  | System pack titerman ,8-channel, 0.5-1 ul | 4908000.507 | 1set |
|  | Eppendorf Research3110,0.1-2.5 ul | 3110000.013 | 1pc |
|  | Eppendorf Research3110,0.5-1 ul | 3110000.021 | 1pc |
|  | Eppendorf Research3110,2-20 ul | 3110000.03 | 1pc |
|  | Eppendorf Research3110,10-100 ul | 3110000.048 | 1pc |
|  | Eurotips 2.5ul (Nanotips) (960 Eurotips in racks ) | 30063.937 | 5 set |
|  | Eurotips 20ul (960 Eurotips in racks ) | 30063.6 | 5 set |
|  | Eurotips 100ul (960 Eurotips in racks ) | 30063.619 | 10set |
|  | Eurobox 2.5 ul (Nanotips) plus 96 Eurotips | 30063.67 | 1set |
|  | Eurobox 20ul plus 96 Eurotips . | 30063.88 | 1set |
|  | Eurobox 100ul plus 96 Eurotips . | 30063.899 | 1set |
|  | Piptte stand carrousel for 6 pipettes. | 4807000.018 | 1pc |
| 02-05-00615 | Equipment:X-Ray unit |  |  |
|  | Company : Siremat Semines/ Germany |  |  |
|  | Up-grading for X-ray unit |  | 1 |
| 02-05-00616 | Equipment:X-Ray unit |  |  |
|  | Company : Shemadzo |  |  |
|  | Up-grading for X-ray unit |  | 1 |
| 02-05-00617 | Equipment:Mammographic unit |  |  |
|  | Up-grading for Mammographic unit |  | 1 |
| 02-05-00618 | Equipment:Processor |  |  |
|  | Up-grading for processor |  | 1 |
| 02-05-00619 | Equipment:Automatic Processor |  |  |
|  | Up-grading for Automatic processor |  | 1 |