|  | Endoscopes Accessories As Below: |  |  |
| --- | --- | --- | --- |
| 02-42-05131 | Cutting Loops | 110 | Set |
| 02-42-05598 | Lithotride 24 Fr | 2 | Set |
| 02-42-05599 | Optical Urethrotome Set | 2 | Set |
| 02-42-05600 | High Frequency Cord | 2 | Set |
| 02-42-05604 | Cystoscope Set | 1 | Set |
| 02-42-05605 | Resectoscope Set | 1 | Set |
| 02-42-05606 | Optical Urethrotome Set | 1 | Set |
| 02-42-05608 | Stone Punch Set | 1 | Set |
| 02-42-05609 | Pediatric Resectoscope Set | 1 | Set |
| 02-42-05610 | Pediatric Optical Urethrotome | 1 | Set |