| CODE | Description | Total | Unit | Ref. |
| --- | --- | --- | --- | --- |
|  | 1. Water Treatment Chemicals |  |  |  |
| 03-05-00001 | Calcium hypochlorite 65% packed in 45 Kg plastic drums.(Hypocal = Registered brand (HTH) of OLIN. | 54000 | Kg | 45004031 |
|  | 2. Water Treatment Equipment |  |  |  |
| 03-05-00002 | Chlorine solution dosing pump, KM 220-1, capacity l/hr = 24, Back pressure = 10 Bar, Strokes (No Load) = 120, , 240 V, single phase, 50 Hz, 1,500 RPM. With O&M manuals and spare parts catalogue in Arabic/English. From PORTACEL LIMITED, Cannon Lane, Tonbridge, Kent, England, or Equivalent. Tel: Tonbridge(0732)364411 Telex: 95467(Portac G) | 35 | Set |  |
| 03-05-00003 | Spare parts for powder chlorinator model G020-511M, capacity 22L/Hour, Head pressure 12 bar, from DOSAPRO MILTON ROY. B.P.S 27360 point-Saint-Pieree, France. "liquid end assembly", Key No. U, 3071240002. See drawing ANX-DHK-CHLOR-1 | 40 | Set |  |
| 03-05-00004 | Same as in item2, "function valve", key No. B, 35371. See drawing ANX-DHK-CHLOR-1 | 40 | Set |  |
| 03-05-00005 | Same as in item2, "Injection nozzle", key No. C, 29523. See drawing ANX-DHK-CHLOR-1 | 40 | Set |  |
|  | 3. Pipes and Specials |  |  |  |
| 03-05-00006 | GI pipe for drinking water supply, to be of mild steel, medium series, standard, longitudinally welded, (high induction frequency welding), hot dipped galvanized and passivated. Each pipe to be hydro tested or tested as per current method. To be manufactured as per iso 65-1981 or equivalent. Both ends male threaded ISO 7, socked one end (female threaded socket), duly galvanized and chamfered, and the other end protected with a HDPE threaded protector, covering entire thread of pipe, male threads to be protected with anti-rust zinc aluminum paste, socket threads to be protected with anti-rust varnish.Pipe/socket to adequately zinc coated to satisfy copper sulfate test as prescribed in appendix A of BS 1387 / 67 or equivalent ISO standard. Steel, zinc, anti-rust paste and varnish to be made from food grade material. Pipe length (excluding socket length): 6 meters. PN 25, Nominal diameter: ND 2.0 inch. | 100 | Each | CCX 981485 |
| 03-05-00007 | Same as item 1, PN 25, size 3.0 inch | 900 | Each |  |
| 03-05-00008 | Same as item 1, PN 25, size 4.0 inch | 500 | Each |  |
| 03-05-00009 | Same as item 1, PN 25, size 6.0 inch | 25 | Each |  |
| 03-05-00010 | Flanged end cup for 3 inch dia ductile iron pipes, PN 25. | 25 | Each |  |
| 03-05-00011 | Same as item 2, size 4.0 inch. | 25 | Each |  |
| 03-05-00012 | Same as item 2, size 6.0 inch. | 25 | Each |  |
| 03-05-00013 | Same as item 2, size 8.0 inch. | 26 | Each |  |
| 03-05-00014 | same as item 2, size 75 mm. | 10 | Each |  |
| 03-05-00015 | Viking Johnson coupling for 90 mm, MAXIFIT, PN 16, Standard length pipe | 25 | Each |  |
| 03-05-00016 | Same as item 3 but for 110 mm pipe. | 25 | Each |  |
| 03-05-00017 | Same as item 3 but for 160 mm pipe. | 25 | Each |  |
| 03-05-00018 | V. J. Easi clamps for 90 mm, EURO EASI CLAMP, PN 16, Standard length pipe | 13 | Each |  |
| 03-05-00019 | Same as item 4 but for 110 mm pipe. | 13 | Each |  |
| 03-05-00020 | Same as item 4 but for 160 mm pipe. | 10 | Each |  |
| 03-05-00021 | Stainless steel repair clamps, quality A131304 with waffled rubber seal according to DIN 3535. Double section for 80 mm pipe. PN 25. | 15 | Each |  |
| 03-05-00022 | Same as item 5 but for 100mm pipe. | 15 | Each |  |
| 03-05-00023 | Same as item 5 but for 150mm pipe. | 13 | Each |  |
| 03-05-00024 | Same as item 5 but for 200mm pipe. | 15 | Each |  |
| 03-05-00025 | Same as item 5 but for 250mm pipe. | 5 | Each |  |
| 03-05-00026 | Same as item 5 but for 300mm pipe. | 10 | Each |  |
| 03-05-00027 | Ductile iron pipe with rubber gasket joints (Tyton joints) with rubber gaskets, 6 metres nominal length, 3 inch diameter. PN 25 | 600 | Each | CCX 982137 |
| 03-05-00028 | Same as item 6 but 4 inch dia. | 2900 | Each |  |
| 03-05-00029 | Same as item 6 but 6 inch dia. | 500 | Each |  |
| 03-05-00030 | Same as item 6 but 8 inch dia. | 400 | Each |  |
| 03-05-00031 | Same as item 6 but10 inch dia. | 50 | Each |  |
| 03-05-00032 | Same as iten 6 but 12 inch dia. | 1000 | Each |  |
| 03-05-00033 | Equal elbows for ductile pipes with rubber gasket joints, 90 degree, with rubber gaskets, FxF, 3 inch dia, PN 25. | 50 | Each | 45003867 |
| 03-05-00034 | Same as item 7 but 4 inch dia. | 50 | Each |  |
| 03-05-00035 | Same as item 7 but 6 inch dia. | 30 | Each |  |
| 03-05-00036 | Same as item 7 but 8 inch dia. | 25 | Each |  |
| 03-05-00037 | Same as item 7 but 10 inch dia. | 5 | Each |  |
| 03-05-00038 | Same as item 7 but 12 inch dia. | 20 | Each |  |
| 03-05-00039 | Equal elbows for ductile pipes with rubber gasket joints, 45 degree, with rubber gaskets, FxF, 3 inch diam, PN 25. | 20 | Each | 45003867 |
| 03-05-00040 | Same as item 8 but 4 inch diam | 20 | Each |  |
| 03-05-00041 | Same as item 8 but 6 inch diam | 10 | Each |  |
| 03-05-00042 | Same as item 8 but 8 inch diam | 10 | Each |  |
| 03-05-00043 | Same as item 8 but 10 inch diam | 3 | Each |  |
| 03-05-00044 | Same as item 8 but 12 inch diam | 30 | Each |  |
| 03-05-00045 | Equal Tees for ductile pipes with rubber gasket joints, FxFxF, 3 inch diam, PN 25. | 25 | Each | 45003867 |
| 03-05-00046 | Same as item 9 but 4 inch diam | 20 | Each |  |
| 03-05-00047 | Same as item 9 but 6 inch diam | 20 | Each |  |
| 03-05-00048 | Same as item 9 but 8 inch diam | 20 | Each |  |
| 03-05-00049 | Same as item 9 but 10 inch diam | 3 | Each |  |
| 03-05-00050 | Same as item 9 but 12 inch diam | 5 | Each |  |
| 03-05-00051 | Ductile Tee Socket with rubber gaskets, 3x3 inch dia, PN 25. | 10 | Each |  |
| 03-05-00052 | Same as item 10 but 4x4 inch dia | 10 | Each |  |
| 03-05-00053 | Same as item 10 but 4x3 inch dia | 20 | Each |  |
| 03-05-00054 | Same as item 10 but 6x4 inch dia | 20 | Each |  |
| 03-05-00055 | Same as item 10 but 6x3 inch dia | 10 | Each |  |
| 03-05-00056 | Same as item 10 but 6x6 inch dia | 5 | Each |  |
| 03-05-00057 | Same as item 10 but 8x8 inch dia | 4 | Each |  |
| 03-05-00058 | Same as item 10 but 8x6 inch dia | 4 | Each |  |
| 03-05-00059 | Same as item 10 but 8x4 inch dia | 5 | Each |  |
| 03-05-00060 | Same as item 10 but 8x3 inch dia | 5 | Each |  |
| 03-05-00061 | Same as item 10 but 10x8 inch dia | 3 | Each |  |
| 03-05-00062 | Same as item 10 but 12 x 12 inch dia | 3 | Each |  |
| 03-05-00063 | Parallel reducers for ductile pipes with rubber gasket joints, with rubber gaskets, FxF, 8x3 inch dia, PN 25. | 3 | Each | 45003867 |
| 03-05-00064 | Same as item 11 but 12 x 10 inch dia | 3 | Each |  |
| 03-05-00065 | Same as item 11 but 12 x 8 inch dia | 3 | Each |  |
| 03-05-00066 | Same as item 11 but 12 x 6 inch dia | 3 | Each |  |
| 03-05-00067 | Same as item 11 but 12 x 4 inch dia | 3 | Each |  |
| 03-05-00068 | Same as item 11 but 10 x 8 inch dia | 3 | Each |  |
| 03-05-00069 | Same as item 11 but 10 x 6 inch dia | 3 | Each |  |
| 03-05-00070 | Same as item 11 but 10 x 4 inch dia | 3 | Each |  |
| 03-05-00071 | Same as item 11 but 8 x 6 inch dia | 3 | Each |  |
| 03-05-00072 | Same as item 11 but 8 x 4 inch dia | 3 | Each |  |
| 03-05-00073 | Same as item 11 but 6 x 4 inch dia | 5 | Each |  |
| 03-05-00074 | Same as item 11 but 6 x 3 inch dia | 5 | Each |  |
| 03-05-00075 | Same as item 11 but 4 x 3 inch dia | 7 | Each |  |
| 03-05-00076 | Equal sockets for ductile pipes with rubber gasket joints, FxF, 4 inch dia, PN 25. | 10 | Each | 45003867 |
| 03-05-00077 | Same as item 12 but but 6 inch dia | 8 | Each |  |
| 03-05-00078 | Same as item 12 but but 8 inch dia | 5 | Each |  |
| 03-05-00079 | Same as item 12 but but 10 inch dia | 3 | Each |  |
| 03-05-00080 | Same as item 12 but for 12 inch dia. | 8 | Each |  |
| 03-05-00081 | Standard socket & spigot joints for ductile pipes with rubber gasket joints, FxM, 3 inch dia, PN 25. | 20 | Each |  |
| 03-05-00082 | Same as item 13 but 4 inch dia | 20 | Each |  |
| 03-05-00083 | Same as item 13 but 6 inch dia | 10 | Each |  |
| 03-05-00084 | Same as item 13 but 8 inch dia | 7 | Each |  |
| 03-05-00085 | Same as item 13 but 10 inch dia | 3 | Each |  |
| 03-05-00086 | Same as item 13 but 12 inch dia | 10 | Each |  |
| 03-05-00087 | Ductile Iron Adaptors from socket unit rubber joint, PN 25 flanged end, 3 inch dia | 20 | Each |  |
| 03-05-00088 | Same as item 14, 4 inch dia | 20 | Each |  |
| 03-05-00089 | Same as item 14, 6 inch dia | 10 | Each |  |
| 03-05-00090 | Same as item 14, 8 inch dia | 10 | Each |  |
| 03-05-00091 | Same as item 14, 10 inch dia | 5 | Each |  |
| 03-05-00092 | Same as item 14, 12 inch dia | 20 | Each |  |
| 03-05-00093 | Bolted flanged spigot joint for ductile pipes, with bolts, nuts & gaskets, 3 inch dia, PN 25, ISO flanges | 20 | Each |  |
| 03-05-00094 | Same as item 15 but 4 inch dia | 20 | Each |  |
| 03-05-00095 | Same as item 15 but 6 inch dia | 10 | Each |  |
| 03-05-00096 | Same as item 15 but 8 inch dia | 10 | Each |  |
| 03-05-00097 | Same as item 15 but 10 inch dia | 5 | Each |  |
| 03-05-00098 | Same as item 15 but 12 inch dia | 20 | Each |  |
| 03-05-00099 | Flanged gate valves for ductile pipes with bolts, nuts & gaskets, 3 inch dia, PN 25, ISO flanges | 40 | Each | CCX 98 2092 |
| 03-05-00100 | Same as item 16 but 4 inch dia | 50 | Each |  |
| 03-05-00101 | Same as item 16 but 6 inch dia | 15 | Each |  |
| 03-05-00102 | Same as item 16 but 8 inch dia | 10 | Each |  |
| 03-05-00103 | Same as item 16 but 10 inch dia | 3 | Each |  |
| 03-05-00104 | Same as item 16 but 12 inch dia | 3 | Each |  |
| 03-05-00105 | Flanged, non-return valves for ductile pipes with bolts, nuts & gaskets, PN 25, ISO flanges, 3 inch diameter. | 28 | Each | 45003561 |
| 03-05-00106 | Same as item 17 but 4 inch dia | 28 | Each |  |
| 03-05-00107 | Same as item 17 but 6 inch dia | 15 | Each |  |
| 03-05-00108 | Same as item 17 but 8 inch dia | 17 | Each |  |
| 03-05-00109 | Same as item 17 but 10 inch dia | 3 | Each |  |
| 03-05-00110 | Same as item 17 but 12 inch dia | 2 | Each |  |
| 03-05-00111 | Flanged air valves for ductile pipes with bolts, nuts & gaskets, 4 inch dia, PN 25, ISO flanges | 3 | Each | 45003561 |
| 03-05-00112 | Same as item 18. 6 inch dia. | 3 | Each |  |
| 03-05-00113 | Flanged foot valves with strainers 4 inch dia | 6 | Each | CCX 982112 |
| 03-05-00114 | Same as item 19 but 6 inch dia | 8 | Each |  |
| 03-05-00115 | Same as item 19 but 8 inch dia | 3 | Each |  |
| 03-05-00116 | Same as item 19 but 10 inch dia | 3 | Each |  |
| 03-05-00117 | Same as item 19 but 12 inch dia | 3 | Each |  |
| 03-05-00118 | Casing pipe, mild steel, commercial grade st-37 as per DIN 17100, food grade, for lining of water borehole One end male threaded, heavy duty female socket on the other end , To be produced according to DIN 4922 in lengths of 5.8 m, outer diameter 8 5/8 inch. | 100 | Each | 45002326 |
| 03-05-00119 | Ditto item 20 but pipe with slots(screen) of 1-3 mm width, length of 5.80 m, outer diameter 8 5/8 inch | 25 | Each |  |
| 03-05-00120 | Mild steel GI riser pipes 3 inch dia, 3 m long threaded. | 50 | Each | 45003719 |
| 03-05-00121 | Same as item 22 but 4 inch dia. | 50 | each |  |
| 03-05-00122 | Same as item 22 but 2 inch dia. | 10 | Each |  |
| 03-05-00123 | Surface box for roadways | 100 | Each |  |
|  | 4. Other Materials |  |  |  |
| 03-05-00124 | KAWASAKI Wheeled loader Model: 80ZIV-2-2.9 M3. General purpose Bucket with straight edge Teeth engine:Nissan NE6T04 Diesel engine Flywheel horse power: Gross 185 HP at 2200 rpm - Tyre: 20.5-22-16 PR (L3) Tubeless, with steel Cabin, and Air conditioner. | 1 | Set |  |
| 03-05-00125 | Excavater Poclain 788 Powersensor, tracked version (dozer), standard boom cylinder, 5.10 m. stick, standard cab w/right sliding window, seat backrest extension, parts for units w/o air conditioner, working lights on Cab. Cab ventilition, Front and Rear stabilizers, Bucket control for 5.10 M stick, Control for Hydraulic hammer, Hydraulic hammer fittings for Stick Hydraulic hammer fittings for booms 881L. Bucket (0.60 M width) 480 L. Bucket (0.70 M Width) 560L. Bucket (0.85 M. Width) 630 L. Bucket (0.95 M. Width) Hydraulic Hammer Type "570" with 2 peaks and 1 chisel as per supplier's offer 8/EL/8084 of 08 June, 1998. | 1 | Each | 45002588 |
| 03-05-00126 | Toyota Hi Lux 4WD Double Cab Pick Up. 2700cc petrol engine, LHD, Model Code: RZN169L-PRMDU. UNCCS Code: 491726. Optional items required as standard: Power steering, Owners, Workshop Repair, Parts manuals in English and Spare parts kit. | 5 | Set |  |
| 03-05-00127 | HP Laserjet 6P or eqivalent. | 1 | Each | NCX 980846 |
| 03-05-00128 | Desk-top computer. Pentium III 450, 8.2 GB Hard drive, 64MB RAM, Floppy Disk, 16 Bit audiocard, 52X CD ROM, 15" SVGA Colour Monitor-pre-loaded with English/Arabic Windows 98 & MS Office Professional Win 98 stlye English keyboard, Mouse and Pad, external speakers. | 1 | Each | 45003973 |
| 03-05-00129 | UPS suitable for desktop PC in item 11 | 1 | Each |  |
| 03-05-00130 | JCB Sitemaster, 3CX Project 6, 4 in 1 standard front bucket, rear excavator piped for rock breaker. Supplied with JCB Rockbreaker, 2 x 18 inch Peaks and 1 x 100mm Chisel, 18 inch protrusion, rear buckets: 0.45M, 0.60M, 0.70M, 0.85M. Spare parts for two years operation and operation, service and parts manuals in english. | 1 | Each |  |
| 03-05-00131 | Service truck to support maintenance operation and for carrying materials/equipment (Gas, oil tanks and pipes etc.) N.1 chasis cabin IVECO -EUROCARGO- model ML135E18WR 4x4 - LDH - whb. 3690 mm - water cooled diesel engine turbocharged of 177 HP DIN at 2700 rpm - maximum torque 57 kgm at 1400 rpm - gearbox IVECO type 2865.6 with 6 forward speeds plus 1 reverse - n.7 tyres 11 R 22,5 on disc rims - G>v>w. 13.5 tons - fitted with rear cab crane with 8.5 tons lifting capacity and fixed body with 2 years spare parts. | 1 | Each | CCX 984284 |
|  | 5. Submersible Pumps and Specials |  |  |  |
| 03-05-00132 | Submersible pump with direct coupled electrical motor and with non-return valve, control panel, 150 m three core electrical cable and cable termination kit. Q = 22 cum/hr (min), head = 340 m (max), (SP 46-28), 380 V, 50 Hz, 3 Ph . For installation in a new borehole, all necessary accesories and cables to be packed with each individual pump. | 4 | Set |  |
|  | 7. Booster Pumps and Spare Parts |  |  |  |
| 03-05-00133 | High pressure two-stage horizontal split case centrifugal booster pump type 12UZDL-25A from Ingersol Dresser Pump (IDP) for pumping treated water Q= 1500m3/hr, H=165m, coupled with electrical driven motor through a flexible coupling. Casing should be of steel , impellers & shaft should be made of stainless steel. Thermal sensors should be provided for monitoring bearing temperatures. Motor should be squirrel cage, 1500 RPM, 3300 V, 50HZ, 3 phase with thermal sensors for controlling the temperature of windings. The following sub items should be packed with each set | 2 | Set |  |
| 03-05-00134 | Accessories for the suction pipe, large steel elbow 90 degree with flange, as per the recommendations of (IDP) company to suits with the item 1. | 2 | Each |  |
| 03-05-00135 | Ditto Steel spiral welded pipe for suction pipe, to be connected with header line | 30 | M |  |
| 03-05-00136 | Ditto Flanged reducer | 2 | Each |  |
| 03-05-00137 | Ditto Gate valve, electric & manual operation | 2 | Each |  |
| 03-05-00138 | Ditto Adapter to main suction header | 2 | Each |  |
| 03-05-00139 | Ditto Flexible coupling (expansion joint) | 2 | Each |  |
| 03-05-00140 | Ditto Accessories for the discharged line, large elbow 90 degree with flange | 2 | Each |  |
| 03-05-00141 | Ditto Steel spiral welded pipe for discharge pipe, to be connected with header line. | 30 | M |  |
| 03-05-00142 | Fditto langed reducer | 2 | Each |  |
| 03-05-00143 | Ditto Non return valve | 2 | Each |  |
| 03-05-00144 | Ditto Gate valve, electric & manual operation | 2 | Each |  |
| 03-05-00145 | Ditto Adapter to main ddischarge header | 2 | Each |  |
| 03-05-00146 | Ditto Flexible coupling (expansion joint) | 2 | Each |  |
| 03-05-00147 | Ditto Electrical cable high tension, 3.3 KV suitable for operating the pump | 140 | M |  |
| 03-05-00148 | Ditto Control cable to be provided in sufficient length & suitable for operating the above pump | 300 | M |  |
| 03-05-00149 | Ditto Power panel to be provided with circuit breaker 3.3 KV with control panel | 2 | Each |  |
|  | 11. Sanitation Vehicles and Spares |  |  |  |
| 03-05-00150 | Garbage collector truck, Scania, capacity 11 cu M, 4 tonne, type forward control with left hand drive, wheel base 4300mm, 6 cyl. in line 4-stroke, liquid cooled direct injection diesel engine with exhaust driven turbocharger and intercooler, colour-white, including garbage collector body with export specifications for iraq with Manufacturer recommended service and fast moving spare parts kit for two years operation, with operation, service and parts manuals in English. | 1 | Unit | 45004914 |
| 03-05-00151 | Hino General Cargo Truck, Model: Hino ZY240H, Spec. No. C-ZY523, Drawing No. : NYZ41597, Engine: 6 cylinder Diesel. In Line Overhead Valve, Water-xooled, Direct Injection Type. - Cab: All steel Welded Construction, Saftey Glass Applied. - Gross Vehicle Weight: 32.125 Kgs. - Tyres: 12.00 - 24 - 18PR - Fuel Tank: 300 Liters With manufacturer's recommended service and fast moving spare parts for two years operation, with operation, service and parts manuals in English. | 1 | Unit | CJX 98 0574 |
| 03-05-00152 | Mechanical dumper, AUSA Model 108 DH with HATZ engine 1 D8 1 Z with the following specification: engine 14 bhp at 2900 rpm, lifting capacity: up to 1000 kgs-gears: 4 forward and 4 reverse-brakes:Hydrolic rear tyres: 5.00 * 12- Front tyres: 6.00-16-Max speed: 21 Km/h- steering mechanical power capacity: 0.5 c.m. heaped-Accedental Tipping Protecction mechanical blocking system for the hopper lever. Supplied complete with manufacturer's recommended service and spare parts for two years operation, and operation, service and parts manuals in English. | 1 | Each | CCX 98 3394 |
| 03-05-00153 | KAWASAKI Wheel loader Model: 80 IV-2-2.9 M3. General purpose Bucket with straight edge teeth-Engine: Nissan NE6T04 Diesel Engine Fly wheel horse power: Gross 185 HP at 2200 rpm- Tyre: 20.5-22-16 PR (L3) Tubeless Tyres. With steel cabin and air conditioner. Supplied complete with manufacturer's recommended service and spare parts for two years operation and operation, service and parts manuals in English. | 1 | Set | CJX 980691 |
| 03-05-00154 | Excavater Poclain 788 Powersensor, wheel version, basic 8 wheels 10x20 PR 16 with ring 4.3 M curved boom cylinder, 2.10 m. stick, standard cab w/right sliding window, seat backrest extension, parts for units w/o air conditioner, working lights on Cab. Cab ventilition, Front and Rear stabilizers, Bucket control for 2.10 M stick, Control for Hydraulic hammer, Hydraulic hammer fittings for Stick Hydraulic hammer fittings for booms 370L. Bucket (0.60 M width) 480 L. Bucket (0.75 M Width) 560L. Bucket (0.85 M. Width) 630 L. Bucket (0.95 M. Width) Hydraulic Hammer Type "570" with 2 peaks and 1 chisel as per supplier's offer 8/EL/8084 of 08 June, 1998 | 1 | Set | CCX 982696 |
| 03-05-00155 | Toyota Hi Lux 4WD Double Cab Pick Up. 2700cc petrol engine, LHD, Model Code: RZN169L-PRMDU. UNCCS Code: 491726. Optional items required as standard: Power steering, Owners, Workshop Repair, Parts manuals in English and Spare parts kit. | 8 | Set |  |
| 03-05-00156 | Agricultural tractor, Valtra Valmet 700, 4WD, complete with Wickman trailor. Supplied with manufacture's recommended service and spare parts for two years operation & operation, service and parts manuals in English. | 3 | Set | CCX 98 2806 |
|  | 12. Other Materials |  |  |  |
| 03-05-00157 | Toner, black, SF-230T1 For Sharp photocopier. | 15 | Each |  |
|  | 13. Metal pipes and Fittings |  |  |  |
| 03-05-00158 | GI pipe for drinking water supply, to be of mild steel, medium series, standard, longitudinally welded, (high induction frequency welding), hot dipped galvanized and passivated. Each pipe to be hydro tested or tested as per current method. To be manufactured as per iso 65-1981. Both ends male threaded ISO 7, socked one end (female threaded socket), duly galvanized and chamfered, and the other end protected with a HDPE threaded protector, covering entire thread of pipe, male threads to be protected with anti-rust zinc aluminum paste, socket threads to be protected with anti-rust varnish.Pipe/socket to adequately zinc coated to satisfy copper sulfate test as prescribed in appendix A of BS 1387 / 67 or equivalent ISO standard. Steel, zinc, anti-rust paste and varnish to be made from food grade material. Pipe length (excluding socket length): 5.8 meters. PN 25, Nominal diameter: ND 4.0 inch. | 1300 | Each | CCX 980234 |
| 03-05-00159 | As item 1, but ND 3.0 inch | 1350 | Each |  |
| 03-05-00160 | As item 1, but ND 2.5 inch | 1500 | Each |  |
| 03-05-00161 | As item 1, but ND 2.0 inch | 1700 | Each |  |
| 03-05-00162 | As item 1, but ND 1.5 inch | 2850 | Each |  |
|  | 15. Pumps and Spare Parts |  |  |  |
| 03-05-00163 | Deepwell turbine pumping system, operating at 2,700 RPM for pumping clean water. To fit in a 8 inch bore well, Q=10 cum/hr and head = 120 M at 1,200 metres altitude/elevation, ambient temperature range is -15 to +55 deg centigrade. Complete set with pump head, discharge flange, right angle gear drive connected to engine by universal shaft and all necessary accesories for a new installation. Air or water cooled diesel engine, preferably HATZ with manually operated clutch. Electric starter, heavy duty oil bath, air cleaner, speed governor, silencer exhaust pipe, mounted fuel tank, with column pipes and line shafts, foot valve with strainer, water level indicator, tool-kit. Supplied complete with manufacturer's recommended service and spare parts for two years operation, operation, service and parts manuals in English. | 30 | Set | 45002893 |
| 03-05-00164 | same as item 1 but Q = 8 cum/hr, H= 140 m | 11 | Set |  |
| 03-05-00165 | Air-cooled diesel engine to drive a vertical turbine pump as in item 1 through a right angle gear. Including cardan shafts. With centrifugal clutch, electric starter, heavy duty oil bath, air cleaner, speed governor, silencer exhaust pipe, mounted fuel tank. Max altitude 1,200m. Two years spare parts. Please note that temperatures in summer exceeds 50 degree Celsius and reaches -15 degree Celsius in winter | 2 | Set | CCX 981515 |
| 03-05-00166 | Shallow well type hand pump (TARA MODEL), complete direct-action hand-pump, supplied with 15 meters of riser mains and connecting rods, supplied complete with fast & slow moving spare parts for two years operation.. | 120 | Set |  |
|  | 17. Other Materials |  |  |  |
| 03-05-00167 | Water Tanker, 9,000 litre capacity, Isuzu or Volvo. Including pto or donkey discharge pump and 10M delivery hose. To be supplied with manufacturer's recommended service and spare parts for two years operation, operation, service and parts manuals in English. | 1 | Set | CJX 980694 |
| 03-05-00168 | Diesel powered generator, 400kVA 3 phase, supplied complete with manufacturers recommended service and spare parts for two years operation, operation, service and parts manuals in English. | 4 | Each | CCX 981913 |
| 03-05-00169 | As item 2 except 30 kVA | 5 | each |  |
| 03-05-00170 | As item 2 except 100 kVA | 11 | Each |  |
| 03-05-00171 | Slow dissolving chlorine tablet , in packs of 5 kg or 4 kg. | 2000 | Kg | CCX 981723 |
| 03-05-00172 | Floating chlorinator. | 1000 | Set |  |
| 03-05-00173 | Hydrogeological instrument (electronic water level meter etc.) to measure the depth of the borewell up to 300M, water static and dynamic level. | 1 | Each |  |