## VI 03-08
Phase: | VI
Agency: | UNICEF
Sector: | Water and Sanitation
Code | Description | Quantity | Unit of Measurement
03-08-00001 | Pipes, mild steel, 2 inch | 1000 | Each
03-08-00002 | Pipes, mild steel, 1.5 inch | 1700 | Each
03-08-00003 | Steel bars 25 mm | 30 | Ton
03-08-00004 | Steel bars 16 mm | 30 | Ton
03-08-00005 | Steel bars 12 mm | 740 | Ton
03-08-00006 | Steel bars 10 mm | 340 | Ton
03-08-00007 | Wood truncks (spindar) | 10000 | Each
03-08-00008 | Mat | 10000 | Each
03-08-00009 | Steel doors (1.8 x 0.8) m | 5000 | Each
03-08-00010 | PVC latrine pan with P-trap size 100 mm (4inch) | 4000 | Each
03-08-00011 | Thermal Joint | 15 | Each
03-08-00012 | Thermal Joint | 25 | Each
03-08-00013 | Diesel tank/ 1000 liter | 60 | Each
03-08-00014 | Vehicle Pick up Tyres | 16 | set
03-08-00015 | Changeover box | 1 | Each
03-08-00016 | Motor adjust bolt | 40 | Each
03-08-00017 | Motor adjust bolt | 40 | Each
03-08-00018 | Motor adjust bolt | 40 | Each
03-08-00019 | Chain for crane, 2 tons | 2 | Each
03-08-00020 | Chain for crane, 7.5 tons | 4 | Each
03-08-00021 | Gear drive | 10 | Each
03-08-00022 | Circuit 100 Amp. | 50 | Each
03-08-00023 | Circuit 80 Amp. | 50 | Each
03-08-00024 | Circuit 60 Amp. | 50 | Each
03-08-00025 | Centrifugal booster pump for pumping treated water Q=150 cum/hr, H=220m Directly coupled with electrical driven motor with Star-Delta starter, automatic circuit breaker connection and with control panel. 380V, 50Hz, 3 phase, 1450 RPM. Max altitude 1,000m. With spare parts for 2 years operation, spare parts/ operation manual in English, and necessary valves, non-return valves, flanges, elbows, reducers FOR NEW INSTALLATION. CABLES TO BE PACKED SEPARATELY WITH EACH SET. | 2 | set
03-08-00026 | Same as item above but: Q= 150cum/hr, H=175M | 2 | set
03-08-00027 | Double kinetic, Flanged air valves for ductile pipes with bolts, nuts and gaskets size 3" dia. PN 25, ISO flanges. | 10 | Each
03-08-00028 | Ductile T with socket ends size 8" and flanged T size 3" PN 25, ISO flanges suitable for connecting the above air valve. | 10 | Each
03-08-00029 | Equal elbows for ductile pipes with rubber gasket joints, bolts & spigot, 90 degree, FxF, 8 inch dia, PN 25. | 10 | Each
03-08-00030 | Equal elbows for ductile pipes with rubber gasket joints, bolts & spigot 45 degree, FxF, 8 inch dia, PN 25. | 10 | Each
03-08-00031 | Equal elbows for ductile pipes with rubber gasket joints, bolts & spigot 22.5 degree, FxF, 8 inch dia, PN 25. | 20 | Each
03-08-00032 | Equal elbows for ductile pipes with rubber gasket joints, bolts & spigot 11.25 degree, FxF, 8 inch dia, PN 25. | 20 | Each
03-08-00033 | GI pipe for drinking water supply, both ends male threaded ISO 7, female threaded socket fitted to one end, ND 150mm PN 25. | 500 | Each
03-08-00034 | GI pipe for drinking water supply, both ends male threaded ISO 7, female threaded socket fitted to one end, ND 100mm PN 25. | 1900 | Each
03-08-00035 | GI pipe for drinking water supply, both ends male threaded ISO 7, female threaded socket fitted to one end, ND 75mm PN 25. | 2300 | Each
03-08-00036 | GI pipe for drinking water supply, both ends male threaded ISO 7, female threaded socket fitted to one end, ND 62mm PN 25. | 2200 | Each
03-08-00037 | GI pipe for drinking water supply, both ends male threaded ISO 7, female threaded socket fitted to one end, ND 50mm PN 25. | 9075 | Each
03-08-00038 | GI pipe for drinking water supply, both ends male threaded ISO 7, female threaded socket fitted to one end, ND 37 mm PN 25. | 9750 | Each
03-08-00039 | Cement | 1550 | Ton
03-08-00040 | Concrete blocks | 250000 | Each
03-08-00041 | Brick | 500000 | Each
03-08-00042 | Steel bars 12 mm | 110 | Ton
03-08-00043 | PVC pipes, 4 inch | 1500 | Each
03-08-00044 | Steel doors (2.5 x 2.8) m | 50 | Each
03-08-00045 | Steel door (2.1 x 0.8) m | 50 | Each
03-08-00046 | Steel doors (1.9 x 0.8) m | 2400 | Each
03-08-00047 | Steel doors (2.1 x 1.0) m | 800 | Each
03-08-00048 | Manhole covers, cast iron, (0.3 x0.3) m | 2500 | Each
03-08-00049 | Manhole covers, steel, (0.6 x0.6) m | 500 | Each
03-08-00050 | Steel windows (1.5 x 1.5) m | 240 | Each
03-08-00051 | Steel door (2.0 x 2.5) | 60 | Each
03-08-00052 | Steel windows (1.0 x 1.2) m | 50 | Each
03-08-00053 | Manhole covers (0.5 x 0.5) m | 3800 | Each
03-08-00054 | Manhole covers (1.0 x 1.5) m | 50 | Each