| Tariff Code |  | Description | Qty |  | Unit |
| --- | --- | --- | --- | --- | --- |
| 06-06-00001 |  | PC type computer + accessories | 15 |  | set |
| 06-06-00002 |  | Office (personal) laser printer with spare and accessories | 5 |  | set |
| 06-06-00003 |  | Color laser printer with spare and accessories | 2 |  | set |
| 06-06-00004 |  | Scanner size A4 color- high resolution with software | 2 |  | set |
| 06-06-00005 |  | Electrical pH meter; buffers, with spares and accessories | 1 |  | set |
| 06-06-00006 |  | Hot plate magnetic stirrer; temp., range 65- 510 deg. C, stirring range (50- 1800) rpm,with spares and accessories | 2 |  | set |
| 06-06-00007 |  | Dry oven; 150 L capacity, temp. range: 4- 250 deg. C temp. regulator and control system, with spares and accessories | 2 |  | set |
| 06-06-00008 |  | Micro-centrifuge; High speed 24 place rotor that accepts 1.5 ml tubes, 30 minute timer. | 2 |  | set |
| 06-06-00009 |  | Shaker water bath; (30Wx16Dx12H) inch, temp. range above ambient. to + 70 deg. C, with spares and accessories | 2 |  | set |
| 06-06-00010 |  | Compound microscope; wide field 10x eyepieces 4x, 10x, 4x and 100x objectives, plastic dust cover. | 10 |  | set |
| 06-06-00011 |  | Microscope; wide field 15x eyepieces 4x, 10x, 40x and 100x objectives, built- in variable illumination plastic dust cover. | 10 |  | set |
| 06-06-00012 |  | Colony counter; for student use | 3 |  | piece |
| 06-06-00013 |  | Electronic blood pressure meter; use for student. | 10 |  | piece |
| 06-06-00014 |  | Sphygmomanometer; use for student | 10 |  | piece |
| 06-06-00015 |  | Haemocytometer; for student use | 10 |  | piece |
| 06-06-00016 |  | Digital clinical thermometer; use for student | 3 |  | piece |
| 06-06-00017 |  | Hot plate w/ thermostat +350°C, 5 magnetic PTFE bars/ plate | 10 |  | set |
| 06-06-00018 |  | # Water bath, constant temperature, capacity = 20 L | 1 |  | piece |
| 06-06-00019 |  | Capillary tube, different sizes, Pyrex | 100 |  | piece |
| 06-06-00020 |  | Autoclave, 30 l, 100 - 140 deg. C, 1 - 2.6 bar. | 2 |  | set |
| 06-06-00021 |  | Centrifuge; supplied complete with 12x15 ml angle rotor, top speed 5000 rpm, adapter for long and short tubes, 100 centrifuge tubes. | 2 |  | set |
| 06-06-00022 |  | Water distillation apparatus; up to 4L of high purity distilled water per hour, | 3 |  | set |
| 06-06-00023 |  | Digital balance; capacity 160 gm, readability ± 0.001 gm (1 gm) touch panel keyboard. | 4 |  | set |
| 06-06-00024 |  | Incubator; (20Wx20Dx26H )inch chamber temp. range ambient, to 70 deg. C | 3 |  | piece |
| 06-06-00025 |  | Laboratory thermometer; Mercury, range 20- 250 Deg. C | 10 |  | piece |
| 06-06-00026 |  | Overhead Projector with spares and accesories | 6 |  | set |
| 06-06-00027 |  | Wall screens (white colored 2m x 2m) | 10 |  | piece |
| 06-06-00028 |  | Video camera (at least 32 x digital zoom) | 1 |  | set |
| 06-06-00029 |  | Color TV 25" - 29" | 4 |  | piece |
| 06-06-00030 |  | Video cassette recorder; multi system with PAL, SECAM, NTSC | 1 |  | set |
| 06-06-00031 |  | Dictaphone with set of blank tapes | 2 |  | set |
| 06-06-00032 |  | Sound amplifier with wireless microphones; with accessories and receivers, mixer, audio amplifiers for 4* 100 W loudspeakers system with stands, room size, 6 x 10 x 3 m | 1 |  | set |
| 06-06-00033 |  | Photocopy machine - large size - B&W; zoom function 50% - 200%, 2- sided copying, reduction and enlargement from any paper, with spares and accesories | 1 |  | set |
| 06-06-00034 |  | Typewriter Arabic; electrical keyboard 44 keys .spare ribbons | 5 |  | set |
| 06-06-00035 |  | Typewriter English; electric number of keys for writing 48 with separate keyboard for mathematics spare ribbons | 5 |  | set |
| 06-06-00036 |  | Typewriter Kurdish; Keyboard 44 keys electric. spare ribbons | 4 |  | set |
| 06-06-00037 |  | Alcohol Thermometer | 2 |  | pc |
| 06-06-00038 |  | Bi-metallic thermometer Complete unit, temp range (-20Co,35Co) | 2 |  | set |
| 06-06-00039 |  | Mercury thermometer (-20Co,50Co), 40cm, precision 0.5Co | 2 |  | set |
| 06-06-00040 |  | Thermometer bulb for measuring temp & moisture "dry and wet type" | 4 |  | set |
| 06-06-00041 |  | Thermo compressor for cooling cycle using at air conditioning Laboratory | 2 |  | set |
| 06-06-00042 |  | Thermocouple ammeter jointed with ammeter apparatus - for demonstration purposes | 2 |  | set |
| 06-06-00043 |  | Thermocouple joined to voltmeter apparatus- for demonstration purposes | 2 |  | set |
| 06-06-00044 |  | thermostat for air-conditioner, freezer, refrigerator 3 for each, using for demonstration purpose | 9 |  | set |
| 06-06-00045 |  | Thermostat control fluid controlling "expansion valve"- for demonstration purposes | 2 |  | set |
| 06-06-00046 |  | Air manometer for measuring Air-velocity at air-conditioning Lab.- for demonstration purposes | 4 |  | set |
| 06-06-00047 |  | Manograph for draining pressures on the chart. To condense refrigerator at cooling cycle- for demonstration purposes | 4 |  | set |
| 06-06-00048 |  | Air Capacitor for air conditioner air-cooled condenser,- for demonstration purposes | 5 |  | set |
| 06-06-00049 |  | Air Capacitor for freezer "water cooled condenser"- for demonstration purposes | 5 |  | set |
| 06-06-00050 |  | Air capacitor for refrigerator forced air condenser,- for demonstration purposes | 5 |  | set |
| 06-06-00051 |  | Air compressor pressure range 100-200kg/cm2 "small type"- for demonstration purposes | 4 |  | set |
| 06-06-00052 |  | Air discharge apparatus vacuum for discharging air at cooling cycle- for demonstration purposes | 4 |  | set |
| 06-06-00053 |  | Boiler with accessories for heating water, used at air-conditioning cycle.- for demonstration purposes | 2 |  | set |
| 06-06-00054 |  | Water cooled condenser w/cooling tower- for demonstration purposes | 2 |  | set |
| 06-06-00055 |  | Numerical ammeter "Digital ammeter apparatus" 0 -40A | 8 |  | piece |
| 06-06-00056 |  | Gas cylinder gauge for freon gas, with cylinder of freon for demonstration | 10 |  | set |
| 06-06-00057 |  | Gas leakage indicator "electrical" for freon gas at air-conditioning Lab. For describe leakage at pipes. | 4 |  | piece |
| 06-06-00058 |  | Freon gas 12, 22 for changing freezer, refrigerator, air-conditioning or supply as an refrigerant gas. | 10 |  | piece |
| 06-06-00059 |  | Acetylene generator | 1 |  | piece |
| 06-06-00060 |  | Bevel protractor | 10 |  | piece |
| 06-06-00061 |  | Combination set | 6 |  | set |
| 06-06-00062 |  | Electrical comparator for measuring deviation of surface roughness up to 10 microns. | 4 |  | piece |
| 06-06-00063 |  | Electrical sensitive balance 0.001mg max weight 2kg, digital, top loading. | 2 |  | piece |
| 06-06-00064 |  | Set of ten sieves for dry sand, mesh dia., from 0.063 mm to 1.4mm including sieve shaker | 1 |  | set |
| 06-06-00065 |  | Gas leakage indicator "halidy" for freon gas at air-conditioning Lab. From gas pipes. | 4 |  | piece |
| 06-06-00066 |  | Hand drills for drilling materials from 0.5-13mm dia. "twist drills" | 2 |  | set |
| 06-06-00067 |  | Projector light measurement Optical profile measuring instrument. | 1 |  | piece |
| 06-06-00068 |  | Clampmeter "numerical" digital for measuring volts, 0 - 240 V | 6 |  | piece |
| 06-06-00069 |  | D-C supply variable output 0-30V, 2amp, bipolar | 6 |  | piece |
| 06-06-00070 |  | Sand hardness testing apparatus | 4 |  | piece |
| 06-06-00071 |  | Sand moisture testing apparatus | 3 |  | piece |
| 06-06-00072 |  | CNC lathe machine for training (small) | 1 |  | piece |
| 06-06-00073 |  | Microscope for metallurgy | 6 |  | piece |
| 06-06-00074 |  | Surface roughness testing apparatus RANGE OF SURFACE ROUGHNESS O TO 5 MICRON | 1 |  | piece |
| 06-06-00075 |  | Digital load meter for teaching, accessories of tensile testing apparatus. | 2 |  | set |
| 06-06-00076 |  | Vertical drilling machine with accessories, pedestal type, max drill 40mm | 1 |  | set |
| 06-06-00077 |  | Tensile testing m/c "instrument" for metals, alloys, up to 10 kn strain tension, range of sample dimension: 30 cm length | 1 |  | piece |
| 06-06-00078 |  | Drying furnace for green sand "0-150C", internal dimensions 70 x 50 x 60cm - 32 l | 1 |  | piece |
| 06-06-00079 |  | Hand calculators for students scientific calculators | 200 |  | piece |
| 06-06-00080 |  | Standard pedestal grinder with 2 grinding wheels | 4 |  | set |
| 06-06-00082 |  | Metallurgy fatigue testing m/c full scale 2KN-100KN, cross head speed 0.05-500mm/min, gage length more than 50cm. With manuals, full spares and accessories | 1 |  | set |
| 06-06-00083 |  | Metallurgical photography, metallurgy microscope w/camera. | 1 |  | set |
| 06-06-00084 |  | Bending moment apparatus - for student experimentation | 1 |  | set |
| 06-06-00085 |  | Complete freezing room 2x2x2m with accessories, | 1 |  | set |
| 06-06-00086 |  | Digital micrometer internal 0 - 25 mm x 0.05 mm | 2 |  | piece |
| 06-06-00087 |  | Digital micrometer external 0 - 25 mm x 0.05 mm | 1 |  | set |
| 06-06-00088 |  | Digital micrometer thickness 0 - 25 mm x 0.05 mm | 2 |  | piece |
| 06-06-00089 |  | Metallurgy hardness tester for Rockwell, Vickers, Brinell, shore method" | 1 |  | piece |
| 06-06-00090 |  | Reciprocating saw with accessories for steel, max cut depth 20cm. | 1 |  | set |
| 06-06-00091 |  | Slotter m/c with accessories for steel, min slot dimension (25cm), max. 35cm. | 1 |  | set |
| 06-06-00092 |  | Function generator, function generator: 2 mhz-15Mhz, sine, square, triangle, ramp ok, 30V variable amplitude output. | 5 |  | piece |
| 06-06-00093 |  | D.C. power supply (0-30) V, 3Amp. (mono) | 5 |  | piece |
| 06-06-00094 |  | AC power supply (0-50) volt. 3Amp & 50Hz | 5 |  | piece |
| 06-06-00095 |  | Dual trace oscilloscope, range 15 MHz, 5 mV to 30 V i/p | 5 |  | piece |
| 06-06-00096 |  | Frequency counter, (0-15)MHz, 20 Volt | 5 |  | piece |
| 06-06-00097 |  | Multimeter ~, f. v | 5 |  | piece |
| 06-06-00098 |  | Spectrum Analyzer (20Hz-200Mhz). | 5 |  | piece |
| 06-06-00099 |  | Universal board for electrical Experiments | 5 |  | piece |
| 06-06-00100 |  | TV Trainer | 1 |  | set |
| 06-06-00101 |  | Radio trainer | 1 |  | set |
| 06-06-00102 |  | AM detectors | 1 |  | set |
| 06-06-00103 |  | TV Sweep generator (1 - 3.6 MHz), (2-4.7MHz), (7-12MHz) & (30-50MHz) | 2 |  | piece |
| 06-06-00104 |  | Storage oscilloscope, (0 - 30) MHz Digital (0 - 30V) | 5 |  | piece |
| 06-06-00105 |  | Pattern generator, VHF, UHF | 2 |  | piece |
| 06-06-00106 |  | R.F. Signal generator (7-12 MHz, 30-50 MHz, AM/FM) | 1 |  | piece |
| 06-06-00107 |  | AVO meter (AC - DC) multimeter (digital) | 15 |  | piece |
| 06-06-00108 |  | Pulse generator signal generator AF, RF frequency | 5 |  | piece |
| 06-06-00109 |  | Pal/SECAM trainer | 2 |  | piece |
| 06-06-00110 |  | Pal/SECAM receiver | 2 |  | piece |
| 06-06-00111 |  | Theodolite Kern E2 | 1 |  | set |
| 06-06-00112 |  | Thedolite Kern DM 502 | 1 |  | set |
| 06-06-00113 |  | R 48 Electro-Optical - Distance meter + thedolite - complete set | 1 |  | set |
| 06-06-00114 |  | Direct reading optical instrument Kern DK-RT | 1 |  | set |
| 06-06-00115 |  | Level Kern | 10 |  | set |
| 06-06-00116 |  | Compass Kern with tripod | 5 |  | piece |
| 06-06-00117 |  | Ranging rods with stand (metallic paint) | 50 |  | set |
| 06-06-00118 |  | Sieves (for sieve analysis , fine & coarse aggregates . small size) 76.20mm | 3 |  | set |
| 06-06-00119 |  | Sieves (for sieve analysis , fine & coarse aggregates . small size) 63.50mm | 3 |  | set |
| 06-06-00120 |  | Sieves (for sieve analysis , fine & coarse aggregates . small size) 50.8mm | 3 |  | set |
| 06-06-00121 |  | Sieves (for sieve analysis , fine & coarse aggregates . small size) 45.00mm | 3 |  | set |
| 06-06-00122 |  | Sieves (for sieve analysis , fine & coarse aggregates . small size)38.10mm | 3 |  | set |
| 06-06-00123 |  | Sieves (for sieve analysis , fine & coarse aggregates . small size) 25.04mm | 3 |  | set |
| 06-06-00124 |  | Sieves (for sieve analysis , fine & coarse aggregates . small size) 20.00mm | 3 |  | set |
| 06-06-00125 |  | Sieves (for sieve analysis , fine & coarse aggregates . small size) 19.05mm | 3 |  | set |
| 06-06-00126 |  | Sieves (for sieve analysis , fine & coarse aggregates . small size) 12.70mm | 3 |  | set |
| 06-06-00127 |  | Sieves (for sieve analysis , fine & coarse aggregates . small size) 09.52mm | 3 |  | set |
| 06-06-00128 |  | Sieves (for sieve analysis , fine & coarse aggregates . small size) 06.30mm | 3 |  | set |
| 06-06-00129 |  | Sieves (for sieve analysis , fine & coarse aggregates . small size) 04.76mm | 3 |  | set |
| 06-06-00130 |  | Sieves (for sieve analysis , fine & coarse aggregates . small size) 02.40mm | 3 |  | set |
| 06-06-00131 |  | Sieves (for sieve analysis , fine & coarse aggregates . small size) 02.00mm | 3 |  | set |
| 06-06-00132 |  | Sieves (for sieve analysis , fine & coarse aggregates . small size) 01.20mm | 3 |  | set |
| 06-06-00133 |  | Sieves (for sieve analysis , fine & coarse aggregates . small size) 0.900mm | 3 |  | set |
| 06-06-00134 |  | Sieves (for sieve analysis , fine & coarse aggregates . small size) 0.850mm | 3 |  | set |
| 06-06-00135 |  | Sieves (for sieve analysis , fine & coarse aggregates . small size) 0.630mm | 3 |  | set |
| 06-06-00136 |  | Sieves (for sieve analysis , fine & coarse aggregates . small size) 0.600mm | 3 |  | set |
| 06-06-00137 |  | Sieves (for sieve analysis , fine & coarse aggregates . small size) 0.420mm | 3 |  | set |
| 06-06-00138 |  | Sieves (for sieve analysis , fine & coarse aggregates . small size) 0.300mm | 3 |  | set |
| 06-06-00139 |  | Sieves (for sieve analysis , fine & coarse aggregates . small size) 0.177mm | 3 |  | set |
| 06-06-00140 |  | Sieves (for sieve analysis , fine & coarse aggregates . small size) 0.150mm | 3 |  | set |
| 06-06-00141 |  | Sieves (for sieve analysis , fine & coarse aggregates . small size) 0.074mm | 3 |  | set |
| 06-06-00142 |  | Sieves with electric vibrators . 80 x 80 cm range 76.20mm | 1 |  | set |
| 06-06-00143 |  | Sieves with electric vibrators . 80 x 80 cm range 63.50mm | 1 |  | set |
| 06-06-00144 |  | Sieves with electric vibrators - 80 x 80 cm range 50-08mm | 1 |  | set |
| 06-06-00145 |  | Sieves with electric vibrators - 80 x 80 cm range 45-00mm | 1 |  | set |
| 06-06-00146 |  | Sieves with electric vibrators - 80 x 80 cm range 38-10mm | 1 |  | set |
| 06-06-00147 |  | Sieves with electric vibrators - 80 x 80 cm range 25-04mm | 1 |  | set |
| 06-06-00148 |  | Sieves with electric vibrators - 80 x 80 cm range 20-00mm | 1 |  | set |
| 06-06-00149 |  | Sieves with electric vibrators . 80 x 80 cm range 19.05mm | 1 |  | set |
| 06-06-00150 |  | Sieves with electric vibrators . 80 x 80 cm range 12.70mm | 1 |  | set |
| 06-06-00151 |  | Sieves with electric vibrators . 80 x 80 cm range 09.52mm | 1 |  | set |
| 06-06-00152 |  | Sieves with electric vibrators . 80 x 80 cm range 06.30mm | 1 |  | set |
| 06-06-00153 |  | Sieves with electric vibrators . 80 x 80 cm range 04.76mm | 1 |  | set |
| 06-06-00154 |  | Sieves with electric vibrators . 80 x 80 cm range 02.40mm | 1 |  | set |
| 06-06-00155 |  | Sieves with electric vibrators . 80 x 80 cm range 02.00mm | 1 |  | set |
| 06-06-00156 |  | Sieves with electric vibrators . 80 x 80 cm range 01.20mm | 1 |  | set |
| 06-06-00157 |  | Sieves with electric vibrators - 80 x 80 cm range 900mm | 1 |  | set |
| 06-06-00158 |  | Sieves with electric vibrators - 80 x 80 cm range 850mm | 1 |  | set |
| 06-06-00159 |  | Sieves with electric vibrators - 80 x 80 cm range 630mm | 1 |  | set |
| 06-06-00160 |  | Sieves with electric vibrators - 80 x 80 cm range 600mm | 1 |  | set |
| 06-06-00161 |  | Sieves with electric vibrators - 80 x 80 cm range 420mm | 1 |  | set |
| 06-06-00162 |  | Sieves with electric vibrators - 80 x 80 cm range 300mm | 1 |  | set |
| 06-06-00163 |  | Sieves with electric vibrators - 80 x 80 cm range 177mm | 1 |  | set |
| 06-06-00164 |  | Sieves with electric vibrators - 80 x 80 cm range 150mm | 1 |  | set |
| 06-06-00165 |  | Sieves with electric vibrators - 80 x 80 cm range 74mm | 1 |  | set |
| 06-06-00166 |  | Flow test apparatus for fresh concrete | 2 |  | set |
| 06-06-00167 |  | Tag open-cup flash tester for Bituminous Materials | 3 |  | set |
| 06-06-00168 |  | Extraction unit bowl for Bituminous paving mixtures | 3 |  | set |
| 06-06-00169 |  | Loss on heating of oil & asphalt compounds apparatus | 3 |  | piece |
| 06-06-00170 |  | Method / test apparatus for penetration of Bituminous materials | 10 |  | set |
| 06-06-00171 |  | Flow test apparatus for concrete joint sealers | 1 |  | set |
| 06-06-00172 |  | Extension machine for bond test of concrete joint sealers | 2 |  | piece |
| 06-06-00173 |  | Testing Epoxy Resin adhesive apparatus | 3 |  | set |
| 06-06-00174 |  | PC type computer + accessories | 10 |  | set |
| 06-06-00175 |  | Laser Printer + spare cartridges | 3 |  | set |
| 06-06-00176 |  | Telephone Exchange (50 lines) /Switch board. | 1 |  | set |
| 06-06-00177 |  | Bus - 24 passengers w/options (Air-condition, radio, Tape…) | 1 |  | pc |
| 06-06-00178 |  | Pick-up double cabin w/options (Air-condition, radio, Tape…) | 1 |  | pc |
| 06-06-00179 |  | Photocopy machine - Medium size, 20,000 Page/Month, up to A3, sheet feeder, sorter with consumables, spares + acc. | 3 |  | set |
| 06-06-00180 |  | Microscope Swift model 4002D optics (binocular heads) | 30 |  | Piece |
| 06-06-00181 |  | Balance weighting ranges (0-600-1200-3100)gm, readability (0.01, 0.02, 0.05) g | 4 |  | Piece |
| 06-06-00182 |  | Prepared slide set for general botany | 3 |  | Set |
| 06-06-00183 |  | Prepared slide set for animal tissues | 10 |  | Set |
| 06-06-00184 |  | Prepared slide set for various embryonic stages of vertebrates | 10 |  | Set |
| 06-06-00185 |  | Prepared slide set for cytology and genetics | 10 |  | Set |
| 06-06-00186 |  | Prepared slide set for parasitology | 10 |  | Set |
| 06-06-00187 |  | Prepared slide set for invertebrates | 10 |  | Set |
| 06-06-00188 |  | Prepared slide set for insects | 10 |  | Set |
| 06-06-00189 |  | Prepared slide set for plant pathology | 10 |  | Set |
| 06-06-00190 |  | Prepared slide set for bacteria | 10 |  | Set |
| 06-06-00191 |  | Prepared slide set for red blood cells and white blood cells (normal and abnormal cases) of human and other animals | 10 |  | Set |
| 06-06-00192 |  | Microprojector/ projection lens 2x, 10x, objectives 4x NA 0.10, 10x NA 0.25, 40x NA 0.65 retractable, | 4 |  | set |
| 06-06-00193 |  | Stereomicroscope paired 10x, rotatable turret, field of view 11mm, | 30 |  | set |
| 06-06-00194 |  | Infusion pump | 2 |  | piece |
| 06-06-00195 |  | Electronic semi-micro osmometer | 2 |  | piece |
| 06-06-00196 |  | Microscope (photo- cine micrographic camera ) | 3 |  | Piece |
| 06-06-00197 |  | Environmental oxygen meter, w/ standard chart recorder output | 1 |  | set |
| 06-06-00198 |  | Kits and sets of plant tissue culture | 5 |  | Set |
| 06-06-00199 |  | Animal tissue culture kits | 1 |  | Set |
| 06-06-00200 |  | Spring balance, compression, capacity 1000 cm3 graduated x100 cm3, zero adjuster, range 5kgx259 | 1 |  | Set |
| 06-06-00201 |  | Overhead projector + spares + acc. | 4 |  | set |
| 06-06-00202 |  | UV viewing lamp, hand held, | 2 |  | set |
| 06-06-00203 |  | Dissecting set | 15 |  | set |
| 06-06-00204 |  | Basic dissecting set | 15 |  | set |
| 06-06-00205 |  | Spectrophotometer visible wave length range 380 to 920 nm with manuals, spares and accessories | 1 |  | Set |
| 06-06-00206 |  | Spectrophotometer - 400-800 nm with manuals, spares and accessories | 1 |  | set |
| 06-06-00207 |  | Magnetic stirrer and hotplate, speed range 50- 1400 rpm, hotplate rating 400W, | 15 |  | piece |
| 06-06-00208 |  | Digital clinical thermometer, measurement range 32.0 oC to 43.0 oC, | 3 |  | piece |
| 06-06-00209 |  | Thermometer, mercury, range -10/ 110 deg. C, grad 1 deg. C, length 205mm | 3 |  | piece |
| 06-06-00210 |  | Haemocytometer, improved Neubauer pattern | 10 |  | piece |
| 06-06-00211 |  | Blood dilution pipettes, for red blood cells, and white blood cells | 10 |  | piece |
| 06-06-00212 |  | UV viewing lamp | 2 |  | piece |
| 06-06-00213 |  | Stage micrometer, 76x25mm, micrometer scale 0-1mm x 0- 10mm | 12 |  | piece |
| 06-06-00214 |  | Eyepiece graticules, graduation 0- 10mm in 100 parts of 0-1mm | 12 |  | piece |
| 06-06-00215 |  | Nitratemeter | 3 |  | piece |
| 06-06-00216 |  | Students kymograph system, a range of five drum speeds between 0.05mm S-1 and 625mm S-1, | 7 |  | set |
| 06-06-00217 |  | Soil moisture meter, measures soil moisture content over a scale of 1- 4 (dry to wet), galvanometer unit | 5 |  | set |
| 06-06-00218 |  | Articulated skeleton of frog (Kana temporaria) | 5 |  | piece |
| 06-06-00219 |  | Articulated skeleton of grass snake | 5 |  | piece |
| 06-06-00220 |  | Articulated skeleton of Pigeon | 5 |  | piece |
| 06-06-00221 |  | Articulated skeleton of Fruit bat | 5 |  | piece |
| 06-06-00222 |  | Articulated skeleton of Monkey | 5 |  | piece |
| 06-06-00223 |  | Articulated skeleton of Rabbit | 5 |  | piece |
| 06-06-00224 |  | Articulated skeleton of Rat | 5 |  | piece |
| 06-06-00225 |  | Refrigerator 113 liters, capacity 4 cubic feet | 5 |  | piece |
| 06-06-00226 |  | Shaking water bath | 3 |  | piece |
| 06-06-00227 |  | Flame photometer | 1 |  | set |
| 06-06-00228 |  | Colorimeter with manuals, spares and accessories | 2 |  | set |
| 06-06-00229 |  | Autoclave (stainless steel electric) | 3 |  | set |
| 06-06-00230 |  | Microscope with projection screen and with drawing attachment | 2 |  | set |
| 06-06-00231 |  | Phytoplankton nets 0.35 - 0.45 mm | 1 |  | set |
| 06-06-00232 |  | X- ray an instrument to study crystal structure including Debye Scherrer attachments for powders. For student use with spares and accessories | 5 |  | set |
| 06-06-00233 |  | X- ray crystallography unit full scale research unit with computer control with installation, training, manuals, spares and accessories | 5 |  | set |
| 06-06-00234 |  | Teslameter | 5 |  | piece |
| 06-06-00235 |  | Oven Electrical 30cmx30cmx40cm approx. for temperature up to (1300 oC) | 5 |  | piece |
| 06-06-00236 |  | Experiment on thermal expansion of a crystal with the help of air wedge dilatometer | 1 |  | Set |
| 06-06-00237 |  | Temperature dependence of velocity of sound in liquids | 1 |  | Set |
| 06-06-00238 |  | UV visible spectrophotometer (160- 850) nm | 2 |  | set |
| 06-06-00239 |  | I. R. Spectrophotometer | 5 |  | set |
| 06-06-00240 |  | Macro-hardeness measure of solid material surface | 5 |  | set |
| 06-06-00241 |  | Rutherford scattering exp. With all accessories | 5 |  | Set |
| 06-06-00242 |  | Model experiment on electron spin resonance | 5 |  | Set |
| 06-06-00243 |  | Thermal equation of state and critical point | 6 |  | Set |
| 06-06-00244 |  | Vacuum instrument for growth and preparation of samples - high vacuum (~10-9) m bar - electron gun + thickness indicator | 5 |  | set |
| 06-06-00245 |  | Optical and instrument set to study light characteristics of solar cells -wavelength, light intensity and angles of incidence. | 5 |  | set |
| 06-06-00246 |  | Co2 laser with pulsed capacities ~>50 Watt output complete setup. | 5 |  | set |
| 06-06-00247 |  | Optical microscope to study and photograph of surface and defects of solid materials using 35 mm camera | 5 |  | set |
| 06-06-00248 |  | Optical monocrometer (complete set) - Near Infra red to micro UV, 0.1nm band width, standard type | 5 |  | Set |
| 06-06-00249 |  | Electrometer 0 to 1012 Ohm, 0 to 100mA, 0 to 100V.(Optilas GmbH) | 5 |  | set |
| 06-06-00250 |  | Power supply high voltage | 5 |  | piece |
| 06-06-00251 |  | TV 24" colour - multistandard model | 10 |  | piece |
| 06-06-00252 |  | Amplifier Signal input DC/AC + low drift for AC frequency range 1Hz to 100 MHz - for DC Amp | 3 |  | piece |
| 06-06-00253 |  | Amplifier Signal input DC/AC + low drift for AC frequency range 1Hz to 100 MHz for Ac Amp. | 2 |  | piece |
| 06-06-00254 |  | Colorimeter, for visible range - student use | 5 |  | set |
| 06-06-00255 |  | Aesthesiometer | 5 |  | Set |
| 06-06-00256 |  | Light source of light luminance- Cs 150 w with housing - complete with power source, 220 v a.c/50 Hz | 5 |  | set |
| 06-06-00257 |  | Helium- Neon, 220 v a/c Laser 100 mw, complete system | 20 |  | set |
| 06-06-00258 |  | Instrument for measuring the velocity of light - student experimentation | 1 |  | set |
| 06-06-00259 |  | Light transmitter (luminous diode) with intensity modulation of approx. 50 MHz >100lux o/p | 3 |  | set |
| 06-06-00260 |  | Microscope Magnification 75 - 500 - 1000 - 1500 x and stage requirements, biocular | 2 |  | set |
| 06-06-00261 |  | Graticule eyepiece for use with microscope (above) | 10 |  | piece |
| 06-06-00262 |  | Slide Projector | 2 |  | set |
| 06-06-00263 |  | Polariser and Analyser - framed pair coaxially mounted | 10 |  | piece |
| 06-06-00264 |  | Advanced spectrometer with accessories, dual beam, 0.1 nm band width, + computer | 5 |  | set |
| 06-06-00265 |  | Safety goggles, Laser Projection | 10 |  | set |
| 06-06-00266 |  | Power Supply for semiconductor work | 2 |  | piece |
| 06-06-00267 |  | Multi-range ammeter (A.C. - D.C) | 50 |  | piece |
| 06-06-00268 |  | Digital thermometer minus 190-1500°C +/-1°C | 1 |  | set |
| 06-06-00269 |  | Electrical Depth perception test | 5 |  | set |
| 06-06-00270 |  | Multi-Graphic recorder | 5 |  | piece |
| 06-06-00271 |  | Radio-Panasonic-Stereo- 4 bands LW, MW, FM, SW 16m, 75m, 120m bands output power 1watt. | 2 |  | piece |
| 06-06-00272 |  | Kerosene Heater w/ spares | 10 |  | set |
| 06-06-00273 |  | Set of Instruments for sound Lab. | 1 |  | set |
| 06-06-00274 |  | Chalk board | 50 |  | piece |
| 06-06-00275 |  | Water Cooler | 10 |  | piece |
| 06-06-00276 |  | Treadmill | 2 |  | set |
| 06-06-00277 |  | Dynamometer | 2 |  | set |
| 06-06-00278 |  | Electrically heated circulating water bath internal dimensions 30cmx30cmx10cm | 2 |  | set |
| 06-06-00279 |  | Electrically driven Vibrating tuning fork on sound box - frequency mid audio range. | 10 |  | set |
| 06-06-00280 |  | Optical pyrometer reading up to 3000 C | 1 |  | piece |
| 06-06-00281 |  | Standard Resistances 0.1W - 1 ohms | 15 |  | piece |
| 06-06-00282 |  | Standard Resistances 0.1W - 10 ohms | 15 |  | piece |
| 06-06-00283 |  | Standard Resistances 0.1W - 33 ohms | 15 |  | piece |
| 06-06-00284 |  | Standard Resistances 0.1W - 56 ohms | 15 |  | piece |
| 06-06-00285 |  | Standard Resistances 0.1W - 100 ohms | 15 |  | piece |
| 06-06-00286 |  | Standard Resistances 0.1W - 470 ohms | 15 |  | piece |
| 06-06-00287 |  | Standard Resistances 0.1W - 680 ohms | 15 |  | piece |
| 06-06-00288 |  | Standard Resistances 0.1W - 1000 ohms | 15 |  | piece |
| 06-06-00289 |  | Standard Resistances 0.1W - 2.2k ohms | 15 |  | piece |
| 06-06-00290 |  | Standard Resistances 0.1W - 4.7k ohms | 15 |  | piece |
| 06-06-00291 |  | Standard Resistances 0.1W - 10k ohms | 15 |  | piece |
| 06-06-00292 |  | Standard Resistances 0.1W - 47k ohms | 15 |  | piece |
| 06-06-00293 |  | Standard Resistances 0.1W - 100K | 15 |  | piece |
| 06-06-00294 |  | Standard Resistances 0.1W - 470K ohms | 15 |  | piece |
| 06-06-00295 |  | Standard Resistances 0.1W - 1 M ohms | 15 |  | piece |
| 06-06-00296 |  | Standard Resistances 0.1W - 10 M ohms | 15 |  | piece |
| 06-06-00297 |  | Digital nanovoltmeter DC 10nv to 1mv, 109 Ohms | 2 |  | piece |
| 06-06-00298 |  | Voltage Stabilizer Stabilization of 220v, output power: 2000W | 2 |  | piece |
| 06-06-00299 |  | Voltage Stabilizer Stabilization of 220v, output power: 1000W | 2 |  | piece |
| 06-06-00300 |  | Ice maker powder & Crystal ice - 20 kg per day | 2 |  | piece |
| 06-06-00301 |  | Temperature controller | 2 |  | piece |
| 06-06-00302 |  | Stop watch 60' x 0.1 sec | 100 |  | piece |
| 06-06-00303 |  | Oscilloscope, 100 MHz, single channel digital | 2 |  | set |
| 06-06-00304 |  | Multimeter - bench model | 2 |  | piece |
| 06-06-00305 |  | Digital clamp meter 350A | 2 |  | piece |
| 06-06-00306 |  | Galvanometer meter pointer type for student use | 2 |  | set |
| 06-06-00307 |  | Wattmeter digital, hand held, 1mw -- 100W | 2 |  | piece |
| 06-06-00308 |  | Vernier - Linear , distance approx. to 10 mm, digital type 0.01mm resolution | 2 |  | piece |
| 06-06-00309 |  | Micrometer - max=5cm, min = 0.1 mm, digital display 0.01mm | 2 |  | piece |
| 06-06-00310 |  | Spherometer 0.1 cm -- 8 cm, high resolution, 0.01cm | 2 |  | piece |
| 06-06-00311 |  | High Voltage (for charging 10-20 kV ) - power supply + variable output +> or equal to 100mA | 1 |  | piece |
| 06-06-00312 |  | Pulse Generator :1-15 kV pulses with time duration 10.microsecs & short jitter time, variable pulse sequence, variable duration, & digital. Power > or equal to 0.1 watt | 2 |  | piece |
| 06-06-00313 |  | High Voltage capacitor :charging to maximum Voltage of 30 kV (each having capacity of 20 uF), | 2 |  | piece |
| 06-06-00314 |  | High Voltage capacitor 30 uF :charging to maximum Voltage of 30 kV | 2 |  | piece |
| 06-06-00315 |  | High Voltage 40 uF capacitor :charging to maximum Voltage of 30 kV | 2 |  | piece |
| 06-06-00316 |  | High Voltage capacitor 50 uF :charging to maximum Voltage of 30 kV | 2 |  | piece |
| 06-06-00317 |  | Dual Beam 60 MHz digital storage Oscilloscope with cursor readout | 2 |  | set |
| 06-06-00318 |  | Micro wave Equipment & measuring units for the X-, E-, & Q-bands | 3 |  | set |
| 06-06-00319 |  | Complete Set of X-ray photomultipliers from 1deg A -- 15 deg A | 8 |  | set |
| 06-06-00320 |  | Lab vacuum pump + diffusion pump pumping down to 10 - 8 mbar | 1 |  | set |
| 06-06-00321 |  | Thermal & Electrical conductivity of Metals -= student exp. set complete set & Instructions required | 3 |  | set |
| 06-06-00322 |  | Vapour pressure of Matter at High temperature - student exp. set complete set & Instructions required | 3 |  | set |
| 06-06-00323 |  | Heat capacity of Metals - student exp. set complete set & Instructions required | 3 |  | set |
| 06-06-00324 |  | Heat capacity of Gases - student exp. set complete set & Instructions required | 3 |  | set |
| 06-06-00325 |  | Heat capacity of Liquids - student exp. set complete set & Instructions required | 3 |  | set |
| 06-06-00326 |  | Thermal &Electrical conductivity of Gasses - student exp. set complete set & Instructions required | 3 |  | set |
| 06-06-00327 |  | Thermal Equations of State & Critical point - student exp. set complete set & Instructions required | 3 |  | set |
| 06-06-00328 |  | Equations of State of an Ideal Gas - student exp. set complete set & Instructions required | 3 |  | set |
| 06-06-00329 |  | Vapour Pressure of water at High temperature - student exp. set complete set & Instructions required | 3 |  | set |
| 06-06-00330 |  | Determination of the adiabatic coefficient of Gases - student exp. set complete set & Instructions required | 3 |  | set |
| 06-06-00331 |  | Enthalpy of combustion - student exp. set complete set & Instructions required | 3 |  | set |
| 06-06-00332 |  | Elevation of the Boiling point -student exp. set complete set & Instructions required | 3 |  | set |
| 06-06-00333 |  | Joule _ Thomson effect - student exp. set complete set & Instructions required | 3 |  | set |
| 06-06-00334 |  | Thermal conductivity of good conductor - student exp. set complete set & Instructions required | 3 |  | set |
| 06-06-00335 |  | Thermal conductivity of bad conductor - student exp. set complete set & Instructions required | 3 |  | set |
| 06-06-00336 |  | Thermal conductivity of Glass (tube) -student exp. set complete set & Instructions required | 3 |  | set |
| 06-06-00337 |  | Exp. For measuring electrical conductivity of a dielectric - student exp. set complete set & Instructions required | 1 |  | Set |
| 06-06-00338 |  | Maxwellain velocity distribution - student exp. set complete set & Instructions required | 1 |  | set |
| 06-06-00339 |  | Exp. On ferroelectric crystal -student exp. set complete set & Instructions required | 1 |  | set |
| 06-06-00340 |  | Experiment . on piezoeletric crystal - student exp. set complete set & Instructions required | 1 |  | set |
| 06-06-00341 |  | Exp. On magnetic properties of matter - student exp. set complete set & Instructions required | 1 |  | set |
| 06-06-00342 |  | The normal Zeeman effect - student exp. set complete set & Instructions required | 1 |  | set |
| 06-06-00343 |  | Exp. On Seebek ,Peltier & Thomson effects - student exp. set complete set & Instructions required | 1 |  | set |
| 06-06-00344 |  | Exp. For studying of temperature variation of dielectric constant & study of the molecular structure - student exp. set complete set & Instructions required | 1 |  | set |
| 06-06-00345 |  | To study an anti-ferromagnetic & find Neels temp for it - student exp. set complete set & Instructions required | 1 |  | set |
| 06-06-00346 |  | To find Curie temp. for ferromagnetic &to find Curie temp. For a paramagnetic - student exp. set complete set & Instructions required | 1 |  | set |
| 06-06-00347 |  | To study ferroelectrics &find curie temp .for them - student exp. set complete set & instructions required | 1 |  | set |
| 06-06-00348 |  | To determine the magnetic susceptibility of a substance by Couys method & establish the base structure of a compound molecule - student exp. set complete set & Instructions required | 1 |  | set |
| 06-06-00349 |  | To find the elements present in an alloy - student exp. set complete set & Instructions required | 1 |  | set |
| 06-06-00350 |  | To estimate the energy gap of Germanium by using a PF junction transistor -student exp. set complete set & Instructions required. | 1 |  | set |
| 06-06-00351 |  | Determination of electrical conductivity by using four electrode probes - student exp. set complete set & Instructions required. | 1 |  | set |
| 06-06-00352 |  | To study resistivity of metals (rod shaped )at high temp.0-500 deg. C - student exp. set complete set & Instructions required | 1 |  | set |
| 06-06-00353 |  | Determination of the elementary charge by the Millikan DC & DC change –of charge method ) - student exp. set complete set & Instructions required | 6 |  | set |
| 06-06-00354 |  | Photocell on circuit panel (for the investigation the photo electric effect & determination of Planck's constant h) - student exp., complete set & Instructions required | 5 |  | set |
| 06-06-00355 |  | Franck-Hertz experiment - student exp., complete set & Instructions required. | 5 |  | set |
| 06-06-00356 |  | Determination of the Rydberg constant- student exp., complete set & Instructions required . | 5 |  | set |
| 06-06-00357 |  | Stern / Gerlach apparatus - student exp., complete set & Instructions required | 5 |  | set |
| 06-06-00358 |  | Electron spin resonance apparatus - student exp., complete set & Instructions required. | 5 |  | set |
| 06-06-00359 |  | Detection demonstration of (alpha )particle with cloud Chambers (with all Accessories - student exp., complete set & Instructions required | 5 |  | set |
| 06-06-00360 |  | Detection of alpha / particle with the spark counter - student exp., complete set & Instructions required | 10 |  | set |
| 06-06-00361 |  | Processing & analysing pulse heights in range 0.1 v -- 200 v, 1Hz -- 400 Hz - variable duration (Energy determinations & pulse rates (intensity determination),with all Accessories | 5 |  | set |
| 06-06-00362 |  | Exp. For parent & daughter curve of radioactive substance .(determination of Half life ) - student exp., complete set & Instructions required | 5 |  | set |
| 06-06-00363 |  | Decay curves of several artificially activated isotopes, With all Accessories . - student exp., complete set & Instructions required | 5 |  | set |
| 06-06-00364 |  | Magnetic spectrograph for determining the velocity of electrons. Complete compact experimental system for student exp., complete set & Instructions required | 5 |  | set |
| 06-06-00365 |  | Recording the characteristic curve of an ionization chamber & investigation of - radiation - - student exp., complete set & Instructions required | 5 |  | set |
| 06-06-00366 |  | X-ray spectrum & Bragg reflection - student exp., complete set & Instructions required | 4 |  | set |
| 06-06-00367 |  | Planck's quantum of action using an X-ray unit . - student exp., complete set & Instructions required | 2 |  | set |
| 06-06-00368 |  | X-ray absorption & Moseley's law - student exp., complete set & Instructions required | 2 |  | set |
| 06-06-00369 |  | X-ray fluorescence - student exp., complete set & Instructions required | 2 |  | set |
| 06-06-00370 |  | Photonuclear cross / section & Compton Scattering cross section - student exp., complete set & Instructions required | 5 |  | set |
| 06-06-00371 |  | Compton effect - student exp., complete set & Instructions required | 5 |  | set |
| 06-06-00372 |  | Balance | 5 |  | piece |
| 06-06-00373 |  | Spectrophotometer 200 to 1000nm (with all accessories ). | 5 |  | set |
| 06-06-00374 |  | Steel acbenet for radioactive sources - secure storage system for weak radioactive sources | 5 |  | piece |
| 06-06-00375 |  | Neutron sources 7mci. | 2 |  | piece |
| 06-06-00376 |  | GammA detector (with accessories ). | 10 |  | set |
| 06-06-00377 |  | Counter /Timer ,5 decades ,220 AC,50 Hz Auto-switching - variable count rate - high resolution | 5 |  | piece |
| 06-06-00378 |  | Pulse rate meter Auto-switching - variable count rate - high resolution | 5 |  | piece |
| 06-06-00379 |  | Coincidence unit - for radioactivity studies Auto-switching - variable count rate - high resolution | 5 |  | piece |
| 06-06-00380 |  | Set of Cloud chambers of Different Standard types for student experiments | 5 |  | set |
| 06-06-00381 |  | Set of counter tubes for alpha ,beta ,gamma radiation including driving electronics for tubes | 5 |  | set |
| 06-06-00382 |  | BNC - BNC screened cable, length 25-50 cm | 10 |  | piece |
| 06-06-00383 |  | BNC - BNC screened cable, length 75-150 cm | 10 |  | piece |
| 06-06-00384 |  | Counter tube shielding block structure - all radiation. | 10 |  | piece |
| 06-06-00385 |  | Pulse height analyzer. - for nuclear physics experiments - General type | 8 |  | piece |
| 06-06-00386 |  | Container to protect student for nuclear physics experiment . | 5 |  | piece |
| 06-06-00387 |  | Educational Antenna Test Bench - microwave ranges of communication frequencies | 10 |  | set |
| 06-06-00388 |  | Microwave transmission test bench for Educational use - complete | 10 |  | set |
| 06-06-00389 |  | Intensity distribution of light diffracted by a slit - complete experimental setup | 1 |  | set |
| 06-06-00390 |  | Michaelson Interferometer for student experiments. With instructions and accessories | 1 |  | set |
| 06-06-00391 |  | Basic student experiment on Two Source interference . With instructions and accessories | 1 |  | set |
| 06-06-00392 |  | The Fabry Perot etalon | 1 |  | set |
| 06-06-00393 |  | Fraunhofer diffraction single aperture Basic experiment. With instructions and accessories | 1 |  | set |
| 06-06-00394 |  | Raman spectrometer complete with Argon ion Laser. P(30mw-1w); Sample cells for gases, liquids, solids-low temp. cell (optical instrument);Double monochromator; amplifier; recorder system. complete set & Instructions required | 1 |  | set |
| 06-06-00395 |  | Infra-red spectrometer + cells. - student exp., complete set & Instructions required | 1 |  | set |
| 06-06-00396 |  | Transmission & Reflection Hologram - for viewing hologram reflection with laser - Student experiment - Instructions required - complete set & Instructions required | 4 |  | set |
| 06-06-00397 |  | Na-YAG Laser continuous >+ to 1 watt, complete set | 1 |  | set |
| 06-06-00398 |  | Nd - YAG Laser continuous >+ to 1 watt, complete set | 1 |  | set |
| 06-06-00399 |  | Carbon Dioxide Laser (80 watts) pulsed - student exp., complete set & Instructions required | 1 |  | set |
| 06-06-00400 |  | Ga-As Semiconductor Lasers - Low power, for student experiments. | 1 |  | set |
| 06-06-00401 |  | High measurement power meter - output power of lasers, digital 1mw to 90watt. | 1 |  | set |
| 06-06-00402 |  | Lux meter digital, 0 lux to 300 lux | 2 |  | set |
| 06-06-00403 |  | Gamma-ray Detection with Geiger counters - Student experiment - Instructions required | 1 |  | set |
| 06-06-00404 |  | Gamma-ray Detection with Scintillation detectors - Student experiment - Instructions required | 1 |  | set |
| 06-06-00405 |  | Gamma-ray Detection with pure Germanium Detectors - Student experiment - Instructions required | 1 |  | set |
| 06-06-00406 |  | Alpha spectroscopy system with surface Barrier detectors - Student experiment - Instructions required | 1 |  | set |
| 06-06-00407 |  | Energy loss of charged particles - Student experiment - Instructions required | 1 |  | set |
| 06-06-00408 |  | Beta spectroscopy - Student experiment - Instructions required | 1 |  | set |
| 06-06-00409 |  | X-ray spectroscopy (using proportional counters ). Student experiment - Instructions required spare and accessories | 1 |  | set |
| 06-06-00410 |  | High resolution X-ray spectroscopy - Student experiment - Instructions required | 1 |  | set |
| 06-06-00411 |  | Alpha particle scattering - Student experiment - Instructions required | 1 |  | set |
| 06-06-00412 |  | Coincidence counting techniques - Student experiment - Instructions required | 1 |  | set |
| 06-06-00413 |  | Angular correlation of Gamma rays . - Student experiment - Instructions required | 1 |  | set |
| 06-06-00414 |  | X-ray Fluorescence. - Student experiment - Instructions required | 1 |  | set |
| 06-06-00415 |  | Gamma / Gamma coincidence measurements. - Student experiment - Instructions required | 1 |  | set |
| 06-06-00416 |  | Lifetime of excited nuclear states . - Student experiment - Instructions required | 1 |  | set |
| 06-06-00417 |  | Low-level Gamma counting . - Student experiment - Instructions required | 1 |  | set |
| 06-06-00418 |  | System for low level Alpha / Beta counting | 1 |  | set |
| 06-06-00419 |  | Mossbauer effect. - Student experiment - Instructions required | 1 |  | set |
| 06-06-00420 |  | Study of decay schemes of nuclei (using A/C spectrometer with a pure Ge detector ). - Basic experiments + instruction of experiments for student | 1 |  | set |
| 06-06-00421 |  | Cryostat, medium size for the storage of liquid Nitrogen - complete | 1 |  | set |
| 06-06-00422 |  | Vacuum pump (for research 10-mm hg ) Dual rate, rotary + diffusion pump | 3 |  | set |
| 06-06-00423 |  | Set of surface barrier detectors (different types - one of each )with preamplifier & bias supply . | 3 |  | set |
| 06-06-00424 |  | Portable oscilloscope dual trace 50 MHz with accessories | 3 |  | set |
| 06-06-00425 |  | Pulser (pulse generator ) | 2 |  | set |
| 06-06-00426 |  | Counter / time, Single and dual preset, | 6 |  | set |
| 06-06-00427 |  | Single channel analyser | 1 |  | set |
| 06-06-00428 |  | NaI(T1) Scintillation detectors (different sizes - one of each )with preamplifier & power supply . | 4 |  | set |
| 06-06-00429 |  | High voltage supply . DC 1KV to 1000KV, low noise variable voltage, 0.1Amp. - student exp., complete set & Instructions required | 2 |  | set |
| 06-06-00430 |  | Set of standard type Delay Lines - one of each - for basic experiments in superconductivity, | 3 |  | set |
| 06-06-00431 |  | Plastic Scintillation detector & mount . | 2 |  | set |
| 06-06-00432 |  | Spectroscopy amplifier - modern general type, for experiment use. - student exp., complete set & Instructions required | 3 |  | set |
| 06-06-00433 |  | X-ray Scintillation detector with preamplifier . - student exp., complete set & Instructions required | 2 |  | set |
| 06-06-00434 |  | Proportional counter ,Xenon filled ,with power supply . - student exp., complete set & Instructions required | 3 |  | set |
| 06-06-00435 |  | Spectrometer with pure Ge detector (Horizontal type of 63cm^3)for research with computer control - output. - complete set & Instructions required | 1 |  | set |
| 06-06-00436 |  | Logic shaper . | 2 |  | set |
| 06-06-00437 |  | Multi-channel analyser (for research ). | 1 |  | set |
| 06-06-00438 |  | Computer, Pentium, 32MB, 6 GB+ HD, complete with desktop laser printer + interface functionalities equivalent to 12 bit D/A and A/D with sample hold 50 kHz min. bandwidth, 16 bit digital parallel interface input/output card with interrupt capabilities, TTL protected, + laboratory software package to programme and manage the input - output interfaces in real time for experimental control and recording, + serial interface for plotter (next item) with full instruction manuals - delivered pre-tested and working system. | 1 |  | set |
| 06-06-00439 |  | HP 2004B point plotter or vector plotter. X-Y plotter, A3, multi- color connected to computer W/accessories. Full graphics software and RS488 or other interface card for insertion into computer for interface. Pre-tested and system working with previous computer item. | 1 |  | set |
| 06-06-00440 |  | Planar Ge detector with horizontal type 30 L cryostat (Model 7110010, preamplifier ) | 1 |  | set |
| 06-06-00441 |  | Standard BNC plugs for soldering adapted to coax cable (next item) | 200 |  | piece |
| 06-06-00442 |  | Coaxial cable, twisted core, single shielding | 100 |  | m |
| 06-06-00443 |  | Alpha & Beta source (Long live nuclei). low strength sources for student experimental uses | 4 |  | set |
| 06-06-00444 |  | Overhead projector - standard model | 1 |  | set |
| 06-06-00445 |  | Universal- Steckplatte, varist | 20 |  | each |
| 06-06-00446 |  | Universal- Steckplatte, logist | 20 |  | each |
| 06-06-00447 |  | Portable Oscilloscope, Scopemeter Integrated, | 2 |  | set |
| 06-06-00448 |  | Desoldering system W/surface Mount, Rework accessories, plus W/all accessories = set | 10 |  | set |
| 06-06-00449 |  | PC type computer 17"screen, modem, UPS + accessories | 20 |  | set |
| 06-06-00450 |  | Printer HP laser Jet 1100 with 1pc of spare toner | 20 |  | set |
| 06-06-00451 |  | Scanner A3 (full colour) with spares & accessories + software | 5 |  | set |
| 06-06-00452 |  | Printer HP laser Jet A3, colour, with 2 pc of spare toners | 2 |  | set |
| 06-06-00453 |  | Simple table and rolling chairs for laboratory and computer centers uses | 80 |  | set |
| 06-06-00454 |  | Fax machine | 1 |  | piece |
| 06-06-00455 |  | PC type computer 17"screen, laser printer + accessories | 50 |  | set |
| 06-06-00456 |  | TV 21" Multistandard | 5 |  | piece |
| 06-06-00457 |  | Overhead Projector | 1 |  | set |
| 06-06-00458 |  | Data Show (Video Projector) High Resolution | 1 |  | set |
| 06-06-00459 |  | Air condition Split Unit 2.0 Ton (Hot and cold) | 8 |  | piece |
| 06-06-00460 |  | Refrigerator 14 cubic ft. | 3 |  | piece |
| 06-06-00461 |  | CD disks (blank) recordable | 50 |  | piece |
| 06-06-00462 |  | CD Storage. Box for 20 CD | 6 |  | piece |
| 06-06-00463 |  | Power Supply for providing 0-500V AC and 0-24V DC voltages | 50 |  | piece |
| 06-06-00464 |  | Oscilloscope 30 MHz max. Dual beam with probes, sens. Range: 1mv/div to 20v/div with spares and accessories | 10 |  | set |
| 06-06-00465 |  | Oscilloscope 20MHz max. Dual beam with probes, sens. Range: 1mv/div to 20v/div - auto triggering, with spares and accessories | 10 |  | set |
| 06-06-00466 |  | Storage Oscilloscope digital 30 MHz, Dual beam with probe, sens. Range: 1mv/div to 20v/div - auto triggering, + digital printer with spares and accessories | 10 |  | set |
| 06-06-00467 |  | Electronic Boards for Testing in Laboratory small size. | 50 |  | piece |
| 06-06-00468 |  | Electronic Boards for Testing in Laboratory medium size. | 50 |  | piece |
| 06-06-00469 |  | Electronic Boards for Testing in Laboratory large size. | 50 |  | piece |
| 06-06-00470 |  | Solder prototype boards with similar pcb configuration to the testing boards . small size | 50 |  | set |
| 06-06-00471 |  | Solder prototype boards with similar pcb configuration to the testing boards . medium size | 50 |  | set |
| 06-06-00472 |  | Solder prototype boards with similar pcb configuration to the testing boards . large size | 50 |  | set |
| 06-06-00473 |  | Electronic Gates TTL 7408 | 550 |  | piece |
| 06-06-00474 |  | Electronic Gates TTL 7432 | 550 |  | piece |
| 06-06-00475 |  | Electronic Gates TTL 7400 | 550 |  | piece |
| 06-06-00476 |  | Electronic Gates TTL 7402 | 550 |  | piece |
| 06-06-00477 |  | Electronic Gates TTL 7486 | 550 |  | piece |
| 06-06-00478 |  | Electronic Gates TTL 7486 | 550 |  | piece |
| 06-06-00479 |  | Electronic Gates TTL 7404 | 100 |  | piece |
| 06-06-00480 |  | Electronic Gates TTL 7474 | 250 |  | piece |
| 06-06-00481 |  | Electronic Gates TTL 7476 | 250 |  | piece |
| 06-06-00482 |  | Electronic Gates TTL 74191 | 250 |  | piece |
| 06-06-00483 |  | Electronic Gates TTL 74121 | 250 |  | piece |
| 06-06-00484 |  | Electronic Gates TTL 74123 | 250 |  | piece |
| 06-06-00485 |  | Electronic Gates TTL 74283 | 250 |  | piece |
| 06-06-00486 |  | Electronic Gates TTL AD7533JN (DAC) | 200 |  | piece |
| 06-06-00487 |  | Electronic Gates TTL AD7574AN (ADC 15us) | 200 |  | piece |
| 06-06-00488 |  | Electronic Gates TTL 7C421-25JC FIFO 512 x 9 bit | 250 |  | piece |
| 06-06-00489 |  | Function generator, max frequency = 1Ghz - max voltage = 20 v, low noise | 50 |  | piece |
| 06-06-00490 |  | Avometer 1-500v, 0-20 Amp and 1x to 100xMOhm - auto scan - | 50 |  | piece |
| 06-06-00491 |  | Connection wires for Electronic boards - reels of 100m solid conductor for use with Electronic boards above. Black | 50 |  | reel |
| 06-06-00492 |  | Connection wires for Electronic boards - reels of 100m solid conductor for use with Electronic boards above. Blue | 50 |  | reel |
| 06-06-00493 |  | Connection wires for Electronic boards - reels of 100m solid conductor for use with Electronic boards above. Red | 50 |  | reel |
| 06-06-00494 |  | Connection wires for Electronic boards - reels of 100m solid conductor for use with Electronic boards above. White | 50 |  | reel |
| 06-06-00495 |  | Connection wires for Electronic boards - reels of 100m solid conductor for use with Electronic boards above. Green/yellow. | 50 |  | reel |
| 06-06-00496 |  | Solder welding set for electronics with spare bits, 220V - power of 30W | 2 |  | set |
| 06-06-00497 |  | Solder welding set for electronics with spare bits, 220V - power of 40W | 2 |  | set |
| 06-06-00498 |  | Solder welding set for electronics with spare bits, 220V - power of 60W | 2 |  | set |
| 06-06-00499 |  | Solder welding set for electronics with spare bits, 220V - power of 80W | 2 |  | set |
| 06-06-00500 |  | Plotter colour new model A3 size, serial connection to computers, with driver software, paper, pens and accessories. | 3 |  | set |
| 06-06-00501 |  | Digital camera connected to computers | 5 |  | piece |
| 06-06-00502 |  | Digital Satellite receiver - complete system with motorized antenna and wide-band receiver | 3 |  | set |
| 06-06-00503 |  | MPEG III Card connected to computer (indoor) | 3 |  | piece |
| 06-06-00504 |  | Video Cassette Recorder multistandard - standard model for Iraq | 1 |  | set |
| 06-06-00505 |  | Read/Write CD drive | 4 |  | piece |
| 06-06-00506 |  | DVD second generation | 2 |  | piece |
| 06-06-00507 |  | MPFI fit (Z80A) For teaching Computer Architecture | 30 |  | piece |
| 06-06-00508 |  | Simple lab kit for robotics principles | 20 |  | piece |
| 06-06-00509 |  | External Modem - 56 k bps | 4 |  | piece |
| 06-06-00510 |  | LCD Television - color - 32" screen - multi-standard | 1 |  | set |
| 06-06-00511 |  | Transistor AC 181 | 50 |  | piece |
| 06-06-00512 |  | Transistor AC 182 | 50 |  | piece |
| 06-06-00513 |  | Transistor BC 177 A | 50 |  | piece |
| 06-06-00514 |  | Transistor BCYS 8 | 50 |  | piece |
| 06-06-00515 |  | Capacitors 10 nF | 50 |  | piece |
| 06-06-00516 |  | Capacitors 100pF | 50 |  | piece |
| 06-06-00517 |  | Capacitors 0.1 uF | 50 |  | piece |
| 06-06-00518 |  | Capacitors 20 uF | 50 |  | piece |
| 06-06-00519 |  | Capacitors 100 uF | 50 |  | piece |
| 06-06-00520 |  | Capacitors 300 uF | 50 |  | piece |
| 06-06-00521 |  | Carbon Resistors 1 ohm 1/4 watt | 50 |  | piece |
| 06-06-00522 |  | Carbon Resistors 10 ohm 1/4 watt | 50 |  | piece |
| 06-06-00523 |  | Carbon Resistors 33 ohm 1/4 watt | 50 |  | piece |
| 06-06-00524 |  | Carbon Resistors 100 ohm 1/4 watt | 50 |  | piece |
| 06-06-00525 |  | Carbon Resistors 470 ohm 1/4 watt | 50 |  | piece |
| 06-06-00526 |  | Carbon Resistors 500 ohm 1/4 watt | 50 |  | piece |
| 06-06-00527 |  | Carbon Resistors 680 ohm 1/4 watt | 50 |  | piece |
| 06-06-00528 |  | Carbon Resistors 1 K. Ohm 1/4 watt | 50 |  | piece |
| 06-06-00529 |  | Carbon Resistors 2.2 K. ohm 1/4 watt | 50 |  | piece |
| 06-06-00530 |  | Carbon Resistors 4.7 K. Ohm 1/4 watt | 50 |  | piece |
| 06-06-00531 |  | Carbon Resistors 10 K. Ohm 1/4 watt | 50 |  | piece |
| 06-06-00532 |  | Carbon Resistors 33 K. Ohm 1/4 watt | 50 |  | piece |
| 06-06-00533 |  | Carbon Resistors 16.8 K. Ohm 1/4 watt | 50 |  | piece |
| 06-06-00534 |  | Carbon Resistors 100 K. Ohm 1/4 watt | 50 |  | piece |
| 06-06-00535 |  | Carbon Resistors 220 K. Ohm 1/4 watt | 50 |  | piece |
| 06-06-00536 |  | Carbon Resistors 500 K. Ohm 1/4 watt | 50 |  | piece |
| 06-06-00537 |  | Carbon Resistors 1 M. Ohm 1/4 watt | 50 |  | piece |
| 06-06-00538 |  | Carbon Resistors 10 M. Ohm 1/4 watt | 50 |  | piece |
| 06-06-00539 |  | Carbon Resistors 100 M. Ohm 1/4 watt | 50 |  | piece |
| 06-06-00540 |  | TRIAC 10 Amp | 30 |  | piece |
| 06-06-00541 |  | DIAC 10 Amp | 30 |  | piece |
| 06-06-00542 |  | Zener Diodes - 3V | 30 |  | piece |
| 06-06-00543 |  | Zener Diodes - 3.5 V | 30 |  | piece |
| 06-06-00544 |  | Zener Diodes - 5 V | 30 |  | piece |
| 06-06-00545 |  | Zener Diodes - 7 V | 30 |  | piece |
| 06-06-00546 |  | Zener Diodes - 10 V | 30 |  | piece |
| 06-06-00547 |  | Zener Diodes - 100 V | 30 |  | piece |
| 06-06-00548 |  | Zener Diodes - 200 V | 30 |  | piece |
| 06-06-00549 |  | Zener Diodes - 300 V | 30 |  | piece |
| 06-06-00550 |  | Diodes - INY 007 | 100 |  | piece |
| 06-06-00551 |  | IC's AL 702 C | 5 |  | piece |
| 06-06-00552 |  | FEF - Transistor - TIS 73 | 5 |  | piece |
| 06-06-00553 |  | Digital electronic multimeter Display 31/2 digit liquid crystal, | 4 |  | piece |
| 06-06-00554 |  | Voltametric (electrochemical) analyzer (pulse polarograph) sweeping voltage width 0-1,990mv. Sweeping speed 0.5, 1, 2, 5, 10, 20, 50, 100 200, 500, 1000, 2000 mv/sec | 4 |  | piece |
| 06-06-00555 |  | Precision DC Potentiometer 0.01% Accuracy, meas. 1.5V | 1 |  | piece |
| 06-06-00556 |  | Water deioniser. spare resins | 4 |  | set |
| 06-06-00557 |  | Conductivity meter | 5 |  | piece |
| 06-06-00558 |  | Refillable calomel electrode | 5 |  | piece |
| 06-06-00559 |  | Turbidimeter, Portable, | 2 |  | piece |
| 06-06-00560 |  | Tubes for polarimeter Tubest glass - set of 4 tubes | 2 |  | set |
| 06-06-00561 |  | Tungsten lamp for UV-spectrophotometer | 1 |  | piece |
| 06-06-00562 |  | Deuterium lamp for UV-spectrophotometer | 1 |  | piece |
| 06-06-00563 |  | Analytical Balance x 0.0001g to 202g | 4 |  | piece |
| 06-06-00564 |  | Microscope Swift M 4001 D Optics (Binocular Heads) | 70 |  | set |
| 06-06-00565 |  | Themometer, 3" immersion thermometer, Mercury filled. Range: -30 to 50deg C, Division 1deg C - Length 300mm | 25 |  | piece |
| 06-06-00566 |  | Themometer, 3" immersion thermometer, Mercury filled. -10 to (110, 150, 200, 300, 360, 400) deg C Division 1deg C - Length 300mm | 25 |  | piece |
| 06-06-00567 |  | Themometer, 3" immersion thermometer, Mercury filled. -10 to 110, deg C Division 1deg C - Length 300mm | 25 |  | piece |
| 06-06-00568 |  | Themometer, 3" immersion thermometer, Mercury filled. -10 to 150, deg C Division 1deg C - Length 300mm | 25 |  | piece |
| 06-06-00569 |  | Themometer, 3" immersion thermometer, Mercury filled. -10 to 200 deg C Division 1deg C - Length 300mm | 25 |  | piece |
| 06-06-00570 |  | Themometer, 3" immersion thermometer, Mercury filled. -10 to 300 deg C Division 1deg C - Length 300mm | 25 |  | piece |
| 06-06-00571 |  | Themometer, 3" immersion thermometer, Mercury filled. -10 to 360 deg C Division 1deg C - Length 300mm | 25 |  | piece |
| 06-06-00572 |  | Themometer, 3" immersion thermometer, Mercury filled. -10 to 400 deg C Division 1deg C - Length 300mm | 25 |  | piece |
| 06-06-00573 |  | Mini Themometer -55 to + 180deg C | 5 |  | piece |
| 06-06-00574 |  | Flow cell of (1)mm flow bath made of silica | 3 |  | piece |
| 06-06-00575 |  | Galvanometer Pointer | 5 |  | set |
| 06-06-00576 |  | Combination pH electrode | 10 |  | piece |
| 06-06-00577 |  | Gas generator, Hydrogen | 1 |  | set |
| 06-06-00578 |  | Gas generators, Nitrogen and Air | 1 |  | set |
| 06-06-00579 |  | Hollow cathode lamp H.C.L Ca, | 1 |  | piece |
| 06-06-00580 |  | Hollow cathode lamp H.C.L Mg | 1 |  | piece |
| 06-06-00581 |  | Hollow cathode lamp H.C.L Cr | 1 |  | piece |
| 06-06-00582 |  | Hollow cathode lamp H.C.L Zn | 1 |  | piece |
| 06-06-00583 |  | Hollow cathode lamp H.C.L Fe | 1 |  | piece |
| 06-06-00584 |  | Hollow cathode lamp H.C.L Co | 1 |  | piece |
| 06-06-00585 |  | Hollow cathode lamp H.C.L Cu | 1 |  | piece |
| 06-06-00586 |  | Hollow cathode lamp H.C.L Ni | 1 |  | piece |
| 06-06-00587 |  | Hollow cathode lamp H.C.L Al | 1 |  | piece |
| 06-06-00588 |  | Hollow cathode lamp H.C.L Se | 1 |  | piece |
| 06-06-00589 |  | Hollow cathode lamp H.C.L Pb | 1 |  | piece |
| 06-06-00590 |  | Magnetic stirrer/ hot plate multiple | 2 |  |  |
| 06-06-00591 |  | Balance Weighting range (0-600-1200-3100g) Readability 0.01, 0.02, 0.05 g | 10 |  | piece |
| 06-06-00592 |  | Nitrate ion selective electrode | 5 |  | piece |
| 06-06-00593 |  | Ice cube maker storage capacity 30 kg. Production capacity 82 kg/day. Water cooled condensing unit. With full spares and accessories | 4 |  | piece |
| 06-06-00594 |  | Magnetic stirrer/ hot plate, multiple | 6 |  | piece |
| 06-06-00595 |  | pH, mv, and temp. meter | 8 |  | set |
| 06-06-00596 |  | Para film - M | 10 |  | roll |
| 06-06-00597 |  | Peristaltic pump (Rotor speed rpm= 60) with tube | 4 |  | piece |
| 06-06-00598 |  | Refactometer automatic Bts precision 0.1 Brix | 5 |  | piece |
| 06-06-00599 |  | Pipette filler | 15 |  | piece |
| 06-06-00600 |  | Pump low vacuum diaphram non- corrosive complete with spares and accessories | 2 |  | set |
| 06-06-00601 |  | Gas regulator for H2, | 2 |  | pc |
| 06-06-00602 |  | Gas regulator for N2 | 2 |  | pc |
| 06-06-00603 |  | Gas regulator for C2H2 | 2 |  | pc |
| 06-06-00604 |  | Gas regulator for CO2 | 2 |  | pc |
| 06-06-00605 |  | Gas regulator for N2O | 2 |  | pc |
| 06-06-00606 |  | Gas regulator for air | 2 |  | pc |
| 06-06-00607 |  | Quartz cells for spectrophotometers | 20 |  | set |
| 06-06-00608 |  | Rotary evaporator small | 3 |  | set |
| 06-06-00609 |  | Rotary evaporator medium | 3 |  | set |
| 06-06-00610 |  | Rotary injection valves with Teflon tubes (3x 6 way + 3x 4 way) | 1 |  | piece |
| 06-06-00611 |  | Reference electrode, Standard - Cd - Hg cell | 5 |  | piece |
| 06-06-00612 |  | Standard Sodium chloride solution for calibration of selective electrode | 5 |  | litres |
| 06-06-00613 |  | Spatulas, cattoway pattern, 143mm in length - Nickel, | 50 |  | piece |
| 06-06-00614 |  | Stop cocks, 3 way, T shape w/ accur. ground solid glass | 3 |  | piece |
| 06-06-00615 |  | Stirring bar set, teflon Magnetic | 4 |  | piece |
| 06-06-00616 |  | String bars, poly propylene Magnetic | 11 |  | piece |
| 06-06-00617 |  | Stirrer motor, universal incl. Magnetic | 4 |  | piece |
| 06-06-00618 |  | Orbital shaker - orbiting speed 0.5-5rev/sec. Diam. 20mm. Timer 0-120' | 2 |  | piece |
| 06-06-00619 |  | Stopwatch reading to 30' in 1/5" | 20 |  | piece |
| 06-06-00620 |  | Silver / Sulphide ion select. electrode - no metering system | 3 |  | piece |
| 06-06-00621 |  | Test tube holder - Wood - 12 tubes | 50 |  | piece |
| 06-06-00622 |  | AC high voltage test sets, dielectric strength tests, complete for student use with manuals spare, consumables and accessories | 10 |  | set |
| 06-06-00623 |  | Total dissolved solids meter | 1 |  | set |
| 06-06-00624 |  | Viscometer - measuring up to 9999.99 sec. complete for student use with manuals spare, consumables and accessories | 5 |  | piece |
| 06-06-00625 |  | Viscometer u-tube | 80 |  | piece |
| 06-06-00626 |  | Micro-Kjeldahi digestation apparatus complete for student use with manuals spare, consumables and accessories | 1 |  | set |
| 06-06-00627 |  | Digital melting point | 10 |  | set |
| 06-06-00628 |  | Refrigerator 22 cubic ft - food storage | 15 |  | piece |
| 06-06-00629 |  | Constant temperature bath temp:-20/+105°C w/spares & acc. | 1 |  | set |
| 06-06-00630 |  | Rheostats Single tube, 25 ohm 5 A | 20 |  | piece |
| 06-06-00631 |  | Rheostats Single tube, 66 ohm 2 A | 20 |  | piece |
| 06-06-00632 |  | Rheostats Single tube,270 ohm 1 A | 20 |  | piece |
| 06-06-00633 |  | Rheostats Single tube 1200 ohm 0.3A | 20 |  | piece |
| 06-06-00634 |  | Power supply, Stabilized, 220 v 50mA o/p | 5 |  | piece |
| 06-06-00635 |  | Regulator DC power supply (0-15 v.1 A) | 20 |  | piece |
| 06-06-00636 |  | AC power supply (0-30 v) preset select voltage, 50mA | 20 |  | piece |
| 06-06-00637 |  | High Vacuum Pump | 1 |  | piece |
| 06-06-00638 |  | Flow injection seperator | 2 |  | piece |
| 06-06-00639 |  | Atomic Absorbtion unit complete for student use with manuals spare, consumables and accessories | 1 |  | set |
| 06-06-00640 |  | UV- visible spectrometer(160-850 nm) complete for student use with manuals spare, consubables and accessories | 2 |  | set |
| 06-06-00641 |  | Digital recorder x-y recorder.Low voltage EmF measurements with manuals spare, consumables and accessories | 3 |  | piece |
| 06-06-00642 |  | Digital Avometer For AC V & ohms measurements | 50 |  | piece |
| 06-06-00643 |  | Voltage Stabilizer Capacity 10 Kv. Input voltage 220 +/-30V, | 2 |  | piece |
| 06-06-00644 |  | Thermal & electrical conductivity of metals experimental set-up for research | 1 |  | set |
| 06-06-00645 |  | Gas cylinder trolley - single cylinder | 3 |  | piece |
| 06-06-00646 |  | NMR-Spectrometer complete system 90 MHz, standard manget | 1 |  | set |
| 06-06-00647 |  | Sand Bath | 2 |  | set |
| 06-06-00648 |  | Boiling test tubes 15 ml | 100 |  | piece |
| 06-06-00649 |  | Boiling test tubes 25 ml | 100 |  | piece |
| 06-06-00650 |  | Test tubes 5 ml | 50 |  | piece |
| 06-06-00651 |  | Test tubes 14 ml | 100 |  | piece |
| 06-06-00652 |  | Test tubes 20 ml | 150 |  | piece |
| 06-06-00653 |  | Test tubes 27 ml | 150 |  | piece |
| 06-06-00654 |  | Test tubes 34 ml | 100 |  | piece |
| 06-06-00655 |  | Test tubes 55 ml | 50 |  | piece |
| 06-06-00656 |  | Buchner flask 100ml joint (19/26, 24/29), | 100 |  | piece |
| 06-06-00657 |  | Buchner flask 250ml joint(24/29, 29/32) | 100 |  | piece |
| 06-06-00658 |  | Buchner flask 500ml joint(24/29, 29/32) | 100 |  | piece |
| 06-06-00659 |  | Pipettes analytical grade 1 ml; | 500 |  | pc |
| 06-06-00660 |  | Pipettes analytical grade 5 ml; | 500 |  | pc |
| 06-06-00661 |  | Pipettes analytical grade 10 ml; | 500 |  | pc |
| 06-06-00662 |  | Pipettes analytical grade 25 ml; | 500 |  | pc |
| 06-06-00663 |  | Volumetric Flasks(d.s.) 250 ml with glass ground jounts and stoppers | 500 |  | pc |
| 06-06-00664 |  | Volumetric Flasks(d.s.) 500 ml with glass ground jounts and stoppers | 500 |  | pc |
| 06-06-00665 |  | Volumetric Flasks(d.s.) 1000 ml with glass ground jounts and stoppers | 500 |  | pc |
| 06-06-00666 |  | Conical flasks Flasks (d.s.) 25 ml, no joint | 500 |  | pc |
| 06-06-00667 |  | Conical flasks Flasks (d.s.) 50 ml, no joint | 500 |  | pc |
| 06-06-00668 |  | Conical flasks Flasks (d.s.) 100 ml, no joint | 500 |  | pc |
| 06-06-00669 |  | Conical flasks Flasks (d.s.) 250 ml, no joint | 500 |  | pc |
| 06-06-00670 |  | Conical flasks Flasks (d.s.) 500 ml, no joint | 500 |  | pc |
| 06-06-00671 |  | Beakers (d,g.s.) 25 ml with lip and volume calibration | 100 |  | piece |
| 06-06-00672 |  | Beakers (d,g.s.) 50 ml with lip and volume calibration | 100 |  | piece |
| 06-06-00673 |  | Beakers (d,g.s.) 100 ml with lip and volume calibration | 100 |  | piece |
| 06-06-00674 |  | Beakers (d,g.s.) 250 ml with lip and volume calibration | 100 |  | piece |
| 06-06-00675 |  | Beakers (d,g.s.) 500 ml with lip and volume calibration | 100 |  | piece |
| 06-06-00676 |  | Ceramic gauzes for bunsen burner | 100 |  | piece |
| 06-06-00677 |  | Burrette (d.s.) 25 ml, w. Glass stop cock | 250 |  | piece |
| 06-06-00678 |  | Burrette (d.s.) 50 ml, w. glass stop cock | 250 |  | piece |
| 06-06-00679 |  | Burrette (d.s.) 100ml, glass stop cock | 250 |  | piece |
| 06-06-00680 |  | Burrette (d.s.) 25 ml, teflon stop cock | 250 |  | piece |
| 06-06-00681 |  | Burrette (d.s.) 50 ml, teflon stop cock | 250 |  | piece |
| 06-06-00682 |  | Burrette (d.s.) 100ml, teflon stop cock | 250 |  | piece |
| 06-06-00683 |  | Burette stands. Clamps fitted w/ rubber grps. For rods up to 13mm diam | 250 |  | set |
| 06-06-00684 |  | Brush (d.s.) for test tube, burette, flasks | 500 |  | set |
| 06-06-00685 |  | Filter funnel plain glass diam 50 mm | 500 |  | pc |
| 06-06-00686 |  | Filter funnel plain glass diam 70 mm | 500 |  | pc |
| 06-06-00687 |  | Filter funnel plain glass diam 150 mm | 500 |  | pc |
| 06-06-00688 |  | Filter funnel plain glass diam 100 mm | 500 |  | pc |
| 06-06-00689 |  | Filter funnel poly propylene, diam. 45 mm; | 500 |  | pc |
| 06-06-00690 |  | Filter funnel poly propylene, diam. 55 mm; | 500 |  | pc |
| 06-06-00691 |  | Filter funnel poly propylene, diam. 65 mm; | 500 |  | pc |
| 06-06-00692 |  | Dropping funnels: cylindrical open top with stopcock, borosilicate glass, one each of capacity 25 cm3 | 500 |  | pc |
| 06-06-00693 |  | Dropping funnels: cylindrical open top with stopcock, borosilicate glass, one each of capacity 100 cm3 | 500 |  | piece |
| 06-06-00694 |  | Dropping funnels: cylindrical open top with stopcock, borosilicate glass, one each of capacity 50 cm3 | 500 |  | piece |
| 06-06-00695 |  | Forceps (d.s.) - tongs for handling hot things, | 500 |  | set |
| 06-06-00696 |  | Forceps (d.s.) - pointed ends, . | 500 |  | set |
| 06-06-00697 |  | Forceps (d.s.) - stainless steel lengths 110 mm; | 500 |  | set |
| 06-06-00698 |  | Forceps (d.s.) - stainless steel lengths 130 mm; . | 500 |  | set |
| 06-06-00699 |  | Forceps (d.s.) - curved length 110mm; | 500 |  | set |
| 06-06-00700 |  | Forceps (d.s.) - toothed tips length 130 mm.; | 500 |  | set |
| 06-06-00701 |  | Forceps (d.s.) - extra long length 300mm. | 500 |  | set |
| 06-06-00702 |  | Washing bottle (d.s.) 250 ml polypropylene | 500 |  | piece |
| 06-06-00703 |  | Reagent bottle (d.s.) glass with stopper 250 ml with labels | 500 |  | piece |
| 06-06-00704 |  | Reagent bottle (d.s.) plastic with stopper 250 ml with labels | 500 |  | piece |
| 06-06-00705 |  | Graduated cylinders - Glass - capacity in ml.: 5, ml, graduation 0.1, ml; | 75 |  | piece |
| 06-06-00706 |  | Graduated cylinders - Glass - capacity in ml.: 10, ml, graduation , 0.2 ml | 75 |  | piece |
| 06-06-00707 |  | Graduated cylinders - Glass - capacity in ml.: 100 ml, graduation 1.0ml | 75 |  | piece |
| 06-06-00708 |  | Graduated cylinders - Glass - capacity in ml.: 50 ml, graduation 1.0 10 ml | 75 |  | piece |
| 06-06-00709 |  | Graduated cylinders - Glass - capacity in ml.: 250 ml, graduation 5 ml | 75 |  | piece |
| 06-06-00710 |  | Graduated cylinders - Glass - capacity in ml.: 1000 ml, graduation 10 ml | 75 |  | piece |
| 06-06-00711 |  | Graduated cylinders - Glass - borosilicate cap. Cubic cm. 50 Grad. 1 ml; | 150 |  | pc |
| 06-06-00712 |  | Graduated cylinders - Glass - borosilicate cap. Cubic cm. 100, Grad. 2, ml; | 150 |  | pc |
| 06-06-00713 |  | Graduated cylinders - Glass - borosilicate cap. Cubic cm.250; Grad. 2 ml; | 150 |  | pc |
| 06-06-00714 |  | Graduated cylinders - Glass - Pyrex cubic cm 50 Grad. 1 ml | 150 |  | pc |
| 06-06-00715 |  | Graduated cylinders - Glass - Pyrex cubic cm 100, Grad. 1 ml | 150 |  | pc |
| 06-06-00716 |  | Graduated cylinders - Glass - Pyrex cubic cm 250 4ml | 150 |  | pc |
| 06-06-00717 |  | Retort stand with bosshead and standard clamp | 500 |  | set |
| 06-06-00718 |  | Cork borer set | 500 |  | set |
| 06-06-00719 |  | Glass rod (d.s.) 20 cm long 5 mm diameter Pyrex | 500 |  | piece |
| 06-06-00720 |  | Dropper bottles (d.s.) 25 ml | 500 |  | piece |
| 06-06-00721 |  | Dropper bottles (d.s.) 50 ml | 500 |  | piece |
| 06-06-00722 |  | Dropper bottles (d.s.) 100 ml | 500 |  | piece |
| 06-06-00723 |  | Platinum wire 0.5 mm diam | 500 |  | metre |
| 06-06-00724 |  | Vacuum flasks Capacity approx. 0.9l | 500 |  | piece |
| 06-06-00725 |  | Filter paper circular, diameters 90 mm, Whatman No 1 | 2000 |  | piece |
| 06-06-00726 |  | Filter paper circular, diameters 110 mm, Whatman No 1 | 2000 |  | piece |
| 06-06-00727 |  | Filter paper circular, diameters 125 mm, Whatman No1 | 2000 |  | piece |
| 06-06-00728 |  | Filter paper circular, diameters 150 mm, Whatman No 1 | 2000 |  | piece |
| 06-06-00729 |  | Parafilm | 100 |  | pack |
| 06-06-00730 |  | Light source light luminance -Cs 150W w/ housing 100-3000 lux | 1 |  | piece |
| 06-06-00731 |  | Azo-bis-isobutiron nitrite | 1 |  | kg |
| 06-06-00732 |  | Acetonitile – d3 | 5 |  | liter |
| 06-06-00733 |  | Aluminium chloride | 750 |  | gr |
| 06-06-00734 |  | Benzoylperoxide | 1 |  | kg |
| 06-06-00735 |  | Bromine water | 3 |  | kg |
| 06-06-00736 |  | Bromoheptane C7H15Br, Reagent grade | 1 |  | kg |
| 06-06-00737 |  | Bromoheptadecan | 2 |  | kg |
| 06-06-00738 |  | Bromodecane | 1 |  | kg |
| 06-06-00739 |  | Bromododecane | 1 |  | kg |
| 06-06-00740 |  | Bromohexadecan | 1 |  | kg |
| 06-06-00741 |  | Bromohexane | 1 |  | kg |
| 06-06-00742 |  | 1-Bromononane {n-Nonyl bromide} | 1 |  | kg |
| 06-06-00743 |  | 1-Bromooctane {n-Octyl bromide} | 1 |  | kg |
| 06-06-00744 |  | Bromopentanedecane | 2 |  | liter |
| 06-06-00745 |  | Bromopentane | 2 |  | liter |
| 06-06-00746 |  | Bromotetradecane | 2 |  | liter |
| 06-06-00747 |  | Bromotridecane | 2 |  | liter |
| 06-06-00748 |  | Bromoandecane | 2 |  | liter |
| 06-06-00749 |  | Benzyle 18-crown –6-ether | 5 |  | liter |
| 06-06-00750 |  | p-Butohexenyle | 3 |  | liter |
| 06-06-00751 |  | 1-bromo heptane | 3 |  | liter |
| 06-06-00752 |  | 4-chloro 2- methyl aniline (2-amino 2- chloro toluene) | 1 |  | kg |
| 06-06-00753 |  | 12-crown-4-ether | 5 |  | liter |
| 06-06-00754 |  | 15-crown-4-ether | 5 |  | liter |
| 06-06-00755 |  | 18-crown-6-ether | 5 |  | liter |
| 06-06-00756 |  | Caesium Iodide | 1 |  | kg |
| 06-06-00757 |  | Carbon disulfide for IR | 2.5 |  | liter |
| 06-06-00758 |  | Carbon disulfide (puriss) | 5 |  | liter |
| 06-06-00759 |  | 1-chloro octa decan | 2.5 |  | liter |
| 06-06-00760 |  | 4-chloro-2-methyl aniline | 2 |  | kg |
| 06-06-00761 |  | 21-crown-7-ether | 5 |  | liter |
| 06-06-00762 |  | 2,4-Dihydroxybenzaldehyde | 3 |  | kg |
| 06-06-00763 |  | 2,5-Dihydroxybenzaldehyde | 3 |  | kg |
| 06-06-00764 |  | 3,4-Dihydroxybenzaldehyde | 3 |  | kg |
| 06-06-00765 |  | 3,4-Dimethoxybenzaldehyde | 2 |  | kg |
| 06-06-00766 |  | 2,3-Dimethoxybenzaldehyde | 2 |  | kg |
| 06-06-00767 |  | 2,4-Dimethoxybenzaldehyde | 2 |  | kg |
| 06-06-00768 |  | 2,5-Dimethoxybenzaldehyde | 2 |  | kg |
| 06-06-00769 |  | 3,5-Dimethoxybenzaldehyde | 2 |  | kg |
| 06-06-00770 |  | Dibenzyl 18-crown -6- ether | 5 |  | liter |
| 06-06-00771 |  | Dimethyl formamide | 25 |  | liter |
| 06-06-00772 |  | Dutreo chloroform | 5 |  | liter |
| 06-06-00773 |  | 3-hydroxy benzaldehyde | 5 |  | kg |
| 06-06-00774 |  | 4-hydroxy allyl benzene | 3 |  | liter |
| 06-06-00775 |  | Glycogen | 100 |  | gr |
| 06-06-00776 |  | Karl Fisher reagent | 3 |  | liter |
| 06-06-00777 |  | Luminol | 200 |  | gr |
| 06-06-00778 |  | Nitric acid conc. | 70 |  | liter |
| 06-06-00779 |  | Nonanole | 2 |  | kg |
| 06-06-00780 |  | Polyvinylpyrrolidone K15 | 2 |  | kg |
| 06-06-00781 |  | Poly vinyl pyrrolidine K25 | 2 |  | kg |
| 06-06-00782 |  | Polyvinylpyrrolidone K30 | 1 |  | kg |
| 06-06-00783 |  | Polyvinylpyrrolidone K60 | 0.5 |  | kg |
| 06-06-00784 |  | Polyvinylpyrrolidone K90 | 0.5 |  | kg |
| 06-06-00785 |  | Poly Propylene Glycol P400 | 2 |  | kg |
| 06-06-00786 |  | Poly Propylene Glycol P425 | 2 |  | kg |
| 06-06-00787 |  | Poly Propylene Glycol P1200 | 2 |  | kg |
| 06-06-00788 |  | Poly Propylene Glycol P2000 | 0.5 |  | kg |
| 06-06-00789 |  | PAN | 50 |  | gr |
| 06-06-00790 |  | PAR | 50 |  | gr |
| 06-06-00791 |  | Poly vinyl chloride | 2 |  | kg |
| 06-06-00792 |  | Polyvinylalcohol 1500 | 3 |  | kg |
| 06-06-00793 |  | Polyvinylalcohol 2200 | 3 |  | kg |
| 06-06-00794 |  | Polyvinylalcohol 49000 | 3 |  | kg |
| 06-06-00795 |  | Polyvinylalcohol 72000 | 3 |  | kg |
| 06-06-00796 |  | Polyvinylalcohol 100000 | 3 |  | kg |
| 06-06-00797 |  | Polyethylenglycole 200 | 1 |  | kg |
| 06-06-00798 |  | Polyethylenglycole, Mesne Molecular Mass: 285-315 | 0.5 |  | kg |
| 06-06-00799 |  | Polyethylenglycole 400 | 1 |  | kg |
| 06-06-00800 |  | Polyethylenglycole 600 | 1 |  | kg |
| 06-06-00801 |  | Polyethylenglycole, Mesne Molecular Mass: 95-1050 | 0.5 |  | kg |
| 06-06-00802 |  | Polyethylenglycole, Mesne Molecular Mass: 1400-1600 | 0.5 |  | kg |
| 06-06-00803 |  | Polyethylenglycole, Mesne Molecular Mass: 1900-2200 | 0.5 |  | kg |
| 06-06-00804 |  | Polyethylenglycole 2000 | 1 |  | kg |
| 06-06-00805 |  | Polyethylenglycole 3000 | 1 |  | kg |
| 06-06-00806 |  | Polyethylenglycole 4000 | 1 |  | kg |
| 06-06-00807 |  | Polyethylenglycole 6000 | 1 |  | kg |
| 06-06-00808 |  | Polyethylenglycole 10000 | 1 |  | kg |
| 06-06-00809 |  | Polyethylenglycole 20000 | 1 |  | kg |
| 06-06-00810 |  | Polyethylenglycole 35000 | 1 |  | kg |
| 06-06-00811 |  | Potassium Iodide (KI) | 7.5 |  | kg |
| 06-06-00812 |  | Raney Nickel | 1 |  | kg |
| 06-06-00813 |  | Sulfer (powder) | 2 |  | kg |
| 06-06-00814 |  | Sodium hydroxide | 125 |  | kg |
| 06-06-00815 |  | Sodium Nitro Prusside | 3 |  | kg |
| 06-06-00816 |  | Sulfuric acid conc. | 150 |  | liter |
| 06-06-00817 |  | Silver nitrite | 15 |  | kg |
| 06-06-00818 |  | Styrene | 2 |  | liter |
| 06-06-00819 |  | Tetrahydrofurane | 7.5 |  | liter |
| 06-06-00820 |  | Terphthahalic acid | 2 |  | kg |
| 06-06-00821 |  | Terphthalaldehyde | 2 |  | kg |
| 06-06-00822 |  | Terepthaloyl chloride | 2 |  | kg |
| 06-06-00823 |  | Thionyl chloride, 99% (Assay) | 2 |  | kg |
| 06-06-00824 |  | Toluene | 15 |  | liter |
| 06-06-00825 |  | Vanadium-4-oxide sulfate | 5 |  | kg |
| 06-06-00826 |  | Potasium hydroxide (pellets) | 50 |  | kg |
| 06-06-00827 |  | Glacial Acetic acid | 50 |  | liter |
| 06-06-00828 |  | Formaldehyde | 100 |  | liter |
| 06-06-00829 |  | Xylole | 50 |  | liter |
| 06-06-00830 |  | Sulphonilamide 4 Naphthaline | 10 |  | kg |
| 06-06-00831 |  | Hydrochloric acid (conc) | 50 |  | liter |
| 06-06-00832 |  | Phosphoric acid (conc) | 50 |  | liter |
| 06-06-00833 |  | Oxalic Acid | 20 |  | kg |
| 06-06-00834 |  | Ferrous sulphate | 5 |  | kg |
| 06-06-00835 |  | Copper sulphate | 5 |  | kg |
| 06-06-00836 |  | Manganise sulphate | 5 |  | kg |
| 06-06-00837 |  | Magnesium Sulphate | 5 |  | kg |
| 06-06-00838 |  | Zinc sulphate | 5 |  | kg |
| 06-06-00839 |  | Sodium Chloride | 5 |  | kg |
| 06-06-00840 |  | Ammonium hydroxide | 50 |  | liter |
| 06-06-00841 |  | Manganise chloride | 5 |  | kg |
| 06-06-00842 |  | Glucose | 100 |  | kg |
| 06-06-00843 |  | Fructose | 100 |  | kg |
| 06-06-00844 |  | Potasium cyanide | 5 |  | kg |
| 06-06-00845 |  | Ferric chloride | 5 |  | kg |
| 06-06-00846 |  | Cobalt chloride | 5 |  | kg |
| 06-06-00847 |  | Potassium chloride | 5 |  | kg |
| 06-06-00848 |  | Sodium dihydrogen ortho phosphate | 5 |  | kg |
| 06-06-00849 |  | Cupric chloride | 5 |  | kg |
| 06-06-00850 |  | Potassium permanganate | 5 |  | kg |
| 06-06-00851 |  | Potassium dichromate | 5 |  | kg |
| 06-06-00852 |  | Ethyl alcohol | 100 |  | liter |
| 06-06-00853 |  | Methyl alcohol | 100 |  | liter |
| 06-06-00854 |  | Barium hydroxide | 5 |  | kg |
| 06-06-00855 |  | Agar | 100 |  | kg |
| 06-06-00856 |  | Gelatin | 100 |  | kg |
| 06-06-00857 |  | Activated char coal | 5 |  | kg |
| 06-06-00858 |  | Ether | 100 |  | liter |
| 06-06-00859 |  | Petrolium ether | 100 |  | liter |
| 06-06-00860 |  | Chloroform | 50 |  | liter |
| 06-06-00861 |  | Glycerol | 100 |  | kg |
| 06-06-00862 |  | Sodium Nitrate | 5 |  | kg |
| 06-06-00863 |  | Potassium Ferrocyanide | 5 |  | kg |
| 06-06-00864 |  | Glyceren | 50 |  | liter |
| 06-06-00865 |  | Nutrient Agar | 100 |  | kg |
| 06-06-00866 |  | Nutrient Broth | 100 |  | kg |
| 06-06-00867 |  | Macconky Agar | 100 |  | kg |
| 06-06-00868 |  | Mancconky Broth | 100 |  | kg |
| 06-06-00869 |  | Agar-Agar | 100 |  | kg |
| 06-06-00870 |  | Mannitol Salt Agar | 100 |  | kg |
| 06-06-00871 |  | S.S. Agar | 100 |  | kg |
| 06-06-00872 |  | Bismuth Salfal Agar | 100 |  | kg |
| 06-06-00873 |  | Brilliant Green Agar | 100 |  | kg |
| 06-06-00874 |  | Xylose Lysine Desoxy Cholate Agar | 100 |  | kg |
| 06-06-00875 |  | Staphyllo meolium | 100 |  | kg |
| 06-06-00876 |  | Scenit Broth | 100 |  | kg |
| 06-06-00877 |  | Tetca thional broth | 100 |  | kg |
| 06-06-00878 |  | Pepton | 100 |  | kg |
| 06-06-00879 |  | Trytone | 100 |  | kg |
| 06-06-00880 |  | Gelatine | 100 |  | kg |
| 06-06-00881 |  | Starch | 100 |  | kg |
| 06-06-00882 |  | Eosin-methyline blue Agar | 50 |  | kg |
| 06-06-00883 |  | AntiSalmonella | 50 |  | kg |
| 06-06-00884 |  | Carborendum | 50 |  | kg |
| 06-06-00885 |  | Medium (cuture Medium) Tc199 from sigma | 50 |  | kg |
| 06-06-00886 |  | Poke weed mitogen | 50 |  | kg |
| 06-06-00887 |  | Colchicine | 50 |  | kg |
| 06-06-00888 |  | Heparin | 50 |  | kg |
| 06-06-00889 |  | Calf serum bovine | 10 |  | liter |
| 06-06-00890 |  | D.P.X. Mountant | 10 |  | liter |
| 06-06-00891 |  | Thionine from sigma | 50 |  | kg |
| 06-06-00892 |  | BUDR from sigma | 50 |  | liter |
| 06-06-00893 |  | Seitz Filter | 100 |  | piece |
| 06-06-00894 |  | Canada balsam | 50 |  | liter |
| 06-06-00895 |  | Brillianocfysal blue | 1 |  | kg |
| 06-06-00896 |  | Ammonium Oxalate | 1 |  | kg |
| 06-06-00897 |  | Wright stain | 1 |  | kg |
| 06-06-00898 |  | Leishman stain | 1 |  | kg |
| 06-06-00899 |  | Sodium Sulphate | 1 |  | kg |
| 06-06-00900 |  | Sodium Carbonate | 1 |  | kg |
| 06-06-00901 |  | Iodine | 5 |  | kg |
| 06-06-00902 |  | Anti bodies for Identification of blood groups | 25 |  | set |
| 06-06-00903 |  | Heparine | 1 |  | kg |
| 06-06-00904 |  | Sodium citrate | 10 |  | kg |
| 06-06-00905 |  | Manitol | 20 |  | kg |
| 06-06-00906 |  | Nembutal (Sodium pento barbatal) Powder | 20 |  | kg |
| 06-06-00907 |  | Nembutal (Sodium Pento Barbatal) Solution | 10 |  | liter |
| 06-06-00908 |  | Rodents Patable Food | 50 |  | kg |
| 06-06-00909 |  | Atrial Natruretic peptide | 10 |  | kg |
| 06-06-00910 |  | Indole 3- acetic acid 98% | 0.5 |  | kg |
| 06-06-00911 |  | Indole 3-Butric acid IBA | 5 |  | kg |
| 06-06-00912 |  | A-Naphthalo acetic acid NAA | 5 |  | kg |
| 06-06-00913 |  | B- naphthalo acetic acid NAA | 5 |  | kg |
| 06-06-00914 |  | Naphthalo acetic acid NAA | 5 |  | kg |
| 06-06-00915 |  | Gibberellic acid GA3 | 5 |  | kg |
| 06-06-00916 |  | Kinetin (6-Furfuryl amino Purin) | 5 |  | kg |
| 06-06-00917 |  | 6-Benzyl amino purin | 5 |  | kg |
| 06-06-00918 |  | Abcisic acid ABA | 5 |  | kg |
| 06-06-00919 |  | Thiourea 6-CO-NH2 | 5 |  | kg |
| 06-06-00920 |  | Cycoccel CCC | 5 |  | kg |
| 06-06-00921 |  | Ethephon | 5 |  | kg |
| 06-06-00922 |  | Etherol | 5 |  | kg |
| 06-06-00923 |  | Vitamin Bco. (B6,B12) | 5 |  | kg |
| 06-06-00924 |  | Paraffin soft white | 10 |  | kg |
| 06-06-00925 |  | Paraffin soft yellow | 10 |  | kg |
| 06-06-00926 |  | Magenta (basic fuchsin) | 10 |  | kg |
| 06-06-00927 |  | Ammoniam Paramolybdte | 10 |  | kg |
| 06-06-00928 |  | Ascorbic acid (V.C.) vitamin | 5 |  | kg |
| 06-06-00929 |  | Potassium dihydrogen phosphate | 10 |  | kg |
| 06-06-00930 |  | Sulphamic acid | 10 |  | kg |
| 06-06-00931 |  | (NH4)6Mo7029 4 H2O | 5 |  | kg |
| 06-06-00932 |  | H4 (SiM012040) | 5 |  | kg |
| 06-06-00933 |  | Na2 SiF6 | 10 |  | kg |
| 06-06-00934 |  | EDTA (Ethylene diiamine tetra acetic acid | 10 |  | kg |
| 06-06-00935 |  | NanH2C10H1208N2.2H2O | 5 |  | kg |
| 06-06-00936 |  | Sodium hydrogen Malot | 5 |  | kg |
| 06-06-00937 |  | Sodium hydrogen tartarate | 5 |  | kg |
| 06-06-00938 |  | Sucarose | 50 |  | kg |
| 06-06-00939 |  | Sudan Black | 5 |  | kg |
| 06-06-00940 |  | Trichloro acetic acid | 50 |  | kg |
| 06-06-00941 |  | Thymol blue | 2 |  | kg |
| 06-06-00942 |  | Zinc Iodine | 2 |  | kg |
| 06-06-00943 |  | Sodium hydrogen carbonate | 2 |  | kg |
| 06-06-00944 |  | Sodium acetate | 5 |  | kg |
| 06-06-00945 |  | Sodium azide | 5 |  | kg |
| 06-06-00946 |  | MR-VP medium | 5 |  | kg |
| 06-06-00947 |  | Canada Balsam | 0.3 |  | kg |
| 06-06-00948 |  | Haematoxylin | 5 |  | kg |
| 06-06-00949 |  | Eosine | 5 |  | kg |
| 06-06-00950 |  | Safranine | 5 |  | kg |
| 06-06-00951 |  | Carmine | 5 |  | kg |
| 06-06-00952 |  | Methylene blue | 5 |  | kg |
| 06-06-00953 |  | Methylene blue organ stain | 5 |  | kg |
| 06-06-00954 |  | Light green | 5 |  | kg |
| 06-06-00955 |  | Malachite green | 5 |  | kg |
| 06-06-00956 |  | Anthocyanine | 5 |  | kg |
| 06-06-00957 |  | Gimsa stain | 5 |  | kg |
| 06-06-00958 |  | Leshman stain | 5 |  | kg |
| 06-06-00959 |  | Bismark brown stain | 5 |  | kg |
| 06-06-00960 |  | Fast green | 5 |  | kg |
| 06-06-00961 |  | Neutral red | 5 |  | kg |
| 06-06-00962 |  | Wrights stain | 5 |  | kg |
| 06-06-00963 |  | Bromocresol green | 5 |  | kg |
| 06-06-00964 |  | Phenol red | 5 |  | kg |
| 06-06-00965 |  | Naphthol | 5 |  | kg |
| 06-06-00966 |  | Phenolphthalien | 5 |  | kg |
| 06-06-00967 |  | Auramine 0 | 5 |  | kg |
| 06-06-00968 |  | Buffer tablets, pH 4.0, | 500 |  | Tabs |
| 06-06-00969 |  | Buffer tablets, pH 7.0, | 500 |  | Tabs |
| 06-06-00970 |  | Buffer tablets, pH 9.2, | 500 |  | Tabs |
| 06-06-00971 |  | Buffer tablets, pH 6.4, | 500 |  | Tabs |
| 06-06-00972 |  | Buffer tablets, pH 6.8, | 500 |  | Tabs |
| 06-06-00973 |  | Buffer tablets, pH 7.2, | 500 |  | Tabs |
| 06-06-00974 |  | Buffer tablets, pH 7.4, | 500 |  | Tabs |
| 06-06-00975 |  | Buffer tablets, pH 8.0, | 500 |  | Tabs |
| 06-06-00976 |  | Buffer tablets, pH 9.0, | 500 |  | Tabs |
| 06-06-00977 |  | Barium chloride | 5 |  | kg |
| 06-06-00978 |  | Cholestrol | 1 |  | kg |
| 06-06-00979 |  | Lithium Carbonate | 5 |  | kg |
| 06-06-00980 |  | Molybdic acid | 1 |  | kg |
| 06-06-00981 |  | Potassium sulphate | 5 |  | kg |
| 06-06-00982 |  | Cadmium sticks | 5 |  | kg |
| 06-06-00983 |  | Photocopier medium size, B/W, A4-A3, sorter & feeder + Spare parts & toners | 5 |  | set |
| 06-06-00984 |  | Copy printer with spares and consumables | 5 |  | set |
| 06-06-00985 |  | Copy Ink for Photocopier | 50 |  | piece |
| 06-06-00986 |  | Copy printer ink and stencil rolls | 50 |  | set |
| 06-06-00987 |  | PC type computer 17"screen, laser printer, UPS + accessories | 5 |  | set |
| 06-06-00988 |  | PC type computer multimedia + accessories | 20 |  | set |
| 06-06-00989 |  | Printer Laser Jet 1100 HP with consumables+spares | 4 |  | set |
| 06-06-00990 |  | DeskJet 1120C color printer with consumables+spares | 2 |  | set |
| 06-06-00991 |  | Video Projector - 500l high resolution video/computer projector with screen | 2 |  | set |
| 06-06-00992 |  | UPS 1220W | 10 |  | piece |
| 06-06-00993 |  | Photocopier medium size, B/W, A4-A3, sorter & feeder + Spare parts & toners | 1 |  | set |
| 06-06-00994 |  | Photocopier NRG OK, medium size, B/W, A4-A3, sorter & feeder + Spare parts & toners ( as per previous delivery) | 1 |  | set |
| 06-06-00995 |  | Conductivity meter (Portable, waterproof Range 0.0 to 199.9ms/cm) with set of probes | 2 |  | set |
| 06-06-00996 |  | Luxometer, digital (Reading up to 50,000 lux) | 2 |  | pc |
| 06-06-00997 |  | Goods inwards, quality control thermometer ( to check the inward temperature of goods before delivery). +20 packs of 10 spare paper roll. | 2 |  | set |
| 06-06-00998 |  | Photocopier medium size, B/W, A4-A3, sorter & feeder + Spare parts & toners ( as per previous delivery) | 2 |  | set |
| 06-06-00999 |  | PC type computer multimedia + accessories | 2 |  | set |
| 06-06-01000 |  | Printer Laser Jet 1100 HP with consumables & spares | 1 |  | set |
| 06-06-01001 |  | Printer Desk Jet color with consumables & spares | 1 |  | set |
| 06-06-01002 |  | PC type computer 17"screen, laser printer, UPS + accessories | 2 |  | set |
| 06-06-01003 |  | Photocopier medium size, B/W, A4-A3, sorter & feeder + Spare parts & toners | 1 |  | set |
| 06-06-01004 |  | Photocopier medium size, B/W, A4-A3, sorter & feeder + Spare parts & toners | 1 |  | set |
| 06-06-01005 |  | Air-Condition Window type - 2 tons | 2 |  | piece |
| 06-06-01006 |  | Heidellberg speed master (71cmx102cm) one colour Offset Press complete system with installation, spares, consumbales and accessories, | 1 |  | set |
| 06-06-01007 |  | Heidellberg speed master two colour Offset Press complete system with installation, spares, consumbales and accessories, | 1 |  | set |
| 06-06-01008 |  | Heidellberg GTO size (36cmx52cm) one colour Offset Press complete system with installation, spares, consumbales and accessories, | 1 |  | set |
| 06-06-01009 |  | Three- Knife Trimmer Max. size (38x30cm) | 1 |  | set |
| 06-06-01010 |  | Double Hans Muller Maschienen Fabric Zofingen | 1 |  | set |
| 06-06-01011 |  | Plate Washing Machine Size (71x201cm) | 1 |  | set |
| 06-06-01012 |  | PC type computer 17"screen, laser printer, UPS + accessories | 2 |  | set |
| 06-06-01013 |  | Theodolite - Simple modern model | 1 |  | set |
| 06-06-01014 |  | Levels - 1 small, 1 large with 3 meters wooden ruler | 2 |  | set |
| 06-06-01015 |  | Photocopier: medium size, B/W, A4-A3, sorter & feeder + Spare parts & toners | 1 |  | set |
| 06-06-01016 |  | Map Copier - for copying Maps ( 2 meter length) - Medium size approx 80x120cm with drawing instruments | 1 |  | set |
| 06-06-01017 |  | Engineering Drawing Board, Medium size approx 80x120cm with drawing instruments | 1 |  | set |
| 06-06-01018 |  | PC type computer 17"screen, laser printer, UPS + accessories | 1 |  | set |
| 06-06-01019 |  | System to test and mesure concrete - Dimension: 6" cubes | 1 |  | set |
| 06-06-01020 |  | Electric Generator, 630Kva, 3 phases, outdoor, static, autoswitching. | 1 |  | set |
| 06-06-01021 |  | Electric Generator, 100Kva, 220V + 3 phases, outdoor, static, autoswitching. | 1 |  | set |
| 06-06-01022 |  | Multi-frequncy-LRC Meter | 1 |  | piece |
| 06-06-01023 |  | RF- impedance Analyser | 1 |  | piece |
| 06-06-01024 |  | Fast , high power pulse genarator | 1 |  | piece |
| 06-06-01025 |  | PA meter- DC voltage source | 1 |  | piece |
| 06-06-01026 |  | pulse generator | 1 |  | piece |
| 06-06-01027 |  | 2GHz Digitizing Oscilloscope | 1 |  | set |
| 06-06-01028 |  | 100 MHz Transfer storage oscilloscope | 1 |  | set |
| 06-06-01029 |  | CAPACITANCE-METER | 1 |  | piece |
| 06-06-01030 |  | Oscilloscope 100 MHz 5-ch, 12 trace | 1 |  | set |
| 06-06-01031 |  | X-ray diffraction apparatus for undergraduate experiment complete with manual, instructions spares and consumables | 2 |  | set |
| 06-06-01032 |  | Digital AVO meter | 5 |  | piece |
| 06-06-01033 |  | Electrometer -( Keithley 602 ) | 1 |  | piece |
| 06-06-01034 |  | Electrometer- (Keithley 600A) | 1 |  | piece |
| 06-06-01035 |  | Signal generators microwave frequency precision high stability AM / FM 0.5 to 1024 MHZ, 3 models to cover range. | 1 |  | set |
| 06-06-01036 |  | UV- VIS spectrophotometer complete with manual, instructions spares and consumables | 2 |  | set |
| 06-06-01037 |  | Power supplies: general purpose:300-11000w output, set = two models to cover range . | 3 |  | set |
| 06-06-01038 |  | Power supplies: modular: 200-600w switching regulated, set = 4 units to cover range. | 2 |  | set |
| 06-06-01039 |  | Component test capacitance brige and high capacitance meters, two models covering ranges = set. | 3 |  | set |
| 06-06-01040 |  | Platinum Resistance thermometer | 2 |  | piece |
| 06-06-01041 |  | Silicon surface Barrier Detector preamplifier | 5 |  | piece |
| 06-06-01042 |  | Si(Li) [silicon-Lithium] Detector vertical type model(sl-30180)with Be-window(Area=30mm2) | 1 |  | set |
| 06-06-01043 |  | preamplifier | 5 |  | piece |
| 06-06-01044 |  | Set of Ring Radio isotope sources = (Fe-55) (cd-109) (pu-238) for x-ray Fluorescence experiments | 5 |  | set |
| 06-06-01045 |  | Nuclear counter | 5 |  | piece |
| 06-06-01046 |  | Experiment set - Balmer series of hydrogen compact set of Balmer series | 2 |  | set |
| 06-06-01047 |  | Solid state laser (N.D./ Laser) complete | 2 |  | set |
| 06-06-01048 |  | Gas laser (CO2) ~50W complete setup | 3 |  | set |
| 06-06-01049 |  | Argon Ion laser complete setup | 3 |  | set |
| 06-06-01050 |  | The Fabry-Perot (etalon) | 3 |  | pcc |
| 06-06-01051 |  | Comptons scattering complete student experimental setup with spares accessories and consumables | 3 |  | set |
| 06-06-01052 |  | Hall effect aparatus for semmiconductor and metal . | 2 |  | set |
| 06-06-01053 |  | Semiconductor Thermogenarator apparatus [complet set ] | 2 |  | set |
| 06-06-01054 |  | Tesla meter complete set for measuring low magnatic field | 2 |  | set |
| 06-06-01055 |  | Low temperature Cryostat [for optical and Electrical measurments for thin films ] | 2 |  | set |
| 06-06-01056 |  | Complete set of Electronic Experments for Science and Engineering students | 5 |  | set |
| 06-06-01057 |  | Monochromator [0-100000] Angstroms | 1 |  | set |
| 06-06-01058 |  | Hot plate 1000W | 10 |  | piece |
| 06-06-01059 |  | Hot plate .1500 W | 10 |  | piece |
| 06-06-01060 |  | Hot plate 2000 W | 10 |  | piece |
| 06-06-01061 |  | Hot plate 2500 W | 10 |  | piece |
| 06-06-01062 |  | Electrical oven 220 v , 1000 W 0-400 degree centigrade | 1 |  | piece |
| 06-06-01063 |  | Rotary vacuum pump | 1 |  | set |
| 06-06-01064 |  | Vacuum chamber (two ends open) | 1 |  | piece |
| 06-06-01065 |  | Complete set of O-rings | 1 |  | set |
| 06-06-01066 |  | Temperature control unit | 1 |  | piece |
| 06-06-01067 |  | Crystal monitor with thickness measurement system | 1 |  | set |
| 06-06-01068 |  | Heating Coil | 1 |  | piece |
| 06-06-01069 |  | Substrate Holder | 1 |  | piece |
| 06-06-01070 |  | Stereoscope Table with complete accessories | 1 |  | set |
| 06-06-01071 |  | Portable Proton Magnetometer, with complete accessories | 1 |  | set |
| 06-06-01072 |  | Furnace internal dimensions 70x70x70cms for very high temperature ceramic materials, >1700 C, | 1 |  | set |
| 06-06-01073 |  | pH test meter for Water with buffers and electrode | 1 |  | set |
| 06-06-01074 |  | Compressive Strength Instrument, Small size, New model | 1 |  | set |
| 06-06-01075 |  | Set of nylon meshes covering the range from 20micron size up to 16mm for soil sieving. 10 metres of each sized mesh. | 10 |  | meter |
| 06-06-01076 |  | HCl (Concentrated acid) - 1 l bottles - reagent grade | 10 |  | liter |
| 06-06-01077 |  | HF (Concentrated acid )- 1 l bottles - reagent grade | 10 |  | liter |
| 06-06-01078 |  | Fullpage A3 color Scanner - for attachment to PC | 5 |  | set |
| 06-06-01079 |  | UPS (APS) 1200 Watt | 7 |  | pc |
| 06-06-01080 |  | Photocopy Machine 5000 pages/month B/W without sorter, with spares and consumables | 2 |  | set |
| 06-06-01081 |  | HP laserJet toners - for Printer HP laser Jet 6L | 10 |  | unit |
| 06-06-01082 |  | Printer Epson LQ2170 with spare ribons | 5 |  | set |
| 06-06-01083 |  | CD-Drive (Read & Write) for PC w/ spares & accessories | 5 |  | set |
| 06-06-01084 |  | Atomic absorption sepctrometer, Computerized, with all accessories, standards and spare parts such as printer, gas, bottle and etc. | 2 |  | set |
| 06-06-01085 |  | Coulter Counter for Hematological Estimation, Computerized | 1 |  | set |
| 06-06-01086 |  | Thernological graph - use for physiology of frog's skeletal muscles | 3 |  | set |
| 06-06-01087 |  | Kymograph - student model | 7 |  | set |
| 06-06-01088 |  | Flamephotometer, computerized | 2 |  | set |
| 06-06-01089 |  | Spectrophotometer, computerized | 4 |  | set |
| 06-06-01090 |  | Complete Soxhlet exctractor system - for complete lipid extraction. 70 and 100ml and 1 to 2 litre distillation flask. | 8 |  | set |
| 06-06-01091 |  | Organ bath kymograph | 2 |  | set |
| 06-06-01092 |  | Manometer computerized - for blood pressure measurement in both humans and animals | 3 |  | set |
| 06-06-01093 |  | Electrophoresis - set with both gel and schliren type - complete systems | 3 |  | Set |
| 06-06-01094 |  | Chromato graph (Gas) - basic system for student use - simple organic compound separation | 2 |  | Set |
| 06-06-01095 |  | Chromato graph (paper) for DNA and RNA separation with developers. | 2 |  | Set |
| 06-06-01096 |  | Chromatograph (column) | 2 |  | Set |
| 06-06-01097 |  | Infusion pump for animal use | 2 |  | Set |
| 06-06-01098 |  | Visco meter | 2 |  | set |
| 06-06-01099 |  | Oxygen meter for water and blood estimation of O2 in both water and blood. Ex-vitreo | 2 |  | set |
| 06-06-01100 |  | Tension meter - measuring soil moisture levels. | 6 |  | piece |
| 06-06-01101 |  | Light microscope Binocular, light source. Four magnification x10 x20 x40 and x100. | 10 |  | set |
| 06-06-01102 |  | Academic Binocular microscope with light source, four eyepieces - magnification x10 x20 x40 and x100. | 3 |  | set |
| 06-06-01103 |  | Dissecting microscope, Binocular, light source. Four magnification x10 x20 x40 and x100. | 10 |  | set |
| 06-06-01104 |  | Photographic microscope, with camera 25mm, zoom, Binocular, light source. Four magnification x10 x20 x40 and x100. | 2 |  | set |
| 06-06-01105 |  | Electronic balance x 0.0001g - 200 gram max | 5 |  | piece |
| 06-06-01106 |  | Cooled centrifuge - for 8 tubes each with volume of 20ml | 2 |  | set |
| 06-06-01107 |  | Heavy-duty microtome, Automatic section thickness adjument REICHRT-JUNG | 1 |  | piece |
| 06-06-01108 |  | Tweezer (very fine pointed for ceps) No.7 viger(Titanium) | 1 |  | piece |
| 06-06-01109 |  | Diamond knife for electron microscope sections, edges between 2.5-2.8mm | 1 |  | piece |
| 06-06-01110 |  | NMR Nuclear Magnetic Resonance spectrometer, 90 MHz with all spare parts and accessories, non-superconducting magnet | 1 |  | set |
| 06-06-01111 |  | Elemental analysis units (C-H analyser) with spare parts | 1 |  | set |
| 06-06-01112 |  | I.R. Spectrometer (Infra red spectrometer) with spare sources & detectors | 1 |  | set |
| 06-06-01113 |  | Ultrasonic apparatus | 1 |  | set |
| 06-06-01114 |  | Metler balance digital (very sensitive) - max wt 160g, x 0.0001 g | 3 |  | set |
| 06-06-01115 |  | Atomic Absorption spectrophotometer (AAS), computerize with recorder for each elements | 1 |  | set |
| 06-06-01116 |  | Hollow cathode Lamp (H.C.L) for all elements | 1 |  | piece |
| 06-06-01117 |  | Peristaltic Pump Multichannel | 1 |  | set |
| 06-06-01118 |  | Flow through cell for flow injection analysis (Capacity 10,30 and 60 ML) from Hellmaltd Co.) | 1 |  | set |
| 06-06-01119 |  | Manifold Tubing (PTFE), 50m for 0.5mm (I.d) | 1 |  | meter |
| 06-06-01120 |  | Manifold Tubing (PTFE), 50 meter for 0.8 mm I.d. | 1 |  | meter |
| 06-06-01121 |  | 6-Way injection valve LKB (six-way injection valve), Sweden - valve for flow injection | 4 |  | piece |
| 06-06-01122 |  | Chemilumeter computer controlled, with spare photomultiplier tube | 2 |  | set |
| 06-06-01123 |  | Flame photometer | 4 |  | set |
| 06-06-01124 |  | Polarography (Differential pulse polorography or multimode), complete system with full spares accessories and consumables | 1 |  | set |
| 06-06-01125 |  | PC type computer 17"screen, laser printer, UPS + accessories | 5 |  | set |
| 06-06-01126 |  | Spectrophotometer Computerize (U.V and Vis) from 200-800nm, high resolution with grating monochromator, with x-t-recorder or if posssible computer controlled | 4 |  | set |
| 06-06-01127 |  | High performance liquid Chromatography (HPLC),with different columns, UV Delector; Columns: HC-ODSISil-X; Octadecyl - Sil-X-II; 5 micron Silica gel; Amino/cyano Sil-X-I 1mx2.6m | 1 |  | set |
| 06-06-01128 |  | High performance Thin-channel Ultrafiltration system TCF 10 with all accessories spare parts, With 3pKg of um 10 membrane, membrane diameter (90mm). | 1 |  | set |
| 06-06-01129 |  | Inducative coupled plasma (ICP) | 1 |  | set |
| 06-06-01130 |  | Power Supply 0 - 0.16 KV, Continuously Variable, | 4 |  | piece |
| 06-06-01131 |  | Quantum photometer 9511, | 4 |  | set |
| 06-06-01132 |  | Freeze dryer with all accessories | 1 |  | set |
| 06-06-01133 |  | Specific ion meter w/ ion specific electr. NO3,F,Cl,NH4,Br,H | 12 |  | set |
| 06-06-01134 |  | Calomel half cell | 3 |  | piece |
| 06-06-01135 |  | Pt-electrode, foil on wire in glass, min. 0.5 cm2 | 3 |  | piece |
| 06-06-01136 |  | Multimeter, standard multirange, hand held | 1 |  | pv |
| 06-06-01137 |  | Polarimeter | 1 |  | set |
| 06-06-01138 |  | Voltmeter 1-1400 mV DC | 1 |  | piece |
| 06-06-01139 |  | Conductometer - range to 10-8 ohms, Pt electrodes | 1 |  | set |
| 06-06-01140 |  | Ostwaltometer | 1 |  | set |
| 06-06-01141 |  | Beckman thermometer | 2 |  | piece |
| 06-06-01142 |  | Density bottle 25 ml | 5 |  | piece |
| 06-06-01143 |  | Test tube pyrex for centrifuge 15ml | 100 |  | piece |
| 06-06-01144 |  | Digital Thermocouple - Temp range up to 1000 oC. | 2 |  | piece |
| 06-06-01145 |  | Nitrobenzene | 5 |  | liter |
| 06-06-01146 |  | Tannic acid | 1 |  | Kg |
| 06-06-01147 |  | Luminol(3-amino phthalydrazine) | 20 |  | gm |
| 06-06-01148 |  | Vinyl imidazole | 1 |  | kg |
| 06-06-01149 |  | Phenyl thio isocyanate | 1 |  | Kg |
| 06-06-01150 |  | Vinyl ether, reagent grade | 1 |  | ## Kg |
| 06-06-01151 |  | styrene, purum, | 1 |  | litre |
| 06-06-01152 |  | B-Sisterol, analar | 5 |  | gm |
| 06-06-01153 |  | Video Card Blaster in/out connected internally to computer for analysis | 2 |  | piece |
| 06-06-01154 |  | PC type computer 17"screen, laser printer, UPS + accessories | 4 |  | set |
| 06-06-01155 |  | Scanner A4/ A3 | 1 |  | piece |
| 06-06-01156 |  | Video Camera | 2 |  | set |
| 06-06-01157 |  | Photocopier machine - A3 A4 - Medium size A4 and A3 size without sorter | 2 |  | set |
| 06-06-01158 |  | Full set Gymnastic Apparatus&acc. (1-Ring frame) /University | 1 |  | set |
| 06-06-01159 |  | 2-Landing mats | 1 |  | piece |
| 06-06-01160 |  | 3-Parallel bars | 1 |  | piece |
| 06-06-01161 |  | 4-Vaulting horses | 1 |  | piece |
| 06-06-01162 |  | 5-Pommel horses | 1 |  | piece |
| 06-06-01163 |  | 6-Balance beam | 1 |  | piece |
| 06-06-01164 |  | Basic Gymnastic Instr. (1-Assymetric bars) /women 17y & older | 1 |  | set |
| 06-06-01165 |  | 2-Parallel bars | 1 |  | piece |
| 06-06-01166 |  | 3-Spring board | 1 |  | piece |
| 06-06-01167 |  | 4-Swing floor | 1 |  | piece |
| 06-06-01168 |  | 5 Power training instruments | 1 |  | piece |
| 06-06-01169 |  | 6 Set ofGymnastic accessories including 1 pc.each: Somersault belt, Gym straps, magnesium stand etc. | 1 |  | set |
| 06-06-01170 |  | Fixed running machine | 1 |  | set |
| 06-06-01171 |  | Electro Myogram | 2 |  | set |
| 06-06-01172 |  | Microscope, biocular, inbuilt light source with magnification up to x40 | 2 |  | set |
| 06-06-01173 |  | Microscope, biocular, with mirror with magnification up to x40 | 3 |  | piece |
| 06-06-01174 |  | ECG (Electrocardiograph) - model for student demonstrations | 1 |  | piece |
| 06-06-01175 |  | Mercury manometer for blood pressure measurement with cuff? Full working system | 1 |  | set |
| 06-06-01176 |  | Slide projector with accessories 5x5cm 250W halogen lamp projector, zoomlens 70-120mm, manual control, pointer, screen 2,2x2,2m, carry case, | 2 |  | set |
| 06-06-01177 |  | Tartan rug 50mx50m | 2500 |  | m2 |
| 06-06-01178 |  | Sauna room 3x4 m - complete self contained functional unit with spares and accessories | 1 |  | set |
| 06-06-01179 |  | PC type computer 17"screen, laser printer, UPS + accessories | 1 |  | set |
| 06-06-01180 |  | Swich Board with 100 lines | 1 |  | set |
| 06-06-01181 |  | Photocopier medium size, B/W, A4-A3, sorter & feeder + Spare parts & toners | 1 |  | set |
| 06-06-01182 |  | Generator 125 KV | 1 |  | set |
| 06-06-01183 |  | Duplicator with spares and accessories | 1 |  | set |
| 06-06-01184 |  | Water Cooler | 3 |  | piece |
| 06-06-01185 |  | Refrigerators | 2 |  | piece |
| 06-06-01186 |  | File Cabinet | 20 |  | piece |
| 06-06-01187 |  | Stereo amplifier and speakers | 5 |  | set |
| 06-06-01188 |  | Spectrum Analyzer ( 200 V/50 Hz, Frequency: 9 kHz-22Ghz, Dynamic range: 110 dB, Accessories: Two 120-cm BNC/BNC cables, one 2-m plotter connection cable and instruction manual). | 1 |  | pc |
| 06-06-01189 |  | Universal Board Electronic Lab - 5 tie-points + Power supply | 5 |  | set |
| 06-06-01190 |  | Radio Trainer (220 V/ 50 Hz,Power requirement: 600 VA,Connection leads and accessories Power supply ( line input current 2.5 A ac)/ | 1 |  | set |
| 06-06-01191 |  | Dual function generator for radio trainer (waveforms: sine, triangle, square, power, Frequency: 10Hz-100kHz), | 1 |  | set |
| 06-06-01192 |  | Power meter for radio trainer ( measurement bandwidth , 20 Hz-12MHz, voltage ranges: 10mV-100V, accuracy: <5%), | 1 |  | set |
| 06-06-01193 |  | Frequency counter for radio trainer (10 Hz - 200 MHz, display: 8 digits ),True RMS voltmeter | 1 |  | set |
| 06-06-01194 |  | Spectrum analyzer for radio trainer ( input frequency ranges: 1 ´ඬneratore ( RF generator frequency ranges: 100 kHz -32 MHz, noise generator frequency ranges: DC – 11.2 MHz).´೐Hz).´ೄ) | 1 |  | set |
| 06-06-01195 |  | Noise generator for radio trainer ( RF generator frequency ranges: 100 k | 1 |  | set |
| 06-06-01196 |  | Compressive Testing Machine 200 ton (Load capacity 2000 kN, Accuracy: 1% over the upper 90% of range, Clearances vertical daylight 340mm, approx., horizontal 32 mm approx, Max. Ram travel : 50 mm approx, Platen dimensions 210x210 mm approx, Distance pieces: No.1 diam., 220 x 44 mm approx, High range guage 300 mm diam., 2000 kN in 5 kN division, Low range gauge 300 mm diam., 500 kN in 1 kN division, Automatic protection valve, Power 1kW approx, 220 V, 50 Hz, 1Ph, Complete with operation, spare parts list and maintenance manual). | 2 |  | set |
| 06-06-01197 |  | Compacting Factor Apparatus (Comprising of two conical hoppers each with a hinged trap, A cylindrical mould, Rigid steel stand, All parts are protected against corrosion,Complete with all accessories. | 1 |  | set |
| 06-06-01198 |  | Flow Table (Conical mould, 200 mm high, Inside dia. 130 mm at the top-200 mm at the base, Flow table 700x 700 x 2 mm thick flat steel surface, Complete with all accessories, Operating, servicing, mechanical and electrical spare parts for (3- 5) years operation. | 1 |  | set |
| 06-06-01199 |  | Photo LUX Projector (220 Volt, 50 Hz, 1000 Watt Halogen lamp, Power is strengthened by a reflecting system, Working aperture 19 x 31 cm, Fan cooling, Two switches, one for main and fan, and one for lamp, Projection: 2.9 x 2.4 m at 5 meters). | 1 |  | set |
| 06-06-01200 |  | Slide Developing Equipment (For film formats from 35 mm to 4 x 5” sheet film), Chemicals and water separate channels, Run up to 5 rolls of 35 mm, and up to 12 sheets of (4x 5)” film, 220 volt, 50 Hz, l P, Automatic controlling, All accessories and manuals are required). | 1 |  | set |
| 06-06-01201 |  | Color Slide Developing Material (Chemical solution, E- 6 or equivalent, ). | 10 |  | set |
| 06-06-01202 |  | Color Films (Negative) Developing Material (Chemical solution, C.41 or equivalent, ). | 10 |  | set |
| 06-06-01203 |  | Inking Paper for Architecture Engineering Students ( in rolls 1 meter width x 50 meter long). | 50 |  | roll |
| 06-06-01204 |  | Color Cartoons and Paper A 0# for Architecture Engineering Students | 500 |  | roll |
| 06-06-01205 |  | Set Inking Pens Rotring ISO Graph (* 8-pen set multi-thickness from 0.1-0.2 – 0.3 – 0.4 – 0.5 – 0.6 0.8 – 1.2). | 100 |  | set |
| 06-06-01206 |  | Mechanical Pencil for Engineering Drawing (Set of 3 pieces, Size : 0.5 – 0.7 – 0.9) | 50 |  | set |
| 06-06-01207 |  | Universal Testing Machine (To be used for: Tensile/Compression//Bending/Folding/Shear tests, With control cabinet, Hydraulic control system, Test load up to 100 KN, in range 1/1,1/2,1/5,1/10,1/20,1/50, with consumables, spares and accessories.technicing information | 1 |  | set |
| 06-06-01208 |  | Complete with tension compression load cell, Proving ring in compression 100KN capacity with calibration certificate, Extensometer calibrator 25mm travel,1um accuracy, Electric furance to be fastened around the specimen, Maximum temperature 1000 C0 . Instruction,maintenance ,parts list and test certificates). | 1 |  | set |
| 06-06-01209 |  | Video films/ physical & geography, relief, climate, population | 1 |  | set |
| 06-06-01210 |  | Magnification & reduction apparatus for the re-sizing of maps including computer / plotter, map related softwares and accessories | 2 |  | set |
| 06-06-01211 |  | Photocopy machine 5000 page/month, No sorter, 200 copies, with feeder & spares & consumables, A4 and A3 sizes | 8 |  | piece |
| 06-06-01212 |  | Black / green- boards | 30 |  | piece |
| 06-06-01213 |  | Chart/Map- drawing implements, set of pens, triangles, etc. | 60 |  | set |
| 06-06-01214 |  | Portable pH meter for measuring the pH of liquids | 1 |  | piece |
| 06-06-01215 |  | Portable colorimeter | 1 |  | set |
| 06-06-01216 |  | Electrical Conductivity meter for measuring the salinity of solutions | 1 |  | piece |
| 06-06-01217 |  | Atomic Absorption spectrometer for meassuring & recording the elements in solutions - basic simple system with standards for elements - with fiull accessories spares and consumables | 5 |  | set |
| 06-06-01218 |  | Air- conditioners split unit 2400 bthu, windows type | 15 |  | piece |
| 06-06-01219 |  | Students chair desks | 1000 |  | piece |
| 06-06-01220 |  | Teachers desks | 40 |  | piece |
| 06-06-01221 |  | Measurement apparatus, Haugh unit scale | 3 |  | set |
| 06-06-01222 |  | Egg shell Measurement apparatus, shell thickness Micrometer (Digital) | 3 |  | set |
| 06-06-01223 |  | Egg shell strength measurement apparatus, shell strength | 3 |  | set |
| 06-06-01224 |  | Yalk Color Fan, Rouch Yolk color fan | 3 |  | set |
| 06-06-01225 |  | Artificial Insemination apparatus, Special type for poultry | 3 |  | set |
| 06-06-01226 |  | Air speed meter, Digital type for poultry | 3 |  | set |
| 06-06-01227 |  | Thermometer for poultry houses,digital type | 3 |  | set |
| 06-06-01228 |  | Hydrometer for poultry houses,digital type | 3 |  | piece |
| 06-06-01229 |  | Feed analysis apparatus (Macro and Micro-types).Kjedall Memo), Protein, fat, fiber(sexlet), 2 from each type | 3 |  | set |
| 06-06-01230 |  | Bomb Calorimeter or any update apparatus, Energy Contents of feed ingredients | 3 |  | set |
| 06-06-01231 |  | Wool technology sets - instrument for WIRA fiber length and wool fiber strength | 3 |  | set |
| 06-06-01232 |  | Microscope binocular vertically adjustable, mirror in the from with substage eliminator. Plus internal light source 4x, 10x, 40x and 100x (oil emersion), | 3 |  | set |
| 06-06-01233 |  | Fat Separator for milk, small scale - about 5 liters milk, electric | 1 |  | piece |
| 06-06-01234 |  | Fat Separator for milk, Large scale about 20 liters of milk, electric | 1 |  | piece |
| 06-06-01235 |  | Hot stage for studies used for semen quality studies,Semen (sperm)motion study type | 2 |  | set |
| 06-06-01236 |  | Labels for poultry for attachment to wing (different sizes) | 10000 |  | piece |
| 06-06-01237 |  | Labels for Large animals for attachment to ear (different sizes) | 5 |  | set |
| 06-06-01238 |  | Ear punch forr labelling large farm animals | 4 |  | piece |
| 06-06-01239 |  | Balance (120gx 0.1mg), | 2 |  | set |
| 06-06-01240 |  | 5 kg double dial hanging scale | 2 |  | piece |
| 06-06-01241 |  | Hanging scale 15 kg, 20 g sensitivity. | 1 |  | piece |
| 06-06-01242 |  | Meat technology apparatus set, for Laboratory | 2 |  | set |
| 06-06-01243 |  | Photometer current Model for general use | 1 |  | set |
| 06-06-01244 |  | PC type computer 17"screen, laser printer, UPS + accessories | 2 |  | set |
| 06-06-01245 |  | Fiber analysis apparatus, (crude Fiber) | 6 |  | set |
| 06-06-01246 |  | Soxlet appartus,crude Fat | 6 & 100 thimble |  | set |
| 06-06-01247 |  | Kjeldahl method for protein determination (Micro / macro kjedahl) | 12 |  | set |
| 06-06-01248 |  | Vansost method for Fiber analysis, ADF and NDF determination | 6 |  | set |
| 06-06-01249 |  | Atomic absorption spectrophotometer with single beam for mineral determination, spares accessories and consumables | 2 |  | set |
| 06-06-01250 |  | PC type computer multimedia, DVD, modem + accessories | 10 |  | set |
| 06-06-01251 |  | Air condition Split Unit2.5 Ton (Hot and cold) (General Electric or Mitsubishi) | 12 |  | unit |
| 06-06-01252 |  | Magic Board (ref: WBACC) & accessories | 10 |  | SET |
| 06-06-01253 |  | PC type computer multimedia + accessories | 45 |  | set |
| 06-06-01254 |  | Computer Desk for 1 PC | 75 |  | piece |
| 06-06-01255 |  | Rotating Chairs for use with computers tables | 75 |  | piece |
| 06-06-01256 |  | Storage boxes for 3.5" floppy disks | 10 |  | piece |
| 06-06-01257 |  | 500l high res. video/computer projector w/ screen & acc. | 3 |  | set |
| 06-06-01258 |  | Safe box - large size - for final exam questions storage (approx. 2HX1L.5WX1L) m | 2 |  | piece |
| 06-06-01259 |  | Cordless internal exhange (5 external lines + 70 internal lines) | 1 |  | unit |
| 06-06-01260 |  | Computer Dust Cover | 75 |  | set |
| 06-06-01261 |  | HP-LaserJet Toner cartridge C 3906A | 12 |  | piece |
| 06-06-01262 |  | Epson LQ 2170 printer + 5 spare ribbons each | 4 |  | set |
| 06-06-01263 |  | Color Photocopier 15000 copies per month with sorter and sheet feeder, consumables and spares | 6 |  | set |
| 06-06-01264 |  | HP LaserJet color printer + 2 Toner Cartridge each | 10 |  | piece |
| 06-06-01265 |  | Blank Compact disk (CD) Sony (pack of 10) | 20 |  | pack |
| 06-06-01266 |  | Diskettes 3.5" TDK in packs of 10 | 24 |  | pack |
| 06-06-01267 |  | UPS 1200 VA | 40 |  | piece |
| 06-06-01268 |  | Electrical vacuum cleaner with spares and consumables | 3 |  | set |
| 06-06-01269 |  | Oil filled heater, electric 12 segments,220V | 20 |  | piece |
| 06-06-01270 |  | Photocopier 15000 copies per month with sorter and sheet feeder, consumables and spares | 2 |  | set |
| 06-06-01271 |  | Auger for sampling (Bucket Auger, the Diameter of the Auger bits 4" (10cm)) | 10 |  | set |
| 06-06-01272 |  | Student insect collecting and mounting kit | 5 |  | set |
| 06-06-01273 |  | Spreading Board | 15 |  | piece |
| 06-06-01274 |  | Aspirator | 20 |  | piece |
| 06-06-01275 |  | Killing jar for Killing insects | 20 |  | piece |
| 06-06-01276 |  | Dissecting Kit | 20 |  | set |
| 06-06-01277 |  | Standard insect nets | 15 |  | piece |
| 06-06-01278 |  | Ethyl Acetate 99% | 5 |  | Liter |
| 06-06-01279 |  | Riker mount 8"x 12" | 100 |  | piece |
| 06-06-01280 |  | Riker mount 12"x 16" | 30 |  | piece |
| 06-06-01281 |  | Riker mount 6.5"x 8.5" | 30 |  | piece |
| 06-06-01282 |  | Riker mount 5"x 6" | 20 |  | piece |
| 06-06-01283 |  | Glass top exhibit case (12"x 16"x 2.5" OD. 1½" deep inside) | 20 |  | piece |
| 06-06-01284 |  | Insect Pins size 1, 100 pins per pack | 50 |  | pack |
| 06-06-01285 |  | Insect Pins size 2 , 100 pins per pack | 50 |  | pack |
| 06-06-01286 |  | Insect Pins size 3, 100 pins per pack | 50 |  | pack |
| 06-06-01287 |  | Student plant press | 20 |  | piece |
| 06-06-01288 |  | Magnifiers POW. 20x | 20 |  | piece |
| 06-06-01289 |  | Professional compound Binocular microscope | 10 |  | set |
| 06-06-01290 |  | Balance w. and attachment weights | 2 |  | set |
| 06-06-01291 |  | Plastic Hanging scales 5000x 100g | 5 |  | piece |
| 06-06-01292 |  | Automatic laveling system, set with 11 fiber glass rods | 5 |  | set |
| 06-06-01293 |  | Fiber glass tapes, 100 ft. Length | 10 |  | roll |
| 06-06-01294 |  | Plastic pot labels, size 1 1/16"x 4" white | 10 |  | Set |
| 06-06-01295 |  | Plastic pot labels, size 1 1/16"x 4" yellow | 10 |  | Set |
| 06-06-01296 |  | Power pruner, consumer type with spare parts | 2 |  | Set |
| 06-06-01297 |  | Standard Dryers, white 020 caliper 12"x 18", set of 12 | 25 |  | set |
| 06-06-01298 |  | Book of common poisonous plant and mushrooms of North America by Nancy J. Turner and Adam F. 1991 | 5 |  | piece |
| 06-06-01299 |  | Book of Aquatic insect ecology by Dr. James Ward, 1991 | 5 |  | piece |
| 06-06-01300 |  | Forestry hand book 1984 by Karl F. Wenger | 5 |  | piece |
| 06-06-01301 |  | Portable Top Loading Autoclave, Aluminum 15 litter, chamber 285mm dia 273mm deep pressure setting 0.67bar (115oC) and 1.04bar (121oC) electric type | 3 |  | piece |
| 06-06-01302 |  | Portable Top Loading Autoclave, Aluminum 15 litter, chamber 285mm dia 273mm deep pressure setting 0.67bar (115oC) and 1.04bar (121oC) for gas heating | 1 |  | piece |
| 06-06-01303 |  | Urban Forestry (Planing and Managing Urban Greenspaces) by Robert Miller 1988 | 5 |  | piece |
| 06-06-01304 |  | Wildlife, Forests and Ferstry principles of Managing Forests for Biological Diversity by Malcolm L. Hunter 1990 | 5 |  | piece |
| 06-06-01305 |  | Essential of Forestry Practice by Charles H.G. STODDARD 1987 | 5 |  | piece |
| 06-06-01306 | Hot plate, overall 105x288x220mm, plate 210x210mm |  |  | 3 | piece |
| 06-06-01307 |  | Prepared microscope slides a) Amembo proteuns, showing nucleus and paeudopodia | 5 |  | piece |
| 06-06-01308 |  | Prepared microscope slides b) Musca domestic, leg with pad | 5 |  | piece |
| 06-06-01309 |  | Prepared microscope slides c) A pis melifica, honeybee, anterior and posterior wing | 5 |  | piece |
| 06-06-01310 |  | Prepared microscope slides d) Muccor, Rhizopus, Mold W>M. Or mycelium and sporangia | 5 |  | piece |
| 06-06-01311 |  | Prepared microscope slides e) A pis mellifica, honeybee, mouth parts of worker | 5 |  | piece |
| 06-06-01312 |  | Prepared microscope slides f) A pis mellifica, sting and poison sac W.M | 5 |  | piece |
| 06-06-01313 |  | Prepared microscope slides g) Puccinia griminis (Black stem rust of wheat) showing Aecia and pycnia stage | 5 |  | piece |
| 06-06-01314 |  | Prepared microscope slides h) Puccinia griminis (Black stem rust of wheat) showing Telio stage | 5 |  | piece |
| 06-06-01315 |  | Prepared microscope slides I) Clavicips purpura (wheat ergot) showing stroma | 5 |  | piece |
| 06-06-01316 |  | Prepared microscope slides j) Peronospore destractor (Downy mildew of onion) including sporangio phore | 5 |  | piece |
| 06-06-01317 |  | Prepared microscope slides k) Pla smopar vitocole (Downy mildew of grapes) including sponangio phore | 5 |  | piece |
| 06-06-01318 |  | Prepared microscope slides l) A lbugo candid (white rust of crucifer) including sponongia and sporangio phore | 5 |  | piece |
| 06-06-01319 |  | Prepared microscope slides m) Taphrina defermans (peach leaf curle) showing asci and ascos pores | 5 |  | piece |
| 06-06-01320 |  | Fruit body and appendges of genera : a- erysiphe | 5 |  | piece |
| 06-06-01321 |  | Fruit body and appendges of genera : b- sphaerothica, | 5 |  | piece |
| 06-06-01322 |  | Fruit body and appendges of genera :c- phyllactina, | 5 |  | piece |
| 06-06-01323 |  | Fruit body and appendges of genera :d- microsphaera, | 5 |  | piece |
| 06-06-01324 |  | Fruit body and appendges of genera :e- podosphaera, | 5 |  | piece |
| 06-06-01325 |  | Oscilloscope 7020 20MHz Dual trace | 5 |  | set |
| 06-06-01326 |  | Oscilloscope 7022 20MHz digital storage | 5 |  | set |
| 06-06-01327 |  | Projection microscope, with spare lamps and accessories | 5 |  | set |
| 06-06-01328 |  | Petridishes, glass, 90mm diameter, depth 15mm, | 500 |  | pc |
| 06-06-01329 | Microscope slide, glass w/ ground edges 0.8-1.0 mm thick |  |  | 50 | pack |
| 06-06-01330 | Cover slide glasses, 22x22 mm square |  |  | 200 | pack |
| 06-06-01331 | Oven, heat & dry, w/ gravity convection, 140-250° vol:313 L |  |  | 2 | piece |
| 06-06-01332 |  | Oven, heating and drying, Chamber dimension 1024x580x1350 mm | 1 |  | piece |
| 06-06-01333 |  | Incubator, Range 5 degree to 70 degree. Accuracy 0.2 degree chamber dimension 900x590x600mm, with adjustable temperature limit controller | 3 |  | set |
| 06-06-01334 |  | Refregerated plant growth incubator with heat insulated glass window. Range 0 to 50 degree with electronic control accuracy ± 0.1 degree chamber dimension 600x590x600 mm, | 1 |  | set |
| 06-06-01335 |  | Heating and cooling cabinet temp. Range -8 to 40 degree inside dimension 620x515x1050 mm height with spares and accessories | 1 |  | set |
| 06-06-01336 |  | High- speed refregerated bench centerfuge max. Speed 15000 rpm | 1 |  | piece |
| 06-06-01337 |  | Muffle furnace, bench top model temp. Up to 1100 degree chamber dimensions 230x350x14 mm | 1 |  | piece |
| 06-06-01338 |  | Digital conductivity, temperature & pH tester, | 2 |  | set |
| 06-06-01339 |  | Pocket ph meter, range 0 to 14 battery operated with buffer solutions | 5 |  | piece |
| 06-06-01340 |  | Kjeldal therm micro digestion unit 12 place complete system, with spares and accessories | 2 |  | set |
| 06-06-01341 |  | Water distillator, electronic, steel capacity 10 liters/ hour | 1 |  | set |
| 06-06-01342 |  | 4 Stroke diesel, a cut-away engine for student to see the inside working parts of a real engine | 1 |  | piece |
| 06-06-01343 |  | Gear system unit, a cut-away gear box for student to see the inside working parts of a real gear box | 1 |  | piece |
| 06-06-01344 |  | Seed germinator acc to rdd iwald with automatic temperature control from 3 degree to 50 degree for 120 tests , working area 900x700 mm, for 220 volt with with spares and accessories | 1 |  | set |
| 06-06-01345 |  | Filter paper sheets, 600x600mm Whatman No 1 | 1000 |  | pc |
| 06-06-01346 |  | Soil thermometer, range from -10 to 110 degree length 22cm | 50 |  | piece |
| 06-06-01347 |  | Soil ph meter scale ph 3.5 to ph 9.0, probe 160mm | 10 |  | set |
| 06-06-01348 |  | Fan heater for green house, provides 1/2/3 kw heat output control range 0- 30 degree dimension 33x20x15 cm, with spares and accessories | 1 |  | set |
| 06-06-01349 |  | Water distilling apparatus, fully automatic single stage, capacity about 4 liters/ hour with 8 liters tank, with spares and accessories | 3 |  | set |
| 06-06-01350 |  | Pocket altimeter, messuring range 3500m, | 5 |  | piece |
| 06-06-01351 |  | Portable screen, with stand 2x2 m and case | 2 |  | set |
| 06-06-01352 |  | Inoculating loop of calcinable C- metal stainless steel wire | 50 |  | piece |
| 06-06-01353 |  | Coaster, Diesel, 21 Passengers | 1 |  | pc |
| 06-06-01354 |  | Pick Up, Double Cabin, 1 ton, Petrol | 1 |  | pc |
| 06-06-01355 |  | Generator 100 KVA, 220 volt, 3phases, outdoor, autoswitch | 1 |  | set |
| 06-06-01356 |  | B&W Photocopy Machine, with spares and accessories | 2 |  | set |
| 06-06-01357 |  | Color Photocopy Machine, with spares and accessories | 1 |  | set |
| 06-06-01358 |  | PC type computer + accessories | 7 |  | set |
| 06-06-01359 |  | A4/A3 Scanner for computer with software and accessories | 1 |  | set |
| 06-06-01360 |  | table and swivel chairs for the computer | 7 |  | set |
| 06-06-01361 |  | Monitoring Camera to monitor the book store for a room 10x15m | 12 |  | set |
| 06-06-01362 |  | Switch Board with 24 internal lines and 4 external lines | 1 |  | set |
| 06-06-01363 |  | Telephone, cordless, with stand and charger | 6 |  | set |
| 06-06-01364 |  | Telephone, normal type with cord | 14 |  | piece |
| 06-06-01365 |  | Air-condition, window type, 1.5 ton, medium size | 15 |  | pc |
| 06-06-01366 |  | Air cooler, 4500 ton | 15 |  | pc |
| 06-06-01367 |  | Water Cooler, 200 L. per hour | 2 |  | pc |
| 06-06-01368 |  | Refrigerator, 16 feet, Cubic ft - to store food | 4 |  | pc |
| 06-06-01369 |  | Water Pump | 3 |  | set |
| 06-06-01370 |  | Ceiling Fans | 40 |  | Set |
| 06-06-01371 |  | Stand Fans | 10 |  | pc |
| 06-06-01372 |  | Sofa | 6 |  | pc |
| 06-06-01373 |  | Office Table | 10 |  | pc |
| 06-06-01374 |  | Swivel Chairs | 10 |  | pc |
| 06-06-01375 |  | Table for studying, for 4 persons | 250 |  | pc |
| 06-06-01376 |  | Student Chairs | 1000 |  | pc |
| 06-06-01377 |  | Copy printer with consumables spare parts and accessories | 1 |  | set |
| 06-06-01378 |  | Electrical Typewriter, Arabic + spare parts | 2 |  | set |
| 06-06-01379 |  | Electrical Typewriter, English + spare parts | 2 |  | set |
| 06-06-01380 |  | Wall watch | 20 |  | pc |
| 06-06-01381 |  | Audiocassette recorder | 4 |  | set |
| 06-06-01382 |  | TV color, 24'' | 2 |  | pc |
| 06-06-01383 |  | Horizontal Freezer | 1 |  | pc |
| 06-06-01384 |  | Vacuum Cleaner | 6 |  | pc |
| 06-06-01385 |  | Electrical Heaters, oil system, 220V, 3 KW | 20 |  | pc |
| 06-06-01386 |  | Carpet, 4x5m | 8 |  | pc |
| 06-06-01387 |  | Stapler, up to 500 sheets 80g paper | 2 |  | set |
| 06-06-01388 |  | Stapler, for more than 500- 1000 sheets 80g paper. | 2 |  | set |
| 06-06-01389 |  | Paper Scissor manual for 1000 sheets 80 g paper + spares | 2 |  | set |
| 06-06-01390 |  | Paper Scissor electrical for 1000 sheets 80 g paper, with spare parts | 2 |  | set |
| 06-06-01391 |  | Book Stapler Machine - Electric machine for binding books | 1 |  | set |
| 06-06-01392 |  | Lawn cutter, petrol driven, rotating blade type, 30" wide cut approx. | 1 |  | set |
| 06-06-01393 |  | Photocopy Machine, Medium Size, B & W, with spares acceeessories and consumables | 2 |  | set |
| 06-06-01394 |  | PC type computer + accessories | 4 |  | set |
| 06-06-01395 |  | Printer Epson L2 for tractor paper w/ spares and consumables | 2 |  | set |
| 06-06-01396 |  | Standard Typewriter FACIT manual - 48 cm English keyboard - 5 spare ribbons | 2 |  | set |
| 06-06-01397 |  | Standard Typewriter FACIT manual - 48 cm - Arabic Keyboard- 5 spare ribbons | 2 |  | set |
| 06-06-01398 |  | Water fountain for student use | 2 |  | piece |
| 06-06-01399 |  | Electrical Generator 50 KVA, outdoor, 3 phases, autoswitch. | 1 |  | set |
| 06-06-01400 |  | Copy printer with spares and consumables for 2000 masters and 100 000 copies | 1 |  | set |
| 06-06-01401 |  | PC type computer 17"screen, laser printer, UPS + accessories | 1 |  | set |
| 06-06-01402 |  | Track & field boots sizes (37, 38, 39, 40, 41, 42, 43) | 700 |  | pairs |
| 06-06-01403 |  | Track & field Shorts (large sizes) | 250 |  | Piece |
| 06-06-01404 |  | Track & field jersey, without sleeves | 250 |  | Piece |
| 06-06-01405 |  | Track suits (small, medium, large, xlarge and xxlarge) | 500 |  | Piece |
| 06-06-01406 |  | Spiked (throwing ,Jumping & running) shoes, for sizes 39, 40, 41, 42, 43, 44 | 696 |  | pairs |
| 06-06-01407 |  | Hurdles, weight 10 kg of hurdle | 120 |  | Piece |
| 06-06-01408 |  | Hand stop watch (E. Numbers) | 50 |  | Piece |
| 06-06-01409 |  | Javelin (800 g. International ) | 100 |  | Piece |
| 06-06-01410 |  | Javelin (600 g. International ) | 100 |  | Piece |
| 06-06-01411 |  | Discus 2 kg. | 150 |  | Piece |
| 06-06-01412 |  | Discus 1.5 kg. | 150 |  | Piece |
| 06-06-01413 |  | Discus 1 kg. | 150 |  | Piece |
| 06-06-01414 |  | Weight (shot) 7.26 Kg. | 50 |  | Piece |
| 06-06-01415 |  | Weight (shot) 4 Kg. | 50 |  | Piece |
| 06-06-01416 |  | Weight (shot) 6 Kg. | 50 |  | Piece |
| 06-06-01417 |  | Hammer (3 Different weights - 20 of each) | 60 |  | Piece |
| 06-06-01418 |  | Throwing activities belts(Large sizes), the belt to protect the upper part of the body | 30 |  | Piece |
| 06-06-01419 |  | High Jumping standard set | 15 |  | Set |
| 06-06-01420 |  | Pole Jumping standard set with set of poles | 15 |  | Set |
| 06-06-01421 |  | Baton, light weight for Baseball | 120 |  | Piece |
| 06-06-01422 |  | Landing Set high jump (size 3x 3 m) | 60 |  | Set |
| 06-06-01423 |  | Tape - measure 100 m | 15 |  | Piece |
| 06-06-01424 |  | Tape - measure 50 m | 15 |  | Piece |
| 06-06-01425 |  | Tape - measure 30m | 15 |  | Piece |
| 06-06-01426 |  | Starting blocks | 60 |  | Piece |
| 06-06-01427 |  | Gun | 35 |  | Piece |
| 06-06-01428 |  | Stoop board | 30 |  | Piece |
| 06-06-01429 |  | Tennis racket (Aluminum) | 130 |  | pc |
| 06-06-01430 |  | Tennis net | 30 |  | Piece |
| 06-06-01431 |  | Tennis balls | 500 |  | Piece |
| 06-06-01432 |  | Tennis net stands (posts) | 30 |  | pairs |
| 06-06-01433 |  | Referee chair | 15 |  | set |
| 06-06-01434 |  | Throwing ball set (equipment ) for Tennis | 15 |  | set |
| 06-06-01435 |  | Pushing ball net | 15 |  | Piece |
| 06-06-01436 |  | Ping - pong ball | 200 |  | set |
| 06-06-01437 |  | Ping - pong racket | 480 |  | pc |
| 06-06-01438 |  | Ping - pong net | 80 |  | Piece |
| 06-06-01439 |  | Ping - pong table | 30 |  | Piece |
| 06-06-01440 |  | Ping - pong net stands (posts) | 30 |  | pairs |
| 06-06-01441 |  | Record board, for registration the results for Volleyball, Basketball and Ping- pong | 30 |  | set |
| 06-06-01442 |  | Badminton racket | 300 |  | pc |
| 06-06-01443 |  | Badminton net | 30 |  | Piece |
| 06-06-01444 |  | Badminton net stands (posts) | 30 |  | pairs |
| 06-06-01445 |  | Chess | 120 |  | set |
| 06-06-01446 |  | Stop watch (chess) | 30 |  | Piece |
| 06-06-01447 |  | Badminton ball (feather) | 100 |  | set |
| 06-06-01448 |  | Headguard to protect the head generally | 120 |  | Piece |
| 06-06-01449 |  | Sport jersey | 120 |  | Piece |
| 06-06-01450 |  | Bicycle, weight ( 7.5- 10 ) kg | 150 |  | Piece |
| 06-06-01451 |  | Weight lifting set( bars & weights) | 150 |  | set |
| 06-06-01452 |  | Weight lifting set dress boots | 120 |  | set |
| 06-06-01453 |  | Bicycle boots, (24) pairs for each size (40, 41, 42, 43, 44) | 120 |  | pairs |
| 06-06-01454 |  | Footballboots for the sizes (38, 39, 40, 41, 42, 43, 44) | 280 |  | pairs |
| 06-06-01455 |  | Football jersey, long (large size) | 260 |  | Piece |
| 06-06-01456 |  | Shingurd | 260 |  | pairs |
| 06-06-01457 |  | Goal keepers gloves | 260 |  | pairs |
| 06-06-01458 |  | Goal keepers dress | 30 |  | set |
| 06-06-01459 |  | Whistle | 50 |  | Piece |
| 06-06-01460 |  | Referee dress | 40 |  | set |
| 06-06-01461 |  | Football goal net | 30 |  | Piece |
| 06-06-01462 |  | Footballs | 150 |  | Piece |
| 06-06-01463 |  | Substitution board | 30 |  | set |
| 06-06-01464 |  | Cards (red & yellow) | 100 |  | Piece |
| 06-06-01465 |  | Football track suits | 260 |  | set |
| 06-06-01466 |  | Sport sock | 300 |  | pairs |
| 06-06-01467 |  | Sport boots for Volleyball, Basketball, Ping- pong & Tennis for the sizes (38, 39, 40, 41, 42, 43, & 44) | 250 |  | pairs |
| 06-06-01468 |  | Knee pads | 100 |  | Piece |
| 06-06-01469 |  | Elbow pads | 100 |  | Piece |
| 06-06-01470 |  | Volley balls net | 30 |  | Piece |
| 06-06-01471 |  | Volley balls | 150 |  | Piece |
| 06-06-01472 |  | Volley balls net stands (post) | 30 |  | pairs |
| 06-06-01473 |  | Basket balls | 150 |  | Piece |
| 06-06-01474 |  | Basket ball boots | 250 |  | pairs |
| 06-06-01475 |  | Basket ball board (glass) | 30 |  | set |
| 06-06-01476 |  | Rings for basket ball | 60 |  | pc |
| 06-06-01477 |  | Basket ball nets | 140 |  | pc |
| 06-06-01478 |  | Score board | 30 |  | set |
| 06-06-01479 |  | Referee dress (Grey color) | 20 |  | set |
| 06-06-01480 |  | Table stop watch | 20 |  | Piece |
| 06-06-01481 |  | Sport stocking (socks) | 150 |  | pairs |
| 06-06-01482 |  | hand balls size 3 for men | 150 |  | Piece |
| 06-06-01483 |  | hand balls size 2 for women | 150 |  | Piece |
| 06-06-01484 |  | Hand ball goal net | 60 |  | pc |
| 06-06-01485 |  | Field Handball | 15 |  | pc |
| 06-06-01486 |  | Hand ball track suit | 100 |  | set |
| 06-06-01487 |  | medicine ball 1 kg. | 30 |  | Piece |
| 06-06-01488 |  | medicine ball 2 kg. | 30 |  | Piece |
| 06-06-01489 |  | medicine ball 3 Kg. | 30 |  | Piece |
| 06-06-01490 |  | medicine ball 4 Kg. | 30 |  | Piece |
| 06-06-01491 |  | medicine ball 5kg. | 30 |  | Piece |
| 06-06-01492 |  | Large Table (wood), for the office | 1 |  | Piece |
| 06-06-01493 |  | Seat set (wood), sofa for the office | 1 |  | set |
| 06-06-01494 |  | Library shelving (wood), 3m W x 2.5m L, with 4 shelves | 1 |  | Piece |
| 06-06-01495 |  | Locker (large size), steel, dimensions is 50x90x200 cm, with 3 shelves | 1 |  | Piece |
| 06-06-01496 |  | PC type computer 17"screen, laser printer, UPS + accessories | 1 |  | set |
| 06-06-01497 |  | Photocopier Machine: Canon NP4335 | 1 |  | pc |
| 06-06-01498 |  | File Cabinets same as previous deliveries for phase II and Phase III. | 6 |  | pc |
| 06-06-01499 |  | Shelves for Storge the Books on it size 4m lingth by 4m height (simple one) | 4 |  | pc |
| 06-06-01500 | Specialized books, English, for University |  |  | 1 | Set |
| 06-06-01501 | Specialized books, French, for University |  |  | 1 | Set |
| 06-06-01600 | Retour courbe |  |  | 5 | set |
| 06-06-01601 | Chaise Dactylo PROMO |  |  | 10 | set |
| 06-06-01602 | Chaise Dactylo haut dossier |  |  | 15 | set |
| 06-06-01603 | Fauteuil president, pied nylon |  |  | 15 | set |
| 06-06-01604 | Fauteuil president, pied alu |  |  | 5 | set |
| 06-06-01605 | Chauffeuse dangie arrondie 90. Ala contremaraue |  |  | 5 | set |
| 06-06-01606 | Chauffeuse en mousse depolyurethane |  |  | 5 | set |
| 06-06-01607 | TABLE OBLONGUE, L-216 cm |  |  | 5 | set |
| 06-06-01608 | RANGEME NTS JUXTA-POSABIES |  |  | 20 | set |
| 06-06-01609 | Caisson informatique |  |  | 20 | set |
| 06-06-01610 | Credence 2 ports coulissantes |  |  | 20 | set |
| 06-06-01611 | 2 Tiroirs pour dossiers suspendus |  |  | 20 | set |
| 06-06-01612 | Plan compact, 180 cm |  |  | 60 | pc |
| 06-06-01613 | Etagere d angle quart de rond |  |  | 10 | set |
| 06-06-01614 | Porte-manteau en bois |  |  | 12 | set |
| 06-06-01615 | Plan compact, 160x120x74 cm |  |  | 20 | pc |
| 06-06-01616 | Caisson hauteur bureau |  |  | 50 | set |
| 06-06-01617 | Biblliotheque ouverte |  |  | 20 | set |
| 06-06-01618 | Canape fixe 3places en Rennanoir |  |  | 6 | pc |
| 06-06-01619 | Fauteuil |  |  | 12 | pc |
| 06-06-01620 | Table bureau reunion |  |  | 6 | set |
| 06-06-01621 | PC type computer + accessories |  |  | 50 | set |
| 06-06-01622 | Printer HP 1100 laser Jet with spares and accessories |  |  | 10 | set |
| 06-06-01623 | Printer Color with spares and accessories |  |  | 5 | set |
| 06-06-01624 | Scanner with accessories |  |  | 5 | set |
| 06-06-01625 | U.P.S. |  |  | 25 | pc |
| 06-06-01626 | CD-ROM Read-Write |  |  | 10 | set |
| 06-06-01627 | Soil strength measurement (Triaxial Testing equipment) 100 KN load frame |  |  | 1 | set |
| 06-06-01628 | Soil electronic instrumentation system (one dimensional consolidation testing) |  |  | 1 | set |
| 06-06-01629 | Soil electronic instrumentation system(Direct/residual shear testing) |  |  | 1 | set |
| 06-06-01630 | Soil -permeability apparatus |  |  | 2 | set |
| 06-06-01631 | Concrete compressive strength (3000-KN)compression machine |  |  | 1 | set |
| 06-06-01632 | Fresh concrete testing slump test |  |  | 10 | set |
| 06-06-01633 | Fresh concrete testing vibro consistometer |  |  | 2 | set |
| 06-06-01634 | Preparation of flexural prisms |  |  | 2 | set |
| 06-06-01635 | Surveying instrument distomatic |  |  | 1 | set |
| 06-06-01636 | Surveying instrument theodolite |  |  | 6 | set |
| 06-06-01637 | Surveying instrument automatic level |  |  | 3 | set |
| 06-06-01638 | Precision level |  |  | 3 | set |
| 06-06-01639 | Asphalt-25 KN electronic Marshal loadframe |  |  | 1 | set |
| 06-06-01640 | Asphalt-Loss-on-heating/thin-film oven |  |  | 1 | set |
| 06-06-01641 | Asphalt - viscosity :Saybolt viscometer |  |  | 1 | set |
| 06-06-01642 | Soil-Determination of shrinkage limit |  |  | 2 | set |
| 06-06-01643 | Soil-Determination of liquid limit |  |  | 3 | set |
| 06-06-01644 | soil chemical test PH-value (standard method ) |  |  | 2 | set |
| 06-06-01645 | Soil-Automatic compaction of soils |  |  | 1 | set |
| 06-06-01646 | Soil Procter Penetromter |  |  | 1 | set |
| 06-06-01647 | Soil - Nuclear Moisture /density Testing |  |  | 1 | set |
| 06-06-01648 | Concrete - steel Reinforcement detection |  |  | 1 | set |
| 06-06-01649 | cement-consistence and Setting -time of cement |  |  | 3 | set |
| 06-06-01650 | Concrete-setting -time by penetration Resistance |  |  | 1 | set |
| 06-06-01651 | Fresh concrete - Air entrainment meter |  |  | 1 | set |
| 06-06-01652 | Concrete Multiflow Mixing |  |  | 1 | set |
| 06-06-01653 | Sand, aggregates and fillers preparation and classification |  |  | 3 | SET |
| 06-06-01654 | Digital Balance, 0.01 g. cap: 1 kg |  |  | 3 | pc |
| 06-06-01655 | Digital Balance 0.001 gm,capacity 0.5kg |  |  | 3 | pc |
| 06-06-01656 | Digital Balance 0.1 gm,capacity 5kg |  |  | 3 | pc |
| 06-06-01657 | Engineering Drawing Board with stand |  |  | 35 | set |
| 06-06-01658 | Chalkboard (ref: CB2WFLGL) |  |  | 10 | piece |
| 06-06-01659 | Soil -hydrometer |  |  | 5 | pc |
| 06-06-01660 | Jaw for threaded specimen SM100a |  |  | 2 | set |
| 06-06-01661 | Pin Jaws for flat specimen SM100b |  |  | 2 | set |
| 06-06-01662 | Brinell Indentor |  |  | 4 | set |
| 06-06-01663 | Coil spring Attachment |  |  | 4 | set |
| 06-06-01664 | Beam and Leaf spring |  |  | 4 | set |
| 06-06-01665 | Mechanical Extensometer |  |  | 4 | set |
| 06-06-01666 | Electromechanical Extensometer |  |  | 4 | set |
| 06-06-01667 | Hand operating pump |  |  | 2 | set |
| 06-06-01668 | Hydraulic power pack |  |  | 4 | set |
| 06-06-01669 | Cyclic Loading unit |  |  | 2 | set |
| 06-06-01670 | Specimen Kit |  |  | 4 | kit |
| 06-06-01671 | Creep machine |  |  | 1 | set |
| 06-06-01672 | Cutting tool dynamometer |  |  | 1 | set |
| 06-06-01673 | Torsion testing machine (200Nm) |  |  | 1 | set |
| 06-06-01674 | Air condition |  |  | 1 | set |
| 06-06-01675 | Power supply |  |  | 4 | set |
| 06-06-01676 | Steam Generator and Service module |  |  | 1 | set |
| 06-06-01677 | Thermal conductivity of fluids unit |  |  | 1 | set |
| 06-06-01678 | Vapor Jet Refrigerator/heat pump |  |  | 1 | set |
| 06-06-01679 | Refrigeration Laboratory unit |  |  | 1 | set |
| 06-06-01680 | Refrigeration cycle Demonstration unit |  |  | 1 | set |
| 06-06-01681 | Steam to water Heat Exchanger unit |  |  | 1 | set |
| 06-06-01682 | Temperature measuring unit |  |  | 1 | set |
| 06-06-01683 | Bench Top cooling Tower |  |  | 1 | set |
| 06-06-01684 | fluidisation and fluid Bed Heat Transfer unit |  |  | 1 | set |
| 06-06-01685 | Boiling Heat transfer unit |  |  | 1 | set |
| 06-06-01686 | Standard mechanisms Kit |  |  | 1 | set |
| 06-06-01687 | Microprocessor controlled combined Hardness Tester |  |  | 1 | set |
| 06-06-01688 | Circuit Laws and Bridge circuit |  |  | 2 | set |
| 06-06-01689 | D.C. Service module |  |  | 2 | pc |
| 06-06-01690 | AC Service module |  |  | 4 | pc |
| 06-06-01691 | Focusing Solar Energy collector |  |  | 1 | set |
| 06-06-01692 | Forced Convection heat transfer |  |  | 1 | set |
| 06-06-01693 | Circuit laws & bridge circuit |  |  | 10 | set |
| 06-06-01694 | Transmission line simulator |  |  | 4 | set |
| 06-06-01695 | Logic circuit trainer |  |  | 10 | set |
| 06-06-01696 | Additional module kit |  |  | 10 | set |
| 06-06-01697 | Position and encoding project |  |  | 10 | set |
| 06-06-01698 | Electrical project box |  |  | 20 | set |
| 06-06-01699 | Logic circuit Experiment |  |  | 20 | set |
| 06-06-01700 | Micro electronic experiment |  |  | 10 | set |
| 06-06-01701 | Power supply for mains |  |  | 10 | pc |
| 06-06-01702 | Adapter |  |  | 10 | pc |
| 06-06-01703 | Multimeter with Frequency functions |  |  | 20 | pc |
| 06-06-01704 | Multimeter (no frequency functions) |  |  | 20 | pc |
| 06-06-01705 | base boards |  |  | 24 | pc |
| 06-06-01706 | Automotive kit |  |  | 10 | kit |
| 06-06-01707 | The Worcester kit |  |  | 10 | kit |
| 06-06-01708 | Counter Module |  |  | 10 | set |
| 06-06-01709 | Semiconducting Teaching Chip set |  |  | 10 | set |
| 06-06-01710 | Electro plating pack |  |  | 10 | set |
| 06-06-01711 | TEP Bit by Bit casd controller (non pc) |  |  | 10 | set |
| 06-06-01712 | TEP Bit by Bit programmable controller |  |  | 10 | set |
| 06-06-01713 | Infrared Remote Control Transmitter and Receiver |  |  | 6 | set |
| 06-06-01714 | Smartcard Starter Pack 1 |  |  | 5 | set |
| 06-06-01715 | Smartcard Starter Pack 2 |  |  | 5 | set |
| 06-06-01716 | Stamp Microcontroller |  |  | 10 | set |
| 06-06-01717 | (16*2) LCD |  |  | 10 | set |
| 06-06-01718 | Output Boards for Infrared Receiver |  |  | 10 | pc |
| 06-06-01719 | MAGNETISM video |  |  | 1 | pc |
| 06-06-01720 | The SIMPLE ELECTRIC CIRCUIT video |  |  | 1 | pc |
| 06-06-01721 | ELECTRONS video |  |  | 1 | pc |
| 06-06-01722 | ELECTROMAGNETSM video |  |  | 1 | pc |
| 06-06-01723 | INDUCTION video |  |  | 1 | pc |
| 06-06-01724 | THE ELECTRON THEORY video |  |  | 1 | pc |
| 06-06-01725 | WHAT IS ELECTRICITY video |  |  | 1 | pc |
| 06-06-01726 | MAGNETISM video |  |  | 1 | pc |
| 06-06-01727 | Microelectronics video |  |  | 1 | pc |
| 06-06-01728 | 8 decade Resistance Box (0 - 20 M ohm ) |  |  | 25 | set |
| 06-06-01729 | 6 decade Capacitor Box ((1pf - 100 mf) |  |  | 25 | set |
| 06-06-01730 | Coil Box (1mH - 1H ) |  |  | 50 | set |
| 06-06-01731 | Auto Transformer single phase, output range about 10 - 220 V,5A |  |  | 10 | pc |
| 06-06-01732 | Isolating Transformer (220-220)V, primary 230 volt a.c. And secondary 230 volt a.c. |  |  | 10 | pc |
| 06-06-01733 | Microcomputer kit, board 486 MHz |  |  | 5 | set |
| 06-06-01734 | Digital/ Analogue (D/A). Analogue/ Digital (A/D) converter kit |  |  | 5 | kit |
| 06-06-01735 | IFG 100 Hand RC Oscilator |  |  | 5 | set |
| 06-06-01736 | R.F Strength Meter (VHF-UHF) |  |  | 5 | pc |
| 06-06-01737 | Colour TV [PAL/SECAM/NTSC], 29" |  |  | 5 | set |
| 06-06-01738 | Kits of PUL Modulator |  |  | 5 | kit |
| 06-06-01739 | Pulse Amplitute Modulator (PAM), Puls Width Modulator (PWM), Puls Position Modulator (PPM), Puls Code Modulator (PCM). |  |  | 5 | set |
| 06-06-01740 | Telephone Demonstration Kit |  |  | 5 | kit |
| 06-06-01741 | Microwave Trainer |  |  | 1 | set |
| 06-06-01742 | Satelite Receiver |  |  | 2 | set |
| 06-06-01743 | PC type computer + accessories |  |  | 5 | set |
| 06-06-01744 | Integrate Circuit Sockets 8 pins DIL |  |  | 200 | pc |
| 06-06-01745 | Integrate Circuit Sockets 14 pins DIL |  |  | 200 | pc |
| 06-06-01746 | Integrate Circuit Sockets 16 pins DIL |  |  | 200 | pc |
| 06-06-01747 | Transformer 6 V 1A |  |  | 25 | pc |
| 06-06-01748 | Transformer 12 V ,1A |  |  | 25 | pc |
| 06-06-01749 | Transformer 15 V ,1A |  |  | 25 | pc |
| 06-06-01750 | Transformer 24 V ,1A |  |  | 25 | pc |
| 06-06-01751 | FET (Field Effect Transistor -2Sk-30MT ) |  |  | 200 | pc |
| 06-06-01752 | Set of Photo Cells 12V, different power for laboratory use. |  |  | 100 | set |
| 06-06-01753 | Set of Photo conductive Diodes (15V), different power for laboratory use |  |  | 100 | set |
| 06-06-01754 | Set of Photo Transistors, different types for laboratory use |  |  | 100 | set |
| 06-06-01755 | Set of Light Emitting Diodes (Red, Yellow and Green colour) |  |  | 300 | set |
| 06-06-01756 | Thyristor (2p2M,BTY91) |  |  | 200 | pc |
| 06-06-01757 | Diac, 12 Volt |  |  | 200 | pc |
| 06-06-01758 | Triac (STO 24/2N6073) |  |  | 200 | pc |
| 06-06-01759 | Integrate Circuit (tba510,tba530,tba120) |  |  | 100 | pc |
| 06-06-01760 | Variable Resistance(0-10k ohm) |  |  | 100 | pc |
| 06-06-01761 | Variable resistance ((0-1M ohm) |  |  | 100 | pc |
| 06-06-01762 | Electronic Soldering Iron 100W with spares, consumables and accessories |  |  | 100 | set |
| 06-06-01763 | Power Transistor Bu208 |  |  | 100 | pc |
| 06-06-01764 | Power Transistor Bu508 |  |  | 100 | pc |
| 06-06-01765 | Power Transistor 2N3055 |  |  | 100 | pc |
| 06-06-01766 | Uni Junction Transestor (U.J.T), (2N2646) |  |  | 200 | pc |
| 06-06-01767 | Electrical Generator 250KVA, 400V, 50Hz, 3Ph, complete spares, consumables and accessoires. |  |  | 1 | set |
| 06-06-01768 | Air Condition/ Window Type 24000 BTU/ hr |  |  | 10 | set |
| 06-06-01769 | Air Cooler Cooling capacity 24000 BUT/ hr with spares |  |  | 5 | set |
| 06-06-01770 | Air Condition/ Split Unit Cooling/ Heating capacity 24000 BTU/ Hr, |  |  | 3 | set |
| 06-06-01771 | Overhead Projector complete wirh consumables, spares and accessories |  |  | 3 | set |
| 06-06-01772 | Slide Projector - Accessories, consumables and spare parts should be provide for 3 years. |  |  | 2 | set |
| 06-06-01773 | Stop Watch - Digital, Quartz |  |  | 5 | pc |
| 06-06-01774 | Counter/ Timer 100 MHz counting capability for negative input |  |  | 2 | pc |
| 06-06-01775 | Hydraulic operating table -veterinary use complete with spares, accessories and consumables |  |  | 1 | set |
| 06-06-01776 | Examination table with solid rubber plate -veterinary use spares and accessories |  |  | 2 | set |
| 06-06-01777 | Test tube 18x180m |  |  | 1000 | pc |
| 06-06-01778 | Stand for 6 test tube |  |  | 30 | pc |
| 06-06-01779 | Stand for 12 test tube |  |  | 30 | pc |
| 06-06-01780 | Spirit lamp of glass, 100ml |  |  | 10 | set |
| 06-06-01781 | Krusse thermometer with digital display |  |  | 10 | set |
| 06-06-01782 | Oster Clipper |  |  | 2 | set |
| 06-06-01783 | Surgery/ Cautery set |  |  | 2 | set |
| 06-06-01784 | Bovivet Automatic Drenching Gun |  |  | 2 | set |
| 06-06-01785 | Ferromatic Automatic Refilling Syringe M91 |  |  | 5 | set |
| 06-06-01786 | Ferromatic Automatic Refilling Suringe M92 |  |  | 5 | set |
| 06-06-01787 | Krutex Obstetric Grown |  |  | 30 | set |
| 06-06-01788 | Culture Plastic Petri- dishes |  |  | 1 | set |
| 06-06-01789 | Brushes for bottles (several sizes) |  |  | 2 | set |
| 06-06-01790 | Dropper Bottle (several sizes) |  |  | 150 | pc |
| 06-06-01791 | Metal Clamp (10x135) mm |  |  | 10 | pc |
| 06-06-01792 | Metal Clamp (10x145) mm |  |  | 10 | pc |
| 06-06-01793 | Support Stands with rings |  |  | 5 | set |
| 06-06-01794 | Buret 100 x 0.2 ml |  |  | 10 | pc |
| 06-06-01795 | Buret 50 x 0.1 ml |  |  | 10 | pc |
| 06-06-01796 | Spectrophotometer - digital display of wavelengths and results, range 320- 920 nm, band pass 5 nm spares, consumbales and accessories |  |  | 1 | set |
| 06-06-01797 | Dissecting Microscope complete with spares and accessories |  |  | 5 | set |
| 06-06-01798 | Rotary shaker, 20- 200 rpm |  |  | 1 | set |
| 06-06-01799 | Pipettes 1ml |  |  | 20 | pc |
| 06-06-01800 | Pipettes 2 ml |  |  | 20 | pc |
| 06-06-01801 | Pipettes 5 ml |  |  | 20 | pc |
| 06-06-01802 | Pipettes 10 ml |  |  | 20 | pc |
| 06-06-01803 | Pipettes 25 ml |  |  | 20 | pc |
| 06-06-01804 | Pastur pipettes |  |  | 10 | pack |
| 06-06-01805 | Test tubes with screwcap round bottom 20x150 mm |  |  | 10 | pc |
| 06-06-01806 | Test tubes with screwcap round bottom 16x160 mm |  |  | 10 | pc |
| 06-06-01807 | Test tubes with screwcap round bottom 14x130 mm |  |  | 10 | pc |
| 06-06-01808 | Volumetric flask, 25 ml with glass stopper |  |  | 20 | pc |
| 06-06-01809 | Volumetric flask, 50 ml with glass stopper |  |  | 20 | pc |
| 06-06-01810 | Volumetric flask, 100 ml with glass stopper |  |  | 20 | pc |
| 06-06-01811 | Volumetric flask, 250 ml with glass stopper |  |  | 20 | pc |
| 06-06-01812 | Volumetric flask, 500 ml with glass stopper |  |  | 20 | pc |
| 06-06-01813 | Volumetric flask, 1000 ml with glass stopper |  |  | 20 | pc |
| 06-06-01814 | Beakers, Pyrex, 50 ml |  |  | 30 | pc |
| 06-06-01815 | Beakers, Pyrex, 100 ml |  |  | 30 | pc |
| 06-06-01816 | Beakers, Pyrex, 250 ml |  |  | 30 | pc |
| 06-06-01817 | Beakers, Pyrex, 500 ml |  |  | 30 | pc |
| 06-06-01818 | Beakers, Pyrex, 1000 ml |  |  | 30 | pc |
| 06-06-01819 | Graduated centrifuge tubes |  |  | 100 | pc |
| 06-06-01820 | Boiling test tubes 12x75 mm. |  |  | 50 | pc |
| 06-06-01821 | Boiling test tubes 15x125 mm. |  |  | 50 | pc |
| 06-06-01822 | Boiling test tubes 20x150 mm. |  |  | 50 | pc |
| 06-06-01823 | Boiling test tubes 25x200 mm. |  |  | 50 | pc |
| 06-06-01824 | Funnels dia. 60 mm |  |  | 10 | pc |
| 06-06-01825 | Funnels dia. 70 mm |  |  | 10 | pc |
| 06-06-01826 | Funnels dia. 90 mm |  |  | 10 | pc |
| 06-06-01827 | Funnels dia. 100 mm |  |  | 10 | pc |
| 06-06-01828 | Glass graduated measuring cylinders 10 ml |  |  | 20 | pc |
| 06-06-01829 | Glass graduated measuring cylinders 50 ml |  |  | 20 | pc |
| 06-06-01830 | Glass graduated measuring cylinders 100 ml |  |  | 20 | pc |
| 06-06-01831 | Glass graduated measuring cylinders 500 ml |  |  | 20 | pc |
| 06-06-01832 | Glass graduated measuring cylinders 250 ml |  |  | 20 | pc |
| 06-06-01833 | Glass graduated measuring cylinders 1000 ml |  |  | 20 | pc |
| 06-06-01834 | Glass vials diam. 6 |  |  | 100 | pc |
| 06-06-01835 | Glass vials diam. 11 |  |  | 100 | pc |
| 06-06-01836 | Dissecting forceps with pointed tips and serrated handle. |  |  | 20 | pc |
| 06-06-01837 | Dissecting forceps with fine points/ straight ends |  |  | 20 | pc |
| 06-06-01838 | Dissecting forceps with medium points |  |  | 20 | pc |
| 06-06-01839 | Washing Bottle, plastic, 250 ml |  |  | 20 | pc |
| 06-06-01840 | Washing Bottle, plastic, 500 ml |  |  | 20 | pc |
| 06-06-01841 | Washing Bottle, plastic, 1000 ml |  |  | 20 | pc |
| 06-06-01842 | Reagent Bottle, glass 60 ml |  |  | 50 | pc |
| 06-06-01843 | Reagent Bottle, glass 120 ml |  |  | 50 | pc |
| 06-06-01844 | Reagent Bottle, glass 250 ml |  |  | 50 | pc |
| 06-06-01845 | Reagent Bottle, glass 500 ml |  |  | 50 | pc |
| 06-06-01846 | Reagent Bottle, glass 1000 ml |  |  | 50 | pc |
| 06-06-01847 | Parafilm |  |  | 10 | roll |
| 06-06-01848 | Filter Papers Whatman no 1, 5.5 cm dia. Pack of 100 |  |  | 10 | pack |
| 06-06-01849 | Filter Papers Whatman no 1, 7.5 cm dia. Pack of 100 |  |  | 10 | pack |
| 06-06-01850 | Filter Papers Whatman no 1, 7.6 cm dia. Pack of 100 |  |  | 10 | pack |
| 06-06-01851 | Filter Papers Whatman no 1, 7.7 cm dia. Pack of 100 |  |  | 10 | pack |
| 06-06-01852 | Filter Papers Whatman no 1, 9 cm dia. Pack of 100 |  |  | 10 | pack |
| 06-06-01853 | Filter Papers Whatman no 1, 10 cm dia. Pack of 100 |  |  | 10 | pack |
| 06-06-01854 | Filter Papers Whatman no 1, 11 cm dia.Pack of 100 |  |  | 10 | pack |
| 06-06-01855 | Filter Papers Whatman no 1, 12.5 cm dia. Pack of 100 |  |  | 10 | pack |
| 06-06-01856 | Dissecting set in case |  |  | 10 | Set |
| 06-06-02000 | Distributeur micropipette |  |  | 1 | Pc |
| 06-06-02001 | Pipetus Accu avec filtres |  |  | 5 | Set |
| 06-06-02002 | Rouleur à tambour 60 tubes |  |  | 2 | Set |
| 06-06-02003 | Tambour 60 tubes |  |  | 2 | Set |
| 06-06-02004 | Atomic absorption system complete with spares and accessories |  |  | 1 | Set |
| 06-06-02005 | Blood cell counter |  |  | 1 | Set |
| 06-06-02006 | Homogeneiseur Ultra-turrax T50 basic 0,25 a 50 L |  |  | 1 | Set |
| 06-06-02007 | Statif telescopique 60 a 100 cm |  |  | 1 | Set |
| 06-06-02008 | Axe generateur with accessories, spares and consumables |  |  | 1 | Set |
| 06-06-02009 | Automatic Water Bi-Distilling apparatus with accessories, spares and consumables |  |  | 1 | Set |
| 06-06-02010 | Biological materials Microslides Zoology - protozoa Radiolarians w.m Porifera Coelenterata Platyhelminthes |  |  | 2 | Set |
| 06-06-02011 | Electronic digital polarimeter with accessories, spares and consumables |  |  | 1 | Set |
| 06-06-02012 | PyeUnicam gas Chromatography set with accessories, spares and consumables |  |  | 1 | Set |
| 06-06-02013 | Portable Analyser with accessories, spares and consumables |  |  | 1 | set |
| 06-06-02014 | Videola nouvelle alternative a la photo microscopique |  |  | 1 | set |
| 06-06-02015 | PH meter portable with accessories, spares and consumables |  |  | 2 | set |
| 06-06-02016 | Radiometer 230 a 480nm (sans capture) |  |  | 1 | set |
| 06-06-02017 | Pince a cercler |  |  | 1 | pc |
| 06-06-02018 | Thermometer quick -100 to +500C. |  |  | 1 | pc |
| 06-06-02019 | Lamp spot 100W 365nm |  |  | 1 | set |
| 06-06-02020 | Masqua protection UV |  |  | 2 | set |
| 06-06-02021 | Stereomicroscope mantis.with accessories, spares |  |  | 1 | set |
| 06-06-02022 | Lampe a loupe orientable 1,75 |  |  | 1 | piece |
| 06-06-02023 | Frequency meter |  |  | 5 | set |
| 06-06-02024 | Logic analyser 10 Mhz, spares + Accessories |  |  | 2 | set |
| 06-06-02025 | Autoranging +analogue bargraph |  |  | 10 | set |
| 06-06-02026 | High temreture furnace, 1700C, Thermolyne |  |  | 2 | set |
| 06-06-02027 | Density meter |  |  | 1 | set |
| 06-06-02028 | Water deionizer regenerable |  |  | 1 | set |
| 06-06-02029 | PH-Meter bench |  |  | 1 | set |
| 06-06-02030 | PyeUNICAM Atomic absorption spectrometer |  |  | 1 | set |
| 06-06-02031 | Mobile Chalkboard |  |  | 4 | pc |
| 06-06-02032 | Steel Book shelves |  |  | 4 | set |
| 06-06-02033 | Wooden Book case with locked glass front panels |  |  | 1 | set |
| 06-06-02034 | Desk with three drawers |  |  | 5 | set |
| 06-06-02035 | Sound detector |  |  | 1 | set |
| 06-06-02036 | Aesthesiometer physiological measurement system |  |  | 1 | set |
| 06-06-02037 | Reaction time physiological measurement system |  |  | 1 | set |
| 06-06-02038 | Dynamometer physiological measurement system |  |  | 1 | set |
| 06-06-02039 | Electric Depth perceptor physiological measurement system |  |  | 1 | set |
| 06-06-02040 | GSR Apparatus physiological measurement system |  |  | 1 | set |
| 06-06-02041 | Psychogalvanometer physiological measurement system |  |  | 1 | set |
| 06-06-02042 | Multigraphic Recorder records humidity &/or dryness, level of lipids etc following emotional reaction |  |  | 1 | set |
| 06-06-02043 | Groove Type steadiness Tester physiological measurement system |  |  | 1 | set |
| 06-06-02044 | Steadiness tester physiological measurement system |  |  | 1 | set |
| 06-06-02045 | Lie detector physiological measurement system |  |  | 1 | set |
| 06-06-02046 | Video Camera spares, accessories and consumables |  |  | 1 | set |
| 06-06-02047 | Refrigerator, 8 cu feet, |  |  | 2 | pc |
| 06-06-02048 | File Cabinet |  |  | 4 | pc |
| 06-06-02049 | Plotter for computer up to A0 + consumables spares and accessories |  |  | 2 | set |
| 06-06-02050 | Tape recorder & CD Player |  |  | 15 | set |
| 06-06-02051 | PC type computer multimedia + accessories |  |  | 15 | set |
| 06-06-02052 | Over Head Projector + consumables spares and accessories |  |  | 10 | set |
| 06-06-02053 | Air conditioner - 2.5 Tons |  |  | 10 | set |
| 06-06-02054 | Video (camescope) + consumables spares and accessories |  |  | 10 | set |
| 06-06-02055 | Television - 28" - colour |  |  | 10 | set |
| 06-06-02056 | Photocopying Machine + consumables spares and accessories |  |  | 10 | set |
| 06-06-02057 | Video tapes 180 min |  |  | 50 | pc |
| 06-06-02058 | Video tapes 120 min |  |  | 50 | pc |
| 06-06-02059 | File Cabinet |  |  | 2 | pc |
| 06-06-02060 | Switchboard 20 lines complete installation |  |  | 1 | set |
| 06-06-02061 | Color Photocopying Machine + consumables spares and accessories |  |  | 1 | set |
| 06-06-02062 | Refrigerator 9 cu ft |  |  | 2 | pc |
| 06-06-02063 | Chalkboard double sided |  |  | 8 | pc |
| 06-06-02064 | PC type computer + accessories |  |  | 4 | set |
| 06-06-02065 | Overhead Projector + consumables spares and accessories |  |  | 2 | set |
| 06-06-02066 | Microphone & Amplifier complete system |  |  | 2 | set |
| 06-06-02067 | Water Cooler |  |  | 2 | set |
| 06-06-02068 | Mini bus with radio & AC |  |  | 1 | pc |
| 06-06-02069 | Student seats |  |  | 800 | pc |
| 06-06-02070 | Book cabinet with shelves |  |  | 120 | set |
| 06-06-02071 | Teaching Speaker Stand |  |  | 35 | pc |
| 06-06-02072 | Office desk |  |  | 130 | pc |
| 06-06-02073 | Metal curtains |  |  | 200 | set |
| 06-06-02074 | Transparency foils for laser printer |  |  | 500 | sheet |
| 06-06-02075 | Laser Printer Cartridge |  |  | 12 | set |
| 06-06-02076 | Gym machine - Jungle Machine mit 300 kg |  |  | 1 | set |
| 06-06-02077 | Gym machine - Unterarmtrainer mit 50 kg |  |  | 1 | set |
| 06-06-02078 | Gym machine - Curling Machine mit 60 kg - basisgerat zur Enmtwicklung der Bizeps |  |  | 1 | set |
| 06-06-02079 | Gym machine - Trizeps Combiturm mit 240 kg |  |  | 1 | set |
| 06-06-02080 | Gym machine - Curling Maschine mit 60 kg. |  |  | 1 | set |
| 06-06-02081 | Gym Machine - Calf Maschine Sitzend .mit 100 kg. |  |  | 1 | set |
| 06-06-02082 | Gym Machine - Wolff system |  |  | 1 | set |
| 06-06-02083 | Medium capacity Color photocopy machine + consumabales, spares and accessories |  |  | 1 | set |
| 06-06-02084 | Medium capacity photocopy machine + consumabales, spares and accessories |  |  | 1 | set |
| 06-06-02085 | PC type computer + accessories |  |  | 2 | set |
| 06-06-02086 | Electric type writer - English + consumables spares and accessories |  |  | 2 | set |
| 06-06-02087 | Air conditioners - Split Cold Air |  |  | 2 | set |
| 06-06-02088 | Wooden library shelving system |  |  | 2 | set |
| 06-06-02089 | swivel chair |  |  | 10 | pc |
| 06-06-02090 | Steel locker |  |  | 2 | set |
| 06-06-02091 | File cabinet |  |  | 4 | pc |
| 06-06-02092 | Labelling system |  |  | 2 | set |
| 06-06-02093 | Label tape write on color coded |  |  | 120 | set |
| 06-06-02094 | Transcutaneous electrical nerve stimulator |  |  | 2 | set |
| 06-06-02095 | Mentor conductor gel |  |  | 100 | pc |
| 06-06-02096 | Aquarium en verre avec eclairage |  |  | 1 | set |
| 06-06-02097 | Aquariophilie |  |  | 1 | set |
| 06-06-02098 | Young`s Modulus apparatus with all spares accessories and consumables |  |  | 4 | set |
| 06-06-02099 | Calorimeter set for evaluating Plank's constant |  |  | 1 | set |
| 06-06-02100 | Advanced optical bench, with spares + acc. |  |  | 2 | set |
| 06-06-02101 | Spherometer |  |  | 10 | set |
| 06-06-02102 | Advanced Spectrometer |  |  | 2 | set |
| 06-06-02103 | Laser Helium - Neon for training 632.8 nm |  |  | 2 | set |
| 06-06-02104 | Tuning fork set |  |  | 4 | set |
| 06-06-02105 | Microwave Transmitter set for student demonstration |  |  | 1 | set |
| 06-06-02106 | Microwave Receiver set |  |  | 1 | set |
| 06-06-02107 | Probe Receiver set |  |  | 1 | set |
| 06-06-02108 | Modulator, 200 KHz set |  |  | 1 | set |
| 06-06-02109 | Aluminium reflector with feet, 210*210mm |  |  | 1 | pc |
| 06-06-02110 | Aluminium reflector with feet, 210*60mm |  |  | 1 | pc |
| 06-06-02111 | Half-silvered mirror, hardboard, with feet, 210*210mm |  |  | 1 | pc |
| 06-06-02112 | Polarisation grile, in frame, 210*210mm |  |  | 1 | pc |
| 06-06-02113 | Plano-convex wax lens in frame, 340*340*60mm |  |  | 1 | pc |
| 06-06-02114 | Hollow semi-circular lens, 210mm dia*210mm hugh |  |  | 1 | pc |
| 06-06-02115 | Hollow prism, 45 45 90 (degrees), 310mm longest side x 210mm high |  |  | 1 | pc |
| 06-06-02116 | Hollow prism, 60 degrees, 210mm sides x 210mm high |  |  | 1 | pc |
| 06-06-02117 | Turnable with 105 V motor & scale, overall size 250mm dia*50mmhigh |  |  | 1 | set |
| 06-06-02118 | Ultrasonic Transmitter |  |  | 1 | pc |
| 06-06-02119 | Ultrasonic Receiver |  |  | 1 | pc |
| 06-06-02120 | Transducer |  |  | 1 | pc |
| 06-06-02121 | Perforated Plate |  |  | 1 | pc |
| 06-06-02122 | Battery charger |  |  | 2 | set |
| 06-06-02123 | Erbosonat Ultrasound Therapy unit |  |  | 2 | set |
| 06-06-02124 | Flexibility and Strength kit |  |  | 3 | kit |
| 06-06-02125 | Exercise fitners kit |  |  | 2 | kit |
| 06-06-02126 | Magnetizer |  |  | 2 | pc |
| 06-06-02127 | Piezo electric Demonstrator |  |  | 2 | set |
| 06-06-02128 | Agar |  |  | 5 | Kg |
| 06-06-02129 | Dextrose Caseinpepton Agar |  |  | 5 | Kg |
| 06-06-02130 | Formaldehyde solution |  |  | 10 | liter |
| 06-06-02131 | Glucose |  |  | 5 | Kg |
| 06-06-02132 | Gentian Violet |  |  | 1 | Kg |
| 06-06-02133 | Hydrochloric acid standard solution |  |  | 10 | liter |
| 06-06-02134 | Potassium cyanide |  |  | 2 | Kg |
| 06-06-02135 | Culture in vitro |  |  | 3 | set |
| 06-06-02136 | Honey extractor |  |  | 2 | set |
| 06-06-02137 | Observation hive |  |  | 3 | set |
| 06-06-02138 | Nose trucks . |  |  | 3 | set |
| 06-06-02139 | Plastic cut comb |  |  | 1 | set |
| 06-06-02140 | Portable turbity meter |  |  | 1 | set |
| 06-06-02141 | Lamotte Soil fertility testing kit |  |  | 1 | set |
| 06-06-02142 | Lamotte Soil fertility testing kit Refill |  |  | 1 | set |
| 06-06-02143 | Lamotte soil test kits |  |  | 1 | set |
| 06-06-02144 | Kelway salinity tester |  |  | 1 | set |
| 06-06-02145 | Kelway soil acidity and moisture meter |  |  | 1 | set |
| 06-06-02146 | Soil texture unit |  |  | 1 | set |
| 06-06-02147 | steel four - post drafting tables |  |  | 50 | set |
| 06-06-02148 | Clinometer with rangefinder |  |  | 2 | set |
| 06-06-02149 | Distance measuring Equipment |  |  | 2 | set |
| 06-06-02150 | Haga Altimerter |  |  | 2 | set |
| 06-06-02151 | Range-finder for Altimeter |  |  | 2 | set |
| 06-06-02152 | Range Height finder |  |  | 2 | set |
| 06-06-02153 | Timber cruising |  |  | 5 | pc |
| 06-06-02154 | Foot candle lux meter |  |  | 2 | set |
| 06-06-02155 | Vinyl carrying pouch for foot candle lux meter |  |  | 2 | pc |
| 06-06-02156 | Relaskop |  |  | 2 | set |
| 06-06-02157 | Wiant Abney Dendrometer |  |  | 2 | pc |
| 06-06-02158 | Diameter tape |  |  | 5 | set |
| 06-06-02159 | Barktax Bark Gauge |  |  | 5 | pc |
| 06-06-02160 | Aluminum tree calipers 50 cm |  |  | 2 | pc |
| 06-06-02161 | Aluminum tree calipers 60 cm |  |  | 2 | pc |
| 06-06-02162 | Aluminum tree calipers 80 cm |  |  | 2 | pc |
| 06-06-02163 | Aluminum tree calipers 95 cm |  |  | 2 | pc |
| 06-06-02164 | Thread borers no 104552 |  |  | 1 | set |
| 06-06-02165 | Thread borers no 104554 |  |  | 1 | set |
| 06-06-02166 | Thread borers no 104556 |  |  | 1 | set |
| 06-06-02167 | Thread borers no 104558 |  |  | 1 | set |
| 06-06-02168 | Thread borers no 104560 |  |  | 1 | set |
| 06-06-02169 | Thread borers no 105700 |  |  | 1 | set |
| 06-06-02170 | Thread borers no 105702 |  |  | 1 | set |
| 06-06-02171 | Thread borers no 105704 |  |  | 1 | set |
| 06-06-02172 | Thread borers no 105706 |  |  | 1 | set |
| 06-06-02173 | Thread borers no 105708 |  |  | 1 | set |
| 06-06-02174 | INCREMENT BORERS |  |  | 1 | set |
| 06-06-02175 | Ring measuring instrument |  |  | 1 | pc |
| 06-06-02176 | Bark scraper |  |  | 4 | set |
| 06-06-02177 | Bark spud |  |  | 3 | set |
| 06-06-02178 | Tree scribe with folding blade |  |  | 3 | pc |
| 06-06-02179 | Mini moisture meters |  |  | 2 | set |
| 06-06-02180 | Inspecter moisture meter |  |  | 2 | set |
| 06-06-02181 | Narrow moisture sensor |  |  | 2 | set |
| 06-06-02182 | Hand portable grain moisture meter |  |  | 2 | pc |
| 06-06-02183 | Steel rake |  |  | 10 | pc |
| 06-06-02184 | Post Hole Digger |  |  | 4 | pc |
| 06-06-02185 | Gas Trimmer |  |  | 2 | set |
| 06-06-02186 | Midsize power Pruner |  |  | 1 | set |
| 06-06-02187 | Digital Calipers with data ou put 1,3 lb. |  |  | 2 | set |
| 06-06-02188 | Digimatic Micrometer Accuracy of + 0,001 mm and rang of 0,25 , 4 mm |  |  | 7 | set |
| 06-06-02189 | 6v , 20 w tungsten halogen lamp |  |  | 10 | pc |
| 06-06-02190 | Biological cabinet |  |  | 1 | set |
| 06-06-02191 | Griffin Environmental Chamber with spare parts and accessories |  |  | 1 | set |
| 06-06-02192 | FUME HOOD |  |  | 1 | set |
| 06-06-02193 | Spare parts for FUME HOOD Ventilator |  |  | 1 | pc |
| 06-06-02194 | Spare parts for FUME HOOD motor protection switch |  |  | 1 | pc |
| 06-06-02195 | Spare parts for FUME HOOD 4 m pipes |  |  | 1 | set |
| 06-06-02196 | Spare parts for FUME HOOD 2 elbows 90 deg |  |  | 1 | set |
| 06-06-02197 | Spare parts for FUME HOOD 2 elbows 45 deg |  |  | 1 | set |
| 06-06-02198 | Spare parts for FUME HOOD weather cowl |  |  | 1 | pc |
| 06-06-02199 | Spare parts for FUME HOOD 4 sleeves |  |  | 1 | set |
| 06-06-02200 | PC type computer + accessories |  |  | 4 | set |
| 06-06-02201 | Printer HP Laser Jet |  |  | 4 | set |
| 06-06-02202 | Photocopy machine Large size B/W, consumbales, spares and accessories |  |  | 1 | set |
| 06-06-02203 | Generator 150 KVA |  |  | 1 | set |
| 06-06-02204 | Refrigerator 300l |  |  | 2 | pc |
| 06-06-02205 | Duplicator, comsumables, spares and accessories |  |  | 1 | set |
| 06-06-02206 | Switchboard system 100 lines, complete with UPS |  |  | 1 | set |
| 06-06-02207 | Water cooler |  |  | 2 | set |
| 06-06-02208 | Lockers |  |  | 10 | set |
| 06-06-02209 | Medium size Color Photocopier machine consumables, spares and accessories |  |  | 1 | set |
| 06-06-02210 | Electrical Typewriter Kurdish consumables, spares and accessories |  |  | 1 | set |
| 06-06-02211 | Electrical Typewriter English consumables, spares and accessories |  |  | 1 | set |
| 06-06-02212 | Direct Zeeman atomic absorption, spectrometry system |  |  | 2 | set |
| 06-06-02213 | Flame photometer - digital |  |  | 2 | set |
| 06-06-02214 | Spectrophotometer |  |  | 2 | set |
| 06-06-02215 | Fermentor |  |  | 1 | set |
| 06-06-02216 | Buchi- kieldahl |  |  | 2 | set |
| 06-06-02217 | Microscope |  |  | 2 | set |
| 06-06-02218 | PH- meter with buffer standards and spare electrode |  |  | 2 | set |
| 06-06-02219 | Autoclave |  |  | 2 | set |
| 06-06-02220 | Electrophoreses |  |  | 2 | set |
| 06-06-02221 | Didacam "junior" |  |  | 2 | set |
| 06-06-02222 | Conductimeter |  |  | 2 | set |
| 06-06-02223 | Centrifuge |  |  | 2 | set |
| 06-06-02224 | Balance- analytical |  |  | 2 | set |
| 06-06-02225 | Interface daequisition Expert |  |  | 1 | set |
| 06-06-02226 | Osmometer |  |  | 2 | set |
| 06-06-02227 | Thermometer, 50oC |  |  | 2 | pc |
| 06-06-02228 | Distributeur |  |  | 2 | set |
| 06-06-02229 | Bath |  |  | 2 | set |
| 06-06-02230 | Distillator |  |  | 2 | set |
| 06-06-02231 | Projector multimodial |  |  | 2 | set |
| 06-06-02232 | Cage for mice |  |  | 200 | pc |
| 06-06-02233 | Retroprojector complete with spares, consumables ad accessories |  |  | 2 | set |
| 06-06-02234 | Support sysdidac |  |  | 20 | set |
| 06-06-02235 | Support instrument |  |  | 10 | set |
| 06-06-02236 | Disposable petridish 55mm |  |  | 2000 | pc |
| 06-06-02237 | Disposable petridish 90mm |  |  | 2000 | pc |
| 06-06-02238 | Brushes |  |  | 50 | pc |
| 06-06-02239 | Bottles |  |  | 200 | pc |
| 06-06-02240 | Bottles for wash |  |  | 100 | pc |
| 06-06-02241 | Heating oven, high temperature |  |  | 2 | set |
| 06-06-02242 | Vacuum drying oven + spares and accessories |  |  | 2 | set |
| 06-06-02243 | Incubator + spares and accessories |  |  | 2 | set |
| 06-06-02244 | Incubator for anearobic culture + spares and accessories |  |  | 2 | set |
| 06-06-02245 | Drying and sterilizing oven + spares and accessories |  |  | 2 | set |
| 06-06-02246 | Universal oven + spares and accessories |  |  | 2 | set |
| 06-06-02247 | Germination Incubator, 2oC- 80oC + spares and accessories |  |  | 1 | set |
| 06-06-02248 | Ultra low temparature cabinet + spares and accessories |  |  | 1 | set |
| 06-06-02249 | Refrigerated bath circulator + spares and accessories |  |  | 1 | set |
| 06-06-02250 | Immersion cooler/ EKII + spares and accessories |  |  | 1 | set |
| 06-06-02251 | Cold plate |  |  | 2 | set |
| 06-06-02252 | Hot plate |  |  | 2 | set |
| 06-06-02253 | Shaker baths, 25, 50, 100 cm3 + spares and accessories |  |  | 2 | set |
| 06-06-02254 | Heating mantles |  |  | 2 | set |
| 06-06-02255 | Heating mantles, complete set |  |  | 2 | set |
| 06-06-02256 | Chamber furnace + spares and accessories |  |  | 2 | set |
| 06-06-02257 | Electric generator + spares and accessories |  |  | 2 | set |
| 06-06-02258 | Magnetic stirrer |  |  | 2 | set |
| 06-06-02259 | Combimag, mod. RET |  |  | 2 | set |
| 06-06-02260 | Mixer and shaker |  |  | 2 | set |
| 06-06-02261 | Rotary vacuum system + spares and accessories |  |  | 2 | set |
| 06-06-02262 | Universal mill + spares and accessories |  |  | 1 | set |
| 06-06-02263 | Vacuum pump + spares and accessories |  |  | 2 | Set |
| 06-06-02264 | Fraction collector |  |  | 1 | Set |
| 06-06-02265 | Electrophoresis system + spares and accessories |  |  | 2 | Set |
| 06-06-02266 | HP chromatography + spares and accessories |  |  | 1 | Set |
| 06-06-02267 | Basic set for thin layer chromatography + spares and accessories |  |  | 1 | Set |
| 06-06-02268 | Drying rack |  |  | 1 | Set |
| 06-06-02269 | Dyestaft test solution |  |  | 1 | Set |
| 06-06-02270 | Chromatography standard separation chamber |  |  | 1 | Set |
| 06-06-02271 | U.V analysis lamps |  |  | 1 | Set |
| 06-06-02272 | Paper chromatography chamber |  |  | 1 | Set |
| 06-06-02273 | Electrophoresis system + spares and accessories |  |  | 1 | Set |
| 06-06-02274 | Electrophoresis system 0298- 160 + spares and accessories |  |  | 1 | Set |
| 06-06-02275 | Main power supply unit for Electrophoresis |  |  | 1 | Set |
| 06-06-02276 | Full set of Chemicals for electrophoresis 0298- 180, 0298-182, 0298-184,0298-186, 0298-190, 0298-192, 0298-200, 0298-202, 0298-204, 0298-206. |  |  | 1 | Set |
| 06-06-02277 | Set of chemicals UG1 for electrophoresis |  |  | 1 | Set |
| 06-06-02278 | Disk chromatography with buffer cooling |  |  | 1 | Set |
| 06-06-02279 | Glass chromatography chamber |  |  | 1 | Set |
| 06-06-02280 | Fully automatic fraction collector with 200 tubes |  |  | 1 | set |
| 06-06-02281 | Centrifuge |  |  | 2 | set |
| 06-06-02282 | Refrigerated ultra centrifuge with all heads |  |  | 1 | set |
| 06-06-02283 | Sartorius balance |  |  | 2 | set |
| 06-06-02284 | Mettler balance |  |  | 2 | set |
| 06-06-02285 | PH/ mV meter buffer, + spares and accessories |  |  | 2 | set |
| 06-06-02286 | Research PH meter with recorder buffer, + spares and accessories |  |  | 2 | set |
| 06-06-02287 | Timers, Relays |  |  | 2 | set |
| 06-06-02288 | Analysis lamp, mod. Fluo test |  |  | 1 | set |
| 06-06-02289 | Volumetric flask, 50ml |  |  | 50 | pc |
| 06-06-02290 | Volumetric flask, 100ml |  |  | 50 | pc |
| 06-06-02291 | Volumetric flask, 250ml |  |  | 50 | pc |
| 06-06-02292 | Separating funnels 100ml |  |  | 50 | pc |
| 06-06-02293 | Separating funnels 250ml |  |  | 50 | pc |
| 06-06-02294 | Separating funnels 500ml |  |  | 50 | pc |
| 06-06-02295 | Flasks 250ml |  |  | 50 | pc |
| 06-06-02296 | Flasks 500ml |  |  | 50 | pc |
| 06-06-02297 | Muffle furnace |  |  | 1 | set |
| 06-06-02298 | Gas jar |  |  | 1 | Set |
| 06-06-02299 | Gauze Iron |  |  | 50 | pc |
| 06-06-02300 | Mixer |  |  | 2 | pc |
| 06-06-02301 | Pipette filler, 2ml |  |  | 50 | pc |
| 06-06-02302 | Pipette filler, 10ml |  |  | 50 | pc |
| 06-06-02303 | Refractometer + spares and accessories |  |  | 1 | pc |
| 06-06-02304 | PH indicator strips (for PH 0- 13) |  |  | 15 | pc |
| 06-06-02305 | PH indicator strips (for PH 0- 10) |  |  | 15 | pc |
| 06-06-02306 | PH indicator strips (for PH 0- 8) |  |  | 15 | pc |
| 06-06-02307 | PH indicator strips (for PH 0- 6) |  |  | 15 | pc |
| 06-06-02308 | PH indicator strips (for PH 0- 4) |  |  | 15 | pc |
| 06-06-02309 | PH indicator strips (for PH 0- 2) |  |  | 15 | pc |
| 06-06-02310 | Conductivity meter |  |  | 2 | set |
| 06-06-02311 | Portable TDS Meter |  |  | 2 | set |
| 06-06-02312 | Portabie Turbidometer |  |  | 2 | set |
| 06-06-02313 | Water Quality Monitoring System Model with accessories |  |  | 1 | set |
| 06-06-02314 | Water Action set ,Complete , Milton Ray |  |  | 1 | set |
| 06-06-02315 | Polytox Rapid Toxicity Test Kit |  |  | 1 | kit |
| 06-06-02316 | Chloride meter with Spare Parts |  |  | 1 | set |
| 06-06-02317 | Spare parts for Chloride meter silver anode |  |  | 1 | pc |
| 06-06-02318 | Spare parts for Chloride meter silver electrode (one cathode +2 detector) |  |  | 1 | set |
| 06-06-02319 | Spare parts for Chloride meter Vial of electrode polish |  |  | 1 | pc |
| 06-06-02320 | Spare parts for Chloride meter Acid Buffer 500 ml |  |  | 500 | ml |
| 06-06-02321 | Spare parts for Chloride meter Gelatin 30 ml |  |  | 30 | ml |
| 06-06-02322 | Spare parts for Chloride meter Industrial chloride standard 200mg/lit |  |  | 1 | litre |
| 06-06-02323 | PH - meter |  |  | 2 | pc |
| 06-06-02324 | spare part of PH -meter rubber protective holster |  |  | 2 | pc |
| 06-06-02325 | Dissolved Oxygen meter portable complete set |  |  | 1 | set |
| 06-06-02326 | Dissolved Oxygen meter |  |  | 1 | set |
| 06-06-02327 | Dissolved Oxygen meter Temp measuring probe |  |  | 1 | pc |
| 06-06-02328 | Dissolved Oxygen meter - Membrane &electrolyte |  |  | 1 | pc |
| 06-06-02329 | Dissolved Oxygen meter B.O.D attachment. |  |  | 1 | pc |
| 06-06-02330 | Recording Infrared spectrophotometers Range 400-600Cm-1 digital control / recording |  |  | 1 | set |
| 06-06-02331 | Ratio Recording Infrared spectrophotometer range 4000-400 Cm-1 |  |  | 1 | set |
| 06-06-02332 | Ratio Recording Infrared spectrophotometers range 4000-200 Cm-1 |  |  | 1 | set |
| 06-06-02333 | Double beam UV-Visible Spectrometer |  |  | 1 | set |
| 06-06-02334 | Fluorometer, (fluorescence meter) Excitation 225-650 nm. |  |  | 1 | set |
| 06-06-02335 | Fluorometer Model 112 with photomultiplier 200-750 nm |  |  | 1 | set |
| 06-06-02336 | Portable Radiation Alert, Monitor 4, range 0-5, 1-5, 10-50mR/h |  |  | 5 | Set |
| 06-06-02337 | Portable Radiation Alert, Monitor 4 w/thin-end window GM tube |  |  | 5 | Set |
| 06-06-02338 | Packet-size portable Radiation Alert, up to 5000 mR/hr. |  |  | 2 | set |
| 06-06-02339 | Balance-Analytical Capacity 60/120/230 g, Readabl\ility, 0.1 / 0.2 / 0.5 mg. |  |  | 2 | set |
| 06-06-02340 | Digital Conductivity meters |  |  | 3 | set |
| 06-06-02341 | Digital Furnace Controller thermolyne 35 amps |  |  | 3 | set |
| 06-06-02342 | Thermometer alarme |  |  | 15 | pc |
| 06-06-02343 | Thermometer Contact, corrosion resistant, direct reading |  |  | 15 | set |
| 06-06-02344 | Portable overhead projector 300 w, spares, consumables and accessories |  |  | 2 | set |
| 06-06-02345 | G68453 Compteur de temps geant |  |  | 10 | set |
| 06-06-02346 | G68500 Compteur numerique 2 cananx |  |  | 10 | set |
| 06-06-02347 | Bath, ultrasonic Max 2.5 liters, |  |  | 2 | set |
| 06-06-02348 | Temperature measurement and Calibration showing Concepts of measurement and temperature scales |  |  | 1 | set |
| 06-06-02349 | Room Hygrometers and Barometers 363-940 |  |  | 1 | set |
| 06-06-02350 | ANEROID Barometer, 940 to 1060 mbar |  |  | 1 | set |
| 06-06-02351 | 358 - 910 Laboratory Flat Bed xy-y-t Recorder. |  |  | 1 | set |
| 06-06-02352 | Laboratory Flat Bed xy-y-t Recorder. |  |  | 1 | set |
| 06-06-02353 | Overhead Projector spares, consumables and accessories |  |  | 2 | set |
| 06-06-02354 | FORTIN Barometer |  |  | 2 | pc |
| 06-06-02355 | Luxmeter |  |  | 2 | pc |
| 06-06-02356 | Thermometer Digital, indoor, out door |  |  | 2 | pc |
| 06-06-02357 | Precision Geodesic Altimeter |  |  | 2 | pc |
| 06-06-02358 | Aneriod Barograph Drum recorder |  |  | 2 | pc |
| 06-06-02359 | Recording Charts for Drum recorder |  |  | 4 | Set |
| 06-06-02360 | Maximum-Minimum thermometer, set of 10 |  |  | 2 | set |
| 06-06-02361 | Hand cup anemonimeter indicating range 0 - 30 m /sec |  |  | 2 | set |
| 06-06-02362 | Transmeter for wind velocity and direction |  |  | 2 | set |
| 06-06-02363 | sunshine recorder |  |  | 1 | set |
| 06-06-02364 | Recording Charts |  |  | 5 | set |
| 06-06-02365 | solarimeter with integrator |  |  | 1 | set |
| 06-06-02366 | Pye Unicam IR spectrophotometer PU 9516 |  |  | 1 | set |
| 06-06-02367 | IR spectrophotometer Spare part Polishing Kit |  |  | 1 | kit |
| 06-06-02368 | IR spectrophotometer Laboratory starter Kit |  |  | 1 | kit |
| 06-06-02369 | IR spectrophotometer Solid Sampling Kit |  |  | 1 | kit |
| 06-06-02370 | IR spectrophotometer Liquid Sampling Kit |  |  | 1 | kit |
| 06-06-02371 | IR spectrophotometer Micro sampling Kit |  |  | 1 | kit |
| 06-06-02372 | Fully Automated AAS Pye- Unicam SP 9-800 complete with consumables? spares and accessories |  |  | 1 | set |
| 06-06-02373 | Hollow cathode lamp for AAS |  |  | 1 | set |
| 06-06-02374 | CHNO analyzer Fully Automatic |  |  | 1 | set |
| 06-06-02375 | Analytical Balance Single pan |  |  | 3 | set |
| 06-06-02376 | Analytical Balance - electronic balance with LCD Display |  |  | 4 | pc |
| 06-06-02377 | Cold plate -35 to +25 C |  |  | 2 | set |
| 06-06-02378 | Refrigerated Thermostatic Circulater |  |  | 2 | pc |
| 06-06-02379 | Portable Multimeters |  |  | 3 | pc |
| 06-06-02380 | Conductivity Meter with essential accessories for conductivity meter |  |  | 2 | set |
| 06-06-02381 | PH-meter 31/ 2 digit LCD Display for pH and MV |  |  | 6 | set |
| 06-06-02382 | Spare combination electrode, Ag/AgCl |  |  | 2 | pc |
| 06-06-02383 | Redox combination electrode |  |  | 2 | pc |
| 06-06-02384 | Double platinum electrode |  |  | 2 | pc |
| 06-06-02385 | BUFFER & electrolyte solutions |  |  | 2 | set |
| 06-06-02386 | Combination electrode |  |  | 2 | pc |
| 06-06-02387 | Redox combination electrode |  |  | 2 | pc |
| 06-06-02388 | Fluoride electrode |  |  | 1 | pc |
| 06-06-02389 | Chloride electrode |  |  | 1 | pc |
| 06-06-02390 | Bromide electrode |  |  | 1 | pc |
| 06-06-02391 | Cyanide electrode |  |  | 1 | pc |
| 06-06-02392 | Sulphur electrode |  |  | 1 | pc |
| 06-06-02393 | Calomel Reference electrode |  |  | 2 | pc |
| 06-06-02394 | Silver Chloride double junction electrode |  |  | 2 | pc |
| 06-06-02395 | Melting point apparatus |  |  | 4 | set |
| 06-06-02396 | Capillary melting point tubes |  |  | 4 | pack |
| 06-06-02397 | Spare bulb, Melting point apparatus |  |  | 2 | pc |
| 06-06-02398 | Peristaltic pump 7 to 6000 ml/min. |  |  | 2 | pc |
| 06-06-02399 | Silicone tubing, wall thickness 3.2mm |  |  | 20 | piece |
| 06-06-02400 | Tubes Neoprene, wall thickness 3.2mm |  |  | 20 | pack |
| 06-06-02401 | Vertical Y-t laboratory recorder |  |  | 2 | set |
| 06-06-02402 | Chart paper for recorder |  |  | 10 | Rolls |
| 06-06-02403 | Spare fiber-Tip pen, red for channel |  |  | 10 | pc |
| 06-06-02404 | spare part for fiber-Tip pen, blue |  |  | 10 | pc |
| 06-06-02405 | spare part for recorder; fiber-Tip pen, Green |  |  | 10 | pc |
| 06-06-02406 | spare part for recorder: writing Accessory kit |  |  | 10 | pc |
| 06-06-02407 | Chamber furnace with temp control and programming unit |  |  | 1 | set |
| 06-06-02408 | Centerifuge - Small |  |  | 5 | pc |
| 06-06-02409 | Meling point apparatus |  |  | 5 | set |
| 06-06-02410 | Melting point capillaries |  |  | 1 | pack |
| 06-06-02411 | Viscometer |  |  | 2 | set |
| 06-06-02412 | Printer |  |  | 2 | pc |
| 06-06-02413 | Chart paper for printer |  |  | 12 | rolls |
| 06-06-02414 | Capillary viscosity measuring instrument |  |  | 1 | pc |
| 06-06-02415 | Ubbelohde viscometer black |  |  | 5 | pc |
| 06-06-02416 | Ubbelohde viscometer black/blue |  |  | 5 | pc |
| 06-06-02417 | Ubbelohde viscometer blue |  |  | 5 | pc |
| 06-06-02418 | Tempering vessel |  |  | 2 | pc |
| 06-06-02419 | Electrodes Platinum-Iridium double Gauze Electrode, Fisher type |  |  | 2 | pc |
| 06-06-02420 | Hydrometer set |  |  | 2 | set |
| 06-06-02421 | Rotary evaporator set |  |  | 5 | set |
| 06-06-02422 | pH Indicator paper books |  |  | 10 | pc |
| 06-06-02423 | 4 Books in English |  |  | 1 | set |
| 06-06-02424 | 5 Periodicals - up to 10 years backrun in English |  |  | 1 | set |
| 06-06-02425 | 17 Books and Encyclopedia in English |  |  | 1 | set |
| 06-06-02426 | 15 Books in English |  |  | 1 | set |
| 06-06-02427 | 3 backruns of Periodicals from 1995 in English |  |  | 1 | set |
| 06-06-02428 | 8 year backruns of 13 Periodicals in English |  |  | 1 | set |
| 06-06-02429 | Set of Maps |  |  | 1 | set |
| 06-06-02430 | Physical and Demographic Atlas |  |  | 100 | pc |
| 06-06-02431 | 8 year backruns of 8 Periodicals in English |  |  | 1 | set |
| 06-06-02432 | 10 Books in Arabic, Kurdish and Persian |  |  | 1 | set |
| 06-06-02433 | 95 Books in Arabic, Kurdish and Persian |  |  | 1 | set |
| 06-06-02434 | 30 Periodicals in Arabic, Kurdish and Persian with back runs |  |  | 1 | set |
| 06-06-02435 | 4 Periodicals in Arabic, Kurdish and Persian with 5 year back runs |  |  | 1 | set |
| 06-06-02436 | 15 Books in Arabic, Kurdish and Persian |  |  | 1 | set |
| 06-06-02437 | 16 Books in Arabic, Kurdish and Persian |  |  | 1 | set |
| 06-06-02438 | 1 Books in Arabic, Kurdish and Persian |  |  | 1 | set |
| 06-06-02439 | 680 Books and Periodicals (including 5 yr backruns) in Arabic, Kurdish and Persian |  |  | 1 | set |
| 06-06-02440 | Universal Testing Machine 2000 KN, Tension-Compression |  |  | 2 | set |
| 06-06-02441 | Slump Test |  |  | 4 | set |
| 06-06-02442 | Electrical Strain Meter |  |  | 3 | set |
| 06-06-02443 | Slide Developing Equipment complete system with consumbables, spares, accessories |  |  | 1 | set |
| 06-06-02444 | Mechanical Pencil set For Engineering Drawing |  |  | 30 | set |
| 06-06-02445 | Universal Testing Machine Tensile/Compression/Bending/Folding/Shear tests, up to 100kN |  |  | 2 | set |
| 06-06-02446 | Rotary Bending Fatigue Testing Machine |  |  | 1 | set |
| 06-06-02447 | Surface Grinding Machine. |  |  | 1 | set |
| 06-06-02448 | Spectrum Analyzer Frequency: 9 KHz-22Ghz. Dynamic range: 110 dB. |  |  | 1 | set |
| 06-06-02449 | Universal Board for Electrical Lab |  |  | 10 | set |
| 06-06-02450 | Radio Trainer |  |  | 1 | set |
| 06-06-02451 | Color TV Trainer |  |  | 4 | set |
| 06-06-02452 | Kits For AM |  |  | 3 | kit |
| 06-06-02453 | Synchronous Motor (and Generator) |  |  | 3 | set |
| 06-06-02454 | Slip-Ring Induction Motor |  |  | 6 | set |
| 06-06-02455 | Squirrel Cage Induction Motor |  |  | 2 | set |
| 06-06-02456 | Universal AC/DC Motor |  |  | 3 | set |
| 06-06-02457 | Split Phase Motor |  |  | 1 | set |
| 06-06-02458 | Capacitor Starter Motor |  |  | 1 | set |
| 06-06-02459 | Repulsion Induction Motor |  |  | 7 | set |
| 06-06-02460 | Speed Control System Panel. |  |  | 1 | set |
| 06-06-02461 | Power Transister Inverter |  |  | 1 | pc |
| 06-06-02462 | Matrix Board for Experiment |  |  | 10 | pc |
| 06-06-02463 | Transistor, NPN, NPSA13 |  |  | 100 | pc |
| 06-06-02464 | Transistor, PNP, ZTX705 |  |  | 100 | pc |
| 06-06-02465 | Power Transistor PNP , BD 744 |  |  | 100 | pc |
| 06-06-02466 | Power Transistor NPN 2N6546 |  |  | 100 | pc |
| 06-06-02467 | RF Transistor BFY90 |  |  | 200 | pc |
| 06-06-02468 | 1 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02469 | 1.1 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02470 | 1.2 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02471 | 1.3 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02472 | 1.5 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02473 | 1.6 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02474 | 1.8 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02475 | 2 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02476 | 2.2 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02477 | 2.4 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02478 | 2.7 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02479 | 3 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02480 | 3.3 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02481 | 3.6 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02482 | 3.9 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02483 | 4.3 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02484 | 4.7 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02485 | 5.1 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02486 | 5.6 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02487 | 6.2 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02488 | 6.8 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02489 | 7.5 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02490 | 8.2 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02491 | 9.1 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02492 | 10 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02493 | 11 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02494 | 12 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02495 | 13 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02496 | 15 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02497 | 16 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02498 | 18 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02499 | 20 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02500 | 22 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02501 | 24 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02502 | 27 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02503 | 30 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02504 | 33 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02505 | 36 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02506 | 39 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02507 | 43 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02508 | 47 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02509 | 51 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02510 | 56 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02511 | 62 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02512 | 68 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02513 | 75 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02514 | 82 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02515 | 91 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02516 | 100 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02517 | 120 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02518 | 150 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02519 | 180 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02520 | 220 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02521 | 270 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02522 | 330 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02523 | 390 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02524 | 470 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02525 | 560 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02526 | 680 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02527 | 820 Kohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02528 | 1M ohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02529 | 1.2M ohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02530 | 1.5M ohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02531 | 1.8M ohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02532 | 2.2M ohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02533 | 2.7M ohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02534 | 3.3M ohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02535 | 3.9M ohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02536 | 4.7M ohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02537 | 5.6M ohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02538 | 6.8M ohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02539 | 8.2M ohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02540 | 10M ohm 0.66W Carbon Film |  |  | 200 | pc |
| 06-06-02541 | 10 Kohm 0.5W Metal Film |  |  | 200 | pc |
| 06-06-02542 | 11 Kohm 0.5W Metal Film |  |  | 200 | pc |
| 06-06-02543 | 12 Kohm 0.5W Metal Film |  |  | 200 | pc |
| 06-06-02544 | 13 Kohm 0.5W Metal Film |  |  | 200 | pc |
| 06-06-02545 | 15 Kohm 0.5W Metal Film |  |  | 200 | pc |
| 06-06-02546 | 16 Kohm 0.5W Metal Film |  |  | 200 | pc |
| 06-06-02547 | 18 Kohm 0.5W Metal Film |  |  | 200 | pc |
| 06-06-02548 | 20 Kohm 0.5W Metal Film |  |  | 200 | pc |
| 06-06-02549 | 22 Kohm 0.5W Metal Film |  |  | 200 | pc |
| 06-06-02550 | 24 Kohm 0.5W Metal Film |  |  | 200 | pc |
| 06-06-02551 | 27 Kohm 0.5W Metal Film |  |  | 200 | pc |
| 06-06-02552 | 30 Kohm 0.5W Metal Film |  |  | 200 | pc |
| 06-06-02553 | 33 Kohm 0.5W Metal Film |  |  | 200 | pc |
| 06-06-02554 | 36 Kohm 0.5W Metal Film |  |  | 200 | pc |
| 06-06-02555 | 39 Kohm 0.5W Metal Film |  |  | 200 | pc |
| 06-06-02556 | 43 Kohm 0.5W Metal Film |  |  | 200 | pc |
| 06-06-02557 | 47 Kohm 0.5W Metal Film |  |  | 200 | pc |
| 06-06-02558 | 51 Kohm 0.5W Metal Film |  |  | 200 | pc |
| 06-06-02559 | 56 Kohm 0.5W Metal Film |  |  | 200 | pc |
| 06-06-02560 | 62 Kohm 0.5W Metal Film |  |  | 200 | pc |
| 06-06-02561 | 68 Kohm 0.5W Metal Film |  |  | 200 | pc |
| 06-06-02562 | 75 Kohm 0.5W Metal Film |  |  | 200 | pc |
| 06-06-02563 | 82 Kohm 0.5W Metal Film |  |  | 200 | pc |
| 06-06-02564 | 91 Kohm 0.5W Metal Film |  |  | 200 | pc |
| 06-06-02565 | 100 Kohm 0.5W Metal Film |  |  | 200 | pc |
| 06-06-02566 | 10 Kohm 0.5W wire wound, minimal inductance |  |  | 80 | pc |
| 06-06-02567 | 20Kohm 0.5W wire wound, minimal inductance |  |  | 80 | pc |
| 06-06-02568 | 40Kohm 0.5W wire wound, minimal inductance |  |  | 80 | pc |
| 06-06-02569 | 100Kohm 0.5W wire wound, minimal inductance |  |  | 80 | pc |
| 06-06-02570 | 10 Kohm 12W wire wound, minimal inductance |  |  | 80 | pc |
| 06-06-02571 | 20Kohm 12W wire wound, minimal inductance |  |  | 80 | pc |
| 06-06-02572 | 40Kohm 12W wire wound, minimal inductance |  |  | 80 | pc |
| 06-06-02573 | 100Kohm 12W wire wound, minimal inductance |  |  | 80 | pc |
| 06-06-02574 | Capacitor, electrolytic 10V; 100microF |  |  | 200 | pc |
| 06-06-02575 | Capacitor, electrolytic 10V; 1000microF |  |  | 200 | pc |
| 06-06-02576 | Capacitor, electrolytic 25V; 22microF |  |  | 200 | pc |
| 06-06-02577 | Capacitor, electrolytic 25V; 4700microF |  |  | 200 | pc |
| 06-06-02578 | Capacitor, electrolytic63V; 10microF |  |  | 200 | pc |
| 06-06-02579 | Capacitor, electrolytic 63V; 470microF |  |  | 200 | pc |
| 06-06-02580 | Capacitor, solid Tantalum 6.3V; 6.8microF |  |  | 200 | pc |
| 06-06-02581 | Capacitor, solid Tantalum 6.3V; 10microF |  |  | 200 | pc |
| 06-06-02582 | Capacitor, solid Tantalum 25V; 2.2microF |  |  | 200 | pc |
| 06-06-02583 | Capacitor, solid Tantalum 25V; 1microF |  |  | 200 | pc |
| 06-06-02584 | Capacitor, Monolithic Ceramic 1nF |  |  | 200 | pc |
| 06-06-02585 | Capacitor, Monolithic Ceramic 10nF |  |  | 200 | pc |
| 06-06-02586 | Capacitor, Monolithic Ceramic 0.1nF |  |  | 200 | pc |
| 06-06-02587 | Capacitor, Disc Ceramic 1000pF |  |  | 200 | pc |
| 06-06-02588 | Inductors, 100microH; 200mA |  |  | 100 | pc |
| 06-06-02589 | Inductors, 10microH; 40mA |  |  | 100 | pc |
| 06-06-02590 | Inductors, 1000microH; 0.35A |  |  | 100 | pc |
| 06-06-02591 | Diode, BY 396P |  |  | 100 | pc |
| 06-06-02592 | Diode, 1N4933S |  |  | 100 | pc |
| 06-06-02593 | Diode, Shottky Barriers SB140 |  |  | 100 | pc |
| 06-06-02594 | Diode, Stud Mounting 16F40 |  |  | 100 | pc |
| 06-06-02595 | Diode, Stud Mounting 70HF120 |  |  | 100 | pc |
| 06-06-02596 | Semiconductors, 6A In-Line KBU6B |  |  | 100 | pc |
| 06-06-02597 | Surface Mounting, 12A Single Phase SKB25/02 |  |  | 100 | pc |
| 06-06-02598 | Zener Diode, BZX79 Series, 500microW 5.1Vz |  |  | 200 | pc |
| 06-06-02599 | Zener Diode, BZX79 Series, 500microW 9.1Vz |  |  | 200 | pc |
| 06-06-02600 | Zener Diode, BZX79 Series, 500microW 12Vz |  |  | 200 | pc |
| 06-06-02601 | Zener Diode, BZX79 Series, 500microW 3.0Vz |  |  | 200 | pc |
| 06-06-02602 | UJT, MOS small-signal MFE201 |  |  | 200 | pc |
| 06-06-02603 | UJT, MOS small-signal IFRD 111 |  |  | 200 | pc |
| 06-06-02604 | UJT, MOS power BUZ232 |  |  | 100 | pc |
| 06-06-02605 | UJT, MOS power MTP10N10 |  |  | 100 | pc |
| 06-06-02606 | FET, 2N5486 |  |  | 200 | pc |
| 06-06-02607 | FET, BF244 |  |  | 200 | pc |
| 06-06-02608 | FET, 2N4391 |  |  | 200 | pc |
| 06-06-02609 | FET, 2N5459 |  |  | 200 | pc |
| 06-06-02610 | 5mm Siemens GaAs Emitters LD274 |  |  | 100 | pc |
| 06-06-02611 | 5mm Siemens Silicon photodiode SFH203 |  |  | 100 | pc |
| 06-06-02612 | 5mm Siemens Phototransistor SFH300 |  |  | 100 | pc |
| 06-06-02613 | Kodenshi GaAs Emitter EL23G |  |  | 100 | pc |
| 06-06-02614 | Kodenshi Phototransistor ST23G |  |  | 100 | pc |
| 06-06-02615 | IR Remote Control Receiver IS1U60 |  |  | 50 | pc |
| 06-06-02616 | IR Data Communication Unit RY5AT01 |  |  | 50 | pc |
| 06-06-02617 | 6-Pin Darlington MCA2231X |  |  | 200 | pc |
| 06-06-02618 | VDE 0884 Approved - Wide Body/Long Creepage H11AV1X |  |  | 200 | pc |
| 06-06-02619 | 4-Pin Multiple Darlington PS2502-4 |  |  | 200 | pc |
| 06-06-02620 | 0.27in. Integral Counter TIL306 |  |  | 300 | pc |
| 06-06-02621 | 0.27in. Hexadecimal TIL 311 |  |  | 300 | pc |
| 06-06-02622 | LED Indicator red |  |  | 300 | pc |
| 06-06-02623 | LED Indicator green |  |  | 300 | pc |
| 06-06-02624 | LED Indicator yellow |  |  | 300 | pc |
| 06-06-02625 | Ultra-Bright LED indicator |  |  | 300 | pc |
| 06-06-02626 | LED Indicator, Tri-Color LU5351-JM |  |  | 300 | pc |
| 06-06-03000 | Diesel Bus 40-45 seats w/options (air-con, radio-tape) |  |  | 4 | Piece |
| 06-06-03001 | Usual spare parts for Diesel Bus 40-45 seats |  |  | 4 | Set |
| 06-06-03002 | Petrol Pick-up double cabin w/options (air-con, radio-tape) |  |  | 4 | Piece |
| 06-06-03003 | Usual spare parts for Petrol Pick-up |  |  | 4 | set |