ANNEX SEVEN/ TRANSPORT & COMMUNICATIONS / TELECOMMUNICATIONS

Sub-sector:   REPLACEMENT OF  OLD CROSSBAR EXCHANGES IN BAGHDAD

Site Name:    CENTRAL in BAGHDAD

| # Code | Item Description | # Unit | # Qty. | Complementary Items |
| --- | --- | --- | --- | --- |
| 07-01-00001 07-01-00002 07-01-00003 07-01-00004 07-01-00005 07-01-00006 07-01-00007 07-01-00008 07-01-00009 07-01-00010 | SWITCHING EQUIPMENT for 30000 subscriber lines and 250 E1 digital interface: - Subscriber Connections - Trunk equipment - Tones and Signaling - Control Processors - Operation and Maintenance Processors - Peripherals - Racks and Ironworks - Installation and Maintenance tools, Materials and Facilities - Documentation | Lot Lot Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 1 1 2 |  |
| 07-01-00011 07-01-00012 07-01-00013 07-01-00014 07-01-00015 07-01-00016 07-01-00017 07-01-00018 07-01-00019 07-01-00020 | POWER PLANT - Operation and Maintenance Processors - Peripherals - 48V power supplies - DC\DC Converters - Inverters 2KVA - 48V Batteries, 6400 AH - Cables - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set Set Set Lot Set | 1 1 1 1 1 2 2 1 1 1 |  |
| 07-01-00021 07-01-00022 07-01-00023 07-01-00024 | AIR CONDITIONERS - 60 kW 50Hz, 220\380V - Installation and Maintenance tools and Materials - Documentation | Lot Set Lot Set | 1 3 1 2 |  |
| 07-01-00025 07-01-00026 07-01-00027 07-01-00028 07-01-00029 07-01-00030 07-01-00031 07-01-00032 | Main Distribution Frames - Terminal Blocks - Over voltage protection - Over current protection - Ironwork - Installation tools - Cables & Jumper wire - Documentation | Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 2 |  |
| 07-01-00033 07-01-00034 07-01-00035 07-01-00036 07-01-00037 07-01-00038 | FIRE PROTECTION EQUIPMENT - Detection units - Control &Alarm Unit - Manual Distinguishers - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set | 1 1 1 1 1 2 |  |
| 07-01-00039 | False Floor – False Ceiling for switching room | Lot | 1 |  |
| 07-01-00040 | SPARE PARTS | Lot | 1 |  |
| 07-01-00041 07-01-00042 07-01-00043 07-01-00044 07-01-00045 | DIESEL ENGINE GENERATOR - Capacity 600 KVA - Installation and Maintenance tools and Materials - Spare Parts - Documentation | Lot Set Lot Lot Set | 1 2 1 1 2 |  |
| 07-01-00046 07-01-00047 07-01-00048 07-01-00049 | SERVICES - Training abroad - Training in Iraq - Supplier Experts(Supervisors or Trainer) | Lot Trainee Trainee Expert | 1 2 6 2 |  |

Expected Delivery Time: 5 Months			Expected Implementation Time: 6 Months

ANNEX SEVEN/ TRANSPORT & COMMUNICATIONS / TELECOMMUNICATIONS

Sub-sector:   REPLACEMENT OF OLD CROSSBAR EXCHANGES IN BAGHDAD

Site Name:   SAB-ABKAR in BAGHDAD

| # Code | Item Description | # Unit | # Qty. | Complementary Items |
| --- | --- | --- | --- | --- |
| 07-01-01051 07-01-01052 07-01-01053 07-01-01054 07-01-01055 07-01-01056 07-01-01057 07-01-01058 07-01-01059 07-01-01060 | SWITCHING EQUIPMENT for 25010 subscriber lines and 200 E1 digital interface: - Subscriber Connections - Trunk equipment - Tones and Signaling - Control Processors - Operation and Maintenance Processors - Peripherals - Racks and Ironworks - Installation and Maintenance tools, Materials and Facilities - Documentation | Lot Lot Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 1 1 2 |  |
| 07-01-01061 07-01-01062 07-01-01063 07-01-01064 07-01-01065 07-01-01066 07-01-01067 07-01-01068 07-01-01069 07-01-01070 | POWER PLANT - Operation and Maintenance Processors - Peripherals - 48V power supplies - DC\DC Converters - Inverters 2KVA - 48V Batteries, 6400 AH - Cables - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set Set Set Lot Set | 1 1 1 1 1 2 2 1 1 1 |  |
| 07-01-01071 07-01-01072 07-01-01073 07-01-01074 | AIR CONDITIONERS - 60 kW 50Hz, 220\380V - Installation and Maintenance tools and Materials - Documentation | Lot Set Lot Set | 1 3 1 2 |  |
| 07-01-01075 07-01-01076 07-01-01077 07-01-01078 07-01-01079 07-01-01080 07-01-01081 07-01-01082 | Main Distribution Frames - Terminal Blocks - Over voltage protection - Over current protection - Ironwork - Installation tools - Cables & Jumper wire - Documentation | Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 2 |  |
| 07-01-01083 07-01-01084 07-01-01085 07-01-01086 07-01-01087 07-01-01088 | FIRE PROTECTION EQUIPMENT - Detection units - Control &Alarm Unit - Manual Distinguishers - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set | 1 1 1 1 1 2 |  |
| 07-01-01089 | False Floor – False Ceiling for switching room | Lot | 1 |  |
| 07-01-01090 | SPARE PARTS | Lot | 1 |  |
| 07-01-01091 07-01-01092 07-01-01093 07-01-01094 07-01-01095 | DIESEL ENGINE GENERATOR - Capacity 600 KVA - Installation and Maintenance tools and Materials - Spare Parts - Documentation | Lot Set Lot Lot Set | 1 2 1 1 2 |  |
| 07-01-01096 07-01-01097 07-01-01098 07-01-01099 | SERVICES - Training abroad - Training in Iraq - Supplier Experts(Supervisors or Trainer) | Lot Trainee Trainee Expert | 1 2 6 2 |  |

Expected Delivery Time: 5 Months			Expected Implementation Time: 6 Months

ANNEX SEVEN/ TRANSPORT & COMMUNICATIONS / TELECOMMUNICATIONS

Sub-sector:   REPLACEMENT OF OLD CROSSBAR EXCHANGES IN BAGHDAD

Site Name:   DAUODI in BAGHDAD

| # Code | Item Description | # Unit | # Qty. | Complementary Items |
| --- | --- | --- | --- | --- |
| 07-01-02001 07-01-02002 07-01-02003 07-01-02004 07-01-02005 07-01-02006 07-01-02007 07-01-02008 07-01-02009 07-01-02010 | SWITCHING EQUIPMENT for 25020 subscriber lines and 200 E1 digital interface: - Subscriber Connections - Trunk equipment - Tones and Signaling - Control Processors - Operation and Maintenance Processors - Peripherals - Racks and Ironworks - Installation and Maintenance tools, Materials and Facilities - Documentation | Lot Lot Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 1 1 2 |  |
| 07-01-02011 07-01-02012 07-01-02013 07-01-02014 07-01-02015 07-01-02016 07-01-02017 07-01-02018 07-01-02019 07-01-02020 | POWER PLANT - Operation and Maintenance Processors - Peripherals - 48V power supplies - DC\DC Converters - Inverters 2KVA - 48V Batteries, 6400 AH - Cables - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set Set Set Lot Set | 1 1 1 1 1 2 2 1 1 1 |  |
| 07-01-02021 07-01-02022 07-01-02023 07-01-02024 | AIR CONDITIONERS - 60 kW 50Hz, 220\380V - Installation and Maintenance tools and Materials - Documentation | Lot Set Lot Set | 1 3 1 2 |  |
| 07-01-02025 07-01-02026 07-01-02027 07-01-02028 07-01-02029 07-01-02030 07-01-02031 07-01-02032 | Main Distribution Frames - Terminal Blocks - Over voltage protection - Over current protection - Ironwork - Installation tools - Cables & Jumper wire - Documentation | Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 2 |  |
| 07-01-02033 07-01-02034 07-01-02035 07-01-02036 07-01-02037 07-01-02038 | FIRE PROTECTION EQUIPMENT - Detection units - Control &Alarm Unit - Manual Distinguishers - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set | 1 1 1 1 1 2 |  |
| 07-01-02039 | False Floor – False Ceiling for switching room | Lot | 1 |  |
| 07-01-02040 | SPARE PARTS | Lot | 1 |  |
| 07-01-02041 07-01-02042 07-01-02043 07-01-02044 07-01-02045 | DIESEL ENGINE GENERATOR - Capacity 600 KVA - Installation and Maintenance tools and Materials - Spare Parts - Documentation | Lot Set Lot Lot Set | 1 2 1 1 2 |  |
| 07-01-02046 07-01-02047 07-01-02048 07-01-02049 | SERVICES - Training abroad - Training in Iraq - Supplier Experts(Supervisors or Trainer) | Lot Trainee Trainee Expert | 1 2 6 2 |  |

Expected Delivery Time: 5 Months			Expected Implementation Time: 6 Months

ANNEX SEVEN/ TRANSPORT & COMMUNICATIONS / TELECOMMUNICATIONS

Sub-sector:   REPLACEMENT OF OLD CROSSBAR EXCHANGES IN BAGHDAD

Site Name:   JADIRIYA in BAGHDAD

| # Code | Item Description | # Unit | # Qty. | Complementary Items |
| --- | --- | --- | --- | --- |
| 07-01-03051 07-01-03052 07-01-03053 07-01-03054 07-01-03055 07-01-03056 07-01-03057 07-01-03058 07-01-03059 07-01-03060 | SWITCHING EQUIPMENT for 20300 subscriber lines and 150 E1 digital interface: - Subscriber Connections - Trunk equipment - Tones and Signaling - Control Processors - Operation and Maintenance Processors - Peripherals - Racks and Ironworks - Installation and Maintenance tools, Materials and Facilities - Documentation | Lot Lot Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 1 1 2 |  |
| 07-01-03061 07-01-03062 07-01-03063 07-01-03064 07-01-03065 07-01-03066 07-01-03067 07-01-03068 07-01-03069 07-01-03070 | POWER PLANT - Operation and Maintenance Processors - Peripherals - 48V power supplies - DC\DC Converters - Inverters 2KVA - 48V Batteries, 6400 AH - Cables - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set Set Set Lot Set | 1 1 1 1 1 2 2 1 1 1 |  |
| 07-01-03071 07-01-03072 07-01-03073 07-01-03074 | AIR CONDITIONERS - 60 kW 50Hz, 220\380V - Installation and Maintenance tools and Materials - Documentation | Lot Set Lot Set | 1 3 1 2 |  |
| 07-01-03075 07-01-03076 07-01-03077 07-01-03078 07-01-03079 07-01-03080 07-01-03081 07-01-03082 | Main Distribution Frames - Terminal Blocks - Over voltage protection - Over current protection - Ironwork - Installation tools - Cables & Jumper wire - Documentation | Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 2 |  |
| 07-01-03083 07-01-03084 07-01-03085 07-01-03086 07-01-03087 07-01-03088 | FIRE PROTECTION EQUIPMENT - Detection units - Control &Alarm Unit - Manual Distinguishers - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set | 1 1 1 1 1 2 |  |
| 07-01-03089 | False Floor – False Ceiling for switching room | Lot | 1 |  |
| 07-01-03090 | SPARE PARTS | Lot | 1 |  |
| 07-01-03091 07-01-03092 07-01-03093 07-01-03094 07-01-03095 | DIESEL ENGINE GENERATOR - Capacity 600 KVA - Installation and Maintenance tools and Materials - Spare Parts - Documentation | Lot Set Lot Lot Set | 1 2 1 1 2 |  |
| 07-01-03096 07-01-03097 07-01-03098 07-01-03099 | SERVICES - Training abroad - Training in Iraq - Supplier Experts(Supervisors or Trainer) | Lot Trainee Trainee Expert | 1 2 6 2 |  |

Expected Delivery Time: 5 Months			Expected Implementation Time: 6 Months

ANNEX SEVEN/ TRANSPORT & COMMUNICATIONS / TELECOMMUNICATIONS

Sub-sector:   REPLACEMENT OF OLD CROSSBAR EXCHANGES IN BAGHDAD

Site Name:   DORA in BAGHDAD

| # Code | Item Description | # Unit | # Qty. | Complementary Items |
| --- | --- | --- | --- | --- |
| 07-01-04051 07-01-04052 07-01-04053 07-01-04054 07-01-04055 07-01-04056 07-01-04057 07-01-04058 07-01-04059 07-01-04060 | SWITCHING EQUIPMENT for 20400 subscriber lines and 150 E1 digital interface: - Subscriber Connections - Trunk equipment - Tones and Signaling - Control Processors - Operation and Maintenance Processors - Peripherals - Racks and Ironworks - Installation and Maintenance tools, Materials and Facilities - Documentation | Lot Lot Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 1 1 2 |  |
| 07-01-04061 07-01-04062 07-01-04063 07-01-04064 07-01-04065 07-01-04066 07-01-04067 07-01-04068 07-01-04069 07-01-04070 | POWER PLANT - Operation and Maintenance Processors - Peripherals - 48V power supplies - DC\DC Converters - Inverters 2KVA - 48V Batteries, 6400 AH - Cables - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set Set Set Lot Set | 1 1 1 1 1 2 2 1 1 1 |  |
| 07-01-04071 07-01-04072 07-01-04073 07-01-04074 | AIR CONDITIONERS - 60 kW 50Hz, 220\380V - Installation and Maintenance tools and Materials - Documentation | Lot Set Lot Set | 1 3 1 2 |  |
| 07-01-04075 07-01-04076 07-01-04077 07-01-04078 07-01-04079 07-01-04080 07-01-04081 07-01-04082 | Main Distribution Frames - Terminal Blocks - Over voltage protection - Over current protection - Ironwork - Installation tools - Cables & Jumper wire - Documentation | Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 2 |  |
| 07-01-04083 07-01-04084 07-01-04085 07-01-04086 07-01-04087 07-01-04088 | FIRE PROTECTION EQUIPMENT - Detection units - Control &Alarm Unit - Manual Distinguishers - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set | 1 1 1 1 1 2 |  |
| 07-01-04089 | False Floor – False Ceiling for switching room | Lot | 1 |  |
| 07-01-04090 | SPARE PARTS | Lot | 1 |  |
| 07-01-04091 07-01-04092 07-01-04093 07-01-04094 07-01-04095 | DIESEL ENGINE GENERATOR - Capacity 600 KVA - Installation and Maintenance tools and Materials - Spare Parts - Documentation | Lot Set Lot Lot Set | 1 2 1 1 2 |  |
| 07-01-04096 07-01-04097 07-01-04098 07-01-04099 | SERVICES - Training abroad - Training in Iraq - Supplier Experts(Supervisors or Trainer) | Lot Trainee Trainee Expert | 1 2 6 2 |  |

Expected Delivery Time: 5 Months			Expected Implementation Time: 6 Months

ANNEX SEVEN/ TRANSPORT & COMMUNICATIONS / TELECOMMUNICATIONS

Sub-sector:   REPLACEMENT OF OLD CROSSBAR EXCHANGES IN BAGHDAD

Site Name:   ZAFARANIYA in BAGHDAD

| # Code | Item Description | # Unit | # Qty. | Complementary Items |
| --- | --- | --- | --- | --- |
| 07-01-05051 07-01-05052 07-01-05053 07-01-05054 07-01-05055 07-01-05056 07-01-05057 07-01-05058 07-01-05059 07-01-05060 | SWITCHING EQUIPMENT for 20050 subscriber lines and 150 E1 digital interface: - Subscriber Connections - Trunk equipment - Tones and Signaling - Control Processors - Operation and Maintenance Processors - Peripherals - Racks and Ironworks - Installation and Maintenance tools, Materials and Facilities - Documentation | Lot Lot Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 1 1 2 |  |
| 07-01-05061 07-01-05062 07-01-05063 07-01-05064 07-01-05065 07-01-05066 07-01-05067 07-01-05068 07-01-05069 07-01-05070 | POWER PLANT - Operation and Maintenance Processors - Peripherals - 48V power supplies - DC\DC Converters - Inverters 2KVA - 48V Batteries, 6400 AH - Cables - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set Set Set Lot Set | 1 1 1 1 1 2 2 1 1 1 |  |
| 07-01-05071 07-01-05072 07-01-05073 07-01-05074 | AIR CONDITIONERS - 60 kW 50Hz, 220\380V - Installation and Maintenance tools and Materials - Documentation | Lot Set Lot Set | 1 3 1 2 |  |
| 07-01-05075 07-01-05076 07-01-05077 07-01-05078 07-01-05079 07-01-05080 07-01-05081 07-01-05082 | Main Distribution Frames - Terminal Blocks - Over voltage protection - Over current protection - Ironwork - Installation tools - Cables & Jumper wire - Documentation | Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 2 |  |
| 07-01-05083 07-01-05084 07-01-05085 07-01-05086 07-01-05087 07-01-05088 | FIRE PROTECTION EQUIPMENT - Detection units - Control &Alarm Unit - Manual Distinguishers - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set | 1 1 1 1 1 2 |  |
| 07-01-05089 | False Floor – False Ceiling for switching room | Lot | 1 |  |
| 07-01-05090 | SPARE PARTS | Lot | 1 |  |
| 07-01-05091 07-01-05092 07-01-05093 07-01-05094 07-01-05095 | DIESEL ENGINE GENERATOR - Capacity 600 KVA - Installation and Maintenance tools and Materials - Spare Parts - Documentation | Lot Set Lot Lot Set | 1 2 1 1 2 |  |
| 07-01-05096 07-01-05097 07-01-05098 07-01-05099 | SERVICES - Training abroad - Training in Iraq - Supplier Experts(Supervisors or Trainer) | Lot Trainee Trainee Expert | 1 2 6 2 |  |

Expected Delivery Time: 5 Months			Expected Implementation Time: 6 Months

ANNEX SEVEN/ TRANSPORT & COMMUNICATIONS / TELECOMMUNICATIONS

Sub-sector:   REPLACEMENT OF OLD CROSSBAR EXCHANGES IN BAGHDAD

Site Name   BAYA in BAGHDAD

| # Code | Item Description | # Unit | # Qty. | Complementary Items |
| --- | --- | --- | --- | --- |
| 07-01-06102 07-01-06103 07-01-06104 07-01-06105 07-01-06106 07-01-06107 07-01-06108 07-01-06109 07-01-06110 07-01-06111 | SWITCHING EQUIPMENT for 15000 subscriber lines ,200 E1 digital interface, Training Model and Repair Center: - Subscriber Connections - Trunk equipment - Tones and Signaling - Control Processors - Operation and Maintenance Processors - Peripherals - Racks and Ironworks - Installation and Maintenance tools, Materials and Facilities - Documentation | Lot Lot Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 1 1 2 |  |
| 07-01-06112 07-01-06113 07-01-06114 07-01-06115 07-01-06116 07-01-06117 07-01-06118 07-01-06119 07-01-06120 07-01-06121 | POWER PLANT - Operation and Maintenance Processors - Peripherals - 48V power supplies - DC\DC Converters - Inverters 2KVA - 48V Batteries, 6400 AH - Cables - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set Set Set Lot Set | 1 1 1 1 1 4 4 1 1 1 |  |
| 07-01-06122 07-01-06123 07-01-06124 07-01-06125 | AIR CONDITIONERS - 60 kW 50Hz, 220\380V - Installation and Maintenance tools and Materials - Documentation | Lot Set Lot Set | 1 5 1 2 |  |
| 07-01-06126 07-01-06127 07-01-06128 07-01-06129 07-01-06130 07-01-06131 07-01-06132 07-01-06133 | Main Distribution Frames - Terminal Blocks - Over voltage protection - Over current protection - Ironwork - Installation tools - Cables & Jumper wire - Documentation | Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 2 |  |
| 07-01-06134 07-01-06135 07-01-06136 07-01-06137 07-01-06138 07-01-06139 | FIRE PROTECTION EQUIPMENT - Detection units - Control &Alarm Unit - Manual Distinguishers - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set | 1 1 1 1 1 2 |  |
| 07-01-06140 | False Floor – False Ceiling for switching room | Lot | 1 |  |
| 07-01-06141 | SPARE PARTS | Lot | 1 |  |
| 07-01-06142 07-01-06143 07-01-06144 07-01-06145 07-01-06146 | DIESEL ENGINE GENERATOR - Capacity 600 KVA - Installation and Maintenance tools and Materials - Spare Parts - Documentation | Lot Set Lot Lot Set | 1 2 1 1 2 |  |

| # Code | Item Description | # Unit | # Qty. | Complementary Items |
| --- | --- | --- | --- | --- |
| 07-01-06147 07-01-06148 07-01-06149 07-01-06150 07-01-06151 07-01-06152 07-01-06153 07-01-06154 07-01-06155 07-01-06156 07-01-06157 07-01-06158 07-01-06159 07-01-06160 | REPAIR CENTER EQUIPMENT: - Subscriber Connections Tools - Trunk equipment Tools - Tones and Signaling Tools - Control Processors Tools - Peripherals Test Tools - Measurement and Test Devices - Soldering – Desoldering Tools - Repair Components - Programming Station - Power Supply - Spare Parts - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Lot Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 1 1 1 1 1 1 2 |  |
| 07-01-06161 07-01-06162 07-01-06163 07-01-06164 | SERVICES - Training abroad - Training in Iraq - Supplier Experts(Supervisors or Trainer) | Lot Trainee Trainee Expert | 1 4 10 4 |  |

Expected Delivery Time: 5 Months			Expected Implementation Time: 6 Months

ANNEX SEVEN/ TRANSPORT & COMMUNICATIONS / TELECOMMUNICATIONS

Sub-sector:   REPLACEMENT OF OLD DIGITAL EXCHANGES IN BAGHDAD

Site Name:   14th JULY in BAGHDAD

| # Code | Item Description | # Unit | # Qty. | Complementary Items |
| --- | --- | --- | --- | --- |
| 07-01-07051 07-01-07052 07-01-07053 07-01-07054 07-01-07055 07-01-07056 07-01-07057 07-01-07058 07-01-07059 07-01-07060 | SWITCHING EQUIPMENT for 25000 subscriber lines and 200 E1 digital interface: - Subscriber Connections - Trunk equipment - Tones and Signaling - Control Processors - Operation and Maintenance Processors - Peripherals - Racks and Ironworks - Installation and Maintenance tools, Materials and Facilities - Documentation | Lot Lot Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 1 1 2 |  |
| 07-01-07061 07-01-07062 07-01-07063 07-01-07064 07-01-07065 07-01-07066 07-01-07067 07-01-07068 07-01-07069 07-01-07070 | POWER PLANT - Operation and Maintenance Processors - Peripherals - 48V power supplies - DC\DC Converters - Inverters 2KVA - 48V Batteries, 6400 AH - Cables - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set Set Set Lot Set | 1 1 1 1 1 2 2 1 1 1 |  |
| 07-01-00071 07-01-00072 07-01-07073 07-01-07074 | AIR CONDITIONERS - 60 kW 50Hz, 220\380V - Installation and Maintenance tools and Materials - Documentation | Lot Set Lot Set | 1 3 1 2 |  |
| 07-01-07075 07-01-07076 07-01-07077 07-01-07078 07-01-07079 07-01-07080 07-01-07081 07-01-07082 | Main Distribution Frames - Terminal Blocks - Over voltage protection - Over current protection - Ironwork - Installation tools - Cables & Jumper wire - Documentation | Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 2 |  |
| 07-01-07083 07-01-07084 07-01-07085 07-01-07086 07-01-07087 07-01-07088 | FIRE PROTECTION EQUIPMENT - Detection units - Control &Alarm Unit - Manual Distinguishers - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set | 1 1 1 1 1 2 |  |
| 07-01-07089 | False Floor – False Ceiling for switching room | Lot | 1 |  |
| 07-01-07090 | SPARE PARTS | Lot | 1 |  |
| 07-01-07091 07-01-07092 07-01-07093 07-01-07094 07-01-07095 | DIESEL ENGINE GENERATOR - Capacity 602 KVA - Installation and Maintenance tools and Materials - Spare Parts - Documentation | Lot Set Lot Lot Set | 1 2 1 1 2 |  |
| 07-01-07096 07-01-07097 07-01-07098 07-01-07099 | SERVICES - Training abroad - Training in Iraq - Supplier Experts(Supervisors or Trainer) | Lot Trainee Trainee Expert | 1 2 6 2 |  |

Expected Delivery Time: 5 Months			Expected Implementation Time: 6 Months

ANNEX SEVEN/ TRANSPORT & COMMUNICATIONS / TELECOMMUNICATIONS

Sub-sector:   REPLACEMENT OF OLD DIGITA EXCHANGES IN BAGHDAD

Site Name:   SALIHIYA in BAGHDAD

| # Code | Item Description | # Unit | # Qty. | Complementary Items |
| --- | --- | --- | --- | --- |
| 07-01-08051 07-01-08052 07-01-08053 07-01-08054 07-01-08055 07-01-08056 07-01-08057 07-01-08058 07-01-08059 07-01-08060 | SWITCHING EQUIPMENT for 25000 subscriber lines and 200 E1 digital interface: - Subscriber Connections - Trunk equipment - Tones and Signaling - Control Processors - Operation and Maintenance Processors - Peripherals - Racks and Ironworks - Installation and Maintenance tools, Materials and Facilities - Documentation | Lot Lot Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 1 1 2 |  |
| 07-01-08061 07-01-08062 07-01-08063 07-01-08064 07-01-08065 07-01-08066 07-01-08067 07-01-08068 07-01-08069 07-01-08070 | POWER PLANT - Operation and Maintenance Processors - Peripherals - 48V power supplies - DC\DC Converters - Inverters 2KVA - 48V Batteries, 6400 AH - Cables - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set Set Set Lot Set | 1 1 1 1 1 2 2 1 1 1 |  |
| 07-01-08071 07-01-08072 07-01-08073 07-01-08074 | AIR CONDITIONERS - 60 kW 50Hz, 220\380V - Installation and Maintenance tools and Materials - Documentation | Lot Set Lot Set | 1 3 1 2 |  |
| 07-01-08075 07-01-08076 07-01-08077 07-01-08078 07-01-08079 07-01-08080 07-01-08081 07-01-08082 | Main Distribution Frames - Terminal Blocks - Over voltage protection - Over current protection - Ironwork - Installation tools - Cables & Jumper wire - Documentation | Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 2 |  |
| 07-01-08083 07-01-08084 07-01-08085 07-01-08086 07-01-08087 07-01-08088 | FIRE PROTECTION EQUIPMENT - Detection units - Control &Alarm Unit - Manual Distinguishers - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set | 1 1 1 1 1 2 |  |
| 07-01-08089 | False Floor – False Ceiling for switching room | Lot | 1 |  |
| 07-01-08090 | SPARE PARTS | Lot | 1 |  |
| 07-01-08091 07-01-08092 07-01-08093 07-01-08094 07-01-08095 | DIESEL ENGINE GENERATOR - Capacity 600 KVA - Installation and Maintenance tools and Materials - Spare Parts - Documentation | Lot Set Lot Lot Set | 1 2 1 1 2 |  |
| 07-01-08096 07-01-08097 07-01-08098 07-01-08099 | SERVICES - Training abroad - Training in Iraq - Supplier Experts(Supervisors or Trainer) | Lot Trainee Trainee Expert | 1 2 6 2 |  |

Expected Delivery Time: 5 Months			Expected Implementation Time: 6 Months

ANNEX SEVEN/ TRANSPORT & COMMUNICATIONS / TELECOMMUNICATIONS

Sub-sector:   REPLACEMENT OF OLD CROSSBAR EXCHANGE IN BASRAH

Site Name:   BAB AL-ZUBAIR in BASRAH

| # Code | Item Description | # Unit | # Qty. | Complementary Items |
| --- | --- | --- | --- | --- |
| 07-01-09051 07-01-09052 07-01-09053 07-01-09054 07-01-09055 07-01-09056 07-01-09057 07-01-09058 07-01-09059 07-01-09060 | SWITCHING EQUIPMENT for 15000 subscriber lines and 100 E1 digital interface: - Subscriber Connections - Trunk equipment - Tones and Signaling - Control Processors - Operation and Maintenance Processors - Peripherals - Racks and Ironworks - Installation and Maintenance tools, Materials and Facilities - Documentation | Lot Lot Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 1 1 2 |  |
| 07-01-09061 07-01-09062 07-01-09063 07-01-09064 07-01-09065 07-01-09066 07-01-09067 07-01-09068 07-01-09069 07-01-09070 | POWER PLANT - Operation and Maintenance Processors - Peripherals - 48V power supplies - DC\DC Converters - Inverters 2KVA - 48V Batteries, 6400 AH - Cables - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set Set Set Lot Set | 1 1 1 1 1 2 2 1 1 1 |  |
| 07-01-09071 07-01-09072 07-01-09073 07-01-09074 | AIR CONDITIONERS - 60 kW 50Hz, 220\380V - Installation and Maintenance tools and Materials - Documentation | Lot Set Lot Set | 1 3 1 2 |  |
| 07-01-09075 07-01-09076 07-01-09077 07-01-09078 07-01-09079 07-01-09080 07-01-09081 07-01-09082 | Main Distribution Frames - Terminal Blocks - Over voltage protection - Over current protection - Ironwork - Installation tools - Cables & Jumper wire - Documentation | Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 2 |  |
| 07-01-09083 07-01-09084 07-01-09085 07-01-09086 07-01-09087 07-01-09088 | FIRE PROTECTION EQUIPMENT - Detection units - Control &Alarm Unit - Manual Distinguishers - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set | 1 1 1 1 1 2 |  |
| 07-01-09089 | False Floor – False Ceiling for switching room | Lot | 1 |  |
| 07-01-09090 | SPARE PARTS | Lot | 1 |  |
| 07-01-09091 07-01-09092 07-01-09093 07-01-09094 07-01-09095 | DIESEL ENGINE GENERATOR - Capacity 600 KVA - Installation and Maintenance tools and Materials - Spare Parts - Documentation | Lot Set Lot Lot Set | 1 2 1 1 2 |  |
| 07-01-09096 07-01-09097 07-01-09098 07-01-09099 | SERVICES - Training abroad - Training in Iraq - Supplier Experts(Supervisors or Trainer) | Lot Trainee Trainee Expert | 1 2 6 2 |  |

Expected Delivery Time: 5 Months			Expected Implementation Time: 6 Months

ANNEX SEVEN/ TRANSPORT & COMMUNICATIONS / TELECOMMUNICATIONS

Sub-sector:   REPLACEMENT OF OLD CROSSBAR EXCHANGE IN MEESAN

Site Name:  AMARAH in MEESAN

| # Code | Item Description | # Unit | # Qty. | Complementary Items |
| --- | --- | --- | --- | --- |
| 07-01-10051 07-01-10052 07-01-10053 07-01-10054 07-01-10055 07-01-10056 07-01-10057 07-01-10058 07-01-10059 07-01-10060 | SWITCHING EQUIPMENT for 15000 subscriber lines and 120 E1 digital interface: - Subscriber Connections - Trunk equipment - Tones and Signaling - Control Processors - Operation and Maintenance Processors - Peripherals - Racks and Ironworks - Installation and Maintenance tools, Materials and Facilities - Documentation | Lot Lot Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 1 1 2 |  |
| 07-01-10061 07-01-10062 07-01-10063 07-01-10064 07-01-10065 07-01-10066 07-01-10067 07-01-10068 07-01-10069 07-01-10070 | POWER PLANT - Operation and Maintenance Processors - Peripherals - 48V power supplies - DC\DC Converters - Inverters 2KVA - 48V Batteries, 6400 AH - Cables - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set Set Set Lot Set | 1 1 1 1 1 2 2 1 1 1 |  |
| 07-01-10071 07-01-10072 07-01-10073 07-01-10074 | AIR CONDITIONERS - 60 kW 50Hz, 220\380V - Installation and Maintenance tools and Materials - Documentation | Lot Set Lot Set | 1 3 1 2 |  |
| 07-01-10075 07-01-10076 07-01-10077 07-01-10078 07-01-10079 07-01-10080 07-01-10081 07-01-10082 | Main Distribution Frames - Terminal Blocks - Over voltage protection - Over current protection - Ironwork - Installation tools - Cables & Jumper wire - Documentation | Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 2 |  |
| 07-01-10083 07-01-10084 07-01-10085 07-01-10086 07-01-10087 07-01-10088 | FIRE PROTECTION EQUIPMENT - Detection units - Control &Alarm Unit - Manual Distinguishers - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set | 1 1 1 1 1 2 |  |
| 07-01-10089 | False Floor – False Ceiling for switching room | Lot | 1 |  |
| 07-01-10090 | SPARE PARTS | Lot | 1 |  |
| 07-01-10091 07-01-10092 07-01-10093 07-01-10094 07-01-10095 | DIESEL ENGINE GENERATOR - Capacity 600 KVA - Installation and Maintenance tools and Materials - Spare Parts - Documentation | Lot Set Lot Lot Set | 1 2 1 1 2 |  |
| 07-01-10096 07-01-10097 07-01-10098 07-01-10099 | SERVICES - Training abroad - Training in Iraq - Supplier Experts(Supervisors or Trainer) | Lot Trainee Trainee Expert | 1 2 6 2 |  |

Expected Delivery Time: 5 Months			Expected Implementation Time: 6 Months

ANNEX SEVEN/ TRANSPORT & COMMUNICATIONS / TELECOMMUNICATIONS

Sub-sector:   REPLACEMENT OF OLD DIGITAL EXCHANGE IN WASIT

Site Name:   KUT in WASIT

| # Code | Item Description | # Unit | # Qty. | Complementary Items |
| --- | --- | --- | --- | --- |
| 07-01-11051 07-01-11052 07-01-11053 07-01-11054 07-01-11055 07-01-11056 07-01-11057 07-01-11058 07-01-11059 07-01-11060 | SWITCHING EQUIPMENT for 15000 subscriber lines and 120 E1 digital interface: - Subscriber Connections - Trunk equipment - Tones and Signaling - Control Processors - Operation and Maintenance Processors - Peripherals - Racks and Ironworks - Installation and Maintenance tools, Materials and Facilities - Documentation | Lot Lot Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 1 1 2 |  |
| 07-01-11061 07-01-11062 07-01-11063 07-01-11064 07-01-11065 07-01-11066 07-01-11067 07-01-11068 07-01-11069 07-01-11070 | POWER PLANT - Operation and Maintenance Processors - Peripherals - 48V power supplies - DC\DC Converters - Inverters 2KVA - 48V Batteries, 6400 AH - Cables - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set Set Set Lot Set | 1 1 1 1 1 2 2 1 1 1 |  |
| 07-01-11071 07-01-11072 07-01-11073 07-01-11074 | AIR CONDITIONERS - 60 kW 50Hz, 220\380V - Installation and Maintenance tools and Materials - Documentation | Lot Set Lot Set | 1 3 1 2 |  |
| 07-01-11075 07-01-11076 07-01-11077 07-01-11078 07-01-11079 07-01-11080 07-01-11081 07-01-11082 | Main Distribution Frames - Terminal Blocks - Over voltage protection - Over current protection - Ironwork - Installation tools - Cables & Jumper wire - Documentation | Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 2 |  |
| 07-01-11083 07-01-11084 07-01-11085 07-01-11086 07-01-11087 07-01-11088 | FIRE PROTECTION EQUIPMENT - Detection units - Control &Alarm Unit - Manual Distinguishers - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set | 1 1 1 1 1 2 |  |
| 07-01-11089 | False Floor – False Ceiling for switching room | Lot | 1 |  |
| 07-01-11090 | SPARE PARTS | Lot | 1 |  |
| 07-01-11091 07-01-11092 07-01-11093 07-01-11094 07-01-11095 | DIESEL ENGINE GENERATOR - Capacity 600 KVA - Installation and Maintenance tools and Materials - Spare Parts - Documentation | Lot Set Lot Lot Set | 1 2 1 1 2 |  |
| 07-01-11096 07-01-11097 07-01-11098 07-01-11099 | SERVICES - Training abroad - Training in Iraq - Supplier Experts(Supervisors or Trainer) | Lot Trainee Trainee Expert | 1 2 6 2 |  |

Expected Delivery Time: 5 Months			Expected Implementation Time: 6 Months

ANNEX SEVEN/ TRANSPORT & COMMUNICATIONS / TELECOMMUNICATIONS

Sub-sector:   REPLACEMENT OF OLD CROSSBAR EXCHANGE IN DIYALA

Site Name:   BAQUBA in DIYALA

| # Code | Item Description | # Unit | # Qty. | Complementary Items |
| --- | --- | --- | --- | --- |
| 07-01-12051 07-01-12052 07-01-12053 07-01-12054 07-01-12055 07-01-12056 07-01-12057 07-01-12058 07-01-12059 07-01-12060 | SWITCHING EQUIPMENT for 15000 subscriber lines and 120 E1 digital interface: - Subscriber Connections - Trunk equipment - Tones and Signaling - Control Processors - Operation and Maintenance Processors - Peripherals - Racks and Ironworks - Installation and Maintenance tools, Materials and Facilities - Documentation | Lot Lot Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 1 1 2 |  |
| 07-01-12061 07-01-12062 07-01-12063 07-01-12064 07-01-12065 07-01-12066 07-01-12067 07-01-12068 07-01-12069 07-01-12070 | POWER PLANT - Operation and Maintenance Processors - Peripherals - 48V power supplies - DC\DC Converters - Inverters 2KVA - 48V Batteries, 6400 AH - Cables - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set Set Set Lot Set | 1 1 1 1 1 2 2 1 1 1 |  |
| 07-01-12071 07-01-12072 07-01-12073 07-01-12074 | AIR CONDITIONERS - 60 kW 50Hz, 220\380V - Installation and Maintenance tools and Materials - Documentation | Lot Set Lot Set | 1 3 1 2 |  |
| 07-01-12075 07-01-12076 07-01-12077 07-01-12078 07-01-12079 07-01-12080 07-01-12081 07-01-12082 | Main Distribution Frames - Terminal Blocks - Over voltage protection - Over current protection - Ironwork - Installation tools - Cables & Jumper wire - Documentation | Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 2 |  |
| 07-01-12083 07-01-12084 07-01-12085 07-01-12086 07-01-12087 07-01-12088 | FIRE PROTECTION EQUIPMENT - Detection units - Control &Alarm Unit - Manual Distinguishers - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set | 1 1 1 1 1 2 |  |
| 07-01-12089 | False Floor – False Ceiling for switching room | Lot | 1 |  |
| 07-01-12090 | SPARE PARTS | Lot | 1 |  |
| 07-01-12091 07-01-12092 07-01-12093 07-01-12094 07-01-12095 | DIESEL ENGINE GENERATOR - Capacity 600 KVA - Installation and Maintenance tools and Materials - Spare Parts - Documentation | Lot Set Lot Lot Set | 1 2 1 1 2 |  |
| 07-01-12096 07-01-12097 07-01-12098 07-01-12099 | SERVICES - Training abroad - Training in Iraq - Supplier Experts(Supervisors or Trainer) | Lot Trainee Trainee Expert | 1 2 6 2 |  |

Expected Delivery Time: 5 Months			Expected Implementation Time: 6 Months

ANNEX SEVEN/ TRANSPORT & COMMUNICATIONS / TELECOMMUNICATIONS

Sub-sector:   REPLACEMENT OF OLD CROSSBAR EXCHANGE IN ANBAR

Site Name:  RAMADI in ANBAR

| # Code | Item Description | # Unit | # Qty. | Complementary Items |
| --- | --- | --- | --- | --- |
| 07-01-13051 07-01-13052 07-01-13053 07-01-13054 07-01-13055 07-01-13056 07-01-13057 07-01-13058 07-01-13059 07-01-13060 | SWITCHING EQUIPMENT for 15000 subscriber lines and 120 E1 digital interface: - Subscriber Connections - Trunk equipment - Tones and Signaling - Control Processors - Operation and Maintenance Processors - Peripherals - Racks and Ironworks - Installation and Maintenance tools, Materials and Facilities - Documentation | Lot Lot Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 1 1 2 |  |
| 07-01-13061 07-01-13062 07-01-13063 07-01-13064 07-01-13065 07-01-13066 07-01-13067 07-01-13068 07-01-13069 07-01-13070 | POWER PLANT - Operation and Maintenance Processors - Peripherals - 48V power supplies - DC\DC Converters - Inverters 2KVA - 48V Batteries, 6400 AH - Cables - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set Set Set Lot Set | 1 1 1 1 1 2 2 1 1 1 |  |
| 07-01-13071 07-01-13072 07-01-13073 07-01-13074 | AIR CONDITIONERS - 60 kW 50Hz, 220\380V - Installation and Maintenance tools and Materials - Documentation | Lot Set Lot Set | 1 3 1 2 |  |
| 07-01-13075 07-01-13076 07-01-13077 07-01-13078 07-01-13079 07-01-13080 07-01-13081 07-01-13082 | Main Distribution Frames - Terminal Blocks - Over voltage protection - Over current protection - Ironwork - Installation tools - Cables & Jumper wire - Documentation | Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 2 |  |
| 07-01-13083 07-01-13084 07-01-13085 07-01-13086 07-01-13087 07-01-13088 | FIRE PROTECTION EQUIPMENT - Detection units - Control &Alarm Unit - Manual Distinguishers - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set | 1 1 1 1 1 2 |  |
| 07-01-13089 | False Floor – False Ceiling for switching room | Lot | 1 |  |
| 07-01-13090 | SPARE PARTS | Lot | 1 |  |
| 07-01-13091 07-01-13092 07-01-13093 07-01-13094 07-01-13095 | DIESEL ENGINE GENERATOR - Capacity 600 KVA - Installation and Maintenance tools and Materials - Spare Parts - Documentation | Lot Set Lot Lot Set | 1 2 1 1 2 |  |
| 07-01-13096 07-01-13097 07-01-13098 07-01-13099 | SERVICES - Training abroad - Training in Iraq - Supplier Experts(Supervisors or Trainer) | Lot Trainee Trainee Expert | 1 2 6 2 |  |

Expected Delivery Time: 5 Months			Expected Implementation Time: 6 Months

ANNEX SEVEN/ TRANSPORT & COMMUNICATIONS / TELECOMMUNICATIONS

Sub-sector:   REPLACEMENT OF OLD CROSSBAR EXCHANGE IN SEVENVA

Site Name:   MOSUL in SEVENVA

| # Code | Item Description | # Unit | # Qty. | Complementary Items |
| --- | --- | --- | --- | --- |
| 07-01-14051 07-01-14052 07-01-14053 07-01-14054 07-01-14055 07-01-14056 07-01-14057 07-01-14058 07-01-14059 07-01-14060 | SWITCHING EQUIPMENT for 15000 subscriber lines and 120 E1 digital interface: - Subscriber Connections - Trunk equipment - Tones and Signaling - Control Processors - Operation and Maintenance Processors - Peripherals - Racks and Ironworks - Installation and Maintenance tools, Materials and Facilities - Documentation | Lot Lot Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 1 1 2 |  |
| 07-01-14061 07-01-14062 07-01-14063 07-01-14064 07-01-14065 07-01-14066 07-01-14067 07-01-14068 07-01-14069 07-01-14070 | POWER PLANT - Operation and Maintenance Processors - Peripherals - 48V power supplies - DC\DC Converters - Inverters 2KVA - 48V Batteries, 6400 AH - Cables - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set Set Set Lot Set | 1 1 1 1 1 2 2 1 1 1 |  |
| 07-01-14071 07-01-14072 07-01-14073 07-01-14074 | AIR CONDITIONERS - 60 kW 50Hz, 220\380V - Installation and Maintenance tools and Materials - Documentation | Lot Set Lot Set | 1 3 1 2 |  |
| 07-01-14075 07-01-14076 07-01-14077 07-01-14078 07-01-14079 07-01-14080 07-01-14081 07-01-14082 | Main Distribution Frames - Terminal Blocks - Over voltage protection - Over current protection - Ironwork - Installation tools - Cables & Jumper wire - Documentation | Lot Lot Lot Lot Lot Lot Lot Set | 1 1 1 1 1 1 1 2 |  |
| 07-01-14083 07-01-14084 07-01-14085 07-01-14086 07-01-14087 07-01-14088 | FIRE PROTECTION EQUIPMENT - Detection units - Control &Alarm Unit - Manual Distinguishers - Installation and Maintenance tools and Materials - Documentation | Lot Lot Lot Lot Lot Set | 1 1 1 1 1 2 |  |
| 07-01-14089 | False Floor – False Ceiling for switching room | Lot | 1 |  |
| 07-01-14090 | SPARE PARTS | Lot | 1 |  |
| 07-01-14091 07-01-14092 07-01-14093 07-01-14094 07-01-14095 | DIESEL ENGINE GENERATOR - Capacity 600 KVA - Installation and Maintenance tools and Materials - Spare Parts - Documentation | Lot Set Lot Lot Set | 1 2 1 1 2 |  |
| 07-01-14096 07-01-14097 07-01-14098 07-01-14099 | SERVICES - Training abroad - Training in Iraq - Supplier Experts(Supervisors or Trainer) | Lot Trainee Trainee Expert | 1 2 6 2 |  |

Expected Delivery Time: 5 Months			Expected Implementation Time: 6 Months