REHAPETILATION EQUIPMENT

Equipment :

# Electric submersible darning sewage pump water cooled motor

| Code | Capacity M3/MIN | Head M | Speed R.P.M | Power KW | Volt V | Qty. |
| --- | --- | --- | --- | --- | --- | --- |
| 02-06-00001 | 0.15-0.1 | 0.365015-0.4 | 3000 | 1.5 | 220 or 380V 50 HZ | 140 |
| 02-06-00002 | 1 | 10 | 3000 | 3.7 | 220 or 380V 50 HZ | 140 |
| 02-06-00003 | 0.5 | 15 | 3000 | 3.7 | 220 or 380V 50 HZ | 60 |
| 02-06-00004 | 1 | 22 | 3000 | 7.5 | 220 or 380V 50 HZ | 60 |

| 02-06-00005 | Equipment: Package unit complot witch supply cold air directly by duct to the building. cap: 20 ton inside temp : 18 C 380 v. , 3 pH , 50HZ , gas R22 | 300 |
| --- | --- | --- |

02-06-00006	Equipment: Air Cool ed Chiller			80

Cap : 100 Ton

Ambient Temp.  60C

Water out let Temp  12 C

Water in let  temp     6 C

Compress type semi hermetic

Coil materiel : Copper tubes with element fins

Fan type : Propeller

Evaporator : Sheila and tubs

GSA use R-12 or R-22

380 V  50 HZ

02-06-00007	Equipment: Air Cool Ed Chiller			100

Cap : 200 Ton

Ambient Temp.  60C

Water out let Temp  12 C

Water in let  temp     6 C

Compress type semi hermetic

Coil materiel : Copper tubes with element fins

Fan type : Propeller

Evaporator : Shell and tubs

GSA use R-22

380 V  50 HZ

02-06-00008	Equipment: Window type air-condition with heater	12000

Cap : 2 Ton

GSA  R-22

220 V  50 HZ , 24000 BTU

02-06-00009	Equipment Split Unit with heater			1800

Cap : 2 Ton

GSA  R-22

220 V  50 HZ , 24000 BTU

TIRES

02-06-00010	600x14           High   Quality			4000

02-06-00011	650x14           High   Quality			5000

02-06-00012	700x15           High   Quality			6000

02-06-00013	750x16           High   Quality 			5000

02-06-00014	205x16            High  Quality			6000

02-06-00015	650x16           High  Quality 			2000

02-06-00016	1200x20         High  Quality			4000

02-06-00017	1100x20         High  Quality			4000

02-06-00018	1200x24         High  Quality			1200

02-06-00019	1000x20         High  Quality			800

Acid batteries

02-06-00020	45Amp x12V                 High   Quality		200

02-06-00021	60x12                              High  Quality		400

02-06-00022	75x12                              High Quality		200

02-06-00023	90x12                              High  Quality		400

02-06-00024	110x12                           High  Quality 		300

02-06-00025	130x12                           High Quality		400

02-06-00026	180x12                           High Quality		400

02-06-00027	Equipment : Blood bank refrigerator		500

1- internal temp. ranging from  +2 C to +8 C at the following ambient conditions :

Summer : DBT 50 C

WBT25C

Winter   : DBT  1  C

WBT _3 C

2- Double compressor units for additional safety work with ferine R 12 or  R 22

3-inside and outside materil: stinless steel

4-audible/ visual and extenai alarms with battery

Low alarm: 0 C

High alarm: + 10C

5 – Automatic defrosting

6- 7Day recorder

7- 220V, 50HZ, 3PH

Training for 2 engineer two weeks

Spare parts for 5 years

02-06-00028	Equipment : air compressor			40

Air compressor complete (compressor + motor) with out tank will be suitable to be initialed in the tank of the old model with this information .

Air compressor :

Type LE7 ATLAS COPCO

S.N : AML 107283

Max working pre bar (2)(10)

Max speed R.P.M 1800 , made in sweeden 1983

Motor:

Type LS 112MI

No: 618627, 4KW, 1430 R.P.M

(220 V , 15.2A  /  380 V,8.8A)  , 50 HZ

training for engineers

spar part for 3 year

complete catalog for maintenance operation and installation

02-06-00029	Equipment:- cooling tower

Capacity :150 ton				18

200 ton				11

100 ton				13

50 ton				28

Water temp. 38/ 30 Cْ

Complete cooling tower must be separate motor  for each blower and will work in high

Humidity wetter 60 % Humidity and total hardness is for water 500ppm

Recommended spare for 5 years.

Include complete motor

Fin , belt,shaft, spray nozzle , bearing , blower ,

Nozzle , motor complete, ball float valve

Training for engineer and tech.

Complete catalog for spare part and operation maintenance catalog

02-06-00030	Equipment: Corps refrigerator			340

Walk in freezers to preserve corpses at internal temperature ranging from (+5 deg.) to (-30 deg.)At the following ambient conditions: summer: DBT 50 Deg.

WBT 25 deg.C

Winter: DBT 1 deg.C

WBT -3 deg.C

Internal volume of the store: 3x4x3 M3

Required quantity: freezing stores

A) Construction :

1- Freezers shall be shipped in knock- down sections easy to re- erect

2- Cabinet interior shall be made of heavy corrosion proof aluminum, floor made of heavy gauge anti- slip aluminum

3- Cabinet exterior shall be made of aluminum, coated with a white weather proof coating to make it suitable for out- door installation

4- Insulation shall be sufficient to maintain the specified internal temperature in the specified ambient conditions but shall be not less than 12 cm of polyurethane

5- Door shall be constructed of aluminum and shall have an external lock with keys. Door handle can be operated from inside and outside. Low voltage heater wire strip with electrical control shall be provided. A push- button shall be fitted inside to sound an alarm in case of a person is trapped inside

6- Light- weight shade to protect the cabinet from rain and sun to be fitted on top of it .shape , size and material of shade shall be suggested by the tenterer

7- External dial thermometer must be provided

8- Audio and visual alarm for high temperature must be fitted

9- Sufficient internal lighting automatically switches on when door opens

10- Air curtain by the door operates automatically when door opens

11- The stores shall be equipped with hangers that supports six removable trays which carry the human corpses, these trays shall be positioned on both sides of the stores three at each side . the under must tray shall be positioned within 15 cm from the floor with 75cm distance between the trays the tray dimension shall be 2m length, 75cm width

B) REFRIGERATION SYSTEM

Two independent refrigeration systems shall be installed, each being capable to maintain the required internal temperature at the specified ambient conditions

An automatic alternator clock timer shall be furnished to automatically reverse the sequence of operation of the two systems to assure even wear. And if one system be unable for any reason to maintain the required temperature the second system shall automatically cut-in. Visual indication of the operation and faults of the system shall be shown on the control panel. Capacity and type of compressors used shall be mentioned in the offer. Ferine R12 or R502 used.

The entire system shall utilize heavy-duty refrigeration copper tubing, no aluminum or steel tubing to be used. Evaporator fins shall be anticorrosion type. Automatic electrical defrosts with pipes for drain water must be provided.

C). ELECTRICAL SYSTEM

System shall operate from single - phase, 220V, 50 HZ supply or from three- phase, 4 wire, 380V.

D). SPARE PARTS

An itemized and priced spare parts list sufficient for five years repair and maintenance of the equipment shall be submitted with the offer. The price shall be C & F Baghdad and the spares shall be shipped with the cold stores. Among other things, the list shall include the following items:

No.   Description				QTY.

1- compressor				60

2- Evaporator motor fan                                           	60

3- Blades for evaporator                                             	20

4- condenser motor fan                                              	60

5- Blades for condenser fan                                       	20

6- Thermometer                                                          	40

7- Thermostat & alarm thermostat                            	60 Set

8- High-low pressure cut out                                     	60

9- Oil pressure cut out                                                	60

10- Door gasket with heater                                       	40

11- Contactor for compressor                                    	60

12- Relays & electrical switches & klaxon                 	60 Set

13- Defrost heaters                                                       	60 Set

14- Automatic electric defrost                                    	60

15- Automatic alternator for reverse sequence          	60

16- Internal light bulb                                                  	180

17- over load                                                                 	60 Set

18- Expansion valve                                                     	60

19- filter drier                                                                	60

20- Fuses of different writings                                     	60 Set

21- solenoid valve                                                        	60

22- alarm horn                                                              	20

23- micro switch & spare for air curtain                    	20

24- operating switches                                                	40 Set

E). TESTING AND GUARANTEE

Tendered shall guarantee and maintain the freezers for aneroid of two years starting from the date of putting them in operation. All equipment shall be tested and outstanding technical problems shall be discussed & settled in the firm prior to the shipment of the equipment & in the presence of our engineer, tendered shall pay for the return air tickets of our engineer & bear all costs of his stay with the firm including full board & loading for aperiodof tow weeks

F). TRAINING

Tendered shall train two persons on the repair & maintenance of the equipment, each person for aneroid of one month in his firm tendered shall bear all costs including return air tickets full board & lodging and any other expenses.

G). INSTALLATION

Tendered shall make complete installation of all freezers except civil works such as base. Tendered shall supply all materials necessary for the complete installation. Any offer not including complete installation will be rejected.

**NOTE**

Load calculations & photos of freezing stores shall be sent with the offer

02-06-00031	Equipment :  TRANSFORMER			4

220 V - 97 V

02-06-00032	Equipment : Vegetable and fruit cold stor		200

Cold store for the purpose

Noose walk in cold stores temperature raining from (-5 c) to (+15 c) at the flowing ambient conditions :

summer : DBT 50 C

WBT  25 C

winter : DBT 1C

WBT  -3 C

Internal volume : not less than 50 cubic meters

A) construct ion :

1- cold stores shall be shipped in knock – down sections to re-erect

2- cabinet interior shall be made of heavy corrosion proof aluminum, floor made of heavy gauge anti – slip aluminum

3- cabinet exterior shall be made of aluminum , coated with a white weather proof coating to make it suitable for out-door installation

4-In sultan shall be sufficient to maintain the specified internal temperature in the specified ambient condition but shall be not less than 10 cm of polyurethane

5- Door shall be constructed of aluminum & shall have an external lock with keys. Door handle can be operated from inside & outside. Low voltage heater wire strip with electrical control shall be provided. Apish-button shall be fitted inside to sound an alarm in case of person is trapped

6- light- weight shade to protect the cabinet from rain & sun to be fitted on top of it. Shape size & material of shade shall be suggested by the tendered

7- external dial thermometer must be provided

8- Audio & visual alarm for high temperature must be fitted

9- Sufficient internal lighting automatically switches on when door opens

10- air curtain by the door operates automatically when door opens

11- Shelves shall be made of strong galvanized steel positioned on all sides shelves shall be grid type.

B) .REFRIGERATION SYSTEM

Two independent refrigeration system shall be installed each being capable to maintain the required internal temp. at the specified ambient conditions an automatic alternator clock timer shall be furnished to automatically reverse the sequence of operation of the two systems to assure even wear , and if one system be unable for any reason to maintain the required temp. the second system shall automatically cut- in . Visual indication of the operation & faults of the system shall be shown on the control panel. Capacity &type of compressor used shall be mentioned in the offer . the entire system shall utilize heavy duty refrigeration copper tubing , no aluminitium or steel tubing to be used . evaporator fins shall be anticorrosion type . automatic electrical defrost with pipes for drain water must provided .use R12 or R502

C) Electrical system

System shall operate from single – phase , 220V, 50 HZ, supply or from 3 pH , 4 wire , 380 V

D) Spar parts

An itemized and priced spar parts list sufficient for fife years repair & maintenance of the equipment shall be submitted with the offer . the price shall be C&F Baghdad and the spares shall be shipped with the cold stores . among other things , the list shall including the following items.

No.   Description                                                           	QTY.

1- compressor                                                                                                        	16

2- Evaporator motor fan                                             	16

3- Blades for evaporator  fan                                             	8

4- condenser motor fan                                                	16

5- Blades for condenser fan                                         	8

6- Thermometer                                                             	16

7- Thermostat & alarm thermostat                               	16 Set

8- High-low pressure cut out                                        	16

9- Oil pressure cut out                                                  	16

10- Door gasket with heater                                         	16

11- Contactor for compressor                                     	16

12- Relays & electrical switches & klaxon                 	16 Set

13- Defrost heaters                                                       	16 Set

14- Over load                                                                 	20

15- expansion  valve                                                      	20

16- filter drier                                                               	20

17- fuses                                                                         	20

18- solenoid valve                                                          	10

19- alarm  horn                                                                                            	10

20- micro switch &spare for air curtain                         	5

21- operating switches                                                   	20

22- alarm horn                                                               	20

23- micro switch & spare for air curtain                    	20

24- operating switches                                                 	40 Set

E) TESTING & GURANTEE

tender shall guarantee the cold stores for a period of tow years starting from the date of putting them in operation . all equipment shall be tested & out standing technical problems shall be discussed & settled in the firm prior to the shipment of the equipment & in the presence of our engineer , tender shall pay for the return air tickets of our engineer & bear all costs of his stay of two weeks. All spare parts that will be used by the tendered during these two years shall be on the account of the tendered.

F) Training :-

Tendered shall train two person on the repair and maintenance of the equipment for a period of one month in this firm. Tendered shall bear all costs in clouding air tickets.

G) Installation

Tendered shall make complete installation of all cold stores except civil works such as concrete installation shall be supplied by tendered. Any offer not including complete installation will be rejected>

Notes:-

3- Medicines shall be brought in stores at around 38OC.

2-Quantity of store medicines is not less than 1500 Kg.

3-Load calculations shall be sent with the offer.

02-06-00033	Equipment : computer				6000

Processor: pentium II 450 MHZ  MMX compliant with year 2000 512 Kb cache

Mother board: BX(AGP,PCI,ISA)ATX

RAM: 128 MB

Hard disk : at least 6.2 Gb

CD-ROM :40X EIDE

Sound card : PCI 32 BIT (software wave table)AW5-128

SPEAKERS:180W

Floppy disk : 3.5 “ HD 1.44 Mb

Display adapter : AGP 8 Mb

Monitor : 15” savg 1024 X 768 , 0.28 DPI

Net work card : 10/100 Mb /S  ethernet

Fax modem card : 56 (V. 90) fax /modem

Case : mini tower (ATX 250 w)

Key board : A/E 104 KEYS (PS/2  CONN)

Mouse : 2 buttons ( PS/2 CONN.)

Zip drive : iomega internal 100Mb with 100 box containing 100 Mb discettes

CD-RW: CD- writer 2X2X6X with 100 box containing blank CDs

Super disk: internal 120 MB imation atapi IDE inter face with(100)boxes of diskettes

UPS :400VA/250W

Printers :

- DOT matrix : EPSON LQ 2170 arabic

- LaserJet : HP- 6L

- Inkjet (cooler) : HP-DESKJET    1120C

02-06-00034	Equipment : Softeners				100

Fully automatic softener and meter control

- Control panel ,Brine tank, with its interconnecting pipe system and all its additional accessories suitable for continuos soft water supply as following:

- Max floweret :- 10 m3/h

- Resin:- strong cationic resin sodium base

- Power supply :- 220V or 380V 50 HZ

- Hardness treated water 0oFTH

- Presume drop :- 8 MWG

- Operating pressure :- 2 to 6 bar

- Recommended spare part for 5 year with complete quantity of exchange resin.

supply complete catalog and drawing electric mechanical spare part and mountenace operation catalog.

- Training for 2 Engineers +2 Technician

02-06-00035	Equipment : Softeners				100

Fully automatic softener and meter control

- Control panel ,Brine tank, with its interconnecting pipe system and all its additional accessories suitable for continuos soft water supply as following:

- Max floweret :- 10 m3/h	:-5M3/h

- Resin:- strong cationic resin sodium base

- Power supply :- 220V or 380V 50 HZ

- Hardness treated water 0oFTH

- Presume drop :- 8 MWG

- Operating pressure :- 2 to 6 bar

- Recommended spare part for 5 year with complete quantity of exchange resin.

- Recommended spare part for 5 year with complete quantity of exchange resin.

supply complete catalog and drawing electric mechanical spare part and mountenace operation catalog.

- Training for 2 Engineers +2 Technician

02-06-00036	Equipment : hospital lift complete

QTY As below

Site:-saddam Medical city general hospital

1- hospital standard 24- Passengers Plaint bed, side open door 21 floor Stainless steal doors with all parts need to replace existed lifts (erection and operating) for medical city	2PCS

2- As above but bed lift 4-Floor for Saddam General Hospital 	2PCS

3- As above but 6- Passengers 4- Floor for Saddam General Hospital 	4PCS

4- As above but 6- Passengers 7- Floor center open for Central Child Hospital 	6PCS

5- As above but bed lift 7- Floor for Central Child Hospital	4PCS

6- Cargo lift 2 floors load 4000Kg side opening dons for Basra drug stores	2PCS

7- As above but 1400 Kg 7-Floor for Saddam Teaching Hospital in Basra 	4PCS

8- As above bedlift but 1800 Kg 2- Floor for Tahreer Hospital and Basrah Funeral Hospital.	10PCS

02-06-00037	 Fork Lift (2Ton)				80

1.DIESEL ENGIN 4 CYLINDER WATER COOLED

2.BATTRY 12V

3.NORMAL HYDROLIC GEAR

4.MAX HIGHT 3.5M

02-06-00038	Absorption chiller 				60

550 TON

02-06-00039	High tension switch gear

1-aircircuit breaker 1600A     AH-16B		6

2-aircircuit breaker 1600A    AH-16B		6

3-batery 100V    QSC-SOE

4-batery 24V    AMH--SOE

5-printed circuit breaker    AED-6A

6-printed circuit breaker    D2-100

7-high VGE oil labricant  11KV			4800LT

02-06-00040	Paging system 				94

1-Complot paging system compressing control station and 5 W transmitter maximum rang less than 1000 m and 100 radio receiver

2-the system should be either independent or interfacing with any type of exchange

3-installation on site for 6-system and training technicians of other sites during installation to install the other system

4-training on factory for 5 engineers for 2 weeks

5-complot sets of manuals installation and manta enamel

6-spare parts for 2 years

7- greenery for one year and one maintenance

02-06-00041	Equipment: Freezers				700

Volume : 16 ft3

Temperature: from 00C to -300C.

220V ,50HZ, 1PH

compressor : Tecumseh or Danffos

frion use : R12 or R22

Dial thermometer outside

the door have lock

Inside wall for freezer Aluminum plate.

Freezer has alarm system when temp. low or high

02-06-00042	Equipment: Vaccines and medicines  refrigerator	2000

Volume : 16 ft3

Temperature: from 00C to 300C.

220V ,50HZ, 1PH

compressor : Techumsuh or Danffos

frion use : R12 or R22

Dial thermometer outside

the door have lock

Freezer has alarm system when temp. low or high

Equipment: kitchen equipment

Company / manufacture: European

Site:saddam medical city

02-06-00043	Mobile sink capacity 220 liter dimension 800X600X500mm total high 650 mm	12

02-06-00044	Mobile sink capacity 220 liter dimension 800X600X500mm total high 650 mm	12

02-06-00045	Equipment: Steam Boiler for heating (5 ton/hr)	82

A) Steam Boilers

1. The sub-contractor shall provide install, test, and commission one no. packaged steam boiler and associated equipment.

2. The boiler shall be rated capacity of 5000 kg/h with a working pressure of 8-10 bar. Test pressure must be rated 1.5 times working pressure.

3. The packaged boiler shall be manufactured in accordance with either the relevant TRD/DIN (German code) or British standards.

4. The packaged boiler shall be supplied with matched ,forced draught pressure jet burner of high/low flame 2-stage operation, suitable for burning dual fuel 35 second redwood no. 1 at 38 c ,light fuel oil and groping butane and heavy oil .

5. The Boiler burner shall be fully automatic in operation complete with all necessary controls for oil and air supply, flame failure ,ignition ,pre and post purge periods etc. all pre wired to the sensors and boiler control/indication panel.

6. The boiler shall be high efficiency 3-parse Ir. reversed flow type with pressurized combustion chamber.

7. Boiler shall be fully pressure tested at the factory and 1 copy of the manufacturers test certificates (approved by neutral test instate) shall be provided.

8. Flue connection shall be at the rear of the boiler.

9. The packaged boiler shall have duty and stand by feed water pumps with associated automatic controls. pumps shall be of the multistage-centrifugal type.

10. The packaged boiler shall have the following mounting:

1. main steam valve

2. 2-high lift state valve, 5000 kg blowing – off pressure  10 bar

3.  pressure gauge.

4. 2-water level gauge.

5. feed water pressure gauge.

6. Burner control sensors.

7. water level /feed pumps controls.

8. pressure control

9. Blow down valve suitable for timed automatic operation in

conduction with timer unit.

10. 2-boiler feeding pumps with electric motor designed specified

boiler capacity at 10 bar.

11. The boiler shall have its own control/indication panel completely premiered with all necessary functions for a central and automatic supervision and control of the boiler unit . The panel shall incorporate all required facilities for correct monitoring and control. All necessary control lamps ,contractors, switches, fuses,  lock-out lamps etc. shall be incorporated together with “hours run” meter .

B- BOILER FLUE GAS DUCTING

1. The sub-Contactor shall supply. install and commission flue gas ducting (chimney) terminating in a suitable clown above roof level. Height (above floor level) 5m.

2. The “nominally” horizontal flue gas ducting shall be infect be in stalled “to fall ”,rising slightly ,towards the main vertical chimneys.

3. cleaning access doors shall be provided at the ends of horizontal ducting together with combined pressure release/cleaning door at the base of vertical flue.

4. A condenser  drain valve shall be provided from the base of vertical flue ,located at low level, complete with hose connection.

C. BOILER FEED WATER + CONDENSATE TANK INCLUDE. CHEM. DOSING

1. The sub-contractor shall supply ,in stall ,test ,and commission a feed water tank at high level in the plant room supplied as a complete package.

2. The tank shall be constructed of sheet steel with welded joints and will be supplied complete with all necessary channel iron wall and floor supports thickness 5mm.

3. The tank shall have a minimum capacity of 3000 liter's, complete with following features and fittings etc:

1. 500mm bolted access manhole

2. Glass water level gauge.

3. water level control electrodes and associated solenoid valve

for make-up water.

4. Sprague pipes for condense return below water level.

5. spray pipes for direct steam injection below water level  for

preheating feed water at boiler start-up, complete with thermostat

icily  control valve.

6. vent pipe.

7. all necessary connection.

8. 50 mm thick rigid foil backed fibber glass insulation of 64 kg/m3

density finished in 24 swag aluminum sheeting.

4. The tank shall also have provision for being chemically dosed by Adonis set.

5. The dosing set shall consist of plastic mixing drum with an adjustable rate dosing pump suitable for dosing oxygen scavengers, as recommended by the boiler manufacture or other equal and  approved chemical supply suitable for 5 tons of steam supply must be included.

6. The chemical dosing pump set  shall be  supplied by the boiler manufacture or equal approved.

D. BOILER BLOW DOWN TANK

1. The sub-contractor shall supply ,install, test and commission a boiler blow down tank.

2. The tank shall have a capacity of   Hrs supplied as a complete.

3. The tank shall be welded steel construction complete with mounting legs.

4. The tank shall be fitted with an automatic condense aftercare complete with non. return valve ,thermostat and solenoid valve strainer, and globe valve all mounted on the untreated cold water supply to the unit.

5. The after cooler and accessories shall also be supplied by the tank manufacturer.

6. The blow down tank shall be complete with pipe.

E. BOILER BLOWDOWN SYSTEM

1. The boiler shall have its own automatic system to provide for periodic blow down .

2. This shall consist of an electrical activated blow down valve which shall operate under the dictates of timer unit to provide a time controlled cycle as necessary.

3. The timer/control   unit shall provide blow down for Emmanuelle adjustable pre-set period at desired intervals which will, again be variable.

4. The boiler blow down system shall be as manufacture boiler manufacturer or equal and approved, and shall be supplied as package for the boiler.

F. WATER SOFTENER PLANT

1. The water softener shall be of the duel type in order to provide feed water for 24 hours/day continuously (No death-time due to regeneration).

2. The water softener must be supplied complete with :

- booster pump(inlet pressure 0.5 bar).

- salt tank(brine tank)

- 2water softener colors complete with control solenoid valves

- filter(strainer)

- contact water meter compel. with water softener control unit

- all armatures

3. The water softener must have capacity  at 80-100 litter/h

4. water treatment

water specification:

-total water hardness    caco3     150      400

-calcium                       ca          40        120

-chloride                       c1          10        70

-sulfate                         so4       40        120

-pH-valve                                       6.8       7.6

-Fe                                                  0          0.24

-total alkalinity            caco3        110      160

G. Heat exchanger (horizontal type)

with U-copper tubes (extensible) complete with thermal insulation:

-capacity:    450.000 kcal/h

-primary :    saturated steam 8 bar

-secondary: water 15-60 c0

-complete with asset of drawings.

H. Heat exchanger (horizontal type)

with U-copper tubes (extensible) complete with insulation:

-capacity :                 1.100.000 kcal/h

-primary  :                  saturated steam  8 bar

-secondary                   water  15-90 c0

complete with a set of drawings.

I. spare parts for 5 years with complete set   of fire tube

J. Fuel storage tanks

- content 10.000 Lt.

- wall thickness 5 mm

with tar-coating including supports for air mounting

connections and controls to storage tank:

- 1 filling        1 ½” incl.

- 1 draining     1 1/2"  include

- 1 air rent 2” with air

- 1 supply and return

- 1 drain valve 1 1/2” include connection

- 1 supply valve

- 1 manhole  400

- 1 pneumatic fuel gauge

- 1 measuring rod

K. control to fuel supply system (burner accessories) 1 Electro valve ,ventilation system consisting of:

stop cock, oil filter, Electro valve ,air vent flange and for other type of fuel  and maintenance

L. operation manual and diagram complete in English with all drawing electronically and mechanical

M. Training

3 engineer and 3 technician for one month at factory

02-06-00046	EQUIPMENT : STEAM BOILER FOR WASHING (0.6 TON/Hr)	120

Nos. Fuiiy Automatic Multi-Pass Steam boilers with leotrical  and mechanical control ,pumps ,safeties with Auxiliaries According to the international standards and regulations for steam boiler under the following specifications :

A. Out put capacity 600kg/Hr

B. Working pressure (6-8) bar

C. Oil burner type l 3 VZ monarch and gas (butane .propane ) and heavy oil

The following item must be included

1.Automatic blow down .contorted by timer

2.Feed/Condense water tank capacity of one meter cube with mechanical float ,water level indicator ,valves. etc,

3. Daily oil tank sand plastid with inner and outer anticorrosion painting ,capacity of lion liters complete with level indicator filling holes and suitable base

4.Oil filter with valve ,strainer, hose of 1/2 outlet diameter and accessories for other type of fuel

5.Suitable chimney 5 meter vertical height

6.Itemized and separately priced spare parts list sufficient for 5 years and maintenance including 2 sets internal pipes for each boiler

7.Suitable automatic water softener plants working on(0.5 bar) domestic water pressure to supply water 8 with zero degree hardness complete with all flexible pipes , electrical equipment's and fittings required and washable sand and clay filter.

8.Test certificate for each boiler sublimed by a reputable specialized firm electricity : 4 lines , 3 phase 380/220 voles , 50 HZ

water supply : 0.5 bar domestic water pressure

Analysis:

-Total hardness as CAE 0.3         400mg /l

-Calcium as ca                              120mg/l

-Chloride as CL                              70MG/L

-SULFATE AS SO 4                    120MG/L

-pH                                                  7.6

-Iron as Fe                                        0.24 mg/l

-Total alkalinity as cacao 3               160mg/l

9.Rcco mounded spare part list for 5 years with complete set fine tube

10.Supply all electrical and mechanical drawing and maintenance catalog and spare part catalog complete

11.Training for 3 engineers and 3 technician

02-06-00047	EQUIPMENT : HOT WATER BOILER (1 TON/Hr)	216

roting : 760 000 kcal/hr (879 kw)

working press : 8 bar

design : 3 pass wet back fier tube

burner : dual fuel , LPG and light gasoil

standerd : B.S 2790 and equivalent

quality : 150 9001

full automatic equippede with all necessory controls saftys fittings , valves with

1) 10000 lt fuel tank

2) 5 meters steel chimeny

3) 5- years recommended spare parts

4) 1- year warranty

5) supervision on installation

6) training of MOH engineers in factory

TYRE

02-06-00048	600X 14					2000

02-06-00049	700X 15					1000

02-06-00050	750X 16					4000

02-06-00051	1200X 20					2800

02-06-00052	1200X 24					1000

02-06-00053	3007436/007				96

02-06-00054	3007436/004				96

02-06-00055	2003087/001				48

02-06-00056	2003087/002				48

BATTERY

02-06-00057	60 AMP 					4268

02-06-00058	90 AMP					806

02-06-00059	135 AMP					1104

02-06-00060	540 AMP					296

02-06-00061	530 AMP					50

02-06-00062	30					484

02-06-00063	200					512

complete box battery Type:- 24 DRH 7

serial no. :- A9050158 F.O

capacity:- 511 A/AT   5 hour rate

volt:-        48

size:-    52x53x80 cm

each box have 12 battery

each battery size 50x14x11 cm

Equipment: kitchen equipment

Company / manufacture: European

Site: saddam medical city

02-06-00064	Steam heated boiling pan adjustable boil dimension approx. 1X1x1 m capacity 200liter materials inner lining of acid poof s/s accessories mixer unit for hot and cold water strainers and removable baskets	12

02-06-00065	Equipment : KIMADIA COMPUTER SYSTEM

THIS  SYSTEM  IS DESIGNED AS THE  FIRST STAGE SOLUTION  FOR

COMPUTERISING THE STOCK MOVEMENTS OF MEDICAL ITEMS IN THE

MINISTRY OF HEALTH WAREHOUSES.THIS INCLUDES ALSO ALL THE

RELATED ACTIVITIES PRIOR TO IT,SUCH AS TENDERS, CONTRACTS, ETC, AND

OTHER ACTIVITIES RESULTING FROM STOCK ,SUCH AS QUOTA

SYSTEM, ACCOUNTING, AND FOLLOW UP OF ITS DISTRIBUTION  (FROM THE

SUPPLIERS  DOWN TO ITS DISTRIBUTION TO THE FINAL  OUTLET).

THE SYSTEM  CHOSEN IS NOT BY ALL MEANS THE  LATEST STATE OF THE

ART TECHNOLOCHY,BUT  ITS A SYSTEM  ACCEPTABLE TO UN, SUITABLE FOR

ESTABLISHING THE STRUCTURE OF MORE, ADVANCED SYSTEM AS CHEAPLY

AS POSSIBLE ,AND SIMPLE ENOUGH TO BE TRANSFERRED AT LATER

STAGES TO MORE ADVANCED COMPUTER SYSTEM,BECUASE IT WILL BE

DESIGNED TO BE PORTABLE,

THE SYSTEM CONSISTS OF  COMPUTER NODES IN EACH OF THE 13

WAREHOUSES  AND EACH NODE WILL HAVE LOCAL PROCESSING

CAPABILITIES TO RECEIVE ,STORE,DISPACH  MEDICAL SUPPLIES IN

ACCORDANCE WITH THE PROCEDURE LAIDED DOWN BY- MOU.

ALL NODES  WILL BE CONNECTED IN THE SECOND STAGE. WITH  THE

KAMADIA COMPUTER CENTRE IN  THE MINISTRY OF HEALTH'

THE FOLLOWING HARDWARES AND SOFTWARES ARE REQUIRED

A- NETSERVER                   QUANTITY -14 UNITS

SPECS AS FOLLOWS

1-UPTO 16 GB INTERNAL STORAGE

2-SIX EXPANSION SLOTS-TWO PCI,TWO PCI/ISA,TWO ISA

3-RAM UP TO 198MB  AND TWO UNITS WITH RAM 384MB

4-BUILT IN ASR

5- CD-ROM

6-PRE CONFIGURED NETWORK CARD

7-NOT LESS THAN 200 MHz PROCESSOR

8-TAPE BACKUPSYSTEM NOT LESS THEN 8 GBNATIVE STORAGE

9-EXTERNAL STORGE CABINET WITH 4.3 GB DRIVE

10- ORGALE DATA BASE LICEINCE FOR  16 USER ON EACH SERVER

11-UNIX OPERATING SYSTEM

ANY SYSTEM WITH ABOVE SPECS WILL BE ACCEPTABLE.

THE MACHINES MUST BE FROM BRAND SUPPLIERS

B-PC    QUANTITY     130 UNITS

WITH THE FOLLOWING SPECS.

200 MHz PROCESSOR

16 MB RAM

1.6GB  INTERNAL STORAGE

C- TERMINALS                     QUANTITY   130 TERMINALS

COMPATIBLE WITH THE MINI SERVER -ARABISED

D- PRINTERS                        QUANTITY 50 UNITS

E- LASER JET PRINTERS  QUANTITY 50 UNITS

02-06-00066	Special Equipment for directorate of protection & improvement environment

Equipment:-Note book computer-			4

-12.1 Active matrix display

- 200 MMX Intel Pentium processor

-512 Pipelined burst cache

- 32 MB EDO RAM

-2GB HDD (8ms)

-16X CD-ROM (removable)

- 1.44   3.5” Floppy disk drive

- 4 MB EDO PCI Graphics

- Zoomed video port ,video in jack

Infrared interface support

Arabic/ English key board

- 16 Bit built in sound W/Speakers

Integrated personal touched

- Two type II/ 0ne type III PCMCIA slot

-  Rechargeable batteries (+2 Extra batteries)/ AC Adapter (220 V AC )/charger

Mobile care adapter

- Arabic windows 95 + MS plus! + MS office Professional with book shelf for windows 95, including original CD ’S & manuals

Deluxe carrying case

- Hp Laser jet 6P printer with 10MB Memory + 10 extra toners	2

Multimedia projector with the following minimum specifications	2

- 800 x600 SVGA

Power zoom focus

- 500 ANSI Lumens

video capable

Wireless PC mouse

recommended spare parts including Extra bulb

PUS, APC back -UPS pro 1250			2

Video camera with all accessories (VHS)		20

Television					20

Video with all accessories			20

Trans code				20

Recorder with all accessories			20

Photo camera				20

Over head projector				20

Slide projector with accessories			20

02-06-00067	MANUAL HYDROLIC JACK   			40

TYPE   TROLLY   JACK

CAPACITY :  1TON   0.250TON

02-06-00068	MANUAL   MECHAMICAL   JACK  (0.250TON)WITH  SPARE  PARTS   FOR   TWO  YEARS    	4

TYPE   TROLLY   JACK

CAPACITY :  1TON   0.250TON

02-06-00069	Passengers intercity  staff bus 20 to 30 passengers,automatic doors ,diesel engine,air condtioned,apholestered chairs stainless steele fram,sliding glass windows with curtains,rubber mat floor, tinted windshield , stereo radio-recorder,ceiling hanging grips,    	1000

Equipment: kitchen equipment

Company / manufacture: European

Site:saddam medical city

02-06-00070	Electric boiling pan, 3PH, 380 V, 50 HZ, and 20 KW, dimension: approx.  1X1X1 m , capacity : 100liter , material inner lining of acid proof S/S, outer casing and lid of S/S with foundation frame 	6

02-06-00071	Electric boiling pan, 3PH, 380 V, 50 HZ, 30 KW, dimension approx.  1.25X1X1 m , capacity : 200liter , material inner lining of acid proof S/S, outer casing and lid of S/S with foundation frame 	6

02-06-00072	Deep fat fryer – floor model , 3 phase , 380 V ,11.2 KW , dimension : 600X600X900 mm, capacity :oil volume ,2X15 liter, material : top surface , well heating elements and sides of S/S , with 2 baskets	4

02-06-00073	Deep fat fryer – floor model , 3 phase , 380 V ,11.2 KW , dimension : 600X600X900 mm, capacity :oil volume ,2X15 liter, material : top surface , well heating elements and sides of S/S , with 2 baskets	4

02-06-00074	Potato peeler mounted on astounds, 3 pH, .5 KW dimensions approx.  500X750X 1000mm capacity approx. 28 I Bs /load materials stand of cast iron cylinder of aluminum  	2

02-06-00075	Meat bond saw , 3 pH , 1.5 HP dimension approx. 520 X600X1500mm capacity work table 520X 660mm  table travel 300mm ,blade speed 22m/sec  s/s table	4

02-06-00076	Vegetable mill , 3 pH 0.75 KW or 1 pH equivalent  dimensions approx. 750X300X500mm capacity 5-10 kg /min material machine casing polyurethane and acetyl with all accessories 	4

02-06-00077	Food cutter 3pH 380 V 50HZ dimensions approx. 750 X600X500mm capacity  volume of bowl 11liter speed of bowel 16/33 rpm speed of knife 1400 /2800 rpm material bond of s/s cover and stand of elect of aluminum with all accessories knifes s/s spanners	4

02-06-00078	Heavy duty meat miner 380 V 50HZ 1.5 KW capacity approx. kg/hour  300, diameter of rotating knives 82 mm dimension approx. 400X470X 500	6

02-06-00079	Universal kitchen machine 1 pH dimension space required 370X270X500mm material casing of light alloy accessories mixing attachment 20 liter bowel capacity meat miner with 3, 	4

4 ½ , 13mm cutting plates and one four bled knife mashing machine

02-06-00080	Steam heated boiling pan adjustable boil dimension approx. 1X1x1 m capacity 200liter materials inner lining of acid poof s/s accessories mixer unit for hot and cold water strainers and removable baskets	12

02-06-00081	Equipment : Absorption chiller			12

Site/saddam Medical city

capacity : 1000 RT

Replacement to 16 JE carrier

- Eva & Abuse :

copper tubes 22 BWG X 1/4” O.D

Eva. tubes have 19FPI

Abuse. tubes are prime surface

- Evaporator :

model 16 JE 707

in - out temp. (C  O) : -12.5   - 7

flow ( L/S)  :- 149

tube velocity (M/S) :- 1.79

pass no. :- 2

- Absorber :

model 16 JE 707

in temp .(C 0) :- 29.4

flow (L/S) :- 240

tube velocity (M/S): 1.87

pass no. : 2

con. & gen.

3/4 “ O.D

condenser tubes are plain 22BWG copper

generator tubes are   19 BWG  Ca- Ni alloy 90-10

- con .

model 16 JE 707

out temp. (C0) :- 38

flow (L/S): -  240

tube velocity (M/S):- 3.28

pass no. :  1

gen.

Model 16 JE 707

Steam Pr - ( bar gauge ) :- 0.772

Steam rate ( G/SEC) :- 2275

02-06-00082	Equipment : Centrifugal electrical chiller		28

Site/saddam Medical city

Replacement to 17FA carrier

Capacity : 1000TR nominal.

Compressor : Hermetic motor - compressor

out put- 1000HP

Volt- 380 V , 3PH, 50 HZ

full automatic load control

full protection .

Evaporator: model 17 FA ZZ

in- out temp. ( Co): 7- 4.4

flow -(L/S) : 306

tube velocity ( M/S): 2.5

pass no. :  1

condenser: model FAZZ

in out temp. (Co) : 29.4- 35.5

flow ( L/S) : 170.3

tube velocity (M/S) : 2.6

pass no. :  2

tubes -tube length (m) : ZZBWG  - 3.7

02-06-00083	Equipment : Centrifugal electric chiller		4

Site/saddam Medical city

Replacement to 17 DA carrier

capacity : 3000 TR nominal

Motor : out put : 2240 KW - 3000 HP

volt : 11000V , 3PH

RPM : 1488

AMP : 138

compressor : model 17 DA - 74

B.H.P : 2234.86 KW

drive H.P: 2240 KW

speed increase : 5439/ 1488

cooler: model 17 DA - 73-ZZ

tube length (m) : 6.7

flow (L/S) : 311.6

in out  temp (Co) : 12.5 - 4.38

no. of tubes : 1410

condenser : model 17DA - 67

tube length (m) : 4.6

flow (L/S): 471.9

in out temp (Co) : 29.4- 35.9

no. of tubes : 1801

no. of tubes for economizer : 199

02-06-00084	Equipment : air compressor with motor		30

Site/saddam Medical city

pneumatic control

motor : 30 HP . 380 V , 3 pH , 50 HZ, 2300 L/min

max. discharge pressure : 20 bar

operating pressure : 12 bar

02-06-00085	Equipment : air compressor with motor		26

Site/saddam Medical city

diesel starting

motor : 2.6 KW , 3PH, 380V, 50HZ, 1500 rpm 0.065 m3/min 2.3 CFM

max working pressure: 3200 PSI,

02-06-00086	Equipment : Incinerator				200

pyloric incinerators without grate to ensure  complete combustion to incinerator  general hospital waste including paper , wrapping material , plastics, animal and vegetable waste and pathological waste. Incinerators must be capable to receive the above waste without separating

100 mg/nm3 .

content of CO:                  max. 0.002 %

visibility of flue gases :     max. 1 ring element

the incineration must not produce any smell ( the post combustion temp. must be above 800 Co).

volume of ash :                 max. 3% of initial

volume

weight of ash:                      max. 12% of initial

weight

the waste must be completely burnt & the contact of unbent organic matter of the ash must not exceed 3% . suppliers must forward with the quotation a document by the natural official institution proving that the above standard are achieved . preference is given to incinerator achieving the above figures without additional filtration equipment .

capacity : suitable to burn complete human corps 2 at time . Kg/day during   6 hours /day  during  6days / week  corresponding to an hourly capacity of 100 kg/hr.

Design : incinerator of the pyrolytic type are preferred . it should be able to operate the incinerator as follows:

manual feeding through special feeding door with temp. lock in order to protect from accident .incinerator must be without grate in order to avoid liquid waste to fall into the ash container without being incinerated .

incinerator must be equipped with primary and one secondary ( pilot ) burner . the fuel consumption of the burners is to be indicated in the offer .

control : automatic control with all necessary swishes , lamps , gauges , etc. in order to ensure automatic operation of the incinerator .

electrical supply : 220 - 380 V , 50 cycle

chimney : stainless steel chimney of sufficient length and diameter with spark arrest.

fuel oil tank : fuel oil tank made from steel plate , sand plastid and provided with protecting paint, sufficient for one month incineration for both burners including tank armatures .

various : all motors to resist tropical conditions

spare part : itemized and priced spare parts list sufficient for five years.

training: for tow engineer and tow technetium in your factory for the period of three week.

02-06-00087	Equipment : kerosene refrigerator			450

refrigerator work with electric heater & kerosene

- size 12 ft3

dial thermometer on the door

- refrigerator have tow door first for freezer & the second for refrigerator .

02-06-00088	Equipment : meat cold store			300

walk in freezers to preserve fresh meat at internal temp. ranging from (-15 C) to (- 25) at the following ambient conditions :

summer : DBT   50 Co

WBT   25 Co

winter :    DBT    1 Co

WBT   - 2 Co

Internal volume of freezer : not less than 20  M3

A : CONSTRUCTION :

1- freezers shall be shipped in knock - down section easy to re- effect .

2- cabinet interior shall be made of heavy corrosion - proof aluminum - floor made of heavy gauge anti- slip aluminum ( Sequa plate) .

3- cabinet exterior shall be made of aluminum coated with a white weather - proof coating to make it suitable for out- door installation .

4- insulation shall be sufficient to maintain the specified internal temp. in the specified ambient conditions but shall be not less than 12 CMS of polyurethane .

5- door shall be constructed of aluminium andshall have an external lock with keys . Door handle can be operated from inside and outside low voltage heater wire strip with electrical control shall ne provided apush - button shall be fitted inside to sound an alarm in case a person is trapped inside .

6- shelves and hangers shall be made of strong rust - proof materials . Shelves shall be grid type thre quarters of the space shall be pccupied by she lves the rest by hangers .

7- Light weigh shade to protect the cabinet from rain and sun to be fitted or top of it shape size and material of shade shall be suggested by tenderer

8- dial thermometer

9- audio and visual alarm for high temp .

10- sufficient interaal lighting automatically switdes on when door opens

11- air cur ain the door operates automatically when door opens

B- REFRIGERATION SYSTEM

two inde pendent refrigration systems (each system having acompresor not less than 3 KW ) shall be installed each being capable to maintain the required internal temperature at the specified ambient conditions an automatic alternator aclock timer shall be furaished to aotamatically reverse the sequence of operation of the tow systems to assure even wear- should one sysstem be unable for any reason to maintain the required temperature the second sysstem shall automatically cut - in and together sysstem shall automatically cut- in and together both sysstem shall bring the temperature down to the required level . visual indication of the operation and faults of the sysstems shall be shown on the control panel capacity and type of compressors used shall be mentioned in the offer . the entire sysstem shall utilize heavy - duty refrigeration copper tuibing no aluminium or steel tubing shall be used . evaporator fins shall be anti - corrosion type - automatic electrical defrost with pipe for drain valve shall be

C: ELECTRICAL SYSSTEM

sysstem shall operate from single - phase , 220V . 50HZ supply - or from three - phase 4 - wire 380/220V .

D-SPARE PARTS:

an itemized and pricid spare - parts list sufficient for five years repair and maintenance of the equipment shall be submitted with the offer . the peace shall be C&F baghdad and the spares shall be shipped with the freezers . Among other things , the list shall include the fol;owing items:-

1-compressors

2-evaporator motor fan

3-blades for evaporator fan

4-condenser motor fan

5-blades for condenser fan

6-thermometer

7-thermostat & alarm thermostat

8-high/low pressure - cut out

9-oil pressure - cut out

10-door gasket with heater

11-contactor for compressors

12-relays & electrical switches & klix on

13-deforst heaters

14-automatic electric defrost

15-automatic alternator for reverse seguence

16-internal light bulb

17-over load

18-expansion valve

19-filter dir/ers

20-fuses of different ratings

21-solenoid valve

22-micro switch & spare for air curtain

23-alarm horn

TESTING , INSTALLATION AND GUARANTEE

A : TESTING AND GUARANTEE

tenderer shall guarantee and maintain the freezers for a period of tow years starting from date of putting them in operation . All equipment shall be tested and autstanding technicalproblms shall be discussed and settled in the firm prior to the shipment of the equi[ment and in the presence of our engineer . tenderershall pay for the return air tickets of our engineer and bear all costs of his stay with the firm including full - board lodging for a period of two weeks .

B: TRAINING :

tenderer shall train two persons on the repair and maintenance of the equipment , each person for a period of one month in his firm tenderer shall bear all eosts including return air - fair , full - board loding and any other expenses .

C : INSTALLATION :

tenderer shall make complete installation of all cold stores and freezers except civil works such as concrete base - all materials any offer not including complete installation shall be rejected .

NOTES

1-fresh meats shall be brough in stores at around 35 0C .

2-quantity of stored meats in each store is about 1500 KG .

3-load calculations shall be sent with the offer

02-06-00089	EQUIPMENT: SUB – STATION					1500METERS

SITE: SADDAM MEDICAL   CITY

BUSWAYS, 1600 AMP. RATING .

AS ABOVE BUT BETWEEN MV MAIN SWITCH BORD NAD TO 9-CHILLERS EACH 1500 AMP. FLC

02-06-00090	submersible pump for spring well                                                                     bore_hole pump=120meter head                                                   flow =7L/sec multi stage                                                              submersible pump = 380V   3PH    50HZ                     with spare parts for 5years					8

02-06-00091	Computer & Communication system to cover KIMADIA central, Doha, and sector warehouses. with high specs, UPS s, printers and universal bar code readers.					2

02-06-00092	Mechanical Governor  control 					10

02-06-00093	Water pump					10

02-06-00094	cooling tower					66

company: CLIME CHAPPEE

Type :- (old) D31 E

Capacity :- 1.017 KW    wet bulb :26  c

1-180.00 Kcal/hr  water temp:-  38/30.8  c

Flow rate :-165 m3   /hr pressure drop :-2.5 m WG

Complete cooling tower :-

Which is same capacity at above and must be with separate motor for each blower and will work in high humidity weather 60% humidity and total hardness is for water 500 PPM recommended spare for 5 years include complete motor :-

Fins

Belt

Shaft

Spray nozzle

Bearing

Blower

Nozzle

Motor complete

Ball float valve

02-06-00095	H.T. System 					80

We need to supply of eight H.T breaker with the specification below for each H.T breaker :-

Connections

It received power from (SOE) through two feeders one is operating and the other is standby and both are connected to the third H.T . breaker which satisfied the protection above and called general protection which supply the voltage to other five H.T breaker (3 for three transformer  for hospital ; one for doctor residence ;one aspire)

All the H.T. breaker connected to earth switch individually in case of maintenance.

 We need

Recommended spare part incdudring 2H.T breaker complete and tools for repairing and maintenance complete maintenance operation and installation catalog and training for 2 engineer the system complete with the dimensions below length 3meter ; depth 1.7 meter ; high 2.25m

Notes:-

The system must be operated with vacuum method

Quantity :-

6 system for 6 site + Recommended spare

Old system

Original system with the specification below :-

CEM company (France)

Type MF- 120620

3ph 12kv 630A 50HZ

350 MVA

Motorized 110VD.C               controlled voltage 110VD.C

Gas SF6 pressure 5bar

02-06-00096	SHORT LIST FOR MATERIALS FOR CENTER OF NEUROLOGY (EQUIPMENTS AND SPARE PARTS AND ALL ACCESSORIES ) 					4

Materials for mechanical works					Including refrigerant gas

Centrifugal or reciprocating water chiller 230 ton

02-06-00097	A.H.U W/accessories 					22

02-06-00098	Condenser Evaporate and Boiler pumps 					12

02-06-00099	Heap filter(60 x60cm)for O.R					260

02-06-00100	Perforated diffusers for O.R					        10      4-3x3m &1-3.2x3.2m

02-06-00101	El.Bd. W/temp and humidity sensors for O.R					12

02-06-00102	MATERIALS FOR SANITARY WORKS					Lot

Central medical gases system

02-06-00103	Stainless steel scrub-up basins					 10  W/accessories

02-06-00104	Oxygen plant					lot

02-06-00105	MATERIALS FOR ELECTRICAL WORKS				Nurse call system 	lot       13n.st W/accessories

02-06-00106	Bed head unit 					208 Different types

02-06-00107	Fire alarm system 					lot  Sys. W/accessories for 12 zones

02-06-00108	Central clock system for O.R					lot 1-master plus 5-slave

02-06-00109	Generator set (800 KVA)					2

02-06-00110	Bed passenger lift					4

02-06-00111	 Sound reinforcement system 					Lot

02-06-00112	Emergency exit light					60

02-06-00113	UPS system 					12  3-5kw plus 3-7kw

02-06-00114	Sparkles switch socket 					164  Different capacities

02-06-00115	Materials for civil works		Conductive PVC tiles for O.R dept 			 540m^2W/accessories and adhesives

02-06-00116	Ceiling panels for O.R					210M^ 2 W/accessories and hangers

02-06-00117	Wall panels for O.R					560M^2  W/accessories and built in items

02-06-00118	PVC skirting for O.R dept					5002.M W/accessories and adhesives

02-06-00119	Equipment : pumps 					40

Company name : Guinard France

Description

-Complete pump+motor (NE 6x16)

Q=100 m3/hr     H=30-23

Kw 15    3ph , 400V

COs Q 0.89   r.i.p. = 2995

02-06-00120	-set of repining kit for the pump (NE 6 x16)					48

02-06-00121	Complete pump + motor (NE3 x16)					60

Q= 15 m3/hr     H=30m

3ph     COs Q 0.9,  r.p.m=2850 400V

02-06-00122	-Set of repining kit for the pump (NE 3x16)					72

02-06-00123	Accessories 					4

Microtck scanner A3 size (color)

02-06-00124	Printer HP Desk jet 890C					4

02-06-00125	Digital Camera (Sony)					4

02-06-00126	Video in card (MPWGENCODER)					2

02-06-00127	Plotter A0 size (Disk jet color)					2

02-06-00128	Multi Media Projector 					4

02-06-00129	Jackboot (20 CD changer) for Libra					2

02-06-00130	Copy Machines					4

Minolta photocopy machine 2080

02-06-00131	Kiss graph machine copy speed (60-130 copy per minute) GR-1750 or GR-3750					2

02-06-00132	Video and calling system requirement					120

Video camera digital with motorized connected to the current system

02-06-00133	27” Monitor video in –video out connected to the current video system 					80

02-06-00134	Amplifier for current audio calling system 					40

02-06-00135	Video recorder  U-Match					40

02-06-00136	Video Recorder  VHS					10

02-06-00137	Video Caddie  U-Match					1000

02-06-00138	Video Caste VHS					200

02-06-00139	Equipment:-Pegging  system					12

-Complete Paging system with its control station and 5 watt transmitter and 100 radio receivers.

the system  either  independent or interfacing  with telephone  exchange type.

Model:- cite  allocate   v-2505  medium  capacity  epabx  (64x320)   cabinet reference 0A075080101  (A20750044/E)

Program reference   FAH  04H 10H 03H

supply Complete  maintenance and operating    installation  catalog and spare  part  catalog

training  of  our staff in maintenance factory

-spare part for 5 year

02-06-00140	 Equipment:-  water softener					24

Description

-supply  complete  water softener with the values  and all   accessories instead of old model:-

SF602 CSB meter controlled fully automatic.

Capacity:- 9000/m3

Maxflowrate:-  10  m3/huh

Hardness of treated water 0.TH

Pressure drop:- 80 KPA  (8MWG)

Voltage:_220V/50HZ

Operating  pressure between (2 and 6 bar) 2 and 6 KPA/cm

Salt capacity:-400 KG

Reagent tank:- 120L

Company  name:-EAU ET  IN DUSTRE

-supply test kit for testing water with reagent 12 set

supply Complete  maintenance  and operating  and installation catalog and spare part catalog

give list of Spare part for 5 years

training of our staff in manufacture  factory

02-06-00141	Equipment:- Package unit package complete which supply cool air directly by duct  to the building					300

Capacity:- 10TON

380 V 50HZ ,3PH,R22

Ambient temp. :-  60 C

Linseed temp.::- 12 C

Training 3 engineer for 2 weak spare part for 5 years

02-06-00142	petium 333MHZ  MMX (INTEL) COMPLIENT WITH YEAR 2000 (XION)					80

MINITOWER CASE

64MB RAM (512CACHE)

UP TO 5GB HDD

15” SVGA MONITOR WITH 8MBAGP CARD (SVGA)

144 FDD (3.5)”

104 AIL KEYBOARD +(MOUSE &PAD)

MULTI MEDIA KIT (32X CD-ROM+ 16-SOUND BLASTER+SPEACERS+microphone)

CD-WRITER 2X2X6

FAX –MODEM CARD

LAN CARD 32 BIT (PCI)

WITH 1.4 APC UPS

TYPE 2

PETIUM  333MHZ MMX (INTEL) COMPLIENT WITH YEAR 2000 (XION)

MINITOWER CASE

32 MB RAM

3 GB HDD

14”SVGA MONITOR WITH 4MB AGP SVGA CARD

1.44 FDD  (3.5)”

104 AIL KEYBOARD + (MOUSE&PAD)

CD-ROM 32X SPEED

LAN CARD 32BIT (PCI)

WITH 1.4 APC UPS

TYPE 3

PETIUM  300MHZ MMX (INTEL) COMPLIENT WITH YEAR 2000 (CELERON)

MINITOWER CASE

16MB RAM

UP TO 2GBMDD

14” SVGA MONITOR WITH 2MB SVGA CARD

1.44 FDD 3.5”

104AIL KEYBOARD + (MOUSE & PAD)

LAN CARD 32 BIT (PCI)

CD- ROM 24X SPEED

WITH 1.4 APC UPS

PRINTERS

EPSON LQ 2170 DOTMATRIX WITH ARABIC

HP LASER GET 6P

SCANNER

AT LEAST 4800 DPI FLAT BED PAGE SCANNER

Equipment:fan coil unit

COMPANY NAME: wesper

02-06-00143	COMPLETE FAN COIL TYPE V.P.N 61 SINGLE SHAFT					600

02-06-00144	COMPLETE FAN COIL TYPE V.P.N 81 DOBLE SHAFT					240

02-06-00145	COMPLETE FAN COIL TYPE V.A.C 41 SINGLE SHAFT					48

02-06-00146	COMPLETE FAN COIL TYPE V.A.C 81 DOBLE SHAFT					36

02-06-00147	COMPLETE FAN COIL TYPE V.A.C 111 DOBLE SHAFT					36

SUPPLY MAINTENANCE AND OPERATION AND INSTALLATION AND SPARE PART CATALOG

TRAINING OF OYR STAFF IN MAINTEANCE FACTORY

SPARE PART FOR 5 YEARS INCLUDING THER MOSTAT MOTOR SELECTOR SWITCH

SUPPLY COMPLETE UNIT WITH ITS ALL

ACCESSORIES INSTEAD OF OLD MODEL

CONVEC FLEXIFLAME 70 LP GASES

SERIAL NO: 82487612 –02

COMPANY NAME: - CHAFFOTAUX ETMAURY

GINE LIST OF SPARE PART FOR 5 YEAR

SUPPLY COMPLETE MAINTENANCE AND OPERATING AND INSTALLATION AND SPARE PART CATALOG

TRAINING OF OUR STAFF IN MANUFACTURE FACTORY

02-06-00148	EQUIPMENT  CHILLER 					150

CAPACITY :   550

CENTRIFYAL TYPE WATER COOLED

SPARE PART FOR 5 YEARS

TRAINING FOR ENGINEAR

SUPPLY OPERATION AND MAINTENANA

CATOLOG WITH SPARE PART LIST

INSTALLATION AND OPERATION AND MAINTEANCE FOR ONE YEAR..

02-06-00149	WATER COOLER COMPLATE WITH					3000

¼ OR 1/3 HP  COMPRESSON 50HZ SINGLE PHASE 220V

SYEARS SPARE PART

TRAINING FOR ENGINEER AND TECH

02-06-00150	Equipment :- Window unit					4000

Air condition with heater

Capacity :- 1.5 ton

220 v , 50 Hz , 1 pH

hotel cooled , R22

spare part for 5 years

Training for our tech.

02-06-00151	Equipment :- split unit					500

Split unit with heater

Capacity :- 3 ton

220 V , 50 Hz , 1 pH

hot and cooled R22

spare part for 5 years

training for our tech

02-06-00152	Equipment :- deep freeze					400

Deep freeze complete unit flat type inside temp. required :-  40 Co

220V , single, phase 1 , 50 HZ

spare part for 5 years

training for engineer and tech

Supply catalog spare part and operation and maintenance

02-06-00153	Equipment :- chiller Air cooled					200

Capacity :- 80 ton

Ambient temp :55Cْ

Water inlet : 6 Cْ

Water outlet : 12 Cْ

Compressor type : Semi hermetic

coil material copper tube with aleminuim fins

fan type propeller

evaporator sheel and tubs

(cooler type) pumps flow rate suitable for the chiller

air handling units with suitable capacity

electrical board for operation (pumps ,chiller , air handling units)

02-06-00154	Equipment:- cooling tower					44

Complete cooling tower

Capacity : 4 .201.200 Kcal/h

Working weather 60% humidity and 500 PPM total hardness for water

Water flow : 7800 L/min

Water in :- 41Cْ

Water out :- 32 C ْ

Spare part for 5 years

Training for engineer and tech

Supply catalog for operation and maintenance and spare part list.

02-06-00155	Equipment:- cooling tower					40

Capacity :80 ton

Water temp. 38/ 30 Cْ

Complete cooling tower must be separate motor  for each blower and will work in high

Humidity weather 60 % Humidity and total hardness is for water 500ppm

Recommended spare for 5 years.

Include complete motor

Fin , belt,shaft, spray nozzle , bearing , blower ,

Nozzle , motor complete, ball float valve

Training for engineer and tech.

Complete catalog for spare part and operation maintenance catalog

02-06-00156	Minibus 21 Setae, Two Wheel Drive with four doors with Air Conditioner, Petrol engine with service, operation, spare parts manuals in English and service and Fast moving spare parts for 2 years operation					2for the North

02-06-00157	Fuel Tanker Scan, Complete Set, 9 cube metros (m3) spare part with service, operation, spare parts manuals in English and service and fast moving spare parts for 2 years operation (other alternative Volvo or Mercedes)					6 for the North

02-06-00158	SPECIFICATIONS FOR BLOOD REFRIGERATOR CARS 					100

BIAS VEHICLE:

-ENGINE:

PETROL ENGINE

WATER COOLED

TRANSMISSION: MANUAL FLOOR SHIFT

BRAKE: DRUM BRAKE IN EACH WHEEL WITH BOOSTER ASSIST BARKING BRAKE TO BE CONTROLLED BY HAND GETTING ON THE REAR WHEELS

- STEERING: POWER STEERING LEFT HAND DRIVE

- SUSPENSION: HEAVY DUTY LEAF SPRING IN EACH REAR AND FRONT WHEELS

- GAUGES: ALL IN METEORIC SYSTEM .

- AIR CONDITION AND HEATING: TO BE SUPPLIED FOR DRIVER CAB

- CAB: DOUBLE CABIN

- ELECTRIC EQUIPMENT: HEAVY DUTY 12 VOLT 75 AMP /H BATTERY

ANTENNA

INSTALLATION OF RADIO ANTENNA IN EACH AMBULANCE AT THE ROOF.

WIRELESS EQUIPMENT: EACH AMBULANCE EQUIPPED WITH RADIO (WIRELESS COMMUNICATION DEVICE).

- LOAD CAPACITY: THE VEHICLE CAN CARRY NET WEIGHT NOT LESS THAN 1000 KG

- SIREN AND BEACON: THE CAR EQUIPPED BY BEACON LONGITUDINAL IN UPPER FRONT OF THE CAR AND EQUIPPED BY DEVICE FOR COMMOTION

- ASSESSORS: JACK AND HANDLE, WHEEL RING, HAZARD TRIANGLE

- SPARE WHEEL 12 WHEELS

BLOOD BOX COMPARTMENT

THE BOX WILL BE ENOUGH TO CARRY THE FOLLOWING:

- TWO BLOOD REFRIGERATOR  (VERTICAL TYPE) EACH CAN CARRY 100 UNIT OF BLOOD BAG

- TWO DEEP FREEZER (VERTICAL TYPE) EACH CAN CARRY 150 UNIT OF BLOOD DERIVATIVES

- INSIDE TEMP FOR REFRIGERATOR + 2C TO +60C

- INSIDE TEMP FOR DEEP FREEZE-30C TO-60C

- AMBIENT TEMP:60C

AUDIO and VISUAL for LIGHT TEMP and LOW TEMP MUST BE FITTED in EACH refrigerator and FREEZE and WILL BE SHOWN ALSO in DRIVE CAB

EACH refrigerator and FREEZE have TWO SEPARATING COMPRESSOR  (ONE work and ANTHER STAND BY )

- EACH REFRIGERATOR AND FREEZE HAVE STEIN STEEL STEAD DOOR  (NOT GLASS)

- AUTOMATIC DEFORESTING FOR EACH REFRIGERATOR AND FREEZE AND THE DRAIN WATER WILL BE THROWN OUTSIDE THE CAR

- THE REFRIGERATOR AND FREEZER WILL HAVE REMOVABLE DRAWER

- REF. GAS: R12 OR, RR22 OR R502

- TOW MINI COOLING BOXES FOR MANUAL TRANSPORTING THE BLOOD BAGS

- THE GENERAL BOX ARE SUITABLE FOR THE JOB OF THE OPERATION OF BLOOD CARING IN EACH ITEM .AND EQUIPPED BY TWO REAR DOOR OPERABLE TO THE SIDE

- RECOMMENDED SPARE PARTS FOR 5 YEARS

- TRAINING FOR TOW ENG. TWO WEEKS AND ONE DOCTOR FROM BLOOD BANK FOR TWO WEEKS

02-06-00159	Equipment Gas Boiler					36

Supply complete unit with its all accessories instead of old model conic flexiflame 70 cp. Gases serial No. 82487612-20

Company name :- CHAFFOTANUX ETMAURY

- give list of spare part for serer

- supply complete maintenance and operating and installation and spare partscatalog

- Training of our staff in manufacture factory

02-06-00160	Centralized cooker s					6

02-06-00161	Bata peeling machine 					6

02-06-00162	Tomato press					6

02-06-00163	 Horizontal Deep freeze 16” foot					6

02-06-00164	Washing machine laundry					6

02-06-00165	Press					6

02-06-00166	Betts for Iron roller					132

02-06-00167	Pentium 2 Intel					60

02-06-00168	CPU 333 MHz with cache RAM 128 MB					60

02-06-00169	Hard disk 9 GB					60

02-06-00170	SVGA card 4 MBV RAM					60

02-06-00171	17” color SVGA monitor					60

02-06-00172	Screen filter					60

02-06-00173	LAN card 32 Bits					60

02-06-00174	CD –Drive 34 X					60

02-06-00175	Sound D32 Bit 3 D					60

02-06-00176	HP laser jet printer 6p++10 extra toner					60

02-06-00177	Modem Fax card (56.6) KBPS					60

02-06-00178	English/Arabic KB (104 Keys)					60

02-06-00179	MS mouse					60

02-06-00180	Mouse –Peed					60

02-06-00181	3.5 FDD HD					60

02-06-00182	HP Laser jet printer					60

02-06-00183	Extra Black Toner					300

02-06-00184	FORK LIFT (5 TON)					50

1. DIESEL ENGINE 4 CYLINDER WATER COOLED

2. BATTERY 12V

3. NORMAL HYDRAULIC GEAR

4. MAX HEIGHT 3.5M

|  | PACKAGE UNIT (AIR COOLED) SCHEDULE |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cod | No. Req | Summer |  |  |  |  | Winter |  |  | blower |  | Comp. Load/kw |  |  |
|  |  | Cooling load kcal/H |  | Evaporate temp C |  |  |  | Electrical heater |  | Fresh air (m/h) | Supply air (m/h) | External (mm w.g) | Bower | Kw |
|  |  | Effective sensible load | Total load | Entering |  | Leaving |  | Kw | No.of stage |  |  |  |  |  |
|  |  |  |  | D.B | W.B | D.B | W.B |  |  |  |  |  |  |  |
| 02-06-00185 | 2 | 65700 | 98400 | 28 | 17.5 | 14 | 9.5 | 70 | 2 | 4980 | 28050 | 7 | 7.5 | 46 |
| 02-06-00186 | 2 | 55200 | 81900 | 33 | 19.8 | 143 | 9.5 | 58 | 2 | 4400 | 22440 | 6 | 7 | 37 |
| 02-06-00187 | 2 | 19400 | 28200 | 28.4 | 17.5 | 14 | 9.5 | 20 | 2 | 1630 | 8160 | 5 | 2 | 13.6 |
| 02-06-00188 | 2 | 29670 | 44100 | 28.4 | 17.5 | 14 | 9.5 | 31 | 2 | 2550 | 12750 | 5 | 3 | 22.8 |
| 02-06-00189 | 2 | 12510 | 18150 | 28.4 | 17.5 | 14 | 9.5 | 12.8 | 2 | 1020 | 5100 | 5 | 1.5 | 8.9 |
| 02-06-00190 | 2 | 41000 | 50500 | 28.4 | 17.5 | 14 | 9.5 | 36 | 2 | 2720 | 13600 | 5 | 3 | 22.6 |
| 02-06-00191 | 2 | 12510 | 18000 | 28.4 | 17.5 | 14 | 9.5 | 12.7 | 2 | 1020 | 5100 | 5 | 1.5 | 8.9 |

| 02-06-00192 | Size of clinker /1st stage 406. 4mm (16”) tow | 4set |
| --- | --- | --- |

02-06-00193	Z ND stage :288 .6mm (9)” tow			4set

- Power transmission / direct coupling

- The compressor used to produce  medical oxygen Gas under normal condition

- Compressor manufacturer / IHI ishikawajima – industries Co. It’d Tokyo Japan

Head office e : New ohtemavhi Bldg. 2- chime . 2chlemachi

Chiyoda .KU Toko. Japan

Tel Toko (03) 244.6496)

Telex J22232 (Chico j 22232)

J 22490 , JJ2439Cabla address : Iho Toko

- Installed & Commissioning by:

Toko Bussan Co. Lt.

Twix 242- 2914

Fax 03-423 – 4821

02-06-00194	Teflon Pistonring 2nd Stacie cood No. E238201	40

02-06-00195	Teflon Piston ring ist stage cood No. E148201	32

02-06-00196	Bull Ring 2nd Stage cood No. E238202		24

02-06-00197	Piston Assy Ist stage cood No. E141600		4

02-06-00198	Discharge valve seat 				200 pcs

02-06-00199	inlet valve seat 				160

02-06-00200	I- Typethermometer (0-100C)			10

02-06-00201	L- Type Thermometer (0-200C)			12

02-06-00202	THRENAY SOLENOIO VALVE			20

02-06-00203	Oil preserve 				10

02-06-00204	Chain over suttee				10

02-06-00205	AIR Pressure switch cood No. G319968		10

02-06-00206	Temperature switches (120-215C) cood no. G631301	10

02-06-00207	Crank shat Assy cood No. D266700		4

02-06-00208	Oilier PIN cood No. 				30

02-06-00209	Retaining Ring cood No. D26706			30

02-06-00210	Bearin6 collar cood No. D260707			30

02-06-00211	Bearing Coeur cood No. D260708		30

02-06-00212	Collar cood No. D260709 Flintier 			30

02-06-00213	Filigree cood no. D260710			30

02-06-00214	Bolt cood no. D110711 			30

02-06-00215	Key cood No. D260712			30

02-06-00216	Oilier sleeve cood no. D260713			30

02-06-00217	Bearing cood No. 0.0260714			30

02-06-00218	Bearing cood No. D260715			3

02-06-00219	Connecting Rods cood No. D111400		30

02-06-00220	Ding end Bolt cood No. D111403			30

02-06-00221	Caste Nut Cood No. D111404			30

02-06-00222	Crank pin Bearing Cood. No. D111406		30

02-06-00223	Wrist P/N Metal cood No. D111407		30

02-06-00224	Cloture P/N cood No. D961814 			30

02-06-00225	Cross Head Assy Cood No. D111300		30

02-06-00226	Wrist P/N covers cood No. D111 303		30

02-06-00227	Wrist P/N D111304 				30

02-06-00228	Lockwasher Cood no. D111305			30

02-06-00229	Bolt Cood No. 0430765			30

02-06-00230	Destine Rod cood No. E121606 			30

02-06-00231	Precision control thick meter 			30

0-3005 Freq. 0-4000

02-06-00232	Thermos couple for outlet and inlet Tem. 		30

02-06-00233	Tem. Controller T 675A 			30

02-06-00234	Ceramic filter 				30

02-06-00235	Flexible hose for tank lorry 			4

02-06-00236	Ball valve for pump (tank lorry) 			4

02-06-00237	Pump Assy for tank lorry 			10

02-06-00238	Flexible hose for filling station 			4

02-06-00239	Complot O2 valve for oxygen cylinder  type G11	240

Water pump

Manufacture: old type LEF1: any anther new model

Equipment to the following old pump good quietly

Article				Qty of repair kit	Qty of complete pump

| 02-06-00240 | Contifagal pump with motor complete old model : B125/25 name Q forte (m3/h) ; 95 380volt, 50HZ, 3PH |  |  | 80 | 20 |
| --- | --- | --- | --- | --- | --- |
| 02-06-00241 | Centrifugal pump with motor complete old model :- B 125/20 N Q floweret 9m3/h0:160 |  |  | 80 | 20 |
|  | Head:- 26m |  |  |  |  |
|  | volt 380 50hz 3ph |  |  |  |  |
| 02-06-00242 | Centrifugal pump with motor complete old model :- B125/30 Q floweret m3/h : 182 Head:- 21m |  |  | 80 | 20 |
|  | Volt:- 380 , 50Hz 3ph inletpipe inch :- 5 outlet pipeinch;-4 |  |  |  |  |

| 02-06-00243 | Centrifugal pump with motor complete old model :- B125/25 Q floweret m3/h:- 95 |  |  | 80 | 20 |
| --- | --- | --- | --- | --- | --- |
|  | Head :- 17m |  |  |  |  |
|  | Volt 380, 50Hz,3Ph |  |  |  |  |
| 02-06-00244 | Centrifugal pump with motor |  |  | 80 | 20 |
|  | Old model :- B125/30( Hot water ) |  |  |  |  |
|  | Q floweret (m3/h):- 99 |  |  |  |  |
|  | Volt:- 380,50 Hz, 3ph |  |  |  |  |
| 02-06-00245 | Centrifugal pump with motor old model :- B40132 |  |  | 40 | 20 |
|  | R.P.M= 1450 |  |  |  |  |
|  | Q floweret m3/h =14 |  |  |  |  |
|  | Head ;- 25 volt;- 380 Hz = 50 pH: 3 |  |  |  |  |
| 02-06-00246 | Centrifugal pump with motor |  |  | 40 | 10 |
|  | Old model :- B80 /35 Qflowrate :- m3/h 50 volt:- 380 , 50Hz,3ph |  |  |  |  |
| 02-06-00247 | Centrifugal pump with motor old model :- B125/35 Q floweret (m3/h) :60 volt:- 380 50Hz, 3ph |  |  | 20 | 10 |
| 02-06-00248 | Centrifugal pump |  |  | 20 | 10 |
|  | With motor old model :- bob 80/25 Q floweret m3/h :59 volt:- 380 , 50Hz,3ph |  |  |  |  |
| 02-06-00249 | Electric sewage pump head :- 15-20 |  |  |  |  |
|  | 380volt: 50Hz,3ph supply complete maintceance and operating installation catalog and spare part Catalan training of our staff in maintenance factory |  |  | 20 | 20 |

| 02-06-00250 | Drying tumbler |  |  |  |  | 400 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Capacity 15 Kg/load (dry weight ) 3 load /hour |  |  |  |  |  |
|  | Heating by electrical element |  |  |  |  |  |
|  | drum stainless steel 18/8 timer and thermo stat controlled inter lock stops cycle when door opened |  |  |  |  |  |
|  | connection to 380v 50hz 3ph |  |  |  |  |  |
|  | spare part list for 3 years |  |  |  |  |  |
|  | operation in stallation repair and spare parts manual with each drying tumbler |  |  |  |  |  |
|  | Training tow engineers for 3 weeks in the factory |  |  |  |  |  |
| 02-06-00251 | Press |  |  |  |  | 200 |
|  | Capacity 20 kg |  |  |  |  |  |
|  | Stainless steel inner for drum |  |  |  |  |  |
|  | Automatic operation pnognamebel |  |  |  |  |  |
|  | All accessories needed supply for prepare operation |  |  |  |  |  |
|  | Connection 380 V 50 HZ 3PH |  |  |  |  |  |
|  | List for spear part recommended 5 years |  |  |  |  |  |
|  | All document , menteenens , operation repair |  |  |  |  |  |
|  | Training tow engineers for 3 weeks in the factory |  |  |  |  |  |

| 02-06-00252 | Steam dryer |  |  |  | 300 |
| --- | --- | --- | --- | --- | --- |
|  | capcity 50kg dry /load with 3 load /hr |  |  |  |  |
|  | heating : steam (6-8) bar reverse rotation cylinder inter lock door for safty |  |  |  |  |
|  | timer control indication lamps and any other necessory components must be included |  |  |  |  |
|  | inlet and out let flexible steam pipes exheust flexible pipe 6m for each automatic start -stop starter ,steam trape sylinder material should be corrosion - proof itemized and speratly priced spare part list for 3 years |  |  |  |  |
|  | operation installation repaier and spare parts manual with each tumbler |  |  |  |  |
|  | connection to 380 V 50 HZ 3PH |  |  |  |  |

| 02-06-00253 | iron steam |  |  |  |  | 200 |
| --- | --- | --- | --- | --- | --- | --- |
|  | steam heated press roller two meters long |  |  |  |  |  |
|  | variable speed lowering raising switch for reverse rotation |  |  |  |  |  |
|  | finger protection provided rotation left and right |  |  |  |  |  |
|  | steam heated at a pressure of (8-10 )bar |  |  |  |  |  |
|  | complete with exhaust fan and all internal electric wiring steam trap connection to 380v 50hz 3ph |  |  |  |  |  |
|  | spare part list for 3 years |  |  |  |  |  |
|  | operation in stallation repair and spare parts manual with each drying tumbler |  |  |  |  |  |
|  | Training tow engineers for 3 weeks in the factory |  |  |  |  |  |
| 02-06-00254 | Flat work ironed machine |  |  |  |  | 300 |
|  | electrically heated press roller to 1.5 m length automatic lifting and lowering of cylinder heat control finges - protection feeding and receving tables |  |  |  |  |  |
|  | connection to 380v 50hz 3ph |  |  |  |  |  |
|  | spare part list for 3 years |  |  |  |  |  |
|  | operation in stallation repair and spare parts manual with each drying tumbler |  |  |  |  |  |
|  | Training tow engineers for 3 weeks in the factory |  |  |  |  |  |

| 02-06-00255 | Washing machine |  |  |  | 300 |
| --- | --- | --- | --- | --- | --- |
|  | Capacity up to 50 kg/load (dry weight) |  |  |  |  |
|  | heating :steam (6-8 bar) |  |  |  |  |
|  | drumins stainless steel 18/8 |  |  |  |  |
|  | operated by programme card and push botton for manual reverse drum action |  |  |  |  |
|  | safty look on door unbalance switch |  |  |  |  |
|  | G- factory :500 g |  |  |  |  |
|  | fitting and flexiable pipes 1.5 m in cluded |  |  |  |  |
|  | connection to 380 v 50 hz 3 ph |  |  |  |  |
|  | demostic water pressure supplied 0.5 bar |  |  |  |  |
|  | spare parts list for 3 years operation installation repair and spare parts manual with each washer |  |  |  |  |
|  | Training tow engineers for 3 weeks in the factory |  |  |  |  |

| 02-06-00256 | Washing machine |  |  |  | 300 |
| --- | --- | --- | --- | --- | --- |
|  | Capacity 20 kg/load (dry weight) |  |  |  |  |
|  | heating :electric element |  |  |  |  |
|  | drum stainless steel 18/8 |  |  |  |  |
|  | operation by push botton for manual control reverse drum action |  |  |  |  |
|  | safty look on door |  |  |  |  |
|  | fitting and flexiable pipes 1.5 m in cluded |  |  |  |  |
|  | connection to 380 v 50 hz 3 ph |  |  |  |  |
|  | demostic water pressure supplied 0.5 bar |  |  |  |  |
|  | itemized and speratly priced spare parts list for 3 years operation installation repair and spare parts manual with each washer |  |  |  |  |
|  | Training tow engineers for 3 weeks in the factory |  |  |  |  |

| 02-06-00257 | Washing machine |  |  |  | 300 |
| --- | --- | --- | --- | --- | --- |
|  | Capacity 30 kg/load (dry weight) |  |  |  |  |
|  | heating :electric element |  |  |  |  |
|  | drum stainless steel 18/8 |  |  |  |  |
|  | operation by programme card and push botton for manual reverse drum action |  |  |  |  |
|  | safty look on door |  |  |  |  |
|  | fitting and flexiable pipes 1.5 m in cluded |  |  |  |  |
|  | connection to 380 v 50 hz 3 ph |  |  |  |  |
|  | demostic water pressure supplied 0.5 bar |  |  |  |  |
|  | spare parts list for 3 years operation installation repair and spare parts manual with each washer |  |  |  |  |
|  | Training tow engineers for 3 weeks in the factory |  |  |  |  |

| 02-06-00258 | Press |  |  |  |  | 200 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Capacity 50 kg |  |  |  |  |  |
| 02-06-00259 | hydro extractor |  |  |  |  | 300 |
|  | Capacity 20 kg/load (dry weight) |  |  |  |  |  |
|  | G- factory :600-750 g |  |  |  |  |  |
|  | inner drum of stainless steel 18/8 |  |  |  |  |  |
|  | timer operated reverse phase brake system |  |  |  |  |  |
|  | drive motor with thermal cut -out |  |  |  |  |  |
|  | vibration controlled inner drum |  |  |  |  |  |
|  | connection to 380 v 50 hz 3 ph |  |  |  |  |  |
|  | spare parts list for 3 years operation installation repair and spare parts manual with each washer |  |  |  |  |  |
|  | Training tow engineers for 3 weeks in the factory |  |  |  |  |  |

| 02-06-00260 | Cornice flexiflame 70 |  |  |  | 100 |
| --- | --- | --- | --- | --- | --- |

| 02-06-00261 | Drying to LBG gas dryer |  |  |  | 4 |
| --- | --- | --- | --- | --- | --- |
| 02-06-00262 | Hot water boiler |  |  |  | 60 |
|  | Capacity 2000 KG/hr |  |  |  |  |
|  | Working presser 10 bar |  |  |  |  |
|  | Automatic control for safe, starting and operation, automatic blow down valve, safety valve . |  |  |  |  |
|  | Burner : dual fuel L.P.G gas or light gas oil |  |  |  |  |
|  | Automatic operation isolated skid mounted ready for connection and operation |  |  |  |  |
|  | Softener : suitable duplex automatic operation softener suitable for boiler |  |  |  |  |
|  | Spear parts recommended for 5 years |  |  |  |  |
|  | Technical document / insulation / operation / martinets and repair |  |  |  |  |
|  | Training 3 engineers for one month in the factory |  |  |  |  |
| 02-06-00263 | Calling system and equipment for calling system |  |  |  | 100 |
|  | Complete paging system with its control station and 5 watt transmitter and 100 radio receives . |  |  |  |  |
|  | The system either independent or interfacing with telephone exchange |  |  |  |  |
|  | supply complete maintenance and operating installation catalog and spare pat catalog |  |  |  |  |
| 02-06-00264 | Compressor |  |  |  | 17652 |
|  | Specification of compressor 1/6 hp |  |  |  |  |
|  | Mod. FII 5IF IOG or FII 5IQ IOG |  |  |  |  |
|  | 1/6 HP low back pressure static cooled R 12 compressor having following specification : |  |  |  |  |
|  | electrical characteristics |  |  |  |  |
|  | nominal voltage 220 V 50 HZ |  |  |  |  |
|  | voltage rang 170 - 240 V |  |  |  |  |
|  | power factor .95 ( shunt capacitor is to be used) |  |  |  |  |
|  | the compressor are to be supplied complot with starting device ( relay or ptc) |  |  |  |  |
|  | over load protector electrical connection board capacitor and the necessary wiring for electrical connection |  |  |  |  |
|  | dimensional data : |  |  |  |  |
|  | discharge tube 6.35 mm ID |  |  |  |  |
|  | suction tube 6.35 mm ID |  |  |  |  |
|  | process tube 6.35 mm ID |  |  |  |  |
|  | all tubing shall be made of high quality refrigerating copper tubes |  |  |  |  |
|  | Packing shall be made in strong wooden boxes or metallic cases suitable for shipment in containers and forklift handling. |  |  |  |  |

| 02-06-00265 | Telephone exchange system |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | 4X64 |  |  |  |  | 50 |
|  | 8 X 120 |  |  |  |  | 42 |
|  | 20 X 320 |  |  |  |  | 58 |
|  | 50 X 1000 |  |  |  |  | 6 |
|  | 10x250 |  |  |  |  | 2 |
|  | 10 x 75 |  |  |  |  | 2 |
|  | Auto communication switch system can use both type of telephone rotary dialing type and electronic push –bottom type programming of system facilities and read out should be accessible via data terminal |  |  |  |  |  |
|  | Facilities : consultation call with split call transfer three way conference executive station direct attendant call signaling camp on and over ride paging speed dialing restricted access for trunks call parking auto call back call forwarding manager secretary call interception busy over ride security group hunting UNA ANA |  |  |  |  |  |
|  | Tones : the system should be working on different tones such as internal ringing tone external ringing tone dial tone busy tone over ride tone hold or service tone confirmation tone call waiting tone order tone |  |  |  |  |  |
|  | Operator console : electronic push – bottom operator console can be connected at least 20 meters from the exchange required as communication link for incoming calls and external calls having more facilities than ordinary extenuation such as processing bottoms for arrival and departure callous call indication stand by and release automatic routine of calls serielcall over ride – camp on and hold external line reservation alarm display paging split and conference day timetransfer call tracking and toll display selftesting |  |  |  |  |  |
|  | Power supply : smooth and stabilized 48 V DC at 60 A max provided by main power parlor with 200 AH capacity battery accumulator which can deliver the power to the system for 5 hours in care of main failure |  |  |  |  |  |
|  | In case of 48 VPC failure to the system suitable battery back up supply electricity to 1000 hrs to different kind of memories to save stored elate. |  |  |  |  |  |
|  | Others : |  |  |  |  |  |
|  | 1- Installation the system on sites and tow year maintenance |  |  |  |  |  |
|  | 2- Spare parts for 5 years |  |  |  |  |  |
|  | 3- Comet set of manuals installation maintenance programming and read out testing and trouble shouting. |  |  |  |  |  |
|  | 4- Training on factory 5 engineers and 6 weeks |  |  |  |  |  |
|  | Equipment :pumps |  |  |  |  |  |
|  | model : as below |  |  |  |  |  |
|  | company / manufacturer : worthington |  |  |  |  |  |
|  | or equavalnt worthington |  |  |  |  |  |
|  | simpsonltd |  |  |  |  |  |
|  | low field works |  |  |  |  |  |
|  | p.o.box 17 newark , nottingh - amshire |  |  |  |  |  |
|  | NG243EN |  |  |  |  |  |
|  | ENGLAND |  |  |  |  |  |
|  | tel = newark 705151 |  |  |  |  |  |
|  | tlx = 37451 |  |  |  |  |  |
|  | quantity : 80 |  |  |  |  |  |
|  | site : saddam medical city |  |  |  |  |  |
|  | MOdEL | KW | HEAD (M) | FLOW (L/S) | RPM | QTY., |

| 02-06-00266 | 12LN21 | 340 | 36 | 650 | 1440 | 12 |
| --- | --- | --- | --- | --- | --- | --- |
| 02-06-00267 | 12LN17 | 265 | 52.5 | 335 | 1440 | 20 |
| 02-06-00268 | 12LN17 | 224 | 36 | 372 | 1440 | 8 |
| 02-06-00269 | ERP80-400 | 150 | 140 | 30 | 2880 | 4 |
| 02-06-00270 | 12LA2 | 150 | 25.5 | 415 | 1440 | 4 |
| 02-06-00271 | 12LA2 | 90 | 30 | 300 | 1440 | 6 |
| 02-06-00272 | 10LA3 | 90 | 30 | 170 | 1440 | 4 |
| 02-06-00273 | 10LA3 | 90 | 43.3 | 142.3 | 1440 | 4 |
| 02-06-00274 | 65WP 315 | 75 | 132.5 | 22.5 | 2880 | 4 |
| 02-06-00275 | 6L3 | 55 | 32 | 101.29 | 1440 | 4 |
| 02-06-00276 | 6L3 | 55 | 52.5 | 52.24 | 1440 | 4 |
| 02-06-00277 | 65WP 315 | 55 | 103 | 22.5 | 2880 | 6 |
| 02-06-00278 | ERP60-200 | 45 | 190 | 7.57 | 2880 | 12 |
| 02-06-00279 | 50wp315 | 37 | 103 | 10 | 2880 | 6 |
| 02-06-00280 | 65WP 250 | 37 | 68.6 | 22.5 | 2880 | 6 |
| 02-06-00281 | 6L3 | 37 | 34 | 55.5 | 1440 | 6 |
| 02-06-00282 | 6L3 | 30 | 27 | 98.5 | 1440 | 4 |
| 02-06-00283 | 100WP200 | 30 | 37 | 43.1 | 2880 | 4 |
| 02-06-00284 | 80WP 160 | 15 | 24 | 30 | 2880 | 4 |
| 02-06-00285 | 1 ½ TM2 | 15 | 132.5 | 2.5 | 2880 | 2 |
| 02-06-00286 | 40WP 200 | 11 | 45 | 7.57 | 2880 | 4 |
| 02-06-00287 | 40WP 200 | 11 | 55 | 4.36 | 2880 | 4 |
| 02-06-00288 | 1 ¼ TM43 | 7.5 | 68.6 | 2.25 | 2880 | 2 |
| 02-06-00289 | 4L1 | 5.5 | 9 | 30.61 | 1440 | 4 |
| 02-06-00290 | 100WP200 | 4 | 11 | 17.42 | 1440 | 4 |
| 02-06-00291 | 1 ¼ TM22 | 4 | 83.3 | 1 | 2880 | 6 |
| 02-06-00292 | 3L1 | 3 | 8 | 15.86 | 1440 | 4 |
| 02-06-00293 | 3dv2 | 3 | - | - | 2880 | 4 |
| 02-06-00294 | 32wp160 | 1.5 | 14.6 | 2.25 | 2880 | 4 |

| 02-06-00295 | ELECTRICAL FORK LIFT (2 TON) |  |  |  | 200 |
| --- | --- | --- | --- | --- | --- |
|  | 1.MAXIM HEIGHT 7 TO 7.5 METER |  |  |  |  |
|  | 2.FORK LENGTH 750 TO 1600MM |  |  |  |  |
|  | 3. FORK CARRIAGE WIDTH 865 |  |  |  |  |
|  | 4.FORK WIDTH X THICKNESS 120X50 |  |  |  |  |
|  | 5.FORK SPREAD MAX 815 |  |  |  |  |
|  | 6. FORK SPREAD MINIMUM 455 |  |  |  |  |
|  | 7.OVER ALL WIDTH (AXLE BRACKET) 1450 OR 1500 |  |  |  |  |
|  | 8.LOAD WHEEL TRUCK 1310 OR 1370 |  |  |  |  |
|  | 9.REACH TRAVEL (MAX) 1220 TO 1625 |  |  |  |  |
|  | 10.LOAD WHEEL /LOAD CENTER 865 TO 1075 |  |  |  |  |
|  | 11.SWEEP RADIUS 815 TO 965 |  |  |  |  |
|  | 12.BOOM LENGTH TO PIVOT CENTER 865 OR 1015 |  |  |  |  |
|  | 13.LENGTH OF REACH FRAME 1320 TO 1725 |  |  |  |  |
|  | 14.FACE OF FORK TO PIVOT CENTER 455 TO 660 |  |  |  |  |
|  | 15.THROAT 965 TO 1805 |  |  |  |  |
|  | 16.BOOM / REACH FRAME HEIGHT 355 |  |  |  |  |
|  | 17.MECHANISM WIDTH 205 |  |  |  |  |
|  | 18.LOAD WIDTH 800 TO 1320 |  |  |  |  |
|  | 19.LOAD LENGTH 760 TO 1525 |  |  |  |  |
|  | 20.AISLE WIDTH 1525 TO 1930 |  |  |  |  |
|  | 21.ELECTRIC MOTORS-REACH 0, 4 KW |  |  |  |  |
|  | 22.ROTATE 0, 4KW |  |  |  |  |
|  | 23.FONK WIDTH MAXIM 1600 MM |  |  |  |  |

| 02-06-00296 | ELECTRICAL FORK LIFT (1 TON) |  |  |  | 200 |
| --- | --- | --- | --- | --- | --- |
|  | 1.MAXIM HEIGHT 7 TO 7.5 METER |  |  |  |  |
|  | 2.FORK LENGTH 750 TO 1600MM |  |  |  |  |
|  | 3. FORK CARRIAGE WIDTH 865 |  |  |  |  |
|  | 4.FORK WIDTH X THICKNESS 120X50 |  |  |  |  |
|  | 5.FORK SPREAD MAX 815 |  |  |  |  |
|  | 6. FORK SPREAD MINIMUM 455 |  |  |  |  |
|  | 7.OVER ALL WIDTH (AXLE BRACKET) 1450 OR 1500 |  |  |  |  |
|  | 8.LOAD WHEEL TRUCK 1310 OR 1370 |  |  |  |  |
|  | 9.REACH TRAVEL (MAX) 1220 TO 1625 |  |  |  |  |
|  | 10.LOAD WHEEL /LOAD CENTER 865 TO 1075 |  |  |  |  |
|  | 11.SWEEP RADIUS 815 TO 965 |  |  |  |  |
|  | 12.BOOM LENGTH TO PIVOT CENTER 865 OR 1015 |  |  |  |  |
|  | 13.LENGTH OF REACH FRAME 1320 TO 1725 |  |  |  |  |
|  | 14.FACE OF FORK TO PIVOT CENTER 455 TO 660 |  |  |  |  |
|  | 15.THROAT 965 TO 1805 |  |  |  |  |
|  | 16.BOOM / REACH FRAME HEIGHT 355 |  |  |  |  |
|  | 17.MECHANISM WIDTH 205 |  |  |  |  |
|  | 18.LOAD WIDTH 800 TO 1320 |  |  |  |  |
|  | 19.LOAD LENGTH 760 TO 1525 |  |  |  |  |
|  | 20.AISLE WIDTH 1525 TO 1930 |  |  |  |  |
|  | 21.ELECTRIC MOTORS- REACH 0, 4 KW |  |  |  |  |
|  | 22.ROTATE 0, 4KW |  |  |  |  |
|  | 23.FONK WIDTH MAXIM 1600 MM |  |  |  |  |

| 02-06-00297 | FORK LIFT (3 TON) |  |  |  | 60 |
| --- | --- | --- | --- | --- | --- |
|  | 1. DIESEL ENGINE 4 CYLINDER WATER COOLED |  |  |  |  |
|  | 2. BATTERY 12V |  |  |  |  |
|  | 3. NORMAL HYDRAULIC GEAR |  |  |  |  |
|  | 4. MAX HEIGHT 3.5M |  |  |  |  |

| 02-06-00298 | FORK LIFT (1 TON) |  |  |  | 20 |
| --- | --- | --- | --- | --- | --- |
|  | 1. DIESEL ENGINE 4 CYLINDER WATER COOLED |  |  |  |  |
|  | 2. BATTERY 12V |  |  |  |  |
|  | 3. NORMAL HYDRAULIC GEAR |  |  |  |  |
|  | 4. MAX HEIGHT 3.5M |  |  |  |  |

| 02-06-00299 | MEDICINES CARRYING TRUCKS: |  |  |  |  | 600 |
| --- | --- | --- | --- | --- | --- | --- |
|  | A- BASIC VEHICLE: |  |  |  |  |  |
|  | 1. ENGINE: DIESEL ENGINE WATER COOLED |  |  |  |  |  |
|  | 2. TRANSMISSION: MANUAL FLOOR SHIFT |  |  |  |  |  |
|  | 3. CLUTCH: HYDRAULIC CONTROL SINGLE DRY PLATE WITH AIR PRESSURE ASSISTANCE |  |  |  |  |  |
|  | 4. SUSPENSIONS: FRONT: LAMINATED LEAF SPRINGS WITH SHOCK ABSORBERS: REAR: FRONT: LAMINATED LEAF SPRINGS WITH SHOCK ABSORBERS |  |  |  |  |  |
|  | 5. SUFFICIENT TO CONTROL THE VEHICLES IN THE PARKING SUPPLIED WITH AIR OVER HYDRAULIC WITH DUAL CIRCUIT |  |  |  |  |  |
|  | 6. ELECTRICAL SYSTEM: 24V 120AMP |  |  |  |  |  |
|  | 7. INSTRUMENT PANEL: ALL MEASUREMENTS AND GAUGES IN METRIC SYSTEM |  |  |  |  |  |
|  | 8. FRAME: PARALLEL, TAPERED CHANNEL SECTION TYPE WITH CROSS MEMBERS AND REINFORCEMENTS |  |  |  |  |  |
|  | 9. STEERING: LEFT HAND DRIVE, (BALL NUT TUBE, INTEGRAL TYPE) WITH HYDRAULIC POWER BOOSTER FLOOR SHIFT HANDLE |  |  |  |  |  |
|  | 10.TIRES:HIGH QUALITY FRONT WHEELS: SINGLE IN EACH SIDE REAR WHEELS: DOUBLE IN EACH SIDE |  |  |  |  |  |
|  | 11. DRIVERS CABIN: ONE AND HALF CABIN SUPPLIED WITH AIR-CONDITIONING SYSTEM (COOLING, HEATING AND VENTILATION) |  |  |  |  |  |
|  | 12. EQUIPMENT’S: THE VEHICLES (TRUCKS) IT PROVIDES WITH ALL ACCESSORIES THAT ARE CONCERNING WITH WORK OF THE TRUCK |  |  |  |  |  |
|  | B- LOADING CAPACITY: |  |  |  |  |  |
|  | FIRST OPTION LOADING CAPACITY (2-4) TON QTY (25) |  |  |  |  |  |
|  | SECOND OPTION LOADING CAPACITY (5-7) TON QTY (250) |  |  |  |  |  |
|  | THIRD OPTION LOADING CAPACITY (8-10) TON QTY (25) |  |  |  |  |  |
|  | C-ACCESSORIES: EACH VEHICLE (TRUCK) SUPPLY WITH THE FOLLOWING: |  |  |  |  |  |
|  | FAST SPARE PART: AUTO JACK WITH HANDLE AND WHEEL WRENCH : HAZARD TRIANGLE: HYDRAULIC TAIL LEFT. |  |  |  |  |  |
|  | 1. COOLING SYSTEM WORK BY ENGINE OR ELECTRIC POWER 380 VOLT 50 HZ 3 PHASE |  |  |  |  |  |
|  | 2. DIAL THERMOMETER MUST BE PROVIDED |  |  |  |  |  |
|  | 3. AUDIOVISUAL FOR HIGH TEMP. MUST BE FITTED |  |  |  |  |  |
|  | 4. REFRIGERATION MUST SUITABLE TO MAINTAIN THE COOLING SPECIFICATION MENTION BELOW AND USES THE FOLLOWING GASES R12, R22, R502. |  |  |  |  |  |
|  | 5. INTERNAL TEMP FROM + 10C TO-20C |  |  |  |  |  |
|  | 6. AMBIENT TEMP. |  |  |  |  |  |
|  | SUMMER BDT 60C |  |  |  |  |  |
|  | WBT 25C |  |  |  |  |  |
|  | WINTER DBT 1C |  |  |  |  |  |
|  | WBT 3C |  |  |  |  |  |

| 02-06-00300 | TRUCKS: |  |  |  |  | 500 |
| --- | --- | --- | --- | --- | --- | --- |
|  | C- BASIC VEHICLE: |  |  |  |  |  |
|  | 1- ENGINE: DIESEL ENGINE WATER COOLED |  |  |  |  |  |
|  | 2. TRANSMISSION: MANUAL FLOOR SHIFT |  |  |  |  |  |
|  | 3. CLUTCH: HYDRAULIC CONTROL SINGLE DRY PLATE WITH AIR PRESSURE ASSISTANCE |  |  |  |  |  |
|  | 4. SUSPENSIONS: FRONT: LAMINATED LEAF SPRINGS WITH SHOCK ABSORBERS: REAR: FRONT: LAMINATED LEAF SPRINGS WITH SHOCK ABSORBERS |  |  |  |  |  |
|  | 5. SUFFICIENT TO CONTROL THE VEHICLES IN THE PARKING SUPPLIED WITH AIR OVER HYDRAULIC WITH DUAL CIRCUIT |  |  |  |  |  |
|  | C- ELECTRICAL SYSTEM: 24V 120AMP |  |  |  |  |  |
|  | 7. INSTRUMENT PANEL: ALL MEASUREMENTS AND GAUGES IN METRIC SYSTEM |  |  |  |  |  |
|  | 8. FRAME: PARALLEL, TAPERED CHANNEL SECTION TYPE WITH CROSS MEMBERS AND REINFORCEMENTS |  |  |  |  |  |
|  | 9. STEERING: LEFT HAND DRIVE, (BALL NUT TUBE, INTEGRAL TYPE) WITH HYDRAULIC POWER BOOSTER FLOOR SHIFT HANDLE |  |  |  |  |  |
|  | 10.TIRES:HIGH QUALITY FRONT WHEELS: SINGLE IN EACH SIDE REAR WHEELS: DOUBLE IN EACH SIDE |  |  |  |  |  |
|  | 11.DRIVERS CABIN: ONE AND HALF CABIN SUPPLIED WITH AIR-CONDITIONING SYSTEM (COOLING, HEATING AND VENTILATION) |  |  |  |  |  |
|  | 12.EQUIPMENT’S: THE VEHICLES (TRUCKS) IT PROVIDES WITH ALL ACCESSORIES THAT ARE CONCERNING WITH WORK OF THE TRUCK |  |  |  |  |  |
|  | B- LOADING CAPACITY: |  |  |  |  |  |
|  | FIRST OPTION LOADING CAPACITY (3-4) TON QTY (50) |  |  |  |  |  |
|  | SECOND OPTION LOADING CAPACITY (5-6) TON QTY (100) |  |  |  |  |  |
|  | THIRD OPTION LOADING CAPACITY (8-12) TON QTY (100) |  |  |  |  |  |
|  | C-ACCESSORIES: EACH VEHICLE (TRUCK) SUPPLY WITH THE FOLLOWING: |  |  |  |  |  |
|  | FAST SPARE PART: AUTO JACK WITH HANDLE AND WHEEL WRENCH HAZARD TRIANGLE |  |  |  |  |  |

| 02-06-00301 | AMBULANCE |  |  |  |  | 400 |
| --- | --- | --- | --- | --- | --- | --- |
|  | PARTITION |  |  |  |  |  |
|  | BETWEEN DRIVER'S COMPARTMENT AND PATIENT’S COMPARTMENT FULL COVERAGE PANEL MADE OF STURDY MATERIAL (PRESS WOOD IS NOT TO BE USED) WITH SMOOTH SURFACE AT BOTH SIDE. |  |  |  |  |  |
|  | PARTITION WINDOW |  |  |  |  |  |
|  | LARGE, DOUBLE SLIDING SAFETY GLASS CENTRAL WINDOW |  |  |  |  |  |
|  | PATIENT'S COMPARTMENT |  |  |  |  |  |
|  | THE PATIENT'S COMPARTMENT IS TO BE FULLY INSULATED. |  |  |  |  |  |
|  | ROOF HEIGHT |  |  |  |  |  |
|  | INSIDE HEIGHT NOT LESS THAN 1500MM WITHOUT THE THICKNESS AND REINFORCEMENT. |  |  |  |  |  |
|  | FLOORING |  |  |  |  |  |
|  | HIGH QUALITY FLOORING MATERIAL CEMENTED TO A SUITABLE TYPE OF WOOD WITH ALUMINUM MOLDING. |  |  |  |  |  |
|  | MEDICINE CABINETS |  |  |  |  |  |
|  | THE LEFT WALL OF THE PATIENT’S COMPARTMENT IS TO BE PARTITIONED INTO ENCLOSED STORAGE CABINETRY. COMPARTMENT SPACE AND SHELF SPACE TO BE CONVENIENTLY LOCATED FOR MEDICAL SUPPLIES, DEVICES AND INSTALLED SYSTEM AD APPLICABLE FOR THE SERVICE INTENDED. CABINETS ARE TO BE EASILY OPENED WITH SHATTERED-PROOF TRANSPARENT SLIDING DOOR THE WALL IS TO BE NOT MORE THAN 30 INCHES HIGH. REMOVAL OF CABINET IS TO BE EASY TO FACILITATE BODY REPAIR IN CASE OF AN ACCIDENT. |  |  |  |  |  |
|  | TECHNICIAN SEAT - FRONT |  |  |  |  |  |
|  | PROVISION OF A TECHNICIAN SEAT AT THE FRONT OF THE PATIENT'S COMPARTMENT. |  |  |  |  |  |
|  | TECHNICIAN SEAT-REAR |  |  |  |  |  |
|  | PROVISION OF A TECHNICIAN SEAT AT THE FOOT OF THE PATIENT'S ON THE RIGHT END SIDE. |  |  |  |  |  |
|  | INSIDE LIGHTING SYSTEM |  |  |  |  |  |
|  | THE PATIENT'S COMPARTMENT ELECTRICAL SYSTEM IS TO BE SEPARATED FROM THE TRUCK. |  |  |  |  |  |
|  | IDENTIFICATION |  |  |  |  |  |
|  | THE AMBULANCE IS TO BE IDENTIFIED AS FOLLOWS:- |  |  |  |  |  |
|  | IT IS TO BE PAINTED CLEAR WHITE |  |  |  |  |  |
|  | - FOR DECALS FOR THE WORD "AMBULANCE", AND A RED CRESCENT IN ARABIC ONE ON EACH SIDE, ONE ON THE REAR, AND ONE ON THE FRONT |  |  |  |  |  |
|  | RESUSCITATION EQUIPMENT |  |  |  |  |  |
|  | - TWO OXYGEN BOTTLES, EACH OF 500 LITTER CAPACITY SECURED WITHIN THE LEFT WALL CABINETRY. |  |  |  |  |  |
|  | - TWO SPARE OXYGEN BOTTLES OF 500 LITTER CAPACITY IN STOWAGE CABIN. |  |  |  |  |  |
|  | - ONE SET OF ENGLISH BULL NOSE VALVE YOKE, PRESSURE REGULATOR WITH GAUGE FLOW METER AND HUMIDIFIER BOTTLE. |  |  |  |  |  |
|  | - THREE OXYGEN MASKS, ONE FOR EACH ADULT CHILD AND INFANT. |  |  |  |  |  |
|  | - THREE PLASTIC NASAL CANNULAS, TWO ADULT AND ONE CHILD. |  |  |  |  |  |
|  | - FOUR OXYGEN CATHETERS, TWO OF EACH NO.10F. |  |  |  |  |  |
|  | ONE MOUTH TO MOUTH VENTILATION MASK |  |  |  |  |  |
|  | CYLINDER KEY |  |  |  |  | 1 FOR EACH |
|  | OXYGEN FLOW METER /REGULATOR |  |  |  |  | 1 FOR EACH |
|  | HUMIDIFIER |  |  |  |  | 1 FOR EACH |
|  | PORTABLE OXYGEN KIT |  |  |  |  |  |
|  | ONE PORTABLE OXYGEN KIT COMPETE WITH REGULATOR AND SUPPLIES. |  |  |  |  |  |
|  | RESUSCITATOR COMPLETE WITH CYLINDER. |  |  |  |  | 1 FOR EACH |
|  | RESTRAINING STRAP FOR RESUSCITATOR. |  |  |  |  | 1 FOR EACH |
|  | SUCTION SYSTEM |  |  |  |  |  |
|  | ONE VACUUM APPARATUS INCLUDING AN ELECTRIC DRIVEN PUMP with rechargable battery |  |  |  |  |  |
|  | FIRST AID EQUIPMENT |  |  |  |  |  |
|  | A BOX IS TO BE PROVIDED CONTAINING THE FOLLOWING:- |  |  |  |  |  |
|  | TWENTY PRE- LOCALIZED PADS |  |  |  |  |  |
|  | TWELVE COMPRESSIVE BANDAGES |  |  |  |  |  |
|  | - FOUR 10CM ELASTIC STRIPS. |  |  |  |  |  |
|  | - SIX GAUZE BANDEAUS, THREE OF 75MM AND THREE OF 150MM. |  |  |  |  |  |
|  | - TWENTY GAUZE PADS 10CM BY 10CM, INDIVIDUALLY WRAPPED. |  |  |  |  |  |
|  | - TWO 5CM ANTI-ALLERGIC ROLLS OF ADHESIVE TAPE. |  |  |  |  |  |
|  | FIFTEEN TONGUE DEPRESSORS INDIVIDUALLY WRAPPED. |  |  |  |  |  |
|  | - ONE 100 ML BOTTLE CONTAINING CHLOREXIDINE BASE DISINFECTANT. |  |  |  |  |  |
|  | AIR SPLINTS |  |  |  |  |  |
|  | ONE SET OF AIR SPLINT FOR EACH OF THE UPPER AND lower LIMBS. |  |  |  |  |  |
|  | STRETCHER |  |  |  |  |  |
|  | WHEEL STRETCHER WITH ADJUSTABLE BACK AND FOOT RESTS WITH SIDE HANDLES, COMPLETE WITH MATTRESS AND COVER. |  |  |  |  |  |
|  | SPARE STRETCHER |  |  |  |  |  |
|  | FOLDING COLLAPSIBLE STRETCHER WITH SUPPORTING SPREADER BARS AND VINYL COATED NYLON FABRIC. |  |  |  |  |  |
|  | REAR BUMPER STEP |  |  |  |  |  |
|  | A- REAR BUMPER STEP IS TO BE INSTALLED OVER THE REAR BUMPER. |  |  |  |  |  |
|  | BOTTLE HOOKS |  |  |  |  |  |
|  | BOTTLE HOOKS ARE TO BE INSTALLED ON THE ROOF TO HOLD FLUID AND BLOOD TRANSFUSION BOTTLES. |  |  |  |  |  |
|  | SPARE STRETCHER HOLDER |  |  |  |  |  |
|  | SPECIAL HOOKS ON WALL AND ROOF ARE TO BE PROVIDED TO HOLD SPARE STRETCHER WHEN REQUIRED. |  |  |  |  |  |
|  | EXHAUST-VENTILATOR FAN |  |  |  |  |  |
|  | ROOF MOUNTED DOUBLE ACTING EXH-VENT FAN IS TO BE INSTALLED. |  |  |  |  |  |
|  | REAR BUMPER STEP |  |  |  |  |  |
|  | A REAR BUMPER STEP IS TO BE INSTALLED OVER THE REAR BUMPER. |  |  |  |  |  |
|  | BOTTLE HOOKS |  |  |  |  |  |
|  | BOTTLE HOOKS ARE TO BE INSTALLED ON THE ROOF TO HOLD FLUID AND BLOOD TRANSFUSION BOTTLES . |  |  |  |  |  |
|  | ANTENNA |  |  |  |  |  |
|  | INSTALLATION OF RADIO ANTENNA IN EACH AMBULANCE AT THE ROOF. |  |  |  |  |  |
|  | WIRELESS EQUIPMENT: EACH AMBULANCE EQUIPPED WITH RADIO (WIRELESS COMMUNICATION DEVICE). |  |  |  |  |  |
|  | SPECIFICATIONS FOR AMBULANCES |  |  |  |  |  |
|  | BASIC VEHICLE |  |  |  |  |  |
|  | ENGINE: PETROL ENGINE WATER COOLED . |  |  |  |  |  |
|  | TRANSMISSION: MANUAL OR AUTOMATIC. |  |  |  |  |  |
|  | AXLE: SINGLE REAR OR FRONT WHEEL DRIVE. |  |  |  |  |  |
|  | STEERING :POWER STEERING LEFT HAND DRIVE. |  |  |  |  |  |
|  | SUSPENSION : HEAVY DUTY. |  |  |  |  |  |
|  | COOLING SYSTEM: HEAVY DUTY. |  |  |  |  |  |
|  | ELECTRICAL SYSTEM: 12 VOLTS WITH HEAVY DUTY ALTERNATOR AND BATTERY. |  |  |  |  |  |
|  | AIR CONDITIONING SYSTEM: AIR-CONDITIONER AND HEATER FOR BOTH DRIVER AND PATIENT COMPARTMENTS. |  |  |  |  |  |
|  | SIDE DOOR: SIDE DOOR AT THE RIGHT SIDE. |  |  |  |  |  |
|  | BACK DOORS: TWO PANEL DOORS OPENABLE TO THE SIDES. |  |  |  |  |  |
|  | INSTRUMENT PANEL: WITH METRIC GAUGES and ODOMETER. |  |  |  |  |  |
|  | MIRRORS: ONE INSIDE and TWO OUTSIDE REAR VIEW. |  |  |  |  |  |
|  | TIRES :HIGH QUALITY INCLUDING SPARE. |  |  |  |  |  |
|  | -WARNING EQUIPMENT: SIREN WITH SPEAKER AND BEACON OF THE FOLLOWING TYPES: |  |  |  |  |  |
|  | -ELECTRONIC SIREN WITH PUBLIC ADDRESS SYSTEM OF 100WATTS OUT-PUT POWER. |  |  |  |  |  |
|  | BEACON : TWO REVOLVING DOME TYPE BEACONS LONGITUDINAL A LONG THE WIDTH ON THE FRONT ROOF |  |  |  |  |  |
|  | -SPEAKER: 100 WATTS SPEAKER INSTALLED INSIDE ENGINE COMPARTMENT. |  |  |  |  |  |
|  | -ACCESSORIES: |  |  |  |  |  |
|  | AUTO JACK WITH HANDLE and WHEEL WRENCH. |  |  |  |  |  |
|  | TOOL KIT BAG. |  |  |  |  |  |
|  | HAZARD WARNING TRIANGLE |  |  |  |  |  |
|  | FIRE EXTINGUISHER. |  |  |  |  |  |
|  | -MISCELLANEOUS: THE FOLLOWING IS TO BE SUBMITTED TWO WEEKS AFTER ORDER CONFIGURATION: |  |  |  |  |  |
|  | -WORKSHOP MANUALS (2 COPIES IN ENGLISH). |  |  |  |  |  |
|  | -SPARE PARTS CATALOGUES (2 COPIES IN ENGLISH). |  |  |  |  |  |
|  | -RECOMMENDED SPARE PARTS LIST (DETAILS OF THE LIST ARE TO BE AGREED UPON). |  |  |  |  |  |
|  | FAST MOVING PARTS for EACH VEHICLE. |  |  |  |  |  |
|  | - TRAINING FOR 3 ENGINEERS. |  |  |  |  |  |
|  | optional rquipments schedule ambulance |  |  |  |  |  |
|  | VACUUM MATTERS WITH CARRYING HANDLES. |  |  |  |  | 1 FOR EACH |
|  | PUMP FOR VACUUM MATTRESS |  |  |  |  | 1 FOR EACH |
|  | FOLDING STRETCHER |  |  |  |  | 1 FOR EACH |
|  | INFLATABLE SPLINTS, SET OF 4 IN WALLET. |  |  |  |  | 1 FOR EACH |
|  | ANALGESIC UNIT. |  |  |  |  | 1 FOR EACH |
|  | NITRONOX CYLINDER (LIGHT WEIGHT) |  |  |  |  | 1 FOR EACH |
|  | URINAL, MALE. |  |  |  |  | 1 FOR EACH |
|  | URINAL, FEMALE. |  |  |  |  | 1 FOR EACH |
|  | ORTHOPEDIC SCOOP STRETCHER |  |  |  |  | 1 FOR EACH |
|  | BRACKETS FOR SCOOP STRETCHER. |  |  |  |  | 1 FOR EACH |
|  | HEAPED AND HARDNESS SET FOR SCOOP STRETCHER. |  |  |  |  | 1 FOR EACH |
|  | ASPIRATOR, MANUAL |  |  |  |  | 1 FOR EACH |
|  | AMBULANCE CHAIR |  |  |  |  | 1 FOR EACH |
|  | BRACKET FOR AMBULANCE CHAIR |  |  |  |  | 1 FOR EACH |
|  | FIRST AID KIT COMPLETE WITH CASE. |  |  |  |  | 1 FOR EACH |
|  | PENLIGHT |  |  |  |  | 1 FOR EACH |
|  | BEDPAN |  |  |  |  | 1 FOR EACH |
|  | ANEROID SPHYGMOMANOMETER |  |  |  |  | 2 FOR EACH |
|  | STETHOSCOPE. |  |  |  |  | 2 FOR EACH |
|  | OTOSCOPE. |  |  |  |  | 1 FOR EACH |
|  | THOUGHT CUT SCISSORS. |  |  |  |  | 1 FOR EACH |
|  | SEMI AUTOMATIC DEFIBRILLATOR /MONITOR |  |  |  |  | 1 FOR EACH |
|  | SECURING DEVICE FOR DEFIBRILLATOR /MONITOR |  |  |  |  | 1 FOR EACH |
|  | ARTERY FORCEPS (SPENCER WELLS) |  |  |  |  | 1 FOR EACH |
|  | DISSECTING FORCEPS, PLAIN |  |  |  |  | 1 FOR EACH |
|  | SCISSORS BANDAGE. |  |  |  |  | 1 FOR EACH |
|  | THERMOMETER |  |  |  |  | 1 FOR EACH |
|  | NON WOVEN ACRYLIC BLANKET 60"X80" APPROX. |  |  |  |  | 1 FOR EACH |
|  | CELLAR BLANKET UNBLEACHED 60"X80" APPROX. |  |  |  |  | 2 FOR EACH |
|  | FOAM PILLOW, PCV COVERED |  |  |  |  | 2 FOR EACH |
|  | VACUUM FLASK STAINLESS STEEL 1 LITTER. |  |  |  |  | 2 FOR EACH |
|  | RESTRAINING STRAP FOR VACUUM FLASKS |  |  |  |  | 1 FOR EACH |
|  | OXYGEN CYLINDER, BULL NOSE (SIZE F) |  |  |  |  | 1 FOR EACH |
|  | OXYGEN FACE MASK |  |  |  |  | 1 FOR EACH |
|  | GREEN BUBBLE 30 FOOT ROLL |  |  |  |  | 2 FOR EACH |

| 02-06-00302 | ACCIDENT EMERGENCY AMBULANCE |  |  |  |  | 200 |
| --- | --- | --- | --- | --- | --- | --- |
|  | PARTITION |  |  |  |  |  |
|  | BETWEEN DRIVER'S COMPARTMENT AND PATIENT’S COMPARTMENT FULL COVERAGE PANEL MADE OF STURDY MATERIAL (PRESS WOOD IS NOT TO BE USED) WITH SMOOTH SURFACE AT BOTH SIDE. |  |  |  |  |  |
|  | PARTITION WINDOW |  |  |  |  |  |
|  | LARGE, DOUBLE SLIDING SAFETY GLASS CENTRAL WINDOW |  |  |  |  |  |
|  | DOUBLE SLIDING SAFETY GLASS WINDOW BEHIND DRIVER CABINET ITS HEIGHT HALF INSIDE HEIGHT OF ROOF HEIGHT. |  |  |  |  |  |
|  | PATIENT'S COMPARTMENT |  |  |  |  |  |
|  | THE PATIENT'S COMPARTMENT IS TO BE FULLY INSULATED. |  |  |  |  |  |
|  | ROOF HEIGHT |  |  |  |  |  |
|  | INSIDE HEIGHT NOT LESS THAN 1900MM WITHOUT THE THICKNESS AND REINFORCEMENT. |  |  |  |  |  |
|  | FLOORING |  |  |  |  |  |
|  | HIGH QUALITY FLOORING MATERIAL CEMENTED TO A SUITABLE TYPE OF WOOD WITH ALUMINUM MOLDING. |  |  |  |  |  |
|  | MEDICINE CABINETS |  |  |  |  |  |
|  | THE LEFT WALL OF THE PATIENT’S COMPARTMENT IS TO BE PARTITIONED INTO ENCLOSED STORAGE CABINETRY. COMPARTMENT SPACE AND SHELF SPACE TO BE CONVENIENTLY LOCATED FOR MEDICAL SUPPLIES, DEVICES AND INSTALLED SYSTEM AD APPLICABLE FOR THE SERVICE INTENDED. CABINETS ARE TO BE EASILY OPENED WITH SHATTERED-PROOF TRANSPARENT SLIDING DOOR THE WALL IS TO BE NOT MORE THAN 30 INCHES HIGH. REMOVAL OF CABINET IS TO BE EASY TO FACILITATE BODY REPAIR IN CASE OF AN ACCIDENT. |  |  |  |  |  |
|  | TECHNICIAN SEAT - FRONT |  |  |  |  |  |
|  | PROVISION OF A TECHNICIAN SEAT AT THE FRONT OF THE PATIENT'S COMPARTMENT. |  |  |  |  | 488 |
|  | TECHNICIAN SEAT-REAR |  |  |  |  |  |
|  | PROVISION OF A TECHNICIAN SEAT AT THE FOOT OF THE PATIENT'S ON THE RIGHT END SIDE. |  |  |  |  |  |
|  | INSIDE LIGHTING SYSTEM |  |  |  |  |  |
|  | THE PATIENT'S COMPARTMENT ELECTRICAL SYSTEM IS TO BE SEPARATED FROM THE TRUCK. |  |  |  |  |  |
|  | IDENTIFICATION |  |  |  |  |  |
|  | THE AMBULANCE IS TO BE IDENTIFIED AS FOLLOWS:- |  |  |  |  |  |
|  | IT IS TO BE PAINTED CLEAR WHITE |  |  |  |  |  |
|  | - FOR DECALS FOR THE WORD "AMBULANCE", AND A RED CRESCENT IN ARABIC ONE ON EACH SIDE, ONE ON THE REAR, AND ONE ON THE FRONT |  |  |  |  |  |
|  | RESUSCITATION EQUIPMENT |  |  |  |  |  |
|  | - TWO OXYGEN BOTTLES, EACH OF 500 LITTER CAPACITY SECURED WITHIN THE LEFT WALL CABINETRY. |  |  |  |  |  |
|  | - TWO SPARE OXYGEN BOTTLES OF 500 LITTER CAPACITY IN STOWAGE CABIN. |  |  |  |  |  |
|  | - ONE SET OF ENGLISH BULL NOSE VALVE YOKE, PRESSURE REGULATOR WITH GAUGE FLOW METER AND HUMIDIFIER BOTTLE. |  |  |  |  |  |
|  | - THREE OXYGEN MASKS, ONE FOR EACH ADULT CHILD AND INFANT. |  |  |  |  |  |
|  | - THREE PLASTIC NASAL CANNULAS, TWO ADULT AND ONE CHILD. |  |  |  |  |  |
|  | - FOUR OXYGEN CATHETERS, TWO OF EACH NO.10F. |  |  |  |  |  |
|  | ONE MOUTH TO MOUTH VENTILATION MASK |  |  |  |  |  |
|  | PORTABLE OXYGEN KIT |  |  |  |  |  |
|  | ONE PORTABLE OXYGEN KIT COMPETE WITH REGULATOR AND SUPPLIES. |  |  |  |  |  |
|  | SUCTION SYSTEM |  |  |  |  |  |
|  | ONE VACUUM APPARATUS INCLUDING AN ELECTRIC DRIVEN PUMP. |  |  |  |  |  |
|  | FIRST AID EQUIPMENT |  |  |  |  |  |
|  | A BOX IS TO BE PROVIDED CONTAINING THE FOLLOWING:- |  |  |  |  |  |
|  | TWENTY PRE- LOCALIZED PADS |  |  |  |  |  |
|  | TWELVE COMPRESSIVE BANDAGES |  |  |  |  |  |
|  | - FOUR 10CM ELASTIC STRIPS. |  |  |  |  |  |
|  | - SIX GAUZE BANDEAUS, THREE OF 75MM AND THREE OF 150MM. |  |  |  |  |  |
|  | - TWENTY GAUZE PADS 10CM BY 10CM, INDIVIDUALLY WRAPPED. |  |  |  |  |  |
|  | - TWO 5CM ANTI-ALLERGIC ROLLS OF ADHESIVE TAPE. |  |  |  |  |  |
|  | FIFTEEN TONGUE DEPRESSORS INDIVIDUALLY WRAPPED. |  |  |  |  |  |
|  | - ONE 100 ML BOTTLE CONTAINING CHLOREXIDINE BASE DISINFECTANT. |  |  |  |  |  |
|  | AIR SPLINTS |  |  |  |  |  |
|  | ONE SET OF AIR SPLINT FOR EACH OF THE UPPER AND LIMBS. |  |  |  |  |  |
|  | STRETCHER |  |  |  |  |  |
|  | WHEEL STRETCHER WITH ADJUSTABLE BACK AND FOOT RESTS WITH SIDE HANDLES, COMPLETE WITH MATTRESS AND COVER. |  |  |  |  |  |
|  | SPARE STRETCHER |  |  |  |  |  |
|  | FOLDING COLLAPSIBLE STRETCHER WITH SUPPORTING SPREADER BARS AND VINYL COATED NYLON FABRIC. |  |  |  |  |  |
|  | REAR BUMPER STEP |  |  |  |  |  |
|  | A- REAR BUMPER STEP IS TO BE INSTALLED OVER THE REAR BUMPER. |  |  |  |  |  |
|  | BOTTLE HOOKS |  |  |  |  |  |
|  | BOTTLE HOOKS ARE TO BE INSTALLED ON THE ROOF TO HOLD FLUID AND BLOOD TRANSFUSION BOTTLES. |  |  |  |  |  |
|  | SPARE STRETCHER HOLDER |  |  |  |  |  |
|  | SPECIAL HOOKS ON WALL AND ROOF ARE TO BE PROVIDED TO HOLD SPARE STRETCHER WHEN REQUIRED. |  |  |  |  |  |
|  | EXHAUST-VENTILATOR FAN |  |  |  |  |  |
|  | ROOF MOUNTED DOUBLE ACTING EXH-VENT FAN IS TO BE INSTALLED. |  |  |  |  |  |
|  | REAR BUMPER STEP |  |  |  |  |  |
|  | A REAR BUMPER STEP IS TO BE INSTALLED OVER THE REAR BUMPER. |  |  |  |  |  |
|  | BOTTLE HOOKS |  |  |  |  |  |
|  | BOTTLE HOOKS ARE TO BE INSTALLED ON THE ROOF TO HOLD FLUID AND BLOOD TRANSFUSION BOTTLES . |  |  |  |  |  |
|  | ANTENNA |  |  |  |  |  |
|  | INSTALLATION OF RADIO ANTENNA IN EACH AMBULANCE AT THE ROOF. |  |  |  |  |  |
|  | WIRELESS EQUIPMENT: EACH AMBULANCE EQUIPPED WITH RADIO (WIRELESS COMMUNICATION DEVICE). |  |  |  |  |  |
|  | SPECIFICATIONS FOR AMBULANCES |  |  |  |  |  |
|  | BASIC VEHICLE |  |  |  |  |  |
|  | ENGINE: PETROL ENGINE WATER COOLED . |  |  |  |  |  |
|  | TRANSMISSION: MANUAL OR AUTOMATIC. |  |  |  |  |  |
|  | AXLE: SINGLE REAR OR FRONT WHEEL DRIVE. |  |  |  |  |  |
|  | STEERING :POWER STEERING LEFT HAND DRIVE. |  |  |  |  |  |
|  | SUSPENSION : HEAVY DUTY. |  |  |  |  |  |
|  | COOLING SYSTEM: HEAVY DUTY. |  |  |  |  |  |
|  | ELECTRICAL SYSTEM: 12 VOLTS WITH HEAVY DUTY ALTERNATOR AND BATTERY. |  |  |  |  |  |
|  | AIR CONDITIONING SYSTEM: AIR-CONDITIONER AND HEATER FOR BOTH DRIVER AND PATIENT COMPARTMENTS. |  |  |  |  |  |
|  | SIDE DOOR: SLIDING SIDE DOOR AT THE RIGHT SIDE. |  |  |  |  |  |
|  | BACK DOORS: TWO PANEL DOORS OPERABLE TO THE SIDES. |  |  |  |  |  |
|  | INSTRUMENT PANEL: WITH METRIC GAUGES and ODOMETER. |  |  |  |  |  |
|  | MIRRORS: ONE INSIDE and TWO OUTSIDE REAR VIEW. |  |  |  |  |  |
|  | -TIRES : 5 WITH TUBES, INCLUDING SPARE. |  |  |  |  |  |
|  | -WARNING EQUIPMENT: SIREN WITH SPEAKER AND BEACON OF THE FOLLOWING TYPES: |  |  |  |  |  |
|  | -ELECTRONIC SIREN WITH PUBLIC ADDRESS SYSTEM OF 100WATTS OUT-PUT POWER. |  |  |  |  |  |
|  | BEACON : TWO REVOLVING DOME TYPE BEACONS LONGITUDINAL A LONG THE WIDTH ON THE FRONT ROOF |  |  |  |  |  |
|  | -SPEAKER: 100 WATTS SPEAKER INSTALLED INSIDE ENGINE COMPARTMENT. |  |  |  |  |  |
|  | -ACCESSORIES: |  |  |  |  |  |
|  | AUTO JACK WITH HANDLE and WHEEL WRENCH. |  |  |  |  |  |
|  | TOOL KIT BAG. |  |  |  |  |  |
|  | HAZARD WARNING TRIANGLE |  |  |  |  |  |
|  | FIRE EXTINGUISHER. |  |  |  |  |  |
|  | -MISCELLANEOUS: THE FOLLOWING IS TO BE SUBMITTED TWO WEEKS AFTER ORDER CONFIGURATION: |  |  |  |  |  |
|  | -WORKSHOP MANUALS (2 COPIES IN ENGLISH). |  |  |  |  |  |
|  | -SPARE PARTS CATALOGUES (2 COPIES IN ENGLISH). |  |  |  |  |  |
|  | -RECOMMENDED SPARE PARTS LIST (DETAILS OF THE LIST ARE TO BE AGREED UPON). |  |  |  |  |  |
|  | FAST MOORING PARTS for EACH VEHICLE. |  |  |  |  |  |
|  | - ACCIDENT EMERGENCY TOOLS: |  |  |  |  |  |
|  | PREGNANCY |  |  |  |  |  |
|  | HOLDING CROWBAR |  |  |  |  |  |
|  | ELECTRICAL CUTTER |  |  |  |  |  |
|  | HYDRAULIC JACK WORK BY FOOT TO PULL MATERIAL PARTS. |  |  |  |  |  |
|  | AIR COMPRESSOR |  |  |  |  |  |
|  | HANDING CUTTER DIFFERENT SIZE |  |  |  |  |  |
|  | FIRE EXTINGUISHER (QTY 3) |  |  |  |  |  |
|  | TRANSMISSION TOOL (QTY 3) |  |  |  |  |  |
|  | - TRAINING FOR 3 ENGINEERS. |  |  |  |  |  |
|  | OPTIONAL EQUIPMENT’S SCHEDULE AMBULANCE |  |  |  |  |  |
|  | VACUUM MATTERS WITH CARRYING HANDLES. |  |  |  |  | 1 FOR EACH |
|  | PUMP FOR VACUUM MATTRESS |  |  |  |  | 1 FOR EACH |
|  | FOLDING STRETCHER |  |  |  |  | 1 FOR EACH |
|  | INFLATABLE SPLINTS, SET OF 4 IN WALLET. |  |  |  |  | 1 FOR EACH |
|  | ANALGESIC UNIT. |  |  |  |  | 1 FOR EACH |
|  | NITRONOX CYLINDER (LIGHT WEIGHT) |  |  |  |  | 1 FOR EACH |
|  | URINAL, MALE. |  |  |  |  | 1 FOR EACH |
|  | URINAL, FEMALE. |  |  |  |  | 1 FOR EACH |
|  | ORTHOPEDIC SCOOP STRETCHER |  |  |  |  | 1 FOR EACH |
|  | BRACKETS FOR SCOOP STRETCHER. |  |  |  |  | 1 FOR EACH |
|  | HEAPED AND HARDNESS SET FOR SCOOP STRETCHER. |  |  |  |  | 1 FOR EACH |
|  | RESUSCITATOR COMPLETE WITH CYLINDER. |  |  |  |  | 1 FOR EACH |
|  | RESTRAINING STRAP FOR RESUSCITATOR. |  |  |  |  | 1 FOR EACH |
|  | ASPIRATOR, MANUAL |  |  |  |  | 1 FOR EACH |
|  | AMBULANCE CHAIR |  |  |  |  | 1 FOR EACH |
|  | BRACKET FOR AMBULANCE CHAIR |  |  |  |  | 1 FOR EACH |
|  | FIRST AID KIT COMPLETE WITH CASE. |  |  |  |  | 1 FOR EACH |
|  | PENLIGHT |  |  |  |  | 1 FOR EACH |
|  | BEDPAN |  |  |  |  | 1 FOR EACH |
|  | ANEROID SPHYGMOMANOMETER |  |  |  |  | 2 FOR EACH |
|  | STETHOSCOPE. |  |  |  |  | 2 FOR EACH |
|  | OTOSCOPE. |  |  |  |  | 1 FOR EACH |
|  | THOUGHT CUT SCISSORS. |  |  |  |  | 1 FOR EACH |
|  | SEMI AUTOMATIC DEFIBRILLATOR /MONITOR |  |  |  |  | 1 FOR EACH |
|  | SECURING DEVICE FOR DEFIBRILLATOR /MONITOR |  |  |  |  | 1 FOR EACH |
|  | ARTERY FORCEPS (SPENCER WELLS) |  |  |  |  | 1 FOR EACH |
|  | DISSECTING FORCEPS, PLAIN |  |  |  |  | 1 FOR EACH |
|  | SCISSORS BANDAGE. |  |  |  |  | 1 FOR EACH |
|  | THERMOMETER |  |  |  |  | 1 FOR EACH |
|  | NON WOVEN ACRYLIC BLANKET 60"X80" APPROX. |  |  |  |  | 1 FOR EACH |
|  | CELLAR BLANKET UNBLEACHED 60"X80" APPROX. |  |  |  |  | 2 FOR EACH |
|  | FOAM PILLOW, PCV COVERED |  |  |  |  | 2 FOR EACH |
|  | VACUUM FLASK STAINLESS STEEL 1 LITTER. |  |  |  |  | 2 FOR EACH |
|  | RESTRAINING STRAP FOR VACUUM FLASKS |  |  |  |  | 1 FOR EACH |
|  | OXYGEN CYLINDER, BULL NOSE (SIZE F) |  |  |  |  | 1 FOR EACH |
|  | CYLINDER KEY |  |  |  |  | 1 FOR EACH |
|  | OXYGEN FLOW METER /REGULATOR |  |  |  |  | 1 FOR EACH |
|  | HUMIDIFIER |  |  |  |  | 1 FOR EACH |
|  | OXYGEN FACE MASK |  |  |  |  | 1 FOR EACH |
|  | GREEN BUBBLE 30 FOOT ROLL |  |  |  |  | 2 FOR EACH |

| 02-06-00303 | CLINIC AMBULANCE |  |  |  |  | 50 |
| --- | --- | --- | --- | --- | --- | --- |
|  | (INTENSIVE CARE UNIT AND MOBILE THEATRE ) |  |  |  |  |  |
|  | A- BASIC VEHICLE |  |  |  |  |  |
|  | 1. ENGINE:- |  |  |  |  |  |
|  | PETROL ENGINE |  |  |  |  |  |
|  | WATER COOLED |  |  |  |  |  |
|  | 2. TRANSMISSION:- MANUAL GEAR BOX |  |  |  |  |  |
|  | FLOOR SHIFT |  |  |  |  |  |
|  | 3. STEERING:- POWER STEERING |  |  |  |  |  |
|  | LEFT HAND DRIVE |  |  |  |  |  |
|  | 4. ELECTRICAL EQUIPMENT’S:- 12- VOLT BATTERY |  |  |  |  |  |
|  | ANTENNA |  |  |  |  |  |
|  | INSTALLATION OF RADIO ANTENNA IN EACH AMBULANCE AT THE ROOF. |  |  |  |  |  |
|  | WIRELESS EQUIPMENT: EACH AMBULANCE EQUIPPED WITH RADIO (WIRELESS COMMUNICATION DEVICE). |  |  |  |  |  |
|  | 5. SUSPENSION: HEAVY DUTY |  |  |  |  |  |
|  | 6. TIRES:- HIGH QUALITY WITH TUBES |  |  |  |  |  |
|  | 7. ACCESSORIES:-FIRE EXTINGUISHER |  |  |  |  |  |
|  | JACK |  |  |  |  |  |
|  | WHEEL WRENCH |  |  |  |  |  |
|  | TOOL KIT |  |  |  |  |  |
|  | FAST MOVING PARTS |  |  |  |  |  |
|  | B- PATIENT COMPARTMENT |  |  |  |  |  |
|  | 1- RISE ROOF MORE THAN 1900MM INSIDE |  |  |  |  |  |
|  | 2- HYDRAULIC STRETCHER (AS A TABLE OF THEATRE) MOVE FOR ALL THE DIRECTION. ( AND SHOCK ABSORBER ) |  |  |  |  |  |
|  | 3- ADDITIONAL BASE FOR HOLDING OF THE STRETCHER IN THE LEFT SIDE OF THE UNIT FIXED |  |  |  |  |  |
|  | 4- ILLUMINATION: IN SIDE THE UNIT A FIXED SOURCES OF LIGHT USE FOR THE OPERATION IN THE UNIT SIDE MOVE FOR ALL DIRECTION AS NEED (LIKE OPERATIVE THEATRE) |  |  |  |  |  |
|  | 5- EQUIPMENT FOR OXYGEN SUPPLY WITH SET FOR GIVING THE O2 COMPLETE (5 BOTTLE -2 BOTTLE 5000L +3 BOTTLE 500L) |  |  |  |  |  |
|  | 6- ELECTRICAL SUCKER COMPLETE WITH ADDITIONAL PARTS PUT IN THE RIGHT SIDE OF THE UNIT (NEAR THE RIGHT HAND OF THE LIGHT)(portable with rechargable battery ) |  |  |  |  |  |
|  | 7- AIR CONDITIONING AND HEATING EMT |  |  |  |  |  |
|  | 8- BOTTLE HOOKS 3 PARTS OF HOOKS IN THE ROOF FOR THE FLUID & BLOOD TRANSFUSION |  |  |  |  |  |
|  | 9- STORE FOR THE MEDICAL DRUGS & INSTRUMENTS ALONG THE SPACE IN SIDE THE UNIT IN TWO SIDE RIGHT & LEFT WITH WASH BASIN IN THE LEFT CORNER OF THE UNIT |  |  |  |  |  |
|  | 10- OXYGEN BOTTLE 5-7 500L & TWO MAIN SOURCES - BIG BOTTLE IN THE INSIDE UNIT (5000L) PUT IN DIFFERENT PRESS AS POSSIBLE |  |  |  |  |  |
|  | 11- COMPLETE OXYGEN SET |  |  |  |  |  |
|  | 12- ANAESTHETIC MACHINE COMPLETE holding |  |  |  |  |  |
|  | 13-INTENSIVE CARE UNIT - MONITOR WITH DC. SHOCK (COMPLETE) + ECG+SPO2+NIBA+Paecmaker |  |  |  |  |  |
|  | 14- ELECTRICAL SUCKER (COMPLETE) FIXED AT RIGHT HAND OF THE EMT(portable with UPS) |  |  |  |  |  |
|  | 15- REFRIGERATOR FOR BLOOD STORAGE (MEDIUM SIZE ) |  |  |  |  |  |
|  | 16- SOURCE FOR OXYGEN READY FOR USE IN THE ROOF AT BOTH SIDES OF INSIDE THE UNIT |  |  |  |  |  |
|  | C- ADDITIONAL SUPPLIES:- |  |  |  |  |  |
|  | 1- KIT - SET CONTAINING ALL INSTRUMENTS NEED FOR INTENSIVE CARE & ANAESTHETIC SUPPLIES & INSTRUMENTS SET WITH MASK OF 3 SIZE & ALL OTHER INSTRUMENT & SPHEGMAMONTER & STETHOSCOPE & OTHER SUPPLY COMPLETE |  |  |  |  |  |
|  | 2- KIT FOR PORTABLE OXYGEN & COMPLETE ADDITIONAL PARTS FOR GIVING THE OXYGEN |  |  |  |  |  |
|  | 3- SUCKER HAND & FOOT SUCKERS |  |  |  |  |  |
|  | 4- AIR SPLINT FOR FRACTURES UPPER &LOWER LIMBS 2 SET FOR EACH |  |  |  |  |  |
|  | 5- OXYGEN BOTTLE SPARE 5 BOTTLE 500 L |  |  |  |  |  |
|  | 6- STRETCHER SPARE |  |  |  |  |  |
|  | 1 RULING TYPES |  |  |  |  |  |
|  | 1 FOLDING TYPES |  |  |  |  |  |
|  | 1 PART SCOPE STRETCHER |  |  |  |  |  |
|  | 1 AIR STRETCHER |  |  |  |  |  |
|  | 7- KIT FOR FIRST AIDE CONTAINS COMPLETE INSTRUMENT FOR MINOR OPERATION & COMPLETE SET FOR BANDYING WITH SPHEGMONOMETER AND STETTUSCOPE |  |  |  |  |  |
|  | 8- ULTRA VIOLET LIGHT INSTRUMENT FOR STERILIZATION UNIT & ANY OTHER THING FOR STERILIZATION SUITABLE IN THE UNIT |  |  |  |  |  |
|  | 9- portable intensive care ventilator with UPS and patient cercuit |  |  |  |  |  |
|  | 10- laryngeal mask (small ,medium, large) |  |  |  |  |  |
|  | 11- 2 bottel for N2O with resulator and fitting to the anaesthetic machine |  |  |  |  |  |
|  | 12- O2 regulator with fitting to the anaesthetic machine (qty 2) |  |  |  |  |  |
|  | 13- O2 regulator with flow meter and humidifier for O2 mask therapy |  |  |  |  |  |

| 02-06-00304 | EQUITMENT: RADIO (WIRELESS) COMMUNICATION NET WORK FOR EMERGENCY AMBULANCE CALLS. |  |  |  | 2 SYSTEM |
| --- | --- | --- | --- | --- | --- |
|  | CONSISTING OF THE FOLLOWING:- |  |  |  |  |
|  | - ALL NETWORK SYSTEM OPERATE IN FREQUENCY (420 MHZ-470MHZ) |  |  |  |  |
|  | NETWORK SYSTEM OPERATE WITH CODING - DECODING DEVICE |  |  |  |  |
|  | - ALL NECESSARY ANTENNA FOR THE FOLLOWING STATIONS WITH MAST (IF REQUIRED): |  |  |  |  |
|  | CENTRAL STATION WITH DESK CONTROL AND UPS FOR 6 HOURS OPERATION: |  |  |  |  |
|  | - TO OPERATE ALL CHANNELS FROM ANY DESK. |  |  |  |  |
|  | - DISPLAY FOR CODING AND DECODING SYSTEM |  |  |  |  |
|  | - DIGITAL CLOCK |  |  |  |  |
|  | - LAMPS FOR RECEIVING, TRANSMITTING AND STAND BY. |  |  |  |  |
|  | - SEMI-DUPLEX OPERATION (PUSH TO TRANSMIT) |  |  |  |  |
|  | - RF OUTPUT POWER SUFFICIENT TO COVER AN AREA 100 KM DIAMETER. |  |  |  |  |
|  | FIXED STATION (8 CHANNELS): |  |  |  | 100 |
|  | - TO COMMENCE WITH CENTRAL STATIONS AND OTHER FIXED STATIONS OR HANDY STATION. |  |  |  |  |
|  | - RF OUT PUT POWER NOT LESS THAN (10 RF WATTS) |  |  |  |  |
|  | - UPS FOR 6 HOURS OPERATION |  |  |  |  |
|  | - EXTRA LAUD SPEAKER. |  |  |  |  |
|  | MOBILE STATIONS |  |  |  | 125 |
|  | (AS FIXED STATION ABOVE) EXCEPT UPS |  |  |  |  |
|  | HANDY STATION (WALK TALKY) |  |  |  | 25 |
|  | TO COMMENCE WITH CENTRAL STATION and ALL OTHER STATIONS |  |  |  |  |
|  | RECORDER SYSTEM |  |  |  | 3 |
|  | - FOR RECORDING ALL MASSAGES DURING 24 HR. |  |  |  |  |
|  | - ALL OPTIONS FOR ABOVE ITEMS |  |  |  |  |
|  | - INSTALL ALL SYSTEM BY THE SUPPLIER |  |  |  |  |
|  | 2 YEARS WARRANTY (SPARE + MEN POWER) |  |  |  |  |
|  | 3 YEARS MAINTENANCE MEN POWER ONLY TRAINING FOR 4 FROM OUR TECHNICAL STAFF FOR 3 WEEKS FREE OF CHARGE. |  |  |  |  |
|  | * SPARE PARTS LIST WITH ITEM PRICE |  |  |  |  |
|  | * FULL CATALOGS (OPERATING AND MAINTENANCE WITH CIRCUIT DIAGRAM WITH EACH UNITS). |  |  |  |  |

| 02-06-00305 | EQUIPMENT: |  |  |  | 200 |
| --- | --- | --- | --- | --- | --- |
|  | WHEEL LOADER (1-2M3) BUCKET |  |  |  |  |
|  | DRIVER CABINS: FOLDING DOOR, THE LOCKING IS ASSURED ON AN OPEN POSITION. GLASS MADE OF SECURITY TYPE, THE SUSPENSION REDUCES SOUND VIBRATION. AIR-CONDITIONING DEVICE FOR DRIVER CABINS. |  |  |  |  |
|  | ENGINE: DIESEL ENGINE WATER-COOLED |  |  |  |  |
|  | GEAR BOX: INTEGRAL POWER SHIFT. |  |  |  |  |
|  | MOVING SPEEDS: SPEEDS IN KM/H |  |  |  |  |
|  | ELECTRIC EQUIPMENT: 24 VOLT 120 AMP |  |  |  |  |
|  | AXLES: FOUR WHEEL DRIVE: FRONT AXLE AND REVERSE AXLE |  |  |  |  |
|  | TIRES: HIGH QUALITY |  |  |  |  |
|  | BRAKES: HYDRAULIC SERVO BRAKES |  |  |  |  |
|  | PARKING BRAKES: DRUMS ON THE GEAR BOX. |  |  |  |  |
|  | STEERING: STEERING TOTALLY HYDRAULIC WITH CLOSED NEUTRAL POSITION. |  |  |  |  |
|  | HYDRAULICS: HYDRAULIC OPERATING WITH A DRIVE GEAR. |  |  |  |  |

| 02-06-00306 | EQUIPMENT: |  |  |  | 10 |
| --- | --- | --- | --- | --- | --- |
|  | ELEVATING WORK PLAT FORM ON TRUCK |  |  |  |  |
|  | BASIC VEHICLE: |  |  |  |  |
|  | 1.ENGINE: DIESEL ENGINE WATER COOLED |  |  |  |  |
|  | 2.TRANSMISSION: MANUAL FLOOR SHIFT |  |  |  |  |
|  | 3.CLUTCH: HYDRAULIC CONTROL SINGLE DRY PLATE WITH AIR PRESSURE ASSISTANCE |  |  |  |  |
|  | 4.SUSPENSIONS: FRONT: LAMINATED LEAF SPRINGS WITH SHOCK ABSORBERS: REAR: FRONT: LAMINATED LEAF SPRINGS WITH SHOCK ABSORBERS |  |  |  |  |
|  | 5.SUFFICIENT TO CONTROL THE VEHICLES IN THE PARKING SUPPLIED WITH AIR OVER HYDRAULIC WITH DUAL CIRCUIT |  |  |  |  |
|  | 6.ELECTRICAL SYSTEM: 24V 120AMP |  |  |  |  |
|  | 7.INSTRUMENT PANEL: ALL MEASUREMENTS AND GAUGES IN METRIC SYSTEM |  |  |  |  |
|  | 8.FRAME: PARALLEL, TAPERED CHANNEL SECTION TYPE WITH CROSS MEMBERS AND REINFORCEMENTS |  |  |  |  |
|  | 9.STEERING: LEFT HAND DRIVE, (BALL NUT TUBE, INTEGRAL TYPE) WITH HYDRAULIC POWER BOOSTER FLOOR SHIFT HANDLE |  |  |  |  |
|  | 10.TIRES:HIGH QUALITY FRONT WHEELS: SINGLE IN EACH SIDE REAR WHEELS: DOUBLE IN EACH SIDE |  |  |  |  |
|  | 11. DRIVERS CABIN: ONE AND HALF CABIN SUPPLIED WITH AIR-CONDITIONING SYSTEM (COOLING, HEATING AND VENTILATION) |  |  |  |  |
|  | 12. EQUIPMENT’S: THE VEHICLES (TRUCKS) IT PROVIDES WITH ALL ACCESSORIES THAT ARE CONCERNING WITH WORK OF THE TRUCK |  |  |  |  |
|  | 13- EQUIPPED WITH FIBER GLASS CABINET, CAPACITY LOADING NOT LESS THAN 200 KG, HEIGHT NOT LESS THAN 10 METERS, HYDRAULIC CONTROL, SAFETY CONTROLS, SUITABLE TO REPAIR ELEVATED WINDOWS, EQUIPMENT AND LAMP POSTS … ETC. |  |  |  |  |

| 02-06-00307 | TOWING TRUCK: |  |  |  | 100 |
| --- | --- | --- | --- | --- | --- |
|  | SPECIFICATIONS FOR TOWING TRUCK: |  |  |  |  |
|  | A. BASIC VEHICLE: |  |  |  |  |
|  | 1. ENGINE: PETROL ENGINE, WATER COOLED |  |  |  |  |
|  | 2. TRANSMISSION: MANUAL FLOOR SHIFT AND ONE REAR SPEED. |  |  |  |  |
|  | 3. DRIVE: 4 WHEEL DRIVE |  |  |  |  |
|  | 4. STEERING: LEFT HAND DRIVE, (POWER STEERING). |  |  |  |  |
|  | 5. SUSPENSION: HEAVY DUTY. |  |  |  |  |
|  | 6. MIRRORS: ONE INSIDE AND TWO OUTSIDES SUITABLE FOR DRIVING THE VEHICLE. |  |  |  |  |
|  | 7. BATTERY: (12 VOLT – 60 A.H) HEAVY DUTY. |  |  |  |  |
|  | 8. TIRES: SEVEN TIRES WITH TUBES INCLUDING SPARE OF GOOD QUALITY. |  |  |  |  |
|  | 9. CARBURETOR: SINGLE MANUAL CHOCK. |  |  |  |  |
|  | B. TOWING DEVICE: |  |  |  |  |
|  | 1. BASIC RATING: 5 TONS |  |  |  |  |
|  | 2. BOOM RATING: |  |  |  |  |
|  | FULLY RETRACTED (5 TONS) |  |  |  |  |
|  | FULLY EXTENDED. |  |  |  |  |
|  | 3. WINCH RATING. |  |  |  |  |
|  | FIRST LAYER OF CABLE (5 TONS) |  |  |  |  |
|  | FOURTH LAYER OF CABLE (3 TONS) |  |  |  |  |
|  | 4. LOAD CABLE: |  |  |  |  |
|  | TYPE 6 X 19 CLASS FIBER CORE IMPROVED PLOW STEEL. |  |  |  |  |
|  | DIAMETER AND STANDARD LENGTH (3/8 INCH X 10 FT), |  |  |  |  |
|  | WORKING LIMIT – SINGLE LINE (1 ½ TON) OR 3500 IBS). |  |  |  |  |
|  | NOTE –1- THE TOWING DEVICE SHOULD BE OPERATE BY BOTH MECHANICAL WAY DRIVEN BY THE GEAR BOX OF THE VEHICLE. |  |  |  |  |
|  | AND IN ANTHER WAY WE CAN USE IT BY ELECTRICAL WAY DRIVEN BY ELECTRICAL MOTOR DEPENDING ON THE ELECTRIC POWER OF THE VEHICLE. |  |  |  |  |
|  | NOTE-2- THE VEHICLE SHOULD BE SUPPLIED WITH ALL THE TOOLS NECESSARY FOR TOWING AND DRAWING AND LIFTING THE UNPREPARED CAR. |  |  |  |  |
|  | C. ACCESSORIES: |  |  |  |  |
|  | 1. THE VEHICLE SHOULD PROVIDE WITH AUTO JACK AND FIRE EXTINGUISHER. |  |  |  |  |
|  | 2. BOOKLET OF OWNER’S MANUAL (ENGLISH COPY). |  |  |  |  |

| 02-06-00308 | EQUIPMENT: |  |  |  | 20 |
| --- | --- | --- | --- | --- | --- |
|  | MOBILE CRANE |  |  |  |  |
|  | MOBILE CRANE, TELESCOPIC, FULLY HYDRAULIC, (20-30) TONS LOAD NOMINAL. |  |  |  |  |
|  | CARRIER PART: |  |  |  |  |
|  | ENGINE: DIESEL, WATER-COOLED, COMPLETE WITH ACCESSORIES, JACKS, EXTENSIONS, TOOLS. |  |  |  |  |
|  | TRANSMISSION: GEAR BOX, POWER SHIFT |  |  |  |  |
|  | TIERS: HIGH QUALITY |  |  |  |  |
|  | STEERING: HYDRAULIC SERVO- STEERING |  |  |  |  |
|  | BRAKES: SERVICE BRAKE: SERVO- BRAKE WITH COMPRESSED AIR ACTING ON ALL THE WHEELS. |  |  |  |  |
|  | DRIVER CABIN: MADE OF PLATE-STEEL RUBBER SUSPENSION, GLASS SECURITY WINDOWS, CONTROL INSTRUMENTS, ADDITIONAL SEAT FOR PASSENGER, AIR-CONDITIONING DEVICE. |  |  |  |  |
|  | ELECTRIC EQUIPMENT: 24 VOLTS, 120 AMP. |  |  |  |  |
|  | ROTATING PART: |  |  |  |  |
|  | ENGINE DIESEL WATER-COOLED. |  |  |  |  |
|  | CONTROLS BY HAND LEVERS AUTO-CENTERED DISTRIBUTORS. |  |  |  |  |
|  | CABIN: ALL STEEL. GLASS SECURITY WINDOWS, HEATING AND CONTROL INSTRUMENTS. |  |  |  |  |
|  | ELECTRIC EQUIPMENT: 24 VOLTS, 120 AMP. |  |  |  |  |

| 02-06-00309 | EXCAVATOR, SMALL SIZE |  |  | 10 |
| --- | --- | --- | --- | --- |
|  | DRIVER CABINS: FOLDING DOOR, THE LOCKING IS ASSURED ON AN OPEN POSITION. GLASS MADE OF SECURITY TYPE, THE SUSPENSION REDUCES SOUND VIBRATION. |  |  |  |
|  | EARTH AND CONCERT DIGGING AND EXCAVATOR, SMALL MOBILE SIZE, DIESEL ENGINE, WATER-COOLED. FIELD TRUCK SUITABLE FOR DIGGING BURIED PIPES AND CABLES. |  |  |  |
|  | TIERS: HIGH QUALITY |  |  |  |
|  | ELECTRIC EQUIPMENT: 24 VOLTS, 120 AMP. |  |  |  |

| 02-06-00310 | MOBILE DEAD BODY |  |  |  | 100 |
| --- | --- | --- | --- | --- | --- |
|  | SPECIFICATION FOR MOBILE DEAD BODY CARRIER BASIC VEHICLES. |  |  |  |  |
|  | 1- ENGINE: PETROL ENGINE |  |  |  |  |
|  | WATER COOLED |  |  |  |  |
|  | 2- TRANSMISSION: MANUAL GEAR BOX – FLOOR SHIFT |  |  |  |  |
|  | 4- BRAKE: DUAL- CIRCUIT HYDRAULIC BRAKE WITH VACUUM BOOSTER- SELF ADJUSTING MECHANICAL PARKING BRAKE |  |  |  |  |
|  | 5- STEERING: POWER STEERING LEFT HAND DRIVE |  |  |  |  |
|  | 6- FUEL TANK: 80 LITTER |  |  |  |  |
|  | 7- BATTERY: 12 VOLT/ 75 AH |  |  |  |  |
|  | ALTERNATOR: 14V/90A |  |  |  |  |
|  | STATOR: 1.2KW |  |  |  |  |
|  | 8- TIRES: HEAVY DUTY WITH TUBES |  |  |  |  |
|  | 9- AIR CONDITION AND HEATING FOR DRIVER CABIN |  |  |  |  |
|  | 10- ALL GANGES IN METRIC SYSTEM |  |  |  |  |
|  | 11- PAINT: BLACK |  |  |  |  |
|  | 12- ANTENNA |  |  |  |  |
|  | INSTALLATION OF RADIO ANTENNA IN EACH AMBULANCE AT THE ROOF. |  |  |  |  |
|  | WIRELESS EQUIPMENT: EACH AMBULANCE EQUIPPED WITH RADIO (WIRELESS COMMUNICATION DEVICE). |  |  |  |  |
|  | B- DEAD BODIES COMPARTMENTS TO BE COOLED BY A SUITABLE COOLING SYSTEM THAT MAINTAINED TEMPERATURE OF (10C) AT AN AMBIENT TEMPERATURE OF (55C) AND THE COOLING DEVICE IS SEPARATED FROM THE CAR ENGINE SHOULD BE FULLY ISOLATED FROM DRIVE CABINET FLOORING AND LINING OF SIDE WALL SHOULD BE OF CORROSION RESISTANT METAL OF SUITABLE THICKNESS JOINTS SHOULD BE WATER PROOF FOR CLEANING PURPOSES COMPARTMENT IS TO BE SUFFICIENTLY LIGHTED COMPARTMENT IS TO BE EQUIPPED WITH AN EXHAUST FAN. |  |  |  |  |
|  | LOADING DOOR: TWO REAR OPERABLE TO THE SIDE OR ONE RIG. FIXED STRETCHER TO BE FITTED IN A SUITABLE PLACE INSIDE THE VEHICLE WITH AN ADDITIONAL MOBILE STRETCHER. |  |  |  |  |
|  | C- ACCESSORIES: JACK WITH HANDLE AND WHEEL RANCH FIRE EXTINGUISHER REPAIR TOOL KIT OWNERS MANUAL (ENGLISH COPY) |  |  |  |  |

| 02-06-00311 | VEHICLE PICK-UP SINGLE CABIN |  | 400 |
| --- | --- | --- | --- |
|  | 1. PETROL ENGINE WATER COOLED |  |  |
|  | 2. MANUAL GEAR BOX, FLOOR SHIFT |  |  |
|  | 3. STEERING POWER STEERING LEFT HAND DRIVE |  |  |
|  | 4.ELECTRICAL EQUIPMENT’S: BATTERY 12V-60AMP HEAVY DUTY |  |  |
|  | 5.AIR-CONDITIONING FOR DRIVER CABIN (HEATING AND COOLING) |  |  |
|  | 6. SUSPENSION: HEAVY DUTY |  |  |
|  | 7. TIRES WITH TUBES: SUITABLE FOR DIFFERENT ROADS (HIGH QUALITY) |  |  |
|  | 8. CABIN: SINGLE CABIN WITH DOOR IN EACH SIDE. |  |  |
|  | 9. MIRRORS: TO BE EQUIPPED WITH TWO SIDES MIRRORS AND ONE INSIDE |  |  |
|  | 10.ACCESSARIES: TO BE EQUIPPED WITH JACK + WHEEL WRENCH + HAZARD TRIANGLE + TOOL KITS + FAST MOVING PARTS . WITH THE VEHICLE AND ANY EQUIPMENT’S CONCERNING THE JOB OF THIS CAR. |  |  |
|  | 11.LOADING CAPACITY: FROM (1-2)TONS |  |  |
|  | 12.ALL MATERIALS INSERTED IN THE CONSTRUCTION OF THIS CAR IT WILL BE OF HIGH QUALITY (ROOD, SHACKLE, GOODS COVER) |  |  |
|  | 13.MAINTEMANCE FOR ALL VEHICLES FOR TWO YEARS ON ACCOUNT OF THE COMPANY WITH TRAINS FOR ENGINEERS AND TECHNICIANS (5PERISON) FOR ONE MONTH |  |  |

| 02-06-00312 | LAND CRUISER 4 WHEEL DRIVER |  |  | 600 |
| --- | --- | --- | --- | --- |
|  | 1.PETROL ENGINE: ENGINE WATER COOLED |  |  |  |
|  | 2.MANUAL GEAR BOX, FLOOR SHIFT |  |  |  |
|  | 3.STEERING: POWER STEERING LEFT HAND DRIVE |  |  |  |
|  | 4.ELECTRICAL EQUIPMENT’S: BATTERY 12V, 60AMP, HEAVY DUTY |  |  |  |
|  | 5. AIR-CONDITIONING: TO BE EQUIPPED WITH EFFICIENT AIR-CONDITIONING SYSTEM FIT WITH OUR WEATHER (HEATING AND COOLING) |  |  |  |
|  | 6.SUSPENTION: HEAVY DUTY |  |  |  |
|  | 7.TIRES WITH TYPES SUITABLE FOR DIFFERENT ROADS (HIGH QUALITY) |  |  |  |
|  | 8. DOORS: TWO DOORS IN EACH SIDE OF THE VEHICLE WITH REAR DOOR |  |  |  |
|  | 9. MIRRORS: TO BE EQUIPPED WITH 2 SIDES MIRRORS AND ONE INSIDE |  |  |  |
|  | 10. ACCESSORIES: TO BE EQUIPPED WITH JACK + WHEEL WRENCH AND HAZARD TRIANGLE AND ANY EQUIPMENT NECESSARY FOR JOB OF THIS VEHICLE |  |  |  |
|  | 11. MAINTENANCE FOR ALL VEHICLES FOR 2 YEARS ON A COUNT OF THE COMPANY WITH TRAINS FOR ENGINEERS AND TECHNICIANS (5PERISON) FOR ONE MONTH |  |  |  |

| 02-06-00313 | HANDLING TRUCKS |  |  |  | 200 |
| --- | --- | --- | --- | --- | --- |
|  | FOR BOXES CASE (UP TO 300KG) WITH TOE EXTENDED (FOLD UP TOE) 2 WHEELS WITH RUBBER TIRES |  |  |  |  |

| 02-06-00314 | LIGHT ALLOY TROLLEYS |  |  | 200 |
| --- | --- | --- | --- | --- |
|  | WITH ONE REMOVABLE ENDS. 350KG CAPACITY PLATE FORM OF ALUMINUM SLATS INSERTED IN A BOLTED, REIN FORCED FRAME AND CASTORS (2 FIXED AND 2 SWIVEL) |  |  |  |
| 02-06-00315 | HAND PALLET TRUCKS |  |  | 200 |
|  | CAPACITY UP TO 3000 KG |  |  |  |
|  | LIFTING: HYDRAULIC CONTROLLED BY HANDLE, RISE 120MM |  |  |  |
|  | CONTROL HANDLE: RETURNS AUTOMATICALLY TO UPRIGHT POSITION. |  |  |  |
|  | 3 POSITION CONTROL HANDLE (RAISE, NEUTRAL, LOWER) |  |  |  |
|  | WHEELS 200MM STEERING WHEELS AND SIMPLE 85MM NYLON LOAD BEARING ROLLERS. |  |  |  |

| 02-06-00316 | MOBILE LADDERS AND PLAT FORMS |  | 200 |
| --- | --- | --- | --- |
|  | in ALUMINUM TREADS in NON SLIP STUDDED SURFACE |  |  |
|  | - PLATFORM IN ALUMINUM ALLOY, WITH NON SLIP STUDDED SURFACE. GUARD RAIL ON 3 SIDES, 1 SERVING AS TOOL RACK HEIGHT 1M. |  |  |
|  | - MAXIM PLAT FORM HEIGHT (3.5 METER) |  |  |
|  | - BASE FITTING FRONT 100MM Φ SWIVEL CASTORS WITHOUT BRAKE. |  |  |

| 02-06-00317 | TELESCOPIC ELEVATING WORK PLATE FORMS |  |  |  | 80 |
| --- | --- | --- | --- | --- | --- |
|  | - CAPACITY 360 KG FOLDED UP ALUMINUM ALLOY CONSTRUCTION MOUNTED ON 4 SWIVEL CASTORS (WITH EXTENDED LEGS) |  |  |  |  |
|  | - OPERATION: A HYDRAULIC SET INSTALLED AT THE BASE OF THE UNIT DRIVES 2 CYLINDERS (1 IN EACH MAST). |  |  |  |  |
|  | - POWER SUPPLY 220V AC AND 12V DC (OPTION) |  |  |  |  |
|  | - PLATE FORM DIMENSIONS 240 X 70 CM. |  |  |  |  |
| 02-06-00318 | HIGH LIFT HAND PALLET TRUCKS 1000KG CAPACITY |  |  |  | 200 |
|  | - FORK WIDTH 520 MM |  |  |  |  |
|  | MANUAL LIFT (HYDRAULIC) |  |  |  |  |
|  | - TO LIFT LOAD FROM 83 MM TO 830 MM (OR HIGHER) |  |  |  |  |
|  | LIFTING CONTROL: VIA PEDAL |  |  |  |  |
|  | LOWERING CONTROL: VIA HANDLE |  |  |  |  |
| 02-06-00319 | NICKEL – CADMIUM ACCUMULATORS (BATTERIES) |  |  |  | 120 |
|  | 6 VOLT, 6 AH |  |  |  |  |

| 02-06-00320 | EQUIPMENT: CLOCK |  |  | 20 |
| --- | --- | --- | --- | --- |
|  | GROGY TIMING OLD MODEL GT1/60C1 |  |  | 1000 |
|  | 1- CENTRAL CLOCK SYSTEM |  |  | 120 |
|  | 2- SINGLE FACE SLAVE CLOCK |  |  | for 20 |
|  | 3- DOUBLE FACE SLAVE CLOCK |  |  | 2system |
|  | 4- SPARE PART FOR 5-YEARS |  |  | 20 |
|  | 5- COMPLETE CATALOGUES SET |  |  |  |
|  | 6- INSTALLATION OF ONE SYSTEM ON ONE SITE WITH GUARANTEE TIME ONE YEAR AND MAINTENANCE TIME ONE YEAR AFTER GUARANTEE TIME. |  |  |  |
|  | 7- TRAINING TWO –ENGINEERS FOR TWO WEEKS AT LEAST ON FACTORY. |  |  |  |

| 02-06-00321 | SPECIFICATION OF AIRCONDITIONING |  |  |  |  | 80 |
| --- | --- | --- | --- | --- | --- | --- |
|  | WARE HOUSE (COLD STORE FOR DRUGS) |  |  |  |  |  |
|  | FIRST : |  |  |  |  |  |
|  | Supply and eraction (40) prefabricated air conditioning warehouse with the following specification |  |  |  |  |  |
|  | 1- storing at temp 16-20 C |  |  |  |  |  |
|  | 2-APPROXIMATE BUILDING DIMENTION: |  |  |  |  |  |
|  | 100 m length |  |  |  |  |  |
|  | 32 m width |  |  |  |  |  |
|  | 8.3 m hight |  |  |  |  |  |
|  | 3- structural steel work |  |  |  |  |  |
|  | a- main frames : the main frams will consist of hot rolled steel column , rafts without intermediate columns |  |  |  |  |  |
|  | b- purlins and side rails: purlins and side rails will be cold rolled pre galvanised material complete with all sleeves sagbars struts and bracings |  |  |  |  |  |
|  | c- ancillary steel work: the steel fram will be suppllied with all necessary gable steel work eavesties roof and vertical bracing door steel work and will be complete with foundation bolts and all eraction bolts |  |  |  |  |  |
|  | d- single galvanised steel sheet 0.6 mm thick with a suitable profile |  |  |  |  |  |
|  | e- servic preparation and treatment : all steel work will be sheet blosted during fabrication and primed with one coat height build zinc phosphate primer |  |  |  |  |  |
|  | 4-ROOF AND SIDE WALL CLADING: |  |  |  |  |  |
|  | a- insolated sandwich steel panel external and internal face 0.6 mm galvanised steel sheet ribbed with 4mm profile coated with 100 micron plastisol in standard color insulation 100 mm polyuerthene foam core density 40 kg/ m3 fixed with the maine fram |  |  |  |  |  |
|  | cutters: 2mm thick galvainside pressed steel gutter including support brackets stop ends ouy lets etc |  |  |  |  |  |
|  | c- rain water pipes high density pvc rain water |  |  |  |  |  |
|  | d- doors : each store has 4 no. ( 3000mm X 3500 mm) manually operated golvanised steel sheet slide doors both side with insulation 100mm polyuretheme and curtain |  |  |  |  |  |
|  | e- an inter area 25X8 m in the front and back side of the store to keep the cold air provided with one door (4000mmX4000mm) in each side and with curtain |  |  |  |  |  |
|  | f-an office 4000mmX4000mmX2800mm inside each store from sandwich panal provided with split unit for air condtioning 2 TR |  |  |  |  |  |
|  | 5- cold stor ( one for each stor ) 200 m3 capacity prefabricated insulated panal 120mm polurethane density 40 kg/m3 . Tempreture range (0-4)C . Anbient temp 50 Cinternal face 0.6 mm aluminum sheet external face 0.6mm galvanised steel sheet coated with plastisol 100 mm micron floor anti - slip aluminum ( jacker) tow cooling units |  |  |  |  |  |
|  | 6-AIR CONDITIONING INSTALATION : |  |  |  |  |  |
|  | SUPPLY AND INSTALLEDAIR COOLED PACKAGED WATER CHILLERS WITH CENTERFUGAL PUMPS AND AIR HANDLING UNITS AND CELLING FAN COIL . IN SIDE TEMP (16-20)C AMBIENT (EXTERNAL) TEMP 50C CONDENSING UNIT (ONE STAND BY WITH AIR COOLED CONDENSING UNITS INTERNAL DESIGN TEMP. 6-20C |  |  |  |  |  |
|  | 7- electrical installation : |  |  |  |  |  |
|  | a- transformer with suitable capacity and all hight tension equipment and cabling |  |  |  |  |  |
|  | b- main switch boardse and distribution boards mounted out side the store |  |  |  |  |  |
|  | c- cabling / sub - circuits wiring |  |  |  |  |  |
|  | d- lighting : provided from floresent fitting (double flouresent ) 20 w/m2 with reflector (tld 36 w) for inside the store and hp sodium 250 w with fitting for outside |  |  |  |  |  |
|  | 8-fire alarm system : acomplete fire alarm system comprising break glass points on fire exit doors and sirens to give audibility throughout the building and with sensors ( smoke , heat , radiation ) with wire and cable complete with all necessary fitting and terminations ( control boarde) |  |  |  |  |  |
|  | 9-fire fitting system ( automatic sprinkler system) design manufacture deliver and installation of an automatic roof sprinklers system in each store including the following equipment per store and fire extignation |  |  |  |  |  |
|  | a- all pipe work fittings hangers and sprinklers heads |  |  |  |  |  |
|  | b- all necessary installation controlling valve |  |  |  |  |  |
|  | c- three automatic fire pumps ( tow electrical and the third is diesl with all boards |  |  |  |  |  |
|  | d- water storage tank enough for one hour made from galvamised steel |  |  |  |  |  |
|  | e- joky pump |  |  |  |  |  |
|  | 10- storage racking : storage racking type narrow aisel racking from galvanside steel hight 6100 mm ther for allowing 6 pallet hogh stacking per bay the bay dimension is 2x1000 mm width x1200 mm deep the distance between racking (1700-1800)mm |  |  |  |  |  |
|  | 11- frok lift truck: |  |  |  |  |  |
|  | a-two frok lift per stor.for the racking rider electric readh truck which operates in narrow gang ways.(side laoiking) |  |  |  |  |  |
|  | capicity 1350 KG lifting height 7000mm tyres.driver/steer-cushion rubber load/buthane/polyuretheue width. max. 1600mm battery 48V with charger them 8 hours 229/25V AC single phase 50HZ |  |  |  |  |  |
|  | b-two frok lift per stor / for loading and unlauding from capacity 1350KG liting hight 2500-3000mm with battery 24V |  |  |  |  |  |
|  | 12-generator one generator for each stor 500KVA water cool,turdo charger,sound of whether proof container. |  |  |  |  |  |
|  | 13-one electronic.digital (PABX),6trunk,64 extension with all necessary equpment,UPS power suply MDF.and telephon set. |  |  |  |  |  |
|  | SECOND: general condition |  |  |  |  |  |
|  | 1-the offer should include work shope drawing for foundation and mechanical ,electrical-fire fighting |  |  |  |  |  |
|  | 2-one year waramty 1 spare parts and labour. |  |  |  |  |  |
|  | 3-one year mainten ance labour only |  |  |  |  |  |
|  | 4-foumdation will be don by the eliemnt according to your design and drawing |  |  |  |  |  |
|  | 5-stor building to risut 140KM/Hr |  |  |  |  |  |
|  | 6-supply quick moving spare part list enough for five yeas |  |  |  |  |  |
|  | 7-the company shoulds submit training course for 6 technicians for three weeks and am invitation for 4 engineers for observation for two weeks |  |  |  |  |  |

| 02-06-00322 | Telephone exchange system |  |  |  | 6 |
| --- | --- | --- | --- | --- | --- |
|  | Capacity :1000 line |  |  |  |  |
|  | 10% of lines for special |  |  |  |  |

| 02-06-00323 | Packaged unit air-conditioning 12 ton for lift room | 2 |
| --- | --- | --- |

| 02-06-00324 | Equipment: Multimedia projector |  |  |  | 100 |
| --- | --- | --- | --- | --- | --- |
|  | minimum specification |  |  |  |  |
|  | - 650 ANSI Lumens |  |  |  |  |
|  | - SVGA (800X600) on – screen resolution |  |  |  |  |
|  | - Portable 8.2 Kg |  |  |  |  |
|  | - 4on- screen presentation tools |  |  |  |  |
|  | - full remote control with “ virtual mouse “ |  |  |  |  |
|  | - screen image size (diagonal) : 53 CM to 762CM |  |  |  |  |
|  | - four in put channels for computer and video signals |  |  |  |  |
|  | - built-in speakers and audio in puts for external connection |  |  |  |  |

| 02-06-00325 | Equipment : Scanner |  |  |  | 100 |
| --- | --- | --- | --- | --- | --- |
|  | -push – button scanning |  |  |  |  |
|  | - full 36 – bit cooler depth ( in put and out put) |  |  |  |  |
|  | - solid steel chassis |  |  |  |  |
|  | - fast single – pass scanning |  |  |  |  |
|  | - quick easy – to – install enhanced parallel ( EPP) inter face ( no. SCSI card necessary ) |  |  |  |  |
|  | - 600 X 1200 DPI optical resolution |  |  |  |  |
|  | - 9600X9600 DPI enhanced resolution |  |  |  |  |
|  | - Arabic and English OCR +caress Omni page softwares |  |  |  |  |

| 02-06-00326 | Equipment : notebook |  |  |  | 100 |
| --- | --- | --- | --- | --- | --- |
|  | - intel pentium II 300 MHZ with MMX TECHNOLOGY |  |  |  |  |
|  | - Intel mobil module (IMM) architecture |  |  |  |  |
|  | - 128 Mb EDO DRAM |  |  |  |  |
|  | - 512 KB secondary cache |  |  |  |  |
|  | - 9GB HDD |  |  |  |  |
|  | - 1.44 Mb modular floppy drive |  |  |  |  |
|  | - 24X CD- ROM ( optional DVD- ROM drive ) |  |  |  |  |
|  | - 13.3” TFT screen / XGA screen |  |  |  |  |
|  | - integrated 16-bit stereo sound system |  |  |  |  |
|  | - NTSC/PAL TV out and s-video out |  |  |  |  |
|  | - S3 Virge MX/ 4Mb (videschip/RAM) |  |  |  |  |
|  | - PCMCIA 56K integrated fax modem |  |  |  |  |
|  | - 232-bit card, 1zoomed vides (PC card slot) |  |  |  |  |
|  | - (Battery/life) lithium ion/2.9 hours |  |  |  |  |
|  | - (Dimensions/ Travel weight) 2.1x12x9.5”/8.6 pounds |  |  |  |  |
|  | - USB and fast IR ports |  |  |  |  |
|  | - Integrated personal touch pad |  |  |  |  |
|  | - 2 extra Battery and charger for eash Unit |  |  |  |  |
|  | - VDC connecter |  |  |  |  |

| 02-06-00327 | EQUIPMENT:ROOF |  |  |  | 100000M2 |
| --- | --- | --- | --- | --- | --- |
|  | - U Value Kcal/m2 hc: 0.55-0.74 |  |  |  |  |
|  | - Weight/Kg/m2: 12.51 |  |  |  |  |
|  | - Length/m: 6-9 |  |  |  |  |
|  | - External face 0.63mn galvanised steel sheet 0.45mm profile coated with 25 microns superacrulic in standard colour. Iinternal face 0.63mm thick galvanised steel sheet ribbed with 4mm profile coated with 25micron suberacrylic in standard colour Insulation 30mm polyurethene foam core density 40-50KG/m3 |  |  |  |  |

| 02-06-00328 | EQUIPMENT:WALLS |  |  |  | 30000 m2 with angle and Tee elements |
| --- | --- | --- | --- | --- | --- |
|  | - U Value Kcal/m2hc: 0.55-0.74 |  |  |  |  |
|  | - Weight/Kg/m2: 12.51 |  |  |  |  |
|  | - Length/m: 6-9 |  |  |  |  |
|  | - External and Internal face 0.63mm galvanised steel sheet with 4mm profile coated with 25 micron superacrylic in standard colour. Insulation 30mm polurethene foam core. Density 40-45 Kg/m3 |  |  |  |  |

| 02-06-00329 | Offset machine four colors size 72x102cm |  |  | 8 |
| --- | --- | --- | --- | --- |
| 02-06-00330 | Offset machine . four colors size 52x74cm with numbering system |  |  | 8 |
| 02-06-00331 | Offset machine size 36x52cm four colors with numbering system |  |  | 16 |
| 02-06-00332 | Camera photo for off set with drum scanning and all accesries |  |  | 4 |
| 02-06-00333 | Device Contact size :100 X 150 |  |  | 4 |
| 02-06-00334 | Stitching machine with four heads four size 20x25mm |  |  | 12 |
| 02-06-00335 | Machine of tying string |  |  | 8 |
| 02-06-00336 | Collection machine for all sizes |  |  | 8 |
| 02-06-00337 | High speed paper cutter (width 115cm) with ten knives as spare |  |  | 20 |
| 02-06-00338 | Inking operator for GTO machine size . 32 X 46 cm |  |  | 12 |
| 02-06-00339 | Inking operator for GTO machine size : 35 X 52 cm |  |  | 12 |
| 02-06-00340 | Numbering box letter press for 6 numbers back down |  |  | 1000 |

| 02-06-00341 | FILM ARTS GRAPHICS BLACK & WHITE |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Size : 50 X 60 cm |  |  |  | 100 |
|  | 100X70 CM |  |  |  | 100 |
|  | 40 X 60 cm |  |  |  | 100 |

| 02-06-00342 | Set . of light notes to dark notes that |  |  |  |  | 2set |
| --- | --- | --- | --- | --- | --- | --- |
|  | Return to picture . |  |  |  |  |  |
| 02-06-00343 | plate pressing size : 102X71 cm |  |  |  |  | 100 boxs each box 50 sheet |
|  |  |  | 52X74 cm |  |  | 100 boxs each box 50 sheet |
|  |  |  | 32X 46 cm |  |  | 100 boxs each box 50 sheet |

| 02-06-00344 | Blanket size : 102X71 cm |  |  |  |  | 400 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 50X74CM |  |  |  | 400 |
|  |  | 32X52 cm |  |  |  | 400 |
|  |  | 32X46 cm |  |  |  | 400 |

| 02-06-00345 | Under blanket size: 102X71 cm |  |  |  |  | 400 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 52X74CM |  |  | 400 |
|  |  | 32X52 cm |  |  |  | 400 |
|  |  | 32X46 cm |  |  |  | 400 |

| 02-06-00346 | Developer plate A & B |  |  |  | 2000 for each |
| --- | --- | --- | --- | --- | --- |

| 02-06-00347 | Correction |  |  |  |  | 100 bottle |
| --- | --- | --- | --- | --- | --- | --- |

| 02-06-00348 | Fixer |  |  |  |  | 100 gallon |
| --- | --- | --- | --- | --- | --- | --- |

| 02-06-00349 | Ster lon sheet 100X70 cm |  |  | 2000 sheet |
| --- | --- | --- | --- | --- |

| 02-06-00350 | Steel core for switching machine 22\19& 21\19 | 1000 turning |
| --- | --- | --- |
|  | copper core for switching machine 22\19& 21\19 | 1000 turning |

| 02-06-00351 | Cart bort 100 X70 cm , 240 g\m |  |  | white coloer 10000 band |
| --- | --- | --- | --- | --- |
|  | Cart bort 100 X70 cm , 240 g\m |  |  | green coloer 10000 band |
|  | Cart bort 100 X70 cm , 240 g\m |  |  | blue cooler 10000 band |
|  | Cart bort 100 X70 cm , 240 g\m |  |  | pink cooler 10000 band |

| 02-06-00352 | Cart bort 100 X 70 cm ,200 g\m |  |  | white cooler 10000 band |
| --- | --- | --- | --- | --- |
|  | Cart bort 100 X 70 cm ,200 g\m |  |  | green coloer 10000 band |
|  | Cart bort 100 X 70 cm ,200 g\m |  |  | blue coloer 10000 band |
|  | Cart bort 100 X 70 cm ,200 g\m |  |  | pink coloer 10000 band |

| 02-06-00353 | Cart bort 100 X70 cm ,180 g\m |  |  | white coloer 10000 band |
| --- | --- | --- | --- | --- |
|  | Cart bort 100 X70 cm ,180 g\m |  |  | green coloer 10000band |
|  | Cart bort 100 X70 cm ,180 g\m |  |  | blue color 10000 band |
|  | Cart bort 100 X70 cm ,180 g\m |  |  | pink coloer 10000 band |

| 02-06-00354 | Paper 100 X 70 cm , 80 gm , |  |  | white coloer 10000 band |
| --- | --- | --- | --- | --- |
|  | Paper 100 X 70 cm , 80 gm , |  |  | white color 10000 band |
|  | Paper 100 X 70 cm , 80 gm , |  |  | white coloer 10000 band |

| 02-06-00355 | Inking off set |  |  |  | 1000sets & 6000 kg black |
| --- | --- | --- | --- | --- | --- |

| 02-06-00356 | Inking letter |  |  |  | 500 & 1000 kg black |
| --- | --- | --- | --- | --- | --- |

| 02-06-00357 | Carbon papers 100X70 cm |  |  | white coloer 2000 band |
| --- | --- | --- | --- | --- |
|  | Carbon papers 100X70 cm |  |  | blue coloer 2000 band |
|  | Carbon papers 100X70 cm |  |  | pink coloer 2000 band |
|  | Carbon papers 100X70 cm |  |  | yellow coloer 2000 band |

|  | EQUIPMENT: SUB – STATION |  |  |  |
| --- | --- | --- | --- | --- |
|  | SITE:SADDAM MEDICAL CITY |  |  |  |

| 02-06-00358 | STEPDOWN TRANSFORMER DELTA/ STAR 11000/400VOLT, 3500KVA, 50HZ,DRY TYPE,TOTALLY ENCLOSED, INDOOR MOUNTED AND SHALL BE BUILT IN ACORDANCE WITH THE LATEST SPECIFICATION OF BS AND\OR IEC | 6 |
| --- | --- | --- |
|  | 115 C RISE ABOVE 50 C AMBIANT , CAPABLE OF CARRYING 15% CONTINUOS OVERLOAD WITHOUT EXCEEDING A 150 C RISE |  |

| 02-06-00359 | A COMPLETE HIGH VOLTAGE SUB-STATION CAPABLE OF FEEDING 3 TRANSFORMERS ; ONE SWITCHGEAR FOR EACH AND A MAIN INCOMMING FEEDER | 2 |
| --- | --- | --- |
|  | THE H.V SWITCHGEAR SHALL BE HORIZONTAL DRAW OUT C.B ,INDOOR CONSTRUCTION ,WEATHER PROOF , VOLTAGE RATTING 15 KV, SYSTEM VOLTAGE 11 KV, 3 PHASE, 3 WIRE, 50 Hz. |  |
|  | DESIGNED MANUFACTURED AND TESTED ACCORDING TO THE BS AND\OR IEC CODE ,WITH ALL PROTECTION AND METERING EQUIPMENTS , THE BREAKER SHAL BE OPERATED BY A MOTOR CHARGED SPRING THE STORED ENERGY MECHANISIM, 110 OR 24 VDC AND IN AN EMERGENCY BY A MANUAL HANDLE, THE SUB-STATION SHALL CONSISTS OF A DC CHARGER 110V OR 24V |  |

| 02-06-00360 | MEDIUM VOLTAGE SWITCH BORD MAIN AND TIE CB, SHALL CONSIST OF 3-MAIN INCOMMING FEEDERS FROM THE TRANSFORMERS AND 9-OUTGOING FEEDERS TO FEED 9-CHILLERS OF 1508 AMP EACH, AND 2 TIE BREAKER AND SHALL BE INTERLOCKED WITH THE MAIN BREAKERS SO BOTH BREAKERS CAN NOT BE CLOSED SIMULTENEOUSLY. | 2 |
| --- | --- | --- |
|  | THE MAIN AND TIE CB’S SHALL BE THE FUSED DRAWOUT TYPE, MECHANICALY AND ELECTRICALY OPERATED AIR CB’S , WITH ALL PROTECTION AND METERING EQUIPMENTS , CALIBRATIONS AND ADJUSTMENTS SHALL BE IN ACCORDANCE WITH I.E.C STANDERDS |  |

| 02-06-00361 | BUSWAYS 5000 AMP. RATING |  |  | 160 |
| --- | --- | --- | --- | --- |
|  | PROVIDE TOTALLY INCLOSED WEATHER PROOF LOW IMPEDANCE BUS WAYS BETWEEN TRANSFORMERS SECONDARIES AND M.V MAINSWITCH BORDS , COMPLETE WITH INCLOSURE , ELBOWS , FITTINGS SUPPORTS , HANGING DEVICES ,ACCESSORIES, CABLE TAP BOXES. |  |  | METERS |
|  | BUSWAY SHALL BE 220/380 V , 3 PHASE ,4 WIRE , 50 Hz . |  |  |  |
|  | BUSBARS SHALL BE COPPER FABRICATED FROM 98% CONDUCTIVITY COPPER ,SILVER PLATED OVER THE INTIRE LENGTH |  |  |  |

| 02-06-00362 | Field car ( 4WD a/c model 99 ) |  |  | 154 |
| --- | --- | --- | --- | --- |
|  | LAND CRUISER 4 WHEEL DRIVER |  |  |  |
|  | 1.PETROL ENGINE: ENGINE WATER COOLED |  |  |  |
|  | 2.MANUAL GEAR BOX, FLOOR SHIFT |  |  |  |
|  | 3.STEERING: POWER STEERING LEFT HAND DRIVE |  |  |  |
|  | 4.ELECTRICAL EQUIPMENT’S: BATTERY 12V, 60AMP, HEAVY DUTY |  |  |  |
|  | 5. AIR-CONDITIONING: TO BE EQUIPPED WITH EFFICIENT AIR-CONDITIONING SYSTEM FIT WITH OUR WEATHER (HEATING AND COOLING) |  |  |  |
|  | 6.SUSPENTION: HEAVY DUTY |  |  |  |
|  | 7.TIRES WITH TYPES SUITABLE FOR DIFFERENT ROADS (HIGH QUALITY) |  |  |  |
|  | 8. DOORS: TWO DOORS IN EACH SIDE OF THE VEHICLE WITH REAR DOOR |  |  |  |
|  | 9. MIRRORS: TO BE EQUIPPED WITH 2 SIDES MIRRORS AND ONE INSIDE |  |  |  |
|  | 10. ACCESSORIES: TO BE EQUIPPED WITH JACK + WHEEL WRENCH AND HAZARD TRIANGLE AND ANY EQUIPMENT NECESSARY FOR JOB OF THIS VEHICLE |  |  |  |
|  | 11. MAINTENANCE FOR ALL VEHICLES FOR 2 YEARS ON A COUNT OF THE COMPANY WITH TRAINS FOR ENGINEERS AND TECHNICIANS (5PERISON) FOR ONE MONTH |  |  |  |

| 02-06-00363 | Photo copy machine |  |  |  | 40 |
| --- | --- | --- | --- | --- | --- |

| 02-06-00364 | Overhead projector , LAMP 650 W , 25  25 cm | 32 |
| --- | --- | --- |

| 02-06-00365 | Television ( 39 inch ) |  |  |  | 32 |
| --- | --- | --- | --- | --- | --- |

| 02-06-00366 | Video camera ( VHS ) with accessories |  | 32 |
| --- | --- | --- | --- |

| 02-06-00367 | Double- cassette recorder with amplifier |  |  |  | 32 |
| --- | --- | --- | --- | --- | --- |
| 02-06-00368 | Video ( VHS ) with accessories |  |  |  | 32 |
| 02-06-00369 | Photo Camera |  |  |  | 32 |
| 02-06-00370 | Slide projector with all accessories |  |  |  | 8 |

| 02-06-00371 | Assembly of video – tape equipment ( for recording , play – back & editing ) (VHS system) | 2 |
| --- | --- | --- |

| 02-06-00372 | Pentium I I -450 MH3w/cache |  |  |  |  | 100 |
| --- | --- | --- | --- | --- | --- | --- |
|  | 128-MB RAM |  |  |  |  |  |
|  | 6-MB HDD |  |  |  |  |  |
|  | 1.44-MB FDD |  |  |  |  |  |
|  | 40-X CD Drive |  |  |  |  |  |
|  | Multimedia KIT |  |  |  |  |  |
|  | -8 MB VRAM |  |  |  |  |  |
|  | -A/E 104 Keys Keyboard |  |  |  |  |  |
|  | MS mouse + Pad |  |  |  |  |  |
|  | -Power Supply + Case+ |  |  |  |  |  |
|  | Dust Covers |  |  |  |  |  |
|  | -15n Monitor SVGA |  |  |  |  |  |
|  | *HP Laser jet 1100 |  |  |  |  |  |
|  | Printer |  |  |  |  |  |
|  | Extra Tones 10 foe each |  |  |  |  |  |
|  | Printer |  |  |  |  |  |
|  | HP 6P Laserjet printer( 2 only ) |  |  |  |  |  |

| 02-06-00373 | STAND BY POWER |  |  |  | 42 |
| --- | --- | --- | --- | --- | --- |
|  | 150 KVA generator with automatic change over switch |  |  |  |  |

| 02-06-00374 | Stand by power |  |  |  | 2 |
| --- | --- | --- | --- | --- | --- |
|  | 20 UPS 2 KVA generator with automatic change over switch |  |  |  |  |

| 02-06-00375 | Telephone exchange system |  |  |  | 2 |
| --- | --- | --- | --- | --- | --- |
|  | 2 out line x 20 in line |  |  |  |  |

| 02-06-00376 | EQUIPMENT: Generator (1000KVA ) |  |  |  |  | 360 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Generator (250KVA) |  |  |  |  | 312 |
|  | 1500 KVA |  |  |  |  | 18 |
|  | 750 KVA |  |  |  |  | 38 |
|  | 550 KVA |  |  |  |  | 146 |
|  |  |  |  | 55 KVA |  | 344 |
|  | Fully automatic mains failure diesel generator sets suitable for operation in tropical dusty atmosphere at ambient temp. Ranging from 0C-60 C and humidity 95% on weather sound proof container for (1500 ,750 , 550)KVA and weather proof canopy with sufficient place for maintenance and repairing. |  |  |  |  |  |
|  | Prime power : (1500,750,550,55) KVA |  |  |  |  |  |
|  | Nominal voltage : 400V |  |  |  |  |  |
|  | Nominal frequency : 50 HZ |  |  |  |  |  |
|  | Speed : 1500 rpm |  |  |  |  |  |
|  | Power factor : 0.8 |  |  |  |  |  |
|  | Voltage variation : static + _ 1-1.5 % |  |  |  |  |  |
|  | Alternator connection star with neutral |  |  |  |  |  |
|  | Insulation class F rotor and stator |  |  |  |  |  |
|  | temperature rise class F rotor and stator |  |  |  |  |  |
|  | - harmonic distortion factor < 3.5 % |  |  |  |  |  |
|  | - construction B3/B5 |  |  |  |  |  |
|  | - radio interference class N |  |  |  |  |  |
|  | - tropical insulation |  |  |  |  |  |
|  | - regreasable type bearing DE and NDE life time equals 100,000 hours |  |  |  |  |  |
|  | Damper winding for parlor operation 100% unbalanced |  |  |  |  |  |
|  | Load |  |  |  |  |  |
|  | Ambient temp. 0-60 C , humidity 95% |  |  |  |  |  |
|  | Fuel tank 10 hours at full load operation Starting battery capacity 240 AH ,voltage 24 V for |  |  |  |  |  |
|  | (1500,750,550)KVA, 12V 120 AH for |  |  |  |  |  |
|  | 55KVA |  |  |  |  |  |
|  | Time delay on starting 0-60 second |  |  |  |  |  |
|  | On release 0-15 minutes |  |  |  |  |  |
|  | Over load operation 10% for one hour |  |  |  |  |  |
|  | The diesel engine, (west European origin made ,first oil filling , water cooled with turbocharger intercooler for 500 KVA and above electronic speed governer )1s rigidly coupled with synchronous alternator (west European origin ,self exiting self regulating revolving field Brushles automatic voltage regulation) and mounted on a common base frame and probably connected electrically and mechanically to control panel which is designed for full automatic operation with status indication. |  |  |  |  |  |
|  | The set engine and alternator and control panel is equipped with all accessories needed for sensing indicating warning metering protecting and supervision the flowing: |  |  |  |  |  |
|  | 1- starting failure |  |  |  |  |  |
|  | 2- over and under voltage |  |  |  |  |  |
|  | 3- over and under speed |  |  |  |  |  |
|  | 4- Oilpressure and temp. |  |  |  |  |  |
|  | 5- low fuel level |  |  |  |  |  |
|  | 6- Water pressure and temp. |  |  |  |  |  |
|  | 7- phase failure and sequence |  |  |  |  |  |
|  | 8- Over load and short circuit. |  |  |  |  |  |
|  | 9- battery failure |  |  |  |  |  |
|  | 10- lubrication system failure |  |  |  |  |  |
|  | 11- cooling and pre-heating system failure |  |  |  |  |  |
|  | 12- fuel injection system failure |  |  |  |  |  |
|  | 13- Alternator winding and bearing temp. |  |  |  |  |  |
|  | 14- alternator over current |  |  |  |  |  |
|  | And also the control panel should contain the followings : |  |  |  |  |  |
|  | 1- pair of change over contractors mechanically & electrically interlocked |  |  |  |  |  |
|  | 2- circuit breaker fitted with thermal overload trips & magnetic short circuit release , the generator . |  |  |  |  |  |
|  | 3- automatic battery charger device 220/24 volt with voltmeter & ampere meter for starter battery voltage & current , MCB for charging device , switch on/off for battery voltmeter , indication of failure in battery system |  |  |  |  |  |
|  | 4- manually operated change - over switch to connect load directly to network to facilitate isolation & maintenance of control panel |  |  |  |  |  |
|  | 5- time delay to isolate load from generator & connecting it to the main power setting one minute |  |  |  |  |  |
|  | And also ) Electric lighting must be sufficient inside the container at least 6 florescence (40 watt ,220 volt for each fluorescence) and 20 watt , 220V for the outside control panel |  |  |  |  |  |
|  | The offer including : |  |  |  |  |  |
|  | 1-.installation one set of each size at site |  |  |  |  |  |
|  | 2- spare part for 5-years |  |  |  |  |  |
|  | 3-warranty period of tow years after operation at site |  |  |  |  |  |
|  | 4-three years maintenance after period of warranty |  |  |  |  |  |
|  | 5-training on factories for three engineers for one month |  |  |  |  |  |
|  | 6-complete standard set of tools and measuring equipment for each set |  |  |  |  |  |
|  | 7-complete set of mantas and diagram for each set |  |  |  |  |  |

| 02-06-00377 | Electric drill |  |  |  | 2 |
| --- | --- | --- | --- | --- | --- |

| 02-06-00378 | Dishes washing machine |  |  | 4 |
| --- | --- | --- | --- | --- |

| 02-06-00379 | Ampoule sealing machine with accessories |  |  |  |  | 2 |
| --- | --- | --- | --- | --- | --- | --- |
| 02-06-00380 | Cold room |  |  |  |  | 8 |
|  | 35C 9.5M3 |  |  |  |  |  |
| 02-06-00381 | Cold room |  |  |  |  | 8 |
|  | +2/+6 C 7.2M3 |  |  |  |  |  |
| 02-06-00382 | Security system |  |  |  |  | 2 |
| 02-06-00383 | Specific printer for bar |  |  |  |  | 200 |
| 02-06-00384 | Lab refrigerators |  |  |  |  | 20 |
| 02-06-00385 | Vacuum |  |  |  |  | 2 |

| 02-06-00386 | VEHICLE |  |  |  |  | 30 |
| --- | --- | --- | --- | --- | --- | --- |
|  | SPECIFICATION OF FIRE FIGHTING TANKS |  |  |  |  |  |
|  | A: BASIC VEHICLE: |  |  |  |  |  |
|  | Type : Forward control |  |  |  |  |  |
|  | Drive : 4 x 2 |  |  |  |  |  |
|  | Engine: Diesel Engine, Water cooled. |  |  |  |  |  |
|  | Brake: Service : Air over hydraulic with dual circuit. |  |  |  |  |  |
|  | Parking : Internal expanding type. |  |  |  |  |  |
|  | Auxiliary: Exhaust brake |  |  |  |  |  |
|  | Frame: Parallel, tapered channel section type with crossmembers and reinforcements. |  |  |  |  |  |
|  | Steering: Left hand steering ball nut type with integral type hydraulic power booster telescopic and tilt steering column with steering lock. |  |  |  |  |  |
|  | Suspensions: Front and Rear |  |  |  |  |  |
|  | Laminated leaf springs with shock absorbers. |  |  |  |  |  |
|  | Electrical system: 24 volt |  |  |  |  |  |
|  | 12 volt x 12, 120 Ah at 20 hr |  |  |  |  |  |
|  | Fuel TANK: 250 liters |  |  |  |  |  |
|  | Driver’s cab: All steel , tilt cab. |  |  |  |  |  |
|  | Caution plate: Arabic |  |  |  |  |  |
|  | Measurement: Metric (Km/h) |  |  |  |  |  |
|  | B: CHASSIS: 4 x 2 version with G.V.W of 18 tons with suitable wheel base |  |  |  |  |  |
|  | Cabin seats: 3- seats. |  |  |  |  |  |
|  | Body work: Steel built, self bearing structure of modern design with (2) storage lockers on each side closed by light alloy anodized roller shutters and rear pump storage closed by hinged door. |  |  |  |  |  |
|  | Water Tank: Stainless steel 8000 1ts. Tank provided with baffle plates, overflow pipe, manhole connection pipes to the pumps road hydrants inlet gate level indicator. |  |  |  |  |  |
|  | Pump: Centrifugal pump of combined type (medium and high pressure) made of bronze the pump can be utilized while the vehicle is moving. |  |  |  |  |  |
|  | Reel: 60 Mts. High pressure hose with full jet and nebulized jet pistol. |  |  |  |  |  |
|  | Siren and beacon: High frequency and efficient lighting |  |  |  |  |  |

| 02-06-00387 | Split unit 25 TON |  |  |  | 6 |
| --- | --- | --- | --- | --- | --- |

| 02-06-00388 | Freezer - 40 C0 |  |  |  |  | 12 |
| --- | --- | --- | --- | --- | --- | --- |
| 02-06-00389 | Freezer - 120 C0 |  |  |  |  | 4 |
| 02-06-00390 | Network |  |  |  |  |  |
|  | PACS (Picture Archiving and communicating system ): |  |  |  |  | 10 |
|  | state of the art and of up gradeable technology |  |  |  |  | 2 |
|  | -to serve linking the X-ray dept internally & to the following stations digitally : |  |  |  |  | 20 |
|  | conference room |  |  |  |  | 2 |
|  | operation rooms |  |  |  |  | 4 |
|  | operating suite meeting room |  |  |  |  |  |
|  | doctor offices |  |  |  |  |  |
|  | microprocessor based workstation for each secretary |  |  |  |  |  |
|  | interface to possible tele medicine |  |  |  |  |  |
|  | archiving on magnetic optic disk |  |  |  |  |  |
|  | hard copies obtained from |  |  |  |  |  |
|  | laser camera |  |  |  |  |  |
|  | VCR (PAL) |  |  |  |  |  |
|  | Video printers each is connected to MRI,CT,mobile CT ,angio, DER ,digital mobile C-arm & each U/S unit |  |  |  |  |  |
|  | UPS |  |  |  |  |  |
|  | Five years maintenance incl spar parts |  |  |  |  |  |

| 02-06-00391 | Main conference room |  |  |  |  | 2 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Projection T.V and screen |  |  |  |  |  |
|  | Overhead projectors X2 |  |  |  |  |  |
|  | Slide projectors X2 |  |  |  |  |  |
|  | Video (pal) |  |  |  |  |  |
|  | Multiple X- ray viewers - mobile |  |  |  |  |  |
| 02-06-00392 | Doctors offices : |  |  |  |  | 2 |
|  | In each office the facility to be provided with computer terminal linked to X-ray conference room and cable of storing re- reports and pictures in digital form on discs or otherwise and supplied with a laser printer to print X-ray reports |  |  |  |  |  |
|  | Tow extra stations in two extra doctor offices |  |  |  |  |  |
| 02-06-00393 | Pakeg unit 7,5 Ton |  |  |  |  | 10 |
| 02-06-00394 | Pakeg unit 5 Ton |  |  |  |  | 6 |
| 02-06-00395 | submersible draings Pump for spring well old model :- SP25 -15 H = 35M QFLOW = 100GPM out put connection = 3 inch flange V = 380 50HZ 3Q |  |  |  |  | 8 |

| 02-06-00396 | C02 incubator |  |  |  | 24 |
| --- | --- | --- | --- | --- | --- |
|  | Mince - 1000 - solid state |  |  |  |  |

| 02-06-00397 | Steam boiler 3TON |  |  |  | 2 |
| --- | --- | --- | --- | --- | --- |

| 02-06-00398 | Water treatment (deionized water) (hemodialysis) |  |  |  |  | 56 |
| --- | --- | --- | --- | --- | --- | --- |
|  | 1-Power supply |  |  |  |  |  |
|  | 220V power=2500W 50HZ |  |  |  |  |  |
|  | 2-pressure supply |  |  |  |  |  |
|  | 3 bar - 6 bar |  |  |  |  |  |
|  | 3-out put supply |  |  |  |  |  |
|  | 1 m3/hour - 3 m3/hour |  |  |  |  |  |
|  | 4-equipment contain of : |  |  |  |  |  |
|  | A-sanfliter |  |  |  |  |  |
|  | B-softener (cationic) |  |  |  |  |  |
|  | C-culler filter |  |  |  |  |  |
|  | D-R-O filter |  |  |  |  |  |
|  | E-storage tank 2000L |  |  |  |  |  |
|  | F-recirculation pump |  |  |  |  |  |

| 02-06-00399 | Vacuum air |  |  |  | 4 |
| --- | --- | --- | --- | --- | --- |

| 02-06-00400 | Cooling tower |  |  |  | 6 |
| --- | --- | --- | --- | --- | --- |
|  | 1-model TMC 520 |  |  |  |  |
|  | 2-capacity Kcal/h 1.954.000 |  |  |  |  |
|  | 3-number of fans 10 |  |  |  |  |
|  | 4-air flow M3/h 119.000 |  |  |  |  |
|  | 5-water flow M3/h 326 |  |  |  |  |
|  | 6-weight kg - Net=3.730 operating 5.930 |  |  |  |  |
|  | 7-number of motors 4 |  |  |  |  |
|  | 8-electric heater power kw 5+5 |  |  |  |  |

| 02-06-00401 | Photo graphy equipment |  |  |  |  | 2 |
| --- | --- | --- | --- | --- | --- | --- |
|  | (iron for drying the negative) |  |  |  |  |  |
| 02-06-00402 | Tanks for film development |  |  |  |  | 8 |
| 02-06-00403 | BOILING PAN,GASEOUS: |  |  |  |  | 400 |
|  | 100LT,S/S with lid, water inlet, discharge faulet, LPG control, safety valve, jacketed, floor mounted. |  |  |  |  |  |
| 02-06-00404 | BOILING PAN,ELECTRIC: |  |  |  |  | 400 |
|  | As above but electric heated, controlled. |  |  |  |  |  |
| 02-06-00405 | BOILING PAN, ELECTRIC: |  |  |  |  | 400 |
|  | As above but steam heated, controlled. |  |  |  |  |  |
| 02-06-00406 | DEEP FRYER,GASEOUS: |  |  |  |  | 400 |
|  | Double well with baskets, covers, all stainless steel, ltemperature control floor mounted, size about 600x800x650. |  |  |  |  |  |
| 02-06-00407 | DEEP FRYER,ELECTRIC: |  |  |  |  | 400 |
|  | As above, but electric operated, 380V, 3PH,thermostatic control, timer. |  |  |  |  |  |
| 02-06-00408 | COOKER, GAS RANGE: |  |  |  |  | 400 |
|  | With oven, 5cuft,S/S body, burners, 900x900x800,pilot flame, controls, industrial design. |  |  |  |  |  |
| 02-06-00409 | COOKER , ELECTRIC RANGE: |  |  |  |  | 400 |
|  | As above but electric, thermostat control (18) KW total load, 4 hot plates, with oven. |  |  |  |  |  |
| 02-06-00410 | MEAT MINCER: |  |  |  |  | 400 |
|  | Heavey duty meat grinder, 1 1/2 HP motor capacity not less than 200 KG/HR, with full set of orifice plates, cutter, access. |  |  |  |  |  |
| 02-06-00411 | MEAT SAW: |  |  |  |  | 400 |
|  | Floor mounted S/S table and parts, 900x600mm working table, 1 1/2HP motor full protections and controls. |  |  |  |  |  |
| 02-06-00412 | SLICER: |  |  |  |  | 400 |
|  | Heavy-duty compact, food slicer, S/S and aluminfinish, table type, gravity feed, full set of knives and access, 1/4 HPmotor, 220V. |  |  |  |  |  |
| 02-06-00413 | GRILL GASEOUS: |  |  |  |  | 400 |
|  | 800X500 450 high with adjustable levels, floor mounted, s/s external finish, adjustable heat of (10KW) with accessories. |  |  |  |  |  |
| 02-06-00414 | GRILL ELECTRIC: |  |  |  |  | 400 |
|  | AS above but electric heaters, 10KW, 380V, 3PH,controls, access. |  |  |  |  |  |
| 02-06-00415 | OVEN, GASEOUS: |  |  |  |  | 400 |
|  | 1000X800X500 depth oven, glass door, adjustable, temp, shelving, all S/S construction, accessories, timer temp. Indicator. |  |  |  |  |  |
| 02-06-00416 | OVEN,ELECTRIC: |  |  |  |  | 400 |
|  | AS above but electric powered 15KW, 380V, 3PH. |  |  |  |  |  |
| 02-06-00417 | FOOD CUTTER: |  |  |  |  | 400 |
|  | 14 bowl food cutter, all S/S, adjustable speed, easy clearable, with set of accessories, attachments spare knives, table mounted. |  |  |  |  |  |
| 02-06-00418 | FOOD MIXING MACHINE: |  |  |  |  | 400 |
|  | Floor mounted, 1/3hp, 1-pH motor, adjustable speed, mixing BOW1 20-quart, with full set of attachment, meat chopper, meat slicer, timer, and accessories. |  |  |  |  |  |
| 02-06-00419 | KETTLE ELECTRICAL: |  |  |  |  | 400 |
|  | 5 LT boiling kettle, electric, controlled ,all S/S with insulated handle and base |  |  |  |  |  |

| 02-06-00420 | TEA URN: |  |  |  |  | 400 |
| --- | --- | --- | --- | --- | --- | --- |
|  | 20 LT electric tea earns adjustable temp. With thermostat and thermometer, level guage, all stainless steel with insulated handle and base. |  |  |  |  |  |
| 02-06-00421 | POTATO PEELER: |  |  |  |  | 400 |
|  | Floor mounted 8LT load, 1/2 hp motor with full accessories and attachments. |  |  |  |  |  |
| 02-06-00422 | HOT CUPBOARD: |  |  |  |  | 400 |
|  | 1100X650X800 hight, electric heated, 50-130C,controlled, all S/S, sliding door, heated top, insulated feet. |  |  |  |  |  |
| 02-06-00423 | ICE CUBE MACHINE: |  |  |  |  | 400 |
|  | Chest type with storage bin, 4 KG/HR ice-making machine, S/S construction, automatic operation. |  |  |  |  |  |
| 02-06-00424 | INSECT KILLER: |  |  |  |  | 400 |
|  | Hanging U.V.lamp, industrial insect killer with HV grid, collection tray. |  |  |  |  |  |
| 02-06-00425 | SINK AND TABLE: |  |  |  |  | 400 |
|  | Heavy guage S/S, round edges, back splash table, double BOW1, mounted on S/S. |  |  |  |  |  |
| 02-06-00426 | PREPERATION TABLE: |  |  |  |  | 400 |
|  | Heavy guage S/S, round edges table, mounted on S/S legs, with low grid shelf, dim 2100x650x900, wood reinfored. |  |  |  |  |  |

| 02-06-00427 | MOBILE SINK: |  |  |  | 400 |
| --- | --- | --- | --- | --- | --- |
|  | Sink (1) mm S/S, on castors, 220 LT with drain valve. |  |  |  |  |

| 02-06-00428 | STAINLESS STEEL SHELVING: |  |  | 400 |
| --- | --- | --- | --- | --- |
|  | Heavy guage shelving adjustable hight of 4 shelves per unit, each 1400x550, hight 800mm post 35m spuare S/S. |  |  |  |
| 02-06-00429 | CONVECTION OVEN: |  |  | 400 |
|  | Electric operated, (10) shelves of 500x650mm upto 180 C, floor mounted, adjustable temp, timer, heavy duty motor/fan, glass doors, over all dim 900x900x750 on legs of 650mm high, 10 - 15KW, 380V,S/S construction, well insulted, with full accessories, 20 pans, pan carier, trolley. |  |  |  |
| 02-06-00430 | Bench surface protector |  |  | 4 packets |

| 02-06-00431 | Drying cabinet ,large |  |  |  | 4 |
| --- | --- | --- | --- | --- | --- |
| 02-06-00432 | Dryining rack wall mounted & bench top 72 place, 22 place |  |  |  | 4for each |
| 02-06-00433 | Air condition 2.5ton |  |  |  | 20 |

| 02-06-00434 | Telephone exchange system |  |  |  | 2 |
| --- | --- | --- | --- | --- | --- |
|  | 200 inter line |  |  |  |  |
|  | 10 outer line |  |  |  |  |
| 02-06-00435 | Freezer, - 80C |  |  |  | 6 |

| 02-06-00436 | Deep freezer (-70 , -120 C ) |  |  | 8 |
| --- | --- | --- | --- | --- |
| 02-06-00437 | Chilled water airconditioning system 50K.W |  |  | 6 |

| 02-06-00438 | Aircondition package type 25K.W. |  | 8 |
| --- | --- | --- | --- |

| 02-06-00439 | Window type airconditioner 24000 P.t.U |  |  |  | 40 |
| --- | --- | --- | --- | --- | --- |
| 02-06-00440 | Window type airconditioner 18000 P.t.U |  |  |  | 100 |
| 02-06-00441 | Emessioning water pump 4” |  |  |  | 8 |
| 02-06-00442 | Emessioning water pump 3” |  |  |  | 6 |
| 02-06-00443 | Freezing store room 18m3 -30”C |  |  |  | 2 |
| 02-06-00444 | Cold store room 24m3 - 4” C |  |  |  | 2 |
| 02-06-00445 | Electric hot water boiler 3000 lit3 |  |  |  | 8 |
| 02-06-00446 | Refrigerator 6 feet |  |  |  | 100 |
| 02-06-00447 | Refrigerator 12 feet |  |  |  | 20 |
| 02-06-00448 | Coloured T.V 16 inch |  |  |  | 60 |

| 02-06-00449 | Telecommunication unit 400 lines with telephones |  |  |  | 2 |
| --- | --- | --- | --- | --- | --- |
| 02-06-00450 | P.C. computers |  |  |  | 20 |
| 02-06-00451 | Mechanical & electric tools |  |  |  | 6 sets |
| 02-06-00452 | Flour mixer capacity 100gm |  |  |  | 2 |
| 02-06-00453 | Bread fertilizer |  |  |  | 2 |
| 02-06-00454 | Baker oven electric |  |  |  | 4 |
| 02-06-00455 | Meat mixer large size |  |  |  | 4 |

| 02-06-00456 | Electric coolr large size |  |  | 4 |
| --- | --- | --- | --- | --- |
| 02-06-00457 | Pick up motor vehicle 1 ton |  |  | 2 |
| 02-06-00458 | Clothes washer machine large size |  |  | 4 |
| 02-06-00459 | Clothes steam iron machine larg size |  |  | 2 |

| 02-06-00460 | Vaccum floor dryer |  |  |  |  | 4 |
| --- | --- | --- | --- | --- | --- | --- |
| 02-06-00461 | Hoover (vaccum cleaner) |  |  |  |  | 4 |
| 02-06-00462 | Dry woop |  |  |  |  | 30 |
| 02-06-00463 | Double trolly carrige for floor cleaning with woop & seguer with 2 plastic bags |  |  |  |  | 30 |
| 02-06-00464 | Electric table calculator |  |  |  |  | 10 |
| 02-06-00465 | Grass grinder electric |  |  |  |  | 4 |
| 02-06-00466 | Electric arabic printer |  |  |  |  | 16 |
| 02-06-00467 | Electric english printer |  |  |  |  | 4 |
| 02-06-00468 | Tool & equipment for mechanical work shop |  |  |  |  | 2set |
| 02-06-00469 | Tool & equipment for electronic work shop |  |  |  |  | 2 set |
| 02-06-00470 | Closed circuit TV. system |  |  |  |  | 2 |
| 02-06-00471 | Cameras fixed in operation theaters with out door monitoring system |  |  |  |  | 6 |
| 02-06-00472 | Computor for hospital use |  |  |  |  | 2 |
| 02-06-00473 | Laundary & CSSD central station |  |  |  |  | 2 |
| 02-06-00474 | Bleep- Doctor call (3 miles range) |  |  |  |  | for60 person |

| 02-06-00475 | Equipment-dusters |  |  |  | 1000 |
| --- | --- | --- | --- | --- | --- |

| 02-06-00476 | mist spriying machine holed by back with spare parts | 1000 |
| --- | --- | --- |
| 02-06-00477 | fogging mechine with spare parts- the A/M item should be included the followingtechnical specifications 1- self starting engine (4 storke machine ) 2- multi purposes unit cap be used for thermal foging low volume application is cold aerosol sparyer for residual treatment is larvicidespraying 3- accessorise for the control of temprerture according to the weather conditions also for regulation of the size of particls is for those of spraging 4- double spraying lances 5- adjusting value for regulation of the lange of fog generation between 400-600 m(3) /min is expenditune of 10-200 gallon/ hr 6- range of diameter of partiles 0.5-200m(micron) | 200 |

| 02-06-00478 | trailer with spare partes |  |  | 1000 |
| --- | --- | --- | --- | --- |
| 02-06-00479 | hudson x-pert 10 liter with spare partes |  |  | 2000 |
| 02-06-00480 | wheal barrow power sprayer 100 liter with spare partes |  |  | 1000 |

| 02-06-00481 | IGEPA TF 35 fog generator with spare partes |  |  | 1000 |
| --- | --- | --- | --- | --- |
| 02-06-00482 | IGEPA high performance FOG generator (jumbo) with spare partes 100 |  |  | 1000 |
| 02-06-00483 | IGEPA HD 160 with spare partes |  |  | 1000 |

| 02-06-00484 | cooling tower |  |  |  | 6 |
| --- | --- | --- | --- | --- | --- |
|  | capacity : 750 ton = 9X 10^6 Btu/hr = 2268.66 thermie /hr |  |  |  |  |
|  | water out let temp. 7-26 C0 |  |  |  |  |
|  | wet bulb temp 24.5C |  |  |  |  |
|  | water flow rate = 330 m^3 /hr |  |  |  |  |
|  | tower weight empty weight : 2630 kg |  |  |  |  |
|  | full with water : 7810kg |  |  |  |  |
|  | basin capacity : 3.74 m^3 |  |  |  |  |
|  | fans type propeller not exit than 3 fans for each tower |  |  |  |  |
|  | fans motor power :9kw |  |  |  |  |
|  | packege :type PVC or wood |  |  |  |  |

| 02-06-00485 | EQUITMENT: RADIO (WIRELESS) COMMUNICATION NET WORK FOR MEDICINES CARRYING TRUCKS |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | CONSISTING OF THE FOLLOWING:- |  |  |  |  |
|  | - NETWORK SYSTEM OPERATE WITH CODING – DECODING DEVICE |  |  |  |  |
|  | - ALL NECESSARY ANTENNA FOR THE FOLLOWING STATIONS WITH MAST (IF REQUIRED): |  |  |  |  |
|  | CENTRAL STATION WITH DESK CONTROL AND UPS FOR 6 HOURS OPERATION:-(MULTI CHANNELS) |  |  |  |  |
|  | 1. TO OPERATE ALL CHANNELS FROM ANY DESK. |  |  |  |  |
|  | 2. DISPLAY FOR CODING AND DECODING SYSTEM |  |  |  |  |
|  | 3. DIGITAL CLOCK |  |  |  |  |
|  | 4. LAMPS FOR RECEIVING, TRANSMITTING AND STAND BY.INDUCTIA |  |  |  |  |
|  | 5. SEMI-DUPLEX OPERATION (PUSH TO TRANSMIT) |  |  |  |  |
|  | 6. RF OUTPUT POWER SUFFICIENT TO COVER AN AREA OF COUNTRY OF IRAQ. |  |  |  | 4 |
|  | FIXED STATION (MULTI CHANNELS): |  |  |  |  |
|  | 7. TO COMMENCE WITH CENTRAL STATIONS AND OTHER FIXED STATIONS.. |  |  |  |  |
|  | 8. RF OUT PUT POWER SUFFICIENT TO COVER ALL COUNTRY OF IRAQ |  |  |  |  |
|  | 9. UPS FOR 6 HOURS OPERATION |  |  |  |  |
|  | 10. EXTRA LAUD SPEAKER. |  |  |  | 40 |
|  | MOBILE STATIONS |  |  |  |  |
|  | (AS FIXED STATION ABOVE) |  |  |  | 360 |
|  | 2 YEARS WARRANTY (SPARE + MEN POWER) |  |  |  |  |
|  | 3 YEARS MAINTENANCE MEN POWER ONLY TRAINING FOR 4 FROM OUR TECHNICAL STAFF FOR 3 WEEKS FREE OF CHARGE. |  |  |  |  |
|  | * SPARE PARTS LIST WITH ITEM PRICE |  |  |  |  |
|  | * FULL CATALOGS (OPERATING AND MAINTENANCE WITH CIRCUIT DIAGRAM WITH EACH UNITS). |  |  |  |  |

| 02-06-00486 | Donor chair |  |  |  | 6 |
| --- | --- | --- | --- | --- | --- |

| 02-06-00487 | Tube sealer |  |  |  |  | 4 |
| --- | --- | --- | --- | --- | --- | --- |
| 02-06-00488 | Cool box |  |  |  |  | 20 |
| 02-06-00489 | CO2 or N2O |  |  |  |  | 20 bottel |
| 02-06-00490 | fan coil unit |  |  |  |  | 2000 |
| 02-06-00491 | plasma deep freez |  |  |  |  | 300 |
| 02-06-00492 | centrifugal electric chiller |  |  |  |  | 92 |
| 02-06-00493 | Freez -20C |  |  |  |  | 2 |

| 02-06-00494 | Steam boiler |  |  |  | 54 |
| --- | --- | --- | --- | --- | --- |
|  | rating : 1000 kg/hr from 100 C0 feed water |  |  |  |  |
|  | desing : 3- pass wet back fire tube |  |  |  |  |
|  | burner : dual fule , LPG and light gas oil |  |  |  |  |
|  | standard : B.S 2790 and equivalent |  |  |  |  |
|  | quality :150 9001 |  |  |  |  |
|  | full automatic packaged boiler with atomatic blowdown system feed water pump level control , control panal , safty fitting , valves as necessary , with : |  |  |  |  |
|  | a) dual base - exchange softener of 5 m3/hr at 220 ppm water hardness |  |  |  |  |
|  | b) 10000 lt fuel tank |  |  |  |  |
|  | c) 2000 lt condensate tank |  |  |  |  |
|  | d) blow dowen receiver complete |  |  |  |  |
|  | e)5 meters chimeny |  |  |  |  |
|  | f) chemical dosing pump with tank and fitting complete |  |  |  |  |
|  | g) 5 year recommended spare parts |  |  |  |  |
|  | h) 1 year warranty |  |  |  |  |
|  | I) training of 2 engineers in factory |  |  |  |  |
|  | j) supervision on installation |  |  |  |  |

| 02-06-00495 | DUPLEX WATER SOFTENING PLANT |  |  |  | 2 set |
| --- | --- | --- | --- | --- | --- |
|  | SADDAM MEDICAL CITY |  |  |  |  |
|  | Supply a duplex water softener : |  |  |  |  |
|  | Service flow rate : 90m3\hr |  |  |  |  |
|  | .Ion exchange resin type : strong cation |  |  |  |  |
|  | Ion exchange resin volume: 3800 liters |  |  |  |  |
|  | Underbed : coarse and fine gravel |  |  |  |  |
|  | Operation mode : automatic / manual |  |  |  |  |
|  | Net capacity of softened water per regeneration /unit :950m3(based on 200 PPM input) |  |  |  |  |
|  | Regeneration initiation flow meter |  |  |  |  |
|  | Salt consumption per regeneration : 430 kg |  |  |  |  |
|  | Brine tank recharge capacity : 1.25m3 |  |  |  |  |
|  | Working presser |  | 5.0 bar max |  |  |
|  | 1.72 bar min. |  |  |  |  |
|  | electricity supply : 380v,3 phase,50 Hz |  |  |  |  |
|  | fully wird,piped assembeled on skid , control panel fitted ready to connection. |  |  |  |  |
|  | full detailed specs and drawings to be submitted |  |  |  |  |
|  | Ultraviolent water bacteria removal unit for 10 m3/hr filtered water |  |  |  | 12 |
|  | 10 m3/hr filter for drinking water,dublex sand filter with automatic controls flow intiated with full accessories |  |  |  | 12 |
|  | Set of 5-year spare parts,training,supervision on installation,test kits,consumables for one year,to be included for above. |  |  |  | 1Lot |

| 02-06-00496 | NURSE CALL SYSTEMS |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | MANUFAC.DUKANE |  |  |  |  |
|  | SADDAM MEDICAL CITY |  |  |  |  |
|  | SYSTEMS COMPLETE REBUILD, SUPLLY OF REPLACEMENT 100 CENTRAL NURSE STATIONS, DOOR INDICATORS,PATIENT |  |  |  | 2 LOT |
|  | CALL CORDS ,BUTTENS AND ACCESSORIES |  |  |  |  |
|  | INSTALLATION,SPAREPARTS FOR 5 YEARS,TRAINING |  |  |  | 2 LOT |

| 02-06-00497 | DOCTOR CALL SYSTEM |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | REPAIR OF |  |  |  |  |
|  | NIRA TELESTAR |  |  |  |  |
|  | Saddam Medical city |  |  |  |  |
|  | Wireless bleep system to cover no less than 5KM radius area, central station, with 1000 pocket receiver, message LCD, rechargeable batteries and storage battery rack.With interface unit to PABX system |  |  |  | 2 |
|  | Set of 5-year spare parts,one year consumables,training,supervision on installation |  |  |  | 2lot |
|  | 3 sets of technical documents,to be included for above |  |  |  |  |

| 02-06-00498 | Electronic master clock system |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | saddam medical city |  |  |  |  |
|  | Electronic master clock system consists of : |  |  |  | 20 |
|  | 1-master time center |  |  |  |  |
|  | 2-solid state generator |  |  |  |  |
|  | Each hour the master time center should initiate clock correction pulse which keys the solid state generators, the solid state generators in turn provide acarrier frequency current signal which transmitted over the building power wires to the wall clocks for time correction. |  |  |  |  |
|  | Replacement to SIMPLEX CLOCK SYSTEM manufactured by SIMPLEX TIME RECORDER CO.Inc (2350 master clock, 2850 solid state generator). |  |  |  |  |
|  | Spare parts for one year operation. |  |  |  |  |
|  | Secondary wall clocks, single face. |  |  |  | 200 |
|  | Secondary wall clocks, double face. |  |  |  | 100 |
|  | Set of 5-year spare parts.training.supervision on installation to be included for above |  |  |  | 2lot |

| 02-06-00499 | UNINTERRUPTIBLE POWER SUPPLY UPS |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | SADDAM MEDICAL CITY |  |  |  |  |
|  | AC POWER STATION 1.5 KVA COMPLETE WITH BATTERIES. |  |  |  | 40 |
|  | VOLTAGE INPUT : 220 VAC |  |  |  |  |
|  | OUTPUT : 220 VAC |  |  |  |  |
|  | FREQUENCY : 50 HZ |  |  |  |  |
|  | TRANSFER TIME : 50 – 100 MS |  |  |  |  |
|  | FULL RATED LOAD FOR 90 MINUTES MINIMUM |  |  |  |  |
|  | LOAD POWER FACTOR 0.85 LAY OR 1.0 LEAD |  |  |  |  |
|  | Set of 5-year spare parts,training, |  |  |  | 2LOT |

| 02-06-00500 | Central Medical VACUUM PUMP |  |  |  |
| --- | --- | --- | --- | --- |
|  | SADDAM MEDICAL CITY |  |  |  |
|  | VACUUM PUM UNIT COMPLETE |  |  | 4 |
|  | FREE AIR DISPLACEMENT AT ATMOSPHERIC PRESSURE 760MMHG 1350 L/MIN |  |  |  |
|  | VOLUMETRIC THROUGH PUT AT LINE VACUUM 4050 L/MIN, 7.5KW-MOTOR |  |  |  |
|  | VACUUM PUM UNIT COMPLETE |  |  |  |
|  | FREE AIR DISPLACEMENT AT ATMOSPHERIC PRESSURE 760MMHG 900 L/MIN |  |  | 4 |
|  | VOLUMETRIC THROUGH PUT AT LINE VACUUM 2700 L/MIN, 5KW-MOTOR |  |  |  |
|  | VACUUM PUM UNIT COMPLETE |  |  | 6 |
|  | FREE AIR DISPLACEMENT AT ATMOSPHERIC PRESSURE 760MMHG 6750 L/MIN |  |  |  |
|  | VOLUMETRIC THROUGH PUT AT LINE VACUUM 20250 L/MIN, 40KW-MOTOR |  |  |  |

| 02-06-00501 | EQUIPMENT : central telephone exchange |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | model: telecom SL-1 |  |  |  |  |
|  | company / manufacturer : northern telecom |  |  |  |  |
|  | site : saddam medical city |  |  |  |  |
|  | required is to update existing system with new central PABX which should exceed original features and services using same building wiring system and same telephone sets in addition suply of |  |  |  |  |
|  | complete system components |  |  |  |  |
|  | telephone sets |  |  |  |  |
|  | TTY/PRINTERS |  |  |  |  |
|  | attendant counsels |  |  |  |  |
|  | set of 1-year consumables |  |  |  |  |
|  | set of 5-year spare parts |  |  |  |  |
|  | set of tools and accessories |  |  |  |  |
|  | factory and on sit training |  |  |  |  |

| 02-06-00502 | equipment : steam sterilizer complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | site : saddam medical city |  |  |  |  |
|  | 200 it steam sterilizer , multi - purpose steam jacketed stainless steel chamber , sliding door free - standing , built in steam generator , air compressor ,totally enclosed by stainless steel panels , programmable, temp - press recorder , remp , press clear indicators , with loading trolly , internal basket ready to operate after connection to water supply and 380v , 3ph, 50hz power |  |  |  | 16 |
|  | as above bute 500 it |  |  |  | 8 |
|  | ro- water treatment station to suit tow of item 1 above and one of item 2 above |  |  |  | 8 |
|  | recommended 5- year spare parts training supervision on installation for above |  |  |  | 2lot |

| 02-06-00503 | PUMPS COMPLETE |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | QTY | power Rev | suction | discharg | capacity 1/s | head |
|  |  | KW sec | mm | mm |  | m |
|  | 8 | 30 48 | 100 | 75 | 16.5 | 80 |
|  | 4 | 5.5 48 | 65 | 50 | 12.5 | 35 |
|  | 4 | 10 48 | 65 | 50 | 14 | 55 |
|  | 4 | 11 48 | 65 | 50 | 10 | 65 |
|  | 8 | 0.75 24 | 50 | 37 | 4 | 10 |
|  | 6 | 18.5 24 | 150 | 100 | 56.25 | 20 |
|  | 4 | 1.1 48 | 31.25 | 25 | 3.5 | 14 |
|  | 6 | 2.25 24 | 75 | 62.5 | 8.5 | 12 |
|  | 4 | 30 24 | 150 | 125 | 28.6 | 32.8 |
|  | 4 | 0.75 24 | 56 | 50 | 3.36 | 7.5 |
|  | 4 | 2.2 24 | 86 | 50 | 5.28 | 13.5 |
|  | 4 | 7.5 24 | 100 | 65 | 15 | 25.5 |
|  | 4 | 4 24 | 125 | 100 | 17.42 | 11 |
|  | 4 | 2 0.25 | 40 | 40 | 1.5 | 3 |
|  | 4 | 4 16 | 125 | 125 | 22.5 | 9.8 |
|  | 4 | 3 16 | 125 | 125 | 12.5 | 9.8 |
|  | 8 | 2.2 48 | 50 | 50 | - | - |
|  | 8 | 0.75 24 | 65 | 65 | 3.22 | 7 |
|  | 2 | 2.2 24 | 65 | 65 | 3.24 | 7 |
|  | 2 | 3 24 | 50 | 50 | - | 5 |
|  | 2 | 1.1 24 | 65 | 40 | 3 | 11 |
|  | 2 | 2.2 24 | 80 | 50 | 4 | 12 |
|  | 2 | 1.5 24 | 80 | 50 | 5 | 11 |
|  | 2 | 2.2 24 | 80 | 50 | 7 | 12 |
|  | 2 | 2.2 24 | 80 | 50 | 8 | 12 |
|  | 20 | Mobile on wheels |  |  | 20 | 20 |
|  | 20 | Portable with extension cable |  |  | 20 | 3 |
|  | 40 | 4 48 | _ | 75 | 5 | 20 |
|  | 20 | 8 48 | _ | 100 | 6 | 20 |
|  | 40 | 2 48 | _ | 50 | 4.2 | 20 |

| 02-06-00504 | BATTERIES |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Saddam Medical city |  |  |  |  |
|  | Nickel cadmium battery block ,24vdc,280AH,shipped dry with sufficient quantity of electrolyte ,suitable for standby generator starter |  |  |  | 30 |
|  | As above but 110vdc,100ah,suitable for electrical switchgears |  |  |  | 24 |

|  | Kitchen equipment |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | saddam medical city |  |  |  |  |
| 02-06-00505 | Boiling pan,electric: |  |  |  | 52 |
|  | 100 Lt , s/s with water inlet , discharge faucet , LPG control safty valve , jackted , floor mounted , electric heated, controlled with all accessories and spare parts for one year operation |  |  |  |  |
| 02-06-00506 | Boiling pan, steam : |  |  |  | 8 |
|  | As above but steam heated, controlled, with all accessories and spare parts for one year operation. |  |  |  |  |
| 02-06-00507 | deep fryer electric |  |  |  | 36 |
|  | Double well with baskets, covers, all s/s , temperature control, floor mounted, dimensions approx. 600*800*650 |  |  |  |  |
|  | electric operated , 380 V /50 hz /3ph, thermostatic control , timer |  |  |  |  |
|  | , with all accessories and spare parts for one year operation. |  |  |  |  |
| 02-06-00508 | Cooker, electric range : |  |  |  | 4 |
|  | With oven, 5 ft3, s/s body, burners, dim. Approx. 900*900*800, pilot flame, controls, industrial design. |  |  |  |  |
|  | electric , thermostat control , (18 )kw total load , 4 hot plates |  |  |  |  |
|  | With all accessories and spare parts for one year operation. |  |  |  |  |

| 02-06-00509 | Meat mincer : |  |  |  |  | 10 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Heavy duty meat grinder, 1.5 Hp motor capacity, not less than 200Kg/Hr, With all accessories and spare parts for one year operation. |  |  |  |  |  |
| 02-06-00510 | Meat saw : |  |  |  |  | 6 |
|  | Floor mounted, s/s table and parts, dim. Approx.900*600mm working table, 1.5 Hp motor, full protections and controls, With all accessories and spare parts for one year operation. |  |  |  |  |  |

| 02-06-00511 | Slicer : |  |  |  |  | 2 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Heavy-duty compact food Slicer, s/s and aluminum finish table type, gravity feed, 0.25 Hp motor, 220V. With all accessories and spare parts for one year operation. |  |  |  |  |  |
| 02-06-00512 | Grill, gaseous : |  |  |  |  | 26 |
|  | Approx. Dim. 800*500*450, with adjustable levels, floor mounted s/s external finish, adjustable heat of (10) kW, With all accessories and spare parts for one year operation. |  |  |  |  |  |

| 02-06-00513 | Oven, gaseous : |  |  |  | 32 |
| --- | --- | --- | --- | --- | --- |
|  | Approx. dim. 1000*800*600 depth oven, glass door, adjustable temp., shelving, all s/s construction,temp. indicator, timer, With all accessories and spare parts for one year operation. |  |  |  |  |
| 02-06-00514 | Oven, electric : |  |  |  | 8 |
|  | As above but electric powered, 15kw,380V/50Hz/3Ph. |  |  |  |  |
| 02-06-00515 | Food cutter : |  |  |  | 8 |
|  | 14” bowl, food cutter, all s/s, adjustable speed, easy cleanable, table mounted, With all accessories, attachments and spare parts for one year operation. |  |  |  |  |

| 02-06-00516 | Food mixing machine : |  |  |  |  | 6 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Floor mounted, 1/3 Hp, 1-pH motor, adjustable speed, mixing bowl 20 quart, with full set of attachment, meat chopper,and meat slicer,. , With all accessories and spare parts for one year operation. |  |  |  |  |  |
| 02-06-00517 | Kettle electrical |  |  |  |  | 40 |
|  | 5-LT boiling kettle, controlled, all s/s with insulated handles and base. With all accessories and spare parts for one year operation. |  |  |  |  |  |
| 02-06-00518 | Tea urn : |  |  |  |  | 22 |
|  | 20-LT electric tea urn, adjustable temp. with thermostat and thermometer, level gauge, all s/s, with insulated handles and base. With all accessories and spare parts for one year operation. |  |  |  |  |  |
| 02-06-00519 | Potato peeler : |  |  |  |  | 6 |
|  | Floor mounted, 8-LT load, 1/2Hpmotor, with all attachments, With all accessories and spare parts for one year operation. |  |  |  |  |  |
| 02-06-00520 | Hot cupboard : |  |  |  |  | 8 |
|  | 110*650*800 height, electric heated, 50-130 C, controlled, all s/s, sliding doors, heated top, insulated feet. With all accessories and spare parts for one year operation. |  |  |  |  |  |
| 02-06-00521 | Ice cube machine : |  |  |  |  | 64 |
|  | Chest type with storage bin, 2kg/hr, ice making machine,all s/s, automatic operation, With all accessories and spare parts for one year operation. |  |  |  |  |  |

02-06-00522	Insect killer :				50

Hanging U.V. lamp, industrial insect killer with HV grid, collection tray, With all accessories and spare parts for one-year operation.

| 02-06-00523 | Sink and table : |  |  |  | 14 |
| --- | --- | --- | --- | --- | --- |
|  | Heavy gauge s/s, round edges back splash able double bowl mounted on s/s approx dim : 2100x650x900 with all accessories and spare parts for one year operation |  |  |  |  |
| 02-06-00524 | Preparation table : |  |  |  | 6 |
|  | Heavy gauge s/s, round edges table, mounted on s/s legs, with low grid shelf, dim.:2100*650*900, wood reinforced. |  |  |  |  |
|  | With all accessories and spare parts for 1- year operation. |  |  |  |  |
| 02-06-00525 | Mobile sink : |  |  |  | 14 |
|  | Sink (1)meter s/s, on castors, 220 LT with drain valve. With all accessories and spare parts for one year operation. |  |  |  |  |
| 02-06-00526 | Stainless steel shelving : |  |  |  | 8 |
|  | Heavy gauge shelving adjustable height of 4-shelves per unit dims. 1400*550*800 height, post 35mm2 s/s |  |  |  |  |

| 02-06-00527 | Convection oven : |  |  |  | 8 |
| --- | --- | --- | --- | --- | --- |
|  | Electric operated, (10)shelves of 500*650mm up to 180C, floor mounted, adjustable temp., timer, heavy duty motor/fan, glass doors, over all dim. 900*900*750 on legs of 650 mm height, 10-15 kW, 380v, s/s construction, well insulated, with 20 pans, pan carrier and trolley, With all accessories and spare parts for one year operation. |  |  |  |  |

| 02-06-00528 | Medium voltage switchgear |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | saddam Medical city |  |  |  |  |  |
|  | Type |  |  | Closing voltage | Tripping voltage |  |
|  | Air circuit breaker AH-40C |  |  | 220vac | 24vdc | 8 |
|  | Air circuit breaker AH-50C |  |  | 220vac | 24vdc | 8 |
|  | Air circuit breaker AH-40C |  |  | 220vac | 24vdc | 6 |
|  | Air circuit breaker AH-30C |  |  | 220vac | 220vdc | 6 |
|  | Air circuit breaker AH-30C |  |  | 220vac | 24vdc | 8 |
|  | Air circuit breaker AH-30C |  |  | 220vac | 24vdc | 6 |
|  | The offer should include the following accessories: |  |  |  |  |  |
|  | 1-tester type OCR ANH-1B, qty:1 |  |  |  |  |  |
|  | 2-tester type ANR-1 portable checker, qty:1 |  |  |  |  |  |
|  | 3-JWB-6 lifter loader (HB)AH50C/60C 3P, qty:1 |  |  |  |  |  |
|  | 4-JWB-O-H loader for AH50C, qty:1 |  |  |  |  |  |
|  | 5-JWB-O B34 loader for AH40C 4P, qty:2 |  |  |  |  |  |
|  | 6-JWB B33 loader, qty:2 |  |  |  |  |  |
|  | 7-JWB-O-M extension rail, qty:4 |  |  |  |  |  |
|  | 8-JWB-O-P extension rail, qty:1 |  |  |  |  |  |
|  | Offer should include training of 2-engineer for 2-weeks. |  |  |  |  |  |
|  | Offer should include original catalogues for operation and maintenance of circuit breakers and checkers. |  |  |  |  |  |

Vehicles

saddamMedical city

| 02-06-00529 | Passengers intercity staff bus .40 to 50 passengers,automatic doors ,diesel engine,air condtioned,apholestered chairs stainless steele fram,sliding glass windows with curtains,rubber mat floor, tinted windshield , stereo radio-recorder,ceiling hanging grips, | 20 |
| --- | --- | --- |
| 02-06-00530 | Passegers staff mini bus 20-30 persons ,and as above | 20 |
| 02-06-00531 | Fire fighting vehicle.turntable telescopic up to 30 meters ladder with rescue cage, with adjustable fire hose and jet,fully equiped for fire fighting ,rescue and maintenance tasks,non skid platforms,flood and spot light projectors, | 8 |
| 02-06-00532 | Fire fighting water tank vehicle of 13000 lt ,with pump 1000lt/min at 10bars,diesel engine with accessories | 4 |
| 02-06-00533 | Mini excavator of 1 meter width 30 liters bucket,less than 25hp engine,hydraulic system, closed glass canopy,heavy rubber tracking chain,with concrete digging attachment,full accessories. | 4 |
|  | 5-year spare parts,inspection befor e contracting ,training on repair and maintenance in the manufacturers workshops.for 2 engineers on above items | 2 Lot |

EQUIPMENT: SUB – STATION

SADDAM MEDICAL CITY

| 02-06-00534 | STEPDOWN TRANSFORMER DELTA/ STAR 11000/400VOLT, 3500KVA, 50HZ,DRY TYPE,TOTALLY ENCLOSED, INDOOR MOUNTED AND SHALL BE BUILT IN ACORDANCE WITH THE LATEST SPECIFICATION OF BS AND\OR IEC | 6 |
| --- | --- | --- |
|  | 115 C RISE ABOVE 50 C AMBIANT , CAPABLE OF CARRYING 15% CONTINUOS OVERLOAD WITHOUT EXCEEDING A 150 C RISE |  |
| 02-06-00535 | A COMPLETE HIGH VOLTAGE SUB-STATION CAPABLE OF FEEDING 3 TRANSFORMERS ; ONE SWITCHGEAR FOR EACH AND A MAIN INCOMMING FEEDER | 2 |
|  | THE H. V SWITCHGEAR SHALL BE HORIZONTAL DRAW OUT C. B ,INDOOR CONSTRUCTION ,WEATHER PROOF , VOLTAGE RATTING 15 KV, SYSTEM VOLTAGE 11 KV, 3 PHASE, 3 WIRE, 50 Hz. |  |
|  | DESIGNED MANUFACTURED AND TESTED ACCORDING TO THE BS AND\OR IEC CODE ,WITH ALL PROTECTION AND METERING EQUIPMENTS , THE BREAKER SHAL BE OPERATED BY A MOTOR CHARGED SPRING THE STORED ENERGY MECHANISIM, 110 OR 24 VDC AND IN AN EMERGENCY BY A MANUAL HANDLE, THE SUB-STATION SHALL CONSISTS OF A DC CHARGER 110V OR 24V |  |
| 02-06-00536 | MEDIUM VOLTAGE SWITCH BORD MAIN AND TIE CB, SHALL CONSIST OF 3-MAIN INCOMMING FEEDERS FROM THE TRANSFORMERS AND 9-OUTGOING FEEDERS TO FEED 9-CHILLERS OF 1508 AMP EACH, AND 2 TIE BREAKER AND SHALL BE INTERLOCKED WITH THE MAIN BREAKERS SO BOTH BREAKERS CAN NOT BE CLOSED SIMULTENEOUSLY. | 2 |
|  | THE MAIN AND TIE CB’S SHALL BE THE FUSED DRAWOUT TYPE, MECHANICALY AND ELECTRICALY OPERATED AIR CB’S , WITH ALL PROTECTION AND METERING EQUIPMENTS , CALIBRATIONS AND ADJUSTMENTS SHALL BE IN ACCORDANCE WITH I. E. C STANDERDS |  |

| 02-06-00537 | BUSWAYS 5000 AMP. RATING |  | 160meters |
| --- | --- | --- | --- |
|  | PROVIDE TOTALLY INCLOSED WEATHER PROOF LOW IMPEDANCE BUS WAYS BETWEEN TRANSFORMERS SECONDARIES AND M. V MAINSWITCH BORDS , COMPLETE WITH INCLOSURE , ELBOWS , FITTINGS SUPPORTS , HANGING DEVICES ,ACCESSORIES, CABLE TAP BOXES. |  |  |
|  | BUSWAY SHALL BE 220/380 V , 3 PHASE ,4 WIRE , 50 Hz. |  |  |
|  | BUSBARS SHALL BE COPPER FABRICATED FROM 98% CONDUCTIVITY COPPER ,SILVER PLATED OVER THE INTIRE LENGTH |  |  |
| 02-06-00538 | BUSWAYS, 1600 AMP. RATING. |  | 1500 meters |
|  | AS ABOVE BUT BETWEEN MV MAIN SWITCH BORD NAD TO 9-CHILLERS EACH 1500 AMP. FLC |  |  |
|  | 5-YEAR RECOMMENDED SPARE PARTS,SUPERVISION ON INSTALLATION,COMMISSIONING,TRAINING ,FOR ALL ABOVE |  | 2 LOT |

| 02-06-00539 | PUMPS WITH MOTORS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | 380 V/ 3PH/ 50HZ,TYPE SPLASH PROOF MOTOR |  |  |  |  |  |
|  | SADDAM MEDICAL CITY |  |  |  |  |  |
|  | MODEL | KW | HEAD (M) | FLOW (L/S) | RPM |  |
|  | 12LN21 | 340 | 36 | 650 | 1440 | 12 |
|  | 12LN17 | 265 | 52. 5 | 335 | 1440 | 20 |
|  | 12LN17 | 224 | 36 | 372 | 1440 | 8 |
|  | ERP80-400 | 150 | 140 | 30 | 2880 | 4 |
|  | 12LA2 | 150 | 25. 5 | 415 | 1440 | 4 |
|  | 12LA2 | 90 | 30 | 300 | 1440 | 6 |
|  | 10LA3 | 90 | 30 | 170 | 1440 | 4 |
|  | 10LA3 | 90 | 43. 3 | 142. 3 | 1440 | 4 |
|  | 65WP315 | 75 | 132. 5 | 22. 5 | 2880 | 4 |
|  | 6L3 | 55 | 32 | 101. 29 | 1440 | 4 |
|  | 6L3 | 55 | 52. 5 | 52. 24 | 1440 | 4 |
|  | 65WP315 | 55 | 103 | 22. 5 | 2880 | 6 |
|  | ERP60-200 | 45 | 190 | 7. 57 | 2880 | 12 |
|  | 50wp315 | 37 | 103 | 10 | 2880 | 6 |
|  | 65WP250 | 37 | 68. 6 | 22. 5 | 2880 | 6 |
|  | 6L3 | 37 | 34 | 55. 5 | 1440 | 6 |
|  | 6L3 | 30 | 27 | 98. 5 | 1440 | 4 |
|  | 100WP200 | 30 | 37 | 43. 1 | 2880 | 4 |
|  | 80WP160 | 15 | 24 | 30 | 2880 | 4 |
|  | 1 ½ TM2 | 15 | 132. 5 | 2. 5 | 2880 | 2 |
|  | 40WP200 | 11 | 45 | 7. 57 | 2880 | 4 |
|  | 40WP200 | 11 | 55 | 4. 36 | 2880 | 4 |
|  | 1 ¼ TM43 | 7. 5 | 68. 6 | 2. 25 | 2880 | 2 |
|  | 4L1 | 5. 5 | 9 | 30. 61 | 1440 | 4 |
|  | 100WP 200 | 4 | 11 | 17. 42 | 1440 | 4 |
|  | 1 ¼ TM22 | 4 | 83. 3 | 1 | 2880 | 6 |
|  | 3L1 | 3 | 8 | 15. 86 | 1440 | 4 |
|  | 3dv2 | 3 | - | - | 2880 | 4 |
|  | 32wp160 | 1.5 | 14.6 | 2.25 | 2880 | 4 |

| 02-06-00540 | equipment : air compreesor |  |  |  | 24 |
| --- | --- | --- | --- | --- | --- |
|  | trolly units attas capco |  |  |  |  |
|  | tank capacity 20 litter |  |  |  |  |
|  | model of comp. : LXF 06 |  |  |  |  |
|  | motor : 1 ph, 50 hz, 220 v , 0.55 kw |  |  |  |  |

| 02-06-00541 | equipment : electric distribution |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | C.B type SACE,50HZ, 3PH, 660V,1600A |  |  |  | 8 |
|  | C.B type SACE,50HZ, 3PH, 660V,1250A |  |  |  | 12 |
|  | C.B type SACE,50HZ, 3PH, 660V,630A Awith motor |  |  |  | 40 |
|  | C.B type BBC 600,50HZ,1PH,(250-380)V,32A |  |  |  | 500 |
|  | C.B type BBC 600,50HZ,1PH,(250-380)V,10A |  |  |  | 500 |
|  | LIP-Air C.B 600V,1600A |  |  |  | 8 |
|  | MCCB,3P,(380-400)V,H,1600A |  |  |  | 32 |
|  | MCCB,3P,(380-400)V,H,1250A |  |  |  | 10 |
|  | MCCB,3P,(380-400)V,H,1000A |  |  |  | 32 |
|  | MCCB,3P,(380-400)V,H,800A |  |  |  | 6 |
|  | MCCB,3P,(380-400)V,H,600A |  |  |  | 24 |
|  | MCCB,3P,(380-400)V,H,500A |  |  |  | 4 |
|  | MCCB,3P,(380-400)V,H,400A |  |  |  | 40 |
|  | MCCB,3P,(380-400)V,H,350A |  |  |  | 8 |
|  | MCCB,3P,(380-400)V,H,250A |  |  |  | 218 |
|  | MCCB,3P,(380-400)V,H,225A |  |  |  | 62 |
|  | MCCB,3P,(380-400)V,H,200A |  |  |  | 112 |
|  | MCCB,3P,(380-400)V,H,175A |  |  |  | 62 |
|  | MCCB,3P,(380-400)V,H150A |  |  |  | 50 |
|  | MCCB,3P,(380-400)V,H,125A |  |  |  | 50 |
|  | MCCB,3P,(380-400)V,H,100A |  |  |  | 184 |
|  | MCCB,3P,(380-400)V,H,80A |  |  |  | 68 |
|  | MCCB,3P,(380-400)V,H,75A |  |  |  | 50 |
|  | MCCB,3P,(380-400)V,H,63A |  |  |  | 122 |
|  | MCCB,3P,(380-400)V,H,50A |  |  |  | 100 |
|  | MCCB,3P,(380-400)V,H,30A |  |  |  | 202 |
|  | MCCB,3P,(380-400)V,H,20A |  |  |  | 112 |
|  | MCCB,3P,(380-400)V,H,15A |  |  |  | 100 |
|  | ELB-GR-50-2P 220V 30A |  |  |  | 50 |
|  | ELB-GR-50-2P 220V 20A |  |  |  | 50 |
|  | ELB-GR-50-2P 220V 15A |  |  |  | 50 |
|  | ELB-GR-50-2P 220V 150A |  |  |  | 50 |
|  | MCCB 1P 220V 15A |  |  |  | 400 |
|  | MCCB 4P (220-380)V 400A |  |  |  | 50 |
|  | MCCB 4P (220-380)V 225A |  |  |  | 50 |
|  | MCCB 4P (220-380)V 100A |  |  |  | 50 |
|  | MCCB 4P (220-380)V 50A |  |  |  | 50 |
|  | MCCB with aux.contact and alarm contact 380V 3P 5A |  |  |  | 50 |
|  | as above 30A |  |  |  | 50 |
|  | as above 15A |  |  |  | 50 |
|  | as above bot 220V 2P 150A |  |  |  | 50 |
|  | free fuse C.B 380V wall mounted 1000A |  |  |  | 8 |
|  | complete star-Delta control for motor 7.5HP with air compressor 5HP |  |  |  | 8 |
|  | complete star-Delta motor control 100KW |  |  |  | 4 |
|  | complete star-Delta motor control 50KW |  |  |  | 4 |
|  | complete star-Delta motor control 40KW |  |  |  | 4 |
|  | complete star-Delta motor control 20KW |  |  |  | 6 |
|  | complete direct on line single stage motor starting |  |  |  | 2 |
|  | MCCB single phase-50A |  |  |  | 2 |
|  | MCCB single phase-30A |  |  |  | 4 |
|  | MCCB single phase-10A |  |  |  | 2 |
|  | H-VAC-vacum C.B HT 12KV 600A |  |  |  | 4 |
|  | main switch 220V 30A |  |  |  | 40 |
|  | main switch 380V 60A |  |  |  | 40 |
|  | main switch 220V 100A |  |  |  | 40 |
|  | main switch 220V 150A |  |  |  | 40 |

| 02-06-00542 | flat work ironer |  |  |  | 200 |
| --- | --- | --- | --- | --- | --- |
| 02-06-00543 | children clothes press |  |  |  | 200 |
| 02-06-00544 | boat for river survay ( 8 horse , using benzene as fule capacity 7 persons |  |  |  | 32 |

| 02-06-00545 | PUMPS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | type |  | KW | Q m^3/hr | H m |  |
|  | condenser pump |  | 11 | 102 | 4 | 10 |
|  | chiller pump |  | 14 | 81.7 | 40 | 10 |
|  | sanitery pump for 30m head |  | 7 | 100 | 30 | 10 |

| 02-06-00546 | Boiler |  |  |  |  | 2 |
| --- | --- | --- | --- | --- | --- | --- |
|  | sapcabloc press 3G |  |  |  |  |  |
|  | N-307447 / type 418m / 220-380V / 50HZ / 2-3KVA / 23/45 - 100KG/h/ 273 / 534 - 1186KW combust - fuel max visc 20c / 6mm^3/s (1.5E) / 1979 |  |  |  |  |  |
| 02-06-00547 | inter com system withall accissorice |  |  |  |  | 2 |
| 02-06-00548 | Wall clock with seconds indicator |  |  |  |  | 2 |
| 02-06-00549 | taelephone-intercom |  |  |  |  | 2 |
| 02-06-00550 | Air compresser |  |  |  |  | 44 |
|  | dupllex with atank complete press. 7Kg/Cm^2 |  |  |  |  |  |
|  | No.of cylinder 2 |  |  |  |  |  |
|  | capacity 400 L/M 3.7KW x 3Q x 380V |  |  |  |  |  |
|  | air tank capacity 520 L |  |  |  |  |  |
|  | one work other stand by |  |  |  |  |  |
|  | installation for the system |  |  |  |  |  |
|  | spare part for years |  |  |  |  |  |
|  | trining for the stat |  |  |  |  |  |
|  | cotalag yor system |  |  |  |  |  |

| 02-06-00551 | Medical oxygen units |  |  |  | 6 |
| --- | --- | --- | --- | --- | --- |
|  | 1-compressor |  |  |  |  |
|  | 2-air seperation unit + msun |  |  |  |  |
|  | 3-stiriling cryogenerator |  |  |  |  |
|  | 4-500 liter storage vessel with level control |  |  |  |  |
|  | 5-super charger with clyinder filling machine up to 150PSI |  |  |  |  |
|  | 6-fully automatic start and stop |  |  |  |  |
|  | 7-at least 10/minute start up |  |  |  |  |
|  | 8-lowest energy consumption |  |  |  |  |
|  | 9-low noise level |  |  |  |  |
|  | 10-automatic restart after power failar |  |  |  |  |
|  | 11-cooling systemwater (cooling tower) with softner or by chiller |  |  |  |  |
|  | 12-warking machine at ambient tempretuer (50-65)c |  |  |  |  |
|  | 13-impurity at least 99.5% medical use |  |  |  |  |
|  | 14-produces at least (50liter lequid to70)/hour. |  |  |  |  |

| 02-06-00552 | condensor water pump |  |  | 6 |
| --- | --- | --- | --- | --- |
|  | 400V 1500r.P.m 3Q 6"X6" |  |  |  |

| 02-06-00553 | Mini bus |  |  |  |  | 200 |
| --- | --- | --- | --- | --- | --- | --- |
|  | passanger shaft mini bus 10-20 person |  |  |  |  |  |
|  | gasolen engine air conditioning and heating |  |  |  |  |  |
|  | power steern manual gear with floor shift |  |  |  |  |  |
|  | two doors on the front,one in each side with middle door in the right sid |  |  |  |  |  |
|  | all around window ,each side window is double and slading |  |  |  |  |  |
|  | two view mirror in eacg side and one internal |  |  |  |  |  |
|  | radio and cassete recorder |  |  |  |  |  |
|  | all execary should be heavey duty |  |  |  |  |  |
|  | spare part for tow years |  |  |  |  |  |

| 02-06-00554 | Motor cycle |  |  |  | 500 |
| --- | --- | --- | --- | --- | --- |
|  | Petrol Engine |  |  |  |  |
|  | Suitable size |  |  |  |  |
|  | Capacity of carrying:- Two persons. |  |  |  |  |
|  | Equipped with full accessories |  |  |  |  |
|  | Warranty & Maintenance for 2 years |  |  |  |  |
|  | Lest of spare part for 2 years |  |  |  |  |
|  | Training for 3 technicians |  |  |  |  |

| 02-06-00555 | Motor cycle with side vehicle |  |  |  | 500 |
| --- | --- | --- | --- | --- | --- |
|  | Petrol Engine |  |  |  |  |
|  | Suitable size |  |  |  |  |
|  | Capacity of carrying:- Three persons. |  |  |  |  |
|  | Equipped with full accessories |  |  |  |  |
|  | Warranty & Maintenance for 2 years |  |  |  |  |
|  | Lest of spare part for 2 years |  |  |  |  |
|  | Training for 3 technicians |  |  |  |  |

| 02-06-00556 | garbage collection vehicle |  |  |  | 60 |
| --- | --- | --- | --- | --- | --- |
|  | 1) basic vehicle |  |  |  |  |
|  | 1- type : forward control |  |  |  |  |
|  | 2- drive 4X2 |  |  |  |  |
|  | 3- engine : diesel engine water cooled |  |  |  |  |
|  | 4- electrical equipment : 24 v 12vX2batteries 120 Ah at 20 hr |  |  |  |  |
|  | 5- transmission : manual power assist |  |  |  |  |
|  | 6- clutch : hydraulic control , singl dry plate with air pressure assistance |  |  |  |  |
|  | 7- tires :single front dual rear |  |  |  |  |
|  | 8- steering :left hand steering ball mute type with integral type hydraulic power booster telescopic and tilt steering column with steering lock |  |  |  |  |
|  | 9- front suspensions : laminated leaf springs with shock absorbers |  |  |  |  |
|  | 10- rear suspensions : laminated leaf springs |  |  |  |  |
|  | 11- front :parallel tapered channel section type with crossmember and reinforcements |  |  |  |  |
|  | 12- fuel tank :250 liters |  |  |  |  |
|  | 13- drivers cab : all steel titl cab equipped with A/C |  |  |  |  |
|  | 14- paint : finish coat crystal white |  |  |  |  |
|  | 15- measurement : metric (km/h) |  |  |  |  |
|  | 16- brakes : service :air over hydraulic with dvel circuit |  |  |  |  |
|  | parking : internal expanding type on propeller shift |  |  |  |  |
|  | auxiliary : exhaust brake |  |  |  |  |
|  | 17- cooling system :radiator : corrugated fin type with pressure cap and surge tank |  |  |  |  |
|  | fan: multi- blades steel |  |  |  |  |
|  | 18- Caution Plate : Arabic |  |  |  |  |
|  | 2) garbage container |  |  |  |  |
|  | 1- container volume : (12-16) m3 |  |  |  |  |
|  | 2- contanier structure :suitable steel or metal |  |  |  |  |
|  | 3- loading mechanism :- hydraulically controlled mechanical press type |  |  |  |  |
|  | 4- with full accessories for all vehicle & container |  |  |  |  |
|  | *training for three technicians |  |  |  |  |
|  | * warranty & maintenance for tow years |  |  |  |  |
|  | *lest of spare part for 2 years |  |  |  |  |

| 02-06-00557 | Eleveters |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | 1-technical opecifications |  |  |  |  |  |
|  | a-full electronic control sistem for operation and level selection conteining all necessery equipments for protection and supervision |  |  |  |  |  |
|  | b-type of control 3V -3F,elevater continioys speed : (0.5-2.5) M/sec-adjustable according to capacity and number of levels |  |  |  |  |  |
|  | c-door opnning : automatic and swing according to the site biulding |  |  |  |  |  |
|  | d-emergency power supply (ups) providing necessry electric power at least for stopping the carriege at nearest level as well as the control system contain back up batteries for saving stored data for at least 1000 hours |  |  |  |  |  |
|  | e-ambient tempreture 0-50C and 90% hum |  |  |  |  |  |
|  | f-the system contain data terminal (pc-bored)for operation maintenance, diognosis ,reed proqrams and reprograming,with probability to remote maintenanct |  |  |  |  |  |
|  | g-the system contain (4)four stopping stages at final up and final down |  |  |  |  |  |
|  | h-the carrieg modle from stainless-steel with smooth surface,painted with standard coulor with non -slipery platform,containing emergency lighting and ventilation,with communication limk between the systen and to the telphone exchange,also contain at T.system |  |  |  |  |  |
|  | 2-installation equipments on sites with all accesseries. |  |  |  |  |  |
|  | 3-one year warranty and two years maintenance after period of warranty . |  |  |  |  |  |
|  | 4-fraining on factoru for 6-technical staff x 3weeks and local traing during installuation |  |  |  |  |  |
|  | 5-spare parts for 5 years |  |  |  |  |  |
|  | 6-quantities as per schedule. |  |  |  |  |  |
|  | type | 180 kg | 500 kg | 750 kg | 1000 kg | 1200 kg |
|  | passenger | _ | 70 | 70 | 60 | _ |
|  | bed lift | _ | _ | _ | _ | 60 |
|  | service | 4 | _ | 36 | _ | _ |

| 02-06-00558 | Medical oxygen plant |  |  |  | 200 |
| --- | --- | --- | --- | --- | --- |
|  | 1-compressor |  |  |  |  |
|  | 2-air seperation unit+ msun |  |  |  |  |
|  | 3-stiriling cryogenerator |  |  |  |  |
|  | 4-500 liter storage vessel with level control |  |  |  |  |
|  | 5-super charger with clyinder filling machine up to 150PSI |  |  |  |  |
|  | 6-fully automatic start and stop |  |  |  |  |
|  | 7-at least 10/minute start up |  |  |  |  |
|  | 8-lowest energy consumption |  |  |  |  |
|  | 9-low noise level |  |  |  |  |
|  | 10-automatic restart after power failar |  |  |  |  |
|  | 11-cooling systemwater (cooling tower) with softner or by chiller |  |  |  |  |
|  | 12-warking machine at ambient tempretuer (50-65)c |  |  |  |  |
|  | 13-impurity at least 99.5% medical use |  |  |  |  |
|  | 14-produces at least (150 liter lequid to 2000)/hour. |  |  |  |  |
|  | 15- warranty one year after operation |  |  |  |  |
|  | 16- maintanence (2)tow years after warrenty |  |  |  |  |
|  | 17- 5 years spare parts |  |  |  |  |
|  | 18- training of engineering staff in the factory |  |  |  |  |

| 02-06-00559 | POWER SUPPLY |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | U.P.S |  |  |  |  |  |
|  | 2 KVA |  |  |  |  | 100 |
|  | 3 KVA |  |  |  |  | 60 |
|  | 5 KVA |  |  |  |  | 100 |
|  | 10 KVA |  |  |  |  | 40 |
|  | battery charger |  |  |  |  |  |
|  | 24 VDC/ UP TO 100 AMP |  |  |  |  | 300 |
|  | 12 VDC/20 A |  |  |  |  | 200 |
|  | 110 VDC/60A |  |  |  |  | 40 |

| 02-06-00560 | cooling for operating room |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Air conditining equipment for operating theaters as following |  |  |  |  |  |
|  | Cooling capacity |  |  |  |  |  |
|  | 1- air conditining system is working with 100% fresh air |  |  |  |  |  |
|  | 2- requried room conditions |  |  |  |  |  |
|  |  | room temperature 20-25 Co |  |  |  |  |
|  |  | relative humidity 45-60 % r.h |  |  |  |  |
|  | 3- ambient temp 60 Co |  |  |  |  |  |
|  | 4- cooling and heating |  |  |  |  |  |
|  | 5- heating electric heater direct without hot water boilers |  |  |  |  |  |
|  | air condtioning plant mainly consisty at |  |  |  |  |  |
|  | 1- air cooled condensor |  |  |  |  |  |
|  | 2- cold water pumps |  |  |  |  |  |
|  | 3-exaust air handing unit |  |  |  |  |  |
|  | 4-of supply air ceiling system with high efficiency filter high type (s) with: |  |  |  |  |  |
|  | a- filter ceiling air outlet with high efficiency filter type (s) |  |  |  |  |  |
|  | b- control and regulation system |  |  |  |  |  |
|  | c- steam humidifier filter class (b) ,c sound absorber for supply and exhaust air duct system with nessary insulation air tight damper tight grill weather proof louvers cold water lines with insulation and electric cable and any other part for the system |  |  |  |  |  |
|  | 6-spare parts for five years |  |  |  |  |  |
|  | 7- training for 3 engineer in the manufacturer factory |  |  |  |  |  |
|  | capacity |  |  |  |  | qty |
|  | 2 ton |  |  |  |  | 24 |
|  | 5 ton |  |  |  |  | 86 |
|  | 10 ton |  |  |  |  | 18 |
|  | 15 ton |  |  |  |  | 20 |
|  | 20 ton |  |  |  |  | 16 |

| 02-06-00561 | digital ISDN network |  |  |  | 2 |
| --- | --- | --- | --- | --- | --- |
|  | * the system consist of following no. central station (exchange) 500 port no. 14 branch station (exchange ) extandable to 30 each branch 120 ports |  |  |  |  |
|  | * the communication way between the control station and the branches either VIA PTT or by micro wave form |  |  |  |  |
|  | * the system able to be connected with fier alarm system and security system (prefer to be including with the offer ) and air conditioning system or any other system in the branch sites |  |  |  |  |
|  | * istallation including all necessory accissories |  |  |  |  |
|  | * warrenty one year from operation time |  |  |  |  |
|  | maintenance tow years after period of warrenty |  |  |  |  |
|  | * spare parts for 3 years |  |  |  |  |
|  | * traning on factory of equipment and local training during installation |  |  |  |  |

| 02-06-00562 | specification of fire fighting system (automatic - sprinkler system) |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | design manfacutre diliver and installation of an automatic roop sprinklers system in the warehouse in different sites including the following equipment persite |  |  |  |  |
|  | site specification :- |  |  |  |  |
|  | 1- effective warehouse area 8000 m2 , height 10m |  |  |  | 6 |
|  | 2- effective warehouse area 12500m2 , height 6m |  |  |  | 2 |
|  | 3- effective warehouse area 2000 m2 , height 4.5m |  |  |  | 14 |
|  | 4- effective warehouse area 2500 m2 , height 11m |  |  |  | 2 |
|  | 5- effective warehouse area 10000 m2 , height 5m |  |  |  | 2 |
|  | 6- effective warehouse area 25000 m2 , height 14m |  |  |  | 2 |
|  | 7- effective warehouse area 20000 m2 , height 8m |  |  |  | 2 |
|  | the equipment requirement |  |  |  |  |
|  | a- all necessory pipe work fitting hanger and sprinkler heads |  |  |  |  |
|  | b- all necessory installation controlling valve and ander ground main to connect to the water storge tank |  |  |  |  |
|  | c- pump house complete with pipe work including valves and fittings |  |  |  |  |
|  | d- three automatic fire pumps two electrical and one diesel driven each rated at 3600 dm3/min at 8.5 bars |  |  |  |  |
|  | e- one culindrical galvanised steel water storge tank with an effective capacity |  |  |  |  |
|  | f- an electrically operated and pully automatic jockey pump |  |  |  |  |
|  | g- complete electrical control boards |  |  |  |  |
|  | h- eight pir exitination and fir caben with hose |  |  |  |  |
|  | I- spare parts for 3 years |  |  |  |  |
|  | j- warrnty one year ( label + material) and two year mantinance |  |  |  |  |
|  | k- training of factory of equipment for 3 technicians |  |  |  |  |

| 02-06-00563 | transformer |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | 1000 kva , 11 kv/380 v , 2500a, delta /star , 50 hz , oil cooling |  |  |  | 40 |
|  | 630 kva , 11 kv /400v-240v, delta/star, 50 hz ,oil cooling |  |  |  | 40 |
|  | 360 kva , 11kv / 400-240v, delta/star ,50hz , oil cooling |  |  |  | 40 |

|  | pumps |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | pump use | head m | q l/min | size | kw | volt | type | no |
| 02-06-00564 | fire pump /fp1 | 90 | 750 | 100 | 22 | 380 | centrifugal pump | 48 |
| 02-06-00565 | lift pump /lp1 | 50 | 1400 | 125 | 22 | 380 | centrifugal singal suction | 48 |
| 02-06-00566 | lift pump /lp2 | 25 | 750 | 50 | 5.5 | 380 | singal suction volut pump | 48 |
| 02-06-00567 | chilled water pump p-2 | 20 | 6150 | 20x150 | 30 | 380 | centrifugal pump | 48 |
| 02-06-00568 | chiller water /p-3 | 38 | 2320 | 125x100 | 30 | 380 | centrifugal pump | 48 |
| 02-06-00569 | chiller water /p-4 | 38 | 4980 | 200x150 | 45 | 380 | centrifugal pump | 48 |
| 02-06-00570 | chiller water /p-5 | 47 | 4520 | 150x125 | 55 | 380 | centrifugal pump | 48 |
| 02-06-00571 | condensor water pump p-1 | 20 | 7580 | 200x150 | 37 | 380 | centrifugal pump | 48 |
| 02-06-00572 | softener pump p-11 | 25 | 160 | 40 | 2.2 | 380 | in line pump | 48 |
| 02-06-00573 | lift pump p-12 | 55 | 100 | 40 | 3.7 | 380 | singal suction | 48 |
| 02-06-00574 | make up water pump p-13 | 15 | 180 | 40 p2 | 1.5 | 380 | centrifugal pump | 48 |
| 02-06-00575 | condensor water pump p-14 | 15 | 70 | 65x40 | 1.5 | 380 | centrifugal pump | 48 |
| 02-06-00576 | circulation hot water pump p-6 | 10 | 1410 | 100x50 | 3.7 | 380 | centrifugal pump | 48 |
| 02-06-00577 | circulation hot water pump p-7 | 37 | 480 | 65x4 | 5.5 | 380 | multy stage centrifugal | 92 |
| 02-06-00578 | circulation hot water pump p8 | 36 | 1250 | 125x2 | 15 | 380 | multy stage centrifugal | 92 |
| 02-06-00579 | circulation hot water pump p-9 | 45 | 1100 | 100x3 | 15 | 380 | multy stage centrifugal | 92 |
|  | 1-give complete catalag for the pump |  |  |  |  |  |  |  |
|  | 2- 5 years spare part |  |  |  |  |  |  |  |
|  | 3-training for the staff |  |  |  |  |  |  |  |
|  | 4-grante for one year operation |  |  |  |  |  |  |  |
|  | 5-installation for one site. |  |  |  |  |  |  |  |

| 02-06-00580 | softener pump |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | kw | r.p.m | suction mm | discharge mm | capacity l/s | head m | QTY |
|  | 1 | 1500 | 38 | 38 | 3 | 16 | 52 |
|  | 3 | 3000 | 51 | 51 | 106 | 10 | 116 |
|  | 5 | 1500 | 51 | 51 | 21 | 32 | 8 |

| 02-06-00581 | water pump for tower |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | kw | r.p.m | suction mm | discharge mm | capacity l/s | head m | QTY |
|  | 3 | 1500 | 100 | 100 | 11 | 26 | 92 |
|  | 7.5 | 1800 | 150 | 150 | 41 | 35 | 104 |
|  | 15 | 1500 | 100 | 100 | 33 | 25 | 12 |
|  | 30 | 1500 | 15 | 15 | 80 | 30 | 56 |

| 02-06-00582 | boiler feeding pump |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | kw | r.p.m | suction mm | discharge mm | capacity l/s | head m | QTY |
|  | 5.5 | 1500 | 38 | 38 | 30 | 90 | 64 |
|  | 3 | 3000 | 38 | 38 | 30 | 150 | 36 |
|  | 7.5 | 1500 | 76 | 76 | 14 | 50 | 40 |
|  | 22 | 1500 | 200 | 150 | 25 | 95 | 12 |
| 02-06-00583 | chemical dosing pump |  |  |  |  |  |  |
|  | kw | r.p.m | suction mm | discharge mm | capacity l/s | head m | QTY |
|  | 0.3 | _ | 12 | 12 | 5.5 | 20 | 24 |
|  | 0.5 | _ | 25 | 25 | 3 | 80 | 44 |
| 02-06-00584 | horizantal pump |  |  |  |  |  |  |
|  | kw | r.p.m | suction mm | discharge mm | capacity l/s | head m | QTY |
|  | 2.2 | 1500 | 38 | 38 | 7 | 90 | 96 |
|  | 5.5 | 1500 | 51 | 51 | 15 | 75 | 12 |

| 02-06-00585 | vertical pump |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | kw | r.p.m | suction mm | discharge mm | capacity l/s | head m | QTY |
|  | 4 | 1500 | 150 | 150 | 118 | 10 | 16 |
|  | 18.5 | 1500 | 51 | 51 | 51 | 85 | 24 |
|  | 2.2 | 1500 | 38 | 38 | 7 | 90 | 8 |
| 02-06-00586 | circulation pump |  |  |  |  |  |  |
|  | kw | r.p.m | suction mm | discharge mm | capacity l/s | head m | QTY |
|  | 1.5 | 1500 | 18 | 18 | 4 | 20 | 8 |
|  | 1.8 | 1500 | 76 | 63 | 70 | 8 | 32 |
|  | 4 | 1500 | 76 | 51 | 26 | 40 | 84 |

| 02-06-00587 | submersible pump |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | kw | r.p.m | suction mm | discharge mm | capacity l/s | head m | QTY |
|  | 1 | 1500 | 51 | 51 | 4 | 15 | 32 |
|  | 2.2 | 1500 | 51 | 51 | 8 | 10 | 140 |
|  | 3.7 | 1500 | 100 | 100 | 15 | 25 | 32 |
|  | 7.5 | 1500 | 100 | 100 | 30 | 20 | 116 |

| 02-06-00588 | fire pump |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | kw | r.p.m | suction mm | discharge mm | capacity l/s | head m | QTY |
|  | 0.37 | 3000 | 38 | 38 | 2 | 42 | 16 |
|  | 7.5 | 1500 | 51 | 51 | 20 | 30 | 120 |
|  | 37 | 1500 | 100 | 76 | 51 | 66 | 20 |
| 02-06-00589 | water pump for heating |  |  |  |  |  |  |
|  | kw | r.p.m | suction mm | discharge mm | capacity l/s | head m | QTY |
|  | 7.5 | 1500 | 125 | 76 | 102 | 15 | 16 |
|  | 5.5 | 1500 | 76 | 76 | 30 | 50 | 76 |
|  | 15 | 1500 | 100 | 100 | 36 | 45 | 48 |
|  | 3 | 1500 | 63 | 63 | 60 | 20 | 12 |

|  | ware house requierment |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 02-06-00590 | folding end trolleys capacity 150 kg |  |  |  | 200 |
| 02-06-00591 | manual and electrictric stackers capacity 250 kg |  |  |  | 40 |
| 02-06-00592 | folding work shop caranes capacity 1000 kg at 1 m |  |  |  | 40 |
| 02-06-00593 | cylinder trolly capacity 200 kg |  |  |  | 100 |
| 02-06-00594 | sterilizing water for theter room ultraviolet water purifiers |  |  |  | 200 |
|  | 1- stainless steel construction |  |  |  |  |
|  | 2- quick lamp charge |  |  |  |  |
|  | 3- fused quartz steeve |  |  |  |  |
|  | 4- indicator light |  |  |  |  |
|  | 5- optional equipment |  |  |  |  |
|  | the life of lamps must be very long |  |  |  |  |

| 02-06-00595 | VEHICLE PICK-UP DOUBLE CABIN |  | 400 |
| --- | --- | --- | --- |
|  | 1. PETROL ENGINE WATER COOLED |  |  |
|  | 2. MANUAL GEAR BOX, FLOOR SHIFT |  |  |
|  | 3. STEERING POWER STEERING LEFT HAND DRIVE |  |  |
|  | 4.ELECTRICAL EQUIPMENT’S: BATTERY 12V-60AMP HEAVY DUTY |  |  |
|  | 5.AIR-CONDITIONING FOR DRIVER CABIN (HEATING AND COOLING) |  |  |
|  | 6. SUSPENSION: HEAVY DUTY |  |  |
|  | 7. TIRES WITH TUBES: SUITABLE FOR DIFFERENT ROADS (HIGH QUALITY) |  |  |
|  | 8. CABIN: SINGLE CABIN WITH DOOR IN EACH SIDE. |  |  |
|  | 9. MIRRORS: TO BE EQUIPPED WITH TWO SIDES MIRRORS AND ONE INSIDE |  |  |
|  | 10.ACCESSARIES: TO BE EQUIPPED WITH JACK + WHEEL WRENCH + HAZARD TRIANGLE + TOOL KITS + FAST MOVING PARTS . WITH THE VEHICLE AND ANY EQUIPMENT’S CONCERNING THE JOB OF THIS CAR. |  |  |
|  | 11.LOADING CAPACITY: FROM (1-2)TONS |  |  |
|  | 12.ALL MATERIALS INSERTED IN THE CONSTRUCTION OF THIS CAR IT WILL BE OF HIGH QUALITY (ROOD, SHACKLE, GOODS COVER) |  |  |
|  | 13.MAINTEMANCE FOR ALL VEHICLES FOR TWO YEARS ON ACCOUNT OF THE COMPANY WITH TRAINS FOR ENGINEERS AND TECHNICIANS (5PERISON) FOR ONE MONTH |  |  |

| 02-06-00596 | digital camera |  |  |  |  | 4 |
| --- | --- | --- | --- | --- | --- | --- |
| 02-06-00597 | video projector |  |  |  |  | 4 |
| 02-06-00598 | CD- player |  |  |  |  | 4 |
| 02-06-00599 | air handlig unit |  |  |  |  | 2 |
|  | supply 162 m3/h |  |  |  |  |  |
|  | cooling and heating |  |  |  |  |  |
|  | inlet water temp. : 7-w(in) 5-8C |  |  |  |  |  |
|  | outlet water temp.: w(out) 72-2C |  |  |  |  |  |
|  | capacity : 7-25738 colh |  |  |  |  |  |
|  | 2-72100 m3/h |  |  |  |  |  |

|  | air handlinunit |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 02-06-00600 | 240x230x230 cm |  |  |  | 12 |
|  | capacity 14800 ft3/min |  |  |  |  |
|  | inlet cooling 10 c |  |  |  |  |
|  | out let colling 14c |  |  |  |  |
|  | inlet heating 70c |  |  |  |  |
|  | outlet heating 60c |  |  |  |  |
|  | power Q 1359 pm H 60ft |  |  |  |  |
| 02-06-00601 | 225x196x112 |  |  |  | 2 |
|  | capacity 14800 ft3/min |  |  |  |  |
|  | inlet cooling 10 c |  |  |  |  |
|  | out let colling 14c |  |  |  |  |
|  | inlet heating 70c |  |  |  |  |
|  | outlet heating 60c |  |  |  |  |
|  | power Q 1359 pm H 60ft |  |  |  |  |

| 02-06-00602 | 290x280x230 |  |  |  | 2 |
| --- | --- | --- | --- | --- | --- |
|  | capacity 14800 ft3/min |  |  |  |  |
|  | inlet cooling 10 c |  |  |  |  |
|  | out let colling 14c |  |  |  |  |
|  | inlet heating 70c |  |  |  |  |
|  | outlet heating 60c |  |  |  |  |
|  | power Q 1359 pm H 60ft |  |  |  |  |

|  | air handlig unit |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | supply power H.P | capacity keal/h cooling | supply m3/h | site supply | fan bearing |  | X21 | belt |  | capacity keal/h heating | power H.P return | power H.P site return | qty |
|  | 380/3/50 |  |  |  | supply | return |  | supply/ return |  |  |  |  | 2 |
| 02-06-00603 | 10 | 137980 | 11700 | 60 | rase 60 ase 60 gle krra | rabr 13 30/72 | 2 2 | 1500x13 1800x13 | 3 2 | 51597 | 10 | 30 | 2 |
| 02-06-00604 | 4 | 72245 | 5700 | 25 | rabr-b 25/62 | _ | 2 2 | 1300x13 | 2 | 47318 | _ | ___ | 2 |
| 02-06-00605 | 20 | 173900 | 1800 | 60 | rase 60 | rabr b 35/80 | 2 2 | 2240x17 1800x13 | 4 2 | 52479 | 10 | 35 | 2 |
| 02-06-00606 | 25 | 296142 | 22500 | 70 | rase 70 | rae-40-nppb | 2 2 | 2430x17 1500x13 | 2 2 | 85995 | 10 | 40 | 2 |
| 02-06-00607 | 7.5 | 143543 | 11900 | 45 | rase 45 | pase 35 | 2 2 | 1500x13 1320x13 | 2 2 | 57330 | 10 | 30 | 2 |
| 02-06-00608 | 7.5 | 157515 | 13000 | 45 | rase 45 | rabr b 30/72 | 2 2 | 1500x13 1320x13 | 2 2 | 47593 | 10 | 30 | 2 |
| 02-06-00609 | 10 | 67780 | 14500 | 60 | rase 60 ase 60 gle krra | pase 45 | 2 2 | 1500x13 1412x13 | 3 2 | 17000 | 4 | 45 | 2 |
| 02-06-00610 | 5.5 | 46343 | 8600 | 30 | rabr-b 30/72 | rabr-b 30/72 | 2 2 | 1320x13 1320x13 | 2 2 | 48040 | 3 | 30 | 2 |
| 02-06-00611 | 5.5 | 51595 | 8800 | 30 | rabr-b 30/72 | rabr-b 30/72 | 2 2 | 1320x13 1262x13 | 2 2 | 3500 | 3 | 30 | 2 |
| 02-06-00612 | 5.5 | 41254 | 7000 | 30 | rabr-b 30/72 | rabr-b 25/62 | 2 2 | 1262x13 1262x13 | 2 2 | 20700 | 3 | 25 | 2 |
| 02-06-00613 | 7.5 | 73430 | 11500 | 45 | pase 45 | rabr-b 30/72 | 2 2 | 1562x13 1250x13 | 2 2 | 44300 | 4 | 30 | 2 |
| 02-06-00614 | 5.5 | 59454 | 9400 | 30 | rabr-b 30/72 | rabr-b 30/72 | 2 2 | 1250x13 1000x13 | 2 2 | 29200 | 4 | 30 | 2 |
| 02-06-00615 | 7.5 | 59525 | 9400 | 30 | rabr-b 30/72 | rabr-b 25/62 | 2 2 | 1437x13 1202x13 | 2 2 | 55000 | 2 | 25 | 2 |
| 02-06-00616 | 4 | 31950 | 5700 | 25 | rabr-b 25/62 | rabr-b 25/62 | 2 2 | 1412x13 1180x13 | 2 1 | 7500 | 1.5 | 25 | 2 |
| 02-06-00617 | 7.5 | 149604 | 12000 | 45 | pase-45 | _ | 2 _ | 1857x13 | 2 | 45200 | _ | _ | 2 |
| 02-06-00618 | 7.5 | 80396 | 13000 | 45 | pase-45 | pase-45 | 2 2 | 1582x13 1412x13 | 2 2 | 69560 | 5.5 | 45 | 2 |
| 02-06-00619 | 10 | 86580 | 14000 | 60 | rase 60 ase 60 gle krra | pase-45 | 1 2 | 1582x13 1337x13 | 3 2 | 74500 | 4 | 45 | 2 |
| 02-06-00620 | 10 | 91436 | 15000 | 60 | rase 60 ase 60 gle krra | pase-45 | 1 2 | 1632x13 1400x13 | 3 2 | 78498 | 4 | 45 | 2 |
| 02-06-00621 | 7.5 | 86213 | 13700 | 45 | pase-45 | pase-45 | 2 2 | 1582x13 1337x13 | 2 2 | 71292 | 4 | 45 | 2 |
| 02-06-00622 | 10 | 69995 | 13000 | 60 | rase 60 ase 60 gle krra | pase-45 | 1 2 | 1582x13 1400x13 | 3 2 | 38000 | 4 | 45 | 2 |
| 02-06-00623 | 7.5 | 76386 | 14000 | 45 | pase-45 | pase-45 | 2 2 | 1582x13 | 2 2 | 46500 | 4 | 45 | 2 |

| 02-06-00624 | 7.5 | 65518 | 11000 | 45 | pase-45 | pase-45 | 2 2 | 1600x13 | 2 2 | 35000 | 3 | 45 | 2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 02-06-00625 | 7.5 | 66295 | 11000 | 45 | pase-45 | rabr-b 30/72 | 2 2 | 1600x13 | 2 2 | 32000 | 3 | 30 | 2 |
| 02-06-00626 | 17/3.4 | 28000 | 14000 28000 | 55 | rase 53 | _ | 2 _ | 2082x13 | 3 | 123480 | _ | _ | 2 |
| 02-06-00627 | 17/3.4 | 28000 | 14000 28000 | 55 | rase 55 | _ | 2 _ | 2082x13 | 3 | 230496 | _ | _ | 2 |
| 02-06-00628 | 17/3.4 | 28000 | 14000 28000 | 55 | rase 55 | _ | 2 _ | 2082x13 | 3 | 238728 | _ | _ | 2 |
| 02-06-00629 | 3 | 95534 | 8600 | 30 | rabr-b 30/72 | _ | 2 _ | 1362x13 | 2 | 104170 | _ | _ | 2 |
| 02-06-00630 | 2 | 34000 | 7500 | 30 | pase-30 | _ | 2 _ | 1200x13 | 2 | _ | _ | _ | 2 |
| 02-06-00631 | 1.5 | 16400 | 43000 | 20 | rcra 20/46 | _ | 2 _ | 1080x13 | 2 | _ | _ | _ | 2 |
|  | notes: |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 1- each one need 4 fan bearing return |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 2- each one need 4 fan bearing supply |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 3- each one need one cooling coil |  |  |  |  |  |  |  |  |  |  |  |  |

|  | air handlig unit |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | CFM |  |  |  |  |  |  |  |  | QTY |
| 02-06-00632 | 3150 CFM |  |  |  |  |  |  |  |  | 2 |
| 02-06-00633 | 8160 CFM |  |  |  |  |  |  |  |  | 2 |
| 02-06-00634 | 9960 CFM |  |  |  |  |  |  |  |  | 2 |
| 02-06-00635 | 7990 CFM |  |  |  |  |  |  |  |  | 2 |
| 02-06-00636 | 8560 CFM |  |  |  |  |  |  |  |  | 2 |
| 02-06-00637 | 3080 CFM |  |  |  |  |  |  |  |  | 2 |
| 02-06-00638 | 3800 CFM |  |  |  |  |  |  |  |  | 2 |
| 02-06-00639 | 7250 CFM |  |  |  |  |  |  |  |  | 2 |
| 02-06-00640 | 4000 CFM |  |  |  |  |  |  |  |  | 2 |
| 02-06-00641 | 3520 CFM |  |  |  |  |  |  |  |  | 2 |
| 02-06-00642 | 16190 CFM |  |  |  |  |  |  |  |  | 2 |
| 02-06-00643 | 1040 CFM |  |  |  |  |  |  |  |  | 2 |
| 02-06-00644 | 10000CFM |  |  |  |  |  |  |  |  | 2 |
| 02-06-00645 | 6900 CFM |  |  |  |  |  |  |  |  | 2 |
| 02-06-00646 | 4400 CFM |  |  |  |  |  |  |  |  | 2 |
| 02-06-00647 | 31760 CFM |  |  |  |  |  |  |  |  | 2 |
| 02-06-00648 | 31000 CFM |  |  |  |  |  |  |  |  | 2 |
| 02-06-00649 | 22455 CFM |  |  |  |  |  |  |  |  | 2 |
| 02-06-00650 | 12000 CFM |  |  |  |  |  |  |  |  | 2 |
| 02-06-00651 | 25000 CFM |  |  |  |  |  |  |  |  | 2 |

| 02-06-00652 | FIER ALARM SYSTEM |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | design manufacture deliver and installation of fire alarm system with the following specification and quantities |  |  |  |  |  |  |  |  |  |
|  | a)specification : |  |  |  |  |  |  |  |  |  |
|  | 1- the system should be 2- wire installation |  |  |  |  |  |  |  |  |  |
|  | 2- the system should be able to be connected to data network or telephone exchange and recorder |  |  |  |  |  |  |  |  |  |
|  | 3- the system should contain repeaters for stopping air condtioning and spare |  |  |  |  |  |  |  |  |  |
|  | 4- each zone contain about 20 delectors and one glass break unit |  |  |  |  |  |  |  |  |  |
|  | 5- the system should contain one central control and indication unit and branchs units |  |  |  |  |  |  |  |  |  |
|  | 6- each system contain PC unit for operation and maintenance and programing if necessory |  |  |  |  |  |  |  |  |  |
|  | 7- the detecters should be from smoke heat and temp rise type |  |  |  |  |  |  |  |  |  |
|  | b) quantities : |  |  |  |  |  |  |  |  |  |
|  | no. of system |  |  |  |  |  |  |  |  | no. of zone |
|  | 40 |  |  |  |  |  |  |  |  | 10 |
|  | 50 |  |  |  |  |  |  |  |  | 20 |
|  | 40 |  |  |  |  |  |  |  |  | 30 |
|  | 40 |  |  |  |  |  |  |  |  | 40 |
|  | 40 |  |  |  |  |  |  |  |  | 60 |
|  | c) |  |  |  |  |  |  |  |  |  |
|  | 1- one year warrenty from date of operation and tow years maintenece after period of warrenty |  |  |  |  |  |  |  |  |  |
|  | 2- spare partes for 5- years |  |  |  |  |  |  |  |  |  |
|  | 3- full sets of ducomants and catalogues and diagrams |  |  |  |  |  |  |  |  |  |
|  | 4- training on factory of equipment and local training during installation |  |  |  |  |  |  |  |  |  |

|  | air handling unit |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | dimention m |  | fan speed r.p.m | fan motor hp | air volume m3/hr | model |  | mater. No. | qty |
| 02-06-00653 | 5x2.75x2.75 |  | 1150 | 20 | 26871 | ZH218 |  | 8184 | 2 |
| 02-06-00654 | 4x2x2 |  | 1400 | 20 | 22881 | ZH215 |  | 8184 | 2 |
| 02-06-00655 | 7.5x2.5x1.75 |  | 1230 | 15 | 17119 | ZH215 |  | 81.8.4 | 2 |
| 02-06-00656 | 7.5x2.5x1.5 |  | 1350 | 15 | 23848 | ZH215 |  | 81.8.4 | 2 |
| 02-06-00657 | 5.75x2x3 |  | 1350 | 20 | 23220 | ZH215 |  | 8184 | 2 |
| 02-06-00658 | 3x1.75x2.25 |  | 2250 | tow-9 | 10678 | ZH115 |  | 8184 | 2 |
| 02-06-00659 | 4.75x3.5x2.75 |  | 1200 | 20 | 25424 | ZH218 |  | 8184 | 2 |
| 02-06-00660 | 4.75x3.5x2.75 |  | 1380 | 10 | 13559 | ZH1211 |  | 8184 | 2 |
| 02-06-00661 | 8.5x1.75x2.25 |  | 1280 | 15 | 15424 | ZH215 |  | 81.8.4 | 2 |
| 02-06-00662 | 6x1.5x1 |  | 2900 | 1-5.5 | 5085 | ZH109HG |  | 81.8.4 | 2 |
| 02-06-00663 | 4.75x2x1.5 |  | 1320 | 3.3-13 | 17458 | MZH215 |  | 8184 | 2 |
| 02-06-00664 | 6.5x1x1.5 |  | 3300 | .7-3 | 3153 | ZH108HG |  | 81.8.4 | 2 |
| 02-06-00665 | 6.5x1x1.5 |  | 3300 | .7-3 | 3153 | ZH108HG |  | 81.8.4 | 2 |
| 02-06-00666 | 4.75x3.5x2.75 |  | 1050 | 20 | 29153 | ZH222 |  | 8184 | 2 |
| 02-06-00667 | 5x1.5x2 |  | 1400 | 10 | 14537 | ZH215 |  | 81.8.4 | 2 |
| 02-06-00668 | 3x1.75x2.25 |  | 2000 | 7.5 | 8485 | ZH115 |  | 8184 | 2 |
|  | NOTES : |  |  |  |  |  |  |  |  |
|  | 1- type of air handling units cooling and heating for all types |  |  |  |  |  |  |  |  |
|  | 2- no. of lines are invertor |  |  |  |  |  |  |  |  |
|  | 3- inlet water temp. (5-8)C |  |  |  |  |  |  |  |  |
|  | 4- outlet water temp. (12-16)C |  |  |  |  |  |  |  |  |

MEURO - SURGERY CENTER

LUNDRY EQUIPMENT

| 02-06-00669 | side loading washer 50 kg |  |  |  |  |  |  |  | 60 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 02-06-00670 | centrefugal extractor 30 kg/load |  |  |  |  |  |  |  | 40 |
| 02-06-00671 | drying tembler 25 kg/load |  |  |  |  |  |  |  | 40 |
| 02-06-00672 | canvas truck |  |  |  |  |  |  |  | 120 |
| 02-06-00673 | strach cooker |  |  |  |  |  |  |  | 20 |
| 02-06-00674 | flate work ironer 50 kg/hr |  |  |  |  |  |  |  | 40 |
| 02-06-00675 | hand ironer board |  |  |  |  |  |  |  | 80 |
| 02-06-00676 | swing machine |  |  |  |  |  |  |  | 40 |
| 02-06-00677 | ottlity press machine |  |  |  |  |  |  |  | 80 |
| 02-06-00678 | electrical steam boiler 20 BHP capac. At apressure of 11kg/cm2 |  |  |  |  |  |  |  | 20 |
| 02-06-00679 | air compressor with cylinder 0.07 m3/min capac. At apressure of 6 kg/cm2 cylinder rolame 120 l |  |  |  |  |  |  |  | 20 |
| 02-06-00680 | disinfected washing machine |  |  |  |  |  |  |  | 80 |
|  | ELECTRICAL EQUIPMENT |  |  |  |  |  |  |  |  |
| 02-06-00681 | high tension panal with short circuit current (25 ka) |  |  |  |  |  |  |  | 8 |
| 02-06-00682 | high tension cable , XLPE type with (750) m length |  |  |  |  |  |  |  | 6x150mm2 |
| 02-06-00683 | isolated transformer |  |  |  |  |  |  |  | 12 |
|  | with their control panales |  |  |  |  |  |  |  |  |
|  | capacity (25 kva) |  |  |  |  |  |  |  | 6 |
|  | capacity (16 kva) |  |  |  |  |  |  |  | 6 |
|  | KITCHEN EQUIPMENT |  |  |  |  |  |  |  |  |
| 02-06-00684 | scale 1 kg |  |  |  |  |  |  |  | 20 |
| 02-06-00685 | scale 25kg |  |  |  |  |  |  |  | 20 |
| 02-06-00686 | scale 5 kg |  |  |  |  |  |  |  | 20 |
| 02-06-00687 | weighing machine 100 kg |  |  |  |  |  |  |  | 20 |
| 02-06-00688 | potata peeler 5kg /load |  |  |  |  |  |  |  | 40 |
| 02-06-00689 | vegetable mill 300 kg /hr |  |  |  |  |  |  |  | 40 |
| 02-06-00690 | chopping black 50x50x65 cm |  |  |  |  |  |  |  | 40 |
| 02-06-00691 | meat mincer 2 kg /hr |  |  |  |  |  |  |  | 40 |
| 02-06-00692 | backing oven loven 2 deck each 80x90x120cm |  |  |  |  |  |  |  | 40 |
| 02-06-00693 | mixing machine 10 lit |  |  |  |  |  |  |  | 40 |
| 02-06-00694 | refrigerator 420 lit |  |  |  |  |  |  |  | 80 |
| 02-06-00695 | electric range (general purpose) 6 plate - 1oven |  |  |  |  |  |  |  | 40 |

| 02-06-00696 | electric oven (each one of 80x90x170 cm) |  |  |  |  |  |  |  |  | 40 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 02-06-00697 | boiling pan 35 lit |  |  |  |  |  |  |  |  | 60 |
| 02-06-00698 | boiling pan 50 lit |  |  |  |  |  |  |  |  | 60 |
| 02-06-00699 | electric fry range |  |  |  |  |  |  |  |  | 40 |
| 02-06-00700 | grill |  |  |  |  |  |  |  |  | 40 |
| 02-06-00701 | hot cub board |  |  |  |  |  |  |  |  | 20 |
| 02-06-00702 | dish washer 640 pieces/hr |  |  |  |  |  |  |  |  | 60 |
| 02-06-00703 | heated trolly |  |  |  |  |  |  |  |  | 240 |

| 02-06-00704 | general purpose trolly |  |  |  |  |  |  |  |  | 240 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 02-06-00705 | cold cup board |  |  |  |  |  |  |  |  | 40 |
| 02-06-00706 | electrical water cooler 40 lit/hr |  |  |  |  |  |  |  |  | 40 |
| 02-06-00707 | hood |  |  |  |  |  |  |  |  | 20 |
| 02-06-00708 | bin on castors 6 kg |  |  |  |  |  |  |  |  | 40 |
| 02-06-00709 | bin on castors 12.5 kg |  |  |  |  |  |  |  |  | 40 |
| 02-06-00710 | bin on castors 25 kg |  |  |  |  |  |  |  |  | 40 |
| 02-06-00711 | bin on castors 50 kg |  |  |  |  |  |  |  |  | 40 |
|  | VIDEO BEAMER |  |  |  |  |  |  |  |  |  |
| 02-06-00712 | large avitoriom high lumihosity for use in light remote controlled ,complete system with link to speakers computer and monitor to accept CD rom as well |  |  |  |  |  |  |  |  | 20 |
| 02-06-00713 | slide progector |  |  |  |  |  |  |  |  | 80 |
| 02-06-00714 | over head projector |  |  |  |  |  |  |  |  | 120 |

| 02-06-00715 | cooling tower schedule |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | no req. | type | heat rejection capacity kcal/h | ambint W.B temp. C | water temp. |  | water qty. L/min | fan | electrical characteristics |  |  |
|  |  |  |  |  | In | Out |  | motor kw | V | PH | HZ |
|  | 4 | indused draft | 9E+05 | 26 | 35 | 30 | 2611 | 15 | ## | 3 | 50 |

02-06-00716	air washer schedual

|  | no. req | type | location | summer |  | winter (heating coil) |  |  |  |  |  |  | blower |  |  |  |  | circulation water pump kw | electrical characteristic | filter |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

|  |  |  |  | amb. Temp wb c | press. Nozzle m.w.g | water circulation lit/min | grand total heat kcal/hr | air temp c |  |  | water temp.c | water qty lit/min | no of fins /25mm | no of rows | blower type | total air qty m/hr | face velocity m3/sec | total static pressure mm w g | motor kw | volt | phase | hertz | type | thickness mm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

|  | 2 | double bank spray | block c on the roof | 26 | 25 | 750 | 4E+05 | 1.5 | 1 | 33.5 | 5.5 | 82 | 71 | 650 | 8 | 2 | centrifugal aerofoil | 1E+05 | 2.5 | 22 | 18 | 7.5 | 380 | 3 | 50 | metalic cleanable | 50 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

|  | extractor fan |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | RE NO. | location | air capacity m3/hr | no. req | pressure drop mm.w.h | input kw | electric v/ph/hz |  |

| 02-06-00717 | RE-16 | A" | 1460 | 2 | 4 | 0.12 | 220/1/50 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 02-06-00718 | RE-17 | B | 1300 | 2 | 3 | 0.07 | 220/1/50 |
| 02-06-00719 | RE-18 | B | 12000 | 2 | 10 | 1 | 380/3/50 |
| 02-06-00720 | RE-19 | B | 3400 | 2 | 7 | 0.3 | 220/1/50 |
| 02-06-00721 | RE-20 | B | 2210 | 2 | 7 | 0.3 | 220/1/50 |
| 02-06-00722 | RE-21 | B | 1530 | 2 | 5 | 0.2 | 220/1/50 |
| 02-06-00723 | RE-22 | B | 1020 | 2 | 5 | 0.2 | 220/1/50 |
| 02-06-00724 | RE-23 | A` | 2430 | 2 | 5 | 0.5 | 220/1/50 |
| 02-06-00725 | RE-24 | A" | 1785 | 2 | 5 | 0.5 | 220/1/50 |
| 02-06-00726 | RE-25 | A" | 3100 | 2 | 5 | 0.75 | 220/1/50 |
| 02-06-00727 | RE-26 | A" | 340 | 2 | 3 | 0.3 | 220/1/50 |
| 02-06-00728 | RE-27 | A" | 1445 | 2 | 5 | 0.5 | 220/1/50 |
| 02-06-00729 | RE-28 | A" | 3215 | 2 | 5 | 0.5 | 220/1/50 |
| 02-06-00730 | RE-29 | A" | 2516 | 2 | 5 | 0.5 | 220/1/50 |
| 02-06-00731 | RE-30 | A" | 1600 | 2 | 3 | 0.3 | 220/1/50 |
| 02-06-00732 | RE-31 | A" | 1900 | 2 | 3 | 0.5 | 220/1/50 |
| 02-06-00733 | RE-32 | A" | 2265 | 2 | 3 | 0.5 | 220/1/50 |
| 02-06-00734 | RE-33 | A" | 1700 | 2 | 3 | 0.5 | 220/1/50 |
| 02-06-00735 | RE-34 | A | 1657 | 2 | 3 | 0.3 | 220/1/50 |
| 02-06-00736 | RE-35 | A`,A` | 1000 | 8 | 3 | 0.3 | 220/1/50 |

| 02-06-00737 | hood |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | stainlees steel hood used for labortary to be installed above sterilizer with following dimension 1500x600 |  |  |  |  |  |  |  |  | 2 |
| 02-06-00738 | water cooler |  |  |  |  |  |  |  |  | 56 |
|  | 40 l/h cooled to 10 c |  |  |  |  |  |  |  |  |  |
|  | electric supply 220/1 ph/50 |  |  |  |  |  |  |  |  |  |
|  | stainlees steel ,anti-splash top equipped with non-clogging and easy to clean integral stranier grid the tank shall be burst proof galvanized with copper refrigerator coil |  |  |  |  |  |  |  |  |  |
| 02-06-00739 | window type 2 ton with heater capacity 3.6 kw |  |  |  |  |  |  |  |  | 4 |
| 02-06-00740 | window type 1.5 ton with heater capacity 3 kw |  |  |  |  |  |  |  |  | 4 |
| 02-06-00741 | window type 1 ton with heater capacity 2.6 kw |  |  |  |  |  |  |  |  | 10 |
| 02-06-00742 | split unit 2 ton with heater capacity 3.6 kw |  |  |  |  |  |  |  |  | 2 |
| 02-06-00743 | x-ray window 1.5x1.2m w/load glass |  |  |  |  |  |  |  |  | 6 |
| 02-06-00744 | x-ray door fram 1.8x2.35 m w/load sheilding |  |  |  |  |  |  |  |  | 6 |
| 02-06-00745 | x-ray door fram 0.9x2.1 m w/load sheilding |  |  |  |  |  |  |  |  | 6 |
| 02-06-00746 | drinking water storge tank made of hot pressed steel plate of dimension (1.22x1.22) and thickness of not less than 6mm |  |  |  |  |  |  |  |  |  |
|  | (7.32x4.88x2.44) m |  |  |  |  |  |  |  |  | 2 |
|  | (4.88x2.44x2.44)m |  |  |  |  |  |  |  |  | 2 |
| 02-06-00747 | inclarator of 300 kg /hr |  |  |  |  |  |  |  |  | 2 |
| 02-06-00748 | bed lade unit |  |  |  |  |  |  |  |  | 18 unit |
|  | each one of bed hade unit comprifing the following |  |  |  |  |  |  |  |  |  |
| 02-06-00749 | * general light 40 w with lamp |  |  |  |  |  |  |  |  | 2 |
| 02-06-00750 | * read light 20 w with lamp |  |  |  |  |  |  |  |  | 2 |
| 02-06-00751 | *cord pull switch with lamp for nurse call station |  |  |  |  |  |  |  |  | 2 |
| 02-06-00752 | * intercom unit |  |  |  |  |  |  |  |  | 2 |
| 02-06-00753 | * doubl switch socket 13A |  |  |  |  |  |  |  |  | 4 |
| 02-06-00754 | *exam light with lamp |  |  |  |  |  |  |  |  | 2 |
| 02-06-00755 | *extra examenstion light with lamp shipt 44 seperatly |  |  |  |  |  |  |  |  | 88 |
| 02-06-00756 | cold room |  |  |  |  |  |  |  |  | 10 |
|  | temp.: -20C to +20 C |  |  |  |  |  |  |  |  |  |
|  | dimention (H 2.5 m- W3 m- L3m) |  |  |  |  |  |  |  |  |  |
|  | cold room 2 stage unites |  |  |  |  |  |  |  |  |  |
| 02-06-00757 | santiry hot water with hot pump |  |  |  |  |  |  |  |  |  |
|  | power 3kw , rev 1450 sec , suction 79 mm, discharge 64mm, capacity 14 l/min , head 30m |  |  |  |  |  |  |  |  | 4 |

| 02-06-00758 | SPECIFICATIONS FOR TANK TRUCK |  |  |  |  |  |  |  |  | 300 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ( GAS OIL - CESSPOOL EMPTIER DRINKING WATER) |  |  |  |  |  |  |  |  |  |
|  | 1) Truck Specification |  |  |  |  |  |  |  |  |  |
|  | 1- Type : Forward control |  |  |  |  |  |  |  |  |  |
|  | 2- Drive sys. 4 X 2 |  |  |  |  |  |  |  |  |  |
|  | 3- Loading Cap. (10.000 liters Gas oil) |  |  |  |  |  |  |  |  |  |
|  | ( 8.000 liters cesspool emptier) |  |  |  |  |  |  |  |  |  |
|  | (10.000 liters drinking water) |  |  |  |  |  |  |  |  |  |
|  | 4- Dimensions |  |  |  |  |  |  |  |  |  |
|  | Wheel base about 4.100 mm |  |  |  |  |  |  |  |  |  |
|  | Overall length about 7.535 mm |  |  |  |  |  |  |  |  |  |
|  | Overall width about 2.480 mm |  |  |  |  |  |  |  |  |  |
|  | 5- Engine : Diesel engine water cooled |  |  |  |  |  |  |  |  |  |
|  | 6- Electrical eq. : 24 Volt, 12 volt X2 Batteries, 120 Ah at 20 hr |  |  |  |  |  |  |  |  |  |
|  | 7- Transmission : Manual Power assist |  |  |  |  |  |  |  |  |  |
|  | 8- Clutch : Hydraulic control, single dry plate with air pressure assistance. |  |  |  |  |  |  |  |  |  |
|  | 9- Tires : Single Front, dual rear |  |  |  |  |  |  |  |  |  |
|  | 10- Steering : Left hand steering, Ball mute type with integral type hydraulic power booster, Telescopic and tilt steering column with steering lock. |  |  |  |  |  |  |  |  |  |
|  | 11- Front suspensions: Laminated leaf springs with shock absorbers |  |  |  |  |  |  |  |  |  |
|  | 12- Rear Suspensions : Laminated leaf springs |  |  |  |  |  |  |  |  |  |
|  | 13- Front : Parallel, Tapered channel section type with cross - member and reinforcements |  |  |  |  |  |  |  |  |  |
|  | 14- Fuel Tank : 250 liters |  |  |  |  |  |  |  |  |  |
|  | 15- Drivers Cab : All steel, tilt cab equipped with A/C |  |  |  |  |  |  |  |  |  |
|  | 16- Paint : Finish coat, Crystal white |  |  |  |  |  |  |  |  |  |
|  | 17- Measurement : Metric ( Km/h) |  |  |  |  |  |  |  |  |  |
|  | 18- Caution Plate : Arabic |  |  |  |  |  |  |  |  |  |
|  | 19- Brakes : |  |  |  |  |  |  |  |  |  |
|  | Service : Air over hydraulic with dval circuit |  |  |  |  |  |  |  |  |  |
|  | Parking : internal expanding type on propeller shift |  |  |  |  |  |  |  |  |  |
|  | Auxiliary : Exhaust brake |  |  |  |  |  |  |  |  |  |
|  | 20- Cooling system : |  |  |  |  |  |  |  |  |  |
|  | Radiator : corrugated fin type with pressure cap and surge tank |  |  |  |  |  |  |  |  |  |
|  | Fan : Multi – blades, steel |  |  |  |  |  |  |  |  |  |
|  | 2) TANKS : Specifications |  |  |  |  |  |  |  |  |  |
|  | A – Gas Oil Tank |  |  |  |  |  |  |  |  |  |
|  | * Capacity: 10.0 KL. Gas Oil |  |  |  |  |  |  |  |  |  |
|  | * Type : Elliptical cross sectioned cylindrical tank |  |  |  |  |  |  |  |  |  |
|  | * Tank construction: tank assembly of elliptical shape, constructed with steel plate by electric welding which consists of tank shell, end plate, apparition plate, of lashing and manholes (inside 400mm dia.) each manhole cover is furnished with a filling hatch (inside 230mm Dai.) a dip stick, an air vent valve and a filling point interior surface of tank is zinc painted anti- corrosion. |  |  |  |  |  |  |  |  |  |
|  | * Loading and emptying : emptying by pumping or gravity pump capacity 600 liters/min at 600 r.p.m |  |  |  |  |  |  |  |  |  |
|  |  | * Attachments : |  |  |  |  |  |  |  |  |
|  | a- Hose locker |  |  |  | Two, both sides of tank shell |  |  |  |  |  |
|  | b- Ladder |  |  |  | One, at left side in rear of tank |  |  |  |  |  |
|  | c- Tool box |  |  |  | One, mounted on frame |  |  |  |  |  |
|  | d- Bumper |  |  |  | One ,rear end of chassis frame |  |  |  |  |  |
|  | e- Fire extinguish |  |  |  | Two, both side of vehicle |  |  |  |  |  |
|  | f- Earth reel |  |  |  | One, at left side of vehicle |  |  |  |  |  |
|  | g- Earth chain |  |  |  | One, at rear of vehicle |  |  |  |  |  |
|  | h- Muffler with spark arrested |  |  |  | One, provided at front side of vehicle |  |  |  |  |  |
|  |  | * Accessories : |  |  |  |  |  |  |  |  |
|  | a- Hose (for suction or delivery) 63mm X 3mm |  |  |  |  |  |  |  |  | 2 PCS |
|  | b- Hose wrench |  |  |  |  |  |  |  |  | 2 PCS |
|  | * Dip stick is Marked on every 1000 liters |  |  |  |  |  |  |  |  |  |
|  | B- Cesspool Emptier Tank |  |  |  |  |  |  |  |  |  |
|  | * Cap : 8000 Liters |  |  |  |  |  |  |  |  |  |
|  | * Type : Elliptical cross sectioned cylindrical tank |  |  |  |  |  |  |  |  |  |
|  | * Tank construction : Tank assembly is elliptical shape, and constructed with steel plate by electric welding it consists of tank sheu, and plates, a main manhole, peep holes, 2-way ball valves and blind manholes. Interior surface of tank is zinc painted for anti- corrosion. |  |  |  |  |  |  |  |  |  |
|  | * Loading and emptying : By vacuum pump ( by increasing or decreasing tank pressure). |  |  |  |  |  |  |  |  |  |
|  | Pump capacity : 2.790 lit/min at 500 r.p.m |  |  |  |  |  |  |  |  |  |
|  | * Equipment : |  |  |  |  |  |  |  |  |  |
|  | a- Delivery hose |  |  |  | 75mm dia x 6m |  |  |  |  | 1 PC |
|  | b- Suction hose |  |  |  | 65 dia x 10m |  |  |  |  | 1 PC |
|  | c- Tool box |  |  |  | one mounted on frame |  |  |  |  |  |
|  | * Color : Finish coat, crystal white |  |  |  |  |  |  |  |  |  |
|  | C – (Drinking Water Tank) |  |  |  |  |  |  |  |  |  |
|  | * Capacity : 10.0 KL Drinking water |  |  |  |  |  |  |  |  |  |
|  | * Type : Elliptical cross sectioned cylindrical tank |  |  |  |  |  |  |  |  |  |
|  | * Tank construction : tank assembly of Elliptical shape, constructed with stainless plate by electric welding which consists of all its part. |  |  |  |  |  |  |  |  |  |
|  | And the tank has the parts and equipment that is necessary in the use and carrying the drinking water |  |  |  |  |  |  |  |  |  |
|  | * Loading and emptying: |  |  |  |  |  |  |  |  |  |
|  | Loading by pumping and by normal feeding from upper manhole |  |  |  |  |  |  |  |  |  |
|  | Emptying : by pumping and by gravity |  |  |  |  |  |  |  |  |  |

| 02-06-00759 | over head projection |  |  |  |  |  |  |  | 4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 02-06-00760 | slide projection |  |  |  |  |  |  |  | 4 |

02-06-00761	flower making machine						4

the capacity of the machine to make flower from grains is 20 to 30 kg/hr the size of the machine is small to medium the machine should accompany with the spare parts covers for 2 years maintenance also for two years origin of the machine should be uropian with warranty for 2 years & maintenance 2 years

02-06-00762	crushing mashine  mashine						4

capacity 20 to 30 Kg/hour , small to medium size . The machine should have the ability to crush the grains in to two levels small & meduim size crushed grains to pe used for animal food making with warranty for 2 years & mainterning 2 years

02-06-00763	mixer									4

|  | capacity 20 to 30 kg/hr mixing capacity with warranty for 2 years & mainterning 2 years |
| --- | --- |

| 02-06-00763 | oven |  |  |  |  |  |  |  |  | 8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | hot air oven used for drying animal food pasute size : large size with warranty for 2 years & mainterning 2 years |  |  |  |  |  |  |  |  |  |
| 02-06-00763 | pasute making machine |  |  |  |  |  |  |  |  | 4 |
|  | capacity 5-10 Kg/hr size : medium with warranty for 2 years & mainterning 2 years |  |  |  |  |  |  |  |  |  |
| 02-06-00764 | hot water boiler 2.5 ton /hr |  |  |  |  |  |  |  |  | 4 |
| 02-06-00765 | sealed-acid battery 70A/H/long life |  |  |  |  |  |  |  |  | 600 |
| 02-06-00766 | sealed-acid battery 135A/H-long life |  |  |  |  |  |  |  |  | 30000 |
| 02-06-00767 | sealed-acid battery 200A/H-long life |  |  |  |  |  |  |  |  | 1000 |
| 02-06-00768 | Ni-cd-battery 6A/H 6V |  |  |  |  |  |  |  |  | 400 |

Targeted  Nutrition  Programme

| 02-06-00769 | Field vehicle for transportion of supplies and Monitorring / supervision of the programme 200 (2 cars / district + 26 for governorat and central levels ) | 200 |
| --- | --- | --- |
| 02-06-00770 | Computer (1 per grovernorat , 2 of Baghdad and 4 for NRI) to improve CCCU/PHC database | 20 |
| 02-06-00771 | Fork lift 3 ton ( to be used storage places at Governorate for high protein biscut and theraputic milk) | 20 |
| 02-06-00772 | Motorcycle (one for each PHC center for monitorring at field level ) | 1000 |

North of Iraq / health

| 02-06-00773 | Water tank trunk 8-10000 liter capacity , LHD with Export Specs for Iraq & manuf. Recommended spare for 2 yrs. Operation | 2 |
| --- | --- | --- |