## BAGHDAD MAYORALTY REQUIREMENTS FOR WATER AND SEWAGE WORK

## EXTENSION NO 7.

| SECTION NO. | # ITEM | QTY. | # END USER | DEP.OR ACTIVITY |
| --- | --- | --- | --- | --- |
| SECTION 1 | upvc pipes and fittings | 60000 M.L | 6.5 MILLION PERSON | SEWAGE. WORK |
| SECTION 2 | #### GRP PIPES AND FITTINGS | 15000 ML | 6.5 MILLION PERSON | SEWAGE. WORK |
| SECTION 3 | SPARE PARTS AND EQUIPMENTS FOR SEWAGE TREATMENT PLANT | LUMP | 6.5 MILLION PERSON | SEWAGE. WORK |
| SECTION 4 | EMERGENCY BYPASS STATION | 2 | 6.5 MILLION PERSON | SEWAGE. WORK |
| SECTION 5 | SEWAGE TREATMENT COMPACT UNITS | 10 | 6.5 MILLION PERSON | SEWAGE. WORK |
| SECTION 6 | SPARE PARTS AND EQUIPMENTS FOR SEWAGE PUMPING STATIONS IN MUNICIPALITIES | LUMP | 6.5 MILLION PERSON | MUNICIPALITY SERVICES |
| SECTION 7 | SUBMERSIBLE PUMPS | 300 | 6.5 MILLION PERSON | MUNICIPALITY SERVICES |
| SECTION 8 | SPARE PARTS FOR RAW WATER PUMPING STATIONS. | LUMP | 4.5 MILLION PERSON | WATER SUPPLY ADMINISTRATION |
| SECTION 9 | ##### DUCTILE PIPES AND FITTINGS | 64000 ML | 4.5 MILLION PERSON | WATER SUPPLY ADMINISTRATION |
| SECTION 10 | WATER TREATMENT COMPACT UNITS | 20 | 4.5 MILLION PERSON | WATER SUPPLY ADMINISTRATION |
| SECTION 11 | HYDRAULIC AERIAL PLATFORM | 4 | 6.5 MILLION PERSON | MUNICIPALITY SERVICES |
| SECTION 12 | FIELD VEHICLE | 7 | 6.5 MILLION PERSON | MUNICIPALITY SERVICES |
| SECTION 13 | CESSPOOL EMPTIER | 20 | 6.5 MILLION PERSON | SEWAGE. WORK |
| SECTION 14 | HIGH PRESSURE CESSPOOL EMPTIER | 10 | 6.5 MILLION PERSON | MUNICIPALITY SERVICES |
| SECTION 15 | PORTABLE STAND BY GENERATORS | 86 | 6.5 MILLION PERSON | WATER SUPPLY ADMINISTRATION |
| SECTION 16 | MINI GARBAGE COLLECTORS | 15 | 6.5 MILLION PERSON | MUNICIPALITY SERVICES |
| SECTION 17 | FORK LIFT (5 TON) | 6 | 6.5 MILLION PERSON | MUNICIPALITY SERVICES |
| SECTION 18 | AIR COMPRESSORS | 30 | 6.5 MILLION PERSON | MUNICIPALITY SERVICES |
| SECTION 19 | RECOVERY TRUCK | 2 | 6.5 MILLION PERSON | MUNICIPALITY SERVICES |
| SECTION 20 | FLOOD LIGHT PLANT | 10 | 6.5 MILLION PERSON | MUNICIPALITY SERVICES |
| SECTION 21 | ##### PORTABLE DIESEL ENGINE , ON WHEEL | 20 | 6.5 MILLION PERSON | MUNICIPALITY SERVICES |
| SECTION 22 | ##### MODERN PHOTO COPY MACHINE | 50 | 6.5 MILLION PERSON | MUNICIPALITY SERVICES |
| SECTION 23 | ##### MODERN TYPE WRITER | 50 | 6.5 MILLION PERSON | MUNICIPALITY SERVICES |

SECTION 1:

UPVC PIPES AND FITTINGS FOR SEWERS AND SHALL COMPLY WITH THE REQUIRMENTS OF (DIN 8061 – 8062 ) - WALL THICKNES TO COMPLY WITH DIN 8062 . ALL PIPES AND FITTINGS SHALL HAVE RUBBER RING JOINTS + 10% ADDITIONAL QUANTITY OF RUBBER RING JOINTS :

– PIPES:

| COD.NO | # DESCRIPION | #### QTY |
| --- | --- | --- |
| 03-01-00001 | Diameter 250 mm | 252,054 m |
| 03-01-00002 | = 315 mm | 170,418 m |
| 03-01-00003 | = 400 mm | 93,660 m |
| 03-01-00004 | 500 mm | 34,128m |
| 03-01-00005 | 600 mm | 25,438m |

B-FITTINGS

| COD.NO | DESCRIPION | QTY |
| --- | --- | --- |
| 03-01-00006 | T Socket – Spigot 250 110 mm | 11,497 pcs |
| 03-01-00007 | ## T Socket – socket 250 110 mm | 2,873 pcs |
| 03-01-00008 | ## T Socket - Spigot 315 110 mm | 3,265 pcs |
| 03-01-00009 | ## T S socket – socket 315 110 mm | 1,085 pcs |
| 03-01-00010 | ## Saddle 250 110 mm | 5,437 pcs |
| 03-01-00011 | ## Saddle 315 110 mm | 12,014pcs |

SECTION 2:

2-GRP pipes for gravity sewers and shall comply with requirements of B.S 5480 – pipes shall be ( SN 10000)with simple push fit joints and addition ajoint should be fitted to one end of each pipe at the factory additional 10% of joint should be supplied .

| COD.No | DESCRIPION | QTY |
| --- | --- | --- |
| 03-01-00012 | Diameter 700 mm | 8,000m |
| 03-01-00013 | Diameter 800 mm | 8,000 m |
| 03-01-00014 | Diameter 900 mm | 8,000m |
| 03-01-00015 | Diameter 1000 mm | 4,000m |
| 03-01-00016 | Diameter 1800 mm | 2,000m |

SECTION 3:

3- SPAR E  PARTS FOR  SEWAGE TREATMENT PLANTS :

| COD.NO | Descreption | #### QTY |
| --- | --- | --- |
| 03-01-00017 | Gear box : size MHT 2 Rating 1.5 kw output 71.3 rpm ratio 20.34:1 | 2 |
| 03-01-00018 | Gear box : size MHT 3 Rating 1.5 kw output 46 rpm ratio 31.48:1 | 2 |
|  | TRANSFOR MERS: (INDUSTIERAL TYPE) INDOOR |  |
| 03-01-00019 | 3M.V.A , 11KV- 3.46KV | 1 |
| 03-01-00020 | 600 K.V.A, 3.3 KV – 400V | 1 |
| 03-01-00021 | 100 K.V.A , 3.3 KV – 400V | 1 |
| 03-01-00022 | 2 M.V.A , 11KV –400 V | 3 |
| 03-01-00023 | 750 K.V.A, 3.3KV –400V | 1 |
| 03-01-00024 | 1M .V.A, 11KV –400 V | 2 |
| 03-01-00025 | 250 K.V.A, 3.3 KV – 400V | 3 |
| 03-01-00026 | 500 K.V.A ,3.3 KV –400 V | 2 |
| 03-01-00027 | 1 M.V.A, 3.3KV – 400 V | 1 |
|  | ELECTRICAL MOTORS |  |
| 03-01-00028 | Sequirral cage induction motor: 7.5 kw, 380v ,17.6 A, 975 RPM ,V1 , delta connection class F IP 55 | 60 |
| 03-01-00029 | Sequirrel cage .: 15 kw, 380v ,31 A, 1440 RPM ,V1 , delta connection class F IP 55 | 60 |
| 03-01-00030 | Slip ring : 105 HP ,3.3kv ,585 rpm, Ip 23,v1 ,Vrot = 400 Irat =119A class F-H | 1 |
| 03-01-00031 | Slip ring :,3.3kv 220kw,422 rpm, Ip 23, ,Vrat 500 Irat =252A class F-H | 1 |
| 03-01-00032 | Slip ring : 160 kw ,3.3kv ,492 rpm,V1 , class F- | 2 |

| COD.NO | Descreption | #### QTY |
| --- | --- | --- |
| 03-01-00033 | Slip ring : 400v,297 kw , ,585 rpm,V1 , (F1) class F- Ip 23 | 1 |
| 03-01-00034 | Slip ring : 160 kw ,3.3kv ,720 rpm,V1 , class F- Ip 23 | 1 |
| 03-01-00035 | Slip ring: 90 kw ,3.3kv ,720 rpm,V1 , class F- Ip 23 | 1 |
| 03-01-00036 | GRAPHITE BRUSHES : Copper –graphite brushes with flexible wire coated by anti corrosive metal : 60*40*30 mm | 500 |
| 03-01-00037 | Centrifugal pump with motor Type:- nowc 6532 BN 041.02.2 Capacity 65cbm/hr Speed:- 1450 rpm Suction flange:- Dn80 , pn10 Discharye flang:- DN 65 , pn 10 Delivery Height:- 33,mwc Motor- type:- AEG- SAM 160 LR$ Power :- 15 kw Speed:- 1500 rpm Voltage/frequency:- 380 v ,50 HZ Insulation class:- F | 2 |
| 03-01-00038 | AUTOMATIC GREASE PUMP WITH MOTOR Type:- FZ-A Reduction:- 1420:1 Container volume :- 2.5 litres Motor-make:- M.E.Z Type:- 3AP 63-4 Power :- 0.18 kw/ speed :- 1350 rpm Voltag/ Insulation class:- 380 v/50 HZ/f | 10 |
| 03-01-00039 | Screw pump with upper and lower bearing: Inclinaison :30 Geometric head: 4.64m Delivery head : 4.66m Screw diameter : 1200/609 mm Screw length : 9/32m Capacity : 305 l/s | 12 |
| 03-01-00040 | AIR Compressor Speed :- 1420 rpm Motor :- capacity 3.kw Max pressure : 105 bar With spare rotor vanes | 4 |
|  | AIR blowers roots type Capacity :1000m3/HR Power :30 kw Pressure:600 MBAR Speed : 1610 AIR blowers roots type Capacity :1000m3/HR Power :30 kw Pressure:600 MBAR Speed : 1610 Equipped with electric motor squirrel cage Power rate :30 kw 1500 RPM Ip55 class f 380 v 50 HZ |  |
| 03-01-00041 | AIR blowers roots type Capacity :4200m3/HR Power :110 kw Pressure:600 MBAR Speed : 1155 Equipped with electric motor squirrel cage Power rate :110 kw 1500 RPM Ip55 class f 380 v 50 HZ | 4 |
| 03-01-00042 | Wineflex coupling flexacier Length of seg . 155.9 mm Thicknass 4.06 mm Width.91.3mm Pitch no 1.48 | 60 |

SECTION 4:

# EQUIPMENT  FOR SEWAGE  NETWORK  REPAIRS

| CODN.o | DES | #### QTY |
| --- | --- | --- |
| 03-01-00043 | - Trench Boxes for reliable shoring , depth - of excavation up to 6.0 m - width up to 4.5m pipe sizes up to 1000mm | 10 |

B – pipe stoppers  for  pipe diameters:

| COD.NO | DESCRIPTION | QTY |
| --- | --- | --- |
| 03-01-00044 | 250 to 315 mm | 100 |
| 03-01-00045 | 400 mm | 40 |
| 03-01-00046 | 500 mm | 40 |
| 03-01-00047 | 600 mm | 40 |
| 03-01-00048 | 700 mm | 30 |
| 03-01-00049 | 800 mm | 30 |
| 03-01-00050 | 900 mm | 10 |
| 03-01-00051 | 1000 mm | 10 |

C_  Submersible  Pumps :

| COD.no | DESCRIPTION | QTY |
| --- | --- | --- |
|  | Submersible pumps for dewatering and drainage to be supplies with startors and 50 m longth hoze for each pump: |  |
| 03-01-00052 | motor 7.5 Kw Rpm 2870 Hmax :40m Dimensions suitable to be used in deep wells | 10 |
| 03-01-00053 | Motor :5.2 kw RPM : 2850 Hmax : 20m With built in motor protection – over temperature protection in stator windings | 10 |
| 03-01-00054 | Motor :8 kw RPM : 2800 Hmax : 30m With built in motor protection – over temperature protection in stator windings | 10 |

| COD.no | DESCRIPTION | QTY |
| --- | --- | --- |
|  | Submersible pumps for sewage use Submegible pumps with the following lnstalation accessories -Discharge elbow with flange - Flanged sleeve Discharge hose with hose clips (l head) Skirt base Chain with shackle Control panels and control system Cable type starting :Y^ Wet transportable |  |
| 03-01-00055 | 3 inch Diameter DN: 80 Solid size: 70-80 mm H:15.18m Q:15.20 l/s Power taken from main : 16-18 kw Power at motor shft :13-15 kw Rated voltage :380 | 100 |
| 03-01-00056 | 4 inch Diameter DN :100mm Solid size: 90-100 mm H:20-22.m Q:40-60 l/s Power taken from main : 16-18 kw Power at motor shft :13-15 kw Rated voltage :380 | 100 |

### D_ trailer for emergency works

| QTY | DES | COD.NO |
| --- | --- | --- |
| 4 | equipped with following components - crane 10 ton - Generating set 1250 k.v.a , 400 v , 50hz - submersible pumps with control board , discharge pipes, fittings(quick fit) and all necessary items for over pumping to 300 - m l - 3 size 16 inch ,H 20 m , 200 kw 3 - 3 size 14 inch ,H 20 m , 160 kw ## mobile work shop equipped with all -equipment. and - ## Tolls for the above submersibles installation | 03-01-00057 |

SECTION 5:

5-SEWAGE COMPACT UNITS

| QTY | DEC. | COD N.O |
| --- | --- | --- |
| 10 | Sewage treatment package system Population 50000 Flow 10000 m3/ day | 03-01-00058 |

-SEWAGE COMPACT UNITS  ( sewage  treatment package  system ) QTY   10

Population                    50000

Flow                               10000 m3/ day

SECTION 6:

SPARE PARTS AND EQUIPMENTS FOR SEWAGE  PUMPING STATIONS IN MUNICIPALITIES

| CODE NO. | ## ITEM | ## QTY |
| --- | --- | --- |
| 03-01-00059 | VERTICAL PUMPS AND MOTORS 1-VERTICAL PUMPS - 10 L/S-2100 L/S 2- MOTORS - 3KW-490KW | 265 |
| 03-01-00060 | CONTACTORS 25 A- 1000 A | 1000 |
| 03-01-00061 | CIRCUIT BREAKER 25 A- 800 A | 1000 |
| 03-01-00062 | OVERLOADS 7 A-400 A | 500 |
| 03-01-00063 | FUSE HIGH TENSION 63 A-200 A FUSE LAW TENSION 25 A- 630 A | 500 500 |
| 03-01-00064 | TRANSFORMERS - 11000 V – 3300 V 800 KVA -11000 V- 400 V 400 KVA | 20 10 |
| 03-01-00065 | LIGHTING PROJECTOR 160 W – 500 W | 800 |
| 03-01-00066 | FLUORESCENT | 5000 |

SECTION 7

###### SUBMERSIBLE PUMPS

| CODE NO | DESCRIPTION | QTY. |
| --- | --- | --- |
| 03-01-00067 | FOR DRINKING WATER 2 INCH DIAMETER , 30MHIGHT , 10-20L/C DISCHARGE | 75 |
| 03-01-00068 | FOR DRINKING WATER 4 INCH DIAMETER , 30MHIGHT , 50 L/SEC DISCHARGE | 75 |
| 03-01-00069 | FOR SEWAGE 2 INCH DIAMETER 15 M HIGH 10-20 L/SEC DISCHARGE | 75 |
| 03-01-00070 | FOR SEWAGE 4 INCH DIAMETER , 15M HEIGHT , 50 L/SEC DISCHARGE | 75 |

# SECTION 8

# SPARE PARTS FOR RAW WATER PUMPING STATIONS

# valves

# type – a – diaphragtor  valves  standard

| ## code | ## item | ## QTY |
| --- | --- | --- |
| 03-01-00071 | 100 mm DIAPHRAGM VALVE Q GRADE (2 OFF) COMPLETE HAND WHEEL OPERATED . | 10 |
| 03-01-00072 | DIAPHRAGM Q GRADE . | 15 |

| ## code | ## item | ## QTY |
| --- | --- | --- |
| 03-01-00073 | 50 mm DIAPHRAGM VALVE Q GRADE (17 OFF) COMPLETE HAND WHEEL OPERATED . | 20 |
| 03-01-00074 | DIAPHRAGM Q GRADE . | 30 |

# AL – QUAdisyah water plant

| ## code | ## item | ## QTY |
| --- | --- | --- |
| 03-01-00075 | STARTER FOR 10 PUMP WITH MOTORS OF 210 AMP 110 KW ACCORDING TO THE DRAWING INSTALLED BELLOW. | 10 |

| ## code | ## item | ## QTY |
| --- | --- | --- |
| 03-01-00076 | circuit BREAKER with 1600 amp according to the drawing installed bellow . | 4 |

# karama  and  doura

| ## code | ## item | ## QTY |
| --- | --- | --- |
|  | butter fly valves |  |
| 03-01-00077 | butter fly valves with electrical motor drive DIRECTLY CONTACTED in flow direction . dn/pn : 500/pn10 liquid : water p.p.m : 2.5 nots : for wash water | 16 right 16 left |
| 03-01-00078 | butter fly valves with electrical motor drive DIRECTLY CONTACTED in flow direction . dn/pn : 300/pn10 liquid : air p.p.m : - nots : for air | 16 right 16 left |
| 03-01-00079 | butter fly valves with electrical motor drive DIRECTLY CONTACTED in flow direction . dn/pn : 250/pn10 liquid : water p.p.m : 0.5 nots : for filtered water | 16 right 16 left |
| 03-01-00080 | annular butter fly valves with electrical motor drive spindle extention . dn/pn : 3000/pn10 liquid : water p.p.m : 0.5 nots : for the inlet for fillter | 64 |
| 03-01-00081 | butter fly valves with hydraulic rotating piston drive pd 75 . dn/pn : 500/pn10 liquid : - p.p.m : - nots : discharge water From river | 10 |
| 03-01-00082 | butter fly valves with hydraulic rotating piston drive pd 110 . dn/pn : 500/pn10 liquid : water p.p.m : 2.5 nots : discharge clear water | 10 |
| 03-01-00083 | hand driven butter fly valves . dn/pn : 400/pn10 liquid : water p.p.m : 2.5 nots : inlet water for washing | 6 |
| 03-01-00084 | hand driven butter fly valves . dn/pn : 600/pn10 liquid : raw water p.p.m : - nots : inlet water for washing |  |
| 03-01-00085 | hand driven butter fly valves . dn/pn : 500/pn10 liquid : water p.p.m : 2.5 nots : inlet to high lift pumps | 10 |

| ## code | ## item | ## QTY |
| --- | --- | --- |
|  | non return valves |  |
| 03-01-00086 | non return valves with lever and balancing weight . dn/pn : 500/pn10 liquid : raw water p.p.m : - nots : raw water line | 10 |
| 03-01-0087 | flap trap with lever and load for hydraulic main . dn/pn : 500/pn10 liquid : clear water p.p.m : 2.5 nots : clear water line | 10 |
| 03-01-00088 | flap trap with lever and load for rinsing pipe . dn/pn : 400/pn10 liquid : clear water p.p.m : 2.5 nots : rinsing water line | 6 |

| ## code | ## item | ## QTY |
| --- | --- | --- |
|  | thread valves |  |
| 03-01-00089 | thread valves (dis charge) circular gate compl with sealing rubber , spindle EXTENSION guiding device for spindle , fastenings and operating wheel depth of install ation = 6000 MM . dn/pn : 1000 liquid : clear water p.p.m : 10 nots : near the point for chlorine injection to the water store | 4 |

| ## Code | ## item | ## QTY |
| --- | --- | --- |
|  | filter switch board |  |
| 03-01-00090 | switch board to operate 5 butter fly valves driven by 5 electric motors up to 3kw in to directions. dimenSions not more than (70X58) cm . consists of : - main circuit breaker . - 5 dol starter with required protections and interlock to operate only one starter at atime in two direction . - 5 push BUTTON with signal lamp for (open) . - 5 push BUTTON with signal lamp for (close) . nots : related to item a butter fly valves for filter station . | 32 |
| 03-01-00091 | cable type 4 x 2.5 mm | 1800 M |

| ## Code | ## item | ## QTY |
| --- | --- | --- |
|  | filter nozzle |  |
| 03-01-00092 | filter nozzle type s4 material polypropylen pp thread 1¼" w w All DIMENSIONS & DETAILS ARE SHOWN WITH INCLUDED DRAWING | 52800 |

# MEASURING  INSTRUMENTS

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00093 | DIGITAL MULTIMETER FOR ELECTRICAL MEASUREMENTS - APPROVED TO ISO 9002 - IMPACT RESISTANT WITH SUITABLE CAX - OVER LOAD PROTECTION AND RUSED ON ALL RANGES - MEASUREMENT RANGE : DC VOLTAGE 400mv - 1000 v AC VOLTAGE 400mv - 750 v DC CURRENT 4mA - 10A AC CURRENT 4mA - 10A RESISTANCE 400 W - 40 M W CAPACITANCE 4nf=1uf BATTERY : 1.5 V DC | 20 |

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00094 | DIGITAL CLIP - ON AMMETER - MEASURES LARGE CURRENT INTENSIMES : 0-200-200A,AC,DC AC VOLTAGE 0 - 750 v DC VOLTAGE 0-200V RESISTANCE 0 - 2000 W BATTERY : 9 V DC | 20 |

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00095 | INSULATION TESTER TEST VOLTAGE : 250V ® 0-200 MOHM 500V ® 0-200 MOHM 1000V ® 0-2000 MOHM WITH SUITABLE BAG $LEADS | 20 |

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00096 | HAND TACHOMETERS FOR BOTH CLOCKWISE $ ANTI CLOCK WISE ROTATION - ACCURACY ± 0.1 R/MIN - DIGITAL DISPLAY (4 DIGITS) - MEASURING RANGE R/MIN : 5-19999 m/min : 0.05 - 19999.9 | 20 |

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00097 | industrial thermometer (infrared type) - measuring rang : 50 - + 150 c° - resolieteam : 0.1 - accuracy ± 1 - battery : 9v dc | 20 |

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00098 | accelerometer for measuneng vibration | 20 |

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00099 | tool kit for electricians - wire stripper , stripping knife. for cables , SCREWDRIVERS set (both STRAIGHT slot $ phillips head) , side cutters , water pump pliers , combination pliers , round nose phers all in suitable tool box | 20 |

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00100 | tool kit for MECHANICAL work - hexagon socket set , tointed socker spanner set phillips screw driver set , slot head screw driver set, flat chisel , hammer , long nosed pliers , combination pliers , universal pliers , pipe wrench , casselte with 19 high speed drills in step of 0.5 mm SAW , RING SPANNER SET , ALLEN KEY SET ALL IN Suitable tool box | LUMP |

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00101 | BALL BEARING EXTRACTOR MANUAL TYPE WITH THREE SIZES ADJUSTABLE TYPE | 60 |
| 03-01-00102 | BALL BEARING EXTRACTOR HYDRAULIC TYPE WITH ALL ACCESSORIES | 20 |

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00103 | CABLE TERMINALS PRESS MANUAL | 20 |
| 03-01-00104 | CABLE TERMINALS PRESS HYDRAULIC | 10 |

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00105 | GREASE PUMP MANUAL | 20 |
| 03-01-00106 | GREASE PUMP TRANSPORTABLE | 40 |

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00107 | ELECTRIC DRILL WITH ALL DRILL SETS | 20 |
| 03-01-00108 | ELECTRIC DRILL HAMMER SIZE 25 mm WITH ALL ACCESSORIES | 10 |
| 03-01-00109 | ELECTRIC AIR BLOWER | 20 |

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00110 | WELDING MACHINE : 3- PH , 40-170A | 10 |
| 03-01-00111 | WELDING MACHINE : 1- PH , 40-150A | 10 |

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00112 | BATTERY CHARGER : 1- PH , 12-24VD.C ; CHARGING CURRENT ; 30A MAX ; SHORT CCT PROTECTION ( AUTO OFF) ; o /p current reading . ;mains pilot 1 amp indication ; main / auto CHARGE chang over | 20 |

RECOMMENDED EQUIPMENT for MEASUREMENT & TOOLS

| code | ###### item | QTY. |
| --- | --- | --- |
| 03-01-00113 | accelerometer for measuring vibration | 25 |

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00114 | photoelectric cell for measuring speed and phase (balancing ) | 25 |

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00115 | digital clamp ammeter for measuring current | 25 |

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00116 | voltage probe ; ac & d.c voltages | 25 |

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00117 | infra-red probe for measuring temp | 25 |

| ### code | item | QTY. |
| --- | --- | --- |
| 03-01-00118 | complete set of spanners 8 mm to 36mm | 50 |
| 03-01-00119 | complete set of ring spanners 8mm to 36 mm | 50 |

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00120 | digital avo 20 amps, 1000 vac ,500vdc | 50 |

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00121 | megger 1000v | 50 |

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00122 | complete set screw drivers | 50 |

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00123 | HYDRAULIC ball bearing puller | 25 |

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00124 | pipe wrench 8,12,18,24,36,48 inch | LUMP |

# CABLES

| ### code | item | qty. |
| --- | --- | --- |
| 03-01-00125 | MULTICORE , LOW VOLTAGE (0.6/1KV) POWER CABLES , WITH CIRCULAR STRANDED COPPER CONDUCTORS , XPLE INSULATED , PVC SHEATHED , ACCORDING TO VDEO271 AND IEC502/83 SPECIFICATION |  |
|  | NOMINAL CROSS SECTION NR x mm2 : |  |
| 03-01-00126 | 4 x 1.5 | 2000 m |
| 03-01-00127 | 4 x 2.5 | 2000 m |
| 03-01-00128 | 4 x 4 | 2000 m |
| 03-01-00129 | 4 x 6 | 2000 m |
| 03-01-00130 | 4 x 10 | 2000 m |
| 03-01-00131 | 4 x 16 | 2000 m |
| 03-01-00132 | 4 x 25 | 2000 m |
| 03-01-00133 | 4 x 35 | 2000 m |
| 03-01-00134 | 3 x 35 + 16 | 1000 m |
| 03-01-00135 | 3 x 50 + 25 | 1000 m |
| 03-01-00136 | 3 x 70 + 35 | 1000 m |
| 03-01-00137 | 3 x 95 + 50 | 1000 m |
| 03-01-00138 | 3 x 120 + 70 | 1000 m |
| 03-01-00139 | 3 x 150 + 70 | 1000 m |
| 03-01-00140 | 3 x 185 + 95 | 500 m |
| 03-01-00141 | 3 x 240 + 120 | 500 m |
| 03-01-00142 | 3 x 300 + 150 | 500 m |

ALWAHDA

| ## code | ## item | ## QTY |
| --- | --- | --- |
| 03-01-0143 | BUTTER FLY VALVE with elect motor drive directly CONSTRICTOR in flow direction two flange (12) holes and width of flange (6 cm) wide of the valve is 50 cm size 300mm. . liquid : water p.p.m : 2.5 nots : these valve from filter to RESERVOIR | 8 |
| 03-0100144 | BUTTER FLY VALVES WITH ELECTRICAL motor two SOCKET with adapter flange width of flange is (5cm) wide of the valve (35cm) size (150 mm) . dn/pn : 500/pn10 liquid : water p.p.m : 2.5 nots : for wash water | 8 |
| 03-01-00145 | butter fly valves with electrical motor size (300 mm) .double flange (12)holes for screm . dn/pn : 500/pn10 liquid : water p.p.m : 2.5 nots : for wash water | 8 |
| 03-01-00146 | butter fly valves with electrical motor size (300 mm) .double flange (12 )holes for SCREAM . liquid : water R.p.m : 2.5 | 8 |
| 03-01-00147 | SWITCHBOARD to operate at least (4) valve driven by electrical motor in to direction and also contain push BUTTON with signal lamp for open and also PUSH BUTTON for signal lamp for CLOSED Q = 8. | 8 |

# Automatic CYLINDER CHANGE OVER UNIT

| ## code | ## item |  | ## QTY |
| --- | --- | --- | --- |
| 03-01-00148 |  | # automatic CYLINDER CHANGE OVER UNIT - 240 V AC SUPPLY , 1 PH , 50 Hz - EACH CHLORINE CYLINDER IS 1000 Kg - AUTOMATIC & MANUAL OPERATION - INDICATING LAMPS FOR THE STATE OF EACH CONNECTED CYLINDER ( EMPTY , FULL , STANDBY , IN OPERATION .. ETC ) - ALARM UNIT :- - GIVES AUDIBLE ALARM FOR 5 SEC (ADJUSTABLE) IN CASE OF CHANGING CYLINDERS . - GIVES AUDIBLE ALARM FOR 30 SEC (ADJUSTABLE) IN CASE OF INSUFFICIENT PRESSURE . | ## 8 |

WATER Treatment PLANT WITH CAPACITY

# OF  15 MGD (66500 M3 /d)

| CODE | # DESCRIPTION | # QTY |
| --- | --- | --- |
| 03-01-00149 | # WATER Treatment PLANT WITH CAPACITY # OF 15 MGD (66500 M3 /d) THE ABOVE MENTIONED PLANT HAS EXISTING SEDIMENTATION WITH DIMENSIONS THE FIRST ONE (30 X 30.0 X 4.0 m) AND THE SECOND (30.0 X 48 X 3.5 m) . SO THE REQUIRED EQUIPMENTS ARE AS BELOW :- PRESSURE FILTER (HORIZONTAL TYPE) WITH FOLLOWING SPECIFICATIONS :- - CAPACITY OF EACH FILTER 200M3 /h . - FLOW RATE OF THE FILTER 8 m3 /m3 /h . - THICKNESS OF THE SHELL 10 mm . - THICKNESS OF THE DISHED END 12.0 mm . - BACK WASHING FLOW RATE 30m3/m3/h . - NO. OF THE FILTERS 16 . - THE FILTERS EQUIPPED WITH ALL INLET , OUTLET , BACK WASHING , DRAIN , AIR RELIEF VALVES , FLOW METER FOR EACH ONE , INLET , OUTLET MANOMETERS, AND ALSO CONTAINS SAND , GRAVEL . | # 2 |
|  | - ALL THE FILTERS INSTALLED IN TWO ROWS ONE FACE TO THE OTHER:- supply and install the main inlet SEDIMENT pipe ( length APPROXIMATELY 60m NOMINAL DIAMETER 800 mm) THE MAIN OUTLET FILTERED PIPE WITH ITS FITTINGS AND ACCESSORIES . MAIN PIPE FOR THE OUTLET OF THE BACK WASHINGS DRAINAGE , DESLUDGING , CONNECTED TO APIT . MAIN FLOW METER AND PRESSURE METER FOR THE OUTLET OF THE PLANT :- - THE FILTERS TO BE ON SKID . - THE DISTANCE BETWEEN EACH TWO FILTER TO BE 70 cm FOR ONE ROW . - 2- ALUMINIUM SULFATE SOLUTION - PREPARING AND DOSING SYSTEM - INCLUDES :- - TWO TANKS CAPACITY OF EACH ONE 10 m3 . - ONE MIXER FOR EACH TANK . - STAINLESS STEEL BASKET INSTALLED AT THE TOP OF THE TANK WITH CAPACITY 200Kg . - TWO DOSING PUMPS CAPACITY OF EACH 1000 L/h , HEAD 40 m WITH ALL THE PVC FITTINGS BETWEEN THE TANKS AND THE PUMPS , BETWEEN THE PUMPS AND THE EJECTION POINT AND ALSO INCLUDES FLOWMETER (0 – 2000 L/h) AND PRESSURE METER . - LIFTING CRANE CAPACITIES 200 Kg SUPPORTED BETWEEN THE TANKS . - LADDER AND WALK WAY AROUND THE TANKS . # THE TANKS COVERED WITH ROOF . | * |

|  | - 3- DISINFECTION SYSTEM :- INVOLVES THE FOLLOWING :- - THREE CHLORINATING CAPACITY OF EACH ONE 10 Kg/h INCLUDES ALL THE FITTINGS AND THE ACCESSORIES LIKE PRESSURE , VACUUM REGULATORS , INJECTORS , WATER PRESSURE METER , CHLORINE GAS PRESSURE METER . - FLEXIBLE PIPES WITH VALVES BETWEEN THE GAS CYLINDER , AND THE COLLECTOR PIPE , AND BETWEEN THE COLLECTOR PIPE AND THE CHLORINATIONS :- - GAS LEAK DETECTOR AND ALARM . - CHANGE OVER SWITCH . - TWO BOOSTER PUMPS WITH TWO STARTERS FIXED IN ONE ELECTRICAL BOARD ONE STAND BY AND THE OTHER UNDER OPERATION CAPACITY OF EACH ONE 6 m3/h , H = 80 m . - THERE ARE TWO LOCATIONS FOR THE DISINFECTION :- - AT THE MAIN INLET SEDIMENTED WATER PIPE ( PRE – CHLORINATION ) . - AT THE MAIN OUTLET FILTERD WATER PIPE (POST – CHLORINATION) . - THE SYSTEM INCLUDES BOTH INJECTION POINTS AND ALL THE PVC PIPES AND THE CONNECTIONS . - 4- AIR BLOWER THIS SYSTEM TO BE USED IN THE BACK WASHING OF THE FILTERS . - TWO AIR BLOWERS ONE STAND BY THE OTHER UNDER OPERATION CAPACITY OF EACH ONE 1000 m 3 /h , H = 10 m . - Electrical paneL includes main circuit breaker and two STARTS with all protection units , cables , and the fittings between the air blowers and the starters the DISTANCE between the starters and the electrical PANEL about 25 m . - AIR BLOWER SYSTEM MUST BE CONNECTED TO ALL THE FILTERS SO MUST BE INCLUDES NON-RETURN VALVES , VALVE FOR EACH FILTER , ALL THE PIPES AND THE FITTINGS |  |
| --- | --- | --- |

| 1600 1600 | 1600 1600 1600 25 100 630 630 630 630 630 630 100 25 ## 5- SUPPLY AND INSTALL 4 FILTER LOADING PUMPS IN ONE ROOM WITH CAPACITY Q = 950m3/h H =50 m FOR EACH PUMP . ## 3 PUMPS UNDER OPERATION THE FOURTH STAND BY ## THE PUMPS TO BE INSTALLED IN LOCATION CLOSE TO THE SEDIMENTATION TANK . - SUCTION OF THE PUMPS TO BE ONE COLLECTED PIPE DIAMETER ( ) LINED ALONG THE CHANNEL INCLUDES :- - BRANCH WITH GATE VALVE. - FOR EACH PUMP. - SCREEN FOR EACH BRANCH ALL THE FITTINGS . - BUTTER FLY VALVE FOR EACH . - NON-RETURS VALVE FOR EACH . - MAIN COLLECTOR PIPE FOR ALL THE DISCHARGES OF THE PUMPS . - MAIN FLOW METER AND PRESSURE METER . - PRESSURE METER FOR EACH PUMP . - CONTROL PANEL FOR THE FOUR PUMPS INCLUDES THE FOLLOWINGS :- - THREE MAIN CIRCUIT BREAKER WITH CAPACITY 1600 A . - TWO BUS COUPLERS EACH 1600 A . - sIx circuit breakers with capacity 630 a . - TWO CIRCUIT BREAKERS WITH 100 A. - two CIRCUIT BREAKERS WITH 25 A. - Four soft starters capacity of each 250 Kw - TWO STARTERS 100 A EACH . - TWO STARTER 25 A . |  |
| --- | --- | --- |
|  | ###### 6- LOW LIFT PUMPING STATION ## THE STATION ABOVE IS EXISTING AND THE REQUIRED AS BELOW :- - 4 (FOUR) ROW WATER PUMPS WITH CAPACITY OF 1060 m3/h , H = 20 m , NPSHr = 2.5 m , N = 1450 RPM OR LESS , SPLITE CASE PUMP TYPE . - SUCTION VALVE FOR EACH PUMP WITH DIAMETER ACCORDING TO THE PUMP DIMENSIONS . - DISCHARGE VALVE AND NON-RETURN VALVES WITH DIAMETER S ACCORDING TO THE PUMP DIMENSIONS . - ALL THE ACCESSORIES FITTINGS , PRIMING VALVES AND FITTINGS . - OVER HEAD TRAVELLING CRANE WITH CAPACITY 3.5 TON AND ALL THE EQUIPMENT FOR THE CRANE THE TOTAL HEIGHT OF THE STATION IS( ) THE LENGTH ( ) THE WIDTH ( ) . ELECTRICAL CONTROL PANEL هNCLUDES THE FOLLOWING :- |  |

|  | - TWO MAIN CIRCUIT BREAKERS EACH WITH CAPACITY 630 A ( 400 V , 3 ph , 50 C/S) . - BUS COUPLER 630 A . - 5 (FIVE) CIRCUIT BREAKERS EACH WITH 250 A . - TWO 100 A CIRCUIT BREAKER . - TWO 60 A CIRCUIT BREAKER . ACCORDING TO THE FOLLOWING DRAWING 630 A 630 630 60 100 250 250 250 250 250 100 60 - THE PANEL INCLUDES THREE AMPERE METERS , ONE VOLTMETER FOR EACH PART AND ALL THE INDICATION LAMPS , AND FOULT ALARM . - 4 (FOUR) STAR-DELT STARTERS ONE FOR EACH PUMP CAPACITY 100 Kw THE STARTER MUST BE INSTALLED CLOSE TO THE PUMP . - STARTER 5 Kw OR SIMILLAR FOR THE SUBMERSIBLE PUMP . - ALL THE CABLES BETWEEN THE CONTROL PANEL AND THE STARTERS APROXIMAT LENGTH 60 m AND ALL THE CABLE TRYS , FITTINGS . - CABLES BETWEEN THE STARTERS AND THE MOTORS . - ALL THE REQUIREMENT AND THE ADAPTATIONS BETWEEN THE PUMPS AND THE COLLECTOR PIPE . |  |
| --- | --- | --- |
|  | - NOTICE :- RESPONSIBILITY OF THE SUPPLIERS :- - INSTALLATIONS OF THE FILTERS , PUMPS , PANELS , STARTERS , AIR BLOWERS , CRANES , CHEMICAL , SYSTEMS , PIPES , FITTINGS , CABLES . - OPERATION FOR TESTING . - TRAINING ENGINEERING STAFF FOR ONE MONTH . |  |

PRESSURE  REDUCING  AND  SHUT  OFF  VALVE  S1  1812.1  SERIES  71P  1140

- FISCHER  AND  PORTER  (P.R.V)

- ORIGIN: FRANCE

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00150 | PRESSURE REDUCING AND SHUT OFF VALVES 71P1140 CHLORINE SULFOR DIOXIDE 8000 PPD AMMONIA 4000R PPD. KEY 71P1140 | 10 |
| 03-01-00151 | VALVE OPERATOR OIL FILLED 120V 50 HZ CHLORINE SULFOR DIOXIDE 8000 PPD AMMONIA 4000R PPD. KEY 1 | 6 |
| 03-01-00152 | TRIM COPSVLE ASSEMBLY S1/2 CHLORINE SULFOR DIOXIDE 8000 PPD AMMOUIA 4000R PPD KEY 26 | 10 |
| 03-01-00153 | GASKET KEY 15 | 20 |
| 03-01-00154 | GASKET KEY 40 | 20 |
| 03-01-00155 | DIAPHRAGM KEY 14 | 10 |
| 03-01-00156 | SPRING KEY 11 | 4 |
| 03-01-00157 | DIAPHRAGM BOLT ASSEMBLY KEY 16 | 10 |
| 03-01-00158 | ORING KEY 8 | 4 |
| 03-01-00159 | STEM VALVE RAN KEY 5 | 6 |
| 03-01-00160 | GLAND VALVE KEY 7 | 6 |

- T.D.V

- ROTORK  SHIMADRO  KYOTO

- JAPAN

| code | item | QTY. |
| --- | --- | --- |
|  | ACTUATOR TYPE SP2 - 70A SERIAL NUMBER AIH 2813 OUT PUT SPEED 30/50HZ 60H R.P.M MOTOR 3 PHASE SQUIRREL CAGE INDUCION ROTOR RTG 15MINS (5.5)KW 2 P CLASS SUPPLY 3 PHASE 50/60 HZ 400V AVERAGE CURRENT 13A MAX SEATING CURRENT 35A ENCLOSURE WT OIL SAE 80W/90 3.5 L AUXILIARY 15A 400V SWITCH RTG 0.8A 125V DC |  |
| 03-01-00161 | SP2 - 70A/WT 100A | 4 |
| 03-01-00162 | SP2 - 45A/WT 70A | 4 |
| 03-01-00163 | SP2 - 45A | 2 |

NORTH  RESRVOIR  chlorineation MOTIVE  WATER  BOOSTER  PUMPS  TYPE  R 32-250  S.P.P SIGUND  PULSOMETER  PUMPS  LTD  READING  W/GEN/52

| code | item | PART NO. | QTY. |
| --- | --- | --- | --- |
| 03-01-00164 | CASE WEAR RING | 1510 | 10 |
| 03-01-00165 | SHAFT WITH KEGS | 2100 | 4 |
| 03-01-00166 | IMPELLER | 2200 | 4 |
| 03-01-00167 | COMPLETE ROTTING ASSEMBLY |  | 4 |
| 03-01-00168 | SHAFT SLEEVE | 2450 | 14 |
| 03-01-00169 | SET OF GLAND PACKING | 4130 | 20 |
| 03-01-00170 | COMPLETE COUPLING ALIGNMENT CONTROL |  | 1 |
| 03-01-00171 | SET OF GASKETS | 4541 | 20 |
| 03-01-00172 | CASTANETS LEVEL OILIER | 3855 | 2 |
| 03-01-00173 | STAFFING BOX GLAND | 4120 | 4 |
| 03-01-00174 | RADIAL SHAFT SEAL RING | 4311 | 4 |
| 03-01-00175 | IMPELLER NUT LOCK WASHER | 6543 | 4 |
| 03-01-00176 | FLINGER LANTERN RING | 2540 | 10 |

KENT  PROCESS  CONTROL  BB-C  OPEN - SCREEN  TYPE  PRESSURE  BUIB

- ORIGN  : U.K

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00177 | BULB : OPEN TYPE : SCREEN CASE MATERIAL: CASTIRON DIAPHRAGM MATERIAL : NITRLLE RUBBER WEIGHT : 6.12 Kg | 10 |
| 03-01-00178 | BULB : OPEN TYPE : SCREEN CASE MATERIAL: CASTIRON DIAPHRAGM MATERIAL : NITRLLE RUBBER WEIGHT : 6.12 Kg | 10 |

LINES  INSTRUMENT  ENGINEERS  LTD  REG.  OFFICE  43  HONEY  HILL  ROAD  KINGS  WOOD  BRISTOL  BSIS4JB  ENGLAND

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00179 | INSTRUMENT NO. 170783 RANGE 0-2000 Kg MINOR MARKS 5KG MAJOR MARKS 20.0 KG DIAL DIAMETER 18" CRANE SCALES | 6 |

# TELEMETRY  SYSTEM  FOR  SUPERVISION  OF  TREATMENT  PLANT  AND  NETWORK

| ## code | ## item | ## QTY |
| --- | --- | --- |
| 03-01-00180 | TELEMETRY SYSTEM FOR SUPERVISION OF TREATMENT PLANT AND NETWORK :- - PROVISION OF COMPUTER SYSTEM TO REPLACE THE EXISTING 6 (PDP 11/73) COMPUTERS WITH ALL THE NECESSARY PERIPHERALS AND HARDWARE . - PROVISION OF SOFTWARE SUITABLE FOR THE NEW COMPUTER SYSTEM TO MANGE THE RECEIVED INFORMATION FROM THE RADIO SYSTEM AND TRANSFORM THEM TO REPORTS , GRAPHS , PICTURES .. ETC . - PROVISION OF RADIO TRANSMITTERS TO SEND THE MEASURED VALVE TO THE COMMAND CENTER WITH ALL THE NECESSARY POWER SUPPLIES & AUXILIARIES . - THE OFFER MAY INCLUDE THE USING OF THE EXISTING EQUIPMENT . - THE OFFER SHOULD INCLUDE SITE SUPERVISION OF INSTALLATION & TRAINING OF BWA STAFF . - RECOMMENDED SPARE PARTS SHOULD BE INCLUDED . | 1 |

DAIAATSU DIESEL GENERATING SET MFG. CO. LTD.  OSAKA  JAPAN

| ## code | ## item | ## PART NO. | ## QTY |
| --- | --- | --- | --- |
|  | MODEL 6 DV-22 NO OF CYL 12 , ENGIN NO D622022V BORE 220 mm , MAX CONTINUOS RATING 10600PS STROK 280 mm ENGINE SPEED 1000 RPM |  |  |
| 03-01-00181 | COMPLETE CRANK SHAFT AS EMBOLI | E44060 | 2 SET |
| 03-01-00182 | MAIN BEARING ASSEMBLY COMPLETE | E44070 | 2 SET |
| 03-01-00183 | COMPLETE CAM SHAFT ASSEMBLY | E44110 & E44120 | 2 SET |
| 03-01-00184 | TIMING GEAR CASE ASSEMBLY COMP | E44300 | 2 SET |
| 03-01-00185 | GOVERNOR DRIVING GEAR ASSEMBLY COMP | E44370 & E44450 | 2 SET |
| 03-01-00186 | COMPLETE PISTON & CONNECTING ROCL ASSEMBLY | E22510 , E44520 & E22530 | 24 |

| ## code | ## item | ## QTY |
| --- | --- | --- |
| 03-01-00187 | WOOD WARD GOVERNOR COMPANY MAIN OFFICE : ROOK FORD 111 INOIS V.SA FORT COLLINS , COLORAdo , u.s.a , sydney , australia |  |
| 03-01-00188 | COMPLETE governor type vg8 dial governor | 3 |
| 03-01-00189 | meden VACUUM circuit breaker TYPE. vbed - b22ob-e rated voltage 12 kv rated current 600 a serial no mm. 1489 –2 meidensh electrical mfg .co ltd. | 5 |
| 03-01-00190 | DAIHATSU diEsel mfg . co . ltd - head office. tlx 0524-2723 - tokyo offie . tlx 0222-3377 japan - london office tlx 918932 daildn - g london |  |

###### CHECK  VALVES

| ## code | ## item | ## PART NO. | ## QTY |
| --- | --- | --- | --- |
| 03-01-00191 | VENDOR : GUICHON SA 73104 AIX LESBIANS |  |  |
| 03-01-00192 | CHECK VALVES DN500 ORING DN500 |  |  |
| 03-01-00193 | CHECK VALVES DN700 O RING DN700 |  |  |
| 03-01-00194 | SONIC AIR EXHAUST VALVE ERIRS:- SONIC AIR VALVE Ø 250 AIR INLET VALVE Ø 250 | NEYRTEC , ALSTHAM ATLAN TIGUE | 8 |

| ## code | ## item | ## PART NO. | ## QTY |
| --- | --- | --- | --- |
|  | DIAPHRAGM VALVES ERIK |  |  |
| 03-01-00195 | DIAPHRAGM VALVES DN. 200 PN16 RF | CODE MCO1 | 10 |

###### BALL  VALVES

| ## code | ## item | ## PART NO. | ## QTY |
| --- | --- | --- | --- |
|  | MECAFRANCE 10/18 RUE DU LANGNE DOC. Z.A DES BETHUNES . |  |  |
| 03-01-00196 | BALL VALVE SW.3EN DN 8 | REF DBO1/A | 20 |
| 03-01-00197 | BALL VALVE SW.3EN DN 8 | REF DCO1 | 20 |
| 03-01-00198 | BALL VALVE SW.1EN DN 20 | REF DCO1 | 20 |
| 03-01-00199 | BALL VALVE SW.3EN DN 20 | REF DCO1 | 20 |
| 03-01-00200 | BALL VALVE SW.1EN DN 20 | REF DCO1 | 20 |
| 03-01-00201 | BALL VALVE SW.6EN DN 80 | REF DCO1 | 20 |
| 03-01-00202 | BALL VALVE SW.12EN DN 80 | REF DCO1 | 20 |
| 03-01-00203 | BALL VALVE SW.3EN DN 20 | REF DCO1 | 20 |
| 03-01-00204 | BALL VALVE SW.1EN DN 20 | REF DCO1 | 20 |

###### Cooling  water  pumps

| ## code | ## item | ## PART NO. | ## QTY |
| --- | --- | --- | --- |
| 03-01-00205 | Cooling water pumps : INGER SSOL PUMP |  |  |
| 03-01-00206 | COMPLETE COOLING MATER PUMP WITH MOTOR MEN 65-160 , Q = 70 m3/h , H = 21 m , 2900 R.P.M , 5.5 KW . | PF.3670.00.2310 2.05/4 | 6 |
| 03-01-00207 | COMPLETE COOLING MATER PUMP WITH MOTOR MEN 65-160 , Q = 70 m3/h , H = 21 m , 2900 R.P.M , 5.5 KW . | PF.3670.00.2310 2.05/5 | 4 |

###### ON – LINE  PUMP

| ## code | ## item | ## QTY |
| --- | --- | --- |
| 03-01-00208 | ###### ON – LINE PUMP THE REQUIRED PUMPS MUST BE ON – LINE TYPE WITH FOLLOWING SPECIFICATIONS :- - * Q = 175 MLD (175000 m3/d) , H = 30 m , QAUNTITY (2) . - THE PUMP INSTALLS ONE ON APIPE WITH DIAMETER 1600 mm , THE SECOND ONE ON APIPE WITH DIAMETER 1400 mm . - THE PUMPS INCLUDE THE FOLLOWINGS :- ## ALL THE ELECTRICAL PANELS AND ## STARTERS , TRANSFORMERS FROM 11 Kv/3.3Kv ## OR TO THE 0.4 Kv . - VALVES , ACCESSORIES , ADEPTATIONS , FITTINGS , FLOWMETERS , PRESSURE METERS FOR EACH LINE . - OVER HEAD TRAVELLING CRANE WITH CAPACITY SUITABLE TO THE TOTAL WEIGHT OF THE PUMP . - SPARE PARTS FOR FIVE YEARS OPERATION. - CABLES , CABLE TRAYS , BETWEEN THE ELECTRICAL PANELS AND THE MOTORS AND ALL OTHERS . - Q = 1000 m3/h , H = 40 m , QUANTITY (4) PUMPS . - THE PUMP COMPLETE WITH MOTOR AND INCLUDES THE FOLLOWINGS :- - ELECTRICAL PANELS , STARTERS , TRANSFORMERS FROM 11 Kv/0.4 Kv . - VALVES , ACCESSORIES , ADEPTATIONS , FITTINGS , FLOWMETER , PRESSUREMETER , FOR EACH PUMP . - SPARE PARTS FOR FIVE YEARS OPERATION - CABLES , CABLE TRAYS , BETWEEN THE ELECTRICAL PANELS AND THE MOTORS , AND ALL OTHERS . - Q = 200 m3 /h , H = 40 m , QUANTITY (4) , THE PUMP COMPLETE WITH MOTOR AND INCLUDES ALL THE ITEMS MENTIONED ABOVE FOR (B) EXCEPT TRANSFORMER . - Q = 100 m3 /h , H = 40 m , QUANTITY (8) PUMPS THE PUMP COMPLETE WITH MOTOR AND INCLUDES ALL THE ITEMS MENTIONED ABOVE FOR (B) EXCEPT TRANSFORMER . NOTICE :- The supplier responsible for installing the system mentioned above for item (a) only . |  |

KARHK  WATER  SUPPLAY  SLUDGE  PUMPING  AIR  COMPRESSOR  SET

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00209 | COMPLETE COMPRESSOR SINGLE STAG AIR COMPRESSOR TYPE : 205013 CAPACITY EACH 10 L/S AT 8 BAR MOTOR : 5.5 KW VOLTAGE : 400V , 3PH FREQUENCY : 50 HZ | 6 |

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00210 | AIR BLOWER COMPLETE INCLUDES ( BLOWER + MOTOR + COUPLING + BASE PLATE + STATER ) Q = 2700 m3/h R.P.M = 960 SUCTION PIPE = 250mm DELIVARY PIPE = 200 mm TYPE : GM 16121 FOR RASHEED & WAHDA WTP | 6 |

| code | item | qty. |
| --- | --- | --- |
| 03-01-00211 | poly electrolyte catonic allied colloids ( POWDER FORM) | 50 ton |

- KARKH  WATER  SUPPLEY

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00212 | AMMONIA 0.88 AR (B.D.H) | 4x2.5 L |
| 03-01-00213 | AMMONIA SOLUTION 35% (B.D.H) | 2x2.5 L |
| 03-01-00214 | AMMONIA CHLORIDE (B.D.H) | 2x500 g |
| 03-01-00215 | HYDROCHLORIC ACID AR (B.D.H) | 2x2.5 L |
| 03-01-00216 | ETHYLENE DIAMINE TETRA ACETIC ACID DISODIUM SALIT (B.D.H) | 1x20 g |
| 03-01-00217 | HYDROCHLORIC ACID GPR (B.D.H) | 2x2.5 L |
| 03-01-00218 | SULPHURIC ACID SOLATION 0.02 N CONVAL (B.D.H) | 1x20g |
| 03-01-00219 | DIMETHYL AMINO BENZALDEHYDE | 4x25g |
| 03-01-00220 | GIYCEROL ANALAR | 2x2.5L |
| 03-01-00221 | SILVER NITRITE SOLUTION 0.028 N COMOL | CARTONOF 6x5 |
| 03-01-00222 | ACETIC ACID CH3COOH = 60.05 MINIMUM ASSAY (ACIDIMETRIC) 99.5% | 50x2.5L |
| 03-01-00223 | SODIUM ACE TATE ANHYDROUS MINIMUM ASSAY (EXNA) 98% | 4x50kg |
| 03-01-00224 | M-ENDO AGAR LES (OXOID) | 3x500g |
| 03-01-00225 | BRILLANT GREEN BILE (2%) BROTH | 3x500g |
| 03-01-00226 | MEMBRINE FAECL COLIFORM BROTH | 2x500g |
| 03-01-00227 | FUCHSIN (BASIC) (B.D.H) | 2x25g |
| 03-01-00228 | TRYPTON WATER (OX0ID) | 2x500g |
| 03-01-00229 | ETHANOL 90% (B.D.H) | 2x2.5L |
| 03-01-00230 | DECON 90% (B.D.H) | 5x5L |
| 03-01-00231 | DI SODIUM HYOLROGEN ORTHOPHO (B.D.H) | 2x500g |
| 03-01-00232 | ANTIMONY POTASSIUM TATRATE (B.D.H) | 2x100g |
| 03-01-00233 | MAGNESIUM SULPHATE (B.D.H) | 2x500g |
| 03-01-00234 | TEEPOL BLEACH (B.D.H) | 5x1L |
| 03-01-00235 | YEAST EXTRACT AGAR (OXOID) | 4x500g |
| 03-01-00236 | MINERALS MODIFIED MEDIUM BASE (OXOID) | = |
| 03-01-00237 | NUFLOW MEMBRANE FILTER SIZE 47 mm | 50x200 |
| 03-01-00238 | TEST TUBE SIZE 19x150 | 100 |
| 03-01-00239 | TEST TUBE SIZE 16x150 | = |
| 03-01-00240 | PETRI DISHS 52X58 mm | 50 |
| 03-01-00241 | PETRI DISHS 95X101 mm | 50 |

- WEIR  COMPANY

| code | item | SITE | QTY. |
| --- | --- | --- | --- |
|  | PUMP NO. 4756560 UNIT CODE SRA8 |  |  |
| 03-01-00242 | IMPELLER | WA WAT | 2 |
| 03-01-00243 | SHAFT SLEEVE | RA | 4SET |
| 03-01-00244 | COMPLETE VOTATING ASSEMBLY | KAD | 4 |

| code | item | SITE | QTY. |
| --- | --- | --- | --- |
|  | SPP Q = 263.894S , N = 1450 R.P.M TYPE BR 10 E | KAD |  |
| 03-01-00245 | IMPELLER |  | 2 |
| 03-01-00246 | SHAFT SLEEVE |  | 2SET |
| 03-01-00247 | COMPLETE VOTATING ASSEMBLY |  | 2 |
| 03-01-00248 | LUNTERN RING |  | 2SET |

ELE. SPARE  PARTS  FOR  wahda  AND RASHEED  WATER  PUMPS

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00249 | CONTACTOR EH 100 55 KW 200 A 3POLE 415 V COIL 380-400 V 50 HZ | 10 |
| 03-01-00250 | CONTACTOR EH 90 55 KW 380-415 V COIL 380-400 V 50 HZ | 10 |
| 03-01-00251 | CONTACTOR EH 300 250 KW 380- 415 V COIL 380-400 V 50 HZ | 10 |
| 03-01-00252 | CONTACTOR EH 210 160 KW 380- 415 V COIL 380-400 V 50 HZ | 15 |
| 03-01-00253 | CONTACTOR EH 175 380- 415 V COIL 380-400 V 50 HZ | 6 |
| 03-01-00254 | FUSE CYL. EI 33 500V 10 A 3-PHASE 10x38 | 20 |
| 03-01-00255 | SEQUNCE RELAY EWS 8A 250V 3-PHASE | 15 |
| 03-01-00256 | YD RELAY Y 9A US 100-415V AC1 230 6A 400V 3.8A | 15 |
| 03-01-00257 | CURRENT TRANSFORMER TA 30 A 200/5 | 15 |
| 03-01-00258 | CURRENT TRANSFORMER TA 30 A 500/5 | 15 |
| 03-01-00259 | CURRENT TRANSFORMER A 300/5 | 3 |
| 03-01-00260 | AMMETER 300/5 A | 6 |
| 03-01-00261 | AMMETER 200/5 A RANGE (0-600A) | 6 |
| 03-01-00262 | OVER LOAD T135 DU RANG (80-110)A | 6 |
| 03-01-00263 | OVER LOAD T450 DU RANG (220-310)A | 6 |
| 03-01-00264 | OVER LOAD T200 DU RANG (150-200)A | 6 |
| 03-01-00265 | POWER SWITCH 500A IEC 947 | 3 |
| 03-01-00266 | POWER SWITCH 250A T200 K 11 IEC 947-3 SK616 | 3 |
| 03-01-00267 | POWER SWITCH 315A IT315 K 111 | 3 |
| 03-01-00268 | PUSH BOTTON GREEN SK 616 00-B ITH : 10A | 3 |
| 03-01-00269 | PUSH BOTTON SK 616 003-A 230 V MAX 2W | 10 |

| code | item | QTY. |
| --- | --- | --- |
|  | ELC. EQUIPMENT |  |
| 03-01-00270 | CONTACTOR TYPE OKYM 5W22 STROMBERG ITH 400 A 415V | 30 |
| 03-01-00271 | CONTACTOR TYPE ASEA 800 A | 6 |
| 03-01-00272 | CONTACTOR TYPE ASEA 300 A | 8 |
| 03-01-00273 | CONTACTOR TYPE ASEA 200 A | 6 |

- CLARIFIER  SCRAPER

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00274 | SCRAPER WHEEL FOR CLARIFIERS THE WHEEL IS MADE OF CYLINDERICAL DRUM COATED WITH POLY - URETHANE SUBSTANCE ALL DETAILS FOR CONSTRUCTION AND DIMENTIONS ARE SHOWN WITH THE INCLUDED DNAWING . | 30 |

- 11 KV  DISTRIBUTWIN  BOAND  FOR  KARMA  STREAM  1, 2

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00275 |  |  |

- INCOMING  FEADERS x 2

- EMERGENEY  FEADERS x 2 (11KV  GENERATOR) 1350 KW EACH

- BUD  COUPLER x 1

- TRANSFORMER  OUTGOING  630 KVA x 5

- SPARE  OUT  GOING  FEADERS x 2

- ALL  THE  MECESSARY  MESURMENT &  PROTECTION  EQUEIPMENTS,

- SUPERVISION  OF  THE  INSTLLATION

- BEARINGS

| CODE | ITEM | QTY |
| --- | --- | --- |
| 03-01-00276 | PLUMMER BLOCK SKF. SN 216+1216 | 10 |
| 03-01-00277 | PLUMMER BLOCK SKF. SN 213+1213 | 10 |
| 03-01-00278 | SPHERICAL ROLLER BEARING 6322 | 30 |
| 03-01-00279 | BEARING 6310 | 20 |
| 03-01-00280 | BEARING 6307 | 30 |
| 03-01-00281 | BEARING 6207 | 40 |
| 03-01-00282 | BEARING 6315 | 10 |
| 03-01-00283 | BEARING 7318 | 10 |
| 03-01-00284 | BEARING 22216 | 10 |
| 03-01-00285 | BEARING 1209 | 10 |
| 03-01-00286 | NAC 205 | 20 |
| 03-01-00287 | BALL BEARING SKF 6307/C3 | 30 |
| 03-01-00288 | MOTOR BEARINGS SKF 6310/C3 | 20 |
| 03-01-00289 | BEARING 6214 | 16 |
| 03-01-00290 | BEARING FOR MOTOR 6322C3 | 26 |
| 03-01-00291 | BEARING FOR MOTOR 6313 C3 , 6312C3 | 8 |
| 03-01-00292 | BALL BEARING FOR MOTOR NO. 6317 C3 | 26 |
| 03-01-00293 | BALL BEARING FOR MOTOR NO. 6320 C3 | 16 |
| 03-01-00294 | THRNST BEARRING 6309 (SKF) | 16 |
| 03-01-00295 | LINE BEARING 6211 (SKF) | 6 |

# SUPPLIER  : DEGREMONT  COMPANY

- ORIGEN  : FRANCE

- MANUFACTURER : ROLLIX  GROUPE  DEFONTAING

| code | item | QTY. |
| --- | --- | --- |
| 03-01-00296 | BEARING TYPE : 080675 – ZZ00A NO. 0230 | 20 |

# LAB

| ## code | ## item | ## QTY |
| --- | --- | --- |
| ## 03-01-00297 | ## WATER STILL (GFL) 8L/H 220V WITH AQLL ACCESSORIES STEEL | ## 3 |
|  | ## COLONY COUNTER COUNT WITH ALL ACCESSORIES. | ## 3 |
|  | ## PORTABLE TURBIDING METER RANGE (0-1000) N.T.U WITH ALL ACCESSORIES | ## 3 |
|  | ## (0-1) (0-10) (10-100) N.T.U PRECISION AND ANALYTICAL BALANCE , SATARIOUS . 220 VOLT WITH ALL ACCESSORIES. | ## 3 |
|  | - HACH LABORATORY – TURBIDITEMETER SERIE 2100 N , 220 VOLT RANGE ## (0-1,1-100,0-1000,0-10000)N.T.U ACCESSORIES .(BENCH) | ## 3 |
|  | - FIELD CODUCTOETER LF 197 WTW (BENCH ) ,220 VOLT , 0.00 MS/CM …. 2000 MS/CM T= -5 ….99 C (BENCH ) ## WITH ALL ACCESSORIES | ## 3 |
|  | - POCKET - CONDUCTOMETER , W.T.W ## LF 340 –A | ## 3 |

|  | - - LABORATORY PLL METER RANGE (0-14) , 220 VOLT WITH ALL ACCESSORIES. POKET PH METER PH (0-14) VIBRATORY SIVE SHAKER (220VOLT ) ANALY SENE TYPE AS 200 (RETSCH ) STELL BASKET 10 CM× 12 × 14 CM ACCA CHARGERS INPUT (200- 240) V OUT PUT DC 2,4 V /9V POLYETHYLENE WASH BOTTLES SIZE 250 ML AUTOMATIC BURETTES (0-50) ML DISPENSETTE STANDARD (1-10) ML VOLUME GLASS, PLASTIC PETRI DISH 100 MM DIAMETER 200 GLASS , 200 PLASTIC AUTO CLARES , PRESSURE GAUGE , AUX 701% D SAFETY VALVE , TEMPERATURE GAUGE (220-240)V WITH ALL ACCESSORIES ANALYTICAL ELECTROIC BALANCE WITH DIGITAL DISDLY RANGE 160 G READ ABILITY 0.0001 GM PRECISION STANDARD 0.001 GM TES TUBE SIZE 19× 150 ,16× 150 MM , 10× 180 MM 20 – NESSLER CYLINDERS 100 ML CAP TALL FORM AND SHORT FORM COLOUR LESE GLASS WITH PDISHED 60 AOMS 21- FILTER PAPER WHAT MAN NO. SIZE 15BCM NO. 1,40,40 22 - WHAT MAN FILTER PAPER GF/C FILTER SIZE 7 CM AUTOMATIC BARETTE ZERRO 25ML CAPACITY WITH BLOWING BALL CLEAR GLASS AND AMBER GLASS JAR SPECMEN PETG COP 1L (90× 180MM) BEAKER 25- STANDARIZATION TURBIDITY KIT (1.0,10,100,1000) USED WITH LAB TURBIDIMETER MODEL HACH 2100 | 2 2 1 10 10 50 40 40 200 for each 2 2 200 for each 100 10x100 10x100 20 60 7 |
| --- | --- | --- |

| ## code | ## item | ## QTY |
| --- | --- | --- |
| 03-01-00298 | 26 – SILICA DISH DEEP FORM 100ML | ## 50 |
| 03-01-00299 | 27 – PORCELAIN DISH DEEP (100,250) | ## 50 FOR EACH SIZE |
| 03-01-00300 | 28 – CONICAL FLASH ERLENMEGER , PYREX ,GLASS NARROW NECK GRATUATED 100 ML CAP. 100,200ML | ## 100 FOR EACH SIZE |
| 03-01-00301 | 29- BEAKER POLYTHENE , GRADUATED SIZE 50, 100, 250ML | ## 50 FOR EACH SIZE |
| 03-01-00302 | 30- CULTURE MEDIA BOTTLES NARROW MONTH PYREX GLASS WITH INTER CHANGEABLE GLASS STOPPER CAPACITY 100 ML 250 ML | ## 100 FOR EACH SIZE |
| 03-01-00303 | 31- BOTTLES NARROWW MONTH , REAGENT PYREX GLASS AND WIDE MONTH CAPACITY 500 ML | ## 50050 FOR EACH SIZE |
| 03-01-00304 | 32- BOTTLE DROPPING AMBER GLASS WITH GROORE IN STOPPER CERAMIC ENOMEL LABEL SELF COLOUR ON WHITE BACK GROND , SIZE 50 ML | ## 20 |
| 03-01-00305 | 33- BOTTLES ASPIRATOR GLASS WITH STOPPER ,AND GROUND SIDE SOCKET , FITTED WITH INTER CHANGE ABLE STOP COCK SIZE 10 AND 20 LITER | ## 10 FOR EACH SIZE |
| 03-01-00306 | 34- STOP COCK PYREX GLASS WITH 29/32 JOINT | ## 20 |
| 03-01-00307 | 35- FUNNELS COCK PYREX GLASS DIMETER 35,45 MM | ## 30 FOR EACH SIZE |
| 03-01-00308 | 36- ACETONE (ANALAR) 99.5% | ## 5L |
| 03-01-00309 | 37- ACETONE ACID (ANALAR) 99.5% | ## 10L |
| 03-01-00310 | 38- ETHANNL (ANALAR) (99-100)% | ## 10L |
| 03-01-00311 | 39- SULPHURIC ACID (ANALAR) 98.5% | ## 10L |
| 03-01-00312 | 40- POTASSIUM + HIO CYANATE (ANALAR) | ## 1 KG |
| 03-01-00313 | 41- DI- SODIUMETHYLENE DI – AMINE TETRA ACETIC ACID SOL : (0.02N) CONROL | ## 1× 80 PIECES |
| 03-01-00314 | 42- SULPHURIC ACID SOL : 0.02 N CONVOL | ## 1× 80 PIECES |
| 03-01-00315 | 43- D.PD TABLE NO.I | ## 1000 TAB |
| 03-01-00316 | 44- SULPHANIL AMIDE (AR) | ## 6×250G |
| 03-01-00317 | 45- SODIUM ACETATE ANHYDROUS CH3COONA= 82.03 | ## 1KG |
| 03-01-00318 | 46- POTASSIUM IODIDE | ## 1KG |
| 03-01-00319 | 47- HYDROGEN FLURIDE (AR) HF | ## 4× 250 ML |

- FILTERS  FOR  7 NISSAN

| CODE | ITEM | QTY |
| --- | --- | --- |
|  | FILTERS COMPANY VANNES LEFEBVRE |  |
| 03-01-00320 | BUTTER FLY VALVE TYPE 310 DIAMETER 600 mm WITH PNEUMATIC ACTUATOR TYPE AP 75-250 WITH ADDITIONAL TWO FLANGES OF 600 mm . | 14 |
| 03-01-00321 | BUTTER FLY VALVE TYPE 310 DIAMETER 450 mm WITH PNEUMATIC ACTUATOR TYPE AP 75-200 WITH ADDITIONAL TWO FLANGES OF 450 mm . | 28 |
| 03-01-00322 | BUTTER FLY VALVE TYPE 310 DIAMETER 300 mm WITH PNEUMATIC ATNATOR TYPE AP 50-160 WITH ADDITIONAL TWO FLANGES OF 300 mm . | 14 |
| 03-01-00323 | VIKING JONSON JOINT 600 m | 28 |
| 03-01-00324 | VIKING JONSON JOINT 450 m | 56 |
| 03-01-00325 | VIKING JONSON JOINT 300 m | 28 |
| 03-01-00326 | VALVE 100 mm | 14 |
| 03-01-00327 | VALVE 50 mm | 14 |
| 03-01-00328 | NOZZLES TYPE D.20-CODE 60 436 WITH JOINTS Ø 28 x 40 – 2 mm THICK – CODE 60463 . | 92000 |
| 03-01-00329 | PARTIALIZATION BOX TYPE DE.40 COMPLETE WITH ALL ACCESSORIES . | 14 |
| 03-01-00330 | SCOUR AIR BLOWER (HIBBON) TYPE DV50 COMPLETE WITH MOTOR AND STARTER (Q = 3900 m3/h , H = 0.3 bar ) . | 3 |
| 03-01-00331 | DESK AND WASHING AUTOMATION CABINET CONSIST OF THE FOLLOWING :- - CYCLOMATIC TYPE SEM 70/2. - SOLENOID VALVE M2T301 . - HEAD LOSS METER . - ON/OFF SWITCH . - SIGNAL LAMPS . - AIR VALVES . - ALL CONTROL EQUIPMENTS FOR OPERATIONS . | 14 |
| 03-01-00332 | GATE VALVE 450 mm | 3 |
| 03-01-00333 | GATE VALVE 400 mm | 3 |
| 03-01-00334 | NON – RETURN VALVE 400 m | 3 |
| 03-01-00335 | NON – RETURN VALVE 200 m | 3 |
| 03-01-00336 | IRON PIPE 600 mm | 300 m |
| 03-01-00337 | IRON PIPE 300 mm | 200 m |
| 03-01-00338 | IRON PIPE 350 mm | 70 m |
| 03-01-00339 | IRON PIPE 450 mm | 80 m |
| 03-01-00340 | IRON PIPE 900 mm | 50 m |
| 03-01-00341 | CUPPER PIPE 8 mm | 400 m |
| 03-01-00342 | CUPPER PIPE 10 mm | 600 m |
| 03-01-00343 | CUPPER PIPE 12 mm | 400 m |
| 03-01-00344 | CONNECTING FITTINGS 8 mm | 200 |
| 03-01-00345 | CONNECTING FITTINGS 10 mm | 200 |
| 03-01-00346 | CONNECTING FITTINGS 12 mm | 200 |

- HIGH  LIFT  PUMPING  STATION FOR  7 NISSAN

| CODE | ITEM | QTY |
| --- | --- | --- |
| 03-01-00347 | HIGH LIFT PUMPING STATION ELECTRICAL SWITCH BOARD (7.2 Kv) DIMTION : L x W x H 323x100x224 THE BOARD CONTAIN 4 FOR CUBICLES WITH DRAWABLE CIRCUIT BREAKERS SF6 :- 2 IN COMERS 630 A 1 OUT GOING 630 A 1 BUS COUPLER 1250 A WITH PROTECTION RELAYS (S.CT. , THERMAL , UNDER VOLTAGE ) AND MEASURMENTS (VOLTS , AMPS , SWITCHS , ETC ) THE BOURD TO BE MATCHED WITH EXISTING EQUIPMENT. | 1 |
| 03-01-00348 | ELECTRICAL SWITCH BOARD (7.2 Kv) DIMTION : L x W x H 370x100x224 THE BOARD CONTAIN 4 FOR CUBICLES WITH DRAWABLE CIRCUIT BREAKERS SF6 :- 2 IN COMERS 630 A 2 OUT GOING 630 A 1 BUS RISER WITH PROTECTION RELAYS (S.CT. , THERMAL , UNDER VOLTAGE ) AND MEASURMENTS (VOLTS , AMPS , SWITCHS , ETC ) THE BOURD TO BE MATCHED WITH EXISTING EQUIPMENT. | 1 |

| CODE | ITEM | QTY |
| --- | --- | --- |
|  | SPARES CIRCUIT BREAKERS FOR THE ABOVE ITEM |  |
| 03-01-00349 | 630 A | 2 |
| 03-01-00350 | 1250 A | 1 |

| CODE | ITEM | QTY |
| --- | --- | --- |
| 03-01-00351 | CONTACTOR 7.2 Kv , 300 A , TYPE SFC320 , FIXED TYPE , MAIN COUL VOLTAGE , Cr 16.5 KA , EFFECT 6.6 KA , 16 AUXILLARY CONTACTS , DIMENTIONS L x W x H 56x54x40 | 10 |

- BRUSH  ELECTRICAL  MACHINES  LIMITED  FOR  7 NISSAN

| CODE | ITEM | QTY |
| --- | --- | --- |
|  | MOTOR TYPE : VNWL 560/42 8 POLE VERTICALY FLANGED INDUCTION MOTOR DRW. NO : AO 1432427 |  |
| 03-01-00352 | BRUSH GEAR SPINDLE | 12 |
| 03-01-00353 | BRUSH GEAR BRACKET | 9 |
| 03-01-00354 | BRUSH | 180 |
| 03-01-00355 | BRUSH HOLDER | 90 |
| 03-01-00356 | SLIP RING FAN | 2 |
| 03-01-00357 | SLIP RING | 6 |
| 03-01-00358 | BRUSH HOUSING SLEEVE | 2 |
| 03-01-00359 | INSULATION BUSH | 12 |
| 03-01-00360 | THRUST BRG | 6 |
| 03-01-00361 | INNER SPACER | 2 |
| 03-01-00362 | BALL BRG | 3 |
| 03-01-00363 | SLIP RING CLAMP (HALVE) | 2 |

- TURBO  SAN  FOR  7 NISSAN

| CODE | ITEM | QTY |
| --- | --- | --- |
|  | PUMP TYPE : TURBO CEP 400/400 SERIAL NO. : 44422 |  |
| 03-01-00364 | CASING WEAR RING | 10 |
| 03-01-00365 | BEARING CAP | 4 |
| 03-01-00366 | IMPELLER DOUBLE SACTION | 2 |
| 03-01-00367 | BEARING HOUSING | 2 |
| 03-01-00368 | BEARING COVER (INSIDE) | 2 |
| 03-01-00389 | BEARING COVER ( MOTOR SIDE ) | 2 |
| 03-01-00370 | BEARING END COVER | 1 |
| 03-01-00371 | OIL RING | 10 |
| 03-01-00372 | BEARING COVER | 2 |
| 03-01-00373 | STUFFING BOX BUSHING | 10 |
| 03-01-00374 | PUMP SHAFT | 2 |
| 03-01-00375 | SHAFT SLEEVE | 10 |
| 03-01-00376 | SHAFT NUT | 10 |
| 03-01-00377 | OIL RING SLEEVE | 10 |
| 03-01-00378 | OIL RING SLEEVE ( MOTOR SIDE ) | 10 |
| 03-01-00379 | OIL THROWER | 10 |
| 03-01-00380 | OIL THROWER (MOTOR SIDE) | 10 |
| 03-01-00381 | STUFFING BOX BUSHING | 10 |
| 03-01-00382 | STUFFING BOX GLAND | 10 |
| 03-01-00383 | IANTERN RING | 10 |

- 11KV  SF6  DRAWOUT  BREAKERS  FOR  7 NISSAN

| CODE | ITEM | QTY |
| --- | --- | --- |
| 03-01-00384 | RATED VOLTAGE 11 Kv RATED IMPULSE WITH STAND VOLTAGE 75 Kv RATED FREQMENCY 50/60 HZ RATED NORMAL CURRENT 630 A RATED SHORT CIRCUIT BREAK CURRENT 20 KA RATED DARATION OF SHORT CIRCUIT 3 SEC , SERIAL NO. YS/N/86/003 | 4 |

| CODE | ITEM | QTY |
| --- | --- | --- |
|  | YORK SHIR SWITCH GEAR FOR THE ABOVE BREAKERS |  |
| 03-01-00385 | CLOSING COIL | 10 |
| 03-01-00386 | TRIPPING COIL | 10 |
| 03-01-00387 | CHARGING MOTOR | 10 |

| CODE | ITEM | QTY |
| --- | --- | --- |
| 03-01-00388 | VOLTAGE TRANSFORMER TYPE Bs 3941 , RATION 11000/110 FREQ 50 HZ VA 100 CLASS 1.0 RUF 1.5/30 SEC IT 28/75 KV | 4 |

- ELECTRICAL  ACTUATORS FOR  7 NISSAN

| CODE | ITEM | QTY |
| --- | --- | --- |
| 03-01-00389 | ROTORK CONTROLS LIMITED TYPE : 11 A , SERIAL NO. : Z10910 A WIRING DIG NO. 2220 OUTPUT SPEED : 24 REV/MIN MAXIMAM TORQUE SETTING 68 N.m MOTOR RATING : 0.15 KW MOTOR SUPPLY 420-3-50 NOMINAL MOTOR CURRENT : 1.75A AUXILIARY SWITH 15A 440 VA.C 0.5A 125 VD.C | 4 |
| 03-01-00390 | SPARE : ELECTRICAL STATOR COIL | 10 |
| 03-01-00391 | ROTORK CONTROLS LIMITED TYPE : 11 A , SERIAL NO. : Z10910 D1 WIRING DIG NO. 2220 OUTPUT SPEED : 48 REV/MIN MAXIMAM TORQUE SETTING 54 N.m MOTOR RATING : 0.24 KW MOTOR SUPPLY : 420.3.50. NOMINAL MOTOR CURRENT : 1.75A AUXILIARY SWITH 15A 440 VA.C 0.5A 125 VD.C | 6 |
| 03-01-00392 | SPARE : ELECTRICAL STATOR COIL | 10 |

- CONTACTOR  FOR  7 NISSAN

| CODE | ITEM | QTY |
| --- | --- | --- |
| 03-01-00393 | COMPANY : STROMBERG TYPE : OKYMSW22 , Ith 400A , COIL VOILTAGE 110 V | 20 |
| 03-01-00394 | COMPANY : ASEA (ABB) TYPE : EH 550 , Ith 800A , COIL VOILTAGE 110 V | 4 |
| 03-01-00395 | COMPANY : ASEA (ABB) TYPE : EH 250 , Ith 440A , COIL VOILTAGE 110 V | 8 |
| 03-01-00396 | COMPANY : ASEA (ABB) TYPE : EH 160 , Ith 300A , COIL VOILTAGE 110 V | 8 |

pumps

splite  case  pump  complete  with  motor + FLEXIBLE  COUPLING + BASE  PLATE + STAR - DELTA - STARTER + SET  OF  WEARING  SPARE  PARTS  FOR  EACH  PUMP

| CODE | PUMP MODLE | Q m3lh | PUMP TYPE | HEAD m | SPEED R.P.M | ROTA-TION SENSE | SUC- TION DN/PN | DELIVERY DN/PN | LUBRICA- TION | IMPLELLER MATERIAL | SHAFT MATERIAL | SEAL | NPS HR (m) | MOTOR POWER KW | MOTOR IP | MOTOR INSULA-TION CLASS | VOLT/PH/FREQ 380/3/50 | MOTOR COOLNG | QTY | FLUID | COUPLING | SPARE PARTS | cif$ unit price | cif$ total price baghdad |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 03-01-00397 |  | 1000 | SPLIT CASE | 60 | 1450 | CW | 350/PN10 | 300/PN16 | GREASE | GSNZ10 | STAINLESS STEEL | PACKING |  | 250 | 55 | F | 380/3/50 | FAN- COOLED | 4 | TREATED WATER | FLEXIBLE COUPLING | - SET OF BEARING + SHAFT SLEEVE + IMPELLER RING+ LANTEM RING FOR EACH PUMP - COMPLETE ROTATING ASSEMBLY FOR THE ITEM |  |  |
| 03-01-00398 |  | = | = | = | = | ANTI CW | = | = | = | = | = | = |  | = | = | = | = | = | 3 | = | = | - SET OF BEARING + SHAFT SLEEVE + IMPELLER RING+ LANTEM RING FOR EACH PUMP - COMPLETE ROTATING ASSEMBLY FOR EACH ITEM |  |  |
| 03-01-00399 |  | = | = | 10 |  | CW |  |  | = | = | = | = | 2.5 |  | = | = | = | = | 4 | = | = | - DITTO - COMPLETE ROTATING ASSEMBLY FOR EACH ITEM |  |  |
| 03-01-00400 |  | 200 | EN- SUCTION | 50 | 1450 | = | 150/PN10 | 125/PN16 | = | = | = | = |  | 45 | = | = | = | = | 4 | = | = | - DITTO - COMPLETE ROTATING ASSEMBLY FOR THE ITEM |  |  |
| 03-01-00401 |  | 50 | = | = | = | = |  |  | = | = | = | = |  | 18.5 | = | = | = | = | 20 | = | = | - DITTO - COMPLETE FOUR ROTATING ASSEMBLY |  |  |
| 03-01-00402 |  | 25 | = | 35 | = | = |  |  | = | = | = | = |  |  | = | = | = | = | 15 | = | = | - DITTO - COMPLETE THREE ROTATING ASSEMBLY FOR THE ITEM |  |  |
| 03-01-00403 |  | 330 | SPLIT CASE | 70 | 1475 | = | 200/PN10 | 150/PN16 | = | = | = | = |  | 120 | = | = | = | = | 3 | = | = | - DITTO - COMPLETE ROTATING ASSEMBLY FOR THE ITEM |  |  |
| 03-01-00404 |  | 200 | EN- SUCTION | 35 | 2900 | = | 100/PN10 | 80/PN16 | = | = | = | = |  | 37 | = | = | = | = | 3 | = | = | -DITTO - DITTO |  |  |
| 03-01-00405 |  | 270 | SPLIT CASE | 50 | 1450 | = | 200/PN10 | 150/PN16 | = | = | = | = |  | 60 | = | = | = | = | 3 | = | = | - DITTO - DITTO |  |  |
| 03-01-00406 |  | 50 | EN- SUCTION | 80 | 2920 | = | 100/PN10 | 80/PN16 | = | = | = | = |  | 25 | = | = | = | = | 3 | = | = | - DITTO - DITTO |  |  |
| 03-01-00407 |  | 60 | = | 55 | 1450 | = | 150/PN10 | = | = | = | = | = |  | 37 | = | = | = | = | 3 | = | = | - DITTO - DITTO |  |  |
| 03-01-00408 |  | 540 | SPLIT CASE | 35 | = | = | = | = | = | = | = | = |  | 75 | = | = | = | = | 10 | = | = | - DITTO - COMPLETE FIVE ROTATING ASSEMBLY FOR THE ITEM |  |  |
| 03-01-00409 |  | 20 | BOOSTER PUMP | 65 | 2950 | = |  |  | = | = | = | = |  | 5.5 | = | = | = | = | 5 | = | = | - DITTO - COMPLETE ROTATING ASSEMBLY FOR THE ITEM |  |  |

###### FACE MASK AND BREATHING EQUIPMENTS

| CODE NO. | ## ITEM | ## QTY |
| --- | --- | --- |
| 03-01-00410 | ## BREATHING SYSTEM INCLUDES: SYLINDERS WITH CAPACITY SUTABLE FOR TWO HOURS WORKING X2 FACE MASK WITH FILTER SUTIBLE TO BE USED WITH CHLORINE GAS, WITH ACCESSORIES SUTABLE COMPRESSOR TO FILL THE CYLINDERS | ## 20 |

###### ELECTRICAL CHANGE OVER BOARD

| CODE NO. | ## ITEM | ## QTY |
| --- | --- | --- |
|  | ## LAW VOLTAGE ( 400 VAC, 3PH, 50HZ) AUTOMATIC OPERATION , (USING CONTECTORS OR CIRCUIT BREAKERS) SUTABLE FOR STAND BY GENERATORS MECHANICAL AND ELECTRICAL INTEROCKS TO PROVIDE SAFE OPERATION EITHER FROM MAIN OR GENERATOR INCLUSED IN SUTABLE BOARD TO BE WALL MMAUNTED LUMP INDECATORS FOR VOLTAGE SOURS |  |
| 03-01-00411 | ## 400A | ## 20 |
| 03-01-00412 | ## 630A | ## 10 |
| 03-01-00413 | ## 1250A | ## 5 |
| 03-01-00414 | ## 800A | ## 10 |

###### SECTION 9

###### DUCTILE IRON PIPES AND FITTINGS

| CODE NO | DESCRIPTION | QTY. |
| --- | --- | --- |
|  | supply of spigot and socket ductile iron pipes according to iso standard 2531 type k=9 with the following technical specifications. 1- internal pressure proof test = 50 bars 2- wall thickness should be according to the following formula : e = 5-8+0.003 nd WHERE , e = wall thickness IN (mm) nd = nominal diameter (mm) 3- length of EACH pipe segment should be 6 meters 4- pipes of push joint. 5- pipes should have ASPEN cement MORTAR inside lining and out side bitumen coating. - scope of supply : |  |
| 03-01-00415 | a- ductile iron pipes with nominal diameter of 100 mm including rubber joints. | 309,900 |
| 03-01-00416 | b- DITTO. with nominal diameter of 150 mm including rubber joints. | 160,000 M |
| 03-01-00417 | c- diTTo. with nominal diameter of 200 mm including rubber joints. | 84,000 M |
| 03-01-00418 | D- diTTo. with nominal diameter of 300 mm including rubber joints. | 60,000 m |
| 03-01-00419 | E- diTTo. with nominal diameter of 400 mm including rubber joints. | 60,000 m |
| 03-01-00420 | F- diTTo. with nominal diameter of 500 mm including rubber joints. | 60,000 m |
| 03-01-00421 | G- diTTo. with nominal diameter of 600 mm including rubber joints. | 60,000 m |
| 03-01-00422 | H- diTTo. with nominal diameter of 700 mm including rubber joints. | 60,000 m |
| 03-01-00423 | I- diTTo. with nominal diameter of 800 mm including rubber joints. | 12,000 m |
| 03-01-00424 | J- diTTo. with nominal diameter of 900 mm including rubber joints. | 12,000 m |
| 03-01-00425 | K- diTTo. with nominal diameter of 1000 mm including rubber joints. | 12,000 m |
|  | supply of ductile iron fittings suitable for ductile iron pipes according to iso standard 2531 with the following technical specifications a- Flanges should be of type np 16. b- fittings should have a cement MORTAR inside lining and out side bitumen coating. c- hydrostatic leak- TIGHTNESS test pressure should be not less then 25 bars. d- wall thickness should be according to the following formula. e = 7+0.014 nd for tees. e = 6+0.012 nd for other fittings. - scope of supply the scope of supply include all necessary rubber joints, GASKETS, washers, bolts , nuts and glands. ALL SOCKET JOINTS SHALL BE MECHANICAL JOINTS. |  |
| 03-01-00426 | a- dOuble flange bend -90 °- nominal diameter (mm) : 100 | 6,000 PCS. |
| 03-01-00427 | b- diTTo . nominal diameter (mm): 150 | 3,000 |
| 03-01-00428 | c- diTTo nominal diameter (mm) : 200 | 1,200 |
| 03-01-00429 | d- dOuble socket bend --90 °- nominal diameter (mm) : 100 | 6,000 |
| 03-01-00430 | e- diTTo nominal diameter (mm): 150 | 3,000 |
| 03-01-00431 | f- diTTo nominal diameter (mm) : 200 | 600 |
| 03-01-00432 | g- double flange bend 45° nominal diameter (mm) : 100 | 1,800 |
| 03-01-00433 | h- diTTo nominal diameter (mm) : 150 | 1,100 |
| 03-01-00434 | i- flange spigot nominal diameter (mm) : 100 | 3,000 |
| 03-01-00435 | j- flange socket nominal diameter (mm) : 150 | 3,000 |
| 03-01-00436 | k- all socket tee 150x100 mm | 6,000 |
| 03-01-00437 | l- all socket tee 100x100 mm | 12,000 |
| 03-01-00438 | m- double flange reducer 150x100 | 1,200 |
| 03-01-00439 | N- flange spigot nominal diameter (mm) :300 | 1,200 |
| 03-01-00440 | M- flange socket nominal diameter (mm) : 300 | 1,200 |
| 03-01-00441 | P- dOuble socket COLLAR NOMINAL DIA MM: 400 | 2,400 |
| 03-01-00442 | Q- dOuble socket bend --90 °- nominal diameter (mm) :300 | 1,700 |
| 03-01-00443 | r- dOuble socket bend --90 °- nominal diameter (mm) :400 | 1,200 |
| 03-01-00444 | ###### s.dOuble socket bend 45 °- nominal diameter (mm) :300 | 1,200 |
| 03-01-00445 | t- dOuble socket bend --45 °- nominal diameter (mm) : 400 | 1,200 |

###### SECTION 10:

- COMPACT  UNIT

| CODE NO | DESCRIPTION | QTY. |
| --- | --- | --- |
| 03-01-00446 | - COMPACT UNIT OF 50 m3 capacity | 12* |

- CONTAINERIZED  PREMOUNTED  WATER  TREATMENT  PLANT

----------------------------------------------------------------------------------------------

- NOS :                                                12*

PLANT  CAPACITY 	:	50 m3/hr

ELECTRIC  POWER	:	400 V+ 10%  , 50 Hz  ,  3-PHASE  A.C.

- RAW  WATER  PUMPS

--------------------------------- :

NUMBER 	:	*24

CAPACITY   :	65 m3/h

HEAD	:	20 m

- FILTER  LOADING  PUMP

------------------------------------- :

NUMBER	:	2

CAPACITY	:	50 M3/h

HEAD	:	50 m

HORIZONTEL , CENTRFUGAL  END  SUCTION  TYPE  WITH  SPEED  1450  R.P.M , GLAND  TYPE .

- FLOCCULATION

------------------------- :

- RETENTION  PERIOD  NOT  LESS  THAN  14.5  MINUTES

- SEDIMENTATION

-------------------------- :

HYDRAUTIC  SURFACE  LOAD  	:	1.O  m/hr

THICKNESS  OF THE  TANK  PLATE    :           6 mm

- FILTERATION

------------------- :

- FILTRATION  VELOCITY  NOT  MORE  THAN  :	9.0 m/hr

DRINKING  WATER  OUTLET  PRESSURE      :	50 - 60 METER

THICKNESS  OF THE  FILTER  PLATE  :                        10 mm

- THICKNESS  OF THE DISHED  END  OF

- FILTERS  TO  BE :                                                                 12 mm

- GENERAL

--------------- :

1- THE  PREFABRICATED  PLANT  IS DESIGNED  TO  PRODUCE  POTABLE  WATER  FROM  RIVER , LAKE  ,

THE PLANT IS  DESIGNED  FOR  EXTREMELY  EASY  ASSEMBLY  AND  DISASSEMBLY  IN  REMOTE  AREAS , I.E.  ALL  PROCESS  EQUIPMENTS  ARE  SKID  MOUNTED  IN  CONTAINER  UNITS  INCLUDING  TANKS , PUMPS , FILTERS , HYDROPHORES , ELECTRICAL  PANED  AND  DOSING  EQUIPEMENT  ARE  MOUNTED  IN  A CONTAINERIZED  CONTROL  BUILDING  THAT  IS  OPERATIVE  AFTER  COUNETION  OF  ELECTRICITY  AND  WATER .

2- THE  DRINKING  WATER  MEETS  THE  REQUIREMENTS  OF  THE  ( INTERNATIONAL  STANDARDS  FOR DRINKING  WATER )

( WORLD  HEALTH  ORGANISATION) .

- DISINFECTION

----------------------- :

CHLORINE  GAS  IS  USED  FOR  DISINFECTION , FIRST , BY  SHOCK  CHLORINATION , SECOND , ACONTINUOUS  CHLORINATION  IS  FORESEEN  TO AVOID  GERMINATION  IN  THE  DISTRIBUTION  NETWORK .

NUMBER OF UNITS	:	12*

CAPACITY			:	1000 g/h

ENCLUDING		:	2 CYLINDERS  WITH  65 Kg ,

- 2  BOOSTING  PUMPS  CAPACITY  2 m3/h , HEAD : 80 METER

- CHEMICAL  DOSING  SYSTEM

--------------------------------------------- :

a- ALUMINIUM  SULPHATE  PUMPS

--------------------------------------------------- :

CAPACITY	:	50 L/h

HEAD	:	6 bar

NUMBER	:	2

b- ALUMINIUM  SULPHATE  TANK

-------------------------------------------------- :

CAPACITY		:	1000 L

NUMBER		:	2

- INCLUDED  ONE  FLASH  MIXER  FOR  EACH  TANK .

- COMPACT  UNIT

| CODE NO | DESCRIPTION | QTY. |
| --- | --- | --- |
| 03-01-00447 | - COMPACT UNIT | 6 |

- CONTAINERIZED  PREMOUNTED  WATER  TREATMENT  PLANT

----------------------------------------------------------------------------------------------

- NOS :                                                6

PLANT  CAPACITY 	:	30 m3/hr

ELECTRIC  POWER	:	400 V+ 10%  , 50 Hz  ,  3-PHASE  A.C.

- RAW  WATER  PUMPS

--------------------------------- :

NUMBER 	:	2

CAPACITY   :	40 m3/h

HEAD	:	20 m

- FILTER  LOADING  PUMP

------------------------------------- :

NUMBER	:	2

CAPACITY	:	30 M3/h

HEAD	:	50 m

HORIZONTEL , CENTRFUGAL  END  SUCTION  TYPE  WITH  SPEED  1450  R.P.M , GLAND  TYPE .

- FLOCCULATION

------------------------- :

- RETENTION  PERIOD  NOT  LESS  THAN  14.5  MINUTES

- SEDIMENTATION

-------------------------- :

HYDRAUTIC  SURFACE  LOAD  	:	1.O  m/hr

THICKNESS  OF THE  TANK  PLATE    :           6 mm

- FILTERATION

------------------- :

- FILTRATION  VELOCITY  NOT  MORE  THAN  :	9.0 m/hr

DRINKING  WATER  OUTLET  PRESSURE      :	50 - 60 METER

THICKNESS  OF THE  FILTER  PLATE  :                        10 mm

- THICKNESS  OF THE DISHED  END  OF

- FILTERS  TO  BE :                                                                 12 mm

- GENERAL

--------------- :

1- THE  PREFABRICATED  PLANT  IS DESIGNED  TO  PRODUCE  POTABLE  WATER  FROM  RIVER , LAKE  ,

THE PLANT IS  DESIGNED  FOR  EXTREMELY  EASY  ASSEMBLY  AND  DISASSEMBLY  IN  REMOTE  AREAS , I.E.  ALL  PROCESS  EQUIPMENTS  ARE  SKID  MOUNTED  IN  CONTAINER  UNITS  INCLUDING  TANKS , PUMPS , FILTERS , HYDROPHORES , ELECTRICAL  PANED  AND  DOSING  EQUIPEMENT  ARE  MOUNTED  IN  A CONTAINERIZED  CONTROL  BUILDING  THAT  IS  OPERATIVE  AFTER  COUNETION  OF  ELECTRICITY  AND  WATER .

2- THE  DRINKING  WATER  MEETS  THE  REQUIREMENTS  OF  THE  ( INTERNATIONAL  STANDARDS  FOR DRINKING  WATER )

( WORLD  HEALTH  ORGANISATION) .

- DISINFECTION

----------------------- :

- CHLORINE  GAS  IS  USED  FOR  DISINFECTION , FIRST , BY  SHOCK  CHLORINATION , SECOND , ACONTINUOUS  CHLORINATION  IS  FORESEEN  TO AVOID  GERMINATION  IN  THE  DISTRIBUTION  NETWORK .

NUMBER OF UNITS	:	2

CAPACITY			:	500 g/h

ENCLUDING		:	2 CYLINDERS  WITH  65 Kg ,

- 2  BOOSTING  PUMPS  CAPACITY  2 m3/h , HEAD : 80 METER

- SODIUM  HYPO  CHLORIDE  SOLUTION  SYSTEM  INCLUDES  THE  FOLLOWING  :-

- TWO  DOSING  PUMPS  CAPACITY  = 50 L/h , H = 80 m .

- TWO  TANKS  CAPACITY OF  EACH  ONE  = 500 L .

- ELECTRICAL  MIXER  FOR  EACH  TANK  .

- ALL  THE  FITTINGS , HOSES , AND  ACCESSORIES .

- TWO  INJECTION  POINTS  (PRE – AND  POST  CHLORINATIONS) .

- CHEMICAL  DOSING  SYSTEM

--------------------------------------------- :-

a- ALUMINIUM  SULPHATE  PUMPS

--------------------------------------------------- :

CAPACITY	:	50 L/h

HEAD	:	6 bar

NUMBER	:	2

b- ALUMINIUM  SULPHATE  TANK

-------------------------------------------------- :

CAPACITY		:	500 L

NUMBER		:	2

- INCLUDED  ONE  FLASH  MIXER  FOR  EACH  TANK .

###### SECTION 11

HYDRAULIC AERIAL PLATFORM

| CODE NO. | ## ITEM | ## QTY |
| --- | --- | --- |
| 03-01-00448 | MONKING HEIGHT (17-22) M PLATE FORM HEIGHT (15-21) M LATERAL OUTREACH TO EITHER SIDE APPROX. (8.50-10) RANGE OF ROTATION APPROX. 360ْ SWIVELING ANGLE OF THE RUSSELL APPROX. 105ْ SIZE TUBULAR STEEL WORKING CAGE1.20X1.00 CARRYING CAPACITY OF CAGE (190-200) KG ENGINE : 4 CYLINDER, DIESEL ENG. TURBOCHARGED , H.P 200 TIRE SIZE : 900X20, 4X2 GEAR : 6 SPEED CLUTCH : SINGLE-PLATE, DRY CLUTCH | 4 |

###### SECTION 12

FIELD VEHICLES

| CODE NO. | ## ITEM | ## QTY |
| --- | --- | --- |
| 03-01-00449 | ENGINE : 6 CYLINDER, FOUR STORK, GASOLINE - CC H.P : (175-200) H.P , 5000 R.P.M-5000 R.P.M GEAR BOX : 5 SPEED, MANUAL CLUTCH : SINGLE DRY PLATE TIRE SIZE : 750/16 ADDITIONAL: FOUR DOORS – 2 BACK SIDE CARPURATER SYSTEM | 7 |

###### SECTION 13

###### CESSPOOL EMPTIER

| CODE NO | DESCRIPTION | QTY. |
| --- | --- | --- |
| 03-01-00450 | chassis cab : 4 x 2 ENGINE: 6 CYLINDER, 4 stroke. TURBOCHARGER POWER: NOT LESS THAN 240 hp. clutch : single plate gear box : 8 speed g. v. w : not less than 19 ton payload : not less than 12 ton Tier size : 1200 x 20 disk type tank capacity : not less than 10000 l flow rate :600 m/h WITH SPARE PARTS FOR TWO YEARS OPERATION | 30 |

###### SECTION 14

###### HIGH PRESSURE CESSPOOL EMPTIER

| CODE NO | DESCRIPTION | QTY. |
| --- | --- | --- |
| 03-01-00451 | CHASSIS CAB: 8X4 ENGINE: DIESEL , WATER COOLED , 6 CYLINDER IN LINE ENGINE TURBOCHARGED AND ENTER COOLED , DIRECT FUEL INJUNCTION TROPICAL FAN, FUEL FILTER , SINGLE BOX TYPE POWER: NOT LESS THAN 288 HP. CLUTCH: SINGLE PLATE DRY CLUTCH F&S , TYPE MFZ,, 430 HYDRAULICALLY OPERATED , AIR ASSISTED . ASBESTOS – FREE LININGS GEAR BOX : ZF 18S 151 SYNCHROMESH GEAR BOX 16 POWER WARD SPEEDS , 2 REVERSE , STICK SHIFT. MAX VACUUM : 800 MBAR MAX AIR VOLUME : UNLOADED RPM 1500 RPM 5900 CBM/TIM 1795 RPM 7070 CBM/TIM 2025 RPM 7970 CBM/TIM 2200 RPM 8660 CBM/TIM MEASUREMENTS (APPROX.) WIDTH 2460 MM LENGTH 8270 MM HEIGHT 2820 MM TIRE SIZE : 1200 X 20 WHEEL : 8.5X20 WEIGHT : NOT LESS THAN 13.4 TONS WITH 10% RECOMMENDED SPARE | 12 |

###### SECTION 15

PORTABLE STAND BY GENERATORS

| ## CODE NO | ## ITEM | ## QTY |
| --- | --- | --- |
| 03-01-00452 | GENERATING-SETS OF 75 KVA SPECIFICATION: - PORTABLE - TROPICAL RADIATOR - WITH ELECTRONIC BATTERY CHARGE - MANUALLY CHANG OVER SWITCH - WEATHER PROOF CANOPY | 30 |
| 03-01-00453 | GENERATING-SET OF : - 150 KVA - 250 KVA - 370 KVA SPECIFICATION: 1-TROPICAL RADIATOR 2- WITH ELECTRONIC BATTERY CHARGE 3- MANUALLY CHANG OVER 4-WEATHER PROOF CANOPY | 20 10 20 |
| 03-01-00454 | GENERATING-SET OF 1000 KVA 400 V SPECIFICATION: - TROPICAL RADIATOR - MANUALLY CHANG OVER - WEATHER PROOF CANOPY ONLY ONE IS PROOF SOUND. - STARTING BY ELECTRICAL STARTING MOTOR | 6 |

###### SECTION 16

MNI GARBAGE COLLECTORS

| CODE NO. | ## ITEM | ## QTY |
| --- | --- | --- |
| 03-01-00455 | CHASSIS CAB 4X2 ENGINE : 4 CYLINDER, WATER COOLED, DIRECT ENG. DIESEL ENG. POWER : 20-100 H.P CLUTCH : SINGLE PLATE GEAR BOX : 6 SPEED CAPACITY : 8 M3 COMPACT RATIO : 6:1 | 16 |

###### SECTION 17

# FORK LIFT

| CODE NO. | ITEM | QTY |
| --- | --- | --- |
| 03-01-00456 | CAPACITY : 3X5 TON H.P : 80-100 ENGINE : 4 CYLINDER, FOUR STROKE, DIESEL ENGINE. MAX FORK HEIGHT : 3,000 MM GROUND CLEARANCE : 200-300 MM | 6 |

SECTION 18

AIR COMPRESSORS

| ## CODE NO | ## ITEM | ## QTY |
| --- | --- | --- |
| 03-01-00457 | 7 BAR T.M : 1250 MAX SPEED : 1000 R.P.M Q :81 M3/H | 30 |

SECTION 19

RECOVERY TRUCK

| CODE NO | ## ITEM | ## QTY |
| --- | --- | --- |
| 03-01-00458 | ENGINE : 6 CYLINDER, INLINE, DIRECT ENG., TURBOCHARGED POWER: 280 H.P G.V.W : 28 TON PAYLOAD: 15 TON CLUTCH : SINGLE DRY PLATE GEAR : 8+1 TIRE SIZE : 1200X24 ROD THICKNESS : (1.5ً-2ً) LIFTING WEIGHT: 15 TON PULLING WEIGHT : 50 TON | 4 |

SECTION 20

###### FLOOD LIGHT PLANT

| CODE NO | DESCRIPTION | QTY. |
| --- | --- | --- |
| 03-01-00459 | AIR COOLED PORTABLE HYDRAULIC LIFTING AND LOWERING | 10 |

SECTION 21

###### PORTABLE DIESEL ENGINE , ON WHEEL

| CODE NO | DESCRIPTION | QTY. |
| --- | --- | --- |
| 03-01-00460 | 100X100 MM 150X150 MM SPECIFICATION: AIR COOLED STARTING BY TWO MEANS A-HANDLE , B-ELECTRICAL STARTING SELF PRIMING WITH VACUUM PORTABLE CAPACITY OF FUEL TANK : 8-10 WORKING HOUR | 20 |

- SECTION 22

###### MODERN PHOTO COPY MACHINE

| CODE NO | DESCRIPTION | QTY. |
| --- | --- | --- |
| 03-01-00461 | MODERN PHOTO COPY MACHINE | 50 |

- SECTION 23

###### MODERN TYPE WRITERS

| CODE NO | DESCRIPTION | QTY. |
| --- | --- | --- |
| 03-01-00462 | MODERN TYPE WRITERS | 50 |

| 03-01-00463 | Rollers with spare parts | 8 | pcs |
| --- | --- | --- | --- |

| SECTOR: | Water and Sanitation - Phase VII |  |  |
| --- | --- | --- | --- |
| Subsector: | Requirements for Processing and Distribution Sector of Oil & Gas |  |  |
| PROJECT or TITLE: | Asphalt plant in Dora - amended 23 August 2000 |  |  |
| CODE | DESCRIPTION | QTY | UNIT OF MEASURE |
|  | Feeder to the dryer |  |  |
| 03-01-00464 | Bracket of roller with adjustment and bearings | tba |  |
| 03-01-00465 | Gearbox | tba |  |
| 03-01-00466 | Motor | tba |  |
|  | Bitumen tanks |  |  |
| 03-01-00467 | Burner set | tba |  |
| 03-01-00468 | Loading pump including motor and starter for loading incoming bitumen | tba |  |
|  | Dryer |  |  |
| 03-01-00469 | Steel rollers | tba |  |
| 03-01-00470 | Bearings | tba |  |
| 03-01-00471 | Ring of drums | tba |  |
| 03-01-00472 | Mechanical part at the center of the dryer for the balance of the system (center dryer) | tba |  |
| 03-01-00473 | Gear box | tba |  |
| 03-01-00474 | Sprocket and chain | tba |  |
| 03-01-00475 | Filter air and trap recover | tba |  |
|  | Mixing Unit |  |  |
| 03-01-00476 | The unit comprising of arm | tba |  |
| 03-01-00477 | ball bearing and shaft | tba |  |
| 03-01-00478 | paddle | tba |  |
| 03-01-00479 | pneumatic cylinder mixture | tba |  |
| 03-01-00480 | compressed air system | tba |  |
| 03-01-00481 | electrical components | tba |  |
| 03-01-00482 | Gear box | tba |  |
| 03-01-00483 | Sieve | tba |  |
|  | Other issues |  |  |
| 03-01-00484 | Generator | tba |  |
| 03-01-00485 | Crane | tba |  |
| 03-01-00486 | Electrical and electronic components | tba |  |
| 03-01-00487 | Piping for bitumen | tba |  |
| 03-01-00488 | Quality control laboratory | tba |  |
| 03-01-00489 | Laboratory supplies | tba |  |
| 03-01-00490 | truck-mounted bitumen spraying machines & spare parts | 4 | Unit |
| 03-01-00491 | Road pavers with spare parts | 12 | pcs |
| 03-01-00492 | 11KV switchboard and associated DC system | 1 | Unit |

* amended 1 September 2000

* amended 17 August 2000