UNICEF - WATER & SANITATION - PHASE VII

1.1 Construction/Renovation/Expansion/Repair of Water Supply Systems

| Code | Description | Qty | Unit |
| --- | --- | --- | --- |
| 03-03-00001 | Submersible pump with direct coupled electrical motor and with non-return valve, control panel, 150 m three core cable and cable termination kit. Q = 10 cum/hr (min), head = 210 m (max), (SP 16-24), 380 V, 50 Hz, 3 Ph for 6.0 and 8.0 inches cased borewell. | 4 | Each |
| 03-03-00002 | Ditto item 1, but Q=14cum/hr (min), head=135M (max), (SP 27-14). | 3 | Each |
| 03-03-00003 | Ditto item 1, but Q=14cum/hr (min), head=185M (max), (SP 27-19). | 4 | Each |
| 03-03-00004 | Ditto item 1, but Q=14cum/hr (min), head=270 M (max), (SP 27-28). | 7 | Each |
| 03-03-00005 | Ditto item 1, but Q=22cum/hr (min), head=310 M (max), (SP 45-31). | 1 | Each |
| 03-03-00006 | Ditto item 1, but Q=2 cum/hr (min), head=115 M (max), (SP 8A-21). | 2 | Each |
| 03-03-00007 | Ditto item 1, but Q=16 cum/hr (min), head=280 M (max), (SP 25-30). | 1 | Each |
| 03-03-00008 | Ditto item 1, but (SP 8A-37). | 2 | Each |
| 03-03-00009 | Ditto item 1, but Q=50 cum/hr (min), head=135 M (max), (SP 77-10). | 3 | Each |
| 03-03-00010 | Ditto item 1, but (SP 27-24). | 2 | Each |
| 03-03-00011 | Submersible pump, Q=750cum/hr (min), head=70M (max), 1450 rpm, 180 Kw, 400V 50Hz, 3Ph. | 6 | Each |
| 03-03-00012 | Ditto item 1, but Q=22cum/hr (min), head=310M (max), (SP 46-23). | 5 | Each |
| 03-03-00013 | Steel spiral welded pipe 600mm thickness 8mm, PN 25 bar 12 meter long. | 580 | Each |
| 03-03-00014 | Pipe Mild steel medium series, longitudinally welded(High induction frequency welding), to be used for water distribution purposes, hot dipped galvanized and passiviated, each pipe to be hydro tested to tested as per eddy current method, to be manufactured as per ISO65-1981 from ST-37 commercial grade steel coil as per DIN 17100, both ends male threaded to ISO 7, duly galvanized and chamfered, socket one end with a galvanized socket, parallel thread and the other end protected with a HDPE threaded protected, covering enter pre greased thread of pipe and socket thread to be protected with oil, pipe length (excluding socket length): 6.00 meters (+0/-25mm) nominal diameter 150mm. | 50 | Each |
| 03-03-00015 | Ditto item 14 but ND = 200mm. | 50 | Each |
| 03-03-00016 | Ditto item 14 but ND = 250mm. | 50 | Each |
| 03-03-00017 | Ditto item 14 but ND = 300mm. | 50 | Each |
| 03-03-00018 | Motor set for submersible pump with tail cable and cable joint and control panel, 400V, 50HZ, 3PH, capacity 3.7KW | 3 | Each |
| 03-03-00019 | Ditto item 18 but capacity 5.5KW | 4 | Each |
| 03-03-00020 | Ditto item 18 but capacity 7.5KW | 2 | Each |
| 03-03-00021 | Ditto item 18 but capacity 11.0KW | 6 | Each |
| 03-03-00022 | Ditto item 18 but capacity 15.0KW | 5 | Each |
| 03-03-00023 | Ditto item 18 but capacity 18.5KW | 4 | Each |
| 03-03-00024 | Ditto item 18 but capacity 22.0KW | 4 | Each |
| 03-03-00025 | Ditto item 18 but capacity 30.0KW | 4 | Each |
| 03-03-00026 | Ditto item 18 but capacity 37.0KW | 4 | Each |
| 03-03-00027 | Flexible electrical power cable for deep well submersible motors size 3x16 mm2 | 1500 | ML |
| 03-03-00028 | Ditto as item 27 but size 3x10 mm 2 | 1000 | Each |
| 03-03-00029 | Ditto as item 27 but size 3x6 mm2 | 1500 | Each |
| 03-03-00030 | Ditto as item 27 but size 3x4 mm2 | 1000 | Each |
| 03-03-00031 | Control panel for submersible 11.00 KW motor with main switch circuit breaker phase failure relay, timer relay, over load relay, ammeter, and voltmeter, 380 Volt, 50 Hz, 3 PH, auto-transformer starter. | 8 | Each |
| 03-03-00032 | Ditto item 31 but capacity motor 18.5KW | 4 | Each |
| 03-03-00033 | Ditto item 31 but capacity motor 22.0 KW | 6 | Each |
| 03-03-00034 | Ditto item 31 but capacity motor 30.0 KW | 5 | Each |
| 03-03-00035 | Ditto item 31 but capacity motor 37.0 KW | 2 | Each |
| 03-03-00036 | Ditto item 31 but capacity motor for 75.0 KW | 2 | Each |
| 03-03-00037 | Deep well turbine pump capacity Q=14cum/hr(min), head=160M (max), BP27-16. Complete with bowl assembly, pump head and discharge flange with 3 inch BSP thread, electric motor 3x380/660V, 50Hz, with housing guard direct coupled with pump head, top column pipe 3 inch length 0.485M threaded with 8 threads per inch, complete with 3/4 inch line shaft, mechanical shaft seal and coupling, intermediate column pipe 3 inch line shaft, column bearing and liner, suction pipe 3 inch, length 1.64M with 3 inch spring loaded foot-valve with strainer 50M cable 4x6MM2 and 4 PCS cable gland, spare parts for two years operation, O&M manual in English with appropriate packing. | 2 | Each |
| 03-03-00038 | Ditto item 37, Q=22cum/hr (min), H=165m (max), (BP 45-16), or equivalent | 1 | Each |
| 03-03-00039 | Ditto item 37, Q=14cum/hr ), H=95m (max), (BP 27-10) | 2 | Each |
| 03-03-00040 | Ditto item 37, Q=22cum/hr (min), H=155m (max), (BP 45-12) | 2 | Each |
| 03-03-00041 | Column bearing with vulcanized rubber outer sleeve and rubber linings with bushes of synthetic material for vertical turbine pumps, size 3 x 1/2 inch | 50 | Each |
| 03-03-00042 | Ditto item 41 but size 3 x 5/8 inch | 50 | Each |
| 03-03-00043 | Ditto item 41 but size 3 x 3/4 inch | 50 | Each |
| 03-03-00044 | Ditto item 41 but size 4 x 3/4 inch | 50 | Each |
| 03-03-00045 | Ditto item 41 but size 4 x 7/8 inch | 50 | Each |
| 03-03-00046 | Sealing set for shaft seal for vertical turbine pumps size 5/8 inch | 30 | Each |
| 03-03-00047 | Ditto item 46 but size 3/4 inch | 20 | Each |
| 03-03-00048 | Ditto item 46 but size 7/8 inch | 20 | Each |
| 03-03-00049 | Shaft coupling for vertical turbine pumps size 5/8 inch | 20 | Each |
| 03-03-00050 | Ditto item 49 but size 3/4 inch | 20 | Each |
| 03-03-00051 | Ditto item 49 but size 7/8 inch | 20 | Each |
| 03-03-00052 | Driver for vertical turbine pump type BP 16/27/45 size 3/4 inch | 6 | Each |
| 03-03-00053 | Ditto item 52 but size 5/8 inch | 6 | Each |
| 03-03-00054 | Ditto item 52 but size size 7/8 inch | 6 | Each |
| 03-03-00055 | Line shaft with shaft with coupling for vertical turbine pumps, size 5/8 inch x 1.8 m | 20 | Each |
| 03-03-00056 | Ditto item 55 but size 3/4 inch x1.8m | 20 | Each |
| 03-03-00057 | Ditto item 55 but size 7/8 inch x1.8m | 20 | Each |
| 03-03-00058 | Gland packing size 1/2 inch; pH 5-8.5 RPM = 2440 H = 80m | 450 | ML |
| 03-03-00059 | Gland packing size 3/4 inch pH 5-8.5 RPM = 2440 H = 150m | 430 | ML |
| 03-03-00060 | Gland packing size 3/8 inch pH 5-8.5. RPM = 2900, 20 bar | 430 | ML |
| 03-03-00061 | Gland packing size 5/8 inch pH 5-8.5 RPM = 2440 H = 40m | 430 | ML |
| 03-03-00062 | Centrifugal booster pump for pumping treated water . Q=150 cum/hr, H=120m Coupled with electrical driven motor with soft starter and automatic circuit breaker connection and with control panel. 380V, 50Hz, 3 phase, 1450 RPM. Max altitude 1,000m. With spare parts for 2 years operation, spare parts/operation manual in English, and necessary valves, non-return valves, flanges, elbows, reducers, cables FOR NEW INSTALLATION. | 3 | set |
| 03-03-00063 | Ditto item 62 but: Q=200 cum/hr, H=170m | 1 | Each |
| 03-03-00064 | Ditto item 62 but: Q=422 cum/hr, H=60m | 3 | Each |
| 03-03-00065 | Ditto item 62 but: Q=390 cum/hr, H=320m | 1 | Each |
| 03-03-00066 | Ditto item 62 but: Q=150 cum/hr, H=100m | 2 | Each |
| 03-03-00067 | Ditto item 62 but: Q=55 cum/hr, H=120m | 2 | Each |
| 03-03-00068 | Ditto item 62 but: Q=100 cum/hr, H=150m. Type: 152 FP 3E. | 2 | Each |
| 03-03-00069 | Ball bearing 7317 | 30 | Each |
| 03-03-00070 | Ball bearing 7411 | 30 | Each |
| 03-03-00071 | Ball bearing type N 218 Mc3/SKF N 218 C3 | 10 | Each |
| 03-03-00072 | Ball bearing type 6218 C3/SKF | 10 | Each |
| 03-03-00073 | Ball bearing type N322 | 5 | Each |
| 03-03-00074 | Ball bearing type 6322 | 5 | Each |
| 03-03-00075 | Ball bearing type 6328C3 | 5 | Each |
| 03-03-00076 | Ball bearing type 2317 | 15 | Each |
| 03-03-00077 | Ball bearing type 7317 BG | 15 | Each |
| 03-03-00078 | Ball bearing type 6322C3 | 5 | Each |
| 03-03-00079 | Ball bearing type7216 | 10 | Each |
| 03-03-00080 | Ball bearing type NU 216 EC | 10 | Each |
| 03-03-00081 | Ball bearing type N320 MC3 | 5 | Each |
| 03-03-00082 | Ball bearing type 6320 C3 | 5 | Each |
| 03-03-00083 | Ball bearing type 7219 | 15 | Each |
| 03-03-00084 | Ball bearing type NU 219 EC | 15 | Each |
| 03-03-00085 | Ball bearing type 7314 | 5 | Each |
| 03-03-00086 | Ball bearing type N217 MC3/SKF 217 C3 | 20 | Each |
| 03-03-00087 | Ball bearing type 6217 C3/SKF 5217 C3 | 15 | Each |
| 03-03-00088 | Ball bearing type 6319 C3 | 5 | Each |
| 03-03-00089 | Ball bearing type 6316 C3 | 5 | Each |
| 03-03-00090 | Ball bearing type 3316 | 10 | Each |
| 03-03-00091 | Ball bearing type 6316 | 10 | Each |
| 03-03-00092 | Ball bearing type NU 322 C3 | 5 | Each |
| 03-03-00093 | Ball bearing type 2311 | 20 | Each |
| 03-03-00094 | Control panel for submersible motor with main switch, circuit breaker, illuminated selector switch, contactor, phase failure relay, timing relay, overload relay, fuse holder, auto transformer, ammeter and voltmeter, 380V, 50Hz, 3Ph. in addition to that single phase to neutral (220 V, 50Hz) must also be available for the control panel components such as ammeter, voltmeter, etc. Capacity 22 Kw, 45 Amp | 3 | Each |
| 03-03-00095 | Ditto item 94 but capacity 37 Kw, 72 Amp | 4 | Each |
| 03-03-00096 | Control panel for star-delta motor with main switch, circuit breaker, illuminated selector switch, contactor, phase failure relay, timing relay, overload relay, fuse holder, auto transformer, ammeter and voltmeter, 380V, 50Hz, 3Ph. Capacity 45 Kw | 4 | Each |
| 03-03-00097 | Ditto item 96 but capacity 75 Kw | 3 | Each |
| 03-03-00098 | Ditto item 96 but capacity 110 Kw | 2 | Each |
| 03-03-00099 | Ditto item 96 but capacity 200 Kw | 2 | Each |
| 03-03-00100 | Automatic air-circuit breaker, MCCB, 500V, 50Hz & 3P. Capacity 630-800 | 3 | Each |
| 03-03-00101 | Ditto item 100 but capacity 150-200 | 10 | Each |
| 03-03-00102 | Ditto item 100 but capacity 400-500 amps | 2 | Each |
| 03-03-00103 | Ditto item 100 but capacity 80-120 | 25 | Each |
| 03-03-00104 | Ditto item 100 but capacity 50-63 amps | 80 | Each |
| 03-03-00105 | Ditto item 100 but capacity 30-40 amps | 40 | Each |
| 03-03-00106 | Flexible electrical power cable for 400V, size 1x240 mm2 | 300 | ML |
| 03-03-00107 | Ditto item 106 but size 1x150 mm2 | 300 | ML |
| 03-03-00108 | Ditto item 106 but size 1x95 mm2 | 500 | ML |
| 03-03-00109 | Ditto item 106 but size 1 X 70 mm2 | 400 | ML |
| 03-03-00110 | Ditto item 106 but size 1x50 mm2 | 400 | Each |
| 03-03-00111 | Ditto item 106 but size 1x35 mm2 | 500 | Each |
| 03-03-00112 | Ditto item 106 but size 1x25 mm2 | 400 | Each |
| 03-03-00113 | Ditto item 106 but size 4x35 mm2 or (3x35+16mm2) | 500 | Each |
| 03-03-00114 | Oil for high tension transformers, 33/11KV and 11/0.4 KV | 2000 | litter |
| 03-03-00115 | Electric contactors, 500V, 50 Hz, coil voltage 380V, type 3TF 56 | 6 | Each |
| 03-03-00116 | Ditto item 115, type 3TF 55 | 6 | Each |
| 03-03-00117 | Ditto item 115, type 3TF 54 | 10 | Each |
| 03-03-00118 | Ditto item 115, type 3TF 52 | 20 | Each |
| 03-03-00119 | Ditto item 115, type 3TF 50 | 20 | Each |
| 03-03-00120 | Ditto item 115, type 3TF 48 | 20 | Each |
| 03-03-00121 | Ditto item 115, type 3TF 46 | 20 | Each |
| 03-03-00122 | Phase failure, three phase asymmetry and sequence relay, 380 V, 50 Hz. Type BA 9041 | 60 | Each |
| 03-03-00123 | Electric cable, high tension, 3.3KV, size 3 x 150mm | 150 | ML |
| 03-03-00124 | Ditto item 123 but size 3 x 95mm | 150 | ML |
| 03-03-00125 | Self-amulgating electrical tape 19mm x 10m. for high tension voltage-moister resistant, ozone resistant | 200 | Each |
| 03-03-00126 | Insulating tape, low voltage, 19mm x 33m | 200 | Each |
| 03-03-00127 | Shrinkable terminations (12,000V) three core for cable size (50-95)mm, 60 cm long | 30 | Each |
| 03-03-00128 | GI pipe for drinking Water supply, to be of mild steel, medium series, standard, longitudinally welded, (high induction frequency welding), hot dipped galvanized and passivated. Each pipe to be hydro tested or tested as per current method. To be manufactured as per ISO 65-1981. Both ends male threaded ISO 7, socked one end (female threaded socket), duly galvanized and chamfered, and the other end protected with a HDPE threaded protector, covering entire thread of pipe, male threads to be protected with anti-rust zinc aluminum paste, socket threads to be protected with anti-rust varnish Pipe/socket to adequately zinc coated to satisfy copper sulfate test as prescribed in appendix A of BS 1387 / 67 or equivalent ISO standard. Steel, zinc, anti-rust paste and varnish to be made from food grade material. Pipe length (excluding socket length): 5.8 meters. PN 25, Nominal diameter: ND 2.0 inch. | 3500 | Each |
| 03-03-00129 | Ditto item 128, PN 25, size 1.5 inch | 800 | Each |
| 03-03-00130 | Ditto item 128, PN 25, size 3.0 inch | 5100 | Each |
| 03-03-00131 | Ditto item 128, PN 25, size 4.0 inch | 5000 | Each |
| 03-03-00132 | Ditto item 128, PN 25, size 6.0 inch | 200 | Each |
| 03-03-00133 | Brass gate valve set with hand wheel, clockwise closing, FxF, threaded to BS21 (ISO R7), size 2.0 inch, PN 25. Food quality. | 200 | Each |
| 03-03-00134 | Ditto item 133, PN 25, size 3.0 inch, PN 20. | 200 | Each |
| 03-03-00135 | Ditto item 133, size 4.0 inch, PN 16. | 200 | Each |
| 03-03-00136 | Ditto item 133, PN 25, size 6.0 inch, PN 16. | 10 | Each |
| 03-03-00137 | Brass non-return valve set, FxF, threaded to BS21 (ISO R7), PN 20, size 4.0 inch. Food quality. | 10 | Each |
| 03-03-00138 | Malleable cast iron, hot dip galvanized equal elbows for drinking water supply conforming to ISO R49 and threaded to BS21 (ISO R7), 90 degree, FxF, size 2.0 inch, PN 25. Food quality. | 100 | Each |
| 03-03-00139 | Ditto item 138, size 3.0 inch, PN 25 | 200 | Each |
| 03-03-00140 | Ditto item 138, size 4.0 inch, PN 25 | 200 | Each |
| 03-03-00141 | Ditto item 138, size 6.0 inch, PN 25 | 50 | Each |
| 03-03-00142 | Malleable cast iron, hot dip galvanized equal Tee-joints for drinking water supply conforming to ISO R49 and threaded to BS21 (ISO R7), FxFxF, size 2.0 inch, PN 25. | 75 | Each |
| 03-03-00143 | Ditto item 142, size 3.0 inch, PN 25 | 150 | Each |
| 03-03-00144 | Ditto item 142, size 4.0 inch, PN 25 | 200 | Each |
| 03-03-00145 | Ditto item 142, size 6.0 inch, PN 25 | 20 | Each |
| 03-03-00146 | Malleable cast iron, hot dip galvanized equal unions for drinking water supply conforming to ISO R49 and threaded to BS21 (ISO R7), FxF, size 2.0 inch, PN 25. | 80 | Each |
| 03-03-00147 | Ditto item 146, size 3.0 inch, PN 25 | 200 | Each |
| 03-03-00148 | Ditto item 146, size 6.0 inch, PN 25 | 200 | Each |
| 03-03-00149 | Ditto item 146, size 4.0 inch, PN 25 | 20 | Each |
| 03-03-00150 | Malleable cast iron, hot dip galvanized reducer joints for drinking water supply conforming to ISO R49 and threaded to BS21 (ISO R7), FxF, size 6.0 x 4.0 inch, PN 25 | 10 | Each |
| 03-03-00151 | Ditto item 150, size 6.0 x 3.0 inch. | 10 | Each |
| 03-03-00152 | Ditto item 150, size 4.0 x 3.0 inch. | 2 | Each |
| 03-03-00153 | Ditto item 150, size 4.0 x 2.0 inch | 6 | Each |
| 03-03-00154 | Ditto item 150, size 3.0 x 2.0 inch | 2 | Each |
| 03-03-00155 | Coupling for 90 mm, PN 25, Standard length pipe | 260 | Each |
| 03-03-00156 | Ditto item 155 but for 110 mm pipe. | 160 | Each |
| 03-03-00157 | Ditto item 155 but for 160 mm pipe. | 70 | Each |
| 03-03-00158 | Clamps for 90 mm, PN 25, Standard length pipe | 140 | Each |
| 03-03-00159 | Ditto item 158 but for 110 mm pipe. | 80 | Each |
| 03-03-00160 | Ditto item 158 but for 160 mm pipe. | 80 | Each |
| 03-03-00161 | Ditto item 158, but for 220 mm pipe. | 20 | Each |
| 03-03-00162 | Stainless steel repair clamps, quality A131304 with waffled rubber seal according to DIN 3535. Double section for 80 mm pipe. PN 24. | 50 | Each |
| 03-03-00163 | Ditto item 162 but for 100mm pipe. | 50 | Each |
| 03-03-00164 | Ditto item 162 but for 150mm pipe. | 70 | Each |
| 03-03-00165 | Ditto item 162 but for 200mm pipe. | 70 | Each |
| 03-03-00166 | Ditto item 162 but for 250mm pipe. | 30 | Each |
| 03-03-00167 | Ditto item 162 but for 300mm pipe. | 30 | Each |
| 03-03-00168 | Ductile iron pipe with rubber gasket joints (Tighten joints) with rubber gaskets, 6 meters nominal length, 3 inch diameter. PN 25 | 2000 | Each |
| 03-03-00169 | Ditto item 168 but 4 inch dia. | 2000 | Each |
| 03-03-00170 | Ditto iten 168 but 6 inch dia. | 2800 | Each |
| 03-03-00171 | Ditto item 168 but 8 inch dia. | 1100 | Each |
| 03-03-00172 | Ditto item 168 but 10 inch dia. | 300 | Each |
| 03-03-00173 | Ditto item 168 but 12 inch dia. | 200 | Each |
| 03-03-00174 | Ditto item 168 but 16 inch dia. | 100 | Each |
| 03-03-00175 | Equal elbows for ductile pipes with rubber gasket joints, 90 degree, with rubber gaskets, FxF, 3 inch dia, PN 25. | 40 | Each |
| 03-03-00176 | Ditto item 175 but 4 inch dia. | 100 | Each |
| 03-03-00177 | Ditto item 175 but 6 inch dia. | 70 | Each |
| 03-03-00178 | Ditto item 175 but 8 inch dia. | 30 | Each |
| 03-03-00179 | Ditto item 175 but 10 inch dia. | 5 | Each |
| 03-03-00180 | Ditto item 175 but 12 inch dia. | 5 | Each |
| 03-03-00181 | Equal elbows for ductile pipes with rubber gasket joints, 45 degree, with rubber gaskets, FxF, 3 inch diam, PN 25. | 40 | Each |
| 03-03-00182 | Ditto item 181 but 4 inch diam | 35 | Each |
| 03-03-00183 | Ditto item 181 but 6 inch diam | 40 | Each |
| 03-03-00184 | Ditto item 181 but 8 inch diam | 15 | Each |
| 03-03-00185 | Ditto item 181 but 10 inch diam | 5 | Each |
| 03-03-00186 | Ditto item 181 but 12 inch diam | 5 | Each |
| 03-03-00187 | Equal Tees for ductile pipes with rubber gasket joints, with rubber gaskets, FxFxF, 4 inch diam, PN 25. | 20 | Each |
| 03-03-00188 | Ditto as item 187 but 6 inch diam | 20 | Each |
| 03-03-00189 | Ditto as item 187 but 8 inch diam | 10 | Each |
| 03-03-00190 | Ditto as item 187 but 10 inch diam | 5 | Each |
| 03-03-00191 | Ditto as item 187 but 12 inch diam | 5 | Each |
| 03-03-00192 | Ductile Tee Socket with rubber, 4x3 inch dia, PN 25. | 20 | Each |
| 03-03-00193 | Ditto as item 192 but 6x4 inch dia | 35 | Each |
| 03-03-00194 | Ditto as item 192 but 6x3 inch dia | 15 | Each |
| 03-03-00195 | Ditto as item 192 but 6x6 inch dia | 20 | Each |
| 03-03-00196 | Ditto as item 192 but 8x8 inch dia | 5 | Each |
| 03-03-00197 | Ditto as item 192 but 8x6 inch dia | 5 | Each |
| 03-03-00198 | Ditto as item 192 but 8x4 inch dia | 10 | Each |
| 03-03-00199 | Ditto as item 192 but 10x4 inch dia | 5 | Each |
| 03-03-00200 | Ditto as item 192 but 10x6 inch dia | 5 | Each |
| 03-03-00201 | Ditto as item 192 but 10x10 inch dia | 2 | Each |
| 03-03-00202 | Ditto as item 192 but 10x8 inch dia | 2 | Each |
| 03-03-00203 | Parallel reducers for ductile pipes with rubber gasket joints, with rubber gaskets, FxF, 12x10 inch dia, PN 25. | 4 | Each |
| 03-03-00204 | Ditto as item 203 but 12 x 8 inch dia | 4 | Each |
| 03-03-00205 | Ditto as item 203 but 12 x 6 inch | 4 | Each |
| 03-03-00206 | Ditto as item 203 but 10 x 8 inch dia | 2 | Each |
| 03-03-00207 | Ditto as item 203 but 10 x 6 inch dia | 2 | Each |
| 03-03-00208 | Ditto as item 203 but 8 x 6 inch dia | 2 | Each |
| 03-03-00209 | Ditto as item 203 but 6 x 4 inch dia | 22 | Each |
| 03-03-00210 | Ditto as item 203 but 6 x 3 inch dia | 15 | Each |
| 03-03-00211 | Ditto as item 203 but 4 x 3 inch dia | 20 | Each |
| 03-03-00212 | Equal sockets for ductile pipes with rubber gasket joints, FxF, 4 inch dia, PN 25. | 10 | Each |
| 03-03-00213 | Ditto as item 212 but 6 inch dia | 10 | Each |
| 03-03-00214 | Standard socket & spigot joints for ductile pipes with rubber gasket joints, with rubber gaskets, FxM, 4 inch dia, PN 25. | 15 | Each |
| 03-03-00215 | Ditto as item 214 but 6 inch dia | 15 | Each |
| 03-03-00216 | Ditto as item 214 but 8 inch dia | 5 | Each |
| 03-03-00217 | Ditto as item 214 but 10 inch dia | 5 | Each |
| 03-03-00218 | Ditto as item 214 but 12 inch dia | 5 | Each |
| 03-03-00219 | Ductile Iron Adapters from socket unit rubber joint to , PN 25 flanged end, 4 inch dia | 10 | Each |
| 03-03-00220 | Ditto as item 219, 6 inch dia | 10 | Each |
| 03-03-00221 | Ditto as item 219, 8 inch dia | 5 | Each |
| 03-03-00222 | Ditto as item 219, 10 inch dia | 5 | Each |
| 03-03-00223 | Ditto as item 219, 12 inch dia | 5 | Each |
| 03-03-00224 | Bolted flanged spigot joint for ductile pipes, with bolts, nuts & gaskets, 4 inch dia, PN 25, ISO flanges | 10 | Each |
| 03-03-00225 | Ditto as item 224 but 6 inch dia | 15 | Each |
| 03-03-00226 | Ditto as item 224 but 8 inch dia | 5 | Each |
| 03-03-00227 | Ditto as item 224 but 10 inch dia | 5 | Each |
| 03-03-00228 | Ditto as item 224 but 12 inch dia | 5 | Each |
| 03-03-00229 | Flanged gate valves for ductile pipes with bolts, nuts & gaskets, 3 inch dia, PN 25, ISO flanges | 30 | Each |
| 03-03-00230 | Ditto as item 229 but 4 inch dia | 10 | Each |
| 03-03-00231 | Ditto as item 229 but 6 inch dia | 15 | Each |
| 03-03-00232 | Ditto as item 229 but 8 inch dia | 10 | Each |
| 03-03-00233 | Ditto as item 229 but 10 inch dia | 5 | Each |
| 03-03-00234 | Ditto as item 229 but 12 inch dia | 5 | Each |
| 03-03-00235 | Flanged none-return valves for ductile pipes with bolts, nuts & gaskets, 3 inch dia, PN 25, ISO flanges | 5 | Each |
| 03-03-00236 | Ditto as item 235 but 4 inch dia | 5 | Each |
| 03-03-00237 | Ditto as item 235 but 6 inch dia | 5 | Each |
| 03-03-00238 | Mild steel GS pipe 3 inch dia, 3 m long. | 300 | Each |
| 03-03-00239 | Ditto as item 238 but 4 inch dia | 200 | Each |
| 03-03-00240 | Casing pipe, mild steel, commercial grade st-37 as per DIN 17100, food grade, for lining of water bore hole One end male threaded, heavy duty female socket on the other end , To be produced according to DIN 4922 in lengths of 6 m, outer diameter 8 5/8 inch. | 480 | Each |
| 03-03-00241 | As in item 240 but pipe with slots of 2.3 mm width, length of 6 m, outer diameter 8 5/8 inch | 130 | Each |
| 03-03-00242 | Ball bearing type 6314 | 60 | Each |
| 03-03-00243 | Ball bearing type 7314 | 60 | Each |
| 03-03-00244 | Spiral welded steel bent 90 degree, size 600mm, PN 25. | 5 | Each |
| 03-03-00245 | Flexible coupling for joining steel spiral pipe size 600mm with the valve. The spigot should comprise two glands with bolds and two rubber joints PN 25. | 4 | Each |
| 03-03-00246 | Impedance for motor 300 KW VERTOLA, ISP 3200 Tipo ZTB68, Vi 380, 50HZ, V=%70 | 2 | Each |
| 03-03-00247 | Control Panel, N C9704401, KW 300, HZ50, Volt 380, 110 | 2 | Each |
| 03-03-00248 | Control type: GH62, Ie AC-1=1000A. | 4 | Each |
| 03-03-00249 | Voltage transformer PRI=220-380 V, 50-60Hz, Secondary 55V, 12AgG, 110V, 6AgG, 2X55V, 2X6AgG, No. 42146, 630VA, -00-3ID | 3 | Each |
| 03-03-00250 | Control panel, STARTER REF D.O.F 19711 Serial No.: STR 559450, Mains voltage 380V, 3PH, 50HZ, Max current 690A, CIRCUIT Diagram A3/F19711/LK | 2 | Each |
| 03-03-00251 | Magnetic contactor S-K400, T/5/L3 JEM 1038 NK 82T408, AC number -1.1-1 V=380V, serial number: 955S, ACI=1th=450A, Coil Voltage 380V. | 5 | Each |
| 03-03-00252 | Contactor IEC-947-4-1,600A, Coil Voltage 110V, GH 55. | 4 | Each |
| 03-03-00253 | Hard-Held temperature indicator (PT 100). | 4 | Each |
| 03-03-00254 | Control panel HV for pumps for motor 315KW, 3300 volt, 65 Amp., All protection, ALLEN WEST 4HWD, Vacutac H.V, 3300V. | 4 | Each |