## Sheet1
ANNEX 1
(Electricity Sector)
AVAILABLE CAPACITY , DEMAND , GENERATION SHORTAGE AND TOTAL INSTALLED CAPACITY OF THE SYSTEM DURING AUGUST 1999
INSTALLED CAPACITY = 8090 MW
ANNEX 1
AVAILABLE CAPACITY , DEMAND , GENERATION SHORTAGE AND TOTAL
INSTALLED CAPACITY OF THE SYSTEM DURING AUGUST 1999
DAY | MAX. AVAIL. CAPACITY | ACTUAL DEMAND | GENERATION SHORTAGE
1 | 4088 | 5616 | 1528
2 | 4120 | 5537 | 1417
3 | 4200 | 5573 | 1373
4 | 4322 | 5632 | 1310
5 | 4055 | 5620 | 1565
6 | 4200 | 5547 | 1347
7 | 4224 | 5654 | 1430
8 | 3871 | 5638 | 1767
9 | 3860 | 5641 | 1781
10 | 4020 | 5687 | 1667
11 | 4155 | 5890 | 1735
12 | 4314 | 5777 | 1463
13 | 4120 | 5666 | 1546
14 | 3893 | 5683 | 1790
15 | 3880 | 5698 | 1818
16 | 4198 | 5733 | 1535
17 | 4252 | 5787 | 1535
18 | 4214 | 5865 | 1651
19 | 4062 | 5823 | 1761
20 | 4302 | 5696 | 1394
21 | 4287 | 5716 | 1429
22 | 4227 | 5832 | 1608
23 | 4191 | 5801 | 1610
24 | 4254 | 5892 | 1638
25 | 4323 | 5892 | 1569
26 | 4193 | 5725 | 1532
27 | 4180 | 5596 | 1416
28 | 4167 | 5728 | 1661
29 | 3994 | 5678 | 1648
30 | 4125 | 5641 | 1516
31 | 4350 | 5662 | 1312
INSTALLED CAPACITY = 8090 MW
Annex ( 2 )
Phase VII
( Electricity Sector )
04 - 0000A - REQUIREMENT LIST OF POWER STATIONS AND NETWORK
CODE | NETWORK POWER STATIONS
SECTION A 01 | MUSSAIB POWER STATION
SECTION A 02 | BAIJI POWER STATION
SECTION A 03 | NASSIRIYAH POWER STATION
SECTION A 04 | HARTHA POWER STATION
SECTION A 05 | DAURA POWER STATION
SECTION A 06 | NAJIBIYAH POWER STATION
SECTION A 07 | BAGHDAD SOUTH POWER STATION
SECTION A 08 | DIBIS POWER STATION
SECTION A 09 | ZAFARANIYAH DIESEL POWER STATION
SECTION A 10 | SADDAM HYDRO – ELECTRIC POWER STATION
SECTION A 11 | QADISSIYAH HYDRO – ELECTRIC POWER STATION
SECTION A 12 | SAMARRA HYDRO – ELECTRIC POWER STATION
SECTION A 13 | HIMREEN HYDRO – ELECTRIC POWER STATION
SECTION A 14 | SINHAREEB HYDRO – ELECTRIC POWER STATION
SECTION A 15 | AL-ADHAIM HYDRO – ELECTRIC POWER STATION
SECTION A 16 | NAJAF GAS TURBINE POWER STATION
SECTION A 17 | KHOR AL- ZUBAIR GAS TURBINE POWER STATION
SECTION A 18 | MOSUL GAS TURBINE POWER STATION
SECTION A 19 | TAJI GAS TURBINE POWER STATION
SECTION A 20 | MULLA ABDULLA GAS TURBINE POWER STATION
SECTION A 21 | HILLA GAS TURBINE POWER STATION
SECTION A 22 | SHUAIBA GAS TURBINE POWER STATION
SECTION A 23 | DAURA GAS TURBINE POWER STATION
SECTION A 24 | DIBIS GAS TURBINE POWER STATION
SECTION A 25 | PETRO CHEMICAL GAS TURBINE POWER STATION
SECTION A 26 | YOUSIFIYAH POWER STATION
SECTION A 27 | AL-ANBAR POWER STATION
SECTION A 28 | NORTH POWER STATION
SECTION A 29 | SALAH AL – DEEN POWER STATION ( 4 X 300 MW )
SECTION A 30 | GAS TURBINE UNITS
SECTION A 31 | MOBILE GAS TURBINE UNITS
SECTION A 32 | BAGHDAD EAST POWER STATION
SECTION B 33 | TRANSMISSION NETWORK
SECTION B 34 | GENERAL PURPOSE EQUIPMENT AND TOOLS
SECTION C 35 | DISTRIBUTION NETWORK
SECTION D 36 | TRAINING PROGRAMMES, TOOLS AND FACILITIES
SECTION E 37 | TURBINE AND GENERATOR MAINTEANCE WORK SHOP
SECTION E 38 | BOILER MAINTENANCE WORK SHOP
SECTION E 39 | TRANSFORMER AND CONTROL SYSTEM MAINTENANCE WORK SHOP
SECTION F 40 | MISSELLENOUS EQUIPMENT
SECTION A 01- - AL - MUSSAIB POWER STATION
QTY | ITEM | Code
1000 PC+ 500 SET | TURBINE SYSTEM EQUIPMENT | 04-01-00001
100000 PCS | BOILER TUBES | 04-01-00002
2000 PCS+ | BOILER AUXILIARY SYSTEM | 04-01-00003
1500 KG. | PACKING OF DIFFERENT SIZES | 04-01-00004
4 SETS | AIR HEATERS | 04-01-00005
50000 PCS. | CONDENSER TUBES | 04-01-00006
1000 NOS + 500 SET. | PUMPS , COMPRESSORS AND ROTARY MACHINES | 04-01-00007
1200 NOS+ 600 SET. | SWITCH YARD EQUIPMENT AND ACCESSARIES | 04-01-00008
2 UNITS | POWER TRANSFORMERS | 04-01-00009
1000 NOS. + 500 SET | VALVES OF VARIOUS SIZES | 04-01-00010
1000 TONS | CHEMICALS FOR WATER TREATMENT | 04-01-00011
2000 PCS+500 SET. | WATER TREATMENT EQUIPMENT | 04-01-00012
500 TONS | CORTEN STEEL | 04-01-00013
5000 PCS+100 SET. | CONTROL , MEASURMENT AND PROTECTION SYSTEMS. | 04-01-00014
220 UNITS+500 NOS | DC POWER SUPPLY EQUIPMENT | 04-01-00015
25 SETS +200 NOS | GENERATOR , SYSTEM EQUIPMENT | 04-01-00016
4 UNITS | REHABILITATION AND ENGINEERING SERVICES | 04-01-00017
50 TON | ELECTRODES OF DIFFERENT SIZES | 04-01-00018
1000 TONS | TURBINE OIL | 04-01-00019
175 SET | SPARE PARTS OF AL-MUSSAIB TURBINES (ROTOR – BLADES DIAPHRAM , ELECTRONIC COMPONTS …ETC.) | 04-01-00020
4 UNTS | GAS TURBINES WITH ACCESSARIES | 04-01-00021
SECTION A 02 -BAIJI POWER STATION
QTY | ITEM | Code
50000 PCS + 5000 SET. | TURBINE SYSTEM EQUIPMENT | 04-01-00022
100000 PCS. | BOILER TUBES | 04-01-00023
500 PCS + 2000 KG | BOILER AUXILIARY SYSTEM | 04-01-00024
2000 KG | PACKING OF DIFFERENT SIZES | 04-01-00025
6 SETS | AIR HEATERS | 04-01-00026
95000 PCS. | CONDENSER TUBES | 04-01-00027
300 NOS.+ 200 SET | PUMPS , COMPRESSORS AND ROTARY MACHINES | 04-01-00028
100 SET + 2000 PCS | SWITCH YARD EQUIPMENT AND ACCESSARIES | 04-01-00029
2 UNITS | POWER TRANSFORMERS | 04-01-00030
2000 NOS + 1000 SET | VALVES OF VARIOUS SIZES | 04-01-00031
1000 TONS | CHEMICALS FOR WATER TREATMENT | 04-01-00032
5000 PCS + 1000 SET. | WATER TREATMENT EQUIPMENT | 04-01-00033
650* TONS | CORTEN STEEL | 04-01-00034
5000 PCS + 2000 SET. | CONTROL , MEASURMENT AND PROTECTION SYSTEMS. | 04-01-00035
2500 UNITS + 1000 PCS | DC POWER SUPPLY EQUIPMENT | 04-01-00036
2000 SETS + 1000 PCS | GENERATOR , SYSTEM EQUIPMENT | 04-01-00037
6 UNITS | REHABILITATION AND ENGINEERING SERVICES | 04-01-00038
50 TON | ELECTRODES OF DIFFERENT SIZES | 04-01-00039
1000 TONS | TURBINE OIL | 04-01-00040
4 UNITS | GAS TURBINE POWER STATION 160 MW EACH WITH AUXILARIES . | 04-01-00041
LOT | EQUIPMENT FOR ERECTION AND CONSUMABLE MATERIALS | 04-01-00042
9 UNITS | GAS TURINE FREAM (6) WITH ACCESSARIES | 04-01-00043
LOT | EQUIPMENT FOR ERECTION AND CONSUMABLE MATERALS FOR GAS TURBINE POWER STATION . | 04-01-00044
SECTION A 03 - NASSIRIYAH POWER STATION
QTY | ITEM | CODE
20000 PCS+2000 SET. | TURBINE SYSTEM EQUIPMENT | 04-01-00045
100000 TUBES. | BOILER TUBES | 04-01-00046
10000 PCS +100 SET | BOILER AUXILIARY SYSTEM | 04-01-00047
2000 KG | PACKING OF DIFFERENT SIZES | 04-01-00048
8 SETS | AIR HEATERS | 04-01-00049
200000 PCS. | CONDENSER TUBES | 04-01-00050
2400 NOS + 60 SET. | PUMPS , COMPRESSORS AND ROTARY MACHINES | 04-01-00051
1000 SET + 500 NOS. | SWITCH YARD EQUIPMENT AND ACCESSARIES | 04-01-00052
2 UNITS | POWER TRANSFORMERS | 04-01-00053
9000 NOS. | VALVES OF DIFFERENT TYPES | 04-01-00054
2000 TONS | CHEMICALS FOR WATER TREATMENT | 04-01-00055
9500 PCS.+ 1500 SET | WATER TREATMENT EQUIPMENT | 04-01-00056
300 TONS | CORTEN STEEL | 04-01-00057
10000 PCS + 2000 SET. | CONTROL , MEASURMENT AND PROTECTION SYSTEMS. | 04-01-00058
4500 UNITS+4500 NOS | DC POWER SUPPLY EQUIPMENT | 04-01-00059
2500 SETS + 5000 NOS. | GENERATOR , SYSTEM EQUIPMENT | 04-01-00060
50 TON | ELECTRODES OF DIFFERENT SIZES | 04-01-00061
1000 TONS | TURBINE OIL | 04-01-00062
2 PCS | ROTOR OF TVV-200 GENERATOR | 04-01-00063
4 UNITS | REHABILITION AND ENGINEERING SERVICES | 04-01-00064
SECTION A 04 - HARTHA POWER STATION
QTY | ITEM | CODE
9000 PCS + 500 SET. | TURBINE SYSTEM EQUIPMENT AND SPARE PARTS | 04-01-00065
50000 TUBES. | BOILER TUBES | 04-01-00066
50 SET + 1000 PCS. | BOILER AUXILIARY SYSTEM AND SPARE PARTS | 04-01-00067
2000 KG | PACKING OF DIFFERENT SIZES | 04-01-00068
4 SETS | AIR HEATERS | 04-01-00069
250000 PCS. | CONDENSER TUBES | 04-01-00070
52000 NOS.+ 5000 SET | PUMPS , COMPRESSORS AND ROTARY MACHINES | 04-01-00071
2000 SET + 18,500* PCS. | SWITCH YARD EQUIPMENT AND ACCESSARIES | 04-01-00072
2 UNITS | POWER TRANSFORMERS | 04-01-00073
5000 NOS. | VALVES OF DIFFERENT TYPES | 04-01-00074
1500 TONS | SODIUM HYDROXIDE (CHEMICALS FOR WATER TREATMENT) | 04-01-00075
30000 PCS + 500 SET. | WATER TREATMENT EQUIPMENT | 04-01-00076
100 TONS | CORTEN STEEL | 04-01-00077
15000 PCS + 3500 SET. | CONTROL , MEASURMENT AND PROTECTION SYSTEMS. | 04-01-00078
2500 UNITS+7500 PCS | DC POWER SUPPLY EQUIPMENT | 04-01-00079
5000 SETS + 500 PCS | GENERATOR , SYSTEM EQUIPMENT | 04-01-00080
50 TON | ELECTRODES OF DIFFERENT SIZES | 04-01-00081
1000 TONS | TURBINE OIL | 04-01-00082
LOT | SPARE PARTS FOR AL-HARTHA POWER STATION | 04-01-00083
2 UNITS | REHABILITATION AND ENGINEERING SERVICES | 04-01-00084
SECTION A 05 - DAURA POWER STATION
QTY | ITEM | Code
10000 PCS + 1000 SET. | TURBINE SYSTEM EQUIPMENT | 04-01-00085
50000 TUBES. | BOILER TUBES | 04-01-00086
1000 SET + 2000 PCS. | BOILER AUXILIARY SYSTEM | 04-01-00087
500 KG | PACKING OF DIFFERENT SIZES | 04-01-00088
4 SETS | AIR HEATERS | 04-01-00089
250000 PCS. | CONDENSER TUBES | 04-01-00090
2000 NOS + 1000 SET. | PUMPS , COMPRESSORS AND ROTARY MACHINES | 04-01-00091
10000 SET + 5000 NOS | SWITCH YARD EQUIPMENT AND ACCESSARIES | 04-01-00092
2 UNITS | POWER TRANSFORMERS | 04-01-00093
15000 NOS. | VALVES OF DIFFERENT TYPES | 04-01-00094
1000 TONS | CHEMICALS FOR WATER TREATMENT | 04-01-00095
5000 PCS. + 200 SET | WATER TREATMENT EQUIPMENT | 04-01-00096
100 TONS | CORTEN STEEL | 04-01-00097
10000 PCS + 1000 SET. | CONTROL , MEASURMENT AND PROTECTION SYSTEMS. | 04-01-00098
7500 UNITS+1000 NOS | DC POWER SUPPLY EQUIPMENT | 04-01-00099
5000 SETS + 1000 NOS | GENERATOR , SYSTEM EQUIPMENT | 04-01-00100
4 UNITS | REHABILITION AND ENGINEERING SERVICES | 04-01-00101
50 TON | ELECTRODES OF DIFFERENT SIZES | 04-01-00102
1000 TONS | TURBINE OIL | 04-01-00103
SECTION A 06 –NAJIBIYAH POWER STATION
QTY | ITEM | Code
10000 PCS + 1000 SET. | TURBINE SYSTEM EQUIPMENT | 04-01-00104
100000 TUBES. | BOILER TUBES | 04-01-00105
10000 PCS.+ 1500 SET | BOILER AUXILIARY SYSTEM | 04-01-00106
1500 KG | PACKING OF DIFFERENT SIZES | 04-01-00107
4 SETS | AIR HEATERS | 04-01-00108
80000 PCS. | CONDENSER TUBES | 04-01-00109
2000 NOS.+ 1000 SET | PUMPS , COMPRESSORS AND ROTARY MACHINES | 04-01-00110
1000 SET + 500 NOS. | SWITCH YARD EQUIPMENT AND ACCESSARIES | 04-01-00111
2 UNITS | POWER TRANSFORMERS | 04-01-00112
10000 NOS. + 500 SETS | VALVES OF DIFFERENT TYPES | 04-01-00113
500 TONS | CHEMICALS FOR WATER TREATMENT | 04-01-00114
50000 PCS. + 500 SET | WATER TREATMENT EQUIPMENT | 04-01-00115
100 TONS | CORTEN STEEL | 04-01-00116
5000 PCS + 1000 SET. | CONTROL , MEASURMENT AND PROTECTION SYSTEMS. | 04-01-00117
7500 UNITS +1000 PCS | DC POWER SUPPLY EQUIPMENT | 04-01-00118
5000 SETS + 1000 NOS | GENERATOR , SYSTEM EQUIPMENT | 04-01-00119
2 UNITS | REHABILITATION AND ENGINEERING SERVICES | 04-01-00120
100 TONS | ELECTRODES OF DIFFERENT SIZES | 04-01-00121
1000 TONS | TURBINE OIL | 04-01-00122
SECTION A 07 - BAGHDAD SOUTH POWER STATION
QTY | ITEM | Code
2000 PCS + 1000 SET. | TURBINE SYSTEM EQUIPMENT | 04-01-00123
60000 TUBES. | BOILER TUBES | 04-01-00124
10000 PCS.+ 500 SET | BOILER AUXILIARY SYSTEM | 04-01-00125
1000 KG | PACKING OF DIFFERENT SIZES | 04-01-00126
6 SETS | AIR HEATERS | 04-01-00127
50000 PCS. | CONDENSER TUBES | 04-01-00128
2000 NOS + 1000 SET. | PUMPS , COMPRESSORS AND ROTARY MACHINES | 04-01-00129
200 SET + 100 NOS | SWITCH YARD EQUIPMENT AND ACCESSARIES | 04-01-00130
2 UNITS | POWER TRANSFORMERS | 04-01-00131
10000 NOS.+ 1000 SET | VALVES OF DIFFERENT TYPES | 04-01-00132
750 TONS | CHEMICALS FOR WATER TREATMENT | 04-01-00133
20000 PCS + 1000 SET. | WATER TREATMENT EQUIPMENT | 04-01-00134
100 TONS | CORTEN STEEL | 04-01-00135
50000 PCS. + 2000 SET | CONTROL , MEASURMENT AND PROTECTION SYSTEMS. | 04-01-00136
7500 UNITS+100 PCS | DC POWER SUPPLY EQUIPMENT | 04-01-00137
2000 SETS + 10000 PCS. | GENERATOR , SYSTEM EQUIPMENT | 04-01-00138
2 UNITS | REHABILITATION AND ENGINEERING SERVICES | 04-01-00139
500 TONS | TURBINE OIL | 04-01-00140
50 TON | ELECTRODES OF DIFFERENT SIZES | 04-01-00141
3 UNITS | GAS TURBINE WITH ACCESSARIES | 04-01-00142
SECTION A 08 - DIBIS POWER STATION
QTY | ITEM | Code
100 PCS. | TURBINE SYSTEM EQUIPMENT | 04-01-00143
10000 TUBES. | BOILER TUBES | 04-01-00144
200 PCS + 100 SET | BOILER AUXILIARY SYSTEM | 04-01-00145
500 KG | PACKING OF DIFFERENT SIZES | 04-01-00146
40000 TUBES. | CONDENSER TUBES | 04-01-00147
100 NOS + 50 SET. | PUMPS , COMPRESSORS AND ROTARY MACHINES | 04-01-00148
300 SET + 100 NOS. | SWITCH YARD EQUIPMENT AND ACCESSARIES | 04-01-00149
2 UNITS | POWER TRANSFORMERS | 04-01-00150
200 NOS. | VALVES OF DIFFERENT TYPES | 04-01-00151
2000 PCS + 100 SET. | CONTROL , PROTECTION AND MEASURING SYSTEM. | 04-01-00152
1250 UNITS+100 PCS | DC POWER SUPPLY EQUIPMENT | 04-01-00153
100 SETS + 50 PCS | GENERATOR , SYSTEM EQUIPMENT | 04-01-00154
4 UNITS | REHABILIATION AND ENGINEERING SERVICES | 04-01-00155
50 TON | ELECTRODES OF DIFFERENT SIZES | 04-01-00156
4 UNITS | REHABILITATION AND ENGINEERING SERVICES | 04-01-00157
SECTION A 09 – ZAFARANIYAH DIESEL POWER STATION
QTY | ITEM | Code
4 UNITS. | REHABILITATION AND ENGINEERING SERVICES | 04-01-00158
SECTION A 10 - SADDAM HYDRO - ELECTRIC POWER TATION
QTY | ITEM | Code
40 SETS | TURBINE SYSTEM EQUIPMENT | 04-01-00159
200 PCS | GENERATOR SYSTEM EQUIPMENT | 04-01-00160
600 PCS | CONTROL , MEASURMENT AND PROTECTION SYSTEMS. | 04-01-00161
200 SETS | SWITCH YARD EQUIPMENT | 04-01-00162
1200 UNITS | DC POWER SUPPLY EQUIPMENT | 04-01-00163
200 UNITS | GATES AND VALVES | 04-01-00164
60 UNITS | AIR COMPRESSORS AND ACCESSARIES | 04-01-00165
SECTION A11- QADISSIYAH HYDRO - ELECTRIC POWER STATION
QTY | ITEM | Code
1000 PCS + 10 SET | TURBINE SYSTEM EQUIPMENT | 04-01-00166
1000 PCS | GENERATOR SYSTEM EQUIPMENT | 04-01-00167
1500 PCS | CONTROL , MEASURMENT AND PROTECTION SYSTEMS. | 04-01-00168
400 SETS | SWITCH YARD EQUIPMENT | 04-01-00169
1250 UNITS | DC POWER SUPPLY EQUIPMENT | 04-01-00170
500 UNITS | GATES AND VALVES | 04-01-00171
400 UNITS | AIR COMPRESSORS AND ACCESSARIES | 04-01-00172
1000 M. | 400 KV OIL FILLED CABLES | 04-01-00173
140 UNITS | CABLE BOX TERMINATIONS | 04-01-00174
SECTION A12- SAMARRA HYDRO – ELECTRIC POWER STATION
QTY | ITEM | Code
50 SETS | TURBINE SYSTEM EQUIPMENT | 04-01-00175
100 SETS | GENERATOR SYSTEM EQUIPMENT | 04-01-00176
30 SETS + 100 NOS | CONTROL , MEASURMENT AND PROTECTION SYSTEMS. | 04-01-00177
1100 UNITS | DC POWER SUPPLY EQUIPMENT | 04-01-00178
100 SETS | GATES AND VALVES | 04-01-00179
60 SETS | AIR COMPRESSORS AND ACCESSARIES | 04-01-00180
SECTION A 13 - HIMREEN HYDRO - ELECTRIC POWER STATION
QTY | ITEM | Code
100 SETS | TURBINE SYSTEM EQUIPMENT | 04-01-00181
200 PCS. | GENERATOR SYSTEM EQUIPMENT | 04-01-00182
100 PCS. | CONTROL , MEASURMENT AND PROTECTION SYSTEMS. | 04-01-00183
100 SETS | SWITCH YARD EQUIPMENT | 04-01-00184
1200 UNITS | DC POWER SUPPLY EQUIPMENT | 04-01-00185
100 SETS | GATES AND VALVES | 04-01-00186
20 SETS | AIR COMPRESSORS AND ACCESSARIES | 04-01-00187
2 UNITS | GAS TURBINE WITH ACCESSARIES | 04-01-00188
SECTION A 14 – SINHAREEB HYDRO - ELECTRIC POWER STATION ( 4 X 42.5) MW
QTY | ITEM | Code
4 UNITS | ENGINEERING , EMBEDED PARTS AND MANUFACTURING OF SOME PARTS FOR THE SUPPLY OF (4X42.5)MW UNIT. | 04-01-00189
LOT | EQUIPMENT ( ELECTRO MECHANICAL) FOR SUPPLYING (4X42.5 MW) HYDRO POWER UNITS | 04-01-00190
LOT | TESTING AND INSPECTION EQUIPMENT | 04-01-00191
SECTION A 15 – AL-ADHAIM HYDRO - ELECTRIC POWER STATION ( 2 X 15) MW
QTY | ITEM | Code
2 UNITS | ENGINEERING , EMBEDED PARTS AND MANUFACTURING OF SOME PARTS FOR THE SUPPLY OF (2X 15 )MW | 04-01-00192
LOT | EQUIPMENT ( ELECTRO MECHANICAL) FOR SUPPLYING (2X15 MW) HYDRO POWER UNITS | 04-01-00193
5 set | TESTING , INSPECTION EQUIPMENT | 04-01-00194
SECTION A 16 - NAJAF GAS TURBINE POWER STATION
QTY | ITEM | Code
(2000) NOS. | TURBINE AND COMPRESSOR BLADES , | 04-01-00195
(400) SET | MOVING STATIONARY WITH ACCESSARIES
(1000 ) NOS. + 500 SET | INNER CASING AND HOT PATH EQUIPMENT | 04-01-00196
1000 NOS + 500 SET. | COMBUSTION EQUIPMENT AND ACCESSARIES | 04-01-00197
20 NOS. | GAS UNITS STARTING DEVICE | 04-01-00198
1500 NOS. + 500 SET | CONTROL , MEASURMENT AND PROTECTION SYSTEMS. | 04-01-00199
300 NOS. | GENERATOR , EXCITATION AND ACCESSARIES | 04-01-00200
100 NOS. | PUMPS , MOTORS AND ROTARY MACHINES | 04-01-00201
500 NOS + 5 ETS | BATTERIES , CHARGERS AND CONVERTERS | 04-01-00202
100 NOS. | SWITCH YARD EQUIPMENT | 04-01-00203
3 UNITS | REHABILITATION AND ENGINEERING SERVICES | 04-01-00204
2 UNITS | GAS TURBINE 165MW EACH WITH ACCESSARIES | 04-01-00205
SECTION A 17 - KHOR AL – ZUBAIR GAS TURBINE POWER STATION
QTY | ITEM | Code
3000 NOS. | TURBINE AND COMPRESSOR BLADES | 04-01-00206
50 SETS | MOVING STATIONARY WITH ACCESSARIES
1500 NOS. + 500 SET | INNER CASING AND HOT PATH EQUIPMENT | 04-01-00207
1000 NOS. | COMBUSTION EQUIPMENT AND ACCESSARIES | 04-01-00208
50 SETS
20 NOS. | GAS UNITS STARTING DEVICE | 04-01-00209
1000 NOS. + 500 SET | CONTROL , MEASURMENT AND PROTECTION SYSTEMS. | 04-01-00210
1500 NOS. + 500 SET | GENERATOR , EXCITATION AND ACCESSARIES | 04-01-00211
1500 NOS. + 500 SET | PUMPS , MOTORS AND ROTARY MACHINES | 04-01-00212
5000 NOS. | BATTERIES , CHARGERS AND CONVERTERS | 04-01-00213
100 SETS
1000 SET + 2000 PCS | SWITCH YARD EQUIPMENT | 04-01-00214
4 UNITS | REHABILITATION AND ENGINEERING SERVICES | 04-01-00215
3 UNITS | GAS TURBINE UNITS WITH ACCESSARIES | 04-01-00216
SECTION A 18- MOSUL GAS TURBINE POWER STATION
QTY | ITEM | Code
10000 NOS. | TURBINE AND COMPRESSOR BLADES | 04-01-00217
2000 SET | MOVING STATIONARY WITH ACCESSARIES
150 NOS. | INNER CASING AND HOT PATH EQUIPMENT | 04-01-00218
2000 NOS + 20 SET. | COMBUSTION EQUIPMENT AND ACCESSARIES | 04-01-00219
1500 NOS + 500 SET | GAS UNITS STARTING DEVICE | 04-01-00220
500 NOS + 500 SET | CONTROL , MEASURMENT AND PROTECTION SYSTEMS. | 04-01-00221
2000 NOS+300 UNITS | GENERATOR , EXCITATION AND ACCESSARIES | 04-01-00222
2500 NOS + 1000 SET. | PUMPS , MOTORS AND ROTARY MACHINES | 04-01-00223
1500 NOS + 500 SET | BATTERIES , CHARGERS AND CONVERTERS | 04-01-00224
2500 NOS.+ 500 SET | SWITCH YARD EQUIPMENT | 04-01-00225
10 UNITS. | SUPERVISION FOR REHABILITATION | 04-01-00226
12 UNITS | REHABILITATION AND ENGINEERING SERVICES | 04-01-00227
LOT | GENERAL SPARE PARTS FOR FRAME-5 GAS TURBINES | 04-01-00228
2 UNITS | GAS TURBINE UNITS AND ACCESSARIES | 04-01-00229
SECTION A 19 - TAJI GAS TURBINE POWER STATION
QTY | ITEM | Code
1000 NOS. | TURBINE AND COMPRESSOR BLADES | 04-01-00230
4 SETS | MOVING STATIONARY WITH ACCESSARIES
10000 NOS. | INNER CASING AND HOT PATH EQUIPMENT | 04-01-00231
400 SETS
10000 NOS. | COMBUSTION EQUIPMENT AND ACCESSARIES | 04-01-00232
400 SETS
15000 NOS. | GAS UNITS STARTING DEVICE | 04-01-00233
1000 SETS
1500 NOS.+ 500 SET | CONTROL , MEASURMENT AND PROTECTION SYSTEMS. | 04-01-00234
1000 NOS.+ 500 SET | GENERATOR , EXCITATION AND ACCESSARIES | 04-01-00235
1500 NOS. + 500 SET | PUMPS , MOTORS AND ROTARY MACHINES | 04-01-00236
1000 NOS. + 500 SET | BATTERIES , CHARGERS AND CONVERTERS | 04-01-00237
1000 NOS. + 500 SET | SWITCH YARD EQUIPMENT | 04-01-00238
7 UNITS | REHABILITATION AND ENGINEERING SERVICES | 04-01-00239
22 UNITS | REHABILITATION AND ENGINEERING SERVICES FOR MOBILE G.T. UNITS ( IHI & GEC ) | 04-01-00240
2 UNIT | GAS TURBINE UNITS AND ACCESSARIES | 04-01-00241
SECTION A 20 - MULLA ABDULLA GAS TURBINE POWER STATION
QTY | ITEM | Code
15000 NOS. | TURBINE AND COMPRESSOR BLADES MOVING STATIONARY WITH ACCESSARIES | 04-01-00242
400 SETS
1500 NOS. | INNER CASING AND HOT PATH EQUIPMENT | 04-01-00243
400 SETS
1000 NOS. | COMBUSTION EQUIPMENT AND ACCESSARIES | 04-01-00244
400 SETS
500 NOS. | GAS UNITS STARTING DEVICE | 04-01-00245
250 SETS
1800 NOS+100 SET | CONTROL , MEASURMENT AND PROTECTION SYSTEMS. | 04-01-00246
2000 NOS + 100 SET. | GENERATOR , EXCITATION AND ACCESSARIES | 04-01-00247
1200 NOS + 100 SET. | PUMPS , MOTORS AND ROTARY MACHINES | 04-01-00248
500 NOS+200 SETS | BATTERIES , CHARGERS AND CONVERTERS | 04-01-00249
1000 NOS + 500 SET. | SWITCH YARD EQUIPMENT | 04-01-00250
10 UNITS | REHABILITATION AND ENGINEERING SERVICES | 04-01-00251
12 UNITS | GAS TURBINE UNITS AND ACCESSARIES | 04-01-00252
SECTION A 21 - HILLA GAS TURBINE POWER STATION
QTY | ITEM | Code
5000 NOS. | TURBINE AND COMPRESSOR BLADES | 04-01-00253
100 SET | MOVING STATIONARY WITH ACCESSARIES
40 SETS + 100 NOS | INNER CASING AND HOT PATH EQUIPMENT | 04-01-00254
2500 NOS | COMBUSTION EQUIPMENT AND ACCESSARIES | 04-01-00255
100 SETS
2000 NOS+60 SETS | GAS UNITS STARTING DEVICE | 04-01-00256
1500 NOS.+ 500 SET | CONTROL , MEASURMENT AND PROTECTION SYSTEMS. | 04-01-00257
1000 NOS. + 500 SET | GENERATOR, EXCITATION AND ACCESSARIES | 04-01-00258
550 NOS.+ 100 SET | PUMPS , MOTORS AND ROTARY MACHINES | 04-01-00259
100 NOS. + 50 SET | BATTERIES , CHARGERS AND CONVERTERS | 04-01-00260
500 NOS + 50 SETS | SWITCH YARD EQUIPMENT | 04-01-00261
4 UNITS | REHABILITATION AND ENGINEERING SERVICES | 04-01-00262
2 UNITS | GAS TURBINE UNITS & ACCESSARIES | 04-01-00263
SECTION A 22 - SHUAIBA GAS TURBINE POWER STATION
QTY | ITEM | Code
3000 NOS. | TURBINE AND COMPRESSOR BLADES | 04-01-00264
400 SETS | MOVING STATIONARY WITH ACCESSARIES
1000 NOS. | INNER CASING AND HOT PATH EQUIPMENT | 04-01-00265
400 SETS
10000 NOS. | COMBUSTION EQUIPMENT AND ACCESSARIES | 04-01-00266
40 SETS
150 NOS.+10 SET | GAS UNITS STARTING DEVICE | 04-01-00267
750 NOS.+ 10 SET | CONTROL , MEASURMENT AND PROTECTION SYSTEMS. | 04-01-00268
500 NOS + 100 SET | GENERATOR , EXCITATION AND ACCESSARIES | 04-01-00269
100 NOS + 50 SET. | PUMPS , MOTORS AND ROTARY MACHINES | 04-01-00270
500 NOS + 50 SETS | BATTERIES , CHARGERS AND CONVERTERS | 04-01-00271
2000 NOS + 100 SET. | SWITCH YARD EQUIPMENT | 04-01-00272
2 UNITS | REHABILITATION AND ENGINEERING SERVICES | 04-01-00273
SECTION A 23 - DAURA GAS TURBINE POWER STATION
QTY | ITEM | Code
6000 NOS | TURBINE AND COMPRESSOR BLADES | 04-01-00274
600 SETS. | MOVING STATIONARY WITH ACCESSARIES
1000 NOS.+ 600 SETS | INNER CASING AND HOT PATH EQUIPMENT | 04-01-00275
4000 NOS. | COMBUSTION EQUIPMENT AND ACCESSARIES | 04-01-00276
2500 SETS
1000 NOS.+ 50 SET | GAS UNITS STARTING DEVICE | 04-01-00277
2500 NOS. | CONTROL , MEASURMENT AND PROTECTION SYSTEMS. | 04-01-00278
1350 NOS+100 SET. | GENERATOR , EXCITATION AND ACCESSARIES | 04-01-00279
5000 NOS.+500 SET | PUMPS , MOTORS AND ROTARY MACHINES | 04-01-00280
1750 NOS+ 100 SET | BATTERIES , CHARGERS AND CONVERTERS | 04-01-00281
150 NOS + 100 SET. | SWITCH YARD EQUIPMENT | 04-01-00282
4 UNITS | REHABILITATION AND ENGINEERING SERVICES | 04-01-00283
SECTION A 24 - DIBIS GAS TURBINE POWER STATION
QTY | ITEM |  | Code
3000 NOS. | TURBINE AND COMPRESSOR BLADES MOVING STATIONARY WITH ACCESSARIES |  | 04-01-00284
400 SETS
1000 NOS. + 400 SETS | INNER CASING AND HOT PATH EQUIPMENT |  | 04-01-00285
2000 NOS.+ 500 SETS | COMBUSTION EQUIPMENT AND ACCESSARIES |  | 04-01-00286
1000 NOS.+ 500 SETS | GAS UNITS STARTING DEVICE |  | 04-01-00287
250 NOS+ 100 SET | CONTROL , MEASURMENT AND PROTECTION SYSTEMS. |  | 04-01-00288
4000 NOS+100 SET | GENERATOR , EXCITATION AND ACCESSARIES |  | 04-01-00289
2000 NOS + 1000 SET | PUMPS , MOTORS AND ROTARY MACHINES |  | 04-01-00290
2000 NOS + 50 UNITS. | BATTERIES , CHARGERS AND CONVERTERS |  | 04-01-00291
1000 NOS.+500 SET | SWITCH YARD EQUIPMENT |  | 04-01-00292
1 SET | DIFFUSER FOR TURBINE , UPPER AND LOWER PARTS |  | 04-01-00293
3 UNTS | REHABILITATION AND ENGINEERING SERVICES |  | 04-01-00294
3 UNITS | GAS TURBINE WITH ACCESSARIES |  | 04-01-00295
SECTION A 25 – PETRO CHEMICAL GAS UNITS
QTY | ITEM | Code
1000 NOS. | TURBINE AND COMPRESSOR BLADES WITH ACCESSARIES | 04-01-00296
4 SETS
500 NOS.+ | HOT PATH AND COMBUSTION EQUIPMENT AND ACCESSARIES | 04-01-00297
4 SETS
500 NOS+10 SETS | GAS UNITS STARTING DEVICE | 04-01-00298
500 NOS. | CONTROL , MEASURMENT AND PROTECTION SYSTEMS. | 04-01-00299
750 NOS+ 5 UNITS | GENERATOR , EXCITATION AND ACCESSARIES, BATTERY CHARGERS AND CONVERTERS | 04-01-00300
1500 NOS+5 SETS | PUMPS , MOTORS , ROTARY MACHINES, FILTERS | 04-01-00301
4 UNITS | REHABILITATION AND ENGINEERING SERVICES | 04-01-00302
SECTION A 26 – YOUSIFIYAH POWER STATION ( 8 X 210 ) MW
QTY | ITEM | Code
8 UNITS | COMPLETE POWER STATION WITH ALL AUXILIARY UNITS AND SERVICES. | 04-01-00303
SECTION A 27 – AL- ANBAR POWER STATION ( 6X300 ) MW
QTY | ITEM | CODE
6 UNITS | COMPLETE POWER STATION WITH ALL AUXILIARY UNITS AND SERVICES | 04-01-00304
SECTION A 28 - NORTH POWER STATION (4X 350 MW)
QTY | ITEM | CODE
4 UNITS | COMPLETE BOILERS & ACCESSARIES | 04-01-00305
4 UNITS | COMPLETE TURBINE & ACCESSARIES | 04-01-00306
4 UNITS | COMPLETE GENERATOR & ACCESSARIES | 04-01-00307
LOT | WATER TREATMENT PLANT & ACCESSARIES | 04-01-00308
LOT | SWITCH YARD EQUIPMENT AND ACCESSARIES | 04-01-00309
4 UNITS | SUPPLY, ERRECTION, FITTING EQUIPMENT AND ALL GENERAL SYSTEMS. SUPPLY OF GAS , HEAVY AND LIGHT OIL SYSTEMS AND DISCHARGE SYSTEM , OIL CARRIER TRUCK AND ALL OTHER ACCESSARIES . | 04-01-00310
4 UNITS | SUPPLY OF COOLING EQUIPMENT WITH ACCESSORY EQUIPMENT AND CIVIL ENGINEERING MATERIALS | 04-01-00311
4 UNITS | SUPPLY OF HYDROGEN AND OXEGEN GENERATION EQUIPMENT AND COMPRESSORS WITH OTHER ACCESSARIES. FIRE FIGHTING EQUIPMENT . | 04-01-00312
4 UNIT | SUPPLY OF ALL TRANSFORMERS NEEDED FOR THE POWER STATION . | 04-01-00313
4 UNIT | SUPPLY OF WATER INTAKE PUMPING FROM THE RIVER. WATER TREATMENT PLANT, VALVES AND ALL ACCESSARIES | 04-01-00314
40 MAN – MONTH | PROJECT CONSULTATION AND WORK COORDINATION | 04-01-00315
1 LOT | TEST AND INSPECTION EQUIPMENT | 04-01-00316
4 UNIT | SUPPLY OF AUTOMATIC CONTROL AND ELECTRICAL EQUIPMENT | 04-01-00317
LOT | SUPPLY OF ALL THE CABLE NEEDED FOR POWER STATION . | 04-01-00318
LOT | SUPPLY OF ALL COMMUNICATION EQUIPMENT NEEDED FOR 4 UNITS | 04-01-00319
4 UNIT | GAS TURBINE 160 MW EACH WITH AUXILIARIES | 04-01-00320
SECTION A 29 - SALAH AL-DEEN POWER STATION ( 4 X 300 MW )
CODE | ITEM | QTY
04-01-00321 | ENGINEERING AND CAMP FACILITIES WITH CIVIL ENGINEERING MATERIALES FOR CONSTRUCTION THE PROJECT | 4 UNIT
04-01-00322 | SUPPLY EQUIPMENT AND SERVICES FOR TWO UNITS FIRST STAGE ( 2 X 300 MW ) | 2 UNIT
04-01-00323 | SUPPLY OF TWO UNITS ( 2 X 300 MW ) AS SECOND STAGE | 2 UNIT
SECTION A 30 - GAS TURBINE UNITS
CODE | ITEM | QTY
04-01-00324 | GAS TURBINE UNITS WITH ACCESSARIES (FRAME 9 OR EQUIVALENT) WITH COMBINED CYCLE . | 14 UNIT
04-01-00325 | GAS TURBINE UNITS WITH ACCESSARIES (FRAME 6 OR EQUIVALENT ). | 14 UNIT
04-01-00326 | GAS TURBINE UNITS WITH ACCESSARIES (FRAME 5 OR EQUIVALENT ). | 14 UNIT
SECTION A31 - MOBILE GAS TURBINE
CODE | ITEM | QTY
04-01-00327 | MOBILE GAS TURBINE WITH ACCESSARIES (2-15 MW ) | 50 UNITS
04-01-00328 | SUBSTATION 132 / 33 / KV COMPLETE WITH ALL ACCESSARIES | 25 UNITS
04-01-00329 | FLOATING GAS TURBINE UNITS WITH ACCESSARIES (4 X 25MW) . | 4 UNIT
SECTION A32 - BAGHDAD EAST GAS POWER STATION
QTY | ITEM | CODE
6 UNIT | GAS POWER STATION COMPLATE WITH ACCESSARIES (6X123.5MW ) | 04-01-00330
LOT | EQUIPMENT FOR ERECTION AND CONSUMABLE MATERIALS | 04-01-00331
SECTION B 33 - TRANSMISSION NETWORK
QTY | ITEM | Code
2500 SETS + 1000 PCS | SWITCH GEARS WITH SPARES | 04-01-00332
50 UNITS+1500 SET | TRANSFORMERS AND SPARE PARTS | 04-01-00333
3000 SETS 1500 PCS. | CIRCUIT BREAKERS AND SPARE PARTS | 04-01-00334
3000 SETS + 1000 NOS. | DC POWER SUPPLY EQUIPMENT AND ACCESSARIES | 04-01-00335
5000 SETS + 1000 PCS | TESTING EQUIPMENT OF DIFFERENT TYPES | 04-01-00336
10000 PCS.+ 2000 NOS. | ELECTRICAL POWER SUPPLY CENTER SPARES | 04-01-00337
5000 SETS+10000 NOS | TRANSMISSION LINES SPARES | 04-01-00338
LOT | BAGHDAD EAST-BAGHDAD SOUTH 400KV LINE EQUIPMENT | 04-01-00339
LOT | BAGHDAD EAST- DIYALAH – TAMEEM 400KV LINES EQUIPMENT | 04-01-00340
20 UNITS | MOBILE SUBSTATION 132/33KV 15MVA | 04-01-00341
20 UNITS | MOBILE SUBSTATION 132/11KV 10MVA OR 25MVA | 04-01-00342
1500 SET + 600 PCS | POWER LINE CARRIER COMMUNICATION EQUIPMENT | 04-01-00343
1000 PCS | WIRELESS EQUIPMENT FOR MOBILE AND PORTABLE COMMUNICATION | 04-01-00344
1000 SET + 2000 PCS | PILOT CABLE CARRIER COMMUNICATION EQUIPMENT | 04-01-00345
1000 SET + 500 PCS | SWITCHING COMMUNICATION EQUIPMENT | 04-01-00346
280 SET + 500 PCS | VHF / MW COMMUNICATION EQUIPMENT | 04-01-00347
500 SET+ 1000NOS | FIBER OPTICS COMMUNICATION SDH EQUIPMENT | 04-01-00348
3000 KM | FIBER OPTICS COMMUNICATION CABLES | 04-01-00349
1 NO | NETWORK MANAGEMENT CENTRE FOR COMMUNICATION EQUIPMENT | 04-01-00350
500 PCS + 300 SET | TEST EQUIPMENT FOR COMMUNICATION SYSTEMS | 04-01-00351
TRANSMISSION AND DISTRBUTION NETWORK MATERIALS AND ACCESSARIES
15000 NOS | - TOWERS OF DIFFERENT TYPES | 04-01-00352
100000 NOS | - INSULATORS | 04-01-00353
20000 KM + 10000 TON | - WIRES OF ALUMINIUM AND COPPER | 04-01-00354
10000 SET + 1000 PCS | - SAFETY EQUIPMENT | 04-01-00355
1000 UNITS + 10000 PCS + 5000 SET | - AIR CONDITIONING EQUIPMENT WITH ALL ACCESSARIES AND SPARES | 04-01-00356
5000 TON | - GRAIN ORIENTED SILCON STEEL | 04-01-00357
2,000 TON* | enamelling wires and enamel oil | 04-01-00358
2000 TON | - INSULATION PAPERS | 04-01-00359
3000 TON | - P.V.C. FOR SHEATING AND INSULATION | 04-01-00360
5000 TON | -LEADS ALLOY | 04-01-00361
100000 PCS+ 21,800** SET | - ACCESSARIES | 04-01-00362
500 TONS | - WHITE METAL | 04-01-00363
1000 SET + 500 NOS. | POWER TRANSFORMERS MATERIALS AND ACCESSARIES | 04-01-00364
1000 SET | EQUIPMENT AND MATERIALS FOR REPAIR WORKSHOP OF POWER TRANSFORMERS TO COVER THE FOLLOWING:- POSITIVE PRESSURE EQUIPMENT , DRY AIR FACILITIES , LIFTING FACILITIES AND MATERIALS AND TOOLS . | 04-01-00365
4 NOS | ELECTRICITY DISPATCH CENTERS ( REHABILITATION AND INSTALLATION OF NEW CENTERS ) | 04-01-00366
LOT | REHABILITATION AND INSTALLATION OF NEW TELECOMMUNICATION EQUIPMENT FOR VOICE, DATA COMMUNICATION AND POWER LINE PROTECTION | 04-01-00367
10000 TON | ALUMINIUM INGOT FOR PRODUCTION OF ACSR ELECTRICAL POWER TRANSMISSION LINES | 04-01-00368
10000 TON | STEEL REINFORCEMENT CABLES FOR ELECTRICAL POWER TRANSMISSION LINES | 04-01-00369
3 UNITS | NEW SUBSTATION 132/33/11 KV FOR (MOSOUL-MANSOUR) AND ( HADITHA) , ( GHAMMAS ) | 04-01-00370
3 UNITS | EXTENTION OF EXISTING SUBSTATION 132/33/11 KV FOR (TAJI) ( BAB AL- ZUBAIR) ( HINDIYAH BARRAGE) | 04-01-00371
2500 SET + 500 NOS | TRANSDUCER AND METERING EQUIPMENT | 04-01-00372
150000 SET + 2000 NOS | SWITCH YARD EQUIPMENT AND ACCESSARIES | 04-01-00373
150000 SET + 2000 NOS. | SUBSTATION MAINTENANCE EQUIPMENT | 04-01-00374
500 SET + 1000 PCS. | OIL AND SF6 PURIFICATION EQUIPMENT | 04-01-00375
1000 TON | TRANSFORMER OIL OF DIFFERENT TYPES | 04-01-00376
1000 KM + 10000 PCS + 5000 SET | POWER CABLES OF DIFFERENT SIZES AND VOLTAGES | 04-01-00377
500 KM | CONTROL CABLES OF DIFFERENT SIZES | 04-01-00378
50000 KG | SF6 GAS | 04-01-00379
17 BAYS | BAGHDAD NETWORK, COMPLETE 132KV LINE BAYS (ISKAN AL-KHIR, JAZAIR, DAURA, YARMUK, TAJI , RASHIDIA ) | 04-01-00380
| 132 KV NEW S/S & EXTENSION ( BASRAH NET WORK ) | 04-01-00381
LOT | BASRAH NEW SENTER S/S COMPLETE NEW S/S | 04-01-00382
4 BAYS | EXTENSION OF BASRAH EAST S/S COMPLETE 132KV LINE & TRANSFORMER BAYS | 04-01-00383
1 BAY | EXTENSION OF NAJIBIYAH P.S. NETWORK COMPLETE 132 KV LINE BAY | 04-01-00384
132 KV NEW S/S. & EXTENSION
LOT | - AGARGUF S/S | 04-01-00385
LOT | - ADHAMIYAH | 04-01-00386
LOT | - AL-WASHASH | 04-01-00387
4 BAYS | - AL-KADHAMIYAH EXTENSTION, COMPLETE 132KV LIN BAY | 04-01-00388
2 BAYS | - AL-RASHIDIYAH EXTENSTION, COMPLETE 132KV LIN BAY | 04-01-00389
2 BAYS | - AL-MAARI EXTENSTION, COMPLETE 132KV LIN BAY | 04-01-00390
LOT | NEW S/S HADETHA | 04-01-00391
LOT | NEW S/S BAQUBA | 04-01-00392
LOT | NEW S/S HAWEGA | 04-01-00393
LOT | 132KV CABLES WITH OTHER ACCESSARIES | 04-01-00394
2* LOT | 132KV & 400KV OVER HEAD LINE WITH OTHER ACCESSARIES | 04-01-00395
3 UNITS | EXTENTION OF EXISTING SUBSTATION 132/33/11 KV FOR ( TAJI) ( BAB AL- ZUBAIR) ( HINDIYA BARRAGE) | 04-01-00396
25000 KM | POWER CABLES OF DIFFERENT SIZES | 04-01-00397
25000 KM | CONTROL CABLES OF DIFFERENT SIZES | 04-01-00398
SECTION B 34 – GENERAL PURPOSE EQUIPMENT AND TOOLS
QTY | ITEM | CODE
250 NOS | CARS, PICKUPS, LORRIES | 04-01-00399
400 NOS | CRANES AND LIFTING DEVICES | 04-01-00400
16 NOS | TANKERS FOR CHEMICAL TRANSPORTATION AND FOR WATER TREATMANT | 04-01-00401
20 NOS | AMBULANCE CARS | 04-01-00402
50 NOS | FIRE FIGHTING VEHICLES | 04-01-00403
1 LOT | CONCRETE BATCH PLANT WITH ACCESSARIES | 04-01-00404
6 NOS | CONCRETE TRUCK MIXER | 04-01-00405
4 NOS | CONCRETE LIFTING PUMPS , HEAD 16-45 METER | 04-01-00406
10 SET | CIVIL ENGINEERING SURVEY TOOLS AND TEST EQUIPMENT | 04-01-00407
5000 TON | REINFORCEMENT STEEL OF DIFFERENT SIZES | 04-01-00408
505* TON | WELDING ELECTRODES OF DIFFERENT SIZES and flax* | 04-01-00409
1000 TON | SHUTTERING WOOD OF DIFFERENT SIZES | 04-01-00410
500 TON | METEL SHEET FOR CIVIL CONSTRUCTION OF DIFFERENT SIZES | 04-01-00411
SECTION C 35- DISTRIBUTION NETWORK
QTY | UNIT |  | ITEM | CODE
250 | KM |  | CABLE XLPE 3X150 11 KV | 04-01-00412
100 | KM |  | CABLE XLPE 3X150 33 Kv | 04-01-00413
200 | KM |  | CABLE XLPE 1X400 33 KV | 04-01-00414
2000 | SET |  | STRAIGHT JOINT 1X400MM2 33 Kv | 04-01-00415
300 | SET |  | TERMINATION 1X400MM2 33 KV (OUTDOOR) | 04-01-00416
1000 | SET |  | STRAIGIHT JOINT 3X150 MM2 33KV | 04-01-00417
300 | SET |  | TERMINATION JOINT 3X150 MM2 33KV (OUTDOOR) | 04-01-00418
4000 | SET |  | STRAIGHT JOINT 11kV OF DIFFERENT SIZES | 04-01-00419
500 | SET |  | STRAIGHT JOINT400VOLT 3X120+70 | 04-01-00420
250 | SET |  | STRAIGHT JOINT 400VOLT 3X95+50 | 04-01-00421
500 | SET |  | STRAIGHT JOINT 400VOLT 3X70+35 | 04-01-00422
200 | SET |  | STRAIGHT JOINT 400VOLT 3X250+150 | 04-01-00423
20000 | SET |  | CUT –OUT FUSE 11KV WITH THE FUSES | 04-01-00424
100000 | PCS |  | ELEMENT FUSE 20-40&60 AMP. | 04-01-00425
500 | PCS |  | ( ON –LOAD ) LINE ISOLATOR 11kV | 04-01-00426
20000 | PCS |  | PORCELAIN PIN TYPE INSULATORS WITH GALVANIZED STEEL SPINDLE 33 KV LONG TYPE | 04-01-00427
80000 | PCS |  | PORCELAIN PIN TYPE INSULATORS WITH GALVANIZED STEEL SPINDLE 11 KV LONG TYPE | 04-01-00428
80000 | PCS |  | DISC INSULATORS FOR 11KV | 04-01-00429
36000 | PCS |  | DISC INSULATORS FOR 11KV –SOCKET EYE | 04-01-00430
25000 | PCS |  | DISC INSULATORS FOR 11KV –SUSPENSION CLAMP FOR 120/20&210/35 | 04-01-00431
11000 | PCS |  | DISC INSULATORS FOR 11KV –TENSION CLAMP FOR 120/20&210/35 | 04-01-00432
36000 | PCS |  | DISC INSULATORS FOR 11KV – BALL EYE | 04-01-00433
120000 | PCS |  | SHACKLE INSULATORS WITH D- IRON &2 BOLTS | 04-01-00434
1,200* | PCS |  | DOUBLE SECTION ROPE OPERATED LADDERS (FIBER GLASS ) 2X4.5 M & 2X6M | 04-01-00435
10 | PCS |  | CABLE TESTING VAN | 04-01-00436
15000 | PCS |  | L.T SWITCH BOARD FOR TR.250 KVA (OUTDOOR ) | 04-01-00437
26000 | SHEET |  | COLD ROLLED STEEL SHEET 4X8 FT THICKNESS 1.25MM | 04-01-00438
3000 | SHEET |  | COLD ROLLED STEEL SHEET 4X8 FT THICKNESS 2.5 MM | 04-01-00439
32000 | METER |  | PVC INSULATED STRANDED BUSBAR 7.5X 20MM2 COPPER WRAPPED WITH THE HEAT –SHRINKABLE PVC | 04-01-00440
65000 | PCS |  | BUS BAR HOLDER | 04-01-00441
130000 | PCS |  | CABLE SHOE TERMINAL FOR CABLE SIZE 95MM2 | 04-01-00442
130000 | PCS |  | CABLE GLANDS FOR CABLE SIZE OF 95MM2 | 04-01-00443
15750 | PCS |  | CIRCUIT BREAKER 250 AMP 4POLE MINIMUM BREAKING CAPACITY 36 KAMP WITH ACCESSARIES | 04-01-00444
4000 | PCS |  | L.T SWITCH BOARD FOR TR. 400 KVA (OUTDOOR ) | 04-01-00445
4000 | PCS |  | 11/0.4 KV DIST . TRANSFORMERS 100 –250 -400 -630 & 1000 KVA WITH SPARE PARTS | 04-01-00446
2500 | TON | GRAIN ORIENTED SILICON STEEL CODE NO.R001 |  | 04-01-00447
1000 | TON | COLD ROLLED CARBON STEEL STRIP CODE NO. ROO3, ROO 4 &ROO6 |  | 04-01-00448
1500 | TON | COPPER WIRE CODE NO.R210,R158,R162,R165,R166, R153,R156 &R157 |  | 04-01-00449
850 | TON | COPPER STRIP CODE NO.R138,R139, ,R140,R144, R146,R151 &14 3 |  | 04-01-00450
300 | PCS | BULK TYPE BUSHING CODE NO.P203,P207 &P208 |  | 04-01-00451
5500 | PCS | TAP CHANGER CODE NO.P506&P507 |  | 04-01-00452
83300 | METER | CORRAGATE STEEL WIRE CODE NO.R178&R179 |  | 04-01-00453
100000 | METER | FLEXIBLE INS. WIRE CODE NO.R185,R187,R189 &R182 |  | 04-01-00454
1000 | METER | CAMBRIC INS. WIRES CODE NO.R196 |  | 04-01-00455
600 | TON | HOT ROLLED STEEL SHEET (R007 –RO24) |  | 04-01-00456
100 | TON | ROLLED STEEL SHAPES ( ANGLE , CHANNEL , H-BEAM) (RO28-R042) |  | 04-01-00457
200 | TON | STEEL (BARS , PIPES ) (R043-R077) |  | 04-01-00458
25 | TON | STAINLES STEEL SHEET (R078-R086) |  | 04-01-00459
150 | TON | INSULATING PAPER (R128-R280) |  | 04-01-00460
10000 | PCS | PARTS VALVES , INDICOTES , CAGES) (P234-P271) |  | 04-01-00461
10000 | PCS | SLEEVE AND TERMINAL (P288-P363) |  | 04-01-00462
30 | PCS | TESTING EQUIPMENT |  | 04-01-00463
100 | PCS | SPARE PARTS FOR M/C (TRANSFORMAR) |  | 04-01-00464
750 | KM | ACSR-BARE WIRE : 210/35 MM2 |  | 04-01-00465
3000 | KM | ACSR-BARE WIRE : 120/20MM2 |  | 04-01-00466
2500 | KM | AAC-BARE WIRE : 95MM2 |  | 04-01-00467
3000 | KM | AAC-BARE WIRE : 70MM2 |  | 04-01-00468
2000 | KM | AAC-BARE WIRE : 50MM2 |  | 04-01-00469
700 | KM | AAC-BARE WIRE : 35MM2 |  | 04-01-00470
1000 | M.T | COPPER ROD DIA 8 MM |  | 04-01-00471
3000 | M.T | ALUMINIUM ROD DIA 9.5 MM |  | 04-01-00472
1000 | M.T | ALUMINIUM SLAB A4 |  | 04-01-00473
1000 | M.T | ALUMINIUM INGOT A5L |  | 04-01-00474
1000 | M.T | LEAD ALLOY FOR CABLE SHEATHING |  | 04-01-00475
500 | TON | PVC COMPOUND FOR SHEATHING OF POWER CABLES |  | 04-01-00476
300 | TON | PVC COMPOUND FOR FILING OF POWER CABLES |  | 04-01-00477
50 | TON | COLOUR MASTERBATCHES FOR PVC COMPOUND |  | 04-01-00478
500 | TON | ALUMINIUM RODS
1000 | M.T | GALVANIZED STEEL CORES FOR CONDUCTORS DIA 7.5 MM AND 5.7 MM |  | 04-01-00479
300 | TON | GALVANIZED STEEL CORES FOR CONDUCTORS DIA 5.1 MM |  | 04-01-00480
1200 | TON | GALVANIZED STEEL TAPE FOR CABLE ARMORING DIA 25X0.3 MM,30X0.3MM,40X0.3MM&50X0.3MM |  | 04-01-00481
550* | M.T | ALUMINIUM TAPE WITE PE-OMPOLYMER COATING DIA 37X0.15MM, 46X0.15MM,55X0.15MM&69X0.15MM |  | 04-01-00482
200 | M.T | ALUMINIUM MAGENSIUMSELCON ALLOY |  | 04-01-00483
70000** | PCS | KWH –METERS (1Ph ) 40 AMP |  | 04-01-00484
60000* | PCS | KWH- METERS (3Ph) 3(20-60)AMP |  | 04-01-00485
10 | TON | ELE. STEEL A1 0.5X8 3.5 CODE NO. R500 |  | 04-01-00486
12 | TON | ELE. STEEL A1 0.5X88 CODE NO.R502 |  | 04-01-00487
2 | TON | STEEL T=2MM CODE NO. R504 |  | 04-01-00488
10 | TON | STEEL IN COIL 2X12 CODE NO. R505 |  | 04-01-00489
2 | TON | STEEL T=3MM CODE NO. R506 |  | 04-01-00490
1 | TON | FREE CATTING STEEL DIA.4MM CODE NO. R509 |  | 04-01-00491
1 | TON | FREE CATTING STEEL DIA.4.5MM CODE NO. R510 |  | 04-01-00492
2 | TON | FREE CATTING STEEL DIA.5MM CODE NO. R511 |  | 04-01-00493
2 | TON | FREE CATTING STEEL DIA.5.5MM CODE NO. R512 |  | 04-01-00494
4 | TON | FREE CATTING STEEL DIA.6MM CODE NO. R513 |  | 04-01-00495
4 | TON | FREE CATTING STEEL DIA.7MM CODE NO. R514 |  | 04-01-00496
1 | TON | COPPER COIL 0.5X50 CODE NO. R518 |  | 04-01-00497
17 | TON | COPPER WIRE 0.14 CODE NO. R523 |  | 04-01-00498
2 | TON | MAGNET ALLOY STEEL IN COIL CODE NO. R417 |  | 04-01-00499
35000 | PCS | MAJ-ADJ PLATE CODE NO. 190 5300 |  | 04-01-00500
112000 | PCS | COIL WEDG CODE NO. 193 1113 |  | 04-01-00501
100000 | PCS | BRACKET CODE NO. 196 1866 |  | 04-01-00502
2000 | PCS | POLE EXTENSION CODE NO. 198 1342 |  | 04-01-00503
170000 | PCS | BRACKET CODE NO. 198 1455 |  | 04-01-00504
158000 | PCS | SPRING CODE NO. 213 1245 & 213 1368 |  | 04-01-00505
126000 | PCS | RUBBER PIECE CODE NO. 219 5300 |  | 04-01-00506
106000 | PCS | WHEEL CODE NO. 227 0177 , 227 2691 & 227 2692 |  | 04-01-00507
107000 | PCS | SPRING HOLDER CODE NO. 164 1097 |  | 04-01-00508
220000 | PCS | BUSH CL*ML CODE NO. 610 1935 |  | 04-01-00509
89000 | PCS | SELF LIGHT PIN CODE NO. 166 1287 |  | 04-01-00510
68000 | PCS | RIVET CODE NO. 168 1182 |  | 04-01-00511
102035 | PCS | INDUCTIVE SPINDLE CODE NO. 256 1144 |  | 04-01-00512
49000 | PCS | POST CODE NO. 257 5300 |  | 04-01-00513
500000 | PCS | SOLDERING PIN CODE 422 1376 & 422 1434 |  | 04-01-00514
92000 | PCS | MAGNET CODE NO. 440 1304 |  | 04-01-00515
18000 | PCS | BEARING MAGNET CODE NO. 440 1282 & 440 1416 |  | 04-01-00516
50000 | PCS | FRAME CODE NO. 120 1341 |  | 04-01-00517
220000 | PCS | BEARING ASSY CODE NO. 600 1301 |  | 04-01-00518
218000 | PCS | BUSH CODE NO. 600 1380 |  | 04-01-00519
209000 | PCS | LOW LOAD VAIN CODE NO. 613 1286 ,613 1243 & 613 1331 |  | 04-01-00520
297000 | PCS | POLE PLATE CODE NO. 613 1371 |  | 04-01-00521
62000 | PCS | COUNTER POLE CODE NO. 613 2005 |  | 04-01-00522
67000 | PCS | SINGLE TRAIF REGISTOR CODE NO. 701 1180 & 710 1184 |  | 04-01-00523
80000 | PCS | POLE PLATE CODE NO. 613 1370 |  | 04-01-00524
37000 | PCS | TERMINAL ALLOY ML CODE NO.616 1115 |  | 04-01-00525
60000 | PCS | TERMINAL ALLOY CL CODE NO.616 1113 |  | 04-01-00526
120000 | PCS | SCREW CODE NO.150 2344 |  | 04-01-00527
120000 | PCS | TERMINAL BLOCK CODE NO.401 1892 |  | 04-01-00528
750 | KM | 400 VOLT TWISTED CABLES 3X95+50+16 & 3X70+50+16 |  | 04-01-00529
600000 | PCS | ACCESSARIES FOR TWISTED CABLE |  | 04-01-00530
200000 | PCS | LAMPS –125W -160W-250W&400W MERCURY |  | 04-01-00531
420004 | PCS | LAMPS 150W- 250W & 400 W SODIUM |  | 04-01-00532
15000 | PCS | LANTERNS FOR LAMPS –125W –160W- 250W&400W MERCURY |  | 04-01-00533
15,500*** | PCS | LANTERNS FOR LAMPS 150W-250 W & 400-2,000*** W SODIUM |  | 04-01-00534
12000 | PCS | CHOKES FOR LANTERNS FOR LAMPS 125 & 400W MERCURY |  | 04-01-00535
4000 | PCS | CHOKES FOR LANTERNS FOR LAMPS 150W- 250W |  | 04-01-00536
& 400 W SODIUM
20000 | PCS | IGNITOR FOR LAMPS 400W SODIUM |  | 04-01-00537
4000 | PCS | PHOTO ELECTRICAL CELL |  | 04-01-00538
6000 | PCS | CONTROL POLE MOUNTED : SINGLE PHASE 230V , 80 AMP & THREE PHASE 400V , 100AMP and 250AMP and 180 AMP4 |  | 04-01-00539
70,000* | PCS | SINGLE POLE MCB 63 AMP 220 VAC 50HZ |  | 04-01-00540
6600 | PCS | 3POLE CONTACTOR AC3 RATNG :40 AMP |  | 04-01-00541
40000 | PCS | TOGGLE SWITCH ON-OFF-ON DPDT 10 AMP |  | 04-01-00542
40000 | PCS | RELAY P.C.B. MOUNTING SPDT. CONTACT 10 AMP |  | 04-01-00543
4500 | PCS | 3 POLE MCB 80 AMP 380 VAC 50HZ |  | 04-01-00544
9500 | PCS | NYLON CABLE GLAND SUITABLE FOR CABLE SIZE 4X25MM2 |  | 04-01-00545
14000 | PCS | NYLON CABLE GLAND SUITABLE FOR CABLE SIZE 2X25MM2 |  | 04-01-00546
4500 | PCS | 3POLE CONTACTOR AC3 RATING 80 AMP |  | 04-01-00547
155000 | METER | PVC INSULATED COPPER WIRES (STANDED &FLEXABLE) |  | 04-01-00548
15000 | PCS | INTEGRATED CIRCUIT LM741 WORKING TEMPRERATURE > 80 C |  | 04-01-00549
15000 | PCS | LIGHT DEPENDENT RESISTOR |  | 04-01-00550
40000 | PCS | AC CAPACITOR 1 MICRO FARAD 630 VDC OR 275 VAC P.C.B. MOUNTING |  | 04-01-00551
50000 | PCS | SINGLE POLE TERMINAL ,TERMINAL BLOCK , 3 POLE CONNECTOR 10AMP. |  | 04-01-00552
6000 | METER | MOUNTING RAIL FOR FIXTURES |  | 04-01-00553
154000 | PCS | SCREW HEX .HEAD FOR FIXTURES |  | 04-01-00554
240000 | PCS | ZENER DIODES , RECTIFIER DIODE |  | 04-01-00555
120000 | PCS | TRANSISTORS |  | 04-01-00556
55000 | PCS | RESISTORS |  | 04-01-00557
11000 | SHEET | COLD ROLLED STEEL SHEET |  | 04-01-00558
2000 | PCS | HOT ROLLED STEEL SHEET |  | 04-01-00559
55000 | PCS | FUSE HOLDER WITH FUSE CARRIER & FUSE 3 AMP. |  | 04-01-00560
30** | PCS | 33/11KV SUBSTATION (2X31.5 ,2X10&2X16) MVA WITH TRANSFORMERS & SPARE PARTS |  | 04-01-00561
10 | PCS | 33/11KV SUB STATION (2X10&2X16) MVA WITH SPARE PARTS & WITH OUT TRANSFORMERS |  | 04-01-00562
10 | PCS | 33/11KV MOBILE SUBSTATION (1X10 & 1X16) MVA |  | 04-01-00563
100 | SET | DIESEL GENERATORS OF RANGE (7-2500KVA) WITH RECOMMENDED SPARE PARTS AND SPECIAL TOOLS |  | 04-01-00564
1000 | PCS | KWH METER WITH M.D.3X30-90A , 400V-3X50-150A , 400V-3X400/5C.T., 400V-3X600/5 ,400V-3X100/5 ,400V&3X250/5C.T.&V.T. |  | 04-01-00565
100 | PCS | VHF COMMUNICATION EQUIPMENT FIXED WITH ACCESSARIES AND SPARE PART |  | 04-01-00566
400 | PCS | VHF COMMUNICATION EQUIPMENT MOBILE AND PORTABLE WITH ACCESSARIES AND SPARE PART |  | 04-01-00567
20000 | M | COAXIAL CABLE |  | 04-01-00568
400 | PCS | SWITCHING EQUIPMENT |  | 04-01-00569
200 | SET | UHF/MW COMMUNIATION EQUIPMENT (P-P & PMP) WITH ACCESSARIES AND SPARE PART |  | 04-01-00570
30 | SET | TEST EQUIPMENT FOR COMMUNICATION SYSTEM |  | 04-01-00571
200 | SET | POWER LINE CARRIER COMMUNICATION (DIGITAL & ANALOG) EQUIPMENT WITH ACCESSARIES AND SPARE PARTS . |  | 04-01-00572
1500 | KM | Fibre optic communication cable |  | 04-01-00573
20 | SET | Sdh communication equipment |  | 04-01-00574
4 | NO | management communication CENTRE |  | 04-01-00575
50 | SET | PROTECTTION SIGNALLING EQUIPMENT |  | 04-01-00576
150 | PCS | BATTERY CHAERGER 12V.D.C |  | 04-01-00577
288 | PCS | CASH MACHINE & PRINTER |  | 04-01-00578
240 | PCS | COMPUTERS AND PRINTERS |  | 04-01-00579
100000 | PCS | MINIATURE CIRCUIT BREAKER 20A, 40A& 60A |  | 04-01-00580
16* | PCS | CRANE 40 & 80 TON |  | 04-01-00581
125** | PCS | BEAMLIFTER TRUCKS 15M, 22M and 50M* |  | 04-01-00582
100 | PCS | TRUCK WITH LIFTER FOR TRANSFORMERS. |  | 04-01-00583
20 | PCS | EXCAVATION EQUIPMENT |  | 04-01-00584
750 | PCS | CARS , STATION WAGON & PICK-UP and motorcycles |  | 04-01-00585
100 | PCS | LORRIES 3 &16 TON |  | 04-01-00586
30 | PCS | LOWLOADER 60 TON & 90 TON |  | 04-01-00587
1004 | PCS | FORKLIFT 5 &10 TON |  | 04-01-00588
20 | PCS | TANKER 16000-20000 LITTER |  | 04-01-00589
10 | PCS | RECOVERY TRUCK |  | 04-01-00590
10 | PCS | TOW CAR FOR SHIFITING OF DAMAGED VEHICLES |  | 04-01-00591
10 | PCS | MULTI FUNCTION VECHILE (SKY LIFT, EARTH-AUGER WITH LIFTER ) |  | 04-01-00592
16 | PCS | JACKING MACHINE |  | 04-01-00593
8 | PCS | DRUM TRAILER FOR CABLE |  | 04-01-00594
LOT | LOT | CABLE JOINTING TOOLS |  | 04-01-00595
LOT | LOT | OVER HEAD LINE TOOLS |  | 04-01-00596
2000 | PCS | AIR CONDITION (2 TON) WINDOW TYPE |  | 04-01-00597
50000 | PCS | CABLE TERMINALS(10-16-25-35-50-70-95-120-150-185&200MM2 |  | 04-01-00598
200 | PCS | RING MAIN UNIT 11KV |  | 04-01-00599
300 | SET | RING MAIN UNIT TYPE EXTENSIBLE 11KV WITH SPARE PARTS |  | 04-01-00600
600 | NO. | BATTERY CAPACITY 320-390 AH 24 V |  | 04-01-00601
LOT | LOT | SPARE PARTS FOR SCANIA T 112 E |  | 04-01-00602
31164 | NO. | TYRE’S TYPE 1400X20X20 ,1200X22.5X16 ,1000X15X18, 700X12X12 ,750X16X14 & 1200X24X18 |  | 04-01-00603
20 | PCS | 33/11KV POWER TRANSFORMERS 10,16 & 31.5 MVA WITH SPARE PARTS |  | 04-01-00604
20000 | PCS | LATTICE STEEL POLES 9 & 11M |  | 04-01-00605
5000 | TON | I-BEAM STEEL 51 OR 52 ANY OTHER EQUIVALENT STANDARD WITH 140X66X5.7X5.7 MM (IPN ) LENGTH 11M & 9M** |  | 04-01-00606
100 | TON | STEEL ANGLE 30 X 30 X3 MM |  | 04-01-00607
50 | TON | PLATE THICKNESS 6 MM X75 MM |  | 04-01-00608
30000 | PCS | TUBLER STEEL POLES 9&11 M |  | 04-01-00609
200 | TON | STEEL PIPES SIZE 89 X 3.3 LENGTH 2300 M |  | 04-01-00610
350 | TON | STEEL PIPES SIZE 114 X 3.6 LENGTH 2.65 M |  | 04-01-00611
900 | TON | STEEL PIPES SIZE 139 X 4.5 LENGTH 4.7 M |  | 04-01-00612
650 | TON | STEEL PIPES SIZE 114 X 4.5 LENGTH 2.8 M |  | 04-01-00613
950 | TON | STEEL PIPES SIZE 139 X4.5 LENGTH 3.35 M |  | 04-01-00614
1800 | TON | STEEL PIPES SIZE 165 X 4.5 LENGTH 5.5 M |  | 04-01-00615
2500 | PCS | TOWERS TYPE 1C, 1C+3, 1C2 1E ,1E+3,1EC,1H,1H+3,1HC&1L |  | 04-01-00616
20000 | PCS | STREET LIGHTING POLES 10 &15M |  | 04-01-00617
120003 | SET | LIGHTNING ARRESTERS 11 & 33 KV |  | 04-01-00618
LOT | LOT | SPARE PARTS FOR S/S 33/11KV |  | 04-01-00619
165* | PCS | SPARE PARTS FOR S/S: |  | 04-01-00620
- CIRCUIT BREAKER 12KV, 630A, 25K, FG2, SF6
100 | PCS | CIRCUIT BREAKER 12KV, 630A, 25K,LF2, SF6 |  | 04-01-00621
250 | PCS | POLE OF C.B 12KV, 630A, 25K, FG2, SF6 |  | 04-01-00622
90 | PCS | 11 KV CURRENT TRANSFORMER 150-300/5/5 TCF 200A |  | 04-01-00623
50 | PCS | 11 KV CURRENT TRANSFORMER 300-600/5/5 TCF 200 A |  | 04-01-00624
100 | PCS | 11 KV V.T 11000/ 110 /3 /110 TYPE RTF 200F |  | 04-01-00625
50 | PCS | RELAY IN VERSE INSTANTANOUS ITG 7291 |  | 04-01-00626
50 | PCS | BATTERY CHARGER 110V |  | 04-01-00627
100 | PCS | ELECTRONIC CARDSOF CORO DEL CHARGER TYPE SCE 270A |  | 04-01-00628
50 | PCS | ELECTRONIC CARDSOF CORO DEL CHARGER TYPE SCE 270C |  | 04-01-00629
60 | PCS | BATTERY 110V NICKLE-CADMIUM 110AH CHLORIDE OR SAFTALKLINE (SET) |  | 04-01-00630
320 | PCS | SOCAPEX, SCOKET REF 709551F (630A),759551A 91250A), 769620(2000A) |  | 04-01-00631
600 | PCS | FUSE FOR VOLTAGE TRANSFORMER 0.5A |  | 04-01-00632
300 | PCS | FLAG RELAY110V D.C (FIR) DROP OUT FLAG RELAY110V D.C (FIR) DROP OUT |  | 04-01-00633
150 | PCS | FLAG RELAY110V D.C (FIR) PIK UP |  | 04-01-00634
30* | PCS | CIRCUIT BREAKER 12KV ,2000A,25KA,FG2,SF6 |  | 04-01-00635
200 | PCS | TRIPING AND CLOSING COIL (887191) |  | 04-01-00636
25 | PCS | POLE OF C.B. 12 KV,2000A,25KA,FG2,SF6 |  | 04-01-00637
180* | PCS | LVP/LOW VOLTAGE 37 PINS PLUG |  | 04-01-00638
75 | PCS | OVER CURRENT O/C & EARTH FAULT E/F RELAY ITG 7271 |  | 04-01-00639
30 | PCS | OVER CURRENT O/C& EARTH FAULT E/F RELAY (TYPE ITG 7251) |  | 04-01-00640
30 | PCS | EARTH FAULT RELAY (TYPE ITG 7113) |  | 04-01-00641
20 | PCS | VOLTAGE EARTH FAULT RELAY (TYPE ITG 7114) |  | 04-01-00642
10 | PCS | UNDER FREQUENCY RELAY (TYPE HTG 7012) |  | 04-01-00643
18 | PCS | C.T . 1800/5.5- 0.578A (TYPE TC- F200) |  | 04-01-00644
30 | PCS | ELECTRONIC TIME DELAY RELAY (TYPE 245.TE 110V D.C. 0.2 TO 180 SEC) |  | 04-01-00645
30 | PCS | AUX. RELAY 110V D.C. (TYPE 259-49) |  | 04-01-00646
15 | PCS | AUX. RELAY 110/ 3 ( TYPE 245-481) |  | 04-01-00647
50 | PCS | PUSH BUTTON (TYPE 22A) |  | 04-01-00648
150 | PCS | L.V. CIRCUIT BREAKER 3-POLE 3AMP (TYPE C32 N) |  | 04-01-00649
50 | PCS | POTENTIAL TESTER 1AMP |  | 04-01-00650
30 | PCS | EARTHING RESISTANCE 21 OHM /300A/20SEC. |  | 04-01-00651
60 | PCS | H.V.BUSHING FIXED TYPE ( 75051)36 KV & 630A WITH FLANGE MK 600 NOTICE 587 |  | 04-01-00652
15 | PCS | SOILD STATE VOLTAGE REGULATOR MK 20 |  | 04-01-00653
60 | PCS | H.V. BUSHING REMOVABLE PART TYPE 750 IR- 36KV(M.G.SUPPLY) NOTICE 90588. |  | 04-01-00654
30 | PCS | HOREN 110 V D.C.25 WAAT (TYPE FL 35). |  | 04-01-00655
12 | PCS | 33 KV V.T. 33000 / 110 50 VA GLASS 0.5 (TYPE TPF400). |  | 04-01-00656
12000 | PCS | SPARE PARTS FOR SIEMENS NETWORK |  | 04-01-00657
6,000* | PCS | HRC FUSES 11KV (40,63,80&100) AMP |  | 04-01-00658
100000 | PCS | MCCB 400VOLT 3 PHASE (25,40& 60)AMP |  | 04-01-00659
100 | PCS | 11/0.4 KIOSK SUBSTATION 400-1000 KVA WITH TRANSFORMER AND SPARE PARTS. |  | 04-01-00660
1000 | PCS | LOW TENSION PILLERS |  | 04-01-00661
40000 | PCS | LOW TENSION METER BOX |  | 04-01-00662
10 | KM | LOW VOLTAGE CABLE 3X240+120 MM2 ARMOURED |  | 04-01-00663
20 | KM | LOW VOLTAGE CABLE 4X185 MM2 ARMOURED |  | 04-01-00664
20 | KM | LOW VOLTAGE CABLE 3X150+70 MM2 ARMOURED |  | 04-01-00665
20 | KM | LOW VOLTAGE CABLE 3X95+50 MM2 ARMOURED |  | 04-01-00666
20 | KM | LOW VOLTAGE CABLE 3X70+35 MM2 ARMOURED |  | 04-01-00667
40 | KM | LOW VOLTAGE CABLE 4X16 MM2 ARMOURED |  | 04-01-00668
20000 | PCS | BI-METAL CONNECTOR 210/120 & 95 /50 |  | 04-01-00669
200000 | PCS | BI-METAL CONNECTOR 95/50 & 25 /10 |  | 04-01-00670
100 | PCS | CIRCUIT BREAKER 11 KV WITH SPARE PART FOR HUNGARIAN S/S . |  | 04-01-00671
SPARE PART FOR SWITCHGEAR FOR HUNGARIAN S/S :-
100 | PCS | 11 KV CURRENT TRANSFORMER 600/5/5 |  | 04-01-00672
50 | PCS | 11 KV CURRENT TRANSFORMER 300/5/5 |  | 04-01-00673
150 | PCS | 11 KV VOLTAGE 11KV/110/3 / 110/3 |  | 04-01-00674
400 | PCS | FUSE FOR V.T 0.3 AMP |  | 04-01-00675
200 | PCS | RESPONSING (ON / OFF) SWITCH |  | 04-01-00676
20000 | PCS | HOUSING METER |  | 04-01-00677
30 | KM | COPPER WIRE 50 MM2 |  | 04-01-00678
30000 | PCS | EARTH ROD (2M) WITH CONNECTOR |  | 04-01-00679
10000 | PCS | STAY ROD |  | 04-01-00680
50000 | KG | STAY WIRE |  | 04-01-00681
202 | PCS | OIL PURIFIER |  | 04-01-00682
10 | PCS | PRIMARY INJECTION |  | 04-01-00683
20* | PCS | SECONDARY INJECTION |  | 04-01-00684
10 | PCS | OIL INSULATION TESTER |  | 04-01-00685
10 | PCS | HIGH TENSION TESTER |  | 04-01-00686
500 | PCS | AVO METER |  | 04-01-00687
50 | PCS | MAGGER |  | 04-01-00688
500 | PCS | CLAMP METER |  | 04-01-00689
10 | PCS | TRANSFORMATION RATIO TESTER |  | 04-01-00690
10 | PCS | EARTHING RESISTANCE TESTER |  | 04-01-00691
500 | SET | ALKLINE BATTERY 110 AMP/H & 60 AMP/H 110V |  | 04-01-00692
100 | PCS | BATTERY CHARGER 110 V |  | 04-01-00693
600 | SET | POWER FACTOR IMPROVMENT EQUIPMENT FOR L.T NETWORK |  | 04-01-00694
3000 | SET | POWER FACTOR IMPROVMENT EQUIPMENT FOR M.V. NETWORK 100,200&300 |  | 04-01-00695
15000 | PCS | CAPACITOR 0.4 KV( OUTDOOR) 5 ,10,20&25 KVAR |  | 04-01-00696
1500 | PCS | SAFETY LINE MAN BELT |  | 04-01-00697
1000 | PCS | DISCONNECTING HOT STICKS |  | 04-01-00698
700 | PCS | TEST HOT STICK |  | 04-01-00699
400 | PCS | PORTABLE EARTH |  | 04-01-00700
6000 | PCS | INSULATING RUBBER GLOVES 1KV,11KV &33KV |  | 04-01-00701
8000 | PCS | PROTECTIVE DRESS |  | 04-01-00702
3000 | PCS | HELMET (FIBER CLASS) |  | 04-01-00703
10000 | PAIR | PROTECTIVE SHOES |  | 04-01-00704
|  | REHABILITATION &INSTALLATION OF NEW TELCOMMUNICATION EQUIPMENT FOR VOICE ,DATA AND PROTECTION OF POWER LINES |  | 04-01-00705
LOT | LOT
20 | NOS | ELECTRICITY DISPATCH CENTERS REHABILITATION &INSTALLATION OF NEW CENTERS) |  | 04-01-00706
10 | PCS | MULTI FUNCTION VEHICLE ( SKY LIFT , EARTH AUGER WITH LIFTER ) |  | 04-01-00707
50 | PCS | PORTABLE LIGHTING UNITS |  | 04-01-00708
LOT | LOT | REHABILITATION FOR ZAYONA DISTRIBUTION NET WORK |  | 04-01-00709
LOT | LOT | REHABILITATION FOR AL-YARMMUK DISTRIBUTION NET WORK |  | 04-01-00710
LOT | LOT | REHABILITATION FOR HARTHIYA DISTRIBUTION NET WORK |  | 04-01-00711
LOT | LOT | REHABILITATION FOR AL-WAHDA DISTRIBUTION NET WORK |  | 04-01-00712
LOT | LOT | REHABILITATION FOR ADHAMIYA DISTRIBUTION NET WORK |  | 04-01-00713
LOT | LOT | REHABILITATION FOR WAZIRIYA DISTRIBUTION NET WORK |  | 04-01-00714
SECTION D 36- TRAINING PROGRAMMES , TOOLS AND FACILITIES
QTY | ITEM | Code
TRAINING AND SIMULATION EQUIPMENT TO COVER THE FOLLOWING ACTIVITIES:
10 SET | - GENERATION , TRANSMISSION AND DISTRIBUTION OF ELECTRICITY. | 04-01-00715
10 SET | - MANUFACTURING OF POWER AND DISTRIBUTION TRANSFORMERS. | 04-01-00716
10 SET | - MANUFACTURING OF CONDUCTORS FOR TRANSMISSION AND DISTRIBUTION OF ELECTRICITY. | 04-01-00717
5 SET | - MANUFACTURING OF TOWERS FOR 400 KV AND 132 KV TRANSMISSION LINES. | 04-01-00718
LOT | - OTHER SUPPORTING ACTIVITES TO THE ELECTRICAL SECTOR. | 04-01-00719
10 SET | COMPUTERIZED DISPLAY FACILITIES FOR TRAINING PURPOSES. | 04-01-00720
5 NO. | LABORATORIES FOR TRAINING | 04-01-00721
20 SET | TRAINING AIDS AND TOOLS. | 04-01-00722
200 MAN - | TRAINING COURSES | 04-01-00723
MONTH
SECTION E-37- TURBINE AND GENERATOR MAINTENANCE WORK SHOP
CODE | ITEM | UNIT | QTY.
04-01-00724 | NC LATHES WITH WORK PIECE DIAMETER FROM 320 TO 1000 MM. | SET | 2
04-01-00725 | VERTICAL BORING AND TURNING MACHINES WITH WORK PIECE DIAMETER FROM 1250 TO 8000 MM. | SET | 2
04-01-00726 | MILLING MACHINES WITH TABLE SIZE 400 × 1600 MM | SET | 2
2500 × 8000 MM
04-01-00727 | SURFACE GRINDING MACHINES WITH TABLE | SET | 2
SIZE 320 × 1200 MM .
04-01-00728 | CYLINDRICAL GRINDING MACHINE ; WITH WORK PIECE DIAMETER UP TO 700 MM . | SET | 2
04-01-00729 | DEEP DRILLING MACHINES | SET | 2
DRILL DIAMETER UP TO 200 MM .
DEPTH OF DRILLING UP TO 12000 MM .
04-01-00730 | SEMI – AUTOMATIC TURRET SCREW LATHES FOR THREADS FROM M 10 TO M 48 IN DIAMETER | SET | 2
04-01-00731 | THREADS ROLLING MACHINES FOR THREADS FROM M 10 TO M 100 IN DIAMETER .. | SET | 2
04-01-00732 | CUTTING - OF MACHINES WITH WORK PIECE DIAMETER UP TO 240 – 285 MM . | SET | 2
04-01-00733 | SLOTTING MACHINES WITH DEPTH OF SLOTTING | SET | 2
UP TO 1200 MM .
04-01-00734 | GEAR CUTTING MACHINES WITH MODULE UP TO 16 | SET | 2
04-01-00735 | GANTRY CRANES WITH LOAD RATING FROM 10 TO 100 T . | SET | 2
04-01-00736 | MODELING EQUIPMENT WITH LOAD RATING | SET | 2
FROM 200 KG TO 100 T .
04-01-00737 | CENTRIFUGAL CASTING MACHINE , | SET | 2
WEIGHT OF CASTING 25
04-01-00738 | PATTERN PRODUCING MACHINES . | SET | 2
04-01-00739 | SHEET BENDING MACHINES , | SET | 2
SHEET THICKNESS UP TO 40 MM .
04-01-00740 | PRESS – FORGING EQUIPMENT WITH FORCE UP TO 250 T . | SET | 2
04-01-00741 | ELECTRIC AND GAS FURNACES FOR HEAT TREATMENT , CHARGE MASS UP TO 40 T | SET | 2
04-01-00742 | THREAD – CUTTING LATHE , 2000 × 10000 , 1680 | SET | 2
04-01-00743 | THREAD – CUTTING LATHE , 2500×14000 , 1 A 671 II 14 O 1 | SET | 2
04-01-00744 | LATHE , 2500 × 10000 , DH – 2500 / 100 | SET | 2
04-01-00745 | FACE – PLATE LATHE , DIA 1800 LENGTH 700 , DFM30NCC | SET | 2
04-01-00746 | HORIZONTAL – BORING MACHINE , | SET | 2
SPINDLE DIA 1800 TABLE 2240 × 1800 , 2E656P
04-01-00747 | HORIZONTAL – BORING MACHINE , | SET | 2
SPINDLE DIA 160 TABLE 1800 × 1600 , 2650 O 2
04-01-00748 | ROTOR – MILLING MACHINE , SPINDLE DIA 160 , KF - 156 | SET | 2
04-01-00749 | SLOTTING MACHINE , SLOTTING TRAVEL 1200 , 7410 | SET | 2
04-01-00750 | GRINDING MACHINE GRINDING DIA 1800 LENGTH 12000 , WS3L100 SP | SET | 2
04-01-00751 | TURNING – AND – BORING LATHE , FACEPLATE DIA 6300 MACHINING DIA | SET | 2
6300 × 2500 ,DKZ 6300
04-01-00752 | TURNING – AND – BORING LATHE , FACEPLATE DIA 4500 MACHINING DIA 5000 × 2500 ,1550 O 1 | SET | 2
04-01-00753 | HORIZONTAL – BORING MACHINE , | SET | 2
SPINDLE DIA 220 TABLE 8100 × 5000 ,
04-01-00754 | RADIAL – DRILLING MACHINE , THE MOST DIA 120 OVERHANG 5600 , RGH50 | SET | 2
04-01-00755 | LONGITUDINAL MILLING MACHINE , | SET | 2
TABLE 8500 × 2500 , 6672
04-01-00756 | THREAD – CUTTING LATHE , OUTER FACEPLATE DIA 18500 INNER FACEPLATE DIA 8750 , 8GVK19000 . | SET | 2
04-01-00757 | SPECIALLY ROTARY – TYPE MACHINE , FACEPLATE DIA 6300 MACHINING DIA 6300 , KY- 64 | SET | 2
04-01-00758 | TURNING – AND – BORING LATHE , FACEPLATE DIA 6300 MACHINING DIA 6300 , 1653 | SET | 2
04-01-00759 | TURNING – AND – BORING LATHE , FACEPLATE DIA 4000 MACHINING DIA 4000 , 1540 O 1 | SET | 2
04-01-00760 | TURNING – AND – BORING LATHE , FACEPLATE DIA 6000 MACHINING DIA 7000 | SET | 2
04-01-00761 | HORIZONTAL BORING MACHINE , SPINDLE DIA 200 TABLE 2000 × 2000 W - 200 | SET | 2
04-01-00762 | HORIZONTAL BORING MACHINE , SPINDLE DIA 200 TABLE 4000 × 3550 W - 200 HA | SET | 2
04-01-00763 | UNIVERSAL HORIZONTAL BORING MACHINE , SPINDLE DIA 220 TABLE 8100 × 5000 , 2666 O 2 . | SET | 2
04-01-00764 | FOREST , SPECIAL HORIZONTAL BORING MACHINE , SPINDLE DIA 2OO TABLE 5000 × 9000 , F - 200 | SET | 2
04-01-00765 | RADIAL DRILLING MACHINE , THE MOST DIA 100 OVER HANG 3300 , 12 FOOT | SET | 2
04-01-00766 | RADIAL DRILLING MACHINE , THE MOST DIA 100 OVER HANG 4000 ,VR – 104 A | SET | 2
04-01-00767 | LONGITUDINAL MILLING MACHINE , 12000× 3600 , 6682C1 | SET | 2
04-01-00768 | SPECIAL LONGITUDINAL MILLING MACHINE , 2450×5000 , | SET | 2
YO – 0665 – O 1
04-01-00769 | SPECIAL LONGITUDINAL MILLING MACHINE , 5000 × 12000 , FULL LOAD 200 T SL 257FTM120NU | SET | 2
04-01-00770 | SPECIAL BORING MACHINE , 3 BORING HEADS DIA 1250 930 690 , DTG | SET | 2
04-01-00771 | TURBINE AND GENERATOR TEST STAND | SET | 1
SECTION E-38 BOILER MAINTENANCE WORK SHOP
CODE. | ITEM | UNIT | QTY.
04-01-00772 | SHEARS ( GUILLOTINE AND ROLLER ) , | SET | 1
MACHINED SHEET 50 MM THICK
INTO 4000 MM WIDTH
04-01-00773 | HYDROLIC PRESS 2500 TON | SET | 2
04-01-00774 | EDGE PLATING MACHINE – TOOL | SET | 2
8000 × 200 × 2000
04-01-00775 | STRAIGHTENING ROLLERS , | SET | 2
MACHINED SHEET O 50 MM
THICK INTO 3500 MM WIDTH
04-01-00776 | BENDING ROLLERS , | SET | 2
MACHINED SHEET UP TO 45 MM
THICK INTO 1800 MM WIDTH
04-01-00777 | CNC CUTTING MACHINE CROSS SECTION | SET | 2
OF WORK PC 300 × 300
04-01-00778 | UNIT FOR WELDING GIRDERS OF BOX SECTION | SET
| AND DOUBLE T – SECTION , |  | 2
WELD LENGTH 18000 MM .
04-01-00779 | SUBMERGED ARC , WELDING
| UNIT OR SHEET WELDING | SET | 2
STEEL THICKNESS , UP TO 100 MM
WELD LENGTH , UP TO 3000 MM
04-01-00780 | TUBE – CUTTING OFF MACHINE
| ( SINGLE POINT , CIRCULAR , ABRASIVE, ) | SET | 2
MACHINED TUBE–DIAMETER O 25 – O 300 MM
04-01-00781 | TUBE – FACING MACHINE , | SET | 2
MACHINED TUBE – DIAMETER , UP TO O 50 MM
04-01-00782 | TUBE BENDING MACHINE , | SET | 2
ROLLING MILL
MACHINED TUBE – DIAMETER , UP TO O 25 O 60 MM
04-01-00783 | TUBE PANEL BENDING MACHINE , | SET | 2
BENDING RADIUS , O 150 – O 450 MM
04-01-00784 | BUTT RESISTANCE WELDING MACHINE , | SET | 2
WELDED TUBE DIAMETER , O 3 – O 25 + O 6 – O 83
BILLET LENGTH , UP TO 900 MM
04-01-00785 | UNIT FOR WELDING HEADERS | SET | 2
WELDED TUBE – DIAMETER , O 108 - - O 600 MM
BILLET LENGTH , UP TO 20000 MM
04-01-00786 | SPECIALIZED UNIT FOR TUBE | SET | 2
MEASURING AIR – PLASMA
TUBE DIAMETER O 40 WALL THICK 1.5 MM
BILLET LENGTH 7500 MM
SIMULTANEOUSLY MADE CUTTINGS
04-01-00787 | VKW UNIT FOR WELDING GAS TIGHT PANELS | SET | 2
WELDED TUBE DIAMETER , O 27 - O 100 MM
PANEL 800 – 3000
PANEL WIDTH , UP 30000
04-01-00788 | TUBE SPIRAL FINNING MACHINE | SET | 2
TUBE DIAMETER , O 22 – O 60
RIB HEIGHT UP TO .0.4 DIA
RIBBING LENGTH , UP TO 15000 MM .
04-01-00789 | INSPECTED STEEL THICKNESS , UP TO 120 MM
ULTRASONIC APPARATUS ,
| RANGE OF INSPECTED STEEL |  | 2
| THICKNESS , MM ; | SET
OF WELDS 3 – 300 MM
FOR ROLLED STOCK > 10
FOR PLATE > 0 – 5
04-01-00790 | ULTRASONIC UNIT | SET | 2
RANGE OF INSPECTED
DIAMETERS , O 10 – O 830
RANGE OF TUBE THICKNESS ( S ) , 1 MM – 80 MM
MINIMAL DETECTED DETECT 0.0456
04-01-00791 | VACUUM LEAK DETECTOR | SET | 2
SENSITIVITY , CUB / M PA / C < 3.5 × 10 -13
04-01-00792 | VACUUM PUMP , | SET | 2
VACUUM , MM , HG 5 × 10-13 + 5 × 10 –7
04-01-00793 | TESTER ( DEPHECTOSCOPIC ) , | SET | 2
WIDTH OF DISCONTINUITY , MKM ;
FOR MAGNETIC PARTICLE TESTING > 10
FOR DIE PENETRANT TESTING > 1
FOR FLORESCENT PENETRANT TESTING < 1
04-01-00794 | HEAT TREATMENT FOR SPARE PART OF BOILER COMPONENTS | SET | 18
04-01-00795 | FLAME CUTTING MACHINE WITH CNC | SET | 2
THICKNESS WIDTH 5 – 200
SHEET WIDTH , 36000 MM
04-01-00796 | SPECIALIZED TUBE – BENDING MACHINE | SET | 2
TOOL WITH HFC
MACHINED TUBE – DIAMETER O 140× 10THICK
O 426 × 10 THICK
04-01-00797 | VKW ARGON – ARC WELDING UNIT FOR | SET | 2
TUBE WELDING
WELDED TUBE DIAMETER , O 32 – O 60 MM
WELDED TUBE WATTLE LENGTH , < 20000
04-01-00798 | VKW UNIT FOR WELDING GAS – TIGHT | SET | 2
PANELS
WELDED TUBE DIAMETER O 27 – O 100 MM
PANEL WIDTH 800 – 3000 MM
PANEL LENGTH UP TP 27000
04-01-00799 | UNIT FOR WELDING BEAMS | SET | 2
WELD LENGTH 15000 MM
04-01-00800 | UNIT FOR WELDING HEADERS | SET | 2
WELDED TUBE DIAMETER O 108 – O 600 MM
BILLET LENGTH UP TO 20000 MM
04-01-00801 | SHOT PLASTINGMACHINE | SET | 2
PRODUCTIVITY , SQ .M / MIN < 26 .8
04-01-00802 | UNIT FOR CHAMBERLESS PAINTING | SET | 2
MAXIMAL PRODUCT DIMENSION , 9400 × 2400 × 3000
04-01-00803 | DRYING CHAMBER | SET | 2
MAXIMAL PRODUCT DIMENSION , 9400 × 2400 × 3000
04-01-00804 | IMPULS UNIT FOR AIRLESS SPRAYING | SET | 2
PRODUCTIVITY . L / MIN 0.45 – 1.10
04-01-00805 | PNEUMATIC PAINT SPRAYER CO – 71A | SET | 2
PRODUCTIVITY . L / MIN 0.45 – 1.10
04-01-00806 | UNIT FOR AUTOMATIC TUBESCOLDING | SET | 2
IN TUBE PLATES
TUBE DIAMETER , O 6 – O 32 MM
04-01-00807 | RANSOME , ESAB MILL FOR AUTOMATIC | SET | 2
SUBMERGED ARS – WELDING
WELDED SHELL DIAMETER O 400 – O 4100 MM
VESSEL BODY LENGTH < 30000
04-01-00808 | FIN SHAPING | SET | 2
MACHINE
MACHINED BAND ( WIDTH × THICKNESS ) 16 × 0.8 MM
04-01-00809 | TUBE CUTTING MACHINE | SET | 2
MACHINED TUBE DIAMETER , < 60
04-01-00810 | TUBE BENDING MACHINE | SET | 2
MACHINED TUBE DIAMETER , < 60
04-01-00811 | LONGITUDINAL TUBE BENDING | SET | 2
MACHINE
TUBE DIAMETER , O 16 × O 2 MM
RID HEIGHT , 8.5 MM
RIBBED TUBE LENGTH , < 5000
04-01-00812 | UNIT FOR LOCAL HEAT TREATMENT | SET | 2
OF CIRCULAR WELDS ,
OPERATING TEMPERATURE < 800 OC
PRODUCT DIAMETER , < 700
HEATING ZONE LENGTH , < 500
04-01-00813 | AUTOMATIC MILL FOR | SET | 2
SHEET CUTTING ON THE BASIS OF
GUILLOTINE SHEARS
MACHINED SHEET
( THICKNESS × WIDTH ) 6.3 × 3150
04-01-00814 | HYDROLIC PRESS FOR STAMPING | SET | 2
AND TESTING DISK SPANNGS.
FORCE . TF 125 ; 250
04-01-00815 | MACHINE COILING | SET | 2
ROD DIAMETER 8 – 40 MM
SPRING HEIGHT < 500 MM
04-01-00816 | ELECTRIC CHAMBER FURNACES FOR HEAT | SET | 2
TREATMENT OF COIL SPRINGS
OPERATING TEMPERATURE < 1100OC
MASS OF LOADING , KG < 800
04-01-00817 | NUT CUTTING AUTOMATIC MACHINE | SET | 2
THREAD SIZE M 6 – M 24
04-01-00818 | SEMI – AUTOMATIC MACHINE FOR | SET | 2
CUTTING AND ROLLING EXTERNAL THREAD ,
THREAD SIZE M1 – M 100
04-01-00819 | SPRING COILING AUTOMATIC MACHINE , | SET | 2
WIRE DIAMETER 1.2
04-01-00820 | AUTOMATIC LATHE , | SET | 2
MACHINED ROD DIAMETER < 40 MM
LENGTH < 4000 MM
04-01-00821 | TURRET LATHE | SET | 2
MACHINED ROD DIAMETER < 40 MM
04-01-00822 | GEAR CUTTING SEMIAUTOMATIC MACHINE | SET | 2
GEAR MODULE O 15 MM
DIAMETER < 800
SECTION E-39 - TRANSFORMER AND CONTROL SYSTEM MAINTENANCE WORK SHOP
CODE | ITEM | QTY | UNIT
04-01-00823 | CNC HYDRAULIC SHEAR CAPACITY | 1 | SET
UP TO 50 MM THICKNESS
MAX . SHEET WIDTH 3000 MM
04-01-00824 | CNC PURCHING | 1 | SET
MAX THICKNESS 10 MM , 30 TON
THREAD DEPTH = 1250 – 1500 MM
04-01-00825 | PRINTED CIRCUIT BOARD DRILLING MACHINE DOUBLE SPINDLE | 1 | SET
04-01-00826 | IN CIRCUIT TESTER * DIGITAL STORAGE OSCILOSCOPE. | 1 | SET
· EPROM / ROM VERIFICATION .
· SELF DOCUMENTING TEST SEQUENCES .
04-01-00827 | SURFACE CLEANING MACHINE FOR PRINTED CIRCUIT BOARD | 1 | SET
04-01-00828 | PERSONAL COMPUTERS | 1 | SET
(MAY BE INDUSTRIAL TYPE )
WITH FULL OPTIONS (HD ,FDD ,CD DRIVE)
WITH SOFTWARE SUPPORT OF FAMOUS .
04-01-00829 | COMPUTER ASSISTED SIMULATION WHICH SIMULATE AS CLOSELY AS POSSIBLE REAL INDUSTRIAL SATUATIONS . | 1 | SET
04-01-00830 | DEDICATED TEST AND CALIBRATION EQUIPMENT WHICH ENABLES TESTING ANY ASSEMBLED ELECTRONIC BOARD THROUGHTY . | 1 | SET
04-01-00831 | COMPLETE DEVELOPMENT STAND ALONE SYSTEMS WHICH SUPPORTS MICRO CONTROLLER FAMILIES (STANDARD ) AND EPROMS. | 1 | SET
04-01-00832 | SPECIAL FAMILIES OF IC S SUCH AS FPGA S EPLDS OF E.G. XILINX COMPANY COMPLETE WITH ALL HARDWARE AND SOFTWARE TOOL TO DESIGN , IMPLEMENT ,MODIFY , SIMULATE DIFFERENT CIRCUITS , | 1 | SET
04-01-00833 | MANUAL POWDER PLANT * 3100 MM LONG | 1 | SET
* 1700 MM WIDE
* 2200 MM HEIGHT
04-01-00834 | SEMI AUTOMATIC LINE FOR COMPONENT INSERSION AND SOLDERING OF PRINTED CIRCUIT BOARD | 1 | SET
04-01-00835 | DEDICATED TEST AND CALIBRATION INSTRUMENTS TO TEST AND CALLIBRATE DIFFERENT TYPE OF FIELD INSTRUMENTS . | 1 | SET
04-01-00836 | HYDROLIC PRESS BRAKE CNC CAPACITY BENDING 15 MM | 1 | SET
MAX. BENDING HEIGHT 3000 MM .
04-01-00837 | TESTING STAND FOR NO LOAD SHORT CIRCUIT INDUCED VOLTAGE TESTING | 1 | SET
04-01-00838 | HIGH VOLTAGE LABORATORY | 1 | SET
04-01-00839 | AUTOMATIC LINE FOR INSULATING THE CU AND AL CONDUCTORS CONDUCTOR DIMENSION O 1.5 × 8 MM – 20 × 30 MM | 2 | SET
04-01-00840 | COIL DRYING OVEN | 1 | SET
MAX TEMPERATURE 110 OC .
04-01-00841 | MIG – MAG WELDING EQUIPMENT | 3 | SET
04-01-00842 | WIG- WELDING EQUIPMENT | 1 | SET
04-01-00843 | WELDING TRACTOR UNDER LAYER | 1 | SET
FLUX WITH MULTISTATION RECTIFIER
04-01-00844 | DRILLING MACHINE WITH BASE –PLATE AND COOLING INSTALLATION | 1 | SET
04-01-00845 | VERTICAL DRILLING MACHINE | 1 | SET
04-01-00846 | RADIAL DRILLING MACHINE | 1 | SET
04-01-00847 | RAM TYPE HORIZONTAL BORING AND MILLING MACHINE ( WITH SPECIAL ACCESSARIES ) | 1 | SET
04-01-00848 | COMBINED SHEARS FOR PROFILE CUTTING | 1 | SET
04-01-00849 | COMPACT CNC SHEET METAL WORKING MACHINE FOR PUNCHING PROFILING AND FORMING | 1 | SET
04-01-00850 | ELECTRODE DRYING OVEN | 2 | SET
04-01-00851 | PELLETS SANDING INSTALLATION | 1 | SET
04-01-00852 | PRIMING AND PAINTING PLATFORM IN ANTIEXPLOSIVE CONSTRUCTION WITH LATERAL WALLS | 1 | SET
04-01-00853 | KNEE TYPE UNIVERSAL MILLING MACHINE | 1 | SET
04-01-00854 | SLITTING LINE FOR ELECTRICAL STEEL STRIP | 1 | SET
– SHEAR ARBOR DIA O 160 MM
CUTTER DIAMETER O 160 MM
IN GOING STRIP WIDTH 1000MM
04-01-00855 | PACKING OF THE CORES INSTALLATION | 1 | SET
04-01-00856 | SCISSOR FOR CIRCULAR OUT LINE – | 1 | SET
RING DIA 250 – 3000 MM .
04-01-00857 | VERTICAL INTERNAL THREADING | 1 | SET
MACHINE – MAX . INTER . THREAD DIA M20 M30
04-01-00858 | DEVICE FOR SHEET DRUMS | 1 | SET
DAMPING – MAX CUTTER DIA O 1100 MM .
MIN INNER DIA O 750 MM .
04-01-00859 | TRIMMING MACHINE FOR ISULATED PARTS . | 1 | SET
04-01-00860 | MACHINE FOR PAPER | 1 | SET
CUTTING IN STRIPS
MAX . NO OF STRIPS = 50
04-01-00861 | 50 MVA UNIT | 1 | SET
CONDENSATORS BATTRY
125 MVAR
04-01-00862 | PANTOGRAF ENMGRAVING MACHINE | 1 | SET
WORKING SURFACE OF TABLE 200 × 320 MM .
04-01-00863 | WELDED RECTIFIER IN | 1 | SET
SHIELDED ATMOSPHERIC OF AR
THE SYSTEM CONSISTS OF
- RECTIFIER
- - WIRE FEEDER
- - COOLING INSTALATION
04-01-00864 | MECHANIZED SCAFFOLDING | 2 | SET
MAX LOAD 1000 KG
04-01-00865 | TRIMMING MACHINE FOR GUARD RINGS . | 1 | SET
04-01-00866 | MILLING MACHINE FOR WEDGES WITH MILL TURNING 4900 R.P.M | 1 | SET
04-01-00867 | HYDRAULIC PRESS OF 2350 TF FOR THICK RINGS PRESSING FORCE = 2350 TF | 1 | SET
04-01-00868 | CYLINDER DRYING OVEN . TEMP MAX 90 OC | 1 | SET
04-01-00869 | MACHINES FOR MOLDED PARTS MANUFACTURING | 1 | SET
04-01-00870 | MILLING MACHINE FOR WEDGES | 1 | SET
04-01-00871 | VERTICAL WINDING MACHINE . | 3 | SET
MAX . LOAD ON SUPPORT PLATE 20 TON .
04-01-00872 | HORIZONTAL WINDING MACHINE . | 1 | SET
MAX. COIL DIA 1800 MM .
04-01-00873 | HYDRAULIC PRESS OF 400 TF FOR TRANSFORMER COILS | 1 | SET
COIL MAX. SIZE O 2500 × 3600 MM
04-01-00874 | ELECTRICAL DUBLE GRIDER WITH LEG | 1 | SET
DIA OF ABRASIVE WHEEL O 500 MM .
04-01-00875 | VERTICAL DRILLING MACHINE . | 1 | SET
MAX . DRILL DIA O 40 MM . TABLE 500 × 500MM .
04-01-00876 | PANTOGRAF ENGRAVING MACHINE | 1 | SET
04-01-00877 | TWO GIRDER BRIDGE CRANE . | 1 | SET
LIFTING CAPACITY 25/5 TF OPENING 16 – 5 M .
04-01-00878 | TWO GIRDER BRIDGE | 1 | SET
CRANE LIFTING CAPACITY 320/80 TF OPENING 28 M .
04-01-00879 | HYDROLIC SHEET BENDING PRESS USEFUL LG OF TABLE 4050 MM | 1 | SET
04-01-00880 | SHEET ROLLING MACHINE | 1 | SET
SHEET THICKNESS = 30 MM
MAX . SHEET WIDTH = 3000 MM
NO . OF ROLLERS = 4
04-01-00881 | ULTRASONIC FLOW DETECTOR | 1 | SET
04-01-00882 | TRANSFORMER LAMINATION | 1 | SET
CUT – TO – LENGTH LINE
LENGTH 500 – 1000 MM
WIDTH 100 – 1050 MM
04-01-00883 | MACHINE FOR POWER | 1 | SET
TRANSFORMERS RINGS INSULATING
RING OUT DIA = 300 MM
OUTER DIA OF PAPER ROLLER = O 280
PAPER WINDING SPEED MAX. 250 RPM
04-01-00884 | OIL TREATMENT STAND | 1 | SET
ADJUSTABLE FLOW 1500 – 4000 L / MIN
04-01-00885 | TEST EQUIPMENT FOR POWER TRANSFORMERS | LOT | LOT
04-01-00886 | VACUUM PUMPS 3000 LITER/MIN UP TO 0.05 TORR WITH MECHACNICAL BOOSTER AND VACUUM HOSE | 6 | NO
04-01-00887 | DRYING OVEN 110 ± 10O C SIZE 9L × 4W × 5H METER | 1 | NO
04-01-00888 | OIL JACK (20) TON | 10 | NOS
04-01-00889 | OIL PURIFIRE 1500 LITER/H | 5 | NO
04-01-00890 | DRY AIR GENERATOR 2-3 M3/MIN | 2 | NO
04-01-00891 | DEW POINT METER / RANGE LESS THAN – 30OC | 2 | NO
04-01-00892 | OXYGEN DENSITY METER | 2 | NO
04-01-00893 | MOISTURE TESTER | 2 | NO
04-01-00894 | OIL TESTER | 2 | NO
04-01-00895 | GAS MEASURING DEVICE | 2 | NO
04-01-00896 | PARTIAL DISCHARGE TEST EQUIPMENT | 2 | NO
04-01-00897 | TOOLS AND TORQUE SPANNER | 2 | NO
04-01-00898 | VERTICAL AND HORIZENTAL WINDING MACHINE FOR LV AND HV COILS OF POWER TRANSFORMERS AND ACCESSARIES | 4 | SET
04-01-00899 | INSULATING PRESS BOARD , PAPER AND CRAPE TAPE OF DIFFERENT SIZES | 1000 | TON
04-01-00900 | TOOLS , MATERIALS AND ACCESSARIES FOR MAINTENANEE AND REPAIR OF POWER TRANSFORMAR | 3 | SET
04-01-00901 | HIGH VOLTAGE TEST EQUIPMENT FOR POWER TRANSFORMAR | 3 | SET
04-01-00902 | INSULATING | 1000 | TON
SECTION F 40- MISSELLENOUS EQUIPMENT
CODE. | ITEM | UNIT | QTY.
04-01-00903 | WALKIE TALKIE EQUIPMENT FOR SITE WORKS | SET | 300
04-01-00904 | WINDMILL POWER GENERATION UNITS 100KW – 5MW | SET | 100
04-01-00905 | PHOTO VOLTAIC SOLAR PANEL WITH BATTERY CHARGING CONTROL UNIT 100-2000 WATT | SET | 1000
04-01-00906 | TRAILERS 40-70 TON | NO | 50
04-01-00907 | LOW LOADER 50-150 TON | NO | 10
04-01-00908 | TBA | TBA | TBA
04-01-00909* | small diesel electric generators of 5, 10, 15 KVA with spare parts and equipment for assembly and repair |  | 500
04-01-00910 | TBA | TBA | TBA
04-01-00911 | TBA | TBA | TBA
04-01-00912* | new 400 KV substation Al-Ameen , unit substation |  | 1
04-01-00913* | new 400 KV substation Baghdad Centre, unit substation |  | 1
04-01-00914 | steel plates (diff.sizes) | MT | 1723
04-01-00915 | steel angles, steel 52 | MT | 1200
04-01-00916 | steel shackle, bolts, nuts, washers and bolts | Pieces | 769550
This table added 27 August 2000
04-01-00917 | Preserssing steel inforcement | 425 | Ton
04-01-00918 | Wedges | 5000 | Pec
04-01-00919 | Pneumatic impact hammer | 2 | No
04-01-00920 | Single wire stressing jacks | 2 | No
04-01-00921 | Mould (forged steel) for producing concrete poles | 8 | No
04-01-00922 | Stressing cylinders | 2 | No
04-01-00923 | Water Treatment Plant for Al-Shemal Thermal Power Station | 1 | lot
* amended 31 May 2000
* amended 3 April and 16 September 2000
* amended 9 May 2000
** amended 31 May 2000
* amended 31 May 2000
* amended 12 July 2000
* amended 16 September and 13 October 2000
* amended 11 July 2000
** amended 12 July 2000
* amended 12 July 2000
4 amended 17 August 2000
*** amended 10 June 2000
4 amended 22 August 2000
* amended 5 May 2000
** amended 9 May 2000
* amended 26 June 2000
** amended 12 July 2000
4 amended 22 August 2000
4 amended 21 August 2000
** amended 10 June 2000
3 amended 17 August 2000
* amended 31 May, 8 June and 17 August 2000
* amended 18 August 2000
2 amended 12 September 2000
* amended 1 September 2000
* amended 9 May 2000