## VII 04-69
AGENCY: | UNDP - PHASE VII
PROJECT: | Z69 (Suleimaniyah Substations (stage 2)
CODE | DESCRIPTION | QUANTITY | UNIT OF MEASURE
04-69-70001 | Steel cylinders of liquefied gas SF6 of 20kg capacity. | 6 | Each
04-69-70002 | Nissan 4WD Patrol Station Wagon GL, (LHD) | 1 | Unit
04-69-70003 | Rear differential lock & free wheel hubs (automatic), side steps & tyres | 1 | Lot
04-69-70004 | Fuel tank, extra, 40 l & rear wiper | 1 | Lot
04-69-70005 | Warning triangle | 1 | Each
04-69-70006 | Radio & cassette w/2sp. Antenna - manual | 1 | Each
04-69-70007 | Rear cooler | 1 | Each
04-69-70008 | Standard spare parts kit | 1 | Each
04-69-70009 | SONY Digital Camera Mavica MVC-FD85. | 1 | Each
04-69-70010 | Motorola GM 300 Mobile Radio, VHF including features 2-3 | 1 | Each
04-69-70011 | battery power cable, compact microphone | 1 | Each
04-69-70012 | two profile trunnion kit | 1 | Each
04-69-70013 | 3 DB mobile antenna with 4 meter cable and connector | 1 | Each
04-69-70014 | Operator manual | 1 | Each
04-69-70015 | HP LaserJet Printer 1200 , 1200x1200 dpi resolution, includes item 2 | 2 | Each
04-69-70016 | Toner Cartridge, 3m parallel printer cable, Manuals in English | 2 | Each
04-69-70017 | HP DeskJet Printer 1220C , 600 dpi print quality, includes item 4 | 1 | Each
04-69-70018 | Toner Cartridge, 3m parallel printer cable, Manuals in English | 1 | Each
04-69-70019 | HP Print cartridge for LaserJet Printer 1200 | 6 | Each
04-69-70020 | HP Black inkjet cartridge for DeskJet Printer 1220C | 2 | Each
04-69-70021 | HP Color inkjet cartridge for DeskJet Printer 1220C | 2 | Each
04-69-70022 | Desktop, HP Vectra VL420 | 4 | Each
04-69-70023 | Notebook, HP OmniBook XE3, with carrying case | 1 | Each
04-69-70024 | “APC” Back UPS Pro Line-Interactive Tech. 650VA, 220V, 50Hz with AVR & Power Chute Plus Auto Shutdown software for Win NT. Part No. BP650SI | 4 | Each
04-69-70025 | Capacitive voltage transformer, 132 kV | 6 | piece(s)
04-69-70026 | 132 kV Disconnector with earthing switch, 1250 A | 2 | piece(s)
04-69-70027 | 132 kV Current transformer, 600-300/5/5/5, 2000/5/5 A | 6 | piece(s)
04-69-70028 | 132 kV Circuit breaker, 1250 A | 2 | piece(s)
04-69-70029 | 132 kV Disconnector, 1250 A | 2 | piece(s)
04-69-70030 | VT MCB boxes | 3 | piece(s)
04-69-70031 | 132 kV Disconector, 1250 A | 2 | piece(s)
04-69-70032 | 132 kV Circuit breaker, 1250 A | 2 | piece(s)
04-69-70033 | 132 kV Current transformer, 300-150/5/5/5, 2000/5/5 A | 6 | piece(s)
04-69-70034 | Surge arrester, 120 kV | 6 | piece(s)
04-69-70035 | Marshalling box with anchor bolts | 5 | piece(s)
04-69-70036 | Steel structures | 1 | set
04-69-70037 | Anchor bolts and templates | 1 | set
04-69-70038 | ACSR conductor | 1 | set
04-69-70039 | Clamps | 1 | set
04-69-70040 | Fixing equipment ( bolts, nuts, screws, etc. ) | 1 | set
04-69-70041 | Insulators | 1 | set
04-69-70042 | Suspension and jointing equipment | 1 | set
04-69-70043 | 132 kV Disconnector, 1250 A | 1 | piece(s)
04-69-70044 | Inductive voltage transformer, 132 kV | 3 | piece(s)
04-69-70045 | 80 kV Neutral point surge arrester | 2 | piece(s)
04-69-70046 | 72.5 kV Single pole disconnector | 2 | piece(s)
04-69-70047 | All necessary connections and support structures | 1 | set
04-69-70048 | 33 kV neutral earthing reactor | 2 | piece(s)
04-69-70049 | 33 kV outdoor current transformer | 2 | piece(s)
04-69-70050 | All necessary connections and support structures | 2 | piece(s)
04-69-70051 | 11kV Bus Coupler and Bus Riser type ZS1,2000A | 1 | set
04-69-70052 | Loose parts for 33 kV switchgear type UNISAFE 36 | 1 | set
04-69-70053 | Earthing transformer 11/0.4 kV, 250 kVA, ZNyn11 | 2 | piece(s)
04-69-70054 | Steel structure with anchor bolts for up-rising cables to tr. Boxes | 2 | set
04-69-70055 | 11 kV neutral point earthing equipment and resistor with anchor bolts | 2 | piece(s)
04-69-70056 | MV cable, 36 kV, 1x240 mm2 | 1500 | meter
04-69-70057 | MV cable, 15 kV, 1x400 mm2 | 500 | meter
04-69-70058 | MV cable, 15 kV, 1x185 mm2 | 1500 | meter
04-69-70059 | Termination 36 kV, outdoor, 1x240 mm2 | 10 | set
04-69-70060 | Termination 36 kV, indoor, 1x240 mm2 | 18 | set
04-69-70061 | Termination 15 kV, outdoor, 1x185 mm2 | 12 | set
04-69-70062 | Termination 15 kV, indoor, 1x400 mm2 | 12 | set
04-69-70063 | Termination 15 kV, indoor, 1x185 mm2 | 15 | set
04-69-70064 | 33 kV, surge arrestors | 30 | piece(s)
04-69-70065 | 11 kV, surge arrestors | 36 | piece(s)
04-69-70066 | Cable trays with all fixing anchor bolts | 1 | set
04-69-70067 | Joint for single core XLPE cable 15 kV, 1x185 mm2 | 20 | set
04-69-70068 | Joint for single core XLPE cable 15 kV, 1x400 mm2 | 20 | set
04-69-70069 | Joint for single core XLPE cable 36 kV, 1x240 mm2 | 30 | set
04-69-70070 | Steel supports for MV cable termination | 1 | set
04-69-70071 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 1 x 185 sq.mm | 1500 | meter
04-69-70072 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 1 x 70 sq.mm | 1000 | meter
04-69-70073 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 2 x 70 sq.mm | 1000 | meter
04-69-70074 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 4 x 35 sq.mm | 1000 | meter
04-69-70075 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 4 x 50 sq.mm | 1000 | meter
04-69-70076 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 4 x 16 sq.mm | 1000 | meter
04-69-70077 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 4 x 6 sq.mm | 7000 | meter
04-69-70078 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 2 x 6 sq.mm | 1000 | meter
04-69-70079 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 4 x 4 sq.mm | 1000 | meter
04-69-70080 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 4 x 2,5 sq.mm | 1000 | meter
04-69-70081 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 3 x 2,5 sq.mm | 1000 | meter
04-69-70082 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 2 x 2,5 sq.mm | 1000 | meter
04-69-70083 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 2 x 4 sq.mm | 1000 | meter
04-69-70084 | Control cable 0,6/1,0 kV, PVC, Copper, 4 x 2,5/2,5 sq.mm | 6000 | meter
04-69-70085 | Control cable 0,6/1,0 kV, PVC, Copper, 6 x 2,5/2,5 sq.mm | 3000 | meter
04-69-70086 | Control cable 0,6/1,0 kV, PVC, Copper, 12x 2,5/4 sq.mm | 4000 | meter
04-69-70087 | Control cable 0,6/1,0 kV, PVC, Copper, 16 x 2,5/6 sq.mm | 4000 | meter
04-69-70088 | Control cable 0,6/1,0 kV, PVC, Copper, 21 x 2,5/10 sq.mm | 4000 | meter
04-69-70089 | Control cable 0,6/1,0 kV, PVC, Copper, 3 x 2,5 sq.mm | 1000 | meter
04-69-70090 | Control cable 0,6/1,0 kV, PVC, Copper, 9 x 1,5/2,5 sq.mm | 1000 | meter
04-69-70091 | Cable trays with all necessary anchor bolts | 1 | set
04-69-70092 | All other necessary material for marking and fixing. | 1 | set
04-69-70093 | LV AC Distribution Panels | 1 | piece(s)
04-69-70094 | 110V DC Distribution Panels for Two Batteries | 1 | piece(s)
04-69-70095 | 110V Battery | 2 | set
04-69-70096 | Battery Charger | 2 | set
04-69-70097 | Battery link box | 2 | set
04-69-70098 | Relay Panel –132 kV OH Feeder | 2 | piece(s)
04-69-70099 | Relay Panel – 132 kV Transformer Feeder | 2 | piece(s)
04-69-70100 | Auto-reclosing relay | 15 | set
04-69-70101 | Auto-reclose ON/OFF selector switch | 15 | set
04-69-70102 | Control Panel – Two OH Feeders of 132 kV | 1 | piece(s)
04-69-70103 | Control Panel – Two Transformer Feeders of 132 kV | 1 | piece(s)
04-69-70104 | Control Panel – Synchronising Panel of 132 kV | 1 | piece(s)
04-69-70105 | Control Panel – 33 kV Switchgear (12 Feeders-Two Panels) | 1 | set
04-69-70106 | Control Panels – 11 kV Switchgear (15 Feeders- Two Panels) | 1 | set
04-69-70107 | On Load Tap Changer Control (O.L.T.C.) Panel | 2 | piece(s)
04-69-70108 | Signalling Panel – Common Signals | 1 | piece(s)
04-69-70109 | Metering Panel – for Two 132 kV OH Feeders | 1 | piece(s)
04-69-70110 | Metering Panel – for Seven 33 kV Feeders | 1 | piece(s)
04-69-70111 | Metering Panel – for Eight 11 kV Feeders | 1 | piece(s)
04-69-70112 | Marshalling Boxes | 5 | piece(s)
04-69-70113 | Microcomputer-Based Substation Control System | 1 | set
04-69-70114 | Substation Earthing and Lightning Protection material, if any | 1 | set
04-69-70115 | Lighting and LV Power Supply Equipment – S/S Said Sadiq | 1 | set
04-69-70116 | Air Conditioning and Heating System Equipment- S/S Said Sadiq | 1 | set
04-69-70117 | Fire Detection System and Fire Extinguishers – S/S Said Sadiq | 1 | set
04-69-70118 | Interface panel | 1 | set
04-69-70119 | 50 kVA, 400V, three phase, 0.8 PF DG set complete with all accessories | 1 | piece(s)
04-69-70120 | Complete cabling, earthing etc | 1 | set
04-69-70121 | Standard Tool Box | 1 | set
04-69-70122 | Special Tool Box for Switchgears | 1 | set
04-69-70123 | Special Tool Box for Transformers | 1 | set
04-69-70124 | Special Tool Box for Control and protection equipment | 1 | set
04-69-70125 | 132/33/11 kV, 31.5/25/12.5 MVA, OLTC Power Transformer | 2 | piece(s)
04-69-70126 | Capacitive voltage transformer, 132 kV | 6 | piece(s)
04-69-70127 | 132 kV Disconnector with earthing switch, 1250 A | 2 | piece(s)
04-69-70128 | 132 kV Current transformer, 600-300/5/5/5, 2000/5/5 A | 6 | piece(s)
04-69-70129 | 132 kV Circuit breaker, 1250 A | 2 | piece(s)
04-69-70130 | 132 kV Disconnector, 1250 A | 2 | piece(s)
04-69-70131 | VT MCB boxes | 3 | piece(s)
04-69-70132 | Marshalling box with anchor bolts | 5 | piece(s)
04-69-70133 | Steel structures | 1 | set
04-69-70134 | Anchor bolts and templates | 1 | set
04-69-70135 | ACSR conductor | 1 | set
04-69-70136 | Clamps | 1 | set
04-69-70137 | Fixing equipment ( bolts, nuts, screws, etc. ) | 1 | set
04-69-70138 | Insulators | 1 | set
04-69-70139 | Suspension and jointing equipment | 1 | set
04-69-70140 | 132 kV Disconector, 1250 A | 2 | piece(s)
04-69-70141 | 132 kV Circuit breaker, 1250 A | 2 | piece(s)
04-69-70142 | 132 kV Current transformer, 300-150/5/5/5, 2000/5/5 A | 6 | piece(s)
04-69-70143 | Surge arrester, 120 kV | 6 | piece(s)
04-69-70144 | 132 kV Disconnector, 1250 A | 1 | piece(s)
04-69-70145 | Inductive voltage transformer 132 kV | 3 | piece(s)
04-69-70146 | 80 kV Neutral point surge arrester | 2 | piece(s)
04-69-70147 | 72.5 kV Single pole disconnector | 2 | piece(s)
04-69-70148 | 33 kV neutral earthing reactor | 2 | piece(s)
04-69-70149 | 33 kV outdoor current transformer | 2 | piece(s)
04-69-70150 | All necessary connections and support structures | 2 | piece(s)
04-69-70151 | 33 kV Transformer Cubicle for Tr. 132/33/11 kV - Kallar | 2 | piece(s)
04-69-70152 | 33 kV Outgoing Feeder Cubicle | 6 | piece(s)
04-69-70153 | 33 kV Capacitor Bank Cubicle | 2 | piece(s)
04-69-70154 | 33 kV Bus Section Cubicle | 1 | piece(s)
04-69-70155 | 33 kV Busriser Cubicle With VT | 1 | piece(s)
04-69-70156 | 33 kV VT Cubicle | 1 | piece(s)
04-69-70157 | 33 kV, 15 MVAr, Auto-Switched Capacitor Bank | 2 | set
04-69-70158 | 33 kV Disconnector | 2 | piece(s)
04-69-70159 | All necessary support structures | 2 | set
04-69-70160 | All necessary connections | 2 | set
04-69-70161 | 11 kV Transformer Cubicle | 2 | piece(s)
04-69-70162 | 11 kV Outgoing Feeder Cubicle | 8 | piece(s)
04-69-70163 | 11 kV Auxiliary Transformer Cubicle | 2 | piece(s)
04-69-70164 | 11 kV Bus Section Cubicle | 1 | piece(s)
04-69-70165 | 11 kV Busriser Cubicle with VT | 1 | piece(s)
04-69-70166 | 11 kV VT Cubicle | 1 | piece(s)
04-69-70167 | Earthing transformer 11/0.4 kV, 250 kVA, ZNyn11 | 2 | piece(s)
04-69-70168 | Steel structure with anchor bolts for up-rising cables to tr. Boxes | 2 | set
04-69-70169 | 11 kV neutral point earthing equipment and resistor with anchor bolts | 2 | piece(s)
04-69-70170 | MV cable, 36 kV, 1x240 mm2 | 3500 | meter
04-69-70171 | MV cable, 15 kV, 1x 240 mm2 | 1500 | meter
04-69-70172 | MV cable, 15 kV, 1x185 mm2 | 3000 | meter
04-69-70173 | Termination 36 kV, outdoor, 1x240 mm2 | 12 | set
04-69-70174 | Termination 36 kV, indoor, 1x240 mm2 | 20 | set
04-69-70175 | Termination 15 kV, indoor, 1x 240 mm2 | 12 | set
04-69-70176 | Termination 15 kV, indoor, 1x185 mm2 | 16 | set
04-69-70177 | Termination 15 kV, outdoor, 1x185 mm2 | 12 | set
04-69-70178 | 33 kV, surge arrestors | 30 | piece(s)
04-69-70179 | 11 kV, surge arrestors | 36 | piece(s)
04-69-70180 | Cable trays with all fixing anchor bolts | 1 | set
04-69-70181 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 1 x 185 sq.mm | 1500 | meter
04-69-70182 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 1 x 70 sq.mm | 500 | meter
04-69-70183 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 2 x 70 sq.mm | 500 | meter
04-69-70184 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 4 x 35 sq.mm | 500 | meter
04-69-70185 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 4 x 50 sq.mm | 500 | meter
04-69-70186 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 4 x 16 sq.mm | 500 | meter
04-69-70187 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 4 x 6 sq.mm | 6000 | meter
04-69-70188 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 2 x 6 sq.mm | 2000 | meter
04-69-70189 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 4 x 4 sq.mm | 2000 | meter
04-69-70190 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 4 x 2,5 sq.mm | 2000 | meter
04-69-70191 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 3 x 2,5 sq.mm | 2000 | meter
04-69-70192 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 2 x 2,5 sq.mm | 2000 | meter
04-69-70193 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 2 x 4 sq.mm | 2000 | meter
04-69-70194 | Control cable 0,6/1,0 kV, PVC, Copper, 4 x 2,5/2,5 sq.mm | 6000 | meter
04-69-70195 | Control cable 0,6/1,0 kV, PVC, Copper, 6 x 2,5/2,5 sq.mm | 2000 | meter
04-69-70196 | Control cable 0,6/1,0 kV, PVC, Copper, 12x 2,5/4 sq.mm | 2000 | meter
04-69-70197 | Control cable 0,6/1,0 kV, PVC, Copper, 16 x 2,5/6 sq.mm | 2000 | meter
04-69-70198 | Control cable 0,6/1,0 kV, PVC, Copper, 21 x 2,5/10 sq.mm | 2000 | meter
04-69-70199 | Control cable 0,6/1,0 kV, PVC, Copper, 3 x 2,5 sq.mm | 2000 | meter
04-69-70200 | Control cable 0,6/1,0 kV, PVC, Copper, 9 x 1,5/2,5 sq.mm | 2000 | meter
04-69-70201 | Cable trays with all necessary anchor bolts | 1 | set
04-69-70202 | All other necessary material for marking and fixing. | 1 | set
04-69-70203 | LV AC Distribution Panels | 1 | piece(s)
04-69-70204 | 110V DC Distribution Panels for Two Batteries | 1 | piece(s)
04-69-70205 | 110V Battery | 2 | set
04-69-70206 | Battery Charger | 2 | set
04-69-70207 | Battery link box | 2 | set
04-69-70208 | Relay Panel –132 kV OH Feeder | 2 | piece(s)
04-69-70209 | Relay Panel – 132 kV Transformer Feeder | 2 | piece(s)
04-69-70210 | Control Panel – Two OH Feeders of 132 kV | 1 | piece(s)
04-69-70211 | Control Panel – Two Transformer Feeders of 132 kV | 1 | piece(s)
04-69-70212 | Control Panel – Synchronising Panel of 132 kV | 1 | piece(s)
04-69-70213 | Control Panel – 33 kV Switchgear (13 Feeders-Two Panels) | 1 | set
04-69-70214 | Control Panels – 11 kV Switchgear (15 Feeders- Two Panels) | 1 | set
04-69-70215 | On Load Tap Changer Control (O.L.T.C.) Panel | 2 | piece(s)
04-69-70216 | Signalling Panel – Common Signals | 1 | piece(s)
04-69-70217 | Metering Panel – for Two 132 kV OH Feeders | 1 | piece(s)
04-69-70218 | Metering Panel – for Seven 33 kV Feeders | 1 | piece(s)
04-69-70219 | Metering Panel – for Eight 11 kV Feeders | 1 | piece(s)
04-69-70220 | Marshalling Boxes | 5 | piece(s)
04-69-70221 | Microcomputer-Based Substation Control System | 1 | set
04-69-70222 | Substation Earthing and Lightning Protection material, if any | 1 | set
04-69-70223 | Lighting and LV Power Supply Equipment | 1 | set
04-69-70224 | Air Conditioning and Heating System Equipment | 1 | set
04-69-70225 | Fire Detection System and Fire Extinguishers | 1 | set
04-69-70226 | Interface panel | 1 | set
04-69-70227 | 50 kVA, 400V, three phase, 0.8 PF DG set complete with all accessories | 1 | piece(s)
04-69-70228 | Complete cabling, earthing etc. | 1 | set
04-69-70229 | Standard Tool Box | 1 | set
04-69-70230 | Special Tool Box for Switchgears | 1 | set
04-69-70231 | Special Tool Box for Transformers | 1 | set
04-69-70232 | Special Tool Box for Control and protection equipment | 1 | set
04-69-70233 | 33/11 kV, 10 MVA, OLTC Power Transformer | 1 | piece(s)
04-69-70234 | 33 kV Incoming Cubicle | 2 | piece(s)
04-69-70235 | 33 kV Transformer Cubicle for Tr. 33/11 kV | 2 | piece(s)
04-69-70236 | 33 kV Outgoing Feeder Cubicle | 1 | piece(s)
04-69-70237 | 33 kV Capacitor Bank Cubicle | 2 | piece(s)
04-69-70238 | 33 kV Bus Section Cubicle | 1 | piece(s)
04-69-70239 | 33 kV Busriser Cubicle With VT | 1 | piece(s)
04-69-70240 | 33 kV VT Cubicle | 1 | piece(s)
04-69-70241 | 33 kV, 2.5 MVAr, Capacitor Bank | 2 | set
04-69-70242 | 33 kV Disconnector | 2 | piece(s)
04-69-70243 | All necessary support structures | 2 | set
04-69-70244 | All necessary connections | 2 | set
04-69-70245 | 11 kV Transformer Cubicle | 2 | piece(s)
04-69-70246 | 11 kV Outgoing Feeder Cubicle | 6 | piece(s)
04-69-70247 | 11 kV Auxiliary Transformer Cubicle | 2 | piece(s)
04-69-70248 | 11 kV Bus Section Cubicle | 1 | piece(s)
04-69-70249 | 11 kV Busriser Cubicle with VT | 1 | piece(s)
04-69-70250 | 11 kV VT Cubicle | 1 | piece(s)
04-69-70251 | Aux. transformer 11/0.4 kV, 250 kVA, | 2 | piece(s)
04-69-70252 | Steel structure with anchor bolts for up-rising cables to tr. Boxes | 2 | set
04-69-70253 | 11 kV neutral point earthing equipment and resistor with anchor bolts | 2 | piece(s)
04-69-70254 | MV cable, 36 kV, 1x240 mm2 | 1000 | meter
04-69-70255 | MV cable, 15 kV, 1x240 mm2 | 500 | meter
04-69-70256 | MV cable, 15 kV, 1x185 mm2 | 1000 | meter
04-69-70257 | Termination 36 kV, outdoor, 1x240 mm2 | 8 | set
04-69-70258 | Termination 36 kV, indoor, 1x240 mm2 | 12 | set
04-69-70259 | Termination 15 kV, indoor, 1x240 mm2 | 7 | set
04-69-70260 | Termination 15 kV, outdoor, 1x185 mm2 | 9 | set
04-69-70261 | Termination 15 kV, indoor, 1x185 mm2 | 7 | set
04-69-70262 | 33 kV, surge arrestors | 24 | piece(s)
04-69-70263 | 11 kV, surge arrestors | 27 | piece(s)
04-69-70264 | Cable trays with all fixing anchor bolts | 1 | set
04-69-70265 | Steel supports for MV cable terminations | 1 | set
04-69-70266 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 1 x 185 sq.mm | 500 | meter
04-69-70267 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 1 x 70 sq.mm | 500 | meter
04-69-70268 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 2 x 70 sq.mm | 500 | meter
04-69-70269 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 4 x 35 sq.mm | 500 | meter
04-69-70270 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 4 x 50 sq.mm | 500 | meter
04-69-70271 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 4 x 16 sq.mm | 500 | meter
04-69-70272 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 4 x 6 sq.mm | 3000 | meter
04-69-70273 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 2 x 6 sq.mm | 1000 | meter
04-69-70274 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 4 x 4 sq.mm | 1000 | meter
04-69-70275 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 4 x 2,5 sq.mm | 1000 | meter
04-69-70276 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 3 x 2,5 sq.mm | 1000 | meter
04-69-70277 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 2 x 2,5 sq.mm | 1000 | meter
04-69-70278 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 2 x 4 sq.mm | 1000 | meter
04-69-70279 | Control cable 0,6/1,0 kV, PVC, Copper, 4 x 2,5/2,5 sq.mm | 6000 | meter
04-69-70280 | Control cable 0,6/1,0 kV, PVC, Copper, 6 x 2,5/2,5 sq.mm | 3000 | meter
04-69-70281 | Control cable 0,6/1,0 kV, PVC, Copper, 12x 2,5/4 sq.mm | 500 | meter
04-69-70282 | Control cable 0,6/1,0 kV, PVC, Copper, 16 x 2,5/6 sq.mm | 500 | meter
04-69-70283 | Control cable 0,6/1,0 kV, PVC, Copper, 21 x 2,5/10 sq.mm | 500 | meter
04-69-70284 | Control cable 0,6/1,0 kV, PVC, Copper, 3 x 2,5 sq.mm | 500 | meter
04-69-70285 | Control cable 0,6/1,0 kV, PVC, Copper, 9 x 1,5/2,5 sq.mm | 500 | meter
04-69-70286 | Cable trays with all necessary anchor bolts | 1 | set
04-69-70287 | All other necessary material for marking and fixing. | 1 | set
04-69-70288 | LV AC Distribution Panels | 1 | piece(s)
04-69-70289 | 110V DC Distribution Panels for One Battery | 1 | piece(s)
04-69-70290 | 110V Battery | 1 | set
04-69-70291 | Battery Charger | 1 | set
04-69-70292 | Battery link box | 1 | set
04-69-70293 | Control Panel – 33 kV Switchgear (5 Feeders-One Panel) | 1 | set
04-69-70294 | Control Panels – 11 kV Switchgear (13 Feeders- Two Panels) | 1 | set
04-69-70295 | On Load Tap Changer Control (O.L.T.C.) Panel | 2 | piece(s)
04-69-70296 | Signalling Panel – Common Signals | 1 | piece(s)
04-69-70297 | Metering Panel – for Six 11 kV Feeders | 1 | piece(s)
04-69-70298 | Substation Earthing and Lightning Protection material, if any | 1 | set
04-69-70299 | Lighting and LV Power Supply Equipment | 1 | set
04-69-70300 | Air Conditioning and Heating System Equipment | 1 | set
04-69-70301 | Fire Detection System and Fire Extinguishers | 1 | set
04-69-70302 | Interface panel | 1 | set
04-69-70303 | 50 kVA, 400V, three phase, 0.8 PF DG set complete with all accessories | 1 | piece(s)
04-69-70304 | Complete cabling, earthing etc. | 1 | set
04-69-70305 | Standard Tool Box | 1 | set
04-69-70306 | Special Tool Box for Switchgears | 1 | set
04-69-70307 | Special Tool Box for Transformers | 1 | set
04-69-70308 | Special Tool Box for Control and protection equipment | 1 | set
04-69-70309 | Aux. transformer 11/0.4 kV, 250 kVA | 2 | piece(s)
04-69-70310 | Steel structure with anchor bolts for up-rising cables to tr. Boxes | 2 | set
04-69-70311 | 11 kV neutral point earthing equipment and resistor with anchor bolts | 2 | piece(s)
04-69-70312 | MV cable, 36 kV, 1x240 mm2 | 1000 | meter
04-69-70313 | MV cable, 15 kV, 1x 400mm2 | 500 | meter
04-69-70314 | MV cable, 15 kV, 1x185 mm2 | 1000 | meter
04-69-70315 | Termination 36 kV, outdoor, 1x240 mm2 | 8 | set
04-69-70316 | Termination 36 kV, indoor, 1x240 mm2 | 12 | set
04-69-70317 | Termination 15 kV, indoor, 1x 400mm2 | 7 | set
04-69-70318 | Termination 15 kV, outdoor, 1x185 mm2 | 9 | set
04-69-70319 | Termination 15 kV, indoor, 1x185 mm2 | 7 | set
04-69-70320 | 33 kV, surge arrestors | 24 | piece(s)
04-69-70321 | 11 kV, surge arrestors | 27 | piece(s)
04-69-70322 | Cable trays with all fixing anchor bolts | 1 | set
04-69-70323 | Steel supports for MV cable terminations | 1 | set
04-69-70324 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 1 x 185 sq.mm | 500 | meter
04-69-70325 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 1 x 70 sq.mm | 500 | meter
04-69-70326 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 4 x 35 sq.mm | 500 | meter
04-69-70327 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 4 x 50 sq.mm | 500 | meter
04-69-70328 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 4 x 16 sq.mm | 500 | meter
04-69-70329 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 4 x 6 sq.mm | 3000 | meter
04-69-70330 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 2 x 6 sq.mm | 1000 | meter
04-69-70331 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 4 x 4 sq.mm | 1000 | meter
04-69-70332 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 4 x 2,5 sq.mm | 1000 | meter
04-69-70333 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 3 x 2,5 sq.mm | 1000 | meter
04-69-70334 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 2 x 2,5 sq.mm | 1000 | meter
04-69-70335 | LV auxiliary cable, 0,6/1,0 kV, PVC, Copper, 2 x 4 sq.mm | 1000 | meter
04-69-70336 | Control cable 0,6/1,0 kV, PVC, Copper, 4 x 2,5/2,5 sq.mm | 6000 | meter
04-69-70337 | Control cable 0,6/1,0 kV, PVC, Copper, 6 x 2,5/2,5 sq.mm | 3000 | meter
04-69-70338 | Control cable 0,6/1,0 kV, PVC, Copper, 12x 2,5/4 sq.mm | 500 | meter
04-69-70339 | Control cable 0,6/1,0 kV, PVC, Copper, 16 x 2,5/6 sq.mm | 500 | meter
04-69-70340 | Control cable 0,6/1,0 kV, PVC, Copper, 21 x 2,5/10 sq.mm | 500 | meter
04-69-70341 | Control cable 0,6/1,0 kV, PVC, Copper, 3 x 2,5 sq.mm | 500 | meter
04-69-70342 | Control cable 0,6/1,0 kV, PVC, Copper, 9 x 1,5/2,5 sq.mm | 500 | meter
04-69-70343 | Cable trays with all necessary anchor bolts | 1 | set
04-69-70344 | All other necessary material for marking and fixing. | 1 | set
04-69-70345 | LV AC Distribution Panels | 1 | piece(s)
04-69-70346 | 110V DC Distribution Panels for One Battery | 1 | pc
04-69-70347 | 110V Battery | 1 | set
04-69-70348 | Battery Charger | 1 | set
04-69-70349 | Battery link box | 1 | set
04-69-70350 | Auto-reclosing relay | 7 | set
04-69-70351 | Auto-reclose ON/OFF selector switch | 7 | set
04-69-70352 | Control Panel – 33 kV Switchgear (5 Feeders-One Panel) | 1 | piece(s)
04-69-70353 | Control Panels – 11 kV Switchgear (13 Feeders- Two Panels) | 1 | set
04-69-70354 | On Load Tap Changer Control (O.L.T.C.) Panel | 2 | piece(s)
04-69-70355 | Signalling Panel – Common Signals | 1 | piece(s)
04-69-70356 | Metering Panel – for One 33 kV Feeder | 1 | piece(s)
04-69-70357 | Metering Panel – for Six 11 kV Feeders | 1 | piece(s)
04-69-70358 | Substation Earthing and Lightning Protection material, if any | 1 | set
04-69-70359 | Lighting and LV Power Supply Equipment – S/S Penjween | 1 | set
04-69-70360 | Air Conditioning and Heating System Equipment - S/S Penjween | 1 | set
04-69-70361 | Fire Detection System and Fire Extinguishers – S/S Penjween | 1 | set
04-69-70362 | Interface panel | 1 | set
04-69-70363 | 50 kVA, 400V, three phase, 0.8 PF DG set complete with all accessories | 1 | piece(s)
04-69-70364 | Complete cabling, earthing etc. | 1 | set
04-69-70365 | Standard Tool Box | 1 | set
04-69-70366 | Special Tool Box for Switchgears | 1 | set
04-69-70367 | Special Tool Box for Transformers | 1 | set
04-69-70368 | Special Tool Box for Control and protection equipment | 1 | set
04-69-70369 | Power transformer 132/33 kV, 63 MVA | 1 | piece(s)
04-69-70370 | Power transformer 33/11 kV, 16 MVA | 3 | piece(s)
04-69-70371 | 11 kV Neutral Point Earthing Resistor | 2 | piece(s)
04-69-70372 | Power transformer 33/11 kV, 10 MVA | 1 | piece(s)
04-69-70373 | Power transformer 132/6.3 kV, 6.3 MVA | 1 | piece(s)
04-69-70374 | CB of 132 kV-Set of contacts | 3 | set
04-69-70375 | CB of 132 kV-Set of gaskets | 3 | set
04-69-70376 | CB of 132 kV-Closing coil | 3 | piece(s)
04-69-70377 | CB of 132 kV-Tripping coil | 3 | piece(s)
04-69-70378 | CB of 132 kV-Auxiliary contacts 6NO+6NC | 3 | set
04-69-70379 | CB of 132 kV-Motor of drive | 2 | piece(s)
04-69-70380 | CB of 132 kV-Closing spring | 1 | piece(s)
04-69-70381 | CB of 132 kV-Tripping spring | 3 | piece(s)
04-69-70382 | Disconnector of 132 kV-Set of contacts | 3 | set
04-69-70383 | Disconnector of 132 kV-Motor of drive | 2 | piece(s)
04-69-70384 | Disconnector of 132 kV-Auxiliary contacts 6NO+6NC | 3 | set
04-69-70385 | Disconnector of 132 kV-Limit switch | 3 | piece(s)
04-69-70386 | CVT of 132 kV-Set of gaskets | 3 | set
04-69-70387 | Inductive VT of 132 kV-Set of gaskets | 3 | set
04-69-70388 | CT of 132 kV-Set of gaskets | 3 | set
04-69-70389 | Disconnector of 33 kV-Set of contacts | 1 | set
04-69-70390 | Disconnector of 33 kV-Motor of drive | 1 | piece(s)
04-69-70391 | Disconnector of 33 kV-Auxiliary contacts 6NO+6NC | 1 | set
04-69-70392 | Disconnector of 33 kV-Limit switch | 2 | piece(s)
04-69-70393 | Indoor CB of 33 kV-Set of gaskets (for SF6 CB) | 5 | set
04-69-70394 | Indoor CB of 33 kV-Closing coil | 5 | piece(s)
04-69-70395 | Indoor CB of 33 kV-Tripping coil | 5 | piece(s)
04-69-70396 | Indoor CB of 33 kV-Auxiliary contacts 6NO+6NC | 5 | set
04-69-70397 | Indoor CB of 33 kV-Motor of drive | 3 | piece(s)
04-69-70398 | CB of 11 kV-Tripping coil | 5 | piece(s)
04-69-70399 | CB of 11 kV-Closing coil | 5 | piece(s)
04-69-70400 | CB of 11 kV-Auxiliary contacts 6NO+6NC | 5 | set
04-69-70401 | CB of 11 kV-Motor of drive | 3 | piece(s)
04-69-70402 | CB of 11 kV-3 vacuum bottles of each rated currents | 1 | set
04-69-70403 | Indoor CT of 33 kV, 800-400/5/5 A | 3 | piece(s)
04-69-70404 | Indoor CT of 33 kV, 800-400/5/5/5 A | 3 | piece(s)
04-69-70405 | Indoor CT of 33 kV, 600-300/5/5 A | 6 | piece(s)
04-69-70406 | Indoor VT of 33 kV | 3 | piece(s)
04-69-70407 | Indoor CT of 11 kV, 1600-800/5/5/5 A for Said Sadiq S/S | 6 | piece(s)
04-69-70408 | Indoor CT of 11 kV, 1600-800/5/5 A for Said Sadiq S/S | 6 | piece(s)
04-69-70409 | Indoor CT of 11 kV, 300-150/5/5 A for Said Sadiq S/S | 6 | piece(s)
04-69-70410 | Indoor CT of 11 kV, 60-30/5/5 A | 6 | piece(s)
04-69-70411 | Indoor VT of 11 kV : 11/sqr 3 // 0.11/sqr3 // 0.11/3 kV for Said Sadiq S/A | 6 | piece(s)
04-69-70412 | VT Fuse for Indoor VT of 11 kV for Said Sadiq S/S | 6 | piece(s)
04-69-70413 | Earth Switch main contact of 11 kV for Said Sadiq S/S | 6 | piece(s)
04-69-70414 | Bushing of 11 kV for Said Sadiq S/S | 6 | piece(s)
04-69-70415 | Set of fixed and movable panels contact , 1 set for each rated current of 11 kV for Said Sadiq S/S | 6 | set
04-69-70416 | Indoor CT of 11 kV, 1600-800/5/5/5 A | 3 | piece(s)
04-69-70417 | Indoor CT of 11 kV, 1600-800/5/5 A | 3 | piece(s)
04-69-70418 | Indoor CT of 11 kV, 300-150/5/5 A | 6 | piece(s)
04-69-70419 | Indoor CT of 11 kV, 60-30/5/5 A | 3 | piece(s)
04-69-70420 | Indoor VT of 11 kV | 3 | piece(s)
04-69-70421 | VT fuse of 11 kV | 3 | piece(s)
04-69-70422 | VT fuse of 33 kV | 3 | piece(s)
04-69-70423 | 33 kV Earthing switch main contacts | 3 | set
04-69-70424 | 11 kV Earthing switch main contacts | 3 | set
04-69-70425 | 33 kV Cubicle-3 bushings of each type | 1 | set
04-69-70426 | 11 kV Cubicle-3 bushings of each type | 1 | set
04-69-70427 | 33 kV Cubicle-6 support insulators of each type | 1 | set
04-69-70428 | 11 kV Cubicle-6 support insulators of each type | 1 | set
04-69-70429 | 33 kV Cubicle-3 sets of fixed contact of each type | 1 | set
04-69-70430 | 11 kV Cubicle-3 sets of fixed contact of each type | 1 | set
04-69-70431 | 33 kV Cubicle-3 sets of movable contact of each type | 1 | set
04-69-70432 | 11 kV Cubicle-3 sets of movable contact of each type | 1 | set
04-69-70433 | One main protection relay of each type | 1 | set
04-69-70434 | Three tripping relay of each type | 1 | set
04-69-70435 | Three auxiliary relay of each type | 1 | set
04-69-70436 | One transducer of each type | 1 | set
04-69-70437 | Three multifunction meter of each type | 1 | set
04-69-70438 | Three control/selector switches of each type | 1 | set
04-69-70439 | Three semaphore indicators of each type | 1 | set
04-69-70440 | Three MCBs of each type | 1 | set
04-69-70441 | One MCCB of each type | 1 | set
04-69-70442 | One ammeter of each type | 1 | set
04-69-70443 | One voltmeter of each type | 1 | set
04-69-70444 | One MW-meter of each type | 1 | set
04-69-70445 | One MVAr-meter of each type | 1 | set
04-69-70446 | Annunciator | 3 | piece(s)
04-69-70447 | Lamp of signalling lump | 200 | piece(s)
04-69-70448 | Lamp of indoor luminaire | 200 | piece(s)
04-69-70449 | Lamp of outdoor luminaire | 50 | piece(s)
04-69-70450 | Spare parts for air conditioning system | 1 | set
04-69-70451 | Smoke detector | 10 | piece(s)
04-69-70452 | 132 kV Bushing assembly complete including flange gasket | 2 | piece(s)
04-69-70453 | 33 kV Bushing assembly complete including flange gasket | 2 | piece(s)
04-69-70454 | 11 kV Bushing assembly complete including flange gasket | 2 | piece(s)
04-69-70455 | 6.3 kV Bushing assembly complete including flange gasket | 1 | piece(s)
04-69-70456 | OLTC drive motor | 2 | piece(s)
04-69-70457 | Set of glass for each type | 2 | set
04-69-70458 | Temperature indicator | 3 | piece(s)
04-69-70459 | Silicagel breather | 3 | piece(s)
04-69-70460 | Silicagel | 25 | kg
04-69-70461 | One gasket of every type and size | 2 | set
04-69-70462 | Tyres | 5 | Each
04-69-70463 | Scotch 23 HV Self Bonding Tape | 50 | Each
04-69-70464 | Insulation oil for transformers "Lectroll" | 26640 | Each
04-69-70465 | Silicagel Blue | 600 | Each
04-69-70466 | Air filter for 30GF105 Chiller | 4 | Each
04-69-70467 | Suniso 3GS compressor oil (gallons) | 15 | Each
04-69-70468 | Freon gas R22 (Cylinders) | 2 | Each
04-69-70469 | Leroy Somer Electric Motor LS112M1 | 1 | Each
04-69-70470 | Solenoid valve type MSP20G | 1 | Each
04-69-70471 | Spare pts for Liquid Chiller Compresor 06E629910E-figures 7-11 | 1 | Set
04-69-70472 | Pistons | 2 | Each
04-69-70473 | Piston rings | 2 | Each
04-69-70474 | Gaskets | 2 | Each
04-69-70475 | Bearings | 2 | Each
04-69-70476 | Pressure switch for compressor | 1 | Each
04-69-70477 | Sp. pts for Liquid Chiller Compresor 06E6275610E-figures 13-17 | 1 | Set
04-69-70478 | Pistons | 2 | Each
04-69-70479 | Piston rings | 2 | Each
04-69-70480 | Gaskets | 2 | Each
04-69-70481 | Bearings | 2 | Each
04-69-70482 | Pressure switch for compressor | 1 | Each
04-69-70483 | Semi Hermetic Compressor Model 06ET-299621-EE | 1 | Each
04-69-70484 | Heavy Duty Safety Boots to DIN EN 345-1S3 | 15 | Pair
04-69-70485 | Permanent tools and equipment - figures (2 - 626) | 1 | Lot
04-69-70486 | Switchgear interlook unit 8TJ2 / CB-module (11100) | 4 | piece(s)
04-69-70487 | Maintenance kit for major overhaul circuit breaker (11200) - figures 4-52 | 18 | Kit
04-69-70488 | Usit-Ring 6,7x11x1 | 36 | piece(s)
04-69-70489 | O-Ring 7-1,5 | 18 | piece(s)
04-69-70490 | Usit-Ring 8,7x14x1 | 18 | piece(s)
04-69-70491 | Micro-switch-element | 18 | piece(s)
04-69-70492 | Usit-Ring 7,3x10,2x1 | 18 | piece(s)
04-69-70493 | Usit-Ring 28,7x36x2 | 18 | piece(s)
04-69-70494 | Usit-Ring 28,7x37x2 | 18 | piece(s)
04-69-70495 | Warning label | 36 | piece(s)
04-69-70496 | Usit-Ring 12,7x18x1,5 | 18 | piece(s)
04-69-70497 | O-Ring 12-1,5 | 18 | piece(s)
04-69-70498 | O-Ring 4-1,0 | 18 | piece(s)
04-69-70499 | Usit-Ring 6,7x11x1,0 | 18 | piece(s)
04-69-70500 | Usit-Ring 28,7x37x2 | 18 | piece(s)
04-69-70501 | O-Ring 9-1,5 | 18 | piece(s)
04-69-70502 | Hose | 18 | piece(s)
04-69-70503 | Clip | 36 | piece(s)
04-69-70504 | Clip | 36 | piece(s)
04-69-70505 | Clip | 36 | piece(s)
04-69-70506 | Usit-Ring 22,7x30x2 | 90 | piece(s)
04-69-70507 | O-Ring 7-1,5 | 36 | piece(s)
04-69-70508 | Cam (rubber) | 18 | piece(s)
04-69-70509 | Usit-Ring 7,3x10,2x1 | 18 | piece(s)
04-69-70510 | Usit-Ring 8,7x14x1 | 18 | piece(s)
04-69-70511 | Usit-Ring 6,2x9,2x1 | 36 | piece(s)
04-69-70512 | O-Ring 62-3 | 18 | piece(s)
04-69-70513 | Usit-Ring 13,7x20x1,5 | 18 | piece(s)
04-69-70514 | O-Ring 64-3 | 18 | piece(s)
04-69-70515 | O-Ring 340-6 | 18 | piece(s)
04-69-70516 | O-Ring 32-4 | 36 | piece(s)
04-69-70517 | Sliding ring (Turcon) | 36 | piece(s)
04-69-70518 | O-Ring 4,47-1,78 | 36 | piece(s)
04-69-70519 | Split-pin 2x10x5 | 36 | piece(s)
04-69-70520 | O-Ring 850-10 | 18 | piece(s)
04-69-70521 | Washer 21-140 | 432 | piece(s)
04-69-70522 | Washer 13-140 | 216 | piece(s)
04-69-70523 | Safety plate | 108 | piece(s)
04-69-70524 | Spring washer A8 | 108 | piece(s)
04-69-70525 | Washer 25 | 486 | piece(s)
04-69-70526 | Locking nut | 54 | piece(s)
04-69-70527 | Spring washer A12 | 108 | piece(s)
04-69-70528 | Washer 13 | 144 | piece(s)
04-69-70529 | Spring washer A16 | 144 | piece(s)
04-69-70530 | O-Ring 1110-10 | 18 | piece(s)
04-69-70531 | O-Ring 398-8 | 18 | piece(s)
04-69-70532 | Filter bag | 324 | piece(s)
04-69-70533 | Washer 17 | 432 | piece(s)
04-69-70534 | Gasket | 18 | piece(s)
04-69-70535 | Soft rubber sealing (control unit) 3,5 mtr. | 18 | piece(s)
04-69-70536 | Soft rubber sealing (control unit) 4 mtr. | 18 | piece(s)
04-69-70537 | Set of Gaskets Piston Hydraulic Mechanism (11201) - figures 54-63 | 18 | Set
04-69-70538 | Gasket Polymy 40x49,5x9,5 | 18 | piece(s)
04-69-70539 | O-Ring 12-2 | 18 | piece(s)
04-69-70540 | Gasket 0,5x40-62-6 | 18 | piece(s)
04-69-70541 | O-Ring 54-3 | 18 | piece(s)
04-69-70542 | Hexagon bolt M12x50 | 72 | piece(s)
04-69-70543 | Safety washer M12 | 72 | piece(s)
04-69-70544 | Grease Molykote 150 gr | 18 | piece(s)
04-69-70545 | Bolt M8x110 | 36 | piece(s)
04-69-70546 | Hexagon nut M8 | 72 | piece(s)
04-69-70547 | Distance pipe 10x2x5 | 18 | piece(s)
04-69-70548 | Outer sealing for SF6 (11202) | 18 | piece(s)
04-69-70549 | Connection for hose oil-pump and filter (11203) | 18 | piece(s)
04-69-70550 | Connection for hose oil-pump and filter (11204) | 18 | piece(s)
04-69-70551 | Oil-Filter element (11205) | 18 | piece(s)
04-69-70552 | Snap-Switch S800A (11206) | 18 | piece(s)
04-69-70553 | Hydraulic Oil Aerofluid 4 (Each 20 Litre) (11207) | 60 | piece(s)
04-69-70554 | O-Ring 398-8 (11208) | 100 | piece(s)
04-69-70555 | O-Ring 622-8 (11209) | 25 | piece(s)
04-69-70556 | O-Ring 700-10 (11210) | 25 | piece(s)
04-69-70557 | O-Ring 200-6 (11211) | 25 | piece(s)
04-69-70558 | Filter Bags (Delivery in tins each 6 bags); 250 gr (11212) | 720 | piece(s)
04-69-70559 | Spring washer A16 (11213) | 1000 | piece(s)
04-69-70560 | Corrosion prevention Tectyl 506; 0,5 kg (11214) | 25 | piece(s)
04-69-70561 | Corrosion prevention Valvoline; 0,25 kg (11215) | 25 | piece(s)
04-69-70562 | Vaseline; 0,25 kg (11216) | 50 | piece(s)
04-69-70563 | Molykote Longterm 2 (11217) | 20 | piece(s)
04-69-70564 | Centoplex (11218) | 20 | piece(s)
04-69-70565 | Paint Cement grey RAL 7032 (11219) | 10 | piece(s)
04-69-70566 | Cleaning rags (Each 1,0 kg) (11220) | 100 | piece(s)
04-69-70567 | Cleaning paper (11221) | 20 | piece(s)
04-69-70568 | Special cleaning fluid Type Aral 4005 (Each 2,5 Litre) (11222) | 100 | piece(s)
04-69-70569 | Special cleaning fluid Type Haku 5067 (Each 1,0 Litre) (11223) | 200 | piece(s)
04-69-70570 | Set Usit rings for SF6 (11224) - figures 87-94 | 2 | Set
04-69-70571 | Usit ring 6,7x11x1 | 30 | piece(s)
04-69-70572 | Usit ring 12,7x18x1,5 | 20 | piece(s)
04-69-70573 | Usit ring 16,7x24x1,5 | 6 | piece(s)
04-69-70574 | Usit ring 22,7x30x2 | 6 | piece(s)
04-69-70575 | Usit ring 28,7x37x2 | 10 | piece(s)
04-69-70576 | Usit ring 18,7x26x1,5 | 6 | piece(s)
04-69-70577 | Usit ring 10,35x16x2 | 6 | piece(s)
04-69-70578 | Box 18x18x13 cm | 1 | piece(s)
04-69-70579 | Set Usit rings for Hydraulic (11225) - figures 96-108 | 2 | Set
04-69-70580 | Usit ring 5,7x9x1 | 4 | piece(s)
04-69-70581 | Usit ring 7,3x10,2x1 | 6 | piece(s)
04-69-70582 | Usit ring 8,5x13,4x1 | 4 | piece(s)
04-69-70583 | Usit ring 8,7x14x1 | 8 | piece(s)
04-69-70584 | Usit ring 8,7x16x1 | 4 | piece(s)
04-69-70585 | Usit ring 10,7x16x1,5 | 4 | piece(s)
04-69-70586 | Usit ring 13,7x20x1,5 | 4 | piece(s)
04-69-70587 | Usit ring 14,7x22x1,5 | 6 | piece(s)
04-69-70588 | Usit ring 17,4x24x1,5 | 6 | piece(s)
04-69-70589 | Usit ring 21,5x28,7x2,5 | 6 | piece(s)
04-69-70590 | Usit ring 27,2x36x2 | 2 | piece(s)
04-69-70591 | Usit ring 28,7x37x2 | 2 | piece(s)
04-69-70592 | Box 18x18x13 cm | 1 | piece(s)
04-69-70593 | O-Ring 242-6 (11226) | 20 | piece(s)
04-69-70594 | Personal protection set for SF6 (11227) - figures 111-116 | 10 | Set
04-69-70595 | Paper cap | 20 | piece(s)
04-69-70596 | Paper cap for safety helmet | 20 | piece(s)
04-69-70597 | Paper sleeve protector | 20 | piece(s)
04-69-70598 | Vinyl gloves | 40 | piece(s)
04-69-70599 | Paper-Overall Size: L | 20 | piece(s)
04-69-70600 | Paper Overshoes Size: L | 20 | piece(s)
04-69-70601 | Clamping plate (11228) | 10 | piece(s)
04-69-70602 | SF6 filling & meas. device (11229) | 1 | piece(s)
04-69-70603 | Funnel with filter (11230) | 1 | piece(s)
04-69-70604 | Oil hose (11231) | 1 | piece(s)
04-69-70605 | Toolbox f. C.B. maintenance (11232) - figures 122-344 | 2 | Set
04-69-70606 | 2,5 dia. twist drill | 8 | piece(s)
04-69-70607 | 2,9 dia. twist drill | 8 | piece(s)
04-69-70608 | 3,2 dia. twist drill | 8 | piece(s)
04-69-70609 | 4,0 dia. twist drill | 8 | piece(s)
04-69-70610 | 4,2 dia. twist drill | 8 | piece(s)
04-69-70611 | 4,5 dia. twist drill | 8 | piece(s)
04-69-70612 | 5,0 dia. twist drill | 4 | piece(s)
04-69-70613 | 5,3 dia. twist drill | 4 | piece(s)
04-69-70614 | 6,0 dia. twist drill | 4 | piece(s)
04-69-70615 | 6,5 dia. twist drill | 4 | piece(s)
04-69-70616 | 7,0 dia. twist drill | 4 | piece(s)
04-69-70617 | 8,5 dia. twist drill | 4 | piece(s)
04-69-70618 | 9,0 dia. twist drill | 4 | piece(s)
04-69-70619 | 10,0 dia. twist drill | 4 | piece(s)
04-69-70620 | 11,0 dia. twist drill | 2 | piece(s)
04-69-70621 | 13,5 dia. twist drill | 2 | piece(s)
04-69-70622 | 1,9 dia. twist drill | 8 | piece(s)
04-69-70623 | 2,0 dia. twist drill | 4 | piece(s)
04-69-70624 | 3,9 dia. twist drill | 4 | piece(s)
04-69-70625 | 4,9 dia. twist drill | 2 | piece(s)
04-69-70626 | 5,9 dia. twist drill | 2 | piece(s)
04-69-70627 | 6,7 dia. twist drill | 2 | piece(s)
04-69-70628 | 7,9 dia. twist drill | 2 | piece(s)
04-69-70629 | 10,5 dia. twist drill | 2 | piece(s)
04-69-70630 | 12,0 dia. twist drill | 2 | piece(s)
04-69-70631 | Steel wire brush 5-rowed | 2 | piece(s)
04-69-70632 | Punch taper 3,0 dia. | 4 | piece(s)
04-69-70633 | Punch taper 5,0 dia. | 4 | piece(s)
04-69-70634 | Punch taper 8,0 dia. | 4 | piece(s)
04-69-70635 | Cylindrical taper 2,0 dia. | 2 | piece(s)
04-69-70636 | Cylindrical taper 3,0 dia. | 2 | piece(s)
04-69-70637 | Cylindrical taper 4,0 dia. | 2 | piece(s)
04-69-70638 | Cylindrical taper 6,0 dia. | 2 | piece(s)
04-69-70639 | Cylindrical taper 8,0 dia. | 2 | piece(s)
04-69-70640 | Punch with sleeve 2,8 dia. | 2 | piece(s)
04-69-70641 | Magnetic search "universal" | 2 | piece(s)
04-69-70642 | S-hooks-bending tool | 4 | piece(s)
04-69-70643 | Flat file 250 mm, cut 1 | 2 | piece(s)
04-69-70644 | Round file 150 mm, cut 3 | 2 | piece(s)
04-69-70645 | Half-round file 150 mm, cut 3 | 2 | piece(s)
04-69-70646 | File handle 100 | 4 | piece(s)
04-69-70647 | File handle 120 | 2 | piece(s)
04-69-70648 | Thread file 0,8 - 3,0 | 2 | piece(s)
04-69-70649 | Tap M 4 Vkt. 3,4 | 2 | piece(s)
04-69-70650 | Tap M 5 Vkt. 4,9 | 2 | piece(s)
04-69-70651 | Tap M 6 Vkt. 4,9 | 2 | piece(s)
04-69-70652 | Tap M 8 Vkt. 4,9 | 2 | piece(s)
04-69-70653 | Tap M 10 Vkt. 5,5 | 2 | piece(s)
04-69-70654 | Tap M 12 Vkt. 7,0 | 2 | piece(s)
04-69-70655 | Tap M 16 Vkt. 9,0 | 2 | piece(s)
04-69-70656 | Threading die M 4/20 dia. | 2 | piece(s)
04-69-70657 | Threading die M 5/20 dia. | 2 | piece(s)
04-69-70658 | Threading die M 6/20 dia. | 2 | piece(s)
04-69-70659 | Threading die M 8/25 dia. | 2 | piece(s)
04-69-70660 | Threading die M 10/30 dia. | 2 | piece(s)
04-69-70661 | Threading die M 12/38 dia. | 2 | piece(s)
04-69-70662 | Threading die M 16/45 dia. | 2 | piece(s)
04-69-70663 | Tap R 1/8" Vkt. sq. 5,5 | 2 | piece(s)
04-69-70664 | Tap R 1/4" Vkt. sq. 9,0 | 2 | piece(s)
04-69-70665 | Tap wrench adjustable size 3 | 2 | piece(s)
04-69-70666 | Stock with rachet, 2,1 - 4,9 | 2 | piece(s)
04-69-70667 | Die stock 20/7 | 2 | piece(s)
04-69-70668 | Die stock 25/9 | 2 | piece(s)
04-69-70669 | Die stock 30/11 | 2 | piece(s)
04-69-70670 | Die stock 38/14 | 2 | piece(s)
04-69-70671 | Die stock 45/18 | 2 | piece(s)
04-69-70672 | Engineer's hammer 0,3 kg | 2 | piece(s)
04-69-70673 | Plastic hammer 40 mm dia. | 2 | piece(s)
04-69-70674 | Plastic hammer 60 mm dia. | 2 | piece(s)
04-69-70675 | Electric soldering iron, 220 - 30, straight | 2 | piece(s)
04-69-70676 | Spatula 60 | 2 | piece(s)
04-69-70677 | Double-ended spatula 15 | 2 | piece(s)
04-69-70678 | Flat chisel 200 | 2 | piece(s)
04-69-70679 | Centre punch 120 x 12 | 2 | piece(s)
04-69-70680 | Scriber | 2 | piece(s)
04-69-70681 | Rule 2 m | 2 | piece(s)
04-69-70682 | Try square 300 x 22/90° | 2 | piece(s)
04-69-70683 | Slide caliper rule 150 with depth gauge | 2 | piece(s)
04-69-70684 | Wooden spirit level 500 | 2 | piece(s)
04-69-70685 | Set of feeler gauges 0,05 - 1/0,1 | 2 | piece(s)
04-69-70686 | Voltage tester (DUSPOL) | 2 | piece(s)
04-69-70687 | Paint brush 30 mm | 2 | piece(s)
04-69-70688 | Heating element brush 1" | 2 | piece(s)
04-69-70689 | Soldering brush, long | 2 | piece(s)
04-69-70690 | Mirror with swivel joint | 2 | piece(s)
04-69-70691 | Metal-cutting saw PUK | 2 | piece(s)
04-69-70692 | Blades for metal-cutting saw PUK | 10 | piece(s)
04-69-70693 | Emercency pocket with pipe | 2 | piece(s)
04-69-70694 | Shett metal suirter oilcan | 2 | piece(s)
04-69-70695 | Spindle-operated grease gun | 2 | piece(s)
04-69-70696 | Connecting line with flat nozz. | 2 | piece(s)
04-69-70697 | Connecting line with point | 2 | piece(s)
04-69-70698 | Forced-fedd grease gun 50 cm | 2 | piece(s)
04-69-70699 | Goggles, light - clear | 2 | piece(s)
04-69-70700 | Three square scraber, 150 | 2 | piece(s)
04-69-70701 | Flat scraber, 250 | 2 | piece(s)
04-69-70702 | Eng. wrench WAF 6 x 7 | 2 | piece(s)
04-69-70703 | Eng. wrench WAF 6 x 8 | 2 | piece(s)
04-69-70704 | Eng. wrench WAF 8 x 9 | 2 | piece(s)
04-69-70705 | Eng. wrench WAF 10 x 11 | 2 | piece(s)
04-69-70706 | Eng. wrench WAF 12 x 113 | 2 | piece(s)
04-69-70707 | Eng. wrench WAF 14 x 15 | 2 | piece(s)
04-69-70708 | Eng. wrench WAF 16 x 17 | 2 | piece(s)
04-69-70709 | Eng. wrench WAF 18 x 19 | 2 | piece(s)
04-69-70710 | Eng. wrench WAF 20 x 22 | 2 | piece(s)
04-69-70711 | Eng. wrench WAF 21 x 23 | 2 | piece(s)
04-69-70712 | Eng. wrench WAF 24 x 27 | 2 | piece(s)
04-69-70713 | Eng. wrench WAF 25 x 28 | 2 | piece(s)
04-69-70714 | Eng. wrench WAF 30 x 32 | 2 | piece(s)
04-69-70715 | Eng. wrench WAF 36 x 41 | 2 | piece(s)
04-69-70716 | Camp. Box end wrench SW 7 | 2 | piece(s)
04-69-70717 | Camp. Box end wrench SW 10 | 2 | piece(s)
04-69-70718 | Camp. Box end wrench SW 13 | 2 | piece(s)
04-69-70719 | Camp. Box end wrench SW 17 | 2 | piece(s)
04-69-70720 | Camp. Box end wrench SW 19 | 2 | piece(s)
04-69-70721 | Camp. Box end wrench SW 22 | 2 | piece(s)
04-69-70722 | Camp. Box end wrench SW 24 | 2 | piece(s)
04-69-70723 | Box of wrench, offset width across flats 10/11 | 2 | piece(s)
04-69-70724 | Box of wrench, offset width across flats 14/15 | 2 | piece(s)
04-69-70725 | Box of wrench, offset width across flats 18/19 | 2 | piece(s)
04-69-70726 | Box of wrench, offset width across flats 21/23 | 2 | piece(s)
04-69-70727 | Box of wrench, offset width across flats 25/28 | 2 | piece(s)
04-69-70728 | Box of wrench, offset width across flats 30/32 | 2 | piece(s)
04-69-70729 | Box of wrench, offset width across flats 36/41 | 2 | piece(s)
04-69-70730 | Free wheeling rachet 1/2" | 4 | piece(s)
04-69-70731 | Svivel piece | 2 | piece(s)
04-69-70732 | Extensions 120 mm | 4 | piece(s)
04-69-70733 | Extensions 250 mm | 4 | piece(s)
04-69-70734 | Socket wrench, socket 13 | 4 | piece(s)
04-69-70735 | Socket wrench, socket 17 | 4 | piece(s)
04-69-70736 | Socket wrench, socket 19 | 4 | piece(s)
04-69-70737 | Socket wrench, socket 22 | 2 | piece(s)
04-69-70738 | Socket wrench, socket 24 | 4 | piece(s)
04-69-70739 | Socket wrench, socket 27 | 4 | piece(s)
04-69-70740 | Socket wrench, socket 30 | 4 | piece(s)
04-69-70741 | Socket wrench, socket 32 | 4 | piece(s)
04-69-70742 | Hexagon socket wrench socket SW 4 mm | 2 | piece(s)
04-69-70743 | Hexagon socket wrench socket SW 5 mm | 2 | piece(s)
04-69-70744 | Hexagon socket wrench socket SW 6 mm | 2 | piece(s)
04-69-70745 | Hexagon socket wrench socket SW 8 mm | 2 | piece(s)
04-69-70746 | Hexagon socket wrench socket SW 10 mm | 2 | piece(s)
04-69-70747 | Hexagon socket wrench socket SW 14 mm | 2 | piece(s)
04-69-70748 | Hexagon socket wrench socket SW 17 mm | 2 | piece(s)
04-69-70749 | Rachet reversible | 2 | piece(s)
04-69-70750 | Extensions 50 mm | 2 | piece(s)
04-69-70751 | Extensions 150 mm | 2 | piece(s)
04-69-70752 | Universal joint | 2 | piece(s)
04-69-70753 | Sliding handle | 2 | piece(s)
04-69-70754 | Flexible handle | 2 | piece(s)
04-69-70755 | Handle | 2 | piece(s)
04-69-70756 | Adapter from 1/4" square to hex. 6,3 mm | 2 | piece(s)
04-69-70757 | Screwdriver socket 4 mm | 2 | piece(s)
04-69-70758 | Screwdriver socket 5 mm | 2 | piece(s)
04-69-70759 | Recess / screwdriver 2,5 mm | 2 | piece(s)
04-69-70760 | Recess / screwdriver 3 mm | 2 | piece(s)
04-69-70761 | Recess / screwdriver 4 mm | 2 | piece(s)
04-69-70762 | Recess / screwdriver 5 mm | 2 | piece(s)
04-69-70763 | Recess / screwdriver 6 mm | 2 | piece(s)
04-69-70764 | Socket 4 mm | 2 | piece(s)
04-69-70765 | Socket 4,5 mm | 2 | piece(s)
04-69-70766 | Socket 5 mm | 2 | piece(s)
04-69-70767 | Socket 5,5 mm | 2 | piece(s)
04-69-70768 | Socket 6 mm | 2 | piece(s)
04-69-70769 | Socket 7 mm | 2 | piece(s)
04-69-70770 | Socket 8 mm | 2 | piece(s)
04-69-70771 | Socket 9 mm | 2 | piece(s)
04-69-70772 | Socket 10 mm | 2 | piece(s)
04-69-70773 | Socket 11 mm | 2 | piece(s)
04-69-70774 | Socket 12 mm | 2 | piece(s)
04-69-70775 | Socket 13 mm | 2 | piece(s)
04-69-70776 | Socket 14 mm | 2 | piece(s)
04-69-70777 | Hexagon socket wrench, width across flat 6/90-32 | 2 | piece(s)
04-69-70778 | Hexagon socket wrench, width across flat 8/100-36 | 2 | piece(s)
04-69-70779 | Hexagon socket wrench, width across flat 10/112-40 | 2 | piece(s)
04-69-70780 | Hexagon socket wrench, width across flat 17/160-60 | 2 | piece(s)
04-69-70781 | Hexagon socket wrench, width across flat 19/160-60 | 2 | piece(s)
04-69-70782 | Hexagon socket wrench, width across flat 5/300 | 2 | piece(s)
04-69-70783 | Hexagon socket wrench, width across fla 6/300 | 2 | piece(s)
04-69-70784 | Wrench, adjustable 300/55 | 2 | piece(s)
04-69-70785 | Screwdriver, insulated, 2,3 mm bl. Width | 2 | piece(s)
04-69-70786 | Screwdriver, insulated, 3,5 mm bl. Width | 4 | piece(s)
04-69-70787 | Screwdriver, insulated, 5,5 mm bl. Width | 2 | piece(s)
04-69-70788 | Screwdriver, insulated, 7,0 mm bl. Width | 2 | piece(s)
04-69-70789 | Screwdriver, insulated, 10,0 mm bl. Width | 2 | piece(s)
04-69-70790 | Screwdriver, insulated, 13,0 mm bl. Width | 2 | piece(s)
04-69-70791 | Screwdriver, insulated, 80 x 3,0 mm bl. Width | 2 | piece(s)
04-69-70792 | Offset screwdriver 2/4 x 4 | 2 | piece(s)
04-69-70793 | Offset screwdriver 2/6 x 6 | 2 | piece(s)
04-69-70794 | Offset screwdriver 2/8 x 8 | 2 | piece(s)
04-69-70795 | Offset screwdriver 2/10 x 12 | 2 | piece(s)
04-69-70796 | Terminal srewdriver 4 | 2 | piece(s)
04-69-70797 | TORX-screwdriver (haft magnetical) | 2 | piece(s)
04-69-70798 | TORX-screwdriver (haft magnetical), bit TX6 | 2 | piece(s)
04-69-70799 | TORX-screwdriver (haft magnetical), bit TX7 | 2 | piece(s)
04-69-70800 | TORX-screwdriver (haft magnetical), bit TX8 | 2 | piece(s)
04-69-70801 | TORX-screwdriver (haft magnetical), bit TX10 | 2 | piece(s)
04-69-70802 | TORX-screwdriver (haft magnetical), bit TX15 | 2 | piece(s)
04-69-70803 | TORX-screwdriver (haft magnetical), bit TX20 | 2 | piece(s)
04-69-70804 | TORX-screwdriver (haft magnetical), bit TX25 | 2 | piece(s)
04-69-70805 | TORX-screwdriver (haft magnetical), bit TX30 | 2 | piece(s)
04-69-70806 | TORX-screwdriver (haft magnetical), bit TX40 | 2 | piece(s)
04-69-70807 | Multi-purpose plate shears | 2 | piece(s)
04-69-70808 | Solder FLUITIN 1 dia. | 2 | piece(s)
04-69-70809 | Toolbox red | 2 | piece(s)
04-69-70810 | Chain nose side cutting pliers 180 mm | 2 | piece(s)
04-69-70811 | Side cutting pliers 180 mm | 2 | piece(s)
04-69-70812 | Screwdriver 0,6 x 2,8 x 75 mm | 2 | piece(s)
04-69-70813 | Screwdriver 0,5 x 3,5 x 100 mm | 2 | piece(s)
04-69-70814 | Screwdriver 1,0 x 4,5 x 125 mm | 2 | piece(s)
04-69-70815 | Screwdriver 0,8 x 5,5 x 125 mm | 2 | piece(s)
04-69-70816 | Screwdriver 6,5 x 150 mm | 2 | piece(s)
04-69-70817 | Flat nose plier 140 mm | 2 | piece(s)
04-69-70818 | Combination plier 160 | 2 | piece(s)
04-69-70819 | Water-pump nut plier | 2 | piece(s)
04-69-70820 | Telephone linesman's plier | 2 | piece(s)
04-69-70821 | Power cutter 140 | 2 | piece(s)
04-69-70822 | Circlip plier A 2/26 - 70 | 2 | piece(s)
04-69-70823 | Circlip plier A 11/10 - 25 | 2 | piece(s)
04-69-70824 | Circlip plier J 3/50 - 100 | 2 | piece(s)
04-69-70825 | Circlip plier J 11/9 - 25 | 2 | piece(s)
04-69-70826 | Circlip plier J 31/50 - 100 | 2 | piece(s)
04-69-70827 | Cable knife | 2 | piece(s)
04-69-70828 | Tin opener | 2 | piece(s)
04-69-70829 | Set of Torque Wrench ZAKO (11233) - figures 346-365 | 1 | Set
04-69-70830 | Wooden box | 1 | piece(s)
04-69-70831 | Torque wrench 40-140 Nm | 1 | piece(s)
04-69-70832 | Plug-on ratchet 1/2" | 1 | piece(s)
04-69-70833 | Torque wrench 80-240 Nm | 1 | piece(s)
04-69-70834 | Plug-on ratchet 1/2" | 1 | piece(s)
04-69-70835 | Ring spanner socket size 19 | 1 | piece(s)
04-69-70836 | Extension 75 1/2" | 1 | piece(s)
04-69-70837 | Extension 125 1/2" | 1 | piece(s)
04-69-70838 | Extension 250 1/2" | 1 | piece(s)
04-69-70839 | Socket wrench socket size 19 | 1 | piece(s)
04-69-70840 | Socket wrench socket size 24 | 1 | piece(s)
04-69-70841 | Socket wrench socket size 24/80 | 1 | piece(s)
04-69-70842 | Allen key socket size 8 polished | 1 | piece(s)
04-69-70843 | Allen key socket size 8 | 1 | piece(s)
04-69-70844 | Torque wrench 20-100 Nm | 1 | piece(s)
04-69-70845 | Fork spanner size 14 | 1 | piece(s)
04-69-70846 | Fork spanner size 17 | 1 | piece(s)
04-69-70847 | Cock foot-spanner size 22 3/8" | 1 | piece(s)
04-69-70848 | Cock foot-spanner size 24 3/8" | 1 | piece(s)
04-69-70849 | Reducer 1/2" J-3/8"A | 1 | piece(s)
04-69-70850 | Precision manometer 400 bar (11234) | 1 | piece(s)
04-69-70851 | Set of connectors (11235) - figures 368-377 | 1 | Set
04-69-70852 | Toolbox | 1 | piece(s)
04-69-70853 | Connector R 1/4"A-R 1/4"A | 1 | piece(s)
04-69-70854 | Connector R 1/4"A-R 3/8"A IK | 1 | piece(s)
04-69-70855 | Connector R 1/4"A-R 1/4"A | 1 | piece(s)
04-69-70856 | Connector R 1 1/4"A-R 1 1/4"A | 1 | piece(s)
04-69-70857 | Connector R 1 1/4"-R 3/4" I | 1 | piece(s)
04-69-70858 | Connector R 1 1/4"A-R 1" I 90 Bogen | 1 | piece(s)
04-69-70859 | Connector DN20 I-spring/DN20 A-nut with DN8 / 1/4" | 1 | piece(s)
04-69-70860 | Connector R 1/4"a-Dilo DN8 | 1 | piece(s)
04-69-70861 | Connector R 1 1/4"A-Dilo DN20 | 1 | piece(s)
04-69-70862 | Multirange instrument Multizet S (11236) | 2 | piece(s)
04-69-70863 | Test lead 2m red (11237) | 5 | piece(s)
04-69-70864 | Test lead 2m black (11237) | 5 | piece(s)
04-69-70865 | Case with small parts (11238) - figures 382-397 | 1 | Case
04-69-70866 | Plastic box | 1 | piece(s)
04-69-70867 | Safety adapter | 10 | piece(s)
04-69-70868 | Tapping clamp | 6 | piece(s)
04-69-70869 | Tapping clamp small | 4 | piece(s)
04-69-70870 | Miniature clamp-type test prod | 2 | piece(s)
04-69-70871 | Suprafix plug | 20 | piece(s)
04-69-70872 | Clamp-type test prod | 6 | piece(s)
04-69-70873 | Test prod large | 2 | piece(s)
04-69-70874 | Couples | 16 | piece(s)
04-69-70875 | Angle socket small | 20 | piece(s)
04-69-70876 | Tip jack long | 10 | piece(s)
04-69-70877 | Tip jack short | 20 | piece(s)
04-69-70878 | Terminal block adapter | 4 | piece(s)
04-69-70879 | Reducer | 6 | piece(s)
04-69-70880 | Adapter | 6 | piece(s)
04-69-70881 | Cable coupler | 6 | piece(s)
04-69-70882 | Pressure gauge frame (11239) | 1 | piece(s)
04-69-70883 | SF6-Gas measuring device Type Dilo (11240) | 1 | piece(s)
04-69-70884 | Hygrometer Type MTS5 (11241) | 1 | piece(s)
04-69-70885 | Manometer 0-10 Bar (11242) | 1 | piece(s)
04-69-70886 | Vacuum Cleaner (11243) | 1 | piece(s)
04-69-70887 | Closing device (11244) | 1 | piece(s)
04-69-70888 | Thermometer -10 to +100 C (11245) | 2 | piece(s)
04-69-70889 | SF6-Gas leakage detector (11246) | 3 | piece(s)
04-69-70890 | Maintenance kit for Siemens SF6-Gas handling unit (11248) - figures 407-428 | 1 | Kit
04-69-70891 | Centering ring with filter NW40 | 1 | piece(s)
04-69-70892 | Centering ring with filter NW25 | 2 | piece(s)
04-69-70893 | O-Ring 12,29x3,53 | 1 | piece(s)
04-69-70894 | O-Ring 38x3 | 4 | piece(s)
04-69-70895 | O-Ring 38x4 | 1 | piece(s)
04-69-70896 | O-Ring 124x4 | 7 | piece(s)
04-69-70897 | O-Ring 130x6 | 1 | piece(s)
04-69-70898 | O-Ring 140x6 | 1 | piece(s)
04-69-70899 | Usit-Ring 6,7x11x1 | 3 | piece(s)
04-69-70900 | Usit-Ring 8,5x13,4x1 | 2 | piece(s)
04-69-70901 | Usit-Ring 12,7x18x1,5 | 10 | piece(s)
04-69-70902 | Usit-Ring 14,7x22x1,5 | 1 | piece(s)
04-69-70903 | Usit-Ring 16,7x24x1,5 | 1 | piece(s)
04-69-70904 | Usit-Ring 20,7x28x1,5 | 1 | piece(s)
04-69-70905 | Usit-Ring 22,7x30x2 | 1 | piece(s)
04-69-70906 | Usit-Ring 28,7x37x2 | 3 | piece(s)
04-69-70907 | Cellular rubber | 7 | piece(s)
04-69-70908 | DANFOSS-diaphragm replacement | 11 | piece(s)
04-69-70909 | Gasket for S25 B | 1 | piece(s)
04-69-70910 | Solid filter-material | 4 | piece(s)
04-69-70911 | Molecular filter in tins (each 1,9 kg) | 5 | piece(s)
04-69-70912 | FUCHS-Oil KM | 5 | piece(s)
04-69-70913 | N2-Storage charger (11249) | 1 | piece(s)
04-69-70914 | Set of torque wrench 8-40 Nm (11250) - figures 431-449 | 1 | Set
04-69-70915 | Metal box | 1 | piece(s)
04-69-70916 | Plug-on ratchet for clockwise rotation 3/8" | 1 | piece(s)
04-69-70917 | Extension 100 | 1 | piece(s)
04-69-70918 | Extension 200 | 1 | piece(s)
04-69-70919 | Socket-wrench socket size 4 | 1 | piece(s)
04-69-70920 | Socket-wrench socket size 5 | 1 | piece(s)
04-69-70921 | Socket-wrench socket size 6 | 1 | piece(s)
04-69-70922 | Socket-wrench socket size 8 | 1 | piece(s)
04-69-70923 | Hexagonal socket-wrench socket size 8 | 1 | piece(s)
04-69-70924 | Hexagonal socket-wrench socket size 10 | 1 | piece(s)
04-69-70925 | Hexagonal socket-wrench socket size 11 | 1 | piece(s)
04-69-70926 | Hexagonal socket-wrench socket size 13 | 1 | piece(s)
04-69-70927 | Hexagonal socket-wrench socket size 14 | 1 | piece(s)
04-69-70928 | Hexagonal socket-wrench socket size 15 | 1 | piece(s)
04-69-70929 | Hexagonal socket-wrench socket size 16 | 1 | piece(s)
04-69-70930 | Hexagonal socket-wrench socket size 17 | 1 | piece(s)
04-69-70931 | Hexagonal socket-wrench socket size 18 | 1 | piece(s)
04-69-70932 | Hexagonal socket-wrench socket size 19 | 1 | piece(s)
04-69-70933 | Torque wrench 8-40 Nm self-releasing | 1 | piece(s)
04-69-70934 | Set of torque wrench 20-120 Nm (11251) - figures 451-470 | 1 | Set
04-69-70935 | Metal box | 1 | piece(s)
04-69-70936 | Plug-on ratchet for clockwise rotation 1/2" | 1 | piece(s)
04-69-70937 | Extension 75 | 1 | piece(s)
04-69-70938 | Extension 125 | 1 | piece(s)
04-69-70939 | Extension 250 | 1 | piece(s)
04-69-70940 | Socket-wrench socket size 6 | 1 | piece(s)
04-69-70941 | Socket-wrench socket size 8 | 1 | piece(s)
04-69-70942 | Socket-wrench socket size 10 | 1 | piece(s)
04-69-70943 | Socket-wrench socket size 12 | 1 | piece(s)
04-69-70944 | Hexagonal socket-wrench socket size 11 | 1 | piece(s)
04-69-70945 | Hexagonal socket-wrench socket size 13 | 1 | piece(s)
04-69-70946 | Hexagonal socket-wrench socket size 14 | 1 | piece(s)
04-69-70947 | Hexagonal socket-wrench socket size 16 | 1 | piece(s)
04-69-70948 | Hexagonal socket-wrench socket size 17 | 1 | piece(s)
04-69-70949 | Hexagonal socket-wrench socket size 18 | 1 | piece(s)
04-69-70950 | Hexagonal socket-wrench socket size 19 | 1 | piece(s)
04-69-70951 | Hexagonal socket-wrench socket size 21 | 1 | piece(s)
04-69-70952 | Hexagonal socket-wrench socket size 22 | 1 | piece(s)
04-69-70953 | Hexagonal socket-wrench socket size 24 | 1 | piece(s)
04-69-70954 | Torque wrench 140-760 Nm self-releasing | 1 | piece(s)
04-69-70955 | Set of torque wrench 140-760 Nm (11252) - figures 472-486 | 1 | Set
04-69-70956 | Metal box | 1 | piece(s)
04-69-70957 | Plug-on ratchet for clockwise rotation 3/4" | 1 | piece(s)
04-69-70958 | Extension 200 | 1 | piece(s)
04-69-70959 | Extension 400 | 1 | piece(s)
04-69-70960 | Hexagonal socket-wrench socket size 21 | 1 | piece(s)
04-69-70961 | Hexagonal socket-wrench socket size 22 | 1 | piece(s)
04-69-70962 | Hexagonal socket-wrench socket size 24 | 1 | piece(s)
04-69-70963 | Hexagonal socket-wrench socket size 27 | 1 | piece(s)
04-69-70964 | Hexagonal socket-wrench socket size 30 | 1 | piece(s)
04-69-70965 | Hexagonal socket-wrench socket size 32 | 1 | piece(s)
04-69-70966 | Hexagonal socket-wrench socket size 34 | 1 | piece(s)
04-69-70967 | Hexagonal socket-wrench socket size 36 | 1 | piece(s)
04-69-70968 | Hexagonal socket-wrench socket size 41 | 1 | piece(s)
04-69-70969 | Hexagonal socket-wrench socket size 46 | 1 | piece(s)
04-69-70970 | Torque wrench 140-760 Nm self-releasing | 1 | piece(s)
04-69-70971 | Withdrawal facility for circuit breaker (11253) | 1 | piece(s)
04-69-70972 | SF6-Gas (Bottle of 40 kg SF6-Gas) 21100 | 16 | piece(s)
04-69-70973 | Solenoid Y1, 220 kV 21200 | 5 | piece(s)
04-69-70974 | Solenoid Y2, 220 kV 21300 | 5 | piece(s)
04-69-70975 | Tripping Coil for C.B. 21400 | 5 | piece(s)
04-69-70976 | Nitrogen N2 (Bottle) 21500 | 1 | piece(s)
04-69-70977 | Tin with filters 21600 | 50 | piece(s)
04-69-70978 | Counter 21900 | 1 | piece(s)
04-69-70979 | Hydraulic pump 21901 | 2 | piece(s)
04-69-70980 | Motor 21902 | 1 | piece(s)
04-69-70981 | Gauge 600 bar 21903 | 1 | piece(s)
04-69-70982 | Safety valve 21904 | 2 | piece(s)
04-69-70983 | Pressure switch 21905 | 2 | piece(s)
04-69-70984 | Pressure release valve 21906 | 2 | piece(s)
04-69-70985 | Density monitor 21907 | 2 | piece(s)
04-69-70986 | Gauge SF6 21908 | 1 | piece(s)
04-69-70987 | Set of gaskets for hydraulic operating mechanism (21909) - figures 504-544 | 2 | Set
04-69-70988 | O-Ring 54-3 | 20 | piece(s)
04-69-70989 | O-Ring 20,2 - 3 | 10 | piece(s)
04-69-70990 | Usitring 13,7 x 20 x 1,5 | 80 | piece(s)
04-69-70991 | O-Ring 20 - 2 | 10 | piece(s)
04-69-70992 | O-Ring 340 - 6 | 10 | piece(s)
04-69-70993 | O-Ring 32 - 4 | 20 | piece(s)
04-69-70994 | O-Ring 62 -3 | 10 | piece(s)
04-69-70995 | Rubber Round 10 | 10 | piece(s)
04-69-70996 | O-Ring 88 - 6 | 20 | piece(s)
04-69-70997 | O-Ring 18 - 3,15 | 70 | piece(s)
04-69-70998 | Support ring 24 - 2,6 - 1,0 | 40 | piece(s)
04-69-70999 | Support ring 8 - 1167 | 20 | piece(s)
04-69-71000 | Usitring 17,4 x 24 x 1,5 | 10 | piece(s)
04-69-71001 | Pison ring | 10 | piece(s)
04-69-71002 | O-Ring 62,87 - 5,33 | 10 | piece(s)
04-69-71003 | Support ring 8 - 333 | 20 | piece(s)
04-69-71004 | Ring | 20 | piece(s)
04-69-71005 | Sealing ring | 10 | piece(s)
04-69-71006 | O-Ring 78 - 3 | 10 | piece(s)
04-69-71007 | O-Ring 12 - 2 | 100 | piece(s)
04-69-71008 | Sealing BABSL | 12 | piece(s)
04-69-71009 | Sealing POLYMYD | 35 | piece(s)
04-69-71010 | Piston ring TURCITE | 10 | piece(s)
04-69-71011 | O-Ring 618 - 5 | 10 | piece(s)
04-69-71012 | Support ring 8 - 214 | 20 | piece(s)
04-69-71013 | O-Ring 35,15 - 3,15 | 20 | piece(s)
04-69-71014 | Usitring 7,3 x 10,2 x 1 | 60 | piece(s)
04-69-71015 | O-Ring 23,4 - 3,5 | 10 | piece(s)
04-69-71016 | Sliding ring with O-Ring | 20 | piece(s)
04-69-71017 | Support ring 42 - 2,6 | 10 | piece(s)
04-69-71018 | Support ring | 10 | piece(s)
04-69-71019 | Ring | 10 | piece(s)
04-69-71020 | Support ring | 20 | piece(s)
04-69-71021 | Nut CLEVELOC | 60 | piece(s)
04-69-71022 | O-Ring 13,94 - 2,62 | 10 | piece(s)
04-69-71023 | Support ring 8 - 113 | 20 | piece(s)
04-69-71024 | O-Ring 7 - 1,5 | 20 | piece(s)
04-69-71025 | Sliding ring without O-Ring | 20 | piece(s)
04-69-71026 | O-Ring 18,7 - 2,65 | 20 | piece(s)
04-69-71027 | O-Ring 4,47 - 1,78 | 20 | piece(s)
04-69-71028 | Usitring 6,2 x 9,2 x 1 | 10 | piece(s)
04-69-71029 | Rupture diaphragm CB 21910 | 1 | piece(s)
04-69-71030 | Rupture diaphragm isolator 21911 | 1 | piece(s)
04-69-71031 | O-Ring 100 - 4 for rupture diaphragm 21912 | 2 | piece(s)
04-69-71032 | Set of gaskets for hydraulic cylinder ( 21913) - figures 549-564 | 2 | Set
04-69-71033 | O-Ring | 2 | piece(s)
04-69-71034 | O-Ring | 2 | piece(s)
04-69-71035 | Usitring | 8 | piece(s)
04-69-71036 | Usitring | 2 | piece(s)
04-69-71037 | Usitring | 2 | piece(s)
04-69-71038 | Sealing ring | 2 | piece(s)
04-69-71039 | O-Ring | 2 | piece(s)
04-69-71040 | O-Ring | 2 | piece(s)
04-69-71041 | O-Ring | 2 | piece(s)
04-69-71042 | Usitring | 8 | piece(s)
04-69-71043 | O-Ring | 2 | piece(s)
04-69-71044 | Guiding ring | 2 | piece(s)
04-69-71045 | Ring | 4 | piece(s)
04-69-71046 | Tin of Centoplex | 2 | piece(s)
04-69-71047 | Tin of Molykote | 2 | piece(s)
04-69-71048 | Tube of Terostat | 2 | piece(s)
04-69-71049 | Voltage transformer 21915 | 1 | piece(s)
04-69-71050 | Lip seal 21916 | 20 | piece(s)
04-69-71051 | Hydraulic unit 21917 | 1 | piece(s)
04-69-71052 | Contactor relay 21918 | 30 | piece(s)
04-69-71053 | Post insulator 21919 | 3 | piece(s)
04-69-71054 | Operating rod 21920 | 3 | piece(s)
04-69-71055 | Guide 21921 | 3 | piece(s)
04-69-71056 | Contact tube 21922 | 3 | piece(s)
04-69-71057 | Guide tube 21923 | 3 | piece(s)
04-69-71058 | Blast cylinder 21924 | 3 | piece(s)
04-69-71059 | Driving rod 21925 | 1 | piece(s)
04-69-71060 | Switchgear 6,3 kV - figures 577-602 | 1 | Set
04-69-71061 | Vacuum pipe 630 A (24100) | 3 | piece(s)
04-69-71062 | Vacuum pipe 1250 A (24100) | 3 | piece(s)
04-69-71063 | Trip relay 3AX (22101) | 2 | piece(s)
04-69-71064 | Current transformer 600 A (24200) | 1 | piece(s)
04-69-71065 | Current transormer 100 A (24201) | 1 | piece(s)
04-69-71066 | Current transormer 60/1 A (24202) | 1 | piece(s)
04-69-71067 | Voltage transformer 100 VA (24300) | 1 | piece(s)
04-69-71068 | Tellus 32 oil (24400) | 2 | piece(s)
04-69-71069 | Centoplex 24 (24400) | 2 | piece(s)
04-69-71070 | Contactor relay 3NO+1NC (24401) | 5 | piece(s)
04-69-71071 | Diode 1A/1000V (24402) | 100 | piece(s)
04-69-71072 | Circuit breaker 3 A (24403) | 2 | piece(s)
04-69-71073 | Lamp 2,5 W (24404) | 200 | piece(s)
04-69-71074 | Min.circuit breaker 3 A (24405) | 2 | piece(s)
04-69-71075 | Min.circuit breaker 6 A (24406) | 2 | piece(s)
04-69-71076 | Min.circuit breaker 2 A (24407) | 2 | piece(s)
04-69-71077 | Min.circuit breaker 1,6 A (24408) | 2 | piece(s)
04-69-71078 | Auxil. Contact 1NO+1NC (24409) | 2 | piece(s)
04-69-71079 | Contactor relay 2NO+2NC (24410) | 5 | piece(s)
04-69-71080 | Min.circuit breaker 16 A (24411) | 2 | piece(s)
04-69-71081 | Auxil. Contact 1NO+1NC (24412) | 2 | piece(s)
04-69-71082 | Circuit breaker 25 A (24413) | 2 | piece(s)
04-69-71083 | Incandescent lamp 4 W (24414) | 200 | piece(s)
04-69-71084 | Circuit breaker 3 A (24415) | 2 | piece(s)
04-69-71085 | Contactor relay 8NO (24416) | 5 | piece(s)
04-69-71086 | Time relay 12-240 V (24417) | 2 | piece(s)
04-69-71087 | Spares for recorder 7ND2123 - figures 604-610 | 1 | Lot
04-69-71088 | Ink paper (26300) | 100 | piece(s)
04-69-71089 | Blue ink (26301) | 10 | piece(s)
04-69-71090 | Red ink (26302) | 10 | piece(s)
04-69-71091 | Green ink (26303) | 10 | piece(s)
04-69-71092 | Recording pen short (26304) | 5 | piece(s)
04-69-71093 | Recording pen middle (26305) | 5 | piece(s)
04-69-71094 | Recording pen long (26306) | 5 | piece(s)
04-69-71095 | Bushing plate for CB - (figures 612-626) | 1 | Lot
04-69-71096 | Bushing complete | 1 | piece(s)
04-69-71097 | Flange connection | 2 | piece(s)
04-69-71098 | Shackle | 4 | piece(s)
04-69-71099 | Circular sling | 6 | piece(s)
04-69-71100 | Eye screw | 2 | piece(s)
04-69-71101 | Foil 50m | 1 | piece(s)
04-69-71102 | Flat lifting sling 6m | 2 | piece(s)
04-69-71103 | Adhesive tape | 10 | piece(s)
04-69-71104 | Gasket 622-8 | 4 | piece(s)
04-69-71105 | Gasket 602-8 | 5 | piece(s)
04-69-71106 | Gasket 700-10 | 1 | piece(s)
04-69-71107 | Gasket 398-8 | 3 | piece(s)
04-69-71108 | Gasket 242-6 | 3 | piece(s)
04-69-71109 | Set of taps M30 | 1 | piece(s)
04-69-71110 | Vacuum meter | 1 | piece(s)
04-69-71111 | Remote Control Centre Interface Panel | 1 | Set
04-69-71112 | Bus Zone Relays | 2 | Set
04-69-71113 | Ring type CTs | 12 | piece(s)
04-69-71114 | Capacitive voltage transformer | 6 | piece(s)
04-69-71115 | 132 kV Disconnector with earthing switch, 1250 A | 2 | piece(s)
04-69-71116 | 132 kV Current transformer, 600-300/5/5/5, 1200/5/5 A | 6 | piece(s)
04-69-71117 | 132 kV Circuit breaker, 1250 A | 2 | piece(s)
04-69-71118 | 132 kV Disconnector, 1250 A | 4 | piece(s)
04-69-71119 | VT MCB boxes | 2 | piece(s)
04-69-71120 | Marshalling box with anchor bolts | 2 | piece(s)
04-69-71121 | Steel structures , anchor bolts and templates | 2 | Set
04-69-71122 | ACSR conductor | 2 | Set
04-69-71123 | Clamps | 2 | Set
04-69-71124 | bolts, nuts, screws | 2 | Set
04-69-71125 | Insulators | 2 | Set
04-69-71126 | Suspension and jointing equipment | 2 | Set
04-69-71127 | 132 kV Current transformer, 1200-600/5/5/, 1200/5/5 A | 3 | piece(s)
04-69-71128 | 132 kV Circuit breaker, 1250 A | 1 | piece(s)
04-69-71129 | 132 kV Disconnector, 1250 A | 2 | piece(s)
04-69-71130 | VT MCB boxes | 1 | piece(s)
04-69-71131 | Marshalling box with anchor bolts | 1 | piece(s)
04-69-71132 | Steel structures , anchor bolts and templates | 1 | Set
04-69-71133 | ACSR conductor | 1 | Set
04-69-71134 | Clamps | 1 | Set
04-69-71135 | bolts, nuts, screws | 1 | Set
04-69-71136 | Insulators | 1 | Set
04-69-71137 | Suspension and jointing equipment | 1 | Set
04-69-71138 | Capacitive voltage transformer | 3 | piece(s)
04-69-71139 | 132 kV Disconnector, 1250 A | 1 | piece(s)
04-69-71140 | VT MCB boxes | 1 | piece(s)
04-69-71141 | Marshalling box with anchor bolts | 1 | piece(s)
04-69-71142 | Steel structures , anchor bolts and templates | 1 | Set
04-69-71143 | ACSR conductor | 1 | Set
04-69-71144 | Clamps | 1 | Set
04-69-71145 | bolts, nuts, screws | 1 | Set
04-69-71146 | Insulators | 1 | Set
04-69-71147 | Suspension and jointing equipment | 1 | Set
04-69-71148 | Steel structures , anchor bolts and templates | 1 | Set
04-69-71149 | ACSR conductor | 1 | Set
04-69-71150 | Clamps | 1 | Set
04-69-71151 | bolts, nuts, screws | 1 | Set
04-69-71152 | Insulators | 1 | Set
04-69-71153 | Suspension and jointing equipment | 1 | Set
04-69-71154 | 132 kV Disconnector, 1250 A | 4 | piece(s)
04-69-71155 | Steel structures , anchor bolts and templates | 4 | Set
04-69-71156 | ACSR conductor | 4 | Set
04-69-71157 | Clamps | 4 | Set
04-69-71158 | bolts, nuts, screws | 4 | Set
04-69-71159 | Insulators | 4 | Set
04-69-71160 | Suspension and jointing equipment | 4 | Set
04-69-71161 | Relay Panel - 132 kV OH Feeder | 2 | Set
04-69-71162 | Control Panels | 2 | Set
04-69-71163 | Relay Panel - 132 kV Bus Coupler Feeder | 1 | Set
04-69-71164 | Control discrepancy switch for CB | 1 | piece(s)
04-69-71165 | Control discrepancy switches for disconnectors | 3 | piece(s)
04-69-71166 | Ammeter | 1 | piece(s)
04-69-71167 | Ammeter selector switch | 1 | piece(s)
04-69-71168 | Voltmeter | 1 | piece(s)
04-69-71169 | Voltmeter selector switch | 1 | piece(s)
04-69-71170 | Name plates | 1 | Set
04-69-71171 | Mimic diagram | 1 | Set
04-69-71172 | Multifunction energy meters, type "PROMETER" | 2 | piece(s)
04-69-71173 | Control cables | 1 | Set
04-69-71174 | Installation materials | 1 | Set
04-69-71175 | Name plates | 1 | Set
04-69-71176 | 33 kV Outgoing Panel with necessary material | 2 | Set
04-69-71177 | Control cables for connection to existing equipment | 1 | Set
04-69-71178 | Residual Overvoltage Relays type SPAU 110 C | 2 | piece(s)
04-69-71179 | Auxiliary Relays | 6 | piece(s)
04-69-71180 | Compaq Evo D310 P4 2.0A GHZ | 9 | Each