ANNEX  AGR I - 6

| Sector: AGRICULTURE | # Sub-Sector: IRRIGATION | ## Activity: Rehabilitation of Pumping Stations |
| --- | --- | --- |
| Priority within the Sector: First |  | Total requested fund : _______________________ |

| Code | Item Description and its complementary items ( if applicable ) | Intended use (and targeted end user) | Qty. in unit | Requested fund US$(000 ) | Allocation Criteria | Time frame |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Optimal application | Optimal delivery |
| 05-06-00001 | Portable Centrifugal Pumping Set with Accessories and generating sets., See App. 6A codes 00011-00018 | For improving irrigation capacity & efficiency for approx. 500,000 hectares (All irrigation and drainage pumping stations.) | 571 |  | Alternative for the existing pumps | APRIL | FEBRUARY |
| 05-06-00002 | Pumps and generating sets for water wells, See App. 6A codes 00019-00023 | For Irrigation and drinking water supply (Farmers depend on ground- Water supply at Kerballa, Najaf, Tamem, Anbar, Diyala , Salah Aldeen and Basrah.) | 2200 |  | Alternative for the existing pumps | APRIL | FEBRUARY |
| 05-06-00003 | Horizontal Centrifugal Pump Set and Accessories. See App. 6A codes 00024-00026 | For improvement Main Out Fall Drain in Iraq located in Nassiryia site | 23 |  | To complete the pumping station | ALL YEAR | AS SOON AS POSSIBLE |
| 05-06-00004 | Dewatering Pumps See App. 6A codes 00030 - 00032 and codes 00040 - 00043 | Dewatering Pumps for existing pumping stations in all 15 Governorates) | 88 |  | Resemble requirement for repair and improving dewatering in the pumping stations | ALL YEAR | AS SOON AS POSSIBLE |

| 05-06-00005 | Pumps for water treatment plants . See App. 6A codes 00033-00039 | Pumps for water treatment plants in the existing Irrigation projects. |  | 33 |  | Alternative for the existing pumps in the existing water treatment plants |  | ALL YEAR |  | AS SOON AS POSSIBLE |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 05-06-00006 | Different Types Of Pumps.See App. 6A codes 00027-00029 | Rehabilitation of grouting processes (Saddam Dam at Ninava) |  | 8 |  | Alternative for the existing pumps |  | #### MARCH |  | JANUARY FEBRUARY |
| 05-06-00007 | Main Electrical Motor For Pumps See App. 6B | Rehabilitation of pumping stations. (Pumping stations in all 15 Governorates) | 206 |  | Resemble requirement for repair. |  | ##### ALL YEAR |  | AS SOON AS POSSIBLE |  |
| 05-06-00008 | Spare Parts For Pumping Stations. See App. 9A | Maintenance of existing pumping stations (Pumping stations exist in all 15 Governorates.) | As stated in App. 9A |  | Resemble requirement for repair. |  | ##### ALL YEAR |  | AS SOON AS POSSIBLE |  |
| 05-06-00009 | Spare Parts For Al-Jazirah main Pumping Station. See App. 9B-1 | Maintenance of Al-Jazirah pumping station. (Al-Jazirah pumping station at Ninava) | As stated in App. 9B - 1 |  | Resemble requirement for repair |  | ##### ALL YEAR |  | ##### OCTOBER |  |
| 05-06-00010 | Spare Parts For Sprinkler Irrigation system See App. 9B- 2 | Maintenance of Sprinkler Irrigation system in Al-Jazirah and Kirkuk project . | As stated in App. 9B -2 |  | Resemble requirement for repair |  | ##### ALL YEAR |  | AS SOON AS POSSIBLE |  |

# APPENDIX  6 A .

PUMPING SETS FOR IRRIGATION AND DRAINAGE

| Code | DESCRIPTION | QUANTITY |
| --- | --- | --- |
| 05-06-00011 | Portable Centrifugal Pumping Set and Accessories. 3 x 380 V - 50 Hz. Motors Discharge 1 m3/sec Total Head 17 - 20 m. Static Suction Head 4 - 5 m. | 240 |
| 05-06-00012 | Portable Centrifugal Pumping Set and Accessories. 3 x 380 V - 50 Hz. Motors Discharge 0.5 m3/sec Total Head 17 - 20 m. Static Suction Head 4 - 5 m. | 100 |
| 05-06-00013 | Portable Centrifugal Pumping Set and Accessories. 3 x 380 V - 50 Hz. Motors Discharge 1 m3/sec Total Head 30 m. Static Suction Head 4 - 5 m. | 15 |
| 05-06-00014 | Portable Diesel Centrifugal Pumping Set and Accessories Discharge 1 m3 / sec. Total Head 17 - 20 m. Static Suction Head 4 - 5 m. | *200 |
| 05-06-00015 | Portable Diesel Centrifugal Pumping Set and Accessories. Discharge 0.5 m3/sec Total Head 17 - 20 m. Static Suction Head 4 - 5 m. | * 50 |
| 05-06-00016 | Vertical pumps set with electrical motors And Accessories Discharge from 0.25 to 5.5 m3/sec Total head from 3 to 93 m | 96 |
| 05-06-00017 | Submersible Pump And Accessories 300 & 130 KW, 380 V, 50 Hz motors Discharge 300 & 130 L / Sec. Total Head 55 m. | 10 |
| 05-06-00018 | Submersible Pump And Accessories 55 KW, 380 V, 50 Hz motors Discharge 70 L / Sec. Total Head 55 m. | 10 |
| 05-06-00019 05-06-00020 05-06-00021 05-06-00022 05-06-00023 | Pumps For Water Wells * Turbine pumps driven by electrical motor Q = 5 - 20 l/sec Total Head 100 - 70 meter * Turbine pumps driven by diesel engine Q = 5 - 20 l/sec. Total Head 100 - 70 meter * Submersible Pumps Q = 5 - 20 l/sec. Total Head 100 -350 meter * Diesel generating sets mounted on a steel frame with a weather protecting cover capacity (25- 75) KVA . * Diesel generating sets mounted on a steel frame with a weather protecting cover capacity (500-1500) KVA . | 1000 400 600 150 50 |
| 05-06-00024 05-06-00025 | Horizontal Centrifugal Pump Set and Accessories. * Fixed blade pump - Q = 20m3/sec - Total Head = 5.6 m - 2000 KW, 6KV, Three phase 50HZ,syhnchronous motor with accessories . * Adjustable blade axial pump - Q = (13.5- 25 )m3/sec - Total Head = 5.6 m - 2000 KW, 6KV, Three phase 50HZ,syhnchronous motor with accessories . | 4 4 |
| 05-06-00026 | * Auxillary Equipment for Nassiryia Pumping Station - Bridge crane 30/5 ton with accessiores - Semi gantry crane 2x10 ton with accessiores - Gantry crane 2x10 ton with accessiores - Trash racks with accessiores | 1 1 1 12 |
| 05-06-00027 | Pump with coupling between Hydraulic unit and the pump including flexible Hose ( C2 4 ½" x 5") and accessories Q = 400 L/min | 4 |
| 05-06-00028 | Submersible Pump And Accessories 54 KW, 3 x 380 V, 50 Hz. Motors Discharge 3 m3/min.Total Head 50 m. | 2 |
| 05-06-00029 | Submersible Pump And Accessories 30 KW, 3 x 380 V, 50 Hz motors Discharge 2 m3 / min. Total Head 30 m. | 2 |
| 05-06-00030 | Horizontal Pump Set and Accessories. Q= 200 L/Sec, 3x380 V, 50HZ , 300Kw | 10 |
| 05-06-00031 | Horizontal Pump Set and Accessories. Q=3.4 m3/sec, H = 85 m , 3x11 KV, 3450Kw | 1 |
| 05-06-00032 | Horizontal centrfugal motor driven Pump Set and Accessories. Q= 170 L/hr , head = 23 m 18.5 kw motor , 380 v / delta , 50 HZ | 6 |
| 05-06-00033 | Multi - stage pump ( for clear water ) Q = 20 m 3/ hr Head = 70 - 100 M motor 7.5 kw , 10 hp , 1500 rpm V = 380 / 660 | 5 |
| 05-06-00034 | Multi - stage pump ( for clear water ) Q = 55 m 3/ hr Head = 140 m motor 45 kw 2960 rpm V = 380 / 660 | 2 |
| 05-06-00035 | Effluent pump ( for clear water ) Head = 8 m Q = 55 m 3/ hr R . P . M = 1500 V = 220 / 380 , 2.2 kw | 4 |
| 05-06-00036 | Back wash pump ( for clear water ) Head = 10 m Q = 227 m3/ hr motor = 11 kw ,R.P.M. = 1450 V = 380 / 660 | 10 |
| 05-06-00037 05-06-00038 05-06-00039 | Dosing pump : * Prominet electronic : Head = 15 m Q= 18/36 liter / hr motor 220 v, 50 hz *Prominet electronic : Head = 15 m Q= 34/92 l / hr motor 220 v, 50 hz * Dosator : Head = 80 m Q= 2 . 9 l/hr motor 220 / 380 V , 50 hz, R.P.M. =1350 / 36 | 4 4 4 |
| 05-06-00040 | Submersible pump : V = 380 , 7.5 kw, R.P.M. = 1500 , 50 HZ H= ( 15 - 20 ) m Q = 54 m3 /hr | 10 |
| 05-06-00041 | pump Q = 60 m 3 / hr H = 20 m | 7 |
| 05-06-00042 | pump Q = 50 m 3 / hr H = (60 - 80) m | 4 |
| 05-06-00043 | pump set Q = 5 m 3 / hr H = 60 m , 15 kw 17 kw , 380 V , 3000 rpm motor | 60 |

APPENDIX  6  B .

MAIN ELECTRICAL MOTOR FOR PUMPS

| Code | DESCRIPTION | QUANTITY |
| --- | --- | --- |
| 05-06-00044 | Main Motor type 3AHR 354 - 4 ( 200 KW, 380 V, 1500 R.P.M.) Horizontal | 100 |
| 05-06-00045 | Main motor for pump type MY - 500 B and motor type KPR 315 M4 ( 132 KW, 380 V, 750 R.P.M. ) Horizontal | 20 |
| 05-06-00046 | Horizontal electrical motor, Syhncronous type, thyaristor starting ; ( 800 kw, 6kv, 500rpm, 50 Hz) | 3 |
| 05-06-00047 | Vertical electric motor, slip ring type rotor resistance starting (315 KW, 380V, 600 rpm, 50 HZ) | 2 |
| 05-06-00048 | Vertical electric motor, slip ring type rotor resistance starting (630 KW, 6KV, 500 rpm, 50 HZ) | 4 |
| 05-06-00049 | Vertical electric motor, slip ring type rotor resistance starting (350 KW, 6KV, 500 rpm, 50 HZ) | 2 |
| 05-06-00050 | Vertical electric motor , Sequirral cage type(D.O.L starting) (700 KW, 6 KV, 500 rpm, 50 HZ) | 3 |
| 05-06-00051 | Vertical electric motor, slip ring type rotor resistance starting (520 KW, 3300V, 500 rpm, 50 HZ) | 4 |
| 05-06-00052 | Vertical electric motor, (630 KW, 6 KV,500 rpm, 50 HZ) | 2 |
| 05-06-00053 | Vertical electric motor. D.O.L starting (500 KW, 6 KV,600 rpm,50 HZ) | 4 |
| 05-06-00054 | Horizontal electric motor, slip ring type (150 KW, 380V, 750 rpm, 50 HZ) | 3 |
| 05-06-00055 | Horizontal electric motor , star- delta starting (130 KW,380 V, 1000 rpm, 50 HZ) | 3 |
| 05-06-00056 | Horizontal electric motor , star- delta starting (250 KW,380 V, 1000 rpm, 50 HZ) | 8 |
| 05-06-00057 | Vertical electric motor rotor resistance starting(315 KW, 500 rpm ,6 KV, 50HZ) | 4 |
| 05-06-00058 | Horizontal Induction electric motor D.O.L starting (630KW, 1485 rpm, 6 KV, 50HZ) | 4 |
| 05-06-00059 | Horizontal electric motor , (280 KW,380 V, 750rpm, 50 HZ) | 30 |
| 05-06-00060 | Vertical induction motor slip ring movable type , with rotor resistance (8 stages mounted in oil box), the upper bearing of the motor should be thrust bearing type. The motor is (500 KW , 3.3 KV,500 r.p.m.) | 4 |
| 05-06-00061 | 3- phase Asyhncronous Vertical motor 1350 Kw , 6Kv , 50 Hz , 590 RPM | 2 |
| 05-06-00062 | 3- phase Asyhncronous Vertical motor 850 Kw , 6Kv , 50 Hz , 590 RPM | 2 |
| 05-06-00063 | Horizontal slip ring induction motor 3450 Kw , 11Kv , 50 Hz ,750 RPM | 2 |

Additions:

| 05-06-00064* | Horizontal centrifugal pump driven by electrical motor or diesel engine with all accessories Q=100 lit/sec; head rating = 90M. | 20 |
| --- | --- | --- |

* amended 15 February 2000

* amended 19 June 2000