ANNEX AGRI/20

AGRO-METEOROLOGICAL EQUIPMENT & SPARE PARTS

#### ANNEX AGRI/20  A - EQUIPMENT & SPARE PARTS

| Code | Item Description | Unit | Total Qty. | Proposed Allocation |  |  | Intended use | Complimentary items | Optimal Application Date | Optimal Delivery Date | Target Beneficiaries |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | DHK | ERB | SUL |  |  |  |  |  |
| 05-20-00001 | Selfrecording wind path and direction. Eijkelkamp 16.61 | Pcs | 6 | 2 | 2 | 2 | Agro-meteorological stations | None | MAR 2000 | JAN 2000 | Agricultural |
| 05-20-00002 | Rain gauge with data logger and solar energy system | Set | 6 | 2 | 2 | 2 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00003 | K-thermocouple thermometer. Eijkelkamp 16.34 | Pcs | 7 | 2 | 2 | 3 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00004 | Exchangable compost temperature probe, length 500 m and diameter 10mm for K-thermocouple | Pcs | 7 | 2 | 2 | 3 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00005 | Exchangable compost temperature probe length 1000 m and diameter 10mm for K-thermocouple. | Pcs | 7 | 2 | 2 | 3 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00006 | Rain measuring vessel 0-10mm with a 0.1mm division | Pcs | 6 | 2 | 2 | 2 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00007 | Level sensor for measurement of the water level in an evaporation pan. Eijkelkamp 16.89.08 | Set | 6 | 2 | 2 | 2 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00008 | Albedometer (kipp & Zonnen) with arm, possiblity of levelling with double screen. Eijkelkamp 16.98.39 | Set | 6 | 2 | 2 | 2 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00009 | Wind erosion, Eijkelkamp 16.98.55 | Pcs | 3 | 1 | 1 | 1 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00010 | Extension cable, Eijkelkamp 16.92.10 | Set | 3 | 1 | 1 | 1 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00011 | Extension cable, Eijkelkamp 16.92.25 | Pcs | 3 | 1 | 1 | 1 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00012 | Extension cable, Eijkelkamp 16.92.50 | Pcs | 3 | 1 | 1 | 1 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00013 | Soil moisture measuring stations | Set | 3 | 1 | 1 | 1 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00014 | Grain moisture meter, Digital | Pcs | 3 | 1 | 1 | 1 |  | None | MAR 2000 | JAN 2000 |  |

### Estimated Budget  US$ 135,300

### Quantity subject to market price and/or reschedule of fund at time of procurement

ANNEX AGRI/20  B - LABORATORY INSTRUMENTS

| Code | Item Description | Unit | Total Qty. | Proposed Allocation |  |  | Intended use | Complimentary items | Optimal Application Date | Optimal Delivery Date | Target Beneficiaries |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | DHK | ERB | SUL |  |  |  |  |  |
| 05-20-00015 | Refrigerated incubator (970x540x680mm) | Set | 3 | 1 | 1 | 1 | Agro-meteorological stations | None | MAR 2000 | JAN 2000 | Agricultural |
| 05-20-00016 | Dust sampler | Pcs | 3 | 1 | 1 | 1 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00017 | Electronic moisture tester with digital display | Pcs | 3 | 1 | 1 | 1 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00018 | Dual-beam Oscilloscope 10 Mhz | Pcs | 3 | 1 | 1 | 1 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00019 | Portable multimeter, digital | Pcs | 3 | 1 | 1 | 1 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00020 | Instrument repair kit | Set | 3 | 1 | 1 | 1 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00021 | Electronic balance (up to 6000g weight) | Pcs | 3 | 1 | 1 | 1 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00022 | Cash component: Construction and rehabilitation of met-stations | US$ | 41000 | 9430 | 13940 | 17630 |  | None | MAR 2000 | JAN 2000 |  |

### Estimated Budget  US$ 123,050

### Quantity subject to market price and/or reschedule of fund at time of procurement

ANNEX AGRI / 20 C -  RESEARCH EQUIPMENT

| Code | Item Description | Unit | Total Qty. | Proposed Allocation |  |  | Intended use | Complimentary items | Optimal Application Date | Optimal Delivery Date | Target Beneficiaries |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | DHK | ERB | SUL |  |  |  |  |  |
| 05-20-00023 | Thermal conductivity meter | Pcs | 3 | 1 | 1 | 1 | Agro-meteorological stations | None | MAR 2000 | JAN 2000 | Agricultural |
| 05-20-00024 | Automatic porometer | Pcs | 3 | 1 | 1 | 1 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00025 | Tube solarimeter | Pcs | 3 | 1 | 1 | 1 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00026 | Solar radiation sensors | Set | 3 | 1 | 1 | 1 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00027 | Ceptometer | Pcs | 3 | 1 | 1 | 1 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00028 | Digital pH -meter 18 | Pcs | 3 | 1 | 1 | 1 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00029 | Calcimeter | Set | 3 | 1 | 1 | 1 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00030 | Soil moisture measuring system with gypsum blocks | Set | 3 | 1 | 1 | 1 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00031 | Trase soil moisture measuring system | Set | 3 | 1 | 1 | 1 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00032 | Plant leaf, bud and flower temperature and humidity monitoring system | Set | 3 | 1 | 1 | 1 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00033 | Leaf wetness recorder | Set | 3 | 1 | 1 | 1 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00034 | Leaf area meter | Pcs | 3 | 1 | 1 | 1 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00035 | Marton system ELECTA | Set | 3 | 1 | 1 | 1 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00036 | Complete laboratory installations for soil research | Set | 3 | 1 | 1 | 1 |  | None | MAR 2000 | JAN 2000 |  |
| 05-20-00037 | Copier machine: Canon model NP 6241 Desktop copier | Set | 3 | 1 | 1 | 1 |  | None |  |  |  |

### Estimated Budget  US$  151,650

### Quantity subject to market price and/or reschedule of fund at time of procurement