ANNEX  SEVEN  / Telecommunications

ANNEX  SEVEN  / Telecommunications

Sub - sector :SUPPER RING ROUND BAGHDAD

Site - Name :  KADHIMIA

| Code | Item Description | Unit | Qty | Complemetary Items |
| --- | --- | --- | --- | --- |
| 07-20-00001 | optical fiber cable-single mode-24 fiber non metalice duct type with accessories sleeve. tools and kit- packing drums(4000m/drum) | km | 250 |  |
| 07-20-00002 | subducts smooth wall silicone tube 40/33mm packing drums 2000km/drum | km | 750 |  |
| 07-20-00003 | STM-16 ADM multiplexer complete with com. Unit & electrical aggregates-racks | lot | 1 |  |
| 07-20-00004 | STM-4 ADM & DX complete with Access unit and able. | lot | 1 |  |
| 07-20-00005 | STM-1 TM (21*3) 2Mb/s all complete with Access and installation materials | lot | 4 |  |
| 07-20-00006 | PCM-2Mb/s-30 ch. Cables installation | Lot | 8 |  |
| 07-20-00007 07-20-00008 07-20-00009 07-20-00010 07-20-00011 07-20-00012 | DC Power Plant -Modular switched rectifier system 48V / 30Ampere module (2+1) configuration. -48V,120Ah Lead-Acid Sealed-Batteries(2sets). -Cabinet. -Installation materials , cables, tools. - Documentation. | Lot Set Lot Set Set Set | 1 1 1 4 1 1 |  |
| 07-20-00013 07-20-00014 07-20-00015 07-20-00016 | Air Conditioners -Duplicated 24000 BTU Unit. -Piping & installation materials & fixtures. -Spare parts. -Documentation. | Lot Set Set Set Set | 1 2 2 2 2 |  |
| - 07-20-00017 07-20-00018 07-20-00019 07-20-00020 07-20-00021 07-20-00022 07-20-00023 07-20-00024 | Single Diesel Engine Generator -Capacity 50 KVA, Dual Set. -Daily Fuel Tank. -Fan. -Piping. -Control cubicle & Alarms. -Installation Materials & Tools. -Spare parts & PCB's. -Documentation. | Lot Set Set Set Set Set Set Set Set | 1 1 1 1 1 1 1 1 1 |  |
| 07-20-00025 07-20-00026 07-20-00027 07-20-00028 07-20-00029 07-20-00030 07-20-00031 07-20-00032 07-20-00033 07-20-00034 | Test Instruments .-OTDR -Frequency Counter 3GHz. -Optical Power Meter . -Function Generator . -Optical Spectrum Analyzer. -SDH/PDH Analyzer. .-Talk Set 1310/1550 -PC Disk top+printer -Digital Oscilloscope 500 MHZ .-Stabilized light source | Set Set Set Set Set Set Set Set Set Set | 1 1 2 1 1 1 2 2 1 2 |  |

ANNEX  SEVEN  / Telecommunications

Sub - sector : SUPPER RING ROUND BAGHDAD

Site - Name :NEW BAGHDAD.

| Code | Item Description | Unit | Qty | Complemetary Items |
| --- | --- | --- | --- | --- |
| 07-20-01035 07-20-01036 07-20-01037 07-20-01038 07-20-01039 07-20-01040 07-20-01041 07-20-01042 07-20-01043 07-20-01044 | cable jet with access.,air cooler ,poly water pre tube air compressors for the cable jet of 12 bar fusion splicing machine with access. Cable drumtrailer figaro accessory to the cable jet tool box SDH optical transmission equipment STM-16-ADM multiplexer complete STM-4 ADM & DX complete STM-1 TM (21*3)2Mb/s PCM 2Mb/s-30 ch. cable and installation | Set Set Set Set Set Set lot lot lot lot | 2 2 2 2 2 4 1 3 4 8 |  |
| 07-20-01045 07-20-01046 07-20-01047 07-20-01048 07-20-01049 07-20-01050 | DC Power Plant -Modular switched rectifier system 48V / 30Ampere module (2+1) configuration. -48V,120Ah Lead-Acid Sealed-Batteries(2sets). -Cabinet. -Installation materials , cables, tools. - Documentation. | Lot Set Lot Set Set Set | 1 1 1 4 1 1 |  |
| 07-20-01051 07-20-01052 07-20-01053 07-20-01054 07-20-01055 | Air Conditioners -Duplicated 24000 BTU Unit. -Piping & installation materials & fixtures. -Spare parts. -Documentation. | Lot Set Set Set Set | 1 2 2 2 2 |  |
| 07-20-01056 07-20-01057 07-20-01058 07-20-01059 07-20-01060 07-20-01061 07-20-01062 07-20-01063 07-20-01064 | Single Diesel Engine Generator -Capacity 50 KVA, Dual Set. -Daily Fuel Tank. -Fan. -Piping. -Control cubicle & Alarms. -Installation Materials & Tools. -Spare parts & PCB's. -Documentation. | Lot Set Set Set Set Set Set Set Set | 1 1 1 1 1 1 1 1 1 |  |
| 07-20-01065 07-20-01066 07-20-01067 07-20-01068 07-20-01069 07-20-01070 07-20-01071 | Network Management Equipment -Central Network Management System platform(Hard ware) -Central Network Management System software packages. -Local Network Management Equipment ( craft terminals). -Mediation , Interface, and connection cards &modules. -Installation Materials & Tools. -Documentation.. | Lot Lot Set Lot Lot Lot Set | 1 1 1 1 1 1 1 |  |
| 07-20-01072 07-20-01073 07-20-01073 07-20-01074 07-20-01075 07-20-01076 07-20-01077 07-20-01078 07-20-01079 07-20-01080 07-20-01081 | Test Instruments .-OTDR -Frequency Counter 3GHz. -Optical Power Meter . -Function Generator . -Optical Spectrum Analyzer. -SDH/PDH Analyzer. .-Talk Set 1310/1550 -PC Disk top+printer -Digital Oscilloscope 500 MHZ .-Stabilized light source | Set Set Set Set Set Set Set Set Set Set | 1 1 2 1 1 1 2 2 1 2 |  |

ANNEX  SEVEN  / Telecommunications

Sub - sector : SUPPER RING ROUND BAGHDAD

Site - Name :ABU-GRAIB

| Code | Item Description | Unit | Qty | Complemetary Items |
| --- | --- | --- | --- | --- |
| 07-20-02041 07-20-02042 07-20-02043 07-20-02044 | SDH optical transmission equipment STM-16-ADM multiplexer complete STM-4 ADM & DX complete STM-1 TM (21*3)2Mb/s PCM 2Mb/s-30 ch. cable and installation | lot lot lot lot | 1 1 4 8 |  |
| 07-20-02045 07-20-02046 07-20-02047 07-20-02048 07-20-02049 07-20-02050 | DC Power Plant -Modular switched rectifier system 48V / 30Ampere module (2+1) configuration. -48V,120Ah Lead-Acid Sealed-Batteries(2sets). -Cabinet. -Installation materials , cables, tools. - Documentation. | Lot Set Lot Set Set Set | 1 1 1 4 1 1 |  |
| 07-20-02051 07-20-02052 07-20-02053 07-20-02054 07-20-02055 | Air Conditioners -Duplicated 24000 BTU Unit. -Piping & installation materials & fixtures. -Spare parts. -Documentation. | Lot Set Set Set Set | 1 2 2 2 2 |  |
| 07-20-02056 07-20-02057 07-20-02058 07-20-02059 07-20-02060 07-20-02061 07-20-02062 07-20-02063 07-20-02064 | Single Diesel Engine Generator -Capacity 50 KVA, Dual Set. -Daily Fuel Tank. -Fan. -Piping. -Control cubicle & Alarms. -Installation Materials & Tools. -Spare parts & PCB's. -Documentation. | Lot Set Set Set Set Set Set Set Set | 1 1 1 1 1 1 1 1 1 |  |
| 07-20-02072 07-20-02073 07-20-02073 07-20-02074 07-20-02075 07-20-02076 07-20-02077 07-20-02078 07-20-02079 07-20-02080 07-20-02081 07-20-02082 07-20-02083 07-20-02083 07-20-02083 07-20-02083 07-20-02083 07-20-02083 | Test Instruments .-OTDR -Frequency Counter 3GHz. -Optical Power Meter . -Function Generator . -Optical Spectrum Analyzer. -SDH/PDH Analyzer. .-Talk Set 1310/1550 -PC Disk top+printer -Digital Oscilloscope 500 MHZ .-Stabilized light source .Note Book PC -Digital multimeter Optical Attenators Specialized tool set Desoldering tools Primary mux.Test PCM Set test | Set Set Set Set Set Set Set Set Set Set Set Set Set Set Set Set Set | 1 1 2 1 1 1 2 2 1 2 10 10 4 10 10 4 4 |  |

ANNEX  SEVEN  / Telecommunications

Sub - sector : SUPPER RING ROUND BAGHDAD

Site - Name :INTISAR

| Code | Item Description | Unit | Qty | Complemetary Items |
| --- | --- | --- | --- | --- |
| 07-20-03041 07-20-03042 07-20-03043 07-20-03044 | SDH optical transmission equipment STM-16-ADM multiplexer complete STM-4 ADM & DX complete STM-1 TM (21*3)2Mb/s PCM 2Mb/s-30 ch. cable and installation | lot lot lot lot | 1 1 4 8 |  |
| 07-20-03045 07-20-03046 07-20-03047 07-20-03048 07-20-03049 07-20-03050 | DC Power Plant -Modular switched rectifier system 48V / 30Ampere module (2+1) configuration. -48V,120Ah Lead-Acid Sealed-Batteries(2sets). -Cabinet. -Installation materials , cables, tools. - Documentation. | Lot Set Lot Set Set Set | 1 1 1 4 1 1 |  |
| 07-20-03051 07-20-03052 07-20-03053 07-20-03054 07-20-03055 | Air Conditioners -Duplicated 24000 BTU Unit. -Piping & installation materials & fixtures. -Spare parts. -Documentation. | Lot Set Set Set Set | 1 2 2 2 2 |  |
| 07-20-03056 07-20-03057 07-20-03058 07-20-03059 07-20-03060 07-20-03061 07-20-03062 07-20-03063 07-20-03064 | Single Diesel Engine Generator -Capacity 50 KVA, Dual Set. -Daily Fuel Tank. -Fan. -Piping. -Control cubicle & Alarms. -Installation Materials & Tools. -Spare parts & PCB's. -Documentation. | Lot Set Set Set Set Set Set Set Set | 1 1 1 1 1 1 1 1 1 |  |

ANNEX  SEVEN  / Telecommunications

Sub - sector : SUPPER RING ROUND BAGHDAD

Site - Name :SAB-ABKAR

| Code | Item Description | Unit | Qty | Complemetary Items |
| --- | --- | --- | --- | --- |
| 07-20-04041 07-20-04042 07-20-04043 07-20-04044 | SDH optical transmission equipment STM-16-ADM multiplexer complete STM-4 ADM & DX complete STM-1 TM (21*3)2Mb/s PCM 2Mb/s-30 ch. cable and installation | lot lot lot lot | 1 1 4 6 |  |
| 07-20-04045 07-20-04046 07-20-04047 07-20-04048 07-20-04049 07-20-04050 | DC Power Plant -Modular switched rectifier system 48V / 30Ampere module (2+1) configuration. -48V,120Ah Lead-Acid Sealed-Batteries(2sets). -Cabinet. -Installation materials , cables, tools. - Documentation. | Lot Set Lot Set Set Set | 1 1 1 4 1 1 |  |
| 07-20-04051 07-20-04052 07-20-04053 07-20-04054 07-20-04055 | Air Conditioners -Duplicated 24000 BTU Unit. -Piping & installation materials & fixtures. -Spare parts. -Documentation. | Lot Set Set Set Set | 1 2 2 2 2 |  |
| 07-20-04056 07-20-04057 07-20-04058 07-20-04059 07-20-04060 07-20-04061 07-20-04062 07-20-04063 07-20-04064 | Single Diesel Engine Generator -Capacity 50 KVA, Dual Set. -Daily Fuel Tank. -Fan. -Piping. -Control cubicle & Alarms. -Installation Materials & Tools. -Spare parts & PCB's. -Documentation. | Lot Set Set Set Set Set Set Set Set | 1 1 1 1 1 1 1 1 1 |  |

ANNEX  SEVEN  / Telecommunications

Sub - sector : SUPPER RING ROUND BAGHDAD

Site - Name :DAWOODI

| Code | Item Description | Unit | Qty | Complemetary Items |
| --- | --- | --- | --- | --- |
| 07-20-05041 07-20-05042 07-20-05043 07-20-05044 | SDH optical transmission equipment STM-16-ADM multiplexer complete STM-4 ADM & DX complete STM-1 TM (21*3)2Mb/s PCM 2Mb/s-30 ch. cable and installation | lot lot lot lot | 1 2 4 4 |  |
| 07-20-05045 07-20-05046 07-20-05047 07-20-05048 07-20-05049 07-20-05050 | DC Power Plant -Modular switched rectifier system 48V / 30Ampere module (2+1) configuration. -48V,120Ah Lead-Acid Sealed-Batteries(2sets). -Cabinet. -Installation materials , cables, tools. - Documentation. | Lot Set Lot Set Set Set | 1 1 1 4 1 1 |  |
| 07-20-05051 07-20-05052 07-20-05053 07-20-05054 07-20-05055 | Air Conditioners -Duplicated 24000 BTU Unit. -Piping & installation materials & fixtures. -Spare parts. -Documentation. | Lot Set Set Set Set | 1 2 2 2 2 |  |
| 07-20-05056 07-20-05057 07-20-05058 07-20-05059 07-20-05060 07-20-05061 07-20-05062 07-20-05063 07-20-05064 | Single Diesel Engine Generator -Capacity 50 KVA, Dual Set. -Daily Fuel Tank. -Fan. -Piping. -Control cubicle & Alarms. -Installation Materials & Tools. -Spare parts & PCB's. -Documentation. | Lot Set Set Set Set Set Set Set Set | 1 1 1 1 1 1 1 1 1 |  |

ANNEX  SEVEN  / Telecommunications

Sub - sector : SUPPER RING ROUND BAGHDAD

Site - Name :14 JULY

| Code | Item Description | Unit | Qty | Complemetary Items |
| --- | --- | --- | --- | --- |
| 07-20-06041 07-20-06042 07-20-06043 07-20-06044 | SDH optical transmission equipment STM-16-ADM multiplexer complete STM-4 ADM & DX complete STM-1 TM (21*3)2Mb/s PCM 2Mb/s-30 ch. cable and installation | lot lot lot lot | 1 2 4 4 |  |
| 07-20-06045 07-20-06046 07-20-06047 07-20-06048 07-20-06049 07-20-06050 | DC Power Plant -Modular switched rectifier system 48V / 30Ampere module (2+1) configuration. -48V,120Ah Lead-Acid Sealed-Batteries(2sets). -Cabinet. -Installation materials , cables, tools. - Documentation. | Lot Set Lot Set Set Set | 1 1 1 4 1 1 |  |
| 07-20-06051 07-20-06052 07-20-06053 07-20-06054 07-20-06055 | Air Conditioners -Duplicated 24000 BTU Unit. -Piping & installation materials & fixtures. -Spare parts. -Documentation. | Lot Set Set Set Set | 1 2 2 2 2 |  |
| 07-20-06056 07-20-06057 07-20-06058 07-20-06059 07-20-06060 07-20-06061 07-20-06062 07-20-06063 07-20-06064 | Single Diesel Engine Generator -Capacity 50 KVA, Dual Set. -Daily Fuel Tank. -Fan. -Piping. -Control cubicle & Alarms. -Installation Materials & Tools. -Spare parts & PCB's. -Documentation. | Lot Set Set Set Set Set Set Set Set | 1 1 1 1 1 1 1 1 1 |  |

ANNEX  SEVEN  / Telecommunications

Sub - sector : SUPPER RING ROUND BAGHDAD

Site - Name :DHUBBAT

| Code | Item Description | Unit | Qty | Complemetary Items |
| --- | --- | --- | --- | --- |
| 07-20-07041 07-20-07042 07-20-07043 07-20-07044 | SDH optical transmission equipment STM-16-ADM multiplexer complete STM-4 ADM & DX complete STM-1 TM (21*3)2Mb/s PCM 2Mb/s-30 ch. cable and installation | lot lot lot lot | 1 2 4 4 |  |
| 07-20-07045 07-20-07046 07-20-07047 07-20-07048 07-20-07049 07-20-07050 | DC Power Plant -Modular switched rectifier system 48V / 30Ampere module (2+1) configuration. -48V,120Ah Lead-Acid Sealed-Batteries(2sets). -Cabinet. -Installation materials , cables, tools. - Documentation. | Lot Set Lot Set Set Set | 1 1 1 4 1 1 |  |
| 07-20-07051 07-20-07052 07-20-07053 07-20-07054 07-20-07055 | Air Conditioners -Duplicated 24000 BTU Unit. -Piping & installation materials & fixtures. -Spare parts. -Documentation. | Lot Set Set Set Set | 1 2 2 2 2 |  |
| 07-20-07056 07-20-07057 07-20-07058 07-20-07059 07-20-07060 07-20-07061 07-20-07062 07-20-07063 07-20-07064 | Single Diesel Engine Generator -Capacity 50 KVA, Dual Set. -Daily Fuel Tank. -Fan. -Piping. -Control cubicle & Alarms. -Installation Materials & Tools. -Spare parts & PCB's. -Documentation. | Lot Set Set Set Set Set Set Set Set | 1 1 1 1 1 1 1 1 1 |  |
| 07-20-07081 07-20-07082 | SERVICES TRAINING & SUPERVISION OF INSTALLATION SDH EQUIPMENT. -SPARE PART(for all project) | week*man % | 60 10 |  |