## Z_73_Dohuk
Material Requirement for Distribution Network Rehabilitation and Development for Project IRQ/00/Z73 - Dohuk Governorate (DP 8)
No. | Description | Unit | Qty
04-73-80001 | 11m tubular steel poles complete with cross arm and all accessories | each | 2325
04-73-80002 | 11m tubular steel poles equivalent to lattice poles complete with cross arm and all accessories | each | 425
04-73-80003 | 9m tubular steel poles with all accessories | each | 2500
04-73-80004 | 9m tubular steel poles equivalent to lattice poles complete with all accessories | each | 850
04-73-80005 | Cross arms for 11m poles | each | 49.5
04-73-80006 | 50x50x5mm, 2m long GS angle | each | 450
04-73-80007 | 50x50x5mm, 700mm long GS angle | each | 450
04-73-80008 | 50x50x6mm, 2m long GS channel | each | 450
04-73-80009 | 50x50x6mm, 6m long GS channel | each | 450
04-73-80010 | 50x50x5mm, 6m long GS angle | each | 450
04-73-80011 | 100x50x6mm, 6m long GS channel | each | 450
04-73-80012 | M16x30mm long GS bolt with nut flat and spring washers | each | 300
04-73-80013 | M16x50mm long GS bolt with nut, flat and spring washers | set | 300
04-73-80014 | M16x100mm long GS bolt with nut, flat and spring washers | set | 300
04-73-80015 | M16x150mm long GS bolt with nut, flat and spring washers | set | 300
04-73-80016 | M20x30mm long GS bolt with nut, flat and spring washers | set | 300
04-73-80017 | M20x50mm long GS bolt with nut, flat and spring washers | set | 300
04-73-80018 | M20x100mm long GS bolt with nut, flat and spring washers | set | 300
04-73-80019 | M20x150mm GS bolt with nut, plain and spring washers | each | 300
04-73-80020 | ACSR conductor 120/20 sqmm | km | 460
04-73-80021 | ACSR conductor 95/15 sqmm | km | 200
04-73-80022 | Al conductor 95 sqmm | km | 560.4
04-73-80023 | Al conductor 70 sqmm | km | 219.6
04-73-80024 | Midspan joint for ACSR 120/20 sqmm | each | 1700
04-73-80025 | Midspan joint for ACSR95/15 sqmm | each | 525
04-73-80026 | Midspan joint for Al 95 sqmm | each | 4700
04-73-80027 | Midspan joint for Al 70 sqmm | each | 1400
04-73-80028 | Parallel groove clamps Al 95 sqmm | each | 5750
04-73-80029 | Parallel groove clamps Al 70 sqmm | each | 1750
04-73-80030 | Distribution transformer 11/0.4 kV, 160 KVA | each | 24
04-73-80031 | Distribution transformer 11/0.4 kV, 250 KVA | each | 56
04-73-80032 | Lightning arrestor 12kV, 10 kA discharge current class 1 | each | 700
04-73-80033 | 11kV, 200 A, 3 pole out door pole mounted type load break switch | each | 10
04-73-80034 | Linkage fuse 12kV with fuse holder | each | 700
04-73-80035 | Fuse elements 11 kV, 25A | each | 225
04-73-80036 | Fuse elements 11 kV, 40A | each | 500
04-73-80037 | LV Cu cable 1x150 sqmm, PVC insulated | km | 4.47
04-73-80038 | LV Cu cable 1x95 sqmm, PVC insulated | km | 12.95
04-73-80039 | LV OH Twisted cable 3X95+50+16 sqmm Al Conductor | km | 36
04-73-80040 | LV OH Twisted cable 3X70+50+16 sqmm Al Conductor | km | 36
04-73-80041 | Cu Cable terminal lugs for 150 sqmm cable | each | 400
04-73-80042 | Cu Cable terminal lugs for 95 sqmm cable | each | 800
04-73-80043 | Bi metallic connector Al/Cu 150/95 sqmm | each | 700
04-73-80044 | Bi metallic connector Al/Cu 95/95 sqmm | each | 200
04-73-80045 | Cable ties (10x800mm) | each | 4000
04-73-80046 | Out door pole mounted weather proof cabinet with pad lock facility suitable for LV side of distribution transformer with 2 Nos, 250 A MCCBs 3 poles and neutral link, complete with street lighting control gear. | each | 230
04-73-80047 | Out door pole mounted weather proof cabinet with pad lock facility suitable for LV side of distribution transformer with 2 Nos, 150 A MCCBs 3 poles and neutral link, complete with street lighting control gear. | each | 161
04-73-80048 | 230 V, 20 A, single pole MCB | each | 38000
04-73-80049 | Cu earth wire tinned 50 sqmm stranded No 7 | m | 19600
04-73-80050 | Cu earth road, 16mm diameter, 1.5 m length | each | 4000
04-73-80051 | Pin type insulator with Galvanized spindle for 11 kV | each | 10225
04-73-80052 | 11kV disc insulators | each | 800
04-73-80053 | 11 kV tension insulators with all accessories and hardware | each | 3400
04-73-80054 | LV Shackle insulators with complete with D bracket, 260 mm bolts and nuts | each | 65000
04-73-80055 | LV Shackle insulators with complete with D bracket, 210 mm bolts and nuts | each | 44000
04-73-80056 | Steel staywire | m | 29000
04-73-80057 | Staywire assembly | each | 2900
04-73-80058 | stay insulators | each | 2900
04-73-80059 | 230V,30A, single phase, energy meter | each | 38000
04-73-80060 | Accessories for twisted cables (ABC): Suspension brackets | each | 2000
04-73-80061 | Accessories for twisted cables (ABC): Suspension clamp | each | 2000
04-73-80062 | Accessories for twisted cables (ABC): Tension (dead end) bracket | each | 300
04-73-80063 | Accessories for twisted cables (ABC): Tension (dead end) clamp | each | 300
04-73-80064 | Accessories for twisted cables (ABC): Pre insulated sleeve for phase conductor 95 sqmm | each | 225
04-73-80065 | Accessories for twisted cables (ABC): Pre insulated sleeve for phase conductor 70 sqmm | each | 225
04-73-80066 | Accessories for twisted cables (ABC): Pre insulated sleeve for neutral conductor 50 sqmm | each | 225
04-73-80067 | Accessories for twisted cables (ABC): Pre insulated sleeve for street lighting conductor 16 sqmm | each | 150
04-73-80068 | Accessories for twisted cables (ABC): Insulation end cap for 95 sqmm conductor | each | 900
04-73-80069 | Accessories for twisted cables (ABC): Insulation end cap for 70 sqmm conductor | each | 900
04-73-80070 | Accessories for twisted cables (ABC): Insulation end cap for 50 sqmm conductor | each | 1150
04-73-80071 | Accessories for twisted cables (ABC): Insulation end cap for 16 sqmm conductor | each | 575
04-73-80072 | Accessories for twisted cables (ABC): Insulating binding strap | each | 575
04-73-80073 | Accessories for twisted cables (ABC): Stainless steel strap | each | 750
04-73-80074 | Accessories for twisted cables (ABC): Stainless steel buckles | each | 750
04-73-80075 | Accessories for twisted cables (ABC): Bare overhead to insulated connectors - Type A | each | 400
04-73-80076 | Accessories for twisted cables (ABC): Bare overhead to insulated connectors - Type B | each | 400
04-73-80077 | Accessories for twisted cables (ABC): Insulated Tee-off piercing connectors - Type A | each | 550
04-73-80078 | Accessories for twisted cables (ABC): Insulated Tee-off piercing connectors - Type B | each | 550
04-73-80079 | Accessories for twisted cables (ABC): Insulated Tee-off piercing connectors - Type C | each | 225
04-73-80080 | Accessories for twisted cables (ABC): Self amalgamating tape, 20 metre length roll, approximately 20 mm width | each | 75
04-73-80081 | Auto Recloser - 11kV 300A | each | 5
04-73-80082 | 11kV, 300 A, 3 pole out door pole mounted type air break switch | each | 5
04-73-80083 | Binding Wire - SWG 9 | kg | 1500
04-73-80084 | Binding Wire - SWG 11 | kg | 500
04-73-80085 | Service Pole - 6m, 75mm dia GS Pipe | each | 3800
04-73-80086 | PVC double insulated twin cable - 10sqmm | km | 1500
04-73-80087 | Auger mounted Truck, 2.5m/600-300mm auger, 6 ton lifting cap. With running spares for 3 years | each | 3
04-73-80088 | Crane mounted truck, 10 ton crane with running spares for 3 years | each | 3
04-73-80089 | Crane mounted truck, 3.5 ton crane with running spares for 3 years | each | 6
04-73-80090 | Truck with trailer 8 ton, 9 cu.m (Tipper/Dump type) |  | 2
04-73-80091 | Sky master with aerial basket, 15m hig, 250kg basket with running spares for 3 years | each | 3
04-73-80092 | Fork lift, 5 ton with running spares for 3 years | each | 4
04-73-80093 | Fork lift, 10 ton with running spares for 3 years | each | 3
04-73-80094 | Truck, 8 ton with running spares for 3 years | each | 5
04-73-80095 | Truck, 5 ton with running spares for 3 years | each | 10
04-73-80096 | Truck, 3 ton with running spares for 3 years | each | 10
04-73-80097 | Light truck 2x4, 2 ton, with running spares for 3 years | each | 15
04-73-80098 | Tractor 4x4, with hydraulic backhose, with running spares for 3 years | each | 10
04-73-80099 | Trailer for tractor, 1.5 ton / 2 cu.m, with running spares for 3 years | each | 10
04-73-80100 | Concrete mixer 250-300 l, with running spares for 3 years | each | 3
04-73-80101 | Low bed trailor 40-50 ton with prime mover | each | 1
04-73-80102 | Nissan 4WD Patrol Station Wagon GL, (LHD) | Unit | 1
04-73-80103 | Rear differential lock & free wheel hubs (automatic), side steps & tyres | Lot | 1
04-73-80104 | Fuel tank, extra, 40 l & rear wiper | Lot | 1
04-73-80105 | Warning triangle | Each | 1
04-73-80106 | Radio & cassette w/2sp. Antenna - manual | Each | 1
04-73-80107 | Rear cooler | Each | 1
04-73-80108 | Standard spare parts kit | Each | 1
04-73-80109 | Motorola GM 300 Mobile Radio, VHF including features 27-28 | 1 | Each
04-73-80110 | battery power cable, compact microphone | 1 | Each
04-73-80111 | two profile trunnion kit | 1 | Each
04-73-80112 | 3 DB mobile antenna with 4 meter cable and connector | 1 | Each
04-73-80113 | Operator manual | 1 | Each
04-73-80114 | Insulated Ladder | 10 | Each
04-73-80115 | MV Testers | 4 | Each
04-73-80116 | LV Testers | 8 | Each
04-73-80117 | Cary Case for LV Testers | 8 | Each
04-73-80118 | MV Earthing Sets | 17 | Each
04-73-80119 | LV Earthing Sets | 9 | Each
04-73-80120 | Safety Belts | 20 | Each
04-73-80121 | Safety Helmets | 98 | Each
04-73-80122 | Stringing Pulleys | 138 | Each
04-73-80123 | LV Gloves Size 9 | 7 | Each
04-73-80124 | LVGloves Size 10 | 7 | Each
04-73-80125 | Under Glove Cotton | 14 | Each
04-73-80126 | MV Insulating Rods | 5 | Each
04-73-80127 | Working Gloves Stock No G64-3319-00 | 80 | Each
04-73-80128 | UVEX Astrospec 9168 Safety Glasses w/ tinted lenses for protection against airborne particles & hazards | 90 | Each
04-73-80129 | Linkage fuse 12kV, with fuse holder | 300 | Each
04-73-80130 | Consumable Fuse tube, type NCXFT-360 for item 1 | 150 | Each
04-73-80131 | Leather work duty cow hide gloves | 80 | Each
04-73-80132 | Work uniform/Overalls preshrunk fabric | 150 | Each
04-73-80133 | FIAT NEW-HOLLAND 4x4 tractors Mod. 110 | 6 | Each
04-73-80134 | Spare parts Kit for tractors NEW Holland Mod 110 as ATTACH. B1 | 1 | Lot
04-73-80135 | BICCHI ATR 30L/P single axle tipping trailer 3 Ton payload | 6 | Each
04-73-80136 | sp.pts for BICCHI ATR 30L/P single axle Trailer as ATTACH. B2 | 1 | Lot
04-73-80137 | Heavy duty safety boots for line work | 90 | Pair
04-73-80138 | Safety Belts for EWP work, c/w arrestor lanyard & hook | 16 | Each
04-73-80139 | Omega Safety Helmets (Polyethylene made, white, adjustable) | 90 | Each
04-73-80140 | Ratchet Pullers 1500kg c/w grip clamps & steel tail wires rope | 9 | Each
04-73-80141 | Concrete mixers trailer mounted | 3 | Each
04-73-80142 | Spare parts for concrete mixers (including engine)- item 10-14 | 3 | Lot
04-73-80143 | Conic Bearing | 3 | Each
04-73-80144 | SP.Cast Iron Wearpr. | 3 | Each
04-73-80145 | Engine Gaskets | 3 | Each
04-73-80146 | Engine Air filter | 3 | Each
04-73-80147 | Engine Diesel filter | 3 | Each
04-73-80148 | Galvanized Steel Stay wires - 7/3.25mm | 25 | Km
04-73-80149 | IVECO EUROTRAKKER MODEL MP 380E31 6X6 WITH AUGER | 3 | EACH
04-73-80150 | Spare parts for item No. 1 as figured in items (3-392) | 1 | LOT
04-73-80151 | IVECO EUROTRAKKER MODEL MP 380E31 6X6 WITH CRANE | 3 | EACH
04-73-80152 | Spare parts for item No. 392 as figured in items (395-770) | 1 | LOT
04-73-80153
04-73-80154 | 120/20 sqmm ACSR Conductor | 400 | Km
04-73-80155 | 95/15 sqmm ACSR Conductor | 200 | Km
04-73-80156 | 95 sqmm AAC Conductor | 475 | Km
04-73-80157 | 70 sqmm AAC Conductor | 200 | Km
04-73-80158 | 50 sqmm Cu Conductor | 16 | Km
04-73-80159 | Binding Wire-9 SWG, 3.6mm dia | 4000 | Kg
04-73-80160 | Binding Wire-11 SWG, 3.00mm dia | 800 | Kg
04-73-80161 | 11 m tubular steel poles type-1 c/w cross arm and accessories | 900 | Each
04-73-80162 | 9 m tubular steel poles type-2 complete with accessories | 1300 | Each
04-73-80163 | 11 m tubular steel poles type-3 c/w cross arm and accessories | 1650 | Each
04-73-80164 | 9 m tubular steel poles type-4 complete with accessories | 1250 | Each
04-73-80165 | 6 m service pole, 75mm dia, 2.5mm thick steel pipe, galvanized | 2870 | Each
04-73-80166 | 1410mm long GS Cross-arm for Type-1 steel poles | 410 | Each
04-73-80167 | 1250mm long GS Cross-arm for Type-3 steel poles | 160 | Each
04-73-80168 | 11kV, 10kA Surge Arresters c/w mounting brackets | 1200 | Each
04-73-80169 | Mitsubishi Canter FE 645 flat bed truck,LHD,wheel base 3350mm | 25 | EACH
04-73-80170 | Air condition | 25 | EACH
04-73-80171 | Limited Slip Differential | 25 | EACH
04-73-80172 | GASKET KIT,ENG OVERHAUL, P/N ME996356 | 25 | EACH
04-73-80173 | GASKET,CYLINDER HEAD, P/N ME013300 | 25 | EACH
04-73-80174 | GUIDE,INLET VALVE, P/N ME031886 | 100 | EACH
04-73-80175 | GUIDE,EXHAUST VALVE, P/N ME031888 | 100 | EACH
04-73-80176 | OIL SEAL,CRANKSHAFT,RR, P/N ME240010 | 100 | EACH
04-73-80177 | GSKT,ENG O/PAN DRAIN PLUG, P/N MD050317 | 500 | EACH
04-73-80178 | PLUG,ENG OIL PAN, P/N MH037759 | 75 | EACH
04-73-80179 | ELEMENT KIT,BY-PASS O/FLTR, P/N ME215002 | 500 | EACH
04-73-80180 | CAP,FUEL TANK, P/N MB125425 | 25 | EACH
04-73-80181 | ELEMENT KIT,FUEL FILTER, P/N ME006066 | 250 | EACH
04-73-80182 | ELEMENT KIT,FUEL FILTER, P/N ME006063 | 250 | EACH
04-73-80183 | GASKET,FUEL INJ NOZZLE, P/N ME016564 | 150 | EACH
04-73-80184 | NOZZLE & HOLDER,FUEL INJ, P/N ME703687 | 150 | EACH
04-73-80185 | O-RING,TIMING GEAR TRAIN, P/N MF520407 | 50 | EACH
04-73-80186 | CAP,RADIATOR COND TANK, P/N MC127106 | 25 | EACH
04-73-80187 | HOSE,RADIATOR COND TANK, P/N MC127107 | 25 | EACH
04-73-80188 | HOSE,RADIATOR,LWR, P/N ME291586 | 25 | EACH
04-73-80189 | HOSE,RADIATOR,UPR, P/N MC127050 | 25 | EACH
04-73-80190 | WATER PUMP ASSY, P/N ME995425 | 25 | EACH
04-73-80191 | O-RING,WATER PUMP, P/N MF520416 | 50 | EACH
04-73-80192 | BELT,ALTERNATOR& OTHERS, P/N MH014385 | 50 | EACH
04-73-80193 | THERMOSTAT KIT, P/N ME996363 | 25 | EACH
04-73-80194 | GSKT,THERMO CASE TO C/HEAD, P/N ME014498 | 25 | EACH
04-73-80195 | ELEMENT,AIR CLEANER, P/N ME017242 | 250 | EACH
04-73-80196 | GASKET,INLET MANIFOLD, P/N ME212086 | 100 | EACH
04-73-80197 | BEARING,ALTERNATOR ROTOR, P/N ME700535 | 25 | EACH
04-73-80198 | BEARING,ALTERNATOR ROTOR, P/N ME701255 | 25 | EACH
04-73-80199 | BRUSH,ALTERNATOR, P/N ME701400 | 100 | EACH
04-73-80200 | COVER ASSY,CLUTCH, P/N ME500850 | 100 | EACH
04-73-80201 | DISC,CLUTCH(WOVEN), P/N ME506164 | 25 | EACH
04-73-80202 | BRG ASSY,CLUTCH RELEASE, P/N ME605584 | 25 | EACH
04-73-80203 | SPIDER KIT,PROP U/JOINT, P/N MC994292 | 25 | EACH
04-73-80204 | CTR BRG ASSY,PROPELLER, P/N MC830702 | 25 | EACH
04-73-80205 | BRG,PROPELLER SFT U/JOINT, P/N MB000175 | 100 | EACH
04-73-80206 | SPIDER KIT,PROP U/JOINT, P/N MC994292 | 75 | EACH
04-73-80207 | OIL SEAL,FR WHEEL HUB, P/N MB025295 | 50 | EACH
04-73-80208 | BEARING,FR DIFF SIDE, P/N MB005139 | 50 | EACH
04-73-80209 | BRG,FR DIFF DRV PINION,FR, P/N MB005154 | 25 | EACH
04-73-80210 | BRG,FR DIFF DRV PINION,RR, P/N MB005155 | 25 | EACH
04-73-80211 | OIL SEAL,RR DIFF DRIVE PIN, P/N MH034213 | 25 | EACH
04-73-80212 | BEARING,RR WHEEL HUB, P/N MT321624 | 50 | EACH
04-73-80213 | BEARING,RR WHEEL HUB, P/N MB161133 | 50 | EACH
04-73-80214 | OIL SEAL,RR WHEEL HUB,INR, P/N MB161152 | 50 | EACH
04-73-80215 | OIL SEAL,RR WHEEL HUB,OTR, P/N MB308933 | 50 | EACH
04-73-80216 | SHOCK ABSORBER,FR SUSP, P/N MC110491 | 50 | EACH
04-73-80217 | BUSHING,FR SHOCK ABSORBER, P/N MC110498 | 50 | EACH
04-73-80218 | BSHG,ENG AIR INTAKE LINE, P/N MT100378 | 50 | EACH
04-73-80219 | BUSHING,FR SUSP SPRING, P/N MH024000 | 50 | EACH
04-73-80220 | SHACKLE,RR SUSP SPRING, P/N MC114505 | 50 | EACH
04-73-80221 | PIN,RR SUSP SPRING, P/N MB035277 | 100 | EACH
04-73-80222 | PIN,RR SUSP SPRING, P/N MB035277 | 100 | EACH
04-73-80223 | SHOE ASSY,PARKING BRAKE, P/N MC894263 | 50 | EACH
04-73-80224 | CUP+BOOT KIT,FR BRAKE CYL, P/N MC112208 | 100 | EACH
04-73-80225 | LINING KIT,FR BRAKE SHOE, P/N MC894575 | 100 | EACH
04-73-80226 | SHOE ASSY,FR BRAKE, P/N MC894239 | 100 | EACH
04-73-80227 | CUP+BOOT KIT,RR BRAKE CYL, P/N MC112209 | 100 | EACH
04-73-80228 | LINING KIT,FR BRAKE SHOE, P/N MC894575 | 100 | EACH
04-73-80229 | SHOE ASSY,FR BRAKE, P/N MC894239 | 100 | EACH
04-73-80230 | CYLINDER KIT,BRAKE MASTER, P/N MK321272 | 100 | EACH
04-73-80231 | GLASS,WINDSHIELD, P/N MC148023 | 25 | EACH
04-73-80232 | MIRROR,RR VIEW,LH, P/N MB094920 | 25 | EACH
04-73-80233 | MIRROR,RR VIEW,LH, P/N MB094920 | 25 | EACH
04-73-80234 | BULB,ROOM LAMP, P/N MC859690 | 100 | EACH
04-73-80235 | BULB,HEADLAMP, P/N MC927618 | 100 | EACH
04-73-80236 | BULB,HEADLAMP, P/N MC927615 | 100 | EACH
04-73-80237 | BULB,FR TURN SIGNAL LAMP, P/N MH056201 | 100 | EACH
04-73-80238 | BULB,FR TURN SIGNAL LAMP, P/N MH056201 | 200 | EACH
04-73-80239 | BULB,STOP LAMP, P/N MH056200 | 200 | EACH
04-73-80240 | LAMP ASSY,CLEARANCE,LH, P/N MC149155 | 25 | EACH
04-73-80241 | BULB,RR TRACTION HOOK,INR, P/N MF101345 | 250 | EACH
04-73-80242 | BULB,ROOM LAMP, P/N MC859690 | 100 | EACH
04-73-80243 | BLADE,WINDSHIELD WIPER, P/N MB623002 | 200 | EACH
04-73-80244 | BLADE ASSY,WINDSHIELD WPR, P/N MC896047 | 100 | EACH
04-73-80245 | FUSE SWITCH, P/N MS810963 | 300 | EACH
04-73-80246 | FUSE SWITCH, P/N MS810965 | 1050 | EACH
04-73-80247 | FUSE BODY WIRING, P/N MS810966 | 375 | EACH
04-73-80248 | FUSE RELAY, P/N MS810967 | 150 | EACH
04-73-80249 | FUSIBLE LINK, P/N MH056171 | 100 | EACH
04-73-80250 | FUSIBLE LINK, P/N MH056176 | 25 | EACH
04-73-80251 | ZV masted forklift model SF 50D | 4 | EACH
04-73-80252 | Spare parts Kit for 3 years for item 198 - figures 200-249 | 1 | KIT
04-73-80253 | CPLT ALTERNATOR 47544 | 1 | EACH
04-73-80254 | 12V HEATER PLUG 36363 4236 | 6 | EACH
04-73-80255 | SAMS BUZZER 48157 | 3 | EACH
04-73-80256 | PARKING BRAKE CABLE 48305 | 6 | EACH
04-73-80257 | RIGHT OR LEFT FRONT INDICATOR LIGHTS 45516 | 6 | EACH
04-73-80258 | SAMSUNG KEY CONTACTOR 44932 | 3 | EACH
04-73-80259 | RIGHT / LEFTWHEEL CYLINDER 48310 | 9 | EACH
04-73-80260 | SF50/70D FAN BELT 53018 | 3 | EACH
04-73-80261 | SF35/70D NEW STARTER 52505 | 3 | EACH
04-73-80262 | BRAKE DISK 50475 | 3 | EACH
04-73-80263 | RIGHT REAR HEADLIGHT 45141 | 6 | EACH
04-73-80264 | LEFT REAR HEADLIGHT 45142 | 6 | EACH
04-73-80265 | PERKINS AIR FILTER 59606 | 15 | EACH
04-73-80266 | PERKINS GO FILTER 44721 | 15 | EACH
04-73-80267 | PERK ENGINE OIL FILTER 3357 | 15 | EACH
04-73-80268 | SF50/60/70D GEAR OIL FILTER 44724 | 3 | EACH
04-73-80269 | INTAKE HYDRAULIC FILTER | 3 | EACH
04-73-80270 | RETURN HYDRAULIC FILTER 44719 | 3 | EACH
04-73-80271 | FWD/BWD EGS S70D REVERSING GEAR | 1 | EACH
04-73-80272 | BRAKE MASTER CYLINDER 48299 | 3 | EACH
04-73-80273 | INCHING MASTER CYLINDER 48298 | 1 | EACH
04-73-80274 | STOP CONTACTOR 45277 | 3 | EACH
04-73-80275 | PARKING BRAKE MICROCONTACT 45499 | 3 | EACH
04-73-80276 | INSTRUMENT BOARD | 1 | EACH
04-73-80277 | 12V 160AH BATTERIES 53100 | 1 | EACH
04-73-80278 | SF50/70 MAST AND LATERAL ROLLER BEARING 48361 | 12 | EACH
04-73-80279 | TILT CYLINDER GASKETS SET 48357 - figures (227-232) | 6 | SET
04-73-80280 | PISTON 48357.0 | 6 | EACH
04-73-80281 | WIPER DUST 48357.1 | 6 | EACH
04-73-80282 | PACKING ROD 48357.2 | 6 | EACH
04-73-80283 | O - RING 48357.3 | 6 | EACH
04-73-80284 | PACKING PISTON 48357.4 | 6 | EACH
04-73-80285 | RING WEAR 48357.5 | 6 | EACH
04-73-80286 | (2P) DIST GASKETS SET 47770 - figures (234-236) | 3 | SET
04-73-80287 | RING QUAD 47770.0 | 3 | EACH
04-73-80288 | RING BACK UP 47770.1 | 3 | EACH
04-73-80289 | SCRAPER RING 47770.2 | 3 | EACH
04-73-80290 | 5/6T LIFT CYLINDER GASKETS SET 48362 - figures (238-246) | 3 | SET
04-73-80291 | PACKING PISTON 68362.0 | 3 | EACH
04-73-80292 | RING WEAR 48362.1 | 3 | EACH
04-73-80293 | RING RETAINER 48362.2 | 3 | EACH
04-73-80294 | O-RING 48362.3 | 3 | EACH
04-73-80295 | RING-BACK UP OIL 48362.4 | 3 | EACH
04-73-80296 | O-RING 48362.5 | 3 | EACH
04-73-80297 | PACKING ROD 48362.6 | 3 | EACH
04-73-80298 | WIPER DUST 48362.7 | 3 | EACH
04-73-80299 | RING-RETAINING 48362.8 | 3 | EACH
04-73-80300 | PARKING BRAKE LININGS SET 54812 - figures (248-249) | 1 | SET
04-73-80301 | PLATE 54812.0 | 1 | EACH
04-73-80302 | LINING 54812.1 | 1 | EACH
04-73-80303 | ZV masted fork lift model 100-06C | 3 | EACH
04-73-80304 | Spare parts Kit for 3 years for item 250 - figures 252-394 | 1 | KIT
04-73-80305 | CONNECTING ROD PIN 100044 | 1 | EACH
04-73-80306 | SUPPORT BUSHING 100049 | 2 | EACH
04-73-80307 | AXLE BUSHING 100054 | 1 | EACH
04-73-80308 | SPINDLE PIN 100055 | 1 | EACH
04-73-80309 | REAR WHEEL STUD 100066 | 3 | EACH
04-73-80310 | WHEEL NUT 100067 | 6 | EACH
04-73-80311 | MAST PIN 100087 | 1 | EACH
04-73-80312 | TILTING CYLINDER PIN 100185 | 2 | EACH
04-73-80313 | ENGINE SILENT BLOCK 100215 | 1 | EACH
04-73-80314 | TANK LOCKING CAP 100341 | 1 | EACH
04-73-80315 | ACCELERATOR PEDAL 100527 | 1 | EACH
04-73-80316 | BRUSH 100566 | 1 | EACH
04-73-80317 | STEERING PRIORITY VALVE 100605 | 1 | EACH
04-73-80318 | FLOW VALVE 100608 | 2 | EACH
04-73-80319 | BRAKE PUMP 100617 | 1 | EACH
04-73-80320 | LOW PRESS.SWITCH 100731 | 1 | EACH
04-73-80321 | STOP SWITCH 100732 | 2 | EACH
04-73-80322 | DECLUTCH SWITCH 100734 | 1 | EACH
04-73-80323 | HIGH TEMP. BRAKE BULB 100909 | 1 | EACH
04-73-80324 | PRIORITY BRAKE VALVE 101492 | 1 | EACH
04-73-80325 | FRONT WHEEL STUD 101625 | 3 | EACH
04-73-80326 | MAST BEARING 300012 | 2 | EACH
04-73-80327 | CHAINE TENSOR 300159 | 1 | EACH
04-73-80328 | LATERAL ROLLER 300200 | 1 | EACH
04-73-80329 | LATERAL ROLLER 300201 | 2 | EACH
04-73-80330 | STEERING CYLINDER GASKETS SET C10008007 - figures (278-285) | 2 | SET
04-73-80331 | O - RING C10008007.1 | 2 | EACH
04-73-80332 | BRS RING C10008007.2 | 4 | EACH
04-73-80333 | E / GR GASKET C10008007.3 | 2 | EACH
04-73-80334 | GUIDE RING C10008007.4 | 4 | EACH
04-73-80335 | O - RING C10008007.5 | 4 | EACH
04-73-80336 | BRS RING C10008007.6 | 4 | EACH
04-73-80337 | I / GR GASKET C10008007.7 | 4 | EACH
04-73-80338 | OIL SCRAPER C10008007.8 | 4 | EACH
04-73-80339 | TILTING CYLINDER GASKETS SET C10018414 - figures (287-297) | 1 | SET
04-73-80340 | SEALING GASKET C10018414.1 | 1 | EACH
04-73-80341 | O - RING C10018414.2 | 1 | EACH
04-73-80342 | O - RING C10018414.3 | 1 | EACH
04-73-80343 | BRS RING C10018414.4 | 1 | EACH
04-73-80344 | RING C10018414.5 | 1 | EACH
04-73-80345 | OIL SCRAPER C10018414.6 | 1 | EACH
04-73-80346 | ENGINE THERMOSTAT C10095912 | 1 | EACH
04-73-80347 | ENGINE WATER TEMP.BULB C10096002 | 2 | EACH
04-73-80348 | ENGINE BELT FAN C10096014 | 1 | EACH
04-73-80349 | ENGINE OIL PRESS.GAUGE C10096020 | 1 | EACH
04-73-80350 | OVERLOAD SECURITY VALVE C10239303 | 1 | EACH
04-73-80351 | LIFTING CYLINDER GASKETS SET C30009101 - figures (299-309) | 2 | SET
04-73-80352 | DPS RING C30009101.1 | 2 | EACH
04-73-80353 | E / GT RING C30009101.2 | 6 | EACH
04-73-80354 | BRS RING C3009101.3 | 2 | EACH
04-73-80355 | O - RING C30009101.4 | 2 | EACH
04-73-80356 | O - RING C30009101.5 | 2 | EACH
04-73-80357 | BRS RING C30009101.6 | 2 | EACH
04-73-80358 | I / GT RING C30009101.7 | 10 | EACH
04-73-80359 | O - RING C30009101.8 | 2 | EACH
04-73-80360 | RING C30009101.9 | 2 | EACH
04-73-80361 | O - RING C30009101.10 | 2 | EACH
04-73-80362 | OIL SCRAPER C30009101.11 | 2 | EACH
04-73-80363 | SIDE SHIFT CYLINDER GASKETS SET C30010109 - figures (311-316) | 1 | SET
04-73-80364 | OIL SCRAPER C30010109.1 | 1 | EACH
04-73-80365 | RING C30010109.2 | 1 | EACH
04-73-80366 | BRS RING C30010109.3 | 1 | EACH
04-73-80367 | O - RING C30010109.4 | 1 | EACH
04-73-80368 | O - RING C30010109.5 | 1 | EACH
04-73-80369 | SEALING GASKET C30010109.6 | 1 | EACH
04-73-80370 | LIGHT BULBS SET Y90003 - figures (318-323) | 1 | SET
04-73-80371 | LIGHT BULB H3 24V Y90003.1 | 2 | EACH
04-73-80372 | LIGHT BULB INDICATOR LIGHT Y90003.2 | 2 | EACH
04-73-80373 | LIGHT BULB STOP LIGHT Y90003.3 | 2 | EACH
04-73-80374 | LIGHT BULB - SWITCHES Y90003.4 | 5 | EACH
04-73-80375 | LIGHT BULB- SPOTLIGHT Y90003.5 | 2 | EACH
04-73-80376 | LIGHT BULB - YELLOW BEACON Y90003.6 | 1 | EACH
04-73-80377 | RELAYS SET 90004 - figures (325-327) | 2 | SET
04-73-80378 | MICRO RELAY Y90004.1 | 12 | EACH
04-73-80379 | STARTING RELAY Y90004.2 | 4 | EACH
04-73-80380 | TIMER RELAY Y90004.3 | 2 | EACH
04-73-80381 | FUSES SET Y90005 - figures (329-332) | 1 | SET
04-73-80382 | FUSE 7,5 Ah Y90005.1 | 10 | EACH
04-73-80383 | FUSE 10 Ah Y90005.2 | 10 | EACH
04-73-80384 | FUSE 15 Ah Y90005.3 | 10 | EACH
04-73-80385 | FUSE 50 Ah Y90005.4 | 1 | EACH
04-73-80386 | RADIATOR HOSES SET Y90006 - figures (334-364) | 1 | SET
04-73-80387 | FLEX HOSE Y90006.1 | 2 | EACH
04-73-80388 | CONNECTING ROD 100045 | 2 | EACH
04-73-80389 | BUSHING RING 100050 | 4 | EACH
04-73-80390 | BALL JOINT 100073 | 1 | EACH
04-73-80391 | BALL JOINT 100079 | 2 | EACH
04-73-80392 | CHAIN TENSOR PIN 100089 | 1 | EACH
04-73-80393 | WASHER 100245 | 1 | EACH
04-73-80394 | OIL LEVEL 100397 | 2 | EACH
04-73-80395 | BATTERY 100398 | 2 | EACH
04-73-80396 | FRONT RIGHT LAMP 100582 | 1 | EACH
04-73-80397 | BRAKE PUMP 100606 | 1 | EACH
04-73-80398 | COMPLETE FILTER 100624 | 1 | EACH
04-73-80399 | COMPLETE FILTER 100625 | 2 | EACH
04-73-80400 | PROTECTION CAP 100656 | 1 | EACH
04-73-80401 | REAR RIGHT / LEFT LAMP 100658 | 2 | EACH
04-73-80402 | UNIDIRECTIONAL VALVE 100908 | 1 | EACH
04-73-80403 | COUPLING 101244 | 1 | EACH
04-73-80404 | FLOW VALVE 101482 | 1 | EACH
04-73-80405 | CLOGGING INDICATOR 101578 | 2 | EACH
04-73-80406 | RADIATOR COUPLING 101598 | 2 | EACH
04-73-80407 | COUPLING 101602 | 2 | EACH
04-73-80408 | FUEL LEVEL 101652 | 1 | EACH
04-73-80409 | ELECTRIC CABLE 101657 | 1 | EACH
04-73-80410 | BATTERY CUT-OFF SWITCH 101659 | 1 | EACH
04-73-80411 | BRAKET 101660 | 1 | EACH
04-73-80412 | ELECTRIC CABLE 101663 | 1 | EACH
04-73-80413 | RIGHT / LEFT HEADLIGHT 101664 | 2 | EACH
04-73-80414 | REAR RIGHT / LEFT HEADLIGHT 101665 | 1 | EACH
04-73-80415 | HORN 101667 | 2 | EACH
04-73-80416 | REVERSE BUZZER 101668 | 1 | EACH
04-73-80417 | SPARK COIL 24 V/DC C10062201 | 1 | EACH
04-73-80418 | DOUBLE PUMP GASKETS SET C10062301 - figures (366-375) | 1 | SET
04-73-80419 | ALUMINIUM SHIM C10062301.1 | 4 | EACH
04-73-80420 | O - RING C10062301.2 | 9 | EACH
04-73-80421 | EXTRUSION-PROOF GASKET C10062301.3 | 4 | EACH
04-73-80422 | OIL RETAINER C10062301.4 | 2 | EACH
04-73-80423 | HYDRAULIC OIL CARTRIDGE C10062401 | 1 | EACH
04-73-80424 | FILTER C10062401 | 3 | EACH
04-73-80425 | FILTER HEAD C10062504 | 1 | EACH
04-73-80426 | GASKETS SET C10062701 | 1 | SET
04-73-80427 | O - RING C10062701.1 | 3 | EACH
04-73-80428 | GUIDE RING C10062701.2 | 1 | EACH
04-73-80429 | SHIMS SET C100655023 - figures (377-381) | 1 | SET
04-73-80430 | ALUMINIUM SHIM C100655023.1 | 4 | EACH
04-73-80431 | O - RING C100655023.2 | 9 | EACH
04-73-80432 | EXTRUSION-PROOF GASKET C100655023.3 | 4 | EACH
04-73-80433 | OIL RETAINER C100655023.4 | 2 | EACH
04-73-80434 | IMPULSE TRANSMITTER C100655304 | 2 | EACH
04-73-80435 | SHIMS SET C10110102 - figures (383-394) | 1 | SET
04-73-80436 | ALUMINIUM SHIM C10110102.1 | 4 | EACH
04-73-80437 | O - RING C10110102.2 | 9 | EACH
04-73-80438 | EXTRUSION-PROOF GASKET C10110102.3 | 4 | EACH
04-73-80439 | OIL RETAINER C10110102.4 | 2 | EACH
04-73-80440 | HEADLAMP FLASHER C10165620 | 1 | EACH
04-73-80441 | TRUST PISTON FOR JOYSTICK C10239601 | 3 | EACH
04-73-80442 | HYDRAULIC OIL CARTRIDGE C10227501 | 4 | EACH
04-73-80443 | TRANSMISSION CARTRIDGE C102265303 | 1 | EACH
04-73-80444 | ENGINE OIL FILTER C10096001 | 3 | EACH
04-73-80445 | FUEL FILTER C10096017E | 2 | EACH
04-73-80446 | FUEL PRE-FILTER C10096018 | 1 | EACH
04-73-80447 | AIR CARTRIDGE FILTER C10281401 | 1 | EACH
04-73-80448 | 11 m tubular steel poles type-1 c/w cross arm and accessories | 400 | Each
04-73-80449 | 9 m tubular steel poles type-2 complete with accessories | 700 | Each
04-73-80450 | 11 m tubular steel poles type-3 c/w cross arm and accessories | 1150 | Each
04-73-80451 | 9 m tubular steel poles type-4 complete with accessories | 450 | Each
04-73-80452 | 6 m service pole, 75mm dia, 2.5mm thick steel pipe, galvanized | 930 | Each
04-73-80453 | 1410mm long GS Cross-arm for Type-1 steel poles | 140 | Each
04-73-80454 | 1250mm long GS Cross-arm for Type-3 steel poles | 40 | Each
04-73-80455 | Distribution Transformers, 11/0.4kV, 160kVA | 20 | Each
04-73-80456 | Distribution Transformers, 11/0.4kV, 250kVA | 46 | Each
04-73-80457 | 11kV Bushing for Distribution Transformer | 73 | Each
04-73-80458 | LV Bushing for Distribution Transformer | 73 | Each
04-73-80459 | HV Coil for Distribution Transformer-11kV, 160kVA | 1 | Each
04-73-80460 | HV Coil for Distribution Transformer-11kV, 250kVA | 2 | Each
04-73-80461 | LV Coil for Distribution Transformer-11kV, 160kVA | 1 | Each
04-73-80462 | LV Coil for Distribution Transformer-11kV, 250kVA | 1 | Each
04-73-80463 | Pressure Releif Valves for Distribution Transformer | 2 | Each
04-73-80464 | Air Condition | 6 | Each
04-73-80465 | 11 kV Pin Insulator c/w access: (figures 64-68) | 14000 | Each
04-73-80466 | 11 kV Pin Insualtor | 14000 | Each
04-73-80467 | Small Steel Head | 14000 | Each
04-73-80468 | Spring Washer | 14000 | Each
04-73-80469 | Full Nut | 14000 | Each
04-73-80470 | Lock Nut | 14000 | Each
04-73-80471 | 255mm diameter Disc insulator without hardware | 1700 | Each
04-73-80472 | 11 kV Tension Insulator strings c/w access: (figures 71-79) | 3500 | Each
04-73-80473 | Disc Insualtor | 3500 | Each
04-73-80474 | M-16 U-bolts | 3500 | Each
04-73-80475 | Six M-16 Nuts | 21000 | Each
04-73-80476 | Ball Eye | 3500 | Each
04-73-80477 | Socket Tongue | 3500 | Each
04-73-80478 | Tension Clamp | 3500 | Each
04-73-80479 | Three M-12 U-bolts | 10500 | Each
04-73-80480 | Six M-12 Nuts | 21000 | Each
04-73-80481 | Six Spring Washer | 21000 | Each
04-73-80482 | 11 kV Tension Insulators strings c/w twisted straps & access: (figures 81-94) | 8500 | Each
04-73-80483 | Disc Insualtor | 8500 | Each
04-73-80484 | Cross arm strap | 8500 | Each
04-73-80485 | M-16 Bolt | 8500 | Each
04-73-80486 | M-16 Nut | 8500 | Each
04-73-80487 | Split pin for M-16 bolt | 8500 | Each
04-73-80488 | Cotter Pin for Cross Arm Straps | 8500 | Each
04-73-80489 | Spring Washer | 8500 | Each
04-73-80490 | Split pin for Cross Arm Straps | 8500 | Each
04-73-80491 | Socket Tongue | 8500 | Each
04-73-80492 | Security clip | 8500 | Each
04-73-80493 | Tension Clamp | 8500 | Each
04-73-80494 | Three M-12 U-bolts | 25500 | Each
04-73-80495 | Six M-12 Nuts | 51000 | Each
04-73-80496 | Six Spring Washer | 51000 | Each
04-73-80497 | LV Shackle Insulator with D-Bracket (260 mm) c/w access: (figures 96-104) | 54000 | Each
04-73-80498 | LV Schakle Insulator | 54000 | Each
04-73-80499 | 260 mm D-bracket | 54000 | Each
04-73-80500 | Bolt for Insulator | 54000 | Each
04-73-80501 | Spring washer | 54000 | Each
04-73-80502 | Plain Washer | 54000 | Each
04-73-80503 | M16 Nuts | 54000 | Each
04-73-80504 | Bolt for shackle | 54000 | Each
04-73-80505 | Spring Washer | 54000 | Each
04-73-80506 | M-16 Nuts | 54000 | Each
04-73-80507 | LV Shackle Insulator with D-Bracket (210 mm) c/w access: (figures 106-114) | 36500 | Each
04-73-80508 | LV Schakle Insulator | 36500 | Each
04-73-80509 | 210 mm D-bracket | 36500 | Each
04-73-80510 | Bolt for Insulator | 36500 | Each
04-73-80511 | Spring washer | 36500 | Each
04-73-80512 | Plain Washer | 36500 | Each
04-73-80513 | M16 Nuts | 36500 | Each
04-73-80514 | Bolt for shackle | 36500 | Each
04-73-80515 | Spring Washer | 36500 | Each
04-73-80516 | M-16 Nuts | 36500 | Each
04-73-80517 | LV Shackle Insulator with D-Bracket (140 mm) c/w access: (figures 116-124) | 10500 | Each
04-73-80518 | LV Schakle Insulator | 10500 | Each
04-73-80519 | 140 mm D-bracket | 10500 | Each
04-73-80520 | Bolt for Insulator | 10500 | Each
04-73-80521 | Spring washer | 10500 | Each
04-73-80522 | Plain Washer | 10500 | Each
04-73-80523 | M16 Nuts | 10500 | Each
04-73-80524 | Bolt for shackle | 10500 | Each
04-73-80525 | Spring Washer | 10500 | Each
04-73-80526 | M-16 Nuts | 10500 | Each
04-73-80527 | LV Shackle (Reel) Insulator without hardware | 12000 | Each
04-73-80528 | HV Stay Insulator | 500 | Each
04-73-80529 | 50x50x5mm, 2.3m long Galvanized steel angle | 375 | Each
04-73-80530 | 50x50x6mm, 2.3m long Galvanized steel angle | 375 | Each
04-73-80531 | 50x50x5mm, 1m long Galvanized steel angle | 375 | Each
04-73-80532 | 100x50x6m, 2.3m long Galvanizes steel channel | 375 | Each
04-73-80533 | 50x50x6mm, 6m long Galvanized steel angle | 375 | Each
04-73-80534 | 50x50x5mm, 6m long Galvanized steel angle | 375 | Each
04-73-80535 | 100x50x6m, 6m long Galvanizes steel channel | 375 | Each
04-73-80536 | Set of M16x50mm long Galvanized steel bolt with nut, flat washer & spring washer | 5000 | Each
04-73-80537 | Set of M16x100mm long Galvanized steel bolt with nut, lock nut, flat washer, spring washer | 2500 | Each
04-73-80538 | Set of M16x150mm long Galvanized steel bolt with nut, lock nut, flat washer, spring washer | 2500 | Each
04-73-80539 | Set of M20x50mm long Galvanized steel bolt with nut, flat washer & spring washer | 5000 | Each
04-73-80540 | Set of M20x100mm long Galvanized steel bolt with nut, lock nut, flat washer, spring washer | 2500 | Each
04-73-80541 | Set of M20x150mm long Galvanized steel bolt with nut, lock nut, flat washer, spring washer | 2500 | Each
04-73-80542 | Set of M20x350mm long Galvanized steel bolt with nut, lock nut, flat washer, spring washer | 2500 | Each
04-73-80543 | Stay Assembly | 2500 | Each
04-73-80544 | Mitsubishi Fuso FM654 ML-CA 4x2 flatbed truck, length 6.8m, w Crane | 6 | Each
04-73-80545 | GASKET ENG OVERHAUL | 6 | Each
04-73-80546 | GASKET,CYLINDER HEAD | 6 | Each
04-73-80547 | GUIDE,INLET VALVE | 24 | Each
04-73-80548 | GUIDE,EXHAUST VALVE | 24 | Each
04-73-80549 | OIL SEAL,CRANKSHAFT,REAR | 24 | Each
04-73-80550 | GASKET,ENGINE OIL PAN DRAIN PLUG | 120 | Each
04-73-80551 | PLUG,ENGINE OIL PAN | 18 | Each
04-73-80552 | ELEMENT BY-PASS OIL FILTER | 120 | Each
04-73-80553 | CAP,FUEL TANK | 6 | Each
04-73-80554 | ELEMENT FUEL FILTER | 120 | Each
04-73-80555 | GASKET,FUEL INJECTION NOZZLE | 36 | Each
04-73-80556 | INJECTION NOZZLE & HOLDER | 36 | Each
04-73-80557 | O-RING,TIMING GEAR TRAIN | 12 | Each
04-73-80558 | CAP,RADIATOR CONDENSATION TANK | 6 | Each
04-73-80559 | HOSE,RADIATOR CONDENSATION TANK | 6 | Each
04-73-80560 | HOSE,RADIATOR,LOWER | 6 | Each
04-73-80561 | HOSE,RADIATOR,UPPER | 6 | Each
04-73-80562 | WATER PUMP | 6 | Each
04-73-80563 | O-RING,WATER PUMP | 12 | Each
04-73-80564 | BELT, ALTERNATOR | 12 | Each
04-73-80565 | THERMOSTAT | 6 | Each
04-73-80566 | GASKET,THERMOSTAT CASE TO CYLINDER HEAD | 6 | Each
04-73-80567 | ELEMENT,AIR CLEANER | 60 | Each
04-73-80568 | GASKET,INLET MANIFOLD | 24 | Each
04-73-80569 | BEARING,ALTERNATOR ROTOR, FRONT | 6 | Each
04-73-80570 | BEARING,ALTERNATOR ROTOR, REAR | 6 | Each
04-73-80571 | BRUSH,ALTERNATOR | 24 | Each
04-73-80572 | COVER,CLUTCH | 24 | Each
04-73-80573 | DISC,CLUTCH(WOVEN) | 6 | Each
04-73-80574 | BEARING,CLUTCH RELEASE | 6 | Each
04-73-80575 | SPIDER PROPELLER SHAFT UNIVERSAL JOINT | 6 | Each
04-73-80576 | CENTER BEARING,PROPELLER SHAFT UNIVERSAL JOINT | 6 | Each
04-73-80577 | BEARING,PROPELLER SHAFT UNIVERSAL JOINT | 24 | Each
04-73-80578 | SPIDER PROPELLER SHAFT UNIVERSAL JOINT | 18 | Each
04-73-80579 | OIL SEAL,FRONT WHEEL HUB | 12 | Each
04-73-80580 | BEARING,FRONT DIFFERENTIAL SIDE | 12 | Each
04-73-80581 | BEARING, DIFFERENTIAL DRIVE PINION,FRONT | 6 | Each
04-73-80582 | BEARING, DIFFERENTIAL DRIVE PINION, REAR | 6 | Each
04-73-80583 | OIL SEAL,REAR DIFFERENTIAL DRIVE PIN | 6 | Each
04-73-80584 | BEARING,REAR WHEEL HUB, INNER | 12 | Each
04-73-80585 | BEARING,REAR WHEEL HUB, OUTER | 12 | Each
04-73-80586 | OIL SEAL,REAR WHEEL HUB,INNER | 12 | Each
04-73-80587 | OIL SEAL,REAR WHEEL HUB,OUTER | 12 | Each
04-73-80588 | SHOCK ABSORBER,FRONT SUSPENSION | 12 | Each
04-73-80589 | BUSHING,FRONT SHOCK ABSORBER | 12 | Each
04-73-80590 | BUSHING,ENG AIR INTAKE LINE | 12 | Each
04-73-80591 | BUSHING,FRONT SUSPENSION SPRING | 12 | Each
04-73-80592 | SHACKLE,REAR SUSPENSION SPRING | 12 | Each
04-73-80593 | PIN,REAR SUSPENSION SPRING, UPPER | 24 | Each
04-73-80594 | PIN,REAR SUSPENSION SPRING, LOWER | 24 | Each
04-73-80595 | SHOE,PARKING BRAKE | 12 | Each
04-73-80596 | CUP+BOOT FRONT BRAKE CYLINDER | 24 | Each
04-73-80597 | LINING FRONT BRAKE SHOE | 24 | Each
04-73-80598 | SHOE,FRONT BRAKE | 24 | Each
04-73-80599 | CUP+BOOT REAR BRAKE CYL | 24 | Each
04-73-80600 | LINING REAR BRAKE SHOE | 24 | Each
04-73-80601 | SHOE,REAR BRAKE | 24 | Each
04-73-80602 | CYLINDER REPAIR BRAKE MASTER | 24 | Each
04-73-80603 | GLASS,WINDSHIELD | 6 | Each
04-73-80604 | MIRROR,REAR VIEW,LH | 6 | Each
04-73-80605 | MIRROR,REAR VIEW,RH | 6 | Each
04-73-80606 | BULB,ROOM LAMP,RH | 24 | Each
04-73-80607 | BULB,HEAD LAMP, LH | 24 | Each
04-73-80608 | BULB,HEAD LAMP, RH | 24 | Each
04-73-80609 | BULB,FRONT TURN SIGNAL LAMP, LH | 24 | Each
04-73-80610 | BULB,FRONT TURN SIGNAL LAMP, RH | 48 | Each
04-73-80611 | BULB,STOP LAMP | 48 | Each
04-73-80612 | LAMP,CLEARANCE,LH | 6 | Each
04-73-80613 | BULB,REAR TRACTION HOOK | 60 | Each
04-73-80614 | BULB,ROOM LAMP | 24 | Each
04-73-80615 | BLADE,WINDSHIELD WIPER, LH | 48 | Each
04-73-80616 | BLADE,WINDSHIELD WIPER, RH | 24 | Each
04-73-80617 | Sheave unit | 6 | Each
04-73-80618 | Plate slide | 12 | Each
04-73-80619 | Plate slide | 12 | Each
04-73-80620 | Packing | 6 | Each
04-73-80621 | Stopper unit | 6 | Each
04-73-80622 | Alarm overwinding | 6 | Each
04-73-80623 | Filter cartridge | 36 | Each
04-73-80624 | Bearing | 24 | Each
04-73-80625 | Brake shoe | 12 | Each
04-73-80626 | Packing for outrigger | 6 | Each
04-73-80627 | Packing for other equipment | 6 | Each
04-73-80628 | Rope wire | 6 | Each
04-73-80629 | Filter suction | 6 | Each
04-73-80630 | Pump hydraulic | 6 | Each
04-73-80631 | Long range fuel tank with locable lid | 6 | Each
04-73-80632 | Interior rear view mirror | 6 | Each
04-73-80633 | Under view mirror | 6 | Each
04-73-80634 | Air condition & heater w/defroster | 6 | Each
04-73-80635 | Cold start aid | 6 | Each
04-73-80636 | Tarpulin with tarpulin rack | 6 | Each
04-73-80637 | Spare parts catalogue in English language | 3 | Each
04-73-80638 | Workshop manual in English language | 3 | Each
04-73-80639 | Mitsubishi Fuso FM654 ML-CA 4x2 flatbed truck, flatbed length 7.2m | 5 | Each
04-73-80640 | GASKET ENG OVERHAUL | 5 | Each
04-73-80641 | GASKET,CYLINDER HEAD | 5 | Each
04-73-80642 | GUIDE,INLET VALVE | 20 | Each
04-73-80643 | GUIDE,EXHAUST VALVE | 20 | Each
04-73-80644 | OIL SEAL,CRANKSHAFT,REAR | 20 | Each
04-73-80645 | GASKET,ENGINE OIL PAN DRAIN PLUG | 100 | Each
04-73-80646 | PLUG,ENGINE OIL PAN | 15 | Each
04-73-80647 | ELEMENT BY-PASS OIL FILTER | 100 | Each
04-73-80648 | CAP,FUEL TANK | 5 | Each
04-73-80649 | ELEMENT FUEL FILTER | 100 | Each
04-73-80650 | GASKET,FUEL INJECTION NOZZLE | 30 | Each
04-73-80651 | INJECTION NOZZLE & HOLDER | 30 | Each
04-73-80652 | O-RING,TIMING GEAR TRAIN | 10 | Each
04-73-80653 | CAP,RADIATOR CONDENSATION TANK | 5 | Each
04-73-80654 | HOSE,RADIATOR CONDENSATION TANK | 5 | Each
04-73-80655 | HOSE,RADIATOR,LOWER | 5 | Each
04-73-80656 | HOSE,RADIATOR,UPPER | 5 | Each
04-73-80657 | WATER PUMP | 5 | Each
04-73-80658 | O-RING,WATER PUMP | 10 | Each
04-73-80659 | BELT, ALTERNATOR | 10 | Each
04-73-80660 | THERMOSTAT | 5 | Each
04-73-80661 | GASKET,THERMOSTAT CASE TO CYLINDER HEAD | 5 | Each
04-73-80662 | ELEMENT,AIR CLEANER | 50 | Each
04-73-80663 | GASKET,INLET MANIFOLD | 20 | Each
04-73-80664 | BEARING,ALTERNATOR ROTOR, FRONT | 5 | Each
04-73-80665 | BEARING,ALTERNATOR ROTOR, REAR | 5 | Each
04-73-80666 | BRUSH,ALTERNATOR | 20 | Each
04-73-80667 | COVER,CLUTCH | 20 | Each
04-73-80668 | DISC,CLUTCH(WOVEN) | 5 | Each
04-73-80669 | BEARING,CLUTCH RELEASE | 5 | Each
04-73-80670 | SPIDER PROPELLER SHAFT UNIVERSAL JOINT | 5 | Each
04-73-80671 | CENTER BEARING,PROPELLER SHAFT UNIVERSAL JOINT | 5 | Each
04-73-80672 | BEARING,PROPELLER SHAFT UNIVERSAL JOINT | 20 | Each
04-73-80673 | SPIDER PROPELLER SHAFT UNIVERSAL JOINT | 15 | Each
04-73-80674 | OIL SEAL,FRONT WHEEL HUB | 10 | Each
04-73-80675 | BEARING,FRONT DIFFERENTIAL SIDE | 10 | Each
04-73-80676 | BEARING, DIFFERENTIAL DRIVE PINION,FRONT | 5 | Each
04-73-80677 | BEARING, DIFFERENTIAL DRIVE PINION, REAR | 5 | Each
04-73-80678 | OIL SEAL,REAR DIFFERENTIAL DRIVE PIN | 5 | Each
04-73-80679 | BEARING,REAR WHEEL HUB, INNER | 10 | Each
04-73-80680 | BEARING,REAR WHEEL HUB, OUTER | 10 | Each
04-73-80681 | OIL SEAL,REAR WHEEL HUB,INNER | 10 | Each
04-73-80682 | OIL SEAL,REAR WHEEL HUB,OUTER | 10 | Each
04-73-80683 | SHOCK ABSORBER,FRONT SUSPENSION | 10 | Each
04-73-80684 | BUSHING,FRONT SHOCK ABSORBER | 10 | Each
04-73-80685 | BUSHING,ENG AIR INTAKE LINE | 10 | Each
04-73-80686 | BUSHING,FRONT SUSPENSION SPRING | 10 | Each
04-73-80687 | SHACKLE,REAR SUSPENSION SPRING | 10 | Each
04-73-80688 | PIN,REAR SUSPENSION SPRING, UPPER | 20 | Each
04-73-80689 | PIN,REAR SUSPENSION SPRING, LOWER | 20 | Each
04-73-80690 | SHOE,PARKING BRAKE | 10 | Each
04-73-80691 | CUP+BOOT FRONT BRAKE CYLINDER | 20 | Each
04-73-80692 | LINING FRONT BRAKE SHOE | 20 | Each
04-73-80693 | SHOE,FRONT BRAKE | 20 | Each
04-73-80694 | CUP+BOOT REAR BRAKE CYL | 20 | Each
04-73-80695 | LINING REAR BRAKE SHOE | 20 | Each
04-73-80696 | SHOE,REAR BRAKE | 20 | Each
04-73-80697 | CYLINDER REPAIR BRAKE MASTER | 20 | Each
04-73-80698 | GLASS,WINDSHIELD | 5 | Each
04-73-80699 | MIRROR,REAR VIEW,LH | 5 | Each
04-73-80700 | MIRROR,REAR VIEW,RH | 5 | Each
04-73-80701 | BULB,ROOM LAMP,RH | 20 | Each
04-73-80702 | BULB,HEAD LAMP, LH | 20 | Each
04-73-80703 | BULB,HEAD LAMP, RH | 20 | Each
04-73-80704 | BULB,FRONT TURN SIGNAL LAMP, LH | 20 | Each
04-73-80705 | BULB,FRONT TURN SIGNAL LAMP, RH | 40 | Each
04-73-80706 | BULB,STOP LAMP | 40 | Each
04-73-80707 | LAMP,CLEARANCE,LH | 5 | Each
04-73-80708 | BULB,REAR TRACTION HOOK | 50 | Each
04-73-80709 | BULB,ROOM LAMP | 20 | Each
04-73-80710 | BLADE,WINDSHIELD WIPER, LH | 40 | Each
04-73-80711 | BLADE,WINDSHIELD WIPER, RH | 20 | Each
04-73-80712 | Long range fuel tank with locable lid | 5 | Each
04-73-80713 | Interior rear view mirror | 5 | Each
04-73-80714 | Under view mirror | 5 | Each
04-73-80715 | Air condition & heater w/defroster | 5 | Each
04-73-80716 | Cold start aid | 5 | Each
04-73-80717 | Tarpulin with tarpulin rack | 5 | Each
04-73-80718 | Heat Shrink type cable Joints for Power Cable, type 36GTS1.240 | 150 | Each
04-73-80719 | Heat Shrink type indoor Cable Terminations for Power cable, type 36TTGI1.240 | 48 | Each
04-73-80720 | Heat Shrink type oudoor Cable Terminations for Power cable, type 36TTGE1.240 | 18 | Each
04-73-80721 | Heat Shrink type end caps for Power cable, type CAPTA75 | 150 | Each
04-73-80722 | ISUZU FSR33L-02 4X2 Flat bed truck, flat bed length 6.1m | 5 | Each
04-73-80723 | Non Spin Differential | 5 | Each
04-73-80724 | Under view mirror | 5 | Each
04-73-80725 | Air condition & heater w / defroster | 5 | Each
04-73-80726 | Tarpulin with tarpulin rack | 5 | Each
04-73-80727 | Spare parts Catalogue in English language | 3 | Each
04-73-80728 | Workshop manual in English language | 3 | Each
04-73-80729 | Spare parts kit for 3 years item 1 - figures (67-116) | 5 | KIT
04-73-80730 | Hose, Flex, front | 10 | Each
04-73-80731 | Hose, Flex,rear, | 5 | Each
04-73-80732 | Gasket, drain plug | 100 | Each
04-73-80733 | Bearing, Hub, outer,rear | 10 | Each
04-73-80734 | Bearing Hub, inner,rear | 10 | Each
04-73-80735 | Bearing, hub outer support rear | 10 | Each
04-73-80736 | Bearing, hub inner, support, rear | 5 | Each
04-73-80737 | V-Belt | 5 | Each
04-73-80738 | Air Filter Inner | 40 | Each
04-73-80739 | Air Filter Outer | 40 | Each
04-73-80740 | Cap Radiator | 5 | Each
04-73-80741 | Plate unit - Pres | 5 | Each
04-73-80742 | Clutch disc | 10 | Each
04-73-80743 | Pin, Wheel, front | 80 | Each
04-73-80744 | Pin, wheel; rear | 80 | Each
04-73-80745 | Nut, wheel, inner, rear | 40 | Each
04-73-80746 | Nut, wheel, outer, rear | 40 | Each
04-73-80747 | Wheel Nut, front | 160 | Each
04-73-80748 | Tie rod end, LH | 5 | Each
04-73-80749 | Tie rod end, RH | 5 | Each
04-73-80750 | King Pin | 20 | Each
04-73-80751 | Bush | 10 | Each
04-73-80752 | Shock Absorber Front | 10 | Each
04-73-80753 | Sealed Beam lamp, LH | 10 | Each
04-73-80754 | Sealed Beam lamp, RH | 10 | Each
04-73-80755 | Repair unit for Clutch | 5 | Each
04-73-80756 | Repair unit Str. | 5 | Each
04-73-80757 | Repair unit, Oil | 5 | Each
04-73-80758 | Repair unit, brake | 5 | Each
04-73-80759 | Wiper Blades | 50 | Each
04-73-80760 | Repair unit, Air | 10 | Each
04-73-80761 | Repair fitting,Clutch | 5 | Each
04-73-80762 | Cups Rear Wheel Cylinder | 40 | Each
04-73-80763 | Cups Front Wheel Cylinder | 20 | Each
04-73-80764 | Linings, Front | 15 | Each
04-73-80765 | Linings Rear | 30 | Each
04-73-80766 | Fuses | 100 | Each
04-73-80767 | Gasket, outlet | 10 | Each
04-73-80768 | Nozzle Inj. | 30 | Each
04-73-80769 | Oil Filter | 75 | Each
04-73-80770 | Filter, fuel | 40 | Each
04-73-80771 | Thermostat, main | 10 | Each
04-73-80772 | Thermostat, secondary | 10 | Each
04-73-80773 | Fuses, main | 10 | Each
04-73-80774 | Fuses, secondary | 10 | Each
04-73-80775 | Bearing Hub Outer, FRT | 10 | Each
04-73-80776 | Bearing Hub, inner, FRT | 20 | Each
04-73-80777 | Plug, Oil Drain | 15 | Each
04-73-80778 | Bushing Leaf | 10 | Each
04-73-80779 | Glow Plug | 30 | Each
04-73-80780 | 11kV, 100A Distribution fuse cutouts c/w carrier & bracket | 900 | Each
04-73-80781 | 11kV, 10A Fuse Elements, cat no. M10 KA23 | 2250 | Each
04-73-80782 | 11kV, 16A Fuse Elements, cat no. M15 KA23 | 475 | Each
04-73-80783 | 11kV, 25A Fuse Elements, cat no. M25 KA23 | 2225 | Each
04-73-80784 | 11kV, 40A Fuse Elements, cat no. M40 KA23 | 2225 | Each
04-73-80785 | Hard Drawn solid copper earth rods, 16mm dia, 1.5mm long | 3300 | Each
04-73-80786 | Couplings for earth rod | 50 | Each
04-73-80787 | Steel Driving head for Copper earth rod | 40 | Each
04-73-80788 | Steel Driving spike for Copper earth rod | 60 | Each
04-73-80789 | Terminal clamps for Copper earth rod | 3300 | Each
04-73-80790 | LV Cu 1x150 sqm.PVC insulated | 4 | Km
04-73-80791 | LV Cu 1x95 sqm.PVC insulated | 11 | Km
04-73-80792 | LV OH Twisted Cables 3x95+50+16 AL Conductor | 30 | Km
04-73-80793 | LV OH Twisted Cables 3x70+50+16 AL Conductor | 30 | Km
04-73-80794 | LV Cu Cable, 2core 10mm2 PVC/PVC | 1600 | Km
04-73-80795 | Cu Cable Terminal lugs for 150sqmm Cu cable, 12mm hole diam | 5000 | Each
04-73-80796 | Cu Cable Terminal lugs for 95sqmm Cu cable | 5000 | Each
04-73-80797 | Bolted type Bimetallic connector 35-150sqmm AL to 35-95sqmm Cu | 6000 | Each
04-73-80798 | Bolted type Bimetallic connector 16-95sqmm AL to 2.5-10sqmm Cu | 50000 | Each
04-73-80799 | Full Tension Mid span Joints for ACSR conductors 120/20sqmm | 1500 | Each
04-73-80800 | Full Tension Mid span Joints for ACSR conductors 95/15sqmm | 700 | Each
04-73-80801 | Full Tension Mid span Joints for AAC conductors 95sqmm | 4000 | Each
04-73-80802 | Full Tension Mid span Joints for AAC conductors 70sqmm | 1500 | Each
04-73-80803 | Bolted type Clamps for AL cond. 35-150sqmm to 35-95sqmm AAC or ACSR | 5000 | Each
04-73-80804 | Bolted type Clamps for AL cond. 35-95sqmm to 35-95sqmm AAC or ACSR | 10000 | Each
04-73-80805 | Suspension Brackets | 5000 | Each
04-73-80806 | Suspension Clamp | 5000 | Each
04-73-80807 | Tension Bracket | 250 | Each
04-73-80808 | Tension -Dead End | 250 | Each
04-73-80809 | Pre Insulated Sleeve-95mm | 200 | Each
04-73-80810 | Pre Insulated Sleeve-70mm | 200 | Each
04-73-80811 | Pre Insulated Sleeve-50mm | 200 | Each
04-73-80812 | Pre Insulated Sleeve-16mm | 125 | Each
04-73-80813 | Insulation end cap and cover for 5 core 3*95+50+16mm2 | 750 | Each
04-73-80814 | Insulation end cap and cover for 5 core 3*70+50+16mm2 | 500 | Each
04-73-80815 | Insulated binding strap | 9000 | Each
04-73-80816 | Stainless steel strap | 600 | Each
04-73-80817 | Stainless steel buckles | 600 | Each
04-73-80818 | Bare overhead Type A | 350 | Each
04-73-80819 | Bare overhead Type B | 350 | Each
04-73-80820 | Insulated Connecter Type A | 650 | Each
04-73-80821 | Insulated Connecter Type B | 6500 | Each
04-73-80822 | Insulated Connecter Type C | 7000 | Each
04-73-80823 | Strap binding tools | 20 | Each
04-73-80824 | Cable ties | 3500 | Each
04-73-80825 | Heat Shrinking type Cable joints, type 12GTS3.185DU | 100 | Each
04-73-80826 | 11kV Heat Shrinking indoor cable terminations, type 12TTGI3.185iwu | 10 | Each
04-73-80827 | 11kV Heat Shrinking outdoor cable terminations, type 12TTGE3.185iwu | 90 | Each
04-73-80828 | Heat Shrinking type, end caps type CAPT105 | 125 | Each
04-73-80829 | Power Cable 11kV, 3 core, 185sqmm, Cu conductor | 50 | Km
04-73-80830 | IVECO 50C11 Dally Chassis Cab w Skylifter model 179T-PRP1278 | 3 | each
04-73-80831 | Air-condition | 3 | each
04-73-80832 | Spare parts kit for 3 years for item 91 - figures 94-180 | 3 | lot
04-73-80833 | P.T.O pump | 3 | each
04-73-80834 | Emergency Motor unit | 3 | each
04-73-80835 | Upper limiter switch | 6 | each
04-73-80836 | Lower limiter Switch | 6 | each
04-73-80837 | Pressure filter | 12 | each
04-73-80838 | Return line filter | 12 | each
04-73-80839 | Limiter device | 3 | each
04-73-80840 | Leg lock valve | 6 | each
04-73-80841 | Switch | 12 | each
04-73-80842 | Emergency stop switch | 3 | each
04-73-80843 | Relay | 12 | each
04-73-80844 | Chain switch | 3 | each
04-73-80845 | Seal | 42 | each
04-73-80846 | O-ring | 78 | each
04-73-80847 | Flat Shim | 6 | each
04-73-80848 | Stepped Washer | 6 | each
04-73-80849 | Tapared Washer | 18 | each
04-73-80850 | Spacer | 6 | each
04-73-80851 | Shim | 30 | each
04-73-80852 | Lipped Seal | 24 | each
04-73-80853 | Split Plastic Collers | 48 | each
04-73-80854 | Shim Retainer | 6 | each
04-73-80855 | Graphit Spacer | 6 | each
04-73-80856 | Graphit Spacer | 6 | each
04-73-80857 | Leg cylinder | 3 | each
04-73-80858 | Main lift cylinder | 3 | each
04-73-80859 | Basket rotation cylinder | 3 | each
04-73-80860 | Complete Hose Set - figures 122-131 | 3 | set
04-73-80861 | Hydraulic Hose, OD 1/4", length 1500 mm | 6 | each
04-73-80862 | Hydraulic Hose, OD 1/4", length 2500 mm | 9 | each
04-73-80863 | Hydraulic Hose, OD 1/4", length 1400 mm | 6 | each
04-73-80864 | Hydraulic Hose, OD 3/8", length 800 mm | 3 | each
04-73-80865 | Hydraulic Hose, OD 3/8", length 630 mm | 3 | each
04-73-80866 | Hydraulic Hose, OD 1/4", length 16550 mm | 18 | each
04-73-80867 | Hydraulic Hose, OD 3/8", length 16850 mm | 6 | each
04-73-80868 | Hydraulic Hose, OD 1/4", length 15850 mm | 6 | each
04-73-80869 | Hydraulic Hose, OD 3/8", length 520 mm | 3 | each
04-73-80870 | Hydraulic Hose, OD 3/8", length 1000 mm | 6 | each
04-73-80871 | Wind Screen | 3 | each
04-73-80872 | Brake Pad | 3 | each
04-73-80873 | Brake Disc | 3 | each
04-73-80874 | Brake Pad | 3 | each
04-73-80875 | Belt | 3 | each
04-73-80876 | Upper Gasket | 3 | each
04-73-80877 | Lower Gasket | 3 | each
04-73-80878 | Thrust Ring | 3 | each
04-73-80879 | Thrust Ring | 3 | each
04-73-80880 | Fuse | 12 | each
04-73-80881 | Fuse | 12 | each
04-73-80882 | Fuse | 12 | each
04-73-80883 | Clutch | 3 | each
04-73-80884 | Shock Absorber | 6 | each
04-73-80885 | Shock Absorber | 6 | each
04-73-80886 | Plug | 3 | each
04-73-80887 | Nozzle | 12 | each
04-73-80888 | Cartridge | 3 | each
04-73-80889 | Fuel Filter | 3 | each
04-73-80890 | Air Filter | 3 | each
04-73-80891 | Valve Guide | 24 | each
04-73-80892 | Servo Brake Assy | 3 | each
04-73-80893 | Servo Brake Assy | 3 | each
04-73-80894 | Starter Motor Solenoid | 3 | each
04-73-80895 | Water Sleeve | 3 | each
04-73-80896 | Water Hose | 3 | each
04-73-80897 | Wipers Blade | 6 | each
04-73-80898 | Oil Pan | 3 | each
04-73-80899 | Water Pump | 3 | each
04-73-80900 | Thermostat | 3 | each
04-73-80901 | Alternator Bearings | 3 | each
04-73-80902 | Alternator Regulator | 3 | each
04-73-80903 | Propeller Joint | 6 | each
04-73-80904 | Pad | 6 | each
04-73-80905 | Silent bloc | 6 | each
04-73-80906 | Suspension Shackle | 6 | each
04-73-80907 | Pins Suspension | 18 | each
04-73-80908 | Retrovisor | 3 | each
04-73-80909 | Mirror | 3 | each
04-73-80910 | Bearing | 3 | each
04-73-80911 | Cap Fuel Tank | 3 | each
04-73-80912 | Plug | 3 | each
04-73-80913 | Lamp Lh. | 3 | each
04-73-80914 | Lamp Rh. | 3 | each
04-73-80915 | Bulb | 6 | each
04-73-80916 | Lamp | 6 | each
04-73-80917 | Bulb | 6 | each
04-73-80918 | Parking Break Lining I shoe | 3 | each
04-73-80919 | Clutch master cylinder assembly | 3 | each
04-73-80920 | Toyota Hilux 4x4 Double Cab Pick Up, LWB, 2.8L Diesel Engine, Model LN166L-PRMDSV | 12 | Each
04-73-80921 | Side Step | 12 | Each
04-73-80922 | First Aid Kit, compact | 12 | Each
04-73-80923 | Workshop repair manual, English (P) | 1 | Each
04-73-80924 | Cable Drum Trailer | 1 | Each
04-73-80925 | Drum Lifting Jack | 1 | Each
04-73-80926 | 50kn Cable Pulling Winch | 1 | Each
04-73-80927 | 20kn Cable Pulling Winch | 1 | Each
04-73-80928 | 5kn Cable Pusher | 2 | Each
04-73-80929 | 2kn Cable Pusher | 2 | Each
04-73-80930 | Cable rollers/straight | 300 | Each
04-73-80931 | Cabler rollers/3 part corner | 2 | Each
04-73-80932 | Lead in roller | 1 | Each
04-73-80933 | Cable duct entry guide | 2 | Each
04-73-80934 | Anti-twist swivel joint for use with 50kn winch | 1 | Each
04-73-80935 | Anti-twist swivel joint for use with 20kn winch | 1 | Each
04-73-80936 | Cable joint stand | 3 | Each
04-73-80937 | Cable jointers torch | 4 | Each
04-73-80938 | Cable joint preparation strippers | 4 | Each
04-73-80939 | Cable lubricant | 100 | Kg
04-73-80940 | Cable pulling sock for 33kV cable | 4 | Each
04-73-80941 | Cable pulling sock for 11kV cable | 4 | Each
04-73-80942 | Cable pulling sock for Pilot cable | 4 | Each
04-73-80943 | Eye-eye steel rope sling, 1m length; SWL 5tonne | 1 | Each
04-73-80944 | Eye-eye steel rope sling, 2m length; SWL 5tonne | 1 | Each
04-73-80945 | Eye-eye steel rope sling, 3m length; SWL 5tonne | 1 | Each
04-73-80946 | Distance Measuring Wheel | 1 | each
04-73-80947 | Portable Generator | 1 | each
04-73-80948 | Jointers Tents | 4 | each