## Z_74_Sulei
Material Requirement for Distribution Network Rehabilitation and Development for Project IRQ/00/Z74 - Suleimaniyah Governorate (DP 8)
No. | Description | Unit | Qty
04-74-80001 | 11m tubular steel poles complete with cross arm and all accessories | each | 2900
04-74-80002 | 11m tubular steel poles equivalent to lattice poles complete with cross arm and all accessories | each | 550
04-74-80003 | 9m tubular steel poles with all accessories | each | 3100
04-74-80004 | 9m tubular steel poles equivalent to lattice poles complete with all accessories | each | 1100
04-74-80005 | Cross arms for 11m poles | each | 100
04-74-80006 | 50x50x5mm, 2m long GS angle | each | 550
04-74-80007 | 50x50x5mm, 700mm long GS angle | each | 550
04-74-80008 | 50x50x6mm, 2m long GS channel | each | 550
04-74-80009 | 50x50x6mm, 6m long GS channel | each | 550
04-74-80010 | 50x50x5mm, 6m long GS angle | each | 550
04-74-80011 | 100x50x6mm, 6m long GS channel | each | 550
04-74-80012 | M16x30mm long GS bolt with nut flat and spring washers | each | 900
04-74-80013 | M16x50mm long GS bolt with nut, flat and spring washers | set | 900
04-74-80014 | M16x100mm long GS bolt with nut, flat and spring washers | set | 900
04-74-80015 | M16x150mm long GS bolt with nut, flat and spring washers | set | 900
04-74-80016 | M20x30mm long GS bolt with nut, flat and spring washers | set | 900
04-74-80017 | M20x50mm long GS bolt with nut, flat and spring washers | set | 900
04-74-80018 | M20x100mm long GS bolt with nut, flat and spring washers | set | 900
04-74-80019 | M20x150mm GS bolt with nut, plain and spring washers | each | 900
04-74-80020 | ACSR conductor 120/20 sqmm | km | 660
04-74-80021 | ACSR conductor 95/15 sqmm | km | 280
04-74-80022 | Al conductor 95 sqmm | km | 720
04-74-80023 | Al conductor 70 sqmm | km | 300
04-74-80024 | Midspan joint for ACSR 120/20 sqmm | each | 2400
04-74-80025 | Midspan joint for ACSR95/15 sqmm | each | 725
04-74-80026 | Midspan joint for Al 95 sqmm | each | 6050
04-74-80027 | Midspan joint for Al 70 sqmm | each | 1800
04-74-80028 | Parallel groove clamps Al 95 sqmm | each | 7525
04-74-80029 | Parallel groove clamps Al 70 sqmm | each | 2300
04-74-80030 | Distribution transformer 11/0.4 kV, 160 KVA | each | 33
04-74-80031 | Distribution transformer 11/0.4 kV, 250 KVA | each | 77
04-74-80032 | Lightning arrestor 12kV, 10 kA discharge current class 1 | each | 800
04-74-80033 | 11kV, 200 A, 3 pole out door pole mounted type load break switch | each | 10
04-74-80034 | Linkage fuse 12kV with fuse holder | each | 800
04-74-80035 | Fuse elements 11 kV, 25A | each | 300
04-74-80036 | Fuse elements 11 kV, 40A | each | 700
04-74-80037 | LV Cu cable 1x150 sqmm, PVC insulated | km | 5.19
04-74-80038 | LV Cu cable 1x95 sqmm, PVC insulated | km | 15.05
04-74-80039 | LV OH Twisted cable 3X95+50+16 sqmm Al Conductor | km | 47
04-74-80040 | LV OH Twisted cable 3X70+50+16 sqmm Al Conductor | km | 47
04-74-80041 | Cu Cable terminal lugs for 150 sqmm cable | each | 600
04-74-80042 | Cu Cable terminal lugs for 95 sqmm cable | each | 1200
04-74-80043 | Bi metallic connector Al/Cu 150/95 sqmm | each | 800
04-74-80044 | Bi metallic connector Al/Cu 95/95 sqmm | each | 250
04-74-80045 | Cable ties (10x800mm) | each | 4000
04-74-80046 | Out door pole mounted weather proof cabinet with pad lock facility suitable for LV side of distribution transformer with 2 Nos, 250 A MCCBs 3 poles and neutral link, complete with street lighting control gear. | each | 260
04-74-80047 | Out door pole mounted weather proof cabinet with pad lock facility suitable for LV side of distribution transformer with 2 Nos, 150 A MCCBs 3 poles and neutral link, complete with street lighting control gear. | each | 182
04-74-80048 | 230 V, 20 A, single pole MCB | each | 34500
04-74-80049 | Cu earth wire tinned 50 sqmm stranded No 7 | m | 27000
04-74-80050 | Cu earth road, 16mm diameter, 1.5 m length | each | 4800
04-74-80051 | Pin type insulator with Galvanized spindle for 11 kV | each | 13200
04-74-80052 | 11kV disc insulators | each | 1000
04-74-80053 | 11 kV tension insulators with all accessories and hardware | each | 4800
04-74-80054 | LV Shackle insulators with complete with D bracket, 260 mm bolts and nuts | each | 66000
04-74-80055 | LV Shackle insulators with complete with D bracket, 210 mm bolts and nuts | each | 44000
04-74-80056 | Steel staywire | m | 39000
04-74-80057 | Staywire assembly | each | 4000
04-74-80058 | stay insulators | each | 4000
04-74-80059 | 230V,30A, single phase, energy meter | each | 35000
04-74-80060 | Accessories for twisted cables (ABC): Suspension brackets | each | 2500
04-74-80061 | Accessories for twisted cables (ABC): Suspension clamp | each | 2500
04-74-80062 | Accessories for twisted cables (ABC): Tension (dead end) bracket | each | 400
04-74-80063 | Accessories for twisted cables (ABC): Tension (dead end) clamp | each | 400
04-74-80064 | Accessories for twisted cables (ABC): Pre insulated sleeve for phase conductor 95 sqmm | each | 300
04-74-80065 | Accessories for twisted cables (ABC): Pre insulated sleeve for phase conductor 70 sqmm | each | 300
04-74-80066 | Accessories for twisted cables (ABC): Pre insulated sleeve for neutral conductor 50 sqmm | each | 200
04-74-80067 | Accessories for twisted cables (ABC): Pre insulated sleeve for street lighting conductor 16 sqmm | each | 200
04-74-80068 | Accessories for twisted cables (ABC): Insulation end cap for 95 sqmm conductor | each | 1150
04-74-80069 | Accessories for twisted cables (ABC): Insulation end cap for 70 sqmm conductor | each | 1150
04-74-80070 | Accessories for twisted cables (ABC): Insulation end cap for 50 sqmm conductor | each | 1500
04-74-80071 | Accessories for twisted cables (ABC): Insulation end cap for 16 sqmm conductor | each | 750
04-74-80072 | Accessories for twisted cables (ABC): Insulating binding strap | each | 752
04-74-80073 | Accessories for twisted cables (ABC): Stainless steel strap | each | 1000
04-74-80074 | Accessories for twisted cables (ABC): Stainless steel buckles | each | 1000
04-74-80075 | Accessories for twisted cables (ABC): Bare overhead to insulated connectors - Type A | each | 500
04-74-80076 | Accessories for twisted cables (ABC): Bare overhead to insulated connectors - Type B | each | 500
04-74-80077 | Accessories for twisted cables (ABC): Insulated Tee-off piercing connectors - Type A | each | 700
04-74-80078 | Accessories for twisted cables (ABC): Insulated Tee-off piercing connectors - Type B | each | 700
04-74-80079 | Accessories for twisted cables (ABC): Insulated Tee-off piercing connectors - Type C | each | 300
04-74-80080 | Accessories for twisted cables (ABC): Self amalgamating tape, 20 metre length roll, approximately 20 mm width | each | 100
04-74-80081 | Auto Recloser - 11kV 300A | each | 5
04-74-80082 | 11kV, 300 A, 3 pole out door pole mounted type air break switch | each | 5
04-74-80083 | Binding Wire - SWG 9 | kg | 1500
04-74-80084 | Binding Wire - SWG 11 | kg | 700
04-74-80085 | Service Pole - 6m, 75mm dia GS Pipe | each | 4000
04-74-80086 | PVC double insulated twin cable - 10sqmm | km | 1400
04-74-80087 | Auger mounted Truck, 2.5m/600-300mm auger, 6 ton lifting cap. With running spares for 3 years | each | 5
04-74-80088 | Crane mounted truck, 10 ton crane with running spares for 3 years | each | 5
04-74-80089 | Crane mounted truck, 3.5 ton crane with running spares for 3 years | each | 8
04-74-80090 | Truck with trailer 8 ton, 9 cu.m (Tipper/Dump type) |  | 2
04-74-80091 | Sky master with aerial basket, 15m hig, 250kg basket with running spares for 3 years | each | 5
04-74-80092 | Fork lift, 5 ton with running spares for 3 years | each | 6
04-74-80093 | Fork lift, 10 ton with running spares for 3 years | each | 3
04-74-80094 | truck, 8 ton with running spares for 3 years | each | 6
04-74-80095 | truck, 5 ton with running spares for 3 years | each | 12
04-74-80096 | truck, 3 ton with running spares for 3 years | each | 12
04-74-80097 | Light truck 2x4, 2 ton, with running spares for 3 years | each | 18
04-74-80098 | Tractor 4x4, with hydraulic backhose, with running spares for 3 years | each | 12
04-74-80099 | Trailer for tractor, 1.5 ton / 2 cu.m, with running spares for 3 years | each | 12
04-74-80100 | Concrete mixer 250-300 l, with running spares for 3 years | each | 5
04-74-80101 | Low bed trailor 40-50 ton with prime mover | each | 1
04-74-80102 | Nissan 4WD Patrol Station Wagon GL, (LHD) | Unit | 1
04-74-80103 | Rear differential lock & free wheel hubs (automatic), side steps & tyres | Lot | 1
04-74-80104 | Fuel tank, extra, 40 l & rear wiper | Lot | 1
04-74-80105 | Warning triangle | Each | 1
04-74-80106 | Radio & cassette w/2sp. Antenna - manual | Each | 1
04-74-80107 | Rear cooler | Each | 1
04-74-80108 | Standard spare parts kit | Each | 1
04-74-80109 | Motorola GM 300 Mobile Radio, VHF including features 22-23 | 1 | Each
04-74-80110 | battery power cable, compact microphone | 1 | Each
04-74-80111 | two profile trunnion kit | 1 | Each
04-74-80112 | 3 DB mobile antenna with 4 meter cable and connector | 1 | Each
04-74-80113 | Operator manual | 1 | Each
04-74-80114 | Insulated Ladder | 35 | Each
04-74-80115 | MV Testers | 8 | Each
04-74-80116 | LV Testers | 16 | Each
04-74-80117 | Cary Case for LV Testers | 16 | Each
04-74-80118 | MV Earthing Sets | 34 | Each
04-74-80119 | LV Earthing Sets | 17 | Each
04-74-80120 | Safety Belts | 43 | Each
04-74-80121 | Safety Helmets | 182 | Each
04-74-80122 | Stringing Pulleys | 258 | Each
04-74-80123 | LV Gloves Size 9 | 13 | Each
04-74-80124 | LVGloves Size 10 | 13 | Each
04-74-80125 | Under Glove Cotton | 26 | Each
04-74-80126 | MV Insulating Rods | 8 | Each
04-74-80127 | Working Gloves Stock No G64-3319-00 | 150 | Each
04-74-80128 | FIAT NEW-HOLLAND 4x4 tractors Mod. 110 | 8 | Each
04-74-80129 | Spare parts Kit for tractors NEW Holland Mod 110 as ATTACH. A1 | 1 | Lot
04-74-80130 | BICCHI ATR 30L/P single axle tipping trailer 3 Ton payload | 8 | Each
04-74-80131 | sp.pts for BICCHI ATR 30L/P single axle Trailer as ATTACH. A2 | 1 | Lot
04-74-80132 | Ratchet Pullers 1500kg c/w grip clamps & steel tail wires rope | 17 | Each
04-74-80133 | Concrete mixers trailer mounted | 5 | Each
04-74-80134 | Spare parts for concrete mixers (including engine)- item 17-21 | 5 | Lot
04-74-80135 | Conic Bearing | 5 | Each
04-74-80136 | SP.Cast Iron Wearpr. | 5 | Each
04-74-80137 | Engine Gaskets | 5 | Each
04-74-80138 | Engine Air filter | 5 | Each
04-74-80139 | Engine Diesel filter | 5 | Each
04-74-80140 | Galvanized Steel Stay wires - 7/3.25mm | 28 | Km
04-74-80141 | IVECO EUROTRAKKER MODEL MP380E31 6X6 WITH CRANE | 5 | EACH
04-74-80142 | Spare parts for item No. 1 as figured in items (3-378) | 1 | LOT
04-74-80143 | IVECO EUROTRAKKER MODEL MP380E31 6X6 WITH AUGER | 5 | EACH
04-74-80144 | Spare parts for item No. 379 as figured in items (381-771) | 1 | LOT
04-74-80145 | 120/20 sqmm ACSR Conductor | 500 | Km
04-74-80146 | 95/15 sqmm ACSR Conductor | 200 | Km
04-74-80147 | 95 sqmm AAC Conductor | 500 | Km
04-74-80148 | 70 sqmm AAC Conductor | 200 | Km
04-74-80149 | 50 sqmm Cu Conductor | 19 | Km
04-74-80150 | Binding Wire-9 SWG, 3.6mm dia | 4000 | Kg
04-74-80151 | Binding Wire-11 SWG, 3.00mm dia | 2000 | Kg
04-74-80152 | 11 m tubular steel poles type-1 c/w cross arm and accessories | 1300 | Each
04-74-80153 | 9 m tubular steel poles type-2 complete with accessories | 2430 | Each
04-74-80154 | 11 m tubular steel poles type-3 c/w cross arm and accessories | 1650 | Each
04-74-80155 | 9 m tubular steel poles type-4 complete with accessories | 4250 | Each
04-74-80156 | 6 m service pole, 75mm dia, 2.5mm thick steel pipe, galvanized | 2100 | Each
04-74-80157 | 1410mm long GS Cross-arm for Type-1 steel poles | 370 | Each
04-74-80158 | 1250mm long GS Cross-arm for Type-3 steel poles | 280 | Each
04-74-80159 | 11kV, 10kA Surge Arresters c/w mounting brackets | 560 | Each
04-74-80160 | Mitsubishi Canter FE 645 flat bed truck,LHD,wheel base 3350mm | 30 | EACH
04-74-80161 | Air condition | 30 | EACH
04-74-80162 | Limited Slip Differential | 30 | EACH
04-74-80163 | GASKET KIT,ENG OVERHAUL, P/N ME996356 | 30 | EACH
04-74-80164 | GASKET,CYLINDER HEAD, P/N ME013300 | 30 | EACH
04-74-80165 | GUIDE,INLET VALVE, P/N ME031886 | 120 | EACH
04-74-80166 | GUIDE,EXHAUST VALVE, P/N ME031888 | 120 | EACH
04-74-80167 | OIL SEAL,CRANKSHAFT,RR, P/N ME240010 | 120 | EACH
04-74-80168 | GSKT,ENG O/PAN DRAIN PLUG, P/N MD050317 | 600 | EACH
04-74-80169 | PLUG,ENG OIL PAN, P/N MH037759 | 90 | EACH
04-74-80170 | ELEMENT KIT,BY-PASS O/FLTR, P/N ME215002 | 600 | EACH
04-74-80171 | CAP,FUEL TANK, P/N MB125425 | 30 | EACH
04-74-80172 | ELEMENT KIT,FUEL FILTER, P/N ME006066 | 300 | EACH
04-74-80173 | ELEMENT KIT,FUEL FILTER, P/N ME006063 | 300 | EACH
04-74-80174 | GASKET,FUEL INJ NOZZLE, P/N ME016564 | 180 | EACH
04-74-80175 | NOZZLE & HOLDER,FUEL INJ, P/N ME703687 | 180 | EACH
04-74-80176 | O-RING,TIMING GEAR TRAIN, P/N MF520407 | 60 | EACH
04-74-80177 | CAP,RADIATOR COND TANK, P/N MC127106 | 30 | EACH
04-74-80178 | HOSE,RADIATOR COND TANK, P/N MC127107 | 30 | EACH
04-74-80179 | HOSE,RADIATOR,LWR, P/N ME291586 | 30 | EACH
04-74-80180 | HOSE,RADIATOR,UPR, P/N MC127050 | 30 | EACH
04-74-80181 | WATER PUMP ASSY, P/N ME995425 | 30 | EACH
04-74-80182 | O-RING,WATER PUMP, P/N MF520416 | 60 | EACH
04-74-80183 | BELT,ALTERNATOR& OTHERS, P/N MH014385 | 60 | EACH
04-74-80184 | THERMOSTAT KIT, P/N ME996363 | 30 | EACH
04-74-80185 | GSKT,THERMO CASE TO C/HEAD, P/N ME014498 | 30 | EACH
04-74-80186 | ELEMENT,AIR CLEANER, P/N ME017242 | 300 | EACH
04-74-80187 | GASKET,INLET MANIFOLD, P/N ME212086 | 120 | EACH
04-74-80188 | BEARING,ALTERNATOR ROTOR, P/N ME700535 | 30 | EACH
04-74-80189 | BEARING,ALTERNATOR ROTOR, P/N ME701255 | 30 | EACH
04-74-80190 | BRUSH,ALTERNATOR, P/N ME701400 | 120 | EACH
04-74-80191 | COVER ASSY,CLUTCH, P/N ME500850 | 120 | EACH
04-74-80192 | DISC,CLUTCH(WOVEN), P/N ME506164 | 30 | EACH
04-74-80193 | BRG ASSY,CLUTCH RELEASE, P/N ME605584 | 30 | EACH
04-74-80194 | SPIDER KIT,PROP U/JOINT, P/N MC994292 | 30 | EACH
04-74-80195 | CTR BRG ASSY,PROPELLER, P/N MC830702 | 30 | EACH
04-74-80196 | BRG,PROPELLER SFT U/JOINT, P/N MB000175 | 120 | EACH
04-74-80197 | SPIDER KIT,PROP U/JOINT, P/N MC994292 | 90 | EACH
04-74-80198 | OIL SEAL,FR WHEEL HUB, P/N MB025295 | 60 | EACH
04-74-80199 | BEARING,FR DIFF SIDE, P/N MB005139 | 60 | EACH
04-74-80200 | BRG,FR DIFF DRV PINION,FR, P/N MB005154 | 30 | EACH
04-74-80201 | BRG,FR DIFF DRV PINION,RR, P/N MB005155 | 30 | EACH
04-74-80202 | OIL SEAL,RR DIFF DRIVE PIN, P/N MH034213 | 30 | EACH
04-74-80203 | BEARING,RR WHEEL HUB, P/N MT321624 | 60 | EACH
04-74-80204 | BEARING,RR WHEEL HUB, P/N MB161133 | 60 | EACH
04-74-80205 | OIL SEAL,RR WHEEL HUB,INR, P/N MB161152 | 60 | EACH
04-74-80206 | OIL SEAL,RR WHEEL HUB,OTR, P/N MB308933 | 60 | EACH
04-74-80207 | SHOCK ABSORBER,FR SUSP, P/N MC110491 | 60 | EACH
04-74-80208 | BUSHING,FR SHOCK ABSORBER, P/N MC110498 | 60 | EACH
04-74-80209 | BSHG,ENG AIR INTAKE LINE, P/N MT100378 | 60 | EACH
04-74-80210 | BUSHING,FR SUSP SPRING, P/N MH024000 | 60 | EACH
04-74-80211 | SHACKLE,RR SUSP SPRING, P/N MC114505 | 60 | EACH
04-74-80212 | PIN,RR SUSP SPRING, P/N MB035277 | 120 | EACH
04-74-80213 | PIN,RR SUSP SPRING, P/N MB035277 | 120 | EACH
04-74-80214 | SHOE ASSY,PARKING BRAKE, P/N MC894263 | 60 | EACH
04-74-80215 | CUP+BOOT KIT,FR BRAKE CYL, P/N MC112208 | 120 | EACH
04-74-80216 | LINING KIT,FR BRAKE SHOE, P/N MC894575 | 120 | EACH
04-74-80217 | SHOE ASSY,FR BRAKE, P/N MC894239 | 120 | EACH
04-74-80218 | CUP+BOOT KIT,RR BRAKE CYL, P/N MC112209 | 120 | EACH
04-74-80219 | LINING KIT,FR BRAKE SHOE, P/N MC894575 | 120 | EACH
04-74-80220 | SHOE ASSY,FR BRAKE, P/N MC894239 | 120 | EACH
04-74-80221 | CYLINDER KIT,BRAKE MASTER, P/N MK321272 | 120 | EACH
04-74-80222 | GLASS,WINDSHIELD, P/N MC148023 | 30 | EACH
04-74-80223 | MIRROR,RR VIEW,LH, P/N MB094920 | 30 | EACH
04-74-80224 | MIRROR,RR VIEW,LH, P/N MB094920 | 30 | EACH
04-74-80225 | BULB,ROOM LAMP, P/N MC859690 | 120 | EACH
04-74-80226 | BULB,HEADLAMP, P/N MC927618 | 120 | EACH
04-74-80227 | BULB,HEADLAMP, P/N MC927615 | 120 | EACH
04-74-80228 | BULB,FR TURN SIGNAL LAMP, P/N MH056201 | 120 | EACH
04-74-80229 | BULB,FR TURN SIGNAL LAMP, P/N MH056201 | 240 | EACH
04-74-80230 | BULB,STOP LAMP, P/N MH056200 | 240 | EACH
04-74-80231 | LAMP ASSY,CLEARANCE,LH, P/N MC149155 | 30 | EACH
04-74-80232 | BULB,RR TRACTION HOOK,INR, P/N MF101345 | 300 | EACH
04-74-80233 | BULB,ROOM LAMP, P/N MC859690 | 120 | EACH
04-74-80234 | BLADE,WINDSHIELD WIPER, P/N MB623002 | 240 | EACH
04-74-80235 | BLADE ASSY,WINDSHIELD WPR, P/N MC896047 | 120 | EACH
04-74-80236 | FUSE SWITCH, P/N MS810963 | 360 | EACH
04-74-80237 | FUSE SWITCH, P/N MS810965 | 1260 | EACH
04-74-80238 | FUSE BODY WIRING, P/N MS810966 | 450 | EACH
04-74-80239 | FUSE RELAY, P/N MS810967 | 180 | EACH
04-74-80240 | FUSIBLE LINK, P/N MH056171 | 120 | EACH
04-74-80241 | FUSIBLE LINK, P/N MH056176 | 30 | EACH
04-74-80242 | ZV masted fork lift model SF 50D | 6 | EACH
04-74-80243 | Spare parts Kit for 3 years for item 395 - figures 397-446 | 1 | KIT
04-74-80244 | CPLT ALTERNATOR 47544 | 3 | EACH
04-74-80245 | 12V HEATER PLUG 36363 4236 | 8 | EACH
04-74-80246 | SAMS BUZZER 48157 | 4 | EACH
04-74-80247 | PARKING BRAKE CABLE 48305 | 8 | EACH
04-74-80248 | RIGHT OR LEFT FRONT INDICATOR LIGHTS 45516 | 8 | EACH
04-74-80249 | SAMSUNG KEY CONTACTOR 44932 | 4 | EACH
04-74-80250 | RIGHT / LEFTWHEEL CYLINDER 48310 | 12 | EACH
04-74-80251 | SF50/70D FAN BELT 53018 | 4 | EACH
04-74-80252 | SF35/70D NEW STARTER 52505 | 4 | EACH
04-74-80253 | BRAKE DISK 50475 | 4 | EACH
04-74-80254 | RIGHT REAR HEADLIGHT 45141 | 8 | EACH
04-74-80255 | LEFT REAR HEADLIGHT 45142 | 8 | EACH
04-74-80256 | PERKINS AIR FILTER 59606 | 20 | EACH
04-74-80257 | PERKINS GO FILTER 44721 | 20 | EACH
04-74-80258 | PERK ENGINE OIL FILTER 3357 | 20 | EACH
04-74-80259 | SF50/60/70D GEAR OIL FILTER 44724 | 4 | EACH
04-74-80260 | INTAKE HYDRAULIC FILTER | 4 | EACH
04-74-80261 | RETURN HYDRAULIC FILTER 44719 | 4 | EACH
04-74-80262 | FWD/BWD EGS S70D REVERSING GEAR | 3 | EACH
04-74-80263 | BRAKE MASTER CYLINDER 48299 | 4 | EACH
04-74-80264 | INCHING MASTER CYLINDER 48298 | 3 | EACH
04-74-80265 | STOP CONTACTOR 45277 | 4 | EACH
04-74-80266 | PARKING BRAKE MICROCONTACT 45499 | 4 | EACH
04-74-80267 | INSTRUMENT BOARD | 3 | EACH
04-74-80268 | 12V 160AH BATTERIES 53100 | 3 | EACH
04-74-80269 | SF50/70 MAST AND LATERAL ROLLER BEARING 48361 | 16 | EACH
04-74-80270 | TILT CYLINDER GASKETS SET 48357 | 8 | SET
04-74-80271 | PISTON 48357.0 | 8 | EACH
04-74-80272 | WIPER DUST 48357.1 | 8 | EACH
04-74-80273 | PACKING ROD 48357.2 | 8 | EACH
04-74-80274 | O - RING 48357.3 | 8 | EACH
04-74-80275 | PACKING PISTON 48357.4 | 8 | EACH
04-74-80276 | RING WEAR 48357.5 | 8 | EACH
04-74-80277 | (2P) DIST GASKETS SET 47770 - figures (431-433) | 4 | SET
04-74-80278 | RING QUAD 47770.0 | 4 | EACH
04-74-80279 | RING BACK UP 47770.1 | 4 | EACH
04-74-80280 | SCRAPER RING 47770.2 | 4 | EACH
04-74-80281 | 5/6T LIFT CYLINDER GASKETS SET 48362 - figures (435-443) | 4 | SET
04-74-80282 | PACKING PISTON 48362.0 | 4 | EACH
04-74-80283 | RING WEAR 48362.1 | 4 | EACH
04-74-80284 | RING RETAINER 48362.2 | 4 | EACH
04-74-80285 | O-RING 48362.3 | 4 | EACH
04-74-80286 | RING-BACK UP OIL 48362.4 | 4 | EACH
04-74-80287 | O-RING 48362.5 | 4 | EACH
04-74-80288 | PACKING ROD 48362.6 | 4 | EACH
04-74-80289 | WIPER DUST 48362.7 | 4 | EACH
04-74-80290 | RING-RETAINING 48362.8 | 4 | EACH
04-74-80291 | PARKING BRAKE LININGS SET 54812 - figures (445-446) | 3 | SET
04-74-80292 | PLATE 54812.0 | 3 | EACH
04-74-80293 | LINING 54812.1 | 3 | EACH
04-74-80294 | ZV masted fork lift model 100-06C | 3 | EACH
04-74-80295 | Spare parts Kit for 3 years for item 447 - figures 449-593 | 1 | KIT
04-74-80296 | CONNECTING ROD PIN 100044 | 1 | EACH
04-74-80297 | SUPPORT BUSHING 100049 | 2 | EACH
04-74-80298 | AXLE BUSHING 100054 | 2 | EACH
04-74-80299 | SPINDLE PIN 100055 | 2 | EACH
04-74-80300 | REAR WHEEL STUD 100066 | 3 | EACH
04-74-80301 | WHEEL NUT 100067 | 7 | EACH
04-74-80302 | MAST PIN 100087 | 1 | EACH
04-74-80303 | TILTING CYLINDER PIN 100185 | 1 | EACH
04-74-80304 | ENGINE SILENT BLOCK 100215 | 2 | EACH
04-74-80305 | TANK LOCKING CAP 100341 | 1 | EACH
04-74-80306 | DRAIN PLUG 100342 | 1 | EACH
04-74-80307 | BRUSH 100566 | 1 | EACH
04-74-80308 | STEERING PRIORITY VALVE 100605 | 1 | EACH
04-74-80309 | FLOW VALVE 100608 | 1 | EACH
04-74-80310 | ACCELERATOR REMOTE CONTROL 100616 | 1 | EACH
04-74-80311 | LOW PRESS.SWITCH 100731 | 1 | EACH
04-74-80312 | STOP SWITCH 100732 | 1 | EACH
04-74-80313 | DECLUTCH SWITCH 100734 | 2 | EACH
04-74-80314 | HIGH TEMP. BRAKE BULB 100909 | 1 | EACH
04-74-80315 | PRIORITY BRAKE VALVE 101492 | 1 | EACH
04-74-80316 | FRONT WHEEL STUD 101625 | 3 | EACH
04-74-80317 | TRANSMISSION OIL TEMP. BULB 101672 | 1 | EACH
04-74-80318 | MAST BEARING 300012 | 1 | EACH
04-74-80319 | CHAINE TENSOR 300159 | 2 | EACH
04-74-80320 | LATERAL ROLLER 300200 | 1 | EACH
04-74-80321 | LATERAL ROLLER 300201 | 2 | EACH
04-74-80322 | STEERING CYLINDER GASKETS SET C10008007 - figures (476-483) | 1 | SET
04-74-80323 | O - RING C10008007.1 | 1 | EACH
04-74-80324 | BRS RING C10008007.2 | 2 | EACH
04-74-80325 | E / GR GASKET C10008007.3 | 1 | EACH
04-74-80326 | GUIDE RING C10008007.4 | 2 | EACH
04-74-80327 | O - RING C10008007.5 | 2 | EACH
04-74-80328 | BRS RING C10008007.6 | 2 | EACH
04-74-80329 | I / GR GASKET C10008007.7 | 2 | EACH
04-74-80330 | OIL SCRAPER C10008007.8 | 2 | EACH
04-74-80331 | TILTING CYLINDER GASKETS SET C10018414 - figures (485-490) | 2 | SET
04-74-80332 | SEALING GASKET C10018414.1 | 2 | EACH
04-74-80333 | O - RING C10018414.2 | 2 | EACH
04-74-80334 | O - RING C10018414.3 | 2 | EACH
04-74-80335 | BRS RING C10018414.4 | 2 | EACH
04-74-80336 | RING C10018414.5 | 2 | EACH
04-74-80337 | OIL SCRAPER C10018414.6 | 2 | EACH
04-74-80338 | TIPPING CAB CYLINDER GASKETS SET C10040201 - figures (492-502) | 1 | SET
04-74-80339 | OIL SCRAPER C10040201.1 | 1 | EACH
04-74-80340 | RING C10040201.2 | 1 | EACH
04-74-80341 | O - RING C10040201.3 | 1 | EACH
04-74-80342 | BRS RING C10040201.4 | 1 | EACH
04-74-80343 | O - RING C10040201.5 | 1 | EACH
04-74-80344 | O - RING C10040201.6 | 1 | EACH
04-74-80345 | SEALING GASKET C10040201.7 | 1 | EACH
04-74-80346 | ENGINE THERMOSTAT C10095912 | 1 | EACH
04-74-80347 | ENGINE WATER TEMP.BULB C10096002 | 1 | EACH
04-74-80348 | ENGINE BELT FAN C10096014 | 2 | EACH
04-74-80349 | ENGINE OIL PRESS.GAUGE C10096020 | 1 | EACH
04-74-80350 | LIFTING CYLINDER GASKETS SET C30009101 - figures (504-514) | 1 | SET
04-74-80351 | DPS RING C30009101.1 | 1 | EACH
04-74-80352 | E / GT RING C30009101.2 | 3 | EACH
04-74-80353 | BRS RING C3009101.3 | 1 | EACH
04-74-80354 | O - RING C30009101.4 | 1 | EACH
04-74-80355 | O - RING C30009101.5 | 1 | EACH
04-74-80356 | BRS RING C30009101.6 | 1 | EACH
04-74-80357 | I / GT RING C30009101.7 | 5 | EACH
04-74-80358 | O - RING C30009101.8 | 1 | EACH
04-74-80359 | RING C30009101.9 | 1 | EACH
04-74-80360 | O - RING C30009101.10 | 1 | EACH
04-74-80361 | OIL SCRAPER C30009101.11 | 1 | EACH
04-74-80362 | SIDE SHIFT CYLINDER GASKETS SET C30010109 - figures (516-521) | 2 | SET
04-74-80363 | OIL SCRAPER C30010109.1 | 2 | EACH
04-74-80364 | RING C30010109.2 | 2 | EACH
04-74-80365 | BRS RING C30010109.3 | 2 | EACH
04-74-80366 | O - RING C30010109.4 | 2 | EACH
04-74-80367 | O - RING C30010109.5 | 2 | EACH
04-74-80368 | SEALING GASKET C30010109.6 | 2 | EACH
04-74-80369 | LIGHT BULBS SET Y90003 - figures (523-528) | 1 | SET
04-74-80370 | LIGHT BULB H3 24V Y90003.1 | 2 | EACH
04-74-80371 | LIGHT BULB INDICATOR LIGHT Y90003.2 | 2 | EACH
04-74-80372 | LIGHT BULB STOP LIGHT Y90003.3 | 2 | EACH
04-74-80373 | LIGHT BULB - SWITCHES Y90003.4 | 5 | EACH
04-74-80374 | LIGHT BULB- SPOTLIGHT Y90003.5 | 2 | EACH
04-74-80375 | LIGHT BULB - YELLOW BEACON Y90003.6 | 1 | EACH
04-74-80376 | RELAYS SET 90004 - figures (530-532) | 1 | SET
04-74-80377 | MICRO RELAY Y90004.1 | 6 | EACH
04-74-80378 | STARTING RELAY Y90004.2 | 2 | EACH
04-74-80379 | TIMER RELAY Y90004.3 | 1 | EACH
04-74-80380 | FUSES SET Y90005 - figures (534-537) | 2 | SET
04-74-80381 | FUSE 7,5 Ah Y90005.1 | 20 | EACH
04-74-80382 | FUSE 10 Ah Y90005.2 | 20 | EACH
04-74-80383 | FUSE 15 Ah Y90005.3 | 20 | EACH
04-74-80384 | FUSE 50 Ah Y90005.4 | 2 | EACH
04-74-80385 | RADIATOR HOSES SET Y90006 - figures (539-568) | 1 | SET
04-74-80386 | FLEX HOSE Y90006.1 | 2 | EACH
04-74-80387 | CONNECTING ROD 100045 | 1 | EACH
04-74-80388 | BUSHING RING 100050 | 3 | EACH
04-74-80389 | BALL JOINT 100073 | 1 | EACH
04-74-80390 | BALL JOINT 100079 | 1 | EACH
04-74-80391 | CHAIN TENSOR PIN 100089 | 2 | EACH
04-74-80392 | WASHER 100245 | 1 | EACH
04-74-80393 | OIL LEVEL 100397 | 1 | EACH
04-74-80394 | BATTERY 100398 | 3 | EACH
04-74-80395 | FRONT RIGHT LAMP 100582 | 1 | EACH
04-74-80396 | FRONT LEFT LAMP 100583 | 1 | EACH
04-74-80397 | COMPLETE FILTER 100624 | 1 | EACH
04-74-80398 | COMPLETE FILTER 100625 | 1 | EACH
04-74-80399 | PROTECTION CAP 100656 | 1 | EACH
04-74-80400 | REAR RIGHT / LEFT LAMP 100658 | 1 | EACH
04-74-80401 | UNIDIRECTIONAL VALVE 100908 | 2 | EACH
04-74-80402 | FLOW VALVE 101482 | 1 | EACH
04-74-80403 | CLOGGING INDICATOR 101578 | 2 | EACH
04-74-80404 | RADIATOR COUPLING 101598 | 1 | EACH
04-74-80405 | COUPLING 101602 | 1 | EACH
04-74-80406 | FUEL LEVEL 101652 | 2 | EACH
04-74-80407 | ELECTRIC CABLE 101658 | 1 | EACH
04-74-80408 | BATTERY CUT-OFF SWITCH 101659 | 1 | EACH
04-74-80409 | BRAKET 101660 | 1 | EACH
04-74-80410 | ELECTRIC CABLE 101662 | 1 | EACH
04-74-80411 | RIGHT / LEFT HEADLIGHT 101664 | 1 | EACH
04-74-80412 | REAR RIGHT / LEFT HEADLIGHT 101665 | 2 | EACH
04-74-80413 | TURN LAMP 101666 | 1 | EACH
04-74-80414 | HORN 101667 | 1 | EACH
04-74-80415 | REVERSE BUZZER 101668 | 2 | EACH
04-74-80416 | DOUBLE PUMP GASKETS SET C10062301 - figures (570-576) | 1 | SET
04-74-80417 | ALUMINIUM SHIM C10062301.1 | 4 | EACH
04-74-80418 | O - RING C10062301.2 | 9 | EACH
04-74-80419 | EXTRUSION-PROOF GASKET C10062301.3 | 4 | EACH
04-74-80420 | OIL RETAINER C10062301.4 | 2 | EACH
04-74-80421 | HYDRAULIC OIL CARTRIDGE C10062401 | 1 | EACH
04-74-80422 | FILTER C10062401 | 4 | EACH
04-74-80423 | FILTER HEAD C10062504 | 1 | EACH
04-74-80424 | GASKETS SET C10062601 - figure 578 | 1 | SET
04-74-80425 | O - RING C10062601.1 | 2 | EACH
04-74-80426 | SHIMS SET C100655023 - figures (580-593) | 1 | SET
04-74-80427 | ALUMINIUM SHIM C100655023.1 | 4 | EACH
04-74-80428 | O - RING C100655023.2 | 9 | EACH
04-74-80429 | EXTRUSION-PROOF GASKET C100655023.3 | 4 | EACH
04-74-80430 | OIL RETAINER C100655023.4 | 2 | EACH
04-74-80431 | IMPULSE TRANSMITTER C100655304 | 1 | EACH
04-74-80432 | FAN C10096049 | 1 | EACH
04-74-80433 | HEADLAMP FLASHER C10165620 | 1 | EACH
04-74-80434 | TRUST PISTON FOR JOYSTICK C10239601 | 3 | EACH
04-74-80435 | HYDRAULIC OIL CARTRIDGE C10227501 | 4 | EACH
04-74-80436 | TRANSMISSION CARTRIDGE C102265303 | 1 | EACH
04-74-80437 | ENGINE OIL FILTER C10096001 | 4 | EACH
04-74-80438 | FUEL FILTER C10096017E | 1 | EACH
04-74-80439 | FUEL PRE-FILTER C10096018 | 2 | EACH
04-74-80440 | AIR CARTRIDGE FILTER C10281401 | 2 | EACH
04-74-80441 | 11 m tubular steel poles type-1 c/w cross arm and accessories | 500 | Each
04-74-80442 | 9 m tubular steel poles type-2 complete with accessories | 1370 | Each
04-74-80443 | 11 m tubular steel poles type-3 c/w cross arm and accessories | 1150 | Each
04-74-80444 | 9 m tubular steel poles type-4 complete with accessories | 1450 | Each
04-74-80445 | 6 m service pole, 75mm dia, 2.5mm thick steel pipe, galvanized | 700 | Each
04-74-80446 | 1410mm long GS Cross-arm for Type-1 steel poles | 130 | Each
04-74-80447 | 1250mm long GS Cross-arm for Type-3 steel poles | 70 | Each
04-74-80448 | Distribution Transformers, 11/0.4kV, 160kVA | 23 | Each
04-74-80449 | Distribution Transformers, 11/0.4kV, 250kVA | 54 | Each
04-74-80450 | 11kV Bushing for Distribution Transformer | 73 | Each
04-74-80451 | LV Bushing for Distribution Transformer | 73 | Each
04-74-80452 | HV Coil for Distribution Transformer-11kV, 160kVA | 1 | Each
04-74-80453 | HV Coil for Distribution Transformer-11kV, 250kVA | 3 | Each
04-74-80454 | LV Coil for Distribution Transformer-11kV, 250kVA | 2 | Each
04-74-80455 | Pressure Releif Valves for Distribution Transformer | 3 | Each
04-74-80456
04-74-80457 | 11 kV Pin Insulator c/w access: (figures 127-131) | 20000 | Each
04-74-80458 | 11 kV Pin Insualtor | 20000 | Each
04-74-80459 | Small Steel Head | 20000 | Each
04-74-80460 | Spring Washer | 20000 | Each
04-74-80461 | Full Nut | 20000 | Each
04-74-80462 | Lock Nut | 20000 | Each
04-74-80463 | 255mm diameter Disc insulator without hardware | 700 | Each
04-74-80464 | 11 kV Tension Insulator strings c/w access: (figures 134-142) | 3200 | Each
04-74-80465 | Disc Insualtor | 3200 | Each
04-74-80466 | M-16 U-bolts | 3200 | Each
04-74-80467 | Six M-16 Nuts | 19200 | Each
04-74-80468 | Ball Eye | 3200 | Each
04-74-80469 | Socket Tongue | 3200 | Each
04-74-80470 | Tension Clamp | 3200 | Each
04-74-80471 | Three M-12 U-bolts | 9600 | Each
04-74-80472 | Six M-12 Nuts | 19200 | Each
04-74-80473 | Six Spring Washer | 19200 | Each
04-74-80474 | 11 kV Tension Insulators strings c/w twisted straps & access: (figures 144-157) | 3000 | Each
04-74-80475 | Disc Insualtor | 3000 | Each
04-74-80476 | Cross arm strap | 3000 | Each
04-74-80477 | M-16 Bolt | 3000 | Each
04-74-80478 | M-16 Nut | 3000 | Each
04-74-80479 | Split pin for M-16 bolt | 3000 | Each
04-74-80480 | Cotter Pin for Cross Arm Straps | 3000 | Each
04-74-80481 | Spring Washer | 3000 | Each
04-74-80482 | Split pin for Cross Arm Straps | 3000 | Each
04-74-80483 | Socket Tongue | 3000 | Each
04-74-80484 | Security clip | 3000 | Each
04-74-80485 | Tension Clamp | 3000 | Each
04-74-80486 | Three M-12 U-bolts | 9000 | Each
04-74-80487 | Six M-12 Nuts | 18000 | Each
04-74-80488 | Six Spring Washer | 18000 | Each
04-74-80489 | LV Shackle Insulator with D-Bracket (260 mm) c/w access: (figures 159-167) | 46200 | Each
04-74-80490 | LV Schakle Insulator | 46200 | Each
04-74-80491 | 260 mm D-bracket | 46200 | Each
04-74-80492 | Bolt for Insulator | 46200 | Each
04-74-80493 | Spring washer | 46200 | Each
04-74-80494 | Plain Washer | 46200 | Each
04-74-80495 | M16 Nuts | 46200 | Each
04-74-80496 | Bolt for shackle | 46200 | Each
04-74-80497 | Spring Washer | 46200 | Each
04-74-80498 | M-16 Nuts | 46200 | Each
04-74-80499 | LV Shackle Insulator with D-Bracket (210 mm) c/w access: (figures 169-177) | 30000 | Each
04-74-80500 | LV Schakle Insulator | 30000 | Each
04-74-80501 | 210 mm D-bracket | 30000 | Each
04-74-80502 | Bolt for Insulator | 30000 | Each
04-74-80503 | Spring washer | 30000 | Each
04-74-80504 | Plain Washer | 30000 | Each
04-74-80505 | M16 Nuts | 30000 | Each
04-74-80506 | Bolt for shackle | 30000 | Each
04-74-80507 | Spring Washer | 30000 | Each
04-74-80508 | M-16 Nuts | 30000 | Each
04-74-80509 | LV Shackle Insulator with D-Bracket (140 mm) c/w access: (figures 179-187) | 58000 | Each
04-74-80510 | LV Schakle Insulator | 58000 | Each
04-74-80511 | 140 mm D-bracket | 58000 | Each
04-74-80512 | Bolt for Insulator | 58000 | Each
04-74-80513 | Spring washer | 58000 | Each
04-74-80514 | Plain Washer | 58000 | Each
04-74-80515 | M16 Nuts | 58000 | Each
04-74-80516 | Bolt for shackle | 58000 | Each
04-74-80517 | Spring Washer | 58000 | Each
04-74-80518 | M-16 Nuts | 58000 | Each
04-74-80519 | 11 kV Tension Insulator strings c/w access: (figures 2-10) | 1800 | Each
04-74-80520 | Disc Insulator | 1800 | Each
04-74-80521 | U-bolt for Ball Eye | 1800 | Each
04-74-80522 | Two Full Nut | 3600 | Each
04-74-80523 | Two Lock Nut | 3600 | Each
04-74-80524 | Ball Eye | 1800 | Each
04-74-80525 | Socket Eye | 1800 | Each
04-74-80526 | Tension Clamp | 1800 | Each
04-74-80527 | Three U-Bolts | 5400 | Each
04-74-80528 | Six Nuts | 10800 | Each
04-74-80529 | 11 kV Tension Insulators strings c/w twisted straps & access: (figures 12-22) | 7000 | Each
04-74-80530 | Disc Insulator | 7000 | Each
04-74-80531 | Twisted Strap | 7000 | Each
04-74-80532 | Bolt | 7000 | Each
04-74-80533 | Lock washer | 7000 | Each
04-74-80534 | Nut for pos 2.3 | 7000 | Each
04-74-80535 | Ball Clevis | 7000 | Each
04-74-80536 | Rivits | 7000 | Each
04-74-80537 | Socket Eye | 7000 | Each
04-74-80538 | Tension Clamp | 7000 | Each
04-74-80539 | Three U-Bolts | 21000 | Each
04-74-80540 | Six Nuts for pos. 2.10 | 42000 | Each
04-74-80541 | LV Shackle Insulator | 17800 | Each
04-74-80542 | D-Brackets, with 210 mm mounting bolts, with access: (figures 25-30) | 800 | Each
04-74-80543 | D-Bracket | 800 | Each
04-74-80544 | Bolt, 118 mm long | 800 | Each
04-74-80545 | Two Plain Washer | 1600 | Each
04-74-80546 | Two Spring Washer | 1600 | Each
04-74-80547 | Two M-16 Nut | 1600 | Each
04-74-80548 | Bolt, 210 mm long | 800 | Each
04-74-80549 | D-Brackets, with 140 mm mounting bolts, with access: (figures 32-37) | 17000 | Each
04-74-80550 | D-Bracket | 17000 | Each
04-74-80551 | Bolt, 118 mm long | 17000 | Each
04-74-80552 | Two Plain Washer | 34000 | Each
04-74-80553 | Two Spring Washer | 34000 | Each
04-74-80554 | Two M-16 Nut | 34000 | Each
04-74-80555 | Bolt, 140 mm long | 17000 | Each
04-74-80556 | HV Stay Insulator | 500 | Each
04-74-80557 | LV Stay Insulator | 500 | Each
04-74-80558 | 50x50x5mm, 2.3m long Galvanized steel angle | 385 | Each
04-74-80559 | 50x50x6mm, 2.3m long Galvanized steel angle | 385 | Each
04-74-80560 | 50x50x5mm, 1m long Galvanized steel angle | 385 | Each
04-74-80561 | 100x50x6m, 2.3m long Galvanizes steel channel | 385 | Each
04-74-80562 | 50x50x6mm, 6m long Galvanized steel angle | 385 | Each
04-74-80563 | 50x50x5mm, 6m long Galvanized steel angle | 385 | Each
04-74-80564 | 100x50x6m, 6m long Galvanizes steel channel | 385 | Each
04-74-80565 | Set of M16x50mm long Galvanized steel bolt with nut, flat washer & spring washer | 10000 | Each
04-74-80566 | Set of M16x100mm long Galvanized steel bolt with nut, lock nut, flat washer, spring washer | 5000 | Each
04-74-80567 | Set of M16x150mm long Galvanized steel bolt with nut, lock nut, flat washer, spring washer | 5000 | Each
04-74-80568 | Set of M20x50mm long Galvanized steel bolt with nut, flat washer & spring washer | 10000 | Each
04-74-80569 | Set of M20x100mm long Galvanized steel bolt with nut, lock nut, flat washer, spring washer | 5000 | Each
04-74-80570 | Set of M20x150mm long Galvanized steel bolt with nut, lock nut, flat washer, spring washer | 5000 | Each
04-74-80571 | Stay Assembly | 2000 | Each
04-74-80572 | Mitsubishi Fuso FM654 ML-CA 4x2 flatbed truck, length 6.8m, w Crane | 8 | Each
04-74-80573 | GASKET ENG OVERHAUL | 8 | Each
04-74-80574 | GASKET,CYLINDER HEAD | 8 | Each
04-74-80575 | GUIDE,INLET VALVE | 32 | Each
04-74-80576 | GUIDE,EXHAUST VALVE | 32 | Each
04-74-80577 | OIL SEAL,CRANKSHAFT,REAR | 32 | Each
04-74-80578 | GASKET,ENGINE OIL PAN DRAIN PLUG | 160 | Each
04-74-80579 | PLUG,ENGINE OIL PAN | 24 | Each
04-74-80580 | ELEMENT BY-PASS OIL FILTER | 160 | Each
04-74-80581 | CAP,FUEL TANK | 8 | Each
04-74-80582 | ELEMENT FUEL FILTER | 160 | Each
04-74-80583 | GASKET,FUEL INJECTION NOZZLE | 48 | Each
04-74-80584 | INJECTION NOZZLE & HOLDER | 48 | Each
04-74-80585 | O-RING,TIMING GEAR TRAIN | 16 | Each
04-74-80586 | CAP,RADIATOR CONDENSATION TANK | 8 | Each
04-74-80587 | HOSE,RADIATOR CONDENSATION TANK | 8 | Each
04-74-80588 | HOSE,RADIATOR,LOWER | 8 | Each
04-74-80589 | HOSE,RADIATOR,UPPER | 8 | Each
04-74-80590 | WATER PUMP | 8 | Each
04-74-80591 | O-RING,WATER PUMP | 16 | Each
04-74-80592 | BELT, ALTERNATOR | 16 | Each
04-74-80593 | THERMOSTAT | 8 | Each
04-74-80594 | GASKET,THERMOSTAT CASE TO CYLINDER HEAD | 8 | Each
04-74-80595 | ELEMENT,AIR CLEANER | 80 | Each
04-74-80596 | GASKET,INLET MANIFOLD | 32 | Each
04-74-80597 | BEARING,ALTERNATOR ROTOR, FRONT | 8 | Each
04-74-80598 | BEARING,ALTERNATOR ROTOR, REAR | 8 | Each
04-74-80599 | BRUSH,ALTERNATOR | 32 | Each
04-74-80600 | COVER,CLUTCH | 32 | Each
04-74-80601 | DISC,CLUTCH(WOVEN) | 8 | Each
04-74-80602 | BEARING,CLUTCH RELEASE | 8 | Each
04-74-80603 | SPIDER PROPELLER SHAFT UNIVERSAL JOINT | 8 | Each
04-74-80604 | CENTER BEARING,PROPELLER SHAFT UNIVERSAL JOINT | 8 | Each
04-74-80605 | BEARING,PROPELLER SHAFT UNIVERSAL JOINT | 32 | Each
04-74-80606 | SPIDER PROPELLER SHAFT UNIVERSAL JOINT | 24 | Each
04-74-80607 | OIL SEAL,FRONT WHEEL HUB | 16 | Each
04-74-80608 | BEARING,FRONT DIFFERENTIAL SIDE | 16 | Each
04-74-80609 | BEARING, DIFFERENTIAL DRIVE PINION,FRONT | 8 | Each
04-74-80610 | BEARING, DIFFERENTIAL DRIVE PINION, REAR | 8 | Each
04-74-80611 | OIL SEAL,REAR DIFFERENTIAL DRIVE PIN | 8 | Each
04-74-80612 | BEARING,REAR WHEEL HUB, INNER | 16 | Each
04-74-80613 | BEARING,REAR WHEEL HUB, OUTER | 16 | Each
04-74-80614 | OIL SEAL,REAR WHEEL HUB,INNER | 16 | Each
04-74-80615 | OIL SEAL,REAR WHEEL HUB,OUTER | 16 | Each
04-74-80616 | SHOCK ABSORBER,FRONT SUSPENSION | 16 | Each
04-74-80617 | BUSHING,FRONT SHOCK ABSORBER | 16 | Each
04-74-80618 | BUSHING,ENG AIR INTAKE LINE | 16 | Each
04-74-80619 | BUSHING,FRONT SUSPENSION SPRING | 16 | Each
04-74-80620 | SHACKLE,REAR SUSPENSION SPRING | 16 | Each
04-74-80621 | PIN,REAR SUSPENSION SPRING, UPPER | 32 | Each
04-74-80622 | PIN,REAR SUSPENSION SPRING, LOWER | 32 | Each
04-74-80623 | SHOE,PARKING BRAKE | 16 | Each
04-74-80624 | CUP+BOOT FRONT BRAKE CYLINDER | 32 | Each
04-74-80625 | LINING FRONT BRAKE SHOE | 32 | Each
04-74-80626 | SHOE,FRONT BRAKE | 32 | Each
04-74-80627 | CUP+BOOT REAR BRAKE CYL | 32 | Each
04-74-80628 | LINING REAR BRAKE SHOE | 32 | Each
04-74-80629 | SHOE,REAR BRAKE | 32 | Each
04-74-80630 | CYLINDER REPAIR BRAKE MASTER | 32 | Each
04-74-80631 | GLASS,WINDSHIELD | 8 | Each
04-74-80632 | MIRROR,REAR VIEW,LH | 8 | Each
04-74-80633 | MIRROR,REAR VIEW,RH | 8 | Each
04-74-80634 | BULB,ROOM LAMP,RH | 32 | Each
04-74-80635 | BULB,HEAD LAMP, LH | 32 | Each
04-74-80636 | BULB,HEAD LAMP, RH | 32 | Each
04-74-80637 | BULB,FRONT TURN SIGNAL LAMP, LH | 32 | Each
04-74-80638 | BULB,FRONT TURN SIGNAL LAMP, RH | 64 | Each
04-74-80639 | BULB,STOP LAMP | 64 | Each
04-74-80640 | LAMP,CLEARANCE,LH | 8 | Each
04-74-80641 | BULB,REAR TRACTION HOOK | 80 | Each
04-74-80642 | BULB,ROOM LAMP | 32 | Each
04-74-80643 | BLADE,WINDSHIELD WIPER, LH | 64 | Each
04-74-80644 | BLADE,WINDSHIELD WIPER, RH | 32 | Each
04-74-80645 | Sheave unit | 8 | Each
04-74-80646 | Plate slide | 16 | Each
04-74-80647 | Plate slide | 16 | Each
04-74-80648 | Packing | 8 | Each
04-74-80649 | Stopper unit | 8 | Each
04-74-80650 | Alarm overwinding | 8 | Each
04-74-80651 | Filter cartridge | 48 | Each
04-74-80652 | Bearing | 32 | Each
04-74-80653 | Brake shoe | 16 | Each
04-74-80654 | Packing for outrigger | 8 | Each
04-74-80655 | Packing for other equipment | 8 | Each
04-74-80656 | Rope wire | 8 | Each
04-74-80657 | Filter suction | 8 | Each
04-74-80658 | Pump hydraulic | 8 | Each
04-74-80659 | Long range fuel tank with locable lid | 8 | Each
04-74-80660 | Interior rear view mirror | 8 | Each
04-74-80661 | Under view mirror | 8 | Each
04-74-80662 | Air condition & heater w/defroster | 8 | Each
04-74-80663 | Cold start aid | 8 | Each
04-74-80664 | Tarpulin with tarpulin rack | 8 | Each
04-74-80665 | Spare parts catalogue in English language | 3 | Each
04-74-80666 | Workshop manual in English language | 3 | Each
04-74-80667 | Mitsubishi Fuso FM654 ML-CA 4x2 flatbed truck, flatbed length 7.2m | 6 | Each
04-74-80668 | GASKET ENG OVERHAUL | 6 | Each
04-74-80669 | GASKET,CYLINDER HEAD | 6 | Each
04-74-80670 | GUIDE,INLET VALVE | 24 | Each
04-74-80671 | GUIDE,EXHAUST VALVE | 24 | Each
04-74-80672 | OIL SEAL,CRANKSHAFT,REAR | 24 | Each
04-74-80673 | GASKET,ENGINE OIL PAN DRAIN PLUG | 120 | Each
04-74-80674 | PLUG,ENGINE OIL PAN | 18 | Each
04-74-80675 | ELEMENT BY-PASS OIL FILTER | 120 | Each
04-74-80676 | CAP,FUEL TANK | 6 | Each
04-74-80677 | ELEMENT FUEL FILTER | 120 | Each
04-74-80678 | GASKET,FUEL INJECTION NOZZLE | 36 | Each
04-74-80679 | INJECTION NOZZLE & HOLDER | 36 | Each
04-74-80680 | O-RING,TIMING GEAR TRAIN | 12 | Each
04-74-80681 | CAP,RADIATOR CONDENSATION TANK | 6 | Each
04-74-80682 | HOSE,RADIATOR CONDENSATION TANK | 6 | Each
04-74-80683 | HOSE,RADIATOR,LOWER | 6 | Each
04-74-80684 | HOSE,RADIATOR,UPPER | 6 | Each
04-74-80685 | WATER PUMP | 6 | Each
04-74-80686 | O-RING,WATER PUMP | 12 | Each
04-74-80687 | BELT, ALTERNATOR | 12 | Each
04-74-80688 | THERMOSTAT | 6 | Each
04-74-80689 | GASKET,THERMOSTAT CASE TO CYLINDER HEAD | 6 | Each
04-74-80690 | ELEMENT,AIR CLEANER | 60 | Each
04-74-80691 | GASKET,INLET MANIFOLD | 24 | Each
04-74-80692 | BEARING,ALTERNATOR ROTOR, FRONT | 6 | Each
04-74-80693 | BEARING,ALTERNATOR ROTOR, REAR | 6 | Each
04-74-80694 | BRUSH,ALTERNATOR | 24 | Each
04-74-80695 | COVER,CLUTCH | 24 | Each
04-74-80696 | DISC,CLUTCH(WOVEN) | 6 | Each
04-74-80697 | BEARING,CLUTCH RELEASE | 6 | Each
04-74-80698 | SPIDER PROPELLER SHAFT UNIVERSAL JOINT | 6 | Each
04-74-80699 | CENTER BEARING,PROPELLER SHAFT UNIVERSAL JOINT | 6 | Each
04-74-80700 | BEARING,PROPELLER SHAFT UNIVERSAL JOINT | 24 | Each
04-74-80701 | SPIDER PROPELLER SHAFT UNIVERSAL JOINT | 18 | Each
04-74-80702 | OIL SEAL,FRONT WHEEL HUB | 12 | Each
04-74-80703 | BEARING,FRONT DIFFERENTIAL SIDE | 12 | Each
04-74-80704 | BEARING, DIFFERENTIAL DRIVE PINION,FRONT | 6 | Each
04-74-80705 | BEARING, DIFFERENTIAL DRIVE PINION, REAR | 6 | Each
04-74-80706 | OIL SEAL,REAR DIFFERENTIAL DRIVE PIN | 6 | Each
04-74-80707 | BEARING,REAR WHEEL HUB, INNER | 12 | Each
04-74-80708 | BEARING,REAR WHEEL HUB, OUTER | 12 | Each
04-74-80709 | OIL SEAL,REAR WHEEL HUB,INNER | 12 | Each
04-74-80710 | OIL SEAL,REAR WHEEL HUB,OUTER | 12 | Each
04-74-80711 | SHOCK ABSORBER,FRONT SUSPENSION | 12 | Each
04-74-80712 | BUSHING,FRONT SHOCK ABSORBER | 12 | Each
04-74-80713 | BUSHING,ENG AIR INTAKE LINE | 12 | Each
04-74-80714 | BUSHING,FRONT SUSPENSION SPRING | 12 | Each
04-74-80715 | SHACKLE,REAR SUSPENSION SPRING | 12 | Each
04-74-80716 | PIN,REAR SUSPENSION SPRING, UPPER | 24 | Each
04-74-80717 | PIN,REAR SUSPENSION SPRING, LOWER | 24 | Each
04-74-80718 | SHOE,PARKING BRAKE | 12 | Each
04-74-80719 | CUP+BOOT FRONT BRAKE CYLINDER | 24 | Each
04-74-80720 | LINING FRONT BRAKE SHOE | 24 | Each
04-74-80721 | SHOE,FRONT BRAKE | 24 | Each
04-74-80722 | CUP+BOOT REAR BRAKE CYL | 24 | Each
04-74-80723 | LINING REAR BRAKE SHOE | 24 | Each
04-74-80724 | SHOE,REAR BRAKE | 24 | Each
04-74-80725 | CYLINDER REPAIR BRAKE MASTER | 24 | Each
04-74-80726 | GLASS,WINDSHIELD | 6 | Each
04-74-80727 | MIRROR,REAR VIEW,LH | 6 | Each
04-74-80728 | MIRROR,REAR VIEW,RH | 6 | Each
04-74-80729 | BULB,ROOM LAMP,RH | 24 | Each
04-74-80730 | BULB,HEAD LAMP, LH | 24 | Each
04-74-80731 | BULB,HEAD LAMP, RH | 24 | Each
04-74-80732 | BULB,FRONT TURN SIGNAL LAMP, LH | 24 | Each
04-74-80733 | BULB,FRONT TURN SIGNAL LAMP, RH | 48 | Each
04-74-80734 | BULB,STOP LAMP | 48 | Each
04-74-80735 | LAMP,CLEARANCE,LH | 6 | Each
04-74-80736 | BULB,REAR TRACTION HOOK | 60 | Each
04-74-80737 | BULB,ROOM LAMP | 24 | Each
04-74-80738 | BLADE,WINDSHIELD WIPER, LH | 48 | Each
04-74-80739 | BLADE,WINDSHIELD WIPER, RH | 24 | Each
04-74-80740 | Long range fuel tank with locable lid | 6 | Each
04-74-80741 | Interior rear view mirror | 6 | Each
04-74-80742 | Under view mirror | 6 | Each
04-74-80743 | Air condition & heater w/defroster | 6 | Each
04-74-80744 | Cold start aid | 6 | Each
04-74-80745 | Tarpulin with tarpulin rack | 6 | Each
04-74-80746 | ISUZU FSR33L-02 4X2 Flat bed truck, flat bed length 6.1m | 6 | Each
04-74-80747 | Non Spin Differential | 6 | Each
04-74-80748 | Under view mirror | 6 | Each
04-74-80749 | Air condition & heater w / defroster | 6 | Each
04-74-80750 | Tarpulin with tarpulin rack | 6 | Each
04-74-80751 | Spare parts Catalogue in English language | 3 | Each
04-74-80752 | Workshop manual in English language | 3 | Each
04-74-80753 | Spare parts kit for 3 years item 1 - figures (125-174) | 6 | KIT
04-74-80754 | Hose, Flex, front | 12 | Each
04-74-80755 | Hose, Flex,rear, | 6 | Each
04-74-80756 | Gasket, drain plug | 120 | Each
04-74-80757 | Bearing, Hub, outer,rear | 12 | Each
04-74-80758 | Bearing Hub, inner,rear | 12 | Each
04-74-80759 | Bearing, hub outer support rear | 12 | Each
04-74-80760 | Bearing, hub inner, support, rear | 6 | Each
04-74-80761 | V-Belt | 6 | Each
04-74-80762 | Air Filter Inner | 48 | Each
04-74-80763 | Air Filter Outer | 48 | Each
04-74-80764 | Cap Radiator | 6 | Each
04-74-80765 | Plate unit - Pres | 6 | Each
04-74-80766 | Clutch disc | 12 | Each
04-74-80767 | Pin, Wheel, front | 96 | Each
04-74-80768 | Pin, wheel; rear | 96 | Each
04-74-80769 | Nut, wheel, inner, rear | 48 | Each
04-74-80770 | Nut, wheel, outer, rear | 48 | Each
04-74-80771 | Wheel Nut, front | 192 | Each
04-74-80772 | Tie rod end, LH | 6 | Each
04-74-80773 | Tie rod end, RH | 6 | Each
04-74-80774 | King Pin | 24 | Each
04-74-80775 | Bush | 12 | Each
04-74-80776 | Shock Absorber Front | 12 | Each
04-74-80777 | Sealed Beam lamp, LH | 12 | Each
04-74-80778 | Sealed Beam lamp, RH | 12 | Each
04-74-80779 | Repair unit for Clutch | 6 | Each
04-74-80780 | Repair unit Str. | 6 | Each
04-74-80781 | Repair unit, Oil | 6 | Each
04-74-80782 | Repair unit, brake | 6 | Each
04-74-80783 | Wiper Blades | 60 | Each
04-74-80784 | Repair unit, Air | 12 | Each
04-74-80785 | Repair fitting,Clutch | 6 | Each
04-74-80786 | Cups Rear Wheel Cylinder | 48 | Each
04-74-80787 | Cups Front Wheel Cylinder | 24 | Each
04-74-80788 | Linings, Front | 18 | Each
04-74-80789 | Linings Rear | 36 | Each
04-74-80790 | Fuses | 120 | Each
04-74-80791 | Gasket, outlet | 12 | Each
04-74-80792 | Nozzle Inj. | 36 | Each
04-74-80793 | Oil Filter | 90 | Each
04-74-80794 | Filter, fuel | 48 | Each
04-74-80795 | Thermostat, main | 12 | Each
04-74-80796 | Thermostat, secondary | 12 | Each
04-74-80797 | Fuses, main | 12 | Each
04-74-80798 | Fuses, secondary | 12 | Each
04-74-80799 | Bearing Hub Outer, FRT | 12 | Each
04-74-80800 | Bearing Hub, inner, FRT | 24 | Each
04-74-80801 | Plug, Oil Drain | 18 | Each
04-74-80802 | Bushing Leaf | 12 | Each
04-74-80803 | Glow Plug | 36 | Each
04-74-80804 | 11kV, 100A Distribution fuse cutouts c/w carrier & bracket | 560 | Each
04-74-80805 | 11kV, 10A Fuse Elements, cat no. M10 KA23 | 1600 | Each
04-74-80806 | 11kV, 25A Fuse Elements, cat no. M25 KA23 | 1000 | Each
04-74-80807 | 11kV, 40A Fuse Elements, cat no. M40 KA23 | 2500 | Each
04-74-80808 | Hard Drawn solid copper earth rods, 16mm dia, 1.5mm long | 3400 | Each
04-74-80809 | Couplings for earth rod | 30 | Each
04-74-80810 | Steel Driving head for Copper earth rod | 50 | Each
04-74-80811 | Steel Driving spike for Copper earth rod | 60 | Each
04-74-80812 | Terminal clamps for Copper earth rod | 3400 | Each
04-74-80813 | LV Cu 1x150 sqm.PVC insulated | 4 | Km
04-74-80814 | LV Cu 1x95 sqm.PVC insulated | 11 | Km
04-74-80815 | LV OH Twisted Cables 3x95+50+16 AL Conductor | 35 | Km
04-74-80816 | LV OH Twisted Cables 3x70+50+16 AL Conductor | 35 | Km
04-74-80817 | LV Cu Cable, 2core 10mm2 PVC/PVC | 1000 | Km
04-74-80818 | Cu Cable Terminal lugs for 150sqmm Cu cable, 12mm hole diam | 1000 | Each
04-74-80819 | Cu Cable Terminal lugs for 95sqmm Cu cable | 1500 | Each
04-74-80820 | Bolted type Bimetallic connector 35-150sqmm AL to 35-95sqmm Cu | 4500 | Each
04-74-80821 | Bolted type Bimetallic connector 16-95sqmm AL to 2.5-10sqmm Cu | 50000 | Each
04-74-80822 | Full Tension Mid span Joints for ACSR conductors 120/20sqmm | 1700 | Each
04-74-80823 | Full Tension Mid span Joints for ACSR conductors 95/15sqmm | 500 | Each
04-74-80824 | Full Tension Mid span Joints for AAC conductors 95sqmm | 4250 | Each
04-74-80825 | Full Tension Mid span Joints for AAC conductors 70sqmm | 1250 | Each
04-74-80826 | Bolted type Clamps for AL cond. 35-150sqmm to 35-95sqmm AAC or ACSR | 5250 | Each
04-74-80827 | Bolted type Clamps for AL cond. 35-95sqmm to 35-95sqmm AAC or ACSR | 20000 | Each
04-74-80828 | Suspension Brackets | 5250 | Each
04-74-80829 | Suspension Clamp | 5250 | Each
04-74-80830 | Tension Bracket | 1250 | Each
04-74-80831 | Tension -Dead End | 1300 | Each
04-74-80832 | Pre Insulated Sleeve-95mm | 200 | Each
04-74-80833 | Pre Insulated Sleeve-70mm | 200 | Each
04-74-80834 | Pre Insulated Sleeve-50mm | 150 | Each
04-74-80835 | Pre Insulated Sleeve-16mm | 150 | Each
04-74-80836 | Insulation end cap and cover for 5 core 3*95+50+16mm2 | 900 | Each
04-74-80837 | Insulation end cap and cover for 5 core 3*70+50+16mm2 | 900 | Each
04-74-80838 | Insulated binding strap | 11500 | Each
04-74-80839 | Stainless steel strap | 700 | Each
04-74-80840 | Stainless steel buckles | 700 | Each
04-74-80841 | Bare overhead Type A | 350 | Each
04-74-80842 | Bare overhead Type B | 350 | Each
04-74-80843 | Insulated Connecter Type A | 600 | Each
04-74-80844 | Insulated Connecter Type B | 6500 | Each
04-74-80845 | Insulated Connecter Type C | 1000 | Each
04-74-80846 | Strap binding tools | 10 | Each
04-74-80847 | Cable ties | 3000 | Each
04-74-80848 | Heat Shrinking type Cable joints, type 12GTS3.185DU | 80 | Each
04-74-80849 | 11kV Heat Shrinking indoor cable terminations, type 12TTGI3.185iwu | 40 | Each
04-74-80850 | 11kV Heat Shrinking outdoor cable terminations, type 12TTGE3.185iwu | 80 | Each
04-74-80851 | Heat Shrinking type, end caps type CAPT105 | 100 | Each
04-74-80852 | Power Cable 11kV, 3 core, 185sqmm, Cu conductor | 40 | Km
04-74-80853 | IVECO 50C11 Dally Chassis Cab w Skylifter model 179T-PRP1278 | 5 | each
04-74-80854 | Air-condition | 5 | each
04-74-80855 | Spare parts kit for 3 years for item 181 - figures 184-270 | 5 | lot
04-74-80856 | P.T.O pump | 5 | each
04-74-80857 | Emergency Motor unit | 5 | each
04-74-80858 | Upper limiter switch | 10 | each
04-74-80859 | Lower limiter Switch | 10 | each
04-74-80860 | Pressure filter | 20 | each
04-74-80861 | Return line filter | 20 | each
04-74-80862 | Limiter device | 5 | each
04-74-80863 | Leg lock valve | 10 | each
04-74-80864 | Switch | 20 | each
04-74-80865 | Emergency stop switch | 5 | each
04-74-80866 | Relay | 20 | each
04-74-80867 | Chain switch | 5 | each
04-74-80868 | Seal | 70 | each
04-74-80869 | O-ring | 130 | each
04-74-80870 | Flat Shim | 10 | each
04-74-80871 | Stepped Washer | 10 | each
04-74-80872 | Tapared Washer | 30 | each
04-74-80873 | Spacer | 10 | each
04-74-80874 | Shim | 50 | each
04-74-80875 | Lipped Seal | 40 | each
04-74-80876 | Split Plastic Collers | 80 | each
04-74-80877 | Shim Retainer | 10 | each
04-74-80878 | Graphit Spacer | 10 | each
04-74-80879 | Graphit Spacer | 10 | each
04-74-80880 | Leg cylinder | 5 | each
04-74-80881 | Main lift cylinder | 5 | each
04-74-80882 | Basket rotation cylinder | 5 | each
04-74-80883 | Complete Hose Set - figures 212-221 | 5 | set
04-74-80884 | Hydraulic Hose, OD 1/4", length 1500 mm | 10 | each
04-74-80885 | Hydraulic Hose, OD 1/4", length 2500 mm | 15 | each
04-74-80886 | Hydraulic Hose, OD 1/4", length 1400 mm | 10 | each
04-74-80887 | Hydraulic Hose, OD 3/8", length 800 mm | 5 | each
04-74-80888 | Hydraulic Hose, OD 3/8", length 630 mm | 5 | each
04-74-80889 | Hydraulic Hose, OD 1/4", length 16550 mm | 30 | each
04-74-80890 | Hydraulic Hose, OD 3/8", length 16850 mm | 10 | each
04-74-80891 | Hydraulic Hose, OD 1/4", length 15850 mm | 10 | each
04-74-80892 | Hydraulic Hose, OD 3/8", length 520 mm | 5 | each
04-74-80893 | Hydraulic Hose, OD 3/8", length 1000 mm | 10 | each
04-74-80894 | Wind Screen | 5 | each
04-74-80895 | Brake Pad | 5 | each
04-74-80896 | Brake Disc | 5 | each
04-74-80897 | Brake Pad | 5 | each
04-74-80898 | Belt | 5 | each
04-74-80899 | Upper Gasket | 5 | each
04-74-80900 | Lower Gasket | 5 | each
04-74-80901 | Thrust Ring | 5 | each
04-74-80902 | Thrust Ring | 5 | each
04-74-80903 | Fuse | 20 | each
04-74-80904 | Fuse | 20 | each
04-74-80905 | Fuse | 20 | each
04-74-80906 | Clutch | 5 | each
04-74-80907 | Shock Absorber | 10 | each
04-74-80908 | Shock Absorber | 10 | each
04-74-80909 | Plug | 5 | each
04-74-80910 | Nozzle | 20 | each
04-74-80911 | Cartridge | 5 | each
04-74-80912 | Fuel Filter | 5 | each
04-74-80913 | Air Filter | 5 | each
04-74-80914 | Valve Guide | 40 | each
04-74-80915 | Servo Brake Assy | 5 | each
04-74-80916 | Servo Brake Assy | 5 | each
04-74-80917 | Starter Motor Solenoid | 5 | each
04-74-80918 | Water Sleeve | 5 | each
04-74-80919 | Water Hose | 5 | each
04-74-80920 | Wipers Blade | 10 | each
04-74-80921 | Oil Pan | 5 | each
04-74-80922 | Water Pump | 5 | each
04-74-80923 | Thermostat | 5 | each
04-74-80924 | Alternator Bearings | 5 | each
04-74-80925 | Alternator Regulator | 5 | each
04-74-80926 | Propeller Joint | 10 | each
04-74-80927 | Pad | 10 | each
04-74-80928 | Silent bloc | 10 | each
04-74-80929 | Suspension Shackle | 10 | each
04-74-80930 | Pins Suspension | 30 | each
04-74-80931 | Retrovisor | 5 | each
04-74-80932 | Mirror | 5 | each
04-74-80933 | Bearing | 5 | each
04-74-80934 | Cap Fuel Tank | 5 | each
04-74-80935 | Plug | 5 | each
04-74-80936 | Lamp Lh. | 5 | each
04-74-80937 | Lamp Rh. | 5 | each
04-74-80938 | Bulb | 10 | each
04-74-80939 | Lamp | 10 | each
04-74-80940 | Bulb | 10 | each
04-74-80941 | Parking Break Lining I shoe | 5 | each
04-74-80942 | Clutch master cylinder assembly | 5 | each
04-74-80943 | Cable Drum Trailer | 1 | Each
04-74-80944 | Drum Lifting Jack | 1 | Each
04-74-80945 | 50kn Cable Pulling Winch | 1 | Each
04-74-80946 | 20kn Cable Pulling Winch | 1 | Each
04-74-80947 | 5kn Cable Pusher | 2 | Each
04-74-80948 | 2kn Cable Pusher | 2 | Each
04-74-80949 | Cable rollers/straight | 300 | Each
04-74-80950 | Cabler rollers/3 part corner | 2 | Each
04-74-80951 | Lead in roller | 1 | Each
04-74-80952 | Cable duct entry guide | 2 | Each
04-74-80953 | Anti-twist swivel joint for use with 50kn winch | 1 | Each
04-74-80954 | Anti-twist swivel joint for use with 20kn winch | 1 | Each
04-74-80955 | Cable joint stand | 3 | Each
04-74-80956 | Cable jointers torch | 4 | Each
04-74-80957 | Cable joint preparation strippers | 4 | Each
04-74-80958 | Cable lubricant | 100 | Kg
04-74-80959 | Cable pulling sock for 33kV cable | 4 | Each
04-74-80960 | Cable pulling sock for 11kV cable | 4 | Each
04-74-80961 | Cable pulling sock for Pilot cable | 4 | Each
04-74-80962 | Eye-eye steel rope sling, 1m length; SWL 5tonne | 1 | Each
04-74-80963 | Eye-eye steel rope sling, 2m length; SWL 5tonne | 1 | Each
04-74-80964 | Eye-eye steel rope sling, 3m length; SWL 5tonne | 1 | Each
04-74-80965 | Distance Measuring Wheel | 1 | each
04-74-80966 | Portable Generator | 1 | each
04-74-80967 | Jointers Tents | 4 | each