## ANNEXES
SECTOR: | AGRICULTURE
Subsector: | IRRIGATION
PROJECT or TITLE:
CODE | DESCRIPTION | QUANTITY | UNIT OF MEASURE
05-09-00001 | Water Well Drilling Requirements See App. 8 | As stated in App. 8
05-09-00002 | Spare Parts For Machinery And Equipments.See App. 9C I - VII and IX | As stated in App. 9C
05-09-00003 | Spare Parts For Drilling Rigs and Pumps. See App. 9C VIII and App.9A code 00086- 00098 | As stated in App. 9A & 9C
APPENDIX 9 A . SPARE PARTS FOR PUMPING STATIONS
05-09-00004 | Phase Failer-Protection relay 380 V A.C. 75% | 200
05-09-00005 | Air Breaker Contactor 380V- 220 VA.C. | 1500
05-09-00006 | Manual change over switch different capacities | 200
05-09-00007 | Air Breaker Contactor K-ID 1 220 VA.C. | 10
05-09-00008 | Air Breaker Contactor ESU 250 / 3 220 VA.C. | 10
05-09-00009 | Current Transformer 6 S12 | 10
05-09-00010 | Current Transformer | 100
05-09-00011 | Circuit Breaker different types | 250
05-09-00012 | Control Transformer | 100
05-09-00013 | Copper busbar | 150
05-09-00014 | Automatic Circuit Breaker | 350
05-09-00015 | Circuit Breaker 11 kv , 630 A , SF6 | 4
05-09-00016 | Voltage Transformer GZ 12 , 11000 / 100 V | 5
05-09-00017 | Voltage Transformer GZ 12 , 6000 / 100 V | 5
05-09-00018 | Voltage Transformer GZ 12 , 380 / 220 V | 50
05-09-00019 | Voltage Transformer GZ 12,33000/380 V (630 KVA) | 2
05-09-00020 | Non return valve | 200
05-09-00021 | Steel pipe for pump different diameter with accessories | 20000 | m
05-09-00022 | Electrical cable different sizes | 60000 | m
05-09-00023 | Projector for nuderwater lightening | 10
05-09-00024 | Circuit breaker for switch board and accessories | 500
05-09-00025 | Lifting Gate gear box complete | 150
05-09-00026 | Shock - obsorber for hydraulic gates different sizes | 72
05-09-00027 | Out door Stationary substation 33/11 KV different capacities (MVA) with accessories and spare parts | 10
Spare Parts for Pumping station
05-09-00028 | *Main power transformer different sizes | 20
05-09-00029 | *High voltage switch gear oil break circuit breaker | 10
05-09-00030 | *Low voltage moulded case circuit breaker different type | 120
05-09-00031 | *Low voltage air break contactor with coil 220 V, a .c | 200
05-09-00032 | *bearing NU1036 | 5
05-09-00033 | *bearing NU238 | 5
05-09-00034 | *bearing NU29332 | 10
05-09-00035 | *bearing NU29348 | 3
05-09-00036 | *ball bearing NU309 | 5
05-09-00037 | *ball bearing 6309 | 3
Spare Parts for Pump type 720 - P -1225(Q=6m3/s)
05-09-00038 | *Pump bowl with guide bearing parts | 3
05-09-00039 | *Suction bell mouth | 3
05-09-00040 | *Casing | 4
05-09-00041 | *Impeller | 2
05-09-00042 | *Insert ring | 4
05-09-00043 | *Shaft | 2
05-09-00044 | *Bearing bush | 5
05-09-00045 | *Shaft protection sleeve | 5
Spare Parts for 6 KV & 11KV Switch Gear from Techono Commerze
05-09-00046 | *circuit breaker SCI 1 - 10 / 630 /350 | 4
05-09-00047 | *current transformer GS 12 30 / 5 /5A | 6
05-09-00048 | *voltage transformer GZ 12 11 / 0.1 KV | 2
05-09-00049 | *overcurrent time lag relay | 10
05-09-00050 | *neutral relay 2 RH 30 100 W A.C. | 10
05-09-00051 | *neutral relay ZRH30 100 W A.C. with drop indicator | 10
05-09-00052 | *neutral relay 2 RH 06 24 V D.C. | 10
05-09-00053 | *coil of under voltage 100 V A.C. 06 - 34 | 40
05-09-00054 | *3-pole minimum oil circuit breaker HL4 - 8, Vm = 12 KV, Im 1250 A, Hz = 50, Ith = 39 KA, t = 35, Im = 107 KA type HL4 - 8 - 6 1334 | 5
Spare Parts for Main Pump Type KAEA 1000 / 10 / 4 - 29
05-09-00055 | *main pump shaft with sleevs for pump KAEA 1000 / 10 / 4 - 29 | 1
05-09-00056 | *end bearing 712.97303.0 - 77st. | 3
05-09-00057 | *axial bearing 29348TGL 2996 | 3
05-09-00058 | *shaft protection sleeve 711.13363.0 - 73 | 3
05-09-00059 | *shaft protection sleeve 711.13362.0 - 23 | 4
05-09-00060 | *shaft protection sleeve 711.13364.0 - 33 | 3
05-09-00061 | *wearing ring 711.26166.0 - 23 | 10
05-09-00062 | *seal ring MN 54.1A47 / 20 | 10
05-09-00063 | *rubber bellow form No. 5424 | 10
Spare Parts for Pump HAEC 1200 / 5 / 2 - 091
05-09-00064 | *impeller | 1
05-09-00065 | *wearing ring | 3
05-09-00066 | *end bearing | 1
05-09-00067 | *intermediate bearing | 1
05-09-00068 | *shaft protection sleeve 0 - 83 | 1
05-09-00069 | *shaft protection sleeve 0 - 43 | 1
05-09-00070 | *shaft protection sleeve 0 - 73 | 1
05-09-00071 | *O-ring 230*5 | 6
05-09-00072 | *rubber for coupling 42 | 6
05-09-00073 | *drive shaft | 1
05-09-00074 | *pump shaft | 1
05-09-00075 | *Impeller for pump KDAEA 600 / 16 / 2 - 21 | 1
05-09-00076 | *Bearing 222 C | 10
05-09-00077 | *Bearing 29324 D | 10
05-09-00078 | *Bearing 6324 | 10
05-09-00079 | *Bearing 6312 | 5
05-09-00080 | *Bearing 6313 | 10
05-09-00081 | *Bearing HM 804848 | 5
05-09-00082 | *Bearing HM 807049 | 5
05-09-00083 | *Grease lubrication pump with motor complete | 10
05-09-00084 | *Slip ring body for electric motor DSAKJ 5627-12 | 10 | sets
05-09-00085 | *Synchro gear reducer U.S. motor parallel shaft type GSMA Frame : 52 Ratio 3 : 1 | 10
Spare Parts for Drilling Rig type B1A
05-09-00086 | Oil cooler with drive compilation DR. NO.5001605 | 10
05-09-00087 | *Rotary group A1028 ETL NO. 958654 | 30
05-09-00088 | *Pilot valve H ETL NR. 914110 | 20
05-09-00089 | *Pilot valve DFR1-SR10 10ETL NR909066 | 20
05-09-00090 | *Direct-circulation swivel compilation DR. NO. 5000609 | 10
05-09-00091 | *Axial Cyl. roller bearing 81130 | 20
05-09-00092 | *Needle bearing 140/32 RSA3 | 20
05-09-00093 | *Hydraulic motor 6M076 | 10
05-09-00094 | *Power swivel B1A complete + 50% spare parts Dr. No. 5103123 | 10
05-09-00095 | *Retaining Jaws dia 47-73 mm 5200254 | 200
05-09-00096 | *Retaining Jaws dia 70-114.3 mm 5200255 | 100
05-09-00097 | *Gear accessary to DRWG Dr. No. 5400373 | 20
05-09-00098 | *Hub accessary to DRWG DR. No. 5400374 | 20
Spare Parts for Submersible Pumps type FLYGHT model CP 3300-180 HT
05-09-00099 | *Inner seal unit | 10 | sets
05-09-00100 | *Outer seal unit | 10 | sets
05-09-00101 | *O-ring | 10 | sets
Spare Parts for Submersible Pumps type FLYGHT model 3201
05-09-00102 | *Upper seal unit | 10 | sets
05-09-00103 | *Lower seal unit | 10 | sets
05-09-00104 | *O-ring | 10 | sets
05-09-00105 | Spare Parts for Submersible Pumps type FLYGHT
| *Terminal board assy - Power cable entry assy - Shaft rotor unit - Impeller - Wear ring rotating - Locking assy - Washer -Screw - Compression spring - Stator 380 VA - Seal sleeve (33-37)mm - Seal sleeve (37-39)mm - Outer casing - Starter casing -Plate - Packing - Starter housing - Oil housing bottom - Bearing holder - Cable entry unit | 20 10 8 15 10 15 15 100 100 10 25 25 3 3 10 20 3 5 5 10
spare part for Kirkuk Irrigation Project. 1./ MAIN PUMP
05-09-00106 | *Bearing different sizes with cover | 1100
05-09-00107 | *Bearing bush (int.m.b.)1040438 | 4
05-09-00108 | *Bearing sleeve (int.m.b) 1040439 | 8
05-09-00109 | *Impeller | 12
05-09-00110 | *Coupling | 24
05-09-00111 | *Sleeve 58424 | 15
05-09-00112 | *Bearing sleeve (int.m.b) 1040368 | 14
05-09-00113 | *Bearing bush (int.m.b) 1040367 | 7
05-09-00114 | *Pump element with piston 600-25046-2 | 40
05-09-00115 | *Coupling | 200
05-09-00116 | * Mechanical seal | 200
05-09-00117 | * Shaft | 50
2./ OIL PRESSURERE DEVICE
05-09-00118 | *Control magnet valve s10 w 01 | 10
05-09-00119 | *Pressure switch Ts 60- do 10.0mpa | 10
05-09-00120 | *Pressure gauge P (0-16 mpa) | 10
05-09-00121 | *Non-Return valve RHD 12-S | 10
3./ ELECTRIC PARTS
05-09-00122 | Three-pole H.V contactor for rated voltage 7.2Kv 50.4s for rated current 400 A for auxiliary voltage110 D.C type vc 3ad 400c . made by GEC. 452.58763 stranea RK 132946 | 10
05-09-00123 | H .V fuse type 36A 121 250A , 7.2 KV | 100
05-09-00124 | H.V HRC fuse cartridge for 10 kv .type unvc with striker . 452.58763 stranea RK 132946 | 20
05-09-00125 | Auto - transformer for starting of H.V motor | 120
05-09-00126 | Single - phase capacity of rated voltage6.1k .v of rated capacity150 KVAR for frequency 50 / c/s type M3p6 -150 M24 for indoor mounting . RK44629 | 10
05-09-00127 | Rotor for motors | 20
05-09-00128 | Stator for motors | 20
05-09-00129 | Compact HV vacuum contactor | 25
05-09-00130 | Economy resistor for HV vacuum | 150
4/AIR CONDITIONING PARTES
05-09-00131 | Circulation pump boiler type GHR-401 .N=100W | 2
05-09-00132 | Control three way valve heating coil V5015 A - honey well- NO 25. CV=10 G=3.0 m3/n p =12.5 KPA. | 2
05-09-00133 | Diverting - three - valve fan coil v 5066 honey well - N 40 KV =25 G=11.4M/H AP=8KPA | 4
05-09-00134 | Circulation pump fan coil GHR 651 N = 435W | 4
05-09-00135 | Circulation pump-Chiller(T 501-4, G =8M3/h H=13 KPA) | 2
05-09-00136 | Double shaft motor for fan coil unit with code code 823478 -411 | 10
05-09-00137 | Circulation pump for fan coil unite GHN 402A-R/2 G=6KPA , N=0.42 KW | 2
05-09-00138 | Circulation pump for boiler GHN 404 C-R/2 G=20 M3/h H=26 kpa N= 0.11/0.19 kw. | 2
05-09-00139 | Circulation pump for Chiller type G 65/21 G = 50 m3/h H=60 kpa N = 0.8 kw | 2
05-09-00140 | Circulation pump for cooling tower type G65/2 G =5.5 m3/h H=95 kpa N = 1.0 kw | 2
Spare parts for pump type KDEA 800/16 10-31
05-09-00141 | Protective shaft sleeve | 3
05-09-00142 | Protective shaft sleeve | 3
05-09-00143 | Protective shaft sleeve | 3
05-09-00144 | Impeller | 1
05-09-00145 | Impeller cap. | 1
05-09-00146 | Coupling shell , divided . | 2
05-09-00147 | Coupling ring , divided . | 2
05-09-00148 | End bearing | 3
05-09-00149 | Intermidiate bearing | 3
05-09-00150 | Mechanical seal | 3
05-09-00151 | Coupling universal joint | 2
05-09-00152 | Shaft | 2
05-09-00153 | Crease lubrication pump | 2
Spare parts for BADRA- JASSAN project
05-09-00154 | Impeller . 310-12 | 4
05-09-00155 | Protective ring . 310-12 | 8
05-09-00156 | Protective bushing of shaft. 29648 | 24
05-09-00157 | Bushing . 29649 | 24
05-09-00158 | Rotor. 2 -2915 C | 4
05-09-00159 | Pump shaft . 2 -29162 | 4
05-09-00160 | Guard ring . 310-21 | 8
05-09-00161 | Bushing . 29649 | 16
05-09-00162 | Shaft . 28663 | 13
05-09-00163 | Impeller . 28810 | 13
05-09-00164 | Upper bearing . 28635 | 24
05-09-00165 | Electric drive . 15 -38072 | 4
05-09-00166 | Ball bearing 28492 C . | 6
05-09-00167 | Guid apparatus . 2841C | 4
05-09-00168 | Bearing . B- 28639 | 24
05-09-00169 | Bush of chalves rubber lined . 34337 | 40
05-09-00170 | Centrifugal horizantal singale - stage double entry pump impeller - 590 bmm 0.4m3/sec head -93m N1485 rpm . | 4
05-09-00171 | Thrust bearing 29440 B. | 10
Spare Parts for type KAEA 800/10/ 6-21
05-09-00172 | Main pump shaft with sleeves 712-973-00-0-17 st. | 1 | set
05-09-00173 | End bearing 712-973-00-0-17 st. | 2
05-09-00174 | Intermidiate bearing 712-97523- 0-47 st . | 2
05-09-00175 | Seal ring m s4.1a.47120 | 2
05-09-00176 | Pretection tube . | 2
05-09-00177 | intermidiate shaft . | 2
05-09-00178 | Cricuit beaker el- 630/220 a .c.motor drive bisi - sp-a 200-400 | 1
05-09-00179 | Cricuit beaker el- 400/220 ov a.c hand drive bisi - sp-a 100-2001800-1600 | 2
Spare parts for Genarator sets type(NPG-...)
05-09-00180 | AVR p46x206020 | 10
05-09-00181 | Relay stop 64918 - 62800 | 10
05-09-00182 | Relay synchro device p 38x206020 | 10
05-09-00183 | Relay set bath barage p 22x206020 | 10
05-09-00184 | Relay set p 48x206020 | 10
05-09-00185 | Change over switch p 66x206020 | 5
05-09-00186 | Magnatic condition p 67x206020 | 10
05-09-00187 | Turbocharge 49167-00101 | 10
05-09-00188 | Diod rotor sets P 44x206020 | 100
05-09-00189 | Solonoid valve 04400x02010 | 50
05-09-00190 | Contactors EG 315 - 1 418018-N(coil 220v) | 120
05-09-00191 | Contactors EG 160 - 1sk 418015-N(coil 220v) | 70
APPENDIX 9 B - 1 SPARE PARTS FOR AL-JAZIRAH MAIN PUMP STATION
05-09-00192 | PB 400 Input Card ref V08D ref 61136 | 5
05-09-00193 | PB 400 Output Card 24 / 48 V D.C., 0.5 A ref 61130 | 5
05-09-00194 | PB 400 Output Card 3A, 250V AC, ref 61100 | 2
05-09-00195 | PB 400 Power Supply CPLEX ref 61032 | 2
05-09-00196 | PB 400 Power Supply ALIM ref 61061 | 2
05-09-00197 | PB 80 Input Card 24V D.C., ref 60730 | 2
05-09-00198 | PB 80 Output Card 3A, 250V, A.C. ref 60740 | 5
05-09-00199 | D.C. Power Supply F 24V, 3A / 1A, ref 71035 | 1
05-09-00200 | D.C. Power supply F 12V, 0.6 A, ref 71031 | 1
05-09-00201 | Instantaneous or definite time over current relay( I.T.G. 7153) | 1
05-09-00202 | Motor protective relays medium voltage ( I.T.M. 7860) | 1
05-09-00203 | Voltage current convertor module HDOXO ( FT 42295 / C ) | 1
05-09-00204 | High level input differential alarm modul ( FT 42 - 166 / D ) | 1
05-09-00205 | Alarm high level input module ( FT42 - 160/C) P.S. | 1
05-09-00206 | Voltage frequency ( FT 42 - 164 / D ) multiplierand divider module ( FT 42 - 163 / D ) | 2
05-09-00207 | *Machine differential protection relay (D.T.M.7031) | 1
05-09-00208 | *Instantaneous or definite timeVoltage relay (T.T.G.7013) | 1
05-09-00209 | *Frequency relay (H.T.G.7012) | 1
05-09-00210 | *Zero sequence over voltage | 1
05-09-00211 | * Sensitive relay(R.N.V.H.3110) | 1
05-09-00212 | *Directional over current relay (R.S.D.W.3000) | 1
05-09-00213 | *Electronic gauge pressure transmitter(Type F60 EP 3100) Ref . S P6 -1-12 | 1
05-09-00214 | * Invertor . of. maxipac (SXM.5000)UPS | 1
05-09-00215 | *Temperature controller (Pyromat plus 300) FT42-405/C | 1
05-09-00216 | - Galvanic isolation module ( FT 42-165/B) | 1
05-09-00217 | -Summation module ( FT 42-167/E) | 1
05-09-00218 | -PB 80 C.P.U. ref 60720 | 1
05-09-00219 | -PB 80 power supply ref 60701 | 1
05-09-00220 | - PB 80 emulator ref 60757 | 1
05-09-00221 | -PB 400 input card ref 61080 | 1
05-09-00222 | -PB 400 input card ref 61120 | 1
05-09-00223 | -PB 400 input card ref 61132 | 1
05-09-00224 | -PB 400 output card ref 61101 | 1
05-09-00225 | -PB 400 monitoring ref 61057 | 1
05-09-00226 | -PB 400 mem ref 61041 | 1
05-09-00227 | -PB 400 JBUS - CPL ref 61183 | 1
05-09-00228 | -PB 400 alim(220V) ref 61081 | 1
05-09-00229 | -PB 400 pu | 1
APPENDIX 9 B - 2 SPARE PART FOR SPRINKLER IRRIGATION SYSTEM
SPARE PART FOR LINEAR MOVE SYSTEM
05-09-00230 | Galvanized pipes (different lengths) | 400 | pcs
05-09-00231 | Fitting | 600 | pcs
05-09-00232 | Electrical parts | 1200 | pcs
05-09-00233 | Bronze Impller for pump | 20 | pcs
05-09-00234 | Bronze shaft sleave | 20 | pcs
05-09-00235 | *Sleave adapter | 20 | pcs
SPARE PARTS FOR SOLID AND RAIN STAR SYSTEM
05-09-00236 | Rubber hose | 170 | pcs
05-09-00237 | Fitting | 180000 | pcs
05-09-00238 | Galvanized pipes quick coupling( diffrent lengths) | 80000 | pcs
05-09-00239 | Sprinkler nozzel (5.5 / 3.1 )mm complete | 33000 | pcs
APPENDIX 9 C - I SPARE PARTA FOR (TRUK CHASSIS AND PUMP CRETE) TRUCK MODEL : MACK TYPE : 850 DM 690S ENGINE MODEL : MACK - EM 6- 300L PRODUCTION : 1988
05-09-00240 | (BRAKE)( CHAMBER) ASSY | 150
05-09-00241 | DLAPHRAGM | 200
05-09-00242 | COVER ASSY | 15
05-09-00243 | DLAPHRAM | 100
05-09-00244 | VALVE ASSY | 20
05-09-00245 | CHAVPEL ASSY | 100
05-09-00246 | CHOWPER ASSY | 100
05-09-00247 | OIL SEAL | 100
05-09-00248 | GASKETICYL HD(FIKERIN6) | 60
05-09-00249 | GASTKET CYL HD | 40
05-09-00250 | GUID , INL ANDEXHVLY | 80
05-09-00251 | VALVE , EXH. | 98
05-09-00252 | VALVE - INL. | 98
05-09-00253 | GASKET SET . ENG | 20
05-09-00254 | GASKET SET , VLVGRINDNG | 20
05-09-00255 | CRANK SHALT AND BEARING KIT | 4
05-09-00256 | MAIN BARING KIT STD. | 4
05-09-00257 | MAIN BEARING KIT(0.010)U/S | 15
05-09-00258 | MAIN BEARING KIT(0.020)U/S | 15
05-09-00259 | OIL SEAL , C/S RR | 40
05-09-00260 | FUEL FILTER , SEC | 400
05-09-00261 | SLEEVE , CYL. | 80
05-09-00262 | SEAL NTPUMP | 40
05-09-00263 | G 4EKEE , LOW C/C | 2
05-09-00264 | OIL COOLER ASSY | 4
05-09-00265 | CORE OIL COOLFR | 4
05-09-00266 | GASKIT | 20
05-09-00267 | SEAL | 20
05-09-00268 | OIL FILTER | 400
05-09-00269 | BEURING , CON , ROD (STD) | 12
05-09-00270 | BEARING , CON, ROD (010) | 60
05-09-00271 | BEARING , CON, ROD (020) | 60
05-09-00272 | WASHER , C.S.THRUST | 20
05-09-00273 | CON , ROD | 12
05-09-00274 | PIN, PISTON (STD) | 12
05-09-00275 | RWG , RETG | 48
05-09-00276 | PISTON RIWGSET | 80
05-09-00277 | PISTON KTT | 80
05-09-00278 | TUR OOCHARGER | 20
05-09-00279 | W.PUMP REPAIRKIT | 20
05-09-00280 | W.PUMP ASSY | 6
05-09-00281 | GASKET SETENG | 20
05-09-00282 | AIR COMP. ASSY | 6
05-09-00283 | CON.ROD | 8
05-09-00284 | CON. ROD INSERT KIT | 20
05-09-00285 | CY L. HEAD ASSY | 8
05-09-00286 | OIL SEAL, C/C | 15
05-09-00287 | PISTOH STD | 20
05-09-00288 | PISTON RING SET KIT | 20
05-09-00289 | REPAIR KIT | 20
05-09-00290 | UNL DER KIK | 20
05-09-00291 | NOZZLF HOLDER ASSY | 80
05-09-00292 | NOZZLE | 80
05-09-00293 | WT . PUMP | 8
05-09-00294 | PLUNGR RARREL ASSY | 60
05-09-00295 | GOVER NOR ASSY | 8
05-09-00296 | OIL PUMP , ASSY | 15
05-09-00297 | PLUNGER , OIL PRSSURE | 15
05-09-00298 | BEARING , BALL | 20
05-09-00299 | BEARING , BALL | 20
05-09-00300 | COVER , WAT .PUMP | 8
05-09-00301 | ROTOR , WAT .PUMP | 8
05-09-00302 | SEAL | 20
05-09-00303 | SEAL | 40
05-09-00304 | SHATT , WAT PUMP | 15
05-09-00305 | CIVTCH ASSY | 50
05-09-00306 | DIS FRT | 80
05-09-00307 | DIS RIR | 80
05-09-00308 | PIATE , INTM | 80
05-09-00309 | LEVER | 24
05-09-00310 | PIVOT , PRESS SPRNG | 80
05-09-00311 | RETAINER | 50
05-09-00312 | RING | 15
05-09-00313 | PIATE | 40
05-09-00314 | BEARING | 40
05-09-00315 | FORK | 50
05-09-00316 | OIL SEAL | 15
05-09-00317 | OIL SEAL | 15
05-09-00318 | FORK | 8
05-09-00319 | FORK | 8
05-09-00320 | SEAL | 15
05-09-00321 | SEAL | 15
05-09-00322 | YNIVERSAL JOINT | 20
05-09-00323 | BEARING | 18
05-09-00324 | CUSHION IRBG | 18
05-09-00325 | SLINGER FOLL | 18
05-09-00326 | UNIVERSAL JOINT | 20
05-09-00327 | VALVE | 20
05-09-00328 | VALVE SELEC | 20
05-09-00329 | VALVE | 15
05-09-00330 | STEERINGGEAR | 8
05-09-00331 | MATED SERVKF KIT | 8
05-09-00332 | UNIRERSAL JOINT | 8
05-09-00333 | PUMP ASSY | 15
05-09-00334 | CARTRIDGC SERVICE KIT | 15
05-09-00335 | SEAL SERVICE KIT | 15
05-09-00336 | ELEMENT ASS | 100
05-09-00337 | ENGINE ASSY | 5
05-09-00338 | HYDRULIC MOTOR 210.16.21.73 A2F 28 W3 Z1 | 8
05-09-00339 | SPRING PRESSURE PLATE BRAKE 790 -10-021 | 8
05-09-00340 | SCRAPER 65X75X7 | 20
05-09-00341 | GROOVED RING SEALING SET 90/70 X12,5 G18 -90 | 20
05-09-00342 | SCRAPER 40X50X7 | 40
05-09-00343 | GROOVED RING SEALING SET 40/50/10 | 40
05-09-00344 | CONTROL BLOCK WITH PRESSURE LIMIT VALVE | 8
05-09-00345 | PISTON RING SG 110X 100,8X3 | 15
05-09-00346 | SEALING GLAND SET 63X83X37 | 15
05-09-00347 | GATE VALVE KIT 180/55/25 | 15
05-09-00348 | GUID SLEEVE | 50
05-09-00349 | PLSTON BUSHING | 15
05-09-00350 | SEALING RING | 15
05-09-00351 | GROOVED RING SEALING SET 45/65X12.5 | 15
05-09-00352 | SEALING GLAND SET 45/65X27.5 | 15
05-09-00353 | HYDRULIC MOTOR AMS 25- M10 | 14
05-09-00354 | WATER PUMP (HYDR)7560-N-KMT2 | 8
05-09-00355 | SEALING SET FOR HYDRULIC MOTOR AMS 25 M-10 | 15
05-09-00356 | SEALING SET FOR WATER PUMP HYPRO- ROLLE (SMALL) | 15
05-09-00357 | SEALING SET FOR WATER PUMP HYPRO- ROLLE | 15
05-09-00358 | SEALING SET CPL. | 15
05-09-00359 | HAND VALVE HVM-ROL 10632L EV 413.000 | 8
05-09-00360 | HAND VALVE HSRL10632L EV 357.000 | 8
05-09-00361 | SOLENDID VALVE MSE 06432/12V | 8
05-09-00362 | VALVE CARTRIDGE A2A 125 200 BAR | 8
05-09-00363 | VALVE CARTRIDGE A2A 125 70 BAR | 8
05-09-00364 | VENTILATION ONIT 12V FOR OIL COOLER | 15
05-09-00365 | HYDRULIC PUMP 226.22.04.18 A7VO 80 LRH/ 60RPZBI | 20
05-09-00366 | HYDRULIC PUMP 210.16.28.66 A2F 23 L3 Z4 | 20
05-09-00367 | HYDRULIC PUMP 210.12.28.50 A2F 23 L3 Z4 | 15
05-09-00368 | HAND VALVE HVM 10632 WITH PISTON EV 355.127A | 16
05-09-00369 | HAND VALVE HVM 10632F WITH PISTON EV 355. 126B | 20
05-09-00370 | HAND VALVE HSR 10631 | 16
05-09-00371 | HAND VALVE HVM 106311 WITH PISTON EV 355. 129 | 8
05-09-00372 | SOLENDID VALVE MSE D 06432/12V. | 16
05-09-00373 | PRE-LOAD VALVE VV - 2 R 3/4 | 8
05-09-00374 | THROTTLE CHCK VALVE SRD-A- 10 .S | 8
05-09-00375 | PRESSURE LIMIT VALVE DVP-P-10S (EV 884.006) | 8
05-09-00376 | VALVE CARTRIDGE SVP - 10S 80 BAR | 16
05-09-00377 | THROTTLE CHCK VALVE 1/2" DRVL - R1/2 1.8 L | 8
05-09-00378 | THROTTLE CHCK VALVE 1/2 DRVL - R1/2" 1.3C" | 8
05-09-00379 | THROTTLE CHCK VALVE 1/2" DRVL - R1/2 0.9" K" | 8
05-09-00380 | VALVE CARTRIDGE DRP 10S | 12
05-09-00381 | VALVE CARTRIDGE SVP- 10S 280 BAR | 12
05-09-00382 | HYDRULIC CYLINDES 180/110X1.050 | 8
05-09-00383 | HYDRULIC CYLINDES 200/140X1400 | 8
05-09-00384 | HYDRULIC CYLINDES 160X100 X 1000 | 8
05-09-00385 | HYDRULIC CYLINDES 110X70X670 | 8
05-09-00386 | SEALING GLAND SET 110X130X40 E2 -110/SM5-110 | 30
05-09-00387 | SCRAPER 110X122X12 | 30
05-09-00388 | GROOVEDRING SEALING SET 180/150X18.8,G18-180 | 30
05-09-00389 | SEALING GLAND SET 140/165X46 E2 -140/SM5-140 | 20
05-09-00390 | CRAPER 140X155X16 | 20
05-09-00391 | SCRAPER 70X80X7 | 20
05-09-00392 | GROOVED RING SEALING SET 200/170X18,8G 18-200 | 30
05-09-00393 | SEALING GLAND SET 70190140 E 2-70 SM5 -70 | 20
05-09-00394 | GROOVED RING SEALING SET 110/90X12,5G 18-110 | 30
05-09-00395 | CLEANING BALL FOR DN 125 HARD | 100
05-09-00396 | FILTER ELEMENT | 100
05-09-00397 | HYDRULIC MOTOR OMR 2001 SN21/RS 200 | 15
APPENDIX 9 C - II SHOVEL LOADER KAWASAKI MODEL 70 ENGINE ISUZU DA640
05-09-00398 | CON. ROD BEARING | 18
05-09-00399 | CON. ROD BEARING | 18
05-09-00400 | BEARING KIT | 3
05-09-00401 | BEARING KIT | 3
05-09-00402 | OIL PUMP | 6
05-09-00403 | FEED PUMP | 10
05-09-00404 | CYL. HEAD | 3
05-09-00405 | PAD | 24
05-09-00406 | O RING | 60
05-09-00407 | VALVE | 60
05-09-00408 | LINER KIT | 10
05-09-00409 | TURBO CHARGER | 5
05-09-00410 | EXH. VALVE | 60
05-09-00411 | BEARING CON. ROD | 12
05-09-00412 | PISTON RING KIT | 12
05-09-00413 | GASKET KIT | 10
05-09-00414 | CRANK SHAFT | 2
05-09-00415 | TURBIN PUMP | 10
05-09-00416 | TURBIN PUMP | 6
05-09-00417 | TURBIN PUMP | 6
05-09-00418 | GEAR PUMP | 10
05-09-00419 | GEAR PUMP | 10
05-09-00420 | PISTON | 2
05-09-00421 | HOSE | 10
05-09-00422 | SEAL KIT | 10
05-09-00423 | B.B | 10
05-09-00424 | B.B | 10
05-09-00425 | HOSE | 10
05-09-00426 | HOSE | 10
05-09-00427 | HOSE | 10
05-09-00428 | SEAL KIT | 20
05-09-00429 | 1ST.P.ROPELLT S | 4
05-09-00430 | SEAL KIT | 36
05-09-00431 | RAD. AYY | 3
APPENDIX 9 C - III SHOVEL LOADER KAWASAKI MODEL 70B ENGINE ISUZU 6BDIT
05-09-00432 | GAS PUMP | 1
05-09-00433 | AIR COMP. | 1
05-09-00434 | BUSH KIT | 5
05-09-00435 | WATER KIT | 5
05-09-00436 | BIGEN | 12
05-09-00437 | BIGEN | 12
05-09-00438 | P. GLOW | 30
05-09-00439 | BIGEN | 12
05-09-00440 | NOZZLE | 18
05-09-00441 | RINGS | 18
05-09-00442 | BUSH | 18
05-09-00443 | WATER PUMP | 1
05-09-00444 | OIL PUMP | 2
05-09-00445 | TURBO CHARGER | 2
05-09-00446 | BEARING | 2
05-09-00447 | CRANK SHAFT | 1
05-09-00448 | PISTON | 18
05-09-00449 | BEARING KIT | 2
05-09-00450 | BEARING | 2
05-09-00451 | COVER | 1
05-09-00452 | COVER GASKET | 2
05-09-00453 | BEARING KIT | 2
05-09-00454 | BEARING | 2
APPENDIX 9 C - IV SHOVLOADER KAWASAKI MODEL 80 ENGINE ISUZU E120PK
05-09-00455 | REPAIR KIT | 6
05-09-00456 | CYL. HEAD | 2
05-09-00457 | GEAR PUMP | 2
05-09-00458 | TURBIN PUMP | 10
05-09-00459 | TURBIN PUMP | 10
05-09-00460 | GEAR PUMP | 2
05-09-00461 | TURBIN PUMP | 10
05-09-00462 | CLUTCH PLATE | 140
05-09-00463 | SEAL KIT | 6
05-09-00464 | GEAR | 3
05-09-00465 | CLUTCH DISC | 120
05-09-00466 | AIR VALVE | 120
05-09-00467 | VALVE | 120
05-09-00468 | OIL COOLER | 4
05-09-00469 | WATER PUMP | 2
05-09-00470 | OIL PUMP | 5
05-09-00471 | CRANK SHAFT | 2
05-09-00472 | PISTON | 18
05-09-00473 | LINER | 18
05-09-00474 | RING KIT | 10
05-09-00475 | GASKET KIT | 10
05-09-00476 | BEARING CON. ROD | 12
APPENDIX 9 C - V SPARE PARTS FOR HITACHI HYDRAULIC EXCAVATOR MODEL EX200
05-09-00477 | HYDRAULIC PUMP | 2
05-09-00478 | CARTRIDGE | 3
05-09-00479 | ROTOR | 3
05-09-00480 | PISTON | 10
05-09-00481 | SHAFT | 2
05-09-00482 | OIL SEAL | 5
05-09-00483 | FORK | 2
05-09-00484 | CONTROL VALVE | 2
05-09-00485 | HYDROLIC PUMP | 2
05-09-00486 | GEAR PUMP | 10
05-09-00487 | MOTOR PLUNGER | 10
05-09-00488 | GEAR PUMP | 2
05-09-00489 | OIL SEAL | 5
05-09-00490 | PISTON | 8
05-09-00491 | ROTOR | 2
05-09-00492 | VALVE | 2
05-09-00493 | SEAL KIT | 5
05-09-00494 | PISTON HEAD | 2
05-09-00495 | OIL FILTER | 500
05-09-00496 | HYDRAULIC FILTER | 300
05-09-00497 | SEAL KIT | 4
05-09-00498 | FUEL FILTER | 300
05-09-00499 | SEAL KIT | 5
05-09-00500 | SEAL KIT | 5
APPENDIX 9 C - VI FOR LIBGHERR EXCAVATOR
05-09-00501 | PUMP | 10
05-09-00502 | PUMP | 10
05-09-00503 | PUMP | 4
05-09-00504 | COMPRESSOR | 4
05-09-00505 | FEUL PUMP | 10
05-09-00506 | CRANK SHAFT | 5
05-09-00507 | BUSH & PISTON | 60
05-09-00508 | VALVE | 50
05-09-00509 | OIL FILTER | 500
05-09-00510 | TURBO CHARGER | 10
05-09-00511 | FUEL FILTER | 300
05-09-00512 | HYDRAULIC FILTER | 300
05-09-00513 | NOZZLE | 100
05-09-00514 | PLANGER | 60
05-09-00515 | DILEVERY VALVE | 60
APPENDIX 9 C - VII FOR HITACHI HYDRAULIC MITSUBISHI DIESEL ENGINE MODEL 6BDIT EXCAVATOR MODEL UH83
05-09-00516 | HYDRALIC PUMP | 5
05-09-00517 | GEAR PUMP | 2
05-09-00518 | GEAR PUMP | 1
05-09-00519 | BODY | 1
05-09-00520 | COUPLING | 4
05-09-00521 | GEAR PUMP | 1
05-09-00522 | GEAR | 1
05-09-00523 | ELECTRIC WIRING BORD | 5
05-09-00524 | DOUPLE PUMP | 2
05-09-00525 | VALVE | 2
05-09-00526 | SPEARCAR | 5
05-09-00527 | SEAL | 10
05-09-00528 | O RING | 10
05-09-00529 | JOINT | 40
05-09-00530 | OIL SEAL | 5
05-09-00531 | CONTROL PUMP | 2
05-09-00532 | VALVE | 2
05-09-00533 | OIL SEAL | 10
05-09-00534 | OIL SEAL | 10
05-09-00535 | RING | 6
05-09-00536 | GASKET KIT | 5
05-09-00537 | GASKET | 4
05-09-00538 | LINER | 18
05-09-00539 | PISTON | 18
05-09-00540 | VACUAM PUMP | 5
05-09-00541 | TURBO CHARGER | 5
05-09-00542 | KIT TURBO | 4
05-09-00543 | TURBO CHARGER | 2
05-09-00544 | SHAFT AND WHEEL | 4
APPENDIX 9 C - VIII DRILLING RIGS B0 / B1A WIRTH
05-09-00545 | VDP22####204 | 5
05-09-00546 | VDP/VDSP22 | 15
05-09-00547 | VDP/VDSP22 | 5
05-09-00548 | Sub. P. L. Pilot Operated Relief Model VDP & VDSP22 | 5
05-09-00549 | VDP 22 | 10
05-09-00550 | VDSP20###237 | 5
05-09-00551 | Sub. P. L. “D” Spool VDSP 20 With 3 Pos. Detent, Doppel Type C | 5
05-09-00552 | Sub Parts List “D” Spool Spring Centeral VDSP 20 | 5
05-09-00553 | Sub P.L> “G” Spool Spring Central VDSP 20 | 5
05-09-00554 | Pilot Operated Reief For VDP11 & VDP12 | 5
05-09-00555 | VDSP20##211 | 5
05-09-00556 | VDP22##231 | 5
05-09-00557 | VDP11####211 | 5
05-09-00558 | VDR10 B206 | 5
05-09-00559 | VPR10 B1 | 5
05-09-00560 | Anticipatory - Control Appliance | 8
05-09-00561 | Axial Piston Regulating Pump | 7
05-09-00562 | Geared Double - Pump | 5
05-09-00563 | Hydraulic Motor | 10
05-09-00564 | Additional Gearing For Power Swivel (Complete Unit) | 3
05-09-00565 | Gear Motor | 3
05-09-00566 | Power Swivel | 3
05-09-00567 | Variable Displacement Pump | 12
05-09-00568 | Hydraulic Motor | 10
05-09-00569 | Hydraulic Motor | 10
05-09-00570 | Complete Gear Box | 6
05-09-00571 | Retaining Jaws dia (47 - 73 ) mm. | 20
05-09-00572 | Retaining Jaws dia ( 70 - 114.3) mm. | 20
APPENDIX 9 C - IX SPARE PARTS FOR DREDGER
for Diesel engin type D 399
05-09-00573 | Cli-head gasket kit | 64
05-09-00574 | Frrule | 168
05-09-00575 | Frrule | 192
05-09-00576 | Gasket k | 128
05-09-00577 | Champer ass | 16
05-09-00578 | Valve (exh) | 64
05-09-00579 | Valve (int) | 64
05-09-00580 | Guide (int) | 32
05-09-00581 | Guide (exh) | 32
05-09-00582 | Liner | 64
05-09-00583 | Piston Group with ring | 64
05-09-00584 | fuel no 33 lep | 128
05-09-00585 | Pump | 128
05-09-00586 | Fuel transfer Pump | 8
05-09-00587 | Water Pump repaer kit | 8
05-09-00588 | Turbo charger assem | 4
05-09-00589 | Gear drive | 6
05-09-00590 | Bearing (big end)std | 6
05-09-00591 | Bearing (main.end) std | 64
05-09-00592 | Crank shaft | 2
05-09-00593 | Valve | 2
05-09-00594 | Valve | 2
05-09-00595 | Matles . Ass | 2
05-09-00596 | Fule filter | 120
05-09-00597 | Oil filter | 120
05-09-00598 | Air starter | 12
05-09-00599 | Cavernor | 2
05-09-00600 | Bearing (0.5” under size) | 50
05-09-00601 | Bearing (0.5” under size) | 50
IHC BEREAR 4000 for deage pump type 162 - 3570
05-09-00602 | Pump casing cs-30mn5 | 3
05-09-00603 | Impeller with no3-bladed gs . 30m5 | 3
05-09-00604 | Suetion cover with water flwing | 3
05-09-00605 | Shaft cover | 3
05-09-00606 | Water champen shaft side | 3
05-09-00607 | Suetion mouth wearing ring . maxidur | 3
05-09-00608 | Wearing plate suetion side with water flushing | 6
05-09-00609 | Wearing plate shaft side | 6
05-09-00610 | Sesparation plate 57005-091 | 9
05-09-00611 | Bush 57022-014 | 9
05-09-00612 | Wearing ring 57022-104 | 9
05-09-00613 | Manchet suction side 57022-134 | 9
05-09-00614 | Bearing block complete | 1
05-09-00615 | Simmer ring 300x335x18 | 5
05-09-00616 | Wearing bush 57005-051 | 5
05-09-00617 | For greasing apparatus type R-fs 24 | 24
05-09-00618 | Cartridge kit A38 for vickesPump | 24
05-09-00619 | Cartridge kit A17 for vickesPump | 6
05-09-00620 | Seal kit38 for vickes Pump | 24
for staffa hydn . Motore m(b200 s red divil)
05-09-00621 | Complete Motor | 10
05-09-00622 | Service kit | 40
05-09-00623 | Stork Pump kge 16-6 | 12
05-09-00624 | Air comprossor tk-170 Complete | 6
05-09-00625 | Valve set (6A,6B,8B,8B) | 24
05-09-00626 | Connecting rod 18-41 | 6
05-09-00627 | Piston 18-3 | 6
05-09-00628 | Piston ring 18- 9 | 6
05-09-00629 | Piston ring 18-10 | 6
05-09-00630 | Piston ring 18- 11 | 6
05-09-00631 | Bearing 10-31 | 6
05-09-00632 | Pressure switch 6-460 | 3
For fresh water hydrophone
05-09-00633 | Stonk Pump sp 154 | 3
05-09-00634 | Pressure switch 28-1607-1 | 3
For gland type nic -50230
05-09-00635 | Impeller (bron 3 e)88/10/2 | 4
05-09-00636 | Shaft with key and nut | 4
05-09-00637 | Shaft bush | 6
05-09-00638 | Set wearing ring | 6
05-09-00639 | Set bearings | 6
For main switch board
05-09-00640 | Switch 4-pol -63A-172N0140 | 30
05-09-00641 | Key switch 03-191 | 3
05-09-00642 | Regulating Trans formator 220 V1A | 3
05-09-00643 | Relay 24 v dc (m4-variac) dg 24 vdc | 100
05-09-00644 | Relay foot v23 | 25
05-09-00645 | Alarm annun ciator 5points 24v.dc2702 | 6
for Diesel - Marine Engine cater piller 3412
05-09-00646 | Cyl-head gasket kit | 8
05-09-00647 | Cyl-head gasket kit | 8
05-09-00648 | Ferrule | 48
05-09-00649 | Valve(exh) | 24
05-09-00650 | Valve(int) | 24
05-09-00651 | Liner | 12
05-09-00652 | Piston group with rings | 12
05-09-00653 | Fule nozzel | 24
05-09-00654 | Fule transfer Pump | 2
05-09-00655 | Water Pump repair kit | 2
05-09-00656 | Bearing (big end)std | 12
05-09-00657 | Bearing (main .std ) | 7
05-09-00658 | Crank shaft | 1
05-09-00659 | Oil filter | 20
05-09-00660 | Injection fule Pump | 1
05-09-00661 | Bearing 0.05 under size | 12
05-09-00662 | Air cleaner | 2
05-09-00663 | Plat thrust | 4
05-09-00664 | Guide (exh) | 24
05-09-00665 | Guide (int) | 24
05-09-00666 | Zeal | 1
05-09-00667 | Turbo charger | 1
05-09-00668 | Ring asse | 24
05-09-00669 | Rod assy | 12
05-09-00670 | For vicker Pump gertridge | 30
05-09-00671 | For vicker Pump gertridge A | 80
05-09-00672 | Roll bearing | 30
05-09-00673 | Ball bearing | 20
for 301 CSD C O & K and 351 CSD C O & K
05-09-00674 | Coupling combination(fludex 590) | 4
05-09-00675 | Siro -Pump , complete | 6
05-09-00676 | Expansion joints with mounting parts | 6
05-09-00677 | Pump casing 300/940 | 6
05-09-00678 | Pump impeller complete | 6
05-09-00679 | Pump impeller complete for (CSD 301 C) | 4
05-09-00680 | Wear ring 220/240 | 12
05-09-00681 | Lip-type seal, shaft side 155/229 | 50
05-09-00682 | Lip-type sealing ring 155/229 | 50
05-09-00683 | Casing wear ring 300/350 | 8
05-09-00684 | Sph-roll bearing 232 20C3 | 48
05-09-00685 | Sph-roll bearing 230 24C | 24
05-09-00686 | Sph-roll bearing 222 26 | 24
05-09-00687 | Sph-roll bearing 222 16C3 | 24
05-09-00688 | Axial sph. Roller B.293 24 B | 24
05-09-00689 | Oil engine with coupling half | 6
05-09-00690 | Oil engine coupling half for (CSD 301 D) | 4
05-09-00691 | Gear for cutter head | 4
05-09-00692 | Gear for cutter head (CSD 301) | 2
05-09-00693 | Control - valve NG30 | 4
05-09-00694 | Turbocharger for engine MTU | 10
05-09-00695 | Gear box complete with fludex 590 | 4
for Diesel Engin D 398
05-09-00696 | Valve asse | 100
05-09-00697 | Piston ring group | 50
05-09-00698 | Piston assy | 40
05-09-00699 | Liner | 40
05-09-00700 | Motor asse | 4
for Diesel Engin D 343 62B 11032 AND 62 B 12803
05-09-00701 | Nozzil assy | 30
05-09-00702 | Piston assy | 18
05-09-00703 | Bearing | 24