## Z86
Material Requirement for Distribution Network Rehabilitation and Development for Dohuk Governorate IRQ/01/Z86 (Phase 9)
Item Code | No | Description | Unit | Qty | Qty Sulaimaniya
04-86-90001 | 1 | 11 kV Capacitor Banks,300,600 & 900 KVAR, outdoor type with pole mounting fittings | Nos | 30 | 2900
04-86-90002 | 2 | 11kV Volatge Regulators (500 & 750 kVA) | Nos | 10
04-86-90003 | 3 | 11 kV Cable, XLPE, 3x 240 Sq mm Copper, | km | 30
04-86-90004 | 4 | Poles for street lighting - 15 m | Nos | 200
04-86-90005 | 5 | Poles for street lighting - 12 m | Nos | 300
04-86-90006 | 6 | Street light fitting with arm for 400W HP sodium vapour lamp | Nos | 200
04-86-90007 | 7 | Street light fitting with arm for 250W HP sodium vapour lamp | Nos | 300
04-86-90008 | 8 | Street light fitting with arm for 250W Mercury vapour lamp | Nos | 500
04-86-90009 | 9 | Street light fitting with arm for 125W Mercury vapour lamp | Nos | 1000
04-86-90010 | 10 | Street lighting panel, out door | Nos | 250
04-86-90011 | 11 | 11m tubular steel poles complete with cross arm and all accessories | each | 2170
04-86-90012 | 12 | 11m tubular steel poles equivalent to lattice poles complete with cross arm and all accessories | each | 480 | 550
04-86-90013 | 13 | 11m tubular steel poles complete with cross arm and all accessories for 33kV line construction | each | 3800
04-86-90014 | 14 | 11m tubular steel poles equivelent to lattice pole with cross arm and all accessories for 33kV line construction | each | 700
04-86-90015 | 15 | 9m tubular steel poles with all accessories | each | 3900 | 3100
04-86-90016 | 16 | 9m tubular steel poles equivalent to lattice poles complete with all accessories | each | 1150 | 1100
04-86-90017 | 17 | 50x50x5mm, 2.2m long GS angle c/w clamps bolts & nuts | each | 500 | 550
04-86-90018 | 18 | 50x50x6mm, 2.2 m long GS channel | each | 500 | 550
04-86-90019 | 19 | ACSR conductor 120/20 sqmm | km | 1123 | 660
04-86-90020 | 20 | ACSR conductor 95/15 sqmm | km | 75 | 280
04-86-90021 | 21 | Al conductor 95 sqmm | km | 795 | 720
04-86-90022 | 22 | Al conductor 70 sqmm | km | 150 | 300
04-86-90023 | 23 | Al conductor 35 sqmm | km | 180
04-86-90024 | 24 | Midspan joint for ACSR 120/20 sqmm | each | 3270 | 2400
04-86-90025 | 25 | Midspan joint for ACSR95/15 sqmm | each | 630 | 725
04-86-90026 | 26 | Midspan joint for Al 95 sqmm | each | 2400 | 6050
04-86-90027 | 27 | Midspan joint for Al 70 sqmm | each | 600 | 1800
04-86-90028 | 28 | Parallel groove clamps Al 95 -50 sqmm | each | 4000 | 7525
04-86-90029 | 29 | Distribution transformer 11/0.4 kV, 100 KVA | each | 25
04-86-90030 | 30 | Distribution transformer 11/0.4 kV, 160 KVA | each | 25 | 33
04-86-90031 | 31 | Distribution transformer 11/0.4 kV, 250 KVA | each | 40 | 77
04-86-90032 | 32 | Lightning arrestor 12kV, 10 kA discharge current class 1 | each | 600 | 800
04-86-90033 | 33 | Linkage fuse 12kV with fuse holder | each | 600 | 800
04-86-90034 | 34 | LV Cu cable 1x150 sqmm, PVC insulated | km | 3.7 | 5.19
04-86-90035 | 35 | LV Cu cable 1x95 sqmm, PVC insulated | km | 12 | 15.05
04-86-90036 | 36 | LV OH Twisted cable 3X95+50+16 sqmm Al Conductor | km | 50 | 47
04-86-90037 | 37 | LV OH Twisted cable 3X70+50+16 sqmm Al Conductor | km | 25 | 47
04-86-90038 | 38 | Cu Cable terminal lugs for 150 sqmm cable | each | 1600 | 600
04-86-90039 | 39 | Cu Cable terminal lugs for 95 sqmm cable | each | 1600 | 1200
04-86-90040 | 40 | Cu Cable terminal lugs for 35 sqmm cable | each | 1000
04-86-90041 | 41 | Bi metallic connector Al/Cu 95/10 sqmm | each | 36000
04-86-90042 | 42 | Bi metallic connector Al/Cu 95/95 sqmm | each | 2500 | 800
04-86-90043 | 43 | Cable ties (10x800mm) | each | 10000 | 4000
04-86-90044 | 44 | Out door pole mounted weather proof cabinet with pad lock facility suitable for LV side of distribution transformer with 2 Nos, 250 A MCCBs 3 poles and neutral link, complete with street lighting control gear. | each | 50 | 260
04-86-90045 | 45 | Out door pole mounted weather proof cabinet with pad lock facility suitable for LV side of distribution transformer with 2 Nos, 150 A MCCBs 3 poles and neutral link, complete with street lighting control gear. | each | 75 | 182
04-86-90046 | 46 | Circuit Breaker 30A, 230V | each | 8000 | 34500
04-86-90047 | 47 | Cu earth wire tinned 50 sqmm stranded No 7 | m | 4000 | 27000
04-86-90048 | 48 | Cu earth road, 16mm diameter, 1.5 m length | each | 400 | 4800
04-86-90049 | 49 | Pin type insulator with Galvanized spindle for 11 kV | each | 10890 | 13200
04-86-90050 | 50 | Pin type insulator with Galvanized spindle for 33 kV | each | 12000
04-86-90051 | 51 | 11kV disc insulators eith accessories | each | 2700 | 1000
04-86-90052 | 52 | 11 kV tension insulator strings with all accessories and hardware | each | 720 | 4800
04-86-90053 | 53 | 33 kV tension insulator strings with all accessories and hardware | each | 2100
04-86-90054 | 54 | LV Shackle insulators with complete with D bracket, bolts and nuts | each | 30000 | 66000
04-86-90055 | 55 | Steel staywire | m | 32100 | 39000
04-86-90056 | 56 | Staywire assembly | each | 3840 | 4000
04-86-90057 | 57 | 230V,30A, single phase, energy meter | each | 8000 | 35000
04-86-90058 | 58 | Accessories for twisted cables (ABC): Suspension brackets | each | 2000 | 2500
04-86-90059 | 59 | Accessories for twisted cables (ABC): Suspension clamp | each | 2000 | 2500
04-86-90060 | 60 | Accessories for twisted cables (ABC): Tension (dead end) bracket | each | 300 | 400
04-86-90061 | 61 | Accessories for twisted cables (ABC): Tension (dead end) clamp | each | 300 | 400
04-86-90062 | 62 | Accessories for twisted cables (ABC): Pre insulated sleeve for phase conductor 95 sqmm | each | 225 | 300
04-86-90063 | 63 | Accessories for twisted cables (ABC): Pre insulated sleeve for phase conductor 70 sqmm | each | 225 | 300
04-86-90064 | 64 | Accessories for twisted cables (ABC): Pre insulated sleeve for neutral conductor 50 sqmm | each | 225 | 200
04-86-90065 | 65 | Accessories for twisted cables (ABC): Pre insulated sleeve for street lighting conductor 16 sqmm | each | 150 | 200
04-86-90066 | 66 | Accessories for twisted cables (ABC): Insulation end cap for 95 sqmm conductor | each | 900 | 1150
04-86-90067 | 67 | Accessories for twisted cables (ABC): Insulation end cap for 70 sqmm conductor | each | 900 | 1150
04-86-90068 | 68 | Accessories for twisted cables (ABC): Insulation end cap for 50 sqmm conductor | each | 1150 | 1500
04-86-90069 | 69 | Accessories for twisted cables (ABC): Insulation end cap for 16 sqmm conductor | each | 575 | 750
04-86-90070 | 70 | Accessories for twisted cables (ABC): Insulating binding strap | each | 575 | 752
04-86-90071 | 71 | Accessories for twisted cables (ABC): Stainless steel strap | each | 750 | 1000
04-86-90072 | 72 | Accessories for twisted cables (ABC): Stainless steel buckles | each | 750 | 1000
04-86-90073 | 73 | Accessories for twisted cables (ABC): Bare overhead to insulated connectors - Type A | each | 400 | 500
04-86-90074 | 74 | Accessories for twisted cables (ABC): Bare overhead to insulated connectors - Type B | each | 400 | 500
04-86-90075 | 75 | Accessories for twisted cables (ABC): Insulated Tee-off piercing connectors - Type A | each | 550 | 700
04-86-90076 | 76 | Accessories for twisted cables (ABC): Insulated Tee-off piercing connectors - Type B | each | 550 | 700
04-86-90077 | 77 | Accessories for twisted cables (ABC): Insulated Tee-off piercing connectors - Type C | each | 225 | 300
04-86-90078 | 78 | Accessories for twisted cables (ABC): Self amalgamating tape, 20 metre length roll, approximately 20 mm width | each | 75 | 100
04-86-90079 | 79 | Auto Recloser - 11kV 300A | each | 20 | 5
04-86-90080 | 80 | 11kV, 300 A, 3 pole out door pole mounted type load break switch | each | 25 | 5
04-86-90081 | 81 | Binding Wire - SWG 9 | kg | 1000 | 1500
04-86-90082 | 82 | Binding Wire - SWG 11 | kg | 2000 | 700
04-86-90083 | 83 | Service Pole - 6m, 75mm dia GS Pipe | each | 400 | 4000
04-86-90084 | 84 | PVC double insulated twin cable - 10sqmm Copper | km | 119 | 1400
04-86-90085 | 85 | Service Meter Boards c/w bolts and nuts | each | 8000
04-86-90086 | 86 | H-Type Cripm Connector 120-150 sq mm | each | 3390
04-86-90087 | 87 | H-Type Cripm Connector 70-120 sq mm | each | 1260
04-86-90088 | 1 | Diesel Hoses 2", 10m, 5 Ply (Rubber and Kittan) | 6 | Each
04-86-90089 | 2 | Diesel Hoses 2", 8m, 5 Ply (Rubber and Kittan) | 6 | Each
04-86-90090 | 3 | 2" coupling connector type E, male adapter * hose shank | 24 | Each
04-86-90091 | 4 | 2" coupling connector type F, male adapter * male thread | 24 | Each
04-86-90092 | 5 | Reducer 3" to 2" | 24 | Each
04-86-90093 | 6 | Coupling 3" | 24 | Each
04-86-90094 | 7 | Nipple 3" | 24 | Each
04-86-90095 | 8 | Nipple 2" | 24 | Each
04-86-90096 | 9 | Teflon | 20 | Each
04-86-90097 |  | Tyres | 15 | Each | 15
04-86-90098 | 1 | Overalls 100% cotton, preshrunk fabric, no metal components approx 311g/m3 | 214 | Pair
04-86-90099 | 2 | Leather Work Gloves, standard cow hide | 480 | Pair
04-86-90100 | 1 | Heavy Duty Safety Boots to DIN EN 345-1S3 | 112 | Pair
04-86-90101 | 1 | Compaq Evo D310 P4 2.0A GHZ | 15 | Each | Each