## IX 07-90
Phase: | IX
SECTOR: | VII Infrastructure
Subsector:
PROJECT or TITLE: | SUPPORTING EQUIPMENT, TEST EQUIPMENT, AND SPARE PARTS REQUIREMENTS
CODE | DESCRIPTION | QUANTITY | UNIT OF MEASURE
CODE | VARIOUS SPARE | 1 | lot
07-90-00000 | electrical and electronic components and constituents/ Power correction panel for system with harmonics up to 60%(5100/5200/5300/5500 KVAR) | 200 | units
| power cable | 2000 | m
| electrical and electronic components and constituents | 4354 | pcs
07-90-00001 | VARIOUS TEST AND MEASURING EQUIPMENT FOR THE EXISTING SYSTEMS | 80 | Units
07-90-00002 | VHF/UHF SMALL CAPACITY RADIO LINKS. | 10
07-90-00003 | MICROWAVE RADIO LINKS TO SERVE AS SPARE LINKS FROM THE BACKBONE MICROWAVE STATION TO SMALL TOWNS. | 100
07-90-00004 | PC COMPUTERS, PRINTERS, SCANNERS, COPYING | 10
07-90-00005 | TOWERS FOR MICROWAVE STATIONS AND ACCESSORIES | 2
07-90-00006 | CRANE AND WINCHES FOR TOWERS ERECTION. | 100 | Km
07-90-00007 | CABLES.(DIFFERENT TYPES & SIZES) | 150
07-90-00008 | TOOLS AND MAINTENANCE KITS. | 200
07-90-00009 | FIRE DETECTION SYSTEMS | 1500
07-90-00010 | PORTABLE EXTINGUISHERS | 50
07-90-00011 | SITE SECURITY ALARM SYSTEMS | 1 | lot
07-90-00012 | MANUAL OPERATED PUMP WITH CAST IRON CASING Q=500-1000L/H | 92 | Sset
07-90-00100 | LIGHTING MATERIAL POSTS, BRACKETS,FIXTURES.. ETC | 15
07-90-00101 | CONFERENCE ROOM UTILITES | 1 | lot
07-90-00102 | MONITORING SYSTEM FOR MICROWAVE STATIONS | 80
07-90-00103 | GENERALL MAINTENANCE AND REPAIRE WORKS DRESSES AND SHOES,HATS | 1 | lot
07-90-00104 | AUTOMOBILE WASHINGAND SERVICE STATION UTILITIES | 30
07-90-00105 | CONSTRUCTION MATERIAL FOR CIVIL WORKS AND RESIDENTAL CAMPING. | 1 | lot
07-90-00106 | PC CAMPUTERS, PRINTERS SCANNERS AND COPY MACHINES. | 250
POWER GENERATING UNITS REQUIREMENTS
DIESEL POWER GENERATORS (VARIOUS SIZES) (PLUS ACCESSORIES AND SPARE PARTS) .
07-90-00200 | - 3 KVA PORTABLE | 50
07-90-00201 | - 5 KVA PORTABLE | 50
07-90-00202 | - 15 KVA | 60
07-90-00203 | - 25 KVA | 30
07-90-00204 | - 50 KVA OUTDOOR TYPE
07-90-00205 | - 100 KVA OUTDOOR TYPE | 30
07-90-00206 | - 150 KVA OUTDOOR TYPE | 20
07-90-00207 | - 250 KVA OUTDOOR TYPE | 10
07-90-00208 | - 350 KVA OUTDOORTYPE , | 10
07-90-00209 | - 400 KVA OUTDOORTYPE | 40
| - 600kv GENERATOR SET | 30
07-90-00210 | UPS EQUPMENTS PLUS SPARES DIFFERENT CAPACITIES. | 500
AUTOMATIC VOLTAGE REGULATORS PLUS SPARES
07-90-00211 | - 100 KVA | 50
07-90-00212 | -50 KVA | 50
07-90-00213 | -75 KVA | 50
07-90-00214 | -10 KVA | 50
07-90-00215 | BATTRIES , DIFFERENT TYPES AND CAPACITIES | 12000
07-90-00216 | DC POWER SUPPLY WITH CHARGERS | 50
07-90-00217 | ELECTRICAL STATUS DATA RECORDING SYSTEMS | 50
07-90-00218 | FUEL TRANSFER PUMPS | 50
07-90-00219 | FULE STORAGE TANKS | 50
07-90-00220 | MOBILE FUEL TANKS | 50
VEHICLES AND MOBILE WORKSHOPS
REQUIREMENTS WITH SPARES OF 5 YEARS
07-90-00500 | MOBILE WORKSHOP DIFFERENT SIZES | 20
07-90-00501 | LAND CRUISER VANS | 50
07-90-00502 | LIGHT TRUCKS (DOUBLE CABIN) – 1- TONS | 50
07-90-00503 | LIGHT TRUCK DOUBLE CABIN 2 TON | 20
07-90-00504 | LORRIES (10-15 TONS) | 20
07-90-00505 | DRINKING WATER TANKERS | 20
07-90-00506 | FUEL TANK VEHICLES | 30
07-90-00507 | FIRE FIGHTING VEHICLES | 10
07-90-00508 | MOBILE CARAVAN FOR TECHNICIAN AND ENGINEERING TEAMS | 20
07-90-00509 | LIGHT LOADER TRUCK PLUS CRANE. | 10
07-90-00510 | SHOVEL | 10
07-90-00511 | BULL DOZZER | 15
07-90-00512 | FORKLIFT | 20
07-90-00513 | LIFTING CRANE VEHICLES | 10
07-90-00514 | TYRES (VARIOUS SIZES) | 10000
07-90-00515 | OFFICE FLOOR CLEANING MACHINE | 100
07-90-00516 | SITE LIGHTING MAINTENANCE WINCH | 100
07-90-00517 | SOIL CLEARING VEHICLE AGAINST HERBS , GRARSS , JUNSLES , ROOTS ( SOIL HOE ) WITH CULTIVATOR. | 30
AIR-CONDITIONING PACKAGES AND UNITS REQUIREMENTS
07-90-00700 | (100) TON PACKAGED AIR COOLED CHILLERS PLUS 4 CENTRIFUGAL PUMPS OF 7.5 HP , FOR EACH CHILLER | 20 | pcs
07-90-00701 | (75) TON PACKAGED AIR COOLED CHILLERS PLUS PLUS 4 CENTRIFUGAL PUMPS OF 5HP , FOR EACH CHILLER | 20
07-90-00702 | (60) TON PACKAGED AIR COOLED CHILLERS PLUS 4 CENTRIFUGAL PUMPS OF 3HP , FOR EACH CHILLER | 20
07-90-00703 | (30) TONES PACKAGED /ALC | 20
07-90-00704 | (25) TONES PACKAGED /ALC | 20
07-90-00705 | (20) TONES SPLIT UNITS/ALC | 20
07-90-00706 | (15) TONES SPLIT UNITS/ALC | 20
07-90-00707 | (10) TONES SPLIT UNITS/ALC | 20
07-90-00708 | 7.5) TONES PACKAGED UNITS | 200
07-90-00709 | (5) TONES PACKAGED UNITS | 200
07-90-00710 | 2-TON SPLIT UNIT WITH SPARE PARTS | 230 | NOS
07-90-00711 | REFRIGERANT R22 | 2000 | Kg
07-90-00712 | REFRIGERANT R12 | 400
07-90-00713 | REFERIGERANT 134a | 1000 | Kg
07-90-00714 | SPARE PARTS FOR THE ABOVE A/C UNITS FOR 5 YEARS | 1 | lot
07-90-00715 | DRINKING WATER-COOLING MACHINES PLUS SPARES FOR 5 YEARS. | 100
WATER CODITIONING EQUIPMENT AND IRRIGATION SYSTEMS AND ACCESSORIES.
07-90-00900 | PACKAGE WATER TREATMENT PLANTS | 60
07-90-00901 | DRINKING WATER SOFTENING EQUIPMENT | 60
07-90-00902 | REVERS OSMOSIS WATER TREATMENT EQUIPMENT | 60
07-90-00903 | GROUND AND HIGH WATER TANKS | 100
07-90-00904 | SMALL SIZE WATER DEIONIZERS | 50
07-90-00905 | WATER DISTILLING EQUIPMENT 10 L/HR | 100
07-90-00906 | SANITTARY HOT WATER BOILERS 50 L | 100
07-90-00907 | DIFFERENT CAPACITY CENTRIFUJAL WATER PUMPS | 80 | pcs
07-90-00908 | SMALL SIZE IRRIGATION SYSTEM UTILITIES PUMPS ,PIPES,SPRINKLERS | 50
STAFF ACCOMODATION UTILITIES
07-90-00909 | KITCHEN EQUIPMENT . | 1 | lot
07-90-00910 | BED ROOMS AND OFFICE FURNITURE | 1 | lot
07-90-00911 | STORES UTILITIES | 1 | lot
07-90-00912 | SMALL CAPACITY TELPHOE EXCHANGE AND INTERCOME | 100
07-90-00913 | FAX SET | 100
07-90-00914 | LIGHTING FIXTURES | 1 | lot
07-90-00915 | OFFICE STATIONARY MATERIAL | 1 | lot
07-90-00916 | SECUITY CAMERASYSTEM WITH ALL ACCESSERIES. | 2 | lot
07-90-00917 | TELEPHONE . | 200
07-90-00918 | DIGITAL SATELLITE RECEIVER WITH ACCESSERIES. | 30
07-90-00919 | ANALOGE SATELLITE RECEIVER WITH ACCESSRIES. | 30
TEACHING LABORATORIES , TEST EQUIPMENT AND SPARE COMPONENTS
07-90-01000 | 1. BROADCASTING SCIENCE LABORATORY | 1 | COMPLETE LAB.
07-90-01001 | 2.COMMUNICATION & MICROWAVE LABORATORY | 1 | COMPLETE LAB.
07-90-01002 | 3. SEQUENTIAL CONTROL & COMPUTER SCIENCE LABORATORY | 1 | COMPLETE LAB.
07-90-01003 | 4. DIGITAL ELECTRONICS LABORATORY | 1 | COMPLETE LAB.
07-90-01004 | 5. ANALOG ELECTRONICS LABORATORY | 1 | COMPLETE LAB.
07-90-01005 | 6. POWER ELECTRONICS LABORATORY | 1 | COMPLETE LAB.
07-90-01006 | 7. ENGINEERING MEASUREMENTS & QUALITY ASSURANCE LABORATORY | 1 | COMPLETE LAB.
07-90-01007 | 8.VIEWING & LISTENING EVALUATION LABORATORY | 1 | COMPLETE LAB.
07-90-01008 | 9. AUDIO AND VIDEO SYSTEMS LABORATORY | 1 | COMPLETE LAB.
07-90-01009 | 10. TEST EQUIPMENT | 1 | lot
07-90-01010 | 11. SPARE COMPONENTS | 1 | lot
07-90-01011 | electrical generating set with spares | 15 | pcs